## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 538309 | 538309 | FR35-LF85046GRV | SERVO VANNE SM EL7213A-SE 24VAC 1KN | 35821920 |  |  | prot inclus | [12 empty] | https://content.spiraxsarco.com/-/media/spiraxsarco/international/documents/en/ti/el7200-ti-p358-14-en.ashx?rev=d241df38b301400ea99dbaf8a5a91bd0 |  |  | SPIRAX SARCO | DISTRIBUTOR | EL7213A-SE | EL7213A-SE | ALTERNATE PART NUMBER: 35821920 | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | SERVO MOTOR | TRAVEL |  | CURRENT RATING | NOT AVAILABLE | POWER RATING | 20 VA | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | 24 VAC | SHAFT DIAMETER |  | TORQUE RATING | 1 KN | INTERFACE TYPE |  | MATERIAL | GLASS FILLED POLYMER | ENCLOSURE | IP54 | TEMPERATURE RATING | -10 TO 60 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [29 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 610935 | 610935 | ID01-5021012 | ROTARY ACTUATOR ECLIPS IM904C-PRA6B2AA | [16 empty] | https://shop.marshallwnelson.com/eclipse-pra6b2aa-actuator-replacement-fireye-ac6b2aa/ | https://marshallwnelson.com/product/honeywell-eclipse-programmable-rotary-actuator/ |  | FIREYE, INC. | OPM | IM904C-PRA6B2AA | IM904C-PRA6B2AA |  | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | ROTARY | TRAVEL | 18 SEC | CURRENT RATING | NOT AVAILABLE | POWER RATING | 25/50 VA | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | 230 VAC | SHAFT DIAMETER |  | TORQUE RATING | 2.3 NM | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING | -20 TO 60 DEG C | MOUNTING TYPE | UPRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:50/60 Hz, ECLIPS | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 83333 | 83333 | 8326-52131955 | SWITCH PPF VAZ IER2 ACTUATOR2 S 211353 |  |  | SWITCH MAGNETICO DE SEGURIDAD MARCA PEPPERL FUCHS MODELO VAZ-IER2- ACTUATOR2-S NUMERO DE PARTE 211353 | [13 empty] | https://www.pepperl-fuchs.com/india/hi/classid_2396.htm?view=productdetails&prodid=41498#overview | https://www.radwell.co.uk/en-GB/Buy/PEPPERL%20-AND-%20FUCHS/PEPPERL%20-AND-%20FUCHS/VAZ-IER2-ACTUATOR2-S/?redirect=true |  | PEPPERL+FUCHS SE | OPM | VAZ-IER2-ACTUATOR2-S | VAZ-IER2-ACTUATOR2-S | ARTICLE NUMBER:211353 | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | SAFETY MAGNETIC SWITCH | TRAVEL | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | POWER RATING | NOT AVAILABLE | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL | PPS | ENCLOSURE | IP67 | TEMPERATURE RATING | -20 TO 60 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | TRAVEL DOUBT | 04-05-2023 | 2023-05-11 |  | 9287 | 9287 | 8301-52214490 | ATUADOR DA AGULHA CAM DE VACUO MC 160 |  |  | ATUADOR MOTORIZADO HORA MODELO MC 160 - 24 VCC COM POSICIONADOR COM MÓDULO ELETRÔNICO INTEGRADO COM SINAL DE ENTRADA DE 0/2 - 10V E 0/4 A 20 MA E SINAL DE SAÍDA DE 0- 10 V E 4-20MA.; ACIONAMENTO: ; TENSAO: 24 VCC; POTENCIA: ; GRAU PROTECAO: ; ATUADOR MANU | ATUADOR MOTORIZADO HORA MODELO MC 160 - 24 VCC COM POSICIONADOR COM MÓDULO ELETRÔNICO INTEGRADO COM SINAL DE ENTRADA DE 0/2 - 10V E 0/4 A 20 MA E SINAL DE SAÍDA DE 0- 10 V E 4-20MA.; ACIONAMENTO: ; TENSAO: 24 VCC; POTENCIA: ; GRAU PROTECAO: ; ATUADOR MANU | [12 empty] | https://www.hora.de/fileadmin/datenblaetter_fc/antriebe/1921E_MC160_EN.pdf |  |  | HORA FLOW CONTROL | OPM | MC 160 | MC 160 | DISTRIBUTOR:ELAN;SAP EQUIPMENT NUMBER:10206627 | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | VACUUM CAM NEEDLE | TRAVEL | 6 SEC | CURRENT RATING | 4-20 mA | POWER RATING | 6 VA | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | 24 VDC | SHAFT DIAMETER |  | TORQUE RATING | 1.6 KN | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE | IP54 | TEMPERATURE RATING | 0-60 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60034-1 | ADDITIONAL FEATURES | W/ POSITIONER WITH INTEGRATED ELECTRONIC MODULE;MAXIMUM STROKE:30 MM;FREQUENCY:50/60 Hz;INPUT SIGNAL:0/2-10 VDC AND 0/4-20 mA;OUTPUT SIGNAL:0-10 VDC AND 4-20 mA;WITH MICROCONTROLLER | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 741804 | 741804 | PL38-CP12218179 | SILOWNIK, OBROTOWY, M/60285/TI/90 | 377593 |  |  |  | Rubix | . | NORGREN |  |  | M/60285/TI/90 | [6 empty] | https://www.norgren.com/in/en/detail/m_60285_ti_90#tech_details_container | https://www.item-eng.com/file_download/m60285(1).pdf |  | IMI NORGREN | OPM | M/60285/TI/90 | M/60285/TI/90 | ALTERNATE MANUFACTURER PART NUMBER:377593 | ENRICHED | MRO | 31251500 | Actuators | ACTUATOR |  | TYPE | ROTARY VANE DOUBLE ACTING | SIZE | G1/8 | TRAVEL |  | MATERIAL | CAST ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:2-10 BAR, TEMPERATURE RATING: 23-140 DEG F, TORQUE RATING: 12.8 Nm | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 847921 | 847921 | IT03-5504379 | ATTUATORE ELETTR.AVM-ST5112-33 230V | COMPL.POSIZ.RE3447 | [15 empty] | https://www.stlpowerprocess.com/wp-content/uploads/2016/04/Electric-Actuators.pdf | https://www.directindustry.com/prod/rtk-regeltechnik-kornwestheim/product-15530-533621.html |  | REGELTECHNIK KORNWESTHEIM | OPM | ST5112-33 | ST5112-33 | ALTERNATE MANUFACTURER PART NUMBER:RE3447 | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | VALVE | TRAVEL | NOT AVAILABLE | CURRENT RATING | 4-20 mA | POWER RATING | 8 W | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | 24 VDC | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE | IP65 | TEMPERATURE RATING | -20 TO 70 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | TRAVEL DOUBT | 04-05-2023 | 2023-05-11 |  | 799505 | 799505 | SZ01-5554062 | HORA MC 100 230 ACTUATOR IP65 | [16 empty] | https://www.hora.de/fileadmin/datenblaetter_fc/antriebe/1921D_MC100_EN.pdf |  |  | HORA FLOW CONTROL | OPM | MC100/230 | MC100/230 |  | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE | NOT AVAILABLE | TRAVEL | 1.9-12 MM AT SEC | CURRENT RATING | 4-20 mA | POWER RATING | 12 VA | END CONNECTION | NOT AVAILABLE | VOLTAGE RATING | 230 VAC | SHAFT DIAMETER |  | TORQUE RATING | 1 KN | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE | IP54 | TEMPERATURE RATING | 0-60 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60034-1 | ADDITIONAL FEATURES | W/ MICROCONTROLLER | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 790945 | 790945 | SE33-5436303 | VSTÄLLDON SIEMENS SQS65.5 0-10V 24V | [16 empty] | https://hit.sbt.siemens.com/RWD/app.aspx?rc=BE&lang=en&module=Catalog&action=ShowProduct&key=BPZ:SQS65.5 | https://hvac.de/en/obsolete-units/2788-sqs655.html |  | SIEMENS AG | OPM | SQS65.5 | SQS65.5 |  | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC MOTOR | TRAVEL | 35 SEC | GEAR RATIO | NOT AVAILABLE | ELECTRICAL RATING | 24 VAC | SPEED | NOT AVAILABLE | TORQUE | 400 N | TYPE |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP54;TEMPERATURE RATING:-5 TO 50 DEG C;POWER RATING:7 VA | [46 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 411427 | 411427 | CH31-5807106 | AKUTATOR RECHTS | 220201 | AASTED | CARR 22 X 50 X 1/D24B ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF | CARR 22 X 50 X 1/D24B ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF¦¦CARR 22 X 50 X 1/D24B ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF¦¦CARR 22 X 50 X 1/D24B ZU GIESSMASCHINE TYP SE - 12/10 | [12 empty] | http://www.dakam-lozyska.pl/upload/catalogs/JLd7QF_silowniki-liniowe-serii-car.pdf | https://www.radwell.co.uk/en-GB/Buy/SKF/SKF/CARR%2022X300X1-DIV-D24B/?redirect=true |  | SKF GROUP | OPM | CARR 22 X 50 X 1/D24B | CARR 22 X 50 X 1/D24B | ALTRANATE MANUFACTURER NAME:AASTED;ALTRANATE MANUFACTURER PART NUMBER:220201 ;APPLICATION:SE - 12/1000 CASTING MACHINE;MACHINE NO. 9645/95-0715 177199 | ENRICHED | MRO | 31251511 | Linear actuators | ACTUATOR | LINEAR | TYPE | NOT AVAILABLE | STROKE | 50 MM | SIZE |  | PRESSURE RATING | NOT AVAILABLE | CURRENT RATING |  | VOLTAGE RATING | 24 VDC | MATERIAL |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP44 | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 511966 | 511966 | ES36-5462087 | ACTUADOR SIR AO-01/M | 798239432000 | [15 empty] | https://www.siractuators.com/sites/default/files/2019-08/s-line-ao-01m-data-sheet.pdf | https://www.siractuators.com/en/linear-actuators/s-line/a0-01m |  | SIRACTUATORS | OPM | AO-01/M | AO-01/M | ALTERNATE MANUFACTURER PART NUMBER: 798239432000 | ENRICHED | MRO | 31251511 | Linear actuators | ACTUATOR | LINEAR | TYPE | NOT AVAILABLE | STROKE | NOT AVAILABLE | SIZE | NOT AVAILABLE | PRESSURE RATING | NOT AVAILABLE | CURRENT RATING |  | VOLTAGE RATING |  | MATERIAL | ALUMINIUM | ADDITIONAL FEATURES | PROTECTION CLASS:IP44;TEMPERATURE RATING:-10 TO 60 DEG C;FULL METAL BODY;MOUNTING:RIGHT OR LEFT-HAND | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 536183 | 536183 | FR35-LF2332GRV | VERIN ELECTRIQUE MAGNETIC HC 85 UB-001 |  |  |  | FORCE MAXIMALE 1500NCOURSE 260MM REGLABLEVITESSE 10MM/SPROTECTION IP55TEMPERATURE ANBIANTE-10° A + 40°220V 50HZ 420W | [12 empty] | https://e-matreshka.com/upload/bbr_files/pdf/SKF/%D0%9C%D0%B5%D1%85%D0%B0%D0%BD%D0%B8%D0%B7%D0%BC%D1%8B%20%D0%BB%D0%B8%D0%BD%D0%B5%D0%B9%D0%BD%D0%BE%D0%B3%D0%BE%20%D0%BF%D0%B5%D1%80%D0%B5%D0%BC%D0%B5%D1%89%D0%B5%D0%BD%D0%B8%D1%8F/%D0%90%D0%BA%D1%82%D1%83% |  |  | SKF GROUP | OPM | HC 85 UB-001 | HC 85 UB-001 |  | CLEANSED | MRO | 31251511 | Linear actuators | ACTUATOR | LINEAR | TYPE | ELECTRIC MAGNETIC SPRING | STROKE | 260 MM | SIZE | NOT AVAILABLE | PRESSURE RATING | NOT AVAILABLE | CURRENT RATING |  | VOLTAGE RATING | 220 V | MATERIAL |  | ADDITIONAL FEATURES | FORCE:1500 N;DEGREE OF PROTECTION:IP55;ADJUSTABLE SPEED:10 MM/S;AMBIENT TEMPERATURE:-10 TO 40 DEG C;FREQUENCY RATING:50 Hz;POWER RATING:420 W | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 582928 | 582928 | GB37-5430198 | ACTUATOR,AMG-PESCH TYPE SAD 30 |  |  | ACTUATOR AMG PESCH TYPE SAD 30 ARTICLE # 160794 ORDER # 612656 BRAMMER CODE ECON-EC079710000SAD 30 | [13 empty] | https://www.amg-pesch.com/medium/Brochure-AMG-complete-product-range.pdf?m=4640 | https://www.im-tek.com/amg-pesch-sad-30-br03c-pneumatic-actuator |  | AMG-PESCH GMBH | OPM | SAD 30 | SAD 30 | ARTICLE NUMBER: 160794, ORDER NUMBER: 612656, BRAMMER CODE ECON-EC079710000SAD 30 | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | RACK AND PINION, DOUBLE ACTING | TRAVEL | NOT AVAILABLE | INLET CONNECTION SIZE | NOT AVAILABLE | INLET CONNECTION TYPE | NOT AVAILABLE | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | 1000-10000 NM | TEMPERATURE RATING | -25 TO 80 DEG C | PRESSURE RATING | 2-10 BAR | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN ISO 5211 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 648264 | 648264 | IN03-ED057453 | ACTUATOR 5" MD-100-F10 STK MICRO PNUEMAT |  |  | SIZE 5" (125NB) A MAKE MICRO PNUEMATICS | [13 empty] | https://www.tradeindia.com/products/double-acting-pneumatic-rotary-actuator-5800267.html |  |  | MICRO PNEUMATICS PVT. LTD. | OPM | MD-100-F10 | MD-100-F10 |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | DOUBLE ACTING,ROTARY | TRAVEL | NOT AVAILABLE | INLET CONNECTION SIZE | NOT AVAILABLE | INLET CONNECTION TYPE | NOT AVAILABLE | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | 3-4000 NM | TEMPERATURE RATING | 0-90 DEG C | PRESSURE RATING | 1-8 BAR | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE: 5 IN (125NB) | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 149661 | 149661 | 8349-50474522 | ACT,AIR BAG,W01-358-9148,FIRESTONE | W01-358-9148 | Firestone | ACTUATOR,AIRBAG,DETAILS:FIRESTONE,MANUFACTURER:FIRESTONE,MFR PART NUMBER:W01-358-9148 |  | BDI | 20562404 | CONTINENTAL | 11 10.5-17 A 364 | 11 10.5-17 A 364 AIR SPRING | [7 empty] | https://store.livhaven.com/w01-358-9148-firestone-industrial-bellows-actuator |  |  | FIRESTONE INDUSTRIAL PRODUCTS | OPM | W01-358-9148 | W01-358-9148 | ALTERNATE MANUFACTURER: CONTINENTAL, ALTERNATE PART NUMBER: 11 10.5-17 A 364 | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | AIR SPRING | TRAVEL | NOT AVAILABLE | INLET CONNECTION SIZE | 1/4 IN | INLET CONNECTION TYPE | NPT | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING |  | TEMPERATURE RATING | NOT AVAILABLE | PRESSURE RATING | NOT AVAILABLE | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 383702 | 383702 | BE35-LBH07088 | KINETROL 050 ACTUATOR DUBBELW. | KINETROL MODEL 050 |  | KINETROL PNEUMATISCHE AANDRIJVING MODEL 050 DUBBELWERKEND_x005F_x000D_REFERENTIE: KDA 050-100 | KINETROL PNEUMATISCHE AANDRIJVING MODEL 050 DUBBELWERKEND_x005F_x000D_REFERENTIE: KDA 050-100¦¦KINETROL PNEUMATISCHE AANDRIJVING MODEL 050 DUBBELWERKEND_x005F_x000D_REFERENTIE: KDA 050-100¦¦KINETROL PNEUMATISCHE AANDRIJVING MODEL 050 DUBBELWERKEND_x005F_x | [12 empty] | https://platinum-international.store/product/platinum-international/pneumatic-system/pneumatic-actuators/kinetrol-050-100-rotary-actuator/ |  |  | KINETROL LTD | OPM | KDA 050-100 | MODEL 050 |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | DOUBLE ACTING | TRAVEL |  | INLET CONNECTION SIZE | G1/8 | INLET CONNECTION TYPE | BSPP | OUTLET CONNECTION SIZE | G1/8 | OUTLET CONNECTION TYPE | BSPP | TORQUE RATING | NOT AVAILABLE | TEMPERATURE RATING | -20 TO 80 DEG C | PRESSURE RATING | 7 BAR | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | TRAVEL DOUBT | 04-05-2023 | 2023-05-11 |  | 655462 | 655462 | IN05-ED038606 | AIR ACTUATOR LKLA F85 76 NC AIR / SPRING |  |  | alfa laval | [13 empty] | https://www.alfalaval.com/globalassets/documents/products/fluid-handling/valves/in-line-valves/butterfly-valves/lkb-f/alfa-laval-lkb-and-lkb-f-automatic-or-manual-butterfly-valve-instruction-manual.pdf |  |  | ALFA LAVAL LTD | OPM | LKLA NC F85 76 | LKLA NC F85 76 |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | SPRING | TRAVEL | 85 MM | INLET CONNECTION SIZE | NOT AVAILABLE | INLET CONNECTION TYPE | NOT AVAILABLE | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | NOT AVAILABLE | TEMPERATURE RATING | -25 TO 90 DEG C | PRESSURE RATING | 6 BAR | MATERIAL | STAINLESS STEEL AISI 304 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | TRAVEL DOUBT | 04-05-2023 | 2023-05-11 |  | 655464 | 655464 | IN05-ED038608 | AIR ACTUATOR LKLA F85 25 NC AIR SPRING |  |  | alfa laval | [13 empty] | https://www.alfalaval.com/globalassets/documents/products/fluid-handling/valves/in-line-valves/butterfly-valves/lkb-f/alfa-laval-lkb-and-lkb-f-automatic-or-manual-butterfly-valve-instruction-manual.pdf |  |  | ALFA LAVAL LTD | OPM | LKLA NC F85 25 | LKLA NC F85 25 |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | SPRING | TRAVEL | 85 MM | INLET CONNECTION SIZE | NOT AVAILABLE | INLET CONNECTION TYPE | NOT AVAILABLE | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | NOT AVAILABLE | TEMPERATURE RATING | -25 TO 90 DEG C | PRESSURE RATING | 6 BAR | MATERIAL | STAINLESS STEEL AISI 304 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | URL CHANGED | 04-05-2023 | 2023-05-11 |  | 579443 | 579443 | GB36-5431849 | VALVE, BRAY, 930935-11350532, SINGLE ACT |  | BRAY INTERNATIONAL | 112A3492 |  | Rubix | 112A3492 | BRAY | 0 | 0 | BRAY S/A ACTUATOR BRAY-930935-11350532 | 0 | [5 empty] | https://www.bray.com/docs/default-source/manuals-guides/iom-manuals/series-92-93-pneumatic-actuators---operations-maintenance-manual.pdf?sfvrsn=a50a8910_26 | https://www.schopar.com/bray/930935-11350532 |  | BRAY CONTROLS | OPM | 930935-11350532 | 930935-11350532 |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | SINGLE ACTING | TRAVEL |  | INLET CONNECTION SIZE | NOT AVAILABLE | INLET CONNECTION TYPE | NOT AVAILABLE | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | NOT AVAILABLE | TEMPERATURE RATING | -20 TO 93 DEG C | PRESSURE RATING | NOT AVAILABLE | MATERIAL |  | MOUNTING TYPE | DIRECT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | URL CHANGED | 04-05-2023 | 2023-05-11 |  | 726074 | 726074 | PL34-5618857 | SILO,S93-1285,NC,92-1280-11350-532 | BRAY | [15 empty] | https://northstock.com/content/product-catalogs/bray/Bray-Series-93-Catalog.pdf | https://northstock.com/bray-93-1285-pneumatic-actuator-single-acting-with-spring-return/ |  | BRAY INTERNATIONAL, INC. | OPM | 93-1285 | 93-1285 | 92-1280-11350-532 | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | SINGLE ACTING, SPRING RETURN | TRAVEL |  | INLET CONNECTION SIZE | 1/4 IN | INLET CONNECTION TYPE | NPT | OUTLET CONNECTION SIZE | NOT AVAILABLE | OUTLET CONNECTION TYPE | NOT AVAILABLE | TORQUE RATING | NOT AVAILABLE | TEMPERATURE RATING | -15 TO 60 DEG C | PRESSURE RATING |  | MATERIAL | Extruded aluminum alloy | MOUNTING TYPE | NAMUR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 19494 | 19494 | 8308-52227740 | IMA ATUADOR DA BOMBA 164606 NORDSON |  |  | IMA ATUADOR DA BOMBA 164606 NORDSON; TIPO: ATUADOR DA BOMBA; MODELO: NORDSON PRO BLUE 4; PART NUMBER: 164606; APLICACAO: COLEIRO NORDSON PRO BLUE 4; LINHA: COOKIES 1; FABRICANTE: NORDSON; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: NORDSON; Nº EQUIPAMENTO SAP: | IMA ATUADOR DA BOMBA 164606 NORDSON; TIPO: ATUADOR DA BOMBA; MODELO: NORDSON PRO BLUE 4; PART NUMBER: 164606; APLICACAO: COLEIRO NORDSON PRO BLUE 4; LINHA: COOKIES 1; FABRICANTE: NORDSON; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: NORDSON; Nº EQUIPAMENTO SAP: | [12 empty] | https://www.axco.com/content/pdf/Nordson3000.pdf | https://www.axco.com/content/pdf/Nordson3000.pdf | https://www.nriparts.com/products/nordson-164606-packaging-and-labeling/147300 | NORDSON CORPORATION | OPM | 164606 | 164606 |  | ENRICHED | MRO | 31251509 | Electromagnetic Actuators | ACTUATOR |  | TYPE | MAGNETIC | SIZE |  | TRAVEL |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | IMA, W/ PUMP,FOR COLLECTOR NORDSON PRO BLUE 4, LINE: COOKIES 1 | [44 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | URL CHANGED | 04-05-2023 | 2023-05-11 |  | 91402 | 91402 | 8326-52241932 | ACTUADOR MORIN MODELO MRP-0040-K-D000 PA |  |  | ACTUADOR MORIN MODELO MRP-0040-K-D000 PARA TUBERIA DE 4" PRESION MAXIMA SUMINISTRO DE 120 PSI SERIE NO. 167037 | [13 empty] | https://www.flotechinc.com/wp-content/uploads/2014/02/KEYMC-0153-US.pdf | https://www.onrion-llc.com/MRP_0040_K_D000-Price-Morin_Actuator-0-9607 |  | MORIN | OPM | MRP-0040-K-D000 PA | MRP-0040-K-D000 PA | SERIAL NUMBER:167037 | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | DOUBLE ACTING | TRAVEL |  | INLET CONNECTION SIZE |  | INLET CONNECTION TYPE |  | OUTLET CONNECTION SIZE |  | OUTLET CONNECTION TYPE |  | TORQUE RATING | 238 - 18180 lb in | TEMPERATURE RATING | -20 TO 210 DEG F | PRESSURE RATING | 120 PSI | MATERIAL | Extruded aluminum | MOUNTING TYPE | DIRECT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 4 IN PIPE | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 812823 | 812823 | TR03-5618951 | ACTUATOR/TLV/MC-GA2 | [16 empty] | https://www.nriparts.com/products/tlv-mc-ga2-valve-replacement-parts/172612 |  |  | TLV.CO.LTD | OPM | MC-GA2 | MC-GA2 |  | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC | TYPE |  | TRAVEL |  | CURRENT RATING |  | POWER RATING | 75 VA | END CONNECTION |  | VOLTAGE RATING | 100 TO 240 VAC | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL | STEEL | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [29 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 67263 | 67263 | 8321-52029420 | ACTUADOR/EA51/47-1026/BARBER COLMAN | [16 empty] | https://www.eurothermcontrollers.com/eurotherm-barber-colman-ea51-medium-torque-actuator/ |  |  | EUROTHERM | OPM | EA51/47-1026 | EA51/47-1026 |  | ENRICHED | MRO | 31251507 | Rotary Actuators | ACTUATOR |  | TYPE | NON-SPRING RETURN ROTARY | SIZE | 5-3/8 WD X 7 HT X 6-5/16 DP IN | TRAVEL |  | MATERIAL | DIE-CAST ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRAVEL TIME:12 SEC;TORQUE RATING:60 LB/IN | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 95154 | 95154 | 8332-52029437 | APV ACTUATOR SPRING/ AIR K080 F/L RME |  |  | APV ACTUATOR SPRING/ AIR K080 F/L RME | [13 empty] | https://www.spxflow.com/assets/pdf/APV_valves_SV1_GB.pdf | https://www.sks-online.com/actuator-k080-f/l-rme |  | SPX FLOW TECHNOLOGY | OPM | K080 F/L RME | K080 F/L RME |  | ENRICHED | MRO | 31251504 | Pneumatic Actuators | ACTUATOR | PNEUMATIC | TYPE | TURNING, SPRING | TRAVEL |  | INLET CONNECTION SIZE | G1/8 | INLET CONNECTION TYPE | BSPP | OUTLET CONNECTION SIZE |  | OUTLET CONNECTION TYPE |  | TORQUE RATING | 2 NM | TEMPERATURE RATING | 135 DEG C | PRESSURE RATING | 10 BAR | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | APV | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 528778 | 528778 | FR34-5396008 | ?TETE_ADW416_ACTUATOR UNIT 2L-M FR9 NEUF | GB03302A0278 |  |  | POUR TETE_ADW416_ TETE DE PESAGE ASSOCIATIVE ASSORTIMENT ACTUATOR UNIT 2L-M FR9 NEUF Suivant devis 20151395 du 14/09/2015 | [12 empty] | https://yamatoscale.com/spare-parts-with-highest-manufacturer-quality/?cn-reloaded=1 |  |  | YAMATO SCALE | OPM | GB03302A0278 | GB03302A0278 | ADW416 | CLEANSED | MRO | 31251500 | Actuators | ACTUATOR |  | TYPE | NOT AVAILABLE | SIZE |  | TRAVEL |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR HEAD ADW416, ASSOCIATIVE WEIGHING HEAD ASSORTMENT ACTUATOR UNIT 2L-M FR9 NEW According to estimate 20151395 of 14/09/2015 | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 380201 | 380201 | BE35-LBB06458 | IMAFORNI GM24-SR SERVOMOTOR | SERVOMOTOR GM24-SR LIJN 1 |  | servomotor GM24-SR | servomotor GM24-SR¦¦servomotor GM24-SR¦¦servomotor GM24-SR | [12 empty] | http://www.energycontrolsonline.co.uk/pdf/valves/ds_gm24sr.pdf | https://docs.rs-online.com/010e/0900766b8008e3da.pdf |  | Belimo | OEM | GM24-SR | GM24-SR | ALTERNATE MANUFACTURER: GEA IMAFORNI | ENRICHED | MRO | 31251501 | Electric Actuators | ACTUATOR | ELECTRIC MOTOR | TRAVEL |  | GEAR RATIO |  | ELECTRICAL RATING | 24 VAC/DC | SPEED |  | TORQUE | 30 NM | TYPE | Modulating damper, SERVO | ADDITIONAL FEATURES | TEMPERATURE RATING:-30 TO 50 DEG C, DEGREE OF PROTECTION:IP54;MOUNTING TYPE:BRACKET | [46 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 530969 | 530969 | FR34-LFACTI00000016 | ACTI_6-31353 0206 2_SRC 38 A 63 NF | 6-31353 0206 2 | TETRA PAK |  | ACTIONNEUR VANNE-SRC 38 A 63 NF VERIN POUR VANNE DE 38 A 63.5 NORMALEMENT FERMEE Actuator-200 38-63.5/NW40-65 6-31353 0206 2 | [12 empty] | https://www.moodydirect.com/catalogue/files/assets/downloads/page0309.pdf |  |  | TETRA PAK | OEM | NW40-65 6-31353 0206 2 | NW40-65 6-31353 0206 2 | REFERENCE NUMBER:200 38-63.5/NW40-65 | ENRICHED | MRO | 31251500 | Actuators | ACTUATOR |  | TYPE | VALVE | SIZE | DN40 | TRAVEL |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NORMALLY CLOSED, FOR 38 TO 63.5 VALVE | [44 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | url for referrence | 04-05-2023 | 2023-05-11 |  | 149276 | 149276 | 8349-50469691 | HOSE,AIR,250 RED 3/8IN,3/8 IN | 250 RED 3/8IN | Goodyear Tire & Rubber Co | HOSE,AIR,ID:3/8 IN,MANUFACTURER:GOODYEAR TIRE & RUBBER CO,MFR PART NUMBER:250 RED 3/8IN |  | BDI | 21483477 | CONTINENTAL | 3/8 FRONTIER RED250 | 3/8INX500FT FRONTIER RED 250 HOSE | 0 | 0 | [5 empty] | https://www.bdiexpress.com/us/es/Fuerza-hidr%C3%A1ulica/Tuber%C3%ADa-y-ensambles-flexibles-de-mangueras/Manguera/3-8-FRONTIER-RED250/p/21483477 |  |  | CONTINENTAL | OPM | 3/8 FRONTIER RED250 | 3/8 FRONTIER RED250 | ALTERNATE MANUFACTURER: Goodyear Tire & Rubber Co | CLEANSED | MRO | 40142002 | Air Hoses | HOSE | AIR | TYPE | NOT AVAILABLE | OUTSIDE DIAMETER |  | LENGTH | 500 FT | CONNECTION |  | PRESSURE RATING | 250 PSI | MATERIAL |  | INSIDE DIAMETER | 3/8 IN | SIZE |  | TEMPERATURE RATING |  | GRADE |  | COATING/FINISH |  | COLOR | RED | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 394949 | 394949 | BG31-5613301 | HEAR RESISTANT HOSE,HIPROJACKET NW6,LAPP | 52021385 | PETAR ELECTRIC | [14 empty] | https://www.electricautomationnetwork.com/en/lapp/52021385-silvyn-hiprojacket-nw-6-lapp-fireproof-cable-protection-conduit-to-protect-the-inner-from-flames-an |  |  | LAPP GROUP | OPM | 52021385 | 52021385 | ALTERNATE MANUFACTURER NAME:PETAR ELECTRIC | ENRICHED | MRO | 40142000 | Hoses | HOSE |  | TYPE | HEAT RESISTANT | INSIDE DIAMETER | 6 MM | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | Glass fibre w/ iron oxide silicone coat | PRESSURE RATING |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | temperature rating: -55 TO 260 DEG C, HIPROJACKET;PROTECTION CLASS:IP54 | COLOR | RED | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 153923 | 153923 | 8349-50498849 | HOSE,VAC,HTH 213201752250,40 MM,40 MM,50 | HTH 213201752250 | Flexaust Co | HOSE,VACUUM,ID:40 MM,OD:40 MM,LEN:50 FT,MAT:PLASTIC AND RUBBER,MANUFACTURER:FLEXAUST CO,MFR PART NUMBER:HTH 213201752250 |  | BDI | 21497730 | HI-TECH HOSE | SDH 1.75IN X 50FT | SDH 1.75IN X 50FT DUCTING HOSE | 0 | 0 | [5 empty] | https://www.mscdirect.com/product/details/02198836 | https://www.zoro.com/hi-tech-duravent-ducting-hose-1-34-in-id-50-ft-l-ure-2132-0175-2250/i/G2375764/#specifications |  | HI-TECH DURAVENT | OPM | 213201752250 | 213201752250 | ALTERNATE MANUFACTURER: Flexaust Co, ALTERNATE MANUFACTURER NUMBER: SDH 1.75IN X 50FT | ENRICHED | MRO | 40142019 | Ducting Hose | HOSE | DUCT | TYPE |  | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 2.16 in | LENGTH | 50 FT | MATERIAL | Polyurethane | THICKNESS |  | PRESSURE RATING | 27 PSI | TEMPERATURE RATING | -20 TO 180 DEG F | BEND RADIUS | 4-1/4 IN | COLOUR | CLEAR/WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | Vacuum Rating: 28 in Hg | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 626990 | 626990 | IE33-5620875 | HOSE,(30M)102MM,MASTERFLEX,PUR,TRIVOLUTI | 111-102-401 |  | HOSE,(30m)102MM,MASTERFLEX,PUR,TRIVOLUTI | [13 empty] | http://www.tobero.com/wp-content/uploads/2020/07/Abrasion-Resistant-Suction-Transport-PU-Hose-Hardly-Inflammable-Hoses.pdf |  |  | MASTERFLEX GROUP | OPM | 111-102-401 | 111-102-401 |  | ENRICHED | MRO | 40142019 | Ducting Hose | HOSE | DUCT | TYPE | SUCTION,FLEXIBLE,ANTISTATIC | INSIDE DIAMETER | 102 MM | OUTSIDE DIAMETER | 112 MM | LENGTH | 30 M | MATERIAL | polyurethane | THICKNESS | 1.4 MM | PRESSURE RATING | 1.5 BAR | TEMPERATURE RATING | -40 TO 90 DEG C | BEND RADIUS | 165 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRIVOLUTION | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 91052 | 91052 | 8326-52238087 | MANGUERA 04RFSSH3 04MPT04MPT SS FS 25 |  |  | ENSAMABLE DE MANGUERA METALICA SANITARIA DE 1/4" D.I. CON INTERIOR CORRUGADO EN ACERO INOXIDABLE TIPO 316 Y DOBLE TRAMA METALICA EN ACERO INOXIDABLE TIPO 304, CON CUBIERTA AISLANTE FIRE SLEEVE EN EL EXTERIOR Y CONEXIONES TIPO NPT MACHO EN AMBOS EXTREMOS LONGITUD TOTAL DE PUNTA A PUNTA 25 INCHES | [13 empty] | https://rubberfab.com/products/sanitary-hose-hose-assemblies/flexible-metal-hoses/ssh-stainless-steel-corrugated-hose/ | https://rubberfab.com/wp-content/uploads/2019/04/RF-SSH_0.pdf |  | GARLOCK SEALING TECHNOLOGIES | OPM | 04RFSSH3 04MPT04MPT SS FS 25 | 04RFSSH3 04MPT04MPT SS FS 25 |  | ENRICHED | MRO |  |  | HOSE | ASSEMBLY | TYPE | CORRUGATED, SANITARY | INSIDE DIAMETER | 1/4 IN | OUTSIDE DIAMETER | 1/2 IN | LENGTH | 25 IN | CORE MATERIAL | corrugated stainless steel 316L | CONNECTION 1 | NO 4 MPT | CONNECTION 2 | NO 4 MPT | FITTING MATERIAL |  | COVER MATERIAL | BRAIDED STAINLESS STEEL 304 | PRESSURE RATING | 3190 PSIG | BURST PRESSURE RATING |  | TEMPERATURE RATING | -400 TO 800 DEG F | REINFORCEMENT MATERIAL |  | BEND RADIUS | 4 IN | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [25 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 91053 | 91053 | 8326-52238088 | MANGUERA 04RFSSH3 04MPT04MPT SS FS 16 |  |  | ENSAMABLE DE MANGUERA METALICA SANITARIA DE 1/4" D.I. CON INTERIOR CORRUGADO EN ACERO INOXIDABLE TIPO 316 Y DOBLE TRAMA METALICA EN ACERO INOXIDABLE TIPO 304, CON CUBIERTA AISLANTE FIRE SLEEVE EN EL EXTERIOR Y CONEXIONES TIPO NPT MACHO EN AMBOS EXTREMOS LONGITUD TOTAL DE PUNTA A PUNTA 16 INCHES. |  | Fastnel | 0 | 0 | 0 | 0 | 0 | MANGUERA 04RFSSH3 04 | [5 empty] | https://rubberfab.com/products/sanitary-hose-hose-assemblies/flexible-metal-hoses/ssh-stainless-steel-corrugated-hose/ | https://rubberfab.com/wp-content/uploads/2019/04/RF-SSH_0.pdf |  | GARLOCK SEALING TECHNOLOGIES | OPM | 04RFSSH3 04MPT04MPT SS FS 16 | 04RFSSH3 04MPT04MPT SS FS 16 |  | ENRICHED | MRO |  |  | HOSE | ASSEMBLY | TYPE | CORRUGATED, SANITARY | INSIDE DIAMETER | 1/4 IN | OUTSIDE DIAMETER | 1/2 IN | LENGTH | 16 IN | CORE MATERIAL | corrugated stainless steel 316L | CONNECTION 1 | NO 4 MPT | CONNECTION 2 | NO 4 MPT | FITTING MATERIAL |  | COVER MATERIAL | BRAIDED STAINLESS STEEL 304 | PRESSURE RATING | 3190 PSIG | BURST PRESSURE RATING |  | TEMPERATURE RATING | -400 TO 800 DEG F | REINFORCEMENT MATERIAL |  | BEND RADIUS | 4 IN | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [25 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 586115 | 586115 | GB38-5585060 | HOSE, FLEX CONDUCTIVE D40 4072400454 | [16 empty] | https://sites.create-cdn.net/sitefiles/38/0/8/380894/ATEX_Accessories_Brochure.pdf | https://www.michco.com/p-1434074-flex-conductive-hose-d40-15m-i.aspx |  | NILFISK GROUP | OPM | 4072400454 | 4072400454 |  | ENRICHED | MRO | 40142000 | Hoses | HOSE |  | TYPE | FLEX CONDUCTIVE | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER |  | LENGTH | 15 M | MATERIAL | polyurethane | PRESSURE RATING |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING: -40 TO 90 DEG C | COLOR |  | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | MALE/FEMALE CONNECTOR | [32 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 30255 | 30255 | 8312-50398562 | ASSY,FAB,6MP28,HOSE | 6MP28 | Dayton Superior Products | ASSEMBLY,FABRICATED,TYPE:HOSE,MANUFACTURER:DAYTON SUPERIOR PRODUCTS,MFR PART NUMBER:6MP28 |  | BDI | 21496179 | HOSE MASTER | G050CM120 | G050CM120 METAL HOSE | 0 | 0 | [5 empty] | https://www.zoro.com/hose-master-12-dia-x-12-l-ss-flexible-metal-hose-g050cm120/i/G1874424/ | https://www.partssource.com/parts/hose-master/G050CM120?pspn=ps33a6mcnay |  | hose master | OPM | G050CM120 | G050CM120 | ALTERNATE MANUFACTURE: Dayton Superior Products, ALTERNATE MANUFACTURE PART NUMBER: 6MP28 | ENRICHED | MRO | 40142000 | Hoses | HOSE | FLEXIBLE METAL | LENGTH | 12 IN | PRESSURE RATING | 1186 PSI | MATERIAL | Stainless Steel 321, Stainless Steel 304 COVER | DIAMETER | 1/2 IN | TYPE |  | CONNECTION | MNPT | ADDITIONAL FEATURES | TEMPERATURE: 32-850 DEG F, FABRICATED | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 371370 | 371370 | BE33-5056089 | TUYAU FLEX.EN CC VAP.SATUREE 14 BAR 20M | SD 13 PYROPAL |  | TUYAU EN CAOUTCHOUC SYNTHETIQUE POUR VAPEUR PYROPAL TYPE 230. DIA.INT.13MM X EXT.25MM. P.S.:18 BAR T°:210°C. | TUYAU EN CAOUTCHOUC SYNTHETIQUE POUR VAPEUR PYROPAL TYPE 230. DIA.INT.13MM X EXT.25MM. P.S.:18 BAR T°:210°C.¦¦TUYAU EN CAOUTCHOUC SYNTHETIQUE POUR VAPEUR PYROPAL TYPE 230. DIA.INT.13MM X EXT.25MM. P.S.:18 BAR T°:210°C. | [12 empty] | https://hoseconfigurator.elaflex.de/PAL/SDPYROPAL/13MM/Product4.html |  |  | ELAFLEX | OPM | SD 13 PYROPAL | SD 13 PYROPAL |  | ENRICHED | MRO | 40142000 | HOSES | HOSE |  | TYPE |  | INSIDE DIAMETER | 13 MM | OUTSIDE DIAMETER | 25 MM | LENGTH | 20 M | MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 14-18 BAR | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING: 210 DEG C | COLOR |  | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 164333 | 164333 | 8352-50391652 | HOSE,MAT HAND,20013315,4 IN | 20013315 | Goodyear Tire & Rubber Co | HOSE,MATERIAL HANDLING,HOSE_DIA:4 IN,MAT:CLEAR URETHANE,MANUFACTURER:GOODYEAR TIRE & RUBBER CO,MFR PART NUMBER:20013315 |  | BDI | 423431 | CONTINENTAL | 4IN NUTRIFLEX S/D WHITE | 4INX100FT NUTRIFLEX S/D WHITE | 0 | 0 | [5 empty] | https://www.goodyearrubberproducts.com/2015pdfs/Contitech/Contitech_2015_Industrial_Hose_Catalog.pdf | https://www.kent-automotive.com/Goodyear/Nutriflex-ClearWhite-Food-Transfer/23305.ka |  | GOODYEAR TIRE & RUBBER CO | OPM | 20013315 | 20013315 |  | ENRICHED | MRO | 40142000 | Hoses | HOSE |  | TYPE | DISCHARGE,SUCTION | INSIDE DIAMETER | 4 IN | OUTSIDE DIAMETER | 4.71 IN | LENGTH | 100 FT | MATERIAL | Pliovic | PRESSURE RATING | 35 PSI | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | 3-A,FDA,NSF 61,USDA | ADDITIONAL FEATURES | TEMPERATURE RATING: -26 TO 70 DEG C, BEND RADIUS: 10 IN, MATERIAL HANDLING | COLOR | CLEAR | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | MODIFIER CHANGED | 04-05-2023 | 2023-05-11 |  | 665688 | 665688 | IN07-ED049849 | TIGERFLEX BELOW 2001-400 4" ID | [16 empty] | https://www.hosecon.com/PDF/Duct/TigerFlex.pdf | https://products.kuriyama.com/item/food-grade-10/terial-handling-hose-with-grounding-wire-1/2001-400x60 |  | KURIYAMA OF AMERICA INC | OPM | 2001-400 | 2001-400 |  | ENRICHED | MRO | 40142012 | Food And Beverage Hose | HOSE |  | TYPE |  | INSIDE DIAMETER | 4 IN | OUTSIDE DIAMETER | 4-13/16 IN | LENGTH | 60 FT | MATERIAL | PVC | PRESSURE RATING | 18 TO 35 PSI | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | Heavy Duty Food Grade, TEMPERATURE RATING: 68 TO 104 DEG F, BRAND: Tigerflex | COLOR | TRANSPARENT | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 245763 | 245763 | 8380-50490884 | HOSE,WATER,HW100YEL,100 FT,4000 PSI | HW100YEL | JOHN BROOKS COMPANY LTD | HOSE,WATER,LEN:100 FT,PRESS_RATING:4000 PSI,MAT:REINFORCED VINYL,HOSE_SIZE:3/8 IN,MFR PART NUMB,MANUFACTURER:JOHN BROOKS COMPANY LTD |  | BDI | J/B HW100YEL | JOHN BROOKS COMPANY LTD | HW100YEL | HOSE,WATER,HW100YEL,100 FT,4000 PSI | 0 | 0 | [5 empty] | https://www.dynablast.ca/product/high-pressure-yellow-non-marking-hose | http://precisionturf.ca/wp-content/uploads/Dynablast-Pressure-Wash-Components-Accessories-Catalogue.pdf |  | JOHN BROOKS COMPANY LTD | OPM | HW100YEL | HW100YEL |  | ENRICHED | MRO | 40142008 | Water Hoses | HOSE | WATER | TYPE | HIGH PRESSURE | OUTSIDE DIAMETER | NOT AVAILABLE | INSIDE DIAMETER | NOT AVAILABLE | NOMINAL SIZE | NOT AVAILABLE | PRESSURE RATING | 4000 PSI | SIZE | NOT AVAILABLE | CONNECTION | 3/8 IN MPT solid end x swivel end | COLOR | YELLOW | ADDITIONAL FEATURES |  | LENGTH | 100 FT | MATERIAL | REINFORCED VINYL | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 179033 | 179033 | 8353-52133863 | MANGUERA 3"/774451203 MASTERFLEX/GATES | 774451203 MASTER FLEX TPU50-"3" X 33 FT | RODAMIENTOS Y ACCESORIOS SA DE CV | MASTER FLEX TPU50-"3" X 33 FT/774451203 MASTERFLEX/GATES RSM OREO | [13 empty] | http://www.gates.com.mx/pdf/MANGUERAS%20PVC%20GATES%20.pdf |  |  | MASTERFLEX GROUP | OPM | 774451203 | 774451203 | ALTERNATE MANUFACTURER:RODAMIENTOS Y ACCESORIOS SA DE CV | ENRICHED | MRO | 40142000 | Hoses | HOSE |  | TYPE | NOT AVAILABLE | INSIDE DIAMETER | 3 IN | OUTSIDE DIAMETER | 3.02 IN | LENGTH | 33 FT | MATERIAL | POLYURETHANE | PRESSURE RATING | 30 PSI | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | COLOR | TRANSPARENT | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 301256 | 301256 | AT31-5457349 | PUR-H FOOD ABSAUG-GEBLÄSESCHLAUCH ID50MM | MASTER PUR-H FOOD ID50MM | MASTERFLEX SE | PUR Transprent VA-Federspirale ART.NR.188598 mit Konformitätserklärung | PUR Transprent VA-Federspirale ART.NR.188598 mit Konformitätserklärung | Rubix | 99569908 | MASTERFLEX | 0 | 0 | 50MM MASTER-PUR H-FOOD RL 10M | 0 | [5 empty] | https://eshop.haberkorn.cz/odsavaci-a-prepravni-hadice-pur-h-food-1-3.html |  |  | MASTERFLEX GROUP | OPM | 188598 | 188598 |  | ENRICHED | MRO | 40142000 | Hoses | HOSE |  | TYPE | SUCTION AND TRANSPORT, FOOD | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 61 MM | LENGTH | 10 MM | MATERIAL | POLYURETHANE | PRESSURE RATING | 2.9 BAR | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA,TRGS 727,ATEX 2014/34 EU | ADDITIONAL FEATURES |  | COLOR | TRANSPARENT | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 548574 | 548574 | FR38-5566021 | SG005 TUYAU ALH251600FG ALIMENTAIRE |  |  |  | TUYAU ALH251600FG ALIMENTAIRE REMPLACE SG005 TUYAU ALH25 NR NON ALIMENTAIRE Offre de prix: 4938403 DU 02/09/2021 MERCI DE FOURNIR UN CERTIFICAT D'ALIMENTARITE MERCI D'ADRESSER L'ACCUSE DE RECEPTION COMMANDE A francois.lefevre@mdlz.com | Rubix | N431x-2420018 | 0 | 0 | 0 | TUBE,TUYAU ALH251600 | 0 | [5 empty] | https://ranta-pumps.ru/product/zapasnye-chasti-dlya-nasosov/albin-pump-2 | https://www.moespompen.nl/wp-content/uploads/Albin-ALH-en-ALHX-pompslangen.pdf |  | ALBIN | DISTRIBUTOR | ALH251600FG | ALH251600FG | ALTERNATE PART NUMBER:SG005 | ENRICHED | MRO | 40142012 | Food And Beverage Hose | HOSE |  | TYPE | FOOD | INSIDE DIAMETER | NOT AVAILABLE | OUTSIDE DIAMETER | NOT AVAILABLE | LENGTH | NOT AVAILABLE | MATERIAL | NATURAL RUBBER | PRESSURE RATING | NOT AVAILABLE | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ALH251600FG FOOD PIPE REPLACES SG005, ALH25 NR NON FOOD PIPE, Price offer: 4938403 DATED 02/09/2021 | COLOR |  | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Mech | RMU | RMU | OK | 04-05-2023 | 2023-05-11 |  | 626800 | 626800 | IE33-5591921 | 1.5X245MM T509 HOSE,1.5SMS NTS LINER END | 1.5X245MM T509 | LIAM A BARRY (ENGINEERING SUPPLIES) | LIAM BARRY HOSE FLEX FOR EVAP | [13 empty] | https://labarry.com/products/t509?variant=40956597567661 | https://www.milwaukeerubber.com/t509-uhmwpe-acidchemical-sd-hose-240-psi |  | LIAM A BARRY | OPM | 1.5X245MM T509 | 1.5X245MM T509 |  | ENRICHED | MRO | 40142011 | Chemical Hose | HOSE |  | TYPE | CHEMICAL | INSIDE DIAMETER | 1.5 MM | OUTSIDE DIAMETER |  | LENGTH | 245 MM | MATERIAL | UHMWPE | PRESSURE RATING | 16 BAR | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING: -30 TO 100 DEG C, Reinforcement: High tensile textile cords W/ embedded steel helix wire, Cover: Blue EPDM | COLOR |  | APPLICATION |  | THREAD SIZE |  | CONNECTION TYPE | [33 empty] | Part number is not available so we updated model number as part number | Production Completed