## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 518951 | 518951 | ES37-5519002 | CPU OMRON CP1 E-N20DR-A | [16 empty] | https://www.ia.omron.com/data_pdf/cat/cp1e_p061-e1_17_4_csm2118.pdf?id=2064 | https://www.ia.omron.com/products/family/2064/feature.html |  | OMRON ELECTRONICS | OPM/OEM | CP1E-N20DR-A | CP1E-N20DR-A |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 8 KB | POWER SUPPLY | 100 TO 240 VAC,0.18/0.08 A | SIZE | 130 WD X 90 HT X 85 DP MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF INPUT:12,NUMBER OF OUTPUT:8,OUTPUT TYPE:RELAY | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 621420 | 621420 | IE32-5581158 | UNIT,CPU,CJ2M-CPU12,OMRON | CPU,CJ2M-CPU12,#9-23963 | [15 empty] | https://industrial.omron.eu/en/products/CJ2M-CPU12 | https://assets.omron.eu/downloads/datasheet/en/v1/p059_cj2-series_datasheet_en.pdf |  | OMRON ELECTRONICS | OPM/OEM | CJ2M-CPU12 | CJ2M-CPU12 | REFERENCE:9-23963 | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 64 KB | POWER SUPPLY | 0.5 A AT 5 V | SIZE | 31 WD X 90 HT X 84.5 DP MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | COMMUNICATION PORT:SERIAL RS-232C,USB,UNIT | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 793084 | 793084 | SK31-5602415 | MODUL CQM1H-CPU51 CQM1H-SCB41 /OMRON | CQM1H-CPU51 CQM1H-SCB41 | OMRON ELECTRONICS GMBH | [14 empty] | https://www.mouser.in/datasheet/2/307/omron_cqm1h_1of3_datasheet_en_200403-1189688.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | CQM1H-CPU51 | CQM1H-SCB41 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | PROGRAMMABLE CONTROLLER | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 7.2 KB PROGRAM,6 KB USER | POWER SUPPLY | 5 VDC,840 mA | SIZE | 187-603 WD X 110 HT X 107 DP MM | MOUNTING TYPE | DIN TRACK | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 645078 | 645078 | IN03-ED035457 | PLC MAKE:B& R, MODEL: CP476/7CP476-010.9 | [16 empty] | https://www.rgbautomatyka.pl/pl/p/file/30293d1e577183d485499783149c8fe5/7AO352.70-AO352-MODU%C5%81-B&R-AUTOMATION-MANUAL.pdf | https://www.br-automation.com/en-in/products/7cp476-0109/ | https://www.radwell.co.uk/Buy/B-AND-R/B-AND-R/7CP476-010.9/?redirect=true | B&R INDUSTRIAL AUTOMATION | OPM | 7CP476-010.9 | 7CP476-010.9 |  | ENRICHED | MRO | 43201503 | CENTRAL PROCESSING UNIT CPU PROCESSORS | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 750 KB SRAM,1.5 MB FLASHPROM | POWER SUPPLY | 24 VDC,12.15 W | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERFACE TYPE:1 RS232 X 1 CAN,W/EXPANSION,FOR PLC | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 655293 | 655293 | IN05-ED036106 | BELCPLCS0152 THEGARTEN PLC |  |  | BELCPLCS0152 PLC 7CP476-010.9 2003 CPU 24VDC ANALOG a | [13 empty] | https://www.rgbautomatyka.pl/pl/p/file/30293d1e577183d485499783149c8fe5/7AO352.70-AO352-MODU%C5%81-B&R-AUTOMATION-MANUAL.pdf | https://www.br-automation.com/en-in/products/7cp476-0109/ | https://www.radwell.co.uk/Buy/B-AND-R/B-AND-R/7CP476-010.9/?redirect=true | B&R INDUSTRIAL AUTOMATION | OPM | 7CP476-010.9 | 7CP476-010.9 | ALTERNATE OEM:THEGARTEN;ALTERNATE OEM PART NUMBER:BELCPLCS0152 | ENRICHED | MRO | 43201503 | CENTRAL PROCESSING UNIT CPU PROCESSORS | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 750 KB SRAM,1.5 MB FLASHPROM | POWER SUPPLY | 24 VDC,12.15 W | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAN: ELECTRICALLY ISOLATED,NETWORK-CAPABLE,4 SLOTS FOR SCREW-IN MODULES,FOR PLC | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 800106 | 800106 | SZ01-SZSJ00009 | OMRON UNIT C200HS-CPU21-E | [16 empty] | https://www.limasoft.cz/omron/pdf/c200h_hs.pdf | https://www.radwell.co.uk/en-GB/Buy/OMRON/OMRON/C200HS-CPU21-E/?redirect=true |  | OMRON ELECTRONICS | OPM/OEM | C200HS-CPU21-E | C200HS-CPU21-E |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 15.2 KB | POWER SUPPLY | 100-120/200-240 VAC | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING | 0-55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES | UNIT,FREQUENCY:50/60 Hz | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 843476 | 843476 | ZA02-ZAAO001012 | CPU-COMPACTLOGIX,1768-L43-SNNE-10502-327 | [16 empty] | https://www.rockwellautomation.com/en-us/products/details.1768-L43.html |  |  | ALLEN-BRADLEY | OPM | 1768-L43-SNNE-10502-327 | 1768-L43-SNNE-10502-327 | BRAND:COMPACTLOGIX | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | MODULAR CONTROLLER | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 2 MB | POWER SUPPLY | 5 VDC,2.8 A,6.3 W | SIZE | 56.4 WD X 131.1 HT X 121.1 DP MM | MOUNTING TYPE | DIN RAIL | ENCLOSURE |  | TEMPERATURE RATING | -40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMMUNICATION BUS:RS-232 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 372379 | 372379 | BE33-5057887 | CPU 16K RAM W/DH+ SLC 5/04 1747-L541 | 1747-L541 |  | CPU 16K RAM W/DH+ SLC 5/04 | CPU 16K RAM W/DH+ SLC 5/04¦¦CPU 16K RAM W/DH+ SLC 5/04 | [12 empty] | https://www.rockwellautomation.com/en-us/products/details.1747-L541.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/um/1747-um011_-en-p.pdf | https://uk.rs-online.com/web/p/plcs-programmable-logic-controllers/6987449 | ALLEN-BRADLEY | OPM | 1747-L541 | 1747-L541 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | DIGITAL | PROCESSOR | SLC 5/04 | CLOCK SPEED |  | MEMORY | 16 KB RAM | POWER SUPPLY | 5 TO 24 VDC,1 mA | SIZE | 35 WD X 145 LG X 142 DP MM | MOUNTING TYPE | CHASSIS | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,C-TICK | ADDITIONAL FEATURES | W/DH+ | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 758305 | 758305 | RU02-5561883 | CONTROLLER;1747-L541 | [16 empty] | https://www.rockwellautomation.com/en-us/products/details.1747-L541.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/um/1747-um011_-en-p.pdf | https://uk.rs-online.com/web/p/plcs-programmable-logic-controllers/6987449 | ALLEN-BRADLEY | OPM | 1747-L541 | 1747-L541 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | DIGITAL | PROCESSOR | SLC 5/04 | CLOCK SPEED |  | MEMORY | 16 KB RAM | POWER SUPPLY | 5 TO 24 VDC,1 mA | SIZE | 35 WD X 145 LG X 142 DP MM | MOUNTING TYPE | CHASSIS | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,C-TICK | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 402622 | 402622 | BH02-5528789 | CPU MOD 1756 L71S LOGIX 2M MEMORY-39 | LG8370 | [15 empty] | https://www.technologybsa.com/en/product-detail/rockwell-automation/1756-l71s/ | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td001_-en-p.pdf |  | ALLEN BRADLEY | OPM | 1756-L71S | 1756-L71S | ALTERNATE MANUFACTURER PART NUMBER:LG8370 | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | MODULE | PROCESSOR | LOGIX5571S | CLOCK SPEED |  | MEMORY | 2 MB | POWER SUPPLY | 6.2 W | SIZE | 40 WD X 125 HT X 130 DP MM | MOUNTING TYPE | CHASSIS | ENCLOSURE | IP67 | TEMPERATURE RATING | 0-60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS | ADDITIONAL FEATURES | TRADE NAME:GUARDLOGIX | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 257215 | 257215 | 8383-52258702 | UNIDAD CPU 3HAC041443-003 |  |  | UNIDAD CPU 3HAC041443-003 PARA CONTROLADOR ROBOT ABB DE PALLETIZADO | [13 empty] | https://new.abb.com/products/3HAC041443-003/3hac041443-003 | https://new.abb.com/products/3HAC041443-003?printout |  | ABB | OPM | 3HAC041443-003 | 3HAC041443-003 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | CONTROL BOARD | PROCESSOR |  | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY |  | SIZE | 352 WD X 266.5 LG X 137.2 HT MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 15434 | 15434 | 8308-52130536 | CPU COMPACTLOGIX 2MBYTES L30ERM | L30ERM | Rockwell Automation | CPU COMPACTLOGIX 2MBYTES - REF: L30ERM - FABRICANTE: ALLEN BRADLEY | CPU COMPACTLOGIX 2MBYTES - REF: L30ERM - FABRICANTE: ALLEN BRADLEY¦¦CPU COMPACTLOGIX 2MBYTES - REF: L30ERM - FABRICANTE: ALLEN BRADLEY | [12 empty] | URL NOT FOUND |  |  | ALLEN BRADLEY | OPM | L30ERM | L30ERM |  | CLEANSED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 2 MB | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 510031 | 510031 | ES36-5410867 | 862-4471 CPU S7-1200 6ES7214-1AG40-0XB0 |  |  |  | Corresponde a su Oferta A1005581297 CPU de PLC Siemens S7-1200, 14 (Digital Input, 2 switch as Analogue Input) entradas tipo Analogue, Digital, 10 (Digital Código RS:862-4471 Nº ref. fabric.:6ES7214-1AG40-0XB0 Fabricante:Siemens | [12 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=6ES7214-1AG40-0XB0 | https://docs.rs-online.com/4ed5/0900766b81397276.pdf |  | SIEMENS | OPM | 6ES7214-1AG40-0XB0 | 6ES7214-1AG40-0XB0 | ALTERNATE PART NUMBER:862-4471 | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 100 KB | POWER SUPPLY | 24 VDC,500 mA | SIZE | 110 WD X 100 HT X 75 DP MM | MOUNTING TYPE | DIN RAIL | ENCLOSURE | IP20 | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,UL | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 830741 | 830741 | VN02-EV003115 | CPU,CJ1M-CPU23 | CJ1M-CPU23;OMRON | [15 empty] | https://assets.omron.eu/downloads/datasheet/en/v3/cj1m-cpu2_cpu_units_with_built-in_i_o_datasheet_en.pdf |  |  | OMRON ELECTRONICS | OPM | CJ1M-CPU23 | CJ1M-CPU23 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 32 KB | POWER SUPPLY | 5-24 V | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,L,N,UC1 | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 712482 | 712482 | PK02-PKC4036 | PLC-SIMATIC S7-200-SIEMENS-MIELE |  |  |  |  | Deska | 110250 | Siemens | 6ES7214-1AD23-0X | SIMATIC S7-200, CPU 224 | [7 empty] | URL NOT FOUND |  |  | SIEMENS | OPM | 6ES7214-1AD23-0X | SIMATIC S7-200 |  | CLEANSED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR | 224 | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 379412 | 379412 | BE35-5514567 | SAFETYEYE PILZ PSS 3047-3 ETH-2 SE | PILZ: 300123 |  | SafetyEYE Pilz PSS 3047-3 ETH-2 SE | SafetyEYE Pilz PSS 3047-3 ETH-2 SE¦¦SafetyEYE Pilz PSS 3047-3 ETH-2 SE¦¦SafetyEYE Pilz PSS 3047-3 ETH-2 SE | [12 empty] | https://plcwest.com/product/pilz-pss-3047-3-eth-2-se-300123-plc-cpu/ |  | https://pl.plcconnex.com/PILZ/300123 | PILZ | OPM | 300123 | PSS 3047-3 ETH-2 SE | EYE PILLS | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | SAFETY | PROCESSOR |  | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 538903 | 538903 |  | AUTO CPU 314C-2DP 24E/16STOR 192KOENS L1 | SS76ES7314-6CH04-0AB0 |  |  | CPU314-2DP 24E/16S TOR/5EA/2SA 192KO SS76ES7314-6CH04-0AB0 | [12 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7314-6CH04-0AB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7314-6CH04-0AB0&language=en | https://docs.rs-online.com/64c7/0900766b81639d5b.pdf | SIEMENS | OPM | 6ES7314-6CH04-0AB0 | 6ES7314-6CH04-0AB0 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE | AUTO COMPACT | PROCESSOR | 314C-2 DP | CLOCK SPEED |  | MEMORY | 192 KB | POWER SUPPLY | 24 VDC | SIZE | 120 WD X 125 HT X 130 DP MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOR/5EA/2SA | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 544849 | 544849 | FR37-LFCAR16162 | CAR S6ES59437UB11CPU943-1 16KO RAM | CAR-CHL |  |  | CARTE S6ES59437UB11CPU943-1 16KO RAM | [12 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES5943-7UB11 | https://www.plchardware.com/Products/SM-6ES5943-7UB11-NSO.aspx | https://www.radwell.co.uk/en-GB/Buy/SIEMENS/SIEMENS/6ES5943-7UB11/?redirect=true | SIEMENS | OPM | 6ES5943-7UB11 | CPU 943 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 48 KB EPROM/EEPROM | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 558241 | 558241 | FR40-LF6292 | TSX 47 /UC 47 400 | TSX47400 | [15 empty] | https://www.se.com/ww/en/download/document/W912914840401A/ |  |  | SCHNEIDER ELECTRIC | OPM | TSX47400 | TSX47400 | ALTERNATE PART NUMBER:UC 47 400 | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 562659 | 562659 | FR41-LF2283008 | CPU PPC-R22.1N-T-NN-P2-NN+FWAPPCR2-GQ11 | AZ5698 |  |  | (PROFIBUS-ETHERNET) | [12 empty] | https://www.wakeindustrial.com/buy/bosch-rexroth-indramat/ppc-series/ppc-r221n-t-nn-p2-nn-fw |  |  | BOSCH | OPM | AZ5698 | PPC-R22.1N-T-NN-P2-NN+FWAPPCR2-GQ11 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 847648 | 847648 | IT03-5604182 | CPU 317T-3 PN/DP 6ES7317-7TK10-0AB0 | 6ES7317-7TK10-0AB0 | [15 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7317-7TK10-0AB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7317-7TK10-0AB0&language=en |  | SIEMENS | OPM | 6ES7317-7TK10-0AB0 | 6ES7317-7TK10-0AB0 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 1024 KB | POWER SUPPLY | 24 VDC,1.05 mA | SIZE | 120 WD X 125 HT X 130 DP MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 35335 | 35335 | 8312-50405238 | CONTR,PROC,D3-340,AUTOM DIR | D3-340 | Automation Direct.com Inc | CONTROL,PROCESSOR,DETAILS:AUTOM DIR,MANUFACTURER:AUTOMATION DIRECT.COM INC,MFR PART NUMBER:D3-340 | [13 empty] | https://cdn.automationdirect.com/static/specs/d3330340specs.pdf | https://www.automationdirect.com/adc/shopping/catalog/retired_products/programmable_controllers/d3-340 |  | AUTOMATIONDIRECT | OPM | D3-340 | D3-340 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 172 B | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 531532 | 531532 | FR34-LFCART00000054 | CART_6ES59283UB2_UC AUTOMATE 135U | 6ES5 928-3UB21 | [15 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES5928-3UB21 | https://assets.euautomation.com/uploads/parts/datasheet/02/6es59283ub21.pdf | https://www.plc-city.com/shop/en/siemens-power-supply-logo-power/sie-6es5928-3ub21-used.html | SIEMENS AG | OPM | 6ES5928-3UB21 | 6ES5928-3UB21 |  | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 46 KB,64 KB | POWER SUPPLY | 20 mA | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR S5-135U/-155U,15 VDC OUTPUT,60 W OUTPUT,4 A OUTPUT;INPUT RATNG:100-240 VAC,110-300 VDC,1 PH | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 781931 | 781931 | RU07-TRU40007092 | PROCESSOR CPU928-B;6ES5928-3UB21 | [16 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES5928-3UB21 | https://assets.euautomation.com/uploads/parts/datasheet/02/6es59283ub21.pdf | https://www.plc-city.com/shop/en/siemens-power-supply-logo-power/sie-6es5928-3ub21-used.html | SIEMENS AG | OPM | 6ES5928-3UB21 | 6ES5928-3UB21 | ALTERNATE PART NUMBER:CPU928-B | ENRICHED | MRO | 43201503 | Central Processing Unit Cpu Processors | CPU |  | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 46 KB,64 KB | POWER SUPPLY | 20 mA | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR S5-135U/-155U,15 VDC OUTPUT,60 W OUTPUT,4 A OUTPUT;INPUT RATNG:100-240 VAC,110-300 VDC,1 PH | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 497073 | 497073 | ES32-5572814 | CÉLULA DE CARGA PANCAKE PR6251/52L |  |  |  | Célula de carga PanCake de acero inoxidable de 500 Kg y precisión L= 0.5%. | [12 empty] | https://www.dataweigh.com/device/sartorius-intec/pr-6251-pancake-level-sensor/pr625152l |  |  | MINEBEA INTEC | OPM | PR6251/52L | PR6251/52L |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SINGLE POINT | CAPACITY | 500 KG | OUTPUT RATING | 2 mV/V | ACCURACY | 0.5 PCT | POWER SUPPLY | 4-24 V | SIZE | 95 DIA X 25 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 587498 | 587498 | GB38-CB41923787 | LOADCELL, AMPLIFIER,AW260/S0001-A AC | AW260/S0001-A AC | PHILIPS | APPLIED-AW260/S0001-A AC INPUT VOLTAGE. | [13 empty] | https://appliedweighing.co.uk/wp-content/uploads/2018/08/Target-260S.pdf |  |  | APPLIED WEIGHING INTERNATIONAL LIMITED | OPM | AW260/S0001-A AC | AW260/S0001-A AC | ALTERNATE MANUFACTURER:PHILIPS | ENRICHED | MRO | 41112108 | Loadcells | AMPLIFIER |  | TYPE | AMPLIFIER | GAIN |  | INPUT SIGNAL | DIGITAL | OUTPUT SIGNAL | ANALOG | POWER SUPPLY | 10 TO 32/85 TO 265 VDC | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE | DIN RAIL | NUMBER OF PINS |  | SIZE | 212 WD X 108 LG X 48 HT MM | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,OIML | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 622599 | 622599 | IE32-5626941 | CELL,LOAD,AW340/0025XD,AW | [16 empty] | https://www.concretespares.ie/temp-pdfs/Applied_Weighing/Cleanmount.pdf |  |  | APPLIED WEIGHING INTERNATIONAL LIMITED | OPM | AW340/0025XD | AW340/0025XD |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | WEIGHING | CAPACITY | 25 KG | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY | 5 TO 12 VAC/VDC | SIZE | 125 WD X 220 LG X 78 DP MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX,OIML,CE,ATEX | ADDITIONAL FEATURES | CABLE LENGTH:6 M | [34 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 189074 | 189074 | 8353-52110706 | CELDA-CARGA/LC745-220KG/64052904/METTLER | 64052904 | Mettler-Toledo Inc | [14 empty] | https://www.mt.com/in/en/home/library/datasheets/industrial-scales/0745A_DL.html |  |  | METTLER TOLEDO | OPM | 64052904 | 64052904 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | NOT AVAILABLE | CAPACITY | 220 KG | OUTPUT RATING | 1.940 mV | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE | M12 | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | SCREW | DEGREE OF PROTECTION | IP68/IP69K | TEMPERATURE RATING | -40 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:NEMA 6/NEMA 6P | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 656034 | 656034 | 8353-52110706 | MT LOADCELL SBC-0.5T,6M PARTCODE72232485 | 72232485 | METTLER TOLEDO | Mettler Toledo Loadcell SBC-0.5t,6m,EN Part Code 72232485 | [13 empty] | https://5.imimg.com/data5/NJ/NL/MY-3028087/mettler-toledo-make-shear-beam-load-cell-sbc.pdf |  |  | METTLER TOLEDO | OPM/OEM | 72232485 | SBC-0.5T-6M |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 0.5 TON | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY | 5 TO 15 VAC/VDC | SIZE | 30.2 WD X 133.4 LG X 22 HT MM | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -20 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | OIML | ADDITIONAL FEATURES | CABLE LENGTH:6 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 309199 | 309199 | AU03-5023451 | LOAD CELL,SP,30KG,GK2131S,17-4PH,SS,IP67 | RITEWEIGH GK2131S |  | RITEWEIGH GK2131S | [13 empty] | https://gedgesystems.com.au/product/gk2131-economical-3kg-to-100kg-single-point-load-cell/ |  |  | GEDGE SYSTEMS PTY LTD | OPM | GK2131 | GK2131 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | ECONOMICAL,SINGLE POINT | CAPACITY | 30 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | 0.02 PCT | POWER SUPPLY |  | SIZE | 400 X 400 MM | MATERIAL | ALUMINUM | MOUNTING TYPE | HOLE | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 645502 | 645502 | IN03-ED036309 | LOAD CELL MODEL- Z6FC3 50KG, HBM |  |  | Bepex Dosing tank | [13 empty] | https://www.jaescompany.com/productsdatasheets/datasheet-HBM-Z6FD1-195692.pdf |  |  | HBM | OPM | Z6FC3-50KG | Z6FC3-50KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | NOT AVAILABLE | CAPACITY | 50 KG | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 0.5-12 V | SIZE | 80 WD X 123 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | BASE PLATE | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -30 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX | ADDITIONAL FEATURES | CABLE LENGTH:3 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 847566 | 847566 | IT03-5518935 | CELLA DI CARICO TEDEA MOD.1042 C3 10 KG. | COD. 093178 | [15 empty] | https://docs.rs-online.com/9640/0900766b801b94fb.pdf | https://www.pavonesistemi.com/load-cells-tedea-huntleigh-1042 |  | TEDEA-HUNTLEIGH | OPM | 1042 | 1042 | ALTERNATE MANFACTURER PART NUMBER:093178 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SINGLE POINT | CAPACITY | 10 KG | OUTPUT RATING | 2 MV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 15 VAC/DC | SIZE | 13/16 WD X 5-7/8 LG X 1-9/16 HT IN | MATERIAL | ALUMINUM | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP66 | TEMPERATURE RATING | -30 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | NTEP,OIML,ATEX,FM,IECEX | ADDITIONAL FEATURES | OUTPUT IMPEDANCE:350+/-3 OHM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 56972 | 56972 | 8317-50487790 | CELL,LOAD,402440 F30X 200K,SCAIME | 402440 F30X 200K | Scaime | CELL,LOAD,DETAILS:SCAIME,MANUFACTURER:SCAIME,MFR PART NUMBER:402440 F30X 200K | [13 empty] | https://www.ontrium.com/get.aspx?id=1437389 |  |  | SCAIME | OPM | 402440 | F30X-200KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BENDING BEAM | CAPACITY | 200 KG | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE | 27.5 DIA X 120 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX,IECEX,FM,OIML | ADDITIONAL FEATURES | CABLE LENGTH:3 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 67900 | 67900 | 8321-52037237 | SENSORTRONIC CELDA DE CARGA MD 65023 1 | [16 empty] | https://3.imimg.com/data3/BK/TI/MY-3028087/sensortronics-65023-load-cell.pdf |  |  | SENSORTRONICS | OPM | MD 65023 1 | MD 65023 1 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 50 KG-11.5 TON | OUTPUT RATING | 3 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 10-15 VDC | SIZE |  | MATERIAL | ALLOY STEEL W/ELECTROLESS NICKEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 302814 | 302814 | AT31-5554306 | REX PW15AHC3/20KG-1 PLATTFORMWIEGEZELLE | PW15AHC3/20KG-1 | HOTTINGER BALDWIN MESSTECHNIK | REX PW15AHC3/20KG-1 Plattformwägezelle,hermetisch gekapselt. Nennlast: 20 kg Mindestteilungswert: 2g OIML R60 Prüfbericht Genauigkeitsklasse: C3 Eckenlast kompensiert für Plattformgrößen 500 x 400 mm nach OIML R76 Material: Nichtrostender Stahl Schutzklasse: IP68; IP69K Kabelart: Geschirmtes 6-adriges Rundkabel mit PVC Mantel Kabellänge: 3m Stecker: CE 100F26-6 | REX PW15AHC3/20KG-1 Plattformwägezelle,hermetisch gekapselt. Nennlast: 20 kg Mindestteilungswert: 2g OIML R60 Prüfbericht Genauigkeitsklasse: C3 Eckenlast kompensiert für Plattformgrößen 500 x 400 mm nach OIML R76 Material: Nichtrostender Stahl Schutzklasse: IP68; IP69K Kabelart: Geschirmtes 6-adriges Rundkabel mit PVC Mantel Kabellänge: 3m Stecker: CE 100F26-6 | [12 empty] | http://www.rcs-co.com/products/PDF/HBM/Single%20Point%20Load%20Cells/PW15AH.pdf |  |  | HBM | OPM | PW15AHC3 | PW15AHC3 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SINGLE POINT | CAPACITY | 20 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE | 500 X 400 MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68/IP69K | TEMPERATURE RATING | 20-40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE LENGTH:3 M;HERMETICALLY SEALED;MINIMUM DIVISION VALUE:2G OIML R60 TEST REPORT ACCURACY CLASS:C3;CORNER LOAD COMPENSATED FOR PLATFORM;CABLE TYPE:SHIELDED 6-CORE ROUND CABLE WITH PVC JACKET;CONNECTOR:CE 100F26-6 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 372139 | 372139 | BE33-5057384 | HBM C2/500KG PESON CLASSE 0,1 |  |  | HBM C2/500KG PESON CLASSE 0,1 CAPTEUR DE PESAGE EN COMPRESSION PORTEE NOMINALE: 500KG. INOX. IP67 PRECISION: 0,1% CABLE: 3M | HBM C2/500KG PESON CLASSE 0,1 CAPTEUR DE PESAGE EN COMPRESSION PORTEE NOMINALE: 500KG. INOX. IP67 PRECISION: 0,1% CABLE: 3M¦¦ HBM C2/500KG PESON CLASSE 0,1 CAPTEUR DE PESAGE EN COMPRESSION PORTEE NOMINALE: 500KG. INOX. IP67 PRECISION: 0,1% CABLE: 3M | [12 empty] | https://www.hbm.com/fileadmin/mediapool/hbmdoc/technical/B01006.pdf |  |  | HBM | OPM | C2 | C2 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | DYNAMIC | CAPACITY | 500 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | +/-0.1 PCT | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -30 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE LENGTH:3 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 562309 | 562309 | FR41-LF2233001 | PESON PWS 10 KGS 9031 80 80 REPERE 14 | SCHENCK : V058895.B01 |  |  | CAPTEUR PESON PWS 10 KGS 9031 80 80 REPERE 14 SCHENCK : V058895.B01 §§§§ PRIX AVEC FRAIS DE PORT INCLU §§§§ | [12 empty] | http://www.ssmcc.com/upload/products/small/bvd2214gb%20PWS.pdf |  |  | SCHENCK PROCESS HOLDING GMBH | OPM | V058895.B01 | V058895.B01 | REFERENCE NUMBER:9031 80 80 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | PWS PLATFORM | CAPACITY | 10 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX | ADDITIONAL FEATURES | BRAND:SENSIQ;TORQUE RATING:32 NM;LOCATED 14 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 591436 | 591436 | GB38-CB60041554 | LOADCELL,ISHIDA,DLC-80L,082-0866 | DLC-80L,082-0866 | ISHIDA | LOADCELL,ISHIDA,DLC-80L,082-0866 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/ISHIDA/ISHIDA/DLC-80L/?redirect=true |  |  | ISHIDA CO.,LTD. | OEM | DLC-80L | DLC-80L | REFERENCE:082-0866 | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | HERMETICALLY SEALED | CAPACITY | 80 LB | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 30 V | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP66,IP68 | TEMPERATURE RATING | -30 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 619057 | 619057 | IE32-5435295 | CELL,LOAD,DLC-80L,ISHIDA | [16 empty] | http://www.davysystems.cn/DataSheets/Standard_Load_Cells/DLC_Series.pdf | https://www.radwell.co.uk/en-GB/Buy/ISHIDA/ISHIDA/DLC-80L/?redirect=true |  | ISHIDA CO.,LTD. | OEM | DLC-80L | DLC-80L |  | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | HERMETICALLY SEALED | CAPACITY | 80 LB | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 30 V | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP66,IP68 | TEMPERATURE RATING | -30 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 633310 | 633310 | IN02-ED057752 | MINEBEAINTEC-LOADCELL-PR6212/3TC1-3000KG | [16 empty] | https://www.dataweigh.com/device/sartorius-intec/pr-6212-tank-and-hopper-load-cell/pr-6212-compact-compression-type-load-cell-500kg-10-000kg/pr62123tc1 |  |  | MINEBEA INTEC | OPM | PR6212/3TC1-3000KG | PR6212/3TC1-3000KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | NOT AVAILABLE | CAPACITY | 3000 KG | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 4-24 VDC | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68,IP69 | TEMPERATURE RATING | -30 TO 180 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 643427 | 643427 | IN03-ED031991 | LOADCELL BB 15 ,65683508450,BIZERBA | [16 empty] | https://www.bizerba.com/media/produkt_downloads/industrie_waagen_2/lastaufnehmer_professional/factsheet_il_professional_20f_hy_en.pdf |  |  | BIZERBA INDIA PVT LTD | OPM | BB 15 | BB 15 | REFERENCE NUMBER:65683508450 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | STRAIN GAUGE | CAPACITY | 3-15 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE | 335 WD X 75-90 HT X 260 DP MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | FREESTANDING | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 656522 | 656522 | IN05-ED047423 | E4 BRABENDER LOADCELL1PW15AC3 E007779 |  |  | Brabender Platform load cell 1-PW15AC3/ 7.5KG-1 Article E007779 | [13 empty] | https://www.prosolucoes.ind.br/admin/up/15092182411190501095PW15AC3FichaT_ocnicapdf.pdf |  |  | HBM | OPM | 1-PW15AC3/7.5KG-1 | 1-PW15AC3/7.5KG-1 | ALTERNATE MANUFACTURER:BRABENDER | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | PLATFORM | CAPACITY | 7.5 KG | OUTPUT RATING | 359 OHMS | ACCURACY | CLASS C3 | POWER SUPPLY | 1-15 V | SIZE | 40 WD X 150.4 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | SCREW | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX 2208,EC | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 848264 | 848264 | IT03-5539826 | CELLA DI CARICO PR 6201/13D1 | COD. 940526201131 | [15 empty] | https://www.minebea-intec.com/en/load-cells/vessel-and-silo-weighing-500-kg-520-t/compression-load-cell-pr-6201#c11283 | https://www.minebea-intec.com/sharepoint/intec_global/marketing/datasheets/truck__vessel_and_silo_weighing/vessel_and_silo_scales/ds_pr_6201_en.pdf | https://www.dataweigh.com/device/sartorius-intec/pr-6201-precision-compression-load-cell/pr-6201-precision-compression-load-cell-500kg-10-000kg/pr620113d1 | MINEBEA INTEC | OPM | PR 6201/13D1 | PR 6201/13D1 | ALTERNATE MANUFACTURER PART NUMBER:940526201131 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | COMPRESSION | CAPACITY | 1000 KG | OUTPUT RATING | 1 MV/V | ACCURACY | CLASS D1,0.04 | POWER SUPPLY | 32 V | SIZE | 5 LG M CABLE X 138.5 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP69 | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,ATEX,FM,IEC-EX,OIML | ADDITIONAL FEATURES | OUTPUT IMPEDANCE:610 +/-1 OHM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 848216 | 848216 | IT03-5549023 | CELLA DI CARICO GWT PLATFORM 300 KG GF/I | COD. SARTORIUS 69CW0056 | [15 empty] | https://www.sartorius.com/shop/ww/en/eur/products-laboratory-lab-products-%26-services-accessories-and-consumables/loadcell-gwt-011274-platform-300kg-gf-ig/p/69CW0056 |  |  | SARTORIUS AG | OPM | 69CW0056 | 69CW0056 |  | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | NOT AVAILABLE | CAPACITY | 300 KG | OUTPUT RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GWT PLATFORM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 690430 | 690430 | MY43-EM000191 | NUC LOADCELL OIL TANKS 25T | LPX25T | [15 empty] | https://www.ptglobal.com/categories/130-compression-disk-loadcell-lpx |  |  | PT LTD | OPM | LPX-25T | LPX-25T |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | COMPRESSION | CAPACITY | 25 TON | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 5-20 VDC/VAC | SIZE | 150 LG MM | MATERIAL | STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [34 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 705908 | 705908 | 8353-52110706 | LOADCELL, MT1260-150KG 2M, PN: 71201847 | [16 empty] | https://www.mt.com/dam/product_organizations/industry/Load_Cells/Downloads/LoadCells/MT1260/datasheets/44099826_MAR_DS_MT1260_Load_Cells_EN.pdf |  |  | METTLER TOLEDO | OPM/OEM | 71201847 | MT1260-150KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | POTTED | CAPACITY | 150 KG | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY | 5 TO 15 VAC/VDC | SIZE | 63.5 WD X 188 LG X 62.3 HT MM | MATERIAL | ALUMINUM | MOUNTING TYPE | SCREW | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -40 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | OIML,NTEP,EX | ADDITIONAL FEATURES | CABLE LENGTH:2 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 781175 | 781175 | RU07-TRU40005862 | LOADCELL;PR6241/13D1 | [16 empty] | https://www.dataweigh.com/device/sartorius-intec/pr-6241-compression-s-type-load-cell-100kg-2000kg/pr624113d1 | https://www.dataweigh.com/media/15707/ds_pr_6241_en.pdf |  | MINEBEA INTEC | OPM | PR6241/13D1-1000KG | PR6241/13D1-1000KG |  | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | S | CAPACITY | 1000 KG | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY | 4-24 VDC | SIZE | 65 MM DIA | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68,IP69 | TEMPERATURE RATING | -40 TO 95 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [34 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 408207 | 408207 | CH31-5439504 | KRAFTMESSDOSE KIS-8-2KN, VA 2 MV/V, IP67 | 045659 4.220410 | CHOCOTECH | ERSATZTEILE NOUGAT LINIE MASCHINEN NR. 020405 | ERSATZTEILE NOUGAT LINIE MASCHINEN NR. 020405 | [12 empty] | https://www.pavonesistemi.com/pdf/load-cells-blh-nobel-kis-8 |  |  | BLH NOBEL | OPM | KIS-8-2KN | KIS-8-2KN |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | NOT AVAILABLE | CAPACITY | 2 KN | OUTPUT RATING | 2.040 mV/V | ACCURACY | +/-0.02 PCT | POWER SUPPLY | 18 VDC | SIZE | 33 DIA X 75 WD X 175 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -40 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,ATEX | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 621297 | 621297 | IE32-5576336 | CELL,LOAD,RC3-50T-C3,FLINTEC | CELL,LOAD,RC3-50T-C3,J-TEC | [15 empty] | https://www.scalesplus.com/flintec-rc3-50t-c3-50-ton-stainless-steel-rocker-load-cell-ntep-oiml/ | https://www.flintec.com/media/datasheets/rc3-datasheet-en.pdf |  | FLINTEC GROUP AB | OPM | RC3-50T-C3 | RC3-50T-C3 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | COMPRESSION | CAPACITY | 50 TON | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY | 5-15 V | SIZE | 69 DIA X 89 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -40 TO 80 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS,OIML,NTEP,EX,FM | ADDITIONAL FEATURES | CABLE LENGTH:12 M | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 780992 | 780992 | RU07-TRU40005502 | LOADCELL;PR6207/51 | [16 empty] | http://www.lesyco.com/DS/DS-PR6207-e.pdf |  |  | SARTORIUS AG | OPM | PR6207/51 | PR6207/51 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | DOUBLE BENDING BEAM | CAPACITY | 50 KG | OUTPUT RATING | 2 mV/V | ACCURACY | 0.05/0.017 % | POWER SUPPLY | 4 TO 12 V | SIZE | 42 DIA X 120 LG MM | MATERIAL | STAINLESS STEEL GR 1.4122 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -50 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 305229 | 305229 | AU02-EA501731 | LOADCELL STAINLESS STEEL 1T KA 1000 C3 | KA 1000 | [15 empty] | https://www.kelba.com/kelba-ka1000-shear-beam-load-cell/ |  |  | KELBA INNOVATIVE WEIGHING TECHNOLOGY | OPM | KA1000 | KA1000 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 1000 KG | OUTPUT RATING | 2.2 MV/V | ACCURACY |  | POWER SUPPLY | 5 TO 15 VDC | SIZE | 28 WD X 125 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 305228 | 305228 | AU02-EA501730 | LOADCELL 2T PR6211/23 D1 | PR6211/23 D1 |  | PR6211/23 D1 | [13 empty] | https://www.geass.com/wp-content/uploads/filebase/sartorius/bilance_industriali/celle_di_carico/pr6211/Cella-di-carico-compressione-Sartorius_PR6211_e.pdf |  |  | SARTORIUS AG | OPM | PR6211/23 D1 | PR6211/23 D1 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | COMPRESSION | CAPACITY | 2 TON | OUTPUT RATING | 2 mV/V | ACCURACY | 0.5 % | POWER SUPPLY | 4 TO 24 V | SIZE | 67.2 DIA X 46.4 HT MM | MATERIAL | STAINLESS STEEL 1.4462 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -40 TO 95 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,EEX | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 619793 | 619793 | IE32-5505728 | WEIGHCELL,EC2000-,62068303,OCS |  |  | EC2000-2-FS212182627 | [13 empty] | https://www.wipotec.com/us/weigh-cells/ec-fs | https://www.wipotec-ocs.com/fileadmin/wipotec-weighing-technology/product-catalog-weigh-cell-weighing-kit-accessorie.pdf |  | WIPOTEC GMBH | OEM | EC 2000-2-FS-2-12-18-26- 27 | EC 2000-2-FS-2-12-18-26- 27 | ALTERNATE OPM:OCS;REFERENCE NUMBER:212182627 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | WEIGH | CAPACITY | 750 G | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 24 VDC | SIZE | 300 X 200 MM | MATERIAL | STAINLESS STEEL GR 316L | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP44 | TEMPERATURE RATING | 5 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 626347 | 626347 | IE32-CB60048026 | WEIGH CELL -EC2000, 62068510, OCS |  |  | Weigh Cell type EC 2000-2-FS-2-12-18-19-26- 27 | [13 empty] | https://www.wipotec.com/us/weigh-cells/ec-fs | https://www.wipotec-ocs.com/fileadmin/wipotec-weighing-technology/product-catalog-weigh-cell-weighing-kit-accessorie.pdf |  | WIPOTEC GMBH | OEM | EC 2000-2-FS-2-12-18-19-26- 27 | EC 2000-2-FS-2-12-18-19-26- 27 | ALTERNATE MANUFACTURER:OCS;REFERENCE NUMBER:62068510 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | WEIGH | CAPACITY | 750 G | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 24 VDC | SIZE | 300 X 200 MM | MATERIAL | STAINLESS STEEL GR 316L | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP44 | TEMPERATURE RATING | 5 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 496 | 496 | 8301-52001198 | CELULA DE CARGA GWT/PHILIPS | 50599951 | Buhler Inc | *OBSOLETO**SEM LINK**SEM CONSUMO****2017** CELULA DE CARGA GWT/PHILIPSCELULA DE CARGA GWT/PHILIPSPR-6251/52-LA 24VDC SAIDA 50599951 (HAAS)GWT/PHILIPS PR6251/52-LA (HAAS50599951 (HAAS)Grupo = Bis | *OBSOLETO**SEM LINK**SEM CONSUMO****2017** CELULA DE CARGA GWT/PHILIPSCELULA DE CARGA GWT/PHILIPSPR-6251/52-LA 24VDC SAIDA 50599951 (HAAS)GWT/PHILIPS PR6251/52-LA (HAAS50599951 (HAAS)Grupo = Bis | [12 empty] | https://www.dataweigh.com/media/13387/ds-pr6251-e.pdf |  |  | SARTORIUS AG | OPM | PR6251/52LA | PR6251/52LA | ALTERNATE MANUFACTURER:GWT/PHILIPS,BUHLER INC,ALTERNATE PART NUMBER:50599951,REFERENCE NUMBER:HAAS/SAIDA 50599951,OBSOLETE,SEM LINK,NO CONSUMPTION 2017 | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | LEVEL SENSOR | CAPACITY | 500 KG | OUTPUT RATING | 2 mV/V | ACCURACY | 0.5 % | POWER SUPPLY | 4 TO 24 V | SIZE | 95 OD X 25 HT MM | MATERIAL | STAINLESS STEEL 1.4021 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -40 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,EEX | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [34 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 143074 | 143074 | 8349-50174119 | CELL,LOAD,HI-SB01-2.5K,HARDY INST | HI-SB01-2.5K | Hardy Instruments Inc | CELL,LOAD,DETAILS:HARDY INST,MANUFACTURER:HARDY INSTRUMENTS INC,MFR PART NUMBER:HI-SB01-2.5K | [13 empty] | https://www.hardysolutions.com/Content/Downloads/Drawings/0c74b20c-f3a1-43c7-8be8-4c48e4ba10a9.pdf | https://www.hardysolutions.com/hisb01 |  | HARDY INSTRUMENTS, INC. | OPM | HI-SB01-2.5K | HI-SB01-2.5K |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 2500 LB | OUTPUT RATING | 3 mV/V | ACCURACY | +/-0.03 | POWER SUPPLY | 15 VDC | SIZE | 31.75 WD X 130.05 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 247587 | 247587 | 8380-52204778 | CELL,LOAD,20552003 | 20552003 | Heat & Control Inc | CELL,LOAD,DETAILS:LOAD CELL, 44#, SS, HARDY # HI-HBB01-44,MANUFACTURER:HEAT & CONTROL INC,MFR PART NUMBER:20552003 | [13 empty] | https://www.hardysolutions.com/tenants/hardy/documents/OneMountBeamHIHBB01.pdf |  |  | HARDY INSTRUMENTS, INC. | OPM | HI-HBB01-44 | HI-HBB01-44 | OEM:HEAT & CONTROL INC,ALTERNATE OEM PART NUMBER:20552003 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BEAM | CAPACITY | 44 LB | OUTPUT RATING | 2 mV/V | ACCURACY | 0.02 % | POWER SUPPLY | 5 TO 15 VDC | SIZE | 102 WD X 165 LG X 76.6 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | SCREW | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -40 T0 80 DEG C | HAZARD CLASS | IS C1,C2,C3 | CERTIFICATION/STANDARD | FM,RA | ADDITIONAL FEATURES | CABLE LENGTH:10 FT | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 248025 | 248025 | 8380-52215907 | CELL,LOAD,X000000386327,NLC-12L | X000000386327 | Heat & Control Inc | CELL,LOAD,DETAILS:NLC-12L,MANUFACTURER:HEAT & CONTROL INC,MFR PART NUMBER:X000000386327 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/ISHIDA/ISHIDA/NLC-1.2L/?redirect=true |  |  | ISHIDA CO.,LTD. | OEM | NLC-12L | NLC-12L | ALTERNATE MANUFACTURER:HEAT & CONTROL INC;ALTERNATE PART NUMBER:X000000386327 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 59 X 90 MM | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:5 WIRE | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 105980 | 105980 | 8339-50228613 | MUFF,COMPR AIR LINE,M3MN,3/8 NPT | M3MN | Numatics Inc | MUFFLER,COMPRESSED AIR LINE,CONN_SIZE:3/8 NPT,MANUFACTURER:NUMATICS INC,MFR PART NUMBER:M3MN |  | BDI | 21452299 | NUMATICS | M3MN | M3MN SILENCER | [7 empty] | https://store.lydey.com/products/M3MN | https://www.thepneumaticstore.com/images/pdf/Numatics%20Accessories.pdf |  | ASCO NUMATICS | OPM | M3MN | M3MN |  | ENRICHED | MRO | 27131609 | Pneumatic Silencers | MUFFLER | AIR | LENGTH | 57.2 MM | MATERIAL | METAL | CONNECTION TYPE/SIZE | 3/8 IN NPT | TYPE | COMPRESSED LINE | ADDITIONAL FEATURES | [51 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 384221 | 384221 | BE35-LBH08970 | GELUIDSDEMPER T40C2800 1/4" | BRAMMER: 100054788 |  | GELUIDSDEMPER NORGREN-MARTONAIR T40C2800 1/4" BRAMMER: 100054788 OFFERTE: B.813.653-KEM-PBO-VTW | GELUIDSDEMPER NORGREN-MARTONAIR T40C2800 1/4" BRAMMER: 100054788 OFFERTE: B.813.653-KEM-PBO-VTW¦¦GELUIDSDEMPER NORGREN-MARTONAIR T40C2800 1/4" BRAMMER: 100054788 OFFERTE: B.813.653-KEM-PBO-VTW¦¦GELUIDSDEMPER NORGREN-MARTONAIR T40C2800 1/4" BRAMMER: 100054 | Rubix | 5202492 | NORGREN |  |  | NORGREN ( E ) GELUIDDEMPER G1/4 T40C2800 | [6 empty] | http://cdn.norgren.com/pdf/RW_en_10_5_021_T40.pdf |  |  | IMI NORGREN | OPM | T40C2800 | T40C2800 | QUOTE NUMBER:B.813.653-KEM-PBO-VTW | ENRICHED | MRO | 27131609 | Pneumatic Silencers | MUFFLER | AIR | LENGTH | 33 MM | MATERIAL | SINTERED BRONZE,BRASS | CONNECTION TYPE/SIZE | 1/4 IN BSPP | TYPE | PNEUMATIC | ADDITIONAL FEATURES | FLOW COEFFICIENT:1.8 CV;TEMPERATURE RATING:-40 TO 80 DEG C | [51 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 391473 | 391473 | BE35-LBH20114 | GELUIDSDEMPER SMC AN101-01 | SMC GELUIDSDEMPER AN101-01 |  | SMC SILENCER AN101-01 | SMC SILENCER AN101-01¦¦SMC SILENCER AN101-01¦¦SMC SILENCER AN101-01 | Rubix | 5288654 | SMC |  |  | SMC GELUIDDEMPER AN101-01 | [6 empty] | https://5.imimg.com/data5/BJ/RN/TJ/SELLER-3471203/silencer-series-an.pdf | https://in.rsdelivers.com/product/smc/an101-01/smc-an-copper-alloy-1mpa-pneumatic-silencer-r-1/8-male/7124841 |  | SMC CORPORATION | OPM | AN101-01 | AN101-01 |  | ENRICHED | MRO | 27131609 | Pneumatic Silencers | MUFFLER | AIR | LENGTH | 21 MM | MATERIAL | SINTERED BRONZE | CONNECTION TYPE/SIZE | 1/8 IN BSPT | TYPE | PNEUMATIC | ADDITIONAL FEATURES | TEMPERATURE RATING:5 TO 150 DEG C;NOISE REDUCTION:16 DB | [51 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 587329 | 587329 | GB38-CB41923493 | SILENCER,M/S2,1/4" BSP |  |  | SILENCER M/S2 1/4"BSP |  | Rubix | 80138898 | NORGREN |  |  | NORGREN EXHAUST PORT SILENCER | [6 empty] | https://cdn.norgren.com/pdf/en_10_5_011_M_S.pdf | https://www.xonelec.com/mpn/norgren/ms2 |  | IMI NORGREN | OPM | M/S2 | M/S2 |  | ENRICHED | MRO | 25173702 | Mufflers or resonators | MUFFLER | EXHAUST | NOMINAL SIZE | 1/4 IN | END CONNECTION | BSP | DIAMETER | 15.5 MM | LENGTH | 42.5 MM | MATERIAL | PLASTIC | TYPE | SOUND SUPPRESSION | PRESSURE RATING | 10 BAR | TEMPERATURE RATING | -20 TO 80 DEG C | HAZARD CLASS |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 665733 | 665733 | IN07-ED049903 | SILENCER 1 1/2+-CD-AIQ 1617616404 ATLAS | [16 empty] | https://www.atlascopco.com/en-gr/compressors/service/parts/air-compressor-parts/1617616404 | https://pneumaticnow.com/product/atlas-copco-silencer-1-1-2-cd-aiq-part-1617616404/ |  | ATLAS COPCO | OPM | 1617616404 | 1 1/2+-CD-AIQ |  | ENRICHED | MRO | 25173702 | Mufflers or resonators | MUFFLER | AIR | LENGTH |  | MATERIAL |  | CONNECTION TYPE/SIZE | 1-1/2 IN | TYPE |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 649700 | 649700 | IN04-ED023906 | CONTROL PISTON/PART NO 044455/CROWNPTH50 | 44455 | CROWN EQUIPMENT | Crown Piston- 816819 (MH38005583) | [13 empty] | https://store.hgmforkliftparts.com/crown_forklift_parts/CR044455.aspx | https://www.finditparts.com/products/11432037/crown-816819 |  | CROWN EQUIPMENT CORPORATION | OEM | 044455 | 044455 | REFERENCE NUMBER:816819,MH38005583 | CLEANSED | MRO | 40151700 | Pump Parts And Accessories | PISTON | PUMP | TYPE | CONTROL | DIAMETER |  | LENGTH |  | MATERIAL |  | CONNECTION TYPE |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 649842 | 649842 | IN04-ED024196 | HOPT CROWN PISTON BOSCH S.P: 840 | 44453 | CROWN EQUIPMENT | [14 empty] | https://www.ouroverstock.com/44453-piston-pump-for-crown-pth50-hydraulic-unit-132165553686 |  |  | CROWN EQUIPMENT | OEM | 44453 | 44453 | ALTERNATE MANUFACTURE NAME:BOSCH S.P:840 | CLEANSED | MRO | 40151557 | Rotating Piston Pumps | PISTON | PUMP | TYPE |  | DIAMETER | NOT AVAILABLE | LENGTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | CONNECTION TYPE |  | ADDITIONAL FEATURES | [49 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 654100 | 654100 | IN05-ED024196 | HOPT CROWN PISTON BOSCH S.P: 840 | 44453 | CROWN EQUIPMENT | [14 empty] | https://www.ouroverstock.com/44453-piston-pump-for-crown-pth50-hydraulic-unit-132165553686 |  |  | CROWN EQUIPMENT | OEM | 44453 | 44453 | ALTERNATE MANUFACTURE NAME:BOSCH S.P:840 | CLEANSED | MRO | 40151700 | Pump Parts And Accessories | PISTON | PUMP | TYPE |  | DIAMETER | NOT AVAILABLE | LENGTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | CONNECTION TYPE |  | ADDITIONAL FEATURES | [49 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 12-05-2023 |  | 92565 | 92565 | 8326-52250038 | HIONELP-H-220-SS. CELDA DE CARGA |  |  | HIONELP-H-220-SS. CELDA DE CARGA Y BASE DE MONTAJE, 220 IBS MCA HARDY 153911 | [13 empty] | https://www.hardysolutions.com/tenants/hardy/documents/OneMountBeamHIHBB01.pdf |  |  | HARDLY SOLUTIONS | OPM | HIONELP-H-220-SS | HIONELP-H-220-SS |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | LOAD SENSOR | CAPACITY | 220 LB | OUTPUT RATING | 2 mV/V | ACCURACY | NOT AVAILABLE | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL GR 17-4 PH | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68/69K | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WITH MOUNTING BASE;153911 | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed