## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 86136 | 86136 | 8326-52188449 | CELDA DE CARGA FU010KC CAP 10.000 LB |  |  | CELDA DE CARGA MARCA ELECTROAMERICA MODELO FU010KC CAPACIDAD 10.000 LB . | [13 empty] | https://www.acemex.com/portal/productos/celdas_carga/CELDA_FU/ |  |  | ELECTROAMERICA | OPM | FU010KC | FU010KC |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 10000 LB | OUTPUT RATING | 3 mV/V | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENGG. METAL PART | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 227993 | 227993 | 8373-52182093 | CELDA DE CARGA MODELO SB-20000S CARDINAL |  |  | CELDA DE CARGA MODELO SB-20000S CAPACIDAD. 20,000 LBS MARCA: CARDINAL (USA) USO: SISTEMA DE RECEPCION DE CHOCOLATE TANQUE 1 FUNCION: INDICAR LA CANTIDAD DE CHOCOLATE EN EL TANQUE MEDIANTE EL PESO. MATERIAL:ACERO INOXIDABLE | [13 empty] | https://scienspec.com.tw/userfiles/files/SB.pdf |  |  | CARDINAL SCALE | OPM | SB-20000S | SB-20000S |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BEAM | CAPACITY | 9000 KG | OUTPUT RATING | 2 mV/V | ACCURACY | C3 | POWER SUPPLY | 10 TO 15 VDC | SIZE | 228.6 LG X 62.5 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -29-1/2 TO 93-1/2 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | OIML,NTEP | ADDITIONAL FEATURES | TANK 1 CHOCOLATE RECEPTION SYSTEM,FUNCTION:INDICATE THE AMOUNT OF CHOCOLATE IN THE TANK BY WEIGHT,ENGG. METAL PART | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 20128 | 20128 | 8308-52232341 | CELULA CARGA ACO LIGA NIQUEL L-5T ALFA |  |  | CELULA CARGA; TIPO: INSTRUMENTO DE MEDICAO COM SUPORTE; MODELO: L-5T SAMEL-5CF -0007782; MATERIAL: ACO LIGA NIQUELADO; CAPACIDADE: 5000 KG; APLICACAO: MEDICAO DE CARGA ; REFERENCIA: 7782; FABRICANTE: ALFA INSTRUMENTOS ; FORNECEDOR EXCLUSIVO: NÃO; FORNECEDOR: ALFA INSTRUMENTOS ; Nº EQUIPAMENTO SAP: 10102925; PODE SER RECONDIONADO?: NÃO; LAUDO SANITÁRIO/MSDS?: NÃO | CELULA CARGA; TIPO: INSTRUMENTO DE MEDICAO COM SUPORTE; MODELO: L-5T SAMEL-5CF -0007782; MATERIAL: ACO LIGA NIQUELADO; CAPACIDADE: 5000 KG; APLICACAO: MEDICAO DE CARGA ; REFERENCIA: 7782; FABRICANTE: ALFA INSTRUMENTOS ; FORNECEDOR EXCLUSIVO: NÃO; FORNECEDOR: ALFA INSTRUMENTOS ; Nº EQUIPAMENTO SAP: 10102925; PODE SER RECONDIONADO?: NÃO; LAUDO SANITÁRIO/MSDS?: NÃO | [12 empty] | https://www.alfainstrumentos.com.br/conheca-o-sistema-de-pesagem-samel/ |  |  | ALFA INSTRUMENTS | OPM | L-5T | L-5T | REFERENCE NUMBER:7782;SAP EQUIPMENT NUMBER:10102925 | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 5000 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | NICKEL PLATED ALLOY STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TYPE:SUPPORTED MEDICAL INSTRUMENT;MODEL:L-5T SAMEL-5CF-0007782;APPLICATION:LOAD MEASUREMENT | [34 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 122 | 122 | 8301-52000259 | CELULA DE CARGA PR6201/24 D1 |  |  | CELULA DE CARGA PR6201/24 D1 CELULA DE CARGA PR6201/24 D1 (PHILIPS)PR6201/24 D1 (PHILIPS) Grupo = Massas | CELULA DE CARGA PR6201/24 D1 CELULA DE CARGA PR6201/24 D1 (PHILIPS)PR6201/24 D1 (PHILIPS) Grupo = Massas | [12 empty] | https://www.dataweigh.com/device/sartorius-intec/pr-6201-precision-compression-load-cell/pr-6201-precision-compression-load-cell-20-000kg-50-000kg/pr620124d1#specifications | https://www.dataweigh.com/media/14508/ds-pr6201_500kg-e.pdf |  | MINEBEA | OPM | PR6201/24 D1 | PR6201/24 D1 | ALTERNATE OPM:PHILIPS | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | PRECISION COMPRESSION | CAPACITY | 20 TON | OUTPUT RATING | 1 mV/V | ACCURACY | 0.04 % | POWER SUPPLY | 32 V | SIZE | 138.5 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | 10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIGNAL OUTPUT:4-20 mA | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 7762 | 7762 | 8301-52133078 | CELULA DE CARGA HBM THC-1 25K |  |  | CELULA DE CARGA HBM THC-1.25K NOME COMERCIAL: CELULA DE CARGA; MATERIAL FABRICAÇÃO: INOX; ESPECIFICAÇÃO: MODELO THC / 1,25K; FABRICANTE: HBM;; LINHA: QUEIJO | CELULA DE CARGA HBM THC-1.25K NOME COMERCIAL: CELULA DE CARGA; MATERIAL FABRICAÇÃO: INOX; ESPECIFICAÇÃO: MODELO THC / 1,25K; FABRICANTE: HBM;; LINHA: QUEIJO | [12 empty] | http://catalog.jamiesonequipment.com/Asset/Totalcomp%20Tank%20beam%20load%20cells%20brochure%20JEC.pdf |  |  | HBM | OPM | THC-1 25K | THC-1 25K |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 1250 LB | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 83032 | 83032 | 8326-52130215 | CELDA CARGA TQE ALMACEN MCA FLINTEC |  |  | CELDA DE CARGA PARA TANQUES ALMACENAMIENTO MCA FLINTEC, MODELO SB14. NUMERO FAB.: SB14-5KLB-HB-C3. NO. 2934184 | CELDA DE CARGA PARA TANQUES ALMACENAMIENTO MCA FLINTEC, MODELO SB14. NUMERO FAB.: SB14-5KLB-HB-C3. NO. 2934184 | [12 empty] | https://www.flintec.com/media/datasheets/sb14-datasheet-en.pdf |  |  | FLINTEC GROUP AB | OPM | SB14-5KLB-HB-C3 | SB14-5KLB-HB-C3 | REFERENCE NUMBER:2934184;FOR STORAGE TANK | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 5000 LB | OUTPUT RATING | 2 mV/V | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL GR 17-4 PH | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -40 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLEARANCE:C3;ENGG. METAL PART | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 757031 | 757031 | RU02-5514342 | COMPRESSION LOAD CELL;PR 6202/2TC3 | [16 empty] | https://www.minebea-intec.com/sharepoint/intec_global/marketing/datasheets/truck__vessel_and_silo_weighing/vessel_and_silo_scales/ds_pr_6202_en.pdf |  |  | MINEBEA | OPM | PR 6202/2TC3 | PR 6202/2TC3 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | COMPRESSION | CAPACITY | 2 TON | OUTPUT RATING | 2 mV/V | ACCURACY | 0.015 % | POWER SUPPLY | 32 V | SIZE | 98.5 DIA X 118.5 LG MM | MATERIAL | STAINLESS STEEL GRADE 1.4404 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68/IP69 | TEMPERATURE RATING | -40 TO 95 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX,OIML | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 474023 | 474023 | EG02-5532818 | 25 KG ST40 LOAD CELL | [16 empty] | https://www.puls.com.tr/en/product/st-series-load-cell |  |  | PLUS ELECTRONICS | OPM | ST40 | ST40 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 5 T | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | ALLOY STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WEIGHT:200,300 KG | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 497778 | 497778 | ES32-5619851 | WEIGH CELL TYPE EC 4000-3-FS- 62082033 | [16 empty] | https://www.wipotec-wt.com/fileadmin/user_upload/Products/Weigh_Cell/EC-FS/TD_EN_EC-FS.pdf |  |  | WIPOTEC GMBH | OEM | EC 4000-3-FS | EC 4000-3-FS | REFERENCE NUMBER:62082033 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | HIGH PRECISION WEIGH | CAPACITY | 3750 G | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 24 VDC | SIZE | 600 X 400 MM | MATERIAL | STAINLESS STEEL GR 304 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP65 | TEMPERATURE RATING | 5 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERFACE:CAN,RS 422,RS 232 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 615354 | 615354 | ID02-5034758 | LOADCELL DITECH CAP 100 KG | [16 empty] | https://probots.co.in/load-cell-100-kg-weight-sensor-straight-bar-electronic.html |  |  | PROBOTS TECHNO SOLUTIONS | OPM | CAP 100 KG | CAP 100 KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 100 KG | OUTPUT RATING | 2.0 MV/V | ACCURACY |  | POWER SUPPLY |  | SIZE | 40 DP X 150 LG X 35 HT MM | MATERIAL | ALUMINUM | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP66 | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OPERATING VOLTAGE:5-12 VDC | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 696409 | 696409 | NG01-5629677 | LOADCELL:ZLC-120L 000023851510 | SERIES 7188 LN32-20T-931PROCON |  | FOR ISHIDA ON DOY MACHINE WITH MODEL NUMBER DACS-W-180-SB/PB-N-N-(CTS) | [13 empty] | https://www.proconeng.com/portfolio/7188-shear-beam/ | https://www.im-tek.com.tr/en-us/product/procon-ln32-10t-931-shear-beam-load-cell-type-7188-1170871 |  | PROCON ENGINEERING | OPM | 7188 | 7188 | ALTERNATE PART NUMBER:LN32-20T-931,ZLC-120L 000023851510 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 500 TO 20000 KG | OUTPUT RATING | 16 V | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -30 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 591018 | 591018 | GB38-CB60005206 | LOADCELL,HUNTLEIGH 1140 | 1140 | TEDEA HUNTLEIGH | LOADCELL,TEDEA HUNTLEIGH REF-1142 15KG (50405998) |  | Rubix | 168A2182 | VISHAY | 0 | 0 | VISHAY 15KG LOADCELL VISHAY-1140-15KG | 0 | [5 empty] | http://www.vishaypg.com/docs/12012/1140.pdf | https://www.radwell.co.uk/en-GB/Buy/VISHAY/TEDEA%20HUNTLEIGH/1140/?redirect=true |  | VISHAY | OPM | 1140 | 1140 | ALTERNATIVE MANUFACTURER:TEDEA HUNTLEIGH,ALTERNATIVE PART NUMBER:50405998 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SINGLE-POINT | CAPACITY | 15 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 40 WD X 150 LG X 30 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP65 | TEMPERATURE RATING | -10 TO 40 DEG C COMPENSATED,-20 TO 70 DEG C SAFE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 530933 | 530933 | FR34-5632682 | PESO_Z6FD1/1000KG_PESON-Z6FD1-1000 KG | Z6FD1/1000KG |  |  | PESON-Z6FD1-1000 KG OFFRE BRAMMER : 7644539 DU 24/06/2022 | [12 empty] | https://www.alibaba.com/product-detail/1-Z6FD1-1000KG-1-load-cell_60747059953.html |  |  | PESO | OPM | Z6FD1/1000KG | Z6FD1/1000KG | PESON | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 183017 | 183017 | 8353-52225121 | LOAD-CELL/QLC-12L/X000151820805/ISHIDA | X000151820805 | Heat & Control Inc | [14 empty] | https://sbindustrialsupply.com/shop/new-ishida-p-5660b-qlc-12l-x000151820805-load-cell-p5660b/ |  |  | ISHIDA CO.,LTD. | OEM | X000151820805 | QLC-12L | ALTERNATE MANUFACTURE NAME:HEAT & CONTROL INC | CLEANSED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 657779 | 657779 | 8353-52110706 | METTLER72228078 LOADCELL SLP 535-50KG-3M | 72228078 | METTLER TOLEDO | 72228078 - Loadcell SLP 535-50KG-3M Mettler toled | [13 empty] | https://www.seair.co.in/50kg-load-cell-import-data/january.aspx |  | https://www.zauba.com/import-slp/hs-code-9031-hs-code.html | METTLER TOLEDO | OPM | 72228078 | 72228078 | ALTERNATE PART NUMBER:535-50KG-3M | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 50 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 641801 | 641801 | 8353-52110706 | LOADCELL SBH-0.5P/N71201082 MAK METTLER | 71201082 | METTLER TOLEDO | MT | [13 empty] | https://www.seair.co.in/load-cell-50-import-data/country-china.aspx |  | https://www.volza.com/p/scale-or-load-or-cell/export/export-from-china/cod-india/ | METTLER TOLEDO | OPM | 71201082 | 71201082 | REFERENCE NUMBER:SBH-0.5 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 500 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 615294 | 615294 | ID02-5031799 | LOADCELL DITECH CAP 60 KG | [16 empty] | https://probots.co.in/load-cell-60-kg-weight-sensor-straight-bar-electronic.html |  |  | PROBOTS TECHNO SOLUTIONS | OPM | CAP 60 KG | CAP 60 KG |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 60 KG | OUTPUT RATING | 2.0 MV/V | ACCURACY |  | POWER SUPPLY |  | SIZE | 40 DP X 150 LG X 35 HT MM | MATERIAL | ALUMINUM | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP66 | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OPERATING VOLTAGE:5-12 VDC | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 656033 | 656033 | 8353-52110706 | MT LOADCELL SBH 5T 5M PART CODE 71201085 | 71201085 | METTLER TOLEDO | Mettler Toledo Loadcell SBH 5T 5M Part Code 71201085 | [13 empty] | https://www.seair.co.in/sbh-import-data/november.aspx |  | https://www.volza.com/p/load-cell-a/export/export-from-china/ | METTLER TOLEDO | OPM | 71201085 | 71201085 | ALTERNATE PART NUMBER:SBH 5T | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 5 LG M | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 726079 | 726079 | PL34-5618865 | CZUJNIK,F60X300,C6,10E,TR,6-PRZEW,402594 | SCAIME | [15 empty] | https://www.positiveweighing.co.uk/product/402594-bending-beam-stainless-steel/ |  |  | SCAIME | OPM | 402594 | F60X300 C6 10E 6-W TR |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BENDING BEAM | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 627854 | 627854 | IE33-CB41905758 | LOADCELL,HBM,Z6FD1/1TONNE,S/S 316 | Z6FD1/1TONNE,S/S 316 |  | 1-Z6FD1/1T 1T Load cell Nominal load: 1T Minimum LC verification interval: 0.0360% OIML R60 Test certificate Accuracy class: D1 Measuring body: Stainless steel Protection class: IP68 according to EN60529 Cable sheath: Shielded 6-wire round cable, PVC Cable length: 3m Tank 6,7<(>&<)>8 <(>&<)>SMIX 6+7 | [13 empty] | https://www.unipulse.tokyo/en/product/z6fc3-z6fd1/ |  |  | UNIPULSE CORPORATION | OPM | Z6FD1/1TONNE | Z6FD1/1TONNE | ALTERNATE PART NUMBER:Z6FD1/1TONNE | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 1 TON | OUTPUT RATING |  | ACCURACY | D1 | POWER SUPPLY | 12 V | SIZE | 42 DIA X 123 LG MM X 3 LG M CABLE | MATERIAL | PVC CABLE,STAINLESS STEEL 316 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 783933 | 783933 | RU07-TRU40013416 | LOAD CELL;K-SFT30-S;300N | [16 empty] | https://www.nriparts.com/products/k-tron-3101-90045-310190045-k-sft-30-s-controls/87499 |  |  | COPERION GMBH | OEM | K-SFT-30-S | K-SFT-30-S | ALTERNATE PART NUMBER:300 N | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 9921 | 9921 | 8301-52228444 | CELULA DE CARGA INDUK ER 745BS 10KN | ER-745BS-10KN-KH | Klockner Hansel Processing | CELULA DE CARGA INDUK ER-745BS-10KN-KH KHS 1; TIPO: CORPO EMINOX E COM FIOS CONDUTORES DE COBRE COM SISTEMA DE PESAGEM DE PRODUTOS; MODELO: ER-745BS-10KN-KH; PART NUMBER: ER-745BS-10KN-KH; APLICACAO: PESAGEM DE PRODUTOS; FABRICANTE: INDUK GMBH; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: INDUK GMBH; Nº EQUIPAMENTO SAP: 10048927; PODE SER RECONDIONADO?: NAO; LAUDO SANITÁRIO/MSDS?: NAO; | CELULA DE CARGA INDUK ER-745BS-10KN-KH KHS 1; TIPO: CORPO EMINOX E COM FIOS CONDUTORES DE COBRE COM SISTEMA DE PESAGEM DE PRODUTOS; MODELO: ER-745BS-10KN-KH; PART NUMBER: ER-745BS-10KN-KH; APLICACAO: PESAGEM DE PRODUTOS; FABRICANTE: INDUK GMBH; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: INDUK GMBH; Nº EQUIPAMENTO SAP: 10048927; PODE SER RECONDIONADO?: NAO; LAUDO SANITÁRIO/MSDS?: NAO; | [12 empty] | https://www.impexron-gmbh.de/brand/induk/er-745bs-10kn-kh | https://www.impexron-gmbh.de/show_catalogue_pdf/49047/1 |  | INDUK GMBH | OPM | ER-745BS-10KN-KH | ER-745BS-10KN-KH | TYPE:EMINOX BODY WITH COPPER CONDUCTORY WIRES WITH PRODUCT WEIGHING SYSTEM,APPLICATION:WEIGHING OF PRODUCTS,EXCLUSIVE SUPPLIER:YES,SAP EQUIPMENT NUMBER:10048927,CAN IT BE REFURBISHED:NO,HEALTH REPORT/MSDS:NO | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | ELECTRICAL | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 18 V | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 45054 | 45054 | 8353-52110706 | CELL,LOAD,30039033 | 30039033 | Mettler-Toledo Inc | CELL,LOAD,DETAILS:SINGLE ENDED BEAM LOAD CELL 0745A,MANUFACTURER:METTLER-TOLEDO INC,MFR PART NUMBER:30039033 | [13 empty] | https://www.roganscale.com/wp-content/uploads/44098436_20160727_MAR_DS_SWB505_MultiMount_Weigh_Module_en.pdf | https://www.radwell.co.uk/en-GB/Buy/METTLER%20TOLEDO/METTLER%20TOLEDO/30039033/?redirect=true |  | METTLER TOLEDO | OPM | 30039033 | SWB505 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BEAM,SINGLE ENDED | CAPACITY | 2200 KG | OUTPUT RATING | 600 mA | ACCURACY |  | POWER SUPPLY | 20 VAC/VDC | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE | MULTI | DEGREE OF PROTECTION | IP68,IP69K | TEMPERATURE RATING | -40 TO 65 DEG C | HAZARD CLASS | C3 | CERTIFICATION/STANDARD | ATEX,IECEX,NTEP,OIML | ADDITIONAL FEATURES | NEMA RATING:NEMA 6/6P | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 58485 | 58485 | 8317-52249144 | CELL,LOAD,KIS-8-2KN P/N:,110024 | 110024 | Vishay | CELL,LOAD,DETAILS:KIS-8-2KN,MANUFACTURER:VISHAY,MFR PART NUMBER:110024 | [13 empty] | https://highperformancepackaging.com/product/combi-3/ |  |  | VISHAY | OPM | KIS-8-2KN | KIS-8-2KN | ALTERNATE PART NUMBER:110024 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 2 KN | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 18 VDC | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE LENGTH: 5 M; ENCLOSURE: IP67 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 65792 | 65792 | 8319-52214620 | CELL,LOAD,3-LOAD-02534 | 3-LOAD-02534 | Azo | CELL,LOAD,DETAILS:LOAD CELL SSM-AJ-500,MANUFACTURER:AZO,MFR PART NUMBER:3-LOAD-02534 | [13 empty] | http://www.alliancesystems.com.br/media/pdf/SSM_Sealed_S-Type_load_cell_200N_20kN_1.pdf | https://scienspec.com.tw/userfiles/files/SSM_SSM2-DS.pdf |  | INTERFACE FORCE MEASUREMENT SOLUTIONS | OPM | SSM-AJ-500 | SSM-AJ-500 | ALTERNATE MANUFACTURER NAME:AZO,ALTERNATE PART NUMBER:3-LOAD-02534 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SEALED S-TYPE | CAPACITY | 500 N | OUTPUT RATING | 3 MV/V | ACCURACY |  | POWER SUPPLY | 15 VDC | SIZE | 18.3 WD X 50.8 LG X 63.5 HT MM | MATERIAL | ALUMINUM | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -55 TO 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE LENGTH:10 FT | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 83113 | 83113 | 8326-52130306 | CELDA DE CARGA WEIGH-TRONIX WBP-500K |  |  | CELDA DE CARGA WEIGH-TRONIX MOD WBP-500K CLASE III 5000 LB | CELDA DE CARGA WEIGH-TRONIX MOD WBP-500K CLASE III 5000 LB | [12 empty] | https://maraindustrial.com/cart/sensors/weightronix-238500126-weigh-bar-load-cell-wbp500k-used.html | https://www.nriparts.com/products/weigh-tronix-wbp-500k-17257-0129-controls/124173 |  | ILLINOIS TOOL WORKS INC | OPM | WBP-5.00K | WBP-5.00K |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | WEIGH BAR | CAPACITY | 5000 LB | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 110765 | 110765 | 8339-52221602 | CELL,LOAD,70210-50 | 70210-50 | Artech Industries Inc | CELL,LOAD,DETAILS:50,000 LBS SERIAL #323479,MANUFACTURER:ARTECH INDUSTRIES INC,MFR PART NUMBER:70210-50 | [13 empty] | https://www.artechloadcell.com/product/70210-load-cell/ | https://www.centralcarolinascale.com/artech-70210-truck-scale-loadcell.htm |  | ARTECH INDUSTRIES INC | OPM | 70210-50 | 70210-50 | SERIAL NUMBER:323479 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | DOUBLE ENDED SHEAR BEAM | CAPACITY | 50 KLB | OUTPUT RATING | 3 MV/V | ACCURACY | +/-0.10 % | POWER SUPPLY | 10 TO 15 VDC | SIZE | 10.25 LG MM | MATERIAL | NICKEL/CHROME PLATED | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | 0 TO 150 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:CHROME PLATED | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 143073 | 143073 | 8349-50174118 | CELL,LOAD,HI-DSB01-5K,HARDY INST | HI-DSB01-5K | Hardy Instruments Inc | CELL,LOAD,DETAILS:HARDY INST,MANUFACTURER:HARDY INSTRUMENTS INC,MFR PART NUMBER:HI-DSB01-5K | [13 empty] | https://www.nriparts.com/products/hardy-hi-dsb01-5k-controls/74266 |  |  | HARDY INSTRUMENTS, INC. | OPM | HI-DSB01-5K | HI-DSB01-5K |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY | 5000 LB | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 245082 | 245082 | 8380-50477841 | CELL,LOAD,NLC-12L,HEAT & CON | NLC-12L | Heat & Control Inc | CELL,LOAD,DETAILS:HEAT & CON,MANUFACTURER:HEAT & CONTROL INC,MFR PART NUMBER:NLC-12L | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/ISHIDA/ISHIDA/NLC-1.2L/?redirect=true |  |  | ISHIDA CO.,LTD. | OEM | NLC-12L | NLC-12L | ALTERNATE MANUFACTURER:HEAT & CONTROL INC | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 59 X 90 MM | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:5 WIRE | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 403756 | 403756 | BH02-5543596 | LC TLC 6L | 523018 |  |  |  | Deska | 118400 | Ishida | 52301 | LC: TLC – 6L | [7 empty] | https://www.futek.com/store/legacy-sensors-and-instruments/parallel-beam-load-cell-QLA285/QSH01587 | https://www.radwell.co.uk/en-GB/Buy/ISHIDA/ISHIDA/TLC-6L/?redirect=true |  | ISHIDA CO.,LTD. | OEM | TLC-6L | TLC-6L | ALTERNATE PART NUMBER:52301 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | PARALLEL BEAM | CAPACITY | 15 LB | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 8 IN LG | MATERIAL | ALUMINUM ALLOY 2024-T4 | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 404827 | 404827 | 8353-52110706 | WEIGH CELL TYPE EC 2000-1-3-4 P-62068121 | 24126790 | [15 empty] | https://www.zauba.com/import-weighcell-hs-code.html | https://connect2india.com/global/weighing-machines-import-for-Aug-2016/1 |  | METTLER TOLEDO | OPM | 24126790 | TF20-L-P |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 408205 | 408205 | CH31-5439501 | BIEGESTAB-WAEGEZELLE MODELL 355 20KG C3 | 045663 4.220530 | CHOCOTECH | ERSATZTEILE NOUGAT LINIE MASCHINEN NR. 020405 | ERSATZTEILE NOUGAT LINIE MASCHINEN NR. 020405 | [12 empty] | https://docs.rs-online.com/31e6/0900766b8028f9bc.pdf |  |  | CHOCOTECH | OEM | 045663 | 045663 | ALTERNATE MANUFACTURER PART NUMBER:045663 4.220530 | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BENDING BEAM | CAPACITY | 0.35 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 2 M V/V OUTPUT | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RATED CAPACITIES:20 KG | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 562426 | 562426 | FR41-LF2261002 | JAUGE Z6.F.C3- DOSEUR FRUITS-L8 |  |  |  | JAUGE Z6.F.C3 20 KG | [12 empty] | https://pdf.directindustry.com/pdf/unipulse-corporation/z6fc3-z6fd1/154950-785221.html |  |  | UNIPULSE CORPORATION | OPM | Z6FC3 | Z6FC3 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BEAM | CAPACITY | 20 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY | 12 V | SIZE | 6 CONDUCTOR SHIELD CABLE 3 M | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WITH GAUGE,FRUIT DOSER-L8 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 706717 | 706717 | PH41-5051996 | SS LOAD CELL MODEL L3510-1000K | [16 empty] | https://docs.rs-online.com/291d/0900766b80b257a4.pdf |  |  | VISHAY PRECISION GROUP, INC | OPM | L3510-1000K | L3510-1000K |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | SHEAR BEAM | CAPACITY | 300 TO 5000 KG | OUTPUT RATING | 2 MV/V | ACCURACY |  | POWER SUPPLY | 15 VDC | SIZE | 32 WD X 130 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS | C3,C6 | CERTIFICATION/STANDARD | ATEX,EX,FM,NTEP,OIML | ADDITIONAL FEATURES | CABLE LENGTH:5 M | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 723986 | 723986 | PL34-5608584 | TENSOMETR,F60X300,C6,SCAIME | 402526,SCAIME |  |  |  | Rubix |  | NONE |  |  | F60X C6 10E 300KG IP-68 TENSOMETR STAL NIERDZEWNA | [6 empty] | https://nonisbilance.com/wp-content/uploads/2013/12/744-en-CATALOGO-PRODOTTI-SCAIME-E-1014-LD.pdf | https://www.otec-industry.com.ua/en/brand/scaime/p-n-402526-type-f60x300-c6-ch-10e-tr |  | SCAIME | OPM | 402526 | F60X300 C6 CH 10E TR |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BENDING BEAM | CAPACITY | 300 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE | 20 WD X 120 LG MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS | C6 | CERTIFICATION/STANDARD | ATEX,IECEX,FM,PT,OIML | ADDITIONAL FEATURES | CABLE LENGTH:3 M,W/STRAIN GAUGE | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 726078 | 726078 | PL34-5618864 | CZUJNIK,F60X300,C6,10E,TR-4PRZEW,402526 | SCAIME | [15 empty] | https://nonisbilance.com/wp-content/uploads/2013/12/744-en-CATALOGO-PRODOTTI-SCAIME-E-1014-LD.pdf | https://www.otec-industry.com.ua/en/brand/scaime/p-n-402526-type-f60x300-c6-ch-10e-tr |  | SCAIME | OPM | 402526 | 402526 | REFERENCE:F60X300 C6 10E TR-4PRZEW | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BENDING BEAM | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP68 | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 133965 | 133965 | 8349-50024721 | MUFF,COMPR AIR LINE,01376,5 IN | 1376 | Vac-U-Max | MUFFLER,COMPRESSED AIR LINE,CONN_SIZE:5 IN,MANUFACTURER:VAC-U-MAX,MFR PART NUMBER:01376 | [13 empty] | https://www.vac-u-max.com/vacProd.cfm?cat=pharmaceutical-vacuums&prod=01376 |  |  | VAC-U-MAX | OPM | 01376 | 01376 |  | ENRICHED | MRO | 25173702 | MUFFLERS OR RESONATORS | MUFFLER |  | MATERIAL |  | NOMINAL SIZE | 5 IN | END CONNECTION |  | TYPE | COMPRESSED AIR LINE | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 168722 | 168722 | 8352-50482800 | MUFF,BLOW,D13H-6,FLANGED,6 IN | D13H-6 | Stoddard Silencers Inc | MUFFLER,BLOWER,CONN_METHOD:FLANGED,CONN_SIZE:6 IN,MANUFACTURER:STODDARD SILENCERS INC,MFR PART NUMBER:D13H-6 | [13 empty] | https://www.stoddardinc.com/wp-content/uploads/2012/09/d13.pdf |  |  | STODDARD SILENCERS INC | OPM | D13H-6 | D13H-6 |  | ENRICHED | MRO | 25173702 | MUFFLERS OR RESONATORS | MUFFLER |  | MATERIAL |  | NOMINAL SIZE | 6 IN | END CONNECTION | FLANGED | TYPE | BLOWER | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 207963 | 207963 | 8364-50491607 | GEAR,MULTI,0270-02402,2.056:1 | 0270-02402 | Hub City Inc | GEAR,MULTIPLIER,GEAR_RATIO:2.056:1,MANUFACTURER:HUB CITY INC,MFR PART NUMBER:0270-02402 |  | BDI | 482312 | HUB CITY | SSRM1Q-2.056-56C-56C | 0270-02402 ; SSRM1Q-2.056-56C-56C | 0 | 0 | [5 empty] | https://www.hubcity-ps.com/index.php?action=sku&code=0270-02402 |  |  | HUB CITY | OPM | 0270-02402 | 0270-02402 |  | ENRICHED | MRO | 27112100 | Holding And Clamping Tools | MULTIPLIER |  | INPUT RATING | 1750 RPM,4.69 HP | OUTPUT RATING | 851 RPM | RATIO | 2.056:1 | SIZE | 5/8 DIA IN | TYPE | PARALLEL,HELICAL RATIO | MATERIAL | STAINLESS STEEL 316 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT TYPE:MOTOR FRAME,OUTPUT TYPE:SHAFT,FRAME SIZE:56C,EFFICIENCY:97.5 % | [42 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 759488 | 759488 | RU02-5591372 | DIAPHRAGM MAXON;38009 | [16 empty] | https://marshallwnelson.com/wp-content/uploads/2021/02/maxon_apx_config_info_8_2015.pdf | https://www.kempstoncontrols.co.uk/038009/Honeywell-Maxon/sku/865201 |  | MAXON GROUP | OPM | 38009 | 38009 |  | ENRICHED | MRO | 40101800 | Heating equipment and parts and accessories | ORIFICE |  | TYPE | ADJUSTABLE,PILOT | SIZE | 3/8 IN | MATERIAL |  | END CONNECTION | NPT | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 496633 | 496633 | ES32-5546518 | EMPAQUETADURA VEEPAC CH 255177 | [16 empty] | https://www.global-seals.com/product/polypac-veepac-ch-g5-busak-shamban-rod-seals/ | https://superseal.hu/al/catalogs/busak+shamban/symseals.pdf | https://www.tss.trelleborg.com/ecatalog/products/rod-seals/polypac-veepac-chg5/RCH1G0450-N0ONC.html | TRELLEBORG AB | OPM | RCH1G0450 | CH 255177 |  | ENRICHED | MRO | 31181701 | Packings | PACKING |  | TYPE |  | SIZE | 45 ROD DIA X 65 DIA X 27.5 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 93661 | 93661 | 8326-52259583 | EMPAQUE CUAD DE TEFLON 1/2" 5904 GARLOCK |  |  | EMPAQUE CUADRADO DE TEFLON 1/2" 5904 GARLOCK Filamento de PTFE LATTICE BRAID | [13 empty] | https://www.garlock.com/product/41150-3032 |  |  | GARLOCK SEALING TECHNOLOGIES | OPM | 5904 | 5904 |  | ENRICHED | MRO | 31181701 | PACKINGS | PACKING | BULK | CROSS SECTION SHAPE | SQUARE | SIZE | 12.7 WD X 12.7 HT MM | MATERIAL | PTFE FIBER | TEMPERATURE RATING | -270 TO 260 DEG C | TYPE | COMPRESSION | OPERATING PRESSURE | 500 PSIG | PH VALUE RANGE | 0-14 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LUBRICANT:FOOD GRADE MINERAL OIL | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 92898 | 92898 | 8326-52252349 | EMPAQUE GARLOCK 5889 DE 5/16” |  |  | EMPAQUE GARLOCK 5889 DE 5/16" USO EN BOMBA VIKING CFP | [13 empty] | https://www.garlock.com/product/41891-1020 |  |  | GARLOCK SEALING TECHNOLOGIES | OPM | 41891-1020 | 41891-1020 |  | ENRICHED | MRO | 31181701 | PACKINGS | PACKING | BULK | CROSS SECTION SHAPE | SQUARE | SIZE | 5/16 WD X 5/16 HT IN | MATERIAL | PTFE FIBER | TEMPERATURE RATING | -270 TO 260 DEG C | TYPE | COMPRESSION | OPERATING PRESSURE | 300 PSIG | PH VALUE RANGE | 0-14 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 731100 | 731100 | PL36-CE111924333 | GLAND PACKING,FLEXALON6250,12MM | FLEXALON6250 | NOONE ENGINEERING LTD | [14 empty] | https://knipper.de/en/pump-packings/241-flexalon-6250.html |  |  | MERKEL | OPM | FLEXALON6250 | FLEXALON6250 | ALTERNATE OEM:NOONE ENGINEERING LTD | ENRICHED | MRO | 31181701 | Packings | PACKING | PREFORMED | CROSS SECTION SHAPE |  | SIZE | 10 X 10 MM | MATERIAL | POLYTETRAFLUOROETHYLENE | TEMPERATURE RATING | -50 TO 250 DEG C | TYPE |  | OPERATING PRESSURE |  | PH VALUE RANGE | 41275 | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 544384 | 544384 | FR37-5599816 | TRE KIT 3 LATTYFLON 4788C 25,58X40,58X6 | LAT KIT 3 LATTYFLON 4788C 25,58X40,58X6 |  |  | KIT DE 3 TRESSES LATTYFLON 4788C 25,58X40,58X6. | [12 empty] | https://latty.com/en/product/lattyflon-4788-pump-packing/ |  |  | LATTY INTERNATIONAL | OPM | LATTYFLON 4788C | LATTYFLON 4788C |  | ENRICHED | MRO | 31181701 | Packings | PACKING | PREFORMED | CROSS SECTION SHAPE |  | SIZE | 25.58 ID X 40.58 OD X 6 THK MM | MATERIAL | ARAMID | TEMPERATURE RATING | -220 TO 300 DEG C | TYPE | HIGH MECHANICAL PERFORMANCE,TRIPLE BRAIDED | OPERATING PRESSURE | 0-200 BAR | PH VALUE RANGE | 2-13 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | PMUC 17-044 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 647857 | 647857 | IN03-ED053083 | PTFE GLAND 2080 MACSTAR 22 MM |  |  | MCP Required for conche no:3 | [13 empty] | https://www.oocities.org/vizag_saichemicals/SAICHEMICALS_maintenancechemicals.html |  |  | MACSTAR | OEM | 2080 | 2080 |  | ENRICHED | NON MRO | 31181701 | Packings | PACKING |  | TYPE | GLAND | SIZE | 22 MM | MATERIAL | PURE VIRGIN POLYTETRAFLUOROETHYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOOD GRADE,W/TFE SUSPENSION,MCP REQUIRED FOR CONCHE NO:3,ENGG. METAL PART | [48 empty] | ENRICHED BASED ON GIVEN MPN | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 733587 | 733587 | PL37-5402818 | SZNUR_USZCZELNIAJ?CY_ROTAN_HD126/151 | 3360-220HA812 | ROTAN |  | PACKING/BURAMEX 6325 | [12 empty] | https://www.desmi.com/media/5vsaaoud/complete-overview-spk.pdf |  |  | DESMI A/S | OEM | 3360-220HA812 | 3360-220HA812 | EQUIPMENT NAME:PUMP,EQUIPMENT MODEL:HD 126/151 | ENRICHED | MRO | 31181701 | Packings | PACKING |  | TYPE | CJ,SEALING CORD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ROTAN,BURAMEX 6325 | [48 empty] | ENRICHED BASED ON GIVEN MPN | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 735023 | 735023 | PL37-5467438 | SZNUR_USZCZELNIAJ?CY_ROTAN_HD51/HD66 | 3360-135DA812 | ROTAN |  | PACKING 1/4"X135 | [12 empty] | https://www.desmi.com/media/5vsaaoud/complete-overview-spk.pdf |  |  | DESMI A/S | OEM | 3360-135DA812 | 3360-135DA812 | EQUIPMENT NAME:PUMP,EQUIPMENT MODEL:HD51/HD66 | ENRICHED | MRO | 31181701 | Packings | PACKING |  | TYPE | CJ,SEALING CORD | SIZE | 1/4 IN X 135 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ROTAN | [48 empty] | ENRICHED BASED ON GIVEN MPN | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 626955 | 626955 | IE33-5616359 | SHOCKER,AIR,XT316-30B,SMC | XT316-30B | SMC PNEUMATICS (IRELAND) LTD | SHOCKER,AIR,XT316-30B,SMC | [16 empty] | SMC CORPORATION | OPM | XT316-30B | XT316-30B |  | ENRICHED | MRO | 26101736 | Pistons | PISTON |  | DIAMETER | 30 MM ID | LENGTH | 134 MM | GROOVE WIDTH |  | GROOVE DEPTH |  | TYPE | PNEUMATIC | PRESSURE RATING | 0.4 TO 0.6 MPa | TEMPERATURE RATING | 32 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 246256 | 246256 | 8380-50501486 | PISTN,PUMP,223844,GRACO INC | 223844 | Graco Inc | PISTON,PUMP,DETAILS:GRACO INC,MANUFACTURER:GRACO INC,MFR PART NUMBER:223844 |  | BDI | GRACO 223-844 | Graco Inc | 223844 | PISTN,PUMP,223844,GRACO INC | [7 empty] | https://www.graco.com/content/dam/graco/ipd/literature/flyers/344905/344905EN-E.pdf |  |  | GRACO INC | OPM | 223844 | 223844 |  | ENRICHED | MRO | 40151700 | Pump Parts & Accessories | PISTON | PUMP | TYPE | 2-BALL,PNEUMATIC | DIAMETER |  | LENGTH |  | MATERIAL |  | CONNECTION TYPE | NPT | ADDITIONAL FEATURES | [49 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 494227 | 494227 | ES32-5449345 | PISTON 9512-9052-410 | 9512-9052-410 | [15 empty] | https://www.volza.com/p/gea/import/import-in-chile/coo-italy/ |  |  | GEA IMAFORNI | OPM | 9512-9052-410 | 9512-9052-410 |  | ENRICHED | MRO | 26101736 | Pistons | PISTON |  | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 496314 | 496314 | ES32-5518742 | PISTON CR 45 6-4722 0725 01 | 6-4722 0725 01 | [15 empty] | https://www.zauba.com/import-/hs-code-8481/fp-sweden/ip-INBOM4/month-2014-07-01T00%3A00%3A00Z/p-%201-hs-code.html |  |  | ALFA LAVAL LTD | OPM | 6-4722 0725 01 | 6-4722 0725 01 |  | ENRICHED | MRO | 26101736 | Pistons | PISTON |  | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL | MEDIUM CARBON STEEL CR45 | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 412026 | 412026 | CH31-5810111 | KOLBEN D27X171 | 181302 | AASTED | ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF | ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF¦¦ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF¦¦ZU GIESSMASCHINE TYP SE - 12/1000 MASCHINEN-NR. 9645/95-0715 177199 GIESSKOPF¦¦ZU GIESSMASCHINE T | [12 empty] | https://store.58cycle.com/Namura_181302_AD_PN_181302_p/ad-pn-181302.htm |  |  | AASTED | OEM | 181302 | 181302 | ALTERNATE MANUFACTURE:NAMURA TECHNOLOGIES,EQUIPEMENT NAME:CASTING MACHINE,EQUIPEMENT MODEL:SE-12/1000,MACHINE NUMBER:9645/95-0715 177199 POURING HEAD | ENRICHED | MRO | 26101736 | Pistons | PISTON |  | DIAMETER | 27 MM | LENGTH | 171 MM | GROOVE WIDTH |  | GROOVE DEPTH |  | TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL | [39 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SCV | SCV | OK | 04-05-2023 | 13-05-2023 |  | 705193 | 705193 | NO32-5255326 | PLASTER MED METALLTRÅD BLÅ SALVEQUICK |  |  | REFILL 6735 CAP |  | Rubix | 6044754 | CEDERROTH | 0 | 0 | Plaster Blue Detectable Salvequick Refill 35-Pack- 6735CAP - 51030127 - Cederroth | 0 | [5 empty] | https://salvequick-sani--trade-de.translate.goog/produkt/salvequick-refill-6735-sofortpflaster-strips-detectable-a-35-stk/?_x_tr_sl=de&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | SALVEQUICK | OPM | 6735 | 6735 |  | ENRICHED | NON MRO | 42311500 | Bandages And Dressings And Related Products | PLASTER | MEDICAL | TYPE | REFILL IMMEDIATE STRIPS | DIMENSIONS | 72 X 25 MM | MATERIAL |  | FORM |  | PACKAGE QUANTITY | 35 PIECE PER PACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLUE,WITH METAL THREAD | [44 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SCV | SCV | ok | 04-05-2023 | 13-05-2023 |  | 257017 | 257017 | 8383-52241912 | CELDA DE CARGA FLINTEC BK2 500KG TU C3 |  |  | CELDA DE CARGA FLINTEC BK2 500KG TU C3 PARA TOLVAS DE ELABORACION | [13 empty] | https://www.flintec.com/media/datasheets/bk2-datasheet-en.pdf |  |  | FLINTEC GROUP AB | OPM | BK2 500KG TU C3 | BK2 500KG TU C3 |  | ENRICHED | MRO | 41112108 | Loadcells | LOAD CELL |  | TYPE | BEAM | CAPACITY | 500 KG | OUTPUT RATING | 2 mV/V | ACCURACY | +/-0.1 % | POWER SUPPLY | 5 TO 15 V | SIZE | 31.8 WD X 128.5 LG X 15.9 HT MM | MATERIAL | STAINLESS STEEL GR 17-4 PH | MOUNTING TYPE | BOLT | DEGREE OF PROTECTION | IP67 | TEMPERATURE RATING | -20 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLEARANCE:C3 | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed