## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 613250 | 613250 | ID01-EI003704 | BATTERY TYPE VSF4 290AH | VSF4 290AH | GS | [14 empty] | https://yuasa-ind.co.id/pdf/4ef10574.pdf |  |  | YUASA BATTERY INC | OPM | VSF4 290AH | VSF4 290AH |  | ENRICHED | MRO | 26111700 | Batteries and cells and accessories | BATTERY |  | TYPE | TRACTION | CAPACITY | 290 AH | SIZE DESIGNATION | NOT AVAILABLE | VOLTAGE RATING | 2 V | SIZE | 158 WD X 90 LG X 521 HT MM | BATTERY DETAILS | NOT AVAILABLE | CONNECTION TYPE | JIS | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 831929 | 831929 | VN02-EV004839 | BINH ACQUY 12VDC 145AH | TROJAN S-1275 12VDC 145AH 20HR | [15 empty] | https://trojan-battery.co.uk/shop/s1275-trojan-silver-line-battery-deep-cycle-12v/ | http://optimabatteries.nl/wp-content/uploads/2021/03/S-1275-TROJAN.pdf |  | TROJAN BATTERY COMPANY, LLC | OPM | S-1275 12V | S-1275 12V |  | ENRICHED | MRO | 26111700 | Batteries and cells and accessories | BATTERY | LEAD ACID | TYPE | DEEP CYCLE FLOODED,WET | TEMPERATURE RATING | -20 TO 45 DEG C | CONNECTION |  | VOLTAGE RATING | 12 V | SIZE | 181 WD X 329 LG X 272 HT MM | BATTERY CAPACITY | 145 AH AT 20 HR | PACKAGE TYPE |  | CURRENT RATING |  | POWER RATING |  | MOUNTING |  | MATERIAL | POYPROPYLENE | ADDITIONAL FEATURES | COLOR:BLACK,TERMINAL:1 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 10349 | 10349 | 8301-52236416 | BATERIA DRC 10 77349944 KRONECRANES |  |  | BATERIA DRC-10 - 77349944; NCM: 8507.80.00; FABRICANTE: DEMAG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: KONECRANES; Nº EQUIPAMENTO SAP: 10275650; PODE SER RECONDIONADO?: NAO; LAUDO SANITÁRIO/MSDS?: NAO; | BATERIA DRC-10 - 77349944; NCM: 8507.80.00; FABRICANTE: DEMAG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: KONECRANES; Nº EQUIPAMENTO SAP: 10275650; PODE SER RECONDIONADO?: NAO; LAUDO SANITÁRIO/MSDS?: NAO; | [12 empty] | https://www-akku-net.translate.goog/Akku-Info/1.78.M12,Akku-f%C3%BCr-Kransteuerung-Demag-DRC10---Typ-773-499-44.html?_x_tr_sl=de&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://store.konecranes.com/dcg/en/ASSEMBLY/p?p=ET6l3BVcXz69O4cOd17ZNA%3D%3D_77349944 |  | DEMAG CRANES & COMPONENTS GMBH | OPM/OEM | 77349944 | DRC-10 | NCM:8507.80.00,DISTRIBUTOR NAME:KONECRANES,SAP EQUIPMENT NUMBER:10275650 | ENRICHED | MRO | 26111700 | Batteries And Cells And Accessories | BATTERY | RECHARGEABLE | VOLTAGE RATING | 2.4 V | SIZE DESIGNATION |  | CAPACITY | 2000 mAH | SIZE | 50.38 X 28.87 X 14.54 MM | TYPE |  | CHEMICAL COMPOSITION | NICKEL METAL HALIDE | MATERIAL |  | TERMINAL TYPE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 657186 | 657186 | IN05-ED051548 | JUNG BATERY48V-620AH-4PZS 620-96000014-E |  |  | Jungheinrich Batery48V-620AH-4PZS 620-96000014-E | [13 empty] | https://akkusys.shop/en/batteries-by-application/forklifts/batteries/3414/q-batteries-48v-forklift-battery-4-pzs-620-ah-din-a-832-x-523-x-784mm-l/w/h-tray-57017020 |  |  | JUNGHEINRICH AG | OEM | 4 PZS 620 | 4 PZS 620 |  | ENRICHED | MRO | 26111700 | Batteries And Cells And Accessories | BATTERY | LEAD ACID | TYPE | FORKLIFT,Q | TEMPERATURE RATING |  | CONNECTION |  | VOLTAGE RATING | 48 V | SIZE | 523 WD X 832 LG X 765 HT MM | BATTERY CAPACITY | 620 AH | PACKAGE TYPE |  | CURRENT RATING |  | POWER RATING |  | MOUNTING |  | MATERIAL |  | ADDITIONAL FEATURES | [37 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 586256 | 586256 | GB38-5613160 | LIGHTBEAM, LEUZE 66500200, TX/RX |  |  | Brammer No 128A8389 |  | Rubix | 128A8389 | LEUZE | 0 | 0 | LEUZE LIGHT BEAM TRANS/REC 66537200 | 0 | [5 empty] | https://www.leuze.com/en-int/mld-m003/66500200?p=1 | https://trimantec.com/products/leuze-mld-m003-deflecting-mirror-for-transceiver-66500200 | https://us.rs-online.com/product/leuze/mld-m003/71944793/ | LEUZE ELECTRONIC | OPM | 66500200 | MLD-M003 | DISTRBUTOR NAME:BRAMMER GMBH,DISTRBUTOR PART NUMBER:128A8389 | ENRICHED | MRO | 30101706 | Aluminum Beams | REFLECTOR | LIGHTING | TYPE | DEFLECTING MIRROR | LAMP WATTAGE |  | SHAPE |  | SIZE | 52 WD X 64.7 LG X 894 HT MM | ADDITIONAL FEATURES | NUMBER OF BEAMS:3,BEAM SPACING:400 MM,TEMPERATURE RATING:-30 TO 55 DEG C | MATERIAL | ALUMINIUM | MOUNTING | GROOVE | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 773502 | 773502 | RU03-5631801 | PRESSURE BOOSTER;G3/8;10BAR;VB20A-F03 |  | OOO FESTO-RF | [14 empty] | https://docs.rs-online.com/953b/0900766b813f1197.pdf | https://us.rs-online.com/product/smc-corporation/vba20a-f03/70401321/ |  | SMC CORPORATION | OPM | VB20A-F03 | VB20A-F03 | ALTERNATE MANIUFACTURER:FESTO | ENRICHED | MRO | 41112404 | Pressure regulator | REGULATOR | PRESSURE | REGULATING RANGE |  | FLOW RATING |  | PRESSURE RATING | 0.2-1 Mpa | CONNECTION TYPE/PORT SIZE | 3/8 IN BSPP | TYPE | BOOSTER | SIZE | 118 WD X 300 LG X 176 HT MM | TEMPERATURE RATING | 2 TO 50 DEG C | BODY MATERIAL |  | OPERATOR TYPE | HANDLE | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK,MODIFIER CHANGED | 08-05-2023 | 13-05-2023 |  | 68003 | 68003 | 8321-52038395 | BOOSTER/101-149-106/BRANSON | 101-149-10-106 | Branson Ultrasonics Corp | MANUFACTURER PART No: 101-149-10-106 / MANUF. NAME: BRANSON |  | BDI | 26496202 | SYSTEMPLAST | 101-140-106 | BOOSTER//101-149-106/BRANSON | 0 | 0 | [5 empty] | https://www.emerson.com/documents/automation/operator-manual-dcx-s-power-supply-rev-13-en-5260226.pdf |  |  | BRANSON ULTRASONICS | OPM | 101-149-106 | 101-149-106 |  | ENRICHED | MRO | 39121004 | Power supply units | BOOSTER | ULTRASONIC | FREQUENCY RATING | 30 KHz | GAIN |  | MATERIAL | TITANIUM | SIZE | 3/8 IN X 24 MM HORN STUD | TYPE | POWER SUPPLY COMPATIBLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:GREEN,RATIO:1:1,STANDARD SERIES | [44 empty] | ENRICHED BASED ON GIVEN MPN | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK,MODIFIER CHANGED | 08-05-2023 | 13-05-2023 |  | 407821 | 407821 | CH31-5288617 | BOOSTER SOLID MOUNT TITANIUM, GRUEN | 101-149-096D | BRANSON ULTRASONICS | ZU ULTRASCHALL-GUILLOTINE SGU 600 M-U | ZU ULTRASCHALL-GUILLOTINE SGU 600 M-U¦¦ZU ULTRASCHALL-GUILLOTINE SGU 600 M-U¦¦ZU ULTRASCHALL-GUILLOTINE SGU 600 M-U | [12 empty] | https://www.emerson.com/documents/automation/data-sheet-dcxf-datasheet-branson-en-us-161372.pdf | https://www.radwell.co.uk/en-GB/Buy/EMERSON/BRANSON/101-149-096/?redirect=true |  | BRANSON ULTRASONICS | OPM | 101-149-096D | 600 M-U |  | CLEANSED | MRO | 39121004 | Power supply units | BOOSTER | ULTRASONIC | FREQUENCY RATING | 20 KHz | GAIN |  | MATERIAL | TITANIUM | SIZE |  | TYPE | WELDER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:GREEN,RATIO:1:1,MOUNT:SOLID | [44 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 6593 | 6593 | 8301-52110736 | COIFA JONES 369407 RODA ENCHIMENTO PK7A | 369407 | RA Jones | COIFA JONES 369407 RODA DE ENCHIMENTO ENVASADORA SERIE S6502 PK7000A; ESTRATÉGICO:SIM;LINHA:ENVASE BEBIDAS; | COIFA JONES 369407 RODA DE ENCHIMENTO ENVASADORA SERIE S6502 PK7000A; ESTRATÉGICO:SIM;LINHA:ENVASE BEBIDAS; | [12 empty] | https://maraindustrial.com/cart/seals-seal-kits/ra-jones-369407-dust-boot.html |  |  | R.A JONES AND CO-DAVENPOR | OEM | 369407 | 369407 | SERIES:S6502 PK7000A | ENRICHED | NON MRO | 31180000 | Packings glands boots and covers | BOOT | DUST AND MOISTURE SEAL | SIZE | 9 ID X 12 OD IN | MATERIAL | NOT AVAILABLE | TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 375903 | 375903 | BE33-5487897 | FLACON ROND COL LARGE PE-BD 1000ML | 215-5634 <> VWR |  | FLACON ROND A COL LARGE POLYETHYLENE BASSE DENSITE 1000ML D.96 X H.206 X D.INT.COL:50 MM SANS GRADUATION, AVEC BOUCHON A VISSER. SANS RISQUE PHYSIOLOGIQUE POUR DENREES ALIMENTAIRES. REF VWR: 215-5634 | FLACON ROND A COL LARGE POLYETHYLENE BASSE DENSITE 1000ML D.96 X H.206 X D.INT.COL:50 MM SANS GRADUATION, AVEC BOUCHON A VISSER. SANS RISQUE PHYSIOLOGIQUE POUR DENREES ALIMENTAIRES. REF VWR: 215-5634¦¦FLACON ROND A COL LARGE POLYETHYLENE BASSE DENSITE 1000ML D.96 X H.206 X D.INT.COL:50 MM SANS GRADUATION, AVEC BOUCHON A VISSER. SANS RISQUE PHYSIOLOGIQUE POUR DENREES ALIMENTAIRES. REF VWR: 215-5634 | [12 empty] | https://de.vwr.com/assetsvc/asset/de_DE/id/16861748/contents |  |  | VWR INTERNATIONAL, LLC | DISTRIBUTOR | 215-5634 | 215-5634 |  | ENRICHED | MRO | 24122000 | Plastic Bottles Or Vials | BOTTLE |  | TYPE | WIDE MOUTH | CAPACITY | 1000 mL | MATERIAL | LOW DENSITY POLYETHYLENE | SIZE | 96 DIA X 206 HT MM | LID TYPE | SCREW CAP | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA | ADDITIONAL FEATURES | SHAPE:ROUND,INTERNAL NECK SIZE:50 DIA MM,WITHOUT GRADUATION,PHYSIOLOGICAL RISK FOR FOODSTUFFS | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | SUITABLE NM NOT FOUND | 08-05-2023 | 13-05-2023 |  | 546131 | 546131 | FR37-LFMAC12018 | &MAC LISSE Ø1=77 L1=30 Ø2=77 MX001043 | MAA DIAM.1=77 L1=30 DIAM.2=77 MX001043 |  |  | MANCHETTE LISSE DIAM.1=77 L1=30 DIAM.2=77 L2=30 LC=30 LE=100 NB SPIRES 3 DIAM.MIN=89 DIAM REF MX001043.Cette article doit répondre aux normes "contact alimentaire". Certificat obligatoire. | [13 empty] | https://secureopeners.com/store/bracket-and-clamps-side-mount-fiberglass.html | https://gatedepot.com/nice-hysecurity-mx001043 | HYSECURITY | OPM | MX001043 | MX001043 |  | ENRICHED | MRO | 31162500 | Brackets and braces | BRACKET | MOUNTING | SIZE | 4-3/4 X 1-3/4 IN | MATERIAL | FIBERGLASS ARM | CAPACITY | NOT AVAILABLE | HOLE/SLOT SIZE | NOT AVAILABLE | NUMBER OF HOLES/SLOTS | NOT AVAILABLE | TYPE |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNT:LEFT OR RIGHT,WITH CLAMP | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | SUITABLE NM NOT FOUND | 08-05-2023 | 13-05-2023 |  | 546146 | 546146 | FR37-LFMAC16516 | &MAC LISSE DIAM1=25 L1=30 7 PLIS 36X63 | MAA DIAM1=25 L1=30 7 PLIS 36X63 MX001044 |  |  | MANCHETTE LISSE DIAM.1=25 L1=30 7 PLIS DIAM. 36 X 63 DIAM.2=90 L2=30 LG.50/190 REF MX001044(TRAME/POL).Cette article doit répondre aux normes "contact alimentaire". Certificat obligatoire. | [13 empty] | https://www.controlledproducts.com/itemdetail/MX001044 |  | HYSECURITY | OPM | MX001044 | MX001044 |  | ENRICHED | MRO | 31162500 | Brackets and braces | BRACKET | MOUNTING | SIZE | 6 X 1 IN | MATERIAL | NOT AVAILABLE | CAPACITY | NOT AVAILABLE | HOLE/SLOT SIZE | NOT AVAILABLE | NUMBER OF HOLES/SLOTS | NOT AVAILABLE | TYPE | STRONG BARRIER ARM | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE 1:25 DIA X 30 LG MM,PLY DIAMETER:36 X 36 MM,SIZE:2: | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 357570 | 357570 | BE32-5078803 | KEERBORSTEL 40 CM (BLAUW) | 7024 |  |  | KEERBORSTEL RILSAN 40 CM REF.LEV. 097024 (B L A U W) | [12 empty] | https://falconbrush-com.translate.goog/nl/product/zaalveger-40cm-rilsan-0-27mm-gepluimd-vl50mm-blauw-7024fb?_x_tr_sl=nl&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://www.kutten.eu/ShowPdfFromDisk.mdwr?tag1=5~Mm6MYjsjV0AR3yusYbUa~V8qSkm40EgGjT5RtTfRr6UggiiftKKBRDrVEd19o9AXdDE61~mpsijWrPehkKiNBE7zdV89OqpYMvJ1aAwaY%3D&tag2=UKRMX8XAFR&embed=1; |  | FALCONBRUSH | OPM | 7024FB | 7024FB |  | ENRICHED | MRO | 47131605 | CLEANING BRUSHES | BRUSH | CLEANING | OVERALL LENGTH | 400 MM | TRIM LENGTH | NOT AVAILABLE | BRISTLE MATERIAL | NOT AVAILABLE | DIAMETER | NOT AVAILABLE | SIZE | 60 WD X 120 HT MM | BRISTLE SIZE | 0.27 MM | TYPE | SOFT ROOM SWEEPER | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLUE,FLAMMED,BRAND:RILSON | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 845941 | 845941 | 8364-52116412 | CABLE,SERVO PWR,IKG0022/000,0 | IKG0022/000,0 | Bosch Rexroth | CABLE,SERVO POWER,0,DETAILS:REXROTH R911258440, INS0108-INK0650-AEH*,MANUFACTURER:BOSCH REXROTH,MFR PART NUMBER:IKG0022/000 | [13 empty] | https://shop.bvs-cnc.de/en/products/boschrexroth-indramat/others/cable/ikg/r911258440 | https://dc-mkt-prod.cloud.bosch.tech/it/media/buy/rexroth_store/codici_fuori_produzione_codici_sostitutivi.pdf |  | BOSCH REXROTH AG | OEM | IKG0022/000,0 | IKG0022/000,0 | ALTERNATE MANUFACTURER PART NUMBER:INS0108-INK0650-AEH/R911258440 | ENRICHED | MRO | 26121629 | Power cable | CABLE |  | TYPE | SERVO POWER | CURRENT RATING | NOT AVAILABLE | NUMBER OF CONDUCTORS | NOT AVAILABLE | CONDUCTOR SIZE | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | CONDUCTOR MATERIAL | NOT AVAILABLE | NUMBER OF PINS | NOT AVAILABLE | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | JACKET MATERIAL |  | LENGTH | 12 M | [32 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 176204 | 176204 | 8353-52109599 | CABLE/PH-5800/ENM10039072/MARKEM | ENM10039072 | Markem Corp | MARKEM 5800 Printhead Power Cable | [13 empty] | https://www.avito.ru/korolev/tovary_dlya_kompyutera/markem_imaje_5800_bu_kabel_golovki_2706428550?slocation=637680 | https://topresale-ru.translate.goog/product/markem-imaje-5m-length-ph-power-cable-enm10039072-48420/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | MARKEM-IMAJE | OEM | ENM10039072 | ENM10039072 | REFERENCE NUMBER:5800 | ENRICHED | MRO | 26121629 | Power cable | CABLE |  | TYPE | PRINT HEAD POWER | CURRENT RATING | NOT AVAILABLE | NUMBER OF CONDUCTORS | NOT AVAILABLE | CONDUCTOR SIZE | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | CONDUCTOR MATERIAL | NOT AVAILABLE | NUMBER OF PINS | NOT AVAILABLE | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | JACKET MATERIAL |  | LENGTH | 5 M | [32 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 493052 | 493052 | ES32-5420279 | FRENO TWIFLEX MPU (6780919) | 6780919 |  |  |  | Rubix | 798249101000 | TWIFLEX | 0 | 0 | 6780919 FRENO TWIFLEX MPU | 0 | [5 empty] | https://www.twiflex.com/-/media/Files/Literature/Brand/twiflex-limited/related/product-sheets/mu-series/db4010.ashx | https://www.radwell.co.uk/en-GB/Buy/ALTRA%20INDUSTRIAL%20MOTION/TWIFLEX%20LIMITED/6780919/?redirect=true |  | ALTRA INDUSTRIAL MOTION CORP | OPM | 6780919 | 6780919 |  | ENRICHED | MRO | 25171706 | Brake calipers | CALIPER | BRAKE | NUMBER OF PISTONS | NOT AVAILABLE | PISTON AREA | NOT AVAILABLE | ROTOR SIZE | NOT AVAILABLE | TYPE | DISC | MATERIAL |  | MOUNTING TYPE | BOLT | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:7 BAR,BRAND:TWIFLEX | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 838518 | 838518 | VN03-EV003435 | VERNIER CALIPER:500-196-30 ,CD-6"ASX | MITUTOYO | [15 empty] | https://shop.mitutoyo.eu/web/mitutoyo/en/all/all/Digital%20ABS%20AOS%20Caliper/PR/500-196-30/index.xhtml | https://www.mitutoyo.com/webfoo/wp-content/uploads/D_section.pdf | https://in.element14.com/mitutoyo/500-196-30/caliper-0-6-0-150mm/dp/1521216 | MITUTOYO LTD | OPM | 500-196-30 | 500-196-30 |  | ENRICHED | MRO | 41111621 | Calipers | CALIPER | VERNIER | MEASURING RANGE | 0-6 IN | GRADUATION | 0.01 MM | ACCURACY | NOT AVAILABLE | TYPE | ABSOLUTE DIGITAL | DISPLAY TYPE | LCD | JAW DEPTH | 40 MM | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 531450 | 531450 | FR34-LFCAME00000029 | CAME_VS4-ST51 CE CAMERA RAPIDE | ST51CE-PDR00307 |  |  | PDR00307 000D10 caméra rapide ST51 CE. Remplace la ST50. | [12 empty] | https://www.sony.co.jp/Products/ISP/english/download/pdf/otherscatalog/23_XC-ST70_S.pdf |  |  | SONY ELECTRONICS INC | OPM | ST51CE-PDR00307 | ST51CE-PDR00307 | ALTERNATE MANUFACTURER PART NUMBER:000D10;REPLACES NUMBER:ST50 | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | FAST,BLACK AND WHITE VIDEO | MEGAPIXEL | NOT AVAILABLE | POWER SUPPLY | 12 VDC,2 W | RESOLUTION | 625 TV LINES | FOCUS RANGE |  | FLASH RANGE |  | ZOOM |  | LENS | C=MOUNT | SIZE | 44 WD × 29 HT × 57.5 DP MM | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,FCC,CE | ADDITIONAL FEATURES | TEMPERATURE RATING:-5 TO 45 DEG C | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 402511 | 402511 | BH02-5528443 | VISION CAMERA 5100 WITH LENSCOVER | IS5100 01 |  |  |  | Deska | 125654 | Cognex |  | VISION CAMERA 5100 WITH LENSCOVER | [7 empty] | https://support.cognex.com/docs/is_574/web/EN/is5000/Content/5000_Topics/Specifications/Specs_5100_5400.htm?TocPath=Specifications%7C_____1 | https://www.radwell.co.uk/en-GB/Buy/COGNEX/COGNEX/IS5100-01/?redirect=true | http://www.controlvision.co.nz/in-sight-5100-vision-sys | COGNEX | OPM | IS5100 01 | IS5100 01 |  | ENRICHED | NON MRO | 45121504 | Digital Cameras | CAMERA | DIGITAL | TYPE | VISION,AREA SCAN | MEMORY | 128 MB | POWER SUPPLY | 24 VDC | RESOLUTION | 640 X 480 PX | FOCAL LENGTH |  | FLASH RANGE |  | ZOOM |  | LENS | C-MOUNT | DIMENSIONS | 124.2 X 83.4 X 61.4 MM | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL: DIE-CAST ALUMINUM | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 378208 | 378208 | BE35-5430217 | ABB - CAMERA GIGABIT 3HAC031718-001 | ABB.PARTS.SEROP3HAC031718-001 |  | ABB - CAMERA GIGABIT ETHERNET MONOCHROME RESOLUTION 1390 X 1 3HAC031718-001 ABB.PARTS.SEROP3HAC031718-001 | ABB - CAMERA GIGABIT ETHERNET MONOCHROME RESOLUTION 1390 X 1 3HAC031718-001 ABB.PARTS.SEROP3HAC031718-001¦¦ABB - CAMERA GIGABIT ETHERNET MONOCHROME RESOLUTION 1390 X 1 3HAC031718-001 ABB.PARTS.SEROP3HAC031718-001¦¦ABB - CAMERA GIGABIT ETHERNET MONOCHROME | [12 empty] | https://new.abb.com/products/3HAC031718-001/3hac031718-001 |  |  | ABB | OPM | 3HAC031718-001 | 3HAC031718-001 |  | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | GIGABIT ETHERNET | MEGAPIXEL | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | RESOLUTION | 1390 X 1080 PX | FOCUS RANGE |  | FLASH RANGE |  | ZOOM |  | LENS |  | SIZE |  | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | IMAGE TYPE:MONOCHROME | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,MODIFIER CHANGED | 08-05-2023 | 13-05-2023 |  | 315427 | 315427 | AU04-5039598 | BASLER ACE,ACA2040-35GM,107214 | BASLER 107214 |  | MONACA2040-35GM | [13 empty] | https://cdn.graftek.com/system/files/12325/original/Basler_Ace_Data_Sheet.pdf | https://www.baslerweb.com/en/products/cameras/area-scan-cameras/ace/aca2040-35gm/ |  | BASLER ACE | OPM | 107214 | ACA2040-35GM |  | ENRICHED | MRO | 45121504 | Digital Cameras | CAMERA | DIGITAL | TYPE | AREA SCAN | MEMORY |  | POWER SUPPLY | 12/24 VDC | RESOLUTION | 2048 X 1536 PX | FOCAL LENGTH |  | FLASH RANGE |  | ZOOM |  | LENS | C-MOUNT | DIMENSIONS | 29 WD X 42 LG X 29 HT MM | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,FCC | ADDITIONAL FEATURES | FRAME RATE:35 FPS | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,MODIFIER CHANGED | 08-05-2023 | 13-05-2023 |  | 313573 | 313573 | AU04-5013322 | VIDEO CAMERA,FIX,24VAC/12VDC,PAL,FC,BNC | BOSCH LTC0485/11 |  | VIDEO CAMERA,TYPE:FIXED,VOLTAGE:24VAC/12VDC,VIDEO STANDARD:PAL,OUTPUT(B&W/COLOUR):FULL COLOUR,OUTPUT CONNECTION:BNC,MANUFACTURER PAR T NUMBER-BOSCH LTC0485/11 | [13 empty] | https://www.a1securitycameras.com/bosch-ltc-0485-11-dinionxf-color-cctv-analog-security-camera.html | https://resources-boschsecurity-cdn.azureedge.net/public/documents/Data_sheet_enUS_2007123083.pdf |  | BOSCH | OPM | LTC 0485/11 | LTC 0485/11 |  | ENRICHED | MRO | 45121504 | Digital Cameras | CAMERA | DIGITAL | TYPE | CCD COLOR,VIDEO,FIXED | MEMORY |  | POWER SUPPLY | 12-28 VAC,11-36 VDC | RESOLUTION | 540 TV LINES | FOCAL LENGTH |  | FLASH RANGE |  | ZOOM |  | LENS | MANUAL | DIMENSIONS | 67 WD X 122 LG X 59 HT MM | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | VIDEO STANDARD:PAL,OUTPUT(B & W/COLOUR):FULL COLOUR,OUTPUT CONNECTION:BNC | [34 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,MODIFIER CHANGED | 08-05-2023 | 13-05-2023 |  | 200099 | 200099 | 8364-50369478 | CAMERA,VCIIPX-16M3-LMFB-CGX,IMPERX | VCIIPX-16M3-LMFB-CGX | Imperx Inc | CAMERA,DETAILS:IMPERX,MANUFACTURER:IMPERX INC,MFR PART NUMBER:VCIIPX-16M3-LMFB-CGX | [13 empty] | https://www.imperx.com/wp-content/uploads/Legacy-Cameras/Lynx-Camera-Link/IPX-16M3-L-SpecSheet.pdf |  |  | IMPERX INC | OPM | VCIIPX-16M3-LMFB-CGX | VCIIPX-16M3-LMFB-CGX |  | ENRICHED | MRO | 45121504 | Digital Cameras | CAMERA | DIGITAL | TYPE | PROGRAMMABLE | MEMORY |  | POWER SUPPLY | 12 VDC,550 mA,6.6 W | RESOLUTION | 4872 X 3248 PX | FOCAL LENGTH |  | FLASH RANGE |  | ZOOM |  | LENS | F-MOUNT | SIZE | 78 X 78 X 58 MM | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 307854 | 307854 | AU02-EA508682 | POWER CARD, VLT 5027 | 175Z2639 (175Z4527) | DANFOSS (AUSTRALIA) PTY LTD | 175Z2639 (175Z4527) | [13 empty] | https://www.automationrecovery.com/products/DANFOSS-175Z4527,-CONTROL-BOARD,/?ProductID=91028 | https://repair.rockwellautomation.com/search/null/326/0/34/ |  | DANFOSS | OPM | 175Z4527 | VLT 5027 | ALTERNATE PART NUMBER:175Z2639 | CLEANSED | MRO | 43201500 | System boards processors interfaces or modules | BOARD | CONTROL | TYPE |  | WIDTH |  | LENGTH |  | CURRENT |  | MATERIAL |  | NUMBER OF CHANNELS |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 848170 | 848170 | IT03-5400025 | SCHEDA COM.50/51/40/80/90 I+F/STAT.IN+OU | COD. 50096759 | [15 empty] | https://portal.endress.com/webapp/InventoryReport/ | https://shop.promotechsrl.it/it/varie/673798-endress-hauser-scheda-comu-50096759.html | https://isurplus.com.au/shop/plc%20modules/endress-3191000200b.html | ENDRESS+HAUSER GROUP SERVICES AG | OPM | 50096759 | 50096759 | REFERENCE NUMBER:50/51/40/80/90 I+F/STAT.IN+OUTEX | ENRICHED | MRO | 43201400 | System Cards | CARD | COMMUNICATION | INPUT RATING | NOT AVAILABLE | NUMBER OF PORTS | NOT AVAILABLE | INTERFACE TYPE | NOT AVAILABLE | DATA TRANSFER RATE | NOT AVAILABLE | SIZE | NOT AVAILABLE | TYPE | I/O BOARD | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 691058 | 691058 | MY44-5046592 | CARD CAN BUS:ADVANTECH PCI-1680U-BE (B1) | [16 empty] | https://www.mouser.in/datasheet/2/638/PCIE_1680_PCI_1680U_DS_090219_20190902180131-2492417.pdf |  |  | ADVANTECH | OPM | PCI-1680U-BE (B1) | PCI-1680U-BE (B1) |  | ENRICHED | MRO | 43201400 | System Cards | CARD | COMMUNICATION | INPUT RATING | 3.3 V AT 600 mA | NUMBER OF PORTS | 2 | INTERFACE TYPE | NOT AVAILABLE | DATA TRANSFER RATE | UP TO 1 Mbps | SIZE | 168 LG X 111 HT MM | TYPE | UNIVERSAL PCI | CONNECTION TYPE | (2) X DB9 MALE,(2) 10 PIN BOX WAFER | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,FCC | ADDITIONAL FEATURES | CAN FREQUENCY:16 MHz,TEMPERATURE RATING:0 TO 70 DEG C | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 845495 | 845495 | 8349-50337539 | CARD,COMPUT,1041179,SICK | 1041179 | Sick Inc | CARD,COMPUTER,DETAILS:SICK,MANUFACTURER:SICK INC,MFR PART NUMBER:1041179 | [13 empty] | https://www.kempstoncontrols.co.uk/CMF500-1000/Sick/sku/215548 | https://eu.vision-supplies.com/sick-cmf500-1000 |  | SICK AG | OPM | 1041179 | CMF500-1000 |  | ENRICHED | NON MRO | 32100000 | Printed Circuits And Integrated Circuits And Microassemblies | CARD | COMPUTER | TYPE | ETHERNET | VOLTAGE RATING | NOT AVAILABLE | CONNECTION | NOT AVAILABLE | MOUNTING | NOT AVAILABLE | MEMORY CAPACITY |  | CURRENT RATING |  | FREQUENCY |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 312120 | 312120 | AU03-EA628014 | CARD, CPU, BOSCH 8-101-307-087 | BOSCH 8-101-307-087 |  | BOSCH 8-101-307-087 (CPU - ADT - 8xPT100 V3) | [13 empty] | URL NOT FOUND |  |  | BOSCH | OPM | 8-101-307-087 | 8-101-307-087 | EQUIPMENT MODEL:ADT - 8xPT100 V3 | CLEANSED | MRO | 32100000 | Printed Circuits & Integrated Circuits & Microassemblies | CARD | COMPUTER | TYPE | CPU | VOLTAGE RATING | NOT AVAILABLE | CONNECTION | NOT AVAILABLE | MOUNTING | NOT AVAILABLE | MEMORY CAPACITY |  | CURRENT RATING |  | FREQUENCY |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 628033 | 628033 | IE33-CB41907233 | CARD,ANOLOG INPUT,X96-1002D,RONAN | [16 empty] | https://www.radwell.co.uk/en-GB/Buy/RONAN%20ENGINEERING%20CO/RONAN%20ENGINEERING%20CO/X96-1002D/?redirect=true |  |  | RONAN ENGINEERING COMPANY | OPM | X96-1002D | X96-1002D |  | ENRICHED | MRO | 32100000 | Printed Circuits & Integrated Circuits & Microassemblies | CARD | COMPUTER | TYPE | ANALOG INPUT | VOLTAGE RATING | NOT AVAILABLE | CONNECTION | NOT AVAILABLE | MOUNTING | NOT AVAILABLE | MEMORY CAPACITY |  | CURRENT RATING |  | FREQUENCY |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 834917 | 834917 | VN02-EV010221 | CARD,PROFINET,130B1135 | 130B1135;DANFOSS | [15 empty] | https://store.danfoss.com/no/en/Drives/Low-Voltage-Drives/Accessories-for-Low-Voltage-Drives/Accessories-FC-202/VLT%C2%AE-PROFINET-MCA-120%2C-UNCOATED/p/130B1135 | https://www.radwell.co.uk/en-GB/Buy/DANFOSS/DANFOSS/130B1135/?redirect=true | https://www.kempstoncontrols.co.uk/130B1135/Danfoss-Drives/sku/964699 | DANFOSS | OPM | 130B1135 | 130B1135 |  | ENRICHED | MRO | 43201404 | Network Interface Cards | CARD | INTERFACE | POWER SUPPLY | NOT AVAILABLE | DATA TRANSFER RATE | NOT AVAILABLE | POWER DISSIPATION | NOT AVAILABLE | INTERFACE TYPE | PROFINET | NUMBER OF PORTS | 2 | SIZE | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 782333 | 782333 | RU07-TRU40007804 | IMA(6042583);MASTER PCI CARD;JAPMC-NT110 | 6042583 | [15 empty] | https://www.radwell.co.uk/en-GB/Buy/YASKAWA%20ELECTRIC/YASKAWA%20ELECTRIC/JAPMC-NT110/?redirect=true | https://mechatrolink.r-cms.jp/en/topics_detail1/id=77 |  | YASKAWA ELETRIC CORPORATION | OPM | JAPMC-NT110 | JAPMC-NT110 | REFERENCE NUMBER:6042583 | ENRICHED | MRO | 43201404 | Network Interface Cards | CARD | INTERFACE | POWER SUPPLY | 5 VDC | DATA TRANSFER RATE | 4 Mbps (MECHATROLINK-I),10 Mbps (MECHATROLINK-II) | POWER DISSIPATION | NOT AVAILABLE | INTERFACE TYPE | NOT AVAILABLE | NUMBER OF PORTS | 1 | SIZE | 120.81 X 64.41 MM | TEMPERATURE RATING |  | TYPE | COMMUNICATION | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 307855 | 307855 | AU02-EA508683 | DEVICE NET V2.92 MEMORY CARD VLT 6000 | 176F1586 (175Z5143) | DANFOSS (AUSTRALIA) PTY LTD | 176F1586 (175Z5143) | [13 empty] | https://www.alandcontrols.com/pages/danfoss-stock-items | https://files.danfoss.com/download/Drives/doc_E3_1_MG61B502.pdf |  | DANFOSS | OEM | 176F1586 | 176F1586 | ALTERNATE PART NUMBER:175Z5143,EQUIPMENT MODEL NUMBER:VLT 6000 | CLEANSED | MRO | 43202005 | Flash Memory Storage Card | CARD | MEMORY | MEMORY | NOT AVAILABLE | POWER SUPPLY | 200/380 V | READ/WRITING SPEED | NOT AVAILABLE | SIZE | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | TYPE | DEVICE NET V2.92 | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 203018 | 203018 | 8364-50409455 | CARD,COMPUT,R911310774,REXROTH | R911310774 | Bosch Rexroth | CARD,COMPUTER,DETAILS:REXROTH,MANUFACTURER:BOSCH REXROTH,MFR PART NUMBER:R911310774 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/BOSCH/REXROTH/R911310774/?redirect=true |  |  | REXROTH | OEM | R911310774 | R911310774 |  | ENRICHED | MRO | 32100000 | Printed Circuits & Integrated Circuits & Microassemblies | CARD | COMPUTER | TYPE | PLUG-IN | VOLTAGE RATING | NOT AVAILABLE | CONNECTION | NOT AVAILABLE | MOUNTING |  | MEMORY CAPACITY |  | CURRENT RATING |  | FREQUENCY |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | ADDITIONAL FEATURES | [39 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 205763 | 205763 | 8364-50470557 | CHARGE,BATT,CU 887104,INDUSTRIAL,115V | CU 887104 | CUSHMAN TEXTRON | CHARGER,BATTERY,TYPE:INDUSTRIAL,POWER_SOURCE:115V,MANUFACTURER:CUSHMAN TEXTRON,MFR PART NUMBER:CU 887104 | [13 empty] | https://shop.moderngroup.com/887104-cushman-aftermarket-charger-24v-25a-115vac-60hz/ |  |  | CUSHMAN TEXTRON | OPM | 887104 | 887104 |  | ENRICHED | MRO | 26111704 | Battery Chargers | CHARGER | BATTERY | CHARGING CAPACITY | NOT AVAILABLE | INPUT VOLTAGE | 115 VAC | CURRENT RATING | 25 A | OUTPUT VOLTAGE RATING | 24 V | TYPE | INDUSTRIAL | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 231750 | 231750 | 8373-52255555 | CARGADOR 3STM24/ 40-GY |  |  | CARGADOR DE BATERIA SERIE: 11807 3SMT711 TIPO: 3STM24/ 40 - GY V SALIDA: 24V I SALIDA: 40 A V INGRESO: 230 V I INGRESO: 6.29 A FRECUENCIA: 50-60 HZ POTENCIA: 1446 VA USO: EQUIPO LINDE DE SOPORTE ESTRUCTURA: 8373-UT-BC-CRK1-DGH10-DT02 C | [13 empty] | https://www.lektronix.com/equipment/atib-elettronica-3stm2440/153370 |  |  | A.T.I.B. ELETTRONICA S.R.L. | OPM | 3STM24/40 | 3STM24/40 |  | ENRICHED | MRO | 26111704 | Battery Chargers | CHARGER | BATTERY | CHARGING CAPACITY | NOT AVAILABLE | INPUT VOLTAGE | 230 V | CURRENT RATING | 6.29 A | OUTPUT VOLTAGE RATING | 24 V | TYPE |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OUTPUT CURRENT RATING:40 A,POWER RATING:1446 VA,FREQUENCY: 50-60 Hz | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 58054 | 58054 | 8317-52197662 | CHARGE,BATT,CBHF248-20,INDUSTRIAL,120V | CBHF248-20 | S.P.E. ELETTRONICA INDUSTRIALE | CHARGER,BATTERY,TYPE:INDUSTRIAL,POWER SOURCE:120V,MANUFACTURER:S.P.E ELETTRONICA INDUSTRIALE,MFR PART NUMBER:CBHF248-20 |  | Wesco |  | S.P.E. ELETTRONICA INDUSTRIALE | CBHF248-20 | CHARGER,BATTERY,TYPE:INDUSTRIAL,POWER SOURCE:120V,MANUFACTURER:S.P.E ELETTRONICA INDUSTRIALE,MFR PART NUMBER:CBHF248-20 | [7 empty] | https://www-bateriasberrocal-com.translate.goog/download/sample/2599?_x_tr_sl=es&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://www.bateriasberrocal.com/cargador-spe-cbhf2-4820 |  | S.P.E. ELETTRONICA INDUSTRIALE | OPM | CBHF2 4820 | CBHF2 4820 |  | ENRICHED | MRO | 26111704 | Battery Chargers | CHARGER | BATTERY | CHARGING CAPACITY | NOT AVAILABLE | INPUT VOLTAGE | 200-240 V | CURRENT RATING | 20 A | OUTPUT VOLTAGE RATING | 48 V | TYPE | INDUSTRIAL | SIZE | 310 WD X 180 LG X 100 HT MM | NUMBER OF BATTERIES |  | CHARGING TIME | 10-12 HR | TEMPERATURE RATING | 0 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CULUS | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP30,FREQUENCY RATING:60 Hz | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 694667 | 694667 | NG01-5554656 | BREDA 20CFR 470MM X 15.985M |  |  | Endless 1 ud Profile NE.Z06-62-Green | [13 empty] | https://www.esbelt.com/wp-content/uploads/2019/05/2019.05-Esbelt-Profiles.pdf |  |  | ESBELT | OPM | NE.Z06-62 | NE.Z06-62 |  | ENRICHED | MRO | 31162414 | Cleat | CLEAT |  | TYPE | ENDLESS | SIZE | 470 WD MM X 15.985 LG M | LOAD CAPACITY | NOT AVAILABLE | MATERIAL | PVC | COLOUR | GREEN | MOUNTING TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | NUMBER OF PLIES:1,BREDA 20CFR,PROFILE | [44 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 694663 | 694663 | NG01-5554652 | BREDA 12CFI 480MM X 4.090M |  |  | Endless 1ud Profile NE.206-62-Green | [13 empty] | https://www.esbelt.com/wp-content/uploads/2019/05/2019.05-Esbelt-Profiles.pdf |  |  | ESBELT | OPM | NE.Z06-62 | NE.Z06-62 |  | ENRICHED | MRO | 31162414 | Cleat | CLEAT |  | TYPE | ENDLESS | SIZE | 480 WD MM X 4.09 LG M | LOAD CAPACITY | NOT AVAILABLE | MATERIAL | PVC | COLOUR | GREEN | MOUNTING TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | NUMBER OF PLIES:1,BREDA 12CFI,PROFILE | [44 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 9728 | 9728 | 8301-52223543 | BLUSA TERMICA DE MOLETON CA 28887 TAM G |  |  | BLUSA TERMICA DE MOLETON CA 28887 TAM G; CONFORME MODELO; COM LOGO: MONDELEZ / PHILADELPHIA; FORNECIMENTO: FASTENAL | BLUSA TERMICA DE MOLETON CA 28887 TAM G; CONFORME MODELO; COM LOGO: MONDELEZ / PHILADELPHIA; FORNECIMENTO: FASTENAL | Fastnel | 14177-01187 | QUALIFLEX |  |  |  | BLUSA TERMICA DE MOL | [5 empty] | https://www.superepi.com.br/blusa-de-moletom-termico-para-camara-fria-qualiflex-branco-ca-28887-p1048516 |  |  | QUALIFLEX | OPM | CA 28887,G | CA 28887,G | DISTRIBUTOR NAME:FASTENAL | ENRICHED | NON MRO | 11162100 | Specialty Fabrics Or Cloth | CLOTH |  | MATERIAL | NOT AVAILABLE | COLOUR | WHITE | SIZE | G | TYPE | THERMAL SWEATSHIRT,INTERNALLY FLEECE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOGO:MONDELEZ/PHILADELPHIA,CUFF STYLE:ELASTIC | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 9727 | 9727 | 8301-52223542 | BLUSA TERMICA DE MOLETON CA 28887 TAM M |  |  | BLUSA TERMICA DE MOLETON CA 28887 TAM M; CONFORME MODELO; COM LOGO: MONDELEZ / PHILADELPHIA; FORNECIMENTO: FASTENAL | BLUSA TERMICA DE MOLETON CA 28887 TAM M; CONFORME MODELO; COM LOGO: MONDELEZ / PHILADELPHIA; FORNECIMENTO: FASTENAL | [12 empty] | https://www.superepi.com.br/blusa-de-moletom-termico-para-camara-fria-qualiflex-branco-ca-28887-p1048516 |  |  | QUALIFLEX | OPM | CA 28887,M | CA 28887,M | DISTRIBUTOR NAME:FASTENAL | ENRICHED | NON MRO | 11162100 | Specialty Fabrics Or Cloth | CLOTH |  | MATERIAL | NOT AVAILABLE | COLOUR | WHITE | SIZE | M | TYPE | THERMAL SWEATSHIRT,INTERNALLY FLEECE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOGO:MONDELEZ/PHILADELPHIA,CUFF STYLE:ELASTIC | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 624830 | 624830 | IE32-CB41910158 | CLOTH,CLEANING,530179,TORK |  |  |  |  | Rubix | TORK-530178 | NONE |  |  | TORK WIPES(5 PERBOX) | [6 empty] | https://www.tork.ie/product/530179/refill/wipers-cloths |  |  | TORK | OPM | 530179 | 530179 |  | ENRICHED | NON MRO | 47131502 | Cleaning Cloths Or Wipes | CLOTH |  | MATERIAL | NOT AVAILABLE | COLOUR | WHITE | SIZE | 35.5 WD X 41.5 LG CM | TYPE | HEAVY DUTY CLEANING | HAZARD CLASS |  | CERTIFICATION/STANDARD | FSC,AVIATION | ADDITIONAL FEATURES | NUMBER OF PLY:1,FOLDED SIZE:WD 35.5 X 10.5 LG CM | [46 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 66617 | 66617 | 8319-52254224 | COLL,03076B0037,HAYSSEN,COLLAR CORE | 03076B0037 | Hayssen Packaging Technologies | COLLAR,DETAILS:COLLAR CORE,MANUFACTURER:HAYSSEN,MFR PART NUMBER:03076B0037 | [13 empty] | https://mropartsdepot.com/catalog/index.php?main_page=product_info&cPath=6&products_id=377 |  |  | HAYSSEN PACKAGING TECHNOLOGIES | OEM | 03076B0037 | 03076B0037 |  | ENRICHED | MRO | 31163210 | Retaining collars | COLLAR |  | TYPE | CORE LOCKING | INSIDE DIAMETER | NOT AVAILABLE | OUTSIDE DIAMETER | NOT AVAILABLE | THICKNESS | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 43958 | 43958 | 8312-52200919 | COLL,LOCK,1C-062-S,ONE PIECE,0.625 IN,SS | 1C-062-S | Climax Metal Products Co | COLLAR,LOCKING,STYLE:ONE PIECE,SIZE:0.625 IN,MATERIAL:SS,MANUFACTURER:CLIMAX METAL PRODUCTS CO,MFR PART NUMBER:1C-062-S | [13 empty] | https://catalog.climaxmetal.com/item/one-piece-clamping-collars/one-piece-clamping-collar-1c-series/1c-062-s |  |  | CLIMAX METAL PRODUCTS CO | OPM | 1C-062-S | 1C-062-S |  | ENRICHED | MRO | 31163210 | Retaining collars | COLLAR |  | TYPE | ONE PIECE CLAMPING,LOCKING | INSIDE DIAMETER | 5/8 IN | OUTSIDE DIAMETER | 1-5/16 IN | THICKNESS | 7/16 IN | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:PLAIN | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 65876 | 65876 | 8319-52216862 | COLL,LOCK,3369K25,SPLIT,25 MM,SS | 3369K25 | BDI | COLLAR,LOCKING,STYLE:SPLIT,SIZE:25 MM,MATERIAL:SS,MANUFACTURER:BDI,MFR PART NUMBER:3369K25 |  | BDI | MCM 3369K25 | McMaster Carr | 3369K25 | COLL,LOCK,3369K25,SPLIT,25 MM,SS | 0 | 0 | [5 empty] | https://www.smallparts.com.au/catalogue/quick/Cross%20Reference%20McMaster-Carr.pdf |  |  | MC MASTER | OPM | 3369K25 | 3369K25 | ALTERNATE MANUFACTURER NAME:BDI | ENRICHED | MRO | 31162811 | Shaft collar | COLLAR |  | TYPE | LOCKING,SPLIT,SHAFT | INSIDE DIAMETER | 25 MM | OUTSIDE DIAMETER | NOT AVAILABLE | THICKNESS | NOT AVAILABLE | MATERIAL | STAINLESS STEEL 300 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLAMP TYPE:TWO PIECE | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 311988 | 311988 | AU03-EA627550 | STEP,COLLER; X102-5169-11 | ISHIDA X102-5169-11 |  | ISHIDA X102-5169-11 | [13 empty] | https://www.bid-on-equipment.com/manufacturing-equipment---general/manufacturing-equipment---other/229973~ishida-collars-(various)-(lot-of-25).htm |  |  | ISHIDA CO LTD | OEM | X102-5169-11 | X102-5169-11 |  | ENRICHED | MRO | 31163210 | Retaining collars | COLLAR |  | TYPE | STEP | INSIDE DIAMETER | NOT AVAILABLE | OUTSIDE DIAMETER | NOT AVAILABLE | THICKNESS | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 212094 | 212094 | 8364-52206365 | COLLET,WELD,13N27,TIG,1/16 IN | 13N27 | THERMACUT | COLLET,WELDING,TYPE:TIG,SIZE:1/16 IN,MANUFACTURER:THERMACUT,MFR PART NUMBER:13N27 | [13 empty] | https://www.strobelssupply.com/collet-body-1-16-13n27/ | https://www.grainger.com/product/MILLER-ELECTRIC-Collet-Body-For-1-16-in-Max-6UGH7 | https://www.raptorsupplies.com/pd/miller-weldcraft/13n27 | THERMACUT | OPM | 13N27 | 13N27 |  | ENRICHED | MRO | 23271700 | Welding And Soldering And Brazing Accessories | COLLET | WELDING | MATERIAL | COPPER | NOMINAL SIZE | 1/16 IN | COATING/FINISH |  | HAZARD CLASS |  | ADDITIONAL FEATURES |  | TYPE | TIG | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 212096 | 212096 | 8364-52206371 | COLLET,WELD,13N29,TIG,1/8 IN | 13N29 | THERMACUT | COLLET,WELDING,TYPE:TIG,SIZE:1/8 IN,MANUFACTURER:THERMACUT,MFR PART NUMBER:13N29 | [13 empty] | https://teamequip.com/lot-of-30-thermacut-13n29-collet-body-1-8-t30723/ | https://www.grainger.com/product/MILLER-ELECTRIC-Collet-Body-For-1-8-in-Max-6UGH9 | https://www.capitolscientific.com/Anchor-13N29-Collet-Body-for-TIG-Arc-Welding-Copper-1-8-Inch | THERMACUT | OPM | 13N29 | 13N29 |  | ENRICHED | MRO | 23271700 | Welding And Soldering And Brazing Accessories | COLLET | WELDING | MATERIAL | COPPER | NOMINAL SIZE | 1/8 IN | COATING/FINISH |  | HAZARD CLASS |  | ADDITIONAL FEATURES |  | TYPE | TIG | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 692900 | 692900 | NG01-5533874 | 2530303201 DETECTOR |  |  | ACMA SPARES | [13 empty] | https://sigmasurplus.com/new-gardner-denver-2530303201-detector-terminal-24v/ |  |  | SIGMA SURPLUS | OPM | 2530303201 | 2530303201 |  | ENRICHED | MRO | 39121432 | Electrical terminals | TERMINAL |  | TYPE | DETECTOR | VOLTAGE RATING | 24 V | CURRENT RATING |  | WIRE SIZE |  | SIZE |  | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 293782 | 293782 | AT31-5273962 | BIRCHER RADARBEWEGUNGSMELDER RK33C-P/31 | BIRCHER RADARBEWEGUNGSMELDER RK33C-P/31 | MANAHL AUTOMATICTOR | [14 empty] | https://www.sonepar.ch/de/535441545-radar-bewegungsmelder-bbc-bircher-rk-33c-p31-schwarz-207905 |  |  | BBC BIRCHER AG | OPM | RK33C-P/31 | RK33C-P/31 | ALTERNATE MANUFACTURER:MANAHL AUTOMATICTOR | ENRICHED | MRO | 32101519 | Detectors | DETECTOR |  | MEASURING RANGE | 12 M | SIZE | NOT AVAILABLE | MATERIAL | PLASTIC | TYPE | RADAR MOTION | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE RATING:12-24 VAC/12-30 VDC,POWER RATING:30 W,CONTROL CURRENT:70 mA,TEMPERATURE RATING:-20 TO 60 DEG C | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 507179 | 507179 | ES36-5322231 | DETECTOR PEPPERL + FUCHS CJ15-40-A2 | [16 empty] | https://endevoronline.com/gb/proximity/4368-capacitive-detector-pepperl-fuchs-cj15-40-a2-used.html |  |  | PEPPERL+FUCHS SE | OPM | CJ15-40-A2 | CJ15-40-A2 |  | ENRICHED | MRO | 32101519 | Detectors | DETECTOR |  | MEASURING RANGE |  | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE | CAPACITIVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 308892 | 308892 | AU03-5017498 | RTD; 0-100C , 1/2 TRI,M12 PLUG |  |  | 1/2" Triclover-35x6mmØ c/w S/S Saturn Head + M12 Plug Fitted INOR IPAQ-C202 HEAD MOUNT RTD TRANSMITTER ( 0/+100°C) | [13 empty] | https://www.instrumart.com/assets/Inor-ICON-C202-Manual.pdf |  |  | INOR | OPM | IPAQ C202 | IPAQ C202 |  | ENRICHED | MRO | 41112105 | Temperature transmitters | TRANSMITTER | TEMPERATURE | MEASURING RANGE |  | ACCURACY | +/-0.1 DEG C | INPUT TYPE | 3-WIRE,0 TO 100 DEG C | OUTPUT TYPE | 4-20 mA | CONNECTION TYPE |  | TYPE | PROGRAMMABLE 2-WIRE | MATERIAL |  | SUPPLY VOLTAGE | 6-35 VDC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX,IEC,CE | ADDITIONAL FEATURES |  | TEMPERATURE RANGE | -40 TO 85 DEG C | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 59196 | 59196 | 8319-50065665 | THERM,10327A1068,J | 10327A1068 | Hayssen Packaging Technologies | THERMOCOUPLE,TYPE:J,MANUFACTURER:HAYSSEN PACKAGING TECHNOLOGIES,MFR PART NUMBER:10327A1068 |  | Wesco |  | Hayssen Packaging Technologies | 10327A1068 | THERMOCOUPLE,TYPE:J,MANUFACTURER:HAYSSEN PACKAGING TECHNOLOGIES,MFR PART NUMBER:10327A1068 | [7 empty] | https://eastcoastsensors.com/catalogpages/HAYpage.pdf |  |  | HAYSSEN PACKAGING TECHNOLOGIES | OEM | 10327A1068 | 10327A1068 |  | ENRICHED | MRO | 41112225 | Resistance Temperature Detector Rtd | DETECTOR | RTD | ELEMENT TYPE | THERMOCOUPLE | ELEMENT MATERIAL | PLATINUM | TEMPERATURE RANGE | NOT AVAILABLE | PROCESS CONNECTION | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | TYPE | J | WIRE LENGTH |  | ELEMENT RESISTANCE | 100 OHM | SHEATH MATERIAL | STAINLESS STEEL 316 | LEAD TYPE | STRIPPED | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 548741 | 548741 | FR38-5581398 | FF310 SUPPORT AXE RLX 000.31.627.01 |  |  |  | ANNEXE 40 SUPPORT AXE RLX 000.31.627.01 TAPIS MAILLE SORTIE FOUR | [12 empty] | https://www.mactools.com/products/ff310 | https://gtc.ca/product/ff310-open-and-short-circuit-finder-and-tracer/ |  | GENERAL TECHNOLOGIES CORP | OPM | FF310 | FF310 | ALTERNATE PART NUMBER:000.31.627.01 | ENRICHED | MRO | 32101519 | Detectors | DETECTOR |  | MEASURING RANGE | 12 IN | SIZE |  | MATERIAL | NOT AVAILABLE | TYPE | FAULT FINDER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT VOLTAGE:6-42 VDC,OUTPUT VOLTAGE:5 VDC,CURRENT RATING:100 mA | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 513371 | 513371 | ES36-5542989 | DETECTOR DE NIVEL UWT RN4001 AMASADORES | RN4001 |  |  | CORRESPONDE A SU OFERTA Nº 354459 | [12 empty] | https://www.uwtgroup.com/en_in/rotonivo-rn-4001.html |  |  | UWT GROUP | OPM | RN4001 | RN4001 | CORRESPOND TO YOUR OFFER NUMBER:354459 | ENRICHED | MRO | 39122219 | Level or float switch | SWITCH | LEVEL | MEASURING RANGE | >35 G/L | PROCESS CONNECTION | >=1 IN BSPP,M30 X 1.5 MM | PRESSURE RATING | -0.9 TO 0.8 BAR | OUTPUT SIGNAL |  | ENCLOSURE | IP66 | CONTACT CONFIGURATION |  | VOLTAGE RATING | 22-230 VAC/24 VDC | CURRENT RATING |  | TYPE | ROTARY PADDLE | MATERIAL | PLASTIC | TEMPERATURE RATING | -40 TO 80 DEG C | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ATEX,IECEX,TR-CU | ADDITIONAL FEATURES | [27 empty] | ENRICHED | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 95718 | 95718 | 8332-52033339 | APV CU31DEVICE NET L804611 N/P H209422 | H209422 |  | APV CU31DEVICE NET L804611 N/P H209422 | [13 empty] | https://www.spxflow.com/assets/pdf/APV_valves_SVS1F_GB.pdf | https://www.triplexsales.com/catalog/p-252309/cu31-device-net-l804611 |  | SPX FLOW TECHNOLOGY | OPM | H209422 | APV CU31 | ALTERNATE PART NUMBER:L804611 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | UNIT | CONTROL | TYPE | DEVICE NET | SIZE |  | MATERIAL |  | ADDITIONAL FEATURES | [53 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | NEED CLARITY ON NM | 08-05-2023 | 13-05-2023 |  | 278806 | 278806 | 8385-52262892 | DISPOSITIVO E/S DESCENTRALIZADO FLS PB |  |  | FLS PB M12 DI 16 M12 2736220 PHOENIX CONTACT Dispositivo E/S descentralizado | [13 empty] | https://store.livhaven.com/media/uploads/phoenix_pdfs/2736220-phoenix-contact-fls-pb-m12-di-16-m12-datasheet.pdf |  |  | PHOENIX CONTACT | OPM | FLS PB M12 DI 16 M12 | FLS PB M12 DI 16 M12 | PART NUMBER:2736220 | ENRICHED | MRO | 43201500 | System Boards Processors Interfaces Or Modules | DEVICE |  | TYPE | DECENTRALIZED IN/OUT | SIZE | 60 WD X 161 HT X 44.5 DP MM | MATERIAL |  | RATING | 24 VDC,75 mA | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 60 DEG C | [50 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 766694 | 766694 | RU03-5428723 | EXPLOSION VENTING DEVICE;Q-ROHR-3 | [16 empty] | https://www.grupa-wolff.com/explosion-protection/explosion-relief-venting/q-rohr-3-flameless-explosion-venting-unit/ |  |  | REMBE | OPM | Q-ROHR-3 | Q-ROHR-3 |  | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DEVICE |  | TYPE | FLAMELESS EXPLOSION VENTING | SIZE |  | MATERIAL | STAINLESS STEEL | RATING |  | ADDITIONAL FEATURES | [51 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 767419 | 767419 | RU03-5454735 | SPS;UPPER FLATTENING DEVICE;7141096A | [16 empty] | https://baumuller.kz/product/333042 |  |  | SPS PACK | OPM | 7141096A | 7141096A |  | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DEVICE |  | TYPE | UPPER FLATTENING | SIZE |  | MATERIAL |  | RATING |  | ADDITIONAL FEATURES | [51 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 767420 | 767420 | RU03-5454737 | SPS;LOWER FLATTENING DEVICE;7141097A | [16 empty] | https://baumuller.kz/product/333043 |  |  | SPS PACK | OPM | 7141097A | 7141097A |  | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DEVICE |  | TYPE | LOWER FLATTENING | SIZE |  | MATERIAL |  | RATING |  | ADDITIONAL FEATURES | [51 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 508159 | 508159 | ES36-5332183 | DRIVER ORIENTAL MOTOR ASD20A-C 902Y25 | ASD20A-C 902Y25 | [15 empty] | https://catalog.orientalmotor.com/item/all-categories-legacy-products/ories-legacy-products-stepper-motor-drivers-legacy/asd20a-c |  |  | ORIENTAL MOTOR CO., LTD. | OPM | ASD20A-C | ASD20A-C | ALTERNATE PART NUMBER:902Y25 | ENRICHED | MRO | 32101625 | Motor drive or control integrated circuits | DRIVE | AC MOTOR | OUTPUT RATING |  | ENCLOSURE |  | POWER |  | INPUT RATING |  | OUTPUT CURRENT RATING |  | SPEED |  | VOLTAGE RATING | 200-230 VAC | FRAME TYPE |  | TYPE | CLOSED LOOP | ADDITIONAL FEATURES | NUMBER OF PHASE:1 | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | NEED CLARITY ON NM | 08-05-2023 | 13-05-2023 |  | 770637 | 770637 | RU03-5570782 | DRIVER;MR80/350 SLIM;(122212) | [16 empty] | https://www.tci.it/en/products/led-drivers/546/mp-80-350-slim/ | https://win.tcisaronno.com/downloads/?IDnode=546&field=docs&language=EN |  | TCI MANUFACTURING | OPM | MR 80/350 | MR 80/350 | ALTERNATE PART NUMBER:SLIM 122212 | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DRIVER |  | SIZE | 280 X 21 X 30 MM | MATERIAL | NOT AVAILABLE | TYPE | LED | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC | ADDITIONAL FEATURES | VOLTAGE:220 TO 240 V | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 771767 | 771767 | RU03-5593342 | DRIVER MODEL;CP-PMDCT1008-00 | [16 empty] | https://www.radwell.co.uk/en-GB/Buy/SPRAYING%20SYSTEMS%20/SPRAYING%20SYSTEMS%20MFG/CP-PMDCT1008-00/?redirect=true |  |  | SPRAYING SYSTEMS CO | OPM | CP-PMDCT1008-00 | CP-PMDCT1008-00 |  | CLEANSED | MRO | 23153100 | Industrial Machinery Components And Accessories | DRIVE |  | SIZE |  | MATERIAL |  | FRAME TYPE |  | POWER RATING |  | SPEED |  | TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | VOLTAGE | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | NEED CLARITY ON NM | 08-05-2023 | 13-05-2023 |  | 770638 | 770638 | RU03-5570783 | DRIVER;МР80/700 SLIM;(122213) | [16 empty] | https://www.tci.it/en/products/led-drivers/863/mp-80-700-slim/ | https://win.tcisaronno.com/downloads/?IDnode=863&field=docs&language=EN |  | TCI MANUFACTURING | OPM | ?? 80/700 | ?? 80/700 | SLIM 122213 | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DRIVER |  | SIZE | 280 X 21 X 30 MM | MATERIAL | NOT AVAILABLE | TYPE | LED | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC | ADDITIONAL FEATURES | VOLTAGE:220 TO 240 V | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 655858 | 655858 | IN05-ED044058 | BOSCH WARNER MCS 2000-DRV2 |  |  | Bosch Warner MCS 2000-DRV2 | [13 empty] | https://www.altraliterature.com/-/media/files/literature/brand/warner-electric/service-manuals/p-2010-6-we.ashx |  |  | WARNER ELECTRIC | OPM | 6910-448-109 | MCS2000-DRV2 |  | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | DRIVE |  | SIZE | 75 WD X 174 LG X 185 HT MM | MATERIAL | NOT AVAILABLE | FRAME TYPE |  | POWER RATING |  | SPEED |  | TYPE | DUAL CHANNEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | TEMPERATURE RATING:40 DEG C,ENCLOSURE RATING:IP20 | VOLTAGE | 24 VDC | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 489282 | 489282 | ES32-5292458 | CABLE CONEXION HONEYWELL 50001623-002 | [16 empty] | https://prod-edam.honeywell.com/content/dam/honeywell-edam/pmt/hps/products/pmc/process-instruments/analytical-instruments&sensors/ph-orp-sensors/7777dvp-immersion-in-line-mounting/pmt-hps-70-82-03-51.pdf?download=false |  |  | HONEYWELL INTERNATIONAL | OPM | 50001623-002 | 50001623-002 |  | ENRICHED | MRO | 26121600 | Electrical cable and accessories | CABLE |  | TYPE | PREAMP | CURRENT RATING |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CONDUCTOR MATERIAL |  | NUMBER OF PINS |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | JACKET MATERIAL |  | LENGTH | 15.24 M | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 14304 | 14304 | 8308-52065693 | COOLER PARA VENTILACAO SD8020-24HB | SD802024HB | Rockwell Automation | COOLER PARA VENTILACAO FORCADA SD8020-24HB - TIGER - EMBALAGEM CLUB SOCIAL | COOLER PARA VENTILACAO FORCADA SD8020-24HB - TIGER - EMBALAGEM CLUB SOCIAL | [12 empty] | https://inverterdrive.com/group/Accessories-for-Servo-Drives/SD802024HB-637-SSD-Parker-Eurotherm-Drives-ASB/ | https://www.stabe.se/en/webshop/drifter/servodrifter/fan-servo-637-0-15a-24vdc-80x80x20mm |  | PARKER | OPM | SD802024HB | SD802024HB | ALTERNATE MANUFACTURER NAME:ALLEN BRADLEY | ENRICHED | MRO | 40101604 | Fans | FAN |  | TYPE | VENTILATION COOLER | BLADE DIAMETER | NOT AVAILABLE | FLOW RATING | NOT AVAILABLE | SPEED RATING | NOT AVAILABLE | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE | 80 X 80 X 20 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING: 24VDC,0.15 A,FOR 637 SERVO DRIVE | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 82887 | 82887 | 8326-52118209 | VENTILADOR ZIHEL QR08A4EM72CH |  |  | VENTILADOR MARCA ZIHEL MODELO QR08A-4EM.72.CH SE ANEXA IMAGEN PLACA DE DATOS | [13 empty] | https://img55.chem17.com/2/20131018/635176929690984431807.pdf | https://www.ziehl-abegg.com/fileadmin/Downloadcenter_NEW/00_englisch%28EN%29_MASTER/X02_Catalogues/ZIEHL-ABEGG-Catalogue-Cross-flow-fans-english.pdf | https://ventilatorry.ru/tangencialnie-ventiljatori/1202_tangential-fans/1203_crossflow-fans/1205_crossflow-fans-qr08/qr08a-4em-72-ch-110219 | ZIEHL-ABEGG | OPM | QR08A-4EM.72.CH | QR08A-4EM.72.CH |  | ENRICHED | NON MRO | 40101604 | Fans | FAN |  | TYPE | CROSS FLOW | BLADE DIAMETER | 92 MM | FLOW RATING |  | SPEED RATING | 1510 RPM | NUMBER OF BLADES |  | DRIVE DETAILS | 1.5 KW,1 PH MOTOR | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,CE | ADDITIONAL FEATURES | VOLTAGE:230 VAC,50 Hz,ENCLOSURE:IP10,OVERALL SIZE:170 WD X 140 HT X 861 LG MM,IMAGEN DATA PLATE IS ATTACHED,BRAND NAME:ZIHEL | [36 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 277435 | 277435 | 8385-52228703 | VENTILADOR CONDENSADO A6D800 AD/J/01 01 |  |  | VENTILADOR CONDENSADOR A6D800 - AD(J)01-01 MARCA EBM PAPST (EQUIPO TUNEL DE FRIO TECNOPOOL - LINEA 13 ) | [13 empty] | https://datasheet.octopart.com/A6D800-AD01-01-EBM-Papst-datasheet-149551893.pdf |  |  | EBMPAPST | OPM | A6D800-AD01-01 | A6D800-AD01-01 |  | ENRICHED | MRO | 40101604 | Fans | FAN |  | TYPE | CONDENSATE,AC AXIAL | BLADE DIAMETER | NOT AVAILABLE | FLOW RATING | 17215 CU M/HR | SPEED RATING | 905 RPM | NUMBER OF BLADES | 5 | DRIVE DETAILS |  | MATERIAL | ALUMINIUM SHEET | MOUNTING TYPE |  | OVERALL SIZE | 800 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE,EAC | ADDITIONAL FEATURES | ENCLOURE RATING:IP54,TEMPERATURE RATING:-40 TO 80 DEG C | [36 empty] | ENRICHED | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 376396 | 376396 | BE33-5533411 | LIMITEUR DE COUPLE R+W SKP/0150/D | SKP/0150/D <> R+W |  | LIMITEUR DE COUPLE ALESAGE D1=25H7 PFN DIN 6885 PLAGE REGLAGE: 80-225 NM; COUPLE DE TARAGE: 158 NM (IDENTIQUE AU S/N 12-341859.1) REF R+W: SKP/0150/D | LIMITEUR DE COUPLE ALESAGE D1=25H7 PFN DIN 6885 PLAGE REGLAGE: 80-225 NM; COUPLE DE TARAGE: 158 NM (IDENTIQUE AU S/N 12-341859.1) REF R+W: SKP/0150/D¦¦LIMITEUR DE COUPLE ALESAGE D1=25H7 PFN DIN 6885 PLAGE REGLAGE: 80-225 NM; COUPLE DE TARAGE: 158 NM (IDEN | Rubix | 199301679 | NONE |  |  | R+W SKP / 150 (D) - 25H7 PFN LIMITEUR DE COUPLE | [6 empty] | https://static1.squarespace.com/static/5f0486986ef01d7a3d015754/t/5f7aecaf24f75f5a9dcc359b/1601891539784/R%2BW+Precision+Couplings.pdf |  |  | R+W ANTRIEBSELEMENTE GMBH | OPM | SKP/0150/D | SKP/0150/D | SERIAL NUMBER:12-341859.1 | ENRICHED | MRO | 41114510 | Torque Limiter | LIMITER | TORQUE | TORQUE RATING | 158 NM | BORE SIZE | 50 MM | TYPE | BACKLASH FREE | OUTSIDE DIAMETER | 62 MM | CONNECTION TYPE | THREAD | MATERIAL | HARDENED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 6885 | ADDITIONAL FEATURES | ADJUSTMENT TORQUE:80-225 NM,BORE D1:25H7 PFN | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 51815 | 51815 | 8314-50488057 | TORQ LIMIT,RUFLEX 2-2TF/UNB,2 IN | RUFLEX 2-2TF/UNB | KTR Corp | TORQUE LIMITER,BORE_SIZE:2 IN,MANUFACTURER:KTR CORP,MFR PART NUMBER:RUFLEX 2-2TF/UNB |  | BDI | KTR 600200200040 | KTR Corp | RUFLEX 2-2TF/UNB | TORQ LIMIT,RUFLEX 2-2TF/UNB,2 IN | [7 empty] | https://www.ktr.com/fileadmin/ktr/media/Manuals/46010en000000.pdf |  |  | KTR SYSTEMS GMBH | OPM | 2-2TF | 2-2TF | DISTRIBUTOR:BDI EXPRESS | ENRICHED | MRO | 41114510 | Torque Limiter | LIMITER | TORQUE | TORQUE RATING | 50-280 NM | BORE SIZE | 2 IN | TYPE |  | OUTSIDE DIAMETER | 88 MM | CONNECTION TYPE | M6 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:RUFLEX | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 654212 | 654212 | IN05-ED025100 | THEGARTEN TORQUE LIMITED SK1-150-24H7-70 |  |  | THEGARTEN TORQUE LIMITED SK1-150-24H7-70NM-45-150N | [13 empty] | https://www.rw-couplings.com/products/precision-couplings/safety-couplings/sk1/ | https://www.rw-couplings.com/fileadmin/documents/manuals/en/Manual_SK_en.pdf |  | RW COUPLING TECHNOLOGY | OPM | SK1-150-24H7-70NM-45-150N | SK1-150-24H7-70NM-45-150N |  | ENRICHED | MRO | 41114510 | Torque Limiter | LIMITER | TORQUE | TORQUE RATING | 1500 N | BORE SIZE | 15-37 MM | TYPE |  | OUTSIDE DIAMETER | 87 MM | CONNECTION TYPE | CLAMP | MATERIAL | HARD STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 536159 | 536159 | FR35-LF2304GRV | PROGRAMMATEUR WDK 2/02 10900005002 | [16 empty] | http://www.omseshop.com/by-category/electrical-electronics/connectivity/weidmuller-wdk-2-tier-terminal-block.html |  |  | WEIDMULLER | OPM | WDK 2/02 | WDK 2/02 | ALTERNATE MANUFACTURER PART NUMBER:10900005002 | ENRICHED | MRO | 39121410 | Terminal blocks | BLOCK | TERMINAL | CURRENT RATING |  | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL | WEMID | VOLTAGE RATING | 400 V | TYPE | 2-TIER FEED THROUGH | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX | ADDITIONAL FEATURES | COLOR:DARK BEIGE,BLUE | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 510092 | 510092 | ES36-5410928 | SECCIONADOR ATEX STAHL 8578/11 5P 32A |  |  |  | Según su oferta – Nº…. 0963-21 SECCIONADOR ATEX – STAHL. Con enchufe 5 polos – 32 A – hembra – ref. 8578/11 – 506 Atex. | [12 empty] | http://mega-ex.com/product_hazardous/Electrical%20Equipment/STAHL/08030037.pdf |  |  | R. STAHL AG | OPM | 8578/11-506 | 8578/11-506 | ALTERNATE MANUFACTURE NAME:ATEX,OFFER NUMBER:0963-21 | ENRICHED | MRO | 39121400 | Electrical lugs plugs and connectors | SOCKET | ELECTRICAL | CONFIGURATION |  | NUMBER OF POLES | 5 | VOLTAGE RATING | 380-415 V | CURRENT RATING | 32 A | CONNECTION TYPE |  | TYPE | SWITCH | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 13-05-2023 |  | 44563 | 44563 | 8312-52215099 | SW,LEVEL,RXA-H-A-X1-4-B-A,BINDICATOR | RXA-H-A-X1-4-B-A | Bindicator | SWITCH,LEVEL,DETAILS:BINDICATOR,MANUFACTURER:BINDICATOR,MFR PART NUMBER:RXA-H-A-X1-4-B-A | [13 empty] | https://www.bindicator.com/wp-content/themes/andersonnegele/assets/roto/pdf/roto-bin-dicator-specification-sheet.pdf |  |  | BINDICATOR | OPM | RXA-H-A-X1-4-B-A | RXA-H-A-X1-4-B-A | ALTERNATE MANUFACTURE NAME:VENTURE MEASUREMENT CO. LLC | ENRICHED | MRO | 39122219 | Level Or Float Switch | SWITCH | LEVEL | MEASURING RANGE | NOT AVAILABLE | PROCESS CONNECTION | 1-1/4 IN NPT | PRESSURE RATING | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | ENCLOSURE | IP66 | CONTACT CONFIGURATION | 2 SPDT | VOLTAGE RATING | 120 VAC | CURRENT RATING | NOT AVAILABLE | TYPE |  | MATERIAL | POWDER COATED ALUMINUM | TEMPERATURE RATING | -29 TO 150 DEG C | MOUNTING TYPE | PLATE | POWER RATING | 5 W | SIZE | 170 WD X 177.8 HT X 50.8 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE | ADDITIONAL FEATURES | MOTOR SPEED:1 RPM | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 667916 | 667916 | IN07-ED054671 | DN-250 EB 8.1 SYD SBU-P203-K214P01 5/2 | 10088660 | EBRO ARMATUREN | DN-250 Model:EB 8.1 SYD SBU-P203-K214P01 NBB2-V3-E | [13 empty] | https://www.ebro-armaturen.com/downloads.php?document=productsdata/documents/Actuator%20Technology/SBU-MS/Technical%20Datasheet/SBU_Micro-Switch_07-2017_EN.pdf |  |  | EBRO ARMATUREN | OPM | SBU-P203-K214-P01 | EB 8.1 SYD SBU-P203-K214P01 NBB2-V3-E | ALTERNATE PART NUMBER:10088660 | ENRICHED | MRO | 39121303 | Electrical boxes | BOX | ELECTRICAL | HUB SIZE |  | NUMBER OF HUBS |  | MATERIAL | ALUMINIUM | NUMBER OF GANGS |  | SIZE | 114 LG MM | TYPE | SWITCH | ENCLOSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 70 DEG C,NOMINAL SIZE:DN250 | [40 empty] | Series Matched | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 13-05-2023 |  | 648240 | 648240 | IN03-ED057028 | PRESSURE RELEASE VALVE 163008 ROBATECH | 163008 | DIAMOND CHAINS | for Concept A/B without control set |  | Deska | 99049 | Robatech | 163008 | PRESSURE RELEASE VALVE | [7 empty] | https://www.kc-co.com/spare-part/robatech/163008/ |  |  | ROBATECH AUSTRALIA PTY LTD | OPM | 163008 | 163008 | ALTERNATE MANUFACTURER:DIAMOND CHAINS | CLEANSED | MRO | 40141606 | Relief valves | VALVE | RELIEF | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | BODY MATERIAL |  | NOMINAL SIZE |  | PRESSURE CLASS/RATING |  | TYPE | PRESSURE | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CONCEPT A/B WITHOUT CONTROL SET | [30 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed