## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1110744 | 1110744 | 1400981 | AU_QM_000245454 |  | ERSA | M | 5915 | 1400981GZPCLNT100 | EA |  | BALL,VLV;130-505-048 | BALL,VLV;130-505-048 | BALL,VLV;MNFR: ,PTNO:130-505-048 |  | BALL,VLV;130-505-048BALL,VLV;130-505-048 | [15 empty] | 130-505-048 | [18 empty] | https://www.raptorsupplies.com/pd/texas-pneumatic-tools/130505048 | [9 empty] | Enriched | 40141616 Valve parts or accessories |  |  | BALL | VALVE | DIAMETER |  | VALVE SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1110743 | 1110743 | 1400982 | AU_QM_000245455 |  | ERSA | M | 5915 | 1400982GZPCLNT100 | EA |  | BALL,VLV;KHBR 34 X | BALL,VLV;KHBR 34 X | BALL,VLV;MNFR: ,PTNO:KHBR 34 X |  | BALL,VLV;KHBR 34 XBALL,VLV;KHBR 34 X | [15 empty] | KHBR 34 X | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | BALL | VALVE | DIAMETER |  | VALVE SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020103 | 1020103 |  |  |  | ERSA | M | 5955 | 1392323GZPCLNT100 | EA | 3000000 | BALL;ATL,0502110600 | BALL;ATL,0502110600 | BALL;MNFR:ATLAS COPCO,PTNO:0502110600 |  |  | ATLAS COPCO | 0502110600 | [14 empty] | ATLAS COPCO | 0502110600 | [16 empty] | https://www.vikayonline.com/products/ball-bearing-m9011-replacement | [9 empty] | Cleansed | 31171504 Ball bearings |  |  | BEARING | BALL | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020513 | 1020513 | 1384452 | AU_QM_000225027 |  | ERSA | M | 5955 | 1384452GZPCLNT100 | EA | 3000001 | BALL;EPI,3764 6083 00 | BALL;EPI,3764 6083 00 | BALL;MNFR:EPIROC,PTNO:3764 6083 00 |  | BALL;EPI,3764 6083 00BALL;EPI,3764 6083 00 | EPIROC | 3764 6083 00 | [14 empty] | EPIROC | 3764608300 | [16 empty] | https://www.aga-parts.com/epiroc/part/3764608300_ball-valve-1bsp/ | [9 empty] | Enriched | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | BSP | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020703 | 1020703 | 1376840 | AU_QM_000215992 |  | ERSA | M | 5955 | 1376840GZPCLNT100 | EA | 3000001 | BALL;EPI,5112 3102 84 | BALL;EPI,5112 3102 84 | BALL;MNFR:EPIROC,PTNO:5112 3102 84 |  | BALL;EPI,5112 3102 84BALL;EPI,5112 3102 84 | EPIROC | 5112 3102 84 | [14 empty] | EPIROC | 5112310284 | [16 empty] | https://www.aga-parts.com/epiroc/part/5112310284_ball/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020649 | 1020649 | 1380611 | AU_QM_000220143 |  | ERSA | M | 5955 | 1380611GZPCLNT100 | EA | 3000001 | BALL;EPI,5541 1980 00 | BALL;EPI,5541 1980 00 | BALL;MNFR:EPIROC,PTNO:5541 1980 00 |  | BALL;EPI,5541 1980 00BALL;EPI,5541 1980 00 | EPIROC | 5541 1980 00 | [12 empty] | EPIROC | 5541 1980 00 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020642 | 1020642 | 1380670 | AU_QM_000220208 |  | ERSA | M | 5955 | 1380670GZPCLNT100 | EA | 3000001 | BALL;EPI,5590 0022 02 | BALL;EPI,5590 0022 02 | BALL;MNFR:EPIROC,PTNO:5590 0022 02 |  | BALL;EPI,5590 0022 02BALL;EPI,5590 0022 02 | EPIROC | 5590 0022 02 | [14 empty] | EPIROC | 5590002202 | [16 empty] | https://www.aga-parts.com/epiroc/part/5590002202_ball/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020100 | 1020100 | 1392331 | AU_QM_000235576 |  | ERSA | M | 5955 | 1392331GZPCLNT100 | EA | 3000001 | BALL;EPI,8202 0311 03 | BALL;EPI,8202 0311 03 | BALL;MNFR:EPIROC,PTNO:8202 0311 03 |  | OEM-E-LISTBALL;EPI,8202 0311 03 | EPIROC | 8202 0311 03 | [14 empty] | EPIROC | 8202031103 | [16 empty] | https://www.aga-parts.com/epiroc/part/8202031103_ball-valve/ | [9 empty] | Cleansed | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1026772 | 1026772 | 1369659 | AU_QM_000174469 |  | ERSA | M | 5955 | 1369659GZPCLNT100 | EA | 3000284 | BALL;GLE,231616000516 | BALL;GLE,231616000516 | BALL;MNFR:GLENCORE,PTNO:231616000516 |  | BALL JOINT: ISASMELT | GLENCORE | 231616000516 | [12 empty] | GLENCORE | 231616000516 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 25174203 Ball joint | ISASMELT |  | JOINT | BALL | TYPE |  | SIZE |  | MOVEMENT DISTANCE |  | ANGLE |  | BORE DIAMETER |  | END CONNECTION |  | HOUSING MATERIAL |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074058 | 1074058 |  |  |  | ERSA | M | 3770 | 1169819GZPCLNT100 | EA | 3000006 | BALL;KOM,04260-01587 | BOLA;KOM,04260-01587 | BALL;MNFR:KOMATSU,PTNO:04260-01587 | BOLA;MNFR:KOMATSU,PTNO:04260-01587 |  | KOMATSU MINING SYSTEMS INC. | ZZ - 04260-01587 | [14 empty] | KOMATSU MINING SYSTEMS INC. | ZZ - 04260-01587 | [16 empty] | https://k-part.777parts.org/spare/komatsu/04260-01587/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1009089 | 1009089 |  |  |  | ERSA | M | 5000 | 1612265GZPCLNT100 | EA | 3000010 | BALL;SAN,71407440 | BOLA;SAN,71407440 | BALL;MNFR:SANDVIK,PTNO:71407440 | BOLA;MNFR:SANDVIK,PTNO:71407440 |  | SANDVIK | 71407440 | [14 empty] | SANDVIK | 71407440 | [16 empty] | https://gripmine.com/upcp_product/71407440-ball-joint/ | [9 empty] | Cleansed | 25174203 Ball joint |  |  | JOINT | BALL | TYPE |  | SIZE |  | MOVEMENT DISTANCE |  | ANGLE |  | BORE DIAMETER |  | END CONNECTION |  | HOUSING MATERIAL |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1205865 | 1205865 |  |  |  | ERSA | M | 4090 | 87411MRM | BOX |  | BANDAGE,ADHESIVE:AIRSTRIP BLUE;22MM W X | BANDAGE,ADHESIVE:AIRSTRIP BLUE;22MM W X | BANDAGE,ADHESIVE:AIRSTRIP BLUE;22MM W X 7.5MM LG;100 PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | ADHESIVE AIRSTRIP | SIZE | 7.5 LGX22 WD MM | MATERIAL |  | COLOUR | BLUE | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE | 100 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1206196 | 1206196 |  |  |  | ERSA | M | 4090 | 1027424MRM | EA |  | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE ELASTIC BANDAGE;10CM X 2-4.5M; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | E.Z.BAN SELF ADHESIVE ELASTIC | SIZE | 10 CMX2-4.5 M | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1206197 | 1206197 |  |  |  | ERSA | M | 4090 | 1027432MRM | EA |  | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE ELASTIC BANDAGE;7.5CM X 2-4.5M; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | E.Z.BAN SELF ADHESIVE ELASTIC | SIZE | 7.5 CMX2-4.5 M | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1206198 | 1206198 |  |  |  | ERSA | M | 4090 | 1027440MRM | EA |  | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE E | BANDAGE,ADHESIVE:E.Z.BAN SELF ADHESIVE ELASTIC BANDAGE;5CM X 4.5M; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | E.Z.BAN SELF ADHESIVE ELASTIC | SIZE | 5 CMX4.5 M | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1206241 | 1206241 |  |  |  | ERSA | M | 4090 | 89672MRM | BAG |  | BANDAGE,ADHESIVE:KNUCKLE DRESSING;10 PER | BANDAGE,ADHESIVE:KNUCKLE DRESSING;10 PER | BANDAGE,ADHESIVE:KNUCKLE DRESSING;10 PER BAG; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | ADHESIVE KNUCKLE DRESSING | SIZE |  | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE | 10 PER BAG | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1101364 | 1101364 | 1379389 | AU_QM_000218803 |  | ERSA | M | 3000 | 1379389GZPCLNT100 | EA | 3000001 | BOOT;EPI,3176 0032 16 | BOOT;EPI,3176 0032 16 | BOOT;MNFR:EPIROC,PTNO:3176 0032 16 |  | BOOT;EPI,3176 0032 16BOOT;EPI,3176 0032 16 | EPIROC | 3176 0032 16 | [12 empty] | EPIROC | 3176 0032 16 | [18 empty] | https://shanghaisanto.com/epiroc-loaders-trucks-12/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1100859 | 1100859 | 1393062 | AU_QM_000236419 |  | ERSA | M | 3000 | 1393062GZPCLNT100 | EA | 3000001 | BOOT;EPI,5540939100 | BOOT;EPI,5540939100 | BOOT;MNFR:EPIROC,PTNO:5540939100 |  | OEM-E-LISTBOOT;EPI,5540939100 | EPIROC | 5540939100 | [14 empty] | EPIROC | 5540939100 | [16 empty] | https://www.aga-parts.com/epiroc/part/5540939100_boot/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1101401 | 1101401 | 1377849 | AU_QM_000217107 |  | ERSA | M | 3000 | 1377849GZPCLNT100 | EA | 3000001 | BOOT;EPI,5541 1296 00 | BOOT;EPI,5541 1296 00 | BOOT;MNFR:EPIROC,PTNO:5541 1296 00 |  | BOOT;EPI,5541 1296 00BOOT;EPI,5541 1296 00 | EPIROC | 5541 1296 00 | [14 empty] | EPIROC | 5541129600 | [16 empty] | https://www.aga-parts.com/epiroc/part/5541129600_boot/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1101361 | 1101361 | 1379509 | AU_QM_000218932 |  | ERSA | M | 3000 | 1379509GZPCLNT100 | EA | 3000001 | BOOT;EPI,5580 0052 95 | BOOT;EPI,5580 0052 95 | BOOT;MNFR:EPIROC,PTNO:5580 0052 95 |  | BOOT;EPI,5580 0052 95BOOT;EPI,5580 0052 95 | EPIROC | 5580 0052 95 | [12 empty] | EPIROC | 5580 0052 95 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1088740 | 1088740 | 1393079 | AU_QM_000236442 |  | ERSA | M | 5955 | 1393079GZPCLNT100 | EA | 3000006 | BRACE;KOM,3EB-51-64311XC | BRACE;KOM,3EB-51-64311XC | BRACE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-51-64311XC |  | OEM-E-LISTBRACE;KOM,3EB-51-64311XC | KOMATSU MINING SYSTEMS INC. | 3EB-51-64311XC | [12 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-51-64311XC | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces |  |  | BRACE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1088739 | 1088739 | 1393080 | AU_QM_000236443 |  | ERSA | M | 5955 | 1393080GZPCLNT100 | EA | 3000006 | BRACE;KOM,3EB-51-64312XC | BRACE;KOM,3EB-51-64312XC | BRACE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-51-64312XC |  | OEM-E-LISTBRACE;KOM,3EB-51-64312XC | KOMATSU MINING SYSTEMS INC. | 3EB-51-64312XC | [12 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-51-64312XC | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces |  |  | BRACE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1088738 | 1088738 | 1393081 | AU_QM_000236444 |  | ERSA | M | 5955 | 1393081GZPCLNT100 | EA | 3000006 | BRACE;KOM,3EB-51-64511XC | BRACE;KOM,3EB-51-64511XC | BRACE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-51-64511XC |  | OEM-E-LISTBRACE;KOM,3EB-51-64511XC | KOMATSU MINING SYSTEMS INC. | 3EB-51-64511XC | [12 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-51-64511XC | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces |  |  | BRACE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1150915 | 1150915 |  |  |  | ERSA | M | 5915 | 1479818GZPCLNT100 | EA |  | BRAKE DISC; | BRAKE DISC; | [37 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1094914 | 1094914 | 1393473 | AU_QM_000236921 |  | ERSA | M | 5920 | 1393473GZPCLNT100 | EA | 3000000 | CAM;ATL,4250286100 | CAM;ATL,4250286100 | CAM;MNFR:ATLAS COPCO,PTNO:4250286100 |  | OEM-E-LISTCAM;ATL,4250286100 | ATLAS COPCO | 4250286100 | [14 empty] | ATLAS COPCO | 4250286100 | [16 empty] | https://servaid.atlascopco.com/AssertWeb/en-US/AtlasCopco/NewSearch | [9 empty] | Cleansed | 26111530 Transmission cam |  |  | CAM | NO MODIFIER | TYPE |  | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1087741 | 1087741 |  |  |  | ERSA | M | 5920 | 1367816GZPCLNT100 | EA | 3000027 | CAM;MET,N98000486 | CAM;MET,N98000486 | CAM;MNFR:METSO,PTNO:N98000486 |  |  | METSO | N98000486 | [14 empty] | METSO | N98000486 | [16 empty] | https://www.haladjian-minerals.com/mining-spare-parts/spare-parts-catalog/METSO/Cone-crusher-HP5/Adjustment-ring-assembly-ME11/Cam-follower-kit-N98000486-HMS/ | https://www.cncrusher.net/russian/parts-database/L03,metso-HP6-cone-crusher/48 | [8 empty] | Cleansed | 26111530 Transmission cam |  |  | CAM | NO MODIFIER | TYPE |  | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1025195 | 1025195 | 1390424 | AU_QM_000232069 |  | ERSA | M | 2700 | 1390424GZPCLNT100 | EA | 3000003 | CAN;CAT,2125052_400 | CAN;CAT,2125052_400 | CAN;MNFR:CATERPILLAR,PTNO:2125052_400 |  | CAN;CAT,2125052_400CAN;HAS,2125052_400 | CATERPILLAR | 2125052_400 | [12 empty] | CATERPILLAR | 2125052_400 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112200 Cans and pails |  |  | CAN | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | CAP TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1102246 | 1102246 |  |  |  | ERSA | M | 1600 | 1506061GZPCLNT100 | EA |  | DIFFUSER;OTW52R | DIFFUSER;OTW52R | [18 empty] | OTW52R | [18 empty] | https://www.totaltools.com.au/42521-cigweld-2-pack-gas-diffuser-otw52r | [9 empty] | Enriched | 40101500 Ventilation |  |  | DIFFUSER | NO MODIFIER | TYPE | GAS | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE | 150 LGX80 WDX50 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1203266 | 1203266 |  |  |  | ERSA | M | 4010 | 980328MRM | EA |  | DISC,ABRASIVE:75MM DIA 361F 36YF;POLYEST | DISC,ABRASIVE:75MM DIA 361F 36YF;POLYEST | DISC,ABRASIVE:75MM DIA 361F 36YF;POLYESTER CLOTH;ALUMINIUM OXIDE COATED;BRAKE ROTOR RESURFACING; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COATING/FINISHING: ALUMINIUM OXIDE COATED |  | DISC | ABRASIVE | TYPE | BRAKE ROTOR RESURFACING | OUTSIDE DIAMETER | 75 MM 361F 36YF | FACE WIDTH |  | ARBOR SIZE |  | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT |  | ABRASIVE MATERIAL | POLYESTER CLOTH | BACKING MATERIAL |  | COLOR |  | SPEED RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1203265 | 1203265 |  |  |  | ERSA | M | 4010 | 980327MRM | EA |  | DISC,ABRASIVE:BRAKE ROTOR RESURFACING;75 | DISC,ABRASIVE:BRAKE ROTOR RESURFACING;75 | DISC,ABRASIVE:BRAKE ROTOR RESURFACING;75MM DIA GRADE ARS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | GRADE ARS |  | DISC | ABRASIVE | TYPE | BRAKE ROTOR RESURFACING | OUTSIDE DIAMETER | 75 MM | FACE WIDTH |  | ARBOR SIZE |  | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT |  | ABRASIVE MATERIAL |  | BACKING MATERIAL |  | COLOR |  | SPEED RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1210833 | 1210833 |  |  |  | ERSA | M | 5820 | 1203652MRM | EA |  | DISC,ABRASIVE:M3000;REDUCED DIAMETER;105 | DISC,ABRASIVE:M3000;REDUCED DIAMETER;105 | DISC,ABRASIVE:M3000;REDUCED DIAMETER;1050MM GRINDING DISC; | [36 empty] | URL NOT FOUND |  |  |  |  | M3000 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | REDUCED |  | DISC | ABRASIVE | TYPE | GRINDING | OUTSIDE DIAMETER | 1050 MM | FACE WIDTH |  | ARBOR SIZE |  | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT |  | ABRASIVE MATERIAL |  | BACKING MATERIAL |  | COLOR |  | SPEED RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1214901 | 1214901 |  |  |  | ERSA | M | 4090 | 405522MRM | EA |  | DISC,ABRASIVE:SANDING;50 GRIT;178MM X 22 | DISC,ABRASIVE:SANDING;50 GRIT;178MM X 22 | DISC,ABRASIVE:SANDING;50 GRIT;178MM X 22MM BORE;RESIN FIBRE;MOS 7000 RPM;SPEC A-F885;WELD <(>&<)> GENERAL METAL FAB.; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SPEC A-F885;WELD <(>&<)> GENERAL METAL FAB |  | DISC | ABRASIVE | TYPE | SANDING | OUTSIDE DIAMETER | 178 MM | FACE WIDTH |  | ARBOR SIZE |  | INSIDE DIAMETER | 22 MM | MOUNTING TYPE |  | GRIT | 50 | ABRASIVE MATERIAL | RESIN FIBRE | BACKING MATERIAL |  | COLOR |  | SPEED RATING | MOS 7000 RPM | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1208221 | 1208221 |  |  |  | ERSA | M | 3020 | 340446MRM | EA |  | DISC,RUPTURABLE:2ND STG BURST DISC;ASSY; | DISC,RUPTURABLE:2ND STG BURST DISC;ASSY; | DISC,RUPTURABLE:2ND STG BURST DISC;ASSY;REF DD;ITEMS D17 TO D19;REAVELL 5236MK2 COMPRESSOR | [36 empty] | URL NOT FOUND |  | D17 TO D19 | [7 empty] | Cleansed | 40173900 Pipe rupture disks | 2ND STG BURST, ASSEMBLY, REF DD, REAVELL 5236MK2 COMPRESSOR |  | DISC | RUPTURE | DISC TYPE |  | NOMINAL SIZE |  | MATERIAL |  | BURST PRESSURE RATING |  | BURST TOLERANCE |  | TEMPERATURE RATING |  | DIAMETER |  | THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1209620 | 1209620 |  |  |  | ERSA | M | 2200 | 157893MRM | EA |  | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40173900 Pipe rupture disks |  |  | DISC | RUPTURE | DISC TYPE |  | NOMINAL SIZE |  | MATERIAL |  | BURST PRESSURE RATING | 800 KPA, ANSI 150 | BURST TOLERANCE |  | TEMPERATURE RATING |  | DIAMETER | DN280 | THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1209621 | 1209621 |  |  |  | ERSA | M | 2200 | 157894MRM | EA |  | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | DISC,RUPTURABLE:DN280;800KPA;ANSI 150; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40173900 Pipe rupture disks |  |  | DISC | RUPTURE | DISC TYPE |  | NOMINAL SIZE |  | MATERIAL |  | BURST PRESSURE RATING | 800 KPA, ANSI 150 | BURST TOLERANCE |  | TEMPERATURE RATING |  | DIAMETER | DN280 | THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1072687 | 1072687 |  |  |  | ERSA | M | 5920 | 1319156GZPCLNT100 | EA | 3000023 | DISC;HYS,1627823 | DISCO;HYST,1627823 | DISC;MNFR:HYSTER,PTNO:1627823 | DISCO;MNFR:HYSTER,PTNO:1627823 |  | HYSTER | 1627823 | [14 empty] | HYSTER | 1627823 | [16 empty] | https://www.orangeparts.com/hyster-1627823-disc/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | WEIGHT: 1 KG | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1093013 | 1093013 | 1383000 | AU_QM_000223275 |  | ERSA | M | 5910 | 1383000GZPCLNT100 | EA | 3000006 | DISC;KOM,3EC 30 51110 | DISC;KOM,3EC 30 51110 | DISC;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EC 30 51110 |  | DISC;KOM,3EC 30 51110DISC;KOM,3EC 30 51110 | KOMATSU MINING SYSTEMS INC. | 3EC 30 51110 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EC-30-51110 | [16 empty] | https://www.imce.nl/wet-brake-friction-discs/3ec-30-51110-komatsu-disc-friction | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | NUMBER OF TEETHS: 18, WEIGHT: 0.53 KG | DISC | NO MODIFIER | TYPE | FRICTION | SIZE | 51.4 IDX208 ODX44 THK MM | MATERIAL | FP | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1092747 | 1092747 | 1391072 | AU_QM_000232841 |  | ERSA | M | 5910 | 1391072GZPCLNT100 | EA | 3000006 | DISC;KOM,421-22-11322 | DISC;KOM,421-22-11322 | DISC;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:421-22-11322 |  | DISC;KOM,421-22-11322DISC;KOM,421-22-11322 | KOMATSU MINING SYSTEMS INC. | 421-22-11322 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 421-22-11322 | [16 empty] | https://777parts.com/komatsu/421-22-11322-DISC%2CBRAKE/p351477.html | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | WEIGHT: 15.26 KG | DISC | NO MODIFIER | TYPE | BRAKE | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074003 | 1074003 |  |  |  | ERSA | M | 3770 | 1079245GZPCLNT100 | EA | 3000006 | DISC;KOM,569-33-61241,FRICTION | DISCO;KOM,569-33-61241,FRICCION | DISC;MNFR:KOMATSU,PTNO:569-33-61241,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:KOMATSU,PTNO:569-33-61241,CARACTERISTICAS ADICIONALES ES:FRICCION |  | KOMATSU MINING SYSTEMS INC. | ZZ - 569-33-61241 | [14 empty] | KOMATSU MINING SYSTEMS INC. | ZZ - 569-33-61241 | [16 empty] | https://my.komatsu.com.au/shop/wetdiscbrake_5637145100/5637427054_disc_569-33-61241 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | FRICTION | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1009185 | 1009185 |  |  |  | ERSA | M | 5000 | 1612834GZPCLNT100 | EA | 3000010 | DISC;SAN,B5BS728A | DISCO;SAN,B5BS728A | DISC;MNFR:SANDVIK,PTNO:B5BS728A | DISCO;MNFR:SANDVIK,PTNO:B5BS728A |  | SANDVIK | B5BS728A | [12 empty] | SANDVIK | B5BS728A | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1098875 | 1098875 | 1391621 | AU_QM_000233521 |  | ERSA | M | 5100 | 1391621GZPCLNT100 | EA | 3000001 | DOOR;EPI,5112306819 | DOOR;EPI,5112306819 | DOOR;MNFR:EPIROC,PTNO:5112306819 |  | DOOR;EPI,5112306819DOOR;EPI,5112306819 | EPIROC | 5112306819 | [14 empty] | EPIROC | 5112306819 | [16 empty] | https://expa-parts.com/epiroc/door/5112306819/ | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | STOP | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099169 | 1099169 | 1381006 | AU_QM_000220577 |  | ERSA | M | 5100 | 1381006GZPCLNT100 | EA | 3000001 | DOOR;EPI,5590 0165 53 | DOOR;EPI,5590 0165 53 | DOOR;MNFR:EPIROC,PTNO:5590 0165 53 |  | DOOR;EPI,5590 0165 53DOOR;EPI,5590 0165 53 | EPIROC | 5590 0165 53 | [12 empty] | EPIROC | 5590 0165 53 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099227 | 1099227 | 1379499 | AU_QM_000218922 |  | ERSA | M | 5100 | 1379499GZPCLNT100 | EA | 3000001 | DOOR;EPI,6060 0027 17 | DOOR;EPI,6060 0027 17 | DOOR;MNFR:EPIROC,PTNO:6060 0027 17 |  | DOOR;EPI,6060 0027 17DOOR;EPI,6060 0027 17 | EPIROC | 6060 0027 17 | [14 empty] | EPIROC | 6060002717 | [16 empty] | https://expa-parts.com/epiroc/door/6060002717/ | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099528 | 1099528 | 1377566 | AU_QM_000216795 |  | ERSA | M | 5100 | 1377566GZPCLNT100 | EA | 3000001 | DOOR;EPI,9106 1273 30 | DOOR;EPI,9106 1273 30 | DOOR;MNFR:EPIROC,PTNO:9106 1273 30 |  | DOOR;EPI,9106 1273 30DOOR;EPI,9106 1273 30 | EPIROC | 9106 1273 30 | [14 empty] | EPIROC | 9106127330 | [16 empty] | https://expa-parts.com/epiroc/door/9106127330/ | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099524 | 1099524 | 1377678 | AU_QM_000216920 |  | ERSA | M | 5100 | 1377678GZPCLNT100 | EA | 3000001 | DOOR;EPI,9106 2228 52 | DOOR;EPI,9106 2228 52 | DOOR;MNFR:EPIROC,PTNO:9106 2228 52 |  | DOOR;EPI,9106 2228 52DOOR;EPI,9106 2228 52 | EPIROC | 9106 2228 52 | [14 empty] | EPIROC | 9106222852 | [16 empty] | https://expa-parts.com/epiroc/cabinet/9106222852/ | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | CABINET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099523 | 1099523 | 1377681 | AU_QM_000216923 |  | ERSA | M | 5100 | 1377681GZPCLNT100 | EA | 3000001 | DOOR;EPI,9106 2228 56 | DOOR;EPI,9106 2228 56 | DOOR;MNFR:EPIROC,PTNO:9106 2228 56 |  | DOOR;EPI,9106 2228 56DOOR;EPI,9106 2228 56 | EPIROC | 9106 2228 56 | [14 empty] | EPIROC | 9106222856 | [16 empty] | https://expa-parts.com/epiroc/cabinet/9106222856/ | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | CABINET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1099557 | 1099557 | 1377133 | AU_QM_000216318 |  | ERSA | M | 5100 | 1377133GZPCLNT100 | EA | 3000001 | DOOR;EPI,9111 4221 56 | DOOR;EPI,9111 4221 56 | DOOR;MNFR:EPIROC,PTNO:9111 4221 56 |  | DOOR;EPI,9111 4221 56DOOR;EPI,9111 4221 56 | EPIROC | 9111 4221 56 | [14 empty] | EPIROC | 9111422156 | [16 empty] | https://expa-parts.com/epiroc/door/9111422156/ | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1013354 | 1013354 |  |  |  | ERSA | M | 3760 | 1615375GZPCLNT100 | EA | 3000013 | DISC;VOL,11037030 | DISCO;VOL,11037030 | DISC;MNFR:VOLVO,PTNO:11037030 | DISCO;MNFR:VOLVO,PTNO:11037030 |  | VOLVO | 11037030 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11037030 | [12 empty] | VOLVO | 11037030 | SMH EQUIPMENT PTY LTD | [15 empty] | https://slp.se/en/specifications/volvo/11037030 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | WEIGHT: 0.975 KG | DISC | NO MODIFIER | TYPE | FRICTION | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1020099 | 1020099 | 1392332 | AU_QM_000235577 |  | ERSA | M | 5955 | 1392332GZPCLNT100 | EA | 3000001 | BALL;EPI,8202 0311 37 | BALL;EPI,8202 0311 37 | BALL;MNFR:EPIROC,PTNO:8202 0311 37 |  | OEM-E-LISTBALL;EPI,8202 0311 37 | EPIROC | 8202 0311 37 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 8202031137 | [12 empty] | EPIROC | 8202031137 | EPIROC AUSTRALIA PTY LTD | 8202031137 | [14 empty] | https://www.aga-parts.com/epiroc/part/8202031137_ball-valve/ | [9 empty] | Cleansed | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1031980 | 1031980 | 1472133 | AU_QM_009904187 |  | ERSA | M | 5955 | 1472133GZPCLNT100 | EA | 3000000 | BALL;ATL,3715010900 | BALL;ATL,3715010900 | BALL;MNFR:ATLAS COPCO,PTNO:3715010900 |  | BALL JOINT: 20MM THREAD | ATLAS COPCO | 3715010900 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3715010900 | [10 empty] | ATLAS COPCO | 3715010900 |  |  | EPIROC AUSTRALIA PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 25174203 Ball joint |  |  | JOINT | BALL | TYPE |  | SIZE | 20 MM THREAD | MOVEMENT DISTANCE |  | ANGLE |  | BORE DIAMETER |  | END CONNECTION |  | HOUSING MATERIAL |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1032458 | 1032458 |  |  |  | ERSA | M | 3700 | 1533275GZPCLNT100 | EA | 3000025 | DISC;JOH,T235068 | DISC;JOH,T235068 | DISC;MNFR:JOHN DEERE,PTNO:T235068 |  |  | JOHN DEERE | T235068 | 1068592 @@ RDO EQUIPMENT PTY LTD | T235068 | [12 empty] | JOHN DEERE | T235068 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T235068%3A-Saddle-Frame-Disk/p/T235068 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | SADDLE FRAME | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1032471 | 1032471 |  |  |  | ERSA | M | 3700 | 1533262GZPCLNT100 | EA | 3000025 | BALL;JOH,T290403 | BALL;JOH,T290403 | BALL;MNFR:JOHN DEERE,PTNO:T290403 |  |  | JOHN DEERE | T290403 | 1068592 @@ RDO EQUIPMENT PTY LTD | T290403 | [12 empty] | JOHN DEERE | T290403 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T290403%3A-Mid-Mounted-Scarifier-Ball/p/T290403 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | MID MOUNTED SACRIFIER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1036320 | 1036320 |  |  |  | ERSA | M | 2920 | 1505797GZPCLNT100 | PAA |  | BOOTS;SAFETY,DIELECTRIC SIZE 15,B00962 | BOOTS;SAFETY,DIELECTRIC SIZE 15,B00962 | [5 empty] | 1069532 @@ CHUBB FIRE & SECURITY | B00962 | [14 empty] | CHUBB FIRE & SECURITY | B00962 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | DIELECTRIC |  | BOOTS | SAFETY | TYPE |  | SIZE DESIGNATION | 15 | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1036458 | 1036458 |  |  |  | ERSA | M | 2210 | 1495403GZPCLNT100 | M |  | CONDUIT;SCREWED GALV,BHPEC3201UL | CONDUIT;SCREWED GALV,BHPEC3201UL | [5 empty] | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EP3201 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1495403 | [10 empty] | CNW | BHPEC3201UL | CNW (MOUNT ISA) ELECT WHOLESALER | EP3201 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1495403 | [12 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/MD-Conduit/CONDUIT-SCREWED-GALV-M-DTY-32MMX4MTR/p/BHPEC3201ULSUNCDT | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | FINISHED: GALVANIZED | COLOUR: SILVER, WEIGHT: 54 KG | CONDUIT | NO MODIFIER | TYPE | RIGID, SCREWED, MEDIUM DUTY | TRADE SIZE | 32 MM | LENGTH | 4 M | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1059093 | 1059093 |  |  |  | ERSA | M | 4005 | 1606968GZPCLNT100 | EA |  | DISC,CUTNG;CUT OFF, ULTRA THIN,14500 RPM | DISCO CORT;,OXIDO DE ALUMINIO | DISC,CUTTING;TYPE:CUT OFF, ULTRA THIN,SPEED:14500 RPM,SIZE:DIA 105 X THK 1 MM,ABRASIVE MATERIAL:ALUMINUM OXIDE,ADDITIONAL FEATURES EN:105 MM | DISCO CORTE;MATERIAL ABRASIVO:OXIDO DE ALUMINIO |  |  |  | 1068301 @@ WELDERS PRO SHOP | EHT1051A-INOX | [14 empty] | WELDERS PRO SHOP | EHT1051A-INOX | [14 empty] | https://www.amanstoyshop.com.au/productdetail.aspx?id=39358 | [9 empty] | Cleansed | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE | CUT OFF, ULTRA THIN | SPEED | 14500 RPM | SIZE | 105 DIAX1 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ALUMINUM OXIDE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1059095 | 1059095 |  |  |  | ERSA | M | 4005 | 1606990GZPCLNT100 | EA |  | DISC,CUTNG;CUT OFF, ULTRA THIN,8600 RPM | DISCO CORT;,8600 RPM,OXIDO DE ALUMINIO | DISC,CUTTING;TYPE:CUT OFF, ULTRA THIN,SPEED:8600 RPM,SIZE:DIA 178 X THK 1.6 MM,ABRASIVE MATERIAL:ALUMINUM OXIDE,ADDITIONAL FEATURES EN:178 x 1.6 MM | DISCO CORTE;VELOC.:8600 RPM,MATERIAL ABRASIVO:OXIDO DE ALUMINIO |  |  |  | 1068301 @@ WELDERS PRO SHOP | EHT1781.6A FORT | [14 empty] | WELDERS PRO SHOP | EHT1781.6A FORT | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE | CUT OFF, ULTRA THIN | SPEED | 8600 RPM | SIZE | 178 DIAX1.6 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ALUMINUM OXIDE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1065925 | 1065925 |  |  |  | ERSA | M | 3020 | 1469094GZPCLNT100 | EA |  | CRANKSHAFT,COMPRESSOR: | CRANKSHAFT,COMPRESSOR: | CRANKSHAFT,COMPRESSOR: |  |  |  |  | 1070302 @@ AHIC (AUSTRALIA) PTY LTD | 6D48403 | [14 empty] | AHIC (AUSTRALIA) PTY LTD | 6D48403 | [14 empty] | https://www.industrialspareparts.co.uk/products/6d48403 | [9 empty] | Enriched | 26101749 Crankshaft |  |  | CRANKSHAFT | NO MODIFIER | TYPE | COMPRESSOR CARRIER | MATERIAL |  | SIZE |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1068435 | 1068435 |  |  |  | ERSA | M | 1600 | 1571235GZPCLNT100 | EA |  | CONDUIT;BLK,HD,16MM | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BLACK,HD,16MM | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1363 | [12 empty] | OEX | ACX1363 | ASHDOWN INGRAM | [15 empty] | https://www.blackwoods.com.au/automotive/spare-parts-automotive/repair-mounting-kits/oex-conduit-heavy-duty-16mm-x-50m-acx1363/p/00896074 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: BLACK, SIZE: 16 MM |  | CONDUIT | NO MODIFIER | TYPE | HEAVY DUTY | TRADE SIZE |  | LENGTH | 50 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1070980 | 1070980 | 1454976 | AU_QM_001243963 |  | ERSA | M | 5910 | 1454976GZPCLNT100 | EA | 3000012 | DISC;TOY,044650K290 | DISC;TOY,044650K290 | DISC;MNFR:TOYOTA,PTNO:044650K290 |  | DISC BRAKE PAD SET: FRONT BRAKE PAD; | TOYOTA | 044650K290 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 04465YZZR4 | 1071809 @@ ASHDOWN ENTERPRISES | 044650K290 | [10 empty] | TOYOTA | 04465-0K290 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN ENTERPRISES | [13 empty] | https://toyotadxb.com/spare-parts/toyota/pad-kit-disc-brake-l-044650k290/ | [9 empty] | Enriched | 25171708 Disc brake |  | VOLUME: 1.43, WEIGHT: 0.14 KG | BRAKE | DISC | TYPE | PAD SET, FRONT | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE | 0.01X0.09X0.08 CM | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1071599 | 1071599 | 1310488 | AU_QM_000238015 |  | ERSA | M | 3730 | 1310488GZPCLNT100 | EA | 3000003 | DISC;CAT,8E8316 | DISCO;CAT,8E8316 | DISC;MNFR:CATERPILLAR,PTNO:8E8316 | DISCO;MNFR:CATERPILLAR,PTNO:8E8316 | OEM-E-LISTDISC;CAT,8E-8316 | CATERPILLAR | 8E8316 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8E8316 | [12 empty] | CATERPILLAR | 8E-8316 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8E-8316 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | THRUST | SIZE | 47.7 IDX81.8 ODX1.98 THK MM | MATERIAL | PLASTIC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1071600 | 1071600 |  |  |  | ERSA | M | 3730 | 1310487GZPCLNT100 | EA | 3000003 | DISC;CAT,8E8304 | DISCO;CAT,8E8304 | DISC;MNFR:CATERPILLAR,PTNO:8E8304 | DISCO;MNFR:CATERPILLAR,PTNO:8E8304 |  | CATERPILLAR | 8E8304 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8E8304 | [12 empty] | CATERPILLAR | 8E-8304 | HASTINGS DEERING (AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8E-8304 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | THURST | SIZE | 35.76 IDX55.5 ODX1.91 THK MM | MATERIAL | PLASTIC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074341 | 1074341 |  |  |  | ERSA | M | 3730 | 1114520GZPCLNT100 | EA | 3000003 | DISC;CAT,8E8305,THRST | DISCO;CAT,8E8305,EMPUJE | DISC;MNFR:CATERPILLAR,PTNO:8E8305,ADDITIONAL FEATURES EN:THRUST | DISCO;MNFR:CATERPILLAR,PTNO:8E8305,CARACTERISTICAS ADICIONALES ES:EMPUJE |  | CATERPILLAR | 8E8305 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8E8305 | [12 empty] | CATERPILLAR | 8E-8305 | HASTINGS DEERING (AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8E-8305 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | THURST | SIZE | 39 IDX60 ODX2 THK MM | MATERIAL | PLASTIC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074484 | 1074484 | 1110912 | AU_QM_000154075 |  | ERSA | M | 3730 | 1110912GZPCLNT100 | EA | 3000003 | CAM;CAT,4E8561 | LEVA;CAT,4E8561 | CAM;MNFR:CATERPILLAR,PTNO:4E8561 | LEVA;MNFR:CATERPILLAR,PTNO:4E8561 | CAM,CONTROL:CAM INTERLOCK | CATERPILLAR | 4E8561 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4E8561 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 4E8561 | [10 empty] | CATERPILLAR | 4E-8561 | HASTINGS DEERING(AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/4E-8561 | [9 empty] | Enriched | 26111530 Transmission cam |  | SIZE: 20 ODX35 LG MM, FITS BOLT SIZE: M10 | CAM | NO MODIFIER | TYPE | CONTROL, INTERLOCK | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074536 | 1074536 |  |  |  | ERSA | M | 3730 | 1109783GZPCLNT100 | EA | 3000003 | BOOT;CAT,1U3142 | CUBREPOLVO;CAT,1U3142 | BOOT;MNFR:CATERPILLAR,PTNO:1U3142 | CUBREPOLVO;MNFR:CATERPILLAR,PTNO:1U3142 |  | CATERPILLAR | 1U3142 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1U3142 | [12 empty] | CATERPILLAR | 1U-3142 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/1U-3142 | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE | PROTECTIVE | SIZE | 13 ID1X38 ID2X49 ODX40 HT MM | MATERIAL | CHLOROPRENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074655 | 1074655 | 1103399 | AU_QM_001030980 |  | ERSA | M | 3730 | 1103399GZPCLNT100 | EA | 3000003 | DISC;CAT,3369313,FRICTION | DISCO;CAT,3369313,FRICCION | DISC;MNFR:CATERPILLAR,PTNO:3369313,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:CATERPILLAR,PTNO:3369313,CARACTERISTICAS ADICIONALES ES:FRICCION | PRESSURE PLATE ASSY,CLUTCH: CLUTCH DISC ASSY; | CATERPILLAR | 3369313 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3369313 | [12 empty] | CATERPILLAR | 336-9313 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/336-9313 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | PRESSURE PLATE ASSEMBLY |  | DISC | NO MODIFIER | TYPE | FRICTION | SIZE | 240.64 IDX347.8 ODX4.83 THK MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074820 | 1074820 | 1093436 | AU_QM_000237995 |  | ERSA | M | 3730 | 1093436GZPCLNT100 | EA | 3000003 | DISC;CAT,2346707,FRICTION | DISCO;CAT,2346707,FRICCION | DISC;MNFR:CATERPILLAR,PTNO:2346707,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:CATERPILLAR,PTNO:2346707,CARACTERISTICAS ADICIONALES ES:FRICCION | OEM-E-LISTDISC;CAT,234-6707 | CATERPILLAR | 2346707 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2346707 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 2346707 | [10 empty] | CATERPILLAR | 234-6707 | HASTINGS DEERING(AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/234-6707 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH FRICTION | SIZE | 204.35 IDX285.6 ODX4.98 THK MM | MATERIAL | STEEL HARDENED | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1074823 | 1074823 | 1093318 | AU_QM_000237994 |  | ERSA | M | 3730 | 1093318GZPCLNT100 | EA | 3000003 | DISC;CAT,2339748,FRICTION | DISCO;CAT,2339748,FRICCION | DISC;MNFR:CATERPILLAR,PTNO:2339748,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:CATERPILLAR,PTNO:2339748,CARACTERISTICAS ADICIONALES ES:FRICCION | OEM-E-LISTDISC;CAT,233-9748 | CATERPILLAR | 2339748 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 2339748 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2339748 | [10 empty] | CATERPILLAR | 233-9748 | HASTINGS DEERING (AUSTRALIA) LTD |  | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/233-9748 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | FRICTION | SIZE | 337.88 IDX430.2 ODX5.61 THK MM | MATERIAL | STEEL HARDENED | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1075584 | 1075584 | 1116680 | AU_QM_000236418 |  | ERSA | M | 3730 | 1116680GZPCLNT100 | EA | 3000003 | BOOT;CAT,9X4519,RED | CUBREPOLVO;CAT,9X4519,ROJO | BOOT;MNFR:CATERPILLAR,PTNO:9X4519,ADDITIONAL FEATURES EN:RED | CUBREPOLVO;MNFR:CATERPILLAR,PTNO:9X4519,CARACTERISTICAS ADICIONALES ES:ROJO | OEM-E-LISTBOOT;CAT,9X-4519 | CATERPILLAR | 9X4519 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 9X4519 | [12 empty] | CATERPILLAR | 9X-4519 | HASTINGS DEERING (AUSTRALIA) P/L | [15 empty] | https://parts.cat.com/en/catcorp/9X-4519 | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE | 88.9 LGX34 WDX41.8 HT MM | MATERIAL | PVC | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1075798 | 1075798 |  |  |  | ERSA | M | 3730 | 1102754GZPCLNT100 | EA | 3000003 | DISC;CAT,3284375,FRICTION | DISCO;CAT,3284375,FRICCION | DISC;MNFR:CATERPILLAR,PTNO:3284375,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:CATERPILLAR,PTNO:3284375,CARACTERISTICAS ADICIONALES ES:FRICCION |  | CATERPILLAR | 3284375 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3284375 | [12 empty] | CATERPILLAR | 328-4375 | HASTINGS DEERING (AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/328-4375 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH FRICTION | SIZE | 172.62 IDX240 ODX4.95 THK MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1075799 | 1075799 |  |  |  | ERSA | M | 3730 | 1102753GZPCLNT100 | EA | 3000003 | DISC;CAT,3284374,FRICTION | DISCO;CAT,3284374,FRICCION | DISC;MNFR:CATERPILLAR,PTNO:3284374,ADDITIONAL FEATURES EN:FRICTION | DISCO;MNFR:CATERPILLAR,PTNO:3284374,CARACTERISTICAS ADICIONALES ES:FRICCION |  | CATERPILLAR | 3284374 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3284374 | [12 empty] | CATERPILLAR | 328-4374 | HASTINGS DEERING (AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/328-4374 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH FRICTION | SIZE | 271.02 IDX345 ODX5.59 THK MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1075821 | 1075821 | 1098540 | AU_QM_000237997 |  | ERSA | M | 3730 | 1098540GZPCLNT100 | EA | 3000003 | DISC;CAT,2825042,THRST | DISCO;CAT,2825042,EMPUJE | DISC;MNFR:CATERPILLAR,PTNO:2825042,ADDITIONAL FEATURES EN:THRUST | DISCO;MNFR:CATERPILLAR,PTNO:2825042,CARACTERISTICAS ADICIONALES ES:EMPUJE | OEM-E-LISTDISC;CAT,282-5042 | CATERPILLAR | 2825042 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2825042 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 2825042 | [10 empty] | CATERPILLAR | 282-5042 | HASTINGS DEERING(AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/282-5042 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | THRUST | SIZE |  | MATERIAL | PLASTIC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1075924 | 1075924 |  |  |  | ERSA | M | 5620 | 1062319GZPCLNT100 | EA | 3000003 | DISC;CAT,2368675,FRICTION | DISC;CAT,2368675,FRICTION | DISC;MNFR:CATERPILLAR,PTNO:2368675,ADDITIONAL FEATURES EN:FRICTION |  |  | CATERPILLAR | 2368675 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2368675 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 2368675 | [10 empty] | CATERPILLAR | 236-8675 | HASTINGS DEERING (AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/236-8675 | [9 empty] | Enriched | 25171708 Disc brake |  |  | DISC | BRAKE | TYPE | FRICTION | SIZE | 192.4 IDX311.2 ODX4.95 THK MM | MATERIAL | METALLIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1076493 | 1076493 | 1051619 | AU_QM_001306992 |  | ERSA | M | 5915 | 1051619GZPCLNT100 | EA | 3000012 | DISC;TOY,47730-0K061,CYL | DISC;TOY,47730-0K061,CYL | DISC;MNFR:TOYOTA,PTNO:47730-0K061,ADDITIONAL FEATURES EN:CYLINDER |  | CYLINDER ASSY,BRAKE,WHEEL:CYLINDER ASSY DISC; | TOYOTA | 47730-0K061 | 1071809 @@ ASHDOWN ENTERPRISES | 477300K061 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 477300K061 | [10 empty] | TOYOTA | 47730-0K061 | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://toyotadxb.com/spare-parts/toyota/cylinder-assy-disc-477300k061/ | [9 empty] | Enriched | 25171708 Disc brake | ASSEMBLY | VOLUME: 6.03, WEIGHT: 0.23 KG | BRAKE | DISC | TYPE | CYLINDER | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE | 0.01X0.13X0.21 CM | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1076617 | 1076617 | 1048725 | AU_QM_001012749 |  | ERSA | M | 5915 | 1048725GZPCLNT100 | EA | 3000012 | DISC;TOY,43512-60141,FR | DISC;TOY,43512-60141,FR | DISC;MNFR:TOYOTA,PTNO:43512-60141,ADDITIONAL FEATURES EN:FRONT |  | ROTOR,DISK BRAKE: HZJ79 FRONT BRAKE DISC ROTOR; | TOYOTA | 43512-60141 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4351260141 | 1068112 @@ DRIVELINE SERVICES AUSTRALIA PTY LT | 4351260141 | [10 empty] | TOYOTA | 43512-60141 | BELL & MOIR - PARTS ORDERS ONLY |  | DRIVELINE SERVICES AUSTRALIA PTY LT |  |  | HZJ79 | [10 empty] | https://toyotadxb.com/spare-parts/toyota/disc-fr-4351260141/ | [9 empty] | Enriched | 25171708 Disc brake |  | VOLUME: 9.05, WEIGHT: 0.345 KG | BRAKE | DISC | TYPE | FRONT ROTOR | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE | 0.01X0.08X0.34 CM | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1077265 | 1077265 |  |  |  | ERSA | M | 5620 | 1208294GZPCLNT100 | EA | 3000003 | DISC;CAT,9W7018 | DISC;CAT,9W7018 | DISC;MNFR:CATERPILLAR,PTNO:9W7018 |  |  | CATERPILLAR | 9W7018 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9W7018 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 9W7018 | [10 empty] | CATERPILLAR | 9W-7018 | HASTINGS DEERING (AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/9W-7018 | [9 empty] | Enriched | 25171708 Disc brake |  |  | DISC | BRAKE | TYPE | FRICTION | SIZE | 307.97 IDX495.3 ODX5.08 THK MM | MATERIAL | STEEL HARDENED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1077596 | 1077596 | 1195824 | AU_QM_007129893 |  | ERSA | M | 5900 | 1195824GZPCLNT100 | EA | 3000000 | DISC;ATL,3177001301 | DISC;ATL,3177001301 | DISC;MNFR:ATLAS COPCO,PTNO:3177001301 |  | INSERT,FLEX COUPLING: BOOMER 351 SPIKER COUPLING INSERT; | ATLAS COPCO | 3177001301 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3177001301 | [12 empty] | ATLAS COPCO | 3177001301 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://allmaq.com/dephi/3177001301-2.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FLEX COUPLING: BOOMER 351 SPIKER COUPLING INSERT |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1077610 | 1077610 | 1195357 | AU_QM_001037423 |  | ERSA | M | 5915 | 1195357GZPCLNT100 | EA | 3000012 | BOOT;TOY,47634-60010,BELLCRANK LH FOR | BOOT;TOY,47634-60010,BELLCRANK LH FOR | BOOT;MNFR:TOYOTA,PTNO:47634-60010,ADDITIONAL FEATURES EN:BELLCRANK LH FOR PARKING BRAKE TO |  | BOOT,DUST SEAL: HANDBRAKE BOOT | TOYOTA | 47634-60010 | 1071809 @@ ASHDOWN ENTERPRISES | 47634-60010 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4763460010 | [10 empty] | TOYOTA | 47634-60010 | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://toyotadxb.com/spare-parts/toyota/boot-bellcrank-lh-4763460010/ | [9 empty] | Enriched | 40141700 Hardware and fittings |  | VOLUME: 0.017, WEIGHT: 0.065 KG | BOOT | NO MODIFIER | TYPE | BELLCRANK | SIZE | 0.01X0.04X0.06 CM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1077655 | 1077655 | 1193668 | AU_QM_001035914 |  | ERSA | M | 5915 | 1193668GZPCLNT100 | EA | 3000012 | BOOT;TOY,47633-60010,BELLCRANK RH FOR | BOOT;TOY,47633-60010,BELLCRANK RH FOR | BOOT;MNFR:TOYOTA,PTNO:47633-60010,ADDITIONAL FEATURES EN:BELLCRANK RH FOR PARKING BRAKE TO |  | BOOT,DUST SEAL: BOOT HANDBRAKE | TOYOTA | 47633-60010 | 1071809 @@ ASHDOWN ENTERPRISES | 47633-60010 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4763360010 | [10 empty] | TOYOTA | 47633-60010 | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://toyotadxb.com/spare-parts/toyota/boot-bellcrank-4763360010/ | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE | BELLCRANK | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1077676 | 1077676 | 1192810 | AU_QM_001223767 |  | ERSA | M | 3730 | 1192810GZPCLNT100 | EA | 3000003 | DOOR;CAT,2113334 | DOOR;CAT,2113334 | DOOR;MNFR:CATERPILLAR,PTNO:2113334 |  | DOOR,VEHICULAR: DOOR; | CATERPILLAR | 2113334 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2113334 | [12 empty] | CATERPILLAR | 211-3334 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/211-3334 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | VEHICULAR | SIZE | 265 LGX254 WDX276.5 HTX3 THK MM | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1084018 | 1084018 |  |  |  | ERSA | M | 5000 | 1529634GZPCLNT100 | EA | 3000000 | BALL;ATL,3310-0983-00 | BALL;ATL,3310-0983-00 | BALL;MNFR:ATLAS COPCO,PTNO:3310-0983-00 |  |  | ATLAS COPCO | 3310-0983-00 | 1068574 @@ SWANSTON TASMANIA PTY LTD | 3310-0983-00 | [12 empty] | ATLAS COPCO | 3310-0983-00 | SWANSTON TASMANIA PTY LTD | [15 empty] | https://www.toolsrenewed.com/3310098300_p_4553.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1084102 | 1084102 | 1449670 | AU_QM_001117571 |  | ERSA | M | 5910 | 1449670GZPCLNT100 | EA | 3000012 | DISC;TOY,3125060451 | DISC;TOY,3125060451 | DISC;MNFR:TOYOTA,PTNO:3125060451 |  | DISC,CLUTCH:LIGHT VEHICLE,CLUTCH PLATE; | TOYOTA | 3125060451 | 1071809 @@ ASHDOWN ENTERPRISES | 31250-60451 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 3125060451 | [10 empty] | TOYOTA | 31250-60451 | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://toyotadxb.com/spare-parts/toyota/disc-assy-clutch-3125060451/ | [9 empty] | Cleansed | 25171708 Disc brake | LIGHT VEHICLE |  | BRAKE | DISC | TYPE | CLUTCH PLATE | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE |  | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 18-10-2023 |  | 1092956 | 1092956 | 1384598 | AU_QM_000225200 |  | ERSA | M | 5910 | 1384598GZPCLNT100 | EA | 3000003 | DISC;CAT,3892007 | DISC;CAT,3892007 | DISC;MNFR:CATERPILLAR,PTNO:3892007 |  | DISC;CAT,3892007DISC;HAS,3892007 | CATERPILLAR | 3892007 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 3892007 | [12 empty] | CATERPILLAR | 389-2007 | HASTINGS DEERING (AUSTRALIA) P/L | [15 empty] | https://parts.cat.com/en/catcorp/389-2007 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH FRICTION | SIZE | 299.96 IDX381 ODX5.56 THK MM | MATERIAL | STEEL HARDENED | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed