## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1007956 | 1007956 |  |  |  | ERSA | M | 5000 | 1611566GZPCLNT100 | EA | 3000010 | BUMPER;SAN,04762122 | PARACHOQUES;SAN,04762122 | BUMPER;MNFR:SANDVIK,PTNO:04762122 | PARACHOQUES;MNFR:SANDVIK,PTNO:04762122 |  | SANDVIK | 04762122 | [14 empty] | SANDVIK | 04762122 | [16 empty] | https://auctions.g-es.net/Media/74bf9dfb-5db4-4102-9d54-91a73cc74fcd | [9 empty] | ENRICHED | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1073482 | 1073482 |  |  |  | ERSA | M | 3730 | 1086043GZPCLNT100 | EA | 3000003 | CAGE,BRG;CAT,1235298 | RODAMIENTO JAULA;CAT,1235298 | CAGE,BEARING;MNFR:CATERPILLAR,PTNO:1235298 | RODAMIENTO JAULA;MNFR:CATERPILLAR,PTNO:1235298 |  | CATERPILLAR | 1235298 | [14 empty] | CATERPILLAR | 123-5298 | [16 empty] | https://parts.cat.com/en/catcorp/123-5298 | [9 empty] | CLEANSED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1094917 | 1094917 | 1393461 | AU_QM_000236908 |  | ERSA | M | 5920 | 1393461GZPCLNT100 | EA | 3000003 | CAGE,BRG;CAT,222-9875 | CAGE,BRG;CAT,222-9875 | CAGE,BEARING;MNFR:CATERPILLAR,PTNO:222-9875 |  | OEM-E-LISTCAGE,BEARING;CAT,222-9875 | CATERPILLAR | 222-9875 | [14 empty] | CATERPILLAR | 222-9875 | [16 empty] | https://parts.cat.com/en/catcorp/222-9875 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER | 98.45 MM | OUTSIDE DIAMETER | 120 MM | HEIGHT | 94.75 MM | MATERIAL | Cast Iron | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1074813 | 1074813 |  |  |  | ERSA | M | 3730 | 1093756GZPCLNT100 | EA | 3000003 | CAGE,BRG;CAT,2379848,TYP 1 | RODAMIENTO JAULA;CAT,2379848,TIPO 1 | CAGE,BEARING;MNFR:CATERPILLAR,PTNO:2379848,ADDITIONAL FEATURES EN:TYPE 1 | RODAMIENTO JAULA;MNFR:CATERPILLAR,PTNO:2379848,CARACTERISTICAS ADICIONALES ES:TIPO 1 |  | CATERPILLAR | 2379848 | [14 empty] | CATERPILLAR | 237-9848 | [16 empty] | https://parts.cat.com/en/catcorp/237-9848 | [9 empty] | CLEANSED | 31171518 Bearing cage | TYPE 1 |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1073483 | 1073483 |  |  |  | ERSA | M | 3730 | 1086025GZPCLNT100 | EA | 3000003 | CAGE;CAT,1232997,ASSY,BRG | JAULA;CAT,1232997,ENSAMBLE,ROD | CAGE;MNFR:CATERPILLAR,PTNO:1232997,ADDITIONAL FEATURES EN:ASSEMBLY,BEARING | JAULA;MNFR:CATERPILLAR,PTNO:1232997,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,RODAMIENTO |  | CATERPILLAR | 1232997 | [14 empty] | CATERPILLAR | 123-2997 | [16 empty] | https://parts.cat.com/en/catcorp/123-2997 | [9 empty] | ENRICHED | 31171518 Bearing cage | ASSEMBLY |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093772 | 1093772 | 1393464 | AU_QM_000236911 |  | ERSA | M | 5920 | 1393464GZPCLNT100 | EA | 3000003 | CAGE;CAT,1361753 | CAGE;CAT,1361753 | CAGE;MNFR:CATERPILLAR,PTNO:1361753 |  | OEM-E-LISTCAGE;CAT,1361753 | CATERPILLAR | 1361753 | [14 empty] | CATERPILLAR | 136-1753 | [16 empty] | https://parts.cat.com/en/catcorp/136-1753 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER | 104 MM | OUTSIDE DIAMETER | 254 MM | HEIGHT | 105 MM | MATERIAL | Cast iron | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093771 | 1093771 | 1393465 | AU_QM_000236912 |  | ERSA | M | 5920 | 1393465GZPCLNT100 | EA | 3000003 | CAGE;CAT,1463748 | CAGE;CAT,1463748 | CAGE;MNFR:CATERPILLAR,PTNO:1463748 |  | OEM-E-LISTCAGE;CAT,1463748 | CATERPILLAR | 1463748 | [14 empty] | CATERPILLAR | 146-3748 | [16 empty] | https://parts.cat.com/en/catcorp/146-3748 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL | Cast iron | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1094142 | 1094142 | 1383173 | AU_QM_000223498 |  | ERSA | M | 5920 | 1383173GZPCLNT100 | EA | 3000003 | CAGE;CAT,1843670 | CAGE;CAT,1843670 | CAGE;MNFR:CATERPILLAR,PTNO:1843670 |  | CAGE;CAT,1843670CAGE;HAS,1843670 | CATERPILLAR | 1843670 | [12 empty] | HASTER |  | CATERPILLAR | 184-3670 | [16 empty] | https://parts.cat.com/en/catcorp/184-3670 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093770 | 1093770 | 1393466 | AU_QM_000236913 |  | ERSA | M | 5920 | 1393466GZPCLNT100 | EA | 3000003 | CAGE;CAT,186-9320 | CAGE;CAT,186-9320 | CAGE;MNFR:CATERPILLAR,PTNO:186-9320 |  | OEM-E-LISTCAGE;CAT,186-9320 | CATERPILLAR | 186-9320 | [14 empty] | CATERPILLAR | 186-9320 | [16 empty] | https://parts.cat.com/en/catcorp/186-9320 | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1094098 | 1094098 | 1384329 | AU_QM_000224885 |  | ERSA | M | 5920 | 1384329GZPCLNT100 | EA | 3000003 | CAGE;CAT,5080138 | CAGE;CAT,5080138 | CAGE;MNFR:CATERPILLAR,PTNO:5080138 |  | CAGE;CAT,5080138CAGE;HAS,5080138 | CATERPILLAR | 5080138 | [12 empty] | HASTER |  | CATERPILLAR | 508-0138 | [16 empty] | https://parts.cat.com/en/catcorp/508-0138 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1029336 | 1029336 | 1389197 | AU_QM_000230633 |  | ERSA | M | 5920 | 1389197GZPCLNT100 | EA | 3000003 | CAGE;CAT,508-0139 | CAGE;CAT,508-0139 | CAGE;MNFR:CATERPILLAR,PTNO:508-0139 |  | CAGE;CAT,508-0139CAGE;HAS,508-0139 | CATERPILLAR | 508-0139 | [12 empty] | HASTER |  | CATERPILLAR | 508-0139 | [16 empty] | https://parts.cat.com/en/catcorp/508-0139 | [9 empty] | CLEANSED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093769 | 1093769 | 1393469 | AU_QM_000236916 |  | ERSA | M | 5920 | 1393469GZPCLNT100 | EA | 3000003 | CAGE;CAT,6T1838 | CAGE;CAT,6T1838 | CAGE;MNFR:CATERPILLAR,PTNO:6T1838 |  | OEM-E-LISTCAGE;CAT,6T1838 | CATERPILLAR | 6T1838 | [14 empty] | CATERPILLAR | 6T-1838 | [16 empty] | https://parts.cat.com/en/catcorp/6T-1838 | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093768 | 1093768 | 1393470 | AU_QM_000236917 |  | ERSA | M | 5920 | 1393470GZPCLNT100 | EA | 3000003 | CAGE;CAT,8P-8700 | CAGE;CAT,8P-8700 | CAGE;MNFR:CATERPILLAR,PTNO:8P-8700 |  | OEM-E-LISTCAGE;CAT,8P-8700 | CATERPILLAR | 8P-8700 | [14 empty] | CATERPILLAR | 8P-8700 | [16 empty] | https://parts.cat.com/en/catcorp/8P-8700 | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1093801 | 1093801 | 1391854 | AU_QM_000233820 |  | ERSA | M | 5920 | 1391854GZPCLNT100 | EA | 3000003 | CAGE;CAT,9D-9253 | CAGE;CAT,9D-9253 | CAGE;MNFR:CATERPILLAR,PTNO:9D-9253 |  | CAGE;CAT,9D-9253CAGE;HAS,9D-9253 | CATERPILLAR | 9D-9253 | [12 empty] | HASTER |  | CATERPILLAR | 9D-9253 | [16 empty] | https://parts.cat.com/en/catcorp/9D-9253 | [9 empty] | ENRICHED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182229 | 1182229 |  |  |  | ERSA | M | 1600 | 1566302GZPCLNT100 | EA |  | CONNECTOR;150-240MM2,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:150-240MM2,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTKS-0630A-36-150-240,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTKS-0630A-36-150-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTKS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE,coupling | RUN CONDUCTOR | 150 to 240 sq MM | RUN CONNECTION |  | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182211 | 1182211 |  |  |  | ERSA | M | 1600 | 1566320GZPCLNT100 | EA |  | CONNECTOR;150-240MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:150-240MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:ELBOW,SEPARABLE,PLP,CPA-CWS-400A-36-150-240 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-400A-36-150-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-400A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 150 TO 240 SQ MM | ELECTRICAL RATING | 36 Kv,400 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL | polymeric | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182222 | 1182222 |  |  |  | ERSA | M | 1600 | 1566309GZPCLNT100 | EA |  | CONNECTOR;150-240MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:150-240MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTS-0630A-36-150-240,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-36-150-240 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 150 TO 240 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182242 | 1182242 |  |  |  | ERSA | M | 1600 | 1566229GZPCLNT100 | EA |  | CONNECTOR;16-95MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:16-95MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,CPA-CSV-LHS-016-095,SHEARBOLT SCREW | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-LHS-016-095 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-LHS.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 16 to 95 sq MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | METAL | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182237 | 1182237 |  |  |  | ERSA | M | 1600 | 1566294GZPCLNT100 | EA |  | CONNECTOR;16-95MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:16-95MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,CPA-CSV-T-016-095,SHEARBOLT SCREW | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-016-095 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 16 TO 95 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182216 | 1182216 |  |  |  | ERSA | M | 1600 | 1566315GZPCLNT100 | EA |  | CONNECTOR;16-95MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:16-95MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CWS-250A-24-016-095M,ELBOW,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-250A-24-016-095M | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-250A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 16 to 95 sq MM | ELECTRICAL RATING | 24 kV,250 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182225 | 1182225 |  |  |  | ERSA | M | 1600 | 1566306GZPCLNT100 | EA |  | CONNECTOR;240-300MM2,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:240-300MM2,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTS-0630A-24-240-300,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-24-240-300 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 240 TO 300 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182239 | 1182239 |  |  |  | ERSA | M | 1600 | 1566292GZPCLNT100 | EA |  | CONNECTOR;240-400MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:240-400MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-LHS-240-400 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-LHS-240-400 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-LHS.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 240 to 400 sq mm | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | METAL | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182233 | 1182233 |  |  |  | ERSA | M | 1600 | 1566298GZPCLNT100 | EA |  | CONNECTOR;240-400MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:240-400MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-T-240-400 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-240-400 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 240 TO 400 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182221 | 1182221 |  |  |  | ERSA | M | 1600 | 1566310GZPCLNT100 | EA |  | CONNECTOR;240-400MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:240-400MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTS-0630A-36-240-400 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-36-240-400 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 240 TO 400 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182214 | 1182214 |  |  |  | ERSA | M | 1600 | 1566317GZPCLNT100 | EA |  | CONNECTOR;25-70MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:25-70MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:ELBOW,SEPARABLE,PLP,CPA-CWS-400A-24-025-070 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-400A-24-025-070 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-400A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 25 TO 70 SQ MM | ELECTRICAL RATING | 24 Kv,400 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL | polymeric | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182232 | 1182232 |  |  |  | ERSA | M | 1600 | 1566299GZPCLNT100 | EA |  | CONNECTOR;25-70MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:25-70MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTKS-0630A-24-025-070 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTKS-0630A-24-025-070 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTKS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE,coupling | RUN CONDUCTOR | 25 TO 70 SQ MM | RUN CONNECTION |  | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182227 | 1182227 |  |  |  | ERSA | M | 1600 | 1566304GZPCLNT100 | EA |  | CONNECTOR;25-70MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:25-70MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTS-0630A-24-025-070 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-24-025-070 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 25 TO 70 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182230 | 1182230 |  |  |  | ERSA | M | 1600 | 1566301GZPCLNT100 | EA |  | CONNECTOR;35-95MM2,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:35-95MM2,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTKS-0630A-36-035-095 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTKS-0630A-36-035-095 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTKS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE,coupling | RUN CONDUCTOR | 35 TO 95 SQ MM | RUN CONNECTION |  | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182224 | 1182224 |  |  |  | ERSA | M | 1600 | 1566307GZPCLNT100 | EA |  | CONNECTOR;35-95MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:35-95MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTS-0630A-36-035-095,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-36-035-095 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 35 TO 95 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182220 | 1182220 |  |  |  | ERSA | M | 1600 | 1566311GZPCLNT100 | EA |  | CONNECTOR;400-630MM2,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:400-630MM2,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTS-1250A-24-400-630 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-1250A-24-400-630 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-1250A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 400 TO 630 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182219 | 1182219 |  |  |  | ERSA | M | 1600 | 1566312GZPCLNT100 | EA |  | CONNECTOR;400-630MM2,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:400-630MM2,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTS-1250A-36-400-630 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-1250A-36-400-630 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-1250A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 400 TO 630 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182236 | 1182236 |  |  |  | ERSA | M | 1600 | 1566295GZPCLNT100 | EA |  | CONNECTOR;50-150MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:50-150MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-T-050-150 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-050-150 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 50 TO 150 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182212 | 1182212 |  |  |  | ERSA | M | 1600 | 1566319GZPCLNT100 | EA |  | CONNECTOR;50-95MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:50-95MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:ELBOW,SEPARABLE,PLP,CPA-CWS-400A-36-035-095 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-400A-36-035-095 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-400A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 50 TO 95 SQ MM | ELECTRICAL RATING | 36 Kv,400 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL | polymeric | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182238 | 1182238 |  |  |  | ERSA | M | 1600 | 1566293GZPCLNT100 | EA |  | CONNECTOR;6-50MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:6-50MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-T-006-050 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-006-050 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 6 TO 50 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182215 | 1182215 |  |  |  | ERSA | M | 1600 | 1566316GZPCLNT100 | EA |  | CONNECTOR;70-150MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:70-150MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:ELBOW,SEPARABLE,PLP,CPA-CWS-250A-24-070-150M | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-250A-24-070-150M | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-250A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 70 to 150 sq mm | ELECTRICAL RATING | 24 kV,250 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182223 | 1182223 |  |  |  | ERSA | M | 1600 | 1566308GZPCLNT100 | EA |  | CONNECTOR;95-150MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:95-150MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:T-SHAPED,SEPARABLE,PLP,CPA-CTS-0630A-36-095-150 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-36-095-150 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 95 TO 150 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182240 | 1182240 |  |  |  | ERSA | M | 1600 | 1566291GZPCLNT100 | EA |  | CONNECTOR;95-240MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:95-240MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-LHS-095-240 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-LHS-095-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-LHS.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 95 to 240 sq MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | METAL | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182235 | 1182235 |  |  |  | ERSA | M | 1600 | 1566296GZPCLNT100 | EA |  | CONNECTOR;95-240MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:95-240MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHEARBOLT SCREW,PLP,CPA-CSV-T-095-240 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-095-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 95 TO 240 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182231 | 1182231 |  |  |  | ERSA | M | 1600 | 1566300GZPCLNT100 | EA |  | CONNECTOR;95-240MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:95-240MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTKS-0630A-24-095-240,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTKS-0630A-24-095-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CTKS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE,coupling | RUN CONDUCTOR | 95 TO 240 SQ MM | RUN CONNECTION |  | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182226 | 1182226 |  |  |  | ERSA | M | 1600 | 1566305GZPCLNT100 | EA |  | CONNECTOR;95-240MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:95-240MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CTS-0630A-24-095-240,T-SHAPED,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CTS-0630A-24-095-240 | [16 empty] | https://preformed.com/au/images/pdfs/Resources/cellpack/Data_CTS-630A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL TEE | TYPE | SEPARABLE | RUN CONDUCTOR | 95 TO 240 SQ MM | RUN CONNECTION | SCREW | TAP SIZE |  | TAP CONNECTION |  | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1182213 | 1182213 |  |  |  | ERSA | M | 1600 | 1566318GZPCLNT100 | EA |  | CONNECTOR;95-240MM2/EGA,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:95-240MM2/EGA,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:PLP,CPA-CWS-400A-24-095-240,ELBOW,SEPARABLE | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CWS-400A-24-095-240 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CWS-400A.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | ELBOW,SEPARABLE | CONDUCTOR SIZE | 95 TO 240 SQ MM | ELECTRICAL RATING | 24 Kv,400 A | NUMBER OF PINS |  | MATERIAL | COMPOSITE | INSULATION MATERIAL | polymeric | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CENELEC HD 629.1 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 | SERIES MATCH | 1182234 | 1182234 |  |  |  | ERSA | M | 1600 | 1566297GZPCLNT100 | EA |  | CONNECTOR;95-300MM2,MTL,SHEARBOLT SCREW | CONECTOR; | CONNECTOR;SIZE:95-300MM2,MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,CPA-CSV-T-095-300,SHEARBOLT SCREW | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CSV-T-095-300 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CSV-T.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | Longitudinally sealed | TRADE SIZE |  | CABLE SIZE | 95 TO 300 SQ MM | CONNECTION TYPE | SHEARBOLT SCREW | CONNECTOR MATERIAL | tin-plated Aluminium | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61238-1 | [56 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024827 | 1024827 | 1374583 | AU_QM_000205221 |  | ERSA | M | 1600 | 1374583GZPCLNT100 | EA | 3000006 | CONNECTOR;KOM,3EB-02-52230 | CONNECTOR;KOM,3EB-02-52230 | CONNECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-02-52230 |  | CONNECTOR;KOM,3EB-02-52230CONNECTOR;KOM,3EB-02-52230 | KOMATSU MINING SYSTEMS INC. | 3EB-02-52230 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-02-52230 | [16 empty] | https://intellaparts.com/p/KOM-3EB-02-52230/connector.html | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024812 | 1024812 | 1374784 | AU_QM_000205441 |  | ERSA | M | 1600 | 1374784GZPCLNT100 | EA | 3000006 | CONNECTOR;KOM,3EB-05-59721 | CONNECTOR;KOM,3EB-05-59721 | CONNECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-05-59721 |  | CONNECTOR;KOM,3EB-05-59721CONNECTOR;KOM,3EB-05-59721 | KOMATSU MINING SYSTEMS INC. | 3EB-05-59721 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-05-59721 | [16 empty] | https://av-gk.ru/spare/komatsu/3eb-05-59721/ | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024219 | 1024219 | 1389736 | AU_QM_000231284 |  | ERSA | M | 1600 | 1389736GZPCLNT100 | EA | 3000006 | CONNECTOR;KOM,6204116421 | CONNECTOR;KOM,6204116421 | CONNECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:6204116421 |  | CONNECTOR;KOM,6204116421CONNECTOR;KOM,6204116421 | KOMATSU MINING SYSTEMS INC. | 6204116421 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 6204-11-6421 | [16 empty] | https://k-part.777parts.org/spare/komatsu/6204-11-6421/ | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | WATER OUTLET | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024060 | 1024060 | 1393945 | AU_QM_000237469 |  | ERSA | M | 1600 | 1393945GZPCLNT100 | EA | 3000030 | CONNECTOR;OUT,3884468 | CONNECTOR;OUT,3884468 | CONNECTOR;MNFR:OUTOTEC,PTNO:3884468 |  | OEM-E-LISTCONNECTOR;OUT,3884468 | OUTOTEC | 3884468 | [16 empty] | OUTOTEC | 3884468 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1034297 | 1034297 | 1393946 | AU_QM_000237470 |  | ERSA | M | 1600 | 1393946GZPCLNT100 | EA | 3000030 | CONNECTOR;OUT,N031006354 | CONNECTOR;OUT,N031006354 | CONNECTOR;MNFR:OUTOTEC,PTNO:N031006354 |  | OEM-E-LISTCONNECTOR;OUT,N031006354 | OUTOTEC | N031006354 | [16 empty] | OUTOTEC | N031006354 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1035240 | 1035240 | 1390360 | AU_QM_000231986 |  | ERSA | M | 1600 | 1390360GZPCLNT100 | EA | 3000030 | CONNECTOR;OUT,N031006550 | CONNECTOR;OUT,N031006550 | CONNECTOR;MNFR:OUTOTEC,PTNO:N031006550 |  | CONNECTOR;OUT,N031006550CONNECTOR;OUT,N031006550 | OUTOTEC | N031006550 | [16 empty] | OUTOTEC | N031006550 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028489 | 1028489 | 1371788 | AU_QM_000196200 |  | ERSA | M | 1600 | 1371788GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1206002572000,TECH,120600 | CONECTOR;TECH,1206002572000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206002572000,ADDITIONAL FEATURES EN:TECH,1206002572000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206002572000 | CONNECTOR;TECH,1206002572000,TECH,120600CONNECTOR;TEC,1206002572000 | TECNICAS HIDRAULICAS | 1206002572000 | [16 empty] | TECNICAS HIDRAULICAS | 1206002572000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028488 | 1028488 | 1371789 | AU_QM_000196201 |  | ERSA | M | 1600 | 1371789GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1206010131000,TECH,120601 | CONECTOR;TECH,1206010131000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206010131000,ADDITIONAL FEATURES EN:TECH,1206010131000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206010131000 | CONNECTOR;TECH,1206010131000,TECH,120601CONNECTOR;TEC,1206010131000 | TECNICAS HIDRAULICAS | 1206010131000 | [16 empty] | TECNICAS HIDRAULICAS | 1206010131000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028471 | 1028471 | 1371840 | AU_QM_000196258 |  | ERSA | M | 1600 | 1371840GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1206014044000,TECH,120601 | CONECTOR;TECH,1206014044000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206014044000,ADDITIONAL FEATURES EN:TECH,1206014044000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206014044000 | CONNECTOR;TECH,1206014044000,TECH,120601CONNECTOR;TEC,1206014044000 | TECNICAS HIDRAULICAS | 1206014044000 | [16 empty] | TECNICAS HIDRAULICAS | 1206014044000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028487 | 1028487 | 1371793 | AU_QM_000196206 |  | ERSA | M | 1600 | 1371793GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1206031932000,TECH,120603 | CONECTOR;TECH,1206031932000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206031932000,ADDITIONAL FEATURES EN:TECH,1206031932000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206031932000 | CONNECTOR;TECH,1206031932000,TECH,120603CONNECTOR;TEC,1206031932000 | TECNICAS HIDRAULICAS | 1206031932000 | [16 empty] | TECNICAS HIDRAULICAS | 1206031932000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028470 | 1028470 | 1371842 | AU_QM_000196260 |  | ERSA | M | 1600 | 1371842GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1206031964000,TECH,120603 | CONECTOR;TECH,1206031964000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206031964000,ADDITIONAL FEATURES EN:TECH,1206031964000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1206031964000 | CONNECTOR;TECH,1206031964000,TECH,120603CONNECTOR;TEC,1206031964000 | TECNICAS HIDRAULICAS | 1206031964000 | [16 empty] | TECNICAS HIDRAULICAS | 1206031964000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028500 | 1028500 | 1371726 | AU_QM_000196131 |  | ERSA | M | 1600 | 1371726GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1537015939000,TECH,153701 | CONECTOR;TECH,1537015939000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1537015939000,ADDITIONAL FEATURES EN:TECH,1537015939000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1537015939000 | CONNECTOR;TECH,1537015939000,TECH,153701CONNECTOR;TEC,1537015939000 | TECNICAS HIDRAULICAS | 1537015939000 | [16 empty] | TECNICAS HIDRAULICAS | 1537015939000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028451 | 1028451 | 1371899 | AU_QM_000196323 |  | ERSA | M | 1600 | 1371899GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1537027624000,TECH,153702 | CONECTOR;TECH,1537027624000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1537027624000,ADDITIONAL FEATURES EN:TECH,1537027624000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1537027624000 | CONNECTOR;TECH,1537027624000,TECH,153702CONNECTOR;TEC,1537027624000 | TECNICAS HIDRAULICAS | 1537027624000 | [16 empty] | TECNICAS HIDRAULICAS | 1537027624000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1028437 | 1028437 | 1371955 | AU_QM_000196384 |  | ERSA | M | 1600 | 1371955GZPCLNT100 | EA | 3000450 | CONNECTOR;TECH,1599026745000,TECH,159902 | CONECTOR;TECH,1599026745000, | CONNECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1599026745000,ADDITIONAL FEATURES EN:TECH,1599026745000 | CONECTOR;MNFR:TECNICAS HIDRAULICAS,PTNO:1599026745000 | CONNECTOR;TECH,1599026745000,TECH,159902CONNECTOR;TEC,1599026745000 | TECNICAS HIDRAULICAS | 1599026745000 | [16 empty] | TECNICAS HIDRAULICAS | 1599026745000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024391 | 1024391 | 1382696 | AU_QM_000222898 |  | ERSA | M | 1600 | 1382696GZPCLNT100 | EA | 3000011 | CONNECTOR;TER,PP2266300 | CONNECTOR;TER,PP2266300 | CONNECTOR;MNFR:TEREX,PTNO:PP2266300 |  | CONNECTOR;TER,PP2266300CONNECTOR;TER,PP2266300 | TEREX | PP2266300 | [16 empty] | TEREX | PP2266300 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024287 | 1024287 | 1386851 | AU_QM_000227883 |  | ERSA | M | 1600 | 1386851GZPCLNT100 | EA | 3000012 | CONNECTOR;TOY,8978560190 | CONNECTOR;TOY,8978560190 | CONNECTOR;MNFR:TOYOTA,PTNO:8978560190 |  | CONNECTOR;TOY,8978560190CONNECTOR;BEL,8978560190 | TOYOTA | 8978560190 | [16 empty] | TOYOTA | 8978560190 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | BEL |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024407 | 1024407 | 1382071 | AU_QM_000222113 |  | ERSA | M | 1600 | 1382071GZPCLNT100 | EA | 3000013 | CONNECTOR;VOL,20726089 | CONNECTOR;VOL,20726089 | CONNECTOR;MNFR:VOLVO,PTNO:20726089 |  | CONNECTOR;VOL,20726089CONNECTOR;VOL,20726089 | VOLVO | 20726089 | [14 empty] | VOLVO | 20726089 | [16 empty] | http://www.volvo-penta.cn/volvo-penta-connector--pole-20726089 | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024408 | 1024408 | 1382070 | AU_QM_000222112 |  | ERSA | M | 1600 | 1382070GZPCLNT100 | EA | 3000013 | CONNECTOR;VOL,21638698 | CONNECTOR;VOL,21638698 | CONNECTOR;MNFR:VOLVO,PTNO:21638698 |  | CONNECTOR;VOL,21638698CONNECTOR;VOL,21638698 | VOLVO | 21638698 | [14 empty] | VOLVO | 21638698 | [16 empty] | https://www.zoro.com/volvo-penta-connectorv2-21638698/i/G407757696/ | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1024868 | 1024868 | 1371108 | AU_QM_000195443 |  | ERSA | M | 1600 | 1371108GZPCLNT100 | EA | 3000035 | CONNECTOR;WAR,MK40951A | CONNECTOR;WAR,MK40951A | CONNECTOR;MNFR:WARMAN,PTNO:MK40951A |  | CONNECTOR;WAR,MK40951ACONNECTOR;WEI,MK40951A | WARMAN | MK40951A | [12 empty] | WEIR | MK40951A |  |  | WARMAN | MK40951A | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1005601 | 1005601 | 1450870 | AU_QM_001142272 |  | ERSA | M | 1600 | 1450870GZPCLNT100 | EA | 3000035 | CONNECTOR;WAR,WP4T60-6B | CONNECTOR;WAR,WP4T60-6B | CONNECTOR;MNFR:WARMAN,PTNO:WP4T60-6B |  | CONNECTOR:WARMAN CONNECTOR,MALE1/4 X 3/8T; | WARMAN | WP4T60-6B | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | WP4T60-6B | [10 empty] | WARMAN | WP4T60-6B |  |  | WEIR MINERALS AUSTRALIA LTD | WP4T60-6B | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | 1/4X3/8 IN | CONNECTION TYPE | MALE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010015 | 1010015 |  |  |  | ERSA | M | 1600 | 1588313GZPCLNT100 | EA | 3000011 | CONNECTOR;TER,2550-9075,BLK | CONECTOR;TER,2550-9075 | CONNECTOR;MNFR:TEREX,PTNO:2550-9075,ADDITIONAL FEATURES EN:BLACK | CONECTOR;MNFR:TEREX,PTNO:2550-9075 |  | TEREX | 2550-9075 | 1068354 @@ FINLAY SCREENING & CRUSHING | 2550-9075 | [12 empty] | Hirshman | 2550-9075 | TEREX |  | FINLAY SCREENING & CRUSHING | [13 empty] | https://emeraldparts.com/products/electr-hirshman-connector | [9 empty] | CLEANSED | 31163100 Connectors | COLOR:BLACK |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010115 | 1010115 |  |  |  | ERSA | M | 5915 | 1605071GZPCLNT100 | EA | 3000028 | CONNECTOR;MIT,QMC072035,PUSH IN | CONECTOR;MIT,QMC072035 | CONNECTOR;MNFR:MITSUBISHI,PTNO:QMC072035,ADDITIONAL FEATURES EN:PUSH IN | CONECTOR;MNFR:MITSUBISHI,PTNO:QMC072035 |  | MITSUBISHI | QMC072035 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMC072035 | [14 empty] | MITSUBISHI | QMC072035 | RGM MAINTENANCE PTY LTD | QMC072035 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010118 | 1010118 |  |  |  | ERSA | M | 5915 | 1605074GZPCLNT100 | EA | 3000028 | CONNECTOR;MIT,QMH036954 | CONECTOR;MIT,QMH036954 | CONNECTOR;MNFR:MITSUBISHI,PTNO:QMH036954 | CONECTOR;MNFR:MITSUBISHI,PTNO:QMH036954 |  | MITSUBISHI | QMH036954 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMH036954 | [14 empty] | MITSUBISHI | QMH036954 | RGM MAINTENANCE PTY LTD | QMH036954 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010232 | 1010232 |  |  |  | ERSA | M | 1600 | 1585982GZPCLNT100 | EA |  | CONNECTOR;C,10-35 MM2,CRIMP,CU,WIDE JAW | CONECTOR; | CONNECTOR;TYPE:C,SIZE:10-35 MM2,CONNECTION TYPE:CRIMP,MATERIAL:COPPER,ADDITIONAL FEATURES EN:WIDE JAW,RUN/TAP,BRAND:CABAC,PTNO: CACD35 | CONECTOR;,PTNO:CACD35 |  |  | CACD35 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABCACD35 | [12 empty] | CABAC | CACD35 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h9f/h4e/9015745740830/CABAC-C-Connectors-0010-Datasheet.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | C,WIDE JAW,RUN/TAP | CONDUCTOR SIZE | 10 TO 35 SQ MM | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL | Copper | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | CRIMP | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 837 2003 & 2014 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010233 | 1010233 |  |  |  | ERSA | M | 1600 | 1585983GZPCLNT100 | EA |  | CONNECTOR;C,35-70 MM2,CRIMP,CU,WIDE JAW | CONECTOR; | CONNECTOR;TYPE:C,SIZE:35-70 MM2,CONNECTION TYPE:CRIMP,MATERIAL:COPPER,ADDITIONAL FEATURES EN:WIDE JAW,RUN/TAP,BRAND:CABAC,PTNO: CACD70 | CONECTOR;,PTNO:CACD70 |  |  | CACD70 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABCACD70 | [12 empty] | CABAC | CACD70 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h9f/h4e/9015745740830/CABAC-C-Connectors-0010-Datasheet.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | C,WIDE JAW,RUN/TAP | CONDUCTOR SIZE | 35 TO 70 SQ MM | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL | Copper | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | CRIMP | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 837 2003 & 2014 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010234 | 1010234 |  |  |  | ERSA | M | 1600 | 1585984GZPCLNT100 | EA |  | CONNECTOR;C,35-70MM2 RUN,10-35MM2 TAP,CU | CONECTOR; | CONNECTOR;TYPE:C,SIZE:35-70MM2 RUN,10-35MM2 TAP,CONNECTION TYPE:CRIMP,MATERIAL:COPPER,ADDITIONAL FEATURES EN:MULTIFIT,BRAND:CABAC, PTNO:CACE35/70 | CONECTOR;,PTNO:CACE35/70 |  |  | CACE35/70 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABCACE35/70 | [12 empty] | CABAC | CACE35/70 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h9f/h4e/9015745740830/CABAC-C-Connectors-0010-Datasheet.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | C,MULTIFIT | CONDUCTOR SIZE | 35 TO 70 SQ MM(RUN),10 TO 35 SQ MM(TAP) | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL | Copper | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | CRIMP | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 837 2003 & 2014 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010235 | 1010235 |  |  |  | ERSA | M | 1600 | 1585985GZPCLNT100 | EA |  | CONNECTOR;C,150-240MM2 RUN,10-70MM2 TAP | CONECTOR; | CONNECTOR;TYPE:C,SIZE:150-240MM2 RUN,10-70MM2 TAP,CONNECTION TYPE:CRIMP,MATERIAL:COPPER,ADDITIONAL FEATURES EN:MULTIFIT,BRAND: CABAC,PTNO:CACE70/240 | CONECTOR;,PTNO:CACE70/240 |  |  | CACE70/240 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABCACE70/240 | [12 empty] | CABAC | CACE70/240 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h9f/h4e/9015745740830/CABAC-C-Connectors-0010-Datasheet.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | C,MULTIFIT | CONDUCTOR SIZE | 150 TO 240 SQ MM(RUN),10 TO 70 SQ MM(TAP) | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL | Copper | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | CRIMP | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 837 2003 & 2014 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1010236 | 1010236 |  |  |  | ERSA | M | 1600 | 1585986GZPCLNT100 | EA |  | CONNECTOR;C,150-240MM2 RUN,95-120MM2 TAP | CONECTOR; | CONNECTOR;TYPE:C,SIZE:150-240MM2 RUN,95-120MM2 TAP,CONNECTION TYPE:CRIMP,MATERIAL:COPPER,ADDITIONAL FEATURES EN:MULTIFIT,BRAND: CABAC,PTNO:CACE120/240 | CONECTOR;,PTNO:CACE120/240 |  |  | CACE120/240 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABACACE120/240 | [12 empty] | CABAC | CACE120/240 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h9f/h4e/9015745740830/CABAC-C-Connectors-0010-Datasheet.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | C,MULTIFIT | CONDUCTOR SIZE | 150 TO 240 SQ MM(RUN),95 TO 120 SQ MM(TAP) | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL | Copper | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | CRIMP | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 837 2003 & 2014 | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1012594 | 1012594 |  |  |  | ERSA | M | 4015 | 1614353GZPCLNT100 | EA | 3000028 | CONNECTOR;MIT,303181,MHI CARD FLYING LEA | CONECTOR;MIT,303181 | CONNECTOR;MNFR:MITSUBISHI,PTNO:303181,ADDITIONAL FEATURES EN:MHI CARD FLYING LEAD CNT,CAT NO:303181,MODEL NO:CNT CONNECTOR | CONECTOR;MNFR:MITSUBISHI,PTNO:303181 |  | MITSUBISHI | 303181 | 1068500 @@ ACTROL PARTS PTY LTD | 1602141 | [12 empty] | ACTROL PARTS PTY LTD | 1602141 | MITSUBISHI | 303181 | [14 empty] | https://www.actrol.com.au/resources/themes/actrol/assets/services/technical-product-guides/2017/2017-Actrol-Product-Guide-Section-04.pdf | [9 empty] | ENRICHED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | CnT,Card, flying leads | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1013349 | 1013349 |  |  |  | ERSA | M | 1600 | 1615370GZPCLNT100 | EA | 3000424 | CONNECTOR,ELEC;ECAM,FIN-CON-00221,HEAVYC | CONECTOR ELEC;ECAM,FIN-CON-00221 | CONNECTOR,ELECTRICAL;MNFR:ECAM,PTNO:FIN-CON-00221,ADDITIONAL FEATURES EN:HEAVYCON 10 WAY MALE,MOBILE SUB ASS-2 | CONECTOR ELECTRICO;MNFR:ECAM,PTNO:FIN-CON-00221 |  | ECAM | FIN-CON-00221 | 1070724 @@ ECAM PTY LTD | FIN-CON-00221 | [14 empty] | ECAM | FIN-CON-00221 | ECAM PTY LTD | FIN-CON-00221 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:HEAVYCON,FOR MOBILE,SUB ASSEMBLY-2 |  | CONNECTOR | ELECTRICAL | TYPE | 10 WAY | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | MALE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1013350 | 1013350 |  |  |  | ERSA | M | 1600 | 1615371GZPCLNT100 | EA | 3000424 | CONNECTOR,ELEC;ECAM,FIN-CON-00010,HEAVYC | CONECTOR ELEC;ECAM,FIN-CON-00010 | CONNECTOR,ELECTRICAL;MNFR:ECAM,PTNO:FIN-CON-00010,ADDITIONAL FEATURES EN:HEAVYCON 6 WAY,FEMALE,PANEL MOUNT,SUB ASS-1 | CONECTOR ELECTRICO;MNFR:ECAM,PTNO:FIN-CON-00010 |  | ECAM | FIN-CON-00010 | 1070724 @@ ECAM PTY LTD | FIN-CON-00010 | [14 empty] | ECAM | FIN-CON-00010 | ECAM PTY LTD | FIN-CON-00010 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:HEAVYCON,MOUNT:PANEL,SUB ASSEMBLY-1 |  | CONNECTOR | ELECTRICAL | TYPE | 6 WAY | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | FEMALE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1013351 | 1013351 |  |  |  | ERSA | M | 1600 | 1615372GZPCLNT100 | EA | 3000424 | CONNECTOR,ELEC;ECAM,FIN-CON-00061,HEAVYC | CONECTOR ELEC;ECAM,FIN-CON-00061 | CONNECTOR,ELECTRICAL;MNFR:ECAM,PTNO:FIN-CON-00061,ADDITIONAL FEATURES EN:HEAVYCON 16WAY,FEMALE,PANEL MOUNT,SUB ASS-2 | CONECTOR ELECTRICO;MNFR:ECAM,PTNO:FIN-CON-00061 |  | ECAM | FIN-CON-00061 | 1070724 @@ ECAM PTY LTD | FIN-CON-00061 | [14 empty] | ECAM | FIN-CON-00061 | ECAM PTY LTD | FIN-CON-00061 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:HEAVYCON,MOUNT:PANEL,SUB ASSEMBLY-2 |  | CONNECTOR | ELECTRICAL | TYPE | 16 WAY | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE | FEMALE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1031832 | 1031832 | 1456149 | AU_QM_001273994 |  | ERSA | M | 1600 | 1456149GZPCLNT100 | EA | 3000030 | CONNECTOR;OUT,P1756.F11.AP.F.CN | CONNECTOR;OUT,P1756.F11.AP.F.CN | CONNECTOR;MNFR:OUTOTEC,PTNO:P1756.F11.AP.F.CN |  | CONNECTION; FLEXIBLE;DN250;AIR SUPPLY; | OUTOTEC | P1756.F11.AP.F.CN | 1068243 @@ OUTOTEC PTY LTD | P1756.F11.AP.F.CN | [14 empty] | OUTOTEC | P1756.F11.AP.F.CN | OUTOTEC PTY LTD | P1756.F11.AP.F.CN | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | FLEXIBLE,AIR SUPPLY | SIZE | DN250 | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1049532 | 1049532 |  |  |  | ERSA | M | 4090 | 1563447GZPCLNT100 | EA |  | CONNECTOR;6MM X 3/8,S/S,FEM | CONECTOR; | CONNECTOR;SIZE:6MM X 3/8,MATERIAL:S/S,ADDITIONAL FEATURES EN:FEMALE | CONECTOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | 1563447 | [14 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | 1563447 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | 6 MMX3/8 IN | CONNECTION TYPE | FEMALE | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1049533 | 1049533 |  |  |  | ERSA | M | 4090 | 1563448GZPCLNT100 | EA |  | CONNECTOR;6MM X 1/8,S/S,FEM | CONECTOR; | CONNECTOR;SIZE:6MM X 1/8,MATERIAL:S/S,ADDITIONAL FEATURES EN:FEMALE | CONECTOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | 1563448 | [14 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | 1563448 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | 6 MMX1/8 IN | CONNECTION TYPE | FEMALE | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1049534 | 1049534 |  |  |  | ERSA | M | 4090 | 1563449GZPCLNT100 | EA |  | CONNECTOR;6MM X 1/4,S/S,FEM | CONECTOR; | CONNECTOR;SIZE:6MM X 1/4,MATERIAL:S/S,ADDITIONAL FEATURES EN:FEMALE | CONECTOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | 1563449 | [14 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | 1563449 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | 6 MMX1/4 IN | CONNECTION TYPE | FEMALE | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1071006 | 1071006 | 1453735 | AU_QM_001215888 |  | ERSA | M | 1600 | 1453735GZPCLNT100 | EA | 3000012 | CONNECTOR;TOY,9098011964 | CONNECTOR;TOY,9098011964 | CONNECTOR;MNFR:TOYOTA,PTNO:9098011964 |  | CONNECTOR,PLUG,ELEC:ALTERNATOR PLUG; | TOYOTA | 9098011964 | 1071809 @@ ASHDOWN ENTERPRISES | 90980-11964 | 1068087 @@ ASHDOWN INGRAM | 90980-11964 | 1068219 @@ VIVA ENERGY AUSTRALIA PTY LTD | 9098011964 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 9098011964 | [6 empty] | TOYOTA | 90980-11964 | ASHDOWN ENTERPRISES |  | ASHDOWN INGRAM |  | VIVA ENERGY AUSTRALIA PTY LTD |  | BELL & MOIR - PARTS ORDERS ONLY | [9 empty] | https://www.toyotapartsdeal.com/oem/toyota~housing~connector~f~90980-11964.html | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | CONNECTION TYPE:FEMALE | CONNECTOR | ELECTRICAL | TYPE | ALTERNATOR PLUG,HOUSING | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1073805 | 1073805 | 1093757 | AU_QM_000996018 |  | ERSA | M | 3730 | 1093757GZPCLNT100 | EA | 3000003 | CAGE,BRG;CAT,2379849,TYP 1 | RODAMIENTO JAULA;CAT,2379849,TIPO 1 | CAGE,BEARING;MNFR:CATERPILLAR,PTNO:2379849,ADDITIONAL FEATURES EN:TYPE 1 | RODAMIENTO JAULA;MNFR:CATERPILLAR,PTNO:2379849,CARACTERISTICAS ADICIONALES ES:TIPO 1 | RETAINER,ROLLER,BEARING:CAT TRANSMISSION BEARING CAGE; | CATERPILLAR | 2379849 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2379849 | [12 empty] | CATERPILLAR | 237-9849 | HASTINGS DEERING(AUSTRALIA) LTD | 2379849 | [14 empty] | https://parts.cat.com/en/catcorp/237-9849 | [9 empty] | ENRICHED | 31171518 Bearing cage | TYPE 1,RETAINER,CAT TRANSMISSION |  | CAGE | BEARING | BEARING TYPE | ROLLER | INSIDE DIAMETER | 130 MM | OUTSIDE DIAMETER | 216 MM | HEIGHT | 89 MM | MATERIAL | Cast iron | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1077009 | 1077009 | 1220035 | AU_QM_001292333 |  | ERSA | M | 3730 | 1220035GZPCLNT100 | EA | 3000003 | CAGE;CAT,2111296,CARTER | CAGE;CAT,2111296,CARTER | CAGE;MNFR:CATERPILLAR,PTNO:2111296,ADDITIONAL FEATURES EN:CARTER |  | HOUSING,BEARING:BEARING CAGE (LOWER) | CATERPILLAR | 2111296 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2111296 | [12 empty] | CATERPILLAR | 211-1296 | HASTINGS DEERING(AUSTRALIA) LTD | 2111296 | [14 empty] | https://parts.cat.com/en/catcorp/211-1296 | [9 empty] | CLEANSED | 31171518 Bearing cage | CARTER,LOWER |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1077139 | 1077139 | 1215026 | AU_QM_001292317 |  | ERSA | M | 5620 | 1215026GZPCLNT100 | EA | 3000003 | CAGE,BRG;CAT,2030459,ROLNG | CAGE,BRG;CAT,2030459,ROLNG | CAGE,BEARING;MNFR:CATERPILLAR,PTNO:2030459,ADDITIONAL FEATURES EN:ROLLING |  | BEARING,ROLLER,SPHERICAL: BEARING CAGE | CATERPILLAR | 2030459 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2030459 | [12 empty] | CATERPILLAR | 203-0459 | HASTINGS DEERING(AUSTRALIA) LTD | 2030459 | [14 empty] | https://parts.cat.com/en/catcorp/203-0459 | [9 empty] | CLEANSED | 31171518 Bearing cage |  |  | CAGE | BEARING | BEARING TYPE | ROLLER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE | SPHERICAL | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1077533 | 1077533 | 1197782 | AU_QM_001292325 |  | ERSA | M | 3730 | 1197782GZPCLNT100 | EA | 3000003 | CAGE;CAT,2111295,CARTER | CAGE;CAT,2111295,CARTER | CAGE;MNFR:CATERPILLAR,PTNO:2111295,ADDITIONAL FEATURES EN:CARTER |  | HOUSING,BEARING:BEARING CAGE (CENTRE) | CATERPILLAR | 2111295 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2111295 | [12 empty] | CATERPILLAR | 211-1295 | HASTINGS DEERING(AUSTRALIA) LTD | 2111295 | [14 empty] | https://parts.cat.com/en/catcorp/211-1295 | [9 empty] | CLEANSED | 31171518 Bearing cage | CARTER,CENTRE |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1081113 | 1081113 | 1349886 | AU_QM_000131704 |  | ERSA | M | 1600 | 1349886GZPCLNT100 | EA | 3000030 | CONNECTOR;OUT,3884176L | CONNECTOR;OUT,3884176L | CONNECTOR;MNFR:OUTOTEC,PTNO:3884176L |  | CONNECTOR:MULTIPLEXER INLET CONNECTOR;;OSA;;COURIE | OUTOTEC | 3884176L | 1068243 @@ OUTOTEC PTY LTD | 3884176L | [14 empty] | OUTOTEC | 3884176L | OUTOTEC PTY LTD | 3884176L | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | OSA,COURIE |  | CONNECTOR | NO MODIFIER | TYPE | MULTIPLEXER INLET | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1084471 | 1084471 |  |  |  | ERSA | M | 1600 | 1578936GZPCLNT100 | EA | 3000422 | CONNECTOR,D-SUB;CNW,PHO2708245,PROFIBUS | CONECTOR D-SUB;CNW,PHO2708245 | CONNECTOR,D-SUB;MNFR:CNW,PTNO:PHO2708245,ADDITIONAL FEATURES EN:PROFIBUS,PHOENIX CONTACT SUBCON-PLUS-PROFIB/PG/SC2 | CONECTOR D-SUB;MNFR:CNW,PTNO:PHO2708245 |  | CNW | PHO2708245 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO2708245 | [12 empty] | PHOENIX CONTACT | 2708245 | CNW |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.phoenixcontact.com/en-in/products/data-plug-subcon-plus-profibpgsc2-2708245 | https://www.mouser.in/ProductDetail/Phoenix-Contact/2708245?qs=HMBjIV1xS%252B9%2FWKqcPx6jNA%3D%3D | [8 empty] | ENRICHED | 31163100 Connectors | model:SUBCON-PLUS-PROFIB/PG/SC2 |  | CONNECTOR | D-SUB | TYPE | PROFIBUS,DATA PLUG | NUMBER OF PINS | 9 | CONNECTION TYPE | socket | END CONNECTION | SCREW | CONFIGURATION |  | INPUT RATING | 5 V,100 Ma | CONTACT MATERIAL | Copper | RESISTANCE |  | HOUSING MATERIAL | metal-plated ABS | OPERATING TEMPERATURE | -20 to 75 deg c | HAZARD CLASS | IP40 | CERTIFICATION/STANDARD | EAC,ISA-S71.04-1985 G3 Harsh Group A | [48 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1084910 | 1084910 |  |  |  | ERSA | M | 3770 | 1616244GZPCLNT100 | EA | 3000006 | CONNECTOR;KOM,6251-11-5510 | CONECTOR;KOM,6251-11-5510 | CONNECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:6251-11-5510 | CONECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:6251-11-5510 |  | KOMATSU MINING SYSTEMS INC. | 6251-11-5510 | 1068287 @@ KOMATSU AUSTRALIA PTY LTD | 6251-11-5510 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 6251-11-5510 | KOMATSU AUSTRALIA PTY LTD | [15 empty] | https://k-part.777parts.org/spare/komatsu/6251-11-5510/ | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1085719 | 1085719 |  |  |  | ERSA | M | 3730 | 1582942GZPCLNT100 | EA | 3000003 | BUMPER;CAT,106-6552 | PARACHOQUES;CAT,106-6552 | BUMPER;MNFR:CATERPILLAR,PTNO:106-6552 | PARACHOQUES;MNFR:CATERPILLAR,PTNO:106-6552 |  | CATERPILLAR | 106-6552 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1066553 | [12 empty] | CATERPILLAR | 106-6552 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/106-6552 | [9 empty] | ENRICHED | 40141700 Hardware and fittings | C/W Eye Bearing |  | ROD | NO MODIFIER | TYPE | Hydraulic | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1087896 | 1087896 |  |  |  | ERSA | M | 5810 | 1605333GZPCLNT100 | EA | 3000011 | CONNECTOR;TER,827-2818,M,7/8 IN,9A,250V | CONECTOR;TER,827-2818 | CONNECTOR;MNFR:TEREX,PTNO:827-2818,ADDITIONAL FEATURES EN:MALE,7/8 IN,9A,250V,NO OF CONTACT:5,TERMINATION METHOD:SCREW,ENCLOSURE RATING:IP65,IP67,HOUSING MATERIAL:POLYMER,SERIES:7000,TEMPERATURE RATING:-25 TO 85 D,FOR TEE PIECE,PT NO:14.85.1035 | CONECTOR;MNFR:TEREX,PTNO:827-2818 |  | TEREX | 827-2818 | 1068354 @@ FINLAY SCREENING & CRUSHING | 827-2818 | [11 empty] | 14.85.1035 | Murrelektronik LIMITED | 7000-78081-0000000 | TEREX | 827-2818 | FINLAY SCREENING & CRUSHING | 827-2818 | [12 empty] | https://nz.rs-online.com/web/p/industrial-circular-connectors/8272818 | [9 empty] | ENRICHED | 39121413 Circular connectors | TEMPERATURE RATING:-25 TO 85 DEG,SERIES:7000,TERMINATION METHOD:SCREW,FOR TEE PIECE |  | CONNECTOR | CIRCULAR | TYPE | PLUG | CONNECTION TYPE | Male | CONDUCTOR SIZE | 1.5 SQ mm | ELECTRICAL RATING | 250 Vac/dc,9 A | NUMBER OF PINS | 5 | SIZE | 7/8 IN | MATERIAL | Polymer | INSULATION MATERIAL |  | ANGLE | Straight | STUD/BOLT SIZE |  | HAZARD CLASS | IP65,67 | CERTIFICATION/STANDARD | EN60529 | [48 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1103708 | 1103708 |  |  |  | ERSA | M | 1600 | 1570492GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW,PHO1440025,5-POSN,PLUG | CONECTOR CABLE;CNW,PHO1440025 | CONNECTOR,CABLE;MNFR:CNW,PTNO:PHO1440025,ADDITIONAL FEATURES EN:5-POSN,PLUG STRAIGHT M12 | CONECTOR CABLE;MNFR:CNW,PTNO:PHO1440025 |  | CNW | PHO1440025 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO1440025 | [12 empty] | PHOENIX CONTACT | 1440025 | CNW |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.phoenixcontact.com/en-in/products/circular-connector-cable-side-sacc-m12ms-5con-dm-5-8-sh-va-1440025 | https://www.mouser.in/ProductDetail/Phoenix-Contact/1440025?qs=IGPQaF7TU6v8bLro9U5cXg%3D%3D | [8 empty] | ENRICHED | 39121413 Circular connectors |  |  | CONNECTOR | CIRCULAR | TYPE | shielded | CONNECTION TYPE | Plug | CONDUCTOR SIZE |  | ELECTRICAL RATING | 48/60 VAC/DC,4 A | NUMBER OF PINS | 5 | SIZE | 5.5 to 8.6 odx62 lg mm | MATERIAL | Stainless steel 1.4404 | INSULATION MATERIAL |  | ANGLE | straight | STUD/BOLT SIZE | M12 | HAZARD CLASS | IP65,IP67,IP69K | CERTIFICATION/STANDARD | IEC 61076-2-101 | [48 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-19 |  | 1103709 | 1103709 |  |  |  | ERSA | M | 1600 | 1570491GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW,PHO1424682,DATA,CAT5,1 | CONECTOR CABLE;CNW,PHO1424682 | CONNECTOR,CABLE;MNFR:CNW,PTNO:PHO1424682,ADDITIONAL FEATURES EN:DATA,CAT5,100 MBPS,4-POSN,PLUG STRAIGHT M12 | CONECTOR CABLE;MNFR:CNW,PTNO:PHO1424682 |  | CNW | PHO1424682 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO1424682 | [12 empty] | PHOENIX CONTACT | 1424682 | CNW |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.phoenixcontact.com/en-in/products/circular-connector-cable-side-sacc-m12msd-4pl-sh-pn-1424682 | https://www.mouser.in/ProductDetail/Phoenix-Contact/1424682?qs=gt1LBUVyoHm%2FFMKxftrWDA%3D%3D | [8 empty] | ENRICHED | 39121413 Circular connectors | SERIESPROFINET CAT5 |  | CONNECTOR | CIRCULAR | TYPE | shielded | CONNECTION TYPE | Plug | CONDUCTOR SIZE |  | ELECTRICAL RATING | 48/60 VAC/DC,4 A | NUMBER OF PINS | 4 | SIZE | 4 to 8 odx60 lg mm | MATERIAL | TPE-U | INSULATION MATERIAL |  | ANGLE | straight | STUD/BOLT SIZE | M12 | HAZARD CLASS | IP65,IP67 | CERTIFICATION/STANDARD | IEC 61076-2-101,EN 50155:2001 | [48 empty] | production completed