## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1116468 | 1116468 | 1348590 | AU_QM_000013839 |  | ERSA | M | 1600 | 1348590GZPCLNT100 | EA |  | BLOCK,CONT;1NC,10 A,(1) HOLE,CUTLERHM | BLOCK,CONT;1NC,10 A,(1) HOLE,CUTLERHM | BLOCK,CONTACT;CONTACT CONFIGURATION:1NC,CURRENT RATING:10 A,MOUNTING TYPE:(1) HOLE,ADDITIONAL FEATURES EN:ASSY,ELEC: STD AUX, E34 AN |  | CONTACT ASSY,ELEC:1NC;1 HOLE MTG;STD.AUX.CONTACT BLOCK; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121522 Electrical contacts | MODEL:E34 AN |  | BLOCK | CONTACT | TYPE | STANDARD AUXILIARY | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 10 A | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE | (1) HOLE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1111342 | 1111342 | 1410780 | AU_QM_000256095 |  | ERSA | M | 5915 | 1410780GZPCLNT100 | EA |  | BLOCK,CONT;4C.106353 | BLOCK,CONT;4C.106353 | BLOCK,CONT;MNFR: ,PTNO:4C.106353 |  | BLOCK,CONT;4C.106353BLOCK,CONT;4C.106353 | [15 empty] | 4C.106353 |  | 4C.106353 | [16 empty] | https://www.volza.com/p/boomlift/import/import-in-india/hsn-code-8431/ | [9 empty] | Cleansed | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1017063 | 1017063 |  |  |  | ERSA | M | 1600 | 1044405GZPCLNT100 | EA | 3000226 | BLOCK,CONT;AB,800TC-XA,1 NO-1 NC | BLOQUE CONTACT;AB,800TC-XA,1 NO-1 NC | BLOCK,CONTACT;MNFR:ALLEN BRADLEY,PTNO:800TC-XA,CONTACT CONFIGURATION:1 NO-1 NC,CURRENT RATING:1.73/0.31 A,VOLTAGE RATING:600 VAC/DC,CERTIFICATION/STANDARD:CCC,CE,CSA,UL,ADDITIONAL FEATURES EN:EMERGENCY STOP | BLOQUE CONTACTOS;MNFR:ALLEN BRADLEY,PTNO:800TC-XA,CONFIGURACION CONTACTO:1 NO-1 NC,CORRIENTE NOMINAL:1.73/0.31 A,VOLTAJE:600 VAC/DC |  | ALLEN BRADLEY | 800TC-XA | [14 empty] | ALLEN BRADLEY | 800TC-XA | [16 empty] | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/800-td009_-en-p.pdf | https://www.rockwellautomation.com/en-us/products/details.800TC-XA.html | [8 empty] | Enriched | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE | EMERGENCY STOP | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING | 1.73/0.31 A | VOLTAGE RATING | 600 VAC/DC | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CSA,UL | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1206286 | 1206286 |  |  |  | ERSA | M | 4090 | 271840MRM | EA |  | BLOCK:108S GRAPHILOR XBS; ITEM 03 | BLOCK:108S GRAPHILOR XBS; ITEM 03 | BLOCK:108S GRAPHILOR XBS; ITEM 03 | [36 empty] | URL NOT FOUND |  | 03 | [7 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | 108S GRAPHILOR XBS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1211884 | 1211884 |  |  |  | ERSA | M | 5920 | 166806MRM | PAA |  | BLOCK:DART SHAFT GUIDE OK16 OUTOTEC FLOA | BLOCK:DART SHAFT GUIDE OK16 OUTOTEC FLOA | BLOCK:DART SHAFT GUIDE OK16 OUTOTEC FLOAT CELLLOWER GUIDE BLOCK 54MM BORE HORIZONTALFIXING | [36 empty] | URL NOT FOUND |  |  | FLOAT CELL | OUTOTEC | OK16 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | MOUNTING TYPE:HORIZONTAL FIXING,DART SHAFT GUIDE |  | BLOCK | NO MODIFIER | TYPE | LOWER GUIDE | SIZE | 54 MM BORE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1215975 | 1215975 |  |  |  | ERSA | M | 4090 | 1311174MRM | EA |  | BLOCK:GUIDE BLOCK;LPP-T80 INTERNAL PLAST | BLOCK:GUIDE BLOCK;LPP-T80 INTERNAL PLAST | BLOCK:GUIDE BLOCK;LPP-T80 INTERNAL PLASTIC;HOSE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR LPP-T80 INTERNAL PLASTIC HOSE |  | BLOCK | NO MODIFIER | TYPE | GUIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1218310 | 1218310 |  |  |  | ERSA | M | 3300 | 270562MRM | EA |  | BLOCK:SHEAR;STANDARD;996 | BLOCK:SHEAR;STANDARD;996 | BLOCK:SHEAR;STANDARD;996 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | STANDARD,REF:996 |  | BLOCK | NO MODIFIER | TYPE | SHEAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1213650 | 1213650 |  |  |  | ERSA | M | 3300 | 171086MRM | EA |  | BLOCK:THRUST BLOCK; TBB; STEEL ALLOY; SQ | BLOCK:THRUST BLOCK; TBB; STEEL ALLOY; SQ | BLOCK:THRUST BLOCK; TBB; STEEL ALLOY; SQUARE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | TBB |  | BLOCK | NO MODIFIER | TYPE | SQUARE,THRUST | SIZE |  | MATERIAL | ALLOY STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1206969 | 1206969 |  |  |  | ERSA | M | 5920 | 132680MRM | EA |  | BLOCK:WEDGE PAIR;HYDRAULIC WEDGE ADJUSTM | BLOCK:WEDGE PAIR;HYDRAULIC WEDGE ADJUSTM | BLOCK:WEDGE PAIR;HYDRAULIC WEDGE ADJUSTMENT;C160 JAW CRUSHER; | [36 empty] | URL NOT FOUND |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | WEDGE PAIR,HYDRAULIC WEDGE ADJUSTMENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1154589 | 1154589 |  |  |  | ERSA | M | 5920 | 1509220GZPCLNT100 | EA |  | BLOCK; RECEPTACLE MOUNTI,SVP-P-30203-001 | BLOCK; RECEPTACLE MOUNTI,SVP-P-30203-001 | BLOCK;ADDITIONAL FEATURES: RECEPTACLE MOUNTI,SVP-P-30203-001 | [17 empty] | SVP-P-30203-001 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | RECEPTACLE MOUNT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1185483 | 1185483 |  |  |  | ERSA | M | 1600 | 1557122GZPCLNT100 | EA | 3000413 | BLOCK;ALST,MMLG04R1AB0001E,BUSBAR PROTEC | BLOQUE;ALST,MMLG04R1AB0001E | BLOCK;MNFR:ALSTOM,PTNO:MMLG04R1AB0001E,ADDITIONAL FEATURES EN:BUSBAR PROTECTION SCHEMES | BLOQUE;MNFR:ALSTOM,PTNO:MMLG04R1AB0001E |  | ALSTOM | MMLG04R1AB0001E | [12 empty] | ALSTOM | MMLG04R1AB0001E | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121100 Distribution and control centers and accessories | FOR BUSBAR PROTECTION SCHEMES |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1024443 | 1024443 | 1381236 | AU_QM_000220829 |  | ERSA | M | 4300 | 1381236GZPCLNT100 | EA | 3000027 | BLOCK;MET,CLAMP BLOCK | BLOCK;MET,CLAMP BLOCK | BLOCK;MNFR:METSO,PTNO:CLAMP BLOCK |  | BLOCK;MET,CLAMP BLOCKBLOCK;MET,CLAMP BLOCK | METSO | CLAMP BLOCK | [12 empty] | METSO | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112100 Holding and clamping tools |  |  | BLOCK | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1028389 | 1028389 | 1372163 | AU_QM_000196611 |  | ERSA | M | 4300 | 1372163GZPCLNT100 | EA | 3000030 | BLOCK;OUT,S.T.RL.UG.L | BLOCK;OUT,S.T.RL.UG.L | BLOCK;MNFR:OUTOTEC,PTNO:S.T.RL.UG.L |  | BLOCK;OUT,S.T.RL.UG.LBLOCK;OUT,S.T.RL.UG.L | OUTOTEC | S.T.RL.UG.L | [12 empty] | OUTOTEC | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | S.T.RL.UG.L |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1146592 | 1146592 |  |  |  | ERSA | M | 1600 | 1523988GZPCLNT100 | EA |  | BLOCK;PILLOW,BEARING DB-200H,H,435553-02 | BLOCK;PILLOW,BEARING DB-200H,H,435553-02 | BLOCK;ADDITIONAL FEATURES:PILLOW,BEARING DB-200H,H,435553-02 | [18 empty] | Hoshizaki | 435553-02 | [16 empty] | http://www.hoshizaki.com/docs/manuals/DB-200H_pts.pdf |  |  |  |  | DB-200H |  |  |  |  | Cleansed | 31171511 Pillow block bearings |  |  | BEARING | PILLOW BLOCK | TYPE |  | INSIDE DIAMETER |  | CENTER HEIGHT |  | NUMBER OF BOLTS |  | MOUNTING HOLE/SLOT SIZE |  | BLOCK SIZE |  | BEARING TYPE |  | MATERIAL |  | SHAFT ATTACHMENT |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1154481 | 1154481 |  |  |  | ERSA | M | 5920 | 1509437GZPCLNT100 | EA |  | BLOCK;RECEPTACLE MOUNTING BLOCK,SVP-P-14 | BLOCK;RECEPTACLE MOUNTING BLOCK,SVP-P-14 | BLOCK;ADDITIONAL FEATURES:RECEPTACLE MOUNTING BLOCK,SVP-P-14 | [17 empty] | SVP-P-14 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | RECEPTACLE MOUNT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1028421 | 1028421 | 1372014 | AU_QM_000196449 |  | ERSA | M | 4300 | 1372014GZPCLNT100 | EA | 3000450 | BLOCK;TECH,1514002549580,TECH,1514002549 | BLOQUE;TECH,1514002549580, | BLOCK;MNFR:TECNICAS HIDRAULICAS,PTNO:1514002549580,ADDITIONAL FEATURES EN:TECH,1514002549580 | BLOQUE;MNFR:TECNICAS HIDRAULICAS,PTNO:1514002549580 | BLOCK;TECH,1514002549580,TECH,1514002549BLOCK;TEC,1514002549580 | TECNICAS HIDRAULICAS | 1514002549580 | [12 empty] | TECNICAS HIDRAULICAS | 1514002549580 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1028450 | 1028450 | 1371900 | AU_QM_000196324 |  | ERSA | M | 4300 | 1371900GZPCLNT100 | EA | 3000450 | BLOCK;TECH,L-23304/1,TECH,L-23304/1 | BLOQUE;TECH,L-23304/1, | BLOCK;MNFR:TECNICAS HIDRAULICAS,PTNO:L-23304/1,ADDITIONAL FEATURES EN:TECH,L-23304/1 | BLOQUE;MNFR:TECNICAS HIDRAULICAS,PTNO:L-23304/1 | BLOCK;TECH,L-23304/1,TECH,L-23304/1BLOCK;TEC,L-23304/1 | TECNICAS HIDRAULICAS | L-23304/1 | [12 empty] | TECNICAS HIDRAULICAS | L-23304/1 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1024296 | 1024296 | 1386448 | AU_QM_000227401 |  | ERSA | M | 4300 | 1386448GZPCLNT100 | EA | 3000012 | BLOCK;TOY,1140180060 | BLOCK;TOY,1140180060 | BLOCK;MNFR:TOYOTA,PTNO:1140180060 |  | BLOCK;TOY,1140180060BLOCK;BEL,1140180060 | TOYOTA | 1140180060 | [14 empty] | TOYOTA | 1140180060 | [16 empty] | https://toyota-vin.ru/part-1140180060 | [9 empty] | Cleansed | 26101905 Cylinder block |  |  | BLOCK | CYLINDER | TYPE |  | ENGINE MODEL |  | NUMBER OF CYLINDER |  | COOLING TYPE |  | MATERIAL |  | MOUNTING TYPE |  | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1024357 | 1024357 | 1384317 | AU_QM_000224871 |  | ERSA | M | 4300 | 1384317GZPCLNT100 | EA | 3000012 | BLOCK;TOY,PDNMG1268 | BLOCK;TOY,PDNMG1268 | BLOCK;MNFR:TOYOTA,PTNO:PDNMG1268 |  | BLOCK;TOY,PDNMG1268BLOCK;BEL,PDNMG1268 | TOYOTA | PDNMG1268 | [12 empty] | TOYOTA | PDNMG1268 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1004070 | 1004070 | 1349758 | AU_QM_000131472 |  | ERSA | M | 4300 | 1349758GZPCLNT100 | EA | 3000000 | BLOCK;ATL,5112 3109 20 | BLOCK;ATL,5112 3109 20 | BLOCK;MNFR:ATLAS COPCO,PTNO:5112 3109 20 |  | BLOCK: TRUNNION BLOCK;(UNI JOINT);CARRIER;ATLAS | ATLAS COPCO | 5112 3109 20 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112310920 | [12 empty] | ATLAS COPCO | 5112 3109 20 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://optimaparts.nethouse.ru/static/doc/0000/0000/0161/161102.j42bzn3ixj.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | UNI JOINT, CARRIER |  | BLOCK | NO MODIFIER | TYPE | TRUNNION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1004071 | 1004071 | 1349759 | AU_QM_000131473 |  | ERSA | M | 4300 | 1349759GZPCLNT100 | EA | 3000000 | BLOCK;ATL,3719 0000 27 | BLOCK;ATL,3719 0000 27 | BLOCK;MNFR:ATLAS COPCO,PTNO:3719 0000 27 |  | BLOCK: TRUNNION BLOCK;FEED FRAME;ATLAS COPCO MC | ATLAS COPCO | 3719 0000 27 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3719000027 | [12 empty] | ATLAS COPCO | 3719 0000 27 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.drillingspareparts.com/product-page/3719-0000-27-5 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FEED FRAME |  | BLOCK | NO MODIFIER | TYPE | TRUNNION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1005022 | 1005022 | 1349760 | AU_QM_000131475 |  | ERSA | M | 4300 | 1349760GZPCLNT100 | EA | 3000000 | BLOCK;ATL,3719 0000 28 | BLOCK;ATL,3719 0000 28 | BLOCK;MNFR:ATLAS COPCO,PTNO:3719 0000 28 |  | BLOCK: SLIDE BLOCK;CRADLE ASSY;ATLAS COPCO MCRU | ATLAS COPCO | 3719 0000 28 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3719000028 | [12 empty] | ATLAS COPCO | 3719 0000 28 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aircompressorstrade.com/epiroc-diamec-u6-diamec-232-cs14-ct20-atlas-copco-genuine-parts/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | CRADLE ASSEMBLY,MCRU |  | BLOCK | SLIDING | TYPE |  | SIZE |  | MATERIAL |  | EQUIPMENT MODEL |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1010973 | 1010973 |  |  |  | ERSA | M | 4090 | 1605054GZPCLNT100 | EA | 3000418 | BLOCK;BORT,601707,LWR | BLOQUE;BORT,601707 | BLOCK;MNFR:BOART LONGYEAR,PTNO:601707,ADDITIONAL FEATURES EN:LOWER | BLOQUE;MNFR:BOART LONGYEAR,PTNO:601707 |  | BOART LONGYEAR | 601707 | 1068617 @@ BOART LONGYEAR PTY LTD | 601707 | [10 empty] | BOART LONGYEAR PTY LTD | 601707 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | LOWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1010975 | 1010975 |  |  |  | ERSA | M | 4090 | 1605056GZPCLNT100 | EA | 3000418 | BLOCK;BORT,601705,UPR | BLOQUE;BORT,601705 | BLOCK;MNFR:BOART LONGYEAR,PTNO:601705,ADDITIONAL FEATURES EN:UPPER | BLOQUE;MNFR:BOART LONGYEAR,PTNO:601705 |  | BOART LONGYEAR | 601705 | 1068617 @@ BOART LONGYEAR PTY LTD | 601705 | [10 empty] | BOART LONGYEAR PTY LTD | 601705 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | UPPER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1011404 | 1011404 |  |  |  | ERSA | M | 4090 | 1588768GZPCLNT100 | EA | 3000418 | BLOCK;BORT,89729,TRAVLNG | BLOQUE;BORT,89729 | BLOCK;MNFR:BOART LONGYEAR,PTNO:89729,ADDITIONAL FEATURES EN:TRAVELLING | BLOQUE;MNFR:BOART LONGYEAR,PTNO:89729 |  | BOART LONGYEAR | 89729 | 1068617 @@ BOART LONGYEAR PTY LTD | 89729 | [10 empty] | BOART LONGYEAR PTY LTD | 89729 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | TRAVELLING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1013088 | 1013088 | 1455657 | AU_QM_001259282 |  | ERSA | M | 4300 | 1455657GZPCLNT100 | EA | 3000000 | BLOCK;ATL,3115304581 | BLOCK;ATL,3115304581 | BLOCK;MNFR:ATLAS COPCO,PTNO:3115304581 |  | FLUSHING BLOCK,HYDRAULIC SYSTEM;FLUSHINGHEAD;FRONT HEAD SUB ASSY;S | ATLAS COPCO | 3115304581 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3115304581 | [12 empty] | ATLAS COPCO | 3115304581 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/3115304581_flush-head-comp/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR HYDRAULIC SYSTEM,FRONT HEAD SUB ASSEMBLY |  | HEAD | NO MODIFIER | TYPE | FLUSH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1025009 | 1025009 | 1463647 | AU_QM_005058004 |  | ERSA | M | 4300 | 1463647GZPCLNT100 | EA | 3000000 | BLOCK;ATL,3115207800 | BLOCK;ATL,3115207800 | BLOCK;MNFR:ATLAS COPCO,PTNO:3115207800 |  | FLUSHING BLOCK,HYDRAULIC SYSTEM;1238 DRIFTER FLUSHING HEAD; | ATLAS COPCO | 3115207800 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3115207800 | [12 empty] | ATLAS COPCO | 3115207800 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/3115207800_flushing-head/ |  |  | DRIFTER |  | 1238 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | FOR HYDRAULIC SYSTEM |  | HEAD | NO MODIFIER | TYPE | FLUSH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1025019 | 1025019 | 1451488 | AU_QM_001155654 |  | ERSA | M | 4300 | 1451488GZPCLNT100 | EA | 3000012 | BLOCK;TOY,8267090K01 | BLOCK;TOY,8267090K01 | BLOCK;MNFR:TOYOTA,PTNO:8267090K01 |  | BLOCK ASSY; FUSEABLE;JUNCTION NO1; | TOYOTA | 8267090K01 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8267090K01 | 1071809 @@ ASHDOWN ENTERPRISES | 82670-90K01 | [10 empty] | TOYOTA | 82670-90K01 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN ENTERPRISES | [13 empty] | https://toyotadxb.com/spare-parts/toyota/block-8267090k01/ | https://goodstate.com.au/parts/84589968a7de6441d6fc52475d4fbfda | [8 empty] | Cleansed | 39121629 Fuse block | JUNCTION NO1,ASSEMBLY |  | BLOCK | FUSE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | FUSE TYPE |  | FUSE SIZE |  | NUMBER OF FUSES |  | MATERIAL |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1028315 | 1028315 |  |  |  | ERSA | M | 4300 | 1372953GZPCLNT100 | EA | 3000000 | BLOCK;ATL,3217 0004 96 | BLOCK;ATL,3217 0004 96 | BLOCK;MNFR:ATLAS COPCO,PTNO:3217 0004 96 |  |  | ATLAS COPCO | 3217 0004 96 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3217000496 | [12 empty] | ATLAS COPCO | 3217000496 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/3217000496_contact-bloc/ | [9 empty] | Cleansed | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1030127 | 1030127 | 1351333 | AU_QM_000135772 |  | ERSA | M | 4300 | 1351333GZPCLNT100 | EA | 3000000 | BLOCK;ATL,5590000987 | BLOCK;ATL,5590000987 | BLOCK;MNFR:ATLAS COPCO,PTNO:5590000987 |  | BLOCK,SUSPENSION; AXLE STOP;FRONT;URETHANE;;MT6020 HAUL TR | ATLAS COPCO | 5590000987 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5590000987 | [12 empty] | ATLAS COPCO | 5590000987 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/5590000987_stop/ | https://truckpartsworld.net/product/as11000-axle-stop/ |  | HAUL TRUCK |  | MT6020 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | FRONT,URETHANE |  | STOP | NO MODIFIER | TYPE | AXLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1030146 | 1030146 | 1358724 | AU_QM_000154145 |  | ERSA | M | 4300 | 1358724GZPCLNT100 | EA | 3000012 | BLOCK;TOY,8262060080 | BLOCK;TOY,8262060080 | BLOCK;MNFR:TOYOTA,PTNO:8262060080 |  | BLOCK: FUSE BLOCK ASSEMBLY; FUSE BOX LINK; VDJ7 | TOYOTA | 8262060080 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8262060080 | [12 empty] | TOYOTA | 8262060080 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://autoparts.toyota.com/products/product/block-assy-fusible-link-8262060080 |  |  |  |  | VDJ7 |  |  |  |  | Cleansed | 39121629 Fuse block | ASSEMBLY, FUSE BOX LINK |  | BLOCK | FUSE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | FUSE TYPE |  | FUSE SIZE |  | NUMBER OF FUSES |  | MATERIAL |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1030775 | 1030775 | 1373928 | AU_QM_000202792 |  | ERSA | M | 4300 | 1373928GZPCLNT100 | EA | 3000000 | BLOCK;ATL,5112239684 | BLOCK;ATL,5112239684 | BLOCK;MNFR:ATLAS COPCO,PTNO:5112239684 |  | BLOCK;ATL,5112239684BLOCK;ATL,5112239684 | ATLAS COPCO | 5112239684 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112239684 | [12 empty] | ATLAS COPCO | 5112239684 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/5112239684_trunnion-block/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | TRUNNION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1074075 | 1074075 | 1166302 | AU_QM_000994109 |  | ERSA | M | 3750 | 1166302GZPCLNT100 | EA | 3000000 | BLOCK,CONT;ATL,3217001073 | BLOQUE CONTACT;ATL,3217001073 | BLOCK,CONTACT;MNFR:ATLAS COPCO,PTNO:3217001073 | BLOQUE CONTACTOS;MNFR:ATLAS COPCO,PTNO:3217001073 | CONNECTOR ASSY,ELEC:H254 CONNECTOR; | ATLAS COPCO | 3217001073 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3217001073 | [12 empty] | ATLAS COPCO | 3217001073 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/3217001073_contact-block-zbe101/ | [9 empty] | Cleansed | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1075248 | 1075248 | 1048596 | AU_QM_001164730 |  | ERSA | M | 5915 | 1048596GZPCLNT100 | EA | 3000012 | BLOCK;TOY,48061-60050,SSPNSN,SLENT | BLOCK;TOY,48061-60050,SSPNSN,SLENT | BLOCK;MNFR:TOYOTA,PTNO:48061-60050,ADDITIONAL FEATURES EN:SUSPENSION,SILENT |  | BUSH:RADIUS ROD BUSH; | TOYOTA | 48061-60050 | 1071809 @@ ASHDOWN ENTERPRISES | 4806160050 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4806160050 | [10 empty] | TOYOTA | 48061-60050 | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://toyotadxb.com/spare-parts/toyota/bush-sub-assy-lwr-4806160050/ | [9 empty] | Cleansed | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE | LOWER,RADIUS ROD | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1075249 | 1075249 | 1048595 | AU_QM_001036300 |  | ERSA | M | 5915 | 1048595GZPCLNT100 | EA | 3000012 | BLOCK;TOY,48702-60050,SSPNSN,SLENT | BLOCK;TOY,48702-60050,SSPNSN,SLENT | BLOCK;MNFR:TOYOTA,PTNO:48702-60050,ADDITIONAL FEATURES EN:SUSPENSION,SILENT |  | BUSHING:BUSH SUB ASSY | TOYOTA | 48702-60050 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4870260050 | 1071809 @@ ASHDOWN ENTERPRISES | 4870260050 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4870260050 | [8 empty] | TOYOTA | 48702-60050 | HASTINGS DEERING(AUSTRALIA) LTD |  | ASHDOWN ENTERPRISES |  | BELL & MOIR - PARTS ORDERS ONLY | [11 empty] | https://toyotaparts.ourismantoyotaofrichmond.com/oem-parts/toyota-suspension-control-arm-bushing-4870260050 | [9 empty] | Cleansed | 31171600 Bushings | SUB ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | SUSPENSION CONTROL ARM,SILENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1082094 | 1082094 |  |  |  | ERSA | M | 3750 | 1587202GZPCLNT100 | EA | 3000418 | BLOCK;BORT,5306082,SENSOR MOUNT,WIRELINE | BLOQUE;BORT,5306082 | BLOCK;MNFR:BOART LONGYEAR,PTNO:5306082,ADDITIONAL FEATURES EN:SENSOR MOUNT,WIRELINE | BLOQUE;MNFR:BOART LONGYEAR,PTNO:5306082 |  | BOART LONGYEAR | 5306082 | 1068617 @@ BOART LONGYEAR PTY LTD | 5306082 | [10 empty] | BOART LONGYEAR PTY LTD | 5306082 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | SENSOR MOUNT,WIRELINE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1087056 | 1087056 |  |  |  | ERSA | M | 3750 | 1555511GZPCLNT100 | EA | 3000418 | BLOCK;BORT,601174,ADJ,CRG | BLOQUE;BORT,601174 | BLOCK;MNFR:BOART LONGYEAR,PTNO:601174,ADDITIONAL FEATURES EN:ADJ,CARRIAGE | BLOQUE;MNFR:BOART LONGYEAR,PTNO:601174 |  | BOART LONGYEAR | 601174 | 1069364 @@ BOART LONGYEAR | 601174 | 1068617 @@ BOART LONGYEAR PTY LTD | 1555511 | [8 empty] | BOART LONGYEAR PTY LTD | 601174 |  |  | BOART LONGYEAR PTY LTD | 1555511 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | ADJUSTING,CARRIAGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1102986 | 1102986 |  |  |  | ERSA | M | 5915 | 1529533GZPCLNT100 | EA |  | BLOCK;SNATCH.ULTRA LIGHT.9000KG,10100020 | BLOCK;SNATCH.ULTRA LIGHT.9000KG,10100020 | BLOCK;ADDITIONAL FEATURES:SNATCH.ULTRA LIGHT.9000KG,10100020 |  |  |  |  | 1068404 @@ ATLAS 4 X 4 ACCESSORIES | 10100020 | [12 empty] | ATLAS 4 X 4 ACCESSORIES | 10100020 | [16 empty] | https://offroadandmore.com/products/ome-10100020-snatch-block-ultra-light-9000kg-10100020 | https://offroadandmore.com/products/ome-10100020-snatch-block-ultra-light-9000kg-10100020 | [8 empty] | Cleansed | 24101600 Lifting equipment and accessories |  |  | BLOCK | HOIST | TYPE | ULTRA LIGHT SNATCH | LOAD CAPACITY | 9 TON | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1104278 | 1104278 |  |  |  | ERSA | M | 1600 | 1495439GZPCLNT100 | EA |  | BLOCK;RETAINING,EZI WALL,18742 | BLOCK;RETAINING,EZI WALL,18742 | BLOCK;ADDITIONAL FEATURES:RETAINING,EZI WALL,18742 |  |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1495439 | [10 empty] | BUNNINGS WAREHOUSE MT ISA | 1495439 |  |  | BUNNINGS WAREHOUSE MT ISA | 1495439 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | EZI WALL,18742 |  | BLOCK | NO MODIFIER | TYPE | RETAINING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1104826 | 1104826 |  |  |  | ERSA | M | 5100 | 1517145GZPCLNT100 | EA |  | BLOCK;RUBBERLEVEL,PLE1103 | BLOCK;RUBBERLEVEL,PLE1103 | BLOCK;ADDITIONAL FEATURES:RUBBERLEVEL,PLE1103 |  |  |  |  | 1068869 @@ REFPRO PTY LTD | PLE1103 | [10 empty] | REFPRO PTY LTD | PLE1103 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | LEVEL | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1104950 | 1104950 |  |  |  | ERSA | M | 1600 | 1535806GZPCLNT100 | EA |  | BLOCK;ASSY,COPPER MONITOR,MCM-M03-SA003 | BLOCK;ASSY,COPPER MONITOR,MCM-M03-SA003 | [5 empty] | 1068086 @@ MIPAC PTY LTD - AUD | 1535806 | [11 empty] | MCM-M03-SA003 |  |  | MIPAC PTY LTD - AUD | 1535806 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | BLOCK | NO MODIFIER | TYPE | COPPER MONITOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1105251 | 1105251 | 1474418 | AU_QM_000162504 |  | ERSA | M | 1600 | 1474418GZPCLNT100 | EA |  | CONTACT BLOCK.1NO (E34 & T RANGE) | CONTACT BLOCK.1NO (E34 & T RANGE) |  |  | CONTACT ASSY,ELEC:CONTACT BLOCK.1NO (E34 & T RANGE) |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 91000T53P | [12 empty] | EATON | 91000T53P | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | http://web.eaton.com/content/dam/eaton/products/product-stewardship/eaton-reach-svhc.pdf | https://chaloncomponents.co.uk/product/eaton-cutler-hammer-91000t53p-contact-block-1no/ | [8 empty] | Cleansed | 39121522 Electrical contacts | ASSEMBLY,E34 & T RANGE |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1115577 | 1115577 |  |  |  | ERSA | M | 4700 | 1349583GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,BEND SECT | BLOCK;FURNACE JACKET,CU,BEND SECT | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:BEND SECT |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 145-C6-1898/ ,MK.5 | [10 empty] | CENTURY ENGINEERING PTY LTD | 145-C6-1898 MK.5 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,BEND SECTION | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1115578 | 1115578 |  |  |  | ERSA | M | 4700 | 1349584GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,BEND SECT | BLOCK;FURNACE JACKET,CU,BEND SECT | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:BEND SECT |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 145-C6-1899/ ,MK.6 | [10 empty] | CENTURY ENGINEERING PTY LTD | 145-C6-1899 MK.6 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,BEND SECTION | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1115682 | 1115682 |  |  |  | ERSA | M | 4700 | 1352367GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,HEAD SEC | BLOCK;FURNACE JACKET,CU,HEAD SEC | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:HEAD SEC |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 145-C6-1924/ ,MK.12 | [10 empty] | CENTURY ENGINEERING PTY LTD | 145-C6-1924 MK.12 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,HEAD SECTION | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t CURRENT RATING | 1116358 | 1116358 |  |  |  | ERSA | M | 1600 | 1615545GZPCLNT100 | EA |  | BLOCK,TERM;PDU 2.5/4,24 A,800 V,4 MM2 | BLOQUE TERMINLS;24 A,800 V,4 MM2 | BLOCK,TERMINAL;TYPE:PDU 2.5/4,CURRENT RATING:24 A,VOLTAGE RATING:800 V,WIRE SIZE:4 MM2,MATERIAL:WEMID,ADDITIONAL FEATURES EN: WEIDMULLER | BLOQUE TERMINALES;CORRIENTE NOMINAL:24 A,VOLTAJE:800 V,TAMAÃ‘O HILOS:4 MM2 |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1896110000 | [12 empty] | WEIDMULLER | PDU 2.5/4 | WEIDMULLER | 1896110000 | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1896110000 | [9 empty] | Cleansed | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING | 32 A | VOLTAGE RATING | 800 V | WIRE SIZE | 4 MM2 | NUMBER OF CIRCUITS | 1 | TERMINAL TYPE | PUSH-IN | MATERIAL | WEMID | MOUNTING TYPE | TS 35 RAIL | SIZE | 5.1 WDX52 HTX38 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,ROHS,ATEX-KEMA,IECEX,UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1116364 | 1116364 |  |  |  | ERSA | M | 1600 | 1615551GZPCLNT100 | EA |  | BLOCK,TERM;ZDUB 2.5-2/4AN/DM,24 A,800 V | BLOQUE TERMINLS;24 A,800 V,2.5 MM2 | BLOCK,TERMINAL;TYPE:ZDUB 2.5-2/4AN/DM,CURRENT RATING:24 A,VOLTAGE RATING:800 V,WIRE SIZE:2.5 MM2,MATERIAL:WEMID,MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN:WEIDMULLER | BLOQUE TERMINALES;CORRIENTE NOMINAL:24 A,VOLTAJE:800 V,TAMAÃ‘O HILOS:2.5 MM2,TIPO MONTAJE:DIN RAIL |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1704540000 | [12 empty] | WEIDMULLER | ZDUB 2.5-2/4AN/DM | WEIDMULLER | 1704540000 | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1704540000 | [9 empty] | Enriched | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING | 24 A | VOLTAGE RATING | 800 V | WIRE SIZE | 2.5 MM2 | NUMBER OF CIRCUITS | 1 | TERMINAL TYPE | TENSION CLAMP | MATERIAL | WEMID | MOUNTING TYPE | DIN RAIL | SIZE | 10.2 WDX33.5 HTX24 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CSA,ATEX,IEC EX,ROHS,UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1116365 | 1116365 |  |  |  | ERSA | M | 1600 | 1615552GZPCLNT100 | EA |  | BLOCK,TERM;ZDUB 2.5-2/4AN/DB,24 A,800 V | BLOQUE TERMINLS;24 A,800 V,2.5 MM2 | BLOCK,TERMINAL;TYPE:ZDUB 2.5-2/4AN/DB,CURRENT RATING:24 A,VOLTAGE RATING:800 V,WIRE SIZE:2.5 MM2,TERMINAL TYPE:FEED-THROUGH, MATERIAL:WEMID | BLOQUE TERMINALES;CORRIENTE NOMINAL:24 A,VOLTAJE:800 V,TAMAÃ‘O HILOS:2.5 MM2,TIPO TERMINAL:DE PASO |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1704690000 | [12 empty] | WEIDMULLER | ZDUB 2.5-2/4AN/DB | WEIDMULLER | 1704690000 | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1704690000 | [9 empty] | Enriched | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING | 24 A | VOLTAGE RATING | 800 V | WIRE SIZE | 2.5 MM2 | NUMBER OF CIRCUITS | 1 | TERMINAL TYPE | TENSION CLAMP | MATERIAL | WEMID | MOUNTING TYPE | DIRECT | SIZE | 10.2 WDX33.5 HTX24 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CSA,ATEX,IEC EX,ROHS,UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1116367 | 1116367 |  |  |  | ERSA | M | 1600 | 1615555GZPCLNT100 | EA |  | BLOCK,TERM;WDU120/150,269 A,1000 V,WEMID | BLOQUE TERMINLS;,1000 V,DIN RAIL | BLOCK,TERMINAL;TYPE:WDU120/150,CURRENT RATING:269 A,VOLTAGE RATING:1000 V,WIRE SIZE:120 MM2,MATERIAL:WEMID,MOUNTING TYPE:DIN RAIL | BLOQUE TERMINALES;VOLTAJE:1000 V,TIPO MONTAJE:DIN RAIL |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1024500000 | [12 empty] | WEIDMULLER | WDU 120/150 | WEIDMULLER | 1024500000 | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1024500000 | [9 empty] | Enriched | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING | 269 A | VOLTAGE RATING | 1000 V | WIRE SIZE | 120 MM2 | NUMBER OF CIRCUITS | 1 | TERMINAL TYPE | SCREW | MATERIAL | WEMID | MOUNTING TYPE | TS 35 DIN RAIL | SIZE | 32 WDX132 HTX117 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CSA,ATEX,IEC EX,ROHS,UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1119627 | 1119627 |  |  |  | ERSA | M | 1600 | 1616609GZPCLNT100 | EA | 3000344 | BLOCK;SCHN,ZB5AZ105,CONT,1NO+1NC,HARMONY | BLOQUE;SCHN,ZB5AZ105 | BLOCK;MNFR:SCHNEIDER INC,PTNO:ZB5AZ105,ADDITIONAL FEATURES EN:CONTACT,1NO+1NC,HARMONY XB5 SERIES,TERMINAL TYPE:SCREW,10A,GREEN PREMIUM | BLOQUE;MNFR:SCHNEIDER INC,PTNO:ZB5AZ105 |  | SCHNEIDER INC | ZB5AZ105 | 1068206 @@ RS COMPONENTS PTY LTD | ZB5AZ105 | [12 empty] | SCHNEIDER INC | ZB5AZ105 | RS COMPONENTS PTY LTD | [15 empty] | https://www.se.com/au/en/product/ZB5AZ105/harmony-xb5-single-contact-block-with-body-fixing-collar-plastic-screw-clamp-terminal-1no+1nc/ | [9 empty] | Cleansed | 39121522 Electrical contacts | TRADE MARK:Green Premium,HARMONY XB5 SERIES |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING | 10 A | VOLTAGE RATING | 600 V | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE |  | MATERIAL | PLASTIC COLLAR,SILVER ALLOY (AG/NI) CONTACT | SIZE | 30 WDX42 HTX32 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1,CSA C22.2 NO 14,UL 508,IEC 60947-5-4,IEC 60947-1,JIS C8201-5-1,JIS C8201-1,UL,DNV,CSA,BV,GL,LROS | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1123548 | 1123548 |  |  |  | ERSA | M | 5000 | 1594415GZPCLNT100 | EA | 3000010 | BLOCK;SAN,56010674 | BLOQUE;SAN,56010674 | BLOCK;MNFR:SANDVIK,PTNO:56010674 | BLOQUE;MNFR:SANDVIK,PTNO:56010674 |  | SANDVIK | 56010674 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56010674 | [12 empty] | SANDVIK | 56010674 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/56010674_pipe-clamp/ | [9 empty] | Cleansed | 31162906 Hose or pipe clamps |  |  | CLAMP | PIPE | TYPE |  | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1123954 | 1123954 |  |  |  | ERSA | M | 5000 | 1589800GZPCLNT100 | EA | 3000010 | BLOCK;SAN,06429014 | BLOQUE;SAN,06429014 | BLOCK;MNFR:SANDVIK,PTNO:06429014 | BLOQUE;MNFR:SANDVIK,PTNO:06429014 |  | SANDVIK | 06429014 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 6429014 | [12 empty] | SANDVIK | 06429014 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/06429014_clamp-pipe/ | [9 empty] | Cleansed | 31162906 Hose or pipe clamps |  |  | CLAMP | PIPE | TYPE |  | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1124590 | 1124590 |  |  |  | ERSA | M | 5000 | 1595639GZPCLNT100 | EA | 3000010 | BLOCK;SAN,56040921 | BLOQUE;SAN,56040921 | BLOCK;MNFR:SANDVIK,PTNO:56040921 | BLOQUE;MNFR:SANDVIK,PTNO:56040921 |  | SANDVIK | 56040921 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56040921 | [12 empty] | SANDVIK | 56040921 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/56040921_rubber-bushing/ | [9 empty] | Enriched | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1124659 | 1124659 |  |  |  | ERSA | M | 5000 | 1594742GZPCLNT100 | EA | 3000010 | BLOCK;SAN,56017671 | BLOQUE;SAN,56017671 | BLOCK;MNFR:SANDVIK,PTNO:56017671 | BLOQUE;MNFR:SANDVIK,PTNO:56017671 |  | SANDVIK | 56017671 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56017671 | [12 empty] | SANDVIK | 56017671 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/56017671_extension-block/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | EXTENSION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1124746 | 1124746 |  |  |  | ERSA | M | 5000 | 1593347GZPCLNT100 | EA | 3000010 | BLOCK;SAN,55175132 | BLOQUE;SAN,55175132 | BLOCK;MNFR:SANDVIK,PTNO:55175132 | BLOQUE;MNFR:SANDVIK,PTNO:55175132 |  | SANDVIK | 55175132 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55175132 | [12 empty] | SANDVIK | 55175132 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/55175132_supporting-block/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | SUPPORTING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1124763 | 1124763 |  |  |  | ERSA | M | 5000 | 1593144GZPCLNT100 | EA | 3000010 | BLOCK;SAN,55168424 | BLOQUE;SAN,55168424 | BLOCK;MNFR:SANDVIK,PTNO:55168424 | BLOQUE;MNFR:SANDVIK,PTNO:55168424 |  | SANDVIK | 55168424 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55168424 | [12 empty] | SANDVIK | 55168424 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/55168424_directional-valve/ | [9 empty] | Enriched | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1124790 | 1124790 |  |  |  | ERSA | M | 5000 | 1592679GZPCLNT100 | EA | 3000010 | BLOCK;SAN,55096781 | BLOQUE;SAN,55096781 | BLOCK;MNFR:SANDVIK,PTNO:55096781 | BLOQUE;MNFR:SANDVIK,PTNO:55096781 |  | SANDVIK | 55096781 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55096781 | [12 empty] | SANDVIK | 55096781 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/55096781_supporting-block/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | SUPPORTING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Suitable NM Not Found in Taxonomy | 1124802 | 1124802 |  |  |  | ERSA | M | 5000 | 1592343GZPCLNT100 | EA | 3000010 | BLOCK;SAN,55056920 | BLOQUE;SAN,55056920 | BLOCK;MNFR:SANDVIK,PTNO:55056920 | BLOQUE;MNFR:SANDVIK,PTNO:55056920 |  | SANDVIK | 55056920 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55056920 | [30 empty] | https://www.aga-parts.com/sandvik/part/55056920_collecting-piece/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1133863 | 1133863 |  |  |  | ERSA | M | 5000 | 1591957GZPCLNT100 | EA | 3000010 | BLOCK,CONT;SAN,55047278 | BLOQUE CONTACT;SAN,55047278 | BLOCK,CONTACT;MNFR:SANDVIK,PTNO:55047278 | BLOQUE CONTACTOS;MNFR:SANDVIK,PTNO:55047278 |  | SANDVIK | 55047278 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55047278 | [12 empty] | SANDVIK | 55047278 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik/part/55047278_contact-block/ | [9 empty] | Cleansed | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1135088 | 1135088 | 1362177 | AU_QM_000161214 |  | ERSA | M | 1600 | 1362177GZPCLNT100 | EA |  | BLOCK AND LINKS SET;10MM STUDS;SUITS TEC | BLOCK AND LINKS SET;10MM STUDS;SUITS TEC | TERMINAL BLOCK: BLOCK AND LINKS SET;10MM STUDS;SUITS TEC O MOTOR D250 TO 315M FRAME SIZES; |  | TERMINAL BLOCK: BLOCK AND LINKS SET;10MM STUDS;SUITS TEC |  |  | 1068121 @@ TECO AUSTRALIA PTY LTD | 108/TBLOCKD250-315M-10MMSTUD | [14 empty] | TECO AUSTRALIA PTY LTD | 108/TBLOCKD250-315M-10MMSTUD | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121410 Terminal blocks | CONNECTION TYPE:10 MM STUD,FOR TECO MOTOR D250 TO 315M FRAME SIZES |  | SET | NO MODIFIER | TYPE | TERMINAL BLOCK AND LINKS | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1135089 | 1135089 | 1362176 | AU_QM_000161213 |  | ERSA | M | 1600 | 1362176GZPCLNT100 | EA |  | BLOCK AND LINKS SET;8MM STUDS;SUITS TECO | BLOCK AND LINKS SET;8MM STUDS;SUITS TECO | TERMINAL BLOCK: BLOCK AND LINKS SET;8MM STUDS;SUITS TECO MOTOR D250 TO 315M FRAME SIZES; |  | TERMINAL BLOCK: BLOCK AND LINKS SET;8MM STUDS;SUITS TECO |  |  | 1068121 @@ TECO AUSTRALIA PTY LTD | 108/TBLOCKD250-315M-8MMSTUD | [14 empty] | TECO AUSTRALIA PTY LTD | 108/TBLOCKD250-315M-8MMSTUD | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121410 Terminal blocks | CONNECTION TYPE:10 MM STUD,FOR TECO MOTOR D250 TO 315M FRAME SIZES |  | SET | NO MODIFIER | TYPE | TERMINAL BLOCK AND LINKS | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1144302 | 1144302 | 1444587 | AU_QM_001005778 |  | ERSA | M | 1600 | 1444587GZPCLNT100 | EA |  | BLOCK,CONT;ASSY | BLOCK,CONT;ASSY | BLOCK,CONTACT;MNFR:NORMET,PTNO:55128680,ADDITIONAL FEATURES EN:ASSY |  | CONTACT ASSY,ELEC:NT100 CONTACT BLOCK; |  |  | 1068233 @@ ISA DIESEL & EARTHMOVING REPAIRS | 55128680 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55128680 | [8 empty] | ISA DIESEL & EARTHMOVING REPAIRS | 55128680 |  |  | NORMET ASIA PACIFIC PTY LTD | 55128680 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121522 Electrical contacts | ASSEMBLY |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1145625 | 1145625 |  |  |  | ERSA | M | 1600 | 1536314GZPCLNT100 | EA |  | BLOCK;TACKLE EARTH SHEAVE,YURIKA,105088 | BLOCK;TACKLE EARTH SHEAVE,YURIKA,105088 | BLOCK;ADDITIONAL FEATURES:TACKLE EARTH SHEAVE,YURIKA,105088 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105088 | [10 empty] | YURIKA PTY LTD | 105088 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | TACKLE EARTH SHEAVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1145778 | 1145778 |  |  |  | ERSA | M | 1600 | 1536154GZPCLNT100 | EA |  | BLOCK,TERM;TYPE ZS6,SD ,YURIKA,30306 | BLOCK,TERM;TYPE ZS6,SD ,YURIKA,30306 | BLOCK,TERM;ADDITIONAL FEATURES:TYPE ZS6,SD ,YURIKA,30306 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 30306 | [12 empty] | ABB | ZS6 | ABB | 1SNK506010R0000 | YURIKA PTY LTD | 30306 | [12 empty] | https://library.e.abb.com/public/615a8535b0174f26b6a08e5f5784120d/1SNK161008D0201.pdf | [9 empty] | Enriched | 39121410 Terminal blocks | SD |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING |  | VOLTAGE RATING | 1000 VAC/DC | WIRE SIZE | 0 TO 6 MM2 | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW CLAMP | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS,CSA,ATEX,IECEX,DNV | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1145779 | 1145779 |  |  |  | ERSA | M | 1600 | 1536153GZPCLNT100 | EA |  | BLOCK,TERM;TYPE ZS4S,YURIKA,30305 | BLOCK,TERM;TYPE ZS4S,YURIKA,30305 | BLOCK,TERM;ADDITIONAL FEATURES:TYPE ZS4S,YURIKA,30305 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 30305 | [12 empty] | ABB | ZS4-S | ABB | 1SNK505310R0000 | YURIKA PTY LTD | 30305 | [12 empty] | https://library.e.abb.com/public/f4e34fc639b1493581cb45b072714e01/1SNK161010D0201.pdf | [9 empty] | Enriched | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING |  | VOLTAGE RATING |  | WIRE SIZE | 4 MM2 | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW CLAMP | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CB,ROHS,CSA,EAC,DNV | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1145780 | 1145780 |  |  |  | ERSA | M | 1600 | 1536152GZPCLNT100 | EA |  | BLOCK,TERM;TYPE ZS4,STD,YURIKA,30303 | BLOCK,TERM;TYPE ZS4,STD,YURIKA,30303 | BLOCK,TERM;ADDITIONAL FEATURES:TYPE ZS4,STD,YURIKA,30303 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 30303 | [12 empty] | ABB | ZS4 | ABB | 1SNK505010R0000 | YURIKA PTY LTD | 30303 | [12 empty] | https://library.e.abb.com/public/caccc60509da4a849e9d25790b8bb8d2/1SNK161001D0201.pdf | [9 empty] | Enriched | 39121410 Terminal blocks | STD |  | BLOCK | TERMINAL | TYPE | FEED THROUGH | CURRENT RATING |  | VOLTAGE RATING | 1000 VAC/DC | WIRE SIZE | 4 MM2 | NUMBER OF CIRCUITS |  | TERMINAL TYPE | SCREW CLAMP | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CB,ROHS,CSA,EAC,DNV,ATEX | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Part Number Updated as per Websource | 1145782 | 1145782 |  |  |  | ERSA | M | 1600 | 1536150GZPCLNT100 | EA |  | BLOCK,TERM;SAKT 1/35/LT S,YURIKA,30300 | BLOCK,TERM;SAKT 1/35/LT S,YURIKA,30300 | BLOCK,TERM;ADDITIONAL FEATURES:SAKT 1/35/LT S,YURIKA,30300 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 30300 | [12 empty] | WEIDMULLER | SAKT 1/35/LT STB | WEIDMULLER | 0105620000 | YURIKA PTY LTD | 30300 | [12 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=0105620000 | [9 empty] | Enriched | 39121410 Terminal blocks |  |  | BLOCK | TERMINAL | TYPE | TEST-DISCONNECT | CURRENT RATING | 25 A | VOLTAGE RATING | 300 V | WIRE SIZE | 26 TO 8 AWG | NUMBER OF CIRCUITS | 1 | TERMINAL TYPE | SCREW | MATERIAL | KRG | MOUNTING TYPE | DIRECT | SIZE | 8 WDX65 HTX52.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL,CE,CSA | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1145814 | 1145814 |  |  |  | ERSA | M | 1600 | 1538802GZPCLNT100 | EA |  | BLOCK,CONT;AUXILIARY,DIN-T 0.,NHPDTAUXAL | BLOCK,CONT;AUXILIARY,DIN-T 0.,NHPDTAUXAL | BLOCK,CONT;ADDITIONAL FEATURES:AUXILIARY,DIN-T 0.,NHPDTAUXAL |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTAUXAL | [12 empty] | NHP | DTAUXAL | CNW (MOUNT ISA) ELECT WHOLESALER | NHPDTAUXAL | [14 empty] | https://nhp.com.au/product/dtauxal | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Contactor-%26-Accessories/AUXILIARY-CONTACT-SUIT-DIN-T/p/NHPDTAUXALI13 | [8 empty] | Enriched | 39121522 Electrical contacts | SERIES:DIN-T |  | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION |  | CURRENT RATING | 5 A | VOLTAGE RATING | 240 VAC | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1146176 | 1146176 |  |  |  | ERSA | M | 1600 | 1536699GZPCLNT100 | EA |  | BLOCK,TERM;TEST,ESAA,YURIKA,1276279 | BLOCK,TERM;TEST,ESAA,YURIKA,1276279 | BLOCK,TERM;ADDITIONAL FEATURES:TEST,ESAA,YURIKA,1276279 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 1276279 | [10 empty] | YURIKA PTY LTD | 1276279 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121410 Terminal blocks | ESAA |  | BLOCK | TERMINAL | TYPE | TEST | CURRENT RATING |  | VOLTAGE RATING |  | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1146451 | 1146451 |  |  |  | ERSA | M | 1600 | 1527260GZPCLNT100 | EA |  | BLOCK,CONT;PUSHBUTTON CONTACT B,10250T55 | BLOCK,CONT;PUSHBUTTON CONTACT B,10250T55 | BLOCK,CONT;ADDITIONAL FEATURES:PUSHBUTTON CONTACT B,10250T55 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 10250T55 | [12 empty] | EATON | 10250T55 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.eaton.com/us/en-us/skuPage.10250T55.html | [9 empty] | Enriched | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE | PUSH BUTTON | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 30.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1146750 | 1146750 |  |  |  | ERSA | M | 1600 | 1505656GZPCLNT100 | EA |  | BLOCK;CUTT51P | BLOCK;CUTT51P | BLOCK;ADDITIONAL FEATURES:CUTT51P |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CUTT51P | [12 empty] | EATON | CUTT51P | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.goelectrical.com.au/cutt51p | https://awm.mmem.com.au/cutt51p | [8 empty] | Enriched | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE | OPERATOR | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 1 MA | VOLTAGE RATING | 5 VAC/DC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | MATERIAL | DIE CAST ZINC | SIZE | 30.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1146753 | 1146753 |  |  |  | ERSA | M | 1600 | 1505653GZPCLNT100 | EA |  | BLOCK;S&SCA7-PV-22 | BLOCK;S&SCA7-PV-22 | BLOCK;ADDITIONAL FEATURES:S&SCA7-PV-22 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | S&SCA7-PV-22 | [12 empty] | Sprecher+Schuh | S&SCA7-PV-22 | METAL MANUFACTURES PTY LTD | [15 empty] | https://tle.mmem.com.au/s-26-sca7-pv-22 | [9 empty] | Enriched | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 2NO 2NC | CURRENT RATING | 5 MA (CROSS-STAMPED),3 MA (BIFURCATED) | VOLTAGE RATING | 17 V (CROSS-STAMPED),5 V (BIFURCATED) | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1147063 | 1147063 |  |  |  | ERSA | M | 4090 | 1530058GZPCLNT100 | EA |  | BLOCK,HST;LEVER,3.20T,WHS-L-0320-015-L5 | BLOCK,HST;LEVER,3.20T,WHS-L-0320-015-L5 | BLOCK,HST;ADDITIONAL FEATURES:LEVER,3.20T,WHS-L-0320-015-L5 |  |  |  |  | 1068291 @@ BULLIVANTS PTY LIMITED | 1530058 | 1068332 @@ BULLIVANTS PTY LTD | WHS-L-0320-015-L5 | [8 empty] | BULLIVANTS PTY LTD | 1530058 |  |  | BULLIVANTS PTY LTD | WHS-L-0320-015-L5 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories |  |  | BLOCK | HOIST | TYPE | LEVER | LOAD CAPACITY | 3.2 TON | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1147064 | 1147064 |  |  |  | ERSA | M | 4090 | 1530057GZPCLNT100 | EA |  | BLOCK,HST;LEVER,0.80T,WHS-L-0080-015-L5 | BLOCK,HST;LEVER,0.80T,WHS-L-0080-015-L5 | BLOCK,HST;ADDITIONAL FEATURES:LEVER,0.80T,WHS-L-0080-015-L5 |  |  |  |  | 1068332 @@ BULLIVANTS PTY LTD | WHS-L-0080-015-L5 | [10 empty] | BULLIVANTS PTY LTD | WHS-L-0080-015-L5 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories |  |  | BLOCK | HOIST | TYPE | LEVER | LOAD CAPACITY | 0.8 TON | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1147622 | 1147622 |  |  |  | ERSA | M | 4090 | 1516446GZPCLNT100 | EA |  | BLOCK;190MM AYR GREY H BLOCK 390 ,20.48A | BLOCK;190MM AYR GREY H BLOCK 390 ,20.48A | BLOCK;ADDITIONAL FEATURES:190MM AYR GREY H BLOCK 390 ,20.48A |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 20.48A | [10 empty] | ELLIOTT TIMBER SALES PTY LTD | 20.48A | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | AYR GREY H |  | BLOCK | NO MODIFIER | TYPE |  | SIZE | 190 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1152631 | 1152631 | 1476530 | AU_QM_001278019 |  | ERSA | M | 1510 | 1476530GZPCLNT100 | EA |  | DUA BLOCK;250MM X 150MM X 45MM; | DUA BLOCK;250MM X 150MM X 45MM; |  |  | WEAR BAR: DUA BLOCK;250MM X 150MM X 45MM; |  |  | 1071153 @@ BRADKEN RESOURCES PTY LTD | BD250X150X45D70 | [14 empty] | BRADKEN RESOURCES PTY LTD | BD250X150X45D70 | [14 empty] | https://assets.ctfassets.net/ge6w0nvcjafk/1R05hUi7gDWsfTrx5z490r/b3fe30606b439407cbbc1aa9f581be72/BK_Sales___Marketing_Global_Record_Brochure_Mineral_Processing_Fixed_Plant_Catelogue__Double_Page.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | BRAND:Duablock,WEAR BAR |  | BLOCK | NO MODIFIER | TYPE | SKID | SIZE | 250X150X45 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 | Processed based on Websource, Conflict w.r.t Input | 1157440 | 1157440 | 1454953 | AU_QM_001243609 |  | ERSA | M | 4090 | 1454953GZPCLNT100 | EA |  | BLOCK;BRAKE BLOCK | BLOCK;BRAKE BLOCK | BLOCK;MNFR:NORMET,PTNO:56076380,ADDITIONAL FEATURES EN:BRAKE BLOCK,SPACER, SCISSOR LIFT, MF540 |  | BLOCK: SPACER;BRAKE BLOCK; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 1454953 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 56076380 |  |  | NORMET ASIA PACIFIC PTY LTD | 1454953 | [14 empty] | URL NOT FOUND |  |  | SCISSOR LIFT |  | MF540 |  |  |  |  | Cleansed | 40141604 Safety valves | SPACER |  | VALVE | SAFETY | TYPE | BRAKE | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE RANGE |  | ACTUATION TYPE |  | BODY MATERIAL |  | TRIM MATERIAL |  | SOFTGOODS |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1170756 | 1170756 |  |  |  | ERSA | M | 4700 | 1467423GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,RH | BLOCK;FURNACE JACKET,CU,RH | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RH |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 148-6-6854 MK6 | [10 empty] | CENTURY ENGINEERING PTY LTD | 148-6-6854 MK6 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,RIGHT HAND | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1170757 | 1170757 |  |  |  | ERSA | M | 4700 | 1467422GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,RH | BLOCK;FURNACE JACKET,CU,RH | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RH |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 148-6-6854 MK5 | [10 empty] | CENTURY ENGINEERING PTY LTD | 148-6-6854 MK5 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,RIGHT HAND | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1170758 | 1170758 |  |  |  | ERSA | M | 4700 | 1467421GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,RH | BLOCK;FURNACE JACKET,CU,RH | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RH |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 148-6-6854 MK4 | [10 empty] | CENTURY ENGINEERING PTY LTD | 148-6-6854 MK4 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,RIGHT HAND | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1170759 | 1170759 |  |  |  | ERSA | M | 4700 | 1467420GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,RH | BLOCK;FURNACE JACKET,CU,RH | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RH |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 148-6-6855 MK3 | [10 empty] | CENTURY ENGINEERING PTY LTD | 148-6-6855 MK3 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,RIGHT HAND | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1170760 | 1170760 |  |  |  | ERSA | M | 4700 | 1467419GZPCLNT100 | EA |  | BLOCK;FURNACE JACKET,CU,RH | BLOCK;FURNACE JACKET,CU,RH | BLOCK;TYPE:FURNACE JACKET,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RH |  |  |  |  | 1069175 @@ CENTURY ENGINEERING PTY LTD | 148-6-6855 MK2 | [10 empty] | CENTURY ENGINEERING PTY LTD | 148-6-6855 MK2 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | BLOCK | NO MODIFIER | TYPE | FURNACE JACKET,RIGHT HAND | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1181444 | 1181444 |  |  |  | ERSA | M | 5000 | 1567713GZPCLNT100 | EA | 3000001 | BLOCK;EPI,3217000224,STOP | BLOQUE;EPI,3217000224 | BLOCK;MNFR:EPIROC,PTNO:3217000224,ADDITIONAL FEATURES EN:STOP | BLOQUE;MNFR:EPIROC,PTNO:3217000224 |  | EPIROC | 3217000224 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3217000224 | [12 empty] | EPIROC | 3217000224 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aircompressorstrade.com/2686611639-genuine-atlas-copco-epiroc-stop-parts-catalog-by-cpmc-china/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BLOCK | NO MODIFIER | TYPE | STOP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1184482 | 1184482 |  |  |  | ERSA | M | 4090 | 1559000GZPCLNT100 | EA |  | BLOCK;STKG,510X150X150MM,PLSTC | BLOQUE; | BLOCK;TYPE:STACKING,SIZE:510X150X150MM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:SINGLE STACKO | BLOQUE; |  |  |  | 1068797 @@ NATIONAL PLASTICS & RUBBER | 1559000 | [10 empty] | NATIONAL PLASTICS & RUBBER | 1559000 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SINGLE STACKO |  | BLOCK | NO MODIFIER | TYPE | STACKING | SIZE | 510X150X150 MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1184495 | 1184495 |  |  |  | ERSA | M | 4010 | 1558986GZPCLNT100 | EA |  | BLOCK;TL,.,MTL,FLARING,BLACK MAX | BLOQUE; | BLOCK;TYPE:TOOL,SIZE:.,MATERIAL:METAL,ADDITIONAL FEATURES EN:FLARING,BLACK MAX | BLOQUE; |  |  |  | 1068500 @@ ACTROL PARTS PTY LTD | 1558986 | [10 empty] | ACTROL PARTS PTY LTD | 1558986 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FLARING,BLACK MAX |  | BLOCK | NO MODIFIER | TYPE | TOOL | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1185215 | 1185215 |  |  |  | ERSA | M | 4005 | 1557410GZPCLNT100 | EA |  | BLOCK;CUTTING HEAD,MTL,TEC-PRT-01 | BLOQUE; | BLOCK;TYPE:CUTTING HEAD,SIZE:TBC,MATERIAL:METAL,ADDITIONAL FEATURES EN:VALVE MOUNTING | BLOQUE; |  |  |  | 1073095 @@ TECHNI WATERJET PTY LTD | 1557410 | [10 empty] | TECHNI WATERJET PTY LTD | 1557410 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SIZE:TBC,VALVE MOUNTING |  | BLOCK | NO MODIFIER | TYPE | CUTTING HEAD | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1185291 | 1185291 |  |  |  | ERSA | M | 4090 | 1557326GZPCLNT100 | EA |  | BLOCK;CHN,MTL,5TX6M,Q-Z5717MIM | BLOQUE; | BLOCK;TYPE:CHAIN,SIZE:TBC,MATERIAL:METAL,ADDITIONAL FEATURES EN:5TX6M | BLOQUE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1557326 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | 1557326 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories | SIZE:TBC |  | BLOCK | HOIST | TYPE | CHAIN | LOAD CAPACITY | 5 TON | OPERATION METHOD |  | WIRE/CHAIN LENGTH | 6 M | WIRE/CHAIN MATERIAL | METAL | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1189211 | 1189211 |  |  |  | ERSA | M | 4090 | 1576210GZPCLNT100 | EA |  | BLOCK;CHN,250KG,WHS-L-0025-015-TG | BLOQUE; | BLOCK;TYPE:CHAIN,SIZE:250KG,MATERIAL:,ADDITIONAL FEATURES EN:WHS-L-0025-015-TG | BLOQUE; |  |  |  | 1068291 @@ BULLIVANTS PTY LIMITED | 1576210 | 1068332 @@ BULLIVANTS PTY LTD | WHS-L-0025-015-TG | [8 empty] | BULLIVANTS PTY LIMITED | 1576210 |  |  | BULLIVANTS PTY LTD | WHS-L-0025-015-TG | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories |  |  | BLOCK | HOIST | TYPE | CHAIN | LOAD CAPACITY | 250 KG | OPERATION METHOD |  | WIRE/CHAIN LENGTH |  | WIRE/CHAIN MATERIAL |  | OPERATED RATING |  | HOISTING ELEMENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1204519 | 1204519 |  |  |  | ERSA | M | 4090 | 149065MRM | EA |  | BLOCK:BLOCK;610L;DE-WATERING SCREEN;HMP; | BLOCK:BLOCK;610L;DE-WATERING SCREEN;HMP; | BLOCK:BLOCK;610L;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204519 | [10 empty] | ELASTOMERS AUSTRALIA | 1204519 | [18 empty] | URL NOT FOUND |  |  | DE-WATERING SCREEN |  | 610L |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | BLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-10-16 | 2023-10-19 |  | 1218076 | 1218076 |  |  |  | ERSA | M | 5900 | 951125MRM | EA |  | BLOCK:FRICTION CHECK BLOCK;THRUST SPRING | BLOCK:FRICTION CHECK BLOCK;THRUST SPRING | BLOCK:FRICTION CHECK BLOCK;THRUST SPRINGRUBBER MOUNTED;ALLIS VIBRATING SCREEN |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1218076 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 1218076 | [18 empty] | URL NOT FOUND |  |  | VIBRATING SCREEN | ALLIS | [5 empty] | Cleansed | 23153100 Industrial machinery components and accessories | MOUNTING TYPE:THRUST SPRING RUBBER |  | BLOCK | NO MODIFIER | TYPE | FRICTION CHECK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed