## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1086988 | 1086988 | 1431339 | AU_QM_000717080 |  | ERSA | M | 5920 | 1431339GZPCLNT100 | EA | 3000000 | CAGE;ATL,5415109700 | CAGE;ATL,5415109700 | CAGE;MNFR:ATLAS COPCO,PTNO:5415109700 |  | CAGE:AIR MOTOR BEARING CAGE; | ATLAS COPCO | 5415109700 | [16 empty] | ATLAS COPCO | 5415109700 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171518 Bearing cage | type:air motor |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1094407 | 1094407 | 1374871 | AU_QM_000205538 |  | ERSA | M | 5920 | 1374871GZPCLNT100 | EA | 3000006 | CAGE;KOM,3EB-22-21150 | CAGE;KOM,3EB-22-21150 | CAGE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-22-21150 |  | CAGE;KOM,3EB-22-21150CAGE;KOM,3EB-22-21150 | KOMATSU MINING SYSTEMS INC. | 3EB-22-21150 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-22-21150 | [16 empty] | https://k-part.777parts.org/spare/komatsu/3eb-22-21150/ | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1154527 | 1154527 |  |  |  | ERSA | M | 5920 | 1509374GZPCLNT100 | EA |  | CONNECTOR,CABLE;LOWER PLATEN CA,SSP4-094 | CONNECTOR,CABLE;LOWER PLATEN CA,SSP4-094 | CONNECTOR,CABLE;ADDITIONAL FEATURES:LOWER PLATEN CA,SSP4-094 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:SSP4-094,CA |  | CONNECTOR | CABLE | TYPE | LOWER PLATEN | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1154526 | 1154526 |  |  |  | ERSA | M | 5920 | 1509375GZPCLNT100 | EA |  | CONNECTOR,CABLE;LOWER PLATEN CA,SSP4-096 | CONNECTOR,CABLE;LOWER PLATEN CA,SSP4-096 | CONNECTOR,CABLE;ADDITIONAL FEATURES:LOWER PLATEN CA,SSP4-096 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:SSP4-096,CA |  | CONNECTOR | CABLE | TYPE | LOWER PLATEN | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1154515 | 1154515 |  |  |  | ERSA | M | 5920 | 1509397GZPCLNT100 | EA |  | CONNECTOR,CABLE;PLATEN JUMPER C,SSP4-095 | CONNECTOR,CABLE;PLATEN JUMPER C,SSP4-095 | CONNECTOR,CABLE;ADDITIONAL FEATURES:PLATEN JUMPER C,SSP4-095 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:SSP4-095,C |  | CONNECTOR | CABLE | TYPE | PLATEN JUMPER | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183632 | 1183632 |  |  |  | ERSA | M | 4090 | 1562168GZPCLNT100 | EA |  | CONNECTOR,CBL;COMPLETE PLATEN,CABLE END | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:COMPLETE PLATEN,CONNECTION TYPE:CABLE END,CONNECTOR MATERIAL:46054-066,ADDITIONAL FEATURES EN:COMPLETE PLATEN,CABLE END,PLATEN END,SVP B25-5040 | CONECTOR CABLE; | [35 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:SVP B25-5040,46054-066,CABLE END |  | CONNECTOR | CABLE | TYPE | COMPLETE PLATEN | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183633 | 1183633 |  |  |  | ERSA | M | 4090 | 1562167GZPCLNT100 | EA |  | CONNECTOR,CBL;CONTROL BOX,46054-009 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:CONTROL BOX,CONNECTION TYPE:PLATEN CABLE END,CONNECTOR MATERIAL:46054-009,ADDITIONAL FEATURES EN: CONTROL BOX,PLATEN CABLE END,B25-4020,(01,02&03) | CONECTOR CABLE; | [35 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:B25-4020,46054-009,01,02 AND 03 |  | CONNECTOR | CABLE | TYPE | CONTROL BOX,PLATEN CABLE END | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1146717 | 1146717 |  |  |  | ERSA | M | 1600 | 1505904GZPCLNT100 | EA |  | CONNECTOR,CBL;HS-AA004 | CONNECTOR,CBL;HS-AA004 | CONNECTOR,CBL;ADDITIONAL FEATURES:HS-AA004 | [18 empty] | HANSFORD SENSORS | HS-AA004 | [16 empty] | https://hansfordsensors.com/product/products/cables-connectors/connectors/hs-aa004/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | NUMBER OF PINS:2 | CONNECTOR | CABLE | TYPE | 2 Way,MS socket | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1210860 | 1210860 |  |  |  | ERSA | M | 1600 | 357071MRM | EA |  | CONNECTOR,PLUG,ELEC:150A;1100V;BACK/BACK | CONNECTOR,PLUG,ELEC:150A;1100V;BACK/BACK | CONNECTOR,PLUG,ELEC:150A;1100V;BACK/BACK QUICK RELEASE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,BACK/BACK QUICK RELEASE | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1100 V,150 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1205194 | 1205194 |  |  |  | ERSA | M | 1600 | 74773MRM | EA |  | CONNECTOR,PLUG,ELEC:16 PIN & EARTH;SCREW | CONNECTOR,PLUG,ELEC:16 PIN & EARTH;SCREW | CONNECTOR,PLUG,ELEC:16 PIN <(>&<)> EARTH;SCREW TERMINATIONS;16A @ 380VAC;2.5MM2 CABLE SIZE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | TERMINAL:SCREW,EARTH |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE | 2.5 SQ MM | ELECTRICAL RATING | 380 VAC,16 A | NUMBER OF PINS | 16 | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1203997 | 1203997 |  |  |  | ERSA | M | 1600 | 28258MRM | EA |  | CONNECTOR,PLUG,ELEC:250V,10A,3 PIN,WEATH | CONNECTOR,PLUG,ELEC:250V,10A,3 PIN,WEATH | CONNECTOR,PLUG,ELEC:250V,10A,3 PIN,WEATHERPROOF,STD PACK OF 1 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | PACKAGE QUANTITY:1 |  | CONNECTOR | ELECTRICAL | TYPE | WEATHERPROOF,PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 V,10 A | NUMBER OF PINS | 3 | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1210861 | 1210861 |  |  |  | ERSA | M | 1600 | 357091MRM | EA |  | CONNECTOR,PLUG,ELEC:300A;1100V;DUMMY PLU | CONNECTOR,PLUG,ELEC:300A;1100V;DUMMY PLU | CONNECTOR,PLUG,ELEC:300A;1100V;DUMMY PLUG; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | DUMMY PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1100 V,300 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1210632 | 1210632 |  |  |  | ERSA | M | 1600 | 355336MRM | EA |  | CONNECTOR,PLUG,ELEC:300A;1100V;RESTRAINE | CONNECTOR,PLUG,ELEC:300A;1100V;RESTRAINE | CONNECTOR,PLUG,ELEC:300A;1100V;RESTRAINED PLUG;CODE BLUE;MDA EX D1224;MAG BRONZE BODY;NEOP INT;PLTD SOCKETS;C/W DUST BOOT;AS1229 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CODE:BLUE,REF:MDA EX D1224,PLATED SOCKETS,C/W DUST BOOT |  | CONNECTOR | ELECTRICAL | TYPE | RESTRAINED PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1100 V,300 A | NUMBER OF PINS |  | MATERIAL | Manganese BRONZE,neoprene INTERIOR | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS1229 | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1211204 | 1211204 |  |  |  | ERSA | M | 1600 | 357951MRM | EA |  | CONNECTOR,PLUG,ELEC:32A;1000V;3P+E+PILOT | CONNECTOR,PLUG,ELEC:32A;1000V;3P+E+PILOT | CONNECTOR,PLUG,ELEC:32A;1000V;3P+E+PILOT;POLY;MARECHAL; | [16 empty] | MARECHAL | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | PILOT |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1000 V,32 A | NUMBER OF PINS | 3 | MATERIAL | POLY | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1182217 | 1182217 |  |  |  | ERSA | M | 1600 | 1566314GZPCLNT100 | EA |  | CONNECTOR;24 KV,COMPOSITE | CONECTOR; | CONNECTOR;SIZE:24 KV,MATERIAL:COMPOSITE,ADDITIONAL FEATURES EN:ELEMENT,24KV,CWS & CGS,PLP,CPA-CVS-250A-24 | CONECTOR; | [15 empty] | PLP |  | CELLPACK | CPA-CVS-250A-24 | [16 empty] | https://www.preformed.com/au/images/pdfs/Resources/cellpack/Data_CVS-250A.pdf | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories | voltage rating:24 KV,for CWS & CGS connectors |  | ELEMENT | NO MODIFIER | TYPE | connecting | SIZE | 100 diax136 lg mm | MATERIAL | COMPOSITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 50180 and EN 50181 | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1024062 | 1024062 | 1393943 | AU_QM_000237467 |  | ERSA | M | 1600 | 1393943GZPCLNT100 | EA | 3000006 | CONNECTOR;KOM,21N-03-32360 | CONNECTOR;KOM,21N-03-32360 | CONNECTOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:21N-03-32360 |  | OEM-E-LISTCONNECTOR;KOM,21N-03-32360 | KOMATSU MINING SYSTEMS INC. | 21N-03-32360 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 21N-03-32360 | [16 empty] | https://my.komatsu.com.au/shop/radiator_5637155134/5637289504_cap-assembly_21n-03-32360 | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1048448 | 1048448 |  |  |  | ERSA | M | 4045 | 1527319GZPCLNT100 | EA |  | CAGE;STORAGE,PLL,1165 X 1165 X 975MM | JAULA; | CAGE;TYPE:STORAGE,SIZE:PALLET,1165 X 1165 X 975MM | JAULA; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | PCC1160-8 | [12 empty] | CONTAIN IT SOLUTIONS | PCC1160-8 | [16 empty] | https://www.containit.com.au/product/800mm-high-easy-store-pallet-cage/ | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE | High,Easy Store Pallet,STORAGE | SIZE | 1165X1165X800 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1049544 | 1049544 |  |  |  | ERSA | M | 4090 | 1563459GZPCLNT100 | EA |  | CONNECTOR;6MM X 1/8,S/S,M | CONECTOR; | CONNECTOR;SIZE:6MM X 1/8,MATERIAL:S/S,ADDITIONAL FEATURES EN:MALE | CONECTOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H06-01S | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H06-01S | [16 empty] | https://www.smcelectric.com/products/smc-spnkqg2h0601s/ | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  |  | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 6 MM | PIPE SIZE | 1/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | MALE THREADED | LENGTH | 18.1 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 1 MPA | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING | -5 TO 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1050233 | 1050233 |  |  |  | ERSA | M | 4090 | 1608381GZPCLNT100 | EA |  | CAGE;BACKFLOW,32-50 MM,HDG | JAULA; | CAGE;TYPE:BACKFLOW,SIZE:32-50 MM,ADDITIONAL FEATURES EN:HOT DIPPED GALVANIZED | JAULA; |  |  |  | 1068155 @@ REECE PTY LTD | 1013232 | [14 empty] | REECE PTY LTD | 1013232 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories | FINISH:HOT DIPPED GALVANIZED |  | CAGE | NO MODIFIER | TYPE | BACKFLOW | SIZE | 32 TO 50 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1050281 | 1050281 |  |  |  | ERSA | M | 1600 | 1608429GZPCLNT100 | EA |  | CONNECTOR,CBL;WIRE,4 MM2,PLSTC,M:DBRY | CONECTOR CABLE; | CONNECTOR,CABLE;TYPE:WIRE,CABLE SIZE:4 MM2,CONNECTION TYPE:,CONNECTOR MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:M:DBRY,BRAND:RAIN BIRD | CONECTOR CABLE; |  |  |  | 1068155 @@ REECE PTY LTD | 1526491 | [14 empty] | REECE PTY LTD | 1526491 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | BRAND:RAIN BIRD |  | CONNECTOR | CABLE | TYPE | DBRY | TRADE SIZE |  | CABLE SIZE | 4 SQ MM | CONNECTION TYPE |  | CONNECTOR MATERIAL | PLASTIC | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1053336 | 1053336 |  |  |  | ERSA | M | 5955 | 1583726GZPCLNT100 | EA |  | CAGE;1T WLL,GEAR LIFTING,PLATE FLOOR | JAULA; | CAGE;SIZE:1T WLL,ADDITIONAL FEATURES EN:GEAR LIFTING,PLATE FLOOR | JAULA; |  |  |  | 1068291 @@ BULLIVANTS PTY LIMITED | 1583726 | 1068332 @@ BULLIVANTS PTY LTD | S1537005-6 | [10 empty] | BULLIVANTS PTY LTD | S1537005-6 | BULLIVANTS PTY LIMITED | 1583726 | [14 empty] | https://www.bullivants.com/FlippingBooks/08MaterialsHandling/files/assets/common/downloads/publication.pdf | [9 empty] | ENRICHED | 10131601 Cages or its accessories | WORK LOAD LIMIT:1 TON |  | CAGE | NO MODIFIER | TYPE | Goods,GEAR LIFTING,PLATE FLOOR | SIZE | 1012 LGX1012WDX1000 HT MM | MATERIAL | steel | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1054386 | 1054386 |  |  |  | ERSA | M | 4045 | 1616524GZPCLNT100 | EA |  | CAGE;STORAGE,555X650X375 MM,STOREMASTA | JAULA; | CAGE;TYPE:STORAGE,SIZE:555X650X375 MM,ADDITIONAL FEATURES EN:STOREMASTA,2 CYLINDER.STYLE:GQA | JAULA; |  |  |  | 1068502 @@ ATOM SUPPLY | GQA02 | [12 empty] | ATOM SUPPLY | GQA02 | [16 empty] | https://www.atom.com.au/gas-bottle-storage-cage-2-x-9kg-178174 | [9 empty] | ENRICHED | 10131601 Cages or its accessories | BRAND:STOREMASTA,STYLE:GQA |  | CAGE | NO MODIFIER | TYPE | Gas Bottle Storage,2 CYLINDER | SIZE | 555X650X375 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1216,AS 1319,AS 4332:2004 | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1057762 | 1057762 |  |  |  | ERSA | M | 1600 | 1616008GZPCLNT100 | EA |  | CONNECTOR,CBL;FRONT 01,3 M | CONECTOR CABLE; | CONNECTOR,CABLE;TYPE:FRONT 01,CABLE SIZE:3 M,CONNECTION TYPE:,CONNECTOR MATERIAL: | CONECTOR CABLE; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MINXGLO-FC-01 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | MINXGLO-FC-01 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:3 M |  | CONNECTOR | CABLE | TYPE | FRONT 01 | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1060233 | 1060233 |  |  |  | ERSA | M | 1600 | 1616046GZPCLNT100 | EA |  | CONNECTOR,CBL;LH4,2.4 TO 4.6 MM2 | CONECTOR CABLE; | CONNECTOR,CABLE;TYPE:LH4,CABLE SIZE:2.4 TO 4.6 MM2,CONNECTION TYPE:MALE & FEMALE,CONNECTOR MATERIAL:,ADDITIONAL FEATURES EN: F/SYMMETRY PV SOLAR MODULE | CONECTOR CABLE; |  |  |  | 1068120 @@ R F INDUSTRIES PTY LTD | SY-LH4-PAIR | [12 empty] | R F INDUSTRIES PTY LTD | SY-LH4-PAIR | [16 empty] | https://www.rfi.com.au/SY-LH4-PAIR?quantity=1 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | BRAND:Symmetry,STYLE:LH4,FOR PV SOLAR MODULE |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 2.4 TO 4.6 SQ mm | CONNECTION TYPE | MALE AND FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 | SERIES MATCH | 1060251 | 1060251 |  |  |  | ERSA | M | 4090 | 1616114GZPCLNT100 | EA |  | CAGE;FOUND,1.8 M LG,4M24 350PCD | JAULA; | CAGE;TYPE:FOUND,SIZE:1.8 M LG,ADDITIONAL FEATURES EN:4M24 350PCD | JAULA; |  |  |  | 1073163 @@ INGAL EPS | 1000408RGX | [14 empty] | INGAL EPS | 1000408RGX | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories | REF:4M24 350PCD |  | CAGE | NO MODIFIER | TYPE | FOUND | SIZE | 1.8 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1062073 | 1062073 |  |  |  | ERSA | M | 1600 | 1587155GZPCLNT100 | EA |  | CONNECTOR,CBL;M12,LCKG,BRS,NICKEL-PLATED | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:M12,CONNECTION TYPE:LOCKING,CONNECTOR MATERIAL:BRASS,NICKEL-PLATED,ADDITIONAL FEATURES EN:WITH SOCKET | CONECTOR CABLE; |  |  |  | 1069796 @@ IFM EFECTOR PTY LTD | IFM-EVC005 | [12 empty] | IFM | EVC005 | [16 empty] | https://www.ifm.com/in/en/product/EVC005 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:5 M,C/W SOCKET | ELECTRICAL RATING:250/300 VAC/DC | CONNECTOR | CABLE | TYPE |  | TRADE SIZE | M12 | CABLE SIZE | 4.3 MM | CONNECTION TYPE | LOCKING | CONNECTOR MATERIAL | NICKEL-PLATED BRASS | CABLE TYPE |  | HAZARD CLASS | IP65/67/68/69K | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1063642 | 1063642 |  |  |  | ERSA | M | 2230 | 1445224GZPCLNT100 | EA |  | ASH 14/12 PUMP O RING; | ASH 14/12 PUMP O RING; | O-RING: ASH 14/12 PUMP O RING; ASH 14/12 SRH PUMP |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 1445224 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | 1445224 | [14 empty] | URL NOT FOUND |  |  | 14/12 SRH PUMP | ASH | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1063643 | 1063643 | 1445223 | AU_QM_001009079 |  | ERSA | M | 2230 | 1445223GZPCLNT100 | EA |  | ASH 14/12 PUMP O RING; | ASH 14/12 PUMP O RING; | O-RING: ASH 14/12 PUMP O RING; ASH 14/12 SRH PUMP |  | O-RING:ASH 14/12 PUMP O RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 1445223 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | 1445223 | [14 empty] | URL NOT FOUND |  |  | 14/12 SRH PUMP | ASH | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1063648 | 1063648 | 1430918 | AU_QM_000680710 |  | ERSA | M | 2230 | 1430918GZPCLNT100 | EA |  | ASH 14/12 PUMP O RING; | ASH 14/12 PUMP O RING; | O-RING: ASH 14/12 PUMP O RING; ASH 14X12 SRH PUMP |  | O-RING:ASH 14/12 PUMP O RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 1430918 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | 1430918 | [14 empty] | URL NOT FOUND |  |  | 14/12 SRH PUMP | ASH | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067317 | 1067317 |  |  |  | ERSA | M | 2230 | 1428252GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 1428252 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 1428252 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067318 | 1067318 |  |  |  | ERSA | M | 2230 | 1428253GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23319 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23319 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067319 | 1067319 |  |  |  | ERSA | M | 2230 | 1428254GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23322 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23322 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067320 | 1067320 |  |  |  | ERSA | M | 2230 | 1428255GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 21867 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 21867 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067321 | 1067321 |  |  |  | ERSA | M | 2230 | 1428256GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23326 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23326 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067322 | 1067322 |  |  |  | ERSA | M | 2230 | 1428257GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 21705 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 21705 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067374 | 1067374 | 1364778 | AU_QM_000166860 |  | ERSA | M | 2230 | 1364778GZPCLNT100 | EA |  | BOWL "O" RING FOR B100, B125 (223020) | BOWL "O" RING FOR B100, B125 (223020) | O-RING: BOWL "O" RING FOR B100, B125 (223020) |  | O-RING:BOWL "O" RING FOR B100, B125 (223020) |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | 1364778 | [14 empty] | ROWE SCIENTIFIC PTY LTD | 1364778 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | TYPE:BOWL,FOR B100,B125(223020) |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067459 | 1067459 |  |  |  | ERSA | M | 2230 | 1440201GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23315 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23315 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067460 | 1067460 |  |  |  | ERSA | M | 2230 | 1440202GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23324 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23324 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067461 | 1067461 |  |  |  | ERSA | M | 2230 | 1440203GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 21865 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 21865 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067462 | 1067462 |  |  |  | ERSA | M | 2230 | 1440204GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 21866 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 21866 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067463 | 1067463 |  |  |  | ERSA | M | 2230 | 1440205GZPCLNT100 | EA |  | APM HORIZONTAL LUG _ BODY PRESS; | APM HORIZONTAL LUG _ BODY PRESS; | O-RING: APM HORIZONTAL LUG AND BODY PRESS; ANODE PREPARATION MACHINE; |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 23325 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 23325 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | APM HORIZONTAL LUG AND BODY PRESS,ANODE PREPARATION MACHINE |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1067919 | 1067919 |  |  |  | ERSA | M | 2230 | 1436577GZPCLNT100 | EA |  | CRANE O RING; | CRANE O RING; | O-RING: CRANE O RING; DEER PARK PORTAINER CRANE |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4W-50BV | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4W-50BV | [14 empty] | URL NOT FOUND |  |  | FOR DEER PARK PORTAINER CRANE | [6 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1068317 | 1068317 |  |  |  | ERSA | M | 2230 | 1436575GZPCLNT100 | EA |  | CRANE O RING; | CRANE O RING; | O-RING: CRANE O RING; DEER PARK PORTAINER CRANE |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4W-39BV | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4W-39BV | [14 empty] | URL NOT FOUND |  |  | FOR DEER PARK PORTAINER CRANE | [6 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1068363 | 1068363 |  |  |  | ERSA | M | 2230 | 1436573GZPCLNT100 | EA |  | CRANE O RING; | CRANE O RING; | O-RING: CRANE O RING; DEER PARK PORTAINER CRANE |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4W-34BV | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4W-34BV | [14 empty] | URL NOT FOUND |  |  | FOR DEER PARK PORTAINER CRANE | [6 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1068364 | 1068364 |  |  |  | ERSA | M | 2230 | 1436574GZPCLNT100 | EA |  | CRANE O RING; | CRANE O RING; | O-RING: CRANE O RING; DEER PARK PORTAINER CRANE |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4W-36BV | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4W-36BV | [14 empty] | URL NOT FOUND |  |  | FOR DEER PARK PORTAINER CRANE | [6 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1068365 | 1068365 |  |  |  | ERSA | M | 2230 | 1436576GZPCLNT100 | EA |  | CRANE O RING; | CRANE O RING; | O-RING: CRANE O RING; DEER PARK PORTAINER CRANE |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4W-41BV | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4W-41BV | [14 empty] | URL NOT FOUND |  |  | FOR DEER PARK PORTAINER CRANE | [6 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1071076 | 1071076 |  |  |  | ERSA | M | 5000 | 1535938GZPCLNT100 | EA | 3000001 | CAGE;EPI,3176007728 | CAGE;EPI,3176007728 | CAGE;MNFR:EPIROC,PTNO:3176007728 |  |  | EPIROC | 3176007728 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3176007728 | [14 empty] | EPIROC | 3176007728 | EPIROC AUSTRALIA PTY LTD | 3176007728 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1083505 | 1083505 | 1453542 | AU_QM_001211556 |  | ERSA | M | 5920 | 1453542GZPCLNT100 | EA | 3000030 | CAGE;OUT,PO727F10MEMSW | CAGE;OUT,PO727F10MEMSW | CAGE;MNFR:OUTOTEC,PTNO:PO727F10MEMSW |  | CAGE:STILL WELL; | OUTOTEC | PO727F10MEMSW | 1068243 @@ OUTOTEC PTY LTD | PO727F10MEMSW | [14 empty] | OUTOTEC | PO727F10MEMSW | OUTOTEC PTY LTD | PO727F10MEMSW | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE | STILL WELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1103748 | 1103748 |  |  |  | ERSA | M | 1600 | 1570450GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW, PHO1404416,PWR,4POSN | CONECTOR CABLE;CNW, PHO1404416 | CONNECTOR,CABLE;MNFR:CNW,PTNO: PHO1404416,ADDITIONAL FEATURES EN:POWER,4POSN,SOCKET,STRAIGHT,M12 | CONECTOR CABLE;MNFR:CNW,PTNO: PHO1404416 |  | CNW | PHO1404416 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO1404416 | [12 empty] | PHOENIX CONTACT | 1404416 | CNW |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.phoenixcontact.com/en-in/products/circular-connector-cable-side-sacc-m12fs-4con-pg11-m-pwr-1404416 | https://www.mouser.in/ProductDetail/Phoenix-Contact/1404416?qs=iCzJi%2FIZBF5ZEkKZct1hFw%3D%3D | [8 empty] | ENRICHED | 39121413 Circular connectors |  |  | CONNECTOR | CIRCULAR | TYPE | POWER | CONNECTION TYPE | SOCKET | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 VAC/DC,8 A | NUMBER OF PINS | 4 | SIZE | 8 TO 10 ODX60.4 LGX20 WDX20 HT MM | MATERIAL | nickel-plated Zinc die-cast | INSULATION MATERIAL |  | ANGLE | straight | STUD/BOLT SIZE | M12 | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | IEC 61076-2-101 | [48 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1103749 | 1103749 |  |  |  | ERSA | M | 1600 | 1570449GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW, IFMEVC002,SCKT,250VAC | CONECTOR CABLE;CNW, IFMEVC002 | CONNECTOR,CABLE;MNFR:CNW,PTNO: IFMEVC002,ADDITIONAL FEATURES EN:SOCKET,250VAC,5M | CONECTOR CABLE;MNFR:CNW,PTNO: IFMEVC002 |  | CNW | IFMEVC002 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | IFMEVC002 | [12 empty] | IFM | EVC002 | CNW |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.ifm.com/in/en/product/EVC002 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:5 M,VOLTAGE RATING:250/300 VAC/DC |  | CONNECTOR | CABLE | TYPE | SOCKET,straight | TRADE SIZE | M12 | CABLE SIZE | 4.3 mm | CONNECTION TYPE |  | CONNECTOR MATERIAL | TPU | CABLE TYPE |  | HAZARD CLASS | IP65,67,68,69K | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1104913 | 1104913 |  |  |  | ERSA | M | 4500 | 1525817GZPCLNT100 | EA |  | CONNECTOR,CBL;M12,E SER,F,2906534 | CONNECTOR,CBL;M12,E SER,F,2906534 | CONNECTOR,CBL;ADDITIONAL FEATURES:M12,E SER,F,2906534 |  |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 2906534 | [12 empty] | Hirschmann | 933170100 | [12 empty] | RS COMPONENTS PTY LTD | 2906534 |  |  | https://my.rs-online.com/web/p/industrial-circular-connectors/2906534 | [9 empty] | ENRICHED | 39121413 Circular connectors | SERIES:E |  | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | FEMALE SOCKET | CONDUCTOR SIZE |  | ELECTRICAL RATING | 50 Vac,4 A | NUMBER OF PINS | 5 | SIZE | M12 | MATERIAL | Polymer | INSULATION MATERIAL |  | ANGLE | Straight | STUD/BOLT SIZE |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1104914 | 1104914 |  |  |  | ERSA | M | 4500 | 1525830GZPCLNT100 | EA |  | CONNECTOR,CBL;M12,SCRW,F,4 CON,2017155 | CONNECTOR,CBL;M12,SCRW,F,4 CON,2017155 | CONNECTOR,CBL;ADDITIONAL FEATURES:M12,SCRW,F,4 CON,2017155 |  |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 2017155 | [13 empty] | 2017155 | [12 empty] | RS COMPONENTS PTY LTD | 2017155 |  |  | https://us.rs-online.com/product/rs-pro/2017155/72287328/ | [9 empty] | ENRICHED | 39121413 Circular connectors | TERMINAL:SCREW |  | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | FEMALE PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 V,4 A | NUMBER OF PINS | 4 | SIZE | M12 | MATERIAL |  | INSULATION MATERIAL |  | ANGLE | Straight | STUD/BOLT SIZE |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1105337 | 1105337 |  |  |  | ERSA | M | 4500 | 1525818GZPCLNT100 | EA |  | CONNECTOR,CBL;M12,D SER,M,2017141 | CONNECTOR,CBL;M12,D SER,M,2017141 | CONNECTOR,CBL;ADDITIONAL FEATURES:M12,D SER,M,2017141 |  |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 4574757 | [13 empty] | 2017141 | [12 empty] | RS COMPONENTS PTY LTD | 4574757 |  |  | https://us.rs-online.com/product/rs-pro/2017141/72287315/ | [9 empty] | ENRICHED | 39121413 Circular connectors | SERIES:D |  | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | MALE SOCKET | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 V,4 A | NUMBER OF PINS | 4 | SIZE | M12 | MATERIAL |  | INSULATION MATERIAL |  | ANGLE | RIGHT | STUD/BOLT SIZE |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1105412 | 1105412 |  |  |  | ERSA | M | 4500 | 1525819GZPCLNT100 | EA |  | CONNECTOR,CBL;M12,D SER,ANGLE,2017152 | CONNECTOR,CBL;M12,D SER,ANGLE,2017152 | CONNECTOR,CBL;ADDITIONAL FEATURES:M12,D SER,ANGLE,2017152 |  |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 2017152 | [13 empty] | 2017152 | [12 empty] | RS COMPONENTS PTY LTD | 2017152 |  |  | https://us.rs-online.com/product/rs-pro/2017152/72287325/ | [9 empty] | ENRICHED | 39121413 Circular connectors | SERIES:D |  | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | MALE PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 V,4 A | NUMBER OF PINS | 4 | SIZE | M12 | MATERIAL |  | INSULATION MATERIAL |  | ANGLE | RIGHT | STUD/BOLT SIZE |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1108042 | 1108042 |  |  |  | ERSA | M | 2230 | 1349451GZPCLNT100 | EA |  | CAT FUEL INJECTOR SLEEVE SEAL; | CAT FUEL INJECTOR SLEEVE SEAL; | O-RING: CAT FUEL INJECTOR SLEEVE SEAL; 1604346 CYLINDER HEAD GRP; ELPHINSTONE R2900 LHD |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1349451 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1662903 | [10 empty] | CATERPILLAR | 166-2903 | CNW (MOUNT ISA) ELECT WHOLESALER | 1349451 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/166-2903 |  |  | FUEL INJECTOR SLEEVE SEAL,LHD | CATERPILLAR ELPHINSTONE | R2900 |  |  |  |  | ENRICHED | 31401503 O ring molded gasket | 1604346 CYLINDER HEAD GRP |  | O-RING | NO MODIFIER | INSIDE DIAMETER | 34.59 MM | OUTSIDE DIAMETER | 39.83 MM | WIDTH | 2.62 MM | MATERIAL | FKM RUBBER | DASH NUMBER | 126 | HARDNESS | 90 | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 175 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1112365 | 1112365 | 1430889 | AU_QM_000679209 |  | ERSA | M | 2230 | 1430889GZPCLNT100 | EA |  | D34KSL BEARING CARRIER O RING; | D34KSL BEARING CARRIER O RING; | O-RING: D34KSL BEARING CARRIER O RING; INNER IMPELLER SHAFT ROLLER BEARING; ITEM 57; TRANSFLUID D-34-KSL FLUID COUPLING |  | O-RING:D34KSL BEARING CARRIER O RING; |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 57 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 57 | [14 empty] | URL NOT FOUND |  | 57 | INNER IMPELLER SHAFT ROLLER BEARING,TRANSFLUID FLUID COUPLING | CARRIER | D34KSL,D-34-KSL |  |  |  |  | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1112565 | 1112565 | 1466174 | AU_QM_007124620 |  | ERSA | M | 2230 | 1466174GZPCLNT100 | EA |  | D34KSL BEARING CARRIER O RING; | D34KSL BEARING CARRIER O RING; | O-RING: D34KSL BEARING CARRIER O RING; OUTER IMPELLER SHAFT BALL BEARING; ITEM 69; TRANSFLUID D-34-KSL FLUID COUPLING |  | O-RING:D34KSL BEARING CARRIER O RING; |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 69 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 69 | [14 empty] | URL NOT FOUND |  | 69 | OUTER IMPELLER SHAFT BALL BEARING,TRANSFLUID FLUID COUPLING | CARRIER | D34KSL,D-34-KSL |  |  |  |  | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1136469 | 1136469 | 1445225 | AU_QM_001009081 |  | ERSA | M | 2230 | 1445225GZPCLNT100 | EA |  | ASH 5/4 PUMP O RING; | ASH 5/4 PUMP O RING; | O-RING: ASH 5/4 PUMP O RING; ASH 5/4 SRH PUMP |  | O-RING:ASH 5/4 PUMP O RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 1445225 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | 1445225 | [14 empty] | URL NOT FOUND |  |  | 5/4 SRH PUMP | ASH | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1137649 | 1137649 | 1425280 | AU_QM_000347708 |  | ERSA | M | 4005 | 1425280GZPCLNT100 | EA |  | AIR SAW ROTOR BEARING CAGE; | AIR SAW ROTOR BEARING CAGE; | CAGE: AIR SAW ROTOR BEARING CAGE; |  | CAGE:AIR SAW ROTOR BEARING CAGE; |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 3643103 | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | 1425280 | [12 empty] | SWANSTON TASMANIA PTY LTD | 3643103 | AIR & ALLIED SALES (PACIFIC) P/L | 1425280 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171518 Bearing cage | TYPE:AIR SAW ROTOR |  | CAGE | BEARING | BEARING TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | HEIGHT |  | MATERIAL |  | CAGE TYPE |  | ROLLING ELEMENT DIMENSIONS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1139061 | 1139061 |  |  |  | ERSA | M | 2230 | 1349456GZPCLNT100 | EA |  | CAT TURBOCHARGER OIL LINE SEAL; | CAT TURBOCHARGER OIL LINE SEAL; | O-RING: CAT TURBOCHARGER OIL LINE SEAL; 1033254 OIL LINES GRP; ELPHINSTONE R2900 LHD |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1349456 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1367227 | [10 empty] | CATERPILLAR | 136-7227 | CNW (MOUNT ISA) ELECT WHOLESALER | 1349456 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/136-7227 |  |  | TURBOCHARGER OIL LINE SEAL,LHD | CATERPILLAR ELPHINSTONE | R2900 |  |  |  |  | ENRICHED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER | 19.18 MM | OUTSIDE DIAMETER | 24.1 MM | WIDTH | 2.46 MM | MATERIAL | FKM RUBBER | DASH NUMBER | 910 | HARDNESS | 75 | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 175 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1139097 | 1139097 | 1362770 | AU_QM_000162283 |  | ERSA | M | 2230 | 1362770GZPCLNT100 | EA |  | BASKET O-RING; SUITS 700MM AUTO CLEAN ST | BASKET O-RING; SUITS 700MM AUTO CLEAN ST | O-RING: BASKET O-RING; SUITS 700MM AUTO CLEAN ST RAINER; PN-18 |  | O-RING:BASKET O-RING; SUITS 700MM AUTO CLEAN ST |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | 1362770 | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1362770 | [12 empty] | EMERSON AUTOMATION SOLUTIONS | 1362770 | KEYFLO PACIFIC PTY LTD | 1362770 | [12 empty] | URL NOT FOUND |  |  | 700 MM AUTO CLEAN STRAINER | [6 empty] | CLEANSED | 31401503 O ring molded gasket | TYPE:BASKET |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1139098 | 1139098 | 1362764 | AU_QM_000162277 |  | ERSA | M | 2230 | 1362764GZPCLNT100 | EA |  | BASKET O-RING; SUITS 500MM AUTO CLEAN ST | BASKET O-RING; SUITS 500MM AUTO CLEAN ST | O-RING: BASKET O-RING; SUITS 500MM AUTO CLEAN ST RAINER; PN-18 |  | O-RING:BASKET O-RING; SUITS 500MM AUTO CLEAN ST |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | 1362764 | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1362764 | [12 empty] | EMERSON AUTOMATION SOLUTIONS | 1362764 | KEYFLO PACIFIC PTY LTD | 1362764 | [12 empty] | URL NOT FOUND |  |  | 500 MM AUTO CLEAN STRAINER | [6 empty] | CLEANSED | 31401503 O ring molded gasket | TYPE:BASKET |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1146718 | 1146718 |  |  |  | ERSA | M | 1600 | 1505903GZPCLNT100 | EA |  | CONNECTOR,CBL;HS-AC001-20 | CONNECTOR,CBL;HS-AC001-20 | CONNECTOR,CBL;ADDITIONAL FEATURES:HS-AC001-20 |  |  |  |  | 1068759 @@ GOOD VIBRATIONS SENSORS P/L | 1505903 | [12 empty] | Hansford Sensors | 1505903 | GOOD VIBRATIONS SENSORS P/L | [15 empty] | https://www.hansfordsensors.com/wp-content/uploads/datasheets/HS-AC001.pdf | https://www.blackwoods.com.au/electrical/automation-control/industrial-automation/hansford-sensors-hs-ac001-20-accelerometer-side-connector-420s-series-2-pin-ms-connector-1-4-quot-28unf-male-mounting/p/01029371 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | NUMBER OF PINS:2 | CONNECTOR | CABLE | TYPE | SIDE | TRADE SIZE | 1/4 IN-28 TPI | CABLE SIZE |  | CONNECTION TYPE | UNF MS SOCKET | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1147022 | 1147022 |  |  |  | ERSA | M | 4090 | 1530758GZPCLNT100 | EA |  | BUMPER;SPEED HUMP,YELLOW,250MM,1510.Y | BUMPER;SPEED HUMP,YELLOW,250MM,1510.Y | BUMPER;ADDITIONAL FEATURES:SPEED HUMP,YELLOW,250MM,1510.Y |  |  |  |  | 1070445 @@ FROMM PACKAGING AUSTRALIA P/L | 1510.Y | [14 empty] | FROMM PACKAGING AUSTRALIA P/L | 1510.Y | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153130 Machine mounts or vibration isolators | COLOR:YELLOW |  | BUMPER | NO MODIFIER | TYPE | SPEED HUMP | MATERIAL |  | SIZE | 250 MM | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1147023 | 1147023 |  |  |  | ERSA | M | 4090 | 1530757GZPCLNT100 | EA |  | BUMPER;SPEED HUMP,BLACK,250MM,1510.B | BUMPER;SPEED HUMP,BLACK,250MM,1510.B | BUMPER;ADDITIONAL FEATURES:SPEED HUMP,BLACK,250MM,1510.B |  |  |  |  | 1070445 @@ FROMM PACKAGING AUSTRALIA P/L | 1510.B | [14 empty] | FROMM PACKAGING AUSTRALIA P/L | 1510.B | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153130 Machine mounts or vibration isolators | COLOR:BLACK |  | BUMPER | NO MODIFIER | TYPE | SPEED HUMP | MATERIAL |  | SIZE | 250 MM | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 | SERIES MATCH | 1154838 | 1154838 |  |  |  | ERSA | M | 5920 | 1506784GZPCLNT100 | EA |  | CAGE;FOUND CAGE 4M20 ,INGX4M202331200-86 | CAGE;FOUND CAGE 4M20 ,INGX4M202331200-86 | CAGE;ADDITIONAL FEATURES:FOUND CAGE 4M20 ,INGX4M202331200-86 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | INGX4M202331200-86 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | INGX4M202331200-86 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories | REF:4M20 |  | CAGE | NO MODIFIER | TYPE | FOUND | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1179439 | 1179439 |  |  |  | ERSA | M | 5955 | 1543079GZPCLNT100 | EA |  | BUMPER;BCKHOE,BCKHOE | PARACHOQUES; | BUMPER;SIZE:BACKHOE,ADDITIONAL FEATURES EN:BACKHOE | PARACHOQUES; |  |  |  | 1068417 @@ MAK DIESEL & EARTHMOVING | 400571A2 | [13 empty] | 400571A2 | MAK DIESEL & EARTHMOVING | 400571A2 | [14 empty] | https://www.messicks.com/part/400571a2?vendorcode=cas | [9 empty] | CLEANSED | 23153130 Machine mounts or vibration isolators | BACKHOE |  | BUMPER | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1182826 | 1182826 |  |  |  | ERSA | M | 4045 | 1564370GZPCLNT100 | EA |  | CAGE;1160X1160X570MMH | JAULA; | CAGE;SIZE:1160X1160X570MMH,ADDITIONAL FEATURES EN:400MM,MULTI-PURPOSE,PALLET,SWL 700KG | JAULA; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | PCFP1160-4 | [12 empty] | CONTAIN IT SOLUTIONS | PCFP1160-4 | [16 empty] | https://www.containit.com.au/product/400mm-high-multi-purpose-pallet-cage-2/ | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE | HIGH,MULTI-PURPOSE,PALLET | SIZE | 1160X1160X400 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183607 | 1183607 |  |  |  | ERSA | M | 2620 | 1562213GZPCLNT100 | EA |  | CONNECTOR,CBL;35-70 MM,FEM,CX58 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:35-70 MM,CONNECTION TYPE:FEMALE,CONNECTOR MATERIAL:TBC,ADDITIONAL FEATURES EN:CX58,CABLE CONNECT,35MM - 70MM | CONECTOR CABLE; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1562213 | [12 empty] | IWWS | CX58 | WELDERS PRO SHOP | 1562213 | [14 empty] | https://www.iwws.net/files/welding_accessories_section_2020_outline.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | FINISH:TBC |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 38 MM | CONNECTION TYPE | FEMALE Panel Socket | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183608 | 1183608 |  |  |  | ERSA | M | 2620 | 1562212GZPCLNT100 | EA |  | CONNECTOR,CBL;FEM,CX31 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:TBC,CONNECTION TYPE:FEMALE,CONNECTOR MATERIAL:TBC,ADDITIONAL FEATURES EN:CX31,CABLE CONNECT,35MM - 50MM | CONECTOR CABLE; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1562212 | [12 empty] | IWWS | CX31 | WELDERS PRO SHOP | 1562212 | [14 empty] | https://www.iwws.net/files/welding_accessories_section_2020_outline.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | FINISH:TBC |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 35 TO 70 MM | CONNECTION TYPE | Female Panel Socket | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183610 | 1183610 |  |  |  | ERSA | M | 2620 | 1562210GZPCLNT100 | EA |  | CONNECTOR,CBL;70 MM,M,BRS,70MM,CX23 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:70 MM,CONNECTION TYPE:MALE,CONNECTOR MATERIAL:BRASS,ADDITIONAL FEATURES EN:70MM,CX23 | CONECTOR CABLE; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1562210 | [12 empty] | IWWS | CX23 | WELDERS PRO SHOP | 1562210 | [14 empty] | https://www.iwws.net/files/welding_accessories_section_2020_outline.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 70 MM | CONNECTION TYPE | MALE PLUG | CONNECTOR MATERIAL | BRASS | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183611 | 1183611 |  |  |  | ERSA | M | 2620 | 1562209GZPCLNT100 | EA |  | CONNECTOR,CBL;50 MM,M,BRS,50MM,CX22 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:50 MM,CONNECTION TYPE:MALE,CONNECTOR MATERIAL:BRASS,ADDITIONAL FEATURES EN:50MM,CX22 | CONECTOR CABLE; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1562209 | [12 empty] | IWWS | CX22 | WELDERS PRO SHOP | 1562209 | [14 empty] | https://www.iwws.net/files/welding_accessories_section_2020_outline.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 50 MM | CONNECTION TYPE | MALE PLUG | CONNECTOR MATERIAL | BRASS | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1183612 | 1183612 |  |  |  | ERSA | M | 2620 | 1562208GZPCLNT100 | EA |  | CONNECTOR,CBL;35 MM,M,BRS,35MM,CX21 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:35 MM,CONNECTION TYPE:MALE,CONNECTOR MATERIAL:BRASS,ADDITIONAL FEATURES EN:35MM,CX21 | CONECTOR CABLE; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1562208 | [12 empty] | IWWS | CX21 | WELDERS PRO SHOP | 1562208 | [14 empty] | https://www.iwws.net/files/welding_accessories_section_2020_outline.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 35 MM | CONNECTION TYPE | MALE PLUG | CONNECTOR MATERIAL | BRASS | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184451 | 1184451 |  |  |  | ERSA | M | 4090 | 1559032GZPCLNT100 | EA |  | CAGE;EXTRNL,GAS CYLINDER,GBXS23 | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:EXTERNAL,GAS CYLINDER | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | GBXS23 | [12 empty] | EAST WEST ENGINEERING | GBXS23 | [16 empty] | https://www.eastwesteng.com.au/products/gas-cylinder-handling-storage/gbxs23 | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  |  | CAGE | NO MODIFIER | TYPE | EXTERNAL,Gas Cylinder Storage | SIZE | 2315 wDx1265 dPx2135 hT mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184452 | 1184452 |  |  |  | ERSA | M | 4090 | 1559031GZPCLNT100 | EA |  | CAGE;GAS CYLINDER,24X9KG,SGB249 | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:GAS CYLINDER,24X9KG | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | SGB249 | [12 empty] | EAST WEST ENGINEERING | SGB249 | [16 empty] | https://www.eastwesteng.com.au/products/gas-cylinder-handling-storage/sgb249 | [9 empty] | ENRICHED | 10131601 Cages or its accessories | No of Bottles (with mid shelf):24x9 kg,No of Bottles (mid shelf excluded):12x18 kg | Working Load Limit:500 kg | CAGE | NO MODIFIER | TYPE | Gas Cylinder Storage | SIZE | 2040x760x1285 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184453 | 1184453 |  |  |  | ERSA | M | 4090 | 1559030GZPCLNT100 | EA |  | CAGE;GAS CYLINDER,FLATPACKED,GB-CM2F | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:GAS CYLINDER,FLATPACKED | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | GB-CM2F | [12 empty] | EAST WEST ENGINEERING | GB-CM2F | [16 empty] | https://www.eastwesteng.com.au/products/gas-cylinder-handling-storage/gb-cm2 | https://www.tools.com/gas-cylinder-cage-flatpacked-gb-cm2f.html | [8 empty] | ENRICHED | 10131601 Cages or its accessories | FLAT PACKED | Working Load Limit:750 kg | CAGE | NO MODIFIER | TYPE | Gas Cylinder STORAGE | SIZE | 1030x1030x1928 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184454 | 1184454 |  |  |  | ERSA | M | 4090 | 1559029GZPCLNT100 | EA |  | CAGE;GOODS,WLL 2000KG,CSPN-2T | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:GOODS,WLL 2000KG | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | CSPN-2T | [12 empty] | EAST WEST ENGINEERING | CSPN-2T | [16 empty] | https://www.eastwesteng.com.au/cspn-01 | [9 empty] | ENRICHED | 10131601 Cages or its accessories | Working Load Limit:2000 KG |  | CAGE | NO MODIFIER | TYPE | Goods | SIZE | 1350x1350x1200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184455 | 1184455 |  |  |  | ERSA | M | 4090 | 1559028GZPCLNT100 | EA |  | CAGE;GOODS,WLL 1000KG,CSPN-1T | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:GOODS,WLL 1000KG | JAULA; |  |  |  | 1069988 @@ EAST-WEST FIRE SERVICES | CSPN-1T | 1069471 @@ EAST WEST ENGINEERING | CSPN-1T | [10 empty] | EAST WEST ENGINEERING | CSPN-1T | [16 empty] | https://www.eastwesteng.com.au/cspn-01 | [9 empty] | ENRICHED | 10131601 Cages or its accessories | Working Load Limit:1000 KG |  | CAGE | NO MODIFIER | TYPE | Goods | SIZE | 1350x1350x1155 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 | PARTIAL MATCH | 1184456 | 1184456 |  |  |  | ERSA | M | 4090 | 1559027GZPCLNT100 | EA |  | CAGE;BRK,FLAT PACKED,BSN-6F | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:BRICK,FLAT PACKED | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | BSN-6F | [12 empty] | EAST WEST ENGINEERING | BSN-6F | [16 empty] | https://www.eastwesteng.com.au/bsn-6 | [9 empty] | ENRICHED | 10131601 Cages or its accessories | FLAT PACKED | Working Load Limit:1000 kg | CAGE | NO MODIFIER | TYPE | Brick | SIZE | 1720 mm HT | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184457 | 1184457 |  |  |  | ERSA | M | 4090 | 1559026GZPCLNT100 | EA |  | CAGE;WORK PLATFORM,FRKLFT,FWP25 | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:WORK PLATFORM,FORKLIFT | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | FWP25 | [12 empty] | EAST WEST ENGINEERING | FWP25 | [16 empty] | https://www.eastwesteng.com.au/products/forklift/work-platforms/fwp25 | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  | Working Load Limit:250 kg | CAGE | NO MODIFIER | TYPE | Forklift Work Platform | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 2359.1 | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184459 | 1184459 |  |  |  | ERSA | M | 4090 | 1559024GZPCLNT100 | EA |  | CAGE;6 PERSON,CRANE + ROOF,ASSY,WP-NC2RA | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:6 PERSON,CRANE + ROOF,ASSEMBLED | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | WP-NC2RA | [12 empty] | EAST WEST ENGINEERING | WP-NC2RA | [16 empty] | https://www.eastwesteng.com.au/products/crane/wp-nc2r | [9 empty] | ENRICHED | 10131601 Cages or its accessories | Maximum Capacity:6 people,C/W ROOF,ASSEMBLED | Working Load Limit:750 kg | CAGE | NO MODIFIER | TYPE | Crane | SIZE | 2400x1200 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1418.17 | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184460 | 1184460 |  |  |  | ERSA | M | 4090 | 1559023GZPCLNT100 | EA |  | CAGE;CRN,4 PERSON + RF,ASSEMBLED,WP-NCRA | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:CRANE,4 PERSON + RF,ASSEMBLED | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | WP-NCRA | [12 empty] | EAST WEST ENGINEERING | WP-NCRA | [16 empty] | https://www.eastwesteng.com.au/wp-ncr | [9 empty] | ENRICHED | 10131601 Cages or its accessories | Maximum Capacity:4 people,C/W ROOF,ASSEMBLED | Working Load Limit:500 kg | CAGE | NO MODIFIER | TYPE | Crane | SIZE | 1200x1100 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1418.17 | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184461 | 1184461 |  |  |  | ERSA | M | 4090 | 1559022GZPCLNT100 | EA |  | CAGE;CRN,4 PERSON,ASSEMBLED,WP-NCA | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:CRANE,4 PERSON,ASSEMBLED | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | 1559022 | [12 empty] | EAST WEST ENGINEERING | WP-NCA | EAST WEST ENGINEERING | 1559022 | [14 empty] | https://www.eastwesteng.com.au/wp-nc | [9 empty] | ENRICHED | 10131601 Cages or its accessories | Maximum Capacity:4 people,ASSEMBLED | Working Load Limit:500 kg | CAGE | NO MODIFIER | TYPE | Crane | SIZE | 1200x1100 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1184465 | 1184465 |  |  |  | ERSA | M | 4045 | 1559018GZPCLNT100 | EA |  | CAGE;RIGGING,STOR,CNGC10 | JAULA; | CAGE;SIZE:TBC,ADDITIONAL FEATURES EN:RIGGING,STORAGE | JAULA; |  |  |  | 1069471 @@ EAST WEST ENGINEERING | CNGC10 | [12 empty] | EAST WEST ENGINEERING | CNGC10 | [16 empty] | https://www.eastwesteng.com.au/cngc10 | [9 empty] | ENRICHED | 10131601 Cages or its accessories |  | Working Load Limit:750 kg | CAGE | NO MODIFIER | TYPE | Rigging Storage | SIZE | 1030x1030x1930 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1186460 | 1186460 |  |  |  | ERSA | M | 1600 | 1552753GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW,ZCG7944,N-TYPE,MALE PL | CONECTOR CABLE;CNW,ZCG7944 | CONNECTOR,CABLE;MNFR:CNW,PTNO:ZCG7944,ADDITIONAL FEATURES EN:N-TYPE,MALE PLUG TO FEMALE JACK,R/A ADAPTOR | CONECTOR CABLE;MNFR:CNW,PTNO:ZCG7944 |  | CNW | ZCG7944 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ZCG7944 | [14 empty] | CNW | ZCG7944 | CNW (MOUNT ISA) ELECT WHOLESALER | ZCG7944 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | R/A ADAPTOR |  | CONNECTOR | CABLE | TYPE | N,PLUG TO JACK | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE | MALE TO FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1186461 | 1186461 |  |  |  | ERSA | M | 1600 | 1552752GZPCLNT100 | EA | 3000422 | CONNECTOR,CBL;CNW,ZCG7933-2,N-TYPE,MALER | CONECTOR CABLE;CNW,ZCG7933-2 | CONNECTOR,CABLE;MNFR:CNW,PTNO:ZCG7933-2,ADDITIONAL FEATURES EN:N-TYPE,MALE CRIMP,RG58 CABLE | CONECTOR CABLE;MNFR:CNW,PTNO:ZCG7933-2 |  | CNW | ZCG7933-2 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ZCG7933-2 | [14 empty] | CNW | ZCG7933-2 | CNW (MOUNT ISA) ELECT WHOLESALER | ZCG7933-2 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE | N | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE | MALE CRIMP | CONNECTOR MATERIAL |  | CABLE TYPE | RG58 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1187658 | 1187658 |  |  |  | ERSA | M | 4090 | 1610706GZPCLNT100 | EA |  | CONNECTOR,CBL;15 M,LINK320584 | CONECTOR CABLE; | CONNECTOR,CABLE;CABLE SIZE:15 M,CONNECTION TYPE:,CONNECTOR MATERIAL:,ADDITIONAL FEATURES EN:LINK320584 | CONECTOR CABLE; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | LINK320584 | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | LINK320584 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:15 M |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1188579 | 1188579 |  |  |  | ERSA | M | 3730 | 1585295GZPCLNT100 | EA | 3000003 | BUMPER;CAT,1323421 | PARACHOQUES;CAT,1323421 | BUMPER;MNFR:CATERPILLAR,PTNO:1323421 | PARACHOQUES;MNFR:CATERPILLAR,PTNO:1323421 |  | CATERPILLAR | 1323421 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1323421 | [12 empty] | CATERPILLAR | 132-3421 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/132-3421 | [9 empty] | ENRICHED | 23153130 Machine mounts or vibration isolators |  | Thread Size:M8 | BUMPER | NO MODIFIER | TYPE | FRAME AND BODY | MATERIAL | steel shank,rubber head | SIZE | 50 DIAX36 HT MM | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1210041 | 1210041 |  |  |  | ERSA | M | 5980 | 351356MRM | EA |  | BUMPER,NONMETAL:SCRAPER ADJUST LEVER STO | BUMPER,NONMETAL:SCRAPER ADJUST LEVER STO | BUMPER,NONMETAL:SCRAPER ADJUST LEVER STOP;DWG P411939;LAROX 132/144 PRESSURE FILTERS |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1210041 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1210041 | [14 empty] | URL NOT FOUND |  |  | PRESSURE FILTERS | LAROX | 132/144 |  | P411939 |  |  | CLEANSED | 23153130 Machine mounts or vibration isolators |  |  | BUMPER | NO MODIFIER | TYPE | NONMETAL,SCRAPER ADJUST LEVER STOP | MATERIAL |  | SIZE |  | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-20 |  | 1217717 | 1217717 |  |  |  | ERSA | M | 3700 | 270136MRM | EA |  | CAGE:BALL FLOAT CAGE | CAGE:BALL FLOAT CAGE | CAGE:BALL FLOAT CAGE |  |  |  |  | 1079267 @@ DAWSONS ENGINEERING (NQ) PTY LTD | PN1217717 | [14 empty] | DAWSONS ENGINEERING (NQ) PTY LTD | PN1217717 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 10131601 Cages or its accessories |  |  | CAGE | VALVE | TYPE | BALL FLOAT | VALVE SIZE |  | SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED