## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1047549 | 1047549 | 1412444 | AU_QM_000257902 |  | ERSA | M | 5915 | 1412444GZPCLNT100 | EA |  | BATTERY,D/CELL;LI,32-140 DEG F | BATTERY,D/CELL;LI,32-140 DEG F | BATTERY,DRY CELL;TYPE:LITHIUM,TEMPERATURE RATING:32-140 DEG F,ADDITIONAL FEATURES EN:CONTROLLOGIX,MNFR:01)CNW,PTNO:01)A-B1756BA1 |  | BATTERY,D/CELL;LI,32-140 DEG FBATTERY,D/CELL;LITHIUM,32-140DEG F | [16 empty] | ALLEN BRADLEY | 1756BA1 | CNW | [15 empty] | https://www.rockwellautomation.com/en-us/products/details.1756-BA1.html | https://us.rs-online.com/product/dantona-industries-inc-/1756-ba1/70235809/ | [8 empty] | ENRICHED | 26111705 Dry cell batteries | BRAND:CONTROLLOGIX |  | BATTERY | DRY CELL | TYPE | CYLINDRICAL,LITHIUM | VOLTAGE RATING | 3 VDC | CAPACITY | 1.8 AH | SIZE DESIGNATION |  | SIZE | 17 DIAX33.5 LG MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING | 32 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1206258 | 1206258 |  |  |  | ERSA | M | 4090 | 96768MRM | EA |  | BATTERY,NONRECHARGEABLE:1.5V;WATCH;10MM | BATTERY,NONRECHARGEABLE:1.5V;WATCH;10MM | BATTERY,NONRECHARGEABLE:1.5V;WATCH;10MM DIA X 3MM HIGH;STD PACK OF 12 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | PACKAGE QUANTITY:12/PK |  | BATTERY | NO MODIFIER | TYPE | NONRECHARGEABLE,WATCH | VOLTAGE RATING | 1.5 V | CAPACITY |  | SIZE DESIGNATION |  | SIZE | 10 DIAX3 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1214898 | 1214898 |  |  |  | ERSA | M | 4090 | 403634MRM | EA |  | BATTERY,NONRECHARGEABLE:3.7V,SIZE 1/2 AA | BATTERY,NONRECHARGEABLE:3.7V,SIZE 1/2 AA | BATTERY,NONRECHARGEABLE:3.7V,SIZE 1/2 AA,LITHIUM,HIGH ENERGY3.7V,WIRE SOLDER CONTACTSSIZE 1/2 AA,14.3MM DIA X 23MM HIGHSTD PACK OF 1 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111705 Dry cell batteries | HIGH ENERGY,WIRE SOLDER CONTACT,STANDARD PACKAGING QUANTITY:1/PK |  | BATTERY | DRY CELL | TYPE | NONRECHARGEABLE,LITHIUM | VOLTAGE RATING | 3.7 V | CAPACITY |  | SIZE DESIGNATION | 1/2 AA | SIZE | 14.3 DIAX23 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215497 | 1215497 |  |  |  | ERSA | M | 1600 | 456186MRM | PAA |  | BATTERY,STORAGE:1.5V;SIZE D;ALKALINE;FLA | BATTERY,STORAGE:1.5V;SIZE D;ALKALINE;FLA | BATTERY,STORAGE:1.5V;SIZE D;ALKALINE;FLAT CONTACTS;34.1MM DIA X 61.5MM HIGH;STD PACK OF 10 PAIRS | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111702 Alkaline batteries | FLAT CONTACTS,STANDARD PACKAGING QUANTITY:10 PAIR/PK |  | BATTERY | DRY CELL | TYPE | ALKALINE | VOLTAGE RATING | 1.5 V | CAPACITY |  | SIZE DESIGNATION | D | SIZE | 34.1 DIAX61.5 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215506 | 1215506 |  |  |  | ERSA | M | 4090 | 464974MRM | EA |  | BATTERY,STORAGE:12VDC;250CCA;9 PLATE;DUA | BATTERY,STORAGE:12VDC;250CCA;9 PLATE;DUA | BATTERY,STORAGE:12VDC;250CCA;9 PLATE;DUAL FIT TERM;R/HASSY;197MM LG X 129MM W X 227MM T.H.CAR DUTY;AS2149 SPEC; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | FLAT CONTACTS,STANDARD PACKAGING QUANTITY:10 PAIR/PK |  | BATTERY | STORAGE | TYPE |  | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE | DUAL FIT | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 197LGX129 WDX227 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS2149 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1204743 | 1204743 |  |  |  | ERSA | M | 4090 | 626646MRM | EA |  | BATTERY,STORAGE:12VDC;750CCA;MAINTENANCE | BATTERY,STORAGE:12VDC;750CCA;MAINTENANCE | BATTERY,STORAGE:12VDC;750CCA;MAINTENANCE FREE;100AH;333MM X 174MM X 240MM H;POLYPROPYLENECASE;CALCIUM DESIGN;BCI GRP SIZE 31;SUPPLIED WET; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 VDC,COLD CRANK AMPERAGE:750,CALCIUM DESIGN,BCI GROUP SIZE:31,SUPPLIED WET |  | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 100 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | POLYPROPYLENE | OVERALL SIZE | 333LGX174 WDX240 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215508 | 1215508 |  |  |  | ERSA | M | 4090 | 466003MRM | EA |  | BATTERY,STORAGE:12VDC;950CCA;29 PLATE;ST | BATTERY,STORAGE:12VDC;950CCA;29 PLATE;ST | BATTERY,STORAGE:12VDC;950CCA;29 PLATE;STD POST TERM;R/H ASSY;525MM LG X 281MM W X 243MM T.HLOW MAINT,TRUCK HEAVY DUTY,AS2149 SPEC**ACID SUPPLIED IN SEPARATE CONTAINERS** | [36 empty] | URL NOT FOUND |  |  | TRUCK | [6 empty] | CLEANSED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 VDC,COLD CRANKING AMPERAGE:950,29 PLATE,R/H ASSEMBLY,ACID SUPPLIED IN SEPARATE CONTAINERS |  | BATTERY | STORAGE | TYPE | LOW MAINTAINANCE,HEAVY DUTY | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 525 LGX281 WDX243 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS2149 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215670 | 1215670 |  |  |  | ERSA | M | 5915 | 1303940MRM | EA |  | BATTERY,STORAGE:BATTERY (12-VOLT)WHERE U | BATTERY,STORAGE:BATTERY (12-VOLT)WHERE U | BATTERY,STORAGE:BATTERY (12-VOLT)WHERE USED 245-5491 LUBRICATION GP-AUTOMCAT 349DL EX142 | [36 empty] | URL NOT FOUND |  |  |  | CATERPILLAR | 349DL EX142 |  |  |  |  | CLEANSED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 V,WHERE USED 245-5491 LUBRICATION GROUP-AUTOMATICALLY |  | BATTERY | STORAGE | TYPE |  | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1210585 | 1210585 |  |  |  | ERSA | M | 1600 | 164198MRM | EA |  | BATTERY,STORAGE:BATTERY; PROCESSOR BACK | BATTERY,STORAGE:BATTERY; PROCESSOR BACK | BATTERY,STORAGE:BATTERY; PROCESSOR BACKUP; SUITS CP471PROCESSOR; AFV30D FCS; YOKOGAWA | [36 empty] | URL NOT FOUND |  |  | PROCESSOR,FIELD CONTROL STATION | YOKOGAWA | CP471,AFV30D |  |  |  |  | CLEANSED | 26111700 Batteries and cells and accessories | FOR PROCESSOR BACKUP |  | BATTERY | STORAGE | TYPE |  | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1216464 | 1216464 |  |  |  | ERSA | M | 2920 | 205682MRM | EA |  | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T4;NO MAINTENANCESEALED;135MM LG X 45MM W X 190MM H;METAL MINES ONLY:OLDHAM GT4 CAPLAMP | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:4 VDC,GROUP SIZE:T4,NO MAINTENANCE,METAL MINES ONLY,FOR OLDHAM GT4 CAPLAMP |  | BATTERY | STORAGE | TYPE | SEALED | ELECTROLYTE |  | CAPACITY | 16 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 135 LGX45 WDX190 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1217753 | 1217753 |  |  |  | ERSA | M | 1600 | 926980MRM | EA |  | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T | BATTERY,STORAGE:CAPLAMP;4VDC;16AH;TYPE T6;NO MAINTENANCESEALED;135MM X 45MM X 190MM H;C/W PLASTIC COVER 1/250;OLDHAM GT4 CAPLAMP | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:4 VDC,GROUP SIZE:T4,NO MAINTENANCE,C/W PLASTIC COVER 1/250,FOR OLDHAM GT4 CAPLAMP |  | BATTERY | STORAGE | TYPE | SEALED | ELECTROLYTE |  | CAPACITY | 16 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 135 LGX45 WDX190 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1204734 | 1204734 |  |  |  | ERSA | M | 1600 | 626486MRM | EA |  | BATTERY,STORAGE:GP300;7.5V;120MAH;NICAD; | BATTERY,STORAGE:GP300;7.5V;120MAH;NICAD; | BATTERY,STORAGE:GP300;7.5V;120MAH;NICAD;MOTOROLA PORTABLE RADIO COMMS | [36 empty] | URL NOT FOUND |  |  | PORTABLE RADIO COMMS | MOTOROLA | GP300 |  |  |  |  | CLEANSED | 26111709 Nickel cadmium batteries | VOLTAGE RTAING:7.5 V |  | BATTERY | STORAGE | TYPE | NICKEL CADMIUM | ELECTROLYTE |  | CAPACITY | 120 MAH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215468 | 1215468 |  |  |  | ERSA | M | 1600 | 175335MRM | EA |  | BATTERY,STORAGE:LEAD ACID;SEALED;12V 55A | BATTERY,STORAGE:LEAD ACID;SEALED;12V 55A | BATTERY,STORAGE:LEAD ACID;SEALED;12V 55AH;VALEN;BING BONG FIRE WATER PUMP;MRM3200PU | [36 empty] | URL NOT FOUND |  |  | BING BONG FIRE WATER PUMP | VALEN | MRM3200PU |  |  |  |  | CLEANSED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V |  | BATTERY | STORAGE | TYPE | LEAD ACID,SEALED | ELECTROLYTE |  | CAPACITY | 55 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 | Multiple Products | 1212359 | 1212359 |  |  |  | ERSA | M | 1600 | 363196MRM | EA |  | BATTERY,STORAGE:MAGLITE RECHARGEABLE BAT | BATTERY,STORAGE:MAGLITE RECHARGEABLE BAT | BATTERY,STORAGE:MAGLITE RECHARGEABLE BATTERY PACK; | [124 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1216226 | 1216226 |  |  |  | ERSA | M | 4090 | 140884MRM | EA |  | BATTERY,STORAGE:N70ZZ;BESCO BATTERY;LIGH | BATTERY,STORAGE:N70ZZ;BESCO BATTERY;LIGH | BATTERY,STORAGE:N70ZZ;BESCO BATTERY;LIGHTING TOWERS; | [18 empty] | CENTURY BATTERIES | N70ZZ | BESCO | [15 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/n70zz%20mf/info | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories | FOR LIGHTING TOWERS | VOLTAGE RATING:12 V,COLD CRANKING AMPERAGE:720 | BATTERY | STORAGE | TYPE |  | ELECTROLYTE |  | CAPACITY | 85 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 305 LGX171 WDX225 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1208748 | 1208748 |  |  |  | ERSA | M | 1600 | 717280MRM | EA |  | BATTERY,STORAGE:RECOMBINATION,ELECTROLYT | BATTERY,STORAGE:RECOMBINATION,ELECTROLYT | BATTERY,STORAGE:RECOMBINATION,ELECTROLYTE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | STORAGE | TYPE | RECOMBINATION | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1206322 | 1206322 |  |  |  | ERSA | M | 2100 | 275305MRM | EA |  | BATTERY,STORAGE:TRUCK;12VDC;1000CCA; 50 | BATTERY,STORAGE:TRUCK;12VDC;1000CCA; 50 | BATTERY,STORAGE:TRUCK;12VDC;1000CCA; 506MM LG X 220MM WX 233MM TH; HEAVY DUTY;MAINTENANCE-FREE;N150MF | [18 empty] | CENTURY BATTERIES | N150MF | [16 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/n150%20mf/info |  |  | TRUCK | [6 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 VDC,COLD CRANKING AMPERAGE:1000 |  | BATTERY | STORAGE | TYPE | HEAVY DUTY,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 155 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 506 LGX220 WDX233 HTMM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1043912 | 1043912 | 1401824 | AU_QM_000246386 |  | ERSA | M | 5915 | 1401824GZPCLNT100 | EA |  | BATTERY,STORG;77 A HR | BATTERY,STORG;77 A HR | BATTERY,STORAGE;CAPACITY:77 A HR,OVERALL SIZE:WD 175 X LG 277 X HT 190 MM,MNFR:01)PARTS,PTNO:01)DIN65LHX MF |  | BATTERY,STORG;77 A HRBATTERY,STORG;77A HR,DIN65LHX MF | [16 empty] | CENTURY BATTERIES | DIN65LHX MF | [16 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/din65lhx%20mf/info |  |  | TRUCK | [6 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 V,COLD CRANKING AMPERAGE:760 |  | BATTERY | STORAGE | TYPE |  | ELECTROLYTE |  | CAPACITY | 77 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 277 LGX175 WDX190 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1156808 | 1156808 | 1366685 | AU_QM_000169537 |  | ERSA | M | 4090 | 1366685GZPCLNT100 | EA |  | BATTERY,STORG;LEAD ACID,4.5 A HR,6 V | BATTERY,STORG;LEAD ACID,4.5 A HR,6 V | BATTERY,STORAGE;TYPE:LEAD ACID,CAPACITY:4.5 A HR,ADDITIONAL FEATURES EN:6 V,MNFR:01)CNW,PTNO:01)BARPB645 |  | BATTERY,STORAGE:BATTERY LEAD ACID; 6V; 4.5AH | [14 empty] | CNW | BARPB645 | [18 empty] | URL NOT FOUND | [9 empty] | CEANSED | 26111707 Lead acid batteries | VOLTAGE RATING:6 V |  | BATTERY | STORAGE | TYPE | LEAD ACID | ELECTROLYTE |  | CAPACITY | 4.5 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1025125 | 1025125 | 1392383 | AU_QM_000235635 |  | ERSA | M | 1610 | 1392383GZPCLNT100 | EA | 3000012 | BATTERY,STORG;TOY,8974571010 | BATTERY,STORG;TOY,8974571010 | BATTERY,STORAGE;MNFR:TOYOTA,PTNO:8974571010 |  | OEM-E-LISTBATTERY,STORAGE;TOY,8974571010 | TOYOTA | 8974571010 | [14 empty] | TOYOTA | 8974571010 | [16 empty] | https://parts.lakelandtoyota.com/p/TOYOTA_2007_YARIS/BATTERY--TRANSMITTER/4206986/8974571010.html | https://www.toyotapartsdeal.com/oem/toyota~battery~transmitter~89745-71010.html | [8 empty] | ENRICHED | 26111700 Batteries and cells and accessories | OEM-E-LIST |  | BATTERY | STORAGE | TYPE | TRANSMITTER | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1043816 | 1043816 | 1404952 | AU_QM_000249783 |  | ERSA | M | 5915 | 1404952GZPCLNT100 | EA |  | BATTERY,STORG;WD 171 X LG 286 X HT 248 M | BATTERY,STORG;WD 171 X LG 286 X HT 248 M | BATTERY,STORAGE;OVERALL SIZE:WD 171 X LG 286 X HT 248 MM,ADDITIONAL FEATURES EN:TROJAN MOTIVE POWER,MNFR:01)PARTS,PTNO:01)SCS150 |  | BATTERY,STORG;WD 171 X LG 286 X HT 248 MBATTERY,STORG;TROJAN MOTIVE POWER | [16 empty] | TROJAN MOTIVE POWER | SCS150 | [16 empty] | https://www.trojanbattery.com/products/scs150-12v-flooded-battery | [9 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V,POWER RATING:ENERGY:1.33 KWH |  | BATTERY | STORAGE | TYPE | DEEP CYCLE FLOODED/WET | ELECTROLYTE |  | CAPACITY | 111 AH AT 100 HR | SHELF LIFE |  | TERMINAL TYPE | DUAL WING NUT | TEMPERATURE RATING | -20 TO 45 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | POLYPROPYLENE | OVERALL SIZE | 286 LGX171 WDX248 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1218275 | 1218275 |  |  |  | ERSA | M | 5920 | 270522MRM | EA |  | CAP,BEARING:MAST;LINER | CAP,BEARING:MAST;LINER | CAP,BEARING:MAST;LINER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171524 Bearing caps | MAST LINER |  | CAP | BEARING | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1209271 | 1209271 |  |  |  | ERSA | M | 5920 | 156976MRM | EA |  | CAP,CYLINDER:INNER FRONT;PISTON ROD;DT18 | CAP,CYLINDER:INNER FRONT;PISTON ROD;DT18 | CAP,CYLINDER:INNER FRONT;PISTON ROD;DT1800 DOUBLE TELESCOPIC AIR LEG | [36 empty] | URL NOT FOUND |  |  | DOUBLE TELESCOPIC AIR LEG |  | DT1800 |  |  |  |  | CLEANSED | 27131706 Pneumatic cylinder end caps |  |  | CAP | NO MODIFIER | TYPE | INNER FRONT,PISTON ROD CYLINDER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1207497 | 1207497 |  |  |  | ERSA | M | 5920 | 132892MRM | EA |  | CAP,END:END CAP; TAILSHAFT ASSEMBLY 200M | CAP,END:END CAP; TAILSHAFT ASSEMBLY 200M | CAP,END:END CAP; TAILSHAFT ASSEMBLY 200MM DIA;D6APRON FEEDER; | [36 empty] | URL NOT FOUND |  |  | APRON FEEDER |  | D6 |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware | TAILSHAFT ASSEMBLY |  | CAP | NO MODIFIER | TYPE | END | SIZE | 200 MM DIA | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1207408 | 1207408 |  |  |  | ERSA | M | 5820 | 1080076MRM | EA |  | CAP,END:SHAFT END CAP (KNOB)ROTOR REVERS | CAP,END:SHAFT END CAP (KNOB)ROTOR REVERS | CAP,END:SHAFT END CAP (KNOB)ROTOR REVERSAL COMPONENTNETZSCH M10000 ISAMILL | [36 empty] | URL NOT FOUND |  |  | ROTOR REVERSAL COMPONENT | NETZSCH ISAMILL | M10000 |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware | KNOB |  | CAP | NO MODIFIER | TYPE | SHAFT END | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1210522 | 1210522 |  |  |  | ERSA | M | 5700 | 162789MRM | EA |  | CAP,END:SIDE CAPS FITTING,: SECONDARY BE | CAP,END:SIDE CAPS FITTING,: SECONDARY BE | CAP,END:SIDE CAPS FITTING,: SECONDARY BELT CLEANER, DIRTWHACKER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR DIRTWHACKER SECONDARY BELT CLEANER,FITTING |  | CAP | NO MODIFIER | TYPE | END,SIDE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1210521 | 1210521 |  |  |  | ERSA | M | 5700 | 162788MRM | EA |  | CAP,END:SIDE CAPS,: SECONDARY BELT CLEAN | CAP,END:SIDE CAPS,: SECONDARY BELT CLEAN | CAP,END:SIDE CAPS,: SECONDARY BELT CLEANER, DIRTWHACKER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR DIRTWHACKER SECONDARY BELT CLEANER |  | CAP | NO MODIFIER | TYPE | END,SIDE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1207817 | 1207817 |  |  |  | ERSA | M | 5920 | 339091MRM | EA |  | CAP,FILLER OPENING:15LBS RATING;G1050LC; | CAP,FILLER OPENING:15LBS RATING;G1050LC; | CAP,FILLER OPENING:15LBS RATING;G1050LC;RADIATOR CAP | [17 empty] | G1050LC | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25174003 Radiator caps |  |  | CAP | FILLER OPENING | TYPE | RADIATOR | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING | 15 LB | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1211445 | 1211445 |  |  |  | ERSA | M | 3300 | 166020MRM | EA |  | CAP,FILLER OPENING:ADAPTOR W/O WEAR CAP | CAP,FILLER OPENING:ADAPTOR W/O WEAR CAP | CAP,FILLER OPENING:ADAPTOR W/O WEAR CAP | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | W/O WEAR CAP,ADAPTOR |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1209384 | 1209384 |  |  |  | ERSA | M | 5900 | 768622MRM | EA |  | CAP,FILLER OPENING:FUEL CAP;TOYOTA LANDC | CAP,FILLER OPENING:FUEL CAP;TOYOTA LANDC | CAP,FILLER OPENING:FUEL CAP;TOYOTA LANDCRUISER HZJ75 | [36 empty] | URL NOT FOUND |  |  | LANDCRUISER | TOYOTA | HZJ75 |  |  |  |  | CLEANSED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | FUEL | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1213984 | 1213984 |  |  |  | ERSA | M | 5955 | 776909MRM | EA |  | CAP,FILLER OPENING:TORO 0011/50D COOLER | CAP,FILLER OPENING:TORO 0011/50D COOLER | CAP,FILLER OPENING:TORO 0011/50D COOLER BREATHER;RADIATOR <(>&<)> GRILLE ASSY;TAMROCK TORO 0011 LOADER <(>&<)> 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | COOLER BREATHER,LOADER,TRUCK | TORO,TAMROCK | 0011/50D |  |  |  |  | CLEANSED | 25174003 Radiator caps | RADIATOR GRILLE ASSEMBLY |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1214005 | 1214005 |  |  |  | ERSA | M | 5955 | 776996MRM | EA |  | CAP,FILLER OPENING:TORO 50D/501DL TANK C | CAP,FILLER OPENING:TORO 50D/501DL TANK C | CAP,FILLER OPENING:TORO 50D/501DL TANK CAP;ENGINE GROUP;TORO 50D TRUCK <(>&<)> 501DL LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER,TRUCK | TORO | 50D/501DL |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware | ENGINE GROUP |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1108641 | 1108641 | 1426100 | AU_QM_000365205 |  | ERSA | M | 5915 | 1426100GZPCLNT100 | EA |  | CAP: | CAP: | CAP: |  | CAP: | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1020621 | 1020621 | 1381635 | AU_QM_000221591 |  | ERSA | M | 5955 | 1381635GZPCLNT100 | EA | 3000024 | CAP;ISU,1224400560 | CAP;ISU,1224400560 | CAP;MNFR:ISUZU,PTNO:1224400560 |  | CAP;ISU,1224400560CAP;ISU,1224400560 | ISUZU | 1224400560 | [14 empty] | ISUZU | 1224400560 | [16 empty] | https://www.okisuzu.com/en/index.php?m=product&id=17396 | [9 empty] | ENRICHED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | FUEL TANK | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1020615 | 1020615 | 1381683 | AU_QM_000221644 |  | ERSA | M | 5955 | 1381683GZPCLNT100 | EA | 3000024 | CAP;ISU,8980962260 | CAP;ISU,8980962260 | CAP;MNFR:ISUZU,PTNO:8980962260 |  | CAP;ISU,8980962260CAP;ISU,8980962260 | ISUZU | 8980962260 | [14 empty] | ISUZU | 8980962260 | [16 empty] | https://www.okisuzu.com/en/index.php?m=product&id=14951 | [9 empty] | CLEANSED | 25174003 Radiator caps |  |  | CAP | RADIATOR | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1020071 | 1020071 | 1393528 | AU_QM_000236989 |  | ERSA | M | 5955 | 1393528GZPCLNT100 | EA | 3000024 | CAP;ISU,IZ8981479450 | CAP;ISU,IZ8981479450 | CAP;MNFR:ISUZU,PTNO:IZ8981479450 |  | OEM-E-LISTCAP;ISU,IZ8981479450 | ISUZU | IZ8981479450 | [14 empty] | ISUZU | 8981479450 | [16 empty] | https://www.okisuzu.com/en/index.php?m=product&id=10214 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | VALVE | TYPE | STEM END | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1136179 | 1136179 | 1370789 | AU_QM_000184788 |  | ERSA | M | 4090 | 1370789GZPCLNT100 | EA |  | CM2000D BATTERY PACK;12VDC;4.4AH;L/ACID; | CM2000D BATTERY PACK;12VDC;4.4AH;L/ACID; | BATTERY PACK; CM2000D BATTERY PACK;12VDC;4.4AH;L/ACID; ELPHINSTONE LHD REMOTE PACK |  | BATTERY PACK; CM2000D BATTERY PACK;12VDC;4.4AH;L/ACID; | [15 empty] | CM2000D | [18 empty] | URL NOT FOUND |  |  | LOADERS | ELPHINSTONE | [5 empty] | CLEANSED | 26111707 Lead acid batteries |  |  | BATTERY PACK | NO MODIFIER | TYPE | REMOTE | VOLTAGE RATING | 12 VDC | CAPACITY | 4.4 AH | ELECTROCHEMICAL SYSTEM | LEAD ACID | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1005572 | 1005572 | 1449852 | AU_QM_001120138 |  | ERSA | M | 5955 | 1449852GZPCLNT100 | EA | 3000024 | CAP;ISU,8972391870 | CAP;ISU,8972391870 | CAP;MNFR:ISUZU,PTNO:8972391870 |  | CAP,FILLER OPENING: RADIATOR CAP; | ISUZU | 8972391870 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 8972391870 | [12 empty] | ISUZU | 8972391870 | AP TOWNSVILLE P/L T/A TONY IRELA | [15 empty] | https://www.okisuzu.com/en/index.php?m=product&id=3567 | [9 empty] | CLEANSED | 25174003 Radiator caps |  |  | CAP | RADIATOR | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1031392 | 1031392 | 1443990 | AU_QM_001003191 |  | ERSA | M | 5955 | 1443990GZPCLNT100 | EA | 3000024 | CAP;ISU,1117510051 | CAP;ISU,1117510051 | CAP;MNFR:ISUZU,PTNO:1117510051 |  | CAP,FILLER OPENING: ISUZU DIESEL OIL FILTER CAP | ISUZU | 1117510051 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 1117510051 | 1071153 @@ BRADKEN RESOURCES PTY LTD | 1117510051 | [10 empty] | ISUZU | 1117510051 | AP TOWNSVILLE P/L T/A TONY IRELA |  | BRADKEN RESOURCES PTY LTD | [13 empty] | https://www.isuzureplacementparts.com/sale-7563349-1117510051-oil-filter-cap-1-11751005-1-for-isuzu-cxz-parts-10pa1.html | [9 empty] | ENRICHED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | DIESEL OIL FILTER | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1034346 | 1034346 | 1392382 | AU_QM_000235634 |  | ERSA | M | 1610 | 1392382GZPCLNT100 | EA | 3000000 | BATTERY,STORG;ATL,RT1255F1 | BATTERY,STORG;ATL,RT1255F1 | BATTERY,STORAGE;MNFR:ATLAS COPCO,PTNO:RT1255F1 |  | OEM-E-LISTBATTERY,STORAGE;ATL,RT1255F1 | ATLAS COPCO | RT1255F1 | 1068132 @@ ATLAS BATTERIES MOUNT ISA | RT1255F1 | [12 empty] | RITAR | RT1255F1 | ATLAS COPCO |  | ATLAS BATTERIES MOUNT ISA | [13 empty] | https://www.blackwoods.com.au/automotive/workshop-tools-equipment/automotive-tools/ritar-rt1255f1-battery-vrla-5-5ah-12v/p/01713689 | https://www.supercharge.com.au/battery/rt1255f1/ | [8 empty] | ENRICHED | 26111700 Batteries and cells and accessories | OEM-E-LIST,VOLTAGE RATING:12 V |  | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 5.5 AH | SHELF LIFE |  | TERMINAL TYPE | F1 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 90 LGX70 WDX101 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1036587 | 1036587 |  |  |  | ERSA | M | 2620 | 1508392GZPCLNT100 | PAC |  | BATTERY;BOC,AWS422000 | BATTERY;BOC,AWS422000 | BATTERY LITHIUM 100, SL, 9000, 9100 PK/2 PTNO: AWS422000 |  |  |  |  | 1068135 @@ BOC LIMITED | AWS422000 | [12 empty] | 3M SPEED GLASS | AWS422000 | BOC LIMITED | [15 empty] | https://www.boc.com.au/shop/en/au/speedglas-100--9100--sl-and-9002-lithium-battery | https://static.prd.echannel.linde.com/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/Essentials%20Guide%20AU%202019%20Web%20v2.pdf | [8 empty] | CLEANSED | 26111711 Lithium batteries | FOR 100,SL,9000,9100,PACKAGING QUANTITY:2/PK |  | BATTERY | COIN CELL | TYPE | LITHIUM | VOLTAGE RATING |  | BATTERY CAPACITY |  | CHEMICAL COMPOSITION |  | BATTERY SIZE |  | DIAMETER |  | HEIGHT |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | Conflict in Product between Original Description & Web Source - Record Not Processed | 2023-10-16 | 2023-10-20 | Conflict in Product between Original Description & Web Source - Record Not Processed | 1050511 | 1050511 |  |  |  | ERSA | M | 4090 | 1574443GZPCLNT100 | EA |  | BATTERY,RECHRG;AA,1.2V 2AH NIMH | BATERIA RECAR; | BATTERY,RECHARGEABLE;SIZE:AA,ADDITIONAL FEATURES EN:1.2V 2AH NIMH | BATERIA RECARGABLE; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 527707 | [118 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1051795 | 1051795 |  |  |  | ERSA | M | 4005 | 1577325GZPCLNT100 | EA |  | BATTERY PACK;HD BOOSTER,12-24V,ES1224 | PAQUETE BATER; | BATTERY PACK;TYPE:HD BOOSTER,ADDITIONAL FEATURES EN:12-24V,ES1224 | PAQUETE BATERIAS; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | ES1224 | [12 empty] | TRUCK PAC | ES1224 | [16 empty] | https://cloreautomotive.com/product/es1224/ | https://www.portapower.com.au/jumpstarter/es-1224-12-24v-truck-pac/ | [8 empty] | ENRICHED | 26101700 Engine components and accessories |  | CLAMP OUTPUT:2510/1255 A,CABLE LENGTH:145 CM,DISPLAY:LED | STARTER | AUTOMOTIVE | TYPE | JUMP,HD BOOSTER | POWER RATING |  | VOLTAGE RATING | 12/24 V | CURRENT RATING | 3000/1500 A | TORQUE |  | TERMINAL TYPE |  | DISPLACEMENT |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1079559 | 1079559 |  |  |  | ERSA | M | 5955 | 1587913GZPCLNT100 | EA | 3000010 | CAP;SAN,85168219 | TAPA;SAN,85168219 | CAP;MNFR:SANDVIK,PTNO:85168219 | TAPA;MNFR:SANDVIK,PTNO:85168219 |  | SANDVIK | 85168219 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 85168219 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 85168219 | [10 empty] | SANDVIK MINING & CONSTRUCTION | 85168219 | [16 empty] | https://www.aga-parts.com/es/sandvik/part/85168219_valve-cap/ | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | VALVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1079650 | 1079650 |  |  |  | ERSA | M | 5955 | 1588107GZPCLNT100 | EA | 3000010 | CAP;SAN,BG00479418 | TAPA;SAN,BG00479418 | CAP;MNFR:SANDVIK,PTNO:BG00479418 | TAPA;MNFR:SANDVIK,PTNO:BG00479418 |  | SANDVIK | BG00479418 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00479418 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG00479418 | [10 empty] | SANDVIK MINING & CONSTRUCTION | BG00479418 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00479418_cap-filling/ | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1083146 | 1083146 |  |  |  | ERSA | M | 5000 | 1611326GZPCLNT100 | EA | 3000010 | CAP;SAN,81709749 | TAPA;SAN,81709749 | CAP;MNFR:SANDVIK,PTNO:81709749 | TAPA;MNFR:SANDVIK,PTNO:81709749 |  | SANDVIK | 81709749 | 1068527 @@ Enzed Mount Isa(RKM Investments) | 81709749 | [12 empty] | SANDVIK | 81709749 | ENZED MOUNT ISA(RKM INVESTMENTS) | [15 empty] | https://www.aga-parts.com/zh-hans/sandvik/part/sd0812_nut-cap-3-4-jic-rb-81709749-rb/ | [9 empty] | ENRICHED | 31161705 Cap nuts |  |  | NUT | CAP | TYPE |  | THREAD SIZE | 3/4 IN | THREAD TYPE | JIC | WIDTH ACROSS FLAT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1084257 | 1084257 |  |  |  | ERSA | M | 1600 | 1582594GZPCLNT100 | EA | 3000422 | BATTERY,RECHRG;CNW,MIARB-BA203060,CRANE | BATERIA RECAR;CNW,MIARB-BA203060 | BATTERY,RECHARGEABLE;MNFR:CNW,PTNO:MIARB-BA203060,ADDITIONAL FEATURES EN:CRANE REMOTE | BATERIA RECARGABLE;MNFR:CNW,PTNO:MIARB-BA203060 |  | CNW | MIARB-BA203060 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MIARB-BA203060 | [12 empty] | MASTER INSTRUMENTS P/L | ARB-BA203060 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.master-instruments.com.au/products/63613/ARB-BA203060.html | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | FOR CRANE REMOTE |  | BATTERY | RECHARGEABLE | TYPE |  | VOLTAGE RATING | 6 V | SIZE DESIGNATION |  | CAPACITY | 800 MAH | CHEMICAL COMPOSITION | NICKEL METAL HYDRIDE | MATERIAL |  | TERMINAL TYPE |  | SIZE | 15 LGX56 WDX53 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1085062 | 1085062 |  |  |  | ERSA | M | 1600 | 1578018GZPCLNT100 | EA | 3000422 | BATTERY,RECHRG;CNW,BSA12LFP200P,12V 200A | BATERIA RECAR;CNW,BSA12LFP200P | BATTERY,RECHARGEABLE;MNFR:CNW,PTNO:BSA12LFP200P,ADDITIONAL FEATURES EN:12V 200AH LITHIUM DEEP CYCLE DRYPOWER | BATERIA RECARGABLE;MNFR:CNW,PTNO:BSA12LFP200P |  | CNW | BSA12LFP200P | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BSA12LFP200P | [12 empty] | DRYPOWER | 12LFP200P | CNW (MOUNT ISA) ELECT WHOLESALER | BSA12LFP200P | [14 empty] | https://www.drypower.com.au/power/product/25977/rechargeable-lithium-lifepo4-modules--12v-rechargeable-lithium-deep-cycle-battery.html | https://www.batteriesdirect.com.au/shop/product/36828/12lfp200p.html | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  | WATT HOUR RATING:2560 WH | BATTERY | RECHARGEABLE | TYPE | DEEP CYCLE LITHIUM | VOLTAGE RATING | 12.8 V | SIZE DESIGNATION |  | CAPACITY | 200 AH | CHEMICAL COMPOSITION | LITHIUM IRON PHOSPHATE | MATERIAL |  | TERMINAL TYPE | F18 | SIZE | 490 LGX170 WDX240 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1085063 | 1085063 |  |  |  | ERSA | M | 1600 | 1578019GZPCLNT100 | EA | 3000422 | BATTERY,RECHRG;CNW,BSA12LFP75,12V 75AH | BATERIA RECAR;CNW,BSA12LFP75 | BATTERY,RECHARGEABLE;MNFR:CNW,PTNO:BSA12LFP75,ADDITIONAL FEATURES EN:12V 75AH LITHIUM IRON PHOSPHATE DRYPOWER | BATERIA RECARGABLE;MNFR:CNW,PTNO:BSA12LFP75 |  | CNW | BSA12LFP75 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BSA12LFP75 | [12 empty] | DRYPOWER | 12LFP75 | CNW (MOUNT ISA) ELECT WHOLESALER | BSA12LFP75 | [14 empty] | https://www.drypower.com.au/power/product/25929/rechargeable-lithium-lifepo4-modules--12v-rechargeable-lithium-deep-cycle-battery.html | [9 empty] | ENRICHED | 26111701 Rechargeable batteries |  | WATT HOUR RATING:957.44 WH | BATTERY | RECHARGEABLE | TYPE | DEEP CYCLE LITHIUM | VOLTAGE RATING | 12.8 V | SIZE DESIGNATION |  | CAPACITY | 74.8 AH | CHEMICAL COMPOSITION | LITHIUM IRON PHOSPHATE | MATERIAL |  | TERMINAL TYPE | F18 | SIZE | 260 LGX168 WDX211 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1104639 | 1104639 |  |  |  | ERSA | M | 1610 | 1478554GZPCLNT100 | EA |  | BATTERY,LITHIUM,3V,BWS-BAT01 | BATTERY,LITHIUM,3V,BWS-BAT01 | BATTERY,LITHIUM,3V,BWS-BAT01 |  |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | BWS-BAT01 | [12 empty] | HONEYWELL | BWS-BAT01 | ALLIANCE SAFETY EQUIPMENT P/L | [15 empty] | https://www.globaltestsupply.com/product/honeywell-bw-bws-bat01-replacement-battery | https://www.bw-gasmonitors.com/bws-bat01.html | [8 empty] | ENRICHED | 26111705 Dry cell batteries |  |  | BATTERY | DRY CELL | TYPE | REPLACEMENT,LITHIUM | VOLTAGE RATING | 3 V | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1113444 | 1113444 |  |  |  | ERSA | M | 1600 | 1572696GZPCLNT100 | PAC |  | BATTERY,D/CELL;AAA,LI,2PK,ENERGIZER | BATERIA SECA; | BATTERY,DRY CELL;SIZE:AAA,ADDITIONAL FEATURES EN:LITHIUM,2PK,ENERGIZER | BATERIA SECA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 6485626 | [12 empty] | ENERGIZER | L92BP2T | [12 empty] | J BLACKWOOD & SONS | 06485626 |  |  | https://www.blackwoods.com.au/electrical/batteries/aaa-batteries/battery-energizer-aaa-lith-l92bp2t-2pk/p/06485626 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | PACKAGING QUANTITY:2/PK,SECA |  | BATTERY | DRY CELL | TYPE | ULTIMATE LITHIUM | VOLTAGE RATING | 1.5 V | CAPACITY |  | SIZE DESIGNATION | AAA | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE | 20 YR | TEMPERATURE RATING | -40 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1127156 | 1127156 |  |  |  | ERSA | M | 5000 | 1600974GZPCLNT100 | EA | 3000010 | CAP;SAN,BG00695258 | TAPA;SAN,BG00695258 | CAP;MNFR:SANDVIK,PTNO:BG00695258 | TAPA;MNFR:SANDVIK,PTNO:BG00695258 |  | SANDVIK | BG00695258 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00695258 | [12 empty] | SANDVIK MINING & CONSTRUCTION | BG00695258 | [16 empty] | https://www.volza.com/p/equipements/export/export-from-finland/hsn-code-843143/ | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1127216 | 1127216 |  |  |  | ERSA | M | 5000 | 1599827GZPCLNT100 | EA | 3000010 | CAP;SAN,BG00321960 | TAPA;SAN,BG00321960 | CAP;MNFR:SANDVIK,PTNO:BG00321960 | TAPA;MNFR:SANDVIK,PTNO:BG00321960 |  | SANDVIK | BG00321960 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00321960 | [12 empty] | SANDVIK MINING & CONSTRUCTION | BG00321960 | [16 empty] | https://www.aga-parts.com/sandvik-parts?page=8240 | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1127433 | 1127433 |  |  |  | ERSA | M | 5000 | 1597400GZPCLNT100 | EA | 3000010 | CAP;SAN,81261009 | TAPA;SAN,81261009 | CAP;MNFR:SANDVIK,PTNO:81261009 | TAPA;MNFR:SANDVIK,PTNO:81261009 |  | SANDVIK | 81261009 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 81261009 | [12 empty] | SANDVIK MINING & CONSTRUCTION | 81261009 | [16 empty] | https://www.sparepower.co.za/parts/geographe-pins-bushes/81261009-aftermarket/ | [9 empty] | ENRICHED | 40172400 Pipe caps |  |  | CAP | PIPE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | BSPT | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1147339 | 1147339 |  |  |  | ERSA | M | 4090 | 1527691GZPCLNT100 | EA |  | BATTERY,RECHRG;3.7 V,3400 MAH,L,ZL501001 | BATTERY,RECHRG;3.7 V,3400 MAH,L,ZL501001 | BATTERY,RECHRG;ADDITIONAL FEATURES:3.7 V,3400 MAH,L,ZL501001 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | ZL501001 | [12 empty] | LEDLENSER | 18650 | MOUNT ISA MINING SUPPLIES P/L | ZL501001 | [14 empty] | https://ledlenser.com.au/products/18650-battery?_pos=1&_sid=32c448240&_ss=r | https://www.blackwoods.com.au/electrical/portable-lighting/portable-lighting-accessories-spares/battery-recharg-led-lenser-18650-p7r-h8r/p/03717840 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 3.7 V | SIZE DESIGNATION |  | CAPACITY | 3000 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1147786 | 1147786 |  |  |  | ERSA | M | 4005 | 1496116GZPCLNT100 | EA |  | BATTERY,RECHARGEABLE;ACCSS6001 | BATTERY,RECHARGEABLE;ACCSS6001 | BATTERY,RECHARGEABLE;ADDITIONAL FEATURES:ACCSS6001 |  |  |  |  | 1070625 @@ FARO SINGAPORE PTE LTD | 1496116 | [12 empty] | FARO SINGAPORE PTE LTD | ACCSS6001 |  | 1496116 | [14 empty] | https://www.batteries4pro.com/en/Tooling/Topography/3,19829-battery-144v-66ah-li-ion-fpcbp524-for-fujitsu-celsius-h980-4894128178729.html | https://lupo-baterie.pl/en/geodetic-devices/102231-regeneration-faro-focus3d-bmz-accss6001-144v-li-ion-5903940329666.html | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  | WATT HOUR RATING:97.2 WH | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 14.4 V | SIZE DESIGNATION |  | CAPACITY | 6.75 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 78 LGX72 WDX63 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1150371 | 1150371 |  |  |  | ERSA | M | 4010 | 1480645GZPCLNT100 | EA |  | BATTERY,INVCITA,24V,150AH,LITHIUM DEEP C | BATTERY,INVCITA,24V,150AH,LITHIUM DEEP C | BATTERY,INVCITA,24V,150AH,LITHIUM DEEP C |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | IVCSNL24V150BT | 1068740 @@ METAL MANUFACTURES PTY LTD | 1480645 | [10 empty] | INVICTA | SNL24V150BT | METAL MANUFACTURES PTY LTD | 1480645 | [14 empty] | https://invicta.mymedia.delivery/wp-content/uploads/2020/09/SNL24V150BT.pdf | https://batteryhq.com.au/products/invicta-24v125ah | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | DEEP CYCLE LITHIUM | VOLTAGE RATING | 25.6 V | SIZE DESIGNATION |  | CAPACITY | 150 AH | CHEMICAL COMPOSITION | LITHIUM IRON PHOSPHATE | MATERIAL |  | TERMINAL TYPE | M8 | SIZE | 518 LGX271 WDX222 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES | > 2000 | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | 0 TO 50 DEG C (CHARGE),-20 TO 55 DEG C (DISCHARGE) | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL1642,IEC | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1154026 | 1154026 |  |  |  | ERSA | M | 4005 | 1534067GZPCLNT100 | EA |  | BATTERY,RECHRG;MILWAUKEE RED LIT,6502660 | BATTERY,RECHRG;MILWAUKEE RED LIT,6502660 | BATTERY,RECHRG;ADDITIONAL FEATURES:MILWAUKEE RED LIT,6502660 |  |  |  |  | 1068155 @@ REECE PTY LTD | 6502660 | [12 empty] | MILWAUKEE | M18B5 | REECE PTY LTD | 6502660 | [14 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/m18-batteries/M18B5.html | https://www.reece.com.au/product/milwaukee-red-lith-battery-5-0ah-18v-6502660?query=6502660 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | REDLITHIUM-ION | VOLTAGE RATING | 18 V | SIZE DESIGNATION |  | CAPACITY | 5 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1155185 | 1155185 |  |  |  | ERSA | M | 4010 | 1514537GZPCLNT100 | EA |  | BATTERY,RECHARGEABLE;18 V,4.0 AH,7701305 | BATTERY,RECHARGEABLE;18 V,4.0 AH,7701305 | BATTERY,RECHARGEABLE;ADDITIONAL FEATURES:18 V,4.0 AH,7701305 |  |  |  |  | 1068155 @@ REECE PTY LTD | 7701305 | [12 empty] | ROTHENBERGER | 1000001653 | REECE PTY LTD | 7701305 | [14 empty] | https://rothenberger.com/rs-en/cordless-accessories/ro-bp-18-4-battery-18v-4-0ah-1000001653 | https://www.reece.com.au/product/rothenberger-battery-4-0ah-18v-7701305?query=7701305 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  | PLUG TYPE:C | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 18 V | SIZE DESIGNATION |  | CAPACITY | 4 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 | Processed based on Websource, Conflict w.r.t Input | 1156685 | 1156685 | 1359265 | AU_QM_000155462 |  | ERSA | M | 4090 | 1359265GZPCLNT100 | EA |  | BATTERY,D/CELL;18 V,4 A HR | BATTERY,D/CELL;18 V,4 A HR | BATTERY,DRY CELL;VOLTAGE RATING:18 V,CAPACITY:4 A HR,ADDITIONAL FEATURES EN:CHARGE TIME 36 MINS,MNFR:01)CNW,PTNO:01)MAKBL1840B-L |  | BATTERY,STORAGE:4 AMP HOUR BATTERY; CHARGE TIME 36 MINS; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAKBL1840B-L | [12 empty] | MAKITA | BL1840B-L | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.makita.co.nz/products/model/BL1840B | https://www.tools.com/makita-4-0ah-lithium-battery-with-charge-indicator-bl1840b-l.html | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 18 V | SIZE DESIGNATION |  | CAPACITY | 4 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING | 36 MIN | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1156864 | 1156864 | 1364679 | AU_QM_000166591 |  | ERSA | M | 4090 | 1364679GZPCLNT100 | EA |  | BATTERY,D/CELL;3.6 VDC,AA,MILS,CNW | BATTERY,D/CELL;3.6 VDC,AA,MILS,CNW | BATTERY,DRY CELL;VOLTAGE RATING:3.6 VDC,SIZE DESIGNATION:AA,ADDITIONAL FEATURES EN:MILS,MNFR:01)CNW,PTNO:01)MILS1400 |  | BATTERY,STORAGE:MILS; AA; 3.6V; SUITS LED 40W |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1282764 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | MILS1400 |  |  |  | 1282764 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111705 Dry cell batteries | MILS,FOR LED 40 W |  | BATTERY | DRY CELL | TYPE |  | VOLTAGE RATING | 3.6 VDC | CAPACITY |  | SIZE DESIGNATION | AA | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 | Processed based on Websource, Conflict w.r.t Input | 1157472 | 1157472 | 1450300 | AU_QM_001130814 |  | ERSA | M | 4090 | 1450300GZPCLNT100 | EA |  | BATTERY,D/CELL;NI-CD, RECHARGEABLE,18 V | BATTERY,D/CELL;NI-CD, RECHARGEABLE,18 V | BATTERY,DRY CELL;NI-CD, RECHARGEABLE,VOLTAGE RATING:18 V,CAPACITY:2 A HR,MNFR:01)CNW,PTNO:01)MAK1822 |  | BATTERY,STORAGE:18.00V;2.0Ah;Ni-Cd RECHARGEABLE;MAKITA |  |  | 1068652 @@ J BLACKWOOD & SONS | 8170207 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAK1822 | [10 empty] | MAKITA | BL1830B-L | CNW (MOUNT ISA) ELECT WHOLESALER | MAK1822 | [10 empty] | J BLACKWOOD & SONS | 08170207 |  |  | https://www.makitatools.com/products/details/BL1830B | https://www.blackwoods.com.au/power-tools/cordless-power-tools/li-ion-battery-makita/battery-lion-18v-3amp-bl1830b/p/08170207 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | DRYCELL,LITHIUM-ION,CORDLESS | VOLTAGE RATING | 18 V | SIZE DESIGNATION |  | CAPACITY | 3 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING | 30 MIN | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1179585 | 1179585 |  |  |  | ERSA | M | 1600 | 1542891GZPCLNT100 | EA |  | BATTERY,D/CELL;UPS,VRLA,24VDC,7.2AH | BATERIA SECA; | BATTERY,DRY CELL;SIZE:UPS,VRLA,24VDC,7.2AH,ADDITIONAL FEATURES EN:UPS,VRLA,24VDC,7.2AH | BATERIA SECA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO2320319 | [12 empty] | PHOENIX CONTACT | 2320319 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.phoenixcontact.com/en-in/products/battery-unit-ups-batvrla24dc72ah-2320319 | [9 empty] | ENRICHED | 26111707 Lead acid batteries | TECHNOLOGY:VRLA,VOLTAGE RATING:24 VDC | OUTPUT CURRENT:50 A,CHARGING CURRENT:2.88 A,NUMBER OF CELLS:2,MOUNTING:DIN RAIL | BATTERY | STORAGE | TYPE | DRYCELL,UPS | ELECTROLYTE |  | CAPACITY | 7.2 AH | SHELF LIFE | 6 TO 9 YR | TERMINAL TYPE |  | TEMPERATURE RATING | 0 TO 40 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | METAL | OVERALL SIZE | 135 WDX202 HTX110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,EN 62368-1/VDE 0868-1 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1180762 | 1180762 |  |  |  | ERSA | M | 4090 | 1574126GZPCLNT100 | EA |  | BATTERY,RECHRG;3.6V,CRANE REMOTE CONT | BATERIA RECAR; | BATTERY,RECHARGEABLE;SIZE:3.6V,ADDITIONAL FEATURES EN:CRANE REMOTE CONT,TRANSMITTER,ARB-BA223030 | BATERIA RECARGABLE; |  |  |  | 1068502 @@ ATOM SUPPLY | 416151 | [12 empty] | MASTER INSTRUMENTS P/L | ARB-BA223030 | ATOM SUPPLY | 416151 | [14 empty] | https://www.master-instruments.com.au/products/62826/ARB-BA223030.html | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | FOR CRANE REMOTE CONTROL TRANSMITTER | WATT HOUR RATING:8.28 WH | BATTERY | RECHARGEABLE | TYPE |  | VOLTAGE RATING | 3.6 V | SIZE DESIGNATION |  | CAPACITY | 2.3 AH | CHEMICAL COMPOSITION | NICKEL METAL HYDRIDE | MATERIAL |  | TERMINAL TYPE |  | SIZE | 18.2 LGX47.6 WDX60.3 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1181233 | 1181233 |  |  |  | ERSA | M | 4010 | 1567940GZPCLNT100 | EA |  | BATTERY,RECHRG;18 V,5.2AH,LI-ION,22149-L | BATERIA RECAR;18 V | BATTERY,RECHARGEABLE;VOLTAGE RATING:18 V,SIZE:5.2AH,ADDITIONAL FEATURES EN:LI-ION,22149-L | BATERIA RECARGABLE;VOLTAJE:18 V |  |  |  | 1068342 @@ ISADRAULICS | 22149-L | [12 empty] | RAD | 22149-L | ISADRAULICS | [15 empty] | https://www.primesupplies.com.au/product/battery-5-2-ah-li-ion-t-s-b-rad-torque-tool/ | [9 empty] | CLEANSED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 18 V | SIZE DESIGNATION |  | CAPACITY | 5.2 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1181242 | 1181242 |  |  |  | ERSA | M | 4090 | 1567931GZPCLNT100 | EA |  | BATTERY,RECHRG;1730 MAH,GOPRO,HERO9,BLK | BATERIA RECAR; | BATTERY,RECHARGEABLE;SIZE:1730 MAH,ADDITIONAL FEATURES EN:GOPRO,HERO9,BLACK | BATERIA RECARGABLE; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | ADBAT-001 | [12 empty] | GOPRO | ADBAT-001 | HARVEY NORMAN FURNITURE MT ISA | [15 empty] | https://gopro.com/en/us/shop/mounts-accessories/rechargeable-camera-battery/ADBAT-001.html | https://www.croma.com/gopro-adbat-001-1720-mah-li-ion-rechargeable-battery-for-hero9-and-10/p/229096 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | COLOR:BLACK,FOR HERO9 |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION,CAMERA | VOLTAGE RATING | 4.4 V | SIZE DESIGNATION |  | CAPACITY | 1720 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1204255 | 1204255 |  |  |  | ERSA | M | 4090 | 990392MRM | EA |  | BATTERY,STORAGE:12VDC;1200CCA;520MM X 21 | BATTERY,STORAGE:12VDC;1200CCA;520MM X 21 | BATTERY,STORAGE:12VDC;1200CCA;520MM X 218MM X 248MM H;POLYPROPYLENE CASE;LOW ANTIMONY CALCIUMDESIGN;145AH;BCI GRP SIZE:4D; **NB:CATERPILLAR BATTERY ONLY** |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1535700 | [12 empty] | CATERPILLAR | 153-5700 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/153-5700 | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 VDC,BCI GROUP SIZE:4D,COLD CRANKING AMPERAGE:1125,LOW ANTIMONY CALCIUM DESIGN,NB:CATERPILLAR BATTERY ONLY | RESERVR CAPACITY:305 MIN | BATTERY | STORAGE | TYPE | HEAVY-DUTY,MAINTENANCE-FREE WET | ELECTROLYTE |  | CAPACITY | 145 AH | SHELF LIFE |  | TERMINAL TYPE | SAE POSTS | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | POLYPROPYLENE | OVERALL SIZE | 489 LGX218 WDX221 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1215454 | 1215454 |  |  |  | ERSA | M | 4090 | 175205MRM | PAC |  | BATTERY POWER SOURCETBE;SUIT TACTIC PERM | BATTERY POWER SOURCETBE;SUIT TACTIC PERM | BATTERY POWER SOURCETBE;SUIT TACTIC PERMALUBES;TACTIC EMV |  |  |  |  | 1068219 @@ VIVA ENERGY AUSTRALIA PTY LTD | HSPP10030 | [10 empty] | VIVA ENERGY AUSTRALIA PTY LTD | HSPP10030 |  |  | TBE | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | FOR TACTIC PERMALUBES,EMV |  | BATTERY | NO MODIFIER | TYPE | POWERSOURCE | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1216955 | 1216955 |  |  |  | ERSA | M | 4090 | 147467MRM | EA |  | BATTERY,STORAGE:BATT IMPRES LIION TIA495 | BATTERY,STORAGE:BATT IMPRES LIION TIA495 | BATTERY,STORAGE:BATT IMPRES LIION TIA4950 HE DENS IP68 2900T |  |  |  |  | 1070470 @@ CSE CROSSCOM PTY LTD | PMNN4489A | [12 empty] | MOTOROLA | PMNN4489A | CSE CROSSCOM PTY LTD | [15 empty] | https://shop.motorolasolutions.com/impres-li-ion-2900mah-ul-tia4950-battery/product/PMNN4489A | https://www.grainger.com/product/MOTOROLA-Radio-Battery-Fits-Motorola-487T55?partial-content=1 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | TECHNOLOGY:IMPRES,DEGREE OF PROTECTION:IP68 | COLOR:BLACK | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION,RADIO | VOLTAGE RATING | 7.4 V | SIZE DESIGNATION |  | CAPACITY | 2900 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 50.8 LGX25.4 WDX112.27 HT MM | RECHARGEABLE TIMING | 3 HR | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL TIA4950 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK_2 | 2023-10-16 | 2023-10-20 |  | 1217027 | 1217027 |  |  |  | ERSA | M | 4090 | 792820MRM | EA |  | BATTERY,STORAGE:12VDC;720CCA;17 PLATE;R/ | BATTERY,STORAGE:12VDC;720CCA;17 PLATE;R/ | BATTERY,STORAGE:12VDC;720CCA;17 PLATE;R/H POSITIVE; 305X 172 X 225MM H;WET |  |  |  |  | 1078924 @@ CENTURY YUASA BATTERIES | NS70ZZL | [12 empty] | CENTURY YUASA BATTERIES | NS70ZZL | [16 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/n70zzl%20mf/info | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 VDC,COLD CRANKING AMPERAGE:720,17 PLATE,R/H POSITIVE |  | BATTERY | STORAGE | TYPE | WET | ELECTROLYTE |  | CAPACITY | 85 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 305 LGX171 WDX225 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed