## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1066538 | 1066538 | 1426591 | AU_QM_000399618 |  | ERSA | M | 2230 | 1426591GZPCLNT100 | EA |  | ACTUATOR CYLINDER COVER | ACTUATOR CYLINDER COVER | O-RING: ACTUATOR CYLINDER AND COVER FOR K61 CHILLER TYPE.321-193 |  | O-RING:ACTUATOR CYLINDER & COVER | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31401503 O ring molded gasket | TYPE:ACTUATOR CYLINDER AND COVER,REF:321-193,FOR K61 CHILLER |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1170366 | 1170366 | 1426548 | AU_QM_000398438 |  | ERSA | M | 4500 | 1426548GZPCLNT100 | EA |  | CONNECTOR,ELEC;RECPT,TELEPHONE SO,CNW | CONNECTOR,ELEC;RECPT,TELEPHONE SO,CNW | CONNECTOR,ELECTRICAL;TYPE:RECEPTACLE,ADDITIONAL FEATURES EN:TELEPHONE SO,MNFR:01)CNW,PTNO:01)ACCP6105 |  | CONNECTOR,RECEPTACLE,ELEC:TELEPHONE SOCKET; | [17 empty] | ACCP6105 | CNW | [15 empty] | https://www.idealelectrical.com/aie/category/Data-Security-and-Automation/Communications-Accessories/Accessories-for-telecommunication-technique/610W-WALL-MTD-SOCKET/ACCP6105/p/11264061 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | FOR TELEPHONE |  | CONNECTOR | ELECTRICAL | TYPE | RECEPTACLE,SOCKET | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204125 | 1204125 |  |  |  | ERSA | M | 1600 | 597930MRM | EA |  | CONNECTOR,PLUG,ELEC:4MM BLACK,FULL CONTA | CONNECTOR,PLUG,ELEC:4MM BLACK,FULL CONTA | CONNECTOR,PLUG,ELEC:4MM BLACK,FULL CONTACT PIN,STACKING TYPESOLDER CONNECTION,SHATTERPROOF,STD PACK OF 50 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | color:black,connection:solder,package quantity:50/pack,FULL CONTACT PIN |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,STACKING,SHATTERPROOF | CONDUCTOR SIZE | 4 MM | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204124 | 1204124 |  |  |  | ERSA | M | 1600 | 597922MRM | EA |  | CONNECTOR,PLUG,ELEC:4MM RED,FULL CONTACT | CONNECTOR,PLUG,ELEC:4MM RED,FULL CONTACT | CONNECTOR,PLUG,ELEC:4MM RED,FULL CONTACT PIN,STACKING TYPESOLDER CONNECTION,SHATTERPROOF,STD PACK OF 50 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | color:red,connection:solder,package quantity:50/pack,FULL CONTACT PIN |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,STACKING,SHATTERPROOF | CONDUCTOR SIZE | 4 MM | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204581 | 1204581 |  |  |  | ERSA | M | 1600 | 42713MRM | EA |  | CONNECTOR,PLUG,ELEC:500V;63A;5 ROUND PIN | CONNECTOR,PLUG,ELEC:500V;63A;5 ROUND PIN | CONNECTOR,PLUG,ELEC:500V;63A;5 ROUND PINS;ALUMINIUM;ALUMINIUM SCREW RING; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | round pinS |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 500 V,63 A | NUMBER OF PINS | 5 | MATERIAL | ALUMINIUM BODY,ALUMINIUM SCREW RING | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1216620 | 1216620 |  |  |  | ERSA | M | 1600 | 529941MRM | EA |  | CONNECTOR,PLUG,ELEC:6 POLE. | CONNECTOR,PLUG,ELEC:6 POLE. | CONNECTOR,PLUG,ELEC:6 POLE. | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 6 p | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204297 | 1204297 |  |  |  | ERSA | M | 1600 | 36947MRM | EA |  | CONNECTOR,PLUG,ELEC:60A;1000V;RESTRAINED | CONNECTOR,PLUG,ELEC:60A;1000V;RESTRAINED | CONNECTOR,PLUG,ELEC:60A;1000V;RESTRAINED;BRONZE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,RESTRAINED | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1000 V,60 A | NUMBER OF PINS |  | MATERIAL | BRONZE | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1211203 | 1211203 |  |  |  | ERSA | M | 1600 | 357931MRM | EA |  | CONNECTOR,PLUG,ELEC:63A;1000V;3P+E+PILOT | CONNECTOR,PLUG,ELEC:63A;1000V;3P+E+PILOT | CONNECTOR,PLUG,ELEC:63A;1000V;3P+E+PILOT;POLY;MARECHAL; | [16 empty] | MARECHAL | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | POLE ARRANGEMENT:3 P+E,PILOT |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 1000 V,63 A | NUMBER OF PINS |  | MATERIAL | POLY | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1209285 | 1209285 |  |  |  | ERSA | M | 5920 | 157154MRM | EA |  | CONNECTOR,PLUG,ELEC:ANDERSON PLUG;79.4MM | CONNECTOR,PLUG,ELEC:ANDERSON PLUG;79.4MM | CONNECTOR,PLUG,ELEC:ANDERSON PLUG;79.4MM X 55.6MM X 25.4MM X133.3MM;CU TERMINAL; POLYCARBONATE HOUSING;175A;PAIR | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | package quantity:PAIR,size:79.4X55.6X25.4X133.3 MM |  | CONNECTOR | ELECTRICAL | TYPE | ANDERSON PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 175 A | NUMBER OF PINS |  | MATERIAL | POLYCARBONATE,CU TERMINAL | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210192 | 1210192 |  |  |  | ERSA | M | 4090 | 161826MRM | EA |  | CONNECTOR,PLUG,ELEC:APPLIANCE INLET; MAL | CONNECTOR,PLUG,ELEC:APPLIANCE INLET; MAL | CONNECTOR,PLUG,ELEC:APPLIANCE INLET; MALE DRAIN; DS6 SEMI RECESSED P | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | connection:MALE DRAIN,APPLIANCE INLET,DS6 SEMI RECESSED p |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1217768 | 1217768 |  |  |  | ERSA | M | 1600 | 931584MRM | EA |  | CONNECTOR,PLUG,ELEC:COAX PLUG;N TYPE; | CONNECTOR,PLUG,ELEC:COAX PLUG;N TYPE; | CONNECTOR,PLUG,ELEC:COAX PLUG;N TYPE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | N,COAX PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1216221 | 1216221 |  |  |  | ERSA | M | 1600 | 4081071MRM | EA |  | CONNECTOR,PLUG,ELEC:DIN CONNECTOR;43650A | CONNECTOR,PLUG,ELEC:DIN CONNECTOR;43650A | CONNECTOR,PLUG,ELEC:DIN CONNECTOR;43650A-GDM;250V;3 POLE/E;HIRSCHMAN PLUG | [16 empty] | HIRSCHMAN | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | POLE ARRANGEMENT:3 P+E,SERIES:GDM,DIN TYPE: DIN 43650 A |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 250 V | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1203501 | 1203501 |  |  |  | ERSA | M | 1600 | 22376MRM | EA |  | CONNECTOR,PLUG,ELEC:G300 2-WAY RADIO ACC | CONNECTOR,PLUG,ELEC:G300 2-WAY RADIO ACC | CONNECTOR,PLUG,ELEC:G300 2-WAY RADIO ACCESSORY PLUG; | [36 empty] | URL NOT FOUND |  |  | 2-WAY RADIO |  | G300 |  |  |  |  | CLEANSED | 39121400 Electrical lugs plugs and connectors | ACCESSORY |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1203498 | 1203498 |  |  |  | ERSA | M | 1600 | 22293MRM | EA |  | CONNECTOR,PLUG,ELEC:GM300 2-WAY RADIO,CO | CONNECTOR,PLUG,ELEC:GM300 2-WAY RADIO,CO | CONNECTOR,PLUG,ELEC:GM300 2-WAY RADIO,COAXIAL; | [36 empty] | URL NOT FOUND |  |  | 2-WAY RADIO |  | GM300 |  |  |  |  | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,COAXIAL | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1205497 | 1205497 |  |  |  | ERSA | M | 1600 | 78451MRM | EA |  | CONNECTOR,PLUG,ELEC:HARTING 10 PIN & EAR | CONNECTOR,PLUG,ELEC:HARTING 10 PIN & EAR | CONNECTOR,PLUG,ELEC:HARTING 10 PIN <(>&<)> EARTH PLUG; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | EARTH PLUG,HARTING | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS | 10 | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1203989 | 1203989 |  |  |  | ERSA | M | 5955 | 989192MRM | EA |  | CONNECTOR,PLUG,ELEC:HARTING 4/8 PLUS EAR | CONNECTOR,PLUG,ELEC:HARTING 4/8 PLUS EAR | CONNECTOR,PLUG,ELEC:HARTING 4/8 PLUS EARTH; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | 4/8 PLUS EARTH |  | CONNECTOR | ELECTRICAL | TYPE | PLUG,HARTING | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1205221 | 1205221 |  |  |  | ERSA | M | 1600 | 271504MRM | EA |  | CONNECTOR,PLUG,ELEC:KIT | CONNECTOR,PLUG,ELEC:KIT | CONNECTOR,PLUG,ELEC:KIT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | KIT | NO MODIFIER | TYPE | ELECTRICAL PLUG CONNECTOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210451 | 1210451 |  |  |  | ERSA | M | 1600 | 1197151MRM | EA |  | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 160AMP | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 160AMP | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 160AMP (6.3MM); | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:NS-BUSPLUG |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE | 6.3 MM | ELECTRICAL RATING | 160 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210452 | 1210452 |  |  |  | ERSA | M | 1600 | 1197169MRM | EA |  | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 250AMP | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 250AMP | CONNECTOR,PLUG,ELEC:NS - BUSPLUG 250AMP (6.3MM); | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:NS-BUSPLUG |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE | 6.3 MM | ELECTRICAL RATING | 250 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210932 | 1210932 |  |  |  | ERSA | M | 1600 | 164950MRM | EA |  | CONNECTOR,PLUG,ELEC:NS-BUS PLUG 630A (6. | CONNECTOR,PLUG,ELEC:NS-BUS PLUG 630A (6. | CONNECTOR,PLUG,ELEC:NS-BUS PLUG 630A (6.3MM) | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:NS-BUSPLUG |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE | 6.3 MM | ELECTRICAL RATING | 630 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210487 | 1210487 |  |  |  | ERSA | M | 1600 | 1198274MRM | EA |  | CONNECTOR,PLUG,ELEC:NS-BUSPLUG 80AMP (6. | CONNECTOR,PLUG,ELEC:NS-BUSPLUG 80AMP (6. | CONNECTOR,PLUG,ELEC:NS-BUSPLUG 80AMP (6.3MM) | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:NS-BUSPLUG |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE | 6.3 MM | ELECTRICAL RATING | 80 A | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1210290 | 1210290 |  |  |  | ERSA | M | 5920 | 134579MRM | EA |  | CONNECTOR,PLUG,ELEC:PLUG-IN CONNECTOR 24 | CONNECTOR,PLUG,ELEC:PLUG-IN CONNECTOR 24 | CONNECTOR,PLUG,ELEC:PLUG-IN CONNECTOR 24V 2M CABLE;PROCESS PIPELINES;LAROX PF144; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:2 M,REF:LAROX PF144,PROCESS PIPELINES |  | CONNECTOR | ELECTRICAL | TYPE | PLUG-IN | CONDUCTOR SIZE |  | ELECTRICAL RATING | 24 V | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1015878 | 1015878 |  |  |  | ERSA | M | 2200 | 1616767GZPCLNT100 | EA |  | CONNECTOR;MALE,4MMX1/8,SUS 316 | CONECTOR;MACHO | CONNECTOR;TYPE:MALE,SIZE:4MMX1/8,MATERIAL:SUS 316 | CONECTOR;TIPO:MACHO |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H04-01S | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H04-01S | [16 empty] | https://us.rs-online.com/product/smc-corporation/kqg2h04-01s/70072085/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | TUBE SIZE:4 MM,PORT SIZE:1/8 IN |  | CONNECTOR | NO MODIFIER | TYPE | FITTING | SIZE |  | CONNECTION TYPE | MALE | MATERIAL | STAINLESS STEEL 316 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1015879 | 1015879 |  |  |  | ERSA | M | 2200 | 1616768GZPCLNT100 | EA |  | CONNECTOR;MALE,4MMX1/4,SUS 316 | CONECTOR;MACHO | CONNECTOR;TYPE:MALE,SIZE:4MMX1/4,MATERIAL:SUS 316 | CONECTOR;TIPO:MACHO |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H04-02S | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQG2H04-02S | [16 empty] | https://www.smcelectric.com/products/smc-spnkqg2h0402s/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | TUBE SIZE:4 MM,PORT SIZE:1/4 IN |  | CONNECTOR | NO MODIFIER | TYPE | FITTING | SIZE |  | CONNECTION TYPE | MALE | MATERIAL | STAINLESS STEEL 316 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1036190 | 1036190 |  |  |  | ERSA | M | 4090 | 1508006GZPCLNT100 | PAC |  | CONNECTOR,COMM;SPLICE ,SPLPROT-HS-2.5/45 | CONNECTOR,COMM;SPLICE ,SPLPROT-HS-2.5/45 | CONNECTOR,COMM;ADDITIONAL FEATURES:SPLICE ,SPLPROT-HS-2.5/45 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SPLPROT-HS-2.5/45 | [12 empty] | AFL | SPLPROT-HS-2.5/45 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://afl-delivery.stylelabs.cloud/api/public/content/AU-Product-Line-Reference-Guide-Enclosures-Racks?v=d74f5de8 | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories |  |  | PROTECTOR | NO MODIFIER | TYPE | Heatshrink,Splice | SIZE | 2.55x45 mm | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1039842 | 1039842 | 1402531 | AU_QM_000247166 |  | ERSA | M | 5915 | 1402531GZPCLNT100 | EA |  | CONNECTOR,COMM;RG58,BNC CRIMP | CONNECTOR,COMM;RG58,BNC CRIMP | CONNECTOR,COMMUNICATION;TYPE:RG58,CONNECTION TYPE:BNC CRIMP,MNFR:01)PARTS,PTNO:01)BNC-113 |  | CONNECTOR,COMM;RG58,BNC CRIMPCONNECTOR,COMM;RG58,BNC CRIMP,BNC-113 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1402531 | 1068652 @@ J BLACKWOOD & SONS | 231986 | [10 empty] | PULSE | BNC-113 | CNW (MOUNT ISA) ELECT WHOLESALER | 1402531 | [10 empty] | J BLACKWOOD & SONS | 231986 |  |  | http://pulseconnector.com.au/downloads/data-sheets/BNC-113_BNC-113RG.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | contact:CRIMP |  | CONNECTOR | CABLE | TYPE | Straight,PLUG | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL | Brass | CABLE TYPE | RG58 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1050044 | 1050044 |  |  |  | ERSA | M | 4090 | 1563414GZPCLNT100 | PAC |  | CONNECTOR;12MM X 1/2,S/S,PNUE | CONECTOR; | CONNECTOR;SIZE:12MM X 1/2,MATERIAL:S/S,ADDITIONAL FEATURES EN:PNUE | CONECTOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H12-04NS | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H12-04NS | [16 empty] | https://www.smcpneumatics.com/pdfs/KQ.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | TUBE SIZE:12 MM,PORT SIZE:1/2 IN,PNUE |  | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,Straight | SIZE |  | CONNECTION TYPE | MALE | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1054428 | 1054428 |  |  |  | ERSA | M | 1600 | 1605171GZPCLNT100 | EA |  | CONNECTOR,COMM;MODULR,RJ45,JK,LAN:CAT5E | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;TYPE:MODULAR,CONNECTION TYPE:RJ45,ADDITIONAL FEATURES EN:JACK,LAN:CAT5E,PORT;1X1,NO. OF POSITIONS / LOADED CONTACTS (PER PORT):8P8C;,IP68;PANEL MOUNT | CONECTOR COMUNICACION; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELE1687567 | [12 empty] | BULGIN LIMITED | 1687567 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://in.element14.com/bulgin/px0839-90/connector-cat5e-coupler-horz/dp/1687567 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | Port Configuration:1X1,MOUNT:PANEL | ANGLE:RIGHT | CONNECTOR | COMMUNICATION | TYPE | MODULAR | CONNECTION TYPE | RJ45 Jack | NUMBER OF PINS | 8 | INTERFACE TYPE | Cat5e | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS | IP68,69K | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1055314 | 1055314 |  |  |  | ERSA | M | 4090 | 1615401GZPCLNT100 | EA |  | CONNECTOR,COMM;OUTDR,ETHERNET,CAT6 | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;TYPE:OUTDOOR,CONNECTION TYPE:ETHERNET,INTERFACE TYPE:CAT6,ADDITIONAL FEATURES EN:RJ45,IP67,WATERPROOF BULKHEAD | CONECTOR COMUNICACION; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | TELTA-EWOC | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | TELTA-EWOC | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | WATERPROOF BULKHEAD |  | CONNECTOR | COMMUNICATION | TYPE | OUTDOOR | CONNECTION TYPE | RJ45 ETHERNET | NUMBER OF PINS |  | INTERFACE TYPE | CAT6 | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1056102 | 1056102 |  |  |  | ERSA | M | 5100 | 1585465GZPCLNT100 | EA |  | CONNECTOR,COMM;PLG,RJ45,CAT6 | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;TYPE:PLUG,CONNECTION TYPE:RJ45,INTERFACE TYPE:CAT6,ADDITIONAL FEATURES EN:PN:1963600000,WEIDMULLER, CONNECTION 2:IDC,DESIGNATION:IE-PS-RJ45-FH-BK,CONDUCTOR MATERIAL:COPPER | CONECTOR COMUNICACION; |  |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | WEI1963600000 | [12 empty] | WEIDMULLER | 1963600000 | CNW (TOWNSVILLE) ELECT SUPPLIES | [15 empty] | https://in.element14.com/weidmuller/1963600000/plug-rj45-cat6a-field-install/dp/1823210 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTION 2:IDC,DESIGNATION:IE-PS-RJ45-FH-BK,CONDUCTOR MATERIAL:COPPER |  | CONNECTOR | COMMUNICATION | TYPE | MODULAR | CONNECTION TYPE | RJ45 PLUG | NUMBER OF PINS | 8 | INTERFACE TYPE | CAT6 | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL | Die-cast zinc | HAZARD CLASS | IP20 | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 | SERIES MATCH | 1057660 | 1057660 |  |  |  | ERSA | M | 2200 | 1609586GZPCLNT100 | EA |  | CONNECTOR;MALE,1/2X1/2 IN,BRS,ONE-TOUCH | CONECTOR;MACHO,BRAND:SMC | CONNECTOR;TYPE:MALE,SIZE:1/2X1/2 IN,MATERIAL:BRASS,ADDITIONAL FEATURES EN:ONE-TOUCH | CONECTOR;TIPO:MACHO,CARACTERISTICAS ADICIONALES ES:BRAND:SMC |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQB2H13-04S-X73 | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQB2H13-04S-X73 | [16 empty] | https://www.smcworld.com/catalog/en/fitting_tube/KQB2-E/6-7-p0139-0159-kqb2_en/data/6-7-p0139-0159-kqb2_en.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,STRAIGHT UNION | SIZE | 1/2X1/2 IN | CONNECTION TYPE | MALE | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1065466 | 1065466 | 1470773 | AU_QM_009176548 |  | ERSA | M | 1600 | 1470773GZPCLNT100 | EA |  | BELL-LEE PLUG;81R RAISEBORER; | BELL-LEE PLUG;81R RAISEBORER; | CONNECTOR,PLUG,ELEC: BELL-LEE PLUG;81R RAISEBORER; |  | CONNECTOR,PLUG,ELEC:BELL-LEE PLUG;81R RAISEBORER; |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 406001 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 406001 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | REF:81R,RAISE BORER |  | CONNECTOR | ELECTRICAL | TYPE | BELL-LEE,PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1067958 | 1067958 | 1440326 | AU_QM_000983328 |  | ERSA | M | 4090 | 1440326GZPCLNT100 | EA |  | APM ANODE LOWERING CONVEYOR; | APM ANODE LOWERING CONVEYOR; | CONNECTOR: APM ANODE LOWERING CONVEYOR; CONNECTION PIECE; ANODE PREPARATION MACHINE; |  | CONNECTOR:APM ANODE LOWERING CONVEYOR; |  |  | 1069489 @@ DANA SAC AUSTRALIA PTY LTD | 37133 | 1070670 @@ METSO OUTOTEC FINLAND OY | 37133 | 1068243 @@ OUTOTEC PTY LTD | 37133 | [10 empty] | DANA SAC AUSTRALIA PTY LTD | 37133 | METSO OUTOTEC FINLAND OY | 37133 | OUTOTEC PTY LTD | 37133 | [10 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTION PIECE,APM ANODE LOWERING CONVEYOR,ANODE PREPARATION MACHINE |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1084473 | 1084473 |  |  |  | ERSA | M | 1600 | 1578939GZPCLNT100 | EA | 3000422 | CONNECTOR,COMM;CNW,RSC8019267,1MM FIBRE | CONECTOR COMUNIC;CNW,RSC8019267 | CONNECTOR,COMMUNICATION;MNFR:CNW,PTNO:RSC8019267,ADDITIONAL FEATURES EN:1MM FIBRE,GREY,PLASTIC OPTICAL 1MM FIBRE SIZE,BROADCOM,HFBR- 4535Z,POF SINGLE MODE SIMPLEX FIBRE OPTIC | CONECTOR COMUNICACION;MNFR:CNW,PTNO:RSC8019267 |  | CNW | RSC8019267 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RSC8019267 | [12 empty] | Broadcom | HFBR-4535Z | CNW | 801-9267 | CNW (MOUNT ISA) ELECT WHOLESALER | 801-9267 | [12 empty] | https://uk.rs-online.com/web/p/fibre-optic-connectors/8019267 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | COLOR:GREY,FIBRE SIZE:1 MM,Optical Fibre Type:Plastic |  | CONNECTOR | COMMUNICATION | TYPE | POF,Single Mode,Simplex,Fibre Optic | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1084476 | 1084476 |  |  |  | ERSA | M | 1600 | 1579152GZPCLNT100 | EA | 3000422 | CONNECTOR,COMM;CNW,RSC8415056,1 MM FIBRE | CONECTOR COMUNIC;CNW,RSC8415056 | CONNECTOR,COMMUNICATION;MNFR:CNW,PTNO:RSC8415056,ADDITIONAL FEATURES EN:1 MM FIBRE HFBR-4531Z POF SINGLE MODE SIMPLEX FIBRE OPTIC, BLACK PLASTIC OPTICAL BROADCOM | CONECTOR COMUNICACION;MNFR:CNW,PTNO:RSC8415056 |  | CNW | RSC8415056 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RSC8415056 | [12 empty] | Broadcom | HFBR-4531Z | CNW | 841-5056 | CNW (MOUNT ISA) ELECT WHOLESALER | 841-5056 | [12 empty] | https://uk.rs-online.com/web/p/fibre-optic-connectors/8415056?searchId=1d1aacd1-0bee-4e71-a9d6-cc4de74fd679&gb=s | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | COLOR:BLACK,FIBRE SIZE:1 MM,Optical Fibre Type:Plastic |  | CONNECTOR | COMMUNICATION | TYPE | POF,SINGLE MODE,Simplex,Fibre Optic | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | WEBSITE NOT OPENING | 2023-10-16 | 2023-10-21 | WEBSITE NOT OPENING | 1085018 | 1085018 |  |  |  | ERSA | M | 1600 | 1577709GZPCLNT100 | EA | 3000422 | CONNECTOR,COMM;CNW,APS3389404,RITTAL | CONECTOR COMUNIC;CNW,APS3389404 | CONNECTOR,COMMUNICATION;MNFR:CNW,PTNO:APS3389404,ADDITIONAL FEATURES EN:RITTAL, SK 3398.404 BLUE | CONECTOR COMUNICACION;MNFR:CNW,PTNO:APS3389404 |  | CNW | APS3389404 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | APS3389404 | [12 empty] | RITTAL | SK 3398.404 | CNW | APS3389404 | CNW (MOUNT ISA) ELECT WHOLESALER | APS3389404 | [12 empty] | https://www.rittal.com/com-en/product/show/pdf/requestPdfD.action?productID=3398404 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | COLOR:BLUE |  | CONNECTOR | COMMUNICATION | TYPE |  | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1085160 | 1085160 |  |  |  | ERSA | M | 1600 | 1574395GZPCLNT100 | EA | 3000422 | CONNECTOR,LUG;CNW,HTACL 150-16-1,CU STUD | CONECTOR,TAPA;CNW,HTACL 150-16-1 | CONNECTOR,LUG;MNFR:CNW,PTNO:HTACL 150-16-1,ADDITIONAL FEATURES EN:CU STUD | CONECTOR,TAPA;MNFR:CNW,PTNO:HTACL 150-16-1 |  | CNW | HTACL 150-16-1 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HTACL 150-16-1 | [14 empty] | CNW | HTACL 150-16-1 | CNW (MOUNT ISA) ELECT WHOLESALER | HTACL 150-16-1 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | LUG | TYPE |  | CONDUCTOR CONNECTION |  | HOLE SIZE |  | MATERIAL | COPPER STUD | TERMINATION END |  | INSULATION |  | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1085161 | 1085161 |  |  |  | ERSA | M | 1600 | 1574396GZPCLNT100 | EA | 3000422 | CONNECTOR,LUG;CNW,HTACL 4-5-1,CU STUD | CONECTOR,TAPA;CNW,HTACL 4-5-1 | CONNECTOR,LUG;MNFR:CNW,PTNO:HTACL 4-5-1,ADDITIONAL FEATURES EN:CU STUD | CONECTOR,TAPA;MNFR:CNW,PTNO:HTACL 4-5-1 |  | CNW | HTACL 4-5-1 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HTACL 4-5-1 | [14 empty] | CNW | HTACL 4-5-1 | CNW (MOUNT ISA) ELECT WHOLESALER | HTACL 4-5-1 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | LUG | TYPE |  | CONDUCTOR CONNECTION |  | HOLE SIZE |  | MATERIAL | COPPER STUD | TERMINATION END |  | INSULATION |  | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1085180 | 1085180 |  |  |  | ERSA | M | 1600 | 1575362GZPCLNT100 | EA | 3000422 | CONNECTOR,COMM;CNW,NHPRCXCON50US,N-TYP F | CONECTOR COMUNIC;CNW,NHPRCXCON50US | CONNECTOR,COMMUNICATION;MNFR:CNW,PTNO:NHPRCXCON50US,ADDITIONAL FEATURES EN:N-TYP FEMALE,RADIATING | CONECTOR COMUNICACION;MNFR:CNW,PTNO:NHPRCXCON50US |  | CNW | NHPRCXCON50US | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPRCXCON50US | [14 empty] | CNW | NHPRCXCON50US | CNW (MOUNT ISA) ELECT WHOLESALER | NHPRCXCON50US | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | COMMUNICATION | TYPE | N,RADIATING | CONNECTION TYPE | FEMALE | NUMBER OF PINS |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1102822 | 1102822 |  |  |  | ERSA | M | 4500 | 1525251GZPCLNT100 | EA |  | CONNECTOR,COMM;M12 E SERIES,M,2906584 | CONNECTOR,COMM;M12 E SERIES,M,2906584 | CONNECTOR,COMM;ADDITIONAL FEATURES:M12 E SERIES,M,2906584 |  |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 189585 | [12 empty] | Hirschmann | 290-6584 | [12 empty] | RS COMPONENTS PTY LTD | 189585 |  |  | https://docs.rs-online.com/0499/0900766b806e5fc9.pdf | https://uk.rs-online.com/web/p/industrial-circular-connectors/2906584 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SERIES:E | MOUNT:CABLE | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | male PLUG | CONDUCTOR SIZE | 0.75 SQ mm | ELECTRICAL RATING | 50 VAC/DC,4 A | NUMBER OF PINS | 5 | SIZE | M12 | MATERIAL | Polymer | INSULATION MATERIAL |  | ANGLE | Straight | STUD/BOLT SIZE |  | HAZARD CLASS | IP67 | CERTIFICATION/STANDARD | IEC 61076-2-101,IEC 60947-5-2 | [48 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1108343 | 1108343 | 1443811 | AU_QM_001002163 |  | ERSA | M | 2230 | 1443811GZPCLNT100 | EA |  | AOD PUMP;TEFLON; | AOD PUMP;TEFLON; | O-RING: AOD PUMP;TEFLON; GRACO AIR OPERATED DIAPHRAGM PUMP |  | O-RING:AOD PUMP;TEFLON; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 112-418 | [14 empty] | COOPER FLUID SYSTEMS | 112-418 | [14 empty] | URL NOT FOUND |  |  | AIR OPERATED DIAPHRAGM PUMP PUMP | GRACO | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL | TEFLON | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1108831 | 1108831 | 1454964 | AU_QM_001243773 |  | ERSA | M | 2230 | 1454964GZPCLNT100 | EA |  | CAP;REAR TRANSMISSION; | CAP;REAR TRANSMISSION; | O-RING: CAP;REAR TRANSMISSION; SCISSOR LIFT;MF540; |  | O-RING:CAP;REAR TRANSMISSION; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57200834 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 57200834 | [14 empty] | URL NOT FOUND |  |  | REAR TRANSMISSION SCISSOR LIFT |  | MF540 |  |  |  |  | CLEANSED | 31401503 O ring molded gasket | TYPE:CAP |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1109453 | 1109453 | 1438485 | AU_QM_000970629 |  | ERSA | M | 1600 | 1438485GZPCLNT100 | EA |  | DS3,50A;INLET;5 PIN,3P+N+E;380-440V;DS | DS3,50A;INLET;5 PIN,3P+N+E;380-440V;DS | CONNECTOR,PLUG,ELEC: DS3,50A;INLET;5 PIN,3P+N+E;380-440V;DS RANGE;BLUE POLY CASING; MARECHAL DS3 50 DECONTACTOR; |  | CONNECTOR,PLUG,ELEC:DS3,50A;INLET;5 PIN,3P+N+E;380-440V;DS |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 3138017+513P0D30 | [12 empty] | MARECHAL | 3138017 | CNW (MOUNT ISA) ELECT WHOLESALER | 3138017+513P0D30 | [14 empty] | https://www.kempstoncontrols.co.uk/3138017/Marechal/sku/865989#productImageContainer | https://www.bpx.co.uk/store/product/3138017 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CASE COLOR:BLUE,POLE ARRANGEMENT:3P+N+E,DS3 INLET,DS RANGE,FOR DECONTACTOR |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 380 TO 440 V,50 A | NUMBER OF PINS | 5 | MATERIAL | POLY CASING | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS | IP55 | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1110783 | 1110783 |  |  |  | ERSA | M | 2230 | 1445229GZPCLNT100 | EA |  | ASH 6/6 PUMP O RING; | ASH 6/6 PUMP O RING; | O-RING: ASH 6/6 PUMP O RING; ASH 6/6 SRH PUMP |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | ASR 100748 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | ASR 100748 | [14 empty] | URL NOT FOUND |  |  | 6/6 SRH PUMP | ASHDOWN | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1111715 | 1111715 | 1435517 | AU_QM_000783860 |  | ERSA | M | 2230 | 1435517GZPCLNT100 | EA |  | BREDEL SP50 PUMP BEARING COVER O-RING; | BREDEL SP50 PUMP BEARING COVER O-RING; | O-RING: BREDEL SP50 PUMP BEARING COVER O-RING; PBSM ASARCO BAGHOUSE NANDS PULP PIT PUMPS |  | O-RING:BREDEL SP50 PUMP BEARING COVER O-RING; |  |  | 1068399 @@ TRUFLO PUMPING SYSTEMS | 50115 | [14 empty] | TRUFLO PUMPING SYSTEMS | 50115 | [14 empty] | URL NOT FOUND |  |  | PUMP BEARING COVER,PBSM BAGHOUSE NANDS PULP PIT PUMPS | BREDEL,ASARCO | SP50 |  |  |  |  | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1111717 | 1111717 | 1431503 | AU_QM_000727750 |  | ERSA | M | 2230 | 1431503GZPCLNT100 | EA |  | ARIEL AFTER COOLER O RING; | ARIEL AFTER COOLER O RING; | O-RING: ARIEL AFTER COOLER O RING; ARIEL JGP/2 BOOST COMPRESSOR |  | O-RING:ARIEL AFTER COOLER O RING; |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SD020051 | [14 empty] | SANDVIK MINING & CONSTRUCTION | [15 empty] | URL NOT FOUND |  |  | AFTER COOLER BOOST COMPRESSOR | ARIEL | JGP/2 |  |  |  |  | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1112323 | 1112323 | 1444235 | AU_QM_001003944 |  | ERSA | M | 2230 | 1444235GZPCLNT100 | EA |  | AUTO GREASER RESERVOIR SEAL; | AUTO GREASER RESERVOIR SEAL; | O-RING: AUTO GREASER RESERVOIR SEAL; LINCOLN QUICKLUBE 203 |  | O-RING:AUTO GREASER RESERVOIR SEAL; |  |  | 1068100 @@ BERENDSEN FLUID POWER | 219137309 | [12 empty] | LINCOLN | 219137309 | BERENDSEN FLUID POWER | [15 empty] | http://frain.es:8090/tarifa.php?marca=LIN |  |  | PUMP | LINCOLN | QUICKLUBE 203 |  |  |  |  | ENRICHED | 31401503 O ring molded gasket | TYPE:AUTO GREASER RESERVOIR SEAL |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL | RUBBER | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1112329 | 1112329 | 1443619 | AU_QM_001001473 |  | ERSA | M | 2230 | 1443619GZPCLNT100 | EA |  | DIAPHRAGM BOLT | DIAPHRAGM BOLT | O-RING: DIAPHRAGM BOLT |  | O-RING:DIAPHRAGM BOLT |  |  | 1071812 @@ PACIFIC CONTROLS PTY LIMITED | 101W001U13 | [13 empty] | 101W001U13 | PACIFIC CONTROLS PTY LIMITED | [15 empty] | https://static.quangminhvn.com/e2/applications/2018/06/chi-tiet-phu-kien-bo-dc-chan-khong-nxt3000.PDF | [9 empty] | ENRICHED | 31401503 O ring molded gasket | TYPE:DIAPHRAGM BOLT SEAL |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1112339 | 1112339 | 1442023 | AU_QM_000993384 |  | ERSA | M | 2230 | 1442023GZPCLNT100 | EA |  | ARIEL COMPRESSOR O RING; | ARIEL COMPRESSOR O RING; | O-RING: ARIEL COMPRESSOR O RING; AIR CIRCUIT SUBASSY; ARIEL JGP/2 BOOST COMPRESSOR |  | O-RING:ARIEL COMPRESSOR O RING; |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SD020075 | [14 empty] | SANDVIK MINING & CONSTRUCTION | SD020075 | [14 empty] | URL NOT FOUND |  |  | BOOST COMPRESSOR | ARIEL | JGP/2 |  |  |  |  | CLEANSED | 31401503 O ring molded gasket | AIR CIRCUIT SUB ASSEMBLY |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1112638 | 1112638 |  |  |  | ERSA | M | 2230 | 1454965GZPCLNT100 | EA |  | CAP;REAR TRANSMISSION; | CAP;REAR TRANSMISSION; | O-RING: CAP;REAR TRANSMISSION; SCISSOR LIFT;MF540; |  |  |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57200842 | [12 empty] | Sandvik | 57200842 | NORMET ASIA PACIFIC PTY LTD | [15 empty] | https://av-gk.ru/spare/sandvik/57200842/ |  |  | REAR TRANSMISSION SCISSOR LIFT |  | MF540 |  |  |  |  | CLEANSED | 31401503 O ring molded gasket | TYPE:CAP |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1136350 | 1136350 | 1447855 | AU_QM_001074343 |  | ERSA | M | 2230 | 1447855GZPCLNT100 | EA |  | BRAKE MASTER CYLINDER; | BRAKE MASTER CYLINDER; | O-RING: BRAKE MASTER CYLINDER; 79 SERIES TOYOTA WET DISC BRAKE SYSTEM |  | O-RING:BRAKE MASTER CYLINDER; |  |  | 1069752 @@ ADIT ENGINEERING | 24-4566 | 1069986 @@ ADVANCED BRAKING PTY LTD | 1447855 | [11 empty] | 1447855 | ADIT ENGINEERING | 24-4566 | ADVANCED BRAKING PTY LTD | [13 empty] | https://www.rskdatabasen.se/kategori/rordelar-kopplingar/press/tillbehorreservdelarovrigt/tillbehorreservdelar/n366-1447855-1060 |  |  | BRAKE MASTER CYLINDER,79 SERIES WET DISC BRAKE SYSTEM | TOYOTA | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1136466 | 1136466 |  |  |  | ERSA | M | 2230 | 1445228GZPCLNT100 | EA |  | ASH 6/6 PUMP O RING; | ASH 6/6 PUMP O RING; | O-RING: ASH 6/6 PUMP O RING; ASH 6/6 SRH PUMP |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | ASH100747-S10 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | ASH 100747-S10 | [14 empty] | URL NOT FOUND |  |  | 6/6 SRH PUMP | ASHDOWN | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1136468 | 1136468 | 1445226 | AU_QM_001009084 |  | ERSA | M | 2230 | 1445226GZPCLNT100 | EA |  | ASH 6/6 PUMP O RING; | ASH 6/6 PUMP O RING; | O-RING: ASH 6/6 PUMP O RING; ASH 6/6 SRH PUMP |  | O-RING:ASH 6/6 PUMP O RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | ASH 100761-S10 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | ASH 100761-S10 | [14 empty] | URL NOT FOUND |  |  | 6/6 SRH PUMP | ASHDOWN | [5 empty] | CLEANSED | 31401503 O ring molded gasket |  |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1136913 | 1136913 | 1455780 | AU_QM_001263789 |  | ERSA | M | 2230 | 1455780GZPCLNT100 | EA |  | AIR FILTER; HYDROVANE COMPRESSOR; | AIR FILTER; HYDROVANE COMPRESSOR; | O-RING: AIR FILTER; HYDROVANE COMPRESSOR; SERIES 47;IRWIN CHARGE CAR; |  | O-RING:AIR FILTER; HYDROVANE COMPRESSOR; |  |  | 1068378 @@ GARDNER DENVER INDUSTRIES PTY | 9843 | [14 empty] | GARDNER DENVER INDUSTRIES PTY | 9843 | [14 empty] | URL NOT FOUND |  |  | AIR FILTER,HYDROVANE COMPRESSOR | [6 empty] | CLEANSED | 31401503 O ring molded gasket | SERIES:47,IRWIN CHARGE CAR |  | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1144070 | 1144070 | 1368978 | AU_QM_000173124 |  | ERSA | M | 1600 | 1368978GZPCLNT100 | EA |  | CONNECTOR,COMM;DOUBLE SHEATH CABLE | CONNECTOR,COMM;DOUBLE SHEATH CABLE | CONNECTOR,COMMUNICATION;TYPE:DOUBLE SHEATH CABLE,MNFR:01)CNW,PTNO:01)COR57041214-01 |  | CONNECTOR:CABLECON;VDV LEAKY FEEDER RADIO COMM;DOU |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | COR57041214-01 | [12 empty] | CABELCON | 57041214-01 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://cabelcon.com/wp-content/uploads/2022/11/Wireless-HFC-and-Satellite-Networks_DS-70-0105-Rev.-1.4_Print.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | COMMUNICATION | TYPE | DOUBLE SHEATH CABLE | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE | TL412 | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1152533 | 1152533 |  |  |  | ERSA | M | 1600 | 1478413GZPCLNT100 | EA |  | CONNECTOR,GROUNDING,EARTH ROD, 19MM | CONNECTOR,GROUNDING,EARTH ROD, 19MM | CONNECTOR,GROUNDING,EARTH ROD, 19MM |  |  |  |  | 1068698 @@ ACCULEC PTY LTD | 1478413 | [14 empty] | ACCULEC PTY LTD | 1478413 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | ROD OD:19 MM |  | CONNECTOR | GROUNDING | TYPE | EARTH ROD | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | CONNECTION TYPE |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | ANGLE |  | STUD/BOLT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1152534 | 1152534 |  |  |  | ERSA | M | 1600 | 1478412GZPCLNT100 | EA |  | CONNECTOR,GROUNDING,DIMULSION - EP3, EAR | CONNECTOR,GROUNDING,DIMULSION - EP3, EAR | CONNECTOR,GROUNDING,DIMULSION - EP3, EAR |  |  |  |  | 1069161 @@ FULTON INDUSTRIES AUSTRALIA P/L | 1478412 | [12 empty] | DULMISON | EP3 | FULTON INDUSTRIES AUSTRALIA P/L | 1478412 | [14 empty] | https://www.gvk.com.au/pdf/earthing_rods.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | ROD OD:17 TO 19 MM |  | CONNECTOR | GROUNDING | TYPE | EARTH ROD | CONDUCTOR SIZE | 16 TO 35 SQ MM | ELECTRICAL RATING |  | CONNECTION TYPE |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | ANGLE |  | STUD/BOLT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1153462 | 1153462 |  |  |  | ERSA | M | 1600 | 1525204GZPCLNT100 | EA |  | CONNECTOR,COMM;SINGLE TV OUTLET | CONNECTOR,COMM;SINGLE TV OUTLET | CONNECTOR,COMM;ADDITIONAL FEATURES:SINGLE TV OUTLET |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1525204 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1525204 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | COMMUNICATION | TYPE | SINGLE TV OUTLET | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1154755 | 1154755 |  |  |  | ERSA | M | 4090 | 1508003GZPCLNT100 | EA |  | CONNECTOR,COMM;BLANK PANEL,AFLFRE-BLANK | CONNECTOR,COMM;BLANK PANEL,AFLFRE-BLANK | CONNECTOR,COMM;ADDITIONAL FEATURES:BLANK PANEL,AFLFRE-BLANK |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AFLFRE-BLANK | [12 empty] | AFL | FRE-BLANK | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rexel.com.au/are/category/Data-Security-and-Automation/Fibre/Patch-cord-fibre-optic-industry/BLANK-PANEL/AFCFREBLANK/p/10078460?isPaginationRequest=true | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories |  | Cable type:Fibre Optic,Colour:Charcoal Grey | PANEL | NO MODIFIER | TYPE | BLANK | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1154758 | 1154758 |  |  |  | ERSA | M | 4500 | 1508000GZPCLNT100 | EA |  | CONNECTOR,COMM;1RU 2 PA,AFLFRE-1RU-MOD-S | CONNECTOR,COMM;1RU 2 PA,AFLFRE-1RU-MOD-S | CONNECTOR,COMM;ADDITIONAL FEATURES:1RU 2 PA,AFLFRE-1RU-MOD-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FRE-1RU-MOD-S | [12 empty] | AFL | FRE-1RU-MOD-S | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rexel.com.au/are/category/Data-Security-and-Automation/Cabinets-%26-Enclosures/Network-cabinet/2-PANEL-1RU-SLIDING-MODULAR-TRAY/AFCFRE1RUMODS/p/10078458 | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | 2 PANEL |  | TRAY | NO MODIFIER | TYPE | SLIDING | CAPACITY |  | SIZE | 433 WDX44 HTX300 DP MM | MATERIAL |  | COLOUR | Charcoal Grey | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 | CONFLICT WRT TO INPUT,PROCESSED BASED ON WEBSOURCE | 1154759 | 1154759 |  |  |  | ERSA | M | 4500 | 1507999GZPCLNT100 | EA |  | CONNECTOR,COMM;KEYSTONE BEZEL W,BEZEL-WH | CONNECTOR,COMM;KEYSTONE BEZEL W,BEZEL-WH | CONNECTOR,COMM;ADDITIONAL FEATURES:KEYSTONE BEZEL W,BEZEL-WH |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BEZEL-WH | [12 empty] | AFL | BEZEL-WH | CNW (MOUNT ISA) ELECT WHOLESALER | BEZEL-WH | [14 empty] | https://www.goelectrical.com.au/ataaflbezel-wh | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories |  |  | ADAPTER | NO MODIFIER | TYPE | Keystone to Clipsal | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1164911 | 1164911 | 1362849 | AU_QM_000162429 |  | ERSA | M | 1600 | 1362849GZPCLNT100 | EA |  | CONNECTOR,ELEC;PLG,KENTAN UP BUSPLUGS | CONNECTOR,ELEC;PLG,KENTAN UP BUSPLUGS | CONNECTOR,ELECTRICAL;TYPE:PLUG,ADDITIONAL FEATURES EN:KENTAN UP BUSPLUGS,MNFR:01)CNW,PTNO:01)UP32501 |  | CONNECTOR,PLUG,ELEC:KENTAN UP BUSPLUGS 250A 3P |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1362849 | [11 empty] | UP32501 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1362849 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | KENTAN UP BUSPLUGS |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1164912 | 1164912 | 1362848 | AU_QM_000162428 |  | ERSA | M | 1600 | 1362848GZPCLNT100 | EA |  | CONNECTOR,ELEC;PLG,KENTAN UP BUSPLUGS | CONNECTOR,ELEC;PLG,KENTAN UP BUSPLUGS | CONNECTOR,ELECTRICAL;TYPE:PLUG,ADDITIONAL FEATURES EN:KENTAN UP BUSPLUGS,MNFR:01)CNW,PTNO:01)UP34001 |  | CONNECTOR,PLUG,ELEC:KENTAN UP BUSPLUGS 400A 3P |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 400I | [11 empty] | UP34001 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 400I | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | KENTAN UP BUSPLUGS |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1170365 | 1170365 | 1426549 | AU_QM_000398446 |  | ERSA | M | 4500 | 1426549GZPCLNT100 | EA |  | CONNECTOR,ELEC;RECPT,TELEPHONE SO,CNW | CONNECTOR,ELEC;RECPT,TELEPHONE SO,CNW | CONNECTOR,ELECTRICAL;TYPE:RECEPTACLE,ADDITIONAL FEATURES EN:TELEPHONE SO,MNFR:01)CNW,PTNO:01)ACCP6116 |  | CONNECTOR,RECEPTACLE,ELEC:TELEPHONE SOCKET; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | P6116 | [13 empty] | ACCP6116 | CNW (MOUNT ISA) ELECT WHOLESALER | P6116 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Data-%26-Communications/Comms-Connectors-%26-Plugs/SOCKET-DATA-WALL-611-W-CAMS-IVORY/p/ACCP6116SUNDAT | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | FOR TELEPHONE |  | CONNECTOR | ELECTRICAL | TYPE | RECEPTACLE,SOCKET | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1179102 | 1179102 |  |  |  | ERSA | M | 1600 | 1544141GZPCLNT100 | EA |  | CONNECTOR,COMM;CABLE MOUNT,FEM,125VAC | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;ADDITIONAL FEATURES EN:CABLE MOUNT,FEM,125VAC | CONECTOR COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 628-6935 | [12 empty] | Switchcraft | 628-6935 | [12 empty] | RS COMPONENTS PTY LTD | 628-6935 |  |  | https://no.rs-online.com/web/p/xlr-connectors/6286935 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | MOUNT:CABLE | CONNECTOR | COMMUNICATION | TYPE | Straight,XLR | CONNECTION TYPE | Female | NUMBER OF PINS | 5 | INTERFACE TYPE |  | ELECTRICAL RATING | 125 Vac,4 A | CONDUCTOR SIZE |  | MATERIAL | Zinc | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1179103 | 1179103 |  |  |  | ERSA | M | 1600 | 1544140GZPCLNT100 | EA |  | CONNECTOR,COMM;CABLE MOUNT,M,125VAC | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;ADDITIONAL FEATURES EN:CABLE MOUNT,MALE,125VAC | CONECTOR COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 628-5639 | [12 empty] | Switchcraft | 628-5639 | [12 empty] | RS COMPONENTS PTY LTD | 628-5639 |  |  | https://no.rs-online.com/web/p/xlr-connectors/6285639 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | MOUNT:CABLE | CONNECTOR | COMMUNICATION | TYPE | Straight,XLR | CONNECTION TYPE | MALE | NUMBER OF PINS | 5 | INTERFACE TYPE |  | ELECTRICAL RATING | 125 Vac,4 A | CONDUCTOR SIZE |  | MATERIAL | Copper Alloy | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1179510 | 1179510 |  |  |  | ERSA | M | 4090 | 1542996GZPCLNT100 | EA |  | CONNECTOR;M,STRGT,6MMX1/8,BRS | CONECTOR; | CONNECTOR;SIZE:MALE,STRAIGHT,6MMX1/8,MATERIAL:BRASS,ADDITIONAL FEATURES EN:MALE,STRAIGHT,6MMX1/8 | CONECTOR; |  |  |  | 1068330 @@ SMC CORPORATION (AUST) PTY LTD | KQ2H06-01NS1 | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H06-01NS1 | [16 empty] | https://www.smcpneumatics.com/pdfs/KQ.pdf | https://us.misumi-ec.com/vona2/detail/221006292206/?HissuCode=KQ2H06-01NS1 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | TUBE SIZE:6 MM,PORT SIZE:1/8 IN |  | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,Straight | SIZE |  | CONNECTION TYPE | MALE | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1183386 | 1183386 |  |  |  | ERSA | M | 1600 | 1563092GZPCLNT100 | EA |  | CONNECTOR,COMM;AMPHENOL,INDL,MS3102A,10W | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;ADDITIONAL FEATURES EN:AMPHENOL,INDUSTRIAL,MS3102A,10WAY,BOX MOUNT,MILSPEC,SOCKET CONTACTS | CONECTOR COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 7874340 | [12 empty] | AMPHENOL INDUSTRIAL | MS3102A | [12 empty] | RS COMPONENTS PTY LTD | 7874340 |  |  | https://datasheet.octopart.com/MS3101A12-5P-Amphenol-datasheet-21354073.pdf | https://in.rsdelivers.com/product/amphenol-industrial/ms3102a-18-1p/amphenol-industrial-ms3102a-10-way-box-mount-mil/0475735 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | MOUNT:BOX,MILSPEC |  | CONNECTOR | CIRCULAR | TYPE | receptacle,SOCKET CONTACT | CONNECTION TYPE |  | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS | 10 | SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | ANGLE |  | STUD/BOLT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1183387 | 1183387 |  |  |  | ERSA | M | 1600 | 1563091GZPCLNT100 | EA |  | CONNECTOR,COMM;AMPHENOL,INDL,MS3102A,10 | CONECTOR COMUNIC; | CONNECTOR,COMMUNICATION;ADDITIONAL FEATURES EN:AMPHENOL,INDUSTRIAL,MS3102A,10 WAY,BOX MOUNT,MILSPEC,PIN CONTACTS,S | CONECTOR COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 7872635 | [12 empty] | AMPHENOL INDUSTRIAL | MS3102A | [12 empty] | RS COMPONENTS PTY LTD | 7872635 |  |  | https://datasheet.octopart.com/MS3101A12-5P-Amphenol-datasheet-21354073.pdf | https://in.rsdelivers.com/product/amphenol-industrial/ms3102a-18-1p/amphenol-industrial-ms3102a-10-way-box-mount-mil/0475735 | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | MOUNT:BOX,MILSPEC |  | CONNECTOR | CIRCULAR | TYPE | receptacle,PIN CONTACT | CONNECTION TYPE |  | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS | 10 | SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | ANGLE |  | STUD/BOLT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204028 | 1204028 |  |  |  | ERSA | M | 1600 | 271044MRM | EA |  | CONNECTOR,PLUG,ELEC:FAN PLUG EC;500MM;3. | CONNECTOR,PLUG,ELEC:FAN PLUG EC;500MM;3. | CONNECTOR,PLUG,ELEC:FAN PLUG EC;500MM;3.8KW;RAD |  |  |  |  | 1071038 @@ RINNAI AUSTRALIA PTY LTD | EC 500MM 3.8KW RAD | [14 empty] | RINNAI AUSTRALIA PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | RAD |  | CONNECTOR | ELECTRICAL | TYPE | FAN PLUG | CONDUCTOR SIZE | 500 MM | ELECTRICAL RATING | 3.8 KW | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1204583 | 1204583 |  |  |  | ERSA | M | 1600 | 42770MRM | EA |  | CONNECTOR,PLUG,ELEC:500V;20A;5 ROUND PIN | CONNECTOR,PLUG,ELEC:500V;20A;5 ROUND PIN | CONNECTOR,PLUG,ELEC:500V;20A;5 ROUND PINS;PVC;IP66;PVC SCREW RING; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1204583 | [14 empty] | CNW (NT) ELECTRICAL WHOLESALERS | PN1204583 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | ROUND PINS |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 500 V,20 A | NUMBER OF PINS | 5 | MATERIAL | PVC BODY,PVC SCREW RING | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS | IP66 | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1206249 | 1206249 |  |  |  | ERSA | M | 1600 | 91355MRM | EA |  | CONNECTOR,PLUG,ELEC:63/90A PLUG;380/440V | CONNECTOR,PLUG,ELEC:63/90A PLUG;380/440V | CONNECTOR,PLUG,ELEC:63/90A PLUG;380/440VAC;50HZ;APPLIANCEINLET;MARECHAL DS6;POLYESTER HSG;4-PIN3P+E;STD GLAND REF;C/W GLAND; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1206249 | [10 empty] | MARECHAL |  |  |  | CNW (NT) ELECTRICAL WHOLESALERS | PN1206249 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | POLE ARRANGEMENT:3 P+E,DS6,APPLIANCE INLET,STD GLAND REF,C/W GLAND |  | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING | 380/440 VAC,63/90 A,50 HZ | NUMBER OF PINS | 4 | MATERIAL | POLYESTER HSG | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1206377 | 1206377 |  |  |  | ERSA | M | 1600 | 153596MRM | EA |  | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING |  |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H08-03NS | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H08-03NS | [16 empty] | https://www.smcworld.com/catalog/en/fitting_tube/KQB2-E/6-7-p0139-0159-kqb2_en/data/6-7-p0139-0159-kqb2_en.pdf | https://www.smcpneumatics.com/KQ2H08-03NS.html | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | PORT SIZE:5/32 IN | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,Straight | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1206378 | 1206378 |  |  |  | ERSA | M | 1600 | 153597MRM | EA |  | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING |  |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H10-01NS | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H10-01NS | [16 empty] | https://www.smcworld.com/catalog/en/fitting_tube/KQB2-E/6-7-p0139-0159-kqb2_en/data/6-7-p0139-0159-kqb2_en.pdf | https://www.smcpneumatics.com/KQ2H10-01NS.html | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | PORT SIZE:1/8 IN | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,Straight | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-21 |  | 1206379 | 1206379 |  |  |  | ERSA | M | 1600 | 153598MRM | EA |  | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING | CONNECTOR:SMC TUBE COUPLING |  |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H10-03NS | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | KQ2H10-03NS | [16 empty] | https://www.smcworld.com/catalog/en/fitting_tube/KQB2-E/6-7-p0139-0159-kqb2_en/data/6-7-p0139-0159-kqb2_en.pdf | https://www.smcpneumatics.com/KQ2H10-03N.html | [8 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  | PORT SIZE:5/32 IN | CONNECTOR | NO MODIFIER | TYPE | ONE-TOUCH FITTING,Straight | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production completed