## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1212086 | 1212086 |  |  |  | ERSA | M | 2920 | 1239367MRM | PAA |  | BOOTS,SAFETY:SIZE 3;MENS;ANKLE LACE UP;B | BOOTS,SAFETY:SIZE 3;MENS;ANKLE LACE UP;B | BOOTS,SAFETY:SIZE 3;MENS;ANKLE LACE UP;BLACK LEATHER;STEEL TOECAP;MOULDED TPU HEEL AND TOE;GUARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | GUARD |  | BOOTS | SAFETY | TYPE | MENS, ANKLE LACE UP | SIZE DESIGNATION | 3 | MATERIAL | LEATHER | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | STEEL, MOULDED TPU HEEL AND TOE | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1215873 | 1215873 |  |  |  | ERSA | M | 2920 | 489872MRM | PAA |  | BOOTS,SAFETY:SIZE 5,MENS;HIGH-LEG,LACE-U | BOOTS,SAFETY:SIZE 5,MENS;HIGH-LEG,LACE-U | BOOTS,SAFETY:SIZE 5,MENS;HIGH-LEG,LACE-UP;BROWN COLOUR;STEEL TOE CAP;POLYURETHANE MID SOLE;NITRILE RUBBER,OUTER SOLE;PADDED COLLAR;AS2210 TYPE 1; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | PADDED COLLAR, AS2210 TYPE 1 |  | BOOTS | SAFETY | TYPE | MENS, HIGH-LEG, LACE-UP | SIZE DESIGNATION | 5 | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL | POLYURETHANE MID | TOE CONSTRUCTION TYPE | STEEL TOE CAP, NITRILE RUBBER | COLOUR | BROWN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1218330 | 1218330 |  |  |  | ERSA | M | 2920 | 270584MRM | PAA |  | BOOTS,SAFETY:STEEL BLUE;TOE LACE UP & ZI | BOOTS,SAFETY:STEEL BLUE;TOE LACE UP & ZI | BOOTS,SAFETY:STEEL BLUE;TOE LACE UP <(>&<)> ZIP SOLE;BOOTS;DERBY WHEAT;ARGYLE;SIZE 5 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | BRAND: STEEL BLUE, ARGYLE |  | BOOTS | SAFETY | TYPE | LACE UP | SIZE DESIGNATION | 5 | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | DERBY WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1218340 | 1218340 |  |  |  | ERSA | M | 2920 | 270596MRM | PAA |  | BOOTS,SAFETY:STEEL;TOE LACE + ZIP;PU RUB | BOOTS,SAFETY:STEEL;TOE LACE + ZIP;PU RUB | BOOTS,SAFETY:STEEL;TOE LACE + ZIP;PU RUBBER BUMP CAP;WHEAT OLIVER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | BRAND: OLIVER |  | BOOTS | SAFETY | TYPE | LACE UP | SIZE DESIGNATION |  | MATERIAL |  | STYLE |  | FASTENING METHOD | ZIP | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | PU RUBBER BUMP CAP | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1106671 | 1106671 | 1421790 | AU_QM_000268046 |  | ERSA | M | 5915 | 1421790GZPCLNT100 | EA |  | BOOTS,SAFTY;10,PU THERMOPLASTIC,TRADIE | BOOTS,SAFTY;10,PU THERMOPLASTIC,TRADIE | BOOTS,SAFETY;SIZE DESIGNATION:10,MATERIAL:PU THERMOPLASTIC,STYLE:TRADIE,FASTENING METHOD:LACE UP,TOE CONSTRUCTION TYPE:STEEL TOE CAP |  | BOOTS,SAFTY;10,PU THERMOPLASTIC,TRADIEBOOTS,SAFTY;10,PU THERMOPLASTIC,TRADIE | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE | LACE UP | SIZE DESIGNATION | 10 | MATERIAL | PU THERMOPLASTIC | STYLE | TRADIE | FASTENING METHOD |  | SOLE MATERIAL | STEEL TOE CAP | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1214467 | 1214467 |  |  |  | ERSA | M | 5920 | 171764MRM | EA |  | CONDUIT,METAL,FLEX:16MM;LIQUATITE;LINER | CONDUIT,METAL,FLEX:16MM;LIQUATITE;LINER | CONDUIT,METAL,FLEX:16MM;LIQUATITE;LINER HANDLER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways |  |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, LIQUATITE, LINER HANDLER | TRADE SIZE | 16 MM | LENGTH |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1026278 | 1026278 | 1383576 | AU_QM_000223985 |  | ERSA | M | 2800 | 1383576GZPCLNT100 | EA | 3000003 | DIFFUSER;CAT,2355843 | DIFFUSER;CAT,2355843 | DIFFUSER;MNFR:CATERPILLAR,PTNO:2355843 |  | DIFFUSER;CAT,2355843DIFFUSER;HAS,2355843 | CATERPILLAR | 2355843 | [14 empty] | CATERPILLER | 2355843 | HAS | [15 empty] | https://spare.avspart.com/caterpillar/diffuser/2355843/ | [9 empty] | Enriched | 40101500 Ventilation |  | WEIGHT: 1 KG | DIFFUSER | NO MODIFIER | TYPE |  | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1060503 | 1060503 |  |  |  | ERSA | M | 2620 | 1557169GZPCLNT100 | PAC |  | DIFFUSER;SWIRL RING,SK25/SK65,PKT=5 | DIFUSOR; | DIFFUSER;SIZE:TBC,ADDITIONAL FEATURES EN:SWIRL RING,SK25/SK65,PKT5 | DIFUSOR; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | SWIRL RING, SK25/SK65, PACKING OF QUANTITY: 5 |  | DIFFUSER | NO MODIFIER | TYPE |  | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE | TBC | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1057871 | 1057871 |  |  |  | ERSA | M | 2620 | 1562217GZPCLNT100 | EA |  | DIFFUSER;WLDG,GAS,TWECO 2,PX52 | DIFUSOR; | DIFFUSER;SIZE:WELDING,ADDITIONAL FEATURES EN:GAS,TWECO 2,PX52 | DIFUSOR; | [15 empty] | TWECO | 2,PX52 | SUPERIOR CONSUMABLES | TW52 | [16 empty] | https://www.superiorconsumables.com/product/tweco-style-welding-diffuser-2-std-52/ | [9 empty] | Enriched | 40101500 Ventilation |  | PACKING OF QUANTITY: 10 BAGS | DIFFUSER | NO MODIFIER | TYPE | GAS, WELDING | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL | BRASS | COLOUR |  | SIZE | 1/4-28X2 LONG | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1048892 | 1048892 |  |  |  | ERSA | M | 2920 | 1572622GZPCLNT100 | EA |  | BOOTS,SAFTY;SZ13,LTHR,ZIP/LACE | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ13,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:BOOTS,SAFETY,ZIP UP + LACE STEEL TOE RUBBER CAP. SIZE 13 OLIVER,ZIP/LACE | BOTAS SEGURIDAD; |  |  |  | 1068502 @@ ATOM SUPPLY | 30007257 | [12 empty] | ATOM SUPPLY | 30007257 | [16 empty] | https://www.atom.com.au/55-345z-zip-up-safety-boots-with-rubber-sole-lynoli55345z-lynoli55345z | [9 empty] | Enriched | 46181604 Safety boots | BRAND: OLIVER |  | BOOTS | SAFETY | TYPE | LACE | SIZE DESIGNATION | 13 | MATERIAL | LEATHER | STYLE | 55-345Z | FASTENING METHOD | ZIP UP | SOLE MATERIAL | STEEL TOE RUBBER CAP | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1049723 | 1049723 |  |  |  | ERSA | M | 4090 | 1581874GZPCLNT100 | EA |  | DISC,GRNDG;125MM,WHL,FLX,CUBITRON A60 | DISCO ESMERIL; | DISC,GRINDING;SIZE:125MM,ADDITIONAL FEATURES EN:WHEEL,FLEX,CUBITRON A60 | DISCO ESMERILADO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 4076234 | [26 empty] | J BLACKWOOD & SONS | 4076234 |  |  | URL NOT FOUND |  |  |  | CUBITRON | A60 |  |  |  |  | Cleansed | 23131503 Grinding wheels |  |  | DISC | GRINDING | TYPE | WHEEL,FLEX | SPEED |  | SIZE | 125 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1052437 | 1052437 |  |  |  | ERSA | M | 2920 | 1577523GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 9,LTHR,WHEAT,L/U SIDE ZIP | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ 9,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:WHEAT,L/U SIDE ZIP | BOTAS SEGURIDAD; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3279886 | [26 empty] | J BLACKWOOD & SONS | 3279886 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE | LACE UP | SIZE DESIGNATION | 9 | MATERIAL | LEATHER | STYLE |  | FASTENING METHOD | ZIP SIDE | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1052640 | 1052640 |  |  |  | ERSA | M | 2920 | 1574758GZPCLNT100 | EA |  | BOOTS,SAFTY;SZ 10.5,BRN,L/UP ZIP 65-490Z | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ 10.5,MATERIAL:BRN,ADDITIONAL FEATURES EN:L/UP ZIP 65-490Z | BOTAS SEGURIDAD; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2100813 | [26 empty] | J BLACKWOOD & SONS | 2100813 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE | LACE UP | SIZE DESIGNATION | 10.5 | MATERIAL | BRN | STYLE | 65-490Z | FASTENING METHOD | ZIP | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1053943 | 1053943 |  |  |  | ERSA | M | 4090 | 1587266GZPCLNT100 | EA |  | BOOTS,SAFTY;10,ROTOFLEX ZIPUP,WHEAT | BOTAS SEGU;TRIGO | BOOTS,SAFETY;SIZE DESIGNATION:10,MATERIAL:ROTOFLEX ZIPUP,COLOUR:WHEAT,ADDITIONAL FEATURES EN:MODEL:8550,135 MM,BRAND:BLUNDSTONE | BOTAS SEGURIDAD;TONO:TRIGO |  |  |  | 1068502 @@ ATOM SUPPLY | 40033306 | [12 empty] | ATOM SUPPLY | 40033306 | [16 empty] | https://www.atom.com.au/8550-8553-rotoflex-zip-up-safety-boots-135mm-rf855 |  |  |  | ROTOFLEX | 8550-8553 |  |  |  |  | Enriched | 46181604 Safety boots | SIZE: 135 MMBRAND: BLUNDSTONE |  | BOOTS | SAFETY | TYPE |  | SIZE DESIGNATION | 10 | MATERIAL | LEATHER | STYLE |  | FASTENING METHOD | ZIP UP | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 2210.3:2019, ASTM F2413 - 18 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1054893 | 1054893 |  |  |  | ERSA | M | 5010 | 1607213GZPCLNT100 | EA |  | DIFFUSER;WHITE,595X595MM,LAY-IN4-WAY | DIFUSOR;BLANCO | DIFFUSER;COLOUR:WHITE,SIZE:595X595MM,ADDITIONAL FEATURES EN:LAY-IN4-WAY | DIFUSOR;TONO:BLANCO |  |  |  | 1068505 @@ NORTHERN AIRCONDITIONING | 1607213 | [14 empty] | NORTHERN AIRCONDITIONING | 1607213 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | LAY-IN4-WAY |  | DIFFUSER | NO MODIFIER | TYPE |  | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR | WHITE | SIZE | 595X595 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1055479 | 1055479 |  |  |  | ERSA | M | 2620 | 1584345GZPCLNT100 | EA |  | DIFFUSER;GAS,32.5 MM,BINZEL,36KD,MB36 | DIFUSOR;GAS | DIFFUSER;TYPE:GAS,SIZE:32.5 MM,ADDITIONAL FEATURES EN:BINZEL,36KD,MB36,PACK OF 2 | DIFUSOR;TIPO:GAS |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT0140261 | [10 empty] | BINZEL |  |  |  | GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT0140261 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | 36KD, PACK OF QUANTITY: 2 |  | DIFFUSER | NO MODIFIER | TYPE | GAS | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE | 32.5 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | MB36 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1055619 | 1055619 |  |  |  | ERSA | M | 2620 | 1586979GZPCLNT100 | EA |  | DIFFUSER;GAS,10×9×1.8M,BINZEL STYLE,24KD | DIFUSOR;GAS | DIFFUSER;TYPE:GAS,SIZE:10Ã—9Ã—1.8M,ADDITIONAL FEATURES EN:BINZEL STYLE,24KD | DIFUSOR;TIPO:GAS |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT0120183 | [10 empty] | BINZEL STYLE |  |  |  | GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT0120183 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | 24KD |  | DIFFUSER | NO MODIFIER | TYPE | GAS | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE | 10X9X1.8 M | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1056742 | 1056742 |  |  |  | ERSA | M | 2920 | 1614973GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 5,LTHR,ANKLE,STEEL TOECAP | BOTAS SEGU;TOBILLO,NEGRO | BOOTS,SAFETY;SIZE DESIGNATION:SIZE 5,MATERIAL:LEATHER,STYLE:ANKLE,SOLE MATERIAL:TPU/PU TOUGHSIDER,TOE CONSTRUCTION TYPE:STEEL TOECAP,COLOUR:BLACK,ADDITIONAL FEATURES EN:MONGREL BOOTS SIZE 5 | BOTAS SEGURIDAD;ESTILO:TOBILLO,TONO:NEGRO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2379719 | [10 empty] | MONGREL | [15 empty] | J BLACKWOOD & SONS | 2379719 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE |  | SIZE DESIGNATION | 5 | MATERIAL | LEATHER | STYLE | ANKLE | FASTENING METHOD |  | SOLE MATERIAL | TPU/PU TOUGHSIDER | TOE CONSTRUCTION TYPE | STEEL TOECAP | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1057428 | 1057428 |  |  |  | ERSA | M | 4090 | 1582003GZPCLNT100 | EA |  | DISC,GRNDG;125 MM,ZRCNA,125X22 80 GRIT | DISCO ESMERIL; | DISC,GRINDING;SIZE:125 MM,ADDITIONAL FEATURES EN:ZIRCONIA,125X22 80 GRIT | DISCO ESMERILADO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 7813377 | [26 empty] | J BLACKWOOD & SONS | 7813377 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels |  |  | DISC | GRINDING | TYPE |  | SPEED |  | SIZE | 125X22 MM | GRIT | 80 | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ZIRCONIA | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1057560 | 1057560 |  |  |  | ERSA | M | 4090 | 1582002GZPCLNT100 | BOX |  | DISC,GRNDG;125 MM,ZRCNA,125X22 120 GRIT | DISCO ESMERIL; | DISC,GRINDING;SIZE:125 MM,ADDITIONAL FEATURES EN:ZIRCONIA,125X22 120 GRIT | DISCO ESMERILADO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 7813394 | [26 empty] | J BLACKWOOD & SONS | 7813394 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels |  |  | DISC | GRINDING | TYPE |  | SPEED |  | SIZE | 125X22 MM | GRIT | 120 | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ZIRCONIA | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | ALUMINUM OXIDE BASED ON WEBSOURCED CONFLICT W.R.T INPUT ABRASIVE MATERIAL | 1059094 | 1059094 |  |  |  | ERSA | M | 4005 | 1606969GZPCLNT100 | EA |  | DISC,CUTNG;CUTOFF, FLAT,12200 RPM,125 MM | DISCO CORT;,12200 RPM,OXIDO DE ALUMINIO | DISC,CUTTING;TYPE:CUTOFF, FLAT,SPEED:12200 RPM,SIZE:DIA 125 X THK 1 MM,ABRASIVE MATERIAL:ALUMINUM OXIDE,ADDITIONAL FEATURES EN: 125 MM | DISCO CORTE;VELOC.:12200 RPM,MATERIAL ABRASIVO:OXIDO DE ALUMINIO |  |  |  | 1068301 @@ WELDERS PRO SHOP | 61719010 | [14 empty] | WELDERS PRO SHOP | 61719010 | [14 empty] | https://www.conrad.com/en/p/pferd-psf-steel-61719010-cutting-disc-straight-125-mm-25-pc-s-steel-1884704.html#productTechData | [9 empty] | Enriched | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE | CUT OFF, FLAT | SPEED | 12200 RPM | SIZE | 125 DIAX1 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1059096 | 1059096 |  |  |  | ERSA | M | 4005 | 1606991GZPCLNT100 | EA |  | DISC,CUTNG;CUT OFF, ULTRA THIN,6600 RPM | DISCO CORT;,OXIDO DE ALUMINIO | DISC,CUTTING;TYPE:CUT OFF, ULTRA THIN,SPEED:6600 RPM,SIZE:DIA 127 X THK 3.4 MM,ABRASIVE MATERIAL:ALUMINUM OXIDE,ADDITIONAL FEATURES EN:230 MM | DISCO CORTE;MATERIAL ABRASIVO:OXIDO DE ALUMINIO |  |  |  | 1068301 @@ WELDERS PRO SHOP | EHT2301.9A-STEELOX | [14 empty] | WELDERS PRO SHOP | EHT2301.9A-STEELOX | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE | CUT OFF, ULTRA THIN | SPEED | 6600 RPM | SIZE | 127 DIAX3.4 THKX230 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ALUMINUM OXIDE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1062006 | 1062006 |  |  |  | ERSA | M | 4010 | 1571644GZPCLNT100 | PAC |  | DISC,GRNDG;50MM,FLAP,ZRCNA,80 GRIT,PK 5 | DISCO ESMERIL; | DISC,GRINDING;SIZE:50MM,ADDITIONAL FEATURES EN:FLAP,ZIRCONIA,80 GRIT,PK 5 | DISCO ESMERILADO; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | AB22012F80 | [14 empty] | TOOL 'N' TACKLE | AB22012F80 | [14 empty] | https://gamer.com.au/store/products/AB22012F80/ | [9 empty] | Enriched | 23131503 Grinding wheels | PACK OF QUANTITY: 5 |  | DISC | GRINDING | TYPE | QUICK LOCK MINI FLAP | SPEED |  | SIZE | 50 MM | GRIT | 80 | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ZIRCONIA | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1062008 | 1062008 |  |  |  | ERSA | M | 4010 | 1571642GZPCLNT100 | PAC |  | DISC,GRNDG;50MM,FLAP,ZRCNA,120 GRIT,PK 5 | DISCO ESMERIL; | DISC,GRINDING;SIZE:50MM,ADDITIONAL FEATURES EN:FLAP,ZIRCONIA,120 GRIT,PK 5 | DISCO ESMERILADO; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | AB22012F120 | [14 empty] | TOOL 'N' TACKLE | AB22012F120 | [14 empty] | https://gamer.com.au/store/products/AB22012F120/ | [9 empty] | Enriched | 23131503 Grinding wheels | PACK OF QUANTITY: 5 |  | DISC | GRINDING | TYPE | QUICK LOCK MINI FLAP | SPEED |  | SIZE | 50 MM | GRIT | 120 | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ZIRCONIA | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1062011 | 1062011 |  |  |  | ERSA | M | 4010 | 1571643GZPCLNT100 | PAC |  | DISC,GRNDG;50MM,FLAP,ZRCNA,60 GRIT,PK 5 | DISCO ESMERIL; | DISC,GRINDING;SIZE:50MM,ADDITIONAL FEATURES EN:FLAP,ZIRCONIA,60 GRIT,PK 5 | DISCO ESMERILADO; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | AB22012F60 | 1068502 @@ ATOM SUPPLY | 36004099 | [12 empty] | TOOL 'N' TACKLE | AB22012F60 | ATOM SUPPLY | 36004099 | [12 empty] | https://gamer.com.au/store/products/AB22012F60/ | [9 empty] | Enriched | 23131503 Grinding wheels | PACK OF QUANTITY: 5 |  | DISC | GRINDING | TYPE | QUICK LOCK MINI FLAP | SPEED |  | SIZE | 50 MM | GRIT | 60 | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ZIRCONIA | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1062013 | 1062013 |  |  |  | ERSA | M | 1600 | 1574921GZPCLNT100 | PAC |  | DIFFUSER;MB36KD,PACK 2 | DIFUSOR; | DIFFUSER;SIZE:MB36KD,ADDITIONAL FEATURES EN:PACK 2 | DIFUSOR; |  |  |  | 1068135 @@ BOC LIMITED | BP014.0261 | [12 empty] | BOC LIMITED | BP014.0261 | [16 empty] | https://www.boc.com.au/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/Essentials%20Guide%20AU%202019%20Web%20v2.pdf | [9 empty] | Enriched | 40101500 Ventilation | PACK OF QUANTITY: 2, MB36KD |  | DIFFUSER | NO MODIFIER | TYPE | GAS | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR | WHITE | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1068535 | 1068535 |  |  |  | ERSA | M | 1600 | 1571234GZPCLNT100 | EA |  | CONDUIT;BLK,HD,13MM | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BLACK,HD,13MM | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1362 | [12 empty] | OEX | ACX1362 | ASHDOWN INGRAM | [15 empty] | https://onestoplubeshop.com.au/product/oex-heavy-duty-convoluted-non-split-tubing-13mm-x-50m-acx1362/ | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | COLOUR: BLACK |  | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED NON SPLIT, CORRUGATED | INSIDE DIAMETER | 13 MM | OUTSIDE DIAMETER | 16 MM | LENGTH | 50 M | MATERIAL | NYLON | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 120 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1068536 | 1068536 |  |  |  | ERSA | M | 1600 | 1571233GZPCLNT100 | EA |  | CONDUIT;BLK,HD,10MM | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BLACK,HD,10MM | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1361 | [12 empty] | OEX | ACX1361 | ASHDOWN INGRAM | [15 empty] | https://www.blackwoods.com.au/automotive/spare-parts-automotive/repair-mounting-kits/oex-acx1361-heavy-duty-convoluted-non-split-tubing-10mmid-12mmod-100m/p/02630856 | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | COLOUR: BLACK |  | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED | INSIDE DIAMETER | 10 MM | OUTSIDE DIAMETER | 12 MM | LENGTH | 100 M | MATERIAL | NYLON | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 120 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1068541 | 1068541 |  |  |  | ERSA | M | 1600 | 1571232GZPCLNT100 | EA |  | CONDUIT;BLK,HD,6.4MM | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BLACK,HD,6.4MM | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1360 | [12 empty] | OEX | ACX1360 | ASHDOWN INGRAM | [15 empty] | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/cable-ties-cable-insulation/oex-convoluted-tubing-heavy-duty-id-6-4mm-od-10mm-length-100m-acx1360/p/A6056951 | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | COLOUR: BLACK |  | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED NON SPLIT, CORRUGATED | INSIDE DIAMETER | 6.4 MM | OUTSIDE DIAMETER | 10 MM | LENGTH | 100 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1084468 | 1084468 |  |  |  | ERSA | M | 1600 | 1578933GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,CLI269/25BK,TERMINATOR | CABLE CONDUCT;CNW,CLI269/25BK | CONDUIT,CABLE;MNFR:CNW,PTNO:CLI269/25BK,ADDITIONAL FEATURES EN:TERMINATOR STAIGHT 25MM BLACK | CABLE CONDUCTO;MNFR:CNW,PTNO:CLI269/25BK |  | CNW | CLI269/25BK | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI269/25BK | [12 empty] | CNW | CLI269/25BK | CNW (MOUNT ISA) ELECT WHOLESALER | CLI269/25BK | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/Conduit-Fittings/TERMINATOR-STRAIGHT-25MM-BLACK/p/CLI269=25BKC20 | [9 empty] | Enriched | 39131706 Electrical conduit |  |  | CONDUIT | CABLE | TYPE | TERMINATOR STAIGHT | TRADE SIZE | 25 MM | LENGTH | 55 MM | MATERIAL | PLASTIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1084469 | 1084469 |  |  |  | ERSA | M | 1600 | 1578934GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,CLI269A25BK,TERMINATOR | CABLE CONDUCT;CNW,CLI269A25BK | CONDUIT,CABLE;MNFR:CNW,PTNO:CLI269A25BK,ADDITIONAL FEATURES EN:TERMINATOR ANGLE 25MM BLACK | CABLE CONDUCTO;MNFR:CNW,PTNO:CLI269A25BK |  | CNW | CLI269A25BK | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI269A25BK | [12 empty] | CNW | CLI269A25BK | CNW (MOUNT ISA) ELECT WHOLESALER | CLI269A25BK | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-%26-Fittings/Flexible-Conduit-Fittings/TERMINATOr-ANGLE-25MM-BLACK/p/CLI269A25BKC20 | [9 empty] | Enriched | 39131706 Electrical conduit |  |  | CONDUIT | CABLE | TYPE | TERMINATOR ANGLE, FLEXIBLE | TRADE SIZE | 25 MM | LENGTH | 95 MM | MATERIAL | PLASTIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE | METRIC MALE X PLAIN END | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1084472 | 1084472 |  |  |  | ERSA | M | 1600 | 1578938GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,POLFC25GR15,FLEX HOSE | CABLE CONDUCT;CNW,POLFC25GR15 | CONDUIT,CABLE;MNFR:CNW,PTNO:POLFC25GR15,ADDITIONAL FEATURES EN:FLEX HOSE PVE GRAY 25MMX15MTR | CABLE CONDUCTO;MNFR:CNW,PTNO:POLFC25GR15 |  | CNW | POLFC25GR15 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | POLFC25GR15 | [12 empty] | CNW | POLFC25GR15 | CNW (MOUNT ISA) ELECT WHOLESALER | POLFC25GR15 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/CONDUIT-FLEX-HOSE-PVC-GREY-25MMX15MTR/p/POLFC25GR15C10 | [9 empty] | Enriched | 39131706 Electrical conduit |  |  | CONDUIT | CABLE | TYPE | FLEXIBLE HOSE | TRADE SIZE | 25 MM | LENGTH | 15 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE | FITTING | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1084611 | 1084611 |  |  |  | ERSA | M | 1600 | 1581737GZPCLNT100 | EA | 3000422 | CONDUIT;CNW,CDT9050COMMS,50MM X 4M,RIGID | CONDUCT;CNW,CDT9050COMMS | CONDUIT;MNFR:CNW,PTNO:CDT9050COMMS,ADDITIONAL FEATURES EN:50MM X 4M,RIGID PVC,WHITE | CONDUCTO;MNFR:CNW,PTNO:CDT9050COMMS |  | CNW | CDT9050COMMS | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CDT9050COMMS | [12 empty] | CNW | CDT9050COMMS | CNW (MOUNT ISA) ELECT WHOLESALER | CDT9050COMMS | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Comms-Conduit/CONDUIT-COMMS-RIGID-PVC-50MMX4M-WHITE/p/CDT9050COMMSC02 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: WHITE | CONNECTION TYPE: PLAIN, WEIGHT: 2.76 KG | CONDUIT | NO MODIFIER | TYPE | COMMUNICATIONS, RIGID | TRADE SIZE | 50 MM | LENGTH | 4 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1084612 | 1084612 |  |  |  | ERSA | M | 1600 | 1581738GZPCLNT100 | EA | 3000422 | CONDUIT;CNW,CLI266HD25,BENDING SPRING 25 | CONDUCT;CNW,CLI266HD25 | CONDUIT;MNFR:CNW,PTNO:CLI266HD25,ADDITIONAL FEATURES EN:BENDING SPRING 25MM HD | CONDUCTO;MNFR:CNW,PTNO:CLI266HD25 |  | CNW | CLI266HD25 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI266HD25 | [12 empty] | CNW | CLI266HD25 | CNW (MOUNT ISA) ELECT WHOLESALER | CLI266HD25 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Bending-Spring/BENDING-SPRING-SUIT-25MM-H-D/p/CLI266HD25C26 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | COLOUR: GOLD | BEND | CONDUIT | TYPE | SPRING HEAVY DUTY | NOMINAL SIZE | 25 MM | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL | ZINC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1085205 | 1085205 |  |  |  | ERSA | M | 1600 | 1577026GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,CLI9025CMS20GY,25MMX20M | CABLE CONDUCT;CNW,CLI9025CMS20GY | CONDUIT,CABLE;MNFR:CNW,PTNO:CLI9025CMS20GY,ADDITIONAL FEATURES EN:25MMX20M GRY CORRGATED M/D STH | CABLE CONDUCTO;MNFR:CNW,PTNO:CLI9025CMS20GY |  | CNW | CLI9025CMS20GY | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI9025CMS20GY | [12 empty] | CNW | CLI9025CMS20GY | CNW (MOUNT ISA) ELECT WHOLESALER | CLI9025CMS20GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Corrugated-Conduit/CONDUIT-CORRUGATED-M-D-S%27TH-25MM-20M-GRY/p/CLI9025CMS20GYC08 | [9 empty] | Enriched | 39131706 Electrical conduit |  | SIZE: 374 WDX374 HTX98 DP MM, WEIGHT 3.4 KG | CONDUIT | CABLE | TYPE | CORRUGATED MEDIUM DUTY STRAIGHT | TRADE SIZE | 25 MM | LENGTH | 20 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1103135 | 1103135 |  |  |  | ERSA | M | 1600 | 1571222GZPCLNT100 | EA |  | CONDUIT;HD,25MM,30M,70-2530HD | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:HD,25MM,30M,70-2530HD | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1196 | [12 empty] | OEX | ACX1196 | [16 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | SIZE: 25 MM, CONDUIT, 70-2530HD | INSIDE BEND RADIUS: 50 MM, IP RATING: IP69K | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED NON SPLIT EXTRA | INSIDE DIAMETER | 21.1 MM | OUTSIDE DIAMETER | 28.5 MM | LENGTH | 30 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 105 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1103136 | 1103136 |  |  |  | ERSA | M | 1600 | 1571221GZPCLNT100 | EA |  | CONDUIT;HD,20MM,30M,70-2030HD | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:HD,20MM,30M,70-2030HD | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1195 | [12 empty] | OEX | ACX1195 | [16 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | SIZE: 20 MM, CONDUIT, 70-2030HD | INSIDE BEND RADIUS: 40 MM, IP RATING: IP69K | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED NON SPLIT EXTRA | INSIDE DIAMETER | 14.5 MM | OUTSIDE DIAMETER | 21 MM | LENGTH | 30 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 105 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | CLASS IS BASED ON WEBSOURCED | 1103137 | 1103137 |  |  |  | ERSA | M | 1600 | 1571220GZPCLNT100 | EA |  | CONDUIT;HD,16MM,50M,70-1650HD | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:HD,16MM,50M,70-1650HD | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1194 | [12 empty] | OEX | ACX1194 | [16 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | SIZE: 16 MM, CONDUIT, 70-1650HD | INSIDE BEND RADIUS: 30 MM, IP RATING: IP69K | TUBING | NO MODIFIER | TYPE | HEAVY DUTY CONVOLUTED NON SPLIT EXTRA | INSIDE DIAMETER | 11.6 MM | OUTSIDE DIAMETER | 15.8 MM | LENGTH | 30 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 105 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103481 | 1103481 |  |  |  | ERSA | M | 1600 | 1570741GZPCLNT100 | EA | 3000422 | CONDUIT;CNW,CDT9080COMMS,COMMS,RGD,PVC,8 | CONDUCT;CNW,CDT9080COMMS | CONDUIT;MNFR:CNW,PTNO:CDT9080COMMS,ADDITIONAL FEATURES EN:COMMS,RIGID,PVC,80MMX6M,WHITE | CONDUCTO;MNFR:CNW,PTNO:CDT9080COMMS |  | CNW | CDT9080COMMS | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CDT9080COMMS | [12 empty] | CNW | CDT9080COMMS | CNW (MOUNT ISA) ELECT WHOLESALER | CDT9080COMMS | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Comms-Conduit/CONDUIT-COMMS-RIGID-PVC-80MMX6M-WHITE/p/CDT9080COMMSC02 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: WHITE | CONNECTION TYPE: PLAIN, WEIGHT: 9.06 KG | CONDUIT | NO MODIFIER | TYPE | COMMUNICATIONS, RIGID | TRADE SIZE | 80 MM | LENGTH | 6 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103482 | 1103482 |  |  |  | ERSA | M | 1600 | 1570740GZPCLNT100 | EA | 3000422 | CONDUIT;CNW,CDT9100COMMS,COMMS,RGD,PVC,1 | CONDUCT;CNW,CDT9100COMMS | CONDUIT;MNFR:CNW,PTNO:CDT9100COMMS,ADDITIONAL FEATURES EN:COMMS,RIGID,PVC,100MMX6M,WHITE | CONDUCTO;MNFR:CNW,PTNO:CDT9100COMMS |  | CNW | CDT9100COMMS | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CDT9100COMMS | [12 empty] | CNW | CDT9100COMMS | CNW (MOUNT ISA) ELECT WHOLESALER | CDT9100COMMS | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Comms-Conduit/CONDUIT-COMMS-RIGID-PVC-100MMX6M-WHITE/p/CDT9100COMMSC02 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: WHITE | CONNECTION TYPE: PLAIN, WEIGHT: 12.89 KG | CONDUIT | NO MODIFIER | TYPE | COMMUNICATIONS, RIGID | TRADE SIZE | 100 MM | LENGTH | 6 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103605 | 1103605 |  |  |  | ERSA | M | 2920 | 1570607GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 9,LTHR,MEN,55-322,E/S,WHT | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ 9,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:MENS,55-322,E/S,WHT | BOTAS SEGURIDAD; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3592516 | [26 empty] | J BLACKWOOD & SONS | 3592516 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | E/S |  | BOOTS | SAFETY | TYPE | MENS | SIZE DESIGNATION | 9 | MATERIAL |  | STYLE | 55-322 | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103606 | 1103606 |  |  |  | ERSA | M | 2920 | 1570606GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 10.5,LTHR | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ 10.5,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:WOMENS,TRADIE,K27380 | BOTAS SEGURIDAD; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3345336 | [26 empty] | J BLACKWOOD & SONS | 3345336 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | REFERENCE NO: K27380 |  | BOOTS | SAFETY | TYPE | WOMENS | SIZE DESIGNATION | 10.5 | MATERIAL | LEATHER | STYLE | TRADIE | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103607 | 1103607 |  |  |  | ERSA | M | 2920 | 1570605GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 10,LTHR | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SZ 10,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:MENS,55-322,E/S,WHT | BOTAS SEGURIDAD; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2592550 | [26 empty] | J BLACKWOOD & SONS | 2592550 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | E/S |  | BOOTS | SAFETY | TYPE | MENS | SIZE DESIGNATION | 10 | MATERIAL | LEATHER | STYLE | 55-322 | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1103735 | 1103735 |  |  |  | ERSA | M | 1600 | 1570465GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,CLI9025TCM10GY,CORR,M/D | CABLE CONDUCT;CNW,CLI9025TCM10GY | CONDUIT,CABLE;MNFR:CNW,PTNO:CLI9025TCM10GY,ADDITIONAL FEATURES EN:CORRUGATED,M/D,25MM/10M,GREY | CABLE CONDUCTO;MNFR:CNW,PTNO:CLI9025TCM10GY |  | CNW | CLI9025TCM10GY | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI9025TCM10GY | [12 empty] | CNW | CLI9025TCM10GY | CNW (MOUNT ISA) ELECT WHOLESALER | CLI9025TCM10GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Corrugated-Conduit/MD-Corrugated-Conduit/MD-CORRUGATED-CONDUIT-PVC-GREY-25MM-10M/p/CLI9025TCM10GYC08 | [9 empty] | Enriched | 39131706 Electrical conduit |  | SIZE: 378 WDX378 HTX100 DP MM, WEIGHT: 1.24 KG | CONDUIT | CABLE | TYPE | CORRUGATED MEDIUM DUTY | TRADE SIZE | 25 MM | LENGTH | 10 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1104809 | 1104809 |  |  |  | ERSA | M | 2210 | 1495398GZPCLNT100 | EA |  | CONDUIT;CABRF25/BL/30M RHINO,FLE,BI10521 | CONDUIT;CABRF25/BL/30M RHINO,FLE,BI10521 | [5 empty] | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BI10521 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1495398 | [10 empty] | ABB | RF25/BL/30M | CNW (MOUNT ISA) ELECT WHOLESALER | BI10521 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1495398 | [12 empty] | https://new.abb.com/products/7TCA296060R0073/rf25-bl-30m | [9 empty] | Enriched | 39131706 Electrical conduit | RHINO,FLE |  | CONDUIT | CABLE | TYPE | HEAVY | TRADE SIZE | 25 MM | LENGTH | 30 M | MATERIAL | PVC | INSIDE DIAMETER | 22 MM | OUTSIDE DIAMETER | 27.5 MM | CONNECTION TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1106080 | 1106080 | 1412123 | AU_QM_000257551 |  | ERSA | M | 5915 | 1412123GZPCLNT100 | EA |  | BOOTS,SAFTY;9,ZIP,WHEAT | BOOTS,SAFTY;9,ZIP,WHEAT | BOOTS,SAFETY;SIZE DESIGNATION:9,FASTENING METHOD:ZIP,COLOUR:WHEAT,ADDITIONAL FEATURES EN:REFERENCE NO: K27980,MNFR:01)PARTS,PTNO: 01)03733973 |  | BOOTS,SAFTY;9,ZIP,WHEATBOOTS,SAFTY;9,ZIP,WHEAT,REFERENCE NO |  |  | 1068502 @@ ATOM SUPPLY | 30007285 | [12 empty] | ATOM SUPPLY | 30007285 | [16 empty] | https://www.atom.com.au/55-385-zip-up-safety-boots-with-pu-rubber-sole-metso-met55385 | [9 empty] | Enriched | 46181604 Safety boots | REFERENCE NO: K27980 |  | BOOTS | SAFETY | TYPE |  | SIZE DESIGNATION | 9 | MATERIAL | LEATHER | STYLE | 55-385 | FASTENING METHOD | ZIP UP | SOLE MATERIAL | PU/RUBBER | TOE CONSTRUCTION TYPE |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 2210.3:2019, ASTM F2413 - 18, EN ISO 20345:2011 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1106226 | 1106226 | 1409194 | AU_QM_000254382 |  | ERSA | M | 5915 | 1409194GZPCLNT100 | EA |  | BOOTS,SAFTY;MENS RIGGER, PULL ON,12 | BOOTS,SAFTY;MENS RIGGER, PULL ON,12 | BOOTS,SAFETY;TYPE:MENS RIGGER, PULL ON,SIZE DESIGNATION:12,COLOUR:BROWN,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)02935347,MNFR: 0 |  | BOOTS,SAFTY;MENS RIGGER, PULL ON,12BOOTS,SAFTY;MENS RIGGER, PULL ON,12,BRN |  |  | 1068652 @@ J BLACKWOOD & SONS | 1409194 | [26 empty] | J.BLACKWOOD AND SON LIMITED | 2935347 | J BLACKWOOD & SONS | 1409194 | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE | MENS RIGGER, PULL ON | SIZE DESIGNATION | 12 | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | BROWN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1106860 | 1106860 | 1417732 | AU_QM_000263610 |  | ERSA | M | 5915 | 1417732GZPCLNT100 | EA |  | DISC,CUTNG;CUT OFF,6650 R/MIN,DIA 230 MM | DISC,CUTNG;CUT OFF,6650 R/MIN,DIA 230 MM | DISC,CUTTING;TYPE:CUT OFF,SPEED:6650 R/MIN,SIZE:DIA 230 MM,GRIT:30,ARBOR HOLE SIZE:25.4 MM,ADDITIONAL FEATURES EN:THK 2.5 MM, A30S I |  | DISC,CUTNG;CUT OFF,6650 R/MIN,DIA 230 MMDISC,CUTNG;CUT OFF,6650R/MIN,DIA 230MM |  |  | 1068652 @@ J BLACKWOOD & SONS | 1417732 | [26 empty] | J BLACKWOOD & SONS | 1417732 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc | A30S I |  | DISC | CUTTING | TYPE | CUT OFF | SPEED | 6650 RPM | SIZE | 230 DIAX2.5 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1114254 | 1114254 |  |  |  | ERSA | M | 4010 | 1571545GZPCLNT100 | EA |  | DISC,GRNDG;125X2.2X22.23MM,ALL IN ONE | DISCO ESMERIL; | DISC,GRINDING;SIZE:125X2.2X22.23MM,ADDITIONAL FEATURES EN:ALL IN ONE | DISCO ESMERILADO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 66252841763 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 66252841763 | [14 empty] | https://www.heatleys.com.au/flexovit-depressed-centre-disc-all-in-one-cut-off-grinding-polishing-wheel-a46s-bf-125mm-x-2-2mm-x-22-23mm | [9 empty] | Enriched | 23131503 Grinding wheels |  | ABRASIVE AND CUTTING TYPE: POLISHING FINISHING | DISC | GRINDING | TYPE | ALL IN ONE | SPEED |  | SIZE | 125X2.2X22.23 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1144537 | 1144537 | 1429533 | AU_QM_000617738 |  | ERSA | M | 1600 | 1429533GZPCLNT100 | EA |  | CONDUIT;FLEXIBLE, MEDIUM DUTY,DIA 20 MM | CONDUIT;FLEXIBLE, MEDIUM DUTY,DIA 20 MM | CONDUIT;TYPE:FLEXIBLE, MEDIUM DUTY,TRADE SIZE:DIA 20 MM,LENGTH:50 M,MATERIAL:PVC GREY,ADDITIONAL FEATURES EN:NONMETAL, C/W DRAW WIRE, COIL,MNFR:01)REXEL,PTNO:01)CLI9020TCMGY,MNFR:02)CNW,PTNO:02)CLI9020CMDGY |  | CONDUIT,NONMETAL,FLEX:20MM;GREY PVC;CORRUGATED;MEDIUM DUTY; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 9020TCMGY | [10 empty] | REXEL |  | CNW | CLI9020TCMGY | CNW (MOUNT ISA) ELECT WHOLESALER | 9020TCMGY | CNW | CLI9020CMDGY | [12 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Corrugated-Conduit/CONDUIT-CORRUGATED-M-D-20MM-50M-GRY/p/CLI9020TCMGYC08 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | C/W DRAW WIRE, COIL | SIZE: 470 WDX470 HT MM, COLOUR: GREY | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, MEDIUM DUTY, NONMETAL, CORRUGATED | TRADE SIZE | 20 MM DIA | LENGTH | 50 M/ROLL | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1144728 | 1144728 | 1458661 | AU_QM_001907002 |  | ERSA | M | 1600 | 1458661GZPCLNT100 | EA |  | CONDUIT;FLEXIBLE,DIA 20 MM,LG 30 M/ROLL | CONDUIT;FLEXIBLE,DIA 20 MM,LG 30 M/ROLL | CONDUIT;TYPE:FLEXIBLE,TRADE SIZE:DIA 20 MM,LENGTH:30 M/ROLL,MATERIAL:STEEL GALVANIZED PVC GREY COATED,ADDITIONAL FEATURES EN: METAL,MNFR:01)CNW,PTNO:01)ANAAEF12-30MIM |  | CONDUIT,METAL,FLEX: 20MM;PVC-COATED STEEL; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AEF12-30 | [12 empty] | CNW | ANAAEF12-30MIM | CNW (MOUNT ISA) ELECT WHOLESALER | AEF12-30 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Flexible-Conduit-and-Fittings/CONDUIT-FLEX-20mm-x-30M-AEF-GREY-PER-RL/p/ANAAEF12-30SUNCDT | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways |  | CONNECTION TYPE: PLAIN, IP RATING: IP67, COLOUR: GREY, FINISH/COATED: GALVANIZED, ROUND: SHAPE | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, HEAVY DUTY | TRADE SIZE | 20 MM DIA | LENGTH | 30 M/ROLL | MATERIAL | STEEL, METAL, PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS2053 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1145113 | 1145113 |  |  |  | ERSA | M | 1600 | 1537279GZPCLNT100 | EA |  | DIFFUSER;GHT ANTI-GLARE, ,YURIKA,2433373 | DIFFUSER;GHT ANTI-GLARE, ,YURIKA,2433373 | DIFFUSER;ADDITIONAL FEATURES:GHT ANTI-GLARE, ,YURIKA,2433373 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2433373 | [10 empty] | YURIKA | 2433373 |  |  | YURIKA PTY LTD | 2433373 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation |  |  | DIFFUSER | NO MODIFIER | TYPE | GHT ANTI-GLARE | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1146016 | 1146016 |  |  |  | ERSA | M | 1600 | 1537099GZPCLNT100 | EA |  | DIFFUSER;LIGHT PLASTIC, T,YURIKA,2406768 | DIFFUSER;LIGHT PLASTIC, T,YURIKA,2406768 | DIFFUSER;ADDITIONAL FEATURES:LIGHT PLASTIC, T,YURIKA,2406768 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2406768 | [10 empty] | YURIKA | 2406768 |  |  | YURIKA PTY LTD | 2406768 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation |  |  | DIFFUSER | NO MODIFIER | TYPE | LIGHT | POWER RATING |  | SHAPE | T | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL | PLASTIC | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1146305 | 1146305 |  |  |  | ERSA | M | 1600 | 1535493GZPCLNT100 | EA |  | CONDUIT,CBL;200MM,HD,ORANGE,6M,VIN21065 | CONDUIT,CBL;200MM,HD,ORANGE,6M,VIN21065 | CONDUIT,CBL;ADDITIONAL FEATURES:200MM,HD,ORANGE,6M,VIN21065 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | VIN21065 | [11 empty] | VIN21065 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | VIN21065 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131706 Electrical conduit |  |  | CONDUIT | CABLE | TYPE | HEAVY DUTY | TRADE SIZE | 200 MM | LENGTH | 6 M | MATERIAL |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1146306 | 1146306 |  |  |  | ERSA | M | 1600 | 1535492GZPCLNT100 | EA |  | CONDUIT,CBL;150MM,HD,ORANGE,CDT9150HD | CONDUIT,CBL;150MM,HD,ORANGE,CDT9150HD | CONDUIT,CBL;ADDITIONAL FEATURES:150MM,HD,ORANGE,CDT9150HD |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 9150HD | [12 empty] | CNW | CDT9150HD | CNW (MOUNT ISA) ELECT WHOLESALER | 9150HD | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Rigid-Conduit/HD-Conduit/HD-CONDUIT-PVC-RIGID-150MM-ORANGE-4MTR/p/CDT9150HDC01 | [9 empty] | Enriched | 39131706 Electrical conduit |  | WEIGHT:16.25 KG | CONDUIT | CABLE | TYPE | HEAVY DUTY RIGID | TRADE SIZE | 150 MM | LENGTH | 4 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 150 MM | CONNECTION TYPE | PLAIN | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1146307 | 1146307 |  |  |  | ERSA | M | 1600 | 1535491GZPCLNT100 | EA |  | CONDUIT,CBL;125MM,HD,ORANGE,CDT9125HD | CONDUIT,CBL;125MM,HD,ORANGE,CDT9125HD | CONDUIT,CBL;ADDITIONAL FEATURES:125MM,HD,ORANGE,CDT9125HD |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 9125HD | [12 empty] | CNW | CDT9125HD | CNW (MOUNT ISA) ELECT WHOLESALER | 9125HD | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Rigid-Conduit/HD-Conduit/HD-CONDUIT-PVC-RIGID-125MM-ORANGE-4MTR/p/CDT9125HDC01 | [9 empty] | Enriched | 39131706 Electrical conduit |  | WEIGHT: 13 KG | CONDUIT | CABLE | TYPE | HEAVY DUTY RIGID | TRADE SIZE | 125 MM | LENGTH | 4 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 125 MM | CONNECTION TYPE | PLAIN | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1146308 | 1146308 |  |  |  | ERSA | M | 1600 | 1535490GZPCLNT100 | EA |  | CONDUIT,CBL;HD,PVC,100MMX4M,OR,CDT9100HD | CONDUIT,CBL;HD,PVC,100MMX4M,OR,CDT9100HD | CONDUIT,CBL;ADDITIONAL FEATURES:HD,PVC,100MMX4M,OR,CDT9100HD |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 9100HD | [12 empty] | CNW | CDT9100HD | CNW (MOUNT ISA) ELECT WHOLESALER | 9100HD | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Rigid-Conduit/HD-Conduit/HD-CONDUIT-PVC-RIGID-100MM-ORANGE-4MTR/p/CDT9100HDC01 | [9 empty] | Enriched | 39131706 Electrical conduit |  | WEIGHT: 7.5 KG | CONDUIT | CABLE | TYPE | HEAVY DUTY RIGID | TRADE SIZE | 100 MM | LENGTH | 4 M | MATERIAL | PVC | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 114 MM | CONNECTION TYPE |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1155023 | 1155023 |  |  |  | ERSA | M | 2240 | 1533002GZPCLNT100 | EA |  | BALL,VLV;4 IN,F819,FIRESAFE,OXYGEN CLEAN | BALL,VLV;4 IN,F819,FIRESAFE,OXYGEN CLEAN | BALL,VLV;ADDITIONAL FEATURES:4 IN,F819,FIRESAFE,OXYGEN CLEAN |  |  |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | 40F819-666RZ7TZ150150Q822 | [14 empty] | KEYFLO PACIFIC PTY LTD | 40F819-666RZ7TZ150150Q822 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FIRESAFE,OXYGEN CLEAN |  | BALL | VALVE | DIAMETER |  | VALVE SIZE | 4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1155024 | 1155024 |  |  |  | ERSA | M | 2240 | 1533001GZPCLNT100 | EA |  | BALL,VLV;4 IN,F819,F/SAFE,OXY CLEAN,COMP | BALL,VLV;4 IN,F819,F/SAFE,OXY CLEAN,COMP | BALL,VLV;ADDITIONAL FEATURES:4 IN,F819,F/SAFE,OXY CLEAN,COMP |  |  |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | 40F819-666RZ7TZ150150Q822/S175S10/I | [14 empty] | KEYFLO PACIFIC PTY LTD | 40F819-666RZ7TZ150150Q822/S175S10/I | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FIRESAFE,OXYGEN CLEAN, COMP |  | BALL | VALVE | DIAMETER |  | VALVE SIZE | 4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1155562 | 1155562 |  |  |  | ERSA | M | 2800 | 1507017GZPCLNT100 | EA |  | DIFFUSER;ONGS PPP,750 DIFFUSER,MSPS0029 | DIFFUSER;ONGS PPP,750 DIFFUSER,MSPS0029 | DIFFUSER;ADDITIONAL FEATURES:ONGS PPP,750 DIFFUSER,MSPS0029 |  |  |  |  | 1068148 @@ MILES STREET POOL SUPPLIES | MSPS0029 | [11 empty] | MSPS0029 |  |  | MILES STREET POOL SUPPLIES | MSPS0029 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | ONGS PPP,750 |  | DIFFUSER | NO MODIFIER | TYPE |  | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1156800 | 1156800 | 1366722 | AU_QM_000169612 |  | ERSA | M | 4100 | 1366722GZPCLNT100 | EA |  | DIFFUSER;LIGHT,WALL,FOR LED,CNW,BARDRX | DIFFUSER;LIGHT,WALL,FOR LED,CNW,BARDRX | DIFFUSER;TYPE:LIGHT,MOUNTING TYPE:WALL,ADDITIONAL FEATURES EN:FOR LED,MNFR:01)CNW,PTNO:01)BARDRX |  | DIFFUSER,LIGHT: BARDRX; DIFFUSLER FOR LED LIGHT |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1366722 | [10 empty] | CNW | BARDRX |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1366722 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation | FOR LED |  | DIFFUSER | NO MODIFIER | TYPE | LIGHT | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE | WALL | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1174374 | 1174374 |  |  |  | ERSA | M | 5920 | 1569181GZPCLNT100 | EA | 3000353 | DIFFUSER;SULZ,104607366006 | DIFUSOR;SULZ,104607366006 | DIFFUSER;MNFR:SULZER,PTNO:104607366006 | DIFUSOR;MNFR:SULZER,PTNO:104607366006 |  | SULZER | 104607366006 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104607366006 | [10 empty] | SULZER | 104607366006 |  |  | SULZER AUSTRALIA PTY LTD | 104607366006 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101500 Ventilation |  |  | DIFFUSER | NO MODIFIER | TYPE |  | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1176315 | 1176315 | 1446691 | AU_QM_001043793 |  | ERSA | M | 1600 | 1446691GZPCLNT100 | EA |  | CONDUIT;RIGID, MEDIUM DUTY,DIA 20 MM,CNW | CONDUIT;RIGID, MEDIUM DUTY,DIA 20 MM,CNW | CONDUIT;TYPE:RIGID, MEDIUM DUTY,TRADE SIZE:DIA 20 MM,LENGTH:4 M,MATERIAL:PVC GREY,ADDITIONAL FEATURES EN:NONMETAL,MNFR:01)CNW, PTNO:01)CDT9020MD |  | CONDUIT,NONMETAL,RIGID: 20MM;PVC; MEDIUM DUTY; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CDT9020MD | 1068652 @@ J BLACKWOOD & SONS | 1079954 | [10 empty] | CNW | CDT9020MD | CNW (MOUNT ISA) ELECT WHOLESALER | [11 empty] | J BLACKWOOD & SONS | 1079954 |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/MD-Conduit/CONDUIT-MD-RIGID-PVC-20MMX4MTR-GREY/p/CDT9020MDC01 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: GREY | WEIGHT:0.6 KG | CONDUIT | NO MODIFIER | TYPE | RIGID, MEDIUM DUTY, NONMETAL | TRADE SIZE | 20 MM DIA | LENGTH | 4 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1179885 | 1179885 |  |  |  | ERSA | M | 5920 | 1569174GZPCLNT100 | EA | 3000353 | DISC;SULZ,104600481007,WEAR RING | DISCO;SULZ,104600481007 | DISC;MNFR:SULZER,PTNO:104600481007,ADDITIONAL FEATURES EN:WEAR RING | DISCO;MNFR:SULZER,PTNO:104600481007 |  | SULZER | 104600481007 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104600481007 | [10 empty] | SULZER | 104600481007 |  |  | SULZER AUSTRALIA PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | WEAR RING |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1179886 | 1179886 |  |  |  | ERSA | M | 5920 | 1569173GZPCLNT100 | EA | 3000353 | DISC;SULZ,104600480007,WEAR RING | DISCO;SULZ,104600480007 | DISC;MNFR:SULZER,PTNO:104600480007,ADDITIONAL FEATURES EN:WEAR RING | DISCO;MNFR:SULZER,PTNO:104600480007 |  | SULZER | 104600480007 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104600480007 | [10 empty] | SULZER | 104600480007 |  |  | SULZER AUSTRALIA PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | WEAR RING |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180338 | 1180338 |  |  |  | ERSA | M | 4010 | 1544015GZPCLNT100 | EA |  | DISC,CUTNG;125X1MM | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:125X1MM | DISCO CORTE; |  |  |  | 1068093 @@ BLACKWOODS & SONS | 1350960 | 1068652 @@ J BLACKWOOD & SONS | 1350960 | [24 empty] | BLACKWOODS & SONS | 1350960 | J BLACKWOOD & SONS |  | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 125X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180489 | 1180489 |  |  |  | ERSA | M | 1600 | 1522859GZPCLNT100 | EA |  | CONDUIT;TEE,PVC INSP,CLI246/32GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:TEE,PVC INSP,CLI246/32GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 246/32GY | [12 empty] | CNW | CLI246/32GY | CNW (MOUNT ISA) ELECT WHOLESALER | 246/32GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Tee/INSPECTION-TEE-PVC-32MM-GREY/p/CLI246=32GYC20 | [9 empty] | Enriched | 39131706 Electrical conduit |  | COLOUR: GREY, WAY: 3 , SHAPE: LETTER T | TEE | CONDUIT | TYPE | INSPECTION | NOMINAL SIZE | 32 DIAX44 HT MM | END CONNECTION | PLAIN | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH | 127 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180491 | 1180491 |  |  |  | ERSA | M | 1600 | 1522857GZPCLNT100 | EA |  | CONDUIT;BEND,SWEEP,90DEG L/S,CLI247L32EO | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,SWEEP,90DEG L/S,CLI247L32EO | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 247L32EO | [12 empty] | CNW | CLI247L32EO | CNW (MOUNT ISA) ELECT WHOLESALER | 247L32EO | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/c/BEND-SWEEP-90DEG-L-SWP-32MM-ORANGE/p/CLI247L32EOC17 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | WEIGHT: 216 G | BEND | CONDUIT | TYPE | LONG SWEEP | NOMINAL SIZE | 32 MM | ANGLE | 90 DEG | LENGTH | 350 MM | END CONNECTION | PLAIN | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180492 | 1180492 |  |  |  | ERSA | M | 1600 | 1522856GZPCLNT100 | EA |  | CONDUIT;BEND,PVC SOL,CLI247/32GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,PVC SOL,CLI247/32GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 247/32GY | [12 empty] | CNW | CLI247/32GY | CNW (MOUNT ISA) ELECT WHOLESALER | 247/32GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Bend/BEND-CONDUIT-PVC-SOLID-32MM-GREY/p/CLI247=32GYC20 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | WEIGHT: 75.4 G | BEND | CONDUIT | TYPE | SOLID | NOMINAL SIZE | 32 MM | ANGLE | 90 DEG | LENGTH | 134 MM | END CONNECTION | PLAIN | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180493 | 1180493 |  |  |  | ERSA | M | 1600 | 1522855GZPCLNT100 | EA |  | CONDUIT;CPLG,PVC,CLI242/32GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:COUPLING,PVC,CLI242/32GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 242/32GY | [12 empty] | CNW | CLI242/32GY | CNW (MOUNT ISA) ELECT WHOLESALER | 242/32GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Coupling/PLAIN-COUPLING-PVC-32MM-GREY/p/CLI242=32GYC20 | [9 empty] | Enriched | 39131707 Electrical conduit coupling |  | COLOUR: GREY, WEIGHT: 20 G | COUPLING | CONDUIT | TYPE |  | NOMINAL SIZE | 32 MM | END CONNECTION | PLAIN | LENGTH | 52 MM | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS2053 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180497 | 1180497 |  |  |  | ERSA | M | 1600 | 1522851GZPCLNT100 | EA |  | CONDUIT;TEE,PVC INSP,CLI246/25GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:TEE,PVC INSP,CLI246/25GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 246/25GY | [12 empty] | CNW | CLI246/25GY | CNW (MOUNT ISA) ELECT WHOLESALER | 246/25GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Tee/INSPECTION-TEE-PVC-25MM-GREY/p/CLI246=25GYC20 | [9 empty] | Enriched | 39131706 Electrical conduit |  | COLOUR: GREY, WEIGHT: 64 G | TEE | CONDUIT | TYPE | INSPECTION | NOMINAL SIZE | 25 DIAX37 HT MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH | 108 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180499 | 1180499 |  |  |  | ERSA | M | 1600 | 1522849GZPCLNT100 | EA |  | CONDUIT;BEND,PVC SOL,CLI247/25GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,PVC SOL,CLI247/25GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 247/25GY | [12 empty] | CNW | CLI247/25GY | CNW (MOUNT ISA) ELECT WHOLESALER | 247/25GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Bend/SOLID-BEND-PVC-90-DEG-25MM-GREY/p/CLI247=25GYC20 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | WEIGHT: 49.8 G | BEND | CONDUIT | TYPE | SOLID | NOMINAL SIZE | 25 MM | ANGLE | 90 DEG | LENGTH | 106 MM | END CONNECTION | PLAIN | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180501 | 1180501 |  |  |  | ERSA | M | 1600 | 1522847GZPCLNT100 | EA |  | CONDUIT;CPLG,PVC,CLI242/25GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:COUPLING,PVC,CLI242/25GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 242/25GY | [12 empty] | CNW | CLI242/25GY | CNW (MOUNT ISA) ELECT WHOLESALER | 242/25GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Conduit-Fittings/Couplings/COUPLING-CONDUIT-PVC-25MM-GREY/p/CLI242=25GYC20 | [9 empty] | Enriched | 39131707 Electrical conduit coupling |  | COLOUR: GREY, WEIGHT: 13 G | COUPLING | CONDUIT | TYPE |  | NOMINAL SIZE | 25 MM | END CONNECTION | PLAIN | LENGTH | 42 MM | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS2053 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180504 | 1180504 |  |  |  | ERSA | M | 1600 | 1522844GZPCLNT100 | EA |  | CONDUIT;TEE,PVC INSP,CLI246/20GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:TEE,PVC INSP,CLI246/20GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 246/20GY | [12 empty] | CNW | CLI246/20GY | CNW (MOUNT ISA) ELECT WHOLESALER | 246/20GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Tee/INSPECTION-TEE-PVC-20MM-GREY/p/CLI246=20GYC20 | [9 empty] | Enriched | 39131706 Electrical conduit |  | COLOUR: GREY, WEIGHT: 46.9 G | TEE | CONDUIT | TYPE | INSPECTION | NOMINAL SIZE | 20 DIAX29 HT MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH | 92 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180506 | 1180506 |  |  |  | ERSA | M | 1600 | 1522842GZPCLNT100 | EA |  | CONDUIT;BEND,PVC SOL,CLI247/20GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,PVC SOL,CLI247/20GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 247/20GY | [12 empty] | CNW | CLI247/20GY | CNW (MOUNT ISA) ELECT WHOLESALER | 247/20GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Conduit-Fittings/Conduit-Bend/SOLID-BEND-PVC-90-DEG-20MM-GREY/p/CLI247=20GYC20 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | WEIGHT: 26 G | BEND | CONDUIT | TYPE | SOLID | NOMINAL SIZE | 20 MM | ANGLE | 90 DEG | LENGTH | 83 MM | END CONNECTION | PLAIN | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180508 | 1180508 |  |  |  | ERSA | M | 1600 | 1522840GZPCLNT100 | EA |  | CONDUIT;CPLG,PVC,CLI242/20GY | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:COUPLING,PVC,CLI242/20GY | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 242/20GY | [12 empty] | CNW | CLI242/20GY | CNW (MOUNT ISA) ELECT WHOLESALER | 242/20GY | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/Conduit-Fittings/Couplings/COUPLING-CONDUIT-PVC-20MM-GREY/p/CLI242=20GYC20 | [9 empty] | Enriched | 39131707 Electrical conduit coupling |  | COLOUR: GREY, WEIGHT: 10.6 G | COUPLING | CONDUIT | TYPE |  | NOMINAL SIZE | 20 MM | END CONNECTION | PLAIN | LENGTH | 42 MM | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS2053 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180514 | 1180514 |  |  |  | ERSA | M | 1600 | 1522834GZPCLNT100 | EA |  | CONDUIT;BEND,FLAT ANGLE 25,AUSCD2516AFWH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,FLAT ANGLE 25,AUSCD2516AFWH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AFWH | [12 empty] | CNW | AUSCD2516AFWH | CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AFWH | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/BEND-FLAT-ANGLE-25X16MM-WHITE/p/AUSCD2516AFWHD29 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | COLOUR: WHITE | BEND | CONDUIT | TYPE | FLAT DUCT ANGLE | NOMINAL SIZE | 25 WDX16 HT MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180516 | 1180516 |  |  |  | ERSA | M | 1600 | 1522832GZPCLNT100 | EA |  | CONDUIT;BEND,INT ANGL,AUSCD2516AIWH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,INT ANGL,AUSCD2516AIWH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AIWH | [12 empty] | CNW | AUSCD2516AIWH | CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AIWH | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/BEND-INTERNAL-ANGLE-25X16MM-WHITE/p/AUSCD2516AIWHD29 | [9 empty] | Enriched | 39131717 Electrical conduit elbow |  | COLOUR: WHITE | BEND | CONDUIT | TYPE | INTERNAL duct | NOMINAL SIZE | 25 WDX16 HT MM | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180517 | 1180517 |  |  |  | ERSA | M | 1600 | 1522831GZPCLNT100 | EA |  | CONDUIT;BEND,EXT ANGL,AUSCD2516AEWH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:BEND,EXT ANGL,AUSCD2516AEWH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AEWH | [11 empty] | AUSCD2516AEWH |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CD2516AEWH | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131717 Electrical conduit elbow |  |  | BEND | CONDUIT | TYPE | EXTERNAL | NOMINAL SIZE |  | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180593 | 1180593 |  |  |  | ERSA | M | 2620 | 1574594GZPCLNT100 | EA |  | DISC,CUTNG;125 MM X 1 MM ULTRA THIN | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:125 MM X 1 MM ULTRA THIN | DISCO CORTE; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | PFE61341112 | [12 empty] | PFERD | PFE61341112 | GLOBAL WELDING SUPPLIES (MT ISA) | [15 empty] | https://www.tradetools.com/5-125mm-inox-ultra-cut-pferd-disc-thin-pfe61341112#Technical%20Specifications | [9 empty] | Enriched | 27112838 Cutting disc |  |  | DISC | CUTTING | TYPE | ULTRA THIN, CUT OFF WHEEL | SPEED | 12200 RPM | SIZE | 125X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | ALLUMINIUM OXIDE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1180604 | 1180604 |  |  |  | ERSA | M | 4090 | 1574583GZPCLNT100 | EA |  | DISC,GRNDG;125 MM,CC GRIND SOLID STEEL | DISCO ESMERIL; | DISC,GRINDING;SIZE:125 MM,ADDITIONAL FEATURES EN:CC GRIND SOLID STEEL,PFERD | DISCO ESMERILADO; |  |  |  | 1068502 @@ ATOM SUPPLY | 30000949 | [12 empty] | ATOM SUPPLY | 30000949 | [16 empty] | https://www.atom.com.au/cc-grind-solid-grinding-disc-steel-125mm-30000949 | [9 empty] | Cleansed | 23131503 Grinding wheels | BRAND: PFERD |  | DISC | GRINDING | TYPE | CC GRIND SOLID | SPEED |  | SIZE | 125 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 |  | 1181359 | 1181359 |  |  |  | ERSA | M | 5955 | 1567807GZPCLNT100 | ROL |  | CONDUIT;EXTRA H\DUTY,50MMX10M | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:EXTRA H\DUTY,50MMX10M | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1199 | [12 empty] | OEX | ACX1199 | ASHDOWN INGRAM | [15 empty] | https://www.blackwoods.com.au/automotive/spare-parts-automotive/repair-mounting-kits/oex-conduit-extra-heavy-duty-26-6mm-x-30m-acx1197/p/00895955 | [9 empty] | Enriched | 39120000 Electrical equipment and components and supplies |  | COLOUR: BLACK | CONDUIT | NO MODIFIER | TYPE | EXTRA HEAVY DUTY | TRADE SIZE | 50 MM | LENGTH | 10 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 20-10-2023 | 30 M BASED ON WEBSOURCED CONFLICT W.R.T INPUT LENGTH | 1181360 | 1181360 |  |  |  | ERSA | M | 5955 | 1567806GZPCLNT100 | ROL |  | CONDUIT;EXTRA H\DUTY,40MMX30M | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:EXTRA H\DUTY,40MMX30M | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1198 | [12 empty] | OEX | ACX1198 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | SIZE: 40 MM | INSIDE BEND RADIUS: 70 MM, IP RATING: IP64K | TUBING | NO MODIFIER | TYPE | NON SPLIT EXTRA HEAVY DUTY CONVOLUTED | INSIDE DIAMETER | 35 MM | OUTSIDE DIAMETER | 42.5 MM | LENGTH | 10 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 105 DEG C | CERTIFICATION/STANDARD | [57 empty] | Production Completed