## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1068235 | 1068235 | 1441302 | AU_QM_000986950 |  | ERSA | M | 4090 | 1441302GZPCLNT100 | EA |  | 40/50MM F382 VALVE HANDLE;316SS; | 40/50MM F382 VALVE HANDLE;316SS; | HANDLE,MANUAL CONTROL: 40/50MM F382 VALVE HANDLE;316SS; TANK HOUSE CELL UPGRADE |  | HANDLE,MANUAL CONTROL:40/50MM F382 VALVE HANDLE;316SS; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FOR 40/50MM F382 VALVE,TANK HOUSE CELL UPGRADE |  | HANDLE | NO MODIFIER | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL | 316 STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1068238 | 1068238 | 1441317 | AU_QM_000986979 |  | ERSA | M | 4090 | 1441317GZPCLNT100 | EA |  | 50-80MM NB BUTTERFLY VALVE; | 50-80MM NB BUTTERFLY VALVE; | HANDLE,MANUAL CONTROL: 50-80MM NB BUTTERFLY VALVE; SS18/8 MATERIAL;C/W LOCKING TAB; |  | HANDLE,MANUAL CONTROL:50-80MM NB BUTTERFLY VALVE; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | C/W LOCKING TAB,FOR 50 TO 80 MM NB BUTTERFLY VALVE |  | HANDLE | NO MODIFIER | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL | 18/8 STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1063255 | 1063255 | 1440849 | AU_QM_000985001 |  | ERSA | M | 3000 | 1440849GZPCLNT100 | EA |  | 9-1/8"DIA;WORTHINGTON ELECTROLYTE PUMP | 9-1/8"DIA;WORTHINGTON ELECTROLYTE PUMP | IMPELLER,PUMP: 9-1/8"DIA;WORTHINGTON ELECTROLYTE PUMP TYPE 6CNG-84 (US MANUF) SER.NO.96665 |  | IMPELLER,PUMP:9-1/8"DIA;WORTHINGTON ELECTROLYTE PUMP | [34 empty] | URL NOT FOUND |  |  | ELECTROLYTE PUMP | WORTHINGTON | 6CNG-84 (US MANUF) | 96665 |  |  |  | Cleansed | 40151730 Pump impeller |  |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER | 9-1/8 IN | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR) not available | 1111758 | 1111758 | 1424985 | AU_QM_000342634 |  | ERSA | M | 3000 | 1424985GZPCLNT100 | EA |  | AE02C 119 IMPELLER; | AE02C 119 IMPELLER; | IMPELLER,PUMP: AE02C 119 IMPELLER; PT NO. 21-31573-701-123-5 INGERSOLL RAND BARIC AE02C PUMP |  | IMPELLER,PUMP:AE02C 119 IMPELLER; | [15 empty] | 21-31573-701-123-5 | [18 empty] | URL NOT FOUND |  |  | PUMP | INGERSOLL RAND | BARIC AE02C 119 |  |  |  |  | Cleansed | 40151730 Pump impeller |  |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1065703 | 1065703 | 1458894 | AU_QM_002103100 |  | ERSA | M | 5010 | 1458894GZPCLNT100 | EA |  | AXIAL FLOW,CAST AL | AXIAL FLOW,CAST AL | IMPELLER,FAN,CENTRIFUGAL: AXIAL FLOW,CAST AL 19-1/4" DIA BORED FOR MOTOR 1532-2554/12 |  | IMPELLER,FAN,CENTRIFUGAL: AXIAL FLOW,CAST AL | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101603 Impellers | BORE SIZE:19-1/4 IN DIA,FOR 1532-2554/12 MOTOR |  | IMPELLER | FAN | TYPE | AXIAL FLOW,CENTRIFUGAL | SHAFT SIZE |  | IMPELLER DIAMETER |  | MATERIAL | CAST ALUMINUM | BOSS STYLE |  | BOSS DIAMETER |  | BOSS WIDTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR) not available | 1111756 | 1111756 | 1424989 | AU_QM_000342675 |  | ERSA | M | 3000 | 1424989GZPCLNT100 | EA |  | BARIC IMPELLER;PT NO AP9007/C60029 | BARIC IMPELLER;PT NO AP9007/C60029 | IMPELLER,PUMP: BARIC IMPELLER;PT NO AP9007/C60029 GIRDLESTONE (BARIC) 1AS52, NO.23810, |  | IMPELLER,PUMP:BARIC IMPELLER;PT NO AP9007/C60029 | [15 empty] | AP9007/C60029 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151730 Pump impeller | MODEL:GIRDLESTONE/BARIC,1AS52,23810 |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207870 | 1207870 |  |  |  | ERSA | M | 5920 | 133008MRM | EA |  | BODY ASSY;BASE PLATE;FUF 1600/300X4000 J | BODY ASSY;BASE PLATE;FUF 1600/300X4000 J | BODY ASSY;BASE PLATE;FUF 1600/300X4000 JOEST FEEDER; | [36 empty] | URL NOT FOUND |  |  | FUF 1600/300X4000 FEEDER | JOEST | [5 empty] | Cleansed | 22101700 Heavy equipment components | ASSEMBLY,BASE PLATE |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207834 | 1207834 |  |  |  | ERSA | M | 5920 | 132969MRM | EA |  | BODY ASSY;BODY ASSEMBLY;FUF/1400/300X480 | BODY ASSY;BODY ASSEMBLY;FUF/1400/300X480 | BODY ASSY;BODY ASSEMBLY;FUF/1400/300X4800 JOEST FEEDER; | [36 empty] | URL NOT FOUND |  |  | FUF/1400/300X4800 FEEDER | JOEST | [5 empty] | Cleansed | 22101700 Heavy equipment components | ASSEMBLY |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1066124 | 1066124 | 1469998 | AU_QM_009029021 |  | ERSA | M | 2200 | 1469998GZPCLNT100 | EA |  | BODY,VALVE: | BODY,VALVE: | BODY,VALVE: |  | BODY,VALVE: | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207578 | 1207578 |  |  |  | ERSA | M | 2200 | 337281MRM | EA |  | BODY,VALVE:C-16-4 ALUM R 1" VALVE BODY | BODY,VALVE:C-16-4 ALUM R 1" VALVE BODY | BODY,VALVE:C-16-4 ALUM R 1" VALVE BODY | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | C-16-4 |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE | 1 IN | CONNECTION TYPE | BSPT | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1218242 | 1218242 |  |  |  | ERSA | M | 3000 | 968453MRM | EA |  | BODY,VALVE:PISTON VALVE HSG;GRACO 75:1 P | BODY,VALVE:PISTON VALVE HSG;GRACO 75:1 P | BODY,VALVE:PISTON VALVE HSG;GRACO 75:1 PRESIDENTAIR-POWERED DRUM PUMP;MODEL 239,SERIES ASAG MILL BLACKJACK LUBRICATION | [36 empty] | URL NOT FOUND |  |  | 75:1 PRESIDENT AIR-POWERED DRUM PUMP | GRACO | [5 empty] | Cleansed | 40141616 Valve parts or accessories | HSG,MODEL:239,SERIES:ASAG,MILL BLACKJACK LUBRICATION |  | BODY | VALVE | VALVE STYLE | PISTON | VALVE SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MPN) not available | 1211598 | 1211598 |  |  |  | ERSA | M | 2200 | 359701MRM | EA |  | BODY,VALVE:SAUNDERS 150MM KB BODY;SOFT R | BODY,VALVE:SAUNDERS 150MM KB BODY;SOFT R | BODY,VALVE:SAUNDERS 150MM KB BODY;SOFT RUBBER LINEDFLANGED ASA 125; | [16 empty] | SAUNDERS | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | KB,FOR ASA 125 |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE | 150 MM | CONNECTION TYPE | FLANGED | MATERIAL | SOFT RUBBER LINED | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MPN) not available | 1211599 | 1211599 |  |  |  | ERSA | M | 2200 | 359706MRM | EA |  | BODY,VALVE:SAUNDERS 200MM KB BODY;SOFT R | BODY,VALVE:SAUNDERS 200MM KB BODY;SOFT R | BODY,VALVE:SAUNDERS 200MM KB BODY;SOFT RUBBER LINEDFLANGED ASA 125; | [16 empty] | SAUNDERS | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | KB,FOR ASA 125 |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE | 200 MM | CONNECTION TYPE | FLANGED | MATERIAL | SOFT RUBBER LINED | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MPN) not available | 1211597 | 1211597 |  |  |  | ERSA | M | 2200 | 359686MRM | EA |  | BODY,VALVE:SAUNDERS 50MM KB BODY;SOFT RU | BODY,VALVE:SAUNDERS 50MM KB BODY;SOFT RU | BODY,VALVE:SAUNDERS 50MM KB BODY;SOFT RUBBER LINED;FLANGED ASA 125; | [16 empty] | SAUNDERS | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | KB,FOR ASA 125 |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE | 50 MM | CONNECTION TYPE | FLANGED | MATERIAL | SOFT RUBBER LINED | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1213980 | 1213980 |  |  |  | ERSA | M | 5955 | 776894MRM | EA |  | BODY,VALVE:TORO 50D AIRCON VALVE HOUSING | BODY,VALVE:TORO 50D AIRCON VALVE HOUSING | BODY,VALVE:TORO 50D AIRCON VALVE HOUSING;CARTRIDGE VALVE BODY;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TRUCK |  | TAMROCK TORO 50D |  |  |  |  | Cleansed | 40141616 Valve parts or accessories | AIRCON VALVE HOUSING,TYPE:CARTRIDGE |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR) not available | 1112548 | 1112548 | 1420579 | AU_QM_000266741 |  | ERSA | M | 5915 | 1420579GZPCLNT100 | EA |  | BODY,VALVE;DGFDA005009,GS/BODY | BODY,VALVE;DGFDA005009,GS/BODY | BODY,VALVE;MNFR: ,PTNO:DGFDA005009,GS/BODY |  | BODY,VALVE;DGFDA005009,GS/BODYBODY,VLV;DGFDA005009,GS/BODY | [15 empty] | DGFDA005009 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FINISH:GALVANIZED |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE |  | CONNECTION TYPE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1214205 | 1214205 |  |  |  | ERSA | M | 5920 | 137870MRM | EA |  | BODY:BODY;DPI1500; | BODY:BODY;DPI1500; | BODY:BODY;DPI1500; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR DPI1500 |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1110683 | 1110683 | 1410279 | AU_QM_000255552 |  | ERSA | M | 5915 | 1410279GZPCLNT100 | EA |  | BODY;25595-42301 | BODY;25595-42301 | BODY;MNFR: ,PTNO:25595-42301 |  | BODY;25595-42301BODY;25595-42301 | [16 empty] | HELI | 25595-42301 | [16 empty] | https://phutungxenanghang.net/en/technical-assistance/cpcqd2-3-5-h2000-heli-parts-792.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094252 | 1094252 | 1380534 | AU_QM_000220059 |  | ERSA | M | 5920 | 1380534GZPCLNT100 | EA | 3000001 | BODY;EPI,5541 7365 00 | BODY;EPI,5541 7365 00 | BODY;MNFR:EPIROC,PTNO:5541 7365 00 |  | BODY;EPI,5541 7365 00BODY;EPI,5541 7365 00 | EPIROC | 5541 7365 00 | [14 empty] | EPIROC | 5541 7365 00 | [16 empty] | https://www.aircompressorstrade.com/ultimate-atlas-copco-air-compressors-spare-parts-catalog-section-15/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094246 | 1094246 | 1380558 | AU_QM_000220085 |  | ERSA | M | 5920 | 1380558GZPCLNT100 | EA | 3000001 | BODY;EPI,5541 7377 00 | BODY;EPI,5541 7377 00 | BODY;MNFR:EPIROC,PTNO:5541 7377 00 |  | BODY;EPI,5541 7377 00BODY;EPI,5541 7377 00 | EPIROC | 5541 7377 00 | [14 empty] | EPIROC | 5541 7377 00 | [16 empty] | https://www.aircompressorstrade.com/ultimate-atlas-copco-air-compressors-spare-parts-catalog-section-15/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094248 | 1094248 | 1380554 | AU_QM_000220081 |  | ERSA | M | 5920 | 1380554GZPCLNT100 | EA | 3000001 | BODY;EPI,5590 0017 60 | BODY;EPI,5590 0017 60 | BODY;MNFR:EPIROC,PTNO:5590 0017 60 |  | BODY;EPI,5590 0017 60BODY;EPI,5590 0017 60 | EPIROC | 5590 0017 60 | [14 empty] | EPIROC | 5590 0017 60 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-air-compressors-regular-original-parts-china-supplier/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094237 | 1094237 | 1380612 | AU_QM_000220144 |  | ERSA | M | 5920 | 1380612GZPCLNT100 | EA | 3000001 | BODY;EPI,5590 0021 26 | BODY;EPI,5590 0021 26 | BODY;MNFR:EPIROC,PTNO:5590 0021 26 |  | BODY;EPI,5590 0021 26BODY;EPI,5590 0021 26 | EPIROC | 5590 0021 26 | [14 empty] | EPIROC | 5590 0021 26 | [16 empty] | https://www.aircompressorstrade.com/5580101579-atlas-copco-cpmc-china-your-solution-to-atlas-copco-spare-parts-woes/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094253 | 1094253 | 1380528 | AU_QM_000220052 |  | ERSA | M | 5920 | 1380528GZPCLNT100 | EA | 3000001 | BODY;EPI,5590 0021 39 | BODY;EPI,5590 0021 39 | BODY;MNFR:EPIROC,PTNO:5590 0021 39 |  | BODY;EPI,5590 0021 39BODY;EPI,5590 0021 39 | EPIROC | 5590 0021 39 | [14 empty] | EPIROC | 5590 0021 39 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-air-compressors-regular-original-parts-china-supplier/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094450 | 1094450 | 1373483 | AU_QM_000202302 |  | ERSA | M | 5920 | 1373483GZPCLNT100 | EA | 3000284 | BODY;GLE,201019030540 | BODY;GLE,201019030540 | BODY;MNFR:GLENCORE,PTNO:201019030540 |  | BODY;GLE,201019030540BODY;GLE,201019030540 | GLENCORE | 201019030540 | [12 empty] | GLENCORE | 201019030540 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094419 | 1094419 | 1374545 | AU_QM_000205181 |  | ERSA | M | 5920 | 1374545GZPCLNT100 | EA | 3000006 | BODY;KOM,3EB-01-48720 | BODY;KOM,3EB-01-48720 | BODY;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-01-48720 |  | BODY;KOM,3EB-01-48720BODY;KOM,3EB-01-48720 | KOMATSU MINING SYSTEMS INC. | 3EB-01-48720 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-01-48720 | [16 empty] | https://k-part.777parts.org/spare/komatsu/3eb-01-48720/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094416 | 1094416 | 1374574 | AU_QM_000205212 |  | ERSA | M | 5920 | 1374574GZPCLNT100 | EA | 3000006 | BODY;KOM,3EB-02-44730 | BODY;KOM,3EB-02-44730 | BODY;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-02-44730 |  | BODY;KOM,3EB-02-44730BODY;KOM,3EB-02-44730 | KOMATSU MINING SYSTEMS INC. | 3EB-02-44730 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-02-44730 | [16 empty] | https://k-part.777parts.org/spare/komatsu/3eb-02-44730/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094415 | 1094415 | 1374576 | AU_QM_000205214 |  | ERSA | M | 5920 | 1374576GZPCLNT100 | EA | 3000006 | BODY;KOM,3EB-02-44760 | BODY;KOM,3EB-02-44760 | BODY;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-02-44760 |  | BODY;KOM,3EB-02-44760BODY;KOM,3EB-02-44760 | KOMATSU MINING SYSTEMS INC. | 3EB-02-44760 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-02-44760 | [16 empty] | https://777parts.org/part-komatsu/body/3eb0244760/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1094434 | 1094434 | 1374140 | AU_QM_000203024 |  | ERSA | M | 5920 | 1374140GZPCLNT100 | EA | 1068410 | BODY;MTC,MT9106 0630 10 | BODY;MTC,MT9106 0630 10 | BODY;MNFR:ATLAS COPCO,PTNO:MT9106 0630 10 |  | BODY;MTC,MT9106 0630 10BODY;ATL,MT9106 0630 10 | MAINTENANCE TECHNIQUE PTY LTD | MT9106 0630 10 | [12 empty] | ATLAS COPCO |  | MAINTENANCE TECHNIQUE PTY LTD | MT9106 0630 10 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2019/10/200204-CATALOGUE-BOOM-_-FEED-ASSEMBLY-MTE7-RHS27-CA.pdf | [9 empty] | Enriched | 40141600 Valves |  |  | VALVE | CHECK | TYPE | DOUBLE | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1094112 | 1094112 | 1384141 | AU_QM_000224668 |  | ERSA | M | 5920 | 1384141GZPCLNT100 | EA | 3000030 | BODY;OUT,10376370 | BODY;OUT,10376370 | BODY;MNFR:OUTOTEC,PTNO:10376370 |  | BODY;OUT,10376370BODY;OUT,10376370 | OUTOTEC | 10376370 | [12 empty] | OUTOTEC | 10376370 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1009215 | 1009215 |  |  |  | ERSA | M | 5000 | 1612953GZPCLNT100 | EA | 3000010 | BODY;SAN,55005639 | CUERPO;SAN,55005639 | BODY;MNFR:SANDVIK,PTNO:55005639 | CUERPO;MNFR:SANDVIK,PTNO:55005639 |  | SANDVIK | 55005639 | [14 empty] | SANDVIK | 55005639 | [16 empty] | https://av-gk.ru/spare/sandvik/55005639/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE | FLUSHING DEVICE BODY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1093853 | 1093853 | 1390840 | AU_QM_000232559 |  | ERSA | M | 5920 | 1390840GZPCLNT100 | EA | 3000012 | BODY;TOY,2610026010 | BODY;TOY,2610026010 | BODY;MNFR:TOYOTA,PTNO:2610026010 |  | BODY;TOY,2610026010BODY;BEL,2610026010 | TOYOTA | 2610026010 | [12 empty] | BELL & MOIR |  | TOYOTA | 2610026010 | [16 empty] | https://partsouq.com/en/search/all?q=2610026010 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | BODY | NO MODIFIER | TYPE | THROTTLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1093773 | 1093773 | 1392701 | AU_QM_000236008 |  | ERSA | M | 5920 | 1392701GZPCLNT100 | EA | 3000012 | BODY;TOY,766260K130 | BODY;TOY,766260K130 | BODY;MNFR:TOYOTA,PTNO:766260K130 |  | OEM-E-LISTBODY;TOY,766260K130 | TOYOTA | 766260K130 | [14 empty] | TOYOTA | 766260K130 | [16 empty] | https://burjauto.com/product/766260k130-toyota/9213346 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BODY | NO MODIFIER | TYPE | MUDGUARD,REAR | SIZE | L | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1034612 | 1034612 | 1384737 | AU_QM_000225376 |  | ERSA | M | 5920 | 1384737GZPCLNT100 | EA | 3000012 | BODY;TOY,8156136310 | BODY;TOY,8156136310 | BODY;MNFR:TOYOTA,PTNO:8156136310 |  | BODY;TOY,8156136310BODY;BEL,8156136310 | TOYOTA | 8156136310 | [12 empty] | BELL & MOIR |  | TOYOTA | 8156136310 | [16 empty] | https://partsouq.com/en/search/all?q=8156136310 | [9 empty] | Enriched | 39111816 Lamp Lens |  |  | LENS | LAMP | TYPE | LEFT HAND,REAR COMBINATION | COLOUR |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1094980 | 1094980 | 1391288 | AU_QM_000233111 |  | ERSA | M | 5920 | 1391288GZPCLNT100 | EA | 3000006 | BONNET;KOM,3EC-50-55120 | BONNET;KOM,3EC-50-55120 | BONNET;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EC-50-55120 |  | BONNET;KOM,3EC-50-55120BONNET;KOM,3EC-50-55120 | KOMATSU MINING SYSTEMS INC. | 3EC-50-55120 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EC-50-55120 | [16 empty] | https://load.k-part.com/?Book=78320&Page=142 | [9 empty] | Enriched | 31410000 Seals |  |  | SEAL | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available ¦ Processed based on Websource, Conflict w.r.t Input | 1207698 | 1207698 |  |  |  | ERSA | M | 3700 | 1093822MRM | EA |  | BOOM,GATE:50MM THK X 100MM H X 6.5M LG;V | BOOM,GATE:50MM THK X 100MM H X 6.5M LG;V | BOOM,GATE:50MM THK X 100MM H X 6.5M LG;VILLAGE BOOM GATE;PEARL WHITE;ALUMINUM RHS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 22101700 Heavy equipment components | COLOR:PEARL WHITE,FOR VILLAGE |  | GATE | NO MODIFIER | TYPE | BOOM,RHS | SIZE | 6.5 LG MX100 HT MMX50 THK MM | MATERIAL | ALUMINUM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR) not available | 1110273 | 1110273 | 1413572 | AU_QM_000259082 |  | ERSA | M | 5915 | 1413572GZPCLNT100 | EA |  | BOOM;BCN2643/0D | BOOM;BCN2643/0D | BOOM;MNFR: ,PTNO:BCN2643/0D |  | BOOM;BCN2643/0DBOOM;BCN2643/0D | [15 empty] | BCN2643/0D | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 22101700 Heavy equipment components |  |  | BOOM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1095181 | 1095181 | 1385716 | AU_QM_000226539 |  | ERSA | M | 5920 | 1385716GZPCLNT100 | EA | 3000003 | BOOM;CAT,S106T21-B | BOOM;CAT,S106T21-B | BOOM;MNFR:CATERPILLAR,PTNO:S106T21-B |  | BOOM;CAT,S106T21-BBOOM;HAS,S106T21-B | CATERPILLAR | S106T21-B | [12 empty] | CATERPILLAR | S106T21-B | PALFINGER | S106T21-B | HASTING | [15 empty] | http://palfinger-zapchasti.ru/images/Spare-parts-book-PK10002-SH.pdf | [9 empty] | Enriched | 22101700 Heavy equipment components |  |  | EXTENSION | NO MODIFIER | TYPE | BOOM | EXTENDED SIZE |  | OVERALL SIZE | 260X140 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1095179 | 1095179 | 1385725 | AU_QM_000226549 |  | ERSA | M | 5920 | 1385725GZPCLNT100 | EA | 3000003 | BOOM;CAT,S106T22-B | BOOM;CAT,S106T22-B | BOOM;MNFR:CATERPILLAR,PTNO:S106T22-B |  | BOOM;CAT,S106T22-BBOOM;HAS,S106T22-B | CATERPILLAR | S106T22-B | [12 empty] | CATERPILLAR | S106T22-B | PALFINGER | S106T22-B | HASTING | [15 empty] | http://palfinger-zapchasti.ru/images/Spare-parts-book-PK10002-SH.pdf | [9 empty] | Enriched | 22101700 Heavy equipment components |  |  | EXTENSION | NO MODIFIER | TYPE | BOOM | EXTENDED SIZE |  | OVERALL SIZE | 224X120 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1189122 | 1189122 |  |  |  | ERSA | M | 5000 | 1576328GZPCLNT100 | EA |  | BOOM;HIAB,MAIN EXTENSION,597-4331 | PLUMA; | BOOM;ADDITIONAL FEATURES EN:HIAB,MAIN EXTENSION,597-4331 | PLUMA; | [17 empty] | HIAB | 597-4331 | [16 empty] | https://dzwigi.net.pl/en/sklep/produkt/507011-extension.html | [9 empty] | Cleansed | 22101700 Heavy equipment components |  |  | EXTENSION | NO MODIFIER | TYPE | BOOM,MAIN | EXTENDED SIZE |  | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1189120 | 1189120 |  |  |  | ERSA | M | 5000 | 1576330GZPCLNT100 | EA |  | BOOM;HIAB,SECONDARY EXTENSION,597-4456 | PLUMA; | BOOM;ADDITIONAL FEATURES EN:HIAB,SECONDARY EXTENSION,597-4456 | PLUMA; | [17 empty] | HIAB | 597-4456 | [16 empty] | https://dzwigi.net.pl/en/sklep/produkt/494505-extension.html | [9 empty] | Cleansed | 22101700 Heavy equipment components |  |  | EXTENSION | NO MODIFIER | TYPE | BOOM,SECONDARY | EXTENDED SIZE |  | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1095104 | 1095104 | 1387487 | AU_QM_000228638 |  | ERSA | M | 5920 | 1387487GZPCLNT100 | EA | 3000006 | BOOM;KOM,707-01-0F670UP | BOOM;KOM,707-01-0F670UP | BOOM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:707-01-0F670UP |  | BOOM;KOM,707-01-0F670UPBOOM;KOM,707-01-0F670UP | KOMATSU MINING SYSTEMS INC. | 707-01-0F670UP | [12 empty] | KOMATSU MINING SYSTEMS INC. | 707-01-0F670UP | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 22101700 Heavy equipment components |  |  | BOOM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1073231 | 1073231 |  |  | X | ERSA | M | 5000 | 1612433GZPCLNT100 | EA | 3000010 | BOOM;SAN,G28418 | PLUMA;SAN,G28418 | BOOM;MNFR:SANDVIK,PTNO:G28418 | PLUMA;MNFR:SANDVIK,PTNO:G28418 |  | SANDVIK | [13 empty] | SANDVIK | G28418 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 22101700 Heavy equipment components |  |  | BOOM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1107566 | 1107566 | 1426229 | AU_QM_000368928 |  | ERSA | M | 3000 | 1426229GZPCLNT100 | EA |  | BRASS | BRASS | SLEEVE,SHAFT,PUMP: BRASS |  | SLEEVE,SHAFT,PUMP:BRASS | [34 empty] | URL NOT FOUND |  |  | PUMP | [6 empty] | Cleansed | 40151700 Pump parts and accessories |  |  | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | BRASS | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1137786 | 1137786 | 1463392 | AU_QM_004863030 |  | ERSA | M | 4005 | 1463392GZPCLNT100 | EA |  | BREAKER THROTTLE VALVE HANDLE; | BREAKER THROTTLE VALVE HANDLE; | HANDLE,MANUAL CONTROL: BREAKER THROTTLE VALVE HANDLE; GD PAVING BREAKER |  | HANDLE,MANUAL CONTROL:BREAKER THROTTLE VALVE HANDLE; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FOR THROTTLE VALVE,GD PAVING BREAKER |  | HANDLE | NO MODIFIER | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1065875 | 1065875 | 1468282 | AU_QM_007806027 |  | ERSA | M | 3000 | 1468282GZPCLNT100 | EA |  | BRONZE | BRONZE | IMPELLER,PUMP: BRONZE FOR 1"S.S.C.HARLAND PUMP |  | IMPELLER,PUMP:BRONZE | [34 empty] | URL NOT FOUND |  |  | 1 IN SSC HARLAND PUMP | [6 empty] | Cleansed | 40151730 Pump impeller |  |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL | BRONZE | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1065250 | 1065250 | 1468303 | AU_QM_007806868 |  | ERSA | M | 3000 | 1468303GZPCLNT100 | EA |  | BRONZE | BRONZE | SLEEVE,SHAFT,PUMP: BRONZE FOR TSA7/8 DUOGLIDE PUMP SERIAL NO 17185 |  | SLEEVE,SHAFT,PUMP:BRONZE | [34 empty] | URL NOT FOUND |  |  | DUOGLIDE PUMP |  | TSA7/8 | 17185 |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | BRONZE | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1063245 | 1063245 | 1441370 | AU_QM_000987071 |  | ERSA | M | 4090 | 1441370GZPCLNT100 | EA |  | BUTTERFLY VALVE HANDLE;BRAY 2"-3"VALVES; | BUTTERFLY VALVE HANDLE;BRAY 2"-3"VALVES; | HANDLE,MANUAL CONTROL: BUTTERFLY VALVE HANDLE;BRAY 2"-3"VALVES; STEEL;LOCK LEVER TYPE C/W NOTCH PLATE; 300MM O/A LG; |  | HANDLE,MANUAL CONTROL:BUTTERFLY VALVE HANDLE;BRAY 2"-3"VALVES; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | C/W NOTCH PLATE,FOR BRAY 2 TO 3 IN BUTTERFLY VALVE |  | HANDLE | NO MODIFIER | TYPE | LOCK LEVER,MANUAL CONTROL | SIZE | 300 MM LG | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1109960 | 1109960 | 1469369 | AU_QM_008099376 |  | ERSA | M | 5700 | 1469369GZPCLNT100 | EA |  | C/W AXLE | C/W AXLE | ROLLER,CONVEYOR: C/W AXLE HEAVY DUTY |  | ROLLER,CONVEYOR:C/W AXLE | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101701 Conveyor roller | C/W AXLE HEAVY DUTY |  | ROLLER | CONVEYOR | TYPE |  | DIAMETER |  | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1089218 | 1089218 | 1381817 | AU_QM_000221811 |  | ERSA | M | 5955 | 1381817GZPCLNT100 | EA | 3000028 | CABIN;MIT,WACF0142 | CABIN;MIT,WACF0142 | CABIN;MNFR:MITSUBISHI,PTNO:WACF0142 |  | CABIN;MIT,WACF0142CABIN;MIT,WACF0142 | MITSUBISHI | WACF0142 | [12 empty] | MITSUBISHI | WACF0142 | WESFIL | WACF0142 | [16 empty] | https://www.filtersplus.co/product/wacf0142/ | [9 empty] | Enriched | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 215 LGX220 WDX30 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1088774 | 1088774 | 1391766 | AU_QM_000233710 |  | ERSA | M | 5955 | 1391766GZPCLNT100 | EA | 3000012 | CABIN;TOY,57139YZZ25 | CABIN;TOY,57139YZZ25 | CABIN;MNFR:TOYOTA,PTNO:57139YZZ25 |  | CABIN;TOY,57139YZZ25CABIN;BEL,57139YZZ25 | TOYOTA | 57139YZZ25 | [12 empty] | TOYOTA | 57139YZZ25 |  |  | BELL & MOIR | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 73161605 Motor vehicles parts or accessories manufacture services |  |  | CABIN | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1088809 | 1088809 | 1390901 | AU_QM_000232633 |  | ERSA | M | 5955 | 1390901GZPCLNT100 | EA | 3000012 | CABIN;TOY,87139Y1126 | CABIN;TOY,87139Y1126 | CABIN;MNFR:TOYOTA,PTNO:87139Y1126 |  | CABIN;TOY,87139Y1126CABIN;BEL,87139Y1126 | TOYOTA | 87139Y1126 | [12 empty] | TOYOTA | 87139Y1126 |  |  | BELL & MOIR | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 73161605 Motor vehicles parts or accessories manufacture services |  |  | CABIN | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1089135 | 1089135 | 1384076 | AU_QM_000224583 |  | ERSA | M | 5955 | 1384076GZPCLNT100 | EA | 3000012 | CABIN;TOY,87139YZZ24 | CABIN;TOY,87139YZZ24 | CABIN;MNFR:TOYOTA,PTNO:87139YZZ24 |  | CABIN;TOY,87139YZZ24CABIN;BEL,87139YZZ24 | TOYOTA | 87139YZZ24 | [12 empty] | BELL & MOIR |  | TOYOTA | 87139YZZ24 | [16 empty] | https://partsouq.com/shop/product/87139YZZ24-toyota-cabin-air-filter/14971291 | [9 empty] | Cleansed | 40161505 Air filters | FOR CABIN |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Processed based on Websource, Conflict w.r.t Input | 1088721 | 1088721 | 1393426 | AU_QM_000236864 |  | ERSA | M | 5955 | 1393426GZPCLNT100 | EA | 3000012 | CABIN;TOY,P/N: 87139YZZ26 | CABIN;TOY,P/N: 87139YZZ26 | CABIN;MNFR:TOYOTA,PTNO:P/N: 87139YZZ26 |  | OEM-E-LISTCABIN;TOY,P/N: 87139YZZ26 | TOYOTA | P/N: 87139YZZ26 | [14 empty] | TOYOTA | 87139YZZ26 | [16 empty] | https://partsouq.com/en/search/all?q=87139YZZ26 | [9 empty] | Cleansed | 40161505 Air filters | FOR CABIN |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1065876 | 1065876 | 1468283 | AU_QM_007806042 |  | ERSA | M | 3000 | 1468283GZPCLNT100 | EA |  | CAST IRON | CAST IRON | IMPELLER,PUMP: CAST IRON FOR 1"S.S.C.HARLAND PUMP |  | IMPELLER,PUMP:CAST IRON | [34 empty] | URL NOT FOUND |  |  | 1 IN SSC HARLAND PUMP | [6 empty] | Cleansed | 40151730 Pump impeller |  |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL | CAST IRON | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1140613 | 1140613 | 1426406 | AU_QM_000385252 |  | ERSA | M | 2200 | 1426406GZPCLNT100 | EA |  | CENTRE | CENTRE | SLEEVE,SEAL,COUPLER: CENTRE TO SUIT 6X13DA-8 PUMP |  | SLEEVE,SEAL,COUPLER:CENTRE | [34 empty] | URL NOT FOUND |  |  | PUMP |  | 6X13DA-8 |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | SLEEVE | COUPLING | TYPE | CENTRE,SEAL | COUPLING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | CONSTRUCTION |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1014997 | 1014997 | 1468793 | AU_QM_007854028 |  | ERSA | M | 3000 | 1468793GZPCLNT100 | EA |  | CENTRIFUGAL PUMP | CENTRIFUGAL PUMP | SLEEVE,SHAFT,PUMP: CENTRIFUGAL PUMP |  | SLEEVE,SHAFT,PUMP:CENTRIFUGAL PUMP | [34 empty] | URL NOT FOUND |  |  | CENTRIFUGAL PUMP | [6 empty] | Cleansed | 40151700 Pump parts and accessories |  |  | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1140696 | 1140696 | 1463722 | AU_QM_005085157 |  | ERSA | M | 2200 | 1463722GZPCLNT100 | EA |  | CHECK | CHECK | BODY,VALVE: CHECK T15, T16 AND T50 BH HAMMERS |  | BODY,VALVE: CHECK | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | T15/T16/T50 BH HAMMERS |  | BODY | VALVE | VALVE STYLE | CHECK | VALVE SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1138696 | 1138696 | 1431004 | AU_QM_000683696 |  | ERSA | M | 1600 | 1431004GZPCLNT100 | EA |  | CIRCUIT BREAKER MAIN HANDLE; | CIRCUIT BREAKER MAIN HANDLE; | HANDLE,SWITCH: CIRCUIT BREAKER MAIN HANDLE; TL-100EM/ XS125/ XH125; |  | HANDLE,SWITCH:CIRCUIT BREAKER MAIN HANDLE; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FOR TL-100EM/XS125/XH125 MAIN CIRCUIT BREAKER |  | HANDLE | NO MODIFIER | TYPE | SWITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1065792 | 1065792 | 1470855 | AU_QM_009177900 |  | ERSA | M | 2200 | 1470855GZPCLNT100 | EA |  | CLUTCH | CLUTCH | SLEEVE,SEAL,COUPLER: CLUTCH |  | SLEEVE,SEAL,COUPLER:CLUTCH | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | SLEEVE | COUPLING | TYPE | CLUTCH,SEAL | COUPLING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | CONSTRUCTION |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1063257 | 1063257 | 1440846 | AU_QM_000984981 |  | ERSA | M | 3000 | 1440846GZPCLNT100 | EA |  | CLYDE MORRIS 2JC11 PUMP S/NO.660132; | CLYDE MORRIS 2JC11 PUMP S/NO.660132; | SLEEVE,SHAFT,PUMP: CLYDE MORRIS 2JC11 PUMP S/NO.660132; SS316 MATERIAL;CRL DWG.530-6-1337: |  | SLEEVE,SHAFT,PUMP:CLYDE MORRIS 2JC11 PUMP S/NO.660132; | [34 empty] | URL NOT FOUND |  |  | PUMP | CLYDE MORRIS | 2JC11 | 660132 | 530-6-1337 |  |  | Cleansed | 40151700 Pump parts and accessories | CRL |  | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | 316 STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1216119 | 1216119 |  |  |  | ERSA | M | 2200 | 192021MRM | SET |  | COMPRESSION SLEEVE ASSORTMENT:1/8"-1/2"; | COMPRESSION SLEEVE ASSORTMENT:1/8"-1/2"; | COMPRESSION SLEEVE ASSORTMENT:1/8"-1/2";BRASS OLIVES;COPPER <(>&<)> PVC TUBING;PLASTIC CASE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162800 Miscellaneous hardware | PACKAGE TYPE:ASSORTMENT |  | SLEEVE | COMPRESSION | TYPE |  | TUBE SIZE | 1/8 TO 1/2 IN | CONNECTION TYPE |  | MATERIAL | BRASS OLIVES,COPPER,PVC TUBING,PLASTIC CASE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1138636 | 1138636 | 1436436 | AU_QM_000851956 |  | ERSA | M | 5915 | 1436436GZPCLNT100 | EA |  | D11R DOUBLE FLANGE TRACK ROLLER GRP; | D11R DOUBLE FLANGE TRACK ROLLER GRP; | TRACK ROLLER ASSY: D11R DOUBLE FLANGE TRACK ROLLER GRP; "REPAIRABLE ITEM" |  | TRACK ROLLER ASSY:D11R DOUBLE FLANGE TRACK ROLLER GRP; | [34 empty] | URL NOT FOUND |  |  |  |  | D11R |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,GROUP,REPAIRABLE ITEM |  | ROLLER | NO MODIFIER | TYPE | DOUBLE FLANGE,TRACK | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1138637 | 1138637 | 1436435 | AU_QM_000851949 |  | ERSA | M | 5915 | 1436435GZPCLNT100 | EA |  | D11R SINGLE FLANGE TRACK ROLLER GRP; | D11R SINGLE FLANGE TRACK ROLLER GRP; | TRACK ROLLER ASSY: D11R SINGLE FLANGE TRACK ROLLER GRP; "REPAIRABLE ITEM" CATERPILLAR D11R DOZER |  | TRACK ROLLER ASSY:D11R SINGLE FLANGE TRACK ROLLER GRP; | [34 empty] | URL NOT FOUND |  |  | DOZER | CATERPILLAR | D11R |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,GROUP,REPAIRABLE ITEM |  | ROLLER | NO MODIFIER | TYPE | SINGLE FLANGE,TRACK | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1109817 | 1109817 | 1458315 | AU_QM_001704264 |  | ERSA | M | 3020 | 1458315GZPCLNT100 | EA |  | DEFLECTOR: | DEFLECTOR: | DEFLECTOR: |  | DEFLECTOR: | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1211213 | 1211213 |  |  |  | ERSA | M | 3000 | 358176MRM | EA |  | DEFLECTOR:40VC-GPS FLINGER;MATERIAL CODE | DEFLECTOR:40VC-GPS FLINGER;MATERIAL CODE | DEFLECTOR:40VC-GPS FLINGER;MATERIAL CODE S44;WARMAN 40VC-GPS PUMP | [36 empty] | URL NOT FOUND |  |  | PUMP | WARMAN | 40VC-GPS |  |  |  |  | Cleansed | 40151700 Pump parts and accessories | MATERIAL CODE:S44 |  | DEFLECTOR | NO MODIFIER | TYPE | FLINGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1208217 | 1208217 |  |  |  | ERSA | M | 3000 | 340396MRM | EA |  | DEFLECTOR:65VDH PUMP FLINGER;WARMAN 65VD | DEFLECTOR:65VDH PUMP FLINGER;WARMAN 65VD | DEFLECTOR:65VDH PUMP FLINGER;WARMAN 65VDH-SPR PUMP | [36 empty] | URL NOT FOUND |  |  | SPR PUMP | WARMAN | 65VDH |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | FLINGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207133 | 1207133 |  |  |  | ERSA | M | 5955 | 682801MRM | EA |  | DEFLECTOR:CAT 7C9201 GOVERNOR/INJECTION | DEFLECTOR:CAT 7C9201 GOVERNOR/INJECTION | DEFLECTOR:CAT 7C9201 GOVERNOR/INJECTION PUMPDEFLECTOR;PULSE | [36 empty] | URL NOT FOUND |  |  | GOVERNOR/INJECTION PUMP | CATERPILLAR | 7C9201 |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | PULSE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR) not available | 1212966 | 1212966 |  |  |  | ERSA | M | 5920 | 137528MRM | EA |  | DEFLECTOR:CHIP DEFLECTOR (FR 7185-010);D | DEFLECTOR:CHIP DEFLECTOR (FR 7185-010);D | DEFLECTOR:CHIP DEFLECTOR (FR 7185-010);DR460; | [17 empty] | FR 7185-010 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR DR460 |  | DEFLECTOR | NO MODIFIER | TYPE | CHIP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1208162 | 1208162 |  |  |  | ERSA | M | 5920 | 133158MRM | EA |  | DEFLECTOR:DEFLECTOR;FEED END;VIBRATING G | DEFLECTOR:DEFLECTOR;FEED END;VIBRATING G | DEFLECTOR:DEFLECTOR;FEED END;VIBRATING GRIZZLY FEEDER; | [36 empty] | URL NOT FOUND |  |  | VIBRATING GRIZZLY FEEDER | [6 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | FEED END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1208894 | 1208894 |  |  |  | ERSA | M | 5920 | 133475MRM | EA |  | DEFLECTOR:FLINGER - IMP END;BARREL ASSEM | DEFLECTOR:FLINGER - IMP END;BARREL ASSEM | DEFLECTOR:FLINGER - IMP END;BARREL ASSEMBLY;PRIMARY MILL CYCLONE FEED PUMP; | [36 empty] | URL NOT FOUND |  |  | PRIMARY MILL CYCLONE FEED PUMP | [6 empty] | Cleansed | 40151700 Pump parts and accessories | BARREL ASSEMBLY |  | DEFLECTOR | NO MODIFIER | TYPE | FLINGER,IMPELLER END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1208883 | 1208883 |  |  |  | ERSA | M | 5920 | 133464MRM | EA |  | DEFLECTOR:FLINGER;DRIVE END;BARREL ASSEM | DEFLECTOR:FLINGER;DRIVE END;BARREL ASSEM | DEFLECTOR:FLINGER;DRIVE END;BARREL ASSEMBLY;PRIMARY MILL CYCLONE FEED PUMP; | [36 empty] | URL NOT FOUND |  |  | PRIMARY MILL CYCLONE FEED PUMP | [6 empty] | Cleansed | 40151700 Pump parts and accessories | BARREL ASSEMBLY |  | DEFLECTOR | NO MODIFIER | TYPE | DRIVE END,FLINGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207464 | 1207464 |  |  |  | ERSA | M | 3000 | 684221MRM | EA |  | DEFLECTOR:KSB RUBBER SLINGER;KSB E100-20 | DEFLECTOR:KSB RUBBER SLINGER;KSB E100-20 | DEFLECTOR:KSB RUBBER SLINGER;KSB E100-20 PUMP;KSB E65-26AXOC PUMP | [36 empty] | URL NOT FOUND |  |  | PUMP | KSB | E100-20,KSB E65-26AXOC |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | SLINGER | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207448 | 1207448 |  |  |  | ERSA | M | 3000 | 683971MRM | EA |  | DEFLECTOR:KSB RUBBER SLINGER;MODELS E40- | DEFLECTOR:KSB RUBBER SLINGER;MODELS E40- | DEFLECTOR:KSB RUBBER SLINGER;MODELS E40-13 E40-16 E40-20 E40-26KSB AJAX AXOC PUMP | [36 empty] | URL NOT FOUND |  |  | PUMP | KSB | E40-13,E40-16,E40-20,E40-26,AJAX AXOC |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | SLINGER | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1213752 | 1213752 |  |  |  | ERSA | M | 3000 | 366731MRM | EA |  | DEFLECTOR:MONO CB THROWER;NITRILE;MONO C | DEFLECTOR:MONO CB THROWER;NITRILE;MONO C | DEFLECTOR:MONO CB THROWER;NITRILE;MONO CB012AC1R3/G PUMP;MONO CB031AX2J8/V PUMP | [36 empty] | URL NOT FOUND |  |  | PUMP,CB THROWER | MONO | CB012AC1R3/G,CB031AX2J8/V |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | NITRILE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1209440 | 1209440 |  |  |  | ERSA | M | 5920 | 134267MRM | EA |  | DEFLECTOR:OIL FLINGER;ML80 EXCITER PARTS | DEFLECTOR:OIL FLINGER;ML80 EXCITER PARTS | DEFLECTOR:OIL FLINGER;ML80 EXCITER PARTS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ML80 EXCITER PARTS |  | DEFLECTOR | OIL | TYPE | FLINGER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | MATERIAL |  | HARDNESS |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1210888 | 1210888 |  |  |  | ERSA | M | 5920 | 164351MRM | EA |  | DEFLECTOR:PUMP WET END SLINGER | DEFLECTOR:PUMP WET END SLINGER | DEFLECTOR:PUMP WET END SLINGER | [36 empty] | URL NOT FOUND |  |  | PUMP | [6 empty] | Cleansed | 40151700 Pump parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | SLINGER,WET END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1207439 | 1207439 |  |  |  | ERSA | M | 3000 | 683796MRM | EA |  | DEFLECTOR:VEH10005-10-1800 BRG FLINGER; | DEFLECTOR:VEH10005-10-1800 BRG FLINGER; | DEFLECTOR:VEH10005-10-1800 BRG FLINGER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR VEH10005-10-1800 BEARING |  | DEFLECTOR | NO MODIFIER | TYPE | FLINGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 | Manufacturer Details (MFR & MPN) not available | 1209075 | 1209075 |  |  |  | ERSA | M | 3000 | 1136027MRM | EA |  | DEFLECTOR:WATER SLINGER;RUBBER; | DEFLECTOR:WATER SLINGER;RUBBER; | DEFLECTOR:WATER SLINGER;RUBBER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DEFLECTOR | DIRT AND LIQUID | TYPE | SLINGER | DIAMETER |  | LENGTH |  | MATERIAL | RUBBER | FINISH |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1146615 | 1146615 |  |  |  | ERSA | M | 1600 | 1523965GZPCLNT100 | EA |  | DEFLECTOR;L,KMD-201AA,HOSHIZAK,255250P01 | DEFLECTOR;L,KMD-201AA,HOSHIZAK,255250P01 | DEFLECTOR;ADDITIONAL FEATURES:L,KMD-201AA,HOSHIZAK,255250P01 | [17 empty] | KMD-201AA | HOSHIZAK | 255250P01 | [16 empty] | https://hoshizakiicemaker.com/hoshizaki-255250p01-deflector-l | [9 empty] | Cleansed | 23181805 Ice making machine parts and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE |  | SIZE | L | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1077550 | 1077550 |  |  |  | ERSA | M | 3000 | 1197395GZPCLNT100 | EA |  | DEFLECTOR;P.E,SAM ENGINEERING MOD | DEFLECTOR;P.E,SAM ENGINEERING MOD | DEFLECTOR;ADDITIONAL FEATURES EN:P.E,SAM ENGINEERING MODEL CSO6X4X8.5,MNFR:TUFCOT,PTNO:3438-60 |  |  |  | 3438-60 | [12 empty] | TUFCOT | 3438-60 |  |  | SAM ENGINEERING | CSO6X4X8.5 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE | POWER END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-25 |  | 1101183 | 1101183 | 1384194 | AU_QM_000224732 |  | ERSA | M | 3000 | 1384194GZPCLNT100 | EA | 3000011 | DEFLECTOR;TER,PL16A3070 | DEFLECTOR;TER,PL16A3070 | DEFLECTOR;MNFR:TEREX,PTNO:PL16A3070 |  | DEFLECTOR;TER,PL16A3070DEFLECTOR;TER,PL16A3070 | TEREX | PL16A3070 | [12 empty] | TEREX | PL16A3070 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DEFLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed