## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140699 | 1140699 | 1463712 | AU_QM_005084878 |  | ERSA | M | 2200 | 1463712GZPCLNT100 | EA |  | AIR PILOT,INGRAND DHD-360 (CMM-1) | AIR PILOT,INGRAND DHD-360 (CMM-1) | VALVE,DIRECTION CONTROL: AIR PILOT,INGRAND DHD-360 (CMM-1) |  | VALVE,DIRECTION CONTROL:AIR PILOT,INGRAND DHD-360 (CMM-1) | [16 empty] | CATERPILLAR | 3E-4058 | CNW (MOUNT ISA) ELECT WHOLESALER | 1373029 | HASTINGS DEERING(AUSTRALIA) LTD | 3E4058 | [12 empty] | https://parts.cat.com/en/catcorp/3E-4058 |  |  | LOADERS | CATERPILLAR ELPHINSTONE | R1700,R2900 |  |  |  |  | ENRICHED | 40141612 Expansion valves | FOR AIRCON SYSTEM | CORE SIZE:16 MM,LENGTH:22.2 MM | VALVE | EXPANSION | TYPE | HIGH SIDE REFRIGERANT | CONNECTION SIZE | M10X0.75-6G | END CONNECTION | THREADED | TEMPERATURE RANGE |  | CONFIGURATION |  | CAPILLARY LENGTH |  | FLOW RATING |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | CAPACITY |  | TRIM |  | REFRIGERANT TYPE |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1134955 | 1134955 | 1453624 | AU_QM_001213206 |  | ERSA | M | 2200 | 1453624GZPCLNT100 | EA |  | BINARY TRIGGER VALVE; VENT DOOR;GFMS; | BINARY TRIGGER VALVE; VENT DOOR;GFMS; | VALVE,DIRECTION CONTROL: BINARY TRIGGER VALVE; VENT DOOR;GFMS; |  | VALVE,DIRECTION CONTROL:BINARY TRIGGER VALVE; VENT DOOR;GFMS; |  |  | 1068342 @@ ISADRAULICS | R-141 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves | TANK HOUSE CELL UPGRADE |  | VALVE | RELIEF | TYPE | AIR PRESSURE | NOMINAL SIZE | 50 MM | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE | 5 MPA | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1067113 | 1067113 | 1457205 | AU_QM_001296631 |  | ERSA | M | 2200 | 1457205GZPCLNT100 | EA |  | BOOM LOWER CONTROL VALVE; | BOOM LOWER CONTROL VALVE; | VALVE,DIRECTION CONTROL: BOOM LOWER CONTROL VALVE; |  | VALVE,DIRECTION CONTROL:BOOM LOWER CONTROL VALVE; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 56077220 | [14 empty] | MARC TECHNOLOGIES PTY LTD | 189535 |  | 3407-02 | [12 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves | REGULATOR |  | VALVE | RELIEF | TYPE | AIR PRESSURE,DUST SUPPRESSION | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1062448 | 1062448 | 1461531 | AU_QM_002703951 |  | ERSA | M | 2200 | 1461531GZPCLNT100 | EA |  | CAGE-GUIDED | CAGE-GUIDED | VALVE,DIRECTION CONTROL: CAGE-GUIDED FOXBORO TO SONIC DWG.A1100-021-E187/MK.2 |  | VALVE,DIRECTION CONTROL:CAGE-GUIDED | [18 empty] | MIDLAND | [15 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves |  |  | VALVE | RELIEF | TYPE | HIGH-PRESSURE,AIR | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1137488 | 1137488 | 1437093 | AU_QM_000930206 |  | ERSA | M | 2200 | 1437093GZPCLNT100 | EA |  | CONTROL VALVE GP;VALVE MOUNTING GP | CONTROL VALVE GP;VALVE MOUNTING GP | VALVE,DIRECTION CONTROL: CONTROL VALVE GP;VALVE AND MOUNTING GP; CAT D11R DOZER |  | VALVE,DIRECTION CONTROL:CONTROL VALVE GP;VALVE & MOUNTING GP; | [16 empty] | CATERPILLAR | 7E-4761 | CNW (MOUNT ISA) ELECT WHOLESALER | 1442624 | HASTINGS DEERING(AUSTRALIA) LTD | 7E4761 | [12 empty] | https://parts.cat.com/en/catcorp/7E-4761 |  |  | LOADERS | CATERPILLAR ELPHINSTONE | R1700,R2900 |  |  |  |  | ENRICHED | 40141600 Valves |  |  | VALVE | SHUTOFF | TYPE | ENGINE OIL DRAIN,ANGLE | NOMINAL SIZE | 3/4 IN | END CONNECTION | MNPTF X HOSE BEAD | END TO END DISTANCE | 73.66 MM | CONFIGURATION |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | MANUAL | BODY MATERIAL | BRASS | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140819 | 1140819 | 1458282 | AU_QM_001521245 |  | ERSA | M | 2200 | 1458282GZPCLNT100 | EA |  | CONTROL-DASH MOUNTING | CONTROL-DASH MOUNTING | VALVE,DIRECTION CONTROL: CONTROL-DASH MOUNTING TYPE TW-4,FOR WESTINGHOUSE BRAKES |  | VALVE,DIRECTION CONTROL:CONTROL-DASH MOUNTING | [18 empty] | ORBIT | FIG 6448SHL | [14 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | RISING STEM | NOMINAL SIZE | 1 IN | END CONNECTION | NPT | PRESSURE CLASS/RATING | 600 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL BORE | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140959 | 1140959 | 1470995 | AU_QM_009184111 |  | ERSA | M | 2200 | 1470995GZPCLNT100 | EA |  | DELIVERY | DELIVERY | VALVE,DIRECTION CONTROL: DELIVERY AXIAL PLUNGER PUMP, REF.9/26/AP25 |  | VALVE,DIRECTION CONTROL:DELIVERY |  |  | 1069477 @@ IPD GROUP LTD | 3G960 | [14 empty] | HICO VALVE | [15 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 100 MM | END CONNECTION |  | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | HANDLE | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1065462 | 1065462 | 1470763 | AU_QM_009176090 |  | ERSA | M | 2200 | 1470763GZPCLNT100 | EA |  | DERRICK ASSY D-3901 | DERRICK ASSY D-3901 | VALVE,DIRECTION CONTROL: DERRICK ASSY D-3901 |  | VALVE,DIRECTION CONTROL:DERRICK ASSY D-3901 |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1470763 | [12 empty] | KITZ | FIG K150SCTB-FS | RICHARDS | FIG K150SCTB-FS | SOUTHERN QUEENSLAND STEEL P/L | 92150A/RP62 | [12 empty] | https://kcbkk.com/wp-content/uploads/2020/02/225.pdf | https://kcbkk.com/en/product/150sctb-2/ | [8 empty] | ENRICHED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | SPLIT | NOMINAL SIZE | 15 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | CARBON STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE | 450 PSI | TEMPERATURE RATING |  | END TO END DISTANCE | 108 MM | OPERATED | HANDLE | TRIM | STEM STAINLESS STEEL A276 | SOFTGOODS | PTFE GASKET | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1138601 | 1138601 | 1437201 | AU_QM_000934612 |  | ERSA | M | 2200 | 1437201GZPCLNT100 | EA |  | DIR.OPER.PROPORT.DIRECT.VALVE;4 PORT; | DIR.OPER.PROPORT.DIRECT.VALVE;4 PORT; | VALVE,DIRECTION CONTROL: DIR.OPER.PROPORT.DIRECT.VALVE;4 PORT; SIZE 6;15L/M @ 10BAR NOM.FLOW;24VDC SUP; EMERG.OPER; CU SMELTER REJECT HOIST |  | VALVE,DIRECTION CONTROL:DIR.OPER.PROPORT.DIRECT.VALVE;4 PORT; | [18 empty] | RICHARDS | FIG 51 800SB/RP12 | SOUTHERN QUEENSLAND STEEL P/L | 1430413 | [12 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 15 MM | END CONNECTION | BSP | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1067818 | 1067818 | 1365871 | AU_QM_000168389 |  | ERSA | M | 2200 | 1365871GZPCLNT100 | EA |  | DIRECTION VALVE HYDRAULIC; ATLAS COPCO E | DIRECTION VALVE HYDRAULIC; ATLAS COPCO E | VALVE,DIRECTION CONTROL: DIRECTION VALVE HYDRAULIC; ATLAS COPCO E ASER L |  | VALVE,DIRECTION CONTROL:DIRECTION VALVE HYDRAULIC; ATLAS COPCO E |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3177309271 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves | TANK HOUSE CELL UPGRADE |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 15 MM | END CONNECTION | FBSP | PRESSURE CLASS/RATING | 800 LB | BODY MATERIAL | CAST STEEL A105 | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140320 | 1140320 |  |  |  | ERSA | M | 2200 | 1444352GZPCLNT100 | EA |  | DIRECTIONAL | DIRECTIONAL | VALVE,DIRECTION CONTROL: DIRECTIONAL | [18 empty] | PETRO INDUSTRIAL | BLS6FA-L-RT | CNW (MOUNT ISA) ELECT WHOLESALER | BLS6FA-L-RT | [14 empty] | https://www.petroind.com/products/petro-316-ss-2-piece-fire-safe-full-bore-flanged-150-manual-valve | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 2-PIECE | NOMINAL SIZE | 25 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE | FULL | DESIGN PRESSURE | 20 BAR | TEMPERATURE RATING | -20 TO 180 DEG C | END TO END DISTANCE |  | OPERATED | ISO PAD LEVER | TRIM | FKM BACKING RING,RTFE SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1109694 | 1109694 |  |  |  | ERSA | M | 2200 | 1424237GZPCLNT100 | EA |  | DIRECTIONAL | DIRECTIONAL | VALVE,DIRECTION CONTROL: DIRECTIONAL |  |  |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1424237 | [12 empty] | DIXON (ASIA PACIFIC) PTY LTD | 08/062/110/00 | FERO STRATA SYSTEMS PTY LTD | GVO25B | MOUNT ISA MINING SUPPLIES P/L | 1425707 | [8 empty] | J.BLACKWOOD & SON LIMITED | 1352527 |  |  | https://www.aimsindustrial.com.au/dixon-08-062-110-00-1-ball-valve-econovalve-minsup | [9 empty] | ENRICHED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | LOCKOUT | NOMINAL SIZE | 25 MM | END CONNECTION | A-TYPE | PRESSURE CLASS/RATING |  | BODY MATERIAL | SPHEROIDAL GRAPHITE CAST IRON | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE | 500 PSI | TEMPERATURE RATING | -20 TO 80 DEG C | END TO END DISTANCE |  | OPERATED | DOUBLE HEADED LEVER | TRIM | NITRILE BUTADIENE SEAT,SPHEROIDAL GRAPHITE CAST IRON BALL AND STEM | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1109695 | 1109695 |  |  |  | ERSA | M | 2200 | 1424236GZPCLNT100 | EA |  | DIRECTIONAL | DIRECTIONAL | VALVE,DIRECTION CONTROL: DIRECTIONAL |  |  |  |  | 1068100 @@ BERENDSEN FLUID POWER | 4WH16D5X | [14 empty] | INFRABUILD STEEL CENTRE | 22245370 | [14 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 3-PIECE,LOCKABLE | NOMINAL SIZE | 25 MM | END CONNECTION | FBSP | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE | REDUCED | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | LEVER HANDLE | TRIM | STAINLESS STEEL 316 | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1109696 | 1109696 | 1424231 | AU_QM_000332775 |  | ERSA | M | 2200 | 1424231GZPCLNT100 | EA |  | DIRECTIONAL | DIRECTIONAL | VALVE,DIRECTION CONTROL: DIRECTIONAL |  | VALVE,DIRECTION CONTROL:DIRECTIONAL |  |  | 1068100 @@ BERENDSEN FLUID POWER | 4WP6D5X/B08 | [14 empty] | RICHARD | FIG 92150A/RP62 | [10 empty] | J.BLACKWOOD & SON LIMITED | 1430415 |  |  | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 25 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | CARBON STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1063951 | 1063951 | 1352365 | AU_QM_000139004 |  | ERSA | M | 2200 | 1352365GZPCLNT100 | EA |  | DIRECTIONAL CONTROL VALVE;;MANUALLY OPER | DIRECTIONAL CONTROL VALVE;;MANUALLY OPER | VALVE,DIRECTION CONTROL: DIRECTIONAL CONTROL VALVE;;MANUALLY OPER ATED NG6;;OPERATING PRESSURE 350 BAR;;MA X FLOW 80L/MIN;;BM01/02 INCHING DRIVE; |  | VALVE,DIRECTION CONTROL:DIRECTIONAL CONTROL VALVE;;MANUALLY OPER |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 4WMM6D6XF (66111) | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves | C/W HYTORK 90/41 ACTUATOR |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 40 MM | END CONNECTION |  | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | ACTUATOR | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1067358 | 1067358 | 1352363 | AU_QM_000139002 |  | ERSA | M | 2200 | 1352363GZPCLNT100 | EA |  | DIRECTIONAL CONTROL VALVE;PVG 120;;PROPO | DIRECTIONAL CONTROL VALVE;PVG 120;;PROPO | VALVE,DIRECTION CONTROL: DIRECTIONAL CONTROL VALVE;PVG 120;;PROPO RTIONAL;MANUALLY OPERATED;;BM01/02 INCHI NG DRIVE; |  | VALVE,DIRECTION CONTROL:DIRECTIONAL CONTROL VALVE;PVG 120;;PROPO |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 155-060707 | [12 empty] | PETRO INDUSTRIAL | BLS9FA-L-RT | CNW (MOUNT ISA) ELECT WHOLESALER | BLS9FA-L-RT | [14 empty] | https://www.petroind.com/products/petro-316-ss-2-piece-fire-safe-full-bore-flanged-150-manual-valve | [9 empty] | ENRICHED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 2-PIECE | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE | 20 BAR | TEMPERATURE RATING | -20 TO 180 DEG C | END TO END DISTANCE |  | OPERATED | LOCKABLE ISO PAD LEVER | TRIM | FKM BACKING RING,RTFE SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140607 | 1140607 | 1426568 | AU_QM_000399279 |  | ERSA | M | 2200 | 1426568GZPCLNT100 | EA |  | DIRECTIONAL | DIRECTIONAL | VALVE,DIRECTION CONTROL: DIRECTIONAL FOR ROXON HYDROSTROKE PLATE FEEDER MODEL NO.BVS-2355 |  | VALVE,DIRECTION CONTROL:DIRECTIONAL |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1426568 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves | C/W HYTORK 280 SPRING RETURN PNEUMATIC ACTUATOR |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE | 275 PSI | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | ACTUATOR | TRIM | STAINLESS STEEL 316 | SOFTGOODS | PTFE AND GF SEALS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1137229 | 1137229 | 1365211 | AU_QM_000167470 |  | ERSA | M | 2200 | 1365211GZPCLNT100 | EA |  | DIRECTIONAL VALVE OPENED CENTER 4 PORT / | DIRECTIONAL VALVE OPENED CENTER 4 PORT / | VALVE,DIRECTION CONTROL: DIRECTIONAL VALVE OPENED CENTER 4 PORT / 3 POSITION |  | VALVE,DIRECTION CONTROL:DIRECTIONAL VALVE OPENED CENTER 4 PORT / |  |  | 1069581 @@ CUSTOM FLUID POWER P/L | 1365211 | [14 empty] | RICHARDS | FIG 72125 | [14 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 125 LB | BODY MATERIAL | IRON | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM | PU BALL AND LINER,STAINLESS STEEL 316 STEM | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1062861 | 1062861 | 1454895 | AU_QM_001241265 |  | ERSA | M | 2200 | 1454895GZPCLNT100 | EA |  | DIRECTIONAL,SUIT CABLE STRINGER COMENG | DIRECTIONAL,SUIT CABLE STRINGER COMENG | VALVE,DIRECTION CONTROL: DIRECTIONAL,SUIT CABLE STRINGER COMENG |  | VALVE,DIRECTION CONTROL:DIRECTIONAL,SUIT CABLE STRINGER COMENG |  |  | 1068226 @@ BRADKEN RESOURCES PTY LIMITED | 1454895 | [26 empty] | J.BLACKWOOD & SON LIMITED | 1430416 |  |  | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | CARBON STEEL GRADE F14/STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1110818 | 1110818 | 1437324 | AU_QM_000941898 |  | ERSA | M | 2200 | 1437324GZPCLNT100 | EA |  | DOUBLE SOLENOID SPOOL VALVE;110V;1/2"BSP | DOUBLE SOLENOID SPOOL VALVE;110V;1/2"BSP | VALVE,DIRECTION CONTROL: DOUBLE SOLENOID SPOOL VALVE;110V;1/2"BSP TO SPEC NO.3035; CU CONC FLOTATION FEED PRIMARY SAMPLER |  | VALVE,DIRECTION CONTROL:DOUBLE SOLENOID SPOOL VALVE;110V;1/2"BSP |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | 1437324 | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1437324 | [28 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 50 MM | END CONNECTION | BSP/SOCKETWELD | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE | REDUCED | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | LOCKABLE MANUAL HANDLE | TRIM | PTFE SEAT | SOFTGOODS | PTFE SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1134058 | 1134058 | 1357707 | AU_QM_000151471 |  | ERSA | M | 2200 | 1357707GZPCLNT100 | EA |  | EDC CONTROLLER FOR TRANSMISSION PUMP; DI | EDC CONTROLLER FOR TRANSMISSION PUMP; DI | VALVE,DIRECTION CONTROL: EDC CONTROLLER FOR TRANSMISSION PUMP; DI ESEL CHARGE CAR#2; |  | VALVE,DIRECTION CONTROL:EDC CONTROLLER FOR TRANSMISSION PUMP; DI |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 1357707 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 50 MM | END CONNECTION | FBSP X PIPE STUB END | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE | REDUCED | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | LOCKABLE LEVER HANDLE | TRIM | PTFE SEAT | SOFTGOODS | PTFE SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1064668 | 1064668 | 1358517 | AU_QM_000153554 |  | ERSA | M | 2200 | 1358517GZPCLNT100 | EA |  | DIRECTIONAL CONTROL VALVE; COMPLETE; GFM | DIRECTIONAL CONTROL VALVE; COMPLETE; GFM | VALVE: DIRECTIONAL CONTROL VALVE; COMPLETE; GFM L72 SKIP LIFTING; |  | VALVE: DIRECTIONAL CONTROL VALVE; COMPLETE; GFM |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | 2M4-12 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves | TANK HOUSE CELL UPGRADE |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 50 MM | END CONNECTION | FBSP X FLANGE ADAPTERS | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE | REDUCED | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE | 365 MM | OPERATED |  | TRIM | PTFE SEAT | SOFTGOODS | PTFE SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1064956 | 1064956 |  |  |  | ERSA | M | 2200 | 1359135GZPCLNT100 | EA |  | DIRECTIONAL CONTROL VALVE; COMPLETE; GFM | DIRECTIONAL CONTROL VALVE; COMPLETE; GFM | VALVE: DIRECTIONAL CONTROL VALVE; COMPLETE; GFM L72 SKIP LIFTING; |  |  |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | BDN4860 | [14 empty] | KEYPOWER SYSTEMS PTY LTD | 1442026 | [14 empty] | Url Not Found |  |  | BOOST COMPRESSOR | ARIEL | JPG/2 |  |  |  |  | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | AIR CIRCUIT | NOMINAL SIZE | 50 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-25 |  | 1140193 | 1140193 | 1368720 | AU_QM_000172854 |  | ERSA | M | 2200 | 1368720GZPCLNT100 | EA |  | DIRECTIONAL;7.1 BOOM SUSPENSION KIT:CHAR | DIRECTIONAL;7.1 BOOM SUSPENSION KIT:CHAR | VALVE: DIRECTIONAL;7.1 BOOM SUSPENSION KIT:CHAR MEC MC 605 D(V) |  | VALVE: DIRECTIONAL;7.1 BOOM SUSPENSION KIT:CHAR |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100059682 | [12 empty] | EMERSON | EB588 SBBTSF3-01 | KEYFLO PACIFIC PTY LTD | 162-8-1008 ITEM 41 | [14 empty] | https://www.control-associates.com/products/isolation-valves/ball-valves/floating-ball-valves/ktm-series-eb588-ball-valves/ | https://www.control-associates.com/asset/5197476 | [8 empty] | ENRICHED | 40141607 Ball valves | C/W F89U 006 STC ACTUATOR |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 40 MM | END CONNECTION | BSP | PRESSURE CLASS/RATING | 800 LB | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 0 TO 260 DEG C | END TO END DISTANCE |  | OPERATED | ACTUATOR | TRIM | STAINLESS STEEL 316 BALL,PTFE SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASME B16.34,API 608 | [42 empty] | Production Completed