## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1137672 | 1137672 | 1423771 | AU_QM_000296483 |  | ERSA | M | 5620 | 1423771GZPCLNT100 | EA |  | AE02C PUMP;0.008" 21X-38124-129-000-8 | AE02C PUMP;0.008" 21X-38124-129-000-8 | SHIM: AE02C PUMP;0.008" 21X-38124-129-000-8 INGERSOLL RAND BARIC AE02C PUMP |  | SHIM:AE02C PUMP;0.008" 21X-38124-129-000-8 | [34 empty] | URL NOT FOUND |  |  | PUMP | INGERSOLL RAND BARIC | AE02C |  |  |  |  | CLEANSED | 31162815 Shim |  |  | SHIM | NO MODIFIER | TYPE |  | SIZE | 1/64 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1137670 | 1137670 | 1423776 | AU_QM_000296558 |  | ERSA | M | 5620 | 1423776GZPCLNT100 | EA |  | AE02C PUMP;0.015" 21Y-38122-130-000-0 | AE02C PUMP;0.015" 21Y-38122-130-000-0 | SHIM: AE02C PUMP;0.015" 21Y-38122-130-000-0 INGERSOLL RAND BARIC AE02C PUMP |  | SHIM:AE02C PUMP;0.015" 21Y-38122-130-000-0 | [34 empty] | URL NOT FOUND |  |  | PUMP | INGERSOLL RAND BARIC | AE02C |  |  |  |  | CLEANSED | 31162815 Shim |  |  | SHIM | NO MODIFIER | TYPE |  | SIZE | 1/64 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1107886 | 1107886 | 1470637 | AU_QM_009150671 |  | ERSA | M | 5920 | 1470637GZPCLNT100 | EA |  | DEUTZ DIESEL ENGINE; | DEUTZ DIESEL ENGINE; | PUSH ROD,ENGINE POPPET VALVE: DEUTZ DIESEL ENGINE; |  | PUSH ROD,ENGINE POPPET VALVE: DEUTZ DIESEL ENGINE; | [34 empty] | URL NOT FOUND |  |  | DIESEL ENGINE | DEUTZ | [5 empty] | CLEANSED | 30102400 Rod | POPPET VALVE |  | ROD | NO MODIFIER | TYPE | PUSH | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1107882 | 1107882 | 1470667 | AU_QM_009152387 |  | ERSA | M | 5620 | 1470667GZPCLNT100 | EA |  | DEUTZ F4L + F6L-812 ENGINES; | DEUTZ F4L + F6L-812 ENGINES; | SHIM: DEUTZ F4L + F6L-812 ENGINES; |  | SHIM:DEUTZ F4L + F6L-812 ENGINES; | [34 empty] | URL NOT FOUND |  | F4L + F6L-812 | ENGINE | DEUTZ | [5 empty] | CLEANSED | 31162815 Shim |  |  | SHIM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1045374 | 1045374 | 1416323 | AU_QM_000262078 |  | ERSA | M | 5915 | 1416323GZPCLNT100 | EA |  | DUCT,WIRNG;DESK BOX HARBOUR,SOFT WIRED | DUCT,WIRNG;DESK BOX HARBOUR,SOFT WIRED | DUCT,WIRING;TYPE:DESK BOX HARBOUR,ADDITIONAL FEATURES EN:SOFT WIRED,MNFR:01)CNW,PTNO:01)ECDIDH2P2D |  | DUCT,WIRNG;DESK BOX HARBOUR,SOFT WIREDDUCT,WIRNG;DESK BOX HARBOUR,SOFT WIRED | [18 empty] | CNW | ECDIDH2P2D | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | DESK BOX HARBOUR,SOFT WIRED | LENGTH |  | WIDTH |  | HEIGHT |  | MATERIAL |  | CAPACITY |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1045951 | 1045951 | 1403210 | AU_QM_000247901 |  | ERSA | M | 5915 | 1403210GZPCLNT100 | EA |  | DUCT,WIRNG;U PROFILE, SLOTTED,LG 2 M,PVC | DUCT,WIRNG;U PROFILE, SLOTTED,LG 2 M,PVC | DUCT,WIRING;TYPE:U PROFILE, SLOTTED,LENGTH:2 M,WIDTH:25 MM,HEIGHT:40 MM,MATERIAL:PVC,MOUNTING TYPE:SCREW,COLOUR:GREY,MNFR:01)CNW, PTNO:01)NHPT12540 |  | DUCT,WIRNG;U PROFILE, SLOTTED,LG 2 M,PVCDUCT,WIRNG;U PROFILE, SLOTTED,2M,25MM | [16 empty] | NHP | T12540 | CNW | [15 empty] | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T12540 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | U PROFILE, SLOTTED | LENGTH | 2000 MM | WIDTH | 25 MM | HEIGHT | 40 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | SCREW | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 94 V-0, IEC 60695-2-1 | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN MOUNTING TYPE,PROCESSED BASED ON WEB SOURCE | 1045998 | 1045998 | 1401695 | AU_QM_000246243 |  | ERSA | M | 5915 | 1401695GZPCLNT100 | EA |  | DUCT,WIRNG;UMBILICAL,LG 780 MM,BLACK | DUCT,WIRNG;UMBILICAL,LG 780 MM,BLACK | DUCT,WIRING;TYPE:UMBILICAL,LENGTH:780 MM,MATERIAL:PC/STAINLESS STEEL,MOUNTING TYPE:DESK/FLOOR,COLOUR:BLACK,MNFR:01)CNW,PTNO:01) ECDUMF780BK |  | DUCT,WIRNG;UMBILICAL,LG 780 MM,BLACKDUCT,WIRNG;UMBILICAL,780MM,DESK/FLOOR | [16 empty] | ECD | UMF780 | CNW | [15 empty] | https://www.ecd.net.au/product/umf780-2/ | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | UMBILICAL | LENGTH | 780 MM | WIDTH | 75 MM | HEIGHT |  | MATERIAL | PC/STAINLESS STEEL | CAPACITY |  | MOUNTING TYPE | UNDER DESK | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1011910 | 1011910 |  |  |  | ERSA | M | 4090 | 1614920GZPCLNT100 | EA | 3000344 | DUCT;SCHN,900/40/25/2WE,BR:CLIPSAL,H:40W | CAÑERIA;SCHN,900/40/25/2WE | DUCT;MNFR:SCHNEIDER INC,PTNO:900/40/25/2WE,ADDITIONAL FEATURES EN:BR:CLIPSAL,H:40 MM,W:25 MM,L:4M,MATERIAL:PVC,SERIES 900 | CAÃ‘ERIA;MNFR:SCHNEIDER INC,PTNO:900/40/25/2WE |  | SCHNEIDER INC | 900/40/25/2WE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI900/40/25/2WE | [12 empty] | CLIPSAL | 900/40/25/2-WE | CNW (MOUNT ISA) ELECT WHOLESALER |  | SCHNEIDER INC | [13 empty] | https://www.clipsal.com/products/detail?CatNo=900/40/25/2&itemno=900/40/25/2-WE&tab-document-1=0 | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-PVC-40X25-2-CHANNEL-WHITE/p/CLI900=40=25=2WED19 | [8 empty] | ENRICHED | 39131712 Wiring duct | SERIES:900 |  | DUCT | WIRING | TYPE | MINI | LENGTH | 4000 MM | WIDTH | 25 MM | HEIGHT | 40 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | WALL | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH,ROHS | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1012236 | 1012236 |  |  |  | ERSA | M | 4090 | 1606949GZPCLNT100 | EA |  | DUCT;ZN,GUT,INTERNAL CORNER,TYPE M | CAÑERIA; | DUCT;MATERIAL:ZINC,ADDITIONAL FEATURES EN:GUTTER,INTERNAL CORNER,TYPE M,PTNO:1244151 | CAÃ‘ERIA;,PTNO:1244151 |  |  | 1244151 | 1068155 @@ REECE PTY LTD | 1244151 | [14 empty] | REECE PTY LTD | 1244151 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141910 Zinc ducts or ductwork |  |  | DUCT | NO MODIFIER | TYPE | GUTTER,INTERNAL CORNER | SIZE | M | MATERIAL | ZINC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1016171 | 1016171 |  |  |  | ERSA | M | 5920 | 1616765GZPCLNT100 | EA |  | AXLE;DRV,1XAXLE MARK,DWG:168-6-0225/17 | ARBOL; | AXLE;TYPE:DRIVE,ADDITIONAL FEATURES EN:1XAXLE MARK,DWG:168-6-0225/17 | ARBOL; |  |  |  | 1068161 @@ WULGURU STEEL PTY LTD | MIMDWG 168-6-0225/17 | [14 empty] | WULGURU STEEL PTY LTD | [15 empty] | URL NOT FOUND | [6 empty] | 168-6-0225/17 (MIM) |  |  | CLEANSED | 25173801 Driving axles | MARK |  | AXLE | NO MODIFIER | TYPE | DRIVE | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1030968 | 1030968 | 1429771 | AU_QM_000627323 |  | ERSA | M | 1600 | 1429771GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,WATDOS6565,SLTD,2 M GRY | DUCT,WIRNG;CNW,WATDOS6565,SLTD,2 M GRY | DUCT,WIRING;TYPE:CABLE, SLOTTED,LENGTH:2 M,WIDTH:65 MM,HEIGHT:65 MM,MATERIAL:PVC,COLOUR:GREY,MNFR:01)CNW,PTNO:01)WATDOS6565 |  | CABLE DUCT: 65MM X 65MM,PVC,SLOTTED,GREY | CNW | WATDOS6565 | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4APPOS6060GYR | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPT16060 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | WATDOS6565 | [8 empty] | NHP | T16060 | CNW (MOUNT ISA) ELECT WHOLESALER | WATDOS6565 | CNW (MOUNT ISA) ELECT WHOLESALER |  | LAWRENCE & HANSON PTY. LTD. | 4APPOS6060GYR | [10 empty] | https://nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T16060 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH | 2000 MM | WIDTH | 60 MM | HEIGHT | 60 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 94 V-0, IEC 60695-2-1 | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1036143 | 1036143 |  |  |  | ERSA | M | 4015 | 1516599GZPCLNT100 | PAC |  | DUCT;A/C, PIPE DUCT 100X2,MOBPD100IV2000 | DUCT;A/C, PIPE DUCT 100X2,MOBPD100IV2000 | DUCT;ADDITIONAL FEATURES:A/C, PIPE DUCT 100X2,MOBPD100IV2000 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOBPD100IV2000 | [12 empty] | AUSTRALIAN PLASTIC PROFILE | PD100IV2000 | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Heating%2C-Ventilation-%26-Cooling/AC-Duct/DUCT-PIPE-100MM-X-2MTR/p/AUSPD100IV2000E20 | [9 empty] | ENRICHED | 40101500 Ventilation |  |  | DUCT | HVAC | TYPE | PIPE | LENGTH | 2 M | CROSS SECTION | 100 MM | MATERIAL | UPVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1054541 | 1054541 |  |  |  | ERSA | M | 1600 | 1584560GZPCLNT100 | EA |  | DUCT,WIRNG;PLT,100X2000X80 MM,RIT8800754 | DUCTO CABLEA; | DUCT,WIRING;MOUNTING TYPE:PLT,ADDITIONAL FEATURES EN:100X2000X80 MM,RIT8800754 | DUCTO CABLEADO; |  |  |  | 1069016 @@ SHERRIFF ELECTRICAL PTY LTD | BI31322 | [12 empty] | RITTAL | 8800754 | SHERRIFF ELECTRICAL PTY LTD | BI31322 | [14 empty] | https://www.rittal.com/com-en/products/PG0002SCHRANK1/PG0026SCHRANK1/PGRP21063SCHRANK1/PGRP26364SCHRANK1/PG0918SCHRANK2/PG1174SCHRANK1/PGRP4071SCHRANK1/PRO13416?variantId=8800754 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE |  | LENGTH | 2000 MM | WIDTH | 100 MM | HEIGHT | 80 MM | MATERIAL | HARD PVC | CAPACITY |  | MOUNTING TYPE | PLATE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1057352 | 1057352 |  |  |  | ERSA | M | 4015 | 1561309GZPCLNT100 | EA |  | DUCT;STRAIGHT,PE,VNT,15M,TYPOON 500 SER | CAÑERIA; | DUCT;TYPE:STRAIGHT,MATERIAL:POLYETHYLENE,ADDITIONAL FEATURES EN:VENT,15M,TYPOON 500 SER | CAÃ‘ERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | VOD0762-15 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | VOD0762-15 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation | TYPOON,SERIES:500 |  | DUCT | VENTILATION | TYPE | STRAIGHT | SIZE |  | LENGTH | 15 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1057353 | 1057353 |  |  |  | ERSA | M | 4015 | 1561310GZPCLNT100 | EA |  | DUCT;STRAIGHT,PE,VNT,10M,TYPOON 500 SER | CAÑERIA; | DUCT;TYPE:STRAIGHT,MATERIAL:POLYETHYLENE,ADDITIONAL FEATURES EN:VENT,10M,TYPOON 500 SER | CAÃ‘ERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | VOD0762-10 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | VOD0762-10 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation | TYPOON,SERIES:500 |  | DUCT | VENTILATION | TYPE | STRAIGHT | SIZE |  | LENGTH | 10 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1057354 | 1057354 |  |  |  | ERSA | M | 4015 | 1561311GZPCLNT100 | EA |  | DUCT;PE,CONCERTINA,610MM X 5M | CAÑERIA; | DUCT;MATERIAL:POLYETHYLENE,ADDITIONAL FEATURES EN:CONCERTINA,610MM X 5M,SILVER CONCERTINA,TYPHOON 300 SERIES | CAÃ‘ERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | VSC0610-05 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | VSC0610-05 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts | TYPOON,SERIES:500 |  | DUCT | NO MODIFIER | TYPE | SILVER CONCERTINA | SIZE | 610 MMX5 M | MATERIAL | POLYETHYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1057355 | 1057355 |  |  |  | ERSA | M | 4015 | 1561312GZPCLNT100 | EA |  | DUCT;PE,CONCERTINA,610MM X 10M | CAÑERIA; | DUCT;MATERIAL:POLYETHYLENE,ADDITIONAL FEATURES EN:CONCERTINA,610MM X 10M,SILVER CONCERTINA,TYPHOON 300 SERIES | CAÃ‘ERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | VSC0610-10 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | VSC0610-10 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts | TYPOON,SERIES:500 |  | DUCT | NO MODIFIER | TYPE | SILVER CONCERTINA | SIZE | 610 MMX10 M | MATERIAL | POLYETHYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1059626 | 1059626 |  |  |  | ERSA | M | 1600 | 1584539GZPCLNT100 | EA |  | DUCT;PVC,SLTD,60X60MM X 2M LG,LIGHT GRAY | CAÑERIA; | DUCT;MATERIAL:PVC,ADDITIONAL FEATURES EN:SLOTTED,60X60MM X 2M LG,LIGHT GRAY,LID OPEN SLOT,W/COVER,MOUNTING WITH SCREW | CAÃ‘ERIA; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | LEG636112 | [12 empty] | LEGRAND | 6 361 12 | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.legrand.com/ecatalogue/636112-cable-ducting-base-cover.html | [9 empty] | ENRICHED | 39131712 Wiring duct | LID OPEN,C/W COVER |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH | 2 M | WIDTH | 60 MM | HEIGHT | 60 MM | MATERIAL | PVC | CAPACITY | 3115 MM2 | MOUNTING TYPE | SCREW | COLOUR | LIGHT GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1060798 | 1060798 |  |  |  | ERSA | M | 1600 | 1614684GZPCLNT100 | EA |  | DUCT,HVAC;ACC FAN,LG 10 M,12 IN,PVC | DUCTO CLIMATIZA;,LG 10 M | DUCT,HVAC;TYPE:ACC FAN,LENGTH:10 M,CROSS SECTION:12 IN,MATERIAL:PVC,ADDITIONAL FEATURES EN:240 V,BAYER | DUCTO CLIMATIZACION;LONGITUD:10 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BAY25692280 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | BAY25692280 | BAYER | [13 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation | 240 V |  | DUCT | HVAC | TYPE | ACC FAN | LENGTH | 10 M | CROSS SECTION | 12 IN | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061629 | 1061629 |  |  |  | ERSA | M | 5010 | 1579706GZPCLNT100 | EA |  | DUCT;AP,915MM X 5M BRANCH PCE,45 DEG | CAÑERIA; | DUCT;MATERIAL:AP,ADDITIONAL FEATURES EN:915MM X 5M BRANCH PCE,45 DEG | CAÃ‘ERIA; |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 915/BR45-5-TD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 915/BR45-5-TD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts | ANGLE:45 DEG,BRANCH PCE |  | DUCT | NO MODIFIER | TYPE |  | SIZE | 915 MMX5 M | MATERIAL | AP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061630 | 1061630 |  |  |  | ERSA | M | 5010 | 1579704GZPCLNT100 | EA |  | DUCT;AP,915MM X 5M STRAIGHT,915/5-TD | CAÑERIA; | DUCT;MATERIAL:AP,ADDITIONAL FEATURES EN:915MM X 5M STRAIGHT,915/5-TD | CAÃ‘ERIA; |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 915/5-TD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 915/5-TD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts |  |  | DUCT | NO MODIFIER | TYPE | STRAIGHT | SIZE | 915 MMX5 M | MATERIAL | AP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061631 | 1061631 |  |  |  | ERSA | M | 5010 | 1530295GZPCLNT100 | EA |  | DUCT,HVAC;940-790 DIA TRANS;TURBO TWIN-D | DUCTO CLIMATIZA; | DUCT,HVAC;ADDITIONAL FEATURES EN:940-790 DIA TRANS;TURBO TWIN-DUKT | DUCTO CLIMATIZACION; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1530295 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 1530295 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | HVAC | TYPE | TURBO TWIN | LENGTH |  | CROSS SECTION | 940 TO 790 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061632 | 1061632 |  |  |  | ERSA | M | 5010 | 1530294GZPCLNT100 | EA |  | DUCT,HVAC;940 DIA X 2M;HI-FLOW TURBO TWI | DUCTO CLIMATIZA; | DUCT,HVAC;ADDITIONAL FEATURES EN:940 DIA X 2M;HI-FLOW TURBO TWIN-DUKT | DUCTO CLIMATIZACION; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1530294 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 1530294 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | HVAC | TYPE | HIGH FLOW TURBO TWIN | LENGTH | 2 M | CROSS SECTION | 940 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061633 | 1061633 |  |  |  | ERSA | M | 5010 | 1530293GZPCLNT100 | EA |  | DUCT,HVAC;790 DIA X 10M X 45 DEG ELB;HVY | DUCTO CLIMATIZA; | DUCT,HVAC;ADDITIONAL FEATURES EN:790 DIA X 10M X 45 DEG ELB;HVY DTY TWIN-DUKT | DUCTO CLIMATIZACION; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1530293 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 1530293 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts |  |  | ELBOW | DUCT | TYPE | HEAVY DUTY TWIN | ANGLE | 45 DEG | SIZE | 790 MM DIA | END CONNECTION |  | MATERIAL |  | COATING/FINISH |  | LENGTH | 10 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061634 | 1061634 |  |  |  | ERSA | M | 5010 | 1530292GZPCLNT100 | EA |  | DUCT,HVAC;790 DIA X 5M;HI-FLOW TURBO TWI | DUCTO CLIMATIZA; | DUCT,HVAC;ADDITIONAL FEATURES EN:790 DIA X 5M;HI-FLOW TURBO TWIN-DUKT | DUCTO CLIMATIZACION; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1530292 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 1530292 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | HVAC | TYPE | HIGH FLOW TURBO TWIN | LENGTH | 5 M | CROSS SECTION | 790 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1061635 | 1061635 |  |  |  | ERSA | M | 5010 | 1530291GZPCLNT100 | EA |  | DUCT,HVAC;790 DIA X 10M,HI-FLOW TURBO TW | DUCTO CLIMATIZA; | DUCT,HVAC;ADDITIONAL FEATURES EN:790 DIA X 10M,HI-FLOW TURBO TWIN-DUKT | DUCTO CLIMATIZACION; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1530291 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 1530291 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | HVAC | TYPE | HIGH FLOW TURBO TWIN | LENGTH | 10 M | CROSS SECTION | 790 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1067856 | 1067856 | 1423738 | AU_QM_000292730 |  | ERSA | M | 2000 | 1423738GZPCLNT100 | EA |  | COMENG PLATFORM | COMENG PLATFORM | ROD: COMENG PLATFORM |  | ROD: COMENG PLATFORM |  |  | 1068221 @@ BRADKEN RESOURCES PTY LIMITED | C396/2 | 1068226 @@ BRADKEN RESOURCES PTY LIMITED | C396/2 | [12 empty] | BRADKEN RESOURCES PTY LIMITED | C396/2 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30102400 Rod | COMENG PLATFORM |  | ROD | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1071546 | 1071546 | 1476280 | AU_QM_000982275 |  | ERSA | M | 1600 | 1476280GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,WATDOS70100,SLTD,2 M GRY | DUCT,WIRNG;CNW,WATDOS70100,SLTD,2 M GRY | DUCT,WIRNG:MFR:CNW;PTNO:WATDOS70100 |  | CABLE DUCT: 70MM W X 100MM H,PLASTIC,OPEN SLOTTED, | CNW | WATDOS70100 | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | WATDOS70100 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DOS70100 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | WATDOS70100 | [8 empty] | WATTMASTER | WATDOS70100 | LAWRENCE & HANSON PTY. LTD. |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.wattmaster.com.au/product/watdos70100/slotted-pvc-duct | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH | 2 M | WIDTH | 70 MM | HEIGHT | 100 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084664 | 1084664 |  |  |  | ERSA | M | 1600 | 1583501GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100AFGR,FLAT ANGLE,MAXI | CAÑERIA;CNW,AUSCD100100AFGR | DUCT;MNFR:CNW,PTNO:AUSCD100100AFGR,ADDITIONAL FEATURES EN:FLAT ANGLE,MAXI/T ACCESS | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100AFGR |  | CNW | AUSCD100100AFGR | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AFGR | [12 empty] | APP | CD100100AFGR | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://mm.mmem.com.au/appcd100100afgr | [9 empty] | ENRICHED | 40141900 Ducts | MAXI/T ACCESS |  | ELBOW | DUCT | TYPE | FLAT | ANGLE | 90 DEG | SIZE | 100 WDX100 DP MM | END CONNECTION |  | MATERIAL | PVC | COATING/FINISH |  | LENGTH | 4 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084665 | 1084665 |  |  |  | ERSA | M | 1600 | 1583502GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100AFWH,FLAT ANGLE,MAXI | CAÑERIA;CNW,AUSCD100100AFWH | DUCT;MNFR:CNW,PTNO:AUSCD100100AFWH,ADDITIONAL FEATURES EN:FLAT ANGLE,MAXI/T ACCESS | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100AFWH |  | CNW | AUSCD100100AFWH | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AFWH | [12 empty] | APP | CD100100AFWH | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.jrt.com.au/ajt/category/Cable-Management/Slotted-Cable-Trunking/Slotted-cable-trunking-system/FLAT-ANGLE-100X100MM/APPCD100100AFWH/p/10078045 | [9 empty] | ENRICHED | 30101500 Angles | MAXI/T ACCESS |  | ANGLE | NO MODIFIER | TYPE | FLAT | SIZE | 100X100 MM | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084666 | 1084666 |  |  |  | ERSA | M | 1600 | 1583503GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100AIGR,INTERNAL ANGLE | CAÑERIA;CNW,AUSCD100100AIGR | DUCT;MNFR:CNW,PTNO:AUSCD100100AIGR,ADDITIONAL FEATURES EN:INTERNAL ANGLE,MAXI/T ACCESS | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100AIGR |  | CNW | AUSCD100100AIGR | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AIGR | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AIGR | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts | INTERNAL ANGLE,MAXI/T ACCESS |  | DUCT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084667 | 1084667 |  |  |  | ERSA | M | 1600 | 1583504GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100AIWH,INTERNAL ANGLE | CAÑERIA;CNW,AUSCD100100AIWH | DUCT;MNFR:CNW,PTNO:AUSCD100100AIWH,ADDITIONAL FEATURES EN:INTERNAL ANGLE,MAXI/T ACCESS | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100AIWH |  | CNW | AUSCD100100AIWH | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AIWH | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100AIWH | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts | INTERNAL ANGLE,MAXI/T ACCESS |  | DUCT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084670 | 1084670 |  |  |  | ERSA | M | 1600 | 1583507GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100GR,MAXI,100X100MMX4M | CAÑERIA;CNW,AUSCD100100GR | DUCT;MNFR:CNW,PTNO:AUSCD100100GR,ADDITIONAL FEATURES EN:MAXI,100X100MMX4M,GREY | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100GR |  | CNW | AUSCD100100GR | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100GR | [12 empty] | AUSSIE DUCT | AUSCD100100GR | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Management/Cable-Duct/DUCT-MAXI-100MMX100MMX4MTR-GREY/p/AUSCD100100GRD22 | [9 empty] | ENRICHED | 40141914 Plastics duct or ductwork | COLOR:GREY |  | DUCT | NO MODIFIER | TYPE | MAXI | SIZE | 4 LG MX100 WDX100 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084671 | 1084671 |  |  |  | ERSA | M | 1600 | 1583508GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100TFGR,FLAT TEE,MAXI/T | CAÑERIA;CNW,AUSCD100100TFGR | DUCT;MNFR:CNW,PTNO:AUSCD100100TFGR,ADDITIONAL FEATURES EN:FLAT TEE,MAXI/T ACCESS | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100TFGR |  | CNW | AUSCD100100TFGR | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100TFGR | [12 empty] | APP | CD100100TFGR | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.jrt.com.au/ajt/category/Cable-Management/Slotted-Cable-Trunking/Slotted-cable-trunking-system/FLAT-TEE-MAXI-T-ACCESS/APPCD100100TFGR/p/10753617 | [9 empty] | ENRICHED | 40141700 Hardware and fittings | MAXI/TEE ACCESS | COLOUR:GREY | TEE | NO MODIFIER | TYPE | FLAT | NOMINAL SIZE | 100X100 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084672 | 1084672 |  |  |  | ERSA | M | 1600 | 1583509GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100TFWH,FLT/TEE,100X100 | CAÑERIA;CNW,AUSCD100100TFWH | DUCT;MNFR:CNW,PTNO:AUSCD100100TFWH,ADDITIONAL FEATURES EN:FLT/TEE,100X100MM,WHITE | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100TFWH |  | CNW | AUSCD100100TFWH | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100TFWH | [12 empty] | APP | CD100100TFWH | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.jrt.com.au/ajt/category/Cable-Management/Slotted-Cable-Trunking/Slotted-cable-trunking-system/FLAT-TEE-100X100MM/APPCD100100TFWH/p/10078049 | [9 empty] | ENRICHED | 40141700 Hardware and fittings | COLOUR:WHITE | MOUNTING:SCREW | TEE | NO MODIFIER | TYPE | FLAT | NOMINAL SIZE | 100X100 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1084673 | 1084673 |  |  |  | ERSA | M | 1600 | 1583510GZPCLNT100 | EA | 3000422 | DUCT;CNW,AUSCD100100WH,MAXI,100X100MMX4M | CAÑERIA;CNW,AUSCD100100WH | DUCT;MNFR:CNW,PTNO:AUSCD100100WH,ADDITIONAL FEATURES EN:MAXI,100X100MMX4M,WHITE | CAÃ‘ERIA;MNFR:CNW,PTNO:AUSCD100100WH |  | CNW | AUSCD100100WH | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSCD100100WH | [12 empty] | APP | AUSCD100100WH | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MAXI-100mm-x-100mm-x-4m-WHITE/p/AUSCD100100WHD22 | [9 empty] | ENRICHED | 40141914 Plastics duct or ductwork | COLOR:WHITE |  | DUCT | NO MODIFIER | TYPE | MAXI TRUNKING SOLID | SIZE | 4 LG MX100 WDX100 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1085325 | 1085325 |  |  |  | ERSA | M | 1600 | 1578484GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,SKIAPD12535-BL,SKIRTEC | DUCTO CABLEA;CNW,SKIAPD12535-BL | DUCT,WIRING;MNFR:CNW,PTNO:SKIAPD12535-BL,ADDITIONAL FEATURES EN:SKIRTEC | DUCTO CABLEADO;MNFR:CNW,PTNO:SKIAPD12535-BL |  | CNW | SKIAPD12535-BL | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SKIAPD12535-BL | [12 empty] | SKIRTEC | APD12535 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://skirtec.com.au/product/apd12535-2ch/ | https://tle.mmem.com.au/skiapd12535-bl | [8 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE |  | LENGTH | 2.7 M | WIDTH | 125 MM | HEIGHT | 35 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1088107 | 1088107 |  |  |  | ERSA | M | 1600 | 1573479GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,900/25/16WE,MINI,PVC,25X1 | DUCTO CABLEA;CNW,900/25/16WE | DUCT,WIRING;MNFR:CNW,PTNO:900/25/16WE,ADDITIONAL FEATURES EN:MINI,PVC,25X16,WHITE | DUCTO CABLEADO;MNFR:CNW,PTNO:900/25/16WE |  | CNW | 900/25/16WE | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 900/25/16WE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI900/25/16WE | [10 empty] | CLIPSAL | 900/25/16WE | CNW (TOWNSVILLE) ELECT SUPPLIES |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-PVC-25X16-WHITE/p/CLI900=25=16WED19 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | MINI | LENGTH | 4 M | WIDTH | 16 MM | HEIGHT | 25 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | WALL | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1088108 | 1088108 |  |  |  | ERSA | M | 1600 | 1573480GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,900/25/25WE,MINI,PVC,25X2 | DUCTO CABLEA;CNW,900/25/25WE | DUCT,WIRING;MNFR:CNW,PTNO:900/25/25WE,ADDITIONAL FEATURES EN:MINI,PVC,25X25,WHITE | DUCTO CABLEADO;MNFR:CNW,PTNO:900/25/25WE |  | CNW | 900/25/25WE | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 900/25/25WE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 900/25/25WE | [10 empty] | CLIPSAL | 900/25/25WE | CNW (TOWNSVILLE) ELECT SUPPLIES |  | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-PVC-25X25-WHITE/p/CLI900=25=25WED19 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | MINI | LENGTH | 4 M | WIDTH | 25 MM | HEIGHT | 25 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | WALL | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1088109 | 1088109 |  |  |  | ERSA | M | 1600 | 1573481GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,900/50/25WE,MINI,PVC,50X2 | DUCTO CABLEA;CNW,900/50/25WE | DUCT,WIRING;MNFR:CNW,PTNO:900/50/25WE,ADDITIONAL FEATURES EN:MINI,PVC,50X25,WHITE | DUCTO CABLEADO;MNFR:CNW,PTNO:900/50/25WE |  | CNW | 900/50/25WE | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 900/50/25WE | [12 empty] | CLIPSAL | 900/50/25-WE | CNW (TOWNSVILLE) ELECT SUPPLIES | [15 empty] | https://www.clipsal.com/products/detail?CatNo=900/50/25&itemno=900/50/25-WE&backto=/search?q=900%2F50%2F25WE&datasource=products&tab-document-1=0 | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-PVC-50X25-WHITE/p/CLI900=50=25WED19 | [8 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | MINI | LENGTH | 4 M | WIDTH | 50 MM | HEIGHT | 25 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | WALL | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH,ROHS | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1088145 | 1088145 |  |  |  | ERSA | M | 1600 | 1573790GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,900/40/16WE,MINI,PVC,40X1 | DUCTO CABLEA;CNW,900/40/16WE | DUCT,WIRING;MNFR:CNW,PTNO:900/40/16WE,ADDITIONAL FEATURES EN:MINI,PVC,40X16,WHITE | DUCTO CABLEADO;MNFR:CNW,PTNO:900/40/16WE |  | CNW | 900/40/16WE | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 900/40/16WE | [12 empty] | CLIPSAL | 900/40/16WE | CNW (TOWNSVILLE) ELECT SUPPLIES | [15 empty] | https://www.clipsal.com/products/detail?CatNo=900/40/16&itemno=900/40/16-WE&backto=/search?q=900%2F40%2F16WE&datasource=products | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | MINI | LENGTH | 4000 MM | WIDTH | 40 MM | HEIGHT | 16 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH,ROHS | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN DESCRIPTION,PROCESSED BASED ON WEB SOURCE | 1109267 | 1109267 | 1447136 | AU_QM_001054170 |  | ERSA | M | 5810 | 1447136GZPCLNT100 | EA |  | AIR/CON BELT ADJUSMENT; | AIR/CON BELT ADJUSMENT; | ROD: AIR/CON BELT ADJUSMENT; ELPHINSTONE AD55 |  | ROD: AIR/CON BELT ADJUSMENT; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1447136 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1869697 | [10 empty] | CATERPILLAR | 186-9697 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1447136 | [12 empty] | https://parts.cat.com/en/catcorp/186-9697 | [9 empty] | ENRICHED | 39121117 Buss bar |  | COATING/FINISHING:POLYOLEFIN | BUS BAR | NO MODIFIER | TYPE |  | MATERIAL | COPPER | CROSS SECTION | 16 WDX2.6 THK MM | LENGTH | 70 | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1109712 | 1109712 | 1423630 | AU_QM_000275248 |  | ERSA | M | 5920 | 1423630GZPCLNT100 | EA |  | CAT AIR CLEANER ROD ASSY; | CAT AIR CLEANER ROD ASSY; | ROD,THREADED END: CAT AIR CLEANER ROD ASSY; |  | ROD,THREADED END: CAT AIR CLEANER ROD ASSY; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1423630 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9M3695 | [10 empty] | CATERPILLAR | 9M-3695 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1423630 | [12 empty] | https://parts.cat.com/en/catcorp/9M-3695 |  |  | AIR CLEANER | CATERPILLAR | [5 empty] | ENRICHED | 40141700 Hardware and fittings |  | THREAD SIZE:5/16 IN-18,MATERIAL: STEEL | ASSEMBLY | NO MODIFIER | TYPE | ROD | [12 empty] | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1123180 | 1123180 |  |  |  | ERSA | M | 5000 | 1600626GZPCLNT100 | EA | 3000010 | ADJUSTER;SAN,BG00557076 | AJUSTADOR;SAN,BG00557076 | ADJUSTER;MNFR:SANDVIK,PTNO:BG00557076 | AJUSTADOR;MNFR:SANDVIK,PTNO:BG00557076 |  | SANDVIK | BG00557076 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00557076 | [12 empty] | SANDVIK | BG00557076 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik-parts?page=8147 | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | ADJUSTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1135657 | 1135657 |  |  |  | ERSA | M | 5620 | 1429344GZPCLNT100 | EA |  | 120H CIRCLE BLADE WEAR STRIP SHIM; | 120H CIRCLE BLADE WEAR STRIP SHIM; | SHIM: 120H CIRCLE BLADE WEAR STRIP SHIM; CATERPILLAR 120H GRADER |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429344 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2G3219 | [10 empty] | CATERPILLAR | 2G-3219 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1429344 | [12 empty] | https://parts.cat.com/en/catcorp/2G-3219 |  |  | GRADER | CATERPILLAR | 120H |  |  |  |  | ENRICHED | 31162815 Shim |  |  | SHIM | NO MODIFIER | TYPE | CIRCLE BLADE WEAR STRIP | SIZE | 0.76 MM THK | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1135711 | 1135711 | 1426431 | AU_QM_000386953 |  | ERSA | M | 1600 | 1426431GZPCLNT100 | EA |  | ALUMINIUM ALLOY ARMOR;1470MM LG; | ALUMINIUM ALLOY ARMOR;1470MM LG; | ROD: ALUMINUM ALLOY ARMOR;1470MM LG; 10 STRAND PIGTAIL;EACH STRAND 5MM DIA; |  | ROD: ALUMINIUM ALLOY ARMOR;1470MM LG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1426431 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1426431 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30102400 Rod | 10 STRAND PIGTAIL,STRAND DIA:5 MM |  | ROD | NO MODIFIER | TYPE | ARMOR | DIAMETER |  | LENGTH | 1470 MM | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1135712 | 1135712 | 1426430 | AU_QM_000386946 |  | ERSA | M | 1600 | 1426430GZPCLNT100 | EA |  | ALUMINIUM ALLOY ARMOR;1830MM LG; | ALUMINIUM ALLOY ARMOR;1830MM LG; | ROD: ALUMINUM ALLOY ARMOR;1830MM LG; 12 STRAND PIGTAIL;EACH STRAND 5MM DIA; |  | ROD: ALUMINIUM ALLOY ARMOR;1830MM LG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1426430 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1426430 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30102400 Rod | 12 STRAND PIGTAIL,STRAND DIA:5 MM |  | ROD | NO MODIFIER | TYPE | ARMOR | DIAMETER |  | LENGTH | 1830 MM | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1136901 | 1136901 | 1456255 | AU_QM_001277490 |  | ERSA | M | 5810 | 1456255GZPCLNT100 | EA |  | BRACKET;RH;OUTER CONVEYOR TORQUE ARM; | BRACKET;RH;OUTER CONVEYOR TORQUE ARM; | TORQUE ARM: BRACKET;RH;OUTER CONVEYOR TORQUE ARM; TELESTACKER TS-842 RADIAL STACKER; GFM SURFACE CRUSHING PLANT; |  | TORQUE ARM: BRACKET;RH;OUTER CONVEYOR TORQUE ARM; |  |  | 1069621 @@ LINCOM PACIFIC EQUIPMENT PTY LTD | 48.10.0058 | [14 empty] | LINCOM PACIFIC EQUIPMENT PTY LTD | 48.10.0058 | [14 empty] | URL NOT FOUND |  |  | RADIAL TELESTACKER |  | TS-842 |  |  |  |  | CLEANSED | 31162500 Brackets and braces | GFM SURFACE CRUSHING PLANT |  | BRACKET | NO MODIFIER | TYPE | RIGHT HAND,OUTER CONVEYOR TORQUE ARM | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1136902 | 1136902 | 1456254 | AU_QM_001277482 |  | ERSA | M | 5810 | 1456254GZPCLNT100 | EA |  | BRACKET;LH;OUTER CONVEYOR TORQUE ARM; | BRACKET;LH;OUTER CONVEYOR TORQUE ARM; | TORQUE ARM: BRACKET;LH;OUTER CONVEYOR TORQUE ARM; TELESTACKER TS-842 RADIAL STACKER; GFM SURFACE CRUSHING PLANT; |  | TORQUE ARM: BRACKET;LH;OUTER CONVEYOR TORQUE ARM; |  |  | 1069621 @@ LINCOM PACIFIC EQUIPMENT PTY LTD | 48.10.0057 | [14 empty] | LINCOM PACIFIC EQUIPMENT PTY LTD | 48.10.0057 | [14 empty] | URL NOT FOUND |  |  | RADIAL TELESTACKER |  | TS-842 |  |  |  |  | CLEANSED | 31162500 Brackets and braces | GFM SURFACE CRUSHING PLANT |  | BRACKET | NO MODIFIER | TYPE | LEFT HAND,OUTER CONVEYOR TORQUE ARM | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1136903 | 1136903 | 1456253 | AU_QM_001277474 |  | ERSA | M | 5810 | 1456253GZPCLNT100 | EA |  | BRACKET;RH;INNER CONVEYOR TORQUE ARM; | BRACKET;RH;INNER CONVEYOR TORQUE ARM; | TORQUE ARM: BRACKET;RH;INNER CONVEYOR TORQUE ARM; TELESTACKER TS-842 RADIAL STACKER; GFM SURFACE CRUSHING PLANT; |  | TORQUE ARM: BRACKET;RH;INNER CONVEYOR TORQUE ARM; |  |  | 1069621 @@ LINCOM PACIFIC EQUIPMENT PTY LTD | 48.11.0069 | [14 empty] | LINCOM PACIFIC EQUIPMENT PTY LTD | 48.11.0069 | [14 empty] | URL NOT FOUND |  |  | RADIAL TELESTACKER |  | TS-842 |  |  |  |  | CLEANSED | 31162500 Brackets and braces | GFM SURFACE CRUSHING PLANT |  | BRACKET | NO MODIFIER | TYPE | RIGHT HAND,INNER CONVEYOR TORQUE ARM | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1136904 | 1136904 | 1456252 | AU_QM_001277466 |  | ERSA | M | 5810 | 1456252GZPCLNT100 | EA |  | BRACKET;LH;INNER CONVEYOR TORQUE ARM; | BRACKET;LH;INNER CONVEYOR TORQUE ARM; | TORQUE ARM: BRACKET;LH;INNER CONVEYOR TORQUE ARM; TELESTACKER TS-842 RADIAL STACKER; GFM SURFACE CRUSHING PLANT; |  | TORQUE ARM: BRACKET;LH;INNER CONVEYOR TORQUE ARM; |  |  | 1069621 @@ LINCOM PACIFIC EQUIPMENT PTY LTD | 48.11.0068 | [14 empty] | LINCOM PACIFIC EQUIPMENT PTY LTD | 48.11.0068 | [14 empty] | URL NOT FOUND |  |  | RADIAL TELESTACKER |  | TS-842 |  |  |  |  | CLEANSED | 31162500 Brackets and braces | GFM SURFACE CRUSHING PLANT |  | BRACKET | NO MODIFIER | TYPE | LEFT HAND,INNER CONVEYOR TORQUE ARM | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN TYP,PROCESSED BASED ON WEB SOURCE | 1137134 | 1137134 | 1370651 | AU_QM_000176982 |  | ERSA | M | 5620 | 1370651GZPCLNT100 | EA |  | DIFFERENTIAL SHIM PACK; | DIFFERENTIAL SHIM PACK; | SHIM SET: DIFFERENTIAL SHIM PACK; CAT 789C TRUCK; ELPHINSTONE AD40 SER.II DUMP TRUCK |  | SHIM SET: DIFFERENTIAL SHIM PACK; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1370651 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9M5874 | [10 empty] | CATERPILLAR | 9M-5874 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1370651 | [12 empty] | https://parts.cat.com/en/catcorp/9M-5874 |  |  | TRUCK,DUMP TRUCK | CATERPILLAR,ELPHINSTONE | 789C,AD40 SER.II |  |  |  |  | ENRICHED | 31162815 Shim |  |  | SHIM SET | NO MODIFIER | TYPE | FLANGE | SIZE | 85.85 LGX60.45 WDX3.3 THK MM | MATERIAL | STEEL | SET CONTAINS |  | NUMBER OF ITEMS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1137624 | 1137624 |  |  |  | ERSA | M | 5620 | 1426844GZPCLNT100 | EA |  | CAT VALVE GRP SHIM; | CAT VALVE GRP SHIM; | SHIM: CAT VALVE GRP SHIM; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 6J3993 | [12 empty] | CATERPILLAR | 6J-3993 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://www.agkits.com/caterpillar-pressure-control-valve-shim-6j3993.aspx | [9 empty] | ENRICHED | 31162815 Shim | GROUP |  | SHIM | NO MODIFIER | TYPE | PRESSURE CONTROL VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1137625 | 1137625 |  |  |  | ERSA | M | 5620 | 1426843GZPCLNT100 | EA |  | CAT VALVE GRP SHIM; | CAT VALVE GRP SHIM; | SHIM: CAT VALVE GRP SHIM; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5J2721 | [12 empty] | CATERPILLAR | 5J-2721 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/5J-2721 | [9 empty] | ENRICHED | 31162815 Shim | GROUP |  | SHIM | NO MODIFIER | TYPE | VALVE | SIZE | 0.13 MM THK | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1139219 | 1139219 | 1365032 | AU_QM_000167264 |  | ERSA | M | 1540 | 1365032GZPCLNT100 | EA |  | BASE STUD WASHER;M30 HD FW; 10X8 UMD MIL | BASE STUD WASHER;M30 HD FW; 10X8 UMD MIL | WASHER: BASE STUD WASHER;M30 HD FW; 10X8 UMD MIL MAX PUMP |  | WASHER:BASE STUD WASHER;M30 HD FW; 10X8 UMD MIL |  |  | 1068162 @@ FLSMIDTH PTY LTD | 1365032 | [14 empty] | FLSMIDTH PTY LTD | 1365032 | [14 empty] | URL NOT FOUND |  |  | (10X8) MAX PUMP | UMD MIL | [5 empty] | CLEANSED | 31161800 Washers | HD FW |  | WASHER | NO MODIFIER | TYPE | BASE STUD | NOMINAL SIZE | M30 | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1140258 | 1140258 | 1447140 | AU_QM_001054220 |  | ERSA | M | 5955 | 1447140GZPCLNT100 | EA |  | AIR/CON BELT ADJUSTING BLOCK; | AIR/CON BELT ADJUSTING BLOCK; | ADJUSTER,BELT-CHAIN TENSION: AIR/CON BELT ADJUSTING BLOCK; ELPHINSTONE AD55 |  | ADJUSTER,BELT-CHAIN TENSION:AIR/CON BELT ADJUSTING BLOCK; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1447140 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8S5383 | [10 empty] | CATERPILLAR | 8S-5383 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1447140 | [12 empty] | https://parts.cat.com/en/catcorp/8S-5383 |  |  |  | ELPHINSTONE | AD55 |  |  |  |  | ENRICHED | 23153100 Industrial machinery components and accessories | AIR/CON BELT ADJUSTING |  | BLOCK | NO MODIFIER | TYPE |  | SIZE | 50.80 LGX25.40 THK MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1141198 | 1141198 | 1445492 | AU_QM_001010579 |  | ERSA | M | 1540 | 1445492GZPCLNT100 | EA |  | DUST VALVE WASHER; | DUST VALVE WASHER; | WASHER: DUST VALVE WASHER; MIMDWG 163-B6-598 MK7; 250NB DOUBLE DUMP DUST FLAP VALVE |  | WASHER:DUST VALVE WASHER; |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1445492 | [14 empty] | HEAVYMECH PTY LTD | 1445492 | [14 empty] | URL NOT FOUND |  |  | DOUBLE DUMP DUST FLAP VALVE |  |  |  | 163-B6-598 (MIM) |  |  | CLEANSED | 31161800 Washers | MK7 |  | WASHER | NO MODIFIER | TYPE |  | NOMINAL SIZE | 250 MM | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1141243 | 1141243 | 1444841 | AU_QM_001006818 |  | ERSA | M | 3000 | 1444841GZPCLNT100 | EA |  | DIAPHRAGM ROD; | DIAPHRAGM ROD; | ROD: DIAPHRAGM ROD; SANDPIPER 2" AOD PUMP |  | ROD: DIAPHRAGM ROD; |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1444841 | [14 empty] | HEAVYMECH PTY LTD | 1444841 | [14 empty] | URL NOT FOUND |  |  | 2 IN AOD PUMP | SANDPIPER | [5 empty] | CLEANSED | 30102400 Rod |  |  | ROD | NO MODIFIER | TYPE | DIAPHRAGM | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN MATERIAL,PROCESSED BASED ON WEB SOURCE | 1144579 | 1144579 | 1427569 | AU_QM_000470229 |  | ERSA | M | 1600 | 1427569GZPCLNT100 | EA |  | DUCT,WIRNG;CABLE, OPEN, SLOTTED,LG 2 M | DUCT,WIRNG;CABLE, OPEN, SLOTTED,LG 2 M | DUCT,WIRING;TYPE:CABLE, OPEN, SLOTTED,LENGTH:2 M,WIDTH:45 MM,HEIGHT:65 MM,MATERIAL:PLASTIC,COLOUR:GREY,MNFR:01)CNW,PTNO:01) WATDOS4565 |  | CABLE DUCT: 45MM W X 65MM H,PLASTIC,OPEN SLOTTED, |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | DOS4565 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DOS4565 | [10 empty] | WATTMASTER | DOS4565 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/Slotted-Cable-Duct/DUCT-OPEN-SLOTTED-45MMWX65MMHX2M/p/WATDOS4565D18 | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | OPEN SLOTTED | LENGTH | 2 M | WIDTH | 65 MM | HEIGHT | 45 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1146433 | 1146433 |  |  |  | ERSA | M | 1600 | 1527288GZPCLNT100 | EA |  | DUCT,WIRNG;CABLE DUCT,PVC SLOTTED,D7PFA6 | DUCT,WIRNG;CABLE DUCT,PVC SLOTTED,D7PFA6 | DUCT,WIRNG;ADDITIONAL FEATURES:CABLE DUCT,PVC SLOTTED,D7PFA6 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D7PFA6 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | D7PFA6 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH |  | WIDTH |  | HEIGHT |  | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1146466 | 1146466 |  |  |  | ERSA | M | 1600 | 1527107GZPCLNT100 | EA |  | DUCT;MINI PVC 25X16 WHITE,CLI900/25/16WE | DUCT;MINI PVC 25X16 WHITE,CLI900/25/16WE | DUCT;ADDITIONAL FEATURES:MINI PVC 25X16 WHITE,CLI900/25/16WE |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 900/25/16WE | [12 empty] | CLIPSAL | 900/25/16WE | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-PVC-25X16-WHITE/p/CLI900=25=16WED19 | [9 empty] | ENRICHED | 40141900 Ducts | COLOUR:WHITE |  | DUCT | NO MODIFIER | TYPE | MINI | SIZE | 4 LG MX16 WDX25 DP MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1149524 | 1149524 |  |  |  | ERSA | M | 2610 | 1525945GZPCLNT100 | EA |  | DUCT;2460X940BFF350-4.310ELMSBFREVSBIRH | DUCT;2460X940BFF350-4.310ELMSBFREVSBIRH | DUCT;ADDITIONAL FEATURES:2460X940BFF350-4.310ELMSBFREVSBIRH |  |  |  |  | 1068189 @@ AUSTRALIAN FLEXIBLE JOINTS | 2460X940.BFF.350.(-4).310.EL.MS.B.F | [14 empty] | AUSTRALIAN FLEXIBLE JOINTS | BFF350-4.310ELMSBFREVSBIRH | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141900 Ducts |  |  | DUCT | NO MODIFIER | TYPE |  | SIZE | 2460X940 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN LENGTH,PROCESSED BASED ON WEB SOURCE | 1151457 | 1151457 | 1474754 | AU_QM_000165324 |  | ERSA | M | 1600 | 1474754GZPCLNT100 | EA |  | DUCT SLOTTED PVC; 100MMX100MMX2MTR | DUCT SLOTTED PVC; 100MMX100MMX2MTR |  |  | CABLE DUCT: DUCT SLOTTED PVC; 100MMX100MMX2MTR |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 900/100/100GY | [12 empty] | CLIPSAL | 900/100/100-GY | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.clipsal.com/products/detail?CatNo=900/100/100&itemno=900/100/100-GY&backto=/search?q&datasource=products | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MAXI-PVC-100X100-GREY/p/CLI900=100=100GYD19 | [8 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH | 4 M | WIDTH | 100 MM | HEIGHT | 100 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE | WALL | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,REACH | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1151690 | 1151690 | 1474396 | AU_QM_000158561 |  | ERSA | M | 1540 | 1474396GZPCLNT100 | EA |  | BOOM PIN WASHER;CAT980H SURFACE LOADER | BOOM PIN WASHER;CAT980H SURFACE LOADER |  |  | WASHER,FLAT:BOOM PIN WASHER;CAT980H SURFACE LOADER |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1474396 | [14 empty] | HASTINGS DEERING(AUSTRALIA) LTD | 1474396 | [14 empty] | URL NOT FOUND |  |  | SURFACE LOADER | CATERPILLAR | 980H |  |  |  |  | CLEANSED | 31161807 Flat washers |  |  | WASHER | FLAT | NOMINAL SIZE |  | TYPE | BOOM PIN | INSIDE DIMENSIONS |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | PART NUMBER UPDATED BASED ON WEB SOURCE | 1151736 | 1151736 | 1474283 | AU_QM_000139856 |  | ERSA | M | 1540 | 1474283GZPCLNT100 | EA |  | CAT 4N1897 FLYWHEEL HOUSING WASHER;21/32 | CAT 4N1897 FLYWHEEL HOUSING WASHER;21/32 |  |  | WASHER,FLAT:CAT 4N1897 FLYWHEEL HOUSING WASHER;21/32 |  |  | 1071831 @@ CUTTING EDGES PTY LTD | 4D3704CE | [12 empty] | CATERPILLAR | 4D-3704 | CUTTING EDGES PTY LTD | [15 empty] | https://parts.cat.com/en/catcorp/4D-3704 |  | 4N1897 | FLYWHEEL HOUSING | CATERPILLAR | [5 empty] | ENRICHED | 31161807 Flat washers | 21/32 |  | WASHER | FLAT | NOMINAL SIZE | M16 | TYPE |  | INSIDE DIMENSIONS | 17 MM DIA | OUTSIDE DIMENSIONS | 30 MM DIA | THICKNESS | 5 MM | MATERIAL | HARDENED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PHOSPHATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1152633 | 1152633 | 1476524 | AU_QM_001263367 |  | ERSA | M | 4700 | 1476524GZPCLNT100 | EA |  | ECLIPSE;TJ0150 | ECLIPSE;TJ0150 |  |  | FLAME ROD:ECLIPSE;TJ0150 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1476524 | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1476524 | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1476524 | SWANSTON TASMANIA PTY LTD |  | ECLIPSE | TJ0150 | [10 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30102400 Rod |  |  | ROD | NO MODIFIER | TYPE | FLAME | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1154188 | 1154188 |  |  |  | ERSA | M | 4015 | 1516590GZPCLNT100 | EA |  | DUCT;A/C, AUSSIE DUCT 80MM X ,MOB2701935 | DUCT;A/C, AUSSIE DUCT 80MM X ,MOB2701935 | DUCT;ADDITIONAL FEATURES:A/C, AUSSIE DUCT 80MM X ,MOB2701935 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2701935 | [12 empty] | REECE PTY LTD | 2701935 | MOBILISE GROUP PTY LTD |  | AUSSIE DUCT | [13 empty] | https://www.reece.com.au/product/aussie-duct-80mm-x-2mtr-2701935 | [9 empty] | ENRICHED | 40141900 Ducts | FOR A/C | COLOUR:IVORY | DUCT | NO MODIFIER | TYPE | PIPE | SIZE | 2 LG MX80 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1155684 | 1155684 |  |  |  | ERSA | M | 3750 | 1491919GZPCLNT100 | EA |  | ARM 17124008 | ARM 17124008 | [5 empty] | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 17124008 | [14 empty] | SANDVIK MINING & CONSTRUCTION | 17124008 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1171676 | 1171676 | 1458659 | AU_QM_001905021 |  | ERSA | M | 1600 | 1458659GZPCLNT100 | EA |  | DUCT,WIRNG;CABLE,LG 1 M,WD 50 MM,PVC,CNW | DUCT,WIRNG;CABLE,LG 1 M,WD 50 MM,PVC,CNW | DUCT,WIRING;TYPE:CABLE,LENGTH:1 M,WIDTH:50 MM,HEIGHT:50 MM,MATERIAL:PVC,COLOUR:BLACK,ADDITIONAL FEATURES EN:CLOSED SLOT, C/W LID, MNFR:01)CNW,PTNO:01)CRI0906 |  | CABLE DUCT: 50 X 50MM;CLOSED SLOT C/W LID;BLACK PVC; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 599027 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 599027 |  | CRI0906 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131712 Wiring duct | C/W LID |  | DUCT | WIRING | TYPE | CLOSED SLOT | LENGTH | 1 M | WIDTH | 50 MM | HEIGHT | 50 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1183552 | 1183552 |  |  |  | ERSA | M | 2700 | 1562274GZPCLNT100 | EA |  | ARM;MON,650X175X411MM,4XF0H70603 | BRAZO; | ARM;TYPE:MONITOR,SIZE:650X175X411MM,ADDITIONAL FEATURES EN:4XF0H70603,HEIGHT ADJUSTABLE,LENOVO | BRAZO; |  |  |  | 1068531 @@ LENOVO (AUSTRALIA & NEW ZEALAND) | 1562274 | [12 empty] | LENOVO | 4XF0H70603 | LENOVO (AUSTRALIA & NEW ZEALAND) | [15 empty] | https://www.lenovo.com/us/en/p/accessories-and-software/stands-arms-and-mounts/stands-arms-&-mounts_arms/4xf0h70603?orgRef=https%253A%252F%252Fwww.google.com%252F | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE | MONITOR HEIGHT ADJUSTABLE | SIZE | 175 WDX411 HTX650 DP MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 1678 | [60 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1184872 | 1184872 |  |  |  | ERSA | M | 5010 | 1558544GZPCLNT100 | EA |  | DUCT;VENT,940 MM X 7.5 M LG,90 DEG BEND | CAÑERIA;VENTILACION | DUCT;TYPE:VENT,MATERIAL:940 MM X 7.5 M LG,90 DEG BEND,ADDITIONAL FEATURES EN:940MMX7.5M,90DEG,LOBSTER-BAK,TWIN-DUKT,TURBO | CAÃ‘ERIA;TIPO:VENTILACION |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 940/LB90-7.5-TWD TURBO | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 940/LB90-7.5-TWD TURBO | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation | ANGLE:90 DEG BEND,LOBSTER-BAK |  | DUCT | VENTILATION | TYPE | TWIN,TURBO | SIZE | 940 MM | LENGTH | 7.5 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1184873 | 1184873 |  |  |  | ERSA | M | 5010 | 1558543GZPCLNT100 | EA |  | DUCT;VENT,940 MM X 1220 MM LG,BRNCH,TWIN | CAÑERIA;VENTILACION | DUCT;TYPE:VENT,MATERIAL:940 MM X 1220 MM LG,BRANCH,TWIN,ADDITIONAL FEATURES EN:940MM,TWIN-1220,ROUND BRANCH,HI-FLOW,TWIN-DUKT | CAÃ‘ERIA;TIPO:VENTILACION |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 940/1220/TR-TWD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 940/1220/TR-TWD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation | ROUND BRANCH |  | DUCT | VENTILATION | TYPE | TWIN,HI-FLOW | SIZE | 940 MM | LENGTH | 1220 MM | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1184874 | 1184874 |  |  |  | ERSA | M | 5010 | 1558542GZPCLNT100 | EA |  | DUCT;VENT,DIA 940 MM X 5 M LG,STRGT | CAÑERIA;VENTILACION | DUCT;TYPE:VENT,MATERIAL:DIA 940 MM X 5 M LG,STRAIGHT,ADDITIONAL FEATURES EN:HI-FLOW,TWIN-DUKT | CAÃ‘ERIA;TIPO:VENTILACION |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 940/5-TWD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 940/5-TWD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | VENTILATION | TYPE | STRAIGHT,TWIN,HI-FLOW | SIZE | 940 MM | LENGTH | 5 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1184875 | 1184875 |  |  |  | ERSA | M | 5010 | 1558541GZPCLNT100 | EA |  | DUCT;VENT,DIA 940 MM X LG 10 M,STRGT | CAÑERIA;VENTILACION | DUCT;TYPE:VENT,SIZE:DIA 940 MM X LG 10 M,MATERIAL:STRAIGHT,ADDITIONAL FEATURES EN:HI-FLOW,TWIN-DUKT | CAÃ‘ERIA;TIPO:VENTILACION |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 940/10-TWD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 940/10-TWD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | VENTILATION | TYPE | STRAIGHT,TWIN,HI-FLOW | SIZE | 940 MM | LENGTH | 10 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1184876 | 1184876 |  |  |  | ERSA | M | 5010 | 1558540GZPCLNT100 | EA |  | DUCT;VENT,DIA 940 MM X LG 20 M,STRGT | CAÑERIA;VENTILACION | DUCT;TYPE:VENT,SIZE:DIA 940 MM X LG 20 M,MATERIAL:STRAIGHT,ADDITIONAL FEATURES EN:HI-FLOW,TWIN-DUKT | CAÃ‘ERIA;TIPO:VENTILACION |  |  |  | 1070126 @@ AC INDUSTRIES (FORMALLY ALLCOVER | 940/20-TWD | [14 empty] | AC INDUSTRIES (FORMALLY ALLCOVER | 940/20-TWD | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101500 Ventilation |  |  | DUCT | VENTILATION | TYPE | STRAIGHT,TWIN,HI-FLOW | SIZE | 940 MM | LENGTH | 20 M | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1187905 | 1187905 |  |  |  | ERSA | M | 4010 | 1607983GZPCLNT100 | EA |  | ARM;ARTICULATING,180 MM,BASE:30X40X35 MM | BRAZO; | ARM;TYPE:ARTICULATING,SIZE:180 MM,ADDITIONAL FEATURES EN:BASE:30X40X35 MM,TYPE:I,MAGNETIC POWER:30KG,WRKNG ANGL:150 DEG,HOLE DIAMETER:8 MM,SLOT:6.5 MM,CODE: MB/30 | BRAZO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GZ-03420 | [12 empty] | GROZ TOOLS | GZ-03420 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.industrialtool.com.au/product/2644-mb-30-groz-articulating-arm-with-magnetic-base-type-i-l-180-mm-base-30x40x35-mm-320-n-with-3-8-hole-dia-and-a-3-8-8mm-sleeve- | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | BASE:30X40X35 MM,MAGNETIC POWER:30 KG,WORKING ANGLE:150 DEG,HOLE DIAMETER:8 MM,SLOT:6.5 MM,CODE: MB/30 |  | ARM | NO MODIFIER | TYPE | ARTICULATING ARM,I | SIZE | 180 MM LG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1189086 | 1189086 |  |  |  | ERSA | M | 1600 | 1576367GZPCLNT100 | EA | 3000422 | DUCT,WIRNG;CNW,WATDOS2565,SLTD,2 M GRY | DUCTO CABLEA;CNW,WATDOS2565 | DUCT,WIRING;MNFR:CNW,PTNO:WATDOS2565,ADDITIONAL FEATURES EN:SLOTTED,2 M GRY 25W X 65H | DUCTO CABLEADO;MNFR:CNW,PTNO:WATDOS2565 |  | CNW | WATDOS2565 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WATDOS2565 | [12 empty] | WATTMASTER | WATDOS2565 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.wattmaster.com.au/product/watdos2565/slotted-pvc-duct | [9 empty] | ENRICHED | 39131712 Wiring duct |  |  | DUCT | WIRING | TYPE | SLOTTED | LENGTH | 2 M | WIDTH | 25 MM | HEIGHT | 65 MM | MATERIAL | PVC | CAPACITY |  | MOUNTING TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1190021 | 1190021 |  |  |  | ERSA | M | 1600 | 1575189GZPCLNT100 | EA | 3000422 | DUCT;CNW,CLI900/25/16TSWE,TEE SIDE,16 MM | CAÑERIA;CNW,CLI900/25/16TSWE | DUCT;MNFR:CNW,PTNO:CLI900/25/16TSWE,ADDITIONAL FEATURES EN:TEE SIDE,16 MM | CAÃ‘ERIA;MNFR:CNW,PTNO:CLI900/25/16TSWE |  | CNW | CLI900/25/16TSWE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI900/25/16TSWE | [12 empty] | CLIPSAL | 900/25/16TS-WE | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.clipsal.com/products/detail?CatNo=900/25/16TS&itemno=900/25/16TS-WE&tab-document-1=0 | [9 empty] | ENRICHED | 40141700 Hardware and fittings | 16 MM |  | TEE | NO MODIFIER | TYPE | SIDE | NOMINAL SIZE | 75 WDX40 DP MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH,ROHS | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | CONFLICT IN SIZE,PROCESSED BASED ON WEB SOURCE | 1190022 | 1190022 |  |  |  | ERSA | M | 1600 | 1575188GZPCLNT100 | EA | 3000422 | DUCT;CNW,900/16/16PWE,PLUG END,25 X 16MM | CAÑERIA;CNW,900/16/16PWE | DUCT;MNFR:CNW,PTNO:900/16/16PWE,ADDITIONAL FEATURES EN:PLUG END,25 X 16MM | CAÃ‘ERIA;MNFR:CNW,PTNO:900/16/16PWE |  | CNW | 900/16/16PWE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 900/16/16PWE | [12 empty] | CLIPSAL | 900/16/16PWE | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PLUG-END-DUCT-16X16-WHITE/p/CLI900%3D16%3D16PWED27 | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  |  | PLUG | NO MODIFIER | TYPE | END | SIZE | 16X16 MM | END CONNECTION |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1205564 | 1205564 |  |  |  | ERSA | M | 3300 | 271629MRM | EA |  | ARM,RAKE;RAKE ARM; LONG RAKE ARM WITH BL | ARM,RAKE;RAKE ARM; LONG RAKE ARM WITH BL | ARM,RAKE;RAKE ARM; LONG RAKE ARM WITH BLADES FOR2100TH001 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N048752023 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N048752023 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | C/W BLADES |  | ARM | NO MODIFIER | TYPE | RAKE | SIZE | LONG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1205565 | 1205565 |  |  |  | ERSA | M | 3300 | 271630MRM | EA |  | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT WITH BLADES FOR 2100TH001 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N048752019 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N048752019 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | STRUT,FOR 2100TH001 |  | ARM | NO MODIFIER | TYPE | RAKE | SIZE | SHORT | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1205566 | 1205566 |  |  |  | ERSA | M | 3300 | 271631MRM | EA |  | ARM,RAKE;RAKE ARM; LONG RAKEARM STRUT FO | ARM,RAKE;RAKE ARM; LONG RAKEARM STRUT FO | ARM,RAKE;RAKE ARM; LONG RAKEARM STRUT FOR 2100TH001 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N048752017 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N048752017 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | STRUT,FOR 2100TH001 |  | ARM | NO MODIFIER | TYPE | RAKE | SIZE | LONG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1205567 | 1205567 |  |  |  | ERSA | M | 3300 | 271632MRM | EA |  | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT | ARM,RAKE;RAKE ARM; SHORT RAKE ARM STRUT FOR 2100TH001 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N048752020 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N048752020 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | STRUT,FOR 2100TH001 |  | ARM | NO MODIFIER | TYPE | RAKE | SIZE | SHORT | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1206060 | 1206060 |  |  |  | ERSA | M | 5920 | 152687MRM | EA |  | ARM,SCRAPER:H-TYPE,ARM,SIZE S,TECHNIBELT | ARM,SCRAPER:H-TYPE,ARM,SIZE S,TECHNIBELT | ARM,SCRAPER:H-TYPE,ARM,SIZE S,TECHNIBELT SCRAPER; |  |  |  |  | 1079216 @@ TECHNIBELT (AUST.) PTY LTD | PAS200M | [14 empty] | TECHNIBELT (AUST.) PTY LTD | PAS200M | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE | SCRAPER,H-TYPE | SIZE | S | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 | TYPE PROCESSED BASED ON WEB SOURCE | 1216153 | 1216153 |  |  |  | ERSA | M | 4090 | 514323MRM | EA |  | BIN,GARBAGE76L;GALVANISED;C/W STD LID | BIN,GARBAGE76L;GALVANISED;C/W STD LID | BIN,GARBAGE76L;GALVANISED;C/W STD LID |  |  |  |  | 1068502 @@ ATOM SUPPLY | 4324002 | [12 empty] | ATOM SUPPLY | 4324002 | [16 empty] | https://www.atom.com.au/galvanised-metal-rubbish-bin-with-lockable-lid-76l-4324002 | [9 empty] | ENRICHED | 47121702 Waste containers or rigid liners | C/W STANDARD LID,FINISH/COATING:GALVANISED |  | BIN | WASTE | TYPE | RUBBISH | SIZE |  | CAPACITY | 76 L | MATERIAL | METAL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1217040 | 1217040 |  |  |  | ERSA | M | 2920 | 214015MRM | PAA |  | COVERALLS,MEN'S:COMBINATION OVERALLS;SIZ | COVERALLS,MEN'S:COMBINATION OVERALLS;SIZ | COVERALLS,MEN'S:COMBINATION OVERALLS;SIZE 92R(6);ORANGE;COTTON DRILL;NIGHT SAFETY;LONG SLEEVE;STUD FRONT;50MM W REFLECTIVE STRIPES TO AS4602 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 36001188 | [12 empty] | ATOM SUPPLY | 36001188 | [16 empty] | https://www.atom.com.au/bc6718tw-hi-vis-lightweight-taped-coveralls-190gsm-bc6718tw | [9 empty] | ENRICHED | 46181503 Protective coveralls | GENDER:MEN'S,SLEEVE TYPE:LONG,C/W 50 MM REFLECTIVE STRIPS |  | COVERALL | NO MODIFIER | TYPE | COMBINATION OVERALLS,NIGHT SAFFETY | SIZE DESIGNATION | 92R | MATERIAL | 100 PCT COTTON PRESHRUNK DRILL | DESIGN |  | CLOSURE DETAILS | ZIP | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1020:1995,AS/NZS 1906.4:2010,AS/NZS 4399:1996 (50+),AS/NZS 4602.1:2011 (Class D/N) | [56 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | PJR | OK | 2023-10-16 | 2023-10-26 |  | 1217985 | 1217985 |  |  |  | ERSA | M | 5920 | 270289MRM | EA |  | ARM,RAKE;20M TAILINGS THICKENER;C/W 5 X | ARM,RAKE;20M TAILINGS THICKENER;C/W 5 X | ARM,RAKE;20M TAILINGS THICKENER;C/W 5 X SACRIFICIAL ANODES |  |  |  |  | 1068162 @@ FLSMIDTH PTY LTD | 94302 016 1 | [14 empty] | FLSMIDTH PTY LTD | 94302 016 1 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | C/W (5) SACRIFICIAL ANODES, FOR 20 M TAILINGS THICKENER |  | ARM | NO MODIFIER | TYPE | RAKE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED