## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1068241 | 1068241 | 1441340 | AU_QM_000987010 |  | ERSA | M | 2200 | 1441340GZPCLNT100 | EA |  | 50MM BUTTERFLY VALVE;SS316 DISC _ STEM; | 50MM BUTTERFLY VALVE;SS316 DISC _ STEM; | DISC,VALVE: 50MM BUTTERFLY VALVE;SS316 DISC AND STEM; |  | DISC,VALVE: 50MM BUTTERFLY VALVE;SS316 DISC & STEM; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | DISC | VALVE | VALVE TYPE | BUTTERFLY AND STEM | VALVE SIZE |  | DISC MATERIAL | 316 STAINLESS STEEL | SIZE | 50 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1020544 | 1020544 | 1383366 | AU_QM_000223728 |  | ERSA | M | 5955 | 1383366GZPCLNT100 | EA | 3000012 | BALL;TOY,4333039295 | BALL;TOY,4333039295 | BALL;MNFR:TOYOTA,PTNO:4333039295 |  | BALL;TOY,4333039295BALL;BEL,4333039295 | TOYOTA | 4333039295 | [14 empty] | TOYOTA | 43330-39295 | BEL | 4333039295 | [14 empty] | https://autoparts.toyota.com/products/product/joint-assy-lwr-ball-4333039295 | [9 empty] | Enriched | 25174203 Ball joint |  |  | JOINT | BALL | TYPE | LOWER | SIZE |  | MOVEMENT DISTANCE |  | ANGLE |  | BORE DIAMETER |  | END CONNECTION |  | HOUSING MATERIAL |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1029221 | 1029221 | 1391902 | AU_QM_000233893 |  | ERSA | M | 5955 | 1391902GZPCLNT100 | EA | 3000012 | BALL;TOY,9036008009 | BALL;TOY,9036008009 | BALL;MNFR:TOYOTA,PTNO:9036008009 |  | BALL;TOY,9036008009BALL;BEL,9036008009 | TOYOTA | 9036008009 | [14 empty] | TOYOTA | 90360-08009 | BEL | 9036008009 | [14 empty] | https://autoparts.toyota.com/products/product/ball-9036008009 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1112251 | 1112251 | 1401032 | AU_QM_000245511 |  | ERSA | M | 5915 | 1401032GZPCLNT100 | EA |  | BOOT,DST & MOSTRE SEAL;128625 FM-7 | BOOT,DST & MOSTRE SEAL;128625 FM-7 | BOOT,DST & MOSTRE SEAL;MNFR: ,PTNO:128625 FM-7 |  | BOOT,DST & MOSTRE SEAL;128625 FM-7BOOT,DST & MOSTRE SEAL;128625 FM-7 | [15 empty] | 128625 FM-7 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1101758 | 1101758 | 1458255 | AU_QM_001518300 |  | ERSA | M | 3000 | 1458255GZPCLNT100 | EA | 3000000 | BOOT,DST & MOSTRE SEAL;FOR BRAKE ACTUATO | BOOT,DST & MOSTRE SEAL;FOR BRAKE ACTUATO | BOOT,DUST AND MOISTURE SEAL;ADDITIONAL FEATURES EN:FOR BRAKE ACTUATOR,MNFR:ATLAS COPCO,PTNO:5533454500 |  | BOOT,DUST SEAL: FOR BRAKE ACTUATOR | ATLAS COPCO | 5533454500 | [14 empty] | ATLAS COPCO | 5533454500 | [16 empty] | https://www.aircompressorstrade.com/ultimate-genuine-atlas-copco-spare-part-catalog-section-36/ | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR BRAKE ACTUATOR |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1210750 | 1210750 |  |  |  | ERSA | M | 5920 | 134765MRM | PAA |  | BOOT,DUST SEAL:DUST BOOT SET BSLS40-2100 | BOOT,DUST SEAL:DUST BOOT SET BSLS40-2100 | BOOT,DUST SEAL:DUST BOOT SET BSLS40-2100; | [17 empty] | BSLS40-2100 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE | SET | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1204563 | 1204563 |  |  |  | ERSA | M | 5955 | 998534MRM | EA |  | BOOT,DUST SEAL:TH63 DRIVESHAFT CASE DUST | BOOT,DUST SEAL:TH63 DRIVESHAFT CASE DUST | BOOT,DUST SEAL:TH63 DRIVESHAFT CASE DUST EXCLUDERAXLE/BRAKESCATERPILLAR TH63 TELEHANDLER | [36 empty] | URL NOT FOUND |  |  | TELEHANDLER | CATERPILLAR | TH63 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE | DRIVESHAFT CASE DUST EXCLUDERAXLE/BRAKES | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1025405 | 1025405 | 1385147 | AU_QM_000225866 |  | ERSA | M | 2700 | 1385147GZPCLNT100 | EA | 3000001 | CAN;EPI,3176001786 | CAN;EPI,3176001786 | CAN;MNFR:EPIROC,PTNO:3176001786 |  | CAN;EPI,3176001786CAN;EPI,3176001786 | EPIROC | 3176001786 | [12 empty] | EPIROC | 3176001786 | [18 empty] | https://www.aircompressorstrade.com/9106237133-atlas-copco-epiroc-can-cable-parts-catalog-by-cpmc/ | [9 empty] | Enriched | 24112200 Cans and pails |  |  | CAN | NO MODIFIER | TYPE | OPEN CABLE | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | CAP TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1025315 | 1025315 | 1387462 | AU_QM_000228598 |  | ERSA | M | 2700 | 1387462GZPCLNT100 | EA | 3000001 | CAN;EPI,ITEM NUMBER 3176999775 | CAN;EPI,ITEM NUMBER 3176999775 | CAN;MNFR:EPIROC,PTNO:ITEM NUMBER 3176999775 |  | CAN;EPI,ITEM NUMBER 3176999775CAN;EPI,ITEM NUMBER 3176999775 | EPIROC | ITEM NUMBER 3176999775 | [12 empty] | EPIROC | ITEM NUMBER 3176999775 | [18 empty] | https://www.aircompressorstrade.com/9106237133-atlas-copco-epiroc-can-cable-parts-catalog-by-cpmc/ | [9 empty] | Enriched | 24112200 Cans and pails |  |  | CAN | NO MODIFIER | TYPE | OPEN CABLE | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | CAP TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1024077 | 1024077 | 1393889 | AU_QM_000237408 |  | ERSA | M | 5800 | 1393889GZPCLNT100 | EA | 3000003 | CONDUIT;CAT,6V-5818 | CONDUIT;CAT,6V-5818 | CONDUIT;MNFR:CATERPILLAR,PTNO:6V-5818 |  | OEM-E-LISTCONDUIT;CAT,6V-5818 | CATERPILLAR | 6V-5818 | [14 empty] | CATERPILLAR | 6V-5818 | [16 empty] | https://parts.cat.com/en/catcorp/6V-5818 | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways |  |  | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1024834 | 1024834 | 1374415 | AU_QM_000204387 |  | ERSA | M | 5800 | 1374415GZPCLNT100 | EA | 3000006 | CONDUIT;KOM,08017-80501 | CONDUIT;KOM,08017-80501 | CONDUIT;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:08017-80501 |  | CONDUIT;KOM,08017-80501CONDUIT;KOM,08017-80501 | KOMATSU MINING SYSTEMS INC. | 08017-80501 | [12 empty] | KOMATSU MINING SYSTEMS INC | 08017-80501 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways |  |  | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1141952 | 1141952 | 1417258 | AU_QM_000263096 |  | ERSA | M | 5915 | 1417258GZPCLNT100 | EA |  | DISC,GRNDG;SANDING,12000 R/MIN,80,22 MM | DISC,GRNDG;SANDING,12000 R/MIN,80,22 MM | DISC,GRINDING;TYPE:SANDING,SPEED:12000 R/MIN,SIZE:DIA 125 MM,GRIT:80,ARBOR HOLE SIZE:22 MM,ABRASIVE MATERIAL:FIBRE,USAGE DESIGN: MIL |  | DISC,GRNDG;SANDING,12000 R/MIN,80,22 MMDISC,GRNDG;SANDING,12000R/MIN,DIA 125MM | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels |  |  | DISC | GRINDING | TYPE | SANDING | SPEED | 12000 RPM | SIZE | 125 MM DIA | GRIT | 80 | ARBOR HOLE SIZE | 22 MM | ABRASIVE MATERIAL | FIBRE | USAGE DESIGN | MIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1143308 | 1143308 | 1404676 | AU_QM_000249484 |  | ERSA | M | 5915 | 1404676GZPCLNT100 | EA |  | DISC,SANDG;DIA 125 X THK 22 MM,36 | DISC,SANDG;DIA 125 X THK 22 MM,36 | DISC,SANDING;SIZE:DIA 125 X THK 22 MM,GRIT:36,ADDITIONAL FEATURES EN:REFERENCE NO: S1 E AF799,MNFR:01)PARTS,PTNO:01)75485211 |  | DISC,SANDG;DIA 125 X THK 22 MM,36DISC,SANDG;DIA 125 X THK 22MM,36 | [16 empty] | ACTIROX | 75485211 | [16 empty] | https://www.primesupplies.com.au/product/disc-sanding-fibre-125mm-36grit-actirox/ | [9 empty] | Enriched | 27112742 Disc sander | PARTS, REFERENCE NO: S1 E AF799 | SPEED: 12200 RPM | DISC | SANDING | TYPE | SLOTTED | SIZE | 125 DIAX22 THK MM | SHAPE | GEOMETRICALLY | GRIT | 36 | BACKING MATERIAL | RESIGN FIBRE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1208222 | 1208222 |  |  |  | ERSA | M | 3000 | 340451MRM | EA |  | DISC,VALVE:FMC DISCHARGE/SUCTION VALVE;F | DISC,VALVE:FMC DISCHARGE/SUCTION VALVE;F | DISC,VALVE:FMC DISCHARGE/SUCTION VALVE;FMC L0618D TRIPLEX PUMP | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | L0618D TRIPLEX PUMP |  | DISC | VALVE | VALVE TYPE | FMC DISCHARGE/SUCTION | VALVE SIZE |  | DISC MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1140472 | 1140472 | 1436878 | AU_QM_000922161 |  | ERSA | M | 2200 | 1436878GZPCLNT100 | EA |  | DN25 PRESSURE REDUCING VALVE;JORDAN 4350 | DN25 PRESSURE REDUCING VALVE;JORDAN 4350 | DISC,VALVE: DN25 PRESSURE REDUCING VALVE;JORDAN 4350 HP-25-BZ-W CV9.5;JORCOTE/SST;ANSI CLASS IV SHUT OFF; GF MINE WATER SERVICE |  | DISC,VALVE: DN25 PRESSURE REDUCING VALVE;JORDAN 4350 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | JORDAN 4350 HP-25-BZ-W CV9.5, JORCOTE/SST, ANSI CLASS IV SHUT OFF, GF MINE WATER SERVICE |  | DISC | VALVE | VALVE TYPE | PRESSURE REDUCING | VALVE SIZE |  | DISC MATERIAL |  | SIZE | DN25 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1098986 | 1098986 | 1388160 | AU_QM_000229421 |  | ERSA | M | 5100 | 1388160GZPCLNT100 | EA | 3000011 | DOOR;TER,16P0552 | DOOR;TER,16P0552 | DOOR;MNFR:TEREX,PTNO:16P0552 |  | DOOR;TER,16P0552DOOR;TER,16P0552 | TEREX | 16P0552 | [12 empty] | TEREX | 16P0552 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1098987 | 1098987 | 1388141 | AU_QM_000229400 |  | ERSA | M | 5100 | 1388141GZPCLNT100 | EA | 3000011 | DOOR;TER,16P0554 | DOOR;TER,16P0554 | DOOR;MNFR:TEREX,PTNO:16P0554 |  | DOOR;TER,16P0554DOOR;TER,16P0554 | TEREX | 16P0554 | [12 empty] | TEREX | 16P0554 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1099142 | 1099142 | 1382220 | AU_QM_000222295 |  | ERSA | M | 5100 | 1382220GZPCLNT100 | EA | 3000012 | DOOR;TOY,553502307071 | DOOR;TOY,553502307071 | DOOR;MNFR:TOYOTA,PTNO:553502307071 |  | DOOR;TOY,553502307071DOOR;TOY,553502307071 | TOYOTA | 553502307071 | [12 empty] | TOYOTA | 553502307071 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1099005 | 1099005 | 1387796 | AU_QM_000228989 |  | ERSA | M | 5100 | 1387796GZPCLNT100 | EA | 3000012 | DOOR;TOY,5550160190B0 | DOOR;TOY,5550160190B0 | DOOR;MNFR:TOYOTA,PTNO:5550160190B0 |  | DOOR;TOY,5550160190B0DOOR;BEL,5550160190B0 | TOYOTA | 5550160190B0 | [14 empty] | TOYOTA | 5550160190B0 | BEL | 5550160190B0 | [14 empty] | https://burjauto.com/product/5550160190b0-toyota/8744555 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | GLOVE COMPARTMENT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1098996 | 1098996 | 1387968 | AU_QM_000229190 |  | ERSA | M | 5100 | 1387968GZPCLNT100 | EA | 3000012 | DOOR;TOY,5555060240B0 | DOOR;TOY,5555060240B0 | DOOR;MNFR:TOYOTA,PTNO:5555060240B0 |  | DOOR;TOY,5555060240B0DOOR;BEL,5555060240B0 | TOYOTA | 5555060240B0 | [14 empty] | TOYOTA | 55550-60240-B0 | BEL | 5555060240B0 | [14 empty] | https://autoparts.toyota.com/products/product/door-assy-glove-compartment-5555060240b0 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | GLOVE COMPARTMENT | SIZE |  | MATERIAL |  | COLOUR | BLUISH GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1099135 | 1099135 | 1382379 | AU_QM_000222482 |  | ERSA | M | 5100 | 1382379GZPCLNT100 | EA | 3000012 | DOOR;TOY,5555060250B0 | DOOR;TOY,5555060250B0 | DOOR;MNFR:TOYOTA,PTNO:5555060250B0 |  | DOOR;TOY,5555060250B0DOOR;BEL,5555060250B0 | TOYOTA | 5555060250B0 | [14 empty] | TOYOTA | 55550-60250-B0 | BEL | 5555060250B0 | [14 empty] | https://autoparts.toyota.com/products/product/door-assy-glove-compartment-5555060250b0 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | GLOVE COMPARTMENT | SIZE |  | MATERIAL |  | COLOUR | BLUISH GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1098882 | 1098882 | 1391392 | AU_QM_000233238 |  | ERSA | M | 5100 | 1391392GZPCLNT100 | EA | 3000012 | DOOR;TOY,6700660351 | DOOR;TOY,6700660351 | DOOR;MNFR:TOYOTA,PTNO:6700660351 |  | DOOR;TOY,6700660351DOOR;BEL,6700660351 | TOYOTA | 6700660351 | [14 empty] | TOYOTA | 6700660351 | BEL | 6700660351 | [14 empty] | https://partsouq.com/en/search/all?q=6700660351 | [9 empty] | Enriched | 39121100 Distribution and control centers and accessories |  |  | PANEL | NO MODIFIER | TYPE | BACK DOOR LEFT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1030520 | 1030520 | 1386605 | AU_QM_000227590 |  | ERSA | M | 5100 | 1386605GZPCLNT100 | EA | 3000012 | DOOR;TOY,676100K220P1 | DOOR;TOY,676100K220P1 | DOOR;MNFR:TOYOTA,PTNO:676100K220P1 |  | DOOR;TOY,676100K220P1DOOR;BEL,676100K220P1 | TOYOTA | 676100K220P1 | [14 empty] | TOYOTA | 676100K220P1 | BEL | 676100K220P1 | [14 empty] | https://burjauto.com/product/676100k220p1-toyota/271375023 | [9 empty] | Enriched | 39121100 Distribution and control centers and accessories |  |  | PANEL | NO MODIFIER | TYPE | FRONT DOOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1099049 | 1099049 | 1386495 | AU_QM_000227457 |  | ERSA | M | 5100 | 1386495GZPCLNT100 | EA | 3000012 | DOOR;TOY,6777720070B1 | DOOR;TOY,6777720070B1 | DOOR;MNFR:TOYOTA,PTNO:6777720070B1 |  | DOOR;TOY,6777720070B1DOOR;BEL,6777720070B1 | TOYOTA | 6777720070B1 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1099663 | 1099663 | 1373956 | AU_QM_000202824 |  | ERSA | M | 5100 | 1373956GZPCLNT100 | EA | 3000012 | DOOR;TOY,678610K013 | DOOR;TOY,678610K013 | DOOR;MNFR:TOYOTA,PTNO:678610K013 |  | DOOR;TOY,678610K013DOOR;BEL,678610K013 | TOYOTA | 678610K013 | [14 empty] | TOYOTA | 678610K013 | BEL | 678610K013 | [14 empty] | https://www.toyotapartsdeal.com/oem/toyota~weatherstrip~fr~doo~67861-0k013.html | [9 empty] | Enriched | 30141501 Weather stripping |  |  | STRIP | WEATHER | TYPE | FRONT DOOR | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1099662 | 1099662 | 1373957 | AU_QM_000202825 |  | ERSA | M | 5100 | 1373957GZPCLNT100 | EA | 3000012 | DOOR;TOY,678620K013 | DOOR;TOY,678620K013 | DOOR;MNFR:TOYOTA,PTNO:678620K013 |  | DOOR;TOY,678620K013DOOR;BEL,678620K013 | TOYOTA | 678620K013 | [14 empty] | TOYOTA | 678620K013 | BEL | 678620K013 | [14 empty] | https://www.toyotapartsdeal.com/oem/toyota~weatherstrip~fr~doo~67862-0k013.html?vin=&make=Toyota&model=Celica&year=2001&submodel=&extra1=&extra2=&filter=() | [9 empty] | Enriched | 30141501 Weather stripping |  |  | STRIP | WEATHER | TYPE | FRONT DOOR | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098805 | 1098805 | 1394455 | AU_QM_000238043 |  | ERSA | M | 5100 | 1394455GZPCLNT100 | EA | 3000012 | DOOR;TOY,6814160042 | DOOR;TOY,6814160042 | DOOR;MNFR:TOYOTA,PTNO:6814160042 |  | OEM-E-LISTDOOR;TOY,6814160042 | TOYOTA | 6814160042 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098804 | 1098804 | 1394456 | AU_QM_000238044 |  | ERSA | M | 5100 | 1394456GZPCLNT100 | EA | 3000012 | DOOR;TOY,6814260043 | DOOR;TOY,6814260043 | DOOR;MNFR:TOYOTA,PTNO:6814260043 |  | OEM-E-LISTDOOR;TOY,6814260043 | TOYOTA | 6814260043 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098915 | 1098915 | 1390461 | AU_QM_000232110 |  | ERSA | M | 5100 | 1390461GZPCLNT100 | EA | 3000012 | DOOR;TOY,686100K010 | DOOR;TOY,686100K010 | DOOR;MNFR:TOYOTA,PTNO:686100K010 |  | DOOR;TOY,686100K010DOOR;BEL,686100K010 | TOYOTA | 686100K010 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098803 | 1098803 | 1394457 | AU_QM_000238045 |  | ERSA | M | 5100 | 1394457GZPCLNT100 | EA | 3000012 | DOOR;TOY,686100K011 | DOOR;TOY,686100K011 | DOOR;MNFR:TOYOTA,PTNO:686100K011 |  | OEM-E-LISTDOOR;TOY,686100K011 | TOYOTA | 686100K011 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1034416 | 1034416 | 1391223 | AU_QM_000233028 |  | ERSA | M | 5100 | 1391223GZPCLNT100 | EA | 3000012 | DOOR;TOY,68610-0K012 | DOOR;TOY,68610-0K012 | DOOR;MNFR:TOYOTA,PTNO:68610-0K012 |  | DOOR;TOY,68610-0K012DOOR;BEL,68610-0K012 | TOYOTA | 68610-0K012 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098983 | 1098983 | 1388185 | AU_QM_000229453 |  | ERSA | M | 5100 | 1388185GZPCLNT100 | EA | 3000012 | DOOR;TOY,6861042020 | DOOR;TOY,6861042020 | DOOR;MNFR:TOYOTA,PTNO:6861042020 |  | DOOR;TOY,6861042020DOOR;BEL,6861042020 | TOYOTA | 6861042020 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098802 | 1098802 | 1394459 | AU_QM_000238047 |  | ERSA | M | 5100 | 1394459GZPCLNT100 | EA | 3000012 | DOOR;TOY,6861060101 | DOOR;TOY,6861060101 | DOOR;MNFR:TOYOTA,PTNO:6861060101 |  | OEM-E-LISTDOOR;TOY,6861060101 | TOYOTA | 6861060101 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098889 | 1098889 | 1391240 | AU_QM_000233053 |  | ERSA | M | 5100 | 1391240GZPCLNT100 | EA | 3000012 | DOOR;TOY,68620-0K010 | DOOR;TOY,68620-0K010 | DOOR;MNFR:TOYOTA,PTNO:68620-0K010 |  | DOOR;TOY,68620-0K010DOOR;BEL,68620-0K010 | TOYOTA | 68620-0K010 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098982 | 1098982 | 1388190 | AU_QM_000229458 |  | ERSA | M | 5100 | 1388190GZPCLNT100 | EA | 3000012 | DOOR;TOY,6862042020 | DOOR;TOY,6862042020 | DOOR;MNFR:TOYOTA,PTNO:6862042020 |  | DOOR;TOY,6862042020DOOR;BEL,6862042020 | TOYOTA | 6862042020 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098801 | 1098801 | 1394461 | AU_QM_000238050 |  | ERSA | M | 5100 | 1394461GZPCLNT100 | EA | 3000012 | DOOR;TOY,6862060080 | DOOR;TOY,6862060080 | DOOR;MNFR:TOYOTA,PTNO:6862060080 |  | OEM-E-LISTDOOR;TOY,6862060080 | TOYOTA | 6862060080 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1030292 | 1030292 | 1391210 | AU_QM_000233013 |  | ERSA | M | 5100 | 1391210GZPCLNT100 | EA | 3000012 | DOOR;TOY,68630-0K011 | DOOR;TOY,68630-0K011 | DOOR;MNFR:TOYOTA,PTNO:68630-0K011 |  | DOOR;TOY,68630-0K011DOOR;BEL,68630-0K011 | TOYOTA | 68630-0K011 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098984 | 1098984 | 1388182 | AU_QM_000229449 |  | ERSA | M | 5100 | 1388182GZPCLNT100 | EA | 3000012 | DOOR;TOY,6863042030 | DOOR;TOY,6863042030 | DOOR;MNFR:TOYOTA,PTNO:6863042030 |  | DOOR;TOY,6863042030DOOR;BEL,6863042030 | TOYOTA | 6863042030 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1077862 | 1077862 |  |  |  | ERSA | M | 5915 | 1185527GZPCLNT100 | EA | 3000012 | DOOR;TOY,68630-60040,RR STEP,CHK | DOOR;TOY,68630-60040,RR STEP,CHK | DOOR;MNFR:TOYOTA,PTNO:68630-60040,ADDITIONAL FEATURES EN:REAR STEP,CHECK |  |  | TOYOTA | 68630-60040 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098800 | 1098800 | 1394463 | AU_QM_000238052 |  | ERSA | M | 5100 | 1394463GZPCLNT100 | EA | 3000012 | DOOR;TOY,6863060091 | DOOR;TOY,6863060091 | DOOR;MNFR:TOYOTA,PTNO:6863060091 |  | OEM-E-LISTDOOR;TOY,6863060091 | TOYOTA | 6863060091 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098890 | 1098890 | 1391236 | AU_QM_000233045 |  | ERSA | M | 5100 | 1391236GZPCLNT100 | EA | 3000012 | DOOR;TOY,68640-0K010 | DOOR;TOY,68640-0K010 | DOOR;MNFR:TOYOTA,PTNO:68640-0K010 |  | DOOR;TOY,68640-0K010DOOR;BEL,68640-0K010 | TOYOTA | 68640-0K010 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | sUITABLE NM NOT FOUND | 1098985 | 1098985 | 1388179 | AU_QM_000229446 |  | ERSA | M | 5100 | 1388179GZPCLNT100 | EA | 3000012 | DOOR;TOY,6864042030 | DOOR;TOY,6864042030 | DOOR;MNFR:TOYOTA,PTNO:6864042030 |  | DOOR;TOY,6864042030DOOR;BEL,6864042030 | TOYOTA | 6864042030 | [32 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1098799 | 1098799 | 1394464 | AU_QM_000238053 |  | ERSA | M | 5100 | 1394464GZPCLNT100 | EA | 3000012 | DOOR;TOY,6876060040 | DOOR;TOY,6876060040 | DOOR;MNFR:TOYOTA,PTNO:6876060040 |  | OEM-E-LISTDOOR;TOY,6876060040 | TOYOTA | 6876060040 | [14 empty] | TOYOTA | 68760-60040 | [16 empty] | https://autoparts.toyotaofcedarpark.com/products/product/hinge-assy-rr-door-upr-lh-6876060040 | [9 empty] | Enriched | 31162403 Hinges |  |  | HINGE | NO MODIFIER | TYPE | REAR DOOR UPPER LEFT PARTS | SIZE |  | MATERIAL |  | COATING/FINISH |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1099037 | 1099037 | 1386876 | AU_QM_000227911 |  | ERSA | M | 5100 | 1386876GZPCLNT100 | EA | 3000012 | DOOR;TOY,6921089111 | DOOR;TOY,6921089111 | DOOR;MNFR:TOYOTA,PTNO:6921089111 |  | DOOR;TOY,6921089111DOOR;BEL,6921089111 | TOYOTA | 6921089111 | [14 empty] | TOYOTA | 69210-89111 | BEL | 6921089111 | [14 empty] | https://autoparts.toyotaofcedarpark.com/products/product/handle-assy-fr-door-6921089111 | [9 empty] | Enriched | 27112100 Holding and clamping tools |  |  | HANDLE | NO MODIFIER | TYPE | FRONT DOOR OUTSIDE RIGHT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098888 | 1098888 | 1391303 | AU_QM_000233129 |  | ERSA | M | 5100 | 1391303GZPCLNT100 | EA | 3000012 | DOOR;TOY,6924060010 | DOOR;TOY,6924060010 | DOOR;MNFR:TOYOTA,PTNO:6924060010 |  | DOOR;TOY,6924060010DOOR;BEL,6924060010 | TOYOTA | 6924060010 | [14 empty] | TOYOTA | 69240-60010 | BEL | 6924060010 | [14 empty] | https://autoparts.toyotaofcedarpark.com/products/product/handle-assy-rr-door-6924060010 | [9 empty] | Enriched | 27112100 Holding and clamping tools |  |  | HANDLE | NO MODIFIER | TYPE | REAR DOOR OUTSIDE LEFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098798 | 1098798 | 1394465 | AU_QM_000238054 |  | ERSA | M | 5100 | 1394465GZPCLNT100 | EA | 3000012 | DOOR;TOY,6971160020 | DOOR;TOY,6971160020 | DOOR;MNFR:TOYOTA,PTNO:6971160020 |  | OEM-E-LISTDOOR;TOY,6971160020 | TOYOTA | 6971160020 | [14 empty] | TOYOTA | 69711-60020 | [16 empty] | https://autoparts.toyotaofcedarpark.com/products/product/link-fr-door-lock-remote-control-rh-6971160020 | [9 empty] | Enriched | 31162419 Rings and links |  |  | LINK | NO MODIFIER | TYPE | FRONT DOOR LOCK REMOTE CONTROL RIGHT | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1098797 | 1098797 | 1394466 | AU_QM_000238056 |  | ERSA | M | 5100 | 1394466GZPCLNT100 | EA | 3000012 | DOOR;TOY,6971260020 | DOOR;TOY,6971260020 | DOOR;MNFR:TOYOTA,PTNO:6971260020 |  | OEM-E-LISTDOOR;TOY,6971260020 | TOYOTA | 6971260020 | [14 empty] | TOYOTA | 69712-60020 | [16 empty] | https://www.toptoyotaparts.ca/oem-parts/toyota-link-front-door-lock-r-6971260020?c=az0x | [9 empty] | Enriched | 31162419 Rings and links |  |  | LINK | NO MODIFIER | TYPE | FRONT DOOR LOCK REMOTE CONTROL LEFT | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1011999 | 1011999 |  |  |  | ERSA | M | 5915 | 1538925GZPCLNT100 | EA | 3000012 | DOOR;TOY,6812360150 | DOOR;TOY,6812360150 | DOOR;MNFR:TOYOTA,PTNO:6812360150 |  |  | TOYOTA | 6812360150 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6812360150 | [12 empty] | TOYOTA | 68123-60150 | BELL & MOIR - PARTS ORDERS ONLY | 6812360150 | [14 empty] | https://autoparts.toyota.com/products/product/glass-rr-door-quarter-window-rh-6812360150 | [9 empty] | Enriched | 30171700 Glass products |  |  | GLASS | NO MODIFIER | TYPE | REAR DOOR WINDOW QUARTER RIGHT PARTS | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1020401 | 1020401 | 1386220 | AU_QM_000227137 |  | ERSA | M | 5955 | 1386220GZPCLNT100 | EA | 3000012 | BALL;TOY,PZQ6400252 | BALL;TOY,PZQ6400252 | BALL;MNFR:TOYOTA,PTNO:PZQ6400252 |  | BALL;TOY,PZQ6400252BALL;BEL,PZQ6400252 | TOYOTA | PZQ6400252 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | PZQ6400252 | [12 empty] | TOYOTA | PZQ64-00252 | BELL & MOIR - PARTS ORDERS ONLY | PZQ6400252 | [14 empty] | https://toyotadxb.com/spare-parts/toyota/towball-50mm-chrome-pzq6400252/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | TOW | SIZE | 50 MM | MATERIAL | CHROME | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1024843 | 1024843 | 1374132 | AU_QM_000203015 |  | ERSA | M | 5800 | 1374132GZPCLNT100 | EA | 1068410 | CONDUIT;MTC,MT5112 3078 18C | CONDUIT;MTC,MT5112 3078 18C | CONDUIT;MNFR:ATLAS COPCO,PTNO:MT5112 3078 18C |  | CONDUIT;MTC,MT5112 3078 18CCONDUIT;ATL,MT5112 3078 18C | MAINTENANCE TECHNIQUE PTY LTD | MT5112 3078 18C | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT5112 3078 18C | 1068108 @@ EPIROC AUSTRALIA PTY LTD | MT5112 3078 18C | [8 empty] | ATLAS COPCO | MT5112 3078 18C |  |  | MAINTENANCE TECHNIQUE PTY LTD | MT5112 3078 18C | EPIROC AUSTRALIA PTY LTD | MT5112 3078 18C | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways |  |  | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1031343 | 1031343 | 1446323 | AU_QM_001036565 |  | ERSA | M | 5800 | 1446323GZPCLNT100 | EA | 3000012 | CONDUIT;TOY,BPC10-50M | CONDUIT;TOY,BPC10-50M | CONDUIT;MNFR:TOYOTA,PTNO:BPC10-50M |  | CONDUIT,NONMETAL,FLEX:CONDUIT 10MM; | TOYOTA | BPC10-50M | 1071809 @@ ASHDOWN ENTERPRISES | 70-91010 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | BPC1050M | [8 empty] | TOYOTA | BPC10-50M |  |  | ASHDOWN ENTERPRISES | 70-91010 | BELL & MOIR - PARTS ORDERS ONLY | BPC1050M | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways |  |  | CONDUIT | NO MODIFIER | TYPE | NON METAL, FLEXIBLE | TRADE SIZE | 10 MM | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1035094 | 1035094 | 1454572 | AU_QM_001234780 |  | ERSA | M | 5800 | 1454572GZPCLNT100 | EA | 3000012 | CONDUIT;TOY,ACX1195 | CONDUIT;TOY,ACX1195 | CONDUIT;MNFR:TOYOTA,PTNO:ACX1195 |  | CONDUIT,NONMETAL,FLEX:20MM;HEAVY DUTY HARNESS FLEX;BLACK | TOYOTA | ACX1195 | 1071809 @@ ASHDOWN ENTERPRISES | ACX1195 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | ACX1195 | [8 empty] | TOYOTA |  | OEX | ACX1195 | ASHDOWN ENTERPRISES | ACX1195 | BELL & MOIR - PARTS ORDERS ONLY | ACX1195 | [12 empty] | https://www.sparesbox.com.au/part/oex-convoluted-tubing-extra-hd-14-5mm-x-30m-acx1195 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: BLACK |  | TUBING | NO MODIFIER | TYPE | NONMETAL,FLEXIBLE, HEAVY DUTY HARNESS | INSIDE DIAMETER | 14.5 MM | OUTSIDE DIAMETER | 20 MM | LENGTH | 30 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1035621 | 1035621 |  |  |  | ERSA | M | 1600 | 1539504GZPCLNT100 | ROL |  | CONDUIT;FLEX,25MM,SHEATHED,CLI9025CMS20 | CONDUIT;FLEX,25MM,SHEATHED,CLI9025CMS20 | CONDUIT;ADDITIONAL FEATURES:FLEX,25MM,SHEATHED,CLI9025CMS20 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CLI9025CMS20 | 1068740 @@ METAL MANUFACTURES PTY LTD | CLI9025CMS20 | [10 empty] | CLIPSAL | CLI9025CMS20 | METAL MANUFACTURES PTY LTD | CLI9025CMS20 | METAL MANUFACTURES PTY LTD | CLI9025CMS20 | [12 empty] | https://dw.mmem.com.au/cli9025cms20 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | SHEATHED | COLOUR: GREY, TEMPERATURE: -15 TO 65 DEG C | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, CORRUGATED MEDIUM DUTY | TRADE SIZE | 18.3 IDX25 OD MM | LENGTH | 20 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1037006 | 1037006 |  |  |  | ERSA | M | 2210 | 1495417GZPCLNT100 | ROL |  | CONDUIT;CORRUGATED M/D,25,CLI9025TCM20GY | CONDUIT;CORRUGATED M/D,25,CLI9025TCM20GY | CONDUIT;ADDITIONAL FEATURES:CORRUGATED M/D,25,CLI9025TCM20GY |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 9025TCM20GY | [12 empty] | CLIPSAL | CLI9025TCM20GY | CNW (MOUNT ISA) ELECT WHOLESALER | 9025TCM20GY | [14 empty] | https://dw.mmem.com.au/cli9025tcm20gy | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways |  | COLOUR: GREY, TEMPERATURE: -15 TO 65 DEG C | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, CORRUGATED MEDIUM DUTY | TRADE SIZE | 18 IDX25 OD MM | LENGTH | 20 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1042440 | 1042440 | 1413503 | AU_QM_000259008 |  | ERSA | M | 5915 | 1413503GZPCLNT100 | EA |  | CONDUIT;25 MM,LG 25 M,LTP | CONDUIT;25 MM,LG 25 M,LTP | CONDUIT;TRADE SIZE:25 MM,LENGTH:25 M,MATERIAL:STEEL GALVANIZED, PVC BLACK,ADDITIONAL FEATURES EN:LTP,MNFR:01)CNW,PTNO:01) FLELTP25B-25M |  | CONDUIT;25 MM,LG 25 M,LTPCONDUIT;25MM,25M,LTP,FLELTP25B-25M |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1413503 | [12 empty] | CNW | FLELTP25B-25M | CNW (MOUNT ISA) ELECT WHOLESALER | 1413503 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Conduit/Flexible-Conduit/CONDUIT-LTP%2825MM%29-GALV-STL-PVC-25M-BLACK/p/FLELTP25B-25MC10 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: BLACK, RANGE: LTP | CONNECTION TYPE: PLAIN, IP RATING: IP67, SHAPE: ROUND | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE | TRADE SIZE | 25 MM | LENGTH | 25 M | MATERIAL | STEEL GALVANIZED, PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS EN IEC 61386 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1056272 | 1056272 |  |  |  | ERSA | M | 1600 | 1607022GZPCLNT100 | EA |  | CONDUIT;END CONNECTION,20 MM,STEEL | CONDUCT;,20 MM,ACERO | CONDUIT;TYPE:END CONNECTION,TRADE SIZE:20 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:THICKNESS:6 MM,ZINC PLATED | CONDUCTO;TAMAÃ‘O COMERCIAL:20 MM,MATERIAL:ACERO |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | UNIP2521 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | UNIP2521 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | FINISHING: ZINC PLATED |  | CONDUIT | NO MODIFIER | TYPE | END CONNECTION | TRADE SIZE | 20X6 THK MM | LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1057561 | 1057561 |  |  |  | ERSA | M | 4090 | 1582006GZPCLNT100 | BOX |  | DISC,GRNDG;SANDING,180 MM,FO3EO2DD1E | DISCO ESMERIL; | DISC,GRINDING;TYPE:SANDING,SIZE:180 MM,ADDITIONAL FEATURES EN:FO3EO2DD1E | DISCO ESMERILADO; |  |  |  | 1068467 @@ TOTAL TOOLS TOWNSVILLE | 1582006 | [11 empty] | FO3EO2DD1E |  |  | TOTAL TOOLS TOWNSVILLE | 1582006 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels |  |  | DISC | GRINDING | TYPE | SANDING | SPEED |  | SIZE | 180 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1057732 | 1057732 |  |  |  | ERSA | M | 2920 | 1615033GZPCLNT100 | EA |  | BOOT,DST & MOSTRE SEAL;RUBR | SELLO POLV HUMDD CUBI; | BOOT,DUST AND MOISTURE SEAL;TYPE:RUBBER,ADDITIONAL FEATURES EN:FOR 45MG WITH GAGE STAND AND SHOULDER STRAPS | SELLO POLVO Y HUMEDAD CUBIERTA; |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | U8779676 | [14 empty] | ROWE SCIENTIFIC PTY LTD | U8779676 | [14 empty] | https://www.scanaerotech.com/shop/45mg-rpc-protective-rubber-3853p.html?CookieConsentChanged=1 | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR 45MG C/W GAGE STAND AND SHOULDER STRAPS |  | BOOT | DUST AND MOISTURE SEAL | TYPE | PROTECTIVE | SIZE |  | COLOUR |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1060687 | 1060687 |  |  |  | ERSA | M | 1600 | 1609812GZPCLNT100 | EA |  | CONDUIT;40 MM,LG 4 M,PVC,HD RIGID,ORNG | CONDUCT;40 MM,LG ,PVC | CONDUIT;TRADE SIZE:40 MM,LENGTH:4 M,MATERIAL:PVC,ADDITIONAL FEATURES EN:HD RIGID,ORANGE | CONDUCTO;TAMAÃ‘O COMERCIAL:40 MM,MATERIAL:PVC |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CDT9040HD | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CDT9040HD | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-and-Fittings/Rigid-Conduit/HD-Conduit/HD-CONDUIT-PVC-RIGID-40MM-ORANGE-4MTR/p/CDT9040HDC01 | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways | COLOUR: ORANGE | WEIGHT: 2.22 KG | CONDUIT | NO MODIFIER | TYPE | HEAVY DUTY RIGID | TRADE SIZE | 40 MM | LENGTH | 4 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1345, AS/NZS 2053, AS/ACIF S008, AS/NZS 3000 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1065854 | 1065854 | 1465102 | AU_QM_006818005 |  | ERSA | M | 2200 | 1465102GZPCLNT100 | EA |  | ASSEMBLED WITH VALVE | ASSEMBLED WITH VALVE | DISC,VALVE: ASSEMBLED WITH VALVE |  | DISC,VALVE: ASSEMBLED WITH VALVE |  |  | 1068919 @@ GILBARCO AUSTRALIA PTY LTD | 71898 | [14 empty] | GILBARCO AUSTRALIA PTY LTD | 71898 | [14 empty] | http://www.pumpsandinstrumentations.com/index.php/brands/ARO/7?limit=30&sort=price.z2a&price=50*150&manufacturers=1 | [9 empty] | Cleansed | 40141616 Valve parts or accessories | C/W ASSEMBLED |  | DISC | VALVE | VALVE TYPE |  | VALVE SIZE |  | DISC MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1068214 | 1068214 | 1441306 | AU_QM_000986960 |  | ERSA | M | 2200 | 1441306GZPCLNT100 | EA |  | 50MM SS329 DISC _ STEM;TEFLON COATED | 50MM SS329 DISC _ STEM;TEFLON COATED | DISC,VALVE: 50MM SS329 DISC AND STEM;TEFLON COATED DISC;KEYSTONE BUTTERFLY VALVE; TANK HOUSE CELL UPGRADE |  | DISC,VALVE: 50MM SS329 DISC & STEM;TEFLON COATED |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1441306 | [14 empty] | KEYFLO PACIFIC PTY LTD | 1441306 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FINISH: TEFLON COATED, TANK HOUSE CELL UPGRADE |  | DISC | VALVE | VALVE TYPE | KEYSTONE BUTTERFLY AND STEM | VALVE SIZE |  | DISC MATERIAL | 329 STAINLESS STEEL | SIZE | 50 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071282 | 1071282 |  |  |  | ERSA | M | 5915 | 1514790GZPCLNT100 | EA | 3000012 | DOOR;TOY,6904060142 | DOOR;TOY,6904060142 | DOOR;MNFR:TOYOTA,PTNO:6904060142 |  |  | TOYOTA | 6904060142 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6904060142 | [12 empty] | TOYOTA | 6904060142 | BELL & MOIR - PARTS ORDERS ONLY | 6904060142 | [14 empty] | https://partsouq.com/en/search/all?q=6904060142 | [9 empty] | Enriched | 46171500 Locks and security hardware and accessories |  |  | LOCK | NO MODIFIER | TYPE | FRONT DOOR LEFT | LOCKING MECHANISM |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071283 | 1071283 |  |  |  | ERSA | M | 5915 | 1514789GZPCLNT100 | EA | 3000012 | DOOR;TOY,690306230 | DOOR;TOY,690306230 | DOOR;MNFR:TOYOTA,PTNO:690306230 |  |  | TOYOTA | 690306230 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 690306230 | [10 empty] | TOYOTA | 690306230 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 690306230 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071284 | 1071284 |  |  |  | ERSA | M | 5915 | 1514788GZPCLNT100 | EA | 3000012 | DOOR;TOY,6980460020 | DOOR;TOY,6980460020 | DOOR;MNFR:TOYOTA,PTNO:6980460020 |  |  | TOYOTA | 6980460020 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6980460020 | [10 empty] | TOYOTA | 6980460020 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 6980460020 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071285 | 1071285 |  |  |  | ERSA | M | 5915 | 1514787GZPCLNT100 | EA | 3000012 | DOOR;TOY,6980360020 | DOOR;TOY,6980360020 | DOOR;MNFR:TOYOTA,PTNO:6980360020 |  |  | TOYOTA | 6980360020 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6980360020 | [10 empty] | TOYOTA | 6980360020 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 6980360020 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071286 | 1071286 |  |  |  | ERSA | M | 5915 | 1514786GZPCLNT100 | EA | 3000012 | DOOR;TOY,6980260100 | DOOR;TOY,6980260100 | DOOR;MNFR:TOYOTA,PTNO:6980260100 |  |  | TOYOTA | 6980260100 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6980260100 | [10 empty] | TOYOTA | 6980260100 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 6980260100 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 | SUITABLE NM NOT FOUND | 1071287 | 1071287 |  |  |  | ERSA | M | 5915 | 1514785GZPCLNT100 | EA | 3000012 | DOOR;TOY,698160100 | DOOR;TOY,698160100 | DOOR;MNFR:TOYOTA,PTNO:698160100 |  |  | TOYOTA | 698160100 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6980160100 | [10 empty] | TOYOTA | 698160100 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 6980160100 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1103138 | 1103138 |  |  |  | ERSA | M | 1600 | 1571219GZPCLNT100 | EA |  | CONDUIT;SPLT,CONVOLUTED,TUBNG,7MM | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:SPLIT,CONVOLUTED,TUBING,7MM | CONDUCTO; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX1101 | [12 empty] | OEX | ACX1101 | ASHDOWN INGRAM | [15 empty] | https://onestoplubeshop.com.au/product/oex-acx1100-corrugated-split-sleeve-tubing-id-7mm-x-10m-length-roll-black-acx1100/ | [9 empty] | Enriched | 40180000 Tubes tubing and tube fittings | CONDUIT |  | TUBING | NO MODIFIER | TYPE | SPLIT CONVOLUTED | INSIDE DIAMETER | 7 MM | OUTSIDE DIAMETER | 10.4 MM | LENGTH | 30 M | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1147069 | 1147069 |  |  |  | ERSA | M | 4005 | 1530051GZPCLNT100 | EA |  | DISC,SANDG;100X16MM 24GRI,FIBRE,03041552 | DISC,SANDG;100X16MM 24GRI,FIBRE,03041552 | DISC,SANDG;ADDITIONAL FEATURES:100X16MM 24GRI,FIBRE,03041552 |  |  |  |  | 1069714 @@ BLACKWOODS | 3041552 | 1068652 @@ J BLACKWOOD & SONS | 3041552 | [10 empty] | NORTON | 63642531831 | [12 empty] | BLACKWOODS | 03041552 | J BLACKWOOD & SONS | 3041552 | https://www.blackwoods.com.au/abrasives/coated-abrasives/fibre-discs/disc-fibre-norzon-f827-100x16mm-24grit/p/03041552 | [9 empty] | Enriched | 27112742 Disc sander | ARBOUR HOLE SIZE: 16 MM | ABRASIVE MATERIAL: ZIRCONIA, COLOUR: BLUE | DISC | SANDING | TYPE |  | SIZE | 100 DIAX0.8 THK MM | SHAPE |  | GRIT | 24 | BACKING MATERIAL | FIBRE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1147074 | 1147074 |  |  |  | ERSA | M | 4005 | 1530044GZPCLNT100 | EA |  | DISC,SANDG;178X22 24G,RESIN FIB,00053958 | DISC,SANDG;178X22 24G,RESIN FIB,00053958 | DISC,SANDG;ADDITIONAL FEATURES:178X22 24G,RESIN FIB,00053958 |  |  |  |  | 1069714 @@ BLACKWOODS | 53958 | 1068652 @@ J BLACKWOOD & SONS | 53958 | [10 empty] | NORTON | 66261061165 | [12 empty] | BLACKWOODS | 00053958 | J BLACKWOOD & SONS | 53958 | https://www.blackwoods.com.au/abrasives/coated-abrasives/fibre-discs/disc-resin-fibre-std-zirconia-178x22-24g/p/00053958 | [9 empty] | Enriched | 27112742 Disc sander | ARBOUR HOLE SIZE: 22 MM | ABRASIVE MATERIAL: ZIRCONIA, COLOUR: BLUE | DISC | SANDING | TYPE |  | SIZE | 178 DIAX0.8 THK MM | SHAPE |  | GRIT | 24 | BACKING MATERIAL | RESIN FIBRE | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1150353 | 1150353 |  |  |  | ERSA | M | 2210 | 1480676GZPCLNT100 | EA |  | CONDUIT,FLELTP16B-25M | CONDUIT,FLELTP16B-25M | CONDUIT,FLELTP16B-25M |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1480676 | [11 empty] | FLELTP16B-25M |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1480676 | [14 empty] | https://tlauk.net/cables-cable-management/conduit/ltp16b-25m | [9 empty] | Enriched | 39131700 Wire Raceways Conduit and Busways |  | TEMPERATURE: -20 TO 105 DEG C, IP RATING: IP66,1P67,IP68,IP69, PRESUURE: 5 BAR | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE | TRADE SIZE | 12.6 IDX17.8 OD MM | LENGTH | 25 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1171844 | 1171844 |  |  |  | ERSA | M | 5620 | 1351370GZPCLNT100 | EA |  | BOOT,DST & MOSTRE SEAL;ROD, CYLINDER, EN | BOOT,DST & MOSTRE SEAL;ROD, CYLINDER, EN | BOOT,DUST AND MOISTURE SEAL;ADDITIONAL FEATURES EN:ROD, CYLINDER, ENTERPRISE 20L COLLAR DOORS |  |  |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | 003995/RB | [14 empty] | BOSCH REXROTH PTY LTD | 003995/RB | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | ROD, CYLINDER, ENTERPRISE 20L COLLAR DOORS |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1180512 | 1180512 |  |  |  | ERSA | M | 1600 | 1522836GZPCLNT100 | EA |  | CONDUIT;DCT,MINI,50MMX25MM,AUSCD5025DWH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:DUCT,MINI,50MMX25MM,AUSCD5025DWH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CD5025DWH | [12 empty] | CNW | AUSCD5025DWH | CNW (MOUNT ISA) ELECT WHOLESALER | CD5025DWH | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-50mm-x-25mm-x-4M-SEGREGATED-WH/p/AUSCD5025DWHD22 | [9 empty] | Enriched | 40141900 Ducts | CONDUIT | COLOUR: WHITE, WEIGHT: 1.9 KG | DUCT | NO MODIFIER | TYPE | MINI | SIZE | 4 LG MX50 WDX25 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1180513 | 1180513 |  |  |  | ERSA | M | 1600 | 1522835GZPCLNT100 | EA |  | CONDUIT;WHITE MOUNTING BLOC,AUSAUSIBOXWH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:WHITE MOUNTING BLOC,AUSAUSIBOXWH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AUSIBOXWH | [11 empty] | AUSAUSIBOXWH |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | AUSIBOXWH | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | COLOUR: WHITE, MOUNTING BLOC, CONDUIT |  | CONDUIT | NO MODIFIER | TYPE |  | TRADE SIZE |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1180518 | 1180518 |  |  |  | ERSA | M | 1600 | 1522830GZPCLNT100 | EA |  | CONDUIT;DCT,MINI,25MMX16MMX,AUSCD2516WH | CONDUCT; | CONDUIT;ADDITIONAL FEATURES EN:DUCT,MINI,25MMX16MMX,AUSCD2516WH | CONDUCTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CD2516WH | [12 empty] | CNW | AUSCD2516WH | CNW (MOUNT ISA) ELECT WHOLESALER | CD2516WH | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-Duct/PVC-Duct-and-Accessories/DUCT-MINI-25mm-x-16mm-x-4MTR-WHITE/p/AUSCD2516WHD22 | [9 empty] | Enriched | 40141900 Ducts | CONDUIT | COLOUR: WHITE, WEIGHT: 1.2 KG | DUCT | NO MODIFIER | TYPE | MINI | SIZE | 4 LGX25 WDX16 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1181280 | 1181280 |  |  |  | ERSA | M | 1500 | 1567891GZPCLNT100 | EA |  | DOOR;VNT,PRT,MARK 8:104-6-1279 | PUERTA; | DOOR;TYPE:VENT,SIZE:TBC,ADDITIONAL FEATURES EN:PART,MARK 6:104-6-1279 | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | MARK 8:104-6-1279 | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 1567891 | [9 empty] | MARK 6:104-6-1279 |  |  | ELLIOTT TIMBER SALES PTY LTD | MARK 8:104-6-1279 | WULGURU STEEL FABRICATORS P/L | 1567891 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | PART |  | DOOR | NO MODIFIER | TYPE | VENT TBC | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1181281 | 1181281 |  |  |  | ERSA | M | 1500 | 1567890GZPCLNT100 | EA |  | DOOR;VNT,PRT,MARK 6:104-6-1279 | PUERTA; | DOOR;TYPE:VENT,SIZE:TBC,ADDITIONAL FEATURES EN:PART,MARK 6:104-6-1279 | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | MARK 6:104-6-1279 | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 1567890 | [9 empty] | MARK 6:104-6-1279 |  |  | ELLIOTT TIMBER SALES PTY LTD | MARK 6:104-6-1279 | WULGURU STEEL FABRICATORS P/L | 1567890 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | PART |  | DOOR | NO MODIFIER | TYPE | VENT TBC | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1181282 | 1181282 |  |  |  | ERSA | M | 1500 | 1567889GZPCLNT100 | EA |  | DOOR;VNT,PRT,DETAIL L:104-6-1276 | PUERTA; | DOOR;TYPE:VENT,SIZE:TBC,ADDITIONAL FEATURES EN:PART,DETAIL L:104-6-1276 | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | DETAIL L:104-6-1276 | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 1567889 | [9 empty] | DETAIL L:104-6-1276 |  |  | ELLIOTT TIMBER SALES PTY LTD | DETAIL L:104-6-1276 | WULGURU STEEL FABRICATORS P/L | 1567889 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | PART |  | DOOR | NO MODIFIER | TYPE | VENT TBC | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1181283 | 1181283 |  |  |  | ERSA | M | 1500 | 1567888GZPCLNT100 | EA |  | DOOR;VNT,PRT,MARK 12:104-6-1279 | PUERTA; | DOOR;TYPE:VENT,SIZE:TBC,ADDITIONAL FEATURES EN:PART,MARK 12:104-6-1279 | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | MARK 12:104-6-1279 | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 1567888 | [9 empty] | MARK 12:104-6-1279 |  |  | ELLIOTT TIMBER SALES PTY LTD | MARK 12:104-6-1279 | WULGURU STEEL FABRICATORS P/L | 1567888 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | PART |  | DOOR | NO MODIFIER | TYPE | VENT TBC | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1183143 | 1183143 |  |  |  | ERSA | M | 1600 | 1563982GZPCLNT100 | EA | 3000422 | DISC,CUTNG;CNW,SHEGCDGP12510-25,CUTTINGA | DISCO CORT;CNW,SHEGCDGP12510-25 | DISC,CUTTING;MNFR:CNW,PTNO:SHEGCDGP12510-25,ADDITIONAL FEATURES EN:CUTTING DISC,ALPHA S/S+,125X1.0MM,25PK | DISCO CORTE;MNFR:CNW,PTNO:SHEGCDGP12510-25 |  | CNW | SHEGCDGP12510-25 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SHEGCDGP12510-25 | [10 empty] | CNW | SHEGCDGP12510-25 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | SHEGCDGP12510-25 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc | BRAND: ALPHA, PACKING QUANTITY: 25 |  | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 125X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS PLUS | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1183144 | 1183144 |  |  |  | ERSA | M | 1600 | 1563981GZPCLNT100 | EA | 3000422 | DISC,CUTNG;CNW,SHEGCDGP12510-10,ALPHA,ST | DISCO CORT;CNW,SHEGCDGP12510-10 | DISC,CUTTING;MNFR:CNW,PTNO:SHEGCDGP12510-10,ADDITIONAL FEATURES EN:ALPHA,STAINLESS PLUS,125X1.0MM,CUTTING | DISCO CORTE;MNFR:CNW,PTNO:SHEGCDGP12510-10 |  | CNW | SHEGCDGP12510-10 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SHEGCDGP12510-10 | [10 empty] | CNW | SHEGCDGP12510-10 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | SHEGCDGP12510-10 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112838 Cutting disc | BRAND: ALPHA |  | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 125X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS PLUS | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1183426 | 1183426 |  |  |  | ERSA | M | 4010 | 1563031GZPCLNT100 | BOX |  | DISC,GRNDG;180X6.5MM,MTL,XTRA,BULK,BOX | DISCO ESMERIL; | DISC,GRINDING;SIZE:180X6.5MM,ADDITIONAL FEATURES EN:METAL,XTRA,BULK,BOX | DISCO ESMERILADO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GGDM18060 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | GGDM18060 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels | BOX |  | DISC | GRINDING | TYPE | XTRA | SPEED |  | SIZE | 180X6.5 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | METAL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 26-10-2023 |  | 1183427 | 1183427 |  |  |  | ERSA | M | 4010 | 1563030GZPCLNT100 | BOX |  | DISC,CUTNG;125X1.6MM,XTRA,BULK,BOX | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:125X1.6MM,XTRA,BULK,BOX | DISCO CORTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GCDGX12516 | [12 empty] | ALPHA | GCDGX12516 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.tools.com/alpha-125-x-1-6mm-cutting-disc-xtra-bulk-gcdgx12516.html | [9 empty] | Enriched | 27112838 Cutting disc | XTRA,BULK,BOX | SIZE: 0.001 LGX0.125 WDX0.125 HT M, WEIGHT: 0.0056 KG | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 22.23 IDX125 DIAX1.6 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed