## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1102144 | 1102144 |  |  |  | ERSA | M | 4090 | 1530115GZPCLNT100 | EA |  | BUSH;23 | BUSH;23 | BUSH;ADDITIONAL FEATURES:23 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 23 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | 23 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1104221 | 1104221 |  |  |  | ERSA | M | 3750 | 1523823GZPCLNT100 | EA |  | BUSH;307 00 009 | BUSH;307 00 009 | BUSH;ADDITIONAL FEATURES:307 00 009 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 307 00 009 | [10 empty] | DOWNUNDER MINING | 307 00 009 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1104212 | 1104212 |  |  |  | ERSA | M | 3750 | 1523833GZPCLNT100 | EA |  | BUSH;307 01 015 | BUSH;307 01 015 | BUSH;ADDITIONAL FEATURES:307 01 015 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 307 01 015 | [10 empty] | DOWNUNDER MINING | 307 01 015 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1015268 | 1015268 |  |  |  | ERSA | M | 4090 | 1530657GZPCLNT100 | EA |  | BUSH;40MM,NYLON,SUIT 12.7MM DI,N76400-BK | BUSH;40MM,NYLON,SUIT 12.7MM DI,N76400-BK | BUSH;ADDITIONAL FEATURES:40MM,NYLON,SUIT 12.7MM DI,N76400-BK |  |  |  |  | 1068391 @@ BOSS | N76400-BK | [10 empty] | BOSS | N76400-BK | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | FOR 12.7 MM DI |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE | 40 MM | END CONNECTION |  | LENGTH |  | MATERIAL | NYLON | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1104075 | 1104075 |  |  |  | ERSA | M | 3750 | 1523896GZPCLNT100 | EA |  | BUSH;64-979-180-DM | BUSH;64-979-180-DM | BUSH;ADDITIONAL FEATURES:64-979-180-DM |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 64-979-180-DM | [10 empty] | DOWNUNDER MINING | 64-979-180-DM | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1036199 | 1036199 |  |  |  | ERSA | M | 4090 | 1505564GZPCLNT100 | PAA |  | BUSH;HBC50 | BUSH;HBC50 | BUSH;ADDITIONAL FEATURES:HBC50 |  |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1505564 | [11 empty] | HBC50 | [14 empty] | J BLACKWOOD & SONS | 1505564 |  |  | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1149565 | 1149565 |  |  |  | ERSA | M | 2240 | 1523749GZPCLNT100 | EA |  | BUSH;KEYSTONE F-E BOSS,3568202 | BUSH;KEYSTONE F-E BOSS,3568202 | BUSH;ADDITIONAL FEATURES:KEYSTONE F-E BOSS,3568202 |  |  |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | 3568202 | [10 empty] | KEYFLO PACIFIC PTY LTD | 3568202 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | F-E BOSS |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1105350 | 1105350 |  |  |  | ERSA | M | 4090 | 1527529GZPCLNT100 | EA |  | BUSH;RED,80 MM-50 MM,SS316,SSRB8050 | BUSH;RED,80 MM-50 MM,SS316,SSRB8050 | BUSH;ADDITIONAL FEATURES:RED,80 MM-50 MM,SS316,SSRB8050 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SSRB8050 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | SSRB8050 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | SIZE:80X50 MM |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | COLOUR | RED | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1105371 | 1105371 |  |  |  | ERSA | M | 5920 | 1525275GZPCLNT100 | EA |  | BUSH;SCREW,Y30101120 | BUSH;SCREW,Y30101120 | BUSH;ADDITIONAL FEATURES:SCREW,Y30101120 |  |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1525275 | [13 empty] | Y30101120 | SWANSTON TASMANIA PTY LTD | 1525275 | [14 empty] | https://www.equipment2u.com/search.php?searchtype=vendcat&category_id=9&vendor_id=17588&brand_id=&page=56 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE | SCREW | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 | URL FOR REFERENCE | 1011400 | 1011400 |  |  |  | ERSA | M | 1550 | 1588764GZPCLNT100 | EA | 3000418 | BUSH;BORT,3000324,GRIPPER PIVOT,ROD HAND | CASQUILLO;BORT,3000324 | BUSH;MNFR:BOART LONGYEAR,PTNO:3000324,ADDITIONAL FEATURES EN:GRIPPER PIVOT,ROD HANDLER | CASQUILLO;MNFR:BOART LONGYEAR,PTNO:3000324 |  | BOART LONGYEAR | 3000324 | 1068617 @@ BOART LONGYEAR PTY LTD | 3000324 | [10 empty] | BOART LONGYEAR | 3000324 |  |  | BOART LONGYEAR PTY LTD | 3000324 | [14 empty] | https://www.volza.com/p/pivot-bush/import/import-in-chile/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | PIVOT | TYPE | GRIPPER,ROD HANDLER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1087351 | 1087351 |  |  |  | ERSA | M | 1550 | 1580707GZPCLNT100 | EA | 3000418 | BUSH;BORT,3000468,LINK CYLINDER MOUNTED | CASQUILLO;BORT,3000468 | BUSH;MNFR:BOART LONGYEAR,PTNO:3000468,ADDITIONAL FEATURES EN:LINK CYLINDER MOUNTED | CASQUILLO;MNFR:BOART LONGYEAR,PTNO:3000468 |  | BOART LONGYEAR | 3000468 | 1068617 @@ BOART LONGYEAR PTY LTD | 3000468 | [10 empty] | BOART LONGYEAR | 3000468 |  |  | BOART LONGYEAR PTY LTD | 3000468 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE | LINK CYLINDER MOUNTED | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1012112 | 1012112 |  |  |  | ERSA | M | 3000 | 1586546GZPCLNT100 | EA | 3000418 | BUSH;BORT,601283,28X32X57,FLNGD,R/HOLDER | CASQUILLO;BORT,601283 | BUSH;MNFR:BOART LONGYEAR,PTNO:601283,ADDITIONAL FEATURES EN:28X32X57,FLANGED,R/HOLDER PQ HINGED | CASQUILLO;MNFR:BOART LONGYEAR,PTNO:601283 |  | BOART LONGYEAR | 601283 | 1068617 @@ BOART LONGYEAR PTY LTD | 601283 | [10 empty] | BOART LONGYEAR | 601283 |  |  | BOART LONGYEAR PTY LTD | 601283 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171606 Flange bushings | R/HOLDER PQ HINGED |  | BUSHING | FLANGE | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | FLANGE DIAMETER |  | FLANGE THICKNESS |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1184199 | 1184199 |  |  |  | ERSA | M | 5820 | 1560222GZPCLNT100 | EA | 3000027 | BUSH;MET,514729,APM,BTM,MILL,SHFT | CASQUILLO;MET,514729 | BUSH;MNFR:METSO,PTNO:514729,ADDITIONAL FEATURES EN:APM,BOTTOM,MILL,SHAFT | CASQUILLO;MNFR:METSO,PTNO:514729 |  | METSO | 514729 | 1070670 @@ METSO OUTOTEC FINLAND OY | 514729 | [10 empty] | METSO | 514729 |  |  | METSO OUTOTEC FINLAND OY | 514729 | APM | [13 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171605 Shaft bushings |  |  | BUSHING | DRIVE | TYPE | BOTTOM MILL SHAFT | SIZE DESIGNATION |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH THROUGH BORE |  | TORQUE RATING |  | MATERIAL |  | KEYWAY SIZE |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095954 | 1095954 | 1386784 | AU_QM_000227803 |  | ERSA | M | 5620 | 1386784GZPCLNT100 | EA | 3000027 | BUSH;MET,ZX11295339 | BUSH;MET,ZX11295339 | BUSH;MNFR:METSO,PTNO:ZX11295339 |  | BUSH;MET,ZX11295339BUSH;MET,ZX11295339 | METSO | ZX11295339 | [12 empty] | METSO | ZX11295339 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 | Processed based on Websource, Conflict w.r.t Input | 1181165 | 1181165 |  |  |  | ERSA | M | 5955 | 1568253GZPCLNT100 | EA | 3000028 | BUSH;MIT,2I3301,BUSH STEER CYLINDER, 2I3 | CASQUILLO;MIT,2I3301 | BUSH;MNFR:MITSUBISHI,PTNO:2I3301,ADDITIONAL FEATURES EN:BUSH STEER CYLINDER, 2I3301 | CASQUILLO;MNFR:MITSUBISHI,PTNO:2I3301 |  | MITSUBISHI | 2I3301 | 1068288 @@ UNITED EQUIPMENT | 2I3301 | [12 empty] | MITSUBISHI | 2I3301 | UNITED EQUIPMENT | 2I3301 | [14 empty] | https://store.hgmforkliftparts.com/mitsubishi_forklift_parts/MB2I3301.aspx | [9 empty] | ENRICHED | 31171509 Sleeve bearings | FOR STEERING CYLINDER |  | BEARING | SLEEVE | TYPE | SPHERICAL | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 | Processed based on Websource, Conflict w.r.t Input | 1068792 | 1068792 | 1457832 | AU_QM_001308808 |  | ERSA | M | 5620 | 1457832GZPCLNT100 | EA |  | BUSH;SUPPORT | BUSH;SUPPORT | BUSH;MNFR:NORMET,PTNO:57991490,ADDITIONAL FEATURES EN:SUPPORT |  | BUSH:SUPPORT BUSH; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57991490 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 57991490 | [16 empty] | https://supply.parts/request/view?id=324836 | [9 empty] | CLEANSED | 31171509 Sleeve bearings |  |  | BEARING | SLEEVE | TYPE | SUPPORT | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1015711 | 1015711 | 1349885 | AU_QM_000131703 |  | ERSA | M | 5620 | 1349885GZPCLNT100 | EA | 3000030 | BUSH;OUT,3884153L | BUSH;OUT,3884153L | BUSH;MNFR:OUTOTEC,PTNO:3884153L |  | BUSH ASSY;DIVERTER HOSE BUSHING;;C/W S/STEEL HEX S | OUTOTEC | 3884153L | 1068243 @@ OUTOTEC PTY LTD | 3884153L | [10 empty] | OUTOTEC | 3884153L |  |  | OUTOTEC PTY LTD | 3884153L | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | ASSEMBLY,C/W STAINLESS STEEL HEX |  | BUSH | NO MODIFIER | TYPE | DIVERTER HOSE | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1081111 | 1081111 | 1349877 | AU_QM_000131695 |  | ERSA | M | 5620 | 1349877GZPCLNT100 | EA | 3000030 | BUSH;OUT,6102612 | BUSH;OUT,6102612 | BUSH;MNFR:OUTOTEC,PTNO:6102612 |  | BUSH ASSY;SUPPORT BUSHING ASSEMBLY;;COURIER 6 SL; | OUTOTEC | 6102612 | 1068243 @@ OUTOTEC PTY LTD | 6102612 | [10 empty] | OUTOTEC | 6102612 |  |  | OUTOTEC PTY LTD | 6102612 | [14 empty] | URL NOT FOUND |  |  |  |  | COURIER 6 SL |  |  |  |  | CLEANSED | 31171600 Bushings | ASSEMBLY |  | BUSH | NO MODIFIER | TYPE | SUPPORT | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1179888 | 1179888 |  |  |  | ERSA | M | 5920 | 1569171GZPCLNT100 | EA | 3000353 | BUSH;SULZ,104607359011,THROT | CASQUILLO;SULZ,104607359011 | BUSH;MNFR:SULZER,PTNO:104607359011,ADDITIONAL FEATURES EN:THROTTLE | CASQUILLO;MNFR:SULZER,PTNO:104607359011 |  | SULZER | 104607359011 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104607359011 | [10 empty] | SULZER | 104607359011 |  |  | SULZER AUSTRALIA PTY LTD | 104607359011 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | THROTTLE | TYPE |  | THREAD SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FINISH |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1179881 | 1179881 |  |  |  | ERSA | M | 5920 | 1569178GZPCLNT100 | EA | 3000353 | BUSH;SULZ,104625619200,NECK | CASQUILLO;SULZ,104625619200 | BUSH;MNFR:SULZER,PTNO:104625619200,ADDITIONAL FEATURES EN:NECK | CASQUILLO;MNFR:SULZER,PTNO:104625619200 |  | SULZER | 104625619200 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104625619200 | [10 empty] | SULZER AUSTRALIA PTY LTD | 104625619200 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE | NECK | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1088316 | 1088316 |  |  |  | ERSA | M | 5810 | 1586687GZPCLNT100 | EA | 3000011 | BUSH;TER,12.87.0294,NYL,HYDR,PULL ROD | CASQUILLO;TER,12.87.0294 | BUSH;MNFR:TEREX,PTNO:12.87.0294,ADDITIONAL FEATURES EN:NYLON,HYDRAULIC,PULL ROD | CASQUILLO;MNFR:TEREX,PTNO:12.87.0294 |  | TEREX | 12.87.0294 | 1068354 @@ FINLAY SCREENING & CRUSHING | 12.87.0294 | [10 empty] | TEREX | 12.87.0294 |  |  | FINLAY SCREENING & CRUSHING | 12.87.0294 | [14 empty] | https://www.crusherconsumables.co.uk/product-page/12-87-0294-nylon-bush-terex-finlay | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE | HYDRAULIC PULL ROD | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL | NYLON | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1188495 | 1188495 |  |  |  | ERSA | M | 1600 | 1585648GZPCLNT100 | EA |  | BUSH;PIT,NOM 100 MM,PVC,WHITE | CASQUILLO;,NOM | BUSH;TYPE:PIT,NOMINAL SIZE:100 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:PB100COM | CASQUILLO;,PTNO:PB100COM |  |  | PB100COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXPB100COM | [12 empty] | CON-X | PB100COM | METAL MANUFACTURES PTY LTD | CNXCONXPB100COM | [14 empty] | https://con-x.com.au/wp-content/uploads/2020/09/Con-XBrochure2020-1.pdf | [9 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | COLOR:WHITE |  | BUSHING | CONDUIT | TYPE | COMMUNICATION,PIT | NOMINAL SIZE | 100 MM | END CONNECTION |  | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1188515 | 1188515 |  |  |  | ERSA | M | 1600 | 1585628GZPCLNT100 | EA |  | BUSH;PIT,NOM 20 MM,PVC,WHITE,SHRT | CASQUILLO;,NOM | BUSH;TYPE:PIT,NOMINAL SIZE:20 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:SHORT,COMMUNICATIONS,BRAND: CON-X,PTNO:BM20COM | CASQUILLO;,PTNO:BM20COM |  |  | BM20COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXBM20COM | [12 empty] | CON-X | BM20COM | METAL MANUFACTURES PTY LTD | CNXCONXBM20COM | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | COLOR:WHITE |  | BUSHING | CONDUIT | TYPE | COMMUNICATION,PIT | NOMINAL SIZE | 20 MM | END CONNECTION |  | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1188510 | 1188510 |  |  |  | ERSA | M | 1600 | 1585633GZPCLNT100 | EA |  | BUSH;PIT,NOM 32 MM,PVC,WHITE | CASQUILLO;,NOM | BUSH;TYPE:PIT,NOMINAL SIZE:32 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:PB32COM | CASQUILLO;,PTNO:PB32COM |  |  | PB32COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXPB32COM | [12 empty] | CON-X | PB32COM | METAL MANUFACTURES PTY LTD | CNXCONXPB32COM | [14 empty] | https://con-x.com.au/wp-content/uploads/2020/09/Con-XBrochure2020-1.pdf | [9 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | COLOR:WHITE |  | BUSHING | CONDUIT | TYPE | COMMUNICATION,PIT | NOMINAL SIZE | 32 MM | END CONNECTION |  | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1188505 | 1188505 |  |  |  | ERSA | M | 1600 | 1585638GZPCLNT100 | EA |  | BUSH;PIT,NOM 50 MM,PVC,WHITE | CASQUILLO;,NOM | BUSH;TYPE:PIT,NOMINAL SIZE:50 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:PB50COM | CASQUILLO;,PTNO:PB50COM |  |  | PB50COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXPB50COM | [12 empty] | CON-X | PB50COM | METAL MANUFACTURES PTY LTD | CNXCONXPB50COM | [14 empty] | https://con-x.com.au/wp-content/uploads/2020/09/Con-XBrochure2020-1.pdf | [9 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | COLOR:WHITE |  | BUSHING | CONDUIT | TYPE | COMMUNICATION,PIT | NOMINAL SIZE | 50 MM | END CONNECTION |  | MATERIAL | PVC | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1072080 | 1072080 |  |  |  | ERSA | M | 1550 | 1525418GZPCLNT100 | EA |  | BUSH;SHAFT,C TYPE,30 MM,JLV IND,10308 | CASQUILLO; | BUSH;TYPE:SHAFT,ADDITIONAL FEATURES EN:C TYPE,30 MM,JLV IND,10308,PTNO:37 | CASQUILLO;,PTNO:37 |  |  | 37 | 1069357 @@ JLV INDUSTRIES PTY LTD | 1525418 | [10 empty] | JLV INDUSTRIES PTY LTD | 1525418 |  |  |  | 37 |  | 10308 | [22 empty] | CLEANSED | 31171605 Shaft bushings | SIZE:30 MM,C-TYPE |  | BUSHING | DRIVE | TYPE | SHAFT | SIZE DESIGNATION |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH THROUGH BORE |  | TORQUE RATING |  | MATERIAL |  | KEYWAY SIZE |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 | Processed based on Websource, Conflict w.r.t Input | 1148852 | 1148852 |  |  |  | ERSA | M | 1540 | 1480679GZPCLNT100 | EA |  | BUSHING,12DU16 | BUSHING,12DU16 | BUSHING,12DU16 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1480679 | [12 empty] | GARLOCK BEARINGS LLC | 12DU16 | CNW (MOUNT ISA) ELECT WHOLESALER | 1480679 | [14 empty] | https://www.motion.com/products/sku/00026358 | [9 empty] | ENRICHED | 31171509 Sleeve bearings |  |  | BEARING | SLEEVE | TYPE | PLAIN | INSIDE DIAMETER | 3/4 IN | OUTSIDE DIAMETER | 7/8 IN | LENGTH | 1 IN | MATERIAL | PTFE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1146494 | 1146494 |  |  |  | ERSA | M | 1600 | 1526726GZPCLNT100 | EA |  | BUSHING,CBL;BUSH NYLON SNAP 2,CABNSB25-1 | BUSHING,CBL;BUSH NYLON SNAP 2,CABNSB25-1 | BUSHING,CBL;ADDITIONAL FEATURES:BUSH NYLON SNAP 2,CABNSB25-1 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NSB25-1 | [12 empty] | CABAC | NSB25-1 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.cabac.com.au/p/cable-wire-management/glands-strain-relief-grommets/bushing/nsb25 | [9 empty] | ENRICHED | 39121312 Electrical bushing |  | HOLE SIZE:25 MM | BUSHING | CABLE | TYPE | SNAP | TRADE SIZE |  | SIZE | 19.1 IDX28 ODX11.5 LG MM | MATERIAL | NYLON 66 | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1146493 | 1146493 |  |  |  | ERSA | M | 1600 | 1526727GZPCLNT100 | EA |  | BUSHING,CBL;BUSH NYLON SNAP 2,CABNSB30-1 | BUSHING,CBL;BUSH NYLON SNAP 2,CABNSB30-1 | BUSHING,CBL;ADDITIONAL FEATURES:BUSH NYLON SNAP 2,CABNSB30-1 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NSB30-1 | [12 empty] | CABAC | NSB30-1 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.cabac.com.au/nsb30 | [9 empty] | ENRICHED | 39121312 Electrical bushing |  | HOLE SIZE:30 MM | BUSHING | CABLE | TYPE | SNAP | TRADE SIZE |  | SIZE | 24.1 IDX32.3 ODX11.5 LG MM | MATERIAL | NYLON 66 | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1146495 | 1146495 |  |  |  | ERSA | M | 1600 | 1526725GZPCLNT100 | EA |  | BUSHING,CBL;NYLON SNAP 19.00M,CABNSB19-1 | BUSHING,CBL;NYLON SNAP 19.00M,CABNSB19-1 | BUSHING,CBL;ADDITIONAL FEATURES:NYLON SNAP 19.00M,CABNSB19-1 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NSB19-1 | [12 empty] | CABAC | NSB19-1 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.cabac.com.au/p/cable-wire-management/glands-strain-relief-grommets/bushing/nsb19 | [9 empty] | ENRICHED | 39121312 Electrical bushing |  | HOLE SIZE:19 MM | BUSHING | CABLE | TYPE | SNAP | TRADE SIZE |  | SIZE | 14.3 IDX21.5 ODX10.3 LG MM | MATERIAL | NYLON 66 | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1120051 | 1120051 |  |  |  | ERSA | M | 5620 | 1459314GZPCLNT100 | EA |  | BUSHING,ELEC;HIGH VOLTAGE,50HZ | BUSHING,ELEC;HIGH VOLTAGE,50HZ | BUSHING,ELECTRICAL;TYPE:HIGH VOLTAGE,ADDITIONAL FEATURES EN:50HZ |  |  |  |  | 1068141 @@ WILSON TRANSFORMER COMPANY P/L | 1459314 | [10 empty] | WILSON TRANSFORMER COMPANY P/L | 1459314 | [28 empty] | CLEANSED | 39121312 Electrical bushing | FREQUENCY RATING:50 HZ |  | BUSHING | ELECTRICAL | TYPE | HIGH VOLTAGE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | BIL RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1012786 | 1012786 |  |  |  | ERSA | M | 5955 | 1478681GZPCLNT100 | EA | 3000418 | BUSHING,GUIDE,57522 | BUSHING,GUIDE,57522 | BUSHING,GUIDE;MNFR:BOART LONGYEAR,PTNO:57522 |  |  | BOART LONGYEAR | 57522 | 1068617 @@ BOART LONGYEAR PTY LTD | 57522 | [10 empty] | BOART LONGYEAR | 57522 |  |  | BOART LONGYEAR PTY LTD | 57522 | [24 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | GUIDE | TYPE |  | NOMINAL SIZE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206906 | 1206906 |  |  |  | ERSA | M | 5955 | 154213MRM | EA |  | BUSHING,NON-METAL:GEAR SHIFT BUSH; VDJ7# | BUSHING,NON-METAL:GEAR SHIFT BUSH; VDJ7# | BUSHING,NON-METAL:GEAR SHIFT BUSH; VDJ7#, HZJ7#, HDJ100HZJ105 | [41 empty] | VDJ7,HZJ7,HDJ100,HZJ105 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | GEAR SHIFT,NON-METAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1210212 | 1210212 |  |  |  | ERSA | M | 5920 | 162319MRM | EA |  | BUSHING,SLEEVE:BUSHING; C160B | BUSHING,SLEEVE:BUSHING; C160B | BUSHING,SLEEVE:BUSHING; C160B | [17 empty] | C160B | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1209010 | 1209010 |  |  |  | ERSA | M | 5920 | 737270MRM | EA |  | BUSHING,SLEEVE:CAT EQUIPMENT SERVICE; | BUSHING,SLEEVE:CAT EQUIPMENT SERVICE; | BUSHING,SLEEVE:CAT EQUIPMENT SERVICE; | [16 empty] | CATERPILLAR | [29 empty] | CLEANSED | 31171600 Bushings | EQUIPMENT SERVICE |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1215201 | 1215201 |  |  |  | ERSA | M | 5955 | 778001MRM | EA |  | BUSHING,SLEEVE:HL500S HYDRAULIC MOTOR SH | BUSHING,SLEEVE:HL500S HYDRAULIC MOTOR SH | BUSHING,SLEEVE:HL500S HYDRAULIC MOTOR SHAFT BUSHING;OMSU80 MOTOR;CABOLT H520 CABLE BOLTERH205D POWER CLASS MINIMATIC JUMBO | [39 empty] | CABLE BOLTER,POWER CLASS MINIMATIC JUMBO |  | CABOLT H520,H205D,HL500S |  |  |  |  | CLEANSED | 31171605 Shaft bushings | FOR HYDRAULIC MOTOR P/N OMSU80 |  | BUSHING | DRIVE | TYPE | SLEEVE,SHAFT | SIZE DESIGNATION |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH THROUGH BORE |  | TORQUE RATING |  | MATERIAL |  | KEYWAY SIZE |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207477 | 1207477 |  |  |  | ERSA | M | 5955 | 684376MRM | EA |  | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;FRONT | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;FRONT | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;FRONT SPRINGS; | [41 empty] | HZJ75 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SHACKLE,FRONT SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207478 | 1207478 |  |  |  | ERSA | M | 5955 | 684381MRM | EA |  | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;REAR S | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;REAR S | BUSHING,SLEEVE:HZJ75 SHACKLE BUSH;REAR SPRINGS; | [41 empty] | HZJ75 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SHACKLE,REAR SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207811 | 1207811 |  |  |  | ERSA | M | 5980 | 338866MRM | EA |  | BUSHING,SLEEVE:LAROX PVE100/125 SIDE BUS | BUSHING,SLEEVE:LAROX PVE100/125 SIDE BUS | BUSHING,SLEEVE:LAROX PVE100/125 SIDE BUSH;NOTE: 4 PCS PER VALVELAROX PVE100/125 H16 603RX VALVE |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1207811 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1207811 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | PACKAGE QUNTITY:4 PCS,FOR VALVE P/N LAROX PVE100/125 H16 603RX |  | BUSHING | VALVE | TYPE | SLEEVE,SIDE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207812 | 1207812 |  |  |  | ERSA | M | 5980 | 338876MRM | EA |  | BUSHING,SLEEVE:LAROX PVE150 CENTRE BUSH; | BUSHING,SLEEVE:LAROX PVE150 CENTRE BUSH; | BUSHING,SLEEVE:LAROX PVE150 CENTRE BUSH;LAROX PVE150 H16 603RX VALVE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | FOR VALVE P/N LAROX PVE150 H16 603RX |  | BUSHING | VALVE | TYPE | SLEEVE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207813 | 1207813 |  |  |  | ERSA | M | 5980 | 338881MRM | EA |  | BUSHING,SLEEVE:LAROX PVE150 SIDE BUSH;NO | BUSHING,SLEEVE:LAROX PVE150 SIDE BUSH;NO | BUSHING,SLEEVE:LAROX PVE150 SIDE BUSH;NOTE: 4 PCS PER VALVELAROX PVE150 H16 603RX VALVE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | PACKAGE QUNTITY:4 PCS,FOR VALVE P/N LAROX PVE150 H16 603RX VALVE |  | BUSHING | VALVE | TYPE | SLEEVE,SIDE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207814 | 1207814 |  |  |  | ERSA | M | 5980 | 338891MRM | EA |  | BUSHING,SLEEVE:LAROX PVE50 SIDE BUSH;NOT | BUSHING,SLEEVE:LAROX PVE50 SIDE BUSH;NOT | BUSHING,SLEEVE:LAROX PVE50 SIDE BUSH;NOTE: 4 PCS PER VALVE;LAROX PVE50 H16 603RX VALVE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | PACKAGE QUNTITY:4 PCS, FOR VALVE P/N LAROX PVE50 H16 603RX |  | BUSHING | VALVE | TYPE | SLEEVE,SIDE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207810 | 1207810 |  |  |  | ERSA | M | 5980 | 338856MRM | EA |  | BUSHING,SLEEVE:OUTER SEAL SLEEVE;ROLLERS | BUSHING,SLEEVE:OUTER SEAL SLEEVE;ROLLERS | BUSHING,SLEEVE:OUTER SEAL SLEEVE;ROLLERSHAFTS;DWG P49098;LAROX 132/144 PRESSURE FILTERS | [36 empty] | URL NOT FOUND |  |  | PRESSURE FILTERS | LAROX | 132/144 |  | P49098 |  |  | CLEANSED | 31171605 Shaft bushings |  |  | BUSHING | DRIVE | TYPE | OUTER SEAL SLEEVE,ROLLER SHAFT | SIZE DESIGNATION |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH THROUGH BORE |  | TORQUE RATING |  | MATERIAL |  | KEYWAY SIZE |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207809 | 1207809 |  |  |  | ERSA | M | 5980 | 338851MRM | EA |  | BUSHING,SLEEVE:PLATES ECCENTRIC SLEEVE;F | BUSHING,SLEEVE:PLATES ECCENTRIC SLEEVE;F | BUSHING,SLEEVE:PLATES ECCENTRIC SLEEVE;FILTER PLATES CENTERING;TO DWG P411576LAROX 132/144 PRESSURE FILTERS | [36 empty] | URL NOT FOUND |  |  | PRESSURE FILTERS | LAROX | 132/144 |  | P411576 |  |  | CLEANSED | 31171600 Bushings | PLATES CENTERING |  | BUSHING | NO MODIFIER | TYPE | PLATES ECCENTRIC SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206678 | 1206678 |  |  |  | ERSA | M | 5955 | 125534MRM | EA |  | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPOR | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPOR | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPORT SLEEVE;9EL3858 REAR SUPPORT GRP;ELPHINSTONE R2900 LHD | [36 empty] | URL NOT FOUND |  |  | LHD | ELPHINSTONE | R2900 |  |  |  |  | CLEANSED | 31171600 Bushings | REAR SUPPORT GROUP 9EL3858 |  | BUSHING | NO MODIFIER | TYPE | TRANSMISSION SUPPORT SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206679 | 1206679 |  |  |  | ERSA | M | 5955 | 125559MRM | EA |  | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPOR | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPOR | BUSHING,SLEEVE:R2900 TRANSMISSION SUPPORT SLEEVE;9EL3858 REAR SUPPORT GRP;ELPHINSTONE R2900 LHD | [36 empty] | URL NOT FOUND |  |  | LHD | ELPHINSTONE | R2900 |  |  |  |  | CLEANSED | 31171600 Bushings | REAR SUPPORT GROUP 9EL3858 |  | BUSHING | NO MODIFIER | TYPE | TRANSMISSION SUPPORT SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1218075 | 1218075 |  |  |  | ERSA | M | 5920 | 951124MRM | EA |  | BUSHING,SLEEVE:RUBBER;TIMING PIN;PRE WET | BUSHING,SLEEVE:RUBBER;TIMING PIN;PRE WET | BUSHING,SLEEVE:RUBBER;TIMING PIN;PRE WET SCREEN PULLEY |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1218075 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1218075 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | FOR PRE WET SCREEN PULLEY |  | BUSHING | NO MODIFIER | TYPE | SLEEVE,TIMING PIN | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1209997 | 1209997 |  |  |  | ERSA | M | 5920 | 134488MRM | EA |  | BUSHING,SLEEVE:SLIDE PIECE PVDF;CLOTH TE | BUSHING,SLEEVE:SLIDE PIECE PVDF;CLOTH TE | BUSHING,SLEEVE:SLIDE PIECE PVDF;CLOTH TENSIONING;TRACKING GUIDE;LAROX PF144; | [36 empty] | URL NOT FOUND |  |  |  | LAROX | PF144 |  |  |  |  | CLEANSED | 31171600 Bushings | CLOTH TENSIONING,SLIDE PIECE |  | BUSHING | GUIDE | TYPE | SLEEVE,TRACKING | NOMINAL SIZE |  | SIZE |  | MATERIAL | PVDF | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1215214 | 1215214 |  |  |  | ERSA | M | 5955 | 778043MRM | EA |  | BUSHING,SLEEVE:TAMROCK | BUSHING,SLEEVE:TAMROCK | BUSHING,SLEEVE:TAMROCK | [41 empty] | TAMROCK |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1213566 | 1213566 |  |  |  | ERSA | M | 5955 | 776630MRM | EA |  | BUSHING,SLEEVE:TORO T450D LIFT CYLINDER | BUSHING,SLEEVE:TORO T450D LIFT CYLINDER | BUSHING,SLEEVE:TORO T450D LIFT CYLINDER BUSH;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | LIFT CYLINDER SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1215207 | 1215207 |  |  |  | ERSA | M | 5955 | 778019MRM | EA |  | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUSH;PINS AND BUSHINGS ASSY;REAR FRAME;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | CLEANSED | 31171600 Bushings | PIN ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | REAR FRAME,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1211860 | 1211860 |  |  |  | ERSA | M | 5955 | 775377MRM | EA |  | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUSHING;PINS <(>&<)> BUSHINGS;REAR FRAME ASSY;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | CLEANSED | 31171600 Bushings | ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | REAR FRAME,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1213577 | 1213577 |  |  |  | ERSA | M | 5955 | 776669MRM | EA |  | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUS | BUSHING,SLEEVE:TORO T450D REAR FRAME BUSHING;PINS <(>&<)> BUSHINGS;REAR FRAME ASSY;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | CLEANSED | 31171600 Bushings | ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | REAR FRAME,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1213567 | 1213567 |  |  |  | ERSA | M | 5955 | 776636MRM | EA |  | BUSHING,SLEEVE:TORO T450D STEERING CYL B | BUSHING,SLEEVE:TORO T450D STEERING CYL B | BUSHING,SLEEVE:TORO T450D STEERING CYL BUSHING;STEERING CYLINDER ASSY;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | CLEANSED | 31171600 Bushings | ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | STEERING CYLINDER SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1107469 | 1107469 | 1428701 | AU_QM_000532432 |  | ERSA | M | 5620 | 1428701GZPCLNT100 | EA |  | CAMSHAFT | CAMSHAFT | BUSHING: CAMSHAFT |  | BUSHING:CAMSHAFT |  |  | 1069358 @@ HAULMARK TRAILERS (AUSTRALIA) | HB1003 | [10 empty] | HAULMARK TRAILERS (AUSTRALIA) | HB1003 | [28 empty] | CLEANSED | 31171605 Shaft bushings |  |  | BUSHING | DRIVE | TYPE | CAMSHAFT | SIZE DESIGNATION |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH THROUGH BORE |  | TORQUE RATING |  | MATERIAL |  | KEYWAY SIZE |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1212788 | 1212788 |  |  |  | ERSA | M | 5800 | 168673MRM | EA |  | BUSHING:BUSHING RUBBER; 44 X 26 X 100 | BUSHING:BUSHING RUBBER; 44 X 26 X 100 | BUSHING:BUSHING RUBBER; 44 X 26 X 100 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1212788 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1212788 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE | 44X26X100 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1212770 | 1212770 |  |  |  | ERSA | M | 5920 | 137487MRM | EA |  | BUSHING:BUSHING;REDUCER;MI 1/4 X 1/8'DR4 | BUSHING:BUSHING;REDUCER;MI 1/4 X 1/8'DR4 | BUSHING:BUSHING;REDUCER;MI 1/4 X 1/8'DR460; | [36 empty] | URL NOT FOUND |  |  |  |  | DR460 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | REDUCER | SIZE | 1/4X1/8 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207348 | 1207348 |  |  |  | ERSA | M | 5920 | 132806MRM | EA |  | BUSHING:ECCENTRIC BUSHING;ECCENTRIC;METS | BUSHING:ECCENTRIC BUSHING;ECCENTRIC;METS | BUSHING:ECCENTRIC BUSHING;ECCENTRIC;METSO HP 5 CONE CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N15607254 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N15607254 | [18 empty] | https://www.cmscepcor.com/us/part/eccentric-bushing-n15607254/ |  |  | CONE CRUSHER |  | HP5 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | ECCENTRIC | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1216418 | 1216418 |  |  |  | ERSA | M | 5920 | 5023071MRM | EA |  | BUSHING:FEED MECHANISM | BUSHING:FEED MECHANISM | BUSHING:FEED MECHANISM | [46 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | FEED MECHANISM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1207345 | 1207345 |  |  |  | ERSA | M | 5920 | 132801MRM | EA |  | BUSHING:GROOVED BUSHING;COUPLING SET;MET | BUSHING:GROOVED BUSHING;COUPLING SET;MET | BUSHING:GROOVED BUSHING;COUPLING SET;METSO HP 5CONE CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N15778017 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N15778017 | [18 empty] | https://www.cncrusher.net/english/parts-database/R34,metso-NP2023-impact-crusher/117 |  |  | CONE CRUSHER |  | HP5 |  |  |  |  | CLEANSED | 31171600 Bushings | COUPLING SET |  | BUSHING | NO MODIFIER | TYPE | GROOVED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1215586 | 1215586 |  |  |  | ERSA | M | 5920 | 138565MRM | EA |  | BUSHING:RUBBER BUSHING; | BUSHING:RUBBER BUSHING; | BUSHING:RUBBER BUSHING; | [46 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1217718 | 1217718 |  |  |  | ERSA | M | 5100 | 270137MRM | EA |  | BUSHING:SAMPLE DIVERTER HOSE | BUSHING:SAMPLE DIVERTER HOSE | BUSHING:SAMPLE DIVERTER HOSE | [46 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SAMPLE DIVERTER HOSE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206975 | 1206975 |  |  |  | ERSA | M | 5920 | 132687MRM | EA |  | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER;C160 JAW CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N03742017 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N03742017 | [18 empty] | https://www.cncrusher.net/chinese/parts-database/L40,metso-C200-jaw-crusher/34 |  |  | JAW CRUSHER |  | C160 |  |  |  |  | CLEANSED | 31171600 Bushings | FOR HYDRAULIC CYLINDER |  | BUSHING | NO MODIFIER | TYPE | SLIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206976 | 1206976 |  |  |  | ERSA | M | 5920 | 132689MRM | EA |  | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER | BUSHING:SLIDE BUSHING;HYDRAULIC CYLINDER;C160 JAW CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | MM0221171 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | MM0221171 | [18 empty] | https://www.cncrusher.net/chinese/parts-database/L40,metso-C200-jaw-crusher/35 |  |  | JAW CRUSHER |  | C160 |  |  |  |  | CLEANSED | 31171600 Bushings | FOR HYDRAULIC CYLINDER |  | BUSHING | NO MODIFIER | TYPE | SLIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1206952 | 1206952 |  |  |  | ERSA | M | 5920 | 132660MRM | EA |  | BUSHING:TIGHTENING BUSHING;PITMAN ASSEMB | BUSHING:TIGHTENING BUSHING;PITMAN ASSEMB | BUSHING:TIGHTENING BUSHING;PITMAN ASSEMBLY;C160JAW CRUSHER; | [39 empty] | JAW CRUSHER |  | C160 |  |  |  |  | CLEANSED | 31171600 Bushings | FOR PITMAN ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | TIGHTENING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1214478 | 1214478 |  |  |  | ERSA | M | 5915 | 171907MRM | EA |  | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 6 | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 6 | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 62-8FD25<(>&<)> 62-8FD30 | [39 empty] | FORKLIFT |  | 62-8FD25,62-8FD30 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | TRUNNION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1041774 | 1041774 |  |  |  | ERSA | M | 5915 | 1404799GZPCLNT100 | EA |  | BUSHING;SUPPLY 1 | BUSHING;SUPPLY 1 | BUSHING;ADDITIONAL FEATURES EN:SUPPLY 1 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | SUPPLY 1 |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1041775 | 1041775 |  |  |  | ERSA | M | 5915 | 1404798GZPCLNT100 | EA |  | BUSHING;SUPPLY 1 | BUSHING;SUPPLY 1 | BUSHING;ADDITIONAL FEATURES EN:SUPPLY 1 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | SUPPLY 1 |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1102216 | 1102216 |  |  |  | ERSA | M | 4090 | 1527768GZPCLNT100 | EA |  | BUSHING; THROTTLE VALVE,Y30101040 | BUSHING; THROTTLE VALVE,Y30101040 | BUSHING;ADDITIONAL FEATURES: THROTTLE VALVE,Y30101040 |  |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | Y30101040 | [10 empty] | SWANSTON TASMANIA PTY LTD | Y30101040 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | VALVE | TYPE | THROTTLE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1147570 | 1147570 |  |  |  | ERSA | M | 5920 | 1523575GZPCLNT100 | EA |  | BUSHING;BRASS,3136704528 | BUSHING;BRASS,3136704528 | BUSHING;ADDITIONAL FEATURES:BRASS,3136704528 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136704528 | [10 empty] | CUTRITE CUTTING & CORE DRILLING | 3136704528 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1154354 | 1154354 |  |  |  | ERSA | M | 5920 | 1514249GZPCLNT100 | EA |  | BUSHING;BRASS,3136704880 | BUSHING;BRASS,3136704880 | BUSHING;ADDITIONAL FEATURES:BRASS,3136704880 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136704880 | [10 empty] | CUTRITE CUTTING & CORE DRILLING | 3136704880 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1154355 | 1154355 |  |  |  | ERSA | M | 5920 | 1514248GZPCLNT100 | EA |  | BUSHING;BRASS,500450024 | BUSHING;BRASS,500450024 | BUSHING;ADDITIONAL FEATURES:BRASS,500450024 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 500450024 | [12 empty] | ATLAS COPCO | 500450024 | CUTRITE CUTTING & CORE DRILLING | [15 empty] | https://www.aircompressorstrade.com/ultimate-atlas-copco-air-compressors-spare-parts-catalog-section-14/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | FLANGE | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | FLANGE DIAMETER |  | FLANGE THICKNESS |  | LENGTH |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1105442 | 1105442 |  |  |  | ERSA | M | 5920 | 1525285GZPCLNT100 | EA |  | BUSHING;HANDLE C/W THROTTLE BUSHING | BUSHING;HANDLE C/W THROTTLE BUSHING | BUSHING;ADDITIONAL FEATURES:HANDLE C/W THROTTLE BUSHING |  |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1525285 | [10 empty] | SWANSTON TASMANIA PTY LTD | 1525285 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | THROTTLE | TYPE | HANDLE | THREAD SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FINISH |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1154715 | 1154715 |  |  |  | ERSA | M | 5920 | 1508197GZPCLNT100 | EA |  | BUSHING;RUBBER,42 X 32 X 100,24442320100 | BUSHING;RUBBER,42 X 32 X 100,24442320100 | BUSHING;ADDITIONAL FEATURES:RUBBER,42 X 32 X 100,24442320100 |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 24442320100 | 1068652 @@ J BLACKWOOD & SONS | 1508197 | [8 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 24442320100 | [14 empty] | J BLACKWOOD & SONS | 1508197 |  |  | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE | 42X32X100 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1004072 | 1004072 | 1349761 | AU_QM_000131476 |  | ERSA | M | 5620 | 1349761GZPCLNT100 | EA | 3000000 | BUSHING;ATL,3719 0063 58 | BUSHING;ATL,3719 0063 58 | BUSHING;MNFR:ATLAS COPCO,PTNO:3719 0063 58 |  | BUSHING:DISTANCE BUSHING;FEED FRAME TOP PULLEY;A | ATLAS COPCO | 3719 0063 58 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3719006358 | [12 empty] | ATLAS COPCO | 3719006358 | EPIROC AUSTRALIA PTY LTD | 3719006358 | [14 empty] | https://partsmining.ru/atlas.copco/distance/3719006358/ | [9 empty] | CLEANSED | 31171600 Bushings | FOR FEED FRAME TOP PULLEY |  | BUSHING | NO MODIFIER | TYPE | DISTANCE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1005716 | 1005716 | 1458215 | AU_QM_001511436 |  | ERSA | M | 5620 | 1458215GZPCLNT100 | EA | 3000000 | BUSHING;ATL,5533327700 | BUSHING;ATL,5533327700 | BUSHING;MNFR:ATLAS COPCO,PTNO:5533327700 |  | BUSHING,SLEEVE: CHARGE PUMP SLEEVE; | ATLAS COPCO | 5533327700 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5533327700 | [12 empty] | ATLAS COPCO | 5533 3277 00 | EPIROC AUSTRALIA PTY LTD | 5533327700 | [14 empty] | https://atecmakarios.com/collections/sleeves/products/5533327700 | [9 empty] | CLEANSED | 40151700 Pump parts and accessories |  |  | SLEEVE | NO MODIFIER | TYPE | CHARGE PUMP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095903 | 1095903 | 1388058 | AU_QM_000229299 |  | ERSA | M | 5620 | 1388058GZPCLNT100 | EA | 3000001 | BUSHING;EPI,0605852703 | BUSHING;EPI,0605852703 | BUSHING;MNFR:EPIROC,PTNO:0605852703 |  | BUSHING;EPI,0605852703BUSHING;EPI,0605852703 | EPIROC | 0605852703 | [14 empty] | EPIROC | 0605-8527-03 | [16 empty] | https://www.aircompressorstrade.com/2653107975-atlas-copco-epiroc-bushing-parts-catalog-update-by-cpmc/ | [9 empty] | CLEANSED | 40172300 Pipe bushings |  |  | BUSHING | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096309 | 1096309 | 1380071 | AU_QM_000219548 |  | ERSA | M | 5620 | 1380071GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5575 7008 92 | BUSHING;EPI,5575 7008 92 | BUSHING;MNFR:EPIROC,PTNO:5575 7008 92 |  | BUSHING;EPI,5575 7008 92BUSHING;EPI,5575 7008 92 | EPIROC | 5575 7008 92 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5575700892 | [12 empty] | EPIROC | 5575 7008 92 | EPIROC AUSTRALIA PTY LTD | 5575700892 | [14 empty] | https://www.aircompressorstrade.com/2653088993-genuine-atlas-copco-epiroc-bushing-catalog-by-cpmc-china/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096332 | 1096332 | 1379511 | AU_QM_000218935 |  | ERSA | M | 5620 | 1379511GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5580 0052 88 | BUSHING;EPI,5580 0052 88 | BUSHING;MNFR:EPIROC,PTNO:5580 0052 88 |  | BUSHING;EPI,5580 0052 88BUSHING;EPI,5580 0052 88 | EPIROC | 5580 0052 88 | [14 empty] | ATLAS COPCO | 5580 0052 88 | EPIROC | [15 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096244 | 1096244 | 1380661 | AU_QM_000220198 |  | ERSA | M | 5620 | 1380661GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590 0010 33 | BUSHING;EPI,5590 0010 33 | BUSHING;MNFR:EPIROC,PTNO:5590 0010 33 |  | BUSHING;EPI,5590 0010 33BUSHING;EPI,5590 0010 33 | EPIROC | 5590 0010 33 | [12 empty] | EPIROC | 5590 0010 33 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096220 | 1096220 | 1380846 | AU_QM_000220403 |  | ERSA | M | 5620 | 1380846GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590 0012 66 | BUSHING;EPI,5590 0012 66 | BUSHING;MNFR:EPIROC,PTNO:5590 0012 66 |  | BUSHING;EPI,5590 0012 66BUSHING;EPI,5590 0012 66 | EPIROC | 5590 0012 66 | [12 empty] | EPIROC | 5590 0012 66 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096227 | 1096227 | 1380820 | AU_QM_000220373 |  | ERSA | M | 5620 | 1380820GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590 0038 70 | BUSHING;EPI,5590 0038 70 | BUSHING;MNFR:EPIROC,PTNO:5590 0038 70 |  | BUSHING;EPI,5590 0038 70BUSHING;EPI,5590 0038 70 | EPIROC | 5590 0038 70 | [12 empty] | EPIROC | 5590 0038 70 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096221 | 1096221 | 1380836 | AU_QM_000220391 |  | ERSA | M | 5620 | 1380836GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590 0038 78 | BUSHING;EPI,5590 0038 78 | BUSHING;MNFR:EPIROC,PTNO:5590 0038 78 |  | BUSHING;EPI,5590 0038 78BUSHING;EPI,5590 0038 78 | EPIROC | 5590 0038 78 | [14 empty] | EPIROC | 5590 0038 78 | [16 empty] | https://www.aircompressorstrade.com/2653088993-genuine-atlas-copco-epiroc-bushing-catalog-by-cpmc-china/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096344 | 1096344 | 1379015 | AU_QM_000218386 |  | ERSA | M | 5620 | 1379015GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590 0178 35 | BUSHING;EPI,5590 0178 35 | BUSHING;MNFR:EPIROC,PTNO:5590 0178 35 |  | BUSHING;EPI,5590 0178 35BUSHING;EPI,5590 0178 35 | EPIROC | 5590 0178 35 | [12 empty] | EPIROC | 5590 0178 35 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1072484 | 1072484 |  |  |  | ERSA | M | 3750 | 1505041GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590014368,PULY | BUJE;EPI,5590014368 | BUSHING;MNFR:EPIROC,PTNO:5590014368,ADDITIONAL FEATURES EN:PULLEY | BUJE;MNFR:EPIROC,PTNO:5590014368 |  | EPIROC | 5590014368 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5590014368 | [12 empty] | EPIROC | 5590 0143 68 | EPIROC AUSTRALIA PTY LTD | 5590014368 | [14 empty] | https://www.aircompressorstrade.com/2653088993-genuine-atlas-copco-epiroc-bushing-catalog-by-cpmc-china/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | PULLEY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095769 | 1095769 | 1391387 | AU_QM_000233231 |  | ERSA | M | 5620 | 1391387GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590014957 | BUSHING;EPI,5590014957 | BUSHING;MNFR:EPIROC,PTNO:5590014957 |  | BUSHING;EPI,5590014957BUSHING;EPI,5590014957 | EPIROC | 5590014957 | [14 empty] | EPIROC | 5590 0149 57 | [16 empty] | https://www.aircompressorstrade.com/epiroc-5590009989-tools-to-bend-0560500300-parts-catalog-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095702 | 1095702 | 1393407 | AU_QM_000236811 |  | ERSA | M | 5620 | 1393407GZPCLNT100 | EA | 3000001 | BUSHING;EPI,5590017148 | BUSHING;EPI,5590017148 | BUSHING;MNFR:EPIROC,PTNO:5590017148 |  | OEM-E-LISTBUSHING;EPI,5590017148 | EPIROC | 5590017148 | [14 empty] | EPIROC | 5590 0171 48 | [16 empty] | https://www.aircompressorstrade.com/epiroc-5590009989-tools-to-bend-0560500300-parts-catalog-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1071534 | 1071534 |  |  |  | ERSA | M | 5620 | 1478379GZPCLNT100 | EA | 3000001 | BUSHING,EPI,5590017599 | BUSHING,EPI,5590017599 | BUSHING;MNFR:EPIROC,PTNO:5590017599 |  |  | EPIROC | 5590017599 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5590017599 | [10 empty] | EPIROC | 5590 0175 99 |  |  | EPIROC AUSTRALIA PTY LTD | 5590017599 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096398 | 1096398 | 1377480 | AU_QM_000216701 |  | ERSA | M | 5620 | 1377480GZPCLNT100 | EA | 3000001 | BUSHING;EPI,9111 4017 44 | BUSHING;EPI,9111 4017 44 | BUSHING;MNFR:EPIROC,PTNO:9111 4017 44 |  | BUSHING;EPI,9111 4017 44BUSHING;EPI,9111 4017 44 | EPIROC | 9111 4017 44 | [12 empty] | EPIROC | 9111 4017 44 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095741 | 1095741 | 1391917 | AU_QM_000233912 |  | ERSA | M | 5620 | 1391917GZPCLNT100 | EA | 3000001 | BUSHING;EPI,9111404937 | BUSHING;EPI,9111404937 | BUSHING;MNFR:EPIROC,PTNO:9111404937 |  | BUSHING;EPI,9111404937BUSHING;EPI,9111404937 | EPIROC | 9111404937 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9111404937 | [12 empty] | EPIROC | 9111 4049 37 | EPIROC AUSTRALIA PTY LTD | 9111404937 | [14 empty] | https://www.aircompressorstrade.com/2653088993-genuine-atlas-copco-epiroc-bushing-catalog-by-cpmc-china/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1004628 | 1004628 | 1449979 | AU_QM_001124924 |  | ERSA | M | 5620 | 1449979GZPCLNT100 | EA | 3000024 | BUSHING;ISU,8980821760 | BUSHING;ISU,8980821760 | BUSHING;MNFR:ISUZU,PTNO:8980821760 |  | BUSHING,SLEEVE: ISUZU SPRING BUSH; | ISUZU | 8980821760 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 9511510320 | [12 empty] | ISUZU | 8980821760 | AP TOWNSVILLE P/L T/A TONY IRELA | 9511510320 | [14 empty] | https://www.isuzuautopartsstore.com/product/8980821760-8-98082176-0-8-98082-176-0-%e2%80%adbushing-frt-sp%e2%80%ac/ | https://isuzu-tfk.ru/products/zapchasti_isuzu_fsr90/vtulka-ressory-peredney-zadney-30-25-68-fsr90-8980821760-9511510320-2530568/ | [8 empty] | ENRICHED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | FRONT SPRING,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096195 | 1096195 | 1381564 | AU_QM_000221512 |  | ERSA | M | 5620 | 1381564GZPCLNT100 | EA | 3000024 | BUSHING;ISU,IS-8980818290 | BUSHING;ISU,IS-8980818290 | BUSHING;MNFR:ISUZU,PTNO:IS-8980818290 |  | BUSHING;ISU,IS-8980818290BUSHING;ISU,IS-8980818290 | ISUZU | IS-8980818290 | [14 empty] | ISUZU | 8980818290 | [16 empty] | https://www.isuzuautopartsstore.com/product/8980818290-8-98081829-0-8-98081-829-0-%E2%80%ADbushing-shackl%E2%80%AC/ | [9 empty] | ENRICHED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SHACKLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096194 | 1096194 | 1381625 | AU_QM_000221581 |  | ERSA | M | 5620 | 1381625GZPCLNT100 | EA | 3000024 | BUSHING;ISU,IS-9513510192 | BUSHING;ISU,IS-9513510192 | BUSHING;MNFR:ISUZU,PTNO:IS-9513510192 |  | BUSHING;ISU,IS-9513510192BUSHING;ISU,IS-9513510192 | ISUZU | IS-9513510192 | [14 empty] | ISUZU | 9513510192 | [16 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | ENRICHED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SHACKLE,REAR SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1096188 | 1096188 | 1381657 | AU_QM_000221616 |  | ERSA | M | 5620 | 1381657GZPCLNT100 | EA | 3000024 | BUSHING;ISU,IS-9513510400 | BUSHING;ISU,IS-9513510400 | BUSHING;MNFR:ISUZU,PTNO:IS-9513510400 |  | BUSHING;ISU,IS-9513510400BUSHING;ISU,IS-9513510400 | ISUZU | IS-9513510400 | [14 empty] | ISUZU | 9513510400 | [16 empty] | https://www.isuzuautopartsstore.com/product/9513510400-9-51351040-0-9-51351-040-0-%e2%80%adbushing-lea%e2%80%ac/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-27 |  | 1095966 | 1095966 | 1386565 | AU_QM_000227539 |  | ERSA | M | 5620 | 1386565GZPCLNT100 | EA | 3000030 | BUSHING;OUT,514441 | BUSHING;OUT,514441 | BUSHING;MNFR:OUTOTEC,PTNO:514441 |  | BUSHING;OUT,514441BUSHING;OUT,514441 | OUTOTEC | 514441 | [12 empty] | OUTOTEC | 514441 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed