## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1029047 | 1029047 | 1468818 | AU_QM_007871236 |  | ERSA | M | 2900 | 1468818GZPCLNT100 | EA | 3000035 | COVER;WAR,GAL10279-R55 | COVER;WAR,GAL10279-R55 | COVER;MNFR:WARMAN,PTNO:GAL10279-R55 |  | COVER,ACCESS: 3-1/2IN COVERPLATE;3.5 1000; | WARMAN | GAL10279-R55 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | GAL10279-R55 | [10 empty] | WARMAN | GAL10279-R55 |  |  | WEIR MINERALS AUSTRALIA LTD | GAL10279-R55 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | 1000 |  | PLATE | COVER | TYPE | ACCESS | SIZE | 3-1/2 IN | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1029064 | 1029064 | 1468585 | AU_QM_007829015 |  | ERSA | M | 2900 | 1468585GZPCLNT100 | EA | 3000035 | COVER;WAR,C-024-G01 | COVER;WAR,C-024-G01 | COVER;MNFR:WARMAN,PTNO:C-024-G01 |  | COVER,ACCESS: C005M END COVER; | WARMAN | C-024-G01 | 1068544 @@ HEAVYMECH PTY LTD | C-024-G01 | [12 empty] | WARMAN | C024-G01 | HEAVYMECH PTY LTD | [15 empty] | https://www.tobee.store/products/warman-3-2c-ah-slurry-pump-parts.html | [9 empty] | Cleansed | 31171545 Bearing cover | FOR C005M |  | COVER | BEARING | TYPE | ACCESS,END | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1031117 | 1031117 | 1468696 | AU_QM_007841165 |  | ERSA | M | 2900 | 1468696GZPCLNT100 | EA | 3000035 | COVER;WAR,V-32024B-E02 | COVER;WAR,V-32024B-E02 | COVER;MNFR:WARMAN,PTNO:V-32024B-E02 |  | COVER,ACCESS: V3/2SC BOTTOM END COVER; | WARMAN | V-32024B-E02 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | V-32024B-E02 | [10 empty] | WARMAN | V-32024B-E02 |  |  | WEIR MINERALS AUSTRALIA LTD | V-32024B-E02 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR V3/2SC |  | COVER | NO MODIFIER | TYPE | ACCESS,BOTTOM END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1031384 | 1031384 | 1443999 | AU_QM_001003204 |  | ERSA | M | 2900 | 1443999GZPCLNT100 | EA | 3000024 | COVER;ISU,9153390510 | COVER;ISU,9153390510 | COVER;MNFR:ISUZU,PTNO:9153390510 |  | COVER,ACCESS: ISUZU DIESEL ENGINE; | ISUZU | 9153390510 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 9153390510 | 1071153 @@ BRADKEN RESOURCES PTY LTD | 9153390510 | [10 empty] | ISUZU | 9153390510 | AP TOWNSVILLE P/L T/A TONY IRELA |  | BRADKEN RESOURCES PTY LTD | [13 empty] | https://aspect-plus.com/en/engines/isuzu_cat/isuzu-b-series/isuzu-6bg1/isuzu-9153390510 |  |  | DIESEL ENGINE | ISUZU | [5 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ACCESS,DUST,NOZZLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1031398 | 1031398 | 1443654 | AU_QM_001001568 |  | ERSA | M | 2900 | 1443654GZPCLNT100 | EA | 3000021 | COVER;FLY,337-21-01 | COVER;FLY,337-21-01 | COVER;MNFR:FLYGT,PTNO:337-21-01 |  | COVER,ACCESS: FLYGT BS2102 SUCTION COVER; | FLYGT | 337-21-01 | 1068118 @@ XYLEM WATER SOLUTIONS AUSTRALIA LIM | 337-21-01 | [10 empty] | FLYGT | 337-21-01 |  |  | XYLEM WATER SOLUTIONS AUSTRALIA LIM | 337-21-01 | [14 empty] | URL NOT FOUND |  |  |  |  | BS2102 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ACCESS,SUCTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1031414 | 1031414 | 1442896 | AU_QM_000997951 |  | ERSA | M | 2900 | 1442896GZPCLNT100 | EA | 3000028 | COVER;MIT,32A4601100 | COVER;MIT,32A4601100 | COVER;MNFR:MITSUBISHI,PTNO:32A4601100 |  | COVER,ACCESS: DP40 WATER PUMP THERMOSTAT COVER | MITSUBISHI | 32A4601100 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 32A4601100 | [12 empty] | MITSUBISHI | 32A4601100 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://wiparts.net/product/coverthermostat-32A4601100/ |  |  | WATER PUMP |  | DP40 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ACCESS,THERMOSTAT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1031571 | 1031571 | 1429416 | AU_QM_000610352 |  | ERSA | M | 2900 | 1429416GZPCLNT100 | EA | 3000035 | COVER;WAR,06017CP09 | COVER;WAR,06017CP09 | COVER;MNFR:WARMAN,PTNO:06017CP09 |  | COVER,ACCESS: 6C CYCLONE COVER; | WARMAN | 06017CP09 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 06017CP09 | [10 empty] | WARMAN | 06017CP09 |  |  | WEIR MINERALS AUSTRALIA LTD | 06017CP09 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | 6C |  | COVER | NO MODIFIER | TYPE | ACCESS,CYCLONE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1032021 | 1032021 | 1468832 | AU_QM_007871320 |  | ERSA | M | 2900 | 1468832GZPCLNT100 | EA | 3000035 | COVER;WAR,GAL10280-E24 | COVER;WAR,GAL10280-E24 | COVER;MNFR:WARMAN,PTNO:GAL10280-E24 |  | COVER,ACCESS: 3.5" COVERPLATE;360 BISALLOY; | WARMAN | GAL10280-E24 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | GAL10280-E24 | [10 empty] | WARMAN | GAL10280-E24 |  |  | WEIR MINERALS AUSTRALIA LTD | GAL10280-E24 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE | ACCESS | SIZE | 3-1/2 IN | SHAPE |  | MATERIAL | 360 BISALLOY | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1032035 | 1032035 | 1468665 | AU_QM_007839035 |  | ERSA | M | 2900 | 1468665GZPCLNT100 | EA | 3000035 | COVER;WAR,EH3013D21 | COVER;WAR,EH3013D21 | COVER;MNFR:WARMAN,PTNO:EH3013D21 |  | COVER,ACCESS: 4/3EHH WARMAN PUMP; | WARMAN | EH3013D21 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | EH3013D21 | [10 empty] | WARMAN |  |  | EH3013D21 | WEIR MINERALS AUSTRALIA LTD | [15 empty] | https://www.naipu-pump.com/np-hh-horizontal-slurry-pump/ |  |  | PUMP | WARMAN | 4/3EHH |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ACCESS | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1032047 | 1032047 | 1468573 | AU_QM_007828015 |  | ERSA | M | 2900 | 1468573GZPCLNT100 | EA | 3000035 | COVER;WAR,B024-10E62 | COVER;WAR,B024-10E62 | COVER;MNFR:WARMAN,PTNO:B024-10E62 |  | COVER,ACCESS: END CAP FOR B005M BEARING ASSY;MATERIA | WARMAN | B024-10E62 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | B024-10E62 | [12 empty] | WARMAN | B024-10E62 | WEIR MINERALS AUSTRALIA LTD | [15 empty] | https://www.maxtech.bg/warman_pump-b024_10e62-ceni-balgaria-9890987 | [9 empty] | Cleansed | 31171545 Bearing cover | FOR B005M BEARING ASSEMBLY |  | COVER | BEARING | TYPE | ACCESS,END CAP | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1032404 | 1032404 |  |  |  | ERSA | M | 3700 | 1533330GZPCLNT100 | EA | 3000025 | COVER;JOH,T200887 | COVER;JOH,T200887 | COVER;MNFR:JOHN DEERE,PTNO:T200887 |  |  | JOHN DEERE | T200887 | 1068592 @@ RDO EQUIPMENT PTY LTD | T200887 | [12 empty] | JOHN DEERE | T200887 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T200887%3A-Articulation-Frame-Cover/p/T200887 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ARTICULATION FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1032413 | 1032413 |  |  |  | ERSA | M | 3700 | 1533321GZPCLNT100 | EA | 3000025 | COVER;JOH,T156404 | COVER;JOH,T156404 | COVER;MNFR:JOHN DEERE,PTNO:T156404 |  |  | JOHN DEERE | T156404 | 1068592 @@ RDO EQUIPMENT PTY LTD | T156404 | [12 empty] | JOHN DEERE | T156404 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T156404%3A-Lower-Articulation-Cover/p/T156404 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | LOWER ARTICULATION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1035457 | 1035457 |  |  |  | ERSA | M | 5920 | 1514202GZPCLNT100 | EA |  | COVER;VALVE EXHAUST 3/4 NP,130-105 | COVER;VALVE EXHAUST 3/4 NP,130-105 | COVER;ADDITIONAL FEATURES:VALVE EXHAUST 3/4 NP,130-105 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 130-105 | [14 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | 130-105 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | VALVE EXHAUST | SIZE | 3/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1036016 | 1036016 |  |  |  | ERSA | M | 4090 | 1527622GZPCLNT100 | M |  | COVER;BURST,55 MM,PMS55 | COVER;BURST,55 MM,PMS55 | COVER;ADDITIONAL FEATURES:BURST,55 MM,PMS55 |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | PMS55 | [14 empty] | TORC TIGHT QLD PTY LTD | PMS55 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | BURST | SIZE | 55 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1036017 | 1036017 |  |  |  | ERSA | M | 4090 | 1527621GZPCLNT100 | M |  | COVER;BURST,40 MM ,PMS 40 | COVER;BURST,40 MM ,PMS 40 | COVER;ADDITIONAL FEATURES:BURST,40 MM ,PMS 40 |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | PMS 40 | [14 empty] | TORC TIGHT QLD PTY LTD | PMS 40 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | BURST | SIZE | 40 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1036352 | 1036352 |  |  |  | ERSA | M | 2900 | 1478246GZPCLNT100 | ROL |  | COVER,3/4 IN,HYD HOSE,BURST PROTECTION | COVER,3/4 IN,HYD HOSE,BURST PROTECTION | [5 empty] | 1068351 @@ PRO-DRAULICS | SCMSHA-ID44 | [13 empty] | SCMSHA-ID44 | PRO-DRAULICS | [15 empty] | https://store.taipan.com.au/product/5615-scuff-cover-msha-44mm-id-69mm-flat-50-to-150-deg | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | COVER | HOSE | TYPE | HYDRAULIC,BURST PROTECTION | HOSE ID RANGE | 44 MM | LENGTH |  | MATERIAL |  | COLOR |  | LOCK TYPE |  | TEMPERATURE RATING | -50 TO 150 DEG C | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1049801 | 1049801 |  |  |  | ERSA | M | 4090 | 1578948GZPCLNT100 | EA |  | COVER;DOME SHELTER,10 X 12 M,CONTNR | CUBIERTA; | COVER;TYPE:DOME SHELTER,SIZE:10 X 12 M,MATERIAL:,ADDITIONAL FEATURES EN:CONTAINER | CUBIERTA; |  |  |  | 1070462 @@ ALLSHELTER PTY LTD | REPLACEMENT COVER | [14 empty] | ALLSHELTER PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | REPLACEMENT |  | COVER | NO MODIFIER | TYPE | DOME SHELTER,CONTAINER | SIZE | 10X12 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1050312 | 1050312 |  |  |  | ERSA | M | 5920 | 1610059GZPCLNT100 | EA |  | COVER;VLV,63 MM,STL,PN:410231180 | CUBIERTA; | COVER;TYPE:VALVE,SIZE:63 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:PN:410231180,F/JACKHAMMER,M:TPB405,TOKU | CUBIERTA; |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 410231180 | [13 empty] | 410231180 | SWANSTON TASMANIA PTY LTD | [15 empty] | https://www.airtools.com/product/410231180/ | https://www.danseusa.com/tamco-tools-air-hammer-parts-pneumatic-410231180 |  | JACKHAMMER | TOKU | TPB405 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | VALVE | SIZE | 63 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1053265 | 1053265 |  |  |  | ERSA | M | 4200 | 1583000GZPCLNT100 | EA |  | COVER;TOP,TFL,IH4013 | CUBIERTA; | COVER;TYPE:TOP,SIZE:,MATERIAL:TEFLON,ADDITIONAL FEATURES EN:IH4013 | CUBIERTA; |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | IH4013 | [14 empty] | ROWE SCIENTIFIC PTY LTD | IH4013 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | TOP | SIZE |  | MATERIAL | TEFLON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1053266 | 1053266 |  |  |  | ERSA | M | 4200 | 1583001GZPCLNT100 | EA |  | COVER;BTM,TFL,IH4014 | CUBIERTA; | COVER;TYPE:BOTTOM,SIZE:,MATERIAL:TEFLON,ADDITIONAL FEATURES EN:IH4014 | CUBIERTA; |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | IH4014 | [14 empty] | ROWE SCIENTIFIC PTY LTD | IH4014 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | BOTTOM | SIZE |  | MATERIAL | TEFLON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1054417 | 1054417 |  |  |  | ERSA | M | 4090 | 1588326GZPCLNT100 | EA |  | COVER,BOX;EYE CARE,HOYA SAFETY CASE | CUBIERTA CAJA; | COVER,BOX;ADDITIONAL FEATURES EN:EYE CARE,HOYA SAFETY CASE | CUBIERTA CAJA; |  |  |  | 1071164 @@ EYECARE PLUS MT ISA OPTICAL | 1588326 | [10 empty] | HOYA |  |  |  | EYECARE PLUS MT ISA OPTICAL | 1588326 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | BOX | TYPE | SAFETY CASE | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1054420 | 1054420 |  |  |  | ERSA | M | 2620 | 1604971GZPCLNT100 | EA |  | COVER,ELEC;,DST,SHINDAIWA,PT:J139000230 | CUBIERTA ELEC; | COVER,ELECTRICAL;SIZE:,ADDITIONAL FEATURES EN:DUST,SHINDAIWA,PT:J139000230,FOR 3 PHASE BREAKER DGW4OODM | CUBIERTA ELECTRICA; |  |  |  | 1068301 @@ WELDERS PRO SHOP | J139000230 | [10 empty] | SHINDAIWA |  |  | J139000230 | WELDERS PRO SHOP | [15 empty] | https://www.diyspareparts.com/parts/echo/dust-cover-j139000230/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR 3 PHASE BREAKER DGW4OODM |  | COVER | ELECTRICAL | TYPE | DUST | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1054422 | 1054422 |  |  |  | ERSA | M | 2620 | 1604973GZPCLNT100 | EA |  | COVER,ELEC;CIRCUIT BREAKER,4,RUBR | CUBIERTA ELEC;,4 | COVER,ELECTRICAL;TYPE:CIRCUIT BREAKER,NUMBER OF GANGS:4,SIZE:,ADDITIONAL FEATURES EN:RUBBER | CUBIERTA ELECTRICA;NUMERO GRUPOS:4 |  |  |  | 1068301 @@ WELDERS PRO SHOP | 1604973 | [14 empty] | WELDERS PRO SHOP | 1604973 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | ELECTRICAL | TYPE | CIRCUIT BREAKER | SHAPE |  | NUMBER OF GANGS | 4 | SIZE |  | MATERIAL | RUBBER | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1054767 | 1054767 |  |  |  | ERSA | M | 1500 | 1605389GZPCLNT100 | EA |  | COVER;SHT,860(W)X17MM(H)X3M(L),PC,SUNTUF | CUBIERTA; | COVER;TYPE:SHEET,SIZE:860(W)X17MM(H)X3M(L),MATERIAL:POLYCARBONATE,ADDITIONAL FEATURES EN:COLOUR:SMOOTH CREAM,MODEL NAME:SUNTUF STANDARD SMOOTH CREAM CORRUGATED,MODEL NUMBER:CCS3.0,SUNTUF | CUBIERTA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1015559 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1015559 | [16 empty] | https://www.bunnings.com.au/suntuf-860-x-17mm-x-3-0m-smooth-cream-standard-corrugated-polycarbonate-sheet_p1015559 | [9 empty] | Cleansed | 30260000 Structural materials | MODEL NAME:SUNTUF STANDARD SMOOTH CREAM CORRUGATED,MODEL NUMBER:CCS3.0 |  | SHEET | NON-METALLIC | TYPE |  | MATERIAL | POLYCARBONATE | WIDTH | 860 MM | LENGTH | 3 M | THICKNESS | 17 MM | COLOUR | SMOOTH CREAM | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1054768 | 1054768 |  |  |  | ERSA | M | 1500 | 1605390GZPCLNT100 | EA |  | COVER;SHT,860(W)X17MM(H)X2.4M,PC,SUNTUF | CUBIERTA; | COVER;TYPE:SHEET,SIZE:860(W)X17MM(H)X2.4M,MATERIAL:POLYCARBONATE,ADDITIONAL FEATURES EN:COLOUR:SMOOTH CREAM,MODEL NAME:SUNTUF STANDARD SMOOTH CREAM CORRUGATED,MODEL NUMBER:CSC2.4,SUNTUF | CUBIERTA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1015541 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1015541 | [16 empty] | https://www.bunnings.com.au/suntuf-860-x-17mm-x-2-4m-smooth-cream-standard-corrugated-polycarbonate-sheet_p1015541 | [9 empty] | Cleansed | 30260000 Structural materials | MODEL NAME:SUNTUF STANDARD SMOOTH CREAM CORRUGATED,MODEL NUMBER:CSC2.4 |  | SHEET | NON-METALLIC | TYPE |  | MATERIAL | POLYCARBONATE | WIDTH | 860 MM | LENGTH | 2.4 M | THICKNESS | 17 MM | COLOUR | SMOOTH CREAM | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1054769 | 1054769 |  |  |  | ERSA | M | 1500 | 1605391GZPCLNT100 | EA |  | COVER;ROFG,860(W)X17MM(H)X3M,PC,SUNTUF | CUBIERTA; | COVER;TYPE:ROOFING,SIZE:860(W)X17MM(H)X3M,MATERIAL:POLYCARBONATE,ADDITIONAL FEATURES EN:SUNTUF PCOLOUR:SOLAR GREY,MODEL NAME: SUNTUF SOLAR GREY 3.0 MTR CORRUGATED,MODEL NUMBER:1015737,SUNTUF | CUBIERTA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1015737 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1015737 | [16 empty] | https://www.bunnings.com.au/suntuf-860-x-17mm-x-3-0m-solar-grey-corrugated-polycarbonate-roofing_p1015737 | [9 empty] | Cleansed | 30260000 Structural materials | MODEL NAME:SUNTUF SOLAR GREY 3.0 MTR CORRUGATED |  | SHEET | NON-METALLIC | TYPE | ROOFING | MATERIAL | POLYCARBONATE | WIDTH | 860 MM | LENGTH | 3 M | THICKNESS | 17 MM | COLOUR | SOLAR GREY | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055661 | 1055661 |  |  |  | ERSA | M | 1600 | 1584173GZPCLNT100 | EA |  | COVER;FLIP,F/TOGGLE SWITCH,PLSTC | CUBIERTA; | COVER;TYPE:FLIP,SIZE:F/TOGGLE SWITCH,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:RED,2/3 POS | CUBIERTA; |  |  |  | 1068102 @@ REMOTE CONTROL TECHNOLOGIES P/L | 7194 | [14 empty] | REMOTE CONTROL TECHNOLOGIES P/L | 7194 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122221 Switch part or accessory | POSITION:2/3 |  | COVER | SWITCH | TYPE | FLIP,TOGGLE | SIZE |  | SHAPE |  | MATERIAL | PLASTIC | COLOUR | RED | MOUNTING TYPE |  | NUMBER OF SWITCH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055875 | 1055875 |  |  |  | ERSA | M | 2240 | 1609301GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,250NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:250NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9077 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9077 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:250 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055876 | 1055876 |  |  |  | ERSA | M | 2240 | 1609302GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,300NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:300NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9078 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9078 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:300 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055877 | 1055877 |  |  |  | ERSA | M | 2240 | 1609303GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,350NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:350NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9079 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9079 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:350 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055878 | 1055878 |  |  |  | ERSA | M | 2240 | 1609304GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,450NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:450NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9488 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9488 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:450 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055879 | 1055879 |  |  |  | ERSA | M | 2240 | 1609305GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,150NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:150NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9075 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9075 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:150 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1055880 | 1055880 |  |  |  | ERSA | M | 2240 | 1609306GZPCLNT100 | EA |  | COVER;KNIFEGATE VALVE,6 MM,HDPE,200NB | CUBIERTA; | COVER;TYPE:KNIFEGATE VALVE,SIZE:6 MM,MATERIAL:HDPE,ADDITIONAL FEATURES EN:200NB,MIM | CUBIERTA; |  |  |  | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9076 | [14 empty] | CONSOLIDATED PLASTICS & EPOXY QLD P | CPE-PLP-9076 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NOMINAL SIZE:200 NB,MIM |  | COVER | NO MODIFIER | TYPE | KNIFEGATE VALVE | SIZE | 6 MM | MATERIAL | HDPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1056483 | 1056483 |  |  |  | ERSA | M | 1600 | 1610221GZPCLNT100 | EA |  | COVER;FLAT E/RISER,450X450R,SS,CABLE TRA | CUBIERTA; | COVER;TYPE:FLAT E/RISER,SIZE:450X450R,MATERIAL:SS,ADDITIONAL FEATURES EN:CABLE TRA,GR316 | CUBIERTA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYCER4504S | [12 empty] | EZYSTRUT | CER4504S | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/covers/fitting/external-riser/cers/ | [9 empty] | Cleansed | 39131705 Cable tray fitting and accessories | RADIUS:450 MM |  | COVER | CABLE TRAY | TYPE | FLAT EXTERNAL RISER | WIDTH | 450 MM | LENGTH |  | DEPTH |  | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1056636 | 1056636 |  |  |  | ERSA | M | 4090 | 1614193GZPCLNT100 | EA |  | COVER;WTRPRF,850X200 MM | CUBIERTA; | COVER;TYPE:WATERPROOF,SIZE:850X200 MM,MATERIAL:MOULDED POLYETHYLENE,ADDITIONAL FEATURES EN:CABINET WITH S/ROPE,ORANGE,MLIF16 | CUBIERTA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3358031 | [15 empty] | 3358031 | [10 empty] | J BLACKWOOD & SONS |  |  |  | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | CABINET C/W STEEL ROPE,COLOUR:ORANGE,MLIF16 |  | COVER | NO MODIFIER | TYPE | WATERPROOF | SIZE | 850X200 MM | MATERIAL | MOULDED POLYETHYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1057166 | 1057166 |  |  |  | ERSA | M | 4090 | 1548885GZPCLNT100 | EA |  | COVER;1200 X1200 MM,PVC,610GSM,IBC | CUBIERTA; | COVER;SIZE:1200 X1200 MM,MATERIAL:PVC,ADDITIONAL FEATURES EN:610GSM,IBC | CUBIERTA; |  |  |  | 1068225 @@ ABSORB ENVIRONMENTAL SOLUTIONS | P COVER IBC | [14 empty] | ABSORB ENVIRONMENTAL SOLUTIONS | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | WEIGHT:610 G |  | COVER | NO MODIFIER | TYPE | IBC | SIZE | 1.2X1.2 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1057245 | 1057245 |  |  |  | ERSA | M | 1600 | 1542571GZPCLNT100 | EA |  | COVER;1000X135X20MM,RUBR,CBL,1CH | CUBIERTA; | COVER;SIZE:1000X135X20MM,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:CABLE,1CH | CUBIERTA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CS-04I | 1071835 @@ REXEL AUSTRALIA | 1542571 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | POWS-1148 | [9 empty] | CS-04I | CNW (MOUNT ISA) ELECT WHOLESALER |  | REXEL AUSTRALIA | 1542571 | CNW (TOWNSVILLE) ELECT SUPPLIES | POWS-1148 | [10 empty] | https://factorysound.com/products/cs-04i/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | NUMBER OF CHANNEL:1 |  | COVER | NO MODIFIER | TYPE | CABLE | SIZE | 1 LG MX135 WDX20 THKMM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1057677 | 1057677 |  |  |  | ERSA | M | 4090 | 1613669GZPCLNT100 | PAC |  | COVER;IMPLR,DIA 35 MM,PLSTC | CUBIERTA; | COVER;TYPE:IMPELLER,SIZE:DIA 35 MM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:CLEAR KESTREL METER (5000 SERIES ONLY) PACK OF 5 | CUBIERTA; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | IMPELCLEAR.5000.KES.5 | [14 empty] | ALLIANCE SAFETY EQUIPMENT P/L |  | KESTREL METER | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | PACKAGE QUANTITY:5,COLOUR:CLEAR,FOR 5000 SERIES ONLY |  | COVER | NO MODIFIER | TYPE | IMPELLER | SIZE | 35 MM DIA | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1057678 | 1057678 |  |  |  | ERSA | M | 4090 | 1613670GZPCLNT100 | EA |  | COVER;CLEAR FLEX,2000X1200X6 MM,PVC | CUBIERTA; | COVER;TYPE:CLEAR FLEX,SIZE:2000X1200X6 MM,MATERIAL:PVC,ADDITIONAL FEATURES EN:CUT INTO 150MM SQUARES | CUBIERTA; |  |  |  | 1071888 @@ NORTHERN PLASTIC SUPPLIES & FABRICA | PVCFLEXCLR | [14 empty] | NORTHERN PLASTIC SUPPLIES & FABRICA | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COLOUR:CLEAR,CUT INTO 150 MM SQUARES |  | COVER | NO MODIFIER | TYPE | FLEXIBLE | SIZE | 2X1.2 MX6 MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1059504 | 1059504 |  |  |  | ERSA | M | 1500 | 1605392GZPCLNT100 | EA |  | COVER;860 W X 17 H MM,2.4M,PC,SOLAR GREY | CUBIERTA; | COVER;SIZE:860 W X 17MM H X 2.4 M,MATERIAL:POLYCARBONATE,ADDITIONAL FEATURES EN:MODEL NAME:SUNTUF SOLAR GREY 2.4 MTR CORRUGATED, MODEL NUMBER:148886,BRAND:SUNTUF | CUBIERTA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1015729 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1015729 | [16 empty] | URL NOT FOUND | [9 empty] | Enriched | 30260000 Structural materials | MODEL NAME:SUNTUF SOLAR GREY 2.4 MTR CORRUGATED |  | SHEET | NON-METALLIC | TYPE | ROOFING | MATERIAL | POLYCARBONATE | WIDTH | 860 MM | LENGTH | 2.4 M | THICKNESS | 17 MM | COLOUR | SOLAR GREY | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1059905 | 1059905 |  |  |  | ERSA | M | 4090 | 1608008GZPCLNT100 | EA |  | COVER;XMSN,WITH SEAL,T28PBRQAE03 | CUBIERTA; | COVER;TYPE:TRANSMISSION,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:WITH SEAL,T28PBRQAE03 | CUBIERTA; |  |  |  | 1070853 @@ PROREMAN P/L T/A HY-PERFORMANCE | T28PBRQAE03 | [14 empty] | PROREMAN P/L T/A HY-PERFORMANCE | T28PBRQAE03 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | C/W SEAL |  | COVER | NO MODIFIER | TYPE | TRANSMISSION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1060547 | 1060547 |  |  |  | ERSA | M | 4045 | 1605040GZPCLNT100 | EA |  | COVER;WTHR,1185WX1225DX920H MM,PVC | CUBIERTA; | COVER;TYPE:WEATHER,SIZE:1185WX1225DX920H MM,MATERIAL:PVC,ADDITIONAL FEATURES EN:650GMS,YELLOW,SUIT PCFP1160-8 PALLET CAGE,INC:6 CLEAR A4 MANIFEST SLEEVES,2 WHITE ZIPS | CUBIERTA; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | 1160-8-CR | [12 empty] | CONTAIN IT SOLUTIONS | 1160-8-CR | [16 empty] | https://www.containit.com.au/product-tag/1160-8-cr-pvc-cover-to-suit-pcfp1160-8-for-use-with-lid/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | WEIGHT:650 G,COLOUR:YELLOW,FOR PCFP1160-8 PALLET CAGE,INCLUDES:6 CLEAR A4 MANIFEST SLEEVES,2 WHITE ZIPS |  | COVER | NO MODIFIER | TYPE | WEATHER | SIZE | 1.185 WD MX920 HT MMX1.225 DP M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1060888 | 1060888 |  |  |  | ERSA | M | 5935 | 1616362GZPCLNT100 | EA |  | COVER;FAN,PLSTC,CROSS TRAVEL,181724-17 | CUBIERTA; | COVER;TYPE:FAN,SIZE:,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:CROSS TRAVEL,181724-17 | CUBIERTA; |  |  |  | 1068072 @@ EILBECK CRANES | 181724-17 | [14 empty] | EILBECK CRANES | 181724-17 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FAN,CROSS TRAVEL | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1061647 | 1061647 | 1367463 | AU_QM_000170822 |  | ERSA | M | 5955 | 1367463GZPCLNT100 | EA |  | COVER;NRMT,51834350 | COVER;NRMT,51834350 | COVER;MNFR:NORMET,PTNO:51834350,ADDITIONAL FEATURES EN:EXHAUST,VEHICULAR COMPONENTS: PIPE SECTION, TO MUFFLER |  | COVER,VEHICULAR COMPONENTS: EXHAUST PIPE SECTION; TO MUFFLER BOX; LF |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 51834350 | [13 empty] | 51834350 | NORMET ASIA PACIFIC PTY LTD | [15 empty] | https://tuynder.co.uk/car-parts/steering-part-51834350/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | TO MUFFLER BOX,LF |  | COVER | NO MODIFIER | TYPE | EXHAUST,VEHICULAR COMPONENT,PIPE SECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1063183 | 1063183 | 1357402 | AU_QM_000150939 |  | ERSA | M | 5920 | 1357402GZPCLNT100 | EA |  | COVER; TIMING B | COVER; TIMING B | COVER,ACCESS: COVER; TIMING B |  | COVER,ACCESS: COVER; TIMING B |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1357402 | [14 empty] | BELL & MOIR - PARTS ORDERS ONLY | 1357402 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | TIMING B |  | COVER | NO MODIFIER | TYPE | ACCESS | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1063432 | 1063432 | 1468513 | AU_QM_007822422 |  | ERSA | M | 3000 | 1468513GZPCLNT100 | EA |  | C/W LABYRINTH;SALA PUMP; | C/W LABYRINTH;SALA PUMP; | COVER: C/W LABYRINTH;SALA PUMP; |  | COVER: C/W LABYRINTH;SALA PUMP; |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 30-073-441-00A | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 30-073-441-00A | [14 empty] | URL NOT FOUND |  |  | SALA PUMP | [6 empty] | Cleansed | 23153100 Industrial machinery components and accessories | C/W LABYRINTH |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1064577 | 1064577 | 1360842 | AU_QM_000158357 |  | ERSA | M | 5915 | 1360842GZPCLNT100 | EA |  | AIR CONDITIONER HOUSING;CAB PRESSURISER | AIR CONDITIONER HOUSING;CAB PRESSURISER | COVER,SEALING: AIR CONDITIONER HOUSING;CAB PRESSURISER |  | COVER,SEALING:AIR CONDITIONER HOUSING;CAB PRESSURISER |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1360842 | [14 empty] | HASTINGS DEERING(AUSTRALIA) LTD | 1360842 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | SEALING,AIR CONDITIONER HOUSING,CAB PRESSURISER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1067055 | 1067055 | 1354700 | AU_QM_000144010 |  | ERSA | M | 5915 | 1354700GZPCLNT100 | EA |  | BOTTOM RADIATOR COVER;79 SERIES TOYOTA; | BOTTOM RADIATOR COVER;79 SERIES TOYOTA; | COVER: BOTTOM RADIATOR COVER;79 SERIES TOYOTA; |  | COVER: BOTTOM RADIATOR COVER;79 SERIES TOYOTA; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 5144260110 | [12 empty] | TOYOTA | 5144260110 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://www.fitinpart.sg/index.php?route=product/product&product_id=1323283 | https://partsouq.com/en/search/all?q=5144260110 |  |  | TOYOTA | 79 SERIES |  |  |  |  | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ENGINE,BOTTOM RADIATOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1067075 | 1067075 | 1356116 | AU_QM_000146782 |  | ERSA | M | 2000 | 1356116GZPCLNT100 | EA |  | COVER | COVER | COVER: COVER |  | COVER: COVER |  |  | 1070054 @@ SCHWING AUSTRALIA PTY LTD | 10143446 | [12 empty] | SCHWING AUSTRALIA PTY LTD | 10143446 | [16 empty] | https://motto-tr.com/en/schwing-spare-parts/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1067264 | 1067264 | 1457788 | AU_QM_001308360 |  | ERSA | M | 5915 | 1457788GZPCLNT100 | EA |  | COVER; | COVER; | COVER: COVER; |  | COVER: COVER; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 41870734 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 41870734 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1068495 | 1068495 | 1451192 | AU_QM_001147636 |  | ERSA | M | 1600 | 1451192GZPCLNT100 | EA |  | COVER | COVER | COVER: COVER HIAB |  | COVER: COVER |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 579122 | [10 empty] | HIAB |  |  |  | BELL & MOIR - PARTS ORDERS ONLY | 579122 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1071120 | 1071120 |  |  |  | ERSA | M | 3760 | 1531206GZPCLNT100 | EA | 3000013 | COVER;VOL,15131114 | CUBIERTA;VOL,15131114 | COVER;MNFR:VOLVO,PTNO:15131114 | CUBIERTA;MNFR:VOLVO,PTNO:15131114 |  | VOLVO | 15131114 | 1068616 @@ DSI UNDERGROUND AUSTRALIA PTY LIMIT | 15131114 | [12 empty] | VOLVO | 15131114 | DSI UNDERGROUND AUSTRALIA PTY LIMIT | [15 empty] | https://srp.com.tr/volvo/15131114/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | INSULATING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1071407 | 1071407 |  |  |  | ERSA | M | 2900 | 1506857GZPCLNT100 | EA | 3000025 | COVER;JOH,T227377 | COVER;JOH,T227377 | COVER;MNFR:JOHN DEERE,PTNO:T227377 |  |  | JOHN DEERE | T227377 | 1068592 @@ RDO EQUIPMENT PTY LTD | T227377 | [12 empty] | JOHN DEERE | T227377 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T227377%3A-Cover/p/T227377 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1072524 | 1072524 |  |  |  | ERSA | M | 1600 | 1574454GZPCLNT100 | EA | 3000422 | COVER,ELEC;CNW,FUL08-PT250L,EARTH PIT | CUBIERTA ELEC;CNW,FUL08-PT250L | COVER,ELECTRICAL;MNFR:CNW,PTNO:FUL08-PT250L,ADDITIONAL FEATURES EN:EARTH PIT EARTH ROD | CUBIERTA ELECTRICA;MNFR:CNW,PTNO:FUL08-PT250L |  | CNW | FUL08-PT250L | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FUL08-PT250L | [10 empty] | CNW | FUL08-PT250L | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121300 Electrical boxes and enclosures and fittings and accessories |  |  | COVER | ELECTRICAL | TYPE | EARTH PIT,ROD | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1074113 | 1074113 |  |  |  | ERSA | M | 3700 | 1146431GZPCLNT100 | EA | 3000025 | COVER;JOH,T55501 | CUBIERTA;JOH,T55501 | COVER;MNFR:JOHN DEERE,PTNO:T55501 | CUBIERTA;MNFR:JOHN DEERE,PTNO:T55501 |  | JOHN DEERE | T55501 | 1068592 @@ RDO EQUIPMENT PTY LTD | T55501 | [12 empty] | JOHN DEERE | T55501 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T55501%3A-Cap/p/T55501 | [9 empty] | Cleansed | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1076936 | 1076936 | 1223079 | AU_QM_009912550 |  | ERSA | M | 1540 | 1223079GZPCLNT100 | EA | 3000000 | COVER;ATL,3115028600,NUT | COVER;ATL,3115028600,NUT | COVER;MNFR:ATLAS COPCO,PTNO:3115028600,ADDITIONAL FEATURES EN:NUT |  | NUT,PLAIN,CAP:ATLAS DRILL DOME NUT; | ATLAS COPCO | 3115028600 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3115028600 | [12 empty] | ATLAS COPCO | 3115028600 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://atecmakarios.com/products/3115028600 | [9 empty] | Cleansed | 31161705 Cap nuts |  |  | NUT | CAP | TYPE | PLAIN,DRILL DOME | THREAD SIZE |  | THREAD TYPE |  | WIDTH ACROSS FLAT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1077193 | 1077193 | 1211897 | AU_QM_000291856 |  | ERSA | M | 3700 | 1211897GZPCLNT100 | EA | 3000000 | COVER;ATL,5112234000 | COVER;ATL,5112234000 | COVER;MNFR:ATLAS COPCO,PTNO:5112234000 |  | CAP,FILLER OPENING: SIMBA DC11D DRILL CARRIER FUEL CAP; | ATLAS COPCO | 5112234000 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112234000 | [12 empty] | ATLAS COPCO | 5112234000 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco-parts?page=4882 |  |  | SIMBA DRILL CARRIER |  | DC11D |  |  |  |  | Cleansed | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | FUEL | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1077412 | 1077412 | 1202904 | AU_QM_000132232 |  | ERSA | M | 5915 | 1202904GZPCLNT100 | EA | 3000012 | COVER;TR,BATRY | COVER;TR,BATRY | COVER;TYPE:TRAY,ADDITIONAL FEATURES EN:BATTERY,MNFR:TOYOTA,PTNO:74403-60240,MNFR:01)BELLMOIR,PTNO:01)7440360240 |  | COVER,BATTERY:TRAY BATTERY 70S;LANDCRUISER; | TOYOTA | 74403-60240 | 1068087 @@ ASHDOWN INGRAM | 74403-60240 | 1071809 @@ ASHDOWN ENTERPRISES | 74403-60240 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 7440360240 | [8 empty] | TOYOTA | 74403-60240 | ASHDOWN INGRAM |  | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://burjauto.com/product/7440360240-toyota/9161205 | https://www.toyotapartsdeal.com/oem/toyota~carrier~sub~assy~ba~74403-60240.html |  | LANDCRUISER |  | 70S |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CARRIER | NO MODIFIER | TYPE | TRAY,BATTERY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1077413 | 1077413 |  |  |  | ERSA | M | 3000 | 1202864GZPCLNT100 | EA | 3000035 | COVER;WAR,G024-10-E62,END | COVER;WAR,G024-10-E62,END | COVER;MNFR:WARMAN,PTNO:G024-10-E62,ADDITIONAL FEATURES EN:END |  |  | WARMAN | G024-10-E62 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | G024-10E62 | [10 empty] | WARMAN |  |  | G024-10-E62 | WEIR MINERALS AUSTRALIA LTD | [15 empty] | https://www.eliqhakazile.co.za/eskom-parts-supply/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1077841 | 1077841 | 1185991 | AU_QM_000340166 |  | ERSA | M | 3000 | 1185991GZPCLNT100 | EA | 3000035 | COVER;WAR,E024-10-E62,END | COVER;WAR,E024-10-E62,END | COVER;MNFR:WARMAN,PTNO:E024-10-E62,ADDITIONAL FEATURES EN:END |  | COVER,ACCESS: E005M BRG END; | WARMAN | E024-10-E62 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | PN1077841 | [12 empty] | WARMAN | E024-10-E62 | WEIR MINERALS AUSTRALIA LTD | PN1077841 | [14 empty] | https://weirafricastore.com/end-cover-zinc-plated-6-4e/ | [9 empty] | Cleansed | 31171545 Bearing cover | FOR E005M BEARING |  | COVER | BEARING | TYPE | ACCESS,END | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1078039 | 1078039 | 1424794 | AU_QM_000340186 |  | ERSA | M | 2900 | 1424794GZPCLNT100 | EA | 3000035 | COVER;WAR,VC024D21 | COVER;WAR,VC024D21 | COVER;MNFR:WARMAN,PTNO:VC024D21 |  | COVER,ACCESS: VC4005-10 BRG TOP COVER; | WARMAN | VC024D21 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | VC024E62 | [10 empty] | WARMAN | VC024D21 |  | VC024E62 | WEIR MINERALS AUSTRALIA LTD | [15 empty] | https://sm-group.pro/nasosnoe_oborudovanie/zippumps/zip_warman/40vc-gps.html | [9 empty] | Cleansed | 31171545 Bearing cover | FOR VC4005-10 BEARING |  | COVER | BEARING | TYPE | ACCESS,TOP | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 | NM BASED ON WEB SOURCE | 1078172 | 1078172 |  |  |  | ERSA | M | 5000 | 1604048GZPCLNT100 | EA | 3000010 | COVER;SAN,BG01383024 | CUBIERTA;SAN,BG01383024 | COVER;MNFR:SANDVIK,PTNO:BG01383024 | CUBIERTA;MNFR:SANDVIK,PTNO:BG01383024 |  | SANDVIK | BG01383024 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01383024 | [12 empty] | SANDVIK | BG01383024 | [16 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-642/ | [9 empty] | Enriched | 31410000 Seals |  |  | SEAL | NO MODIFIER | TYPE | STRIP | DIMENSIONS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1078203 | 1078203 |  |  |  | ERSA | M | 1600 | 1615558GZPCLNT100 | EA | 3000652 | COVER;PHNX,3030488,END,D-ST 2.5 TWIN | CUBIERTA;PHNX,3030488 | COVER;MNFR:PHOENIX CONTACT,PTNO:3030488,ADDITIONAL FEATURES EN:END,D-ST 2.5 TWIN | CUBIERTA;MNFR:PHOENIX CONTACT,PTNO:3030488 |  | PHOENIX CONTACT | 3030488 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 3030488 | [12 empty] | PHOENIX CONTACT | 3030488 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.phoenixcontact.com/en-in/products/end-cover-d-st-25-twin-3030488 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | SERIES:D-ST 2,5-TWIN |  | COVER | NO MODIFIER | TYPE | END | SIZE | 2.2 WDX60.5 HTX29 DP MM | MATERIAL | POLYAMIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204510 | 1204510 |  |  |  | ERSA | M | 5800 | 149051MRM | EA |  | COVER:PROT. COVER;608L;PROTECTION COVER; | COVER:PROT. COVER;608L;PROTECTION COVER; | COVER:PROT. COVER;608L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204510 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204510 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 608 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204511 | 1204511 |  |  |  | ERSA | M | 5800 | 149052MRM | EA |  | COVER:PROT. COVER;1217L;PROTECTION COVER | COVER:PROT. COVER;1217L;PROTECTION COVER | COVER:PROT. COVER;1217L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204511 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204511 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 1.217 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204512 | 1204512 |  |  |  | ERSA | M | 5800 | 149053MRM | EA |  | COVER:PROT. COVER;305L;PROTECTION COVER; | COVER:PROT. COVER;305L;PROTECTION COVER; | COVER:PROT. COVER;305L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204512 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204512 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 305 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204513 | 1204513 |  |  |  | ERSA | M | 5800 | 149055MRM | EA |  | COVER:PROT. COVER SIDE;608L;PROTECTION C | COVER:PROT. COVER SIDE;608L;PROTECTION C | COVER:PROT. COVER SIDE;608L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204513 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204513 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 608 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204514 | 1204514 |  |  |  | ERSA | M | 5800 | 149056MRM | EA |  | COVER:PROT. COVER SIDE;1217L;PROTECTION | COVER:PROT. COVER SIDE;1217L;PROTECTION | COVER:PROT. COVER SIDE;1217L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204514 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204514 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 1.217 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204515 | 1204515 |  |  |  | ERSA | M | 5800 | 149057MRM | EA |  | COVER:PROT. COVER SIDE;913L;PROTECTION C | COVER:PROT. COVER SIDE;913L;PROTECTION C | COVER:PROT. COVER SIDE;913L;PROTECTION COVER;DE-WATERING SCREEN;HMP; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1204515 | [14 empty] | ELASTOMERS AUSTRALIA | PN1204515 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | HMP |  | COVER | NO MODIFIER | TYPE | PROTECTION,DE-WATERING SCREEN | SIZE | 913 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204666 | 1204666 |  |  |  | ERSA | M | 5915 | 271311MRM | EA |  | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH;60/40 SPLIT SEAT;FULL WIDTH INCLUDING ARM REST;HEADRESTS X 3 |  |  |  |  | 1079110 @@ QUALTARP PTY LTD | HX157AR | [12 empty] | TOYOTA | HX157AR | QUALTARP PTY LTD | [15 empty] | https://ppdperformance.com.au/products/toyota-hilux-2015-gun-sr-dual-cab-black-duck-canvas-rear-bench-seat-covers-hx157ar | [9 empty] | Enriched | 25174601 Seat covers | C/W FULL WIDTH INCLUDING ARM REST,HEADRESTS X 3,60/40 SPLIT |  | COVER | SEAT | TYPE | VEHICULAR,DUAL CAB REAR BENCH | SIZE |  | MATERIAL | CANVAS | COLOR | GREY | CLOSURE TYPE |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1204667 | 1204667 |  |  |  | ERSA | M | 5915 | 271313MRM | EA |  | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH | COVER,SEAT,VEHICULAR:DUAL CAB REAR BENCH;FULL WIDTH SEAT;BACK;HEADRESTS X 3 |  |  |  |  | 1079110 @@ QUALTARP PTY LTD | HX154 | [12 empty] | TOYOTA | HX154 | QUALTARP PTY LTD | [15 empty] | https://ppdperformance.com.au/products/toyota-hilux-2015-2020black-duck-front-and-rear-seat-covershx15abcdr-hx154-hx154-hx15con-0 | [9 empty] | Enriched | 25174601 Seat covers | C/W HEADRESTS X 3,BACK |  | COVER | SEAT | TYPE | VEHICULAR,DUAL CAB REAR BENCH,FULL WIDTH | SIZE |  | MATERIAL | CANVAS | COLOR | GREY | CLOSURE TYPE |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1205189 | 1205189 |  |  |  | ERSA | M | 1600 | 74641MRM | EA |  | COVER,ELEC CONNECTOR:SIDE ENTRY HOOD;24 | COVER,ELEC CONNECTOR:SIDE ENTRY HOOD;24 | COVER,ELEC CONNECTOR:SIDE ENTRY HOOD;24 PIN HARTING CONNECTOR; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1205189 | [14 empty] | CNW (NT) ELECTRICAL WHOLESALERS | PN1205189 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121700 Electrical hardware and supplies | NUMBER OF PIN:24 |  | COVER | ELECTRICAL | TYPE | HARTING CONNECTOR,SIDE ENTRY HOOD | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1205318 | 1205318 |  |  |  | ERSA | M | 5820 | 150135MRM | EA |  | COVER:COVER;COUPLING;FALK 1120T | COVER:COVER;COUPLING;FALK 1120T | COVER:COVER;COUPLING;FALK 1120T |  |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 776218 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 776218 | [14 empty] | https://www.motion.com/products/sku/01177380 | https://www.bdiexpress.com/us/en/Categories/Mechanical-Power-Transmission/Shaft-Couplings/Grid-Couplings/Grid-Cover/1120T10-COVER/p/18106532 | [8 empty] | Enriched | 31163000 Couplings | BRAND:FALK |  | COVER | COUPLING | TYPE | HORIZONTALLY SPLIT | COUPLING SIZE | 1120T | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1207673 | 1207673 |  |  |  | ERSA | M | 5910 | 1087154MRM | EA |  | COVER,SUCTION:WARMAN 250 WMCU PUMP; | COVER,SUCTION:WARMAN 250 WMCU PUMP; | COVER,SUCTION:WARMAN 250 WMCU PUMP; |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | GWM25190 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | GWM25190 | [14 empty] | URL NOT FOUND |  |  | PUMP | WARMAN | 250 MCU |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | SUCTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1209313 | 1209313 |  |  |  | ERSA | M | 4090 | 1142389MRM | EA |  | COVER:END CAP;BEARING LABYRINTH;WARMAN | COVER:END CAP;BEARING LABYRINTH;WARMAN | COVER:END CAP;BEARING LABYRINTH;WARMAN |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | FF024-10E62 | [12 empty] | WARMAN | FF024-10E62 | WEIR MINERALS AUSTRALIA LTD | [15 empty] | https://sm-group.pro/nasosnoe_oborudovanie/zippumps/zip_warman/w108ff-ah.html | [9 empty] | Cleansed | 31171545 Bearing cover |  |  | COVER | BEARING | TYPE | END CAP,LABYRINTH | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1210820 | 1210820 |  |  |  | ERSA | M | 3000 | 1201128MRM | EA |  | COVER:END COVER;WARMAN 400ST-L | COVER:END COVER;WARMAN 400ST-L | COVER:END COVER;WARMAN 400ST-L |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | S024-10E62 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | S024-10E62 | [14 empty] | URL NOT FOUND |  |  |  | WARMAN | 400ST-L |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211282 | 1211282 |  |  |  | ERSA | M | 5810 | 135766MRM | EA |  | COVER:CENTRE PROTECTION COVER;;UHMWPE PA | COVER:CENTRE PROTECTION COVER;;UHMWPE PA | COVER:CENTRE PROTECTION COVER;;UHMWPE PACKER;1217L;6 HOLE;;@50;203.2 CENTRES;HOLE 1 @50MM; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1211282 | [14 empty] | ELASTOMERS AUSTRALIA | PN1211282 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | 6 HOLE AT 50,203.2 CENTRES,HOLE 1 AT 50 MM |  | COVER | NO MODIFIER | TYPE | CENTRE PROTECTION,PACKER | SIZE | 1.217 M LG | MATERIAL | UHMWPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211283 | 1211283 |  |  |  | ERSA | M | 5810 | 135767MRM | EA |  | COVER:DISCHARGE PROTECTION COVER;CENTRE; | COVER:DISCHARGE PROTECTION COVER;CENTRE; | COVER:DISCHARGE PROTECTION COVER;CENTRE;;UHMWPE;PACKER;305L;2 HOLES @50;;203.2 CENTRES-SYM; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1211283 | [14 empty] | ELASTOMERS AUSTRALIA | PN1211283 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | 2 HOLES AT 50,203.2 CENTRES-SYM |  | COVER | NO MODIFIER | TYPE | DISCHARGE PROTECTION,CENTRE,PACKER | SIZE | 305 MM LG | MATERIAL | UHMWPE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211602 | 1211602 |  |  |  | ERSA | M | 5920 | 359841MRM | EA |  | COVER,ACCESS:BRG END COVER;UPPER; DWG; | COVER,ACCESS:BRG END COVER;UPPER; DWG; | COVER,ACCESS:BRG END COVER;UPPER; DWG; A1-110-0-19085 REV.12; WARMAN SVAF005 PUMP WARMAN 150SV-SP MK.2 VERTICAL PUMP |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | SV024E62 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | SV024E62 | [14 empty] | URL NOT FOUND |  |  | VERTICAL PUMP | WARMAN | SVAF005,150SV-SP MK.2 |  | A1-110-0-19085 | REV.12 |  | Cleansed | 31171545 Bearing cover |  |  | COVER | BEARING | TYPE | ACCESS,END,UPPER | NUMBER OF BOLTS |  | LENGTH |  | WIDTH |  | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211672 | 1211672 |  |  |  | ERSA | M | 5920 | 136355MRM | EA |  | COVER,SEALING:SPRAY SHIELD;80NB;150#PT;; | COVER,SEALING:SPRAY SHIELD;80NB;150#PT;; | COVER,SEALING:SPRAY SHIELD;80NB;150#PT;;PREMIUM TEFLON; |  |  |  |  | 1068789 @@ KLINGER LIMITED | 871041071 | [12 empty] | KLINGER LIMITED | 871041071 | [16 empty] | https://www.blackwoods.com.au/pipe-tube-fittings/flanges-various/flange-spray-shields-premium-teflon/shield-flange-spray-prem-teflon-80x150/p/03180759 | [9 empty] | Enriched | 31160000 Hardware |  |  | SHIELD | NO MODIFIER | TYPE | SEALING,SPRAY | SIZE | 80 IDX150 OD MM | MATERIAL | PREMIUM TEFLON | COLOUR | TAN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211673 | 1211673 |  |  |  | ERSA | M | 5920 | 136356MRM | EA |  | COVER,SEALING:SPRAY SHIELD;100NB;150#PT; | COVER,SEALING:SPRAY SHIELD;100NB;150#PT; | COVER,SEALING:SPRAY SHIELD;100NB;150#PT;;PREMIUM TEFLON; |  |  |  |  | 1068789 @@ KLINGER LIMITED | 871041091 | [12 empty] | KLINGER LIMITED | 871041091 | [16 empty] | https://www.blackwoods.com.au/pipe-tube-fittings/flanges-various/flange-spray-shields-premium-teflon/shield-flange-spray-prem-teflon-100x150/p/03180776 | [9 empty] | Enriched | 31160000 Hardware |  |  | SHIELD | NO MODIFIER | TYPE | FLANGE,SEALING,SPRAY | SIZE | 100 IDX150 OD MM | MATERIAL | PREMIUM TEFLON | COLOUR | TAN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1211995 | 1211995 |  |  |  | ERSA | M | 5800 | 136555MRM | EA |  | COVER:EFLEX COVER;585X305X10-14X55APT; | COVER:EFLEX COVER;585X305X10-14X55APT; | COVER:EFLEX COVER;585X305X10-14X55APT; |  |  |  |  | 1071906 @@ ELASTOMERS AUSTRALIA | PN1211995 | [14 empty] | ELASTOMERS AUSTRALIA | PN1211995 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | EFLEX,APT |  | COVER | NO MODIFIER | TYPE |  | SIZE | 585X305X10-14X55 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 27-10-2023 |  | 1212255 | 1212255 |  |  |  | ERSA | M | 1845 | 167723MRM | EA |  | COVER,ACCESS:COVER | COVER,ACCESS:COVER | COVER,ACCESS:COVER |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | PN1212255 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | PN1212255 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | ACCESS | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED