## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1020791 | 1020791 | 1373511 | AU_QM_000202332 |  | ERSA | M | 5955 | 1373511GZPCLNT100 | EA | 3000028 | BALL;MIT,T22P35CBB065 | BALL;MIT,T22P35CBB065 | BALL;MNFR:MITSUBISHI,PTNO:T22P35CBB065 |  | BALL;MIT,T22P35CBB065BALL;MIT,T22P35CBB065 | MITSUBISHI | T22P35CBB065 | [14 empty] | MITSUBISHI | T22P35CBB065 | [16 empty] | http://www.mitsubishicarbide.com/application/files/1415/5927/7830/RT01D_ROCK_TOOLS_20190530.pdf | [9 empty] | Enriched | 27112800 Tool attachments and accessories | BALL | GUAGE ANGLE: 35 DEG, WEIGHT: 0.4 KG | BIT | NO MODIFIER | TYPE | TAPERED | DIAMETER | 35 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | OVERALL LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1034556 | 1034556 | 1386686 | AU_QM_000227685 |  | ERSA | M | 5955 | 1386686GZPCLNT100 | EA | 3000030 | BALL;OUT,145-07-03025 | BALL;OUT,145-07-03025 | BALL;MNFR:OUTOTEC,PTNO:145-07-03025 |  | BALL;OUT,145-07-03025BALL;OUT,145-07-03025 | OUTOTEC | 145-07-03025 | [12 empty] | OUTOTEC | 145-07-03025 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1211720 | 1211720 |  |  |  | ERSA | M | 5920 | 1218627MRM | SET |  | BOOT,DUST SEAL:BOOT KIT STRAIGHT HOUSEIN | BOOT,DUST SEAL:BOOT KIT STRAIGHT HOUSEIN | BOOT,DUST SEAL:BOOT KIT STRAIGHT HOUSEING | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE | KIT STRAIGHT HOUSEING | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1209044 | 1209044 |  |  |  | ERSA | M | 5920 | 760496MRM | EA |  | BOOT,DUST SEAL:HYDORING 40/22-302 CYLIND | BOOT,DUST SEAL:HYDORING 40/22-302 CYLIND | BOOT,DUST SEAL:HYDORING 40/22-302 CYLINDER GAITER;LAROX PF 144 A1 60 NO.465 | [16 empty] | HYDORING | 40/22-302 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | CYLINDER GAITER, BRAND: LAROX PF 144 A1 60 NO.465 |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1209928 | 1209928 |  |  |  | ERSA | M | 5955 | 772947MRM | EA |  | BOOT,DUST SEAL:TURBO BOOT;ITEM 2 OF INSU | BOOT,DUST SEAL:TURBO BOOT;ITEM 2 OF INSU | BOOT,DUST SEAL:TURBO BOOT;ITEM 2 OF INSULATION KIT;TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  | 2 | TRUCK | TORO | 50 D |  |  |  |  | Cleansed | 40141700 Hardware and fittings | INSULATION KIT |  | BOOT | DUST AND MOISTURE SEAL | TYPE | TURBO | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1111160 | 1111160 | 1414414 | AU_QM_000259995 |  | ERSA | M | 5915 | 1414414GZPCLNT100 | EA |  | BOOT;PRICE AS PER QUOTE NUMBER | BOOT;PRICE AS PER QUOTE NUMBER | BOOT;MNFR: ,PTNO:PRICE AS PER QUOTE NUMBER |  | BOOT;PRICE AS PER QUOTE NUMBERBOOT;PRICE AS PER QUOTE NUMBER | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | PRICE AS PER QUOTE NUMBER |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1141149 | 1141149 | 1364229 | AU_QM_000165184 |  | ERSA | M | 5620 | 1364229GZPCLNT100 | EA |  | CRANK SHAFT | CRANK SHAFT | SHAFT: CRANK SHAFT |  | SHAFT: CRANK SHAFT | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101749 Crankshaft |  |  | SHAFT | CRANK | TYPE |  | NUMBER OF CRANKS |  | SIZE |  | TORQUE RATING |  | SPEED RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | END CONNECTION |  | LIFTING HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1210513 | 1210513 |  |  |  | ERSA | M | 5620 | 162615MRM | EA |  | DISC ASSY:304 STAINLESS STEEL GRADE INS | DISC ASSY:304 STAINLESS STEEL GRADE INS | DISC ASSY:304 STAINLESS STEEL GRADE INSERT; WITHM8 THREADS;NATURAL RUBBER ELASTOMER DURO60; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY, GRADE INSERT, C/W M8 THREADS, DURO60 |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | 304 STAINLESS STEEL, NATURAL RUBBER ELASTOMER | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1063441 | 1063441 | 1468206 | AU_QM_007620207 |  | ERSA | M | 5915 | 1468206GZPCLNT100 | EA |  | DISC,CLUTCH: | DISC,CLUTCH: | DISC,CLUTCH: |  | DISC,CLUTCH: | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1215152 | 1215152 |  |  |  | ERSA | M | 5955 | 438861MRM | EA |  | DISC,CLUTCH:BRAKE/RANGE PLANETARY CLUTCH | DISC,CLUTCH:BRAKE/RANGE PLANETARY CLUTCH | DISC,CLUTCH:BRAKE/RANGE PLANETARY CLUTCH PLATE;CATERPILLAR 834B DOZER;ELPHINSTONE R1700 LOADER | [17 empty] | 834B | CATERPILLAR | 6T-0028 | [16 empty] | https://parts.cat.com/en/catcorp/6T-0028 |  |  | LOADER | ELPHINSTONE | R1700 |  |  |  |  | Cleansed | 25171700 Braking systems and components | DOZER |  | DISC | BRAKE | TYPE | RANGE PLANETARY CLUTCH PLATE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1037805 | 1037805 | 1400802 | AU_QM_000245257 |  | ERSA | M | 5915 | 1400802GZPCLNT100 | EA |  | DISC;STAINLESS STEEL 316 | DISC;STAINLESS STEEL 316 | DISC;MATERIAL:STAINLESS STEEL 316,MNFR:01)PARTS,PTNO:01)316SS DISC |  | DISC;STAINLESS STEEL 316DISC;STAINLESS STEEL 316,316SS DISC | [15 empty] | 316SS DISC | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | PARTS |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | 316 STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1016493 | 1016493 |  |  |  | ERSA | M | 5915 | 1245587GZPCLNT100 | EA | 3000012 | DISC;TOY,31250-60452,CLUTCH ASSY | DISC;TOY,31250-60452,CLUTCH ASSY | DISC;CLUTCH ASSEMBLY,MNFR:TOYOTA,PTNO:31250-60452 |  |  | TOYOTA | 31250-60452 | [14 empty] | TOYOTA | 31250-60452 | [16 empty] | https://parts.toyotaofgrandrapids.com/oem-parts/toyota-disc-assembly-clutch-3125060452 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | DISC | NO MODIFIER | TYPE | CLUTCH | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1047515 | 1047515 | 1414434 | AU_QM_000260016 |  | ERSA | M | 5915 | 1414434GZPCLNT100 | EA |  | DOOR;ACCSS,WD 300 X HT 450 MM | DOOR;ACCSS,WD 300 X HT 450 MM | DOOR;TYPE:ACCESS,SIZE:WD 300 X HT 450 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:CYA ASSY H/TEMP,MNFR:01)PARTS,PTNO:01) 23211218S |  | DOOR;ACCSS,WD 300 X HT 450 MMDOOR;ACCESS,WD 300 X HT 450MM,CYA ASSY | [15 empty] | 23211218S | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | CYA ASSEMBLY H/TEMP, PARTS |  | DOOR | NO MODIFIER | TYPE | ACCESS | SIZE | 300 WDX450 HT MM | MATERIAL | STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1185339 | 1185339 |  |  |  | ERSA | M | 1500 | 1557275GZPCLNT100 | EA |  | DOOR;INTL,2040x820x35mm | PUERTA; | DOOR;TYPE:INTERNAL,SIZE:2040x820x35mm,ADDITIONAL FEATURES EN:BLOCKBOARD,DURACOAT,STPC | PUERTA; | [15 empty] | DURACOAT | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | BLOCKBOARD, STPC |  | DOOR | NO MODIFIER | TYPE | INTERNAL | SIZE | 2040X820X35 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1098897 | 1098897 | 1390737 | AU_QM_000232437 |  | ERSA | M | 5100 | 1390737GZPCLNT100 | EA | 3000012 | DOOR;TOY,5890560320C1 | DOOR;TOY,5890560320C1 | DOOR;MNFR:TOYOTA,PTNO:5890560320C1 |  | DOOR;TOY,5890560320C1DOOR;BEL,5890560320C1 | TOYOTA | 5890560320C1 | [14 empty] | TOYOTA | 5890560320C1 | BEL | 5890560320C1 | [14 empty] | https://toyota-vin.ru/part-5890560320C1 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | CONSOLE COMPARTMENT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1034382 | 1034382 | 1391799 | AU_QM_000233754 |  | ERSA | M | 5100 | 1391799GZPCLNT100 | EA | 3000012 | DOOR;TOY,NG681030K182 | DOOR;TOY,NG681030K182 | DOOR;MNFR:TOYOTA,PTNO:NG681030K182 |  | DOOR;TOY,NG681030K182DOOR;BEL,NG681030K182 | TOYOTA | NG681030K182 | [12 empty] | TOYOTA | NG681030K182 |  |  | BEL | NG681030K182 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1012803 | 1012803 |  |  |  | ERSA | M | 5955 | 1478656GZPCLNT100 | EA | 3000418 | BALL,BEARING,62374 | BALL,BEARING,62374 | BALL,BEARING;MNFR:BOART LONGYEAR,PTNO:62374 |  |  | BOART LONGYEAR | 62374 | 1068617 @@ BOART LONGYEAR PTY LTD | 62374 | [12 empty] | BOART LONGYEAR | 62374 | BOART LONGYEAR PTY LTD | 62374 | [14 empty] | https://www.boartlongyear.com/wp-content/uploads/RLOvershot_2022_Checklist_008.pdf | [9 empty] | Enriched | 31171539 Bearing ball |  |  | BALL | BEARING | TYPE |  | DIAMETER | 22 MM | MATERIAL |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1013086 | 1013086 |  |  |  | ERSA | M | 5955 | 1478633GZPCLNT100 | EA | 3000418 | BALL,BEARING,5005218 | BALL,BEARING,5005218 | BALL,BEARING;MNFR:BOART LONGYEAR,PTNO:5005218 |  |  | BOART LONGYEAR | 5005218 | 1068617 @@ BOART LONGYEAR PTY LTD | 5005218 | [10 empty] | BOART LONGYEAR | 5005218 |  |  | BOART LONGYEAR PTY LTD | 5005218 | [14 empty] | https://kayensondaj.com/wp-content/uploads/2021/08/InHoleTools_Catalog_English-2016-Digital-F.pdf | [9 empty] | Enriched | 31162700 Rolling hardware | BALL BEARING |  | ROLLER | NO MODIFIER | TYPE | LATCH | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1014627 | 1014627 |  |  |  | ERSA | M | 5915 | 1588634GZPCLNT100 | EA | 3000012 | DISC,BRK;TOY,43512-0K090,FR,F/N80 HILUXY | FRENO DISCO;TOY,43512-0K090 | DISC,BRAKE;MNFR:TOYOTA,PTNO:43512-0K090,ADDITIONAL FEATURES EN:FRONT,F/N80 HILUX 4WD,YEAR:2015-2021 | FRENO DISCO;MNFR:TOYOTA,PTNO:43512-0K090 |  | TOYOTA | 43512-0K090 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 43512-0K090 | [12 empty] | TOYOTA | 43512-0K090 | BELL & MOIR - PARTS ORDERS ONLY | 43512-0K090 | [14 empty] | https://www.toyotapartsdeal.com/oem/toyota~disc~fr~43512-0k090.html | [9 empty] | Enriched | 25171700 Braking systems and components | FOR N80 HILUX 4WD,YEAR:2015-2021 |  | DISC | BRAKE | TYPE | FRONT | SIZE | 13-13/16X13-1/2X3-19.32 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1027704 | 1027704 | 1441584 | AU_QM_000987511 |  | ERSA | M | 5910 | 1441584GZPCLNT100 | EA | 3000284 | DISC;GLE,201019030415 | DISC;GLE,201019030415 | DISC;MNFR:GLENCORE,PTNO:201019030415 |  | DISC,GRINDING MILL: DISPOSABLE;DUAL COMPOUND;RED; | GLENCORE | 201019030415 | 9000095 @@ Glencore Technology Pty Limited | 201019030415 | [10 empty] | GLENCORE | 201019030415 |  |  | GLENCORE TECHNOLOGY PTY LIMITED | 201019030415 | [14 empty] | https://www.volza.com/p/grinding-disce/export/export-from-india/ | [9 empty] | Enriched | 23131503 Grinding wheels | COLOUR: RED |  | DISC | GRINDING | TYPE | MILL DISPOSABLE, DUAL COMPOUND | SPEED |  | SIZE | 1200 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1035852 | 1035852 |  |  |  | ERSA | M | 4005 | 1534265GZPCLNT100 | PAC |  | DISC;PERFORMA WATER SAVING (8.5L,1843035 | DISC;PERFORMA WATER SAVING (8.5L,1843035 | DISC;ADDITIONAL FEATURES:PERFORMA WATER SAVING (8.5L,1843035 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1843035 | [12 empty] | REECE PTY LTD | 1843035 | [16 empty] | https://www.reece.com.au/product/performa-water-saving-discs-8-5-litres-1843035 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | PERFORMA WATER SAVING | SIZE | 8.5 LTR | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1049657 | 1049657 |  |  |  | ERSA | M | 1500 | 1580865GZPCLNT100 | EA |  | DOOR;REBATED DURACOTE,2040X820X35 MM | PUERTA; | DOOR;TYPE:REBATED DURACOTE,SIZE:2040X820X35 MM,ADDITIONAL FEATURES EN:TEMPERED HBD BLOCKBOARD | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HUM002035R | [10 empty] | DURACOTE |  |  |  | ELLIOTT TIMBER SALES PTY LTD | HUM002035R | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | TEMPERED HBD BLOCKBOARD |  | DOOR | NO MODIFIER | TYPE | REBATED | SIZE | 2040X820X35 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1049719 | 1049719 |  |  |  | ERSA | M | 4090 | 1581869GZPCLNT100 | EA |  | DISC;FLAPPER,178 X 22MM,ZRCNA,40GRIT | DISCO;FLAPPER | DISC;TYPE:FLAPPER,SIZE:178 X 22MM,ADDITIONAL FEATURES EN:ZIRCONIA,40GRIT | DISCO;TIPO:FLAPPER |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1581869 | [26 empty] | J BLACKWOOD & SONS | 1581869 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | GRIT: 40 |  | DISC | NO MODIFIER | TYPE | FLAPPER | SIZE | 178X22 MM | MATERIAL | ZIRCONIA | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1051427 | 1051427 |  |  |  | ERSA | M | 4090 | 1577666GZPCLNT100 | BOX |  | DISC;50 MM,TYPE CDR VRH 50 A COARSE 100 | DISCO; | DISC;SIZE:50 MM,ADDITIONAL FEATURES EN:TYPE CDR VRH 50 A COARSE 100,COMBI SURFACE CONDITIONING | DISCO; |  |  |  | 1068391 @@ BOSS | 42781501 | [12 empty] | PFERD | 42781501 | BOSS | [15 empty] | https://za.pferd.com/en/combidisc-non-woven-discs-vrh-cdcdr?a%5Bquick-change-system-tds%5D=CDR+system&a%5Bdiam-outer-tds%5D=50+mm&a%5Bgrit-size-tds%5D=100+G | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | TYPE CDR VRH 50 A COARSE, GRIT: 100 |  | DISC | NO MODIFIER | TYPE | COMBI SURFACE CONDITIONING, HARD NON WOVEN | SIZE | 50 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1051793 | 1051793 |  |  |  | ERSA | M | 4005 | 1577161GZPCLNT100 | EA |  | DISC;50 MM,SURFACE CONDITIONING,PFERD | DISCO; | DISC;SIZE:50 MM,ADDITIONAL FEATURES EN:SURFACE CONDITIONING,PFERD,QUICK-CHANGE,5 PCE,COARSE | DISCO; |  |  |  | 1068467 @@ TOTAL TOOLS TOWNSVILLE | 47200081 | [10 empty] | PFERD |  | TOTAL TOOLS TOWNSVILLE | 47200081 | [16 empty] | https://www.totaltools.com.au/123447-pferd-50mm-coarse-quick-change-surface-conditioning-disc-combidisc-5pc-47200081 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | PACKING QUANTITY: 5 PEICES,COARSE |  | DISC | NO MODIFIER | TYPE | SURFACE CONDITIONING,QUICK-CHANGE | SIZE | 50 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1052991 | 1052991 |  |  |  | ERSA | M | 5955 | 1579275GZPCLNT100 | EA |  | DOOR;GLASS 222-2825,COMPLT | PUERTA; | DOOR;TYPE:GLASS 222-2825,SIZE:,ADDITIONAL FEATURES EN:COMPLETE | PUERTA; |  |  |  | 1068417 @@ MAK DIESEL & EARTHMOVING | 222-2825 | [12 empty] | CATERPILLER | 222-2825 | MAK DIESEL & EARTHMOVING | [15 empty] | https://parts.cat.com/en/catcorp/222-2825 | [9 empty] | Cleansed | 30171500 Doors | COMPLETE |  | DOOR | NO MODIFIER | TYPE |  | SIZE | 222 TO 2825 MM | MATERIAL | GLASS | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1053714 | 1053714 |  |  |  | ERSA | M | 1500 | 1579451GZPCLNT100 | EA |  | DOOR;TEMPRD HBD H/CORE,2040X820X35MM | PUERTA; | DOOR;TYPE:TEMPRD HBD H/CORE,SIZE:2040X820X35MM,ADDITIONAL FEATURES EN:DURACOTE | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HUM002035A | [10 empty] | DURACOTE |  |  |  | ELLIOTT TIMBER SALES PTY LTD | HUM002035A | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | TEMPERED HBD H/CORE | SIZE | 2040X820X35 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1054444 | 1054444 |  |  |  | ERSA | M | 5620 | 1605206GZPCLNT100 | EA |  | DISC;062(ID)X110(OD)MM,RINGFEDER | DISCO; | DISC;SIZE:062(ID)X110(OD)MM,ADDITIONAL FEATURES EN:RINGFEDER | DISCO; |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | RFN4061 | [12 empty] | RINGFEDER | RFN 4061 | [12 empty] | APPLIED INDUSTRIAL TECHNOLOGIES | RFN4061 |  |  | https://www.ringfeder.com/products/shrink-discs/rfn-4061/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | SHRINK | SIZE | 062 IDX110 OD MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1057781 | 1057781 |  |  |  | ERSA | M | 4090 | 1588506GZPCLNT100 | EA |  | DOOR;HBD BLOCKBOARD,2100 X 920 35MM | PUERTA; | DOOR;TYPE:HBD BLOCKBOARD,SIZE:2100 X 920 35MM,ADDITIONAL FEATURES EN:DURACOTE TEMPERED | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HUM002038 | [10 empty] | DURACOTE |  |  |  | ELLIOTT TIMBER SALES PTY LTD | HUM002038 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | HBD BLOCKBOARD TEMPERED | SIZE | 2100X920X35 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1059139 | 1059139 |  |  |  | ERSA | M | 4090 | 1608077GZPCLNT100 | EA |  | DOOR;GL,PN:941001031,PRIMUS FS1000 | PUERTA; | DOOR;TYPE:GLASS,SIZE:,ADDITIONAL FEATURES EN:PN:941001031,PRIMUS FS1000 | PUERTA; |  |  |  | 1068433 @@ NQ LAUNDRY TECH SERVICES PTY LTD | 941001031 | [11 empty] | 941001031 |  |  | NQ LAUNDRY TECH SERVICES PTY LTD | 941001031 | [14 empty] | https://www.gastroparts.com/pliki/schemes/PRIMUS/185630-FS1200.pdf | [9 empty] | Enriched | 30171500 Doors | PRIMUS FS1000 | WEIGHT: 80-100 KG | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | GLASS | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1059179 | 1059179 |  |  |  | ERSA | M | 4020 | 1608742GZPCLNT100 | EA |  | DISC;FINNED SKIRT,45 × 45 CM,CLNR | DISCO; | DISC;TYPE:FINNED SKIRT,SIZE:45 Ã— 45 CM,ADDITIONAL FEATURES EN:CLEANER,BRAND:AUSSIE GOLD | DISCO; |  |  |  | 1068155 @@ REECE PTY LTD | CPB007 | [10 empty] | AUSSIE GOLD |  |  |  | REECE PTY LTD | CPB007 | [14 empty] | https://www.poolspot.com.au/finned-disc-skirt-generic-suits-avenger-pool-cleaner | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | FINNED SKIRT, CLEANER | SIZE | 45X45 CM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1060568 | 1060568 |  |  |  | ERSA | M | 1510 | 1606731GZPCLNT100 | EA |  | BRACE;SHLF,420LX41BX15H MM,STEEL,BLACK | BRAZALETE;,NEGRO | BRACE;TYPE:SHELF,SIZE:420LX41BX15H MM,MATERIAL:STEEL,COLOUR:BLACK | BRAZALETE;TONO:NEGRO |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 2760547 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 2760547 | [16 empty] | https://www.bunnings.com.au/rack-it-400kg-420mm-shelf-support-brace-for-430mm-rack-depth_p2760547 | [9 empty] | Enriched | 31162503 Braces |  | WEIGHT: 0.81 KG | BRACE | NO MODIFIER | TYPE | SHELF | SIZE | 420 LGX41 HTX15 WD MM | MATERIAL | STEEL | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1062325 | 1062325 |  |  |  | ERSA | M | 5900 | 1580642GZPCLNT100 | EA |  | DISC;ROTOR,BRAKE,A414PB-0004 | DISCO; | DISC;TYPE:ROTOR,SIZE:,ADDITIONAL FEATURES EN:BRAKE,A414PB-0004 | DISCO; |  |  |  | 1070853 @@ PROREMAN P/L T/A HY-PERFORMANCE | A414PB-0004 | [14 empty] | PROREMAN P/L T/A HY-PERFORMANCE | A414PB-0004 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 25171700 Braking systems and components |  |  | DISC | BRAKE | TYPE | ROTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 | 67002-60501 PARTIALLY MATCHED | 1099695 | 1099695 | 1369109 | AU_QM_000173353 |  | ERSA | M | 5100 | 1369109GZPCLNT100 | EA | 3000012 | DOOR;TOY,6700260501111 | DOOR;TOY,6700260501111 | DOOR;MNFR:TOYOTA,PTNO:6700260501111 |  | DOOR,VEHICULAR: LH;COMPLETE SET | TOYOTA | 67002-60501111 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 6700260501111 | [12 empty] | TOYOTA | 67002-60501111 | BELL & MOIR - PARTS ORDERS ONLY | 6700260501111 | [14 empty] | https://autoparts.toyota.com/products/product/panel-sub-assy-fr-door-lh-6700260501 | [9 empty] | Enriched | 43201610 Backplane or panels or assemblies |  |  | PANEL | VEHICULAR | TYPE | FRONT DOOR LEFT, COMPLETE SET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1099696 | 1099696 | 1369108 | AU_QM_000173352 |  | ERSA | M | 5100 | 1369108GZPCLNT100 | EA | 3000012 | DOOR;TOY,2405031720 | DOOR;TOY,2405031720 | DOOR;MNFR:TOYOTA,PTNO:2405031720 |  | DOOR,VEHICULAR: RH;COMPLETE SET | TOYOTA | 2405031720 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 2405031720 | [10 empty] | TOYOTA | 2405031720 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 2405031720 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | VEHICULAR RIGHT, COMPLETE SET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1112378 | 1112378 | 1428720 | AU_QM_000532713 |  | ERSA | M | 1600 | 1428720GZPCLNT100 | EA |  | BOOT,DUST SEAL: | BOOT,DUST SEAL: | BOOT,DUST SEAL: |  | BOOT,DUST SEAL: |  |  | 1069358 @@ HAULMARK TRAILERS (AUSTRALIA) | HB1042 | [14 empty] | HAULMARK TRAILERS (AUSTRALIA) | HB1042 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1112782 | 1112782 |  |  |  | ERSA | M | 1500 | 1573840GZPCLNT100 | EA |  | DOOR;SOLID,2040 X 920 X 35 MM,DURACOTE | PUERTA; | DOOR;TYPE:SOLID,SIZE:2040 X 920 X 35 MM,ADDITIONAL FEATURES EN:DURACOTE | PUERTA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HUM002037 | [10 empty] | DURACOTE |  |  |  | ELLIOTT TIMBER SALES PTY LTD | HUM002037 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | SOLID | SIZE | 2040X920X35 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1136984 | 1136984 | 1468459 | AU_QM_007817106 |  | ERSA | M | 3000 | 1468459GZPCLNT100 | EA |  | C/W KEYS _ NUTS;SS431 MAT'L; | C/W KEYS _ NUTS;SS431 MAT'L; | SHAFT,PUMP: C/W KEYS AND NUTS;SS431 MAT'L; TKL 20/27\" CLASS VS'C'PUMP; S/NOS 74-SB-0507;G/ARRG'T 108515; LAKE MOONDARRA BOOSTER PUM |  | SHAFT,PUMP: C/W KEYS & NUTS;SS431 MAT'L; |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | SE-208651 | [14 empty] | FLOWSERVE PUMP DIVISION | SE-208651 | [14 empty] | URL NOT FOUND | [5 empty] | 74-SB-0507 |  |  |  | Cleansed | 40151732 Pump shaft | C/W KEYS AND NUTS, TKL 20/27\" CLASS VS'C'PUMP, G/ARRG'T 108515, LAKE MOONDARRA BOOSTER |  | SHAFT | PUMP | TYPE |  | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL | 431 STAINLESS STEEL | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1136985 | 1136985 | 1468458 | AU_QM_007817105 |  | ERSA | M | 3000 | 1468458GZPCLNT100 | EA |  | C/W KEYS NUTS;SS431 MATERIAL | C/W KEYS NUTS;SS431 MATERIAL | SHAFT,PUMP: C/W KEYS AND NUTS;SS431 MATERIAL; TKL 20/27\" CLASS VS'C'PUMP; S/NOS 74-SB-0506;G/ARRG'T 108515; LAKE MOONDARRA BOOSTER |  | SHAFT,PUMP: C/W KEYS & NUTS;SS431 MATERIAL; |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | SE-208650/1 | [14 empty] | FLOWSERVE PUMP DIVISION | SE-208650/1 | [14 empty] | URL NOT FOUND | [5 empty] | 74-SB-0506 |  |  |  | Cleansed | 40151732 Pump shaft | C/W KEYS AND NUTS, TKL 20/27\" CLASS VS'C'PUMP, G/ARRG'T 108515, LAKE MOONDARRA BOOSTER |  | SHAFT | PUMP | TYPE |  | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL | 431 STAINLESS STEEL | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1137920 | 1137920 | 1452248 | AU_QM_001172600 |  | ERSA | M | 2500 | 1452248GZPCLNT100 | EA |  | CUT OFF WHEEL, 115MM X 0.8MM X 22MM; | CUT OFF WHEEL, 115MM X 0.8MM X 22MM; | DISC,ABRASIVE: CUT OFF WHEEL, 115MM X 0.8MM X 22MM; WHEEL, CUT OFF, MINOX; CUT OFF, A60V-BF42 CUTTING DISC; |  | DISC,ABRASIVE:CUT OFF WHEEL, 115MM X 0.8MM X 22MM; |  |  | 1068502 @@ ATOM SUPPLY | 92608071 | [10 empty] | MINOX | A60V-BF42 | FLEXOVIT | 66252833242 | ATOM SUPPLY | 92608071 | [14 empty] | https://www.blackwoods.com.au/abrasives/reinforced-abrasives-cutting/stainless-steel-cutting-discs/wheel-c-of-rh-a60v-bf42-minox-125x0-8x22/p/06524063 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | COLOUR: MULTI | DISC | ABRASIVE | TYPE | CUT OFF WHEEL, CUTTING | OUTSIDE DIAMETER | 115 MM | FACE WIDTH | 0.8 MM | ARBOR SIZE | 22 MM | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT |  | ABRASIVE MATERIAL | STAINLESS STEEL | BACKING MATERIAL |  | COLOR |  | SPEED RATING |  | CERTIFICATION/STANDARD | AS 1788.1:1987 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1137921 | 1137921 | 1452247 | AU_QM_001172592 |  | ERSA | M | 2500 | 1452247GZPCLNT100 | EA |  | CUT OFF WHEEL, 100MM X 1.0 MM X 16MM; | CUT OFF WHEEL, 100MM X 1.0 MM X 16MM; | DISC,ABRASIVE: CUT OFF WHEEL, 100MM X 1.0 MM X 16MM; WHEEL, CUT OFF, M/IONX; CUT OFF, A46TBF41; CUTTING DISC; |  | DISC,ABRASIVE:CUT OFF WHEEL, 100MMX 1.0 MM X 16MM; |  |  | 1068652 @@ J BLACKWOOD & SONS | 3311352 | 1068502 @@ ATOM SUPPLY | 92608022 | [8 empty] | MINOX | A46TBF41 | FLEXOVIT | 66252841585 | ATOM SUPPLY | 92608022 | [10 empty] | J BLACKWOOD & SONS | 03311352 |  |  | https://www.blackwoods.com.au/abrasives/reinforced-abrasives-cutting/stainless-steel-cutting-discs/wheel-c-off-a46tbf41-m-inox-100x1-0x16mm/p/03311352 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | ABRASIVE | TYPE | CUT OFF WHEEL, CUTTING | OUTSIDE DIAMETER | 100 MM | FACE WIDTH | 1 MM | ARBOR SIZE | 16 MM | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT |  | ABRASIVE MATERIAL | STAINLESS STEEL | BACKING MATERIAL |  | COLOR |  | SPEED RATING |  | CERTIFICATION/STANDARD | AS 1788.1:1987 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1145639 | 1145639 |  |  |  | ERSA | M | 1600 | 1536300GZPCLNT100 | EA |  | BRACE;CROSSARM TYPE 1000T,YURIKA,104797 | BRACE;CROSSARM TYPE 1000T,YURIKA,104797 | BRACE;ADDITIONAL FEATURES:CROSSARM TYPE 1000T,YURIKA,104797 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104797 | [10 empty] | YURIKA | 104797 |  |  | YURIKA PTY LTD | 104797 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces | TYPE 1000T |  | BRACE | NO MODIFIER | TYPE | CROSSARM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1145640 | 1145640 |  |  |  | ERSA | M | 1600 | 1536299GZPCLNT100 | EA |  | BRACE;CROSSARM TYPE 650T,YURIKA,104796 | BRACE;CROSSARM TYPE 650T,YURIKA,104796 | BRACE;ADDITIONAL FEATURES:CROSSARM TYPE 650T,YURIKA,104796 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104796 | [10 empty] | YURIKA | 104796 |  |  | YURIKA PTY LTD | 104796 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces | TYPE 650T |  | BRACE | NO MODIFIER | TYPE | CROSSARM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1148727 | 1148727 |  |  |  | ERSA | M | 5915 | 1505373GZPCLNT100 | EA |  | DISC;TOY,04465YZZQ6 | DISC;TOY,04465YZZQ6 | DISC;ADDITIONAL FEATURES:TOY,04465YZZQ6 |  |  |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1505373 | [12 empty] | TOYOTA | 04465YZZQ6 | BELL & MOIR - PARTS ORDERS ONLY | 1505373 | [14 empty] | https://www.newtowntoyota.parts/04465YZZQ6/Genuine-Toyota-Front-Disc-Brake-Pads | [9 empty] | Enriched | 25171700 Braking systems and components |  |  | DISC | BRAKE | TYPE | FRONT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1148730 | 1148730 |  |  |  | ERSA | M | 5915 | 1505370GZPCLNT100 | EA |  | DISC;TOY,435120K010 | DISC;TOY,435120K010 | DISC;ADDITIONAL FEATURES:TOY,435120K010 |  |  |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 435120K010 | [12 empty] | TOYOTA | 435120K010 | BELL & MOIR - PARTS ORDERS ONLY | 435120K010 | [14 empty] | https://www.toyotapartsdeal.com/oem/toyota~disc~front~43512-0k010.html | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | FRONT | SIZE | 12-5/16X12-13/32X2-13/16 | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1149300 | 1149300 |  |  |  | ERSA | M | 1500 | 1527777GZPCLNT100 | EA |  | BRACE;CROSSARM TYPE 650T, DWG 01-,479375 | BRACE;CROSSARM TYPE 650T, DWG 01-,479375 | BRACE;ADDITIONAL FEATURES:CROSSARM TYPE 650T, DWG 01-,479375 |  |  |  |  | 1070799 @@ YURIKA PTY LTD | 479375 | 1068560 @@ YURIKA PTY LTD | 479375 | [8 empty] | YURIKA | 479375 |  |  | YURIKA PTY LTD | 479375 | YURIKA PTY LTD | 479375 | [12 empty] | URL NOT FOUND | [6 empty] | 01 |  |  | Cleansed | 31162503 Braces | TYPE 650T |  | BRACE | NO MODIFIER | TYPE | CROSSARM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1149731 | 1149731 |  |  |  | ERSA | M | 5100 | 1495288GZPCLNT100 | EA |  | DOOR;MAN DOOR,BULKHEAD,STANDARD,ME219 | DOOR;MAN DOOR,BULKHEAD,STANDARD,ME219 | DOOR;ADDITIONAL FEATURES:MAN DOOR,BULKHEAD,STANDARD,ME219 |  |  |  |  | 1069720 @@ MAATTA ENGINEERING | 1495288 | [11 empty] | ME219 |  |  | MAATTA ENGINEERING | 1495288 | [14 empty] | https://spares.bigwarehouse.com.au/product_info.php?cPath=46427_53341_57596&products_id=1495288 | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | MAN, BULKHEAD, STANDARD | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1149732 | 1149732 |  |  |  | ERSA | M | 5100 | 1495287GZPCLNT100 | EA |  | DOOR;MAN DOOR,BULKHEAD,EXTRA WIDE,ME212 | DOOR;MAN DOOR,BULKHEAD,EXTRA WIDE,ME212 | DOOR;ADDITIONAL FEATURES:MAN DOOR,BULKHEAD,EXTRA WIDE,ME212 |  |  |  |  | 1069720 @@ MAATTA ENGINEERING | 1495287 | [11 empty] | ME212 |  |  | MAATTA ENGINEERING | 1495287 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | MAN, BULKHEAD, EXTRA WIDE | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1154427 | 1154427 |  |  |  | ERSA | M | 5920 | 1509567GZPCLNT100 | EA |  | DISC;AUSTSAW DIAMOND CUP W,9312601005758 | DISC;AUSTSAW DIAMOND CUP W,9312601005758 | DISC;ADDITIONAL FEATURES:AUSTSAW DIAMOND CUP W,9312601005758 |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9312601005758 | [11 empty] | 9312601005758 |  |  | ELLIOTT TIMBER SALES PTY LTD | 9312601005758 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | AUSTSAW DIAMOND CUP W |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1154428 | 1154428 |  |  |  | ERSA | M | 5920 | 1509566GZPCLNT100 | EA |  | DISC;AUSTSAW DIAMOND CUP W,9313601005741 | DISC;AUSTSAW DIAMOND CUP W,9313601005741 | DISC;ADDITIONAL FEATURES:AUSTSAW DIAMOND CUP W,9313601005741 |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9313601005741 | [11 empty] | 9313601005741 |  |  | ELLIOTT TIMBER SALES PTY LTD | 9313601005741 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | AUSTSAW DIAMOND CUP W |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1179029 | 1179029 |  |  |  | ERSA | M | 4010 | 1544301GZPCLNT100 | EA |  | DISC;180MM | DISCO; | DISC;SIZE:180MM,ADDITIONAL FEATURES EN:180MM,CLEAN & STRIP,3M S/BRITE | DISCO; |  |  |  | 1069714 @@ BLACKWOODS | 5342597 | 1068652 @@ J BLACKWOOD & SONS | 5342597 | [10 empty] | 3M SCOTCH-BRITE | AT019439697 | [12 empty] | BLACKWOODS | 05342597 | J BLACKWOOD & SONS | 5342597 | https://www.blackwoods.com.au/abrasives/non-woven-abrasives/clean-strip/disc-s-brite-3m-cleanandstrip-prp-dc-180mm/p/05342597 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | COLOUR: PURPLE, SPEED: 8500 RPM | DISC | NO MODIFIER | TYPE | RIGID CLEAN AND STRIP | SIZE | 180X22 MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1180252 | 1180252 |  |  |  | ERSA | M | 5700 | 1544243GZPCLNT100 | EA |  | DOOR;ACCSS,23600020S | PUERTA; | DOOR;TYPE:ACCESS,SIZE:TBC,ADDITIONAL FEATURES EN:ACCESS,COMBI-SAFE ASSY,XHD,S/S | PUERTA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 23600020S | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 23600020S | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | COMBI-SAFE ASSY,XHD |  | DOOR | NO MODIFIER | TYPE | ACCESS | SIZE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183428 | 1183428 |  |  |  | ERSA | M | 4010 | 1563029GZPCLNT100 | BOX |  | DISC,GRNDG;125X6.5MM,MTL,XTRA,BULK,BOX | DISCO ESMERIL; | DISC,GRINDING;SIZE:125X6.5MM,ADDITIONAL FEATURES EN:METAL,XTRA,BULK,BOX | DISCO ESMERILADO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GFDM12560 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | GFDM12560 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels | BOX |  | DISC | GRINDING | TYPE | XTRA | SPEED |  | SIZE | 125X6.5 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | METAL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183429 | 1183429 |  |  |  | ERSA | M | 4010 | 1563028GZPCLNT100 | BOX |  | DISC,CUTNG;180X1.6MM,XTRA,BULK,BOX | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:180X1.6MM,XTRA,BULK,BOX | DISCO CORTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GCDGX18016 | [12 empty] | ALPHA | GCDGX18016 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.tools.com/alpha-180-x-1-6mm-cutting-disc-xtra-bulk-gcdgx18016.html | [9 empty] | Enriched | 27112838 Cutting disc | XTRA,BULK,BOX | SIZE: 0.065 LGX0.190 WDX0.200 HT M, WEIGHT: 2.3 KG | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 22.23 IDX180 DIAX1.6 THKMM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL |  | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183877 | 1183877 |  |  |  | ERSA | M | 4010 | 1561434GZPCLNT100 | BOX |  | DISC,GRNDG;230X6MM | DISCO ESMERIL; | DISC,GRINDING;SIZE:230X6MM,ADDITIONAL FEATURES EN:STAINLESS,SILVER SERIES,5PK | DISCO ESMERILADO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GGDSS23060 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | GGDSS23060 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels | SILVER SERIES,PACK OF QUANTITY: 5 |  | DISC | GRINDING | TYPE |  | SPEED |  | SIZE | 230X6 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183878 | 1183878 |  |  |  | ERSA | M | 4010 | 1561433GZPCLNT100 | BOX |  | DISC,GRNDG;180X6MM | DISCO ESMERIL; | DISC,GRINDING;SIZE:180X6MM,ADDITIONAL FEATURES EN:STAINLESS,SILVER SERIES,10PK | DISCO ESMERILADO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GGDSS18060 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | GGDSS18060 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23131503 Grinding wheels | SILVER SERIES,PACK OF QUANTITY: 10 |  | DISC | GRINDING | TYPE |  | SPEED |  | SIZE | 180X6 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183879 | 1183879 |  |  |  | ERSA | M | 4010 | 1561432GZPCLNT100 | BOX |  | DISC,CUTNG;230X2MM,SILVER SERIES,25PK | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:230X2MM,SILVER SERIES,25PK | DISCO CORTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GCDSS23020 | [12 empty] | ALPHA | GCDSS23020 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.tools.com/alpha-230-x-2-0mm-silver-series-cutting-disc-bulk-gcdss23020.html | [9 empty] | Enriched | 27112838 Cutting disc | PACKING QUANTITY: 25 | SIZE: 0.011 LGX0.230 WDX0.230 HT M, WEIGHT: 0.95 KG | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 22.23 IDX230 DIAX2 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | SILVER SERIES | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1183880 | 1183880 |  |  |  | ERSA | M | 4010 | 1561431GZPCLNT100 | BOX |  | DISC,CUTNG;180X2MM,SILVER SERIES,25PK | DISCO CORT; | DISC,CUTTING;ADDITIONAL FEATURES EN:180X2MM,SILVER SERIES,25PK | DISCO CORTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | GCDSS18020 | [12 empty] | ALPHA | GCDSS18020 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.tools.com/alpha-180-x-2-0mm-silver-series-cutting-disc-bulk-gcdss18020.html | [9 empty] | Enriched | 27112838 Cutting disc | PACKING QUANTITY: 25 | SIZE: 0.063 LGX0.18 WDX0.18 HT M, WEIGHT: 2.72 KG | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 22.23 IDX180 DIAX2 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | SILVER SERIES | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1184531 | 1184531 |  |  |  | ERSA | M | 4005 | 1558948GZPCLNT100 | EA |  | DISC;5 IN,ZEC,36 GRIT | DISCO; | DISC;SIZE:5 IN,ADDITIONAL FEATURES EN:ZEC,36 GRIT | DISCO; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 3011-5336 | [14 empty] | BURWELL TECHNOLOGIES PTY LTD | 3011-5336 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | GRIT: 36, ZEC |  | DISC | NO MODIFIER | TYPE |  | SIZE | 5 IN | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1184713 | 1184713 |  |  |  | ERSA | M | 2920 | 1558710GZPCLNT100 | PAA |  | BOOTS,SAFTY;SIZE 11,LTHR | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SIZE 11,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:240MM,PULL ON,RIGGERS | BOTAS SEGURIDAD; |  |  |  | 1068602 @@ MCGHIE ENTERPRISES QLD PTY LTD | 1558710 | [14 empty] | MCGHIE ENTERPRISES QLD PTY LTD | 1558710 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | SIZE: 240 MM |  | BOOTS | SAFETY | TYPE | PULL ON, RIGGERS | SIZE DESIGNATION | 11 | MATERIAL | LEATHER | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1184714 | 1184714 |  |  |  | ERSA | M | 2920 | 1558709GZPCLNT100 | PAA |  | BOOTS,SAFTY;SZ 10,LTHR | BOTAS SEGU; | BOOTS,SAFETY;SIZE DESIGNATION:SIZE 10,MATERIAL:LEATHER,ADDITIONAL FEATURES EN:240MM,PULL ON,RIGGERS | BOTAS SEGURIDAD; |  |  |  | 1068602 @@ MCGHIE ENTERPRISES QLD PTY LTD | 1558709 | [14 empty] | MCGHIE ENTERPRISES QLD PTY LTD | 1558709 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | SIZE: 240 MM |  | BOOTS | SAFETY | TYPE | PULL ON, RIGGERS | SIZE DESIGNATION | 10 | MATERIAL | LEATHER | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1185340 | 1185340 |  |  |  | ERSA | M | 1500 | 1557274GZPCLNT100 | EA |  | DOOR;EXTRNL,2040x820x35 | PUERTA; | DOOR;TYPE:EXTERNAL,SIZE:2040x820x35,ADDITIONAL FEATURES EN:XF3,DURA,SCX1,SOLI,CLEAR GLASS | PUERTA; |  |  |  | 1068942 @@ BIG HAMMER BUILDING CENTRE | 1557274 | [10 empty] | DURACOTE |  |  |  | BIG HAMMER BUILDING CENTRE | 1557274 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | XF3, SCX1 |  | DOOR | NO MODIFIER | TYPE | EXTERNAL, SOLID | SIZE | 2040X820X35 MM | MATERIAL |  | COLOUR | CLEAR GLASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1185954 | 1185954 |  |  |  | ERSA | M | 1600 | 1555530GZPCLNT100 | EA | 3000422 | CONDUIT,CBL;CNW,FLELTP63B-25M,63MM,LTP,2 | CABLE CONDUCT;CNW,FLELTP63B-25M | CONDUIT,CABLE;MNFR:CNW,PTNO:FLELTP63B-25M,ADDITIONAL FEATURES EN:63MM,LTP,25M ROLL,BLACK | CABLE CONDUCTO;MNFR:CNW,PTNO:FLELTP63B-25M |  | CNW | FLELTP63B-25M | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FLELTP63B-25M | [10 empty] | CNW | FLELTP63B-25M |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | FLELTP63B-25M | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131706 Electrical conduit |  |  | CONDUIT | CABLE | TYPE | LTP | TRADE SIZE | 63 MM | LENGTH | 25 M/ROLL | MATERIAL |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | CONNECTION TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1186332 | 1186332 |  |  |  | ERSA | M | 3000 | 1552886GZPCLNT100 | EA |  | DISC,PMP;RENEWABLE WEAR | DISCO BOMBA; | DISC,PUMP;ADDITIONAL FEATURES EN:RENEWABLE WEAR | DISCO BOMBA; |  |  |  | 1070449 @@ GLOBAL PUMP GROUP PTY LTD | 104600481012 | [14 empty] | GLOBAL PUMP GROUP PTY LTD | 104600481012 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151717 Pump discs |  |  | DISC | PUMP | PUMP TYPE | RENEWABLE WEAR | PUMP SIZE |  | DISC MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1186988 | 1186988 |  |  |  | ERSA | M | 3730 | 1544860GZPCLNT100 | EA | 3000003 | DISC;CAT,9P7390 | DISCO;CAT,9P7390 | DISC;MNFR:CATERPILLAR,PTNO:9P7390 | DISCO;MNFR:CATERPILLAR,PTNO:9P7390 |  | CATERPILLAR | 9P7390 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 9P7390 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9P7390 | [10 empty] | CATERPILLAR | 9P-7390 | HASTINGS DEERING (AUSTRALIA) LTD |  | HASTINGS DEERING (AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/9P-7390 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE | CLUTCH FRICTION | SIZE | 345.1 ODX5.6 THK MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1188092 | 1188092 |  |  |  | ERSA | M | 2620 | 1604675GZPCLNT100 | EA |  | DIFFUSER;GAS,155 -185 MIG,WELDSKILL | DIFUSOR;GAS | DIFFUSER;TYPE:GAS,SIZE:155 -185 MIG,ADDITIONAL FEATURES EN:WELDSKILL | DIFUSOR;TIPO:GAS |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | CIGW6000606 | [12 empty] | CIGWELD | W6000606 | GLOBAL WELDING SUPPLIES (MT ISA) | CIGW6000606 | [14 empty] | https://sydneytools.com.au/product/cigweld-w6000606-weldskill-155185-torch-gas-diffuser | [9 empty] | Cleansed | 40101500 Ventilation | WELDSKILL |  | DIFFUSER | NO MODIFIER | TYPE | GAS | POWER RATING |  | SHAPE |  | LAMP SIZE |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE | 155 TO 185 MIG | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1188176 | 1188176 |  |  |  | ERSA | M | 3000 | 1586730GZPCLNT100 | EA | 3000353 | DISC;SULZ,104607516207,BALANCING,HPH32-1 | DISCO;SULZ,104607516207 | DISC;MNFR:SULZER,PTNO:104607516207,ADDITIONAL FEATURES EN:BALANCING,HPH32-17.5,1.4468,GRADE:GX2CRNIMON25-6-3 | DISCO;MNFR:SULZER,PTNO:104607516207 |  | SULZER | 104607516207 | 1068276 @@ SULZER AUSTRALIA PTY LTD | 104607516207 | [10 empty] | SULZER | 104607516207 |  |  | SULZER AUSTRALIA PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BALANCING,HPH32-17.5,1.4468,GRADE:GX2CRNIMON25-6-3 |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 | 20 L BASED ON WEBSOURCED CONFLICT W.R.T INUT CAPACITY | 1188231 | 1188231 |  |  |  | ERSA | M | 4090 | 1586465GZPCLNT100 | PAA |  | CAN;JERRY,FUEL,20 L,POLYETHYLENE,BLACK | LATA;,20 L,POLIETILENO,NEGRO | CAN;TYPE:JERRY,FUEL,CAPACITY:20 L,MATERIAL:POLYETHYLENE,COLOUR:BLACK,ADDITIONAL FEATURES EN:PN:FC10B,HAIGH | LATA;CAPACIDAD:20 L,MATERIAL:POLIETILENO,TONO:NEGRO |  |  |  | 1069714 @@ BLACKWOODS | 5939467 | 1068652 @@ J BLACKWOOD & SONS | 5939467 | [10 empty] | HAIGH | FC10B | [12 empty] | BLACKWOODS | 5939467 | J BLACKWOOD & SONS |  | http://www.haigh.com.au/products/fluid-handling/containers/10l-plastic-jerry-can-1-detail | [9 empty] | Enriched | 24112200 Cans and pails |  |  | CAN | NO MODIFIER | TYPE | JERRY,FUEL | CAPACITY | 10 L | MATERIAL | POLYETHYLENE | OVERALL SIZE |  | CAP TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1188668 | 1188668 |  |  |  | ERSA | M | 5100 | 1584843GZPCLNT100 | EA |  | CAM;REVRS | LEVA; | CAM;ADDITIONAL FEATURES EN:REVERSE | LEVA; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3176 0061 22 | [14 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3176 0061 22 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26111530 Transmission cam |  |  | CAM | NO MODIFIER | TYPE | REVERSE | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1188669 | 1188669 |  |  |  | ERSA | M | 5100 | 1584842GZPCLNT100 | EA |  | CAM;REVERSE MONITOR | LEVA; | CAM;ADDITIONAL FEATURES EN:REVERSE MONITOR | LEVA; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 60 | [14 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 60 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26111530 Transmission cam |  |  | CAM | NO MODIFIER | TYPE | REVERSE MONITOR | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 | ANACONDA, LTP BASED ON WEBSOURCED CONFLICT W.R.T INPUT TYPE | 1188995 | 1188995 |  |  |  | ERSA | M | 1600 | 1576461GZPCLNT100 | EA | 3000422 | CONDUIT;CNW,FLELTP32B-25M,ANACONDA,32MM | CONDUCT;CNW,FLELTP32B-25M | CONDUIT;MNFR:CNW,PTNO:FLELTP32B-25M,ADDITIONAL FEATURES EN:ANACONDA,32MM LTP GALV-STL/PVC 25 M BLACK | CONDUCTO;MNFR:CNW,PTNO:FLELTP32B-25M |  | CNW | FLELTP32B-25M | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FLELTP32B-25M | [10 empty] | CNW | FLELTP32B-25M | FLEXICON | LTP32B-25M | CNW (MOUNT ISA) ELECT WHOLESALER | FLELTP32B-25M | [14 empty] | https://au.rs-online.com/web/p/conduit/1240039 | [9 empty] | ENRICHED | 39131700 Wire Raceways Conduit and Busways | COLOUR: BLACK |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE | TRADE SIZE | 32 MM | LENGTH | 25 M | MATERIAL | GALVANIZED STEEL, PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1189841 | 1189841 |  |  |  | ERSA | M | 4090 | 1575430GZPCLNT100 | EA |  | DISC;0-67 MM,R/BERG CUTTER WHEEL,7700242 | DISCO; | DISC;SIZE:0-67 MM,ADDITIONAL FEATURES EN:R/BERG CUTTER WHEEL,7700242,MULTI LAYER | DISCO; |  |  |  | 1068155 @@ REECE PTY LTD | 7700242 | [10 empty] | ROTHENBERGER |  | REECE PTY LTD | 7700242 | [16 empty] | https://www.reece.co.nz/product/rothenberger-b181000/rothenberger-cutter-wheel-multi-layer-0-67mm-7700242 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | DISC | WEIGHT: 0.1 KG | CUTTER | WHEEL | TYPE |  | DIAMETER | 0-67 MM | THICKNESS |  | MATERIAL |  | ARBOR SIZE |  | SIZE |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1190080 | 1190080 |  |  |  | ERSA | M | 1600 | 1575119GZPCLNT100 | EA |  | BRACE;TEE,90 X 138 MM,FLAT 4 HOLE,HDG | BRAZALETE; | BRACE;TYPE:TEE,SIZE:90 X 138 MM,ADDITIONAL FEATURES EN:FLAT 4 HOLE,HDG | BRAZALETE; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | BUNB1031H | [14 empty] | METAL MANUFACTURES PTY LTD | BUNB1031H | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces | FLAT 4 HOLE,HDG |  | BRACE | NO MODIFIER | TYPE | TEE | SIZE | 90X138 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1203482 | 1203482 |  |  |  | ERSA | M | 4090 | 981778MRM | BOX |  | BANDAGE,ELASTIC:FLEXIBLE FABRIC STRIP;ST | BANDAGE,ELASTIC:FLEXIBLE FABRIC STRIP;ST | BANDAGE,ELASTIC:FLEXIBLE FABRIC STRIP;STERILE;ELASTOPLAST;BOX OF 100; |  |  |  |  | 1079214 @@ ST JOHN AMBULANCE | 5273000 | [14 empty] | ST JOHN AMBULANCE | 5273000 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products | BRAND: ELASTOPLAST, STERILITY RATING: STERILE, PACKING QUANTITY: 100 |  | BANDAGE | NO MODIFIER | TYPE | ELASTIC | SIZE |  | MATERIAL | FLEXIBLE FABRIC STRIP | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE | BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206105 | 1206105 |  |  |  | ERSA | M | 5500 | 153019MRM | TO |  | BALL,GRINDING:CERAMIC GRINDING MEDIA; 2M | BALL,GRINDING:CERAMIC GRINDING MEDIA; 2M | BALL,GRINDING:CERAMIC GRINDING MEDIA; 2MM;3.65 - 3.7 SG;HIGH GRADE ALUMINA CERAMICAND ZIRCONIUM COATED GRINDING MEDIA |  |  |  |  | 1068679 @@ KERAMOS PTY LTD | GRINDSTARTM | [14 empty] | KERAMOS PTY LTD | GRINDSTARTM | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | DENSITY: 3.65 - 3.7 SG |  | BALL | GRINDING | TYPE | MEDIA | DIAMETER | 2 MM | MATERIAL | HIGH GRADE ALUMINA CERAMICAND ZIRCONIUM COATED | HARDNESS |  | CENTER HARDNESS |  | GRADE |  | PACK SIZE |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206716 | 1206716 |  |  |  | ERSA | M | 2920 | 132561MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300CUNISEX HONEY UK 6 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026482 | [12 empty] | ATOM SUPPLY | 40026482 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 6 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206717 | 1206717 |  |  |  | ERSA | M | 2920 | 132562MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 7 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026484 | [12 empty] | ATOM SUPPLY | 40026484 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 7 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206718 | 1206718 |  |  |  | ERSA | M | 2920 | 132563MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 7.5 PAIR |  |  |  |  | 1068512 @@ BUNZL BRANDS & OPERATIONS PTY LIMIT | MK0OCTANEHHF075 | [14 empty] | BUNZL BRANDS & OPERATIONS PTY LIMIT | MK0OCTANEHHF075 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 7.5 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206719 | 1206719 |  |  |  | ERSA | M | 2920 | 132564MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 8 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026485 | [12 empty] | ATOM SUPPLY | 40026485 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 8 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 27-10-2023 |  | 1206913 | 1206913 |  |  |  | ERSA | M | 2920 | 132565MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 8.5 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026476 | [12 empty] | ATOM SUPPLY | 40026476 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 8.5 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed