## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1062731 | 1062731 | 1440977 | AU_QM_000985474 |  | ERSA | M | 1600 | 1440977GZPCLNT100 | EA |  | 0.4-0.63AMP;AC3 415VAC; | 0.4-0.63AMP;AC3 415VAC; | CIRCUIT BREAKER: 0.4-0.63AMP;AC3 415VAC; 8AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER:0.4-0.63AMP;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440977 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440977 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:8 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 0.4 TO 0.63 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068189 | 1068189 | 1440976 | AU_QM_000985473 |  | ERSA | M | 1600 | 1440976GZPCLNT100 | EA |  | 1.6-2.5AMP;1.1KW;AC3 415VAC; | 1.6-2.5AMP;1.1KW;AC3 415VAC; | CIRCUIT BREAKER: 1.6-2.5AMP;1.1KW;AC3 415VAC; 33.5AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER:1.6-2.5AMP;1.1KW;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440976 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440976 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:33.5 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 1.6 TO 2.5 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING | 1.1 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068165 | 1068165 | 1440980 | AU_QM_000985477 |  | ERSA | M | 1600 | 1440980GZPCLNT100 | EA |  | 1-1.6AMP;AC3 415VAC; | 1-1.6AMP;AC3 415VAC; | CIRCUIT BREAKER: 1-1.6AMP;AC3 415VAC; 22.5AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER:1-1.6AMP;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440980 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440980 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:22.5 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 1 TO 1.6 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068166 | 1068166 | 1440981 | AU_QM_000985478 |  | ERSA | M | 1600 | 1440981GZPCLNT100 | EA |  | 13-18AMP;9KW;AC3 415VAC; | 13-18AMP;9KW;AC3 415VAC; | CIRCUIT BREAKER: 13-18AMP;9KW;AC3 415VAC; 223AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D1810 CONTACTOR SERVICE |  | CIRCUIT BREAKER:13-18AMP;9KW;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440981 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440981 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:223 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D1810 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 13 TO 18 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING | 9 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1067495 | 1067495 | 1427739 | AU_QM_000475749 |  | ERSA | M | 1600 | 1427739GZPCLNT100 | EA |  | 20-25A;3 POLE;415VAC;8KA; | 20-25A;3 POLE;415VAC;8KA; | CIRCUIT BREAKER: 20-25A;3 POLE;415VAC;8KA; 275A MAGNETIC TRIP CURRENT; RATED 11/12.5KW AC2 AC3 400V; DIN RAIL MTG;MOTOR STARTER/PROTECTOR |  | CIRCUIT BREAKER:20-25A;3 POLE;415VAC;8KA; |  |  | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | 1427739 | 1068122 @@ MARCON AGENCIES PTY LTD | 1427739 | [8 empty] | NHP ELECTRICAL ENGINEERING PROD | 1427739 |  |  | MARCON AGENCIES PTY LTD | 1427739 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | MAGNETIC TRIP CURRENT:275 A,UTILIZATION CATEGORY:AC-2/AC-3,DUTY FOR MOTOR STARTER |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 20 TO 25 A | VOLTAGE RATING | 400/415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 8 KA | POWER RATING | 11/12.5 KW | FREQUENCY RATING |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068163 | 1068163 | 1440978 | AU_QM_000985475 |  | ERSA | M | 1600 | 1440978GZPCLNT100 | EA |  | 20-25AMP;11KW;AC3 415VAC; | 20-25AMP;11KW;AC3 415VAC; | CIRCUIT BREAKER: 20-25AMP;11KW;AC3 415VAC; 327AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D2510 CONTACTOR SERVICE |  | CIRCUIT BREAKER:20-25AMP;11KW;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440978 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440978 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:327 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D2510 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 20 TO 25 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING | 11 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1063814 | 1063814 | 1427301 | AU_QM_000453126 |  | ERSA | M | 1600 | 1427301GZPCLNT100 | EA |  | 20A;1P;6KA @ 240V;MINIATURE;C60N; | 20A;1P;6KA @ 240V;MINIATURE;C60N; | CIRCUIT BREAKER: 20A;1P;6KA @ 240V;MINIATURE;C60N; C CURVE;DIN RAIL MTG; AS3111/AS2184/AS3947-2 |  | CIRCUIT BREAKER:20A;1P;6KA @ 240V;MINIATURE;C60N; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 21404 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 25804 | [10 empty] | SCHNEIDER ELECTRIC | 25804 | LAWRENCE & HANSON PTY. LTD. | 21404 | CNW (TOWNSVILLE) ELECT SUPPLIES | 25804 | [12 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/Minature-Circuit-Breaker/MCB-C60N-1P-1MOD-20A-6KA-C-CURVE/p/SCH25804SUNMCB | [9 empty] | Enriched | 39121603 Miniature circuit breakers | SERIES:C60N |  | CIRCUIT BREAKER | MINIATURE | TYPE | THERMAL MAGNETIC | CURRENT RATING | 20 A | VOLTAGE RATING | 240/415 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX81 HT MM | CERTIFICATION/STANDARD | AS3111/AS2184/AS3947-2,AS/NZS 4898, N13634 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1062730 | 1062730 | 1440982 | AU_QM_000985479 |  | ERSA | M | 1600 | 1440982GZPCLNT100 | EA |  | 25-40AMP;22KW;AC3 415VAC; | 25-40AMP;22KW;AC3 415VAC; | CIRCUIT BREAKER: 25-40AMP;22KW;AC3 415VAC; THERMAL MAGNETIC;MOTOR DUTY; LC1-D4011 CONTACTOR SERVICE |  | CIRCUIT BREAKER:25-40AMP;22KW;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440982 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1440982 | [8 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440982 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D4011 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 25 TO 40 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING | 22 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1062775 | 1062775 | 1435192 | AU_QM_000772973 |  | ERSA | M | 1600 | 1435192GZPCLNT100 | EA |  | 2A;1P;6KA @ 240V;MINIATURE;C60N; | 2A;1P;6KA @ 240V;MINIATURE;C60N; | CIRCUIT BREAKER: 2A;1P;6KA @ 240V;MINIATURE;C60N; C CURVE;DIN RAIL MTG; AS3111/AS2184/AS3947-2 |  | CIRCUIT BREAKER:2A;1P;6KA @ 240V;MINIATURE;C60N; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | MER25798 | [12 empty] | MERLIN GERIN | 25798 | CNW (TOWNSVILLE) ELECT SUPPLIES | MER25798 | [14 empty] | https://docs.rs-online.com/6abf/0900766b802d9c09.pdf | https://powerun.co.nz/product/merlin-gerin-mcb-c60n-1-pole-02a/ | [8 empty] | Enriched | 39121603 Miniature circuit breakers | SERIES:C60N |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING | 240/415 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111/AS2184/AS3947-2,AS/NZS 4898 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068164 | 1068164 | 1440979 | AU_QM_000985476 |  | ERSA | M | 1600 | 1440979GZPCLNT100 | EA |  | 4-6.3AMP;2.2KW;AC3 415VAC; | 4-6.3AMP;2.2KW;AC3 415VAC; | CIRCUIT BREAKER: 4-6.3AMP;2.2KW;AC3 415VAC; 78AMP TRIP CURRENT; THERMAL MAGNETIC;MOTOR DUTY; LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER:4-6.3AMP;2.2KW;AC3 415VAC; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440979 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440979 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CURRENT:78 A,UTILIZATION CATEGORY:AC-3,DUTY FOR LC1-D0910 CONTACTOR SERVICE |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | THERMAL MAGNETIC | CURRENT RATING | 4 TO 6.3 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING | 2.2 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1068162 | 1068162 | 1440974 | AU_QM_000985468 |  | ERSA | M | 1600 | 1440974GZPCLNT100 | EA |  | 6A;2P;6KA @ 240/415V;MINIATURE;C60N; | 6A;2P;6KA @ 240/415V;MINIATURE;C60N; | CIRCUIT BREAKER: 6A;2P;6KA @ 240/415V;MINIATURE;C60N; B CURVE;DIN RAIL MTG; AS3111/AS2184/AS3947-2; |  | CIRCUIT BREAKER:6A;2P;6KA @ 240/415V;MINIATURE;C60N; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | C60N B6 400VAC 2P | 1071835 @@ REXEL AUSTRALIA | 1440974 | [8 empty] | LAWRENCE & HANSON PTY. LTD. | C60N B6 400VAC 2P |  |  | REXEL AUSTRALIA | 1440974 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | SERIES:C60N |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 240/415 V | NUMBER OF POLES | 2 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS | B | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111/AS2184/AS3947-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1064641 | 1064641 | 1459158 | AU_QM_002207190 |  | ERSA | M | 1600 | 1459158GZPCLNT100 | EA |  | AIR | AIR | CIRCUIT BREAKER: AIR STANDARD WAYGOOD TYPE LA50B 800 AMPS 440V 50 HZ 3 PHASE WITHDRAWABLE |  | CIRCUIT BREAKER:AIR |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1459158 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1459158 |  |  | WAYGOOD | LA50B | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121615 Air circuit breakers | NUMBER OF PHASE:3,STANDARD,WITHDRAWABLE |  | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING | 440 VAC | FREQUENCY RATING | 50 HZ | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1028873 | 1028873 | 1424261 | AU_QM_000333286 |  | ERSA | M | 3300 | 1424261GZPCLNT100 | EA | 3000000 | BREAKER;ATL,1089 9203 03 | BREAKER;ATL,1089 9203 03 | BREAKER;MNFR:ATLAS COPCO,PTNO:1089 9203 03 |  | CIRCUIT BREAKER:GA22P CONTROL CB/FUSEHOLDER; | ATLAS COPCO | 1089 9203 03 | [14 empty] | ATLAS COPCO | 1089-9203-03 | [16 empty] | https://compressedairpartscompany.com/1089-9203-03circuitbreaker20a1poleoematlascopco.aspx | [9 empty] | Enriched | 39121601 Circuit breakers | FOR GA22P CONTROL/FUSEHOLDER |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 | Processed based on Websource, Conflict w.r.t Input | 1029038 | 1029038 | 1468977 | AU_QM_007905019 |  | ERSA | M | 3300 | 1468977GZPCLNT100 | EA | 3000000 | BREAKER;ATL,1091-0118-03 | BREAKER;ATL,1091-0118-03 | BREAKER;MNFR:ATLAS COPCO,PTNO:1091-0118-03 |  | CIRCUIT BREAKER:100-DEG.C (THERMOSTATIC) | ATLAS COPCO | 1091-0118-03 | 1068124 @@ ATLAS COPCO COMPRESSORS AUST | 1091-0118-03 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1091-0118-03 | [10 empty] | ATLAS COPCO | 1091-0118-03 | EPIROC AUSTRALIA PTY LTD | 1091-0118-03 | [14 empty] | https://www.aircompressorstrade.com/genuine-atlas-copco-spare-parts-catalog-section-12-china-supplier-2022/ | [9 empty] | Cleansed | 39122200 Electrical switches and accessories | TEMPERATURE RATING:100 DEG C, THERMOSTATIC |  | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1026844 | 1026844 | 1442088 | AU_QM_000993643 |  | ERSA | M | 3300 | 1442088GZPCLNT100 | EA | 3000000 | BREAKER;ATL,3176 4492 02 | BREAKER;ATL,3176 4492 02 | BREAKER;MNFR:ATLAS COPCO,PTNO:3176 4492 02 |  | CIRCUIT BREAKER:10A;1-POLE;MINIATURE; | ATLAS COPCO | 3176 4492 02 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3176449202 | [12 empty] | ATLAS COPCO | 3176 4492 02 | EPIROC AUSTRALIA PTY LTD | 3176449202 | [14 empty] | https://optimaparts.ru/wp-content/uploads/2016/08/Boomer-282.pdf | [9 empty] | Cleansed | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1030120 | 1030120 | 1355602 | AU_QM_000145792 |  | ERSA | M | 3300 | 1355602GZPCLNT100 | EA | 3000000 | BREAKER;ATL,5112315995 | BREAKER;ATL,5112315995 | BREAKER;MNFR:ATLAS COPCO,PTNO:5112315995 |  | CIRCUIT BREAKER:MIN CIRC BREAK | ATLAS COPCO | 5112315995 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112315995 | [12 empty] | ATLAS COPCO | 5112 3159 95 | EPIROC AUSTRALIA PTY LTD | 5112315995 | [14 empty] | https://gzbosenjx.en.made-in-china.com/product/lJUYrbojgRkq/China-Epiroc-BS-Atlas-Copco-BS-Sandvil-BS-for-Gold-Mining-Chine-Briquette-Machine-Stone-Crusher-Price-Mining-Machine-Caterpillarbs-Insulated-Sockets-Component.html | [9 empty] | Cleansed | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1030119 | 1030119 |  |  |  | ERSA | M | 3300 | 1355603GZPCLNT100 | EA | 3000000 | BREAKER;ATL,5112315999 | FUSIBLE;EPI,5112315999 | BREAKER;MNFR:ATLAS COPCO,PTNO:5112315999 |  |  | ATLAS COPCO | 5112315999 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112315999 | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | 5112315999 | [10 empty] | ATLAS COPCO | 5112315999 | EPIROC AUSTRALIA PTY LTD | 5112315999 | MAINTENANCE TECHNIQUE PTY LTD | 5112315999 | [12 empty] | https://shanghaisanto.com/epiroc-loaders-trucks-9/ | [9 empty] | Cleansed | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1030985 | 1030985 | 1429445 | AU_QM_000611137 |  | ERSA | M | 3300 | 1429445GZPCLNT100 | EA | 3000000 | BREAKER;ATL,5537302900 | BREAKER;ATL,5537302900 | BREAKER;MNFR:ATLAS COPCO,PTNO:5537302900 |  | CIRCUIT BREAKER: | ATLAS COPCO | 5537302900 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5537302900 | [12 empty] | ATLAS COPCO | 5537302900 | EPIROC AUSTRALIA PTY LTD | 5537302900 | [14 empty] | https://expa-parts.com/atlas.copco/circuit/5537302900/ | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1026843 | 1026843 | 1442248 | AU_QM_000995006 |  | ERSA | M | 3300 | 1442248GZPCLNT100 | EA | 3000000 | BREAKER;ATL,5540 1372 00 | BREAKER;ATL,5540 1372 00 | BREAKER;MNFR:ATLAS COPCO,PTNO:5540 1372 00 |  | CIRCUIT BREAKER:ST1800 LOADER;30 AMP; | ATLAS COPCO | 5540 1372 00 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5540137200 | [12 empty] | ATLAS COPCO | 5540137200 | EPIROC AUSTRALIA PTY LTD | 5540137200 | [14 empty] | https://www.peri-parts.com/5540137200-atlas-copco-original-circuit-brkr-9f3.html | https://www.aircompressorstrade.com/5728201100-genuine-atlas-copco-epiroc-spare-parts-catalog-by-cpmc-china-supplier/ |  | LOADER |  | ST1800 |  |  |  |  | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 30 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1030984 | 1030984 | 1429446 | AU_QM_000611145 |  | ERSA | M | 3300 | 1429446GZPCLNT100 | EA | 3000000 | BREAKER;ATL,5541414500 | BREAKER;ATL,5541414500 | BREAKER;MNFR:ATLAS COPCO,PTNO:5541414500 |  | CIRCUIT BREAKER: | ATLAS COPCO | 5541414500 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5541414500 | [12 empty] | ATLAS COPCO | 5541414500 | EPIROC AUSTRALIA PTY LTD | 5541414500 | [14 empty] | https://www.aircompressorstrade.com/5728201100-genuine-atlas-copco-epiroc-spare-parts-catalog-by-cpmc-china-supplier/ | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1215925 | 1215925 |  |  |  | ERSA | M | 1600 | 138953MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 150KA 8 | CIRCUIT BREAKER:CIRCUIT BREAKER 150KA 8 | CIRCUIT BREAKER:CIRCUIT BREAKER 150KA 800A;SEC CRUSHINGSWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 150 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1215924 | 1215924 |  |  |  | ERSA | M | 1600 | 138952MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 16 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 16 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 160A;SEC CRUSHINGSWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 160 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1215923 | 1215923 |  |  |  | ERSA | M | 1600 | 138951MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 40 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 40 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 40A;SEC CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212695 | 1212695 |  |  |  | ERSA | M | 1600 | 137351MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 80 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 80 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 800A MICROLOGIC 5.0;GRINDING SWITCHROOM SPARES; |  |  |  |  | 1079053 @@ SCHNEIDER ELECTRIC (DARWIN) | PN1212695 | [10 empty] | SCHNEIDER ELECTRIC (DARWIN) | PN1212695 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:MICROLOGIC 5.0,FOR GRINDING SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212698 | 1212698 |  |  |  | ERSA | M | 1600 | 137354MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM25D;GRINDING SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM25D,FOR GRINDING SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212511 | 1212511 |  |  |  | ERSA | M | 1600 | 137338MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM1 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM1 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA TM160D;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM160D,FOR FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 160 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1213021 | 1213021 |  |  |  | ERSA | M | 5920 | 137589MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;10A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;10A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;10A;DR460; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DR460 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1213018 | 1213018 |  |  |  | ERSA | M | 5920 | 137585MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;15A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;15A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;15A;DR460; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DR460 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 15 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1213019 | 1213019 |  |  |  | ERSA | M | 5920 | 137586MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;20A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;20A;DR46 | CIRCUIT BREAKER:CIRCUIT BREAKER;20A;DR460; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DR460 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1213020 | 1213020 |  |  |  | ERSA | M | 5920 | 137587MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;2A;DR460 | CIRCUIT BREAKER:CIRCUIT BREAKER;2A;DR460 | CIRCUIT BREAKER:CIRCUIT BREAKER;2A;DR460; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DR460 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1213014 | 1213014 |  |  |  | ERSA | M | 5920 | 137581MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;MAIN;DR4 | CIRCUIT BREAKER:CIRCUIT BREAKER;MAIN;DR4 | CIRCUIT BREAKER:CIRCUIT BREAKER;MAIN;DR460; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DR460 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAIN | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212712 | 1212712 |  |  |  | ERSA | M | 1600 | 137370MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM100D 70-100A | CIRCUIT BREAKER:TRIP UNIT TM100D 70-100A | CIRCUIT BREAKER:TRIP UNIT TM100D 70-100A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM100D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 70 TO 100 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212723 | 1212723 |  |  |  | ERSA | M | 1600 | 137383MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM125D 87-125A | CIRCUIT BREAKER:TRIP UNIT TM125D 87-125A | CIRCUIT BREAKER:TRIP UNIT TM125D 87-125A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM125D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 87 TO 125 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212722 | 1212722 |  |  |  | ERSA | M | 1600 | 137382MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM160D 112-160 | CIRCUIT BREAKER:TRIP UNIT TM160D 112-160 | CIRCUIT BREAKER:TRIP UNIT TM160D 112-160A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM160D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 112 TO 160 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212719 | 1212719 |  |  |  | ERSA | M | 1600 | 137378MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM16D 11-16A;P | CIRCUIT BREAKER:TRIP UNIT TM16D 11-16A;P | CIRCUIT BREAKER:TRIP UNIT TM16D 11-16A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM16D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 11 TO 16 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212725 | 1212725 |  |  |  | ERSA | M | 1600 | 137385MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM200D 140-200 | CIRCUIT BREAKER:TRIP UNIT TM200D 140-200 | CIRCUIT BREAKER:TRIP UNIT TM200D 140-200A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM200D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 140 TO 200 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212724 | 1212724 |  |  |  | ERSA | M | 1600 | 137384MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM250D 175-250 | CIRCUIT BREAKER:TRIP UNIT TM250D 175-250 | CIRCUIT BREAKER:TRIP UNIT TM250D 175-250A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM250D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 175 TO 250 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212718 | 1212718 |  |  |  | ERSA | M | 1600 | 137377MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM25D 17-25A;P | CIRCUIT BREAKER:TRIP UNIT TM25D 17-25A;P | CIRCUIT BREAKER:TRIP UNIT TM25D 17-25A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM25D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 17 TO 25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212717 | 1212717 |  |  |  | ERSA | M | 1600 | 137376MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM32D 22-32A;P | CIRCUIT BREAKER:TRIP UNIT TM32D 22-32A;P | CIRCUIT BREAKER:TRIP UNIT TM32D 22-32A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM32D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 22 TO 32 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212716 | 1212716 |  |  |  | ERSA | M | 1600 | 137375MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM40D 28-40A;P | CIRCUIT BREAKER:TRIP UNIT TM40D 28-40A;P | CIRCUIT BREAKER:TRIP UNIT TM40D 28-40A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM40D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 28 TO 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212715 | 1212715 |  |  |  | ERSA | M | 1600 | 137374MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM50D 35-50A;P | CIRCUIT BREAKER:TRIP UNIT TM50D 35-50A;P | CIRCUIT BREAKER:TRIP UNIT TM50D 35-50A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM50D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 35 TO 50 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212714 | 1212714 |  |  |  | ERSA | M | 1600 | 137373MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM63D 44-63A;P | CIRCUIT BREAKER:TRIP UNIT TM63D 44-63A;P | CIRCUIT BREAKER:TRIP UNIT TM63D 44-63A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM63D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 44 TO 63 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-28 |  | 1212713 | 1212713 |  |  |  | ERSA | M | 1600 | 137371MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM80D 56-80A;P | CIRCUIT BREAKER:TRIP UNIT TM80D 56-80A;P | CIRCUIT BREAKER:TRIP UNIT TM80D 56-80A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM80D,FOR PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 56 TO 80 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed