## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1028107 | 1028107 | 1352289 | AU_QM_000138774 |  | ERSA | M | 5620 | 1352289GZPCLNT100 | EA | 3000011 | BUSH;TER,MOTP19015 | BUSH;TER,MOTP19015 | BUSH;MNFR:TEREX,PTNO:MOTP19015 |  | BUSH:BUSH;V17087; | TEREX | MOTP19015 | 1068393 @@ TEREX LIFTING T/A TEREX JAQUES | MOTP19015 | [10 empty] | TEREX | MOTP19015 |  |  | TEREX LIFTING T/A TEREX JAQUES | MOTP19015 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1068765 | 1068765 | 1456661 | AU_QM_001287093 |  | ERSA | M | 5620 | 1456661GZPCLNT100 | EA |  | BUSH;ARM, FRONT LOWER,LG 65.81 MM | BUSH;ARM, FRONT LOWER,LG 65.81 MM | BUSH;TYPE:ARM, FRONT LOWER,NOMINAL SIZE:ID 14 X OD 41.75 MM,LENGTH:65.81 MM,MNFR:01)MODMOTOR,PTNO:01)0401BA0120N |  | BUSH:BUSH LOWER ARM FRT | [16 empty] | MAHINDRA | 0401BA0120N | MODMOTOR | [15 empty] | https://mechdeals.com/product-detail/bush-lwr-arm-frt-61535 | [9 empty] | CLEANSED | 31171600 Bushings | SIZE:10 IDX41.75 OD MM |  | BUSH | NO MODIFIER | TYPE | FRONT LOWER ARM | NOMINAL SIZE |  | END CONNECTION |  | LENGTH | 65.81 MM | MATERIAL |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1054318 | 1054318 |  |  |  | ERSA | M | 5915 | 1615320GZPCLNT100 | EA |  | BUSH;AXLE,NOM 15 MM,LG 75 MM,W:75MM,HIAB | CASQUILLO;,NOM ,LG | BUSH;TYPE:AXLE,NOMINAL SIZE:15 MM,LENGTH:75 MM,ADDITIONAL FEATURES EN:W:75MM,HIAB | CASQUILLO; |  |  |  | 1068685 @@ CARGOTEC AUST (FORMALLY HIAB) | 107026 | [12 empty] | HIAB | 107026 | CARGOTEC AUST (FORMALLY HIAB) | [15 empty] | https://webshop.hiab.com/en/ecom/item/bushing/107026/ | [9 empty] | ENRICHED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | AXLE | SIZE | 75 LGX75 WDX15 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1054320 | 1054320 |  |  |  | ERSA | M | 5915 | 1615322GZPCLNT100 | EA |  | BUSH;AXLE,NOM 20 MM,34(L)X34(W)MM,HIAB | CASQUILLO;,NOM | BUSH;TYPE:AXLE,NOMINAL SIZE:20 MM,ADDITIONAL FEATURES EN:34(L)X34(W)MM,HIAB | CASQUILLO; |  |  |  | 1068685 @@ CARGOTEC AUST (FORMALLY HIAB) | 131598 | [12 empty] | HIAB | 131598 | CARGOTEC AUST (FORMALLY HIAB) | [15 empty] | https://webshop.hiab.com/en/ecom/item/bushing/131598/?query=131598 | [9 empty] | ENRICHED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | AXLE | SIZE | 34 LGX34 WDX20 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1056564 | 1056564 |  |  |  | ERSA | M | 2200 | 1613632GZPCLNT100 | EA |  | BUSH;REDUCE BUSH,NOM 15X6 MM,BSP | CASQUILLO;,NOM | BUSH;TYPE:REDUCE BUSH,NOMINAL SIZE:15X6 MM,END CONNECTION:BSP,MATERIAL:STAINLESS STEEL 316 | CASQUILLO; |  |  |  | 1068445 @@ MIDWAY METALS PTY LTD | BSPRB1506 | [10 empty] | MIDWAY METALS PTY LTD | BSPRB1506 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172300 Pipe bushings |  |  | BUSHING | PIPE | TYPE | REDUCE | NOMINAL SIZE | 15X6 MM | END CONNECTION | BSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1055944 | 1055944 |  |  |  | ERSA | M | 1550 | 1609876GZPCLNT100 | EA |  | BUSH;REDUCING,PLASTIC | CASQUILLO;REDUCIR | BUSH;TYPE:REDUCING,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:SIZE:1 IN MALE TO 3/4 IN FEMALE BSP | CASQUILLO;TIPO:REDUCIR |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 5027 1X3/4 | [12 empty] | PLASSON | 5027 1X3/4 | BUTLER AGENCIES PTY LTD | [15 empty] | https://www.plasson.it/compressione/pp-filettato/5027-riduzione-maschio-femmina | https://ondemandsupplies.co.uk/plasson-1-x-3-4-bsp-reducing-bush-5027/ | [8 empty] | ENRICHED | 40172300 Pipe bushings |  |  | BUSHING | PIPE | TYPE | REDUCE | NOMINAL SIZE | 1X3/4 IN | END CONNECTION | MBSP X FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | MDPE | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 | CONFLICT END CONNECTION,VALUES UPDATED AS PER WEB SOURCE | 1056281 | 1056281 |  |  |  | ERSA | M | 1550 | 1607167GZPCLNT100 | EA |  | BUSH;REDUCING,NOM 2 IN,STEEL | CASQUILLO;REDUCIR,NOM ,ACERO | BUSH;TYPE:REDUCING,NOMINAL SIZE:2 IN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:2IN BSPT MALE X 1 1/2 IN BSPT FEMALE | CASQUILLO;TIPO:REDUCIR,MATERIAL:ACERO |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | S24N-3224 | [12 empty] | RYCO | S24N-3224 | BUTLER AGENCIES PTY LTD | [15 empty] | https://www.gerrardhydraulics.com.au/wp-content/uploads/2015/10/NPT-Adaptors.pdf?x62035 | [9 empty] | ENRICHED | 40172300 Pipe bushings |  |  | BUSHING | PIPE | TYPE | REDUCE | NOMINAL SIZE | 2X1-1/2 IN | END CONNECTION | MNPT X FNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1050317 | 1050317 |  |  |  | ERSA | M | 5920 | 1610064GZPCLNT100 | EA |  | BUSH;VALVE PIN,PN:410227280 | CASQUILLO; | BUSH;TYPE:VALVE PIN,ADDITIONAL FEATURES EN:F/JACKHAMMER,M:TPB405,TOKU,PN:410227280 | CASQUILLO; |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 410227280 | [12 empty] | TAMCO | 410227280 | SWANSTON TASMANIA PTY LTD |  | TOKU | [13 empty] | https://www.danseusa.com/tamco-tools-air-hammer-parts-pneumatic-410227280 | [9 empty] | CLEANSED | 31171600 Bushings | FOR JACKHAMMER P/N TPB405 |  | BUSHING | VALVE | TYPE | PIN | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | NM DOUBT | 2023-10-16 | 2023-10-28 |  | 1206566 | 1206566 |  |  |  | ERSA | M | 5955 | 681766MRM | EA |  | BUSHING BLANK:CAT 5N5682 FLYWHEEL BUSHIN | BUSHING BLANK:CAT 5N5682 FLYWHEEL BUSHIN | BUSHING BLANK:CAT 5N5682 FLYWHEEL BUSHING | [18 empty] | CATERPILLAR | 5N-5682 | [16 empty] | https://777parts.com/caterpillar/D333C/m961/SEBP28090048.html | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | FLYWHEEL,BLANK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | NM DOUBT | 2023-10-16 | 2023-10-28 |  | 1206849 | 1206849 |  |  |  | ERSA | M | 2200 | 682396MRM | EA |  | BUSHING,BOSS:CAT 3N2899 OIL PAN;BOSS;WEL | BUSHING,BOSS:CAT 3N2899 OIL PAN;BOSS;WEL | BUSHING,BOSS:CAT 3N2899 OIL PAN;BOSS;WELD; | [18 empty] | CATERPILLAR | 3N-2899 | [16 empty] | https://777parts.net/caterpillar/3306B/m439/SEBP22730035.html | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | BOSS,OIL PAN,WELD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1120052 | 1120052 |  |  |  | ERSA | M | 5620 | 1459315GZPCLNT100 | EA |  | BUSHING,ELEC;LOW VOLTAGE,50HZ | BUSHING,ELEC;LOW VOLTAGE,50HZ | BUSHING,ELECTRICAL;TYPE:LOW VOLTAGE,ADDITIONAL FEATURES EN:50HZ |  |  |  |  | 1068141 @@ WILSON TRANSFORMER COMPANY P/L | 1459315 | [10 empty] | WILSON TRANSFORMER COMPANY P/L | 1459315 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121312 Electrical bushing | FREQUENCY RATING:50 HZ |  | BUSHING | ELECTRICAL | TYPE | LOW VOLTAGE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | BIL RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1180001 | 1180001 |  |  |  | ERSA | M | 5000 | 1569033GZPCLNT100 | EA | 3000418 | BUSHING,GDE;BORT,56638,NQ BW CAS NXWL NW | GUIA BUJE;BORT,56638 | BUSHING,GUIDE;MNFR:BOART LONGYEAR,PTNO:56638,ADDITIONAL FEATURES EN:NQ BW CAS NXWL NW NWY 74MM | GUIA BUJE;MNFR:BOART LONGYEAR,PTNO:56638 |  | BOART LONGYEAR | 56638 | 1068617 @@ BOART LONGYEAR PTY LTD | 56638 | [10 empty] | BOART LONGYEAR | 56638 |  |  | BOART LONGYEAR PTY LTD | 56638 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | NQ BW CAS NXWL NW NWY |  | BUSHING | GUIDE | TYPE |  | NOMINAL SIZE |  | SIZE | 74 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1212603 | 1212603 |  |  |  | ERSA | M | 5920 | 364391MRM | EA |  | BUSHING,MACHINE THREAD:GREASE OVERPRESSU | BUSHING,MACHINE THREAD:GREASE OVERPRESSU | BUSHING,MACHINE THREAD:GREASE OVERPRESSURE MICROSWITCH BUSH;JAQUES MOTAY953 GREASE PUMP | [36 empty] | URL NOT FOUND |  |  | JACQUES GREASE PUMP |  | MOTAY953 |  |  |  |  | CLEANSED | 31171600 Bushings | GREASE OVER PRESSURE,MACHINE THREAD |  | BUSHING | SWITCH | TYPE | MICRO | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1218237 | 1218237 |  |  |  | ERSA | M | 5955 | 964429MRM | EA |  | BUSHING,NON-METAL:H610 DRIFTER MOUNT BUS | BUSHING,NON-METAL:H610 DRIFTER MOUNT BUS | BUSHING,NON-METAL:H610 DRIFTER MOUNT BUSHING;TAMROCK SOLO H610 LONG HOLE DRILL RIG | [36 empty] | URL NOT FOUND |  |  | TAMROCK SOLO LONG HOLE DRILL RIG |  | H610 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | DRIFTER MOUNT,NON-METAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1062917 | 1062917 | 1431409 | AU_QM_000721027 |  | ERSA | M | 5620 | 1431409GZPCLNT100 | EA |  | 4FRB THROAT BUSH; | 4FRB THROAT BUSH; | BUSHING,SLEEVE: 4FRB THROAT BUSH; KANDL WORTHINGTON 4FRB141 PUMP |  | BUSHING,SLEEVE: 4FRB THROAT BUSH; |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 1431409 | [10 empty] | FLOWSERVE PUMP DIVISION | 1431409 | [18 empty] | URL NOT FOUND |  |  | PUMP | K & L,WORTHINGTON | 4FRB141 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | THROAT | TYPE | SLEEVE | NOMINAL SIZE |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 | Processed based on Websource, Conflict w.r.t Input | 1141186 | 1141186 |  |  |  | ERSA | M | 5620 | 1445823GZPCLNT100 | EA |  | AE40 CLEVIS BUSH;TAIL GATE CYLINDER; | AE40 CLEVIS BUSH;TAIL GATE CYLINDER; | BUSHING,SLEEVE: AE40 CLEVIS BUSH;TAIL GATE CYLINDER; HYDRAULICS; ELPHINSTONE AE40 EJECTOR TRUCK |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2145732 | [12 empty] | CATERPILLAR | 214-5732 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/214-5732 |  |  | EJECTOR TRUCK | ELPHINSTONE | AE40 |  |  |  |  | ENRICHED | 31171509 Sleeve bearings | FOR TAIL GATE CYLINDER |  | BEARING | SLEEVE | TYPE | STRAIGHT | INSIDE DIAMETER | 45 MM | OUTSIDE DIAMETER | 54 MM | LENGTH | 48 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1135689 | 1135689 | 1427314 | AU_QM_000454280 |  | ERSA | M | 5620 | 1427314GZPCLNT100 | EA |  | BUSHING;SLEEVE | BUSHING;SLEEVE | BUSHING,SLEEVE: BUSHING;SLEEVE SANDPIPER 1-1/4" AOD PUMP |  | BUSHING,SLEEVE: BUSHING;SLEEVE |  |  | 1068399 @@ TRUFLO PUMPING SYSTEMS | M135-013-162 | [10 empty] | TRUFLO PUMPING SYSTEMS | M135-013-162 | [18 empty] | URL NOT FOUND |  |  | 1-1/4 IN AOD PUMP | SANDPIPER | [5 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1112121 | 1112121 | 1366143 | AU_QM_000168773 |  | ERSA | M | 5620 | 1366143GZPCLNT100 | EA |  | CAST IRON;SUPER TITAN NECK BUSH; | CAST IRON;SUPER TITAN NECK BUSH; | BUSHING,SLEEVE: CAST IRON;SUPER TITAN NECK BUSH; TKL 400X450-425 SUPER TITAN PUMP CUSM CONVERTER HOOD COOLING WATER PUMP |  | BUSHING,SLEEVE: CAST IRON;SUPER TITAN NECK BUSH; |  |  | 1068399 @@ TRUFLO PUMPING SYSTEMS | 1366143 | 1069568 @@ FLOWSERVE PUMP DIVISION | ST22982 CI | [8 empty] | TRUFLO PUMPING SYSTEMS | 1366143 |  |  | FLOWSERVE PUMP DIVISION | ST22982 CI | [14 empty] | URL NOT FOUND |  |  | CUSM CONVERTER HOOD COOLING WATER PUMP | SUPER TITAN PUMP | TKL 400X450-425 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | NM DOUBT | 2023-10-16 | 2023-10-28 |  | 1063810 | 1063810 |  |  |  | ERSA | M | 5620 | 1349215GZPCLNT100 | EA |  | CAT 773 DUMP TRUCK | CAT 773 DUMP TRUCK | BUSHING,SLEEVE: CAT 773 DUMP TRUCK |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4M1896 | [12 empty] | CATERPILLAR | 4M-1896 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/4M-1896 |  |  | DUMP TRUCK | CATERPILLAR | 773 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1135065 | 1135065 | 1349480 | AU_QM_000125526 |  | ERSA | M | 5620 | 1349480GZPCLNT100 | EA |  | CAT CYLINDER HEAD SIDE SLEEVE; | CAT CYLINDER HEAD SIDE SLEEVE; | BUSHING,SLEEVE: CAT CYLINDER HEAD SIDE SLEEVE; 1539567 CYL HEAD GRP; ELPHINSTONE R2900 LHD |  | BUSHING,SLEEVE: CAT CYLINDER HEAD SIDE SLEEVE; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1948124 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1349480 | [10 empty] | CATERPILLAR | 194-8124 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1349480 | [12 empty] | https://parts.cat.com/en/catcorp/194-8124 |  |  | LHD | ELPHINSTONE | R2900 |  |  |  |  | CLEANSED | 31171600 Bushings | GROUP |  | SLEEVE | NO MODIFIER | TYPE | CYLINDER HEAD SIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1137498 | 1137498 | 1436477 | AU_QM_000864439 |  | ERSA | M | 5620 | 1436477GZPCLNT100 | EA |  | D90K EQUALIZER BAR BUSH; | D90K EQUALIZER BAR BUSH; | BUSHING,SLEEVE: D90K EQUALIZER BAR BUSH; DRILLTECH D90K OVERBURDEN DRILL |  | BUSHING,SLEEVE: D90K EQUALIZER BAR BUSH; | [34 empty] | URL NOT FOUND |  |  | OVERBURDEN DRILL | DRILLTECH | D90K |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | EQUALIZER BAR,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1206212 | 1206212 |  |  |  | ERSA | M | 5920 | 1028273MRM | EA |  | BUSHING,SLEEVE:BUSHING SLEEVE SUIT AOD - | BUSHING,SLEEVE:BUSHING SLEEVE SUIT AOD - | BUSHING,SLEEVE:BUSHING SLEEVE SUIT AOD - AIR VALVE;ITEM 43;MRM FLOTATION PRODUCTIVE UNIT | [36 empty] | URL NOT FOUND |  | 43 | [7 empty] | CLEANSED | 31171600 Bushings | FOR AIR-OPERATED DOUBLE VALVE,MRM FLOTATION PRODUCTIVE UNIT |  | BUSHING | VALVE | TYPE | SLEEVE | MATERIAL |  | SIZE |  | VALVE SIZE |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1207806 | 1207806 |  |  |  | ERSA | M | 5620 | 338786MRM | EA |  | BUSHING,SLEEVE:DISCHARGE CONNECTION BUSH | BUSHING,SLEEVE:DISCHARGE CONNECTION BUSH | BUSHING,SLEEVE:DISCHARGE CONNECTION BUSH;50MM SIZE;BRONZE;EVERFLO 17AC8 DISCHARGE ASSY | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings | EVERFLO 17AC8 DISCHARGE ASSEMBLY |  | BUSHING | NO MODIFIER | TYPE | SLEEVE,DISCHARGE CONNECTION | SIZE | 50 MM | MATERIAL | BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1207807 | 1207807 |  |  |  | ERSA | M | 5620 | 338826MRM | EA |  | BUSHING,SLEEVE:FMC CON ROD BIG END BEARI | BUSHING,SLEEVE:FMC CON ROD BIG END BEARI | BUSHING,SLEEVE:FMC CON ROD BIG END BEARINGS;PAIR;FMC L0618D TRIPLEX PUMP | [36 empty] | URL NOT FOUND |  |  | TRIPLEX PUMP | FMC | L0618D |  |  |  |  | CLEANSED | 31171509 Sleeve bearings |  |  | BEARING | SLEEVE | TYPE | CONNECTING ROD BIG END | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1207808 | 1207808 |  |  |  | ERSA | M | 5620 | 338831MRM | EA |  | BUSHING,SLEEVE:FMC CON ROD GUDGEON BUSH; | BUSHING,SLEEVE:FMC CON ROD GUDGEON BUSH; | BUSHING,SLEEVE:FMC CON ROD GUDGEON BUSH;FMC L0618D TRIPLEX PUMP | [36 empty] | URL NOT FOUND |  |  | TRIPLEX PUMP | FMC | L0618D |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | CONNECTING ROD GUDGEON PIN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1205135 | 1205135 |  |  |  | ERSA | M | 5920 | 1007446MRM | EA |  | BUSHING,SLEEVE:H520 CABLE BOLTER BUSHSOL | BUSHING,SLEEVE:H520 CABLE BOLTER BUSHSOL | BUSHING,SLEEVE:H520 CABLE BOLTER BUSHSOLO H610 LONG HOLE DRILL;CABOLT H520;TAMROCK SOLOMATIC BOLTER | [36 empty] | URL NOT FOUND |  |  | TAMROCK SOLOMATIC CABLE BOLTER,CABOLT LONG HOLE DRILL |  | H520,H610 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1210226 | 1210226 |  |  |  | ERSA | M | 5955 | 773885MRM | EA |  | BUSHING,SLEEVE:HL500S FLUSHING DEVICE BU | BUSHING,SLEEVE:HL500S FLUSHING DEVICE BU | BUSHING,SLEEVE:HL500S FLUSHING DEVICE BUSHING;SIZE 38 SHANK;CABOLT H520 CABLE BOLTERH205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | CABOLT CABLE BOLTER,POWER CLASS MINIMATIC JUMBO |  | H205D,H520,HL500S |  |  |  |  | CLEANSED | 31171600 Bushings | FLUSHING DEVICE,38 MM SHANK |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1210224 | 1210224 |  |  |  | ERSA | M | 5955 | 773861MRM | EA |  | BUSHING,SLEEVE:HL500S FLUSHING DEVICE SH | BUSHING,SLEEVE:HL500S FLUSHING DEVICE SH | BUSHING,SLEEVE:HL500S FLUSHING DEVICE SHANK BUSHING;SIZE 38 SHANK;H205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | POWER CLASS MINIMATIC JUMBO |  | HL500S,H205D |  |  |  |  | CLEANSED | 31171600 Bushings | FLUSHING DEVICE,38 MM SHANK |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1216676 | 1216676 |  |  |  | ERSA | M | 5955 | 7128332MRM | EA |  | BUSHING,SLEEVE:HOSE REEL BUSH;NEW STYLE; | BUSHING,SLEEVE:HOSE REEL BUSH;NEW STYLE; | BUSHING,SLEEVE:HOSE REEL BUSH;NEW STYLE;326 818 98 POS 4;H205D MINIMATIC POWERCLASS JUMBO | [17 empty] | 326 818 98 | [18 empty] | URL NOT FOUND |  |  | MINIMATIC POWERCLASS JUMBO |  | H205D |  |  |  | POS 4 | CLEANSED | 31171600 Bushings | NEW STYLE |  | BUSHING | NO MODIFIER | TYPE | HOSE REEL,SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1213745 | 1213745 |  |  |  | ERSA | M | 3000 | 366696MRM | EA |  | BUSHING,SLEEVE:MONO CB031 ROTOR SLEEVE;3 | BUSHING,SLEEVE:MONO CB031 ROTOR SLEEVE;3 | BUSHING,SLEEVE:MONO CB031 ROTOR SLEEVE;316SS;MONO CB031AX2J8/V PUMP | [36 empty] | URL NOT FOUND |  |  | MONO PUMP |  | CB031AX2J8/V |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | ROTOR SLEEVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1217406 | 1217406 |  |  |  | ERSA | M | 5620 | 234925MRM | EA |  | BUSHING,SLEEVE:RUBBER THROATBUSH, TAILS | BUSHING,SLEEVE:RUBBER THROATBUSH, TAILS | BUSHING,SLEEVE:RUBBER THROATBUSH, TAILS PUMPS THROATBUSH |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | FP6083WRT1U38 | [10 empty] | WEIR MINERALS AUSTRALIA LTD | FP6083WRT1U38 | [18 empty] | URL NOT FOUND |  |  | TAIL PUMP | [6 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | THROAT | TYPE | SLEEVE | NOMINAL SIZE |  | LENGTH |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1203282 | 1203282 |  |  |  | ERSA | M | 5955 | 980415MRM | EA |  | BUSHING,SLEEVE:SCH2500 FLUSHING HEAD BUS | BUSHING,SLEEVE:SCH2500 FLUSHING HEAD BUS | BUSHING,SLEEVE:SCH2500 FLUSHING HEAD BUSH;BRONZE MATERIAL;SVEDALA SCH2500 HYDRA-TRAC DRILL | [36 empty] | URL NOT FOUND |  |  | DRILL | HYDRA-TRAC | SVEDALA SCH2500 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | FLUSHING HEAD,SLEEVE | SIZE |  | MATERIAL | BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1210168 | 1210168 |  |  |  | ERSA | M | 5820 | 161496MRM | EA |  | BUSHING,SLEEVE:STAH LANTERN RING BUSH;HI | BUSHING,SLEEVE:STAH LANTERN RING BUSH;HI | BUSHING,SLEEVE:STAH LANTERN RING BUSH;HIGH CHROME;KREBS14/12 PUMP; |  |  |  |  | 1068177 @@ FLSMIDTH KREBS AUSTRALIA PTY LTD | PN1210168 | [10 empty] | FLSMIDTH KREBS AUSTRALIA PTY LTD | PN1210168 |  |  | STAHL | [15 empty] | URL NOT FOUND |  |  | KREBS14/12 | PUMP | [5 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE | LANTERN RING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1216416 | 1216416 |  |  |  | ERSA | M | 5955 | 5022108MRM | EA |  | BUSHING,SLEEVE:TC200 JACK CYLINDER BUSH; | BUSHING,SLEEVE:TC200 JACK CYLINDER BUSH; | BUSHING,SLEEVE:TC200 JACK CYLINDER BUSH;H205D JUMBO;CABOLT H520;ROBOLT H320-30C ROOF BOLTER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1204848 | 1204848 |  |  |  | ERSA | M | 5620 | 149574MRM | EA |  | BUSHING,SLEEVE:THROATBUSH;BUSH;CARS | BUSHING,SLEEVE:THROATBUSH;BUSH;CARS | BUSHING,SLEEVE:THROATBUSH;BUSH;CARS |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | PN1204848 | [10 empty] | WEIR MINERALS AUSTRALIA LTD | PN1204848 | [18 empty] | https://www.cabac.com.au/p/cable-wire-management/glands-strain-relief-grommets/bushing/nsb25 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | THROAT | [72 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1211827 | 1211827 |  |  |  | ERSA | M | 5955 | 775327MRM | EA |  | BUSHING,SLEEVE:TORO 1400 DOGBONE BUSH;TA | BUSHING,SLEEVE:TORO 1400 DOGBONE BUSH;TA | BUSHING,SLEEVE:TORO 1400 DOGBONE BUSH;TAMROCK TORO 1400 LOADER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1212164 | 1212164 |  |  |  | ERSA | M | 5955 | 775427MRM | EA |  | BUSHING,SLEEVE:TORO 50D DIFFERENTIAL AXL | BUSHING,SLEEVE:TORO 50D DIFFERENTIAL AXL | BUSHING,SLEEVE:TORO 50D DIFFERENTIAL AXLE SLEEVE;DIFFERENTIAL ASSY;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO TRUCK |  | 50D |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1209945 | 1209945 |  |  |  | ERSA | M | 5955 | 773621MRM | EA |  | BUSHING,SLEEVE:TORO 50D ENGINE SLEEVE;DE | BUSHING,SLEEVE:TORO 50D ENGINE SLEEVE;DE | BUSHING,SLEEVE:TORO 50D ENGINE SLEEVE;DETROIT ENGINE ASSY;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO TRUCK |  | 50D |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1215213 | 1215213 |  |  |  | ERSA | M | 5955 | 778037MRM | EA |  | BUSHING,SLEEVE:TORO 50D TILT CYLINDER BU | BUSHING,SLEEVE:TORO 50D TILT CYLINDER BU | BUSHING,SLEEVE:TORO 50D TILT CYLINDER BUSH;TILT CYLINDER ASSY(SX);TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO TRUCK |  | 50D |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1216592 | 1216592 |  |  |  | ERSA | M | 5955 | 779516MRM | EA |  | BUSHING,SLEEVE:ZRU700 BOOM CYLINDER BUSH | BUSHING,SLEEVE:ZRU700 BOOM CYLINDER BUSH | BUSHING,SLEEVE:ZRU700 BOOM CYLINDER BUSH;BOOM EXTENSION CYLINDER ASSY (SX);H205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1136433 | 1136433 | 1446299 | AU_QM_001036177 |  | ERSA | M | 5920 | 1446299GZPCLNT100 | EA |  | BUSH FRONT NOLATHENE | BUSH FRONT NOLATHENE | BUSHING: BUSH FRONT NOLATHENE |  | BUSHING:BUSH FRONT NOLATHENE |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 47005FRONT | 1071809 @@ ASHDOWN ENTERPRISES | MTB7005B | 1068087 @@ ASHDOWN INGRAM | MTB7005B | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY | 47005FRONT |  |  | ASHDOWN ENTERPRISES | MTB7005B | ASHDOWN INGRAM | MTB7005B | [22 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1136402 | 1136402 | 1446583 | AU_QM_001040369 |  | ERSA | M | 5920 | 1446583GZPCLNT100 | EA |  | BUSH SHACKLE | BUSH SHACKLE | BUSHING: BUSH SHACKLE |  | BUSHING:BUSH SHACKLE |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 90385-18022 | 1071809 @@ ASHDOWN ENTERPRISES | 90385-18022 | 1068112 @@ DRIVELINE SERVICES AUSTRALIA PTY LT | 9038518022 | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY | 90385-18022 |  |  | ASHDOWN ENTERPRISES | 90385-18022 | DRIVELINE SERVICES AUSTRALIA PTY LT | 9038518022 | [22 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | UOM DOUBT | 2023-10-16 | 2023-10-28 |  | 1212765 | 1212765 |  |  |  | ERSA | M | 5920 | 137482MRM | EA |  | BUSHING:BUSHING;BRONZE;2.00 DO X1.62ID;L | BUSHING:BUSHING;BRONZE;2.00 DO X1.62ID;L | BUSHING:BUSHING;BRONZE;2.00 DO X1.62ID;LG 8;DR460; | [36 empty] | URL NOT FOUND |  |  |  |  | DR460 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE | 1-5/8 IDX2 ODX8 LG IN | MATERIAL | BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | UOM DOUBT | 2023-10-16 | 2023-10-28 |  | 1212764 | 1212764 |  |  |  | ERSA | M | 5920 | 137481MRM | EA |  | BUSHING:BUSHING;BRONZE;9.00 OD X 8.02 ID | BUSHING:BUSHING;BRONZE;9.00 OD X 8.02 ID | BUSHING:BUSHING;BRONZE;9.00 OD X 8.02 ID;DR460; | [36 empty] | URL NOT FOUND |  |  |  |  | DR460 |  |  |  |  | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE | 8.02 IDX9 OD MM | MATERIAL | BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1205583 | 1205583 |  |  |  | ERSA | M | 4090 | 271651MRM | EA |  | BUSHING:FLANGED;20 MM X 26 MM DIA X 20 M | BUSHING:FLANGED;20 MM X 26 MM DIA X 20 M | BUSHING:FLANGED;20 MM X 26 MM DIA X 20 MM;OILITEBRONZE |  |  |  |  | 1069056 @@ FLEXICON CORPORATION (AUSTRALIA) | AHW00032B | [10 empty] | FLEXICON CORPORATION (AUSTRALIA) | AHW00032B | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | FLANGE | [72 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1206735 | 1206735 |  |  |  | ERSA | M | 5920 | 1044296MRM | EA |  | BUSHING:NEEDLE BUSH;C/W RETAINER;COMPAIR | BUSHING:NEEDLE BUSH;C/W RETAINER;COMPAIR | BUSHING:NEEDLE BUSH;C/W RETAINER;COMPAIR SIRIUS 10/250 COMPRESSOR | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1217455 | 1217455 |  |  |  | ERSA | M | 2600 | 836197MRM | EA |  | BUSHING:QUASAR NVTF FEED RAIL GUIDE SUPP | BUSHING:QUASAR NVTF FEED RAIL GUIDE SUPP | BUSHING:QUASAR NVTF FEED RAIL GUIDE SUPPORT BUSHSECOMA QUASAR TRACKED DRILL RIG | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | GUIDE | [72 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1214485 | 1214485 |  |  |  | ERSA | M | 5915 | 171914MRM | EA |  | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 0 | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 0 | BUSHING:TRUNNION;SUITS FORKLIFT MODEL: 02-7FDA50 |  |  |  |  | 1079089 @@ Toyota Material Handling Aust | 43421-30510-71 | [10 empty] | Toyota Material Handling Aust | 43421-30510-71 | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1103861 | 1103861 |  |  |  | ERSA | M | 5920 | 1516783GZPCLNT100 | EA |  | BUSHING;BUSHES (OIL IMPREGNATED,GRGB-6-7 | BUSHING;BUSHES (OIL IMPREGNATED,GRGB-6-7 | BUSHING;ADDITIONAL FEATURES:BUSHES (OIL IMPREGNATED,GRGB-6-7 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1516783 | 1071819 @@ CONSOLIDATED PLASTICS & EPOXY QLD P | 1516783 | 1070503 @@ O'HALLORAN FAMILY TRUST T/A | GRGB-6-7 | [6 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1516783 |  |  | CONSOLIDATED PLASTICS & EPOXY QLD P | 1516783 | O'HALLORAN FAMILY TRUST T/A | GRGB-6-7 | [22 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1154357 | 1154357 |  |  |  | ERSA | M | 5920 | 1514245GZPCLNT100 | EA |  | BUSHING;CONE,SHAPED,3136707771 | BUSHING;CONE,SHAPED,3136707771 | BUSHING;ADDITIONAL FEATURES:CONE,SHAPED,3136707771 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136707771 | [10 empty] | CUTRITE CUTTING & CORE DRILLING | 3136707771 | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1146009 | 1146009 |  |  |  | ERSA | M | 1600 | 1537107GZPCLNT100 | EA |  | BUSHING;ELECTRICAL CONDUI,YURIKA,2406972 | BUSHING;ELECTRICAL CONDUI,YURIKA,2406972 | BUSHING;ADDITIONAL FEATURES:ELECTRICAL CONDUI,YURIKA,2406972 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2406972 | [10 empty] | YURIKA PTY LTD | 2406972 | [18 empty] | https://partsmining.ru/atlas.copco/distance/3719006358/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | ELECTRICAL | [72 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1105419 | 1105419 |  |  |  | ERSA | M | 5000 | 1535445GZPCLNT100 | EA |  | BUSHING;FRONT END,PR1000 DRIFT,1405220-1 | BUSHING;FRONT END,PR1000 DRIFT,1405220-1 | BUSHING;ADDITIONAL FEATURES:FRONT END,PR1000 DRIFT,1405220-1 |  |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1405220-1 | [10 empty] | SWANSTON TASMANIA PTY LTD | 1405220-1 | [18 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1102535 | 1102535 |  |  |  | ERSA | M | 4005 | 1526775GZPCLNT100 | EA |  | BUSHING;INLET,P031609 | BUSHING;INLET,P031609 | BUSHING;ADDITIONAL FEATURES:INLET,P031609 |  |  |  |  | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | P031609 | [10 empty] | AIR & ALLIED SALES (PACIFIC) P/L | P031609 | [18 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1145913 | 1145913 |  |  |  | ERSA | M | 1600 | 1537232GZPCLNT100 | EA |  | BUSHING;SLEEVE INLINE BOO,YURIKA,2427292 | BUSHING;SLEEVE INLINE BOO,YURIKA,2427292 | BUSHING;ADDITIONAL FEATURES:SLEEVE INLINE BOO,YURIKA,2427292 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2427292 | [10 empty] | YURIKA PTY LTD | 2427292 | [18 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1145626 | 1145626 |  |  |  | ERSA | M | 1600 | 1536313GZPCLNT100 | EA |  | BUSHING;SLEEVE INLINE BOOT,YURIKA,105042 | BUSHING;SLEEVE INLINE BOOT,YURIKA,105042 | BUSHING;ADDITIONAL FEATURES:SLEEVE INLINE BOOT,YURIKA,105042 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105042 | [10 empty] | YURIKA PTY LTD | 105042 | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1012806 | 1012806 |  |  |  | ERSA | M | 5620 | 1478651GZPCLNT100 | EA | 3000418 | BUSHING,24889 | BUSHING,24889 | BUSHING;MNFR:BOART LONGYEAR,PTNO:24889 |  |  | BOART LONGYEAR | 24889 | 1068617 @@ BOART LONGYEAR PTY LTD | 24889 | [10 empty] | BOART LONGYEAR | 24889 |  |  | BOART LONGYEAR PTY LTD | 24889 | [14 empty] | https://partsmining.ru/atlas.copco/distance/3719006358/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1012814 | 1012814 |  |  |  | ERSA | M | 5620 | 1478639GZPCLNT100 | EA | 3000418 | BUSHING;BORT,5005385 | BUSHING;BORT,5005385 | BUSHING;MNFR:BOART LONGYEAR,PTNO:5005385 |  |  | BOART LONGYEAR | 5005385 | 1068617 @@ BOART LONGYEAR PTY LTD | 5005385 | [10 empty] | BOART LONGYEAR | 5005385 |  |  | BOART LONGYEAR PTY LTD | 5005385 | [14 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1013084 | 1013084 |  |  |  | ERSA | M | 5620 | 1478640GZPCLNT100 | EA | 3000418 | BUSHING,5007966 | BUSHING,5007966 | BUSHING;MNFR:BOART LONGYEAR,PTNO:5007966 |  |  | BOART LONGYEAR | 5007966 | 1068617 @@ BOART LONGYEAR PTY LTD | 5007966 | [10 empty] | BOART LONGYEAR | 5007966 |  |  | BOART LONGYEAR PTY LTD | 5007966 | [14 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1087335 | 1087335 |  |  |  | ERSA | M | 1550 | 1578902GZPCLNT100 | EA | 3000470 | BUSHING;CASC,1821407 | BUJE;CASC,1821407 | BUSHING;MNFR:CASCADE,PTNO:1821407 | BUJE;MNFR:CASCADE,PTNO:1821407 |  | CASCADE | 1821407 | 1069667 @@ CASCADE AUSTRALIA | 1821407 | [10 empty] | CASCADE | 1821407 |  |  | CASCADE AUSTRALIA | 1821407 | [14 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1012441 | 1012441 |  |  |  | ERSA | M | 1550 | 1609701GZPCLNT100 | EA | 3000470 | BUSHING;CASC,6107750,POSITIONERS,HLF | BUJE;CASC,6107750 | BUSHING;MNFR:CASCADE,PTNO:6107750,ADDITIONAL FEATURES EN:POSITIONERS,HALF | BUJE;MNFR:CASCADE,PTNO:6107750 |  | CASCADE | 6107750 | 1069667 @@ CASCADE AUSTRALIA | 6107750 | [10 empty] | CASCADE | 6107750 |  |  | CASCADE AUSTRALIA | 6107750 | [24 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1087334 | 1087334 |  |  |  | ERSA | M | 1550 | 1578900GZPCLNT100 | EA | 3000470 | BUSHING;CASC,638762 | BUJE;CASC,638762 | BUSHING;MNFR:CASCADE,PTNO:638762 | BUJE;MNFR:CASCADE,PTNO:638762 |  | CASCADE | 638762 | 1069667 @@ CASCADE AUSTRALIA | 638762 | [10 empty] | CASCADE | 638762 |  |  | CASCADE AUSTRALIA | 638762 | [24 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096200 | 1096200 | 1381512 | AU_QM_000221439 |  | ERSA | M | 5620 | 1381512GZPCLNT100 | EA | 3000284 | BUSHING;GLE,301-MO-0A5S | BUSHING;GLE,301-MO-0A5S | BUSHING;MNFR:GLENCORE,PTNO:301-MO-0A5S |  | BUSHING;GLE,301-MO-0A5SBUSHING;GLE,301-MO-0A5S | GLENCORE | 301-MO-0A5S | [12 empty] | GLENCORE | 301-MO-0A5S | [18 empty] | https://partsmining.ru/atlas.copco/distance/3719006358/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096199 | 1096199 | 1381513 | AU_QM_000221441 |  | ERSA | M | 5620 | 1381513GZPCLNT100 | EA | 3000284 | BUSHING;GLE,321-MO-04YA | BUSHING;GLE,321-MO-04YA | BUSHING;MNFR:GLENCORE,PTNO:321-MO-04YA |  | BUSHING;GLE,321-MO-04YABUSHING;GLE,321-MO-04YA | GLENCORE | 321-MO-04YA | [12 empty] | GLENCORE | 321-MO-04YA | [18 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096197 | 1096197 | 1381518 | AU_QM_000221449 |  | ERSA | M | 5620 | 1381518GZPCLNT100 | EA | 3000284 | BUSHING;GLE,353-MO-0OER | BUSHING;GLE,353-MO-0OER | BUSHING;MNFR:GLENCORE,PTNO:353-MO-0OER |  | BUSHING;GLE,353-MO-0OERBUSHING;GLE,353-MO-0OER | GLENCORE | 353-MO-0OER | [12 empty] | GLENCORE | 353-MO-0OER | [18 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1010818 | 1010818 |  |  |  | ERSA | M | 5000 | 1614371GZPCLNT100 | EA | 3000023 | BUSHING;HYS,1493380 | BUJE;HYS,1493380 | BUSHING;MNFR:HYSTER,PTNO:1493380 | BUJE;MNFR:HYSTER,PTNO:1493380 |  | HYSTER | 1493380 | 1068511 @@ ADAPT-A-LIFT GROUP PTY LTD | 1493380 | [10 empty] | HYSTER | 1493380 |  |  | ADAPT-A-LIFT GROUP PTY LTD | 1493380 | [14 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1011735 | 1011735 |  |  |  | ERSA | M | 5955 | 1610576GZPCLNT100 | EA | 3000005 | BUSHING;JCB,332/X5563,ALLIGNMENT | BUJE;JCB,332/X5563 | BUSHING;MNFR:JCB,PTNO:332/X5563,ADDITIONAL FEATURES EN:ALLIGNMENT | BUJE;MNFR:JCB,PTNO:332/X5563 |  | JCB | 332/X5563 | 1068536 @@ JCB CONSTRUCTION EQUIPMENT AUST | JB-332/X5563 | [10 empty] | JCB | 332/X5563 |  |  | JCB CONSTRUCTION EQUIPMENT AUST | JB-332/X5563 | [14 empty] | http://www.cy-bestautoparts.com/en/newsdetails.aspx?id=390 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096060 | 1096060 | 1384315 | AU_QM_000224869 |  | ERSA | M | 5620 | 1384315GZPCLNT100 | EA | 3000300 | BUSHING;KRESS,002630 | BUSHING;KRESS,002630 | BUSHING;MNFR:KRESS CORPORATION,PTNO:002630 |  | BUSHING;KRESS,002630BUSHING;KRE,002630 | KRESS CORPORATION | 002630 | [12 empty] | KRESS CORPORATION | 002630 | [18 empty] | https://partsmining.ru/atlas.copco/distance/3719006358/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1012665 | 1012665 |  |  |  | ERSA | M | 1540 | 1615924GZPCLNT100 | EA | 3000300 | BUSHING;KRESS,005813 | BUJE;KRESS,005813 | BUSHING;MNFR:KRESS CORPORATION,PTNO:005813 | BUJE;MNFR:KRESS CORPORATION,PTNO:005813 |  | KRESS CORPORATION | 005813 | 1070674 @@ KRESS CORPORATION | 5813 | [10 empty] | KRESS CORPORATION | 005813 |  |  | KRESS CORPORATION | 5813 | [24 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1013598 | 1013598 | 1453758 | AU_QM_001217686 |  | ERSA | M | 5620 | 1453758GZPCLNT100 | EA | 3000027 | BUSHING;MET,02-045591 | BUSHING;MET,02-045591 | BUSHING;MNFR:METSO,PTNO:02-045591 |  | BUSHING,SLEEVE: BRONZE;115IN X 26IN X 120IN DIA; | METSO | 02-045591 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 02-045591 | [10 empty] | METSO | 02-045591 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | 02-045591 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1013035 | 1013035 | 1350285 | AU_QM_000132612 |  | ERSA | M | 5620 | 1350285GZPCLNT100 | EA | 3000027 | BUSHING;MET,N03241801 | BUSHING;MET,N03241801 | BUSHING;MNFR:METSO,PTNO:N03241801 |  | BUSHING,TAPERED:COUNTERSHAFT PULLEY BUSH;;METSO HP5 CONE | METSO | N03241801 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N03241801 | [10 empty] | METSO | N03241801 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | N03241801 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1083927 | 1083927 | 1455572 | AU_QM_001257443 |  | ERSA | M | 5620 | 1455572GZPCLNT100 | EA | 3000027 | BUSHING;MET,N15607252 | BUSHING;MET,N15607252 | BUSHING;MNFR:METSO,PTNO:N15607252 |  | BUSHING:ECCENTRIC BUSHING; | METSO | N15607252 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N15607252 | [10 empty] | METSO | N15607252 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | N15607252 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1013039 | 1013039 | 1350195 | AU_QM_000132384 |  | ERSA | M | 5620 | 1350195GZPCLNT100 | EA | 3000027 | BUSHING;MET,N98000277 | BUSHING;MET,N98000277 | BUSHING;MNFR:METSO,PTNO:N98000277 |  | BUSHING,SLEEVE: COUNTERSHAFT BUSHING SET;;METSO HP5 CONE | METSO | N98000277 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N98000277 | [10 empty] | METSO | N98000277 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | N98000277 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1087740 | 1087740 |  |  |  | ERSA | M | 5620 | 1366792GZPCLNT100 | EA | 3000027 | BUSHING;MET,N98000331 | BUSHING;MET,N98000331 | BUSHING;MNFR:METSO,PTNO:N98000331 |  |  | METSO | N98000331 | [12 empty] | METSO | N98000331 | [18 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1035070 | 1035070 | 1457117 | AU_QM_001295195 |  | ERSA | M | 5620 | 1457117GZPCLNT100 | EA | 3000027 | BUSHING;MET,N98000489 | BUSHING;MET,N98000489 | BUSHING;MNFR:METSO,PTNO:N98000489 |  | BUSHING:HEAD BUSHING SET;1SET PER UNIT; | METSO | N98000489 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N98000489 | [10 empty] | METSO | N98000489 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | N98000489 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1009902 | 1009902 |  |  |  | ERSA | M | 5955 | 1616064GZPCLNT100 | EA | 3000028 | BUSHING;MIT,94E10-00100 | BUJE;MIT,94E10-00100 | BUSHING;MNFR:MITSUBISHI,PTNO:94E10-00100 | BUJE;MNFR:MITSUBISHI,PTNO:94E10-00100 |  | MITSUBISHI | 94E10-00100 | 1068288 @@ UNITED EQUIPMENT | 94E10-00100 | [10 empty] | MITSUBISHI | 94E10-00100 |  |  | UNITED EQUIPMENT | 94E10-00100 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-air-compressor-spare-parts-section-120-catalog-by-china-supplier/ | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1155987 | 1155987 | 1444609 | AU_QM_001005867 |  | ERSA | M | 5620 | 1444609GZPCLNT100 | EA |  | BUSHING;SLEEVE,OSCILLATION FRAME SUBASSY | BUSHING;SLEEVE,OSCILLATION FRAME SUBASSY | BUSHING;MNFR:NORMET,PTNO:45551220,ADDITIONAL FEATURES EN:SLEEVE,OSCILLATION FRAME SUBASSY |  | BUSHING,SLEEVE: NT100 OSCILLATION BUSH; |  |  | 1068233 @@ ISA DIESEL & EARTHMOVING REPAIRS | 45551220 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 45551220 | [8 empty] | ISA DIESEL & EARTHMOVING REPAIRS | 45551220 |  |  | NORMET ASIA PACIFIC PTY LTD | 45551220 | [14 empty] | https://www.crusherconsumables.co.uk/product-page/12-87-0294-nylon-bush-terex-finlay | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1095846 | 1095846 | 1389780 | AU_QM_000231339 |  | ERSA | M | 5620 | 1389780GZPCLNT100 | EA | 3000030 | BUSHING;OUT,N048249254 | BUSHING;OUT,N048249254 | BUSHING;MNFR:OUTOTEC,PTNO:N048249254 |  | BUSHING;OUT,N048249254BUSHING;OUT,N048249254 | OUTOTEC | N048249254 | [12 empty] | OUTOTEC | N048249254 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1028125 | 1028125 | 1350735 | AU_QM_000134482 |  | ERSA | M | 5620 | 1350735GZPCLNT100 | EA | 3000030 | BUSHING;OUT,P414954 | BUSHING;OUT,P414954 | BUSHING;MNFR:OUTOTEC,PTNO:P414954 |  | BUSHING,SLEEVE: SLEEVE PPF;CLOTH TENSIONING;LAROX PF144; | OUTOTEC | P414954 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1028125 | [10 empty] | OUTOTEC | P414954 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | PN1028125 | [14 empty] | URL NOT FOUND |  |  |  | LAROX | PF144 |  |  |  |  | CLEANSED | 31171600 Bushings | CLOTH TENSIONING |  | BUSHING | NO MODIFIER | TYPE | SLEEVE | SIZE |  | MATERIAL | PPF | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1028120 | 1028120 |  |  |  | ERSA | M | 5620 | 1350741GZPCLNT100 | EA | 3000030 | BUSHING;OUT,P416630/PVDF | BUSHING;OUT,P416630/PVDF | BUSHING;MNFR:OUTOTEC,PTNO:P416630/PVDF |  |  | OUTOTEC | P416630/PVDF | [12 empty] | OUTOTEC | P416630/PVDF | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1011943 | 1011943 |  |  |  | ERSA | M | 1550 | 1615577GZPCLNT100 | EA | 3000348 | BUSHING;SKF,PHF TB1610X40MM,TPR,MATERIAL | BUJE;SKF,PHF TB1610X40MM | BUSHING;MNFR:SKF,PTNO:PHF TB1610X40MM,ADDITIONAL FEATURES EN:TAPER,MATERIAL:CAST IRON,BORE DIA:40 MM,BUSHING NUMBER:1610 | BUJE;MNFR:SKF,PTNO:PHF TB1610X40MM |  | SKF | PHF TB1610X40MM | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | 1610X40MM-TLB | [12 empty] | SKF | PHF TB1610X40MM | APPLIED INDUSTRIAL TECHNOLOGIES | 1610X40MM-TLB | [14 empty] | https://www.skf.com/uk/productinfo/productid-PHF%20TB1610X40MM | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSH | TAPER LOCK | BORE DIAMETER | 40 MM | SERIES | 1610 | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | KEYWAY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096177 | 1096177 | 1381906 | AU_QM_000221918 |  | ERSA | M | 5620 | 1381906GZPCLNT100 | EA | 3000011 | BUSHING;TER,1610X32MM-TLB | BUSHING;TER,1610X32MM-TLB | BUSHING;MNFR:TEREX,PTNO:1610X32MM-TLB |  | BUSHING;TER,1610X32MM-TLBBUSHING;TER,1610X32MM-TLB | TEREX | 1610X32MM-TLB | [12 empty] | TEREX | 1610X32MM-TLB | [18 empty] | https://www.crusherconsumables.co.uk/product-page/12-87-0294-nylon-bush-terex-finlay | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1086681 | 1086681 |  |  |  | ERSA | M | 3760 | 1576813GZPCLNT100 | EA | 3000013 | BUSHING;VOL,11015609,BASKT,L110F | BUJE;VOL,11015609 | BUSHING;MNFR:VOLVO,PTNO:11015609,ADDITIONAL FEATURES EN:BASKET,L110F | BUJE;MNFR:VOLVO,PTNO:11015609 |  | VOLVO | 11015609 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11015609 | [10 empty] | VOLVO | 11015609 |  |  | SMH EQUIPMENT PTY LTD | 11015609 | [14 empty] | https://aftermarket.express/volvo/11020802 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096165 | 1096165 | 1382139 | AU_QM_000222188 |  | ERSA | M | 5620 | 1382139GZPCLNT100 | EA | 3000013 | BUSHING;VOL,11015610 | BUSHING;VOL,11015610 | BUSHING;MNFR:VOLVO,PTNO:11015610 |  | BUSHING;VOL,11015610BUSHING;VOL,11015610 | VOLVO | 11015610 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11015610 | [10 empty] | VOLVO | 11015610 |  |  | SMH EQUIPMENT PTY LTD | 11015610 | [14 empty] | https://aftermarket.express/volvo/11020802 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096166 | 1096166 | 1382138 | AU_QM_000222187 |  | ERSA | M | 5620 | 1382138GZPCLNT100 | EA | 3000013 | BUSHING;VOL,11020802 | BUSHING;VOL,11020802 | BUSHING;MNFR:VOLVO,PTNO:11020802 |  | BUSHING;VOL,11020802BUSHING;VOL,11020802 | VOLVO | 11020802 | [12 empty] | VOLVO | 11020802 | [18 empty] | https://aftermarket.express/volvo/11020802 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1096167 | 1096167 | 1382137 | AU_QM_000222186 |  | ERSA | M | 5620 | 1382137GZPCLNT100 | EA | 3000013 | BUSHING;VOL,11177045 | BUSHING;VOL,11177045 | BUSHING;MNFR:VOLVO,PTNO:11177045 |  | BUSHING;VOL,11177045BUSHING;VOL,11177045 | VOLVO | 11177045 | [12 empty] | VOLVO | 11177045 | [18 empty] | https://aftermarket.express/volvo/11020802 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1184840 | 1184840 |  |  |  | ERSA | M | 2000 | 1558577GZPCLNT100 | EA |  | BUSHING;.,.,CONE SHAPED | BUJE; | BUSHING;SIZE:.,MATERIAL:.,ADDITIONAL FEATURES EN:CONE SHAPED | BUJE; |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136 7077 71 | [10 empty] | CUTRITE CUTTING & CORE DRILLING | 3136 7077 71 | [18 empty] | https://aftermarket.express/volvo/11020802 | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1186302 | 1186302 |  |  |  | ERSA | M | 5000 | 1552916GZPCLNT100 | EA |  | BUSHING;.,.,NO1 DEMAG,IGV PARTS | BUJE; | BUSHING;SIZE:.,MATERIAL:.,ADDITIONAL FEATURES EN:NO1 DEMAG,IGV PARTS | BUJE; |  |  |  | 1068330 @@ SMC CORPORATION (AUST) PTY LTD | C9S125-07-61676A | [10 empty] | SMC CORPORATION (AUST) PTY LTD | C9S125-07-61676A | [28 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | K | 2023-10-16 | 2023-10-28 |  | 1048886 | 1048886 |  |  |  | ERSA | M | 4090 | 1572611GZPCLNT100 | EA |  | BUSHING;1/4 X 1/8 IN,BRS | BUJE; | BUSHING;SIZE:1/4 X 1/8 IN,MATERIAL:BRASS,ADDITIONAL FEATURES EN:REDUCING BUSH 1/4 X 1/8 BRASS | BUJE; |  |  |  | 1069717 @@ AIR & GAS INDUSTRIES | 0 | [10 empty] | AIR & GAS INDUSTRIES | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171600 Bushings |  |  | BUSHING | NO MODIFIER | TYPE |  | SIZE | 1/4x1/8 in | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1102681 | 1102681 |  |  |  | ERSA | M | 5820 | 1525071GZPCLNT100 | EA |  | BUSHING,ELEC;PTFE,APS-PLP-0021 | BUSHING,ELEC;PTFE,APS-PLP-0021 | [18 empty] | APS-PLP-0021 | [28 empty] | CLEANSED | 39121312 Electrical bushing |  |  | BUSHING | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL | PTFE | BIL RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RYM | OK | 2023-10-16 | 2023-10-28 |  | 1071214 | 1071214 |  |  |  | ERSA | M | 5955 | 1516869GZPCLNT100 | EA | 3000024 | BUSHING;CUSHION,RUBR ENG ,IS-8980130221 | BUSHING;CUSHION,RUBR ENG ,IS-8980130221 |  |  |  | ISUZU | IS-8980130221 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | IS-8980130221 | [12 empty] | ISUZU | 8980130221 | AP TOWNSVILLE P/L T/A TONY IRELA | IS-8980130221 | [14 empty] | https://www.okisuzu.com/en/index.php?m=product&id=4620 | [9 empty] | ENRICHED | 24141603 Cushioning |  |  | CUSHION | NO MODIFIER | TYPE | ENGINE MOUNTED | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed