## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1217118 | 1217118 |  |  |  | ERSA | M | 5920 | 147782MRM | EA |  | BALL,BEARING:PTFE BALL KIT;HUSKY GRACO 2 | BALL,BEARING:PTFE BALL KIT;HUSKY GRACO 2 | BALL,BEARING:PTFE BALL KIT;HUSKY GRACO 2200F | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31171539 Bearing ball | BALL KIT, HUSKY GRACO 2200F |  | BALL | BEARING | TYPE |  | DIAMETER |  | MATERIAL | PTFE | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1214146 | 1214146 |  |  |  | ERSA | M | 5980 | 367276MRM | EA |  | BALL,VALVE,PORTED:PHA PH6722L 80MM VALVE | BALL,VALVE,PORTED:PHA PH6722L 80MM VALVE | BALL,VALVE,PORTED:PHA PH6722L 80MM VALVE BALL;SS316;ANSI 300 FLOATING BALL ONLY; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | PORTED:PHA PH6722L, ANSI 300 FLOATING BALL ONLY |  | BALL | VALVE | DIAMETER |  | VALVE SIZE | 80 MM | MATERIAL | 316 STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1020271 | 1020271 | 1388815 | AU_QM_000230176 |  | ERSA | M | 5955 | 1388815GZPCLNT100 | EA | 3000410 | BALL;ADLF,1563369,ADLF,1563369 | BOLA;ADLF,1563369, | BALL;MNFR:ADAPT-A-LIFT,PTNO:1563369,ADDITIONAL FEATURES EN:ADLF,1563369 | BOLA;MNFR:ADAPT-A-LIFT,PTNO:1563369 | BALL;ADLF,1563369,ADLF,1563369BALL;ADA,1563369 | ADAPT-A-LIFT | 1563369 | [12 empty] | ADAPT-A-LIFT |  | HYSTER | 1563369 | [16 empty] | https://www.orangeparts.com/hyster-1563369-ball-stud/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | STUD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1020372 | 1020372 | 1387008 | AU_QM_000228074 |  | ERSA | M | 5955 | 1387008GZPCLNT100 | EA | 3000035 | BALL;WAR,6MM LINAGARD OSR. | BALL;WAR,6MM LINAGARD OSR. | BALL;MNFR:WARMAN,PTNO:6MM LINAGARD OSR. |  | BALL;WAR,6MM LINAGARD OSR.BALL;WEI,6MM LINAGARD OSR. | WARMAN | 6MM LINAGARD OSR. | [12 empty] | WARMAN | 6MM LINAGARD OSR | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1203455 | 1203455 |  |  |  | ERSA | M | 4090 | 981746MRM | EA |  | BANDAGE,GAUZE:10CM X 1.75M;CONFORMING;EL | BANDAGE,GAUZE:10CM X 1.75M;CONFORMING;EL | BANDAGE,GAUZE:10CM X 1.75M;CONFORMING;ELASTIC;UNSTRETCHED; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | GAUZE, CONFORMING, UNSTRETCHED | SIZE | 10 CMX1.75 M | MATERIAL | ELASTIC | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1203456 | 1203456 |  |  |  | ERSA | M | 4090 | 981747MRM | EA |  | BANDAGE,GAUZE:5CM X 1.75M;CONFORMING;ELA | BANDAGE,GAUZE:5CM X 1.75M;CONFORMING;ELA | BANDAGE,GAUZE:5CM X 1.75M;CONFORMING;ELASTIC;UNSTRETCHED; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | GAUZE, CONFORMING, UNSTRETCHED | SIZE | 5 CMX1.75 M | MATERIAL | ELASTIC | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1216219 | 1216219 |  |  |  | ERSA | M | 4090 | 3705159MRM | PAC |  | BANDAGE,GAUZE:TUBULAR 16MM (SIZE-1) FING | BANDAGE,GAUZE:TUBULAR 16MM (SIZE-1) FING | BANDAGE,GAUZE:TUBULAR 16MM (SIZE-1) FINGERS <(>&<)> TOES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products | TUBULAR (SIZE-1) FINGERS <(>&<)> TOES |  | BANDAGE | NO MODIFIER | TYPE | GAUZE | SIZE | 16 MM | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1203476 | 1203476 |  |  |  | ERSA | M | 4090 | 981772MRM | EA |  | BANDAGE,TRIANGULAR:110CM X 110CM X 155CM | BANDAGE,TRIANGULAR:110CM X 110CM X 155CM | BANDAGE,TRIANGULAR:110CM X 110CM X 155CM;STERILE;BLEACHED COTTON;SINGLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products | STERILE, BLEACHED, SINGLE |  | BANDAGE | NO MODIFIER | TYPE | TRAINGULAR | SIZE | 110X110X155 CM | MATERIAL | COTTON | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1110541 | 1110541 | 1411601 | AU_QM_000256981 |  | ERSA | M | 5915 | 1411601GZPCLNT100 | EA |  | BOOTS;25595-42431 | BOOTS;25595-42431 | BOOTS;MNFR: ,PTNO:25595-42431 |  | BOOTS;25595-42431BOOTS;25595-42431 | [15 empty] | 25595-42431 | [18 empty] | https://starlift.ru/files/Heli_H2000_2/Main_brake_cylinder_watermark%20%281%29.pdf | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOTS | NO MODIFIER | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | INSOLE MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1098880 | 1098880 | 1391471 | AU_QM_000233335 |  | ERSA | M | 5100 | 1391471GZPCLNT100 | EA | 3000006 | DOOR;KOM,42T5621070 | DOOR;KOM,42T5621070 | DOOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:42T5621070 |  | DOOR;KOM,42T5621070DOOR;KOM,42T5621070 | KOMATSU MINING SYSTEMS INC. | 42T5621070 | [14 empty] | KOMATSU MINING SYSTEMS INC | 42T-56-21070 | [16 empty] | https://777parts.com/komatsu/42T-56-21070-Door/p384375.html | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1001873 | 1001873 |  |  |  | ERSA | M | 5000 | 1593087GZPCLNT100 | EA | 3000010 | DOOR;SAN,55167045 | PUERTA;SAN,55167045 | DOOR;MNFR:SANDVIK,PTNO:55167045 | PUERTA;MNFR:SANDVIK,PTNO:55167045 |  | SANDVIK | 55167045 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55167045 | [12 empty] | SANDVIK | 55167045 | SANDVIK MINING & CONSTRUCTION | 55167045 | [14 empty] | https://www.rockser.com.tr/export/5 | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 | KNUCKLE BASED ON WEBSOURCED CONFLICT W.R.T INPUT TYPE | 1004624 | 1004624 | 1449975 | AU_QM_001124882 |  | ERSA | M | 3000 | 1449975GZPCLNT100 | EA | 3000024 | BOOT;ISU,8943214070 | BOOT;ISU,8943214070 | BOOT;MNFR:ISUZU,PTNO:8943214070 |  | BOOT,DUST SEAL: KNUCKLE BOOT; | ISUZU | 8943214070 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 8943214070 | 1069100 @@ BRISBANE ISUZU | 8943214070 | [10 empty] | ISUZU | 8943214070 | AP TOWNSVILLE P/L T/A TONY IRELA | 8943214070 | BRISBANE ISUZU | 8943214070 | [12 empty] | https://www.isuzureplacementparts.com/sale-7608431-8943214070-isuzu-npr-parts-front-axle-tube-end-boot-for-isuzu-elf-4hk1.html | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE | TUBE END FRONT AXLE | SIZE |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1010726 | 1010726 |  |  |  | ERSA | M | 4090 | 1610660GZPCLNT100 | EA | 3000438 | DOOR;NRMT,53614520,STRKR | PUERTA;NRMT,53614520 | DOOR;MNFR:NORMET,PTNO:53614520,ADDITIONAL FEATURES EN:STRIKER | PUERTA;MNFR:NORMET,PTNO:53614520 |  | NORMET | 53614520 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 53614520 | [10 empty] | NORMET | 53614520 |  |  | NORMET ASIA PACIFIC PTY LTD | 53614520 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | STRIKER |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1012606 | 1012606 |  |  |  | ERSA | M | 5920 | 1614649GZPCLNT100 | EA | 3000664 | DOOR;NHP,LD24,GREY LOCKABLE SUIT NLC24 | PUERTA;NHP,LD24 | DOOR;MNFR:NHP,PTNO:LD24,ADDITIONAL FEATURES EN:GREY LOCKABLE SUIT NLC24 | PUERTA;MNFR:NHP,PTNO:LD24 |  | NHP | LD24 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPLD24 | [12 empty] | NHP | LD24 | CNW (MOUNT ISA) ELECT WHOLESALER | NHPLD24 | [14 empty] | https://www.nhp.com.au/product/ld24 | [9 empty] | Enriched | 30171500 Doors | LOCKABLE SUIT NLC24 | IP RATING: IP30, VOLTAGE: 240 TO 415 VAC | DOOR | NO MODIFIER | TYPE |  | SIZE | 1 THK MM | MATERIAL | ZINC ANNEALED STEEL | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1026123 | 1026123 | 1358441 | AU_QM_000153320 |  | ERSA | M | 5955 | 1358441GZPCLNT100 | EA | 3000012 | BALL;TOY,45047-69065(NG) | BALL;TOY,45047-69065(NG) | BALL;MNFR:TOYOTA,PTNO:45047-69065(NG) |  | BALL JOINT: TIE ROD (RIGHT HAND) | TOYOTA | 45047-69065(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 45047-69065(NG) | 1071809 @@ ASHDOWN ENTERPRISES | 45047-69065(NG) | 1068087 @@ ASHDOWN INGRAM | 45047-69065(NG) | [7 empty] | 45047-69065(NG) | TOYOTA | 45047-69065 | BELL & MOIR - PARTS ORDERS ONLY | 45047-69065(NG) | ASHDOWN ENTERPRISES | 45047-69065(NG) | ASHDOWN INGRAM | 45047-69065(NG) | [10 empty] | https://www.fitinpart.sg/index.php?route=product/product&product_id=527730 | [9 empty] | Enriched | 25174205 Tie Rods | BALL JOINT |  | ROD | TIE | TYPE | RIGHT HAND, END | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1026124 | 1026124 | 1358436 | AU_QM_000153312 |  | ERSA | M | 5955 | 1358436GZPCLNT100 | EA | 3000012 | BALL;TOY,45046-69105(NG) | BALL;TOY,45046-69105(NG) | BALL;MNFR:TOYOTA,PTNO:45046-69105(NG) |  | BALL JOINT: LEFT HAND TIE ROD | TOYOTA | 45046-69105(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 45046-69105(NG) | 1071809 @@ ASHDOWN ENTERPRISES | 45046-69105(NG) | 1068087 @@ ASHDOWN INGRAM | 45046-69105(NG) | [7 empty] | 45046-69105(NG) | TOYOTA | 45046-69105 | BELL & MOIR - PARTS ORDERS ONLY | 45046-69105(NG) | ASHDOWN ENTERPRISES | 45046-69105(NG) | ASHDOWN INGRAM | 45046-69105(NG) | [10 empty] | https://www.fitinpart.sg/index.php?route=product/product&product_id=527673 | [9 empty] | Enriched | 25174205 Tie Rods | BALL JOINT |  | ROD | TIE | TYPE | LEFT HAND, END | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1026125 | 1026125 | 1358435 | AU_QM_000153304 |  | ERSA | M | 5955 | 1358435GZPCLNT100 | EA | 3000012 | BALL;TOY,45044-69075(NG) | BALL;TOY,45044-69075(NG) | BALL;MNFR:TOYOTA,PTNO:45044-69075(NG) |  | BALL JOINT: STEERING RELAY (RIGHT HAND) | TOYOTA | 45044-69075(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4504469076 | 1071809 @@ ASHDOWN ENTERPRISES | 45044-69075(NG) | 1068087 @@ ASHDOWN INGRAM | 45044-69075(NG) | [7 empty] | 45044-69075(NG) | TOYOTA | 45044-69075 | BELL & MOIR - PARTS ORDERS ONLY | 4504469076 | ASHDOWN ENTERPRISES | 45044-69075(NG) | ASHDOWN INGRAM | 45044-69075(NG) | [10 empty] | https://www.fitinpart.sg/index.php?route=product/product&product_id=527586 | [9 empty] | Enriched | 25174205 Tie Rods | BALL JOINT |  | ROD | TIE | TYPE | STEERING RELAY (RIGHT HAND), END | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1026903 | 1026903 | 1427285 | AU_QM_000451773 |  | ERSA | M | 5955 | 1427285GZPCLNT100 | EA | 3000000 | BALL;ATL,0517-1108-00 | BALL;ATL,0517-1108-00 | BALL;MNFR:ATLAS COPCO,PTNO:0517-1108-00 |  | BALL,BEARING: 3/16" DIA;CARBON CHROMIUM STEEL; | ATLAS COPCO | 0517-1108-00 | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | 0517-1108-00 | [12 empty] | ATLAS COPCO | 0517 1108 00 | APPLIED INDUSTRIAL TECHNOLOGIES | 0517-1108-00 | [14 empty] | https://www.atlascopco.com/content/dam/atlas-copco/local-countries/italy/documents/industrial-technique/my-ac/listino-prezzi-2021/2022/LISTINO%20ACCESSORI%20E%20RICAMBI%20LUGLIO2022.pdf | [9 empty] | Cleansed | 31171539 Bearing ball |  |  | BALL | BEARING | TYPE |  | DIAMETER | 3/16 IN | MATERIAL | CARBON CHROMIUM STEEL | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1029191 | 1029191 | 1393478 | AU_QM_000236926 |  | ERSA | M | 5920 | 1393478GZPCLNT100 | EA | 3000001 | CAM;EPI,5580010293 | CAM;EPI,5580010293 | CAM;MNFR:EPIROC,PTNO:5580010293 |  | OEM-E-LISTCAM;EPI,5580010293 | EPIROC | 5580010293 | 1068274 @@ EPIROC AUSTRALIA-SERVICE &REPAIR | 5580010293 | [10 empty] | EPIROC | 5580010293 |  |  | EPIROC AUSTRALIA-SERVICE &REPAIR | 5580010293 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-common-original-spare-parts-catalog-update/ | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1030857 | 1030857 | 1365570 | AU_QM_000167975 |  | ERSA | M | 5910 | 1365570GZPCLNT100 | EA | 3000004 | DISC;HIT,AT184409 | DISC;HIT,AT184409 | DISC;MNFR:HITACHI,PTNO:AT184409 |  | DISC,CLUTCH: | HITACHI | AT184409 | 1068352 @@ HITACHI | AT184409 | 1068592 @@ RDO EQUIPMENT PTY LTD | AT184409 | [8 empty] | HITACHI | AT184409 |  |  | HITACHI | AT184409 | RDO EQUIPMENT PTY LTD | AT184409 | [12 empty] | https://avspare.com/spare/deere/at184409/ | [9 empty] | Cleansed | 26111900 Clutches |  |  | CLUTCH | NO MODIFIER | TYPE | DISK | BORE DIAMETER |  | SPEED RATING |  | TORQUE RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1032207 | 1032207 | 1464193 | AU_QM_005827007 |  | ERSA | M | 5955 | 1464193GZPCLNT100 | EA | 3000000 | BALL,BRG;DIA 7/32 IN | BALL,BRG;DIA 7/32 IN | BALL,BEARING;DIAMETER:7/32 IN,MNFR:ATLAS COPCO,PTNO:0517-1110-00,MNFR:01)SKF,PTNO:01)7/32-SBALL-RS |  | BALL,BEARING: 7/32" DIA | ATLAS COPCO | 0517-1110-00 | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | 7/32-SBALL-RS | [12 empty] | ATLAS COPCO | 0517-1110-00 | SKF | 7/32-SBALL-RS | APPLIED INDUSTRIAL TECHNOLOGIES | 7/32-SBALL-RS | [12 empty] | https://www.atlascopco.com/content/dam/atlas-copco/local-countries/italy/documents/industrial-technique/my-ac/listino-prezzi-2021/2022/LISTINO%20ACCESSORI%20E%20RICAMBI%20LUGLIO2022.pdf | [9 empty] | Cleansed | 31171539 Bearing ball |  |  | BALL | BEARING | TYPE |  | DIAMETER | 7/32 IN | MATERIAL |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1050128 | 1050128 |  |  |  | ERSA | M | 2240 | 1607799GZPCLNT100 | EA |  | BALL,VLV;PVC-U,15 MM,SCH 80 | VALVULA BOLA; | BALL,VALVE;MATERIAL:PVC-U,ADDITIONAL FEATURES EN:15 MM,SCH 80 | VALVULA BOLA; |  |  |  | 1068155 @@ REECE PTY LTD | 1532560 | [12 empty] | REECE PTY LTD | 1532560 | [16 empty] | https://www.reece.com.au/product/schedule-80-pvc-u-ball-valve-15mm-1532560 | [9 empty] | Cleansed | 40141616 Valve parts or accessories | SCHEDULE: SCH 80 |  | BALL | VALVE | DIAMETER |  | VALVE SIZE | 15 MM | MATERIAL | PVC-U | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1051976 | 1051976 |  |  |  | ERSA | M | 2920 | 1578829GZPCLNT100 | EA |  | BANDAGE;TRIANGULAR,1 IN,CLOTH | VENDAJE;TRIANGULAR,1 IN | BANDAGE;TYPE:TRIANGULAR,SIZE:1 IN,MATERIAL:CLOTH,ADDITIONAL FEATURES EN:FAC,DISPOSABLE,110 X 155CM | VENDAJE;TIPO:TRIANGULAR,TAMAÃ‘O:1 IN |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 856733 | [14 empty] | ALLIANCE SAFETY EQUIPMENT P/L | 856733 | [14 empty] | https://www.advancedgroup.com.au/FAC-TRIANGULAR-BANDAGE-DISP-110CMX155CM-p/856733.htm | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | TRAINGULAR, FAC,DISPOSABLE | SIZE | 1 INX110X155 CM | MATERIAL | CLOTH | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1057280 | 1057280 |  |  |  | ERSA | M | 5955 | 1542612GZPCLNT100 | EA |  | BOOT;RUBR,BLK,HS2-27 | CUBREPOLVO; | BOOT;ADDITIONAL FEATURES EN:RUBBER,BLACK,HS2-27 | CUBREPOLVO; |  |  |  | 1070323 @@ LEVELTEC ENGINEERING P/L | 1542612 | [11 empty] | HS2-27 |  |  | LEVELTEC ENGINEERING P/L | 1542612 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1059092 | 1059092 |  |  |  | ERSA | M | 2240 | 1606966GZPCLNT100 | EA |  | BALL,VLV;1/2 IN,BSPF X BSPF,PN16,PHILMAC | VALVULA BOLA;1/2 IN | BALL,VALVE;VALVE SIZE:1/2 IN,ADDITIONAL FEATURES EN:BSPF X BSPF,PN16,PHILMAC | VALVULA BOLA;TAMAÃ‘O LA VALVULA:1/2 IN |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 95500100 | [12 empty] | PHILMAC | 95500100 | BUTLER AGENCIES PTY LTD | [15 empty] | https://www.philmac.com.au/app/uploads/2017/12/Ball-Valve-brochure-1.pdf | [9 empty] | Enriched | 40141616 Valve parts or accessories | END CONNECTION: BSPFXBSPF, PRESSURE RATING: PN16 | TEMPARATURE OPERATING: 20 DEG C | BALL | VALVE | DIAMETER |  | VALVE SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1065093 | 1065093 | 1368175 | AU_QM_000171993 |  | ERSA | M | 5620 | 1368175GZPCLNT100 | EA |  | DEEP GROOVE;20MM X 42MM X 12MM;UNSEALED; | DEEP GROOVE;20MM X 42MM X 12MM;UNSEALED; | BALL,BEARING: DEEP GROOVE;20MM X 42MM X 12MM;UNSEALED; NO SEALS;TO SUIT LM90 DIAMOND DRILL |  | BALL,BEARING: DEEP GROOVE;20MM X 42MM X 12MM;UNSEALED; |  |  | 1068617 @@ BOART LONGYEAR PTY LTD | 5304962 | [14 empty] | BOART LONGYEAR PTY LTD | 5304962 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31171539 Bearing ball | SIZE: 12 MM, UNSEALED, NO SEALS, TO SUIT LM90 DIAMOND DRILL |  | BALL | BEARING | TYPE | DEEP GROOVE | DIAMETER | 20X42 MM | MATERIAL |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1080645 | 1080645 |  |  |  | ERSA | M | 3750 | 1615504GZPCLNT100 | EA | 3000010 | DOOR;SAN,55173035,ASSY | PUERTA;SAN,55173035 | DOOR;MNFR:SANDVIK,PTNO:55173035,ADDITIONAL FEATURES EN:ASSEMBLY | PUERTA;MNFR:SANDVIK,PTNO:55173035 |  | SANDVIK | 55173035 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 55173035 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 1615504 | [10 empty] | SANDVIK | 55173035 | SANDVIK MINING & CONSTRUCTION | 55173035 | SANDVIK MINING & CONSTRUCTION | 1615504 | [12 empty] | https://www.rockser.com.tr/export/5 | [9 empty] | Cleansed | 30171500 Doors | ASSEMBLY |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1085235 | 1085235 |  |  |  | ERSA | M | 1600 | 1577099GZPCLNT100 | EA | 3000422 | DOOR;CNW,B-RARDXDD45U06 SPLIT,FLR SERVER | PUERTA;CNW,B-RARDXDD45U06 SPLIT | DOOR;MNFR:CNW,PTNO:B-RARDXDD45U06 SPLIT,ADDITIONAL FEATURES EN:FLR SERVER,SPLIT MESH STEEL,B&R AUSRACK | PUERTA;MNFR:CNW,PTNO:B-RARDXDD45U06 SPLIT |  | CNW | B-RARDXDD45U06 SPLIT | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | B-RARDXDD45U06 SPLIT | [10 empty] | CNW | B-RARDXDD45U06 SPLIT | FLR SERVER,SPLIT MESH STEEL,B&R AUSRACK |  | CNW (TOWNSVILLE) ELECT SUPPLIES | B-RARDXDD45U06 SPLIT | B&R AUSRACK | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | FLR SERVER, SPLIT MESH |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1085818 | 1085818 |  |  |  | ERSA | M | 5000 | 1580668GZPCLNT100 | EA | 3000001 | DOOR;EPI,9111400596L,VLV B/SIDE CVR,L/H | PUERTA;EPI,9111400596L | DOOR;MNFR:EPIROC,PTNO:9111400596L,ADDITIONAL FEATURES EN:VLV B/SIDE CVR,L/H | PUERTA;MNFR:EPIROC,PTNO:9111400596L |  | EPIROC | 9111400596L | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT9111 4005 96L | [10 empty] | EPIROC | 9111400596L |  |  | MAINTENANCE TECHNIQUE PTY LTD | MT9111 4005 96L | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | VALVE B/SIDE COVER,LEFT HAND |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1085819 | 1085819 |  |  |  | ERSA | M | 5000 | 1580669GZPCLNT100 | EA | 3000001 | DOOR;EPI,9111400596R,VLV B/SIDE CVR,R/H | PUERTA;EPI,9111400596R | DOOR;MNFR:EPIROC,PTNO:9111400596R,ADDITIONAL FEATURES EN:VLV B/SIDE CVR,R/H | PUERTA;MNFR:EPIROC,PTNO:9111400596R |  | EPIROC | 9111400596R | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT9111 4005 96R | [10 empty] | EPIROC | 9111400596R |  |  | MAINTENANCE TECHNIQUE PTY LTD | MT9111 4005 96R | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | VALVE B/SIDE COVER,RIGHT HAND |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1088220 | 1088220 |  |  |  | ERSA | M | 1600 | 1585457GZPCLNT100 | EA |  | BOOT;RUBR,7 X 32 MM,PVC,BLACK,BRAND: OEX | CUBREPOLVO;,PVC,NEGRO | BOOT;TYPE:RUBBER,SIZE:7 X 32 MM,MATERIAL:PVC,COLOUR:BLACK,ADDITIONAL FEATURES EN:12MM DIA STEM,F/TOGGLE SWITCH,BRAND: OEX,PTNO: ACX3949BL | CUBREPOLVO;MATERIAL:PVC,TONO:NEGRO,PTNO:ACX3949BL |  |  | ACX3949BL | 1071809 @@ ASHDOWN ENTERPRISES | ACX3949BL | [12 empty] | OEX | ACX3949BL | ASHDOWN ENTERPRISES | ACX3949BL | [14 empty] | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/switches/oex-toggle-switch-rubber-boot-acx3949bl/p/A1193231 | [9 empty] | Enriched | 39122211 Toggle switch | COLOUR: BLACK, SIZE: 12MM DIA STEM | THREAD SIZE: M12X0.75 MM | SWITCH | TOGGLE | TYPE | BOOT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL | RUBBER, PVC | SIZE | 7X32 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1088222 | 1088222 |  |  |  | ERSA | M | 1600 | 1585459GZPCLNT100 | EA |  | BOOT;RUBR,23 X 29 MM,15/32 IN THREAD | CUBREPOLVO; | BOOT;TYPE:RUBBER,SIZE:23 X 29 MM,ADDITIONAL FEATURES EN:15/32 IN THREAD,F/TOGGLE SWITCH,BRAND: COLE HERSEE,PTNO:81264BL | CUBREPOLVO;,PTNO:81264BL |  |  | 81264BL | 1071809 @@ ASHDOWN ENTERPRISES | 81264BL | [12 empty] | COLE HERSEE | 81264BL | ASHDOWN ENTERPRISES | 81264BL | [14 empty] | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/switches/cole-hersee-toggle-switch-boot-81264bl/p/A1259000 | [9 empty] | Cleansed | 39122211 Toggle switch | THREAD SIZE: 15/32 IN |  | SWITCH | TOGGLE | TYPE | BOOT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL | RUBBER | SIZE | 23X29 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1102531 | 1102531 |  |  |  | ERSA | M | 4005 | 1526780GZPCLNT100 | EA |  | DISC;DISC,P031631 | DISC;DISC,P031631 | DISC;ADDITIONAL FEATURES:DISC,P031631 |  |  |  |  | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | P031631 | [14 empty] | AIR & ALLIED SALES (PACIFIC) P/L | P031631 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DISC | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1107723 | 1107723 | 1461933 | AU_QM_002777200 |  | ERSA | M | 5620 | 1461933GZPCLNT100 | EA |  | BALL,BEARING: | BALL,BEARING: | BALL,BEARING: |  | BALL,BEARING: |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1656 | [14 empty] | BERENDSEN FLUID POWER | 1656 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31171539 Bearing ball |  |  | BALL | BEARING | TYPE |  | DIAMETER |  | MATERIAL |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1121596 | 1121596 |  |  |  | ERSA | M | 2240 | 1587315GZPCLNT100 | EA |  | BALL,VLV;DIA 25 MM,1 IN,STAINLESS STEEL | VALVULA BOLA;DIA 25 MM,1 IN | BALL,VALVE;DIAMETER:25 MM,VALVE SIZE:1 IN,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:3 PCE,DOUBLE ACTING,C/W MOUNTING PAD, BRAND:AAP | VALVULA BOLA;DIAMETRO:25 MM,TAMAÃ‘O LA VALVULA:1 IN,MATERIAL:ACERO INOXIDABLE |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | SS3BV25MP | [14 empty] | BUTLER AGENCIES PTY LTD | SS3BV25MP | [14 empty] | https://www.aimsindustrial.com.au/aap-1-stainless-ball-valve-3-pce-actuator-mounting | [9 empty] | Enriched | 40141616 Valve parts or accessories | PACKING QUANTITY: 3 PIECE, DOUBLE ACTING, C/W MOUNTING PAD | TEMPARATURE OPERATING: 180 DEG C, COLD WORKING PRESSURE: 6895 KPA | BALL | VALVE | DIAMETER | 25 MM | VALVE SIZE | 1 INX81 LG MM | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1137297 | 1137297 | 1447801 | AU_QM_001072271 |  | ERSA | M | 3300 | 1447801GZPCLNT100 | EA |  | BOOT,RIPPER: | BOOT,RIPPER: | BOOT,RIPPER: CATERPILLER D10 DOZER |  | BOOT,RIPPER: |  |  | 1071153 @@ BRADKEN RESOURCES PTY LTD | E4T5502 | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | E4T5502 | [12 empty] | BRADKEN RESOURCES PTY LTD | E4T5502 | ESCO AUSTRALIA HOLDINGS PTY LTD | E4T5502 | [12 empty] | URL NOT FOUND |  |  |  | CATERPILLER | D10 DOZER |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE | RIPPER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1145149 | 1145149 |  |  |  | ERSA | M | 1600 | 1537151GZPCLNT100 | EA |  | BALL;EYE EXTEN LNK,160KN,YURIKA,2407267 | BALL;EYE EXTEN LNK,160KN,YURIKA,2407267 | BALL;ADDITIONAL FEATURES:EYE EXTEN LNK,160KN,YURIKA,2407267 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407267 | [10 empty] | YURIKA | 2407267 |  |  | YURIKA PTY LTD | 2407267 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | EYE EXTEN LINK | SIZE | 160 KN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1145970 | 1145970 |  |  |  | ERSA | M | 1600 | 1537150GZPCLNT100 | EA |  | BALL;EYE 160KN,YURIKA,2407266 | BALL;EYE 160KN,YURIKA,2407266 | BALL;ADDITIONAL FEATURES:EYE 160KN,YURIKA,2407266 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407266 | [10 empty] | YURIKA | 2407266 |  |  | YURIKA PTY LTD | 2407266 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | EYE | SIZE | 160 KN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1145976 | 1145976 |  |  |  | ERSA | M | 1600 | 1537144GZPCLNT100 | EA |  | BALL;EYE,120KN,YURIKA,2407254 | BALL;EYE,120KN,YURIKA,2407254 | BALL;ADDITIONAL FEATURES:EYE,120KN,YURIKA,2407254 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407254 | [10 empty] | YURIKA | 2407254 |  |  | YURIKA PTY LTD | 2407254 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | NO MODIFIER | TYPE | EYE | SIZE | 120 KN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1146236 | 1146236 |  |  |  | ERSA | M | 1600 | 1536532GZPCLNT100 | EA |  | BRACE;CROSSARM TYPE 1000T,YURIKA,479456 | BRACE;CROSSARM TYPE 1000T,YURIKA,479456 | BRACE;ADDITIONAL FEATURES:CROSSARM TYPE 1000T,YURIKA,479456 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 479456 | 1070799 @@ YURIKA PTY LTD | 1536532 | [8 empty] | YURIKA | 479456 |  |  | YURIKA PTY LTD | 479456 | YURIKA PTY LTD | 1536532 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces | TYPE 1000T |  | BRACE | NO MODIFIER | TYPE | CROSSARM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1146237 | 1146237 |  |  |  | ERSA | M | 1600 | 1536531GZPCLNT100 | EA |  | BRACE;CROSSARM TYPE 1000C,YURIKA,479405 | BRACE;CROSSARM TYPE 1000C,YURIKA,479405 | BRACE;ADDITIONAL FEATURES:CROSSARM TYPE 1000C,YURIKA,479405 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 479405 | 1070799 @@ YURIKA PTY LTD | 1536531 | [8 empty] | YURIKA | 479405 |  |  | YURIKA PTY LTD | 479405 | YURIKA PTY LTD | 1536531 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162503 Braces | TYPE 1000C |  | BRACE | NO MODIFIER | TYPE | CROSSARM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 | ACCESS,BI-FOLD BASED ON WEBSORCED CONFLICT W.R.T INPUT TYPE | 1146249 | 1146249 |  |  |  | ERSA | M | 1600 | 1536134GZPCLNT100 | EA |  | DOOR;ACCESS,BI-FOLD,RA4,YURIKA,4156 | DOOR;ACCESS,BI-FOLD,RA4,YURIKA,4156 | DOOR;ADDITIONAL FEATURES:ACCESS,BI-FOLD,RA4,YURIKA,4156 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 4156 | [10 empty] | YURIKA | 4156 |  |  | YURIKA PTY LTD | 4156 | [14 empty] | https://www.salvageenterprises.com.au/product/4156/ | [9 empty] | Enriched | 30171500 Doors | RA4 |  | DOOR | NO MODIFIER | TYPE | SCREEN | SIZE | 2050 HTX800 WD MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 | ACCESS,BI-FOLD BASED ON WEBSORCED CONFLICT W.R.T INPUT TYPE | 1146250 | 1146250 |  |  |  | ERSA | M | 1600 | 1536133GZPCLNT100 | EA |  | DOOR;ACCESS,BI-FOLD,RA1,YURIKA,4155 | DOOR;ACCESS,BI-FOLD,RA1,YURIKA,4155 | DOOR;ADDITIONAL FEATURES:ACCESS,BI-FOLD,RA1,YURIKA,4155 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 4155 | [10 empty] | YURIKA | 4155 |  |  | YURIKA PTY LTD | 4155 | [14 empty] | https://www.salvageenterprises.com.au/product/4155/ | [9 empty] | Enriched | 30171500 Doors | RA1 |  | DOOR | NO MODIFIER | TYPE | SCREEN | SIZE | 2035 HTX805 WD MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1146432 | 1146432 |  |  |  | ERSA | M | 1600 | 1527289GZPCLNT100 | EA |  | BOOT,DST & MOSTRE SEAL;RUBBER,,91000TA10 | BOOT,DST & MOSTRE SEAL;RUBBER,,91000TA10 | BOOT,DST & MOSTRE SEAL;ADDITIONAL FEATURES:RUBBER,,91000TA10 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 91000TA10 | [12 empty] | EATON | 91000TA10 | CNW (MOUNT ISA) ELECT WHOLESALER | 91000TA10 | [14 empty] | https://www.kempstoncontrols.co.uk/91000TA10/Eaton/sku/94267 | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | COLOUR | GREEN | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1146552 | 1146552 |  |  |  | ERSA | M | 1600 | 1525839GZPCLNT100 | EA |  | DOOR;3 POINT,NHPCELHCRP21C60 | DOOR;3 POINT,NHPCELHCRP21C60 | DOOR;ADDITIONAL FEATURES:3 POINT,NHPCELHCRP21C60 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CELHCRP21C60 | [11 empty] | NHPCELHCRP21C60 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CELHCRP21C60 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | 3 POINT |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1146699 | 1146699 |  |  |  | ERSA | M | 1600 | 1516438GZPCLNT100 | EA |  | DOOR;LOCKABLE SUIT,NHPLD912 | DOOR;LOCKABLE SUIT,NHPLD912 | DOOR;ADDITIONAL FEATURES:LOCKABLE SUIT,NHPLD912 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPLD912 | [11 empty] | NHPLD912 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHPLD912 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | LOCKABLE SUIT |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1147535 | 1147535 |  |  |  | ERSA | M | 4090 | 1523945GZPCLNT100 | EA |  | DOOR;TITAN PRIVACY SET SSS,9328879081793 | DOOR;TITAN PRIVACY SET SSS,9328879081793 | DOOR;ADDITIONAL FEATURES:TITAN PRIVACY SET SSS,9328879081793 |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9328879081793 | [11 empty] | 9328879081793 |  |  | ELLIOTT TIMBER SALES PTY LTD | 9328879081793 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors | TITAN PRIVACY SET SSS |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1149079 | 1149079 |  |  |  | ERSA | M | 1500 | 1532146GZPCLNT100 | EA |  | DISC,CUTNG;125X1.0MM,PK100,9342386096545 | DISC,CUTNG;125X1.0MM,PK100,9342386096545 | DISC,CUTNG;ADDITIONAL FEATURES:125X1.0MM,PK100,9342386096545 |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9342386096545 | [12 empty] | ALPHA | 9342386096545 | ELLIOTT TIMBER SALES PTY LTD | 9342386096545 | [14 empty] | https://www.sheffield.com.au/cutting-disc-125-x-1-0-mm-xtra-tub-pk-100-bonus-free-snips | [9 empty] | Enriched | 27112838 Cutting disc | PACKING QUANTITY: 100 |  | DISC | CUTTING | TYPE | XTRA | SPEED | 12250 RPM | SIZE | 22.2 IDX125 ODX1 THK MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1149739 | 1149739 |  |  |  | ERSA | M | 5100 | 1495269GZPCLNT100 | EA |  | DOOR;DUNK DOOR,FOR VBH,ME221 | DOOR;DUNK DOOR,FOR VBH,ME221 | DOOR;ADDITIONAL FEATURES:DUNK DOOR,FOR VBH,ME221 |  |  |  |  | 1069720 @@ MAATTA ENGINEERING | 1495269 | [11 empty] | ME221 |  |  | MAATTA ENGINEERING | 1495269 | [14 empty] | https://www.basparts.com/nou/dt_spare_parts-synchronizer_kit-BP0759409 | [9 empty] | Cleansed | 20000000 Mining and Well Drilling Machinery and Accessories | DUNK DOOR FOR VBH |  | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 | PANEL,HINGE,CHAIR RAIL,EDLH-CR BASED ON WEBSOURCED CONFLICT W.R.T INPUT TYPE | 1150195 | 1150195 |  |  |  | ERSA | M | 1500 | 1525306GZPCLNT100 | EA |  | DOOR;PANEL,HINGE,CHAIR RAIL,EDLH-CR | DOOR;PANEL,HINGE,CHAIR RAIL,EDLH-CR | DOOR;ADDITIONAL FEATURES:PANEL,HINGE,CHAIR RAIL,EDLH-CR |  |  |  |  | 1068252 @@ APG GLASS AND ALUMINIUM | 1525306 | [14 empty] | APG GLASS AND ALUMINIUM | 1525306 | [14 empty] | https://www.benzeenautoparts.com/used-parts/2017-bmw-540i-front-door-right/1525306 | [9 empty] | Enriched | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | FRONT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1150335 | 1150335 |  |  |  | ERSA | M | 5100 | 1504497GZPCLNT100 | EA |  | DOOR;DGR-001R | DOOR;DGR-001R | DOOR;ADDITIONAL FEATURES:DGR-001R |  |  |  |  | 1071352 @@ ALL THINGS CONTAINERS GROUP P/L | 1504497 | [11 empty] | DGR-001R |  |  | ALL THINGS CONTAINERS GROUP P/L | 1504497 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1153391 | 1153391 |  |  |  | ERSA | M | 4075 | 1534126GZPCLNT100 | EA |  | BANDAGE;RAPP-IT PIPE,50MM X 3.6M,1905970 | BANDAGE;RAPP-IT PIPE,50MM X 3.6M,1905970 | BANDAGE;ADDITIONAL FEATURES:RAPP-IT PIPE,50MM X 3.6M,1905970 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1905970 | [14 empty] | REECE PTY LTD | 1905970 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products |  |  | BANDAGE | NO MODIFIER | TYPE | RAPP-IT PIPE | SIZE | 50 MMX3.6 M | MATERIAL |  | COLOUR |  | CLOSURE TYPE |  | WATER PROOF |  | LATEX FREE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1154005 | 1154005 |  |  |  | ERSA | M | 4005 | 1534097GZPCLNT100 | EA |  | DISC,CUTNG;B/LAND S/S CUTTING DI,9504709 | DISC,CUTNG;B/LAND S/S CUTTING DI,9504709 | DISC,CUTNG;ADDITIONAL FEATURES:B/LAND S/S CUTTING DI,9504709 |  |  |  |  | 1068155 @@ REECE PTY LTD | 9504709 | [12 empty] | REECE PTY LTD | 9504709 | [16 empty] | https://www.reece.co.nz/product/bridgland-stainless-steel-cutting-disc-125mm-x-1mm-9504709 | [9 empty] | Enriched | 27112838 Cutting disc | BRIDGLAND |  | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 125X22X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1154006 | 1154006 |  |  |  | ERSA | M | 4005 | 1534096GZPCLNT100 | EA |  | DISC,CUTNG;B/LAND S/S CUTTING DI,9504265 | DISC,CUTNG;B/LAND S/S CUTTING DI,9504265 | DISC,CUTNG;ADDITIONAL FEATURES:B/LAND S/S CUTTING DI,9504265 |  |  |  |  | 1068155 @@ REECE PTY LTD | 9504265 | [12 empty] | REECE PTY LTD | 9504265 | [16 empty] | https://www.reece.co.nz/product/bridgland-stainless-steel-cutting-disc-115mm-x-9504265?query=9504265 | [9 empty] | Enriched | 27112838 Cutting disc | BRIDGLAND |  | DISC | CUTTING | TYPE |  | SPEED |  | SIZE | 115X22X1 MM | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STAINLESS STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1154720 | 1154720 |  |  |  | ERSA | M | 5100 | 1508111GZPCLNT100 | EA |  | DOOR;SOLID,DURACOTE TEMPERED H,HUM002036 | DOOR;SOLID,DURACOTE TEMPERED H,HUM002036 | DOOR;ADDITIONAL FEATURES:SOLID,DURACOTE TEMPERED H,HUM002036 |  |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HUM002036 | [10 empty] | DURACOTE | HUM002036 |  |  | ELLIOTT TIMBER SALES PTY LTD | HUM002036 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE | SOLID, TEMPERED H | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1155640 | 1155640 |  |  |  | ERSA | M | 3750 | 1505619GZPCLNT100 | EA |  | DOOR;SAN,SAT300042 | DOOR;SAN,SAT300042 | DOOR;ADDITIONAL FEATURES:SAN,SAT300042 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SAT300042 | [10 empty] | SANDVIK | SAT300042 |  |  | SANDVIK MINING & CONSTRUCTION | SAT300042 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1155642 | 1155642 |  |  |  | ERSA | M | 3750 | 1505617GZPCLNT100 | EA |  | DOOR;SAN,SAT801033 | DOOR;SAN,SAT801033 | DOOR;ADDITIONAL FEATURES:SAN,SAT801033 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SAT801033 | [10 empty] | SANDVIK | SAT801033 |  |  | SANDVIK MINING & CONSTRUCTION | SAT801033 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1180399 | 1180399 |  |  |  | ERSA | M | 2240 | 1543873GZPCLNT100 | EA |  | BALL,VLV;DN80 V2F-E,SS,PTFE STEM PACK | VALVULA BOLA; | BALL,VALVE;ADDITIONAL FEATURES EN:DN80 V2F-E,SS,PTFE STEM PACK | VALVULA BOLA; |  |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | VSF-E FF | [11 empty] | V2F-E |  |  | KEYFLO PACIFIC PTY LTD | VSF-E FF | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | STEM PACK |  | BALL | VALVE | DIAMETER |  | VALVE SIZE | DN80 | MATERIAL | PTFE, STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1181425 | 1181425 |  |  |  | ERSA | M | 5000 | 1567737GZPCLNT100 | EA | 3000438 | DOOR;NRMT,100019106 | PUERTA;NRMT,100019106 | DOOR;MNFR:NORMET,PTNO:100019106 | PUERTA;MNFR:NORMET,PTNO:100019106 |  | NORMET | 100019106 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100019106 | [10 empty] | NORMET | 100019106 |  |  | NORMET ASIA PACIFIC PTY LTD | 100019106 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1181426 | 1181426 |  |  |  | ERSA | M | 5000 | 1567736GZPCLNT100 | EA | 3000438 | DOOR;NRMT,100018983 | PUERTA;NRMT,100018983 | DOOR;MNFR:NORMET,PTNO:100018983 | PUERTA;MNFR:NORMET,PTNO:100018983 |  | NORMET | 100018983 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100018983 | [10 empty] | NORMET | 100018983 |  |  | NORMET ASIA PACIFIC PTY LTD | 100018983 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30171500 Doors |  |  | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1187293 | 1187293 |  |  |  | ERSA | M | 2240 | 1616135GZPCLNT100 | EA |  | BALL,VLV;25 MM,ACTUD,240VAC,R225/LRU230 | VALVULA BOLA; | BALL,VALVE;VALVE SIZE:25 MM,ADDITIONAL FEATURES EN:ACTUATED,240VAC,R225/LRU230,WEATHERPROOF ENCLOSURE WITH TANK ADAPTOR INLET/OUTLET,PORTS (SPACE AVAILABLE FOR OPTIONAL TIMER),CABINET 350X450MM,MOUNTING HOLES 302X465MM,MNFR:BELIMO | VALVULA BOLA; |  |  |  | 1068450 @@ SOLENIS ( FORMERLY DREW AUST) | BELIMO R225/LRU230-CAB | [12 empty] | BELIMO | R225/LRU230 | SOLENIS ( FORMERLY DREW AUST) | BELIMO R225/LRU230-CAB | [14 empty] | https://cwc.com.au/products/general/actuated-ball-valves/belimo-ip54-lru230-actuated-ball-valves-power-to-open-and-close/ | [9 empty] | Enriched | 40141616 Valve parts or accessories | ACTUATED, VOLTAGE RATING: 240VAC, WEATHERPROOF ENCLOSURE C/W TANK ADAPTOR INLET/OUTLET,PORTS (SPACE AVAILABLE FOR OPTIONAL TIMER), CABINET 350X450 MM, MOUNTING HOLES 302X465 MM | PRESSURE RATING: 3.5 BAR, TEMPARATURE OPERATING: 100 DEG C, IP RATING: IP54, PORT SIZE: 1X1/2X3/4 IN, END CONNECTION: BSPFXBSPFXBSPF | BALL | VALVE | DIAMETER |  | VALVE SIZE | 25 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1187973 | 1187973 |  |  |  | ERSA | M | 2920 | 1607013GZPCLNT100 | EA |  | BOOT;SAFTY,9IN,WHEAT,BRAND:FXD | CUBREPOLVO; | BOOT;TYPE:SAFETY,SIZE:9IN,COLOUR:WHEAT,ADDITIONAL FEATURES EN:BRAND:FXD,COMPOSITE TOE 6.0 | CUBREPOLVO; |  |  |  | 1068178 @@ TOTALLY WORKWEAR | FXWB-1ST090 | [10 empty] | FXD |  |  |  | TOTALLY WORKWEAR | FXWB-1ST090 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | COMPOSITE TOE 6.0 |  | BOOT | NO MODIFIER | TYPE | SAFETY | SIZE | 9 IN | MATERIAL |  | COLOUR | WHEAT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1188598 | 1188598 |  |  |  | ERSA | M | 4090 | 1585145GZPCLNT100 | EA |  | DISC;X-LOCK,125 MM,FIBER,MTL,G60,R574 | DISCO;,FIBRA | DISC;TYPE:X-LOCK,SIZE:125 MM,MATERIAL:FIBER,ADDITIONAL FEATURES EN:METAL,G60,R574,50 EACH CONTAINS IN 1 BOX | DISCO;MATERIAL:FIBRA |  |  |  | 1068093 @@ BLACKWOODS & SONS | 1042512 | 1068652 @@ J BLACKWOOD & SONS | 1042512 | [24 empty] | BLACKWOODS & SONS | 1042512 | J BLACKWOOD & SONS | 1042512 | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | G60,R574,50 EACH CONTAINS IN 1 BOX |  | DISC | NO MODIFIER | TYPE | X-LOCK | SIZE | 125 MM | MATERIAL | FIBER, METAL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1188751 | 1188751 |  |  |  | ERSA | M | 1600 | 1576768GZPCLNT100 | EA | 3000422 | BOOT;CNW,EAT10250TA10,FLEXIBLE GREEN | CUBREPOLVO;CNW,EAT10250TA10 | BOOT;MNFR:CNW,PTNO:EAT10250TA10,ADDITIONAL FEATURES EN:FLEXIBLE GREEN | CUBREPOLVO;MNFR:CNW,PTNO:EAT10250TA10 |  | CNW | EAT10250TA10 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250TA10 | [10 empty] | CNW | EAT10250TA10 | EATON | 10250TA10 | CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250TA10 | [14 empty] | https://www.westburne.ca/cwr/Category/Motor-Control-%26-Automation/Motor-Control/Pushbuttons%2C-Pilot-Lights%2C-Selector-Switches/Pushbutton-%26-Pilot-Light-Accessories/10250TA10-FLEXIBLE-BOOT---GREEN/p/EAT10250TA10-WG | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE | FLEXIBLE | SIZE | 30.5 MM | MATERIAL |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1190297 | 1190297 |  |  |  | ERSA | M | 4090 | 1574847GZPCLNT100 | EA |  | BOOT;FEET RUBBER FOR 2 M BAILEY LADDER | CUBREPOLVO; | BOOT;ADDITIONAL FEATURES EN:FEET RUBBER FOR 2 M BAILEY LADDER,PTNO:SP15-028AZ | CUBREPOLVO;,PTNO:SP15-028AZ |  |  | SP15-028AZ | 1068502 @@ ATOM SUPPLY | 91138088 | [10 empty] | BAILEY LADDER | SP15-028AZ |  |  | ATOM SUPPLY | 91138088 | [14 empty] | https://www.learsmith.com.au/als/category/Tools-%26-Instrumentation/Ladder-Scaffold/Accessories-for-ladder-scaffold/SPARE-PART-BOOT-KIT-FG-SS-%26-PFS-%28LEGACY-PRODUCTS%29/BAISP15-028AZ/p/14298588 | [9 empty] | Cleansed | 20000000 Mining and Well Drilling Machinery and Accessories | BOOT FEET RUBBER FOR 2 M BAILEY LADDER |  | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1190303 | 1190303 |  |  |  | ERSA | M | 4090 | 1574841GZPCLNT100 | EA |  | BOOT;FT,BAILEY LADDER PODIUM SG RANGE | CUBREPOLVO; | BOOT;ADDITIONAL FEATURES EN:FT,BAILEY LADDER PODIUM SG RANGE,PTNO:SP15-009AZ | CUBREPOLVO;,PTNO:SP15-009AZ |  |  | SP15-009AZ | 1068502 @@ ATOM SUPPLY | 493016 | [10 empty] | BAILEY LADDER | SP15-009AZ |  |  | ATOM SUPPLY | 493016 | [14 empty] | https://www.learsmith.com.au/als/category/Tools-%26-Instrumentation/Ladder-Scaffold/Stepladder/SPARE-PART-FEET-KIT---P150-PODIUM-FG/BAISP15-009AZ/p/14298584?showBackLink=false | [9 empty] | Cleansed | 20000000 Mining and Well Drilling Machinery and Accessories | BOOT PODIUM SG RANGE |  | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206914 | 1206914 |  |  |  | ERSA | M | 2920 | 132566MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 9 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026486 | [12 empty] | ATOM SUPPLY | 40026486 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 9 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206915 | 1206915 |  |  |  | ERSA | M | 2920 | 132567MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 9.5 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026477 | [12 empty] | ATOM SUPPLY | 40026477 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 9.5 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206916 | 1206916 |  |  |  | ERSA | M | 2920 | 132568MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 10 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026487 | [12 empty] | ATOM SUPPLY | 40026487 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 10 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206917 | 1206917 |  |  |  | ERSA | M | 2920 | 132569MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 10.5 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026488 | [12 empty] | ATOM SUPPLY | 40026488 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 10.5 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206918 | 1206918 |  |  |  | ERSA | M | 2920 | 132570MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 11 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026489 | [12 empty] | ATOM SUPPLY | 40026489 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 11 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1206919 | 1206919 |  |  |  | ERSA | M | 2920 | 132572MRM | PAA |  | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COM | BOOTS,SAFETY:BOOT MACK OCTANE SAFETY COMPOSITE 300C UNISEX HONEY UK 12 PAIR |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026490 | [12 empty] | ATOM SUPPLY | 40026490 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots | TEMPARATURE RATING: 300 C, UNISEX |  | BOOTS | SAFETY | TYPE | BOOT MACK OCTANE | SIZE DESIGNATION | 12 PAIR UK | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1207930 | 1207930 |  |  |  | ERSA | M | 5820 | 1105857MRM | EA |  | DISC,GRINDING MILL:DISPOSABLE;DURO HD 60 | DISC,GRINDING MILL:DISPOSABLE;DURO HD 60 | DISC,GRINDING MILL:DISPOSABLE;DURO HD 60 RUBBER; FLAME CUT1 PCE GDE 250 STEEL; BLACK RUBBER LINED; NETZSCH M10000 ISAMILL |  |  |  |  | 9000095 @@ Glencore Technology Pty Limited | 1333963 | [14 empty] | Glencore Technology Pty Limited | 1333963 | [14 empty] | URL NOT FOUND |  |  |  | NETZSCH | M10000 ISAMILL |  |  |  |  | Cleansed | 23131503 Grinding wheels | DURO HD 60 RUBBER, FLAME CUT1 PCE GDE 250, COLOUR: BLACK RUBBER LINED |  | DISC | GRINDING | TYPE | MILL DISPOSABLE | SPEED |  | SIZE |  | GRIT |  | ARBOR HOLE SIZE |  | ABRASIVE MATERIAL | STEEL | USAGE DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1210982 | 1210982 |  |  |  | ERSA | M | 2920 | 134955MRM | PAA |  | BOOTS,SAFETY:BOOT;MACK HEELER;SIZE 13;;L | BOOTS,SAFETY:BOOT;MACK HEELER;SIZE 13;;L | BOOTS,SAFETY:BOOT;MACK HEELER;SIZE 13;;LACE-UP; COLOUR HONEY;;COMPOSITE TOE CAP; |  |  |  |  | 1068502 @@ ATOM SUPPLY | 40026491 | [12 empty] | ATOM SUPPLY | 40026491 | [16 empty] | https://www.coursehero.com/file/209186393/ATOM-Purchase-Requisition-Quote-S761288-Approvedpdf/ | [9 empty] | Cleansed | 46181604 Safety boots |  |  | BOOTS | SAFETY | TYPE | BOOT, MACK HEELER, LACE UP | SIZE DESIGNATION | 13 | MATERIAL |  | STYLE |  | FASTENING METHOD |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE | COMPOSITE TOE CAP | COLOUR | HONEY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1211216 | 1211216 |  |  |  | ERSA | M | 5500 | 358221MRM | KG |  | BALL,GRINDING:50MM DIA; 1.0C; FORGED STE | BALL,GRINDING:50MM DIA; 1.0C; FORGED STE | BALL,GRINDING:50MM DIA; 1.0C; FORGED STEEL; TONNE WEIGHT; 63 HRC; |  |  |  |  | 1068213 @@ MOLY-COP (COMMONWEALTH STEEL CO) | PN1211216 | [14 empty] | MOLY-COP (COMMONWEALTH STEEL CO) | PN1211216 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BALL | GRINDING | TYPE |  | DIAMETER | 50 MM | MATERIAL | FORGED STEEL | HARDNESS | 63 HRC | CENTER HARDNESS |  | GRADE |  | PACK SIZE | TONNE WEIGHT | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1215464 | 1215464 |  |  |  | ERSA | M | 1600 | 175319MRM | ROL |  | CONDUIT,METAL,FLEX:16MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:16MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:16MM;NMUA;GREY;LIQUID TIGHT |  |  |  |  | 1079398 @@ REXEL DARWIN | AODNMUA38?30 | [14 empty] | REXEL DARWIN | AODNMUA38?30 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | NMUA, COLOUR: GREY |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, LIQUID TIGHT | TRADE SIZE | 16 MM | LENGTH |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1215465 | 1215465 |  |  |  | ERSA | M | 1600 | 175320MRM | ROL |  | CONDUIT,METAL,FLEX:20MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:20MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:20MM;NMUA;GREY;LIQUID TIGHT |  |  |  |  | 1079398 @@ REXEL DARWIN | AODNMUA12?30 | [14 empty] | REXEL DARWIN | AODNMUA12?30 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | NMUA, COLOUR: GREY |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, LIQUID TIGHT | TRADE SIZE | 20 MM | LENGTH |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1215466 | 1215466 |  |  |  | ERSA | M | 1600 | 175321MRM | ROL |  | CONDUIT,METAL,FLEX:25MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:25MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:25MM;NMUA;GREY;LIQUID TIGHT |  |  |  |  | 1079398 @@ REXEL DARWIN | AODNMUA34?30 | [14 empty] | REXEL DARWIN | AODNMUA34?30 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | NMUA, COLOUR: GREY |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, LIQUID TIGHT | TRADE SIZE | 25 MM | LENGTH |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 16-10-2023 | 28-10-2023 |  | 1215467 | 1215467 |  |  |  | ERSA | M | 1600 | 175322MRM | ROL |  | CONDUIT,METAL,FLEX:32MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:32MM;NMUA;GREY;LIQUID | CONDUIT,METAL,FLEX:32MM;NMUA;GREY;LIQUID TIGHT |  |  |  |  | 1079398 @@ REXEL DARWIN | AODNMUA100?30 | [14 empty] | REXEL DARWIN | AODNMUA100?30 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39131700 Wire Raceways Conduit and Busways | NMUA, COLOUR: GREY |  | CONDUIT | NO MODIFIER | TYPE | FLEXIBLE, LIQUID TIGHT | TRADE SIZE | 32 MM | LENGTH |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed