## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1186719 | 1186719 |  |  |  | ERSA | M | 4010 | 1551946GZPCLNT100 | EA |  | BAR,BRKR;1/2 IN DVE,600MM HANDLE | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:1/2 IN DVE,600MM HANDLE | BARRA ROTURA; |  |  |  | 1068391 @@ BOSS | SP23319 | [12 empty] | BOSS | SP23319 | [16 empty] | https://www.discounttrader.com.au/product/sp-tools-12-drive-flex-handle-wrench-breaker-bar-600mm-sp23319/ | https://www.thebossshop.com.au/product/16555-flex-hdle-m-sprt-1-2drx600mm | [8 empty] | Enriched | 27111700 Wrenches and drivers |  | FLEXIBLE HANDLE | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | MATERIAL |  | LENGTH | 600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1058899 | 1058899 |  |  |  | ERSA | M | 5900 | 1585372GZPCLNT100 | EA |  | BAR,BRKR;3/4IN, 40 IN(1020 MM) | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:3/4IN, 40 IN(1020 MM) | BARRA ROTURA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 34FH | [12 empty] | T&E TOOLS | 34FH | TOOL 'N' TACKLE | 34FH | [14 empty] | https://www.tetools.com/40-adjustable-handle#specifications | [9 empty] | Enriched | 27111700 Wrenches and drivers |  | ADJUSTABLE HANDLE | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 3/4 IN | DRIVE TYPE |  | MATERIAL |  | LENGTH | 40 IN(1020 MM) | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1113148 | 1113148 |  |  |  | ERSA | M | 4010 | 1573297GZPCLNT100 | EA |  | BAR,BRKR;3/8 IN SQ DVE,LG HANDLE | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:3/8 IN SQ DVE,LG HANDLE | BARRA ROTURA; |  |  |  | 1071058 @@ SNAP ON TOOLS DARWIN | F12LB | 1068256 @@ TOOL 'N' TACKLE | 1573297 | [10 empty] | SNAP ON TOOLS DARWIN | F12LB | TOOL 'N' TACKLE | 1573297 | [14 empty] | https://shop.snapon.com/product/Breaker-Bars%2C-Chrome-(3-8%22)/3-8%22-Drive-11-9%2F16%22-Long-Handle-Breaker-Bar/F12LB | [9 empty] | Enriched | 27111700 Wrenches and drivers | HANDLE SIZE:LARGE | FINIS:CHROME | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 3/8 IN | DRIVE TYPE | SQUARE | MATERIAL |  | LENGTH | 11-9/16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI/ASME B107.10 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1113147 | 1113147 |  |  |  | ERSA | M | 4010 | 1573298GZPCLNT100 | EA |  | BAR,BRKR;3/8 IN SQ DVE,XL HANDLE | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:3/8 IN SQ DVE,XL HANDLE | BARRA ROTURA; |  |  |  | 1071058 @@ SNAP ON TOOLS DARWIN | F18LA | [12 empty] | SNAP ON TOOLS DARWIN | F18LA | [16 empty] | https://shop.snapon.com/product/Breaker-Bars%2C-Chrome-(3-8%22)/3-8%22-Drive-18%22-Extra-Long-Handle-Breaker-Bar/F18LA | [9 empty] | Enriched | 27111700 Wrenches and drivers | HANDLE SIZE:X-LARGE |  | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 3/8 IN | DRIVE TYPE | SQUARE | MATERIAL | NICKEL CHROME ALLOY STEEL | LENGTH | 18 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1179560 | 1179560 |  |  |  | ERSA | M | 4010 | 1542935GZPCLNT100 | EA |  | BAR,BRKR;610MM,3/4IN DVE | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:610MM,3/4IN DVE | BARRA ROTURA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 156642 | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1542935 | [8 empty] | MOUNT ISA MINING SUPPLIES P/L | 1542935 | TOLEDO | 301246 | [12 empty] | J BLACKWOOD & SONS | 00156642 |  |  | https://www.blackwoods.com.au/automotive/workshop-tools-equipment/automotive-tools/toledo-301246-breaker-bar-white-610mm-3-4inch-dr/p/00156642 | [9 empty] | Enriched | 27111700 Wrenches and drivers |  | COLOUR:WHITE | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 3/4 IN | DRIVE TYPE | SQUARE | MATERIAL | FORGED CHROME VANADIUM STEEL | LENGTH | 610 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1048904 | 1048904 |  |  |  | ERSA | M | 4010 | 1572710GZPCLNT100 | EA |  | BAR,BRKR;DOUBLE END,BENT,JUMBO BAR | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:DOUBLE END,BENT,JUMBO BAR | BARRA ROTURA; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128 7001 03 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 7001 03 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2021/07/MT3128-7001-080-JUMBO-BAR-KIT-Catalogue-1.pdf | [9 empty] | Cleansed | 27111700 Wrenches and drivers |  |  | BAR | BREAKER | TYPE | DOUBLE END,BENT,JUMBO | TORQUE RATING |  | DRIVE SIZE |  | DRIVE TYPE |  | MATERIAL |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1188639 | 1188639 |  |  |  | ERSA | M | 4005 | 1585056GZPCLNT100 | EA |  | BAR,BRKR;DRIVE,1/2 IN,LG 610 MM | BARRA ROTURA;,1/2 IN,LG | BAR,BREAKER;TYPE:DRIVE,DRIVE SIZE:1/2 IN,LENGTH:610 MM,ADDITIONAL FEATURES EN:PN:301245,TOLEDO | BARRA ROTURA;TAMAÃ‘O UNIDAD:1/2 IN |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 301245 | [12 empty] | TOLEDO | 301245 | TOOL 'N' TACKLE | 301245 | [14 empty] | https://www.toolmart.com.au/toledo-301245.html | https://www.tools.com/toledo-breaker-bar-standard-head-1-2-sq-dr-610mm-301245.html | [8 empty] | Enriched | 27111700 Wrenches and drivers |  |  | BAR | BREAKER | TYPE | DRIVE | TORQUE RATING | 900 NM | DRIVE SIZE | 1/2 IN | DRIVE TYPE | SQUARE | MATERIAL | FORGED CHROME VANADIUM STEEL | LENGTH | 610 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1179559 | 1179559 |  |  |  | ERSA | M | 4010 | 1542936GZPCLNT100 | EA |  | BAR,BRKR;HD,1M | BARRA ROTURA; | BAR,BREAKER;ADDITIONAL FEATURES EN:HD,1M | BARRA ROTURA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 156761 | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1542936 | [10 empty] | TOLEDO | 301822 | MOUNT ISA MINING SUPPLIES P/L | 1542936 | [10 empty] | J BLACKWOOD & SONS | 00156761 |  |  | https://www.blackwoods.com.au/automotive/workshop-tools-equipment/automotive-tools/toledo-301822-professional-breaker-bar-standard-head-1m-extra-hd-3-4inch-square-drive/p/00156761 | [9 empty] | Enriched | 27111700 Wrenches and drivers | HD | STANDARD HEAD | BAR | BREAKER | TYPE | PROFESSIONAL | TORQUE RATING |  | DRIVE SIZE |  | DRIVE TYPE | SQUARE | MATERIAL | FORGED CHROME VANADIUM STEEL | LENGTH | 1 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1206366 | 1206366 |  |  |  | ERSA | M | 2600 | 153491MRM | EA |  | BAR,METAL:75 X 10MM STAINLESS FLAT BAR,A | BAR,METAL:75 X 10MM STAINLESS FLAT BAR,A | BAR,METAL:75 X 10MM STAINLESS FLAT BAR,ASTM A276 G316 HRAP; 6 METRE LENGTH |  |  |  |  | 1071934 @@ INFRABUILD TRADING PTY LTD | 155994 | [10 empty] | INFRABUILD TRADING PTY LTD | 155994 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264500 Stainless steel bars | METAL |  | BAR | RECTANGULAR | TYPE | FLAT | WIDTH | 75 MM | LENGTH | 6 M | THICKNESS | 10 MM | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION | ASTM A276 | PROCESS | HRAP | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1207196 | 1207196 |  |  |  | ERSA | M | 2600 | 154525MRM | EA |  | BAR,METAL:FLAT BAR 130 X 5 ; STEEL; BAR; | BAR,METAL:FLAT BAR 130 X 5 ; STEEL; BAR; | BAR,METAL:FLAT BAR 130 X 5 ; STEEL; BAR; KICK RAIL; SAFETY RAIL | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | METAL,KICK RAIL,SAFETY RAIL |  | BAR | RECTANGULAR | TYPE | FLAT | WIDTH | 130 MM | LENGTH |  | THICKNESS | 5 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1211342 | 1211342 |  |  |  | ERSA | M | 5980 | 1213966MRM | EA |  | BAR,METAL:LOWER PINCH BAR;FL001 | BAR,METAL:LOWER PINCH BAR;FL001 | BAR,METAL:LOWER PINCH BAR;FL001 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | METAL,FOR FL001 |  | BAR | NO MODIFIER | TYPE | LOWER PINCH | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1214193 | 1214193 |  |  |  | ERSA | M | 5920 | 137856MRM | EA |  | BAR,METAL:RAIL BAR;DPI1500; | BAR,METAL:RAIL BAR;DPI1500; | BAR,METAL:RAIL BAR;DPI1500; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | METAL,FOR DPI1500 |  | BAR | NO MODIFIER | TYPE | RAIL | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1211341 | 1211341 |  |  |  | ERSA | M | 5980 | 1213958MRM | EA |  | BAR,METAL:UPPER PINCH BAR;PVE40-50;25BAR | BAR,METAL:UPPER PINCH BAR;PVE40-50;25BAR | BAR,METAL:UPPER PINCH BAR;PVE40-50;25BAR;FL001; | [17 empty] | PVE40-50 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | METAL,FOR FL001,REF 25 |  | BAR | NO MODIFIER | TYPE | UPPER PINCH | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1204307 | 1204307 |  |  |  | ERSA | M | 4010 | 39891MRM | EA |  | BAR,PINCH:750MM X 25MM;STEEL;TEMPERED; | BAR,PINCH:750MM X 25MM;STEEL;TEMPERED; | BAR,PINCH:750MM X 25MM;STEEL;TEMPERED; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | PROCESS:TEMPERED |  | BAR | NO MODIFIER | TYPE | PINCH | DIMENSIONS | 25X750 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1151660 | 1151660 | 1474469 | AU_QM_000163320 |  | ERSA | M | 4005 | 1474469GZPCLNT100 | EA |  | BAR,PINCH;MIMS,SCMTRH1012 | BAR,PINCH;MIMS,SCMTRH1012 |  |  | BAR,PINCH:10 X 12 X 240MM; LG RATCHET PODGER BAR |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | PWR1012 | [12 empty] | SIDCHROME | SCMTRH1012 | MOUNT ISA MINING SUPPLIES P/L | PWR1012 | [14 empty] | https://www.sidchrome.com.au/product/ratchet-podger-bar-10-x-12mm-36-x-41mm/ | https://www.tools.com/sidchrome-podger-bar-ratchet-long-10-12-240mm-scmtrh1012.html | [8 empty] | Enriched | 27111700 Wrenches and drivers |  |  | BAR | BREAKER | TYPE | PINCH,RATCHET PODGER | TORQUE RATING |  | DRIVE SIZE | 10X12 MM TO 36X41 MM | DRIVE TYPE |  | MATERIAL |  | LENGTH | 240 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1151659 | 1151659 | 1474470 | AU_QM_000163323 |  | ERSA | M | 4005 | 1474470GZPCLNT100 | EA |  | BAR,PINCH;MIMS,SCMTRH1921 | BAR,PINCH;MIMS,SCMTRH1921 |  |  | BAR,PINCH:19 X 21 X 315MM; LG RATCHET PODGER BAR |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | PWR1921 | [12 empty] | SIDCHROME | SCMTRH1921 | MOUNT ISA MINING SUPPLIES P/L | PWR1921 | [14 empty] | https://www.tools.com/sidchrome-podger-bar-ratchet-long-19-21-315mm-scmtrh1921.html | [9 empty] | Cleansed | 27111700 Wrenches and drivers |  |  | BAR | BREAKER | TYPE | PINCH,RATCHET PODGER | TORQUE RATING |  | DRIVE SIZE | 19X21 MM | DRIVE TYPE |  | MATERIAL |  | LENGTH | 315 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL for Reference only | 1053461 | 1053461 |  |  |  | ERSA | M | 2600 | 1577609GZPCLNT100 | M |  | BAR,RND;1045 CARBON HR,BLK,70 X 1000 MM | BARRA REDO; | BAR,ROUND;MATERIAL:1045 CARBON HR,ADDITIONAL FEATURES EN:BLACK,70 X 1000 MM | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | BRCA070G1045BLK | [10 empty] | VULCAN STEEL PTY LTD | BRCA070G1045BLK | [18 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Cleansed | 30263600 Carbon steel bars | COLOUR:BLACK |  | BAR | ROUND | TYPE |  | DIAMETER | 70 MM | LENGTH | 1 M | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 1045 | PROCESS | HARDENED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1052823 | 1052823 |  |  |  | ERSA | M | 2600 | 1577700GZPCLNT100 | EA |  | BAR,RND;1045 CS,40 X 6030 MM | BARRA REDO; | BAR,ROUND;MATERIAL:1045 CS,ADDITIONAL FEATURES EN:40 X 6030 MM | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | BKK-537-6030MM | [10 empty] | VULCAN STEEL PTY LTD | BKK-537-6030MM | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263600 Carbon steel bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 40 MM | LENGTH | 6.03 M | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 1045 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1188884 | 1188884 |  |  |  | ERSA | M | 2600 | 1576592GZPCLNT100 | EA |  | BAR,RND;4140 ALLOY,16 X 6100 MM,H&T | BARRA REDO; | BAR,ROUND;MATERIAL:4140 ALLOY,ADDITIONAL FEATURES EN:16 X 6100 MM,H&T | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 1576592 | [10 empty] | VULCAN STEEL PTY LTD | 1576592 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 16 MM | LENGTH | 6.1 M | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1188883 | 1188883 |  |  |  | ERSA | M | 2600 | 1576593GZPCLNT100 | EA |  | BAR,RND;4140 ALLOY,80 X 1820 MM | BARRA REDO; | BAR,ROUND;MATERIAL:4140 ALLOY,ADDITIONAL FEATURES EN:80 X 1820 MM | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 80MM4140H&T | [10 empty] | VULCAN STEEL PTY LTD | 80MM4140H&T | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 80 MM | LENGTH | 1.82 M | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | DIAMETER REVIEW | 1055922 | 1055922 |  |  |  | ERSA | M | 1510 | 1609851GZPCLNT100 | EA |  | BAR,RND;560MM,RD H&T R/MACH,LG 750 MM | BARRA REDO;,LG | BAR,ROUND;TYPE:560MM,RD H&T R/MACH,LENGTH:750 MM,MATERIAL:4140 | BARRA REDONDA; |  |  |  | 1069433 @@ TOTAL STEEL OF AUSTRALIA | TSA75031156 | [10 empty] | TOTAL STEEL OF AUSTRALIA | TSA75031156 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars | R/MACH |  | BAR | ROUND | TYPE |  | DIAMETER | 560 MM | LENGTH | 750 MM | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1052611 | 1052611 |  |  |  | ERSA | M | 2600 | 1577289GZPCLNT100 | EA |  | BAR,RND;ALY,100 X 6050 MM,H/T T/P H11 | BARRA REDO; | BAR,ROUND;MATERIAL:ALLOY,ADDITIONAL FEATURES EN:100 X 6050 MM,H/T T/P H11,4140 ALLOY | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 100X4140RB | [10 empty] | VULCAN STEEL PTY LTD | 100X4140RB | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 100 MM | LENGTH | 6.05 M | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED,T/P H11 | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1051520 | 1051520 |  |  |  | ERSA | M | 4005 | 1582260GZPCLNT100 | EA |  | BAR,RND;ALY,20MM X 6.1M,H&T,BLK | BARRA REDO; | BAR,ROUND;MATERIAL:ALLOY,ADDITIONAL FEATURES EN:20MM X 6.1M,H&T,BLACK | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | BXV-951-6100MM | [10 empty] | VULCAN STEEL PTY LTD | BXV-951-6100MM | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | COLOUR:BLACK |  | BAR | ROUND | TYPE |  | DIAMETER | 20 MM | LENGTH | 6.1 M | MATERIAL | ALLOY | MATERIAL SPECIFICATION |  | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1052785 | 1052785 |  |  |  | ERSA | M | 2600 | 1577323GZPCLNT100 | EA |  | BAR,RND;ALY,30 X 6100 MM,H&T T&P H11 | BARRA REDO; | BAR,ROUND;MATERIAL:ALLOY,ADDITIONAL FEATURES EN:30 X 6100 MM,H&T T&P H11,4140 ALLOY | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 30MM4140X6M | [10 empty] | VULCAN STEEL PTY LTD | 30MM4140X6M | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 30 MM | LENGTH | 6.1 M | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED,T/P H11 | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1053195 | 1053195 |  |  |  | ERSA | M | 2600 | 1581557GZPCLNT100 | EA |  | BAR,RND;ALY,50MM X 6.1M,H&T | BARRA REDO; | BAR,ROUND;MATERIAL:ALLOY,ADDITIONAL FEATURES EN:50MM X 6.1M,H&T | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | CAH-162 | [10 empty] | VULCAN STEEL PTY LTD | CAH-162 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | ROUND | TYPE |  | DIAMETER | 50 MM | LENGTH | 6.1 M | MATERIAL | ALLOY | MATERIAL SPECIFICATION |  | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1053253 | 1053253 |  |  |  | ERSA | M | 2600 | 1582939GZPCLNT100 | EA |  | BAR,RND;G253MA,90X30MM | BARRA REDO; | BAR,ROUND;MATERIAL:G253MA,ADDITIONAL FEATURES EN:90X30MM | BARRA REDONDA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | G253MA90X30 | [10 empty] | VULCAN STEEL PTY LTD | G253MA90X30 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264500 Stainless steel bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 30 MM | LENGTH | 90 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION | GRADE 253MA | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1054738 | 1054738 |  |  |  | ERSA | M | 1510 | 1586601GZPCLNT100 | EA |  | BAR,RND;METAL,DIA 20 MM,LG 4 M,G6060T5 | BARRA REDO;METAL,DIA 20 MM,LG | BAR,ROUND;TYPE:METAL,DIAMETER:20 MM,LENGTH:4 M,MATERIAL:G6060T5,ADDITIONAL FEATURES EN:MILLFINISH | BARRA REDONDA;TIPO:METAL,DIAMETRO:20 MM |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 1586601 | [10 empty] | VULCAN STEEL PTY LTD | 1586601 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | METAL |  | BAR | ROUND | TYPE |  | DIAMETER | 20 MM | LENGTH | 4 M | MATERIAL | ALUMINUM ALLOY | MATERIAL SPECIFICATION | GRADE 6060 T5 | PROCESS |  | WEIGHT |  | COATING/FINISH | MILL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1180383 | 1180383 |  |  |  | ERSA | M | 1510 | 1543899GZPCLNT100 | M |  | BAR,RND;MTL,22X6000,G300 | BARRA REDO; | BAR,ROUND;MATERIAL:METAL,ADDITIONAL FEATURES EN:22X6000,G300 | BARRA REDONDA; |  |  |  | 1068367 @@ SOUTHERN QUEENSLAND STEEL P/L | RDB22 | [10 empty] | SOUTHERN QUEENSLAND STEEL P/L | RDB22 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | ROUND | TYPE |  | DIAMETER | 22 MM | LENGTH | 6 M | MATERIAL | STEEL | MATERIAL SPECIFICATION | GRADE 300 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1053436 | 1053436 |  |  |  | ERSA | M | 2600 | 1578526GZPCLNT100 | M |  | BAR,RND;T316 SS,14.28 MM DIA | BARRA REDO; | BAR,ROUND;MATERIAL:T316 SS,ADDITIONAL FEATURES EN:14.28 MM DIA | BARRA REDONDA; |  |  |  | 1068445 @@ MIDWAY METALS PTY LTD | RB16014I | [10 empty] | MIDWAY METALS PTY LTD | RB16014I | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264500 Stainless steel bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 14.28 MM | LENGTH |  | MATERIAL | STAINLESS STEEL T316 | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL for Reference only | 1104386 | 1104386 |  |  |  | ERSA | M | 4090 | 1508770GZPCLNT100 | EA |  | BAR,ROUND;VUL,BRCA220G1045BLK-1230MM | BAR,ROUND;VUL,BRCA220G1045BLK-1230MM | BAR,ROUND;ADDITIONAL FEATURES:VUL,BRCA220G1045BLK-1230MM |  |  |  |  | 1068857 @@ NDT SALES AUSTRALIA PTY LTD | 1508770 | 1068455 @@ VULCAN STEEL PTY LTD | 1508770 | [8 empty] | VULCAN STEEL PTY LTD | BRCA220G1045BLK-1230MM |  |  | VULCAN STEEL PTY LTD | 1508770 | NDT SALES AUSTRALIA PTY LTD | 1508770 | [12 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Cleansed | 30263600 Carbon steel bars | COLOUR:BLACK |  | BAR | ROUND | TYPE |  | DIAMETER | 220 MM | LENGTH | 1.23 M | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 1045 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL for Reference only | 1104385 | 1104385 |  |  |  | ERSA | M | 4090 | 1508769GZPCLNT100 | EA |  | BAR,ROUND;VUL,BRCA220G1045BLK-1430MM | BAR,ROUND;VUL,BRCA220G1045BLK-1430MM | BAR,ROUND;ADDITIONAL FEATURES:VUL,BRCA220G1045BLK-1430MM |  |  |  |  | 1068857 @@ NDT SALES AUSTRALIA PTY LTD | 1508769 | 1068455 @@ VULCAN STEEL PTY LTD | 1508769 | [8 empty] | VULCAN STEEL PTY LTD | BRCA220G1045BLK-1430MM |  |  | VULCAN STEEL PTY LTD | 1508769 | NDT SALES AUSTRALIA PTY LTD | 1508769 | [12 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Cleansed | 30263600 Carbon steel bars | COLOUR:BLACK |  | BAR | ROUND | TYPE |  | DIAMETER | 220 MM | LENGTH | 1.43 M | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 1045 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1149941 | 1149941 |  |  |  | ERSA | M | 5700 | 1530773GZPCLNT100 | EA |  | BAR;ALUMINIUM,1200BW,1600MM LG,SU,145022 | BAR;ALUMINIUM,1200BW,1600MM LG,SU,145022 | BAR;ADDITIONAL FEATURES:ALUMINIUM,1200BW,1600MM LG,SU,145022 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145022 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145022 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | 1200BW,SU |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS | 1.6 M LG | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1149940 | 1149940 |  |  |  | ERSA | M | 5700 | 1530774GZPCLNT100 | EA |  | BAR;ALUMINIUM,1600BW,2000MM LG,SU,145023 | BAR;ALUMINIUM,1600BW,2000MM LG,SU,145023 | BAR;ADDITIONAL FEATURES:ALUMINIUM,1600BW,2000MM LG,SU,145023 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145023 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145023 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | 1600BW,SU |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS | 2 M LG | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1149939 | 1149939 |  |  |  | ERSA | M | 5700 | 1530775GZPCLNT100 | EA |  | BAR;ALUMINIUM,2400BW,2800MM LG,SU,145024 | BAR;ALUMINIUM,2400BW,2800MM LG,SU,145024 | BAR;ADDITIONAL FEATURES:ALUMINIUM,2400BW,2800MM LG,SU,145024 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145024 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145024 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | 2400BW,SU |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS | 2.8 M LG | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1153544 | 1153544 |  |  |  | ERSA | M | 1600 | 1509314GZPCLNT100 | EA |  | BAR;ALUMINUM TRAVERSE BAR;SP & S,SP-A-01 | BAR;ALUMINUM TRAVERSE BAR;SP & S,SP-A-01 | BAR;ADDITIONAL FEATURES:ALUMINUM TRAVERSE BAR;SP & S,SP-A-01 | [17 empty] | SP-A-01 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | SERIES:SP AND S |  | BAR | NO MODIFIER | TYPE | TRAVERSE | DIMENSIONS |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1153543 | 1153543 |  |  |  | ERSA | M | 1600 | 1509315GZPCLNT100 | EA |  | BAR;ALUMINUM TRAVERSE BAR;SVP S,SVP-A-01 | BAR;ALUMINUM TRAVERSE BAR;SVP S,SVP-A-01 | BAR;ADDITIONAL FEATURES:ALUMINUM TRAVERSE BAR;SVP S,SVP-A-01 | [17 empty] | SVP-A-01 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | SERIES:SVP AND S |  | BAR | NO MODIFIER | TYPE | TRAVERSE | DIMENSIONS |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1154478 | 1154478 |  |  |  | ERSA | M | 5920 | 1509442GZPCLNT100 | EA |  | BAR;RESTRAINING BAR;SP & SPHD SE,SP-A-13 | BAR;RESTRAINING BAR;SP & SPHD SE,SP-A-13 | BAR;ADDITIONAL FEATURES:RESTRAINING BAR;SP & SPHD SE,SP-A-13 | [17 empty] | SP-A-13 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | SERIES:SP AND SPHD |  | BAR | NO MODIFIER | TYPE | RESTRAINING | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1154477 | 1154477 |  |  |  | ERSA | M | 5920 | 1509443GZPCLNT100 | EA |  | BAR;RESTRAINING BAR;SVP SERIES ,SVP-A-08 | BAR;RESTRAINING BAR;SVP SERIES ,SVP-A-08 | BAR;ADDITIONAL FEATURES:RESTRAINING BAR;SVP SERIES ,SVP-A-08 | [17 empty] | SVP-A-08 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | SERIES:SVP |  | BAR | NO MODIFIER | TYPE | RESTRAINING | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1134339 | 1134339 | 1411849 | AU_QM_000257250 |  | ERSA | M | 5915 | 1411849GZPCLNT100 | EA |  | BREAKER,CIRCT;16A,10KA,2P,HAGNT216C | BREAKER,CIRCT;16A,10KA,2P,HAGNT216C | BREAKER,CIRCT;MNFR: ,PTNO:16A,10KA,2P,HAGNT216C |  | BREAKER,CIRCT;16A,10KA,2P,HAGNT216CBREAKER,CIRCT;16A,10KA,2P,HAGNT216C | [16 empty] | HAGER | NT216C | [16 empty] | https://hager.com/au/products/product-information/nt216c-mcb-2p-10ka-c-16a-2m | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 35 WDX83 HTX70 DP MM | CERTIFICATION/STANDARD | AS/NZS 60898-1,IEC 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | processed based on Websource, Conflict w.r.t Input | 1077793 | 1077793 |  |  |  | ERSA | M | 1650 | 1187899GZPCLNT100 | EA | 3000000 | BREAKER,CIRCT;ATL,5112315997,MINI | BREAKER,CIRCT;ATL,5112315997,MINI | BREAKER,CIRCUIT;MNFR:ATLAS COPCO,PTNO:5112315997,ADDITIONAL FEATURES EN:MINI |  |  | ATLAS COPCO | 5112315997 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112315997 | [12 empty] | ATLAS COPCO | 5112315997 | EPIROC AUSTRALIA PTY LTD | 5112315997 | [14 empty] | https://expa-parts.com/atlas.copco/fuse/5112315997/ | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1016826 | 1016826 |  |  |  | ERSA | M | 1600 | 1284371GZPCLNT100 | EA | 3000000 | BREAKER,CIRCT;ATL,5112315998,EPR | BREAKER,CIRCT;ATL,5112315998,EPR | BREAKER,CIRCUIT;MNFR:ATLAS COPCO,PTNO:5112315998,MNFR 1:EPIROC,PTNO 1:5112315998,ADDITIONAL FEATURES EN:MINIATURE,TMG |  |  | ATLAS COPCO | 5112315998 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112315998 | [12 empty] | ATLAS COPCO | 5112315998 | EPIROC AUSTRALIA PTY LTD | 5112315998 | [14 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-the-scooptram-st14-genuine-original-spare-parts-china-supplier/ | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | TMG |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1016621 | 1016621 | 1212799 | AU_QM_000995004 |  | ERSA | M | 1650 | 1212799GZPCLNT100 | EA | 3000000 | BREAKER,CIRCT;ATL,5537200200 | BREAKER,CIRCT;ATL,5537200200 | BREAKER,CIRCUIT;MNFR:ATLAS COPCO,PTNO:5537200200 |  | CIRCUIT BREAKER:ST1800 LOADER;5 AMP; | ATLAS COPCO | 5537200200 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5537200200 | [12 empty] | ATLAS COPCO | 5537200200 | EPIROC AUSTRALIA PTY LTD | 5537200200 | [14 empty] | https://expa-parts.com/atlas.copco/brkr/5537200200/ | https://www.peri-parts.com/5537200200-atlas-copco-original-brkr-circuit-f5c.html |  | LOADER |  | ST1800 |  |  |  |  | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1011903 | 1011903 |  |  |  | ERSA | M | 3730 | 1614487GZPCLNT100 | EA | 3000003 | BREAKER,CIRCT;CAT,171-2208,ASSY | DISYUNTORA;CAT,171-2208 | BREAKER,CIRCUIT;MNFR:CATERPILLAR,PTNO:171-2208,ADDITIONAL FEATURES EN:ASSEMBLY | DISYUNTORA;MNFR:CATERPILLAR,PTNO:171-2208 |  | CATERPILLAR | 171-2208 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 171-2208 | [12 empty] | CATERPILLAR | 171-2208 | HASTINGS DEERING(AUSTRALIA) LTD | 171-2208 | [14 empty] | https://parts.cat.com/en/catcorp/171-2208 | [9 empty] | Enriched | 39121601 Circuit breakers | ASSEMBLY |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 60 A | VOLTAGE RATING | 120 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1075562 | 1075562 | 1134845 | AU_QM_000210013 |  | ERSA | M | 3730 | 1134845GZPCLNT100 | EA | 3000003 | BREAKER,CIRCT;CAT,1712212,ASSY | DISYUNTORA;CAT,1712212,ENSAMBLE | BREAKER,CIRCUIT;MNFR:CATERPILLAR,PTNO:1712212,ADDITIONAL FEATURES EN:ASSEMBLY | DISYUNTORA;MNFR:CATERPILLAR,PTNO:1712212,CARACTERISTICAS ADICIONALES ES:ENSAMBLE | CIRCUIT BREAKER:R1700G CB ASSY;105AMP;ENGINE WIRING GRP; | CATERPILLAR | 1712212 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1712212 | [12 empty] | CATERPILLAR | 171-2212 | HASTINGS DEERING(AUSTRALIA) LTD | 1712212 | [14 empty] | https://parts.cat.com/en/catcorp/171-2212 |  |  |  |  | R1700G |  |  |  |  | Enriched | 39121601 Circuit breakers | ASSEMBLY,ENGINE WIRING GROUP | MATERIAL:PLASTIC | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 105 A | VOLTAGE RATING | 120 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1026172 | 1026172 | 1393329 | AU_QM_000236718 |  | ERSA | M | 3300 | 1393329GZPCLNT100 | EA | 3000003 | BREAKER,CIRCT;CAT,2883687 | BREAKER,CIRCT;CAT,2883687 | BREAKER,CIRCUIT;MNFR:CATERPILLAR,PTNO:2883687 |  | OEM-E-LISTBREAKER,CIRCUIT;CAT,2883687 | CATERPILLAR | 2883687 | [14 empty] | CATERPILLAR | 288-3687 | [16 empty] | https://parts.cat.com/en/catcorp/288-3687 | [9 empty] | Enriched | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 50.8 LGX50.4 WDX30.2 HT MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1181172 | 1181172 |  |  |  | ERSA | M | 1600 | 1568245GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,HAGNDN232A,10KA,2 POLE | DISYUNTORA;CNW,HAGNDN232A | BREAKER,CIRCUIT;MNFR:CNW,PTNO:HAGNDN232A,ADDITIONAL FEATURES EN:10KA,2 POLE,32A,D CURVE | DISYUNTORA;MNFR:CNW,PTNO:HAGNDN232A |  | CNW | HAGNDN232A | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HAGNDN232A | [12 empty] | HAGER | NDN232A | CNW (MOUNT ISA) ELECT WHOLESALER | HAGNDN232A | [14 empty] | https://hager.com/au/products/product-information/ndn232a-mcb-2p-10ka-d-32a-2m | https://www.sparkydirect.com.au/p/HAGER-NDN232A-32-Amp-Two-Pole-10kA-Circuit-Breaker-D-Curve | [8 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | D | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 35 WDX83 HTX70 DP MM | CERTIFICATION/STANDARD | AS/NZS 60898-1,EN 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1010837 | 1010837 |  |  |  | ERSA | M | 1650 | 1614522GZPCLNT100 | EA | 3000267 | BREAKER,CIRCT;EATO,152267,RCBO,10KA,10A | DISYUNTORA;EATO,152267 | BREAKER,CIRCUIT;MNFR:EATON CORPORATION,PTNO:152267,ADDITIONAL FEATURES EN:RCBO,10KA,10A,1P,D CURVE,30MA,TYPE A | DISYUNTORA;MNFR:EATON CORPORATION,PTNO:152267 |  | EATON CORPORATION | 152267 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152267 - ERBM-10/1/D/003-A | [10 empty] | EATON CORPORATION | 152267 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152267 - ERBM-10/1/D/003-A | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TYPE A,NUMBER OF POLES:1,TRIP CLASS:D CURVE,TRIP SETTING:30 MA,C/W OVERCURRENT PROTECTION |  | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 10 A | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1010838 | 1010838 |  |  |  | ERSA | M | 1650 | 1614523GZPCLNT100 | EA | 3000267 | BREAKER,CIRCT;EATO,152269,RCBO,10KA,16A | DISYUNTORA;EATO,152269 | BREAKER,CIRCUIT;MNFR:EATON CORPORATION,PTNO:152269,ADDITIONAL FEATURES EN:RCBO,10KA,16A,1P,D CURVE,30MA,TYPE A | DISYUNTORA;MNFR:EATON CORPORATION,PTNO:152269 |  | EATON CORPORATION | 152269 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152269 - ERBM-16/1/D/003-A | [10 empty] | EATON CORPORATION | 152269 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152269 - ERBM-16/1/D/003-A | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TYPE A,NUMBER OF POLES:1,TRIP CLASS:D CURVE,TRIP SETTING:30 MA,C/W OVERCURRENT PROTECTION |  | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 16 A | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1010839 | 1010839 |  |  |  | ERSA | M | 1650 | 1614524GZPCLNT100 | EA | 3000267 | BREAKER,CIRCT;EATO,152270,RCBO,10KA,20A | DISYUNTORA;EATO,152270 | BREAKER,CIRCUIT;MNFR:EATON CORPORATION,PTNO:152270,ADDITIONAL FEATURES EN:RCBO,10KA,20A,1P,D CURVE,30MA,TYPE A | DISYUNTORA;MNFR:EATON CORPORATION,PTNO:152270 |  | EATON CORPORATION | 152270 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152270 - ERBM-20/1/D/003-A | [10 empty] | EATON CORPORATION | 152270 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | EATY7-152270 - ERBM-20/1/D/003-A | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TYPE A,NUMBER OF POLES:1,TRIP CLASS:D CURVE,TRIP SETTING:30 MA,C/W OVERCURRENT PROTECTION |  | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 20 A | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1147026 | 1147026 |  |  |  | ERSA | M | 1600 | 1530729GZPCLNT100 | EA |  | BREAKER,CIRCT;ELECTRONIC ,DF2210 | BREAKER,CIRCT;ELECTRONIC ,DF2210 | BREAKER,CIRCT;ADDITIONAL FEATURES:ELECTRONIC ,DF2210 |  |  |  |  | 1069796 @@ IFM EFECTOR PTY LTD | DF2210 | [12 empty] | IFM EFECTOR PTY LTD | DF2210 | [16 empty] | https://www.ifm.com/in/en/product/DF2210 | https://vnecco.com/electronic-circuit-breaker-ifm-df2210 | [8 empty] | Enriched | 39121601 Circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-25 TO 60 DEG C | CIRCUIT BREAKER | NO MODIFIER | TYPE | ELECTRONIC | CURRENT RATING | 10 A | VOLTAGE RATING | 24 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 80X12.5X98.5 MM | TRIP SETTING | 10 MA | TERMINAL TYPE | PUSH-IN | MOUNTING TYPE |  | CERTIFICATION/STANDARD | CE,EN 61000-6-3,EN 61000-6-2,UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1112168 | 1112168 | 1404039 | AU_QM_000248796 |  | ERSA | M | 5915 | 1404039GZPCLNT100 | EA |  | BREAKER,CIRCT;L06-05-320EA | BREAKER,CIRCT;L06-05-320EA | BREAKER,CIRCT;MNFR: ,PTNO:L06-05-320EA |  | BREAKER,CIRCT;L06-05-320EABREAKER,CIRCT;L06-05-320EA | [15 empty] | L06-05-320EA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1146984 | 1146984 |  |  |  | ERSA | M | 1600 | 1531342GZPCLNT100 | EA |  | BREAKER,CIRCT;MINATURE,10KA,2P,HAGNT204C | BREAKER,CIRCT;MINATURE,10KA,2P,HAGNT204C | BREAKER,CIRCT;ADDITIONAL FEATURES:MINATURE,10KA,2P,HAGNT204C |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NT204C | [12 empty] | HAGER | NT204C | CNW (MOUNT ISA) ELECT WHOLESALER | NT204C | [14 empty] | https://hager.com/nz/products/product-information/nt204c-mcb-2p-10ka-c-4a-2m | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 35 WDX83 HTX70 DP MM | CERTIFICATION/STANDARD | AS/NZS 60898-1,IEC 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1146985 | 1146985 |  |  |  | ERSA | M | 1600 | 1531341GZPCLNT100 | EA |  | BREAKER,CIRCT;MINATURE,10KA,2P,HAGNT206C | BREAKER,CIRCT;MINATURE,10KA,2P,HAGNT206C | BREAKER,CIRCT;ADDITIONAL FEATURES:MINATURE,10KA,2P,HAGNT206C |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NT206C | [12 empty] | HAGER | NT206C | CNW (MOUNT ISA) ELECT WHOLESALER | NT206C | [14 empty] | https://hager.com/au/products/product-information/nt206c-mcb-2p-10ka-c-6a-2m | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 35 WDX83 HTX70 DP MM | CERTIFICATION/STANDARD | AS/NZS 60898-1,IEC 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1060397 | 1060397 |  |  |  | ERSA | M | 1600 | 1542573GZPCLNT100 | EA |  | BREAKER,CIRCT;MINTR,NHPDTCB10363D | DISYUNTORA; | BREAKER,CIRCUIT;TYPE:MINIATURE,INTERRUPT RATING:TBC | DISYUNTORA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1542573 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | NHPDTCB10363D | [10 empty] | NHP | DTCB10363D | CNW (MOUNT ISA) ELECT WHOLESALER | 1542573 | CNW (TOWNSVILLE) ELECT SUPPLIES | NHPDTCB10363D | [12 empty] | https://nhp.com.au/product/DTCB10363D | [9 empty] | Enriched | 39121603 Miniature circuit breakers | INTERRUPT RATING:TBC | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | D | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 54 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,DIN 40046, IEC 60898, IEC 60077-16-3, IEC 60947-2, IEC 60068-2, RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | Processed based on Websource, Conflict w.r.t Input | 1084030 | 1084030 |  |  |  | ERSA | M | 1600 | 1527055GZPCLNT100 | EA |  | BREAKER,CIRCT;SCHN,31107 | BREAKER,CIRCT;SCHN,31107 | BREAKER,CIRCT;MNFR:SCHNEIDER,PTNO:31107 |  |  |  | 31107 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 31107 | [12 empty] | SCHNEIDER | 31107 | CNW (MOUNT ISA) ELECT WHOLESALER | 31107 | [14 empty] | https://www.se.com/in/en/product/31107/switch-disconnector-compact-ins250-250-a-standard-version-with-black-rotary-handle-4-poles/ | [9 empty] | Enriched | 39122233 Disconnect switch |  | CONTROL TYPE:DIRECT FRONT BLACK ROTARY HANDLE | SWITCH | DISCONNECT | TYPE | COMPACT | VOLTAGE RATING | 690 VAC,250 VDC | CURRENT RATING | 250 A | NUMBER OF POLES | 4 | LOAD BREAKING CAPACITY | 30 KA | CONTACT CONFIGURATION |  | ENCLOSURE | IP40 | MOUNTING TYPE | FIXED RAIL PLATE | TEMPERATURE RATING | -25 TO 70 DEG C | ACTION |  | POWER RATING | 210 KW | FREQUENCY RATING | 50/60 HZ | MATERIAL |  | SIZE | 140 WDX136 HTX96 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,IEC 60947-3,IEC 60947-1,KEMA-KEUR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1026170 | 1026170 | 1393331 | AU_QM_000236720 |  | ERSA | M | 3300 | 1393331GZPCLNT100 | EA | 3000003 | BREAKER;CAT,1667164 | BREAKER;CAT,1667164 | BREAKER;MNFR:CATERPILLAR,PTNO:1667164 |  | OEM-E-LISTBREAKER;CAT,1667164 | CATERPILLAR | 1667164 | [14 empty] | CATERPILLAR | 166-7164 | [16 empty] | https://parts.cat.com/en/catcorp/166-7164 | https://avspare.com/caterpillar/circuit/1667164/ | [8 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1075102 | 1075102 |  |  |  | ERSA | M | 1650 | 1056595GZPCLNT100 | EA | 3000003 | BREAKER;CAT,1712210,ASSY | BREAKER;CAT,1712210,ASSY | BREAKER;MNFR:CATERPILLAR,PTNO:1712210,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 1712210 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1712210 | [12 empty] | CATERPILLAR | 171-2210 | HASTINGS DEERING(AUSTRALIA) LTD | 1712210 | [14 empty] | https://parts.cat.com/en/catcorp/171-2210 | [9 empty] | Enriched | 39121601 Circuit breakers | ASSEMBLY | MATERIAL:PLASTIC | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 80 A | VOLTAGE RATING | 120 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1075953 | 1075953 |  |  |  | ERSA | M | 1650 | 1061743GZPCLNT100 | EA | 3000003 | BREAKER;CAT,2309174,ASSY | DISYUNTOR;CAT,2309174,ENSAMBLE | BREAKER;MNFR:CATERPILLAR,PTNO:2309174,ADDITIONAL FEATURES EN:ASSEMBLY | DISYUNTOR;ENSAMBLE,MNFR:CATERPILLAR,PTNO:2309174 |  | CATERPILLAR | 2309174 | [14 empty] | CATERPILLAR | 230-9174 | [16 empty] | https://parts.cat.com/en/catcorp/230-9174 | [9 empty] | Enriched | 39121601 Circuit breakers | ASSEMBLY | MATERIAL:PLASTIC | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 15 A | VOLTAGE RATING | 120 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 50.8 LGX50.4 WDX30.2 HT MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1076897 | 1076897 |  |  |  | ERSA | M | 1650 | 1060201GZPCLNT100 | EA | 3000003 | BREAKER;CAT,2802709,ASSY | BREAKER;CAT,2802709,ASSY | BREAKER;MNFR:CATERPILLAR,PTNO:2802709,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 2802709 | [14 empty] | CATERPILLAR | 280-2709 | [16 empty] | https://parts.cat.com/en/catcorp/280-2709 | [9 empty] | Enriched | 39121601 Circuit breakers | ASSEMBLY |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 15 A | VOLTAGE RATING | 28 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1075947 | 1075947 |  |  |  | ERSA | M | 3730 | 1061912GZPCLNT100 | EA | 3000003 | BREAKER;CAT,2802710,ASSY | BREAKER;CAT,2802710,ASSY | BREAKER;MNFR:CATERPILLAR,PTNO:2802710,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 2802710 | [14 empty] | CATERPILLAR | 280-2710 | [16 empty] | https://parts.cat.com/en/catcorp/280-2710 | [9 empty] | Enriched | 39121601 Circuit breakers | ASSEMBLY |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 20 A | VOLTAGE RATING | 28 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | Processed based on Websource, Conflict w.r.t Input | 1026169 | 1026169 | 1393337 | AU_QM_000236726 |  | ERSA | M | 3300 | 1393337GZPCLNT100 | EA | 3000003 | BREAKER;CAT,313-4939 | BREAKER;CAT,313-4939 | BREAKER;MNFR:CATERPILLAR,PTNO:313-4939 |  | OEM-E-LISTBREAKER;CAT,313-4939 | CATERPILLAR | 313-4939 | [14 empty] | CATERPILLAR | 313-4939 | [16 empty] | https://parts.cat.com/en/catcorp/313-4939 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | FILM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1081136 | 1081136 | 1365595 | AU_QM_000168002 |  | ERSA | M | 3300 | 1365595GZPCLNT100 | EA | 3000004 | BREAKER;HIT,F125640 | BREAKER;HIT,F125640 | BREAKER;MNFR:HITACHI,PTNO:F125640 |  | CIRCUIT BREAKER:CIRCUIT BREAKER; 120A | HITACHI | F125640 | 1068352 @@ HITACHI | F125640 | 1068592 @@ RDO EQUIPMENT PTY LTD | F125640 | [11 empty] | JOHN DEERE | HITACHI | F125640 | RDO EQUIPMENT PTY LTD | F125640 | [12 empty] | https://777parts.net/johndeere/f125640-circuit-breaker/p535167.html | https://avspare.com/catalog/deere/2421/84809/320017/ | [8 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 120 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1034479 | 1034479 | 1389681 | AU_QM_000231222 |  | ERSA | M | 3300 | 1389681GZPCLNT100 | EA | 3000006 | BREAKER;KOM,209-06-77350 | BREAKER;KOM,209-06-77350 | BREAKER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:209-06-77350 |  | BREAKER;KOM,209-06-77350BREAKER;KOM,209-06-77350 | KOMATSU MINING SYSTEMS INC. | 209-06-77350 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 209-06-77350 | [16 empty] | https://my.komatsu.com.au/shop/electricalpart_5637145208/5637269884_circuit-breaker----20-amp_209-06-77350 | https://777parts.com/komatsu/209-06-77350-CIRCUIT+BREAKER,(20A)/p210974.html¦https://k-part.777parts.org/spare/komatsu/209-06-77350/#google_vignette | [8 empty] | Enriched | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1081106 | 1081106 | 1349871 | AU_QM_000131689 |  | ERSA | M | 3300 | 1349871GZPCLNT100 | EA | 3000030 | BREAKER;OUT,3060095 | BREAKER;OUT,3060095 | BREAKER;MNFR:OUTOTEC,PTNO:3060095 |  | CIRCUIT BREAKER:10AMP CIRCUIT BREAKER;AUTOMATIC;;COURIER | OUTOTEC | 3060095 | 1068243 @@ OUTOTEC PTY LTD | 3060095 | [10 empty] | OUTOTEC PTY LTD | 3060095 | [18 empty] | URL NOT FOUND |  |  | COURIER | [6 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | AUTOMATIC | CURRENT RATING | 10 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1081107 | 1081107 | 1349872 | AU_QM_000131690 |  | ERSA | M | 3300 | 1349872GZPCLNT100 | EA | 3000030 | BREAKER;OUT,3060205 | BREAKER;OUT,3060205 | BREAKER;MNFR:OUTOTEC,PTNO:3060205 |  | CIRCUIT BREAKER:8 AMP CIRCUIT BREAKER;AUTOMATIC;;COURIER | OUTOTEC | 3060205 | 1068243 @@ OUTOTEC PTY LTD | 3060205 | [10 empty] | OUTOTEC PTY LTD | 3060205 | [18 empty] | URL NOT FOUND |  |  | COURIER | [6 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | AUTOMATIC | CURRENT RATING | 8 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | MODIFIER CONSIDER BASED ON ID "1081106" | 1026168 | 1026168 | 1393338 | AU_QM_000236727 |  | ERSA | M | 3300 | 1393338GZPCLNT100 | EA | 3000030 | BREAKER;OUT,598600 | BREAKER;OUT,598600 | BREAKER;MNFR:OUTOTEC,PTNO:598600 |  | OEM-E-LISTBREAKER;OUT,598600 | OUTOTEC | 598600 | [12 empty] | OUTOTEC PTY LTD | 598600 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | BREAKER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | MODIFIER CONSIDER BASED ON ID "1081106" | 1034311 | 1034311 | 1393339 | AU_QM_000236728 |  | ERSA | M | 3300 | 1393339GZPCLNT100 | EA | 3000030 | BREAKER;OUT,609875 | BREAKER;OUT,609875 | BREAKER;MNFR:OUTOTEC,PTNO:609875 |  | OEM-E-LISTBREAKER;OUT,609875 | OUTOTEC | 609875 | [12 empty] | OUTOTEC PTY LTD | 609875 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | BREAKER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | MODIFIER CONSIDER BASED ON ID "1081106" | 1034310 | 1034310 | 1393340 | AU_QM_000236730 |  | ERSA | M | 3300 | 1393340GZPCLNT100 | EA | 3000030 | BREAKER;OUT,625436 | BREAKER;OUT,625436 | BREAKER;MNFR:OUTOTEC,PTNO:625436 |  | OEM-E-LISTBREAKER;OUT,625436 | OUTOTEC | 625436 | [12 empty] | OUTOTEC PTY LTD | 625436 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | BREAKER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | MODIFIER CONSIDER BASED ON ID "1081106" | 1026167 | 1026167 | 1393341 | AU_QM_000236731 |  | ERSA | M | 3300 | 1393341GZPCLNT100 | EA | 3000030 | BREAKER;OUT,625437 | BREAKER;OUT,625437 | BREAKER;MNFR:OUTOTEC,PTNO:625437 |  | OEM-E-LISTBREAKER;OUT,625437 | OUTOTEC | 625437 | [12 empty] | OUTOTEC PTY LTD | 625437 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | BREAKER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1187620 | 1187620 |  |  |  | ERSA | M | 4010 | 1610823GZPCLNT100 | EA |  | BREAKER;RIMEX BEAD,FOOT ONLY (STANDARD) | DISYUNTOR; | BREAKER;TYPE:RIMEX BEAD,ADDITIONAL FEATURES EN:FOOT ONLY (STANDARD) | DISYUNTOR; |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | 785-000-0072 | [12 empty] | RIMEX WHEEL PTY LTD | 785-000-0072 | [16 empty] | https://www.rimex.com/wp-content/uploads/2020/10/beadbreaker_en.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOOT ONLY (STANDARD) |  | BREAKER | NO MODIFIER | TYPE | BEAD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | SERIES MATCH | 1187619 | 1187619 |  |  |  | ERSA | M | 4010 | 1610824GZPCLNT100 | EA |  | BREAKER;RIMEX BEAD,FORK SHAFT ONLY | DISYUNTOR; | BREAKER;TYPE:RIMEX BEAD,ADDITIONAL FEATURES EN:FORK SHAFT ONLY | DISYUNTOR; |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | 785-000-0006 | [12 empty] | RIMEX WHEEL PTY LTD | 785-000-0006 | [16 empty] | https://www.rimex.com/wp-content/uploads/2020/10/beadbreaker_en.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FORK SHAFT ONLY |  | BREAKER | NO MODIFIER | TYPE | BEAD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1187622 | 1187622 |  |  |  | ERSA | M | 4010 | 1610821GZPCLNT100 | EA |  | BREAKER;RIMEX BEAD,SINGLE FOOT RIMEX | DISYUNTOR; | BREAKER;TYPE:RIMEX BEAD,ADDITIONAL FEATURES EN:SINGLE FOOT RIMEX,(FULL ASSEMBLY) | DISYUNTOR; |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | 785-000-0001 | [12 empty] | RIMEX WHEEL PTY LTD | 785-000-0001 | [16 empty] | https://www.rimex.com/wp-content/uploads/2020/10/beadbreaker_en.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | SINGLE FOOT,(FULL ASSEMBLY) | CAPACITY:15 TON,SINGLE JAW DESIGN | BREAKER | NO MODIFIER | TYPE | BEAD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1138944 | 1138944 | 1453251 | AU_QM_001206879 |  | ERSA | M | 1600 | 1453251GZPCLNT100 | EA |  | CIRCUIT BREAKER 2P 16A 10kA C CURVE; | CIRCUIT BREAKER 2P 16A 10kA C CURVE; | CIRCUIT BREAKER: CIRCUIT BREAKER 2P 16A 10kA C CURVE; |  | CIRCUIT BREAKER:CIRCUIT BREAKER 2P 16A 10kA C CURVE; |  |  | 1068652 @@ J BLACKWOOD & SONS | 353893 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10216C | [10 empty] | NHP | DTCB10216C | CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10216C | [10 empty] | J BLACKWOOD & SONS | 00353893 |  |  | https://www.nhp.com.au/product/dtcb10216c | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,DIN 40046, IEC 60898, IEC 60077-16-3, IEC 60947-2, IEC 60068-2, RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-10-30 |  | 1062838 | 1062838 |  |  |  | ERSA | M | 1600 | 1462135GZPCLNT100 | EA |  | CIRCUIT BREAKER: | CIRCUIT BREAKER: | CIRCUIT BREAKER: |  |  |  |  | 1069783 @@ TOWNSVILLE WELDING SUPPLIES | T-12287-1 | [12 empty] | LINCOLN ELECTRIC | T12287-1 | TOWNSVILLE WELDING SUPPLIES | T-12287-1 | [14 empty] | https://www.lincolnwelderrepairparts.com/9st12287-1 | https://weldingmart.com/lincoln-electric-parts-circuit-breaker-t12287-1/ | [8 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-10-30 |  | 1065607 | 1065607 |  |  |  | ERSA | M | 1600 | 1461008GZPCLNT100 | EA |  | CIRCUIT BREAKER: | CIRCUIT BREAKER: | CIRCUIT BREAKER: |  |  |  |  | 1070302 @@ AHIC (AUSTRALIA) PTY LTD | HH83XH-110 | [12 empty] | CARRIER CORPORATION | HH83XH110 | AHIC (AUSTRALIA) PTY LTD | HH83XH-110 | [14 empty] | https://www.veritableaerospace.com/nsn/rfq/carrier-corporation/4130011341506/hh83xh110/ | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-10-30 |  | 1107761 | 1107761 | 1459146 | AU_QM_002207011 |  | ERSA | M | 1600 | 1459146GZPCLNT100 | EA |  | CIRCUIT BREAKER: | CIRCUIT BREAKER: | CIRCUIT BREAKER: |  | CIRCUIT BREAKER: |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1459146 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1459146 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1216087 | 1216087 |  |  |  | ERSA | M | 1600 | 186494MRM | EA |  | CIRCUIT BREAKER:200A;THERMAL MAGNETIC;F | CIRCUIT BREAKER:200A;THERMAL MAGNETIC;F | CIRCUIT BREAKER:200A;THERMAL MAGNETIC;F FRAME | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | THERMAL MAGNETIC | CURRENT RATING | 200 A | VOLTAGE RATING |  | FRAME RATING | F | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL FOR REFERENCE,Modifier ASSIGNED BASED ON SERIES | 1212021 | 1212021 |  |  |  | ERSA | M | 1600 | 136589MRM | EA |  | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;10A | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;10A | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;10A;1 POLE;6KA;2900-BU-029;2900-BU-031;2900-BU-032 <(>&<)> GRINDING AREA; | [36 empty] | https://www.se.com/in/en/product-range/2585-c60n-dc/#overview | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/Minature-Circuit-Breaker/MCB-C60N-1P-1MOD-20A-6KA-C-CURVE/p/SCH25804SUNMCB | [7 empty] | 2900-BU-029,2900-BU-031,2900-BU-032 | Cleansed | 39121603 Miniature circuit breakers | SERIES:C60N,FOR GRINDING AREA |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL FOR REFERENCE,Modifier ASSIGNED BASED ON SERIES | 1212019 | 1212019 |  |  |  | ERSA | M | 1600 | 136587MRM | EA |  | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;4A; | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;4A; | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;4A;1 POLE;6KA;2900-BU-029;2900-BU-031;2900-BU-032 <(>&<)> GRINDING AREA; | [36 empty] | https://www.se.com/in/en/product-range/2585-c60n-dc/#overview | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/Minature-Circuit-Breaker/MCB-C60N-1P-1MOD-20A-6KA-C-CURVE/p/SCH25804SUNMCB | [7 empty] | 2900-BU-029,2900-BU-031,2900-BU-032 | Cleansed | 39121603 Miniature circuit breakers | SERIES:C60N,FOR GRINDING AREA |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 | URL FOR REFERENCE,Modifier ASSIGNED BASED ON SERIES | 1212020 | 1212020 |  |  |  | ERSA | M | 1600 | 136588MRM | EA |  | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;6A; | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;6A; | CIRCUIT BREAKER:C60N;CIRCUIT BREAKER;6A;1 POLE;6KA;2900-BU-029;2900-BU-031;2900-BU-032 <(>&<)> GRINDING AREA; | [36 empty] | https://www.se.com/in/en/product-range/2585-c60n-dc/#overview | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/Minature-Circuit-Breaker/MCB-C60N-1P-1MOD-20A-6KA-C-CURVE/p/SCH25804SUNMCB | [7 empty] | 2900-BU-029,2900-BU-031,2900-BU-032 | Cleansed | 39121603 Miniature circuit breakers | SERIES:C60N,FOR GRINDING AREA |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1203914 | 1203914 |  |  |  | ERSA | M | 3700 | 148039MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER | CIRCUIT BREAKER:CIRCUIT BREAKER | CIRCUIT BREAKER:CIRCUIT BREAKER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-30 |  | 1203915 | 1203915 |  |  |  | ERSA | M | 3700 | 148040MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER | CIRCUIT BREAKER:CIRCUIT BREAKER | CIRCUIT BREAKER:CIRCUIT BREAKER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed