## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1042039 | 1042039 | 1420824 | AU_QM_000267007 |  | ERSA | M | 5915 | 1420824GZPCLNT100 | EA |  | CLAMP;END,DIN RL | CLAMP;END,DIN RL | CLAMP;TYPE:END,ADDITIONAL FEATURES EN:DIN RAIL,MNFR:01)CNW,PTNO:01)495049 |  | CLAMP;END,DIN RLCLAMP;END,DIN RAIL,495049 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1420824 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1420824 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | MOUNTING TYPE:DIN RAIL |  | CLAMP | NO MODIFIER | TYPE | END | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1043083 | 1043083 | 1420574 | AU_QM_000266736 |  | ERSA | M | 5915 | 1420574GZPCLNT100 | EA |  | CLAMP,F;HVYDTY,THRT DP 320 MM | CLAMP,F;HVYDTY,THRT DP 320 MM | CLAMP,F;TYPE:HEAVY DUTY,THROAT DEPTH:320 MM,MNFR:01)PARTS,PTNO:01)PREUP125M |  | CLAMP,F;HVYDTY,THRT DP 320 MMCLAMP,F;HEAVY DUTY,320MM,PREUP125M |  |  | 1068256 @@ TOOL 'N' TACKLE | 1420574 | [10 empty] | TOOL 'N' TACKLE | 1420574 |  |  |  | PREUP125M | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | F | TYPE | HEAVY DUTY | CLAMPING CAPACITY |  | THROAT DEPTH | 320 MM | HOLDING CAPACITY |  | BODY MATERIAL |  | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1049791 | 1049791 |  |  |  | ERSA | M | 4090 | 1581950GZPCLNT100 | EA |  | CLAMP;T-BOLT PREFORMER,SS,101-107MM | ABRAZADERA; | CLAMP;TYPE:T-BOLT PREFORMER,CAPACITY:,SIZE:,MATERIAL:SS,ADDITIONAL FEATURES EN:101-107MM | ABRAZADERA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 42-400-107 | [10 empty] | MOUNT ISA MINING SUPPLIES PTY LTD |  | POWELL INDUSTRIAL | 42-400-107 | [16 empty] | https://www.powellindustrial.com.au/libraries/resources/Hydraulic-Product-Catalogues/Conti-Hydraulic-Hose-2021.pdf | [9 empty] | Enriched | 31162906 Hose or pipe clamps |  |  | CLAMP | HOSE | TYPE | HYDRAULIC | HOSE SIZE | 101 TO 107 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | PERFORMER W4 T-BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1049792 | 1049792 |  |  |  | ERSA | M | 4090 | 1581951GZPCLNT100 | EA |  | CLAMP;T-BOLT HOSE,SS,104MM-112MM | ABRAZADERA; | CLAMP;TYPE:T-BOLT HOSE,CAPACITY:,SIZE:,MATERIAL:SS,ADDITIONAL FEATURES EN:104MM-112MM | ABRAZADERA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 42-400-112 | [10 empty] | MOUNT ISA MINING SUPPLIES PTY LTD |  | POWELL INDUSTRIAL | 42-400-112 | [16 empty] | https://www.powellindustrial.com.au/libraries/resources/Hydraulic-Product-Catalogues/Conti-Hydraulic-Hose-2021.pdf | [9 empty] | Enriched | 31162906 Hose or pipe clamps |  |  | CLAMP | HOSE | TYPE | HYDRAULIC | HOSE SIZE | 104 TO 112 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | PERFORMER W4 T-BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1049793 | 1049793 |  |  |  | ERSA | M | 4090 | 1581952GZPCLNT100 | EA |  | CLAMP;T-BOLT PREFORMER,SS,108-116MM | ABRAZADERA; | CLAMP;TYPE:T-BOLT PREFORMER,CAPACITY:,SIZE:,MATERIAL:SS,ADDITIONAL FEATURES EN:108-116MM | ABRAZADERA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 42-400-116 | [10 empty] | MOUNT ISA MINING SUPPLIES PTY LTD |  | POWELL INDUSTRIAL | 42-400-116 | [16 empty] | https://www.powellindustrial.com.au/libraries/resources/Hydraulic-Product-Catalogues/Conti-Hydraulic-Hose-2021.pdf | [9 empty] | Enriched | 31162906 Hose or pipe clamps |  |  | CLAMP | HOSE | TYPE | HYDRAULIC | HOSE SIZE | 108 TO 116 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | PERFORMER W4 T-BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1051072 | 1051072 |  |  |  | ERSA | M | 4090 | 1579343GZPCLNT100 | EA |  | CLAMP,TUBE;SLIP,SEALED NQ | ABRAZADERA TUBO; | CLAMP,TUBE;ADDITIONAL FEATURES EN:SLIP,SEALED NQ | ABRAZADERA TUBO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SLIP.CLAMP.SEALED.NQ | [10 empty] | MOUNT ISA MINING SUPPLIES PTY LTD | [19 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | NQ |  | CLAMP | TUBE | TYPE | SLIP,SEALED | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 | MPN Updated | 1051878 | 1051878 |  |  |  | ERSA | M | 4005 | 1577944GZPCLNT100 | EA |  | CLAMP,F;300 X 120 MM | ABRAZADERA F; | CLAMP,F;ADDITIONAL FEATURES EN:300 X 120 MM | ABRAZADERA F; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | TC-300120 | [10 empty] | MOUNT ISA MINING SUPPLIES PTY LTD |  | ITM INDUSTRIAL PRODUCTS | TC-F300120 | [16 empty] | https://www.tools.com/itm-f-clamp-300mm-x-120mm-tc-f300120.html | [9 empty] | Cleansed | 31162900 Clamps | SPAN SIZE:120 MM |  | CLAMP | F | TYPE |  | CLAMPING CAPACITY |  | THROAT DEPTH | 300 MM | HOLDING CAPACITY |  | BODY MATERIAL | MALLEABLE CAST | ARM MATERIAL | RUBBER GRIP | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1053397 | 1053397 |  |  |  | ERSA | M | 4075 | 1582868GZPCLNT100 | EA |  | CLAMP;CHNL,115MM,HDG,1010381 | ABRAZADERA; | CLAMP;TYPE:CHANNEL,CAPACITY:,SIZE:115MM,MATERIAL:,ADDITIONAL FEATURES EN:HDG,1010381 | ABRAZADERA; |  |  |  | 1068155 @@ REECE PTY LTD | 1010381 | [10 empty] | REECE PTY LTD | 1010381 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | COLOR/FINISH:HOT DIP GLAVANIZED |  | CLAMP | NO MODIFIER | TYPE | CHANNEL | CAPACITY |  | SIZE | 115 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1053398 | 1053398 |  |  |  | ERSA | M | 4075 | 1582869GZPCLNT100 | EA |  | CLAMP;CHNL,165MM,HDG,1010417 | ABRAZADERA; | CLAMP;TYPE:CHANNEL,CAPACITY:,SIZE:165MM,MATERIAL:,ADDITIONAL FEATURES EN:HDG,1010417 | ABRAZADERA; |  |  |  | 1068155 @@ REECE PTY LTD | 1010417 | [10 empty] | REECE PTY LTD | 1010417 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | COLOR/FINISH:HOT DIP GLAVANIZED |  | CLAMP | NO MODIFIER | TYPE | CHANNEL | CAPACITY |  | SIZE | 165 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1055911 | 1055911 |  |  |  | ERSA | M | 2210 | 1609754GZPCLNT100 | BOX |  | CLAMP;COBRA S/S,IRRIGATION,25 MM,LDP | ABRAZADERA; | CLAMP;TYPE:COBRA S/S,IRRIGATION,CAPACITY:,SIZE:25 MM,MATERIAL:LDP,ADDITIONAL FEATURES EN:100 BOX | ABRAZADERA; |  |  |  | 1068155 @@ REECE PTY LTD | 500046 | [10 empty] | REECE PTY LTD | 500046 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | PACKAGE QUANTITY:100/BX,COBRA |  | CLAMP | NO MODIFIER | TYPE | IRRIGATION | CAPACITY |  | SIZE | 25 MM | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1055912 | 1055912 |  |  |  | ERSA | M | 2210 | 1609755GZPCLNT100 | PAC |  | CLAMP;COBRA S/S,IRRIGATION,19 MM,LDP | ABRAZADERA; | CLAMP;TYPE:COBRA S/S,IRRIGATION,CAPACITY:,SIZE:19 MM,MATERIAL:LDP,ADDITIONAL FEATURES EN:100 PACK | ABRAZADERA; |  |  |  | 1068155 @@ REECE PTY LTD | 500045 | [10 empty] | REECE PTY LTD | 500045 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | PACKAGE QUANTITY:100/PK,COBRA |  | CLAMP | NO MODIFIER | TYPE | IRRIGATION | CAPACITY |  | SIZE | 19 MM | MATERIAL | STAINLESS STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1056152 | 1056152 |  |  |  | ERSA | M | 1540 | 1585867GZPCLNT100 | EA |  | CLAMP;T-BOLT,104-112 MM,24 MM,SS | ABRAZADERA; | CLAMP;TYPE:T-BOLT,CAPACITY:104-112 MM,SIZE:24 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:BRAND:TRIDON | ABRAZADERA; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 104-112 MIK | [10 empty] | BUTLER AGENCIES PTY LTD |  |  | MIK 104-112 | [16 empty] | https://www.kiertokanki.com/verkkokauppa/index.php?main_page=product_info&products_id=5058 | [9 empty] | Cleansed | 31162906 Hose or pipe clamps | BRAND:TRIDON |  | CLAMP | HOSE | TYPE |  | HOSE SIZE | 104 TO 112 MM | WIDTH | 24 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | T-BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1058204 | 1058204 |  |  |  | ERSA | M | 1540 | 1586747GZPCLNT100 | EA |  | CLAMP;CLENERGY MID,27.5 TO 36.5MM,AL | ABRAZADERA; | CLAMP;TYPE:CLENERGY MID,CAPACITY:27.5 TO 36.5MM,SIZE:0.00008 CUBIC METERS,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:EZRACK,0. 067KG | ABRAZADERA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RFIER-IC35 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | RFI TECHNOLOGY SOLUTION | ER-IC35 | [16 empty] | https://www.rfi.com.au/ER-IC35?quantity=1 | [9 empty] | Enriched | 31162900 Clamps | BRAND:CLENERGY EZRACK,WEIGHT:0.067 KG,SIZE2:0.00008 M3 |  | CLAMP | NO MODIFIER | TYPE | MID,INTERMODULE | CAPACITY | 27.5 TO 36.5 MM | SIZE | 0.00008 M3 | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1058205 | 1058205 |  |  |  | ERSA | M | 1540 | 1586748GZPCLNT100 | EA |  | CLAMP;CLENERGY END,35MM,AL | ABRAZADERA; | CLAMP;TYPE:CLENERGY END,CAPACITY:35MM,SIZE:0.000076 CUBIC METERS,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:EZRACK,SUITS FRAME | ABRAZADERA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RFIER-EC35 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | RFI TECHNOLOGY SOLUTION | ER-EC35 | [16 empty] | https://www.rfi.com.au/ER-EC35?quantity=1 | [9 empty] | Cleansed | 31162900 Clamps | BRAND:CLENERGY EZRACK,FOR FRAME |  | CLAMP | NO MODIFIER | TYPE | END | CAPACITY | 35 MM | SIZE | 0.000076 M3 | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1058474 | 1058474 |  |  |  | ERSA | M | 4010 | 1608870GZPCLNT100 | EA |  | CLAMP;LN,FLEX,150MM,180MM,NYL | ABRAZADERA; | CLAMP;TYPE:LINE,CAPACITY:FLEXIBLE,SIZE:150MM,180MM,MATERIAL:NYLON | ABRAZADERA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 4101 | [10 empty] | TOOL 'N' TACKLE | 4101 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | LINE,FLEXIBLE | CAPACITY |  | SIZE | 150X180 MM | MATERIAL | NYLON | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1058725 | 1058725 |  |  |  | ERSA | M | 1600 | 1584283GZPCLNT100 | EA |  | CLAMP;CHNL,700 KG,9.5-127 MM | ABRAZADERA; | CLAMP;TYPE:CHANNEL,CAPACITY:700 KG,SIZE:9.5-127 MM,MATERIAL:NYLON GRADE 6 | ABRAZADERA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYCLAMP | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | EZYCLAMP | EZYSTRUT | EZYCLAMP | [16 empty] | https://www.ezystrut.com.au/products/pipe-support-systems/pipe-clamps/ezyclamp/ezyclamp/ezyclamp/ | https://www.ezystrut.com.au/assets/Datasheets/Cable-Clamps-DataSheet.pdf | [8 empty] | Enriched | 39121705 Cable clamp and staple | SHEAR STRENGTH:700 KG |  | CLAMP | CABLE | TYPE | CHANNEL | DIAMETER | 9.5 TO 127 MM | MATERIAL | NYLON GRADE 6 | MOUNTING TYPE |  | AFFIXING METHOD |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 | Material Conflict,Processed based on Websource | 1060511 | 1060511 |  |  |  | ERSA | M | 3000 | 1605065GZPCLNT100 | EA |  | CLAMP;T-BOLT,SEM,86-91 MM,S/STEEL | ABRAZADERA; | CLAMP;TYPE:T-BOLT,CAPACITY:SEMI,SIZE:86-91 MM,MATERIAL:S/STEEL | ABRAZADERA; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 86-91 MIK | [10 empty] | BUTLER AGENCIES PTY LTD |  | DTC INDUSTRIAL | MIK 86-91 | [16 empty] | https://store.advanceops.ca/products/32790n | [9 empty] | Cleansed | 31162906 Hose or pipe clamps | CAPACITY:SEMI |  | CLAMP | HOSE | TYPE |  | HOSE SIZE | 86 TO 91 MM | WIDTH | 22 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | T-BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 | Processed based on Websource, Conflict w.r.t Input | 1065982 | 1065982 |  |  |  | ERSA | M | 5955 | 1429006GZPCLNT100 | EA |  | CLIP;LINES WIRING GRPS | CLIP;LINES WIRING GRPS | CLAMP,PIPE,ANCHOR: CLIP;LINES AND WIRING GRPS; CATERPILLAR D400 DUMP TRUCK |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429006 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P7465 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1429006 | CATERPILLAR | 5P-7465 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/5P-7465 |  |  | DUMP TRUCK | CATERPILLAR | D400 |  |  |  |  | Enriched | 31163200 Retaining hardware | LINES AND WIRING GRPS | TUBE/HOSE OD:37,BOLT HOLE SIZE:12 MM | CLIP | NO MODIFIER | TYPE | HALF TANG,LADDER | SIZE | 38 WDX4 THK MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI,ASTM,DIN,ROHS | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1102508 | 1102508 |  |  |  | ERSA | M | 1600 | 1527087GZPCLNT100 | EA |  | CLAMP;WEC600G 600A ,WEC600G 600A EARTH C | CLAMP;WEC600G 600A ,WEC600G 600A EARTH C | CLAMP;ADDITIONAL FEATURES:WEC600G 600A ,WEC600G 600A EARTH C |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WEC600G 600A EARTH C | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | WELDTRONIC | WEC600G 600A EARTH C | [16 empty] | http://www.weldtronic.com.au/wp-content/uploads/2017/03/Earth-Clamps.pdf | [9 empty] | Enriched | 31162900 Clamps | CURRENT RATING:600 A |  | CLAMP | GROUNDING | TYPE | EXCELLENT GRIP,COMPACT DURABLE | CABLE SIZE |  | MATERIAL | SOLID BRASS | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1102509 | 1102509 |  |  |  | ERSA | M | 1600 | 1527086GZPCLNT100 | EA |  | CLAMP;WEC800G 800A ,WEC800G 800A EARTH C | CLAMP;WEC800G 800A ,WEC800G 800A EARTH C | CLAMP;ADDITIONAL FEATURES:WEC800G 800A ,WEC800G 800A EARTH C |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WEC800G 800A EARTH C | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | WELDTRONIC | WEC800G 800A EARTH C | [16 empty] | http://www.weldtronic.com.au/wp-content/uploads/2017/03/Earth-Clamps.pdf | [9 empty] | Enriched | 31162900 Clamps | CURRENT RATING:800 A |  | CLAMP | GROUNDING | TYPE | EXCELLENT GRIP | CABLE SIZE |  | MATERIAL | SOLID BRASS | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 | Processed based on Websource, Conflict w.r.t Input | 1136224 | 1136224 | 1367941 | AU_QM_000171629 |  | ERSA | M | 5920 | 1367941GZPCLNT100 | EA |  | AD40 II AIR PRECLEANER CLAMP;AIR CLEANER | AD40 II AIR PRECLEANER CLAMP;AIR CLEANER | CLAMP,LOOP: AD40 II AIR PRECLEANER CLAMP;AIR CLEANER GRP; ELPHINSTONE AD40 SER.II DUMP TRUCK |  | CLAMP,LOOP: AD40 II AIR PRECLEANER CLAMP;AIR CLEANER |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1367941 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1744895 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1367941 | CATERPILLAR | 1744895 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/174-4895 |  |  | DUMP TRUCK | ELPHINSTONE | AD40 SER.II |  |  |  |  | Enriched | 31162906 Hose or pipe clamps | GROUP |  | CLAMP | HOSE | TYPE | AIR PRE-CLEANER | HOSE SIZE | 99 TO 108 MM | WIDTH | 19.05 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | T | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1144184 | 1144184 | 1406356 | AU_QM_000251314 |  | ERSA | M | 1600 | 1406356GZPCLNT100 | EA |  | CLAMP,JMPR;ALLGTR, LARGE,300 A,BLK,ELEC | CLAMP,JMPR;ALLGTR, LARGE,300 A,BLK,ELEC | CLAMP,JUMPER;TYPE:ALLIGATOR, LARGE,CURRENT RATING:300 A,COLOUR:BLACK,ADDITIONAL FEATURES EN:ELECTRICAL,MNFR:01)ASHDOWN,PTNO:01) ASHACX0641,MNFR:02)CNW,PTNO:02)ACX0641 |  | CLAMP,ELECTRICAL: ALLIGATOR,BLACK,LARGE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ASHACX0641 | 1071809 @@ ASHDOWN ENTERPRISES | 1406356 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | ASHDOWN ENTERPRISES | ASHACX0641 | ASHDOWN ENTERPRISES | 1406356 | [14 empty] | https://dw.mmem.com.au/ashacx0641 | [9 empty] | Enriched | 31162900 Clamps |  | POLARITY:NEGATIVE | CLAMP | JUMPER | TYPE | ALLIGATOR,LARGE,ELECTRICAL,BOOSTER | CONDUCTOR |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING | 300 A | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1149936 | 1149936 |  |  |  | ERSA | M | 5700 | 1530778GZPCLNT100 | EA |  | CLAMP;BELT STRIPPING,SCISSOR,MAXI-BSC-05 | CLAMP;BELT STRIPPING,SCISSOR,MAXI-BSC-05 | CLAMP;ADDITIONAL FEATURES:BELT STRIPPING,SCISSOR,MAXI-BSC-05 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | MAXI-BSC-05 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD |  | CONVEYOR PRODUCTS PTY LTD | MAXI-BSC-05 | [16 empty] | https://conveyorproducts.com.au/products/belt-splicing-hand-tools/ | https://conveyorproducts.com.au/wp-content/uploads/2018/09/TIGER-Splicing-Hand-Tools.pdf | [8 empty] | Enriched | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | BELT STRIPPING,SCISSOR | CAPACITY | 5 TON | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1149937 | 1149937 |  |  |  | ERSA | M | 5700 | 1530777GZPCLNT100 | EA |  | CLAMP;BELT STRIPPING,SCISSOR,MINI-BSC-03 | CLAMP;BELT STRIPPING,SCISSOR,MINI-BSC-03 | CLAMP;ADDITIONAL FEATURES:BELT STRIPPING,SCISSOR,MINI-BSC-03 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | MINI-BSC-03 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD |  | CONVEYOR PRODUCTS PTY LTD | MINI-BSC-03 | [16 empty] | https://conveyorproducts.com.au/products/belt-splicing-hand-tools/ | https://conveyorproducts.com.au/wp-content/uploads/2018/09/TIGER-Splicing-Hand-Tools.pdf | [8 empty] | Enriched | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | BELT STRIPPING,SCISSOR | CAPACITY | 3 TON | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1151440 | 1151440 | 1474774 | AU_QM_000165438 |  | ERSA | M | 4090 | 1474774GZPCLNT100 | EA |  | CLAMP ISOLATION STRIP; 20MTRS ; PIPE SUP | CLAMP ISOLATION STRIP; 20MTRS ; PIPE SUP |  |  | CLAMP: CLAMP ISOLATION STRIP; 20MTRS ; PIPE SUP |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1474774 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1474774 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162800 Miscellaneous hardware | PIPE SUP |  | STRIP | NO MODIFIER | TYPE | CLAMP ISOLATION | SIZE | 20 M | MATERIAL |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1151981 | 1151981 |  |  |  | ERSA | M | 4075 | 1535103GZPCLNT100 | EA |  | CLAMP,LP;F/CIRCLE,32MM X 80MM,CU,1114237 | CLAMP,LP;F/CIRCLE,32MM X 80MM,CU,1114237 | CLAMP,LP;ADDITIONAL FEATURES:F/CIRCLE,32MM X 80MM,CU,1114237 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1114237 | [10 empty] | REECE PTY LTD | 1114237 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | SIZE:32X80 MM |  | CLAMP | LOOP | TYPE | FULL CIRCLE | CLAMPING RANGE |  | WIDTH |  | FASTENING DEVICE TYPE |  | MATERIAL | COPPER | SHAPE STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1151982 | 1151982 |  |  |  | ERSA | M | 4075 | 1535102GZPCLNT100 | EA |  | CLAMP,LP;F/CIRCLE,25MM X 80MM,CU,1114236 | CLAMP,LP;F/CIRCLE,25MM X 80MM,CU,1114236 | CLAMP,LP;ADDITIONAL FEATURES:F/CIRCLE,25MM X 80MM,CU,1114236 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1114236 | [10 empty] | REECE PTY LTD | 1114236 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | SIZE:25X80 MM |  | CLAMP | LOOP | TYPE | FULL CIRCLE | CLAMPING RANGE |  | WIDTH |  | FASTENING DEVICE TYPE |  | MATERIAL | COPPER | SHAPE STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1164956 | 1164956 | 1445831 | AU_QM_001018209 |  | ERSA | M | 1600 | 1445831GZPCLNT100 | EA |  | CLAMP;BUSBAR HANGER,CNW,081341-01 | CLAMP;BUSBAR HANGER,CNW,081341-01 | CLAMP;TYPE:BUSBAR HANGER,ADDITIONAL FEATURES EN:CHARGE CAR CONDUCTOR BAR,MNFR:01)CNW,PTNO:01)081341-01 |  | HANGER,BUSBAR:CHARGE CAR CONDUCTOR BAR HANGER CLAMP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 081341-01 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 081341-01 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | CHARGE CAR CONDUCTOR BAR |  | CLAMP | NO MODIFIER | TYPE | BUSBAR HANGER | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1173965 | 1173965 | 1363503 | AU_QM_000163526 |  | ERSA | M | 4090 | 1363503GZPCLNT100 | EA |  | CLAMP,LP;NRMT,57828480 | CLAMP,LP;NRMT,57828480 | CLAMP,LOOP;MNFR:NORMET,PTNO:57828480,ADDITIONAL FEATURES EN:EXHAUST PIPE,FASTENING |  | CLAMP,LOOP: CLAMP FASTENING: EXHAUST PIPE; SPRAYMEC |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57828480 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 57828480 |  |  | SPRAYMEC | [15 empty] | URL Not Found | [9 empty] | Cleansed | 31162906 Hose or pipe clamps |  |  | CLAMP | LOOP | TYPE | EXHAUST PIPE,FASTENING | CLAMPING RANGE |  | WIDTH |  | FASTENING DEVICE TYPE |  | MATERIAL |  | SHAPE STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1179207 | 1179207 |  |  |  | ERSA | M | 4010 | 1543324GZPCLNT100 | EA |  | CLAMP;GENERAL DUTY,250X120MM,550KG,STL | ABRAZADERA; | CLAMP;TYPE:GENERAL DUTY,250X120MM,CAPACITY:550KG,SIZE:250X120MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:GENERAL DUTY,250X120MM | ABRAZADERA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 1543324 | [10 empty] | TOOL 'N' TACKLE | 1543324 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | GENERAL DUTY | CAPACITY | 550 KG | SIZE | 250X120 MM | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1187167 | 1187167 |  |  |  | ERSA | M | 1600 | 1544557GZPCLNT100 | EA |  | CLAMP;TRMNL,N/A,63X78MM,PLSTC,END,STD,V7 | ABRAZADERA; | CLAMP;TYPE:TERMINAL,CAPACITY:N/A,SIZE:63X78MM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:END,STD,V7 | ABRAZADERA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPV7EA35 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | NHPV7EA35 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | V7 |  | CLAMP | NO MODIFIER | TYPE | TERMINAL,END,STANDARD | CAPACITY |  | SIZE | 63X78 MM | MATERIAL | PLASTIC | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1189878 | 1189878 |  |  |  | ERSA | M | 4090 | 1575383GZPCLNT100 | EA |  | CLAMP;H/D,500 X 140 MM,EC-GS50C | ABRAZADERA; | CLAMP;TYPE:H/D,CAPACITY:,SIZE:500 X 140 MM,MATERIAL:,ADDITIONAL FEATURES EN:EC-GS50C | ABRAZADERA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | EC-GS50C | [10 empty] | TOOL 'N' TACKLE |  | ITM | EC-GS50C | [16 empty] | https://www.tools.com/itm-ehoma-heavy-duty-clamp-500mm-x-140mm-ec-gs50c.html | https://sydneytools.com.au/product/ehoma-ecgs50c-500mm-x-140mm-heavy-duty-fclamp | [8 empty] | Enriched | 31162900 Clamps | SPAN SIZE:500 MM | RAIL SIZE:30X15 MM | CLAMP | F | TYPE | HEAVY DUTY | CLAMPING CAPACITY | 1200 KG | THROAT DEPTH | 140 MM | HOLDING CAPACITY |  | BODY MATERIAL | TEMPERED AND HOT FORGED STEEL | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-10-30 |  | 1189879 | 1189879 |  |  |  | ERSA | M | 4090 | 1575382GZPCLNT100 | EA |  | CLAMP;G/D,600 X 175 MM,EC-G60CS | ABRAZADERA; | CLAMP;TYPE:G/D,CAPACITY:,SIZE:600 X 175 MM,MATERIAL:,ADDITIONAL FEATURES EN:EC-G60CS | ABRAZADERA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | EC-G60CS | [10 empty] | TOOL 'N' TACKLE |  | ITM | EC-G60CS | [16 empty] | https://www.tools.com/itm-ehoma-general-purpose-clamp-600mm-x-175mm-ec-g60cs.html | https://sydneytools.com.au/product/ehoma-ecg60cs-600mm-x-175mm-general-purpose-fclamp | [8 empty] | Enriched | 31162900 Clamps | SPAN SIZE:600 MM | RAIL SIZE:27X13 MM | CLAMP | F | TYPE | GENERAL PURPOSE | CLAMPING CAPACITY | 1000 KG | THROAT DEPTH | 175 MM | HOLDING CAPACITY |  | BODY MATERIAL | TEMPERED AND HOT FORGED STEEL | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed