## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1218231 | 1218231 |  |  |  | ERSA | M | 5955 | 959429MRM | EA |  | ADJUSTING SCREW:H205D JACKLEG BUSHING;TA | ADJUSTING SCREW:H205D JACKLEG BUSHING;TA | ADJUSTING SCREW:H205D JACKLEG BUSHING;TAMROCK H205D DRILL JUMBO | [36 empty] | URL NOT FOUND |  |  | DRILL JUMBO | TAMROCK | H205D |  |  |  |  | CLEANSED | 31161500 Screws | JACKLEG BUSHING |  | SCREW | ADJUSTING | TYPE |  | THREAD DIAMETER |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1135063 | 1135063 | 1350441 | AU_QM_000133589 |  | ERSA | M | 1540 | 1350441GZPCLNT100 | EA |  | ADJUSTING SCREW;BEARING ASSY;4/3C-AH WAR | ADJUSTING SCREW;BEARING ASSY;4/3C-AH WAR | SCREW,SPECIAL: ADJUSTING SCREW;BEARING ASSY;4/3C-AH WAR MAN PUMP; |  | SCREW,SPECIAL:ADJUSTING SCREW;BEARING ASSY;4/3C-AH WAR | [34 empty] | URL NOT FOUND |  |  | PUMP | WARMAN | 4/3C-AH |  |  |  |  | CLEANSED | 31161500 Screws | SPECIAL,BEARING ASSEMBLY |  | SCREW | ADJUSTING | TYPE |  | THREAD DIAMETER |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1097077 | 1097077 | 1386501 | AU_QM_000227464 |  | ERSA | M | 5620 | 1386501GZPCLNT100 | EA | 3000006 | BUFFER;KOM,42W0123A50 | BUFFER;KOM,42W0123A50 | BUFFER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:42W0123A50 |  | BUFFER;KOM,42W0123A50BUFFER;KOM,42W0123A50 | KOMATSU MINING SYSTEMS INC. | 42W0123A50 | [16 empty] | KOMATSU MINING SYSTEMS INC. | 42W0123A50 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 12161700 Buffers |  |  | BUFFER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1151922 | 1151922 | 1473440 | AU_QM_000150578 |  | ERSA | M | 1540 | 1473440GZPCLNT100 | EA |  | CHARGE CONTACT MOUNTING SCREW; | CHARGE CONTACT MOUNTING SCREW; |  |  | SCREW,SPECIAL:CHARGE CONTACT MOUNTING SCREW; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31161500 Screws | SPECIAL |  | SCREW | NO MODIFIER | TYPE | CHARGE CONTACT,MOUNTING | THREAD DIAMETER |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1182244 | 1182244 |  |  |  | ERSA | M | 1600 | 1566227GZPCLNT100 | EA |  | CONNECTOR;25-95MM2/EGA,EPDM OUTER | CONECTOR; | CONNECTOR;SIZE:25-95MM2/EGA,MATERIAL:EPDM OUTER,ADDITIONAL FEATURES EN:CPA-CGS-250A-24-025-095M,SEPARABLE,TYPE A,250A,24KV | CONECTOR; | [17 empty] | CELLPACK | CGS-250A-24-025-095M | [16 empty] | https://shop-ep.cellpack.com/cep_it_en/295283.html | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | TYPE A |  | CONNECTOR | ELECTRICAL | TYPE | SEPARABLE,Straight | CONDUCTOR SIZE | 25 TO 95 SQ MM/EGA | ELECTRICAL RATING | 24 KV,250 A | NUMBER OF PINS |  | MATERIAL | EPDM OUTER | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1110515 | 1110515 | 1411964 | AU_QM_000257375 |  | ERSA | M | 5915 | 1411964GZPCLNT100 | EA |  | CONNECTOR;30388-00003 | CONNECTOR;30388-00003 | CONNECTOR;MNFR: ,PTNO:30388-00003 |  | CONNECTOR;30388-00003CONNECTOR;30388-00003 | [15 empty] | 30388-00003 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1111244 | 1111244 | 1411923 | AU_QM_000257332 |  | ERSA | M | 5915 | 1411923GZPCLNT100 | EA |  | CONNECTOR;4C.125827 | CONNECTOR;4C.125827 | CONNECTOR;MNFR: ,PTNO:4C.125827 |  | CONNECTOR;4C.125827CONNECTOR;4C.125827 | [15 empty] | 4C.125827 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1028597 | 1028597 | 1371322 | AU_QM_000195682 |  | ERSA | M | 1600 | 1371322GZPCLNT100 | EA | 3000284 | CONNECTOR;GLE,401016010012 | CONNECTOR;GLE,401016010012 | CONNECTOR;MNFR:GLENCORE,PTNO:401016010012 |  | CONNECTOR;GLE,401016010012CONNECTOR;GLE,401016010012 | GLENCORE | 401016010012 | [16 empty] | GLENCORE | 401016010012 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1183679 | 1183679 |  |  |  | ERSA | M | 5910 | 1562098GZPCLNT100 | EA |  | CONNECTOR;PLSTC,SPDR,40020241000042 | CONECTOR; | CONNECTOR;SIZE:TBC,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:SPIDER | CONECTOR; | [35 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | SPIDER,REF:40020241000042 |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1074012 | 1074012 |  |  |  | ERSA | M | 5915 | 1027880GZPCLNT100 | EA | 3000032 | CONNECTOR;SIE | CONNECTOR;SIE | CONNECTOR;MNFR:SIEMENS,PTNO:6ES7-972-0BB42-0XA0-SIEM-AUTO,ADDITIONAL FEATURES EN:ANGLED PROFIBUS 35 DEG |  |  | SIEMENS | 6ES7-972-0BB42-0XA0-SIEM-AUTO | [14 empty] | SIEMENS | 6ES7-972-0BB42-0XA0-SIEM-AUTO | [16 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7972-0BB42-0XA0%26language%3Den | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | ANGLE:35 DEG |  | CONNECTOR | COMMUNICATION | TYPE | PROFIBUS | CONNECTION TYPE | RS 485 | NUMBER OF PINS | 9 | INTERFACE TYPE | PROFIBUS | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1038858 | 1038858 |  |  |  | ERSA | M | 5915 | 1400977GZPCLNT100 | EA |  | CONNECTOR;TANK | CONNECTOR;TANK | CONNECTOR;TYPE:TANK | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | TANK | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1038859 | 1038859 |  |  |  | ERSA | M | 5915 | 1400976GZPCLNT100 | EA |  | CONNECTOR;TANK | CONNECTOR;TANK | CONNECTOR;TYPE:TANK | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | TANK | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1002350 | 1002350 |  |  |  | ERSA | M | 5000 | 1598143GZPCLNT100 | EA | 3000010 | BUFFER;SAN,88579019 | TAMPON;SAN,88579019 | BUFFER;MNFR:SANDVIK,PTNO:88579019 | TAMPON;MNFR:SANDVIK,PTNO:88579019 |  | SANDVIK | 88579019 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 88579019 | [12 empty] | SANDVIK | 88579019 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/sandvik-parts?page=8920 | [9 empty] | CLEANSED | 12161700 Buffers |  |  | BUFFER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1008767 | 1008767 |  |  |  | ERSA | M | 5000 | 1590175GZPCLNT100 | EA | 3000010 | BUFFER;SAN,10212518 | TAMPON;SAN,10212518 | BUFFER;MNFR:SANDVIK,PTNO:10212518 | TAMPON;MNFR:SANDVIK,PTNO:10212518 |  | SANDVIK | 10212518 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 10212518 | [14 empty] | SANDVIK | 10212518 | SANDVIK MINING & CONSTRUCTION | 10212518 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 12161700 Buffers |  |  | BUFFER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1011586 | 1011586 |  |  |  | ERSA | M | 2200 | 1609017GZPCLNT100 | EA | 3000418 | CONNECTOR;BORT,94799,3/4 JICX1/2 OD TUBE | CONECTOR;BORT,94799 | CONNECTOR;MNFR:BOART LONGYEAR,PTNO:94799,ADDITIONAL FEATURES EN:3/4 JICX1/2 OD TUBE M/M | CONECTOR;MNFR:BOART LONGYEAR,PTNO:94799 |  | BOART LONGYEAR | 94799 | 1068617 @@ BOART LONGYEAR PTY LTD | 94799 | [14 empty] | BOART LONGYEAR | 94799 | BOART LONGYEAR PTY LTD | 94799 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | ADAPTER | TUBE TO HOSE | TYPE |  | TUBE SIZE | 1/2 IN | HOSE SIZE | 3/4 IN | TUBE CONNECTION | MALE | HOSE CONNECTION | MALE JIC | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1013269 | 1013269 |  |  |  | ERSA | M | 2200 | 1614586GZPCLNT100 | EA | 3000418 | CONNECTOR;BORT,58164,1-1/16UNO,3/4OD M/F | CONECTOR;BORT,58164 | CONNECTOR;MNFR:BOART LONGYEAR,PTNO:58164,ADDITIONAL FEATURES EN:1-1/16UNO,3/4OD M/F | CONECTOR;MNFR:BOART LONGYEAR,PTNO:58164 |  | BOART LONGYEAR | 58164 | 1068617 @@ BOART LONGYEAR PTY LTD | 58164 | [14 empty] | BOART LONGYEAR | 58164 | BOART LONGYEAR PTY LTD | 58164 | [12 empty] | https://www.volza.com/p/f-connector/export/export-from-canada/ | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE |  | PIPE SIZE | 3/4 IN | HOSE SIZE | 1-1/16 IN | PIPE CONNECTION | FEMALE | HOSE CONNECTION | MALE UNO | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1013644 | 1013644 | 1365538 | AU_QM_000167939 |  | ERSA | M | 1600 | 1365538GZPCLNT100 | EA | 3000004 | CONNECTOR;HIT,38H1317 | CONNECTOR;HIT,38H1317 | CONNECTOR;MNFR:HITACHI,PTNO:38H1317 |  | CONNECTOR:STRAIGHT THREAD CONNECTOR SHORT;O-R | HITACHI | 38H1317 | 1068352 @@ HITACHI | 38H1317 | 1068592 @@ RDO EQUIPMENT PTY LTD | 38H1317 | [10 empty] | HITACHI | 38H1317 | RDO EQUIPMENT PTY LTD | [15 empty] | https://avspare.com/spare/hitachi/38h1317/ | [9 empty] | CLEANSED | 31163100 Connectors | O-R |  | CONNECTOR | NO MODIFIER | TYPE | STRAIGHT,SHORT | SIZE |  | CONNECTION TYPE | THREAD | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1050950 | 1050950 |  |  |  | ERSA | M | 4090 | 1578199GZPCLNT100 | EA |  | CONNECTOR;19 MM,HOSE END,2040P000 | CONECTOR; | CONNECTOR;SIZE:19 MM,MATERIAL:,ADDITIONAL FEATURES EN:HOSE END,2040P000 | CONECTOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3029523 | [12 empty] | Hozelock | 2040P0000 | [12 empty] | J BLACKWOOD & SONS | 3029523 |  |  | https://www.conrad.com/en/p/hozelock-2040p0000-pro-plastic-hose-connector-hose-connector-15-mm-1-2-o-19-mm-3-4-o-1761478.html | [9 empty] | ENRICHED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | HOSE END | SIZE | 19 MM | CONNECTION TYPE |  | MATERIAL | Plastic | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1050951 | 1050951 |  |  |  | ERSA | M | 4090 | 1578200GZPCLNT100 | EA |  | CONNECTOR;TAP,3/4-1/2 IN,OUTDR,2041P0000 | CONECTOR;GRIFO | CONNECTOR;TYPE:TAP,SIZE:3/4-1/2 IN,MATERIAL:,ADDITIONAL FEATURES EN:OUTDOOR,2041P0000 | CONECTOR;TIPO:GRIFO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3029540 | [12 empty] | Hozelock | 2041P0000 | [12 empty] | J BLACKWOOD & SONS | 3029540 |  |  | https://www.conrad.com/p/hozelock-2041p0000-pro-brass-tap-connector-hose-connector-1761464 | [9 empty] | ENRICHED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | TAP,OUTDOOR | SIZE | 3/4 TO 1/2 IN | CONNECTION TYPE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1050952 | 1050952 |  |  |  | ERSA | M | 4090 | 1578201GZPCLNT100 | EA |  | CONNECTOR;TAP,1 IN,MTL,OUTDR,2042P0000 | CONECTOR;GRIFO | CONNECTOR;TYPE:TAP,SIZE:1 IN,MATERIAL:METAL,ADDITIONAL FEATURES EN:OUTDOOR,2042P0000 | CONECTOR;TIPO:GRIFO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3029557 | [12 empty] | Hozelock | 2042P0000 | [12 empty] | J BLACKWOOD & SONS | 3029557 |  |  | https://secretgreen.com.au/products/hozelock-2042p0000-1-33-3mm-pro-metal-outdoor-tap-connector | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | TAP,OUTDOOR | SIZE | 1 IN | CONNECTION TYPE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1050953 | 1050953 |  |  |  | ERSA | M | 4090 | 1578202GZPCLNT100 | EA |  | CONNECTOR;DOUBLE,1/2 IN,MTL,M,2044P0000 | CONECTOR; | CONNECTOR;TYPE:DOUBLE,SIZE:1/2 IN,MATERIAL:METAL,ADDITIONAL FEATURES EN:MALE,2044P0000 | CONECTOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3029591 | [12 empty] | Hozelock | 2044P0000 | [12 empty] | J BLACKWOOD & SONS | 3029591 |  |  | https://www.conrad.com/p/hozelock-2044p0000-pro-brass-hose-connector-piece-hose-connector-1761465 | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | DOUBLE,HOSE | SIZE | 1/2 IN | CONNECTION TYPE | MALE | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1052052 | 1052052 |  |  |  | ERSA | M | 1600 | 1579501GZPCLNT100 | EA |  | CONNECTOR;35MM,CBL,2 SCREW,80 AMP CLEAR | CONECTOR; | CONNECTOR;SIZE:35MM,MATERIAL:,ADDITIONAL FEATURES EN:CABLE,2 SCREW,80 AMP CLEAR | CONECTOR; |  |  |  | 1071835 @@ REXEL AUSTRALIA | CLI563K35 | [12 empty] | CLIPSAL | 563K35 | REXEL AUSTRALIA | [15 empty] | https://www.clipsal.com/products/detail?CatNo=563K35&itemno=563K35&tab-document-1=0 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | COLOR:CLEAR,CURRENT:80 A,NUMBER OF SCREWS:2 |  | CONNECTOR | CABLE | TYPE | INSULATED | TRADE SIZE |  | CABLE SIZE | 35 SQ MM | CONNECTION TYPE | SCREW TERMINAL | CONNECTOR MATERIAL | PP | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1055341 | 1055341 |  |  |  | ERSA | M | 2200 | 1615742GZPCLNT100 | EA |  | CONNECTOR;FLUSH FACE,NPTM,FLOWMAX | CONECTOR;,NPT M | CONNECTOR;TYPE:FLUSH FACE,SIZE:,CONNECTION TYPE:NPTM,MATERIAL:,ADDITIONAL FEATURES EN:FLOWMAX | CONECTOR;TIPO CONEXION:NPT M |  |  |  | 1068342 @@ ISADRAULICS | 53-FLN6 | [10 empty] | FLOWMAX |  |  |  | ISADRAULICS | 53-FLN6 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | FLUSH FACE | SIZE |  | CONNECTION TYPE | MNPT | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1057172 | 1057172 |  |  |  | ERSA | M | 4200 | 1549313GZPCLNT100 | EA |  | BUFFER;SOLN,PH 4.00 (RED) | TAMPON; | BUFFER;ADDITIONAL FEATURES EN:SOLUTION,PH 4.00 (RED) | TAMPON; |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | CB2665 | [12 empty] | ROWE SCIENTIFIC PTY LTD | CB2665 | [16 empty] | https://www.rowe.com.au/rowe/Product_Add_To_Cart.htm?search=true&cms%2Erm=SearchAllPage&searchField=CB2665&SimilarProduct=true | [9 empty] | CLEANSED | 47101613 Buffer solutions |  |  | SOLUTION | BUFFER | TYPE |  | PH VALUE | 4 | CONTAINER |  | COMPOSITION |  | SPECIFIC GRAVITY |  | COLOUR | RED | ODOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1059823 | 1059823 |  |  |  | ERSA | M | 5910 | 1587293GZPCLNT100 | EA |  | CONNECTOR;361,STEEL/NITRILE | CONECTOR; | CONNECTOR;SIZE:361,MATERIAL:STEEL/NITRILE,ADDITIONAL FEATURES EN:ENZED JIC STRAIGHT -4 CONNECTOR | CONECTOR; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EI46-F4-JIC-FITT-S | [14 empty] | Enzed Mount Isa(RKM Investments) | EI46-F4-JIC-FITT-S | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | PACKAGE QUANTITY:4/PACK |  | CONNECTOR | NO MODIFIER | TYPE | STRAIGHT | SIZE | 361 MM | CONNECTION TYPE | JIC | MATERIAL | STEEL/NITRILE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1060784 | 1060784 |  |  |  | ERSA | M | 5100 | 1614366GZPCLNT100 | EA |  | CONNECTOR;STRAIGHT,M12X1,FEMALE,PVC | CONECTOR;DERECHO,HEMBRA | CONNECTOR;TYPE:STRAIGHT,SIZE:M12X1,CONNECTION TYPE:FEMALE,MATERIAL:PVC,ADDITIONAL FEATURES EN:5-PIN,W/4 CORE,A CODED,2 M LG CABLE, BALLUFF | CONECTOR;TIPO:DERECHO,TIPO CONEXION:HEMBRA |  |  |  | 1075736 @@ REMTRON QLD PTY LTD | BABCC0367 | [12 empty] | BALLUFF | BABCC0367 | REMTRON QLD PTY LTD | [15 empty] | https://www.balluff.com/en-in/products/BCC0367?gad_source=1&gclid=Cj0KCQjw4vKpBhCZARIsAOKHoWQwfI4YqzJXo4JhvNUxAoqB0gEGl83UzuOQ8kB04rAMzD8naU7cSuAaAn2PEALw_wcB | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CABLE LENGTH:2 M,CABLE MATERIAL:PVC,NUMBER OF PINS:5,A CODED,C/W 4 CORE |  | CONNECTOR | CABLE | TYPE | STRAIGHT,SINGLE ENDED | TRADE SIZE | M12X1 | CABLE SIZE | 0.34 SQ mm | CONNECTION TYPE | FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1060841 | 1060841 |  |  |  | ERSA | M | 4090 | 1615589GZPCLNT100 | EA |  | CONNECTOR;PIECE,CARBON TUBE | CONECTOR;PIEZA | CONNECTOR;TYPE:PIECE,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:CARBON TUBE | CONECTOR;TIPO:PIEZA |  |  |  | 1070129 @@ HAYMANS ELECTRICAL (SERVICES) | 60-0366 | 1068857 @@ NDT SALES AUSTRALIA PTY LTD | 60-0366 | [12 empty] | HAYMANS ELECTRICAL (SERVICES) | 60-0366 | NDT SALES AUSTRALIA PTY LTD | 60-0366 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | TUBE MATERIAL:CARBON |  | CONNECTOR | NO MODIFIER | TYPE | PIECE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1063174 | 1063174 | 1366175 | AU_QM_000168812 |  | ERSA | M | 1540 | 1366175GZPCLNT100 | EA |  | CAP SCREW; DRIVETRAIN; ATLAS COPCO EASER | CAP SCREW; DRIVETRAIN; ATLAS COPCO EASER | SCREW,CAP,SOCKET HEAD: CAP SCREW; DRIVETRAIN; ATLAS COPCO EASER L |  | SCREW,CAP,SOCKET HEAD:CAP SCREW; DRIVETRAIN; ATLAS COPCO EASER |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1366175 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 1366175 | [14 empty] | URL NOT FOUND |  |  | EASER L | ATLAS COPCO | [5 empty] | CLEANSED | 31161501 Cap screws | DRIVETRAIN |  | SCREW | CAP | TYPE |  | THREAD DIAMETER |  | THREAD PITCH |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE | SOCKET | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1068473 | 1068473 | 1369835 | AU_QM_000174764 |  | ERSA | M | 1540 | 1369835GZPCLNT100 | EA |  | CAP BOLT;HEX HEAD;STEERING CYLINDER;TRUC | CAP BOLT;HEX HEAD;STEERING CYLINDER;TRUC | SCREW: CAP BOLT;HEX HEAD;STEERING CYLINDER;TRUC K |  | SCREW: CAP BOLT;HEX HEAD;STEERING CYLINDER;TRUC |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 147164807 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 147164807 | [14 empty] | https://www.aircompressorstrade.com/1089962517-atlas-copco-epiroc-genuine-spare-parts-catalog-by-cpmc/ |  |  | TRUCK | [6 empty] | CLEANSED | 31161501 Cap screws | STEERING CYLINDER |  | SCREW | CAP | TYPE |  | THREAD DIAMETER |  | THREAD PITCH |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE | HEXAGON | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1077884 | 1077884 | 1026387 | AU_QM_000162377 |  | ERSA | M | 5915 | 1026387GZPCLNT100 | EA |  | CONNECTOR;HSE,21000212 | CONNECTOR;HSE,21000212 | CONNECTOR;TYPE:HOSE,PTNO:21000212 |  | ADAPTER,STRAIGHT,PIPE TO HOSE:NYLON HOSE CONNECTOR |  | 21000212 | 1068243 @@ OUTOTEC PTY LTD | 21000212 | [12 empty] | OUTOTEC PTY LTD | 21000212 | [16 empty] | https://www.volza.com/p/hose-connectors/export/hsn-code-3917400000/ | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE |  | HOSE SIZE |  | PIPE CONNECTION |  | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1083952 | 1083952 |  |  |  | ERSA | M | 1600 | 1512960GZPCLNT100 | EA | 3000293 | CONNECTOR;INDT,2401051 | CONECTOR;INDT,2401051 | CONNECTOR;MNFR:INDUCTOTHERM CORP,PTNO:2401051 | CONECTOR;NOMBRE DEL FABRICANTE:INDUCTOTHERM CORP,NUMERO DE PIEZA DEL FABRICANTE:2401051 |  | INDUCTOTHERM CORP | 2401051 | 1071998 @@ INDUCTOTHERM (MELTING) PTY LTD | 2401051 | [14 empty] | INDUCTOTHERM CORP | 2401051 | INDUCTOTHERM (MELTING) PTY LTD | 2401051 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1102524 | 1102524 |  |  |  | ERSA | M | 4005 | 1526787GZPCLNT100 | EA |  | BUFFER;RETAINER,P031639 | BUFFER;RETAINER,P031639 | BUFFER;ADDITIONAL FEATURES:RETAINER,P031639 |  |  |  |  | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | P031639 | [14 empty] | AIR & ALLIED SALES (PACIFIC) P/L | P031639 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 12161700 Buffers |  |  | BUFFER | NO MODIFIER | TYPE | RETAINER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1103115 | 1103115 | 1476168 | AU_QM_000643502 |  | ERSA | M | 1600 | 1476168GZPCLNT100 | EA |  | 440VAC;50HZ;16A;SOCKET OUTLET;PANEL MNT; | 440VAC;50HZ;16A;SOCKET OUTLET;PANEL MNT; |  |  | CONNECTOR,RECEPTACLE,ELEC:440VAC;50HZ;16A;SOCKET OUTLET;PANEL MNT; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4CUT01-24017 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | MAR01N4017 | [12 empty] | LAWRENCE & HANSON PTY. LTD. | 4CUT01-24017 |  |  | CNW (TOWNSVILLE) ELECT SUPPLIES | MAR01N4017 | [10 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121406 Electrical receptacles | FREQUENCY:50 HZ |  | RECEPTACLE | ELECTRICAL | TYPE | SOCKET OUTLET | VOLTAGE RATING | 440 VAC | CURRENT RATING | 16 A | NEMA/IEC SIZE |  | NUMBER OF POLES |  | TERMINAL TYPE |  | NUMBER OF WIRES |  | DEGREE OF PROTECTION |  | MOUNTING TYPE | panel | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1103185 | 1103185 |  |  |  | ERSA | M | 1600 | 1571172GZPCLNT100 | EA |  | CONNECTOR;M16,BAKL,2 PIN,GDMF,VLV | CONECTOR; | CONNECTOR;SIZE:M16,MATERIAL:BAKELITE,ADDITIONAL FEATURES EN:2 PIN,GDMF,VALVE | CONECTOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | 934-618-003 | [12 empty] | HIRSCHMANN | 934-618-003 | ASHDOWN INGRAM | [15 empty] | https://www.blackwoods.com.au/electrical/motor-motor-control/contactors-overloads/hirschmann-934-618-003-valve-connector-2-pin-gdmf-2016-dbaa/p/02605254 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | GDMF,VALVE | CONDUCTOR SIZE |  | ELECTRICAL RATING | 24 V | NUMBER OF PINS | 2 | MATERIAL | BAKELITE | INSULATION MATERIAL |  | STUD/BOLT SIZE | M16 | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 175301-803 type A | [52 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1136031 | 1136031 | 1353078 | AU_QM_000141689 |  | ERSA | M | 4090 | 1353078GZPCLNT100 | EA |  | CHIPPING GUN MOIL RUBBER BUFFER; | CHIPPING GUN MOIL RUBBER BUFFER; | BUMPER,NONMETAL: CHIPPING GUN MOIL RUBBER BUFFER; |  | BUMPER,NONMETAL:CHIPPING GUN MOIL RUBBER BUFFER; |  |  | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | 1353078 | [14 empty] | AIR & ALLIED SALES (PACIFIC) P/L | 1353078 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 12161700 Buffers | CHIPPING GUN MOIL |  | BUFFER | NO MODIFIER | TYPE | NONMETAL | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1139926 | 1139926 | 1452538 | AU_QM_001190586 |  | ERSA | M | 1540 | 1452538GZPCLNT100 | EA |  | CAPSCREW; M24 X 80; | CAPSCREW; M24 X 80; | SCREW,CAP,SOCKET HEAD: CAPSCREW; M24 X 80; 150SV-SPR PUMP; BM04 SUMP PUMP; |  | SCREW,CAP,SOCKET HEAD:CAPSCREW; M24 X 80; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | M24A4-80S | [14 empty] | WEIR MINERALS AUSTRALIA LTD | M24A4-80S | [14 empty] | URL NOT FOUND |  |  | PUMP,SUMP PUMP |  | 150SV-SPR,BM04 |  |  |  |  | CLEANSED | 31161501 Cap screws |  |  | SCREW | CAP | TYPE |  | THREAD DIAMETER | M24 | THREAD PITCH | 80 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE | SOCKET | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1139927 | 1139927 | 1452537 | AU_QM_001190578 |  | ERSA | M | 1540 | 1452537GZPCLNT100 | EA |  | CAPSCREW; M24 X 120MM; | CAPSCREW; M24 X 120MM; | SCREW,CAP,SOCKET HEAD: CAPSCREW; M24 X 120MM; BM04 SUMP PUMP; |  | SCREW,CAP,SOCKET HEAD:CAPSCREW; M24 X 120MM; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | M24A4-120S | [14 empty] | WEIR MINERALS AUSTRALIA LTD | M24A4-120S | [14 empty] | URL NOT FOUND |  |  | SUMP PUMP |  | BM04 |  |  |  |  | CLEANSED | 31161501 Cap screws |  |  | SCREW | CAP | TYPE |  | THREAD DIAMETER | M24 | THREAD PITCH | 120 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE | SOCKET | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1146811 | 1146811 |  |  |  | ERSA | M | 1600 | 1495001GZPCLNT100 | EA |  | CONNECTOR;MALE SC BRAS,3322029 | CONNECTOR;MALE SC BRAS,3322029 | CONNECTOR;ADDITIONAL FEATURES:MALE SC BRAS,3322029 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 3322029 | [14 empty] | ATOM SUPPLY | 3322029 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | SC |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE | MALE | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1146812 | 1146812 |  |  |  | ERSA | M | 1600 | 1494964GZPCLNT100 | EA |  | CONNECTOR;NANO LOK CONNECTOR,3M,3100087 | CONNECTOR;NANO LOK CONNECTOR,3M,3100087 | CONNECTOR;ADDITIONAL FEATURES:NANO LOK CONNECTOR,3M,3100087 |  |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 70007442745 | [12 empty] | 3M | 3100087 | ALLIANCE SAFETY EQUIPMENT P/L | 70007442745 | [14 empty] | https://ui.mkpl.3m.com/buyingOptions/70007442745 | [9 empty] | ENRICHED | 31163100 Connectors | TRADE MARK:NANO LOK |  | CONNECTOR | NO MODIFIER | TYPE | TWIN-LEG | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1151126 | 1151126 | 1476200 | AU_QM_000679167 |  | ERSA | M | 1600 | 1476200GZPCLNT100 | EA |  | CONNECTOR,PLUG,ELEC;ELECNITE,T254AMC | CONNECTOR,PLUG,ELEC;ELECNITE,T254AMC |  |  | CONNECTOR,PLUG,ELEC:4 PIN;MALE;COMPLETE; |  |  | 1069690 @@ HERAEUS ELECTRO-NITE (AUST) P/L | T254AMC | [14 empty] | HERAEUS ELECTRO-NITE (AUST) P/L | T254AMC | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | COMPLETE,ELECNITE |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS | 4 | PIN MATERIAL |  | CONNECTION TYPE | MALE | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1151765 | 1151765 | 1474241 | AU_QM_000131638 |  | ERSA | M | 1600 | 1474241GZPCLNT100 | EA |  | BRIDGE CONNECTOR;LOW VOLTAGE ELECTRICAL; | BRIDGE CONNECTOR;LOW VOLTAGE ELECTRICAL; |  |  | CONNECTOR:BRIDGE CONNECTOR;LOW VOLTAGE ELECTRICAL; |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3176404925 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 3176404925 | [16 empty] | https://wearsparts.com/3176404925-bridgeconn/ | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | BRIDGE,LOW VOLTAGE | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1155636 | 1155636 |  |  |  | ERSA | M | 3750 | 1505623GZPCLNT100 | EA |  | CONNECTOR;SAN,SAT100023 | CONNECTOR;SAN,SAT100023 | CONNECTOR;ADDITIONAL FEATURES:SAN,SAT100023 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SAT100023 | [14 empty] | SANDVIK MINING & CONSTRUCTION | SAT100023 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1183005 | 1183005 |  |  |  | ERSA | M | 5955 | 1564121GZPCLNT100 | EA |  | BUFFER;ENDSTOPS,130MM,QTY4 | TAMPON; | BUFFER;ADDITIONAL FEATURES EN:ENDSTOPS,130MM,QTY4 | TAMPON; |  |  |  | 1068072 @@ EILBECK CRANES | EC81152444 | [12 empty] | Demag | 81152444 | EILBECK CRANES | [15 empty] | https://cranemotorparts.com/demag-parts-database/81152444-2/ | [9 empty] | ENRICHED | 12161700 Buffers | PACKAGE QUANTITY:4/PACK |  | BUFFER | NO MODIFIER | TYPE | ENDSTOPS | SIZE | 130X120 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1184829 | 1184829 |  |  |  | ERSA | M | 1600 | 1558589GZPCLNT100 | EA |  | CONNECTOR;1996 | CONECTOR; | CONNECTOR;SIZE:TBC,MATERIAL:TBC,ADDITIONAL FEATURES EN:9 PIN,DEUTSCH,BULK HEAD | CONECTOR; |  |  |  | 1068102 @@ REMOTE CONTROL TECHNOLOGIES P/L | 1996 | [14 empty] | REMOTE CONTROL TECHNOLOGIES P/L | 1996 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors | NUMBER OF PINS:9 |  | CONNECTOR | NO MODIFIER | TYPE | BULK HEAD,DEUTSCH | SIZE |  | CONNECTION TYPE |  | MATERIAL | TBC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1186731 | 1186731 |  |  |  | ERSA | M | 4090 | 1551933GZPCLNT100 | EA |  | CONNECTOR;1/4 IN,BRS | CONECTOR; | CONNECTOR;SIZE:1/4 IN,MATERIAL:BRASS,ADDITIONAL FEATURES EN:FEM,1/4 IN TUBEX1/4 IN BSP | CONECTOR; |  |  |  | 1069714 @@ BLACKWOODS | 1487703 | 1068652 @@ J BLACKWOOD & SONS | 1487703 | [24 empty] | BLACKWOODS | 1487703 | J BLACKWOOD & SONS | 1487703 | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | 1/4X1/4 IN | CONNECTION TYPE | TUBE X FEMALE BSP | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1186882 | 1186882 |  |  |  | ERSA | M | 1600 | 1548946GZPCLNT100 | EA |  | CONNECTOR;MTL,934-618-002 | CONECTOR; | CONNECTOR;SIZE:TBC,MATERIAL:METAL,ADDITIONAL FEATURES EN:3 PIN,GDMF,SOLENOID VALVE | CONECTOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | 934-618-002 | [12 empty] | HIRSCHMANN | 934-618-002 | ASHDOWN INGRAM | [15 empty] | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/electrical-connectors-crimp-terminals/hirschmann-hydraulic-solenoid-plug-3-pin-valve-connector-934-618-002/p/A1327446 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | GDMF,SOLENOID VALVE | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS | 3 | MATERIAL | METAL | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1188004 | 1188004 |  |  |  | ERSA | M | 4015 | 1605418GZPCLNT100 | EA |  | CONNECTOR;1375X430MM,MTL | CONECTOR; | CONNECTOR;SIZE:1375X430MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:FLEXIBLE CONNECTION | CONECTOR; |  |  |  | 1069619 @@ CAPRICORN AIR CONDITIONING | SHEETMETAL MISC | [14 empty] | CAPRICORN AIR CONDITIONING | SHEETMETAL MISC | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163100 Connectors |  |  | CONNECTOR | NO MODIFIER | TYPE | FLEXIBLE | SIZE | 1375X430 MM | CONNECTION TYPE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed
STP_009 - Lot7 | Data Enrichment | SOZ | OK | 2023-10-16 | 2023-10-30 |  | 1189324 | 1189324 |  |  |  | ERSA | M | 4090 | 1576056GZPCLNT100 | EA |  | CONNECTOR;SDS-MAX TO SDS-MAX,FEM-FEM | CONECTOR; | CONNECTOR;SIZE:SDS-MAX TO SDS-MAX,MATERIAL:,ADDITIONAL FEATURES EN:FEM-FEM | CONECTOR; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 4932399128 | [12 empty] | MILWAUKEE | 4932399128 | TOOL 'N' TACKLE | [15 empty] | https://www.milwaukeetool.com.au/accessories/concrete-drilling/sds-max-drill-bits/4932399128.html | [9 empty] | ENRICHED | 31163100 Connectors | SHANK:SDS Max,CHUCK TYPE:SDS Max |  | CONNECTOR | NO MODIFIER | TYPE | DRILL | SIZE | 190 mm LG | CONNECTION TYPE | FEMALE X FEMALE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | production completed