## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1209008 | 1209008 |  |  |  | ERSA | M | 4090 | 737205MRM | PAC |  | BAG,PLASTIC:250MM X 200MM;CLEAR;SELF SEA | BAG,PLASTIC:250MM X 200MM;CLEAR;SELF SEA | BAG,PLASTIC:250MM X 200MM;CLEAR;SELF SEAL;PKT = 100 BAGS | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags | PACKAGE QUANTITY:100 BG/PK |  | BAG | NO MODIFIER | TYPE | SELF SEAL | CAPACITY |  | SIZE | 250X200 MM | MATERIAL | PLASTIC | CLOSURE TYPE |  | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1215406 | 1215406 |  |  |  | ERSA | M | 4090 | 174210MRM | PAC |  | BAG,PLASTIC:250MM X 380MM X 125UM;GRN/WH | BAG,PLASTIC:250MM X 380MM X 125UM;GRN/WH | BAG,PLASTIC:250MM X 380MM X 125UM;GRN/WHITE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags |  |  | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 250 MMX380 MMX125 UM | MATERIAL | PLASTIC | CLOSURE TYPE |  | COLOUR | GREEN,WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1215407 | 1215407 |  |  |  | ERSA | M | 4090 | 174211MRM | PAC |  | BAG,PLASTIC:600MM X 900MM X 150UM;GRN/WH | BAG,PLASTIC:600MM X 900MM X 150UM;GRN/WH | BAG,PLASTIC:600MM X 900MM X 150UM;GRN/WHITE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags |  |  | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 600 MMX900 MMX150 UM | MATERIAL | PLASTIC | CLOSURE TYPE |  | COLOUR | GREEN,WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036379 | 1036379 |  |  |  | ERSA | M | 4055 | 1525170GZPCLNT100 | BAG |  | BAG,SHIP;TOP OPEN,BOT SPOUT,104D | BAG,SHIP;TOP OPEN,BOT SPOUT,104D | [37 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41104105 Specimen collection or transport bags | ANGLE:104 DEG |  | BAG | SHIPPING | TYPE | TOP OPEN,BOTTOM SPOUT | SIZE |  | CAPACITY |  | MATERIAL |  | SAFE WORKING LOAD |  | SAFETY FACTOR |  | SPOUT FILL |  | SPOUT OUTLET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1215409 | 1215409 |  |  |  | ERSA | M | 5820 | 174214MRM | PAC |  | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 15 | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 15 | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 15IN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111513 Cotton bag |  |  | BAG | TEXTILE | TYPE | DRAW STRING | SIZE | 12X15 IN | MATERIAL | CALICO | CAPACITY |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1215410 | 1215410 |  |  |  | ERSA | M | 5820 | 174215MRM | PAC |  | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 18 | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 18 | BAG,TEXTILE;DRAW STRING;CALICO;12IN X 18IN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111513 Cotton bag |  |  | BAG | TEXTILE | TYPE | DRAW STRING | SIZE | 12X18 IN | MATERIAL | CALICO | CAPACITY |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1205320 | 1205320 |  |  |  | ERSA | M | 5820 | 150341MRM | BAG |  | BAG,TEXTILE;LEAD CONCENTRATE 2T BULK BAG | BAG,TEXTILE;LEAD CONCENTRATE 2T BULK BAG | BAG,TEXTILE;LEAD CONCENTRATE 2T BULK BAGS;BAG DIMENSIONS INCLUDING INTERNAL LINING;900MMX900MMX1200MM;SUITABLE FOR D.G 6.1; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | BAG DIMENSIONS INCLUDING INTERNAL LINING,FOR D.G 6.1,PACKAGE TYPE:BULK |  | BAG | TEXTILE | TYPE | LEAD CONCENTRATE | SIZE | 900 MMX900 MMX1.2 M | MATERIAL |  | CAPACITY | 2 T | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1215408 | 1215408 |  |  |  | ERSA | M | 4090 | 174212MRM | PAC |  | BAG,TEXTILE;POLYWOVEN;PP;550MM X 975MM;W | BAG,TEXTILE;POLYWOVEN;PP;550MM X 975MM;W | BAG,TEXTILE;POLYWOVEN;PP;550MM X 975MM;WHITE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags | COLOR:WHITE |  | BAG | TEXTILE | TYPE |  | SIZE | 550X975 MM | MATERIAL | POLYWOVEN,POLYPROPYLENE | CAPACITY |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154608 | 1154608 |  |  |  | ERSA | M | 5920 | 1509197GZPCLNT100 | EA |  | BAG; PRESSURE BAG 14 IN ,SVP-A-41055-176 | BAG; PRESSURE BAG 14 IN ,SVP-A-41055-176 | BAG;ADDITIONAL FEATURES: PRESSURE BAG 14 IN ,SVP-A-41055-176 | [17 empty] | SVP-A-41055-176 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 14 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154607 | 1154607 |  |  |  | ERSA | M | 5920 | 1509198GZPCLNT100 | EA |  | BAG; PRESSURE BAG 19 IN ,PRO-A-41051-100 | BAG; PRESSURE BAG 19 IN ,PRO-A-41051-100 | BAG;ADDITIONAL FEATURES: PRESSURE BAG 19 IN ,PRO-A-41051-100 | [17 empty] | PRO-A-41051-100 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 19 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154606 | 1154606 |  |  |  | ERSA | M | 5920 | 1509199GZPCLNT100 | EA |  | BAG; PRESSURE BAG 20 IN X,SP-A-41010-047 | BAG; PRESSURE BAG 20 IN X,SP-A-41010-047 | BAG;ADDITIONAL FEATURES: PRESSURE BAG 20 IN X,SP-A-41010-047 | [17 empty] | X,SP-A-41010-047 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 20 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154605 | 1154605 |  |  |  | ERSA | M | 5920 | 1509200GZPCLNT100 | EA |  | BAG; PRESSURE BAG 28,SVP-A-41065-122-56" | BAG; PRESSURE BAG 28,SVP-A-41065-122-56" | BAG;ADDITIONAL FEATURES: PRESSURE BAG 28,SVP-A-41065-122-56 | [17 empty] | SVP-A-41065-122-56 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 28 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154604 | 1154604 |  |  |  | ERSA | M | 5920 | 1509201GZPCLNT100 | EA |  | BAG; PRESSURE BAG 28,SVP-A-41065-122-72" | BAG; PRESSURE BAG 28,SVP-A-41065-122-72" | BAG;ADDITIONAL FEATURES: PRESSURE BAG 28,SVP-A-41065-122-72 | [17 empty] | SVP-A-41065-122-72 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 28 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154603 | 1154603 |  |  |  | ERSA | M | 5920 | 1509202GZPCLNT100 | EA |  | BAG; PRESSURE BAG50 IN X,SVP-A-41065-122 | BAG; PRESSURE BAG50 IN X,SVP-A-41065-122 | BAG;ADDITIONAL FEATURES: PRESSURE BAG50 IN X,SVP-A-41065-122 | [17 empty] | X,SVP-A-41065-122 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE | 50 IN | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154500 | 1154500 |  |  |  | ERSA | M | 5920 | 1509415GZPCLNT100 | EA |  | BAG;PRESSURE BAG;PRO SERIES ASS,PRO-A-04 | BAG;PRESSURE BAG;PRO SERIES ASS,PRO-A-04 | BAG;ADDITIONAL FEATURES:PRESSURE BAG;PRO SERIES ASS,PRO-A-04 | [17 empty] | PRO-A-04 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | PRO SERIES ASS |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154499 | 1154499 |  |  |  | ERSA | M | 5920 | 1509416GZPCLNT100 | EA |  | BAG;PRESSURE BAG;SP & SPHD SERIE,SP-A-08 | BAG;PRESSURE BAG;SP & SPHD SERIE,SP-A-08 | BAG;ADDITIONAL FEATURES:PRESSURE BAG;SP & SPHD SERIE,SP-A-08 | [17 empty] | SP-A-08 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | SP AND SPHD SERIES |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154498 | 1154498 |  |  |  | ERSA | M | 5920 | 1509417GZPCLNT100 | EA |  | BAG;PRESSURE BAG;SSP4 SPOT REPA,SSP4-050 | BAG;PRESSURE BAG;SSP4 SPOT REPA,SSP4-050 | BAG;ADDITIONAL FEATURES:PRESSURE BAG;SSP4 SPOT REPA,SSP4-050 | [17 empty] | SSP4-050 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | SSP4 SPOT REPA |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154497 | 1154497 |  |  |  | ERSA | M | 5920 | 1509418GZPCLNT100 | EA |  | BAG;PRESSURE BAG;SVP SERIES ASS,SVP-A-04 | BAG;PRESSURE BAG;SVP SERIES ASS,SVP-A-04 | BAG;ADDITIONAL FEATURES:PRESSURE BAG;SVP SERIES ASS,SVP-A-04 | [17 empty] | SVP-A-04 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | SVP SERIES ASS |  | BAG | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036057 | 1036057 |  |  |  | ERSA | M | 5940 | 1526136GZPCLNT100 | PAC |  | BAG;POLYWOV,600X1025MM,PK=100,PWB6101040 | BAG;POLYWOV,600X1025MM,PK=100,PWB6101040 | BAG;ADDITIONAL FEATURES:POLYWOV,600X1025MM,PK=100,PWB6101040 |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | PWB6101040 | [12 empty] | WESTERNEX PTY LTD | PWB6101040 | [16 empty] | https://westernex.com.au/wp-content/uploads/products-pdfs/westernex_polywoven_bags.pdf | [9 empty] | Enriched | 24111503 Plastic bags | PACKAGE QUANTITY:100/PK |  | BAG | SAMPLE | TYPE |  | CAPACITY | 45 TO 50 KG | THICKNESS |  | MATERIAL | POLYWOVEN | SIZE | 600X1025 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036058 | 1036058 |  |  |  | ERSA | M | 5940 | 1526135GZPCLNT100 | PAC |  | BAG;PLASTIC,125X205MM,100UM,PK,SS58-100 | BAG;PLASTIC,125X205MM,100UM,PK,SS58-100 | BAG;ADDITIONAL FEATURES:PLASTIC,125X205MM,100UM,PK,SS58-100 |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | SS58-100 | [12 empty] | WESTERNEX PTY LTD | SS58-100 | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/zip-lock-bags/self-seal-bags-100um/?attribute_pa_uom=bags-of-1000&attribute_pa_size=5x8-125mmx200mm | [9 empty] | Enriched | 24111514 Zipper bag |  |  | BAG | SAMPLE | TYPE | SELF,ZIP SEAL | CAPACITY |  | THICKNESS | 100 UM | MATERIAL | PLASTIC | SIZE | 125X200 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036061 | 1036061 |  |  |  | ERSA | M | 5940 | 1526132GZPCLNT100 | PAC |  | BAG;PLASTIC,450X750MMX150UM,PK=100,B11-P | BAG;PLASTIC,450X750MMX150UM,PK=100,B11-P | BAG;ADDITIONAL FEATURES:PLASTIC,450X750MMX150UM,PK=100,B11-P |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B11-P | [12 empty] | WESTERNEX PTY LTD | B11-P | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/plastic-bags/plastic-bag-green-with-white-panel/?attribute_pa_uom=hundred&attribute_pa_size=whitepanel18x30-450x750mm150u | [9 empty] | Enriched | 24111503 Plastic bags | PACKAGE QUANTITY:100/PK | COLOR:GREEN,WHITE PANEL | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS | 150 UM | MATERIAL | PLASTIC | SIZE | 450X750 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036062 | 1036062 |  |  |  | ERSA | M | 5940 | 1526131GZPCLNT100 | PAC |  | BAG;PLASTIC,300X450MMX125UM,PK=100,B09-P | BAG;PLASTIC,300X450MMX125UM,PK=100,B09-P | BAG;ADDITIONAL FEATURES:PLASTIC,300X450MMX125UM,PK=100,B09-P |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B09-P | [12 empty] | WESTERNEX PTY LTD | B09-P | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/plastic-bags/plastic-bag-green-with-white-panel/?attribute_pa_uom=hundred&attribute_pa_size=whitepanel12x18-300x450mm125u | [9 empty] | Enriched | 24111503 Plastic bags | PACKAGE QUANTITY:100/PK | COLOR:GREEN,WHITE PANEL | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS | 125 UM | MATERIAL | PLASTIC | SIZE | 300X450 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036064 | 1036064 |  |  |  | ERSA | M | 5940 | 1526129GZPCLNT100 | PAC |  | BAG;CALICO,DS NUMB,300X450MM,B26-FINE | BAG;CALICO,DS NUMB,300X450MM,B26-FINE | BAG;ADDITIONAL FEATURES:CALICO,DS NUMB,300X450MM,B26-FINE |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B26-FINE | [12 empty] | WESTERNEX PTY LTD | B26-FINE | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/calico-bags/calico-bag-types/bag-calico-draw-string/?attribute_pa_uom=hundred&attribute_pa_size=fine12x18-300mmx450mm | [9 empty] | Enriched | 24111513 Cotton bag |  |  | BAG | SAMPLE | TYPE | DRAW STRING,FINE | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 300X450 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,ETI | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 | Series Match | 1036065 | 1036065 |  |  |  | ERSA | M | 5940 | 1526128GZPCLNT100 | PAC |  | BAG;CALICO,DS 300X450MM,PAC=100,B26-COT | BAG;CALICO,DS 300X450MM,PAC=100,B26-COT | BAG;ADDITIONAL FEATURES:CALICO,DS 300X450MM,PAC=100,B26-COT |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B26-COT | [12 empty] | WESTERNEX PTY LTD | B26-COT | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/calico-bags/calico-bag-types/bag-calico-draw-string/?attribute_pa_uom=hundred&attribute_pa_size=fine12x18-300mmx450mm | [9 empty] | Enriched | 24111513 Cotton bag | PACKAGE QUANTITY:100/PK |  | BAG | SAMPLE | TYPE | DRAW STRING | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 300X450 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,ETI | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036381 | 1036381 |  |  |  | ERSA | M | 4090 | 1528730GZPCLNT100 | BOX |  | BAG,SMPL;HEAT SEALABLE,FOIL,150,FOILB068 | BAG,SMPL;HEAT SEALABLE,FOIL,150,FOILB068 | [5 empty] | 1069031 @@ DYNAMICS G-EX PTY LTD | FOILB068 | [14 empty] | DYNAMICS G-EX PTY LTD | FOILB068 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | SAMPLE | TYPE | HEAT SEALBLE,FOIL | CAPACITY |  | THICKNESS |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036462 | 1036462 |  |  |  | ERSA | M | 4055 | 1535825GZPCLNT100 | BOX |  | BAG,SMPL;GREEN,UV,H/D PLASTIC,PLAB2538 | BAG,SMPL;GREEN,UV,H/D PLASTIC,PLAB2538 | [5 empty] | 1069031 @@ DYNAMICS G-EX PTY LTD | PLAB2538 | [14 empty] | DYNAMICS G-EX PTY LTD | PLAB2538 | [14 empty] | https://www.dynamicsgex.com.au/products/samplex-green-heavy-duty-plastic-bags | [9 empty] | Enriched | 24111503 Plastic bags | COLOR:GREEN,UV |  | BAG | SAMPLE | TYPE | HEAVY DUTY | CAPACITY |  | THICKNESS | 125 UM | MATERIAL | PLASTIC | SIZE | 250X380 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036463 | 1036463 |  |  |  | ERSA | M | 4055 | 1535826GZPCLNT100 | BOX |  | BAG,SMPL;BLUE,UV,PLASTIC,PLAB4575BLU | BAG,SMPL;BLUE,UV,PLASTIC,PLAB4575BLU | [5 empty] | 1069031 @@ DYNAMICS G-EX PTY LTD | PLAB4575BLU | [14 empty] | DYNAMICS G-EX PTY LTD | PLAB4575BLU | [14 empty] | https://www.dynamicsgex.com.au/products/specialty-plastic-bags | [9 empty] | Enriched | 24111503 Plastic bags | COLOR:BLUE,UV |  | BAG | SAMPLE | TYPE | SPECIALTY | CAPACITY |  | THICKNESS | 90 UM | MATERIAL | PLASTIC | SIZE | 450X750 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036464 | 1036464 |  |  |  | ERSA | M | 4055 | 1535827GZPCLNT100 | BOX |  | BAG,SMPL;ZIP LOCK,125X180MMX90,PRSB1218P | BAG,SMPL;ZIP LOCK,125X180MMX90,PRSB1218P | [5 empty] | 1069031 @@ DYNAMICS G-EX PTY LTD | PRSB1218P | [14 empty] | DYNAMICS G-EX PTY LTD | PRSB1218P | [14 empty] | https://www.dynamicsgex.com.au/products/samplex-ziplock-resealable-bags | [9 empty] | Enriched | 24111514 Zipper bag |  |  | BAG | SAMPLE | TYPE | HEAVY DUTY,RESEALABLE,TRANSPARENT,ZIP LOCK | CAPACITY |  | THICKNESS | 90 UM | MATERIAL | POLY | SIZE | 125X180 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1036465 | 1036465 |  |  |  | ERSA | M | 4055 | 1535828GZPCLNT100 | BOX |  | BAG,SMPL;ZIP LOCK,250X375MMX90,PRSB2537P | BAG,SMPL;ZIP LOCK,250X375MMX90,PRSB2537P | [5 empty] | 1069031 @@ DYNAMICS G-EX PTY LTD | PRSB2537P | [14 empty] | DYNAMICS G-EX PTY LTD | PRSB2537P | [14 empty] | https://www.dynamicsgex.com.au/products/samplex-ziplock-resealable-bags | [9 empty] | Enriched | 24111514 Zipper bag |  |  | BAG | SAMPLE | TYPE | HEAVY DUTY,RESEALABLE,TRANSPARENT,ZIP LOCK | CAPACITY |  | THICKNESS | 90 UM | MATERIAL | POLY | SIZE | 250X375 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1051214 | 1051214 |  |  |  | ERSA | M | 4090 | 1581188GZPCLNT100 | EA |  | BAG;CALICO,14 X 24 IN,D/S STD | BOLSA; | BAG;TYPE:CALICO,SIZE:14 X 24 IN,MATERIAL:,ADDITIONAL FEATURES EN:D/S STD | BOLSA; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B27-STD | [12 empty] | WESTERNEX PTY LTD | B27-STD | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/calico-bags/calico-bag-types/bag-calico-draw-string/?attribute_pa_uom=hundred&attribute_pa_size=standard14x24-350mmx600mm | [9 empty] | Enriched | 24111513 Cotton bag |  |  | BAG | SAMPLE | TYPE | DRAW STRING,STANDARD | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 14X24 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,ETI | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1052377 | 1052377 |  |  |  | ERSA | M | 4005 | 1583634GZPCLNT100 | EA |  | BAG,TL;450X260X260MM,35L,TOTE RUGGED XTR | BOLSA HERRA; | BAG,TOOL;ADDITIONAL FEATURES EN:450X260X260MM,35L,TOTE RUGGED XTREMES | BOLSA HERRAMIENTAS; |  |  |  | 1068502 @@ ATOM SUPPLY | 479509 | [12 empty] | RUGGED XTREMES | RXES05W206 | ATOM SUPPLY | 479509 | [14 empty] | https://ruggedxtremes.com/products/essentials-service-tote | https://www.atom.com.au/essentials-service-tote-bag-green-450-x-300-x-260mm-479509 | [8 empty] | Enriched | 24111507 Tool bags | SIZE:450X260X260 MM |  | BAG | TOOL | TYPE | TOTE,WIDE MOUTH | CAPACITY | 35 L | SIZE DESIGNATION |  | MATERIAL | POLYESTER CANVAS | NUMBER OF COMPARTMENTS |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1057505 | 1057505 |  |  |  | ERSA | M | 5940 | 1548855GZPCLNT100 | CAR |  | BAG;SMPL,125X250MM,PPR | BOLSA; | BAG;TYPE:SAMPLE,SIZE:125X250MM,MATERIAL:PAPER,ADDITIONAL FEATURES EN:GEOCHEM 5"X10",125X250MM,NO TIE,CTN1000 | BOLSA; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | GCB-4 | [12 empty] | WESTERNEX PTY LTD | GCB-4 | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/geochem-bags/geochem-bag-no-tie/?attribute_pa_uom=carton-of-1000&attribute_pa_size=5x10-125x250mm | [9 empty] | Enriched | 24111502 Paper bags | PACKAGE QUANTITY:1000/CT |  | BAG | SAMPLE | TYPE | GEOCHEM,NO TIE | CAPACITY | 1000 G | THICKNESS |  | MATERIAL | PAPER | SIZE | 125X250 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1102686 | 1102686 |  |  |  | ERSA | M | 4055 | 1525113GZPCLNT100 | EA |  | BAG,SHIP;PW100,2445X1590X1200,PWB0204 | BAG,SHIP;PW100,2445X1590X1200,PWB0204 | [5 empty] | 1070534 @@ INTEGRATED PACKAGING AUSTRALIA | 1525113 | [11 empty] | PWB0204 |  |  | INTEGRATED PACKAGING AUSTRALIA | 1525113 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41104105 Specimen collection or transport bags | MODEL:PW100 |  | BAG | SHIPPING | TYPE |  | SIZE | 2.445X1.59X1.2 M | CAPACITY |  | MATERIAL |  | SAFE WORKING LOAD |  | SAFETY FACTOR |  | SPOUT FILL |  | SPOUT OUTLET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1102687 | 1102687 |  |  |  | ERSA | M | 4055 | 1525114GZPCLNT100 | EA |  | BAG,SHIP;PW100 2120 X 1430 X 1170 | BAG,SHIP;PW100 2120 X 1430 X 1170 | [5 empty] | 1070534 @@ INTEGRATED PACKAGING AUSTRALIA | 1525114 | [14 empty] | INTEGRATED PACKAGING AUSTRALIA | 1525114 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41104105 Specimen collection or transport bags | MODEL:PW100 |  | BAG | SHIPPING | TYPE |  | SIZE | 2.12X1.43X1.17 M | CAPACITY |  | MATERIAL |  | SAFE WORKING LOAD |  | SAFETY FACTOR |  | SPOUT FILL |  | SPOUT OUTLET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1105184 | 1105184 |  |  |  | ERSA | M | 5940 | 1525195GZPCLNT100 | EA |  | BAG,SMPL;CALICO BAGS D/S STD 18"X30" | BAG,SMPL;CALICO BAGS D/S STD 18"X30" | [5 empty] | 1068802 @@ WESTERNEX PTY LTD | 1525195 | [14 empty] | WESTERNEX PTY LTD | 1525195 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111513 Cotton bag |  |  | BAG | SAMPLE | TYPE | DRAW STRING,STANDARD | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 18X30 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1105228 | 1105228 |  |  |  | ERSA | M | 5940 | 1525193GZPCLNT100 | EA |  | BAG,SMPL;CALICO BAGS D/S STD 24"X36" | BAG,SMPL;CALICO BAGS D/S STD 24"X36" | [5 empty] | 1068802 @@ WESTERNEX PTY LTD | 1525193 | [14 empty] | WESTERNEX PTY LTD | 1525193 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111513 Cotton bag |  |  | BAG | SAMPLE | TYPE | DRAW STRING,STANDARD | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 24X36 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1105229 | 1105229 |  |  |  | ERSA | M | 5940 | 1525194GZPCLNT100 | EA |  | BAG,SMPL;CALICO,A215801-A220600,B35C-STD | BAG,SMPL;CALICO,A215801-A220600,B35C-STD | [5 empty] | 1068802 @@ WESTERNEX PTY LTD | 1525194 | [12 empty] | WESTERNEX PTY LTD | B35C-STD | WESTERNEX PTY LTD | 1525194 | [14 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/calico-bags/calico-bag-types/bag-calico-draw-string/?attribute_pa_uom=hundred&attribute_pa_size=standard24x36-600mmx900mm | [9 empty] | Enriched | 24111513 Cotton bag | A215801-A220600 |  | BAG | SAMPLE | TYPE | DRAW STRING,STANDARD | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 600X900 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,ETI | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1109637 | 1109637 | 1426716 | AU_QM_000404863 |  | ERSA | M | 3000 | 1426716GZPCLNT100 | EA |  | BRONZE 168MM DIAMETER | BRONZE 168MM DIAMETER | IMPELLER,PUMP: BRONZE 168MM DIAMETER AS FITTED TO HYDRO-TITAN 125 X 80-200 PUMP. SERIAL #HT8317 |  | IMPELLER,PUMP:BRONZE 168MM DIAMETER |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 1426716 | [14 empty] | FLOWSERVE PUMP DIVISION | 1426716 | [14 empty] | URL NOT FOUND |  |  | PUMP | HYDRO-TITAN | 125X80-200 | HT8317 |  |  |  | Cleansed | 40151730 Pump impeller |  |  | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER | 168 MM | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL | BRONZE | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1109837 | 1109837 | 1455681 | AU_QM_001259621 |  | ERSA | M | 2200 | 1455681GZPCLNT100 | EA |  | DUCTILE IRON; | DUCTILE IRON; | BODY,VALVE: DUCTILE IRON; 400MM T/E CLARKSON VALVE; |  | BODY,VALVE: DUCTILE IRON; |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | 1455681 | 1068546 @@ KEYFLO PACIFIC PTY LTD | 11452026 | [12 empty] | EMERSON AUTOMATION SOLUTIONS | 1455681 | KEYFLO PACIFIC PTY LTD | 11452026 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | BRAND:CLARKSON,T/E |  | BODY | VALVE | VALVE STYLE |  | VALVE SIZE | 400 MM | CONNECTION TYPE |  | MATERIAL | DUCTILE IRON | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1112307 | 1112307 | 1446109 | AU_QM_001029180 |  | ERSA | M | 5810 | 1446109GZPCLNT100 | EA |  | DISTRIBUTOR BLOCK;LUBRICANT; | DISTRIBUTOR BLOCK;LUBRICANT; | DISTRIBUTOR BODY: DISTRIBUTOR BLOCK;LUBRICANT; 3 OUTLET PROGRESSIVE; REGRIND MILL RING GEAR LUBE SYSTEM |  | DISTRIBUTOR BODY: DISTRIBUTOR BLOCK;LUBRICANT; |  |  | 1068162 @@ FLSMIDTH PTY LTD | FFEA-016-016-016 | [14 empty] | FLSMIDTH PTY LTD | FFEA-016-016-016 | [14 empty] | URL NOT FOUND |  |  | REGRIND MILL RING GEAR LUBE SYSTEM | [6 empty] | Cleansed | 39122100 Electrical transmission and distribution equipment | BODY,PROGRESSIVE |  | BLOCK | DISTRIBUTION | TYPE | LUBRICANT | NUMBER OF TERMINAL POINTS |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF INPUT/POLE |  | NUMBER OF OUTPUT/POLE | 3 | TERMINAL TYPE |  | WIRE SIZE |  | COLOR |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1114146 | 1114146 |  |  |  | ERSA | M | 4055 | 1571687GZPCLNT100 | EA |  | BAG;SMPL,600 X 900 X 200UM,PLSTC,BLK/WHT | BOLSA; | BAG;TYPE:SAMPLE,SIZE:600 X 900 X 200UM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:BLACK/WHITE | BOLSA; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | B03-P | [12 empty] | WESTERNEX PTY LTD | B03-P | [16 empty] | https://westernex.com.au/wp-content/uploads/products-pdfs/westernex_plastic_bags.pdf | [9 empty] | Cleansed | 24111503 Plastic bags | COLOR:BLACK/WHITE |  | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS | 200 UM | MATERIAL | PLASTIC | SIZE | 600X900 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119269 | 1119269 |  |  |  | ERSA | M | 4055 | 1615481GZPCLNT100 | EA |  | BAG,WSTE;DRUM LINERS,1050X1550 MM,CLEAR | BOLSA BASU;,ESP ,CLARO | BAG,WASTE;TYPE:DRUM LINERS,SIZE:1050X1550 MM,THICKNESS:200 UM,COLOUR:CLEAR,ADDITIONAL FEATURES EN:45 BAGS PER ROLL | BOLSA BASURA;TONO:CLARO |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | PPDL-200 | [13 empty] | PPDL-200 | ELLIOTT TIMBER SALES PTY LTD | PPDL-200 | [14 empty] | https://www.allensindustrial.com.au/PPDL_dash_200/Drum-Liners-1050W-x-1550L-200um-Clear.-45-Bags-per-Roll./pd.php | [9 empty] | Enriched | 47121701 Trash bags | PACKAGE QUANTITY:45 BG/ROLL |  | BAG | WASTE | TYPE | ASBESTOS,DRUM LINERS | CAPACITY |  | SIZE | 1.05X1.55 M | THICKNESS | 200 UM | MATERIAL |  | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119270 | 1119270 |  |  |  | ERSA | M | 4055 | 1615482GZPCLNT100 | EA |  | BAG,WSTE;FLAT PACK ASBESTOS,600X900 MM | BOLSA BASU;,ESP ,POLIETILENO | BAG,WASTE;TYPE:FLAT PACK ASBESTOS,SIZE:600X900 MM,THICKNESS:200 UM,MATERIAL:POLYETHYLENE,ADDITIONAL FEATURES EN:SMALL 100PK | BOLSA BASURA;MATERIAL:POLIETILENO |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | PPASBSML-BOXNEW | [12 empty] | ALLENS | PPASBSML-BOXNEW | ELLIOTT TIMBER SALES PTY LTD | PPASBSML-BOXNEW | [14 empty] | https://www.allensindustrial.com.au/PPASBSML_dash_BOXNEW/Flat-Pack-Asbestos-Bags-Small-100pk/pd.php | [9 empty] | Enriched | 47121701 Trash bags | SIZE DESIGNATION:SMALL,PACKAGE QUANTITY:100/PK |  | BAG | WASTE | TYPE | FLAT PACK ASBESTOS | CAPACITY |  | SIZE | 600X900 MM | THICKNESS | 200 UM | MATERIAL | VIRGIN,POLYETHYLENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119271 | 1119271 |  |  |  | ERSA | M | 4055 | 1615483GZPCLNT100 | EA |  | BAG,WSTE;LARGE ASBESTOS,1200X900 MM | BOLSA BASU;,ESP | BAG,WASTE;TYPE:LARGE ASBESTOS,SIZE:1200X900 MM,THICKNESS:200 UM,ADDITIONAL FEATURES EN:ROLL OF 50PK | BOLSA BASURA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | PPASBBAGR | [12 empty] | ALLENS | PPASBAGR | ELLIOTT TIMBER SALES PTY LTD | PPASBBAGR | [14 empty] | https://www.allensindustrial.com.au/PPASBAGR/Roll-of-Large-Asbestos-Bags-50pk/pd.php | [9 empty] | Enriched | 47121701 Trash bags | SIZE DESIGNATION:LARGE,PACKAGE QUANTITY:50/PK |  | BAG | WASTE | TYPE | ASBESTOS | CAPACITY |  | SIZE | 1200X900 MM | THICKNESS | 200 UM | MATERIAL | VIRGIN | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119275 | 1119275 |  |  |  | ERSA | M | 4055 | 1615487GZPCLNT100 | EA |  | BAG,WSTE;BULK ASBESTOS,100 L,HAZIBAG | BOLSA BASU; | BAG,WASTE;TYPE:BULK ASBESTOS,CAPACITY:100 L,SIZE:700X250X600 MM,ADDITIONAL FEATURES EN:HAZIBAG | BOLSA BASURA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-100LTR | [12 empty] | HAZIBAG | HAZIBAG-100LTR | ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-100LTR | [14 empty] | https://hazibag.com/hazibag-products/ | [9 empty] | Cleansed | 47121701 Trash bags | PACKAGE TYPE:BULK |  | BAG | WASTE | TYPE | ASBESTOS | CAPACITY | 100 L | SIZE | 700X250X600 MM | THICKNESS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119276 | 1119276 |  |  |  | ERSA | M | 4055 | 1615488GZPCLNT100 | EA |  | BAG,WSTE;BULK ASBESTOS 2.4 CUBE LONG | BOLSA BASU;,ESP | BAG,WASTE;TYPE:BULK ASBESTOS 2.4 CUBE LONG,CAPACITY:505 KG,SIZE:520X3100X1470 MM,THICKNESS:200 UM,MATERIAL:POLYPROPYLENE | BOLSA BASURA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-2.4 | [12 empty] | HAZIBAG | HAZIBAG-2.4 | ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-2.4 | [14 empty] | https://hazibag.com/hazibag-products/ | [9 empty] | Cleansed | 47121701 Trash bags | PACKAGE TYPE:BULK |  | BAG | WASTE | TYPE | ASBESTOS | CAPACITY | 505 KG | SIZE | 520 MMX3.1 MX1.47 M | THICKNESS | 200 UM | MATERIAL | POLYPROPYLENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1119277 | 1119277 |  |  |  | ERSA | M | 4055 | 1615489GZPCLNT100 | EA |  | BAG,WSTE;BULK ASBESTOS MEDIUM-1.5 M3 | BOLSA BASU;,ESP | BAG,WASTE;TYPE:BULK ASBESTOS MEDIUM-1.5 M3,CAPACITY:550 KG,SIZE:2.5X1.5X0.4M,THICKNESS:200 UM,MATERIAL:POLYPROPYLENE,ADDITIONAL FEATURES EN:HAZIBAG | BOLSA BASURA; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-1.5 | [12 empty] | HAZIBAG | HAZIBAG-1.5 | ELLIOTT TIMBER SALES PTY LTD | HAZIBAG-1.5 | [14 empty] | https://hazibag.com/hazibag-products/ | [9 empty] | Cleansed | 47121701 Trash bags | PACKAGE TYPE:BULK,SIZE DESIGNATION:MEDIUM |  | BAG | WASTE | TYPE | ASBESTOS | CAPACITY | 550 KG | SIZE | 2.5X1.5X0.4 M | THICKNESS | 200 UM | MATERIAL | POLYPROPYLENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1143034 | 1143034 | 1417522 | AU_QM_000263380 |  | ERSA | M | 5915 | 1417522GZPCLNT100 | EA |  | BAG,WSTE;GARBAGE, HEAVY DUTY,70-77 L,XL | BAG,WSTE;GARBAGE, HEAVY DUTY,70-77 L,XL | BAG,WASTE;TYPE:GARBAGE, HEAVY DUTY,CAPACITY:70-77 L,SIZE:XL,MATERIAL:LLDPE PLASTIC,COLOUR:CLEAR,ADDITIONAL FEATURES EN:75LSTOCK 0058 |  | BAG,WSTE;GARBAGE, HEAVY DUTY,70-77 L,XLBAG,WSTE;GARBAGE, HEAVY DUTY,70-77L,XL |  |  | 1068502 @@ ATOM SUPPLY | 263863 | [11 empty] | XLXT200/1 | GLAD | XLXT200/1 | ATOM SUPPLY | 263863 | [14 empty] | https://www.atom.com.au/bag-garbage-black-50um-75l-90-x-75cm-glad-pk-200-263863 | [9 empty] | Enriched | 47121701 Trash bags | 75LSTOCK 0058,SIZE DESIGNATION:XL |  | BAG | WASTE | TYPE | GARBAGE,HEAVY DUTY | CAPACITY | 75 L | SIZE | 900X750 MM | THICKNESS | 50 UM | MATERIAL | LLDPE PLASTIC | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1149500 | 1149500 |  |  |  | ERSA | M | 5940 | 1526137GZPCLNT100 | EA |  | BAG;SAMPLE,CUSTOM NO'S,PK=50,STB-MISC | BAG;SAMPLE,CUSTOM NO'S,PK=50,STB-MISC | BAG;ADDITIONAL FEATURES:SAMPLE,CUSTOM NO'S,PK=50,STB-MISC |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | STB-MISC | [14 empty] | WESTERNEX PTY LTD | STB-MISC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | CUSTOM NO'S,PACKAGE QUANTITY:50/PK |  | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1154056 | 1154056 |  |  |  | ERSA | M | 4005 | 1530569GZPCLNT100 | EA |  | BAG,TL;CANVAS,DOUBLE BASE,CDB | BAG,TL;CANVAS,DOUBLE BASE,CDB | BAG,TL;ADDITIONAL FEATURES:CANVAS,DOUBLE BASE,CDB |  |  |  |  | 1068063 @@ BEEHIVE VINYL PRODUCTS PTY LTD | CDB | [12 empty] | BEEHIVE VINYL PRODUCTS PTY LTD | CDB | [16 empty] | https://www.beehivevinyl.com.au/canvas-double-base-toolbag/ | [9 empty] | Enriched | 24111507 Tool bags |  | SIZE:480 LGX260 WDX250 HT MM | BAG | TOOL | TYPE | DOUBLE BASE,HEAVY DUTY | CAPACITY | 16 OZ | SIZE DESIGNATION |  | MATERIAL | CANVAS | NUMBER OF COMPARTMENTS | 12 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZ 1906.4 CLASS R | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 | Processed based on Websource, Conflict w.r.t Input | 1181343 | 1181343 |  |  |  | ERSA | M | 5930 | 1567825GZPCLNT100 | EA |  | BAG,WSTE;NT 27/1,KARCHER,PK 5 | BOLSA BASU; | BAG,WASTE;ADDITIONAL FEATURES EN:NT 27/1,KARCHER,PK 5 | BOLSA BASURA; |  |  |  | 1068502 @@ ATOM SUPPLY | 69042900 | [12 empty] | KARCHER | 6.904-290.0 | ATOM SUPPLY | [15 empty] | https://www.kaercher.com/ae/accessory/paper-filter-bags-5-x-nt-27-1-69042900.html |  |  |  |  | NT 27/1 |  |  |  |  | Enriched | 24111502 Paper bags | PACKAGE QUANTITY:5/PK |  | BAG | FILTER | TYPE |  | FILTER RATING |  | CLOSURE TYPE |  | MATERIAL | PAPER | FLOW RATING |  | SIZE | 330 LGX280 WDX48 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1181529 | 1181529 |  |  |  | ERSA | M | 2620 | 1567619GZPCLNT100 | EA |  | BAG;TL,LRG,PVC,RBM,LRG,KIT | BOLSA; | BAG;TYPE:TOOL,SIZE:LARGE,MATERIAL:PVC,ADDITIONAL FEATURES EN:RBM,LARGE,KIT | BOLSA; |  |  |  | 1071880 @@ RBM INDUSTRIAL BAGS PTY LTD | RBM/HET1015 | [12 empty] | RBM INDUSTRIAL BAGS PTY LTD | HET 1015 | [16 empty] | https://rbmbags.net/rbm-online-store/ols/products/large-tool-kit-bag-het-1015 | [9 empty] | Enriched | 24111507 Tool bags | KIT | SIZE:400 LGX200 WDX200 HT MM | BAG | TOOL | TYPE |  | CAPACITY |  | SIZE DESIGNATION | LARGE | MATERIAL | PVC | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1181530 | 1181530 |  |  |  | ERSA | M | 2620 | 1567618GZPCLNT100 | EA |  | BAG;TL,SML,PVC,RBM,SML,KIT | BOLSA; | BAG;TYPE:TOOL,SIZE:SMALL,MATERIAL:PVC,ADDITIONAL FEATURES EN:RBM,SMALL,KIT | BOLSA; |  |  |  | 1071880 @@ RBM INDUSTRIAL BAGS PTY LTD | RBM/STKB0519 | [14 empty] | RBM INDUSTRIAL BAGS PTY LTD | RBM/STKB0519 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111507 Tool bags | KIT |  | BAG | TOOL | TYPE |  | CAPACITY |  | SIZE DESIGNATION | SMALL | MATERIAL | PVC | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1181531 | 1181531 |  |  |  | ERSA | M | 2620 | 1567617GZPCLNT100 | EA |  | BAG;TL,210X300X150MM,RBM/STKB0519 | BOLSA; | BAG;TYPE:TOOL,SIZE:210X300X150MM,MATERIAL:RBM/STKB0519,ADDITIONAL FEATURES EN:RBM ORIGINAL,SMALL,MULTI-PURP | BOLSA; |  |  |  | 1071880 @@ RBM INDUSTRIAL BAGS PTY LTD | RBM/TBC0418 (S) MPB | [11 empty] | STKB0519 | RBM INDUSTRIAL BAGS PTY LTD | TBC0418 | [16 empty] | https://rbmbags.net/rbm-online-store/ols/products/small-carry-bag-tbc-0418 | [9 empty] | Enriched | 24111507 Tool bags | SIZE:300 LGX150 WDX210 HT MM |  | BAG | TOOL | TYPE | MULTI PURPOSE,ORIGINAL | CAPACITY |  | SIZE DESIGNATION | SMALL | MATERIAL | PVC | NUMBER OF COMPARTMENTS |  | COLOUR | GREEN,GOLD | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1183743 | 1183743 |  |  |  | ERSA | M | 4005 | 1561788GZPCLNT100 | EA |  | BAG;TL,330X175X270MM,PVC VINYL | BOLSA; | BAG;TYPE:TOOL,SIZE:330X175X270MM,MATERIAL:PVC VINYL,ADDITIONAL FEATURES EN:LOCKABLE,COMMISSIONING,TOOL | BOLSA; |  |  |  | 1068063 @@ BEEHIVE VINYL PRODUCTS PTY LTD | FLZCOM | [12 empty] | BEEHIVE VINYL PRODUCTS PTY LTD | FLZCOM | [16 empty] | https://www.beehivevinyl.com.au/fully-lockable-commissioning-toolbag/ | [9 empty] | Enriched | 24111507 Tool bags | SIZE:330 LGX175 WDX270 HT MM |  | BAG | TOOL | TYPE | COMMISSIONING,FULLY LOCKABLE,HEAVY DUTY | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL | PVC VINYL | NUMBER OF COMPARTMENTS | 15 | COLOUR | DARK GREEN,YELLOW COLOR | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS1530,AS2001.2.3,BS 3424.5,AS1441.6 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1184879 | 1184879 |  |  |  | ERSA | M | 4055 | 1558537GZPCLNT100 | TS |  | BAG;SELF SEAL,230X300MM,PLSTC,100UM | BOLSA; | BAG;TYPE:SELF SEAL,SIZE:230X300MM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:100UM | BOLSA; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | SS912-100 | [12 empty] | WESTERNEX PTY LTD | SS912-100 | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/zip-lock-bags/self-seal-bags-100um/?attribute_pa_uom=bags-of-1000&attribute_pa_size=9x12-230mmx300mm | [9 empty] | Enriched | 24111514 Zipper bag |  |  | BAG | SAMPLE | TYPE | SELF,ZIP SEAL | CAPACITY |  | THICKNESS | 100 UM | MATERIAL | PLASTIC | SIZE | 230X300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1189213 | 1189213 |  |  |  | ERSA | M | 4005 | 1576208GZPCLNT100 | EA |  | BAG,TL;BACKPACK,FATMAX 360 X 270 X 460MM | BOLSA HERRA; | BAG,TOOL;ADDITIONAL FEATURES EN:BACKPACK,FATMAX 360 X 270 X 460MM | BOLSA HERRAMIENTAS; |  |  |  | 1068502 @@ ATOM SUPPLY | 91700238 | [12 empty] | STANLEY | 1-95-611 | ATOM SUPPLY | 91700238 | [14 empty] | https://asia.stanleytools.global/product/1-95-611/fatmax-backpack | https://www.atom.com.au/backpack-tool-fatmax-600-x-600mm-stanley-91700238 | [8 empty] | Enriched | 24111507 Tool bags | BRAND:FATMAX,SIZE:360X270X460 MM | CLOSURE TYPE:DUAL ZIPPER,SIZE:360 LGX360 WDX495 HT MM | BAG | TOOL | TYPE | BACKPACK | CAPACITY | 17 L | SIZE DESIGNATION |  | MATERIAL | DENIER FABRIC | NUMBER OF COMPARTMENTS | 50 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 | Processed based on Websource, Conflict w.r.t Input | 1189338 | 1189338 |  |  |  | ERSA | M | 4020 | 1576035GZPCLNT100 | PAC |  | BAG,WSTE;BLUE LINER,PK 1000 | BOLSA BASU; | BAG,WASTE;ADDITIONAL FEATURES EN:BLUE LINER,PK 1000 | BOLSA BASURA; |  |  |  | 1068502 @@ ATOM SUPPLY | 497536 | [12 empty] | ATOM SUPPLY | 497536 | [16 empty] | https://www.atom.com.au/liner-blue-to-suit-slimline-sanitary-bins-pk-1000-497536 | [9 empty] | Cleansed | 47121701 Trash bags | PACKAGE QUANTITY:1000/PK |  | BAG | WASTE | TYPE | LINER | CAPACITY |  | SIZE |  | THICKNESS |  | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1189658 | 1189658 |  |  |  | ERSA | M | 4020 | 1575684GZPCLNT100 | EA |  | BAG,WSTE;75L BLUE,90 X 75 CM,PK 50 | BOLSA BASU; | BAG,WASTE;ADDITIONAL FEATURES EN:75L BLUE,90 X 75 CM,PK 50 | BOLSA BASURA; |  |  |  | 1068502 @@ ATOM SUPPLY | 79918207 | [12 empty] | GLAD | XLGP50/10 | ATOM SUPPLY | 79918207 | [14 empty] | https://www.atom.com.au/glad-reg-bin-liners-blue-75l-50-pk-79918207 | [9 empty] | Enriched | 47121701 Trash bags | PACKAGE QUANTITY:50/PK |  | BAG | WASTE | TYPE | LINER | CAPACITY | 75 L | SIZE | 900X750 MM | THICKNESS |  | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1203288 | 1203288 |  |  |  | ERSA | M | 4090 | 17871MRM | BOX |  | BAG,PAPER:125MM X 79MM;BROWN;BOX = 1000 | BAG,PAPER:125MM X 79MM;BROWN;BOX = 1000 | BAG,PAPER:125MM X 79MM;BROWN;BOX = 1000 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 32820002 | [12 empty] | ATOM SUPPLY | 32820002 | [16 empty] | https://www.atom.com.au/bag-sample-wet-strength-75-x-125mm-wire-tie-pk-1000-32820002 | [9 empty] | Enriched | 24111502 Paper bags | COLOR:BROWN,PACKAGE QUANTITY:1000/BX |  | BAG | SAMPLE | TYPE | WET STRENGTH,WIRE TIE | CAPACITY |  | THICKNESS |  | MATERIAL | PAPER | SIZE | 75X125 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1204947 | 1204947 |  |  |  | ERSA | M | 4090 | 58529MRM | BOX |  | BAG,PAPER:SAMPLE BAG;101MM X 200MM; WIR | BAG,PAPER:SAMPLE BAG;101MM X 200MM; WIR | BAG,PAPER:SAMPLE BAG;101MM X 200MM; WIRED TOP; 1000 BAGS PER BOX; |  |  |  |  | 1068502 @@ ATOM SUPPLY | 413066 | [14 empty] | ATOM SUPPLY | 413066 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111502 Paper bags | PACKAGE QUANTITY:1000 BG/BX |  | BAG | SAMPLE | TYPE | WIRED TOP | CAPACITY |  | THICKNESS |  | MATERIAL | PAPER | SIZE | 101X200 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1206257 | 1206257 |  |  |  | ERSA | M | 4090 | 95745MRM | EA |  | BAG,PLASTIC:STORAGE/SAMPLE;CLEAR;400MM X | BAG,PLASTIC:STORAGE/SAMPLE;CLEAR;400MM X | BAG,PLASTIC:STORAGE/SAMPLE;CLEAR;400MM X 600MM;150UM;OPEN TOP; |  |  |  |  | 1068502 @@ ATOM SUPPLY | 81002569 | [12 empty] | ATOM SUPPLY | 81002569 | [16 empty] | https://www.atom.com.au/bin-liners-plastic-sample-bags-150um-clear-uv-600-x-400mm-81002569 | [9 empty] | Enriched | 24111503 Plastic bags | COLOR:CLEAR |  | BAG | SAMPLE | TYPE | OPEN TOP,STORAGE,BIN LINER | CAPACITY |  | THICKNESS | 150 UM | MATERIAL | PLASTIC | SIZE | 400X600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | DONE | 2023-10-16 | 2023-10-31 |  | 1218365 | 1218365 |  |  |  | ERSA | M | 2920 | 270623MRM | EA |  | BAG,TOOL,SATCHEL:DELUXE SHOULDER;LARGE;6 | BAG,TOOL,SATCHEL:DELUXE SHOULDER;LARGE;6 | BAG,TOOL,SATCHEL:DELUXE SHOULDER;LARGE;600MM X 150MM X 270MM;RUGGED XTREMES |  |  |  |  | 1068502 @@ ATOM SUPPLY | 91970067 | [12 empty] | RUGGED XTREMES | RX05I118_NLA | ATOM SUPPLY | 91970067 | [14 empty] | https://www.atom.com.au/large-deluxe-shoulder-tool-bag-580-x-270mm-91970067 | [9 empty] | Enriched | 24111507 Tool bags | SIZE:600X150X270 MM |  | BAG | TOOL | TYPE | SATCHEL,DELUXE SHOULDER | CAPACITY | 24 L | SIZE DESIGNATION | LARGE | MATERIAL | POLYESTER CANVAS,PVC | NUMBER OF COMPARTMENTS | 11 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed