## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1102240 | 1102240 |  |  |  | ERSA | M | 1600 | 1506073GZPCLNT100 | EA |  | COVER;PT2CF403SWNG | COVER;PT2CF403SWNG | [5 empty] | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | PT2CF403SWNG | [12 empty] | NHP ELECTRICAL ENGINEERING PROD | T2CF403SWNG | [16 empty] | https://www.nhp.com.au/product/t2cf403swng | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories |  |  | COVER | ELECTRICAL | TYPE | TERMINAL | SHAPE |  | NUMBER OF GANGS |  | SIZE | 110 LGX180 WD MM | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1102553 | 1102553 |  |  |  | ERSA | M | 5920 | 1525294GZPCLNT100 | EA |  | COVER;EXHAUST,17501030 | COVER;EXHAUST,17501030 | COVER;ADDITIONAL FEATURES:EXHAUST,17501030 |  |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1525294 | [13 empty] | 17501030 | SWANSTON TASMANIA PTY LTD | 1525294 | [14 empty] | http://www.npk.jp/english/pneumatic_e/partslist/aa/AA-00SP_R_.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | EXHAUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1102719 | 1102719 |  |  |  | ERSA | M | 5100 | 1533121GZPCLNT100 | EA |  | COVER;MAGNETIC,RUBBER,BOOT,4-47X-BOOT | COVER;MAGNETIC,RUBBER,BOOT,4-47X-BOOT | COVER;ADDITIONAL FEATURES:MAGNETIC,RUBBER,BOOT,4-47X-BOOT |  |  |  |  | 1069520 @@ DWYER INSTRUMENTS PTY LTD | 4-47X-BOOT | [14 empty] | DWYER INSTRUMENTS PTY LTD | 4-47X-BOOT | [14 empty] | https://www.walkerindustrial.com/Test-Equipment-A-47X-BOOT-p/a-47x-boot.htm | https://us.rs-online.com/product/dwyer-instruments/a-47x-boot/70836123/ | [8 empty] | Enriched | 40141700 Hardware and fittings |  |  | BOOT | NO MODIFIER | TYPE | PROTECTIVE MAGNETIC | SIZE |  | MATERIAL | RUBBER | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1102988 | 1102988 |  |  |  | ERSA | M | 5620 | 1527074GZPCLNT100 | EA |  | COVER;ASNH 532,ASNH532 | COVER;ASNH 532,ASNH532 | COVER;ADDITIONAL FEATURES:ASNH 532,ASNH532 |  |  |  |  | 1069150 @@ APPLIED INDUSTRIAL TECHNOLOGIES | ASNH532 | [12 empty] | SKF | ASNH 532 | APPLIED INDUSTRIAL TECHNOLOGIES | [15 empty] | https://www.skf.com/au/products/mounted-bearings/bearing-housings/housing_accessories/productid-ASNH%20532 | [9 empty] | Enriched | 31171545 Bearing cover |  |  | COVER | BEARING | TYPE | END | NUMBER OF BOLTS |  | LENGTH |  | WIDTH | 6 MM | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL | POLYPROPYLENE | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1103163 | 1103163 |  |  |  | ERSA | M | 1600 | 1571194GZPCLNT100 | EA |  | COVER;36MM,PVC | CUBIERTA; | COVER;SIZE:36MM,MATERIAL:PVC,ADDITIONAL FEATURES EN:BATTERY TERMINAL,END ENTRY | CUBIERTA; |  |  |  | 1068087 @@ ASHDOWN INGRAM | ACX0670 | [13 empty] | ACX0670 | ASHDOWN INGRAM | [15 empty] | https://www.sparesbox.com.au/part/oex-battery-terminal-insulator-12-7mm2-red-black-acx0670 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | SIZE:36 MM |  | INSULATOR | NO MODIFIER | TYPE | BATTERY TERMINAL,END ENTRY | VOLTAGE RATING |  | CURRENT RATING |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1103329 | 1103329 |  |  |  | ERSA | M | 1600 | 1570933GZPCLNT100 | EA | 3000422 | COVER;CNW,SCHLA9F702 | CUBIERTA;CNW,SCHLA9F702 | COVER;MNFR:CNW,PTNO:SCHLA9F702 | CUBIERTA;MNFR:CNW,PTNO:SCHLA9F702 |  | CNW | SCHLA9F702 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SCHLA9F702 | [10 empty] | CNW |  | SCHNEIDER | LA9F702 | [16 empty] | https://www.se.com/us/en/product/LA9F702/tesys-f-terminal-shroud-for-contactor-or-relay-3p/ | [9 empty] | Enriched | 31162800 Miscellaneous hardware |  |  | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1104061 | 1104061 |  |  |  | ERSA | M | 3750 | 1523912GZPCLNT100 | EA |  | COVER;89 307 05 005 | COVER;89 307 05 005 | COVER;ADDITIONAL FEATURES:89 307 05 005 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 89 307 05 005 | [13 empty] | 89 307 05 005 | DOWNUNDER MINING | [15 empty] | https://eurotechplus.pl/wp-content/uploads/2022/08/DI-LIGHT-rock-drill-1.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | CENTRAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1104164 | 1104164 |  |  |  | ERSA | M | 2900 | 1504573GZPCLNT100 | EA |  | COVER;SNH511-609 | COVER;SNH511-609 | COVER;ADDITIONAL FEATURES:SNH511-609 |  |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | ASNH511-609 | [12 empty] | SKF | ASNH 511-609 | APPLIED INDUSTRIAL TECHNOLOGIES | [15 empty] | https://www.skf.com/my/products/mounted-bearings/bearing-housings/housing_accessories/productid-ASNH%20511-609 | [9 empty] | Enriched | 31171545 Bearing cover |  |  | COVER | BEARING | TYPE | END | NUMBER OF BOLTS |  | LENGTH |  | WIDTH | 5 MM | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL | POLYPROPYLENE | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1104195 | 1104195 |  |  |  | ERSA | M | 3750 | 1523851GZPCLNT100 | EA |  | COVER;307 05 007 | COVER;307 05 007 | COVER;ADDITIONAL FEATURES:307 05 007 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 307 05 007 | [13 empty] | 307 05 007 | DOWNUNDER MINING | [15 empty] | https://eurotechplus.pl/wp-content/uploads/2022/08/DI-LIGHT-rock-drill-1.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | CENTRAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1104773 | 1104773 |  |  |  | ERSA | M | 2900 | 1495349GZPCLNT100 | EA |  | COVER;FLAT NEMA 2+3 1,EZYCFN21503H | COVER;FLAT NEMA 2+3 1,EZYCFN21503H | [5 empty] | 1071835 @@ REXEL AUSTRALIA | EZYCFN21503H | [12 empty] | EZYSTRUT | CFN21503H | REXEL AUSTRALIA | [15 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/covers/straight/flat/cfh/ | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Tray/Cable-Tray-Ladder-Cover/COVER-FLAT-N2-3-150-3MTR-HDG/p/EZYCFN21503HD09 | [8 empty] | Enriched | 39131705 Cable tray fitting and accessories | ENCLOSURE:NEMA 2+3 1 |  | COVER | CABLE TRAY | TYPE | FLAT | WIDTH | 208 MM | LENGTH | 3 M | DEPTH |  | MATERIAL | STEEL | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS4680,ISO1461 | [56 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1105469 | 1105469 |  |  |  | ERSA | M | 5920 | 1514199GZPCLNT100 | EA |  | COVER;VALVE EXHAUST 3/4 BS,130-005 | COVER;VALVE EXHAUST 3/4 BS,130-005 | COVER;ADDITIONAL FEATURES:VALVE EXHAUST 3/4 BS,130-005 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 130-005 | [13 empty] | 130-005 | CAVA HYDRAULICS & ENGINEERING PTY L | [15 empty] | https://www.spxflow.com/assets/original/GL_Globe_Catalog_2011.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | CONNECTION:BSP |  | COVER | NO MODIFIER | TYPE | VALVE EXHAUST | SIZE | 3/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1107267 | 1107267 | 1443822 | AU_QM_001002183 |  | ERSA | M | 3000 | 1443822GZPCLNT100 | EA |  | AOD 1\"PUMP AIR _ FLUID SIDE PLATE; | AOD 1\"PUMP AIR _ FLUID SIDE PLATE; | COVER,PUMP: AOD 1\"PUMP AIR AND FLUID SIDE PLATE; GRACO 1\" AIR OPERATED DIAPHRAGM PUMP |  | COVER,PUMP: AOD 1"PUMP AIR & FLUID SIDE PLATE; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 188-607 | [12 empty] | GRACO | 188-607 | COOPER FLUID SYSTEMS | [15 empty] | https://otcindustrial.com/plate-diaphragm-188-607.html |  |  | 1 IN AIR OPERATED DIAPHRAGM PUMP | [6 empty] | Cleansed | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | AIR,FLUID SIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1107269 | 1107269 | 1443815 | AU_QM_001002168 |  | ERSA | M | 3000 | 1443815GZPCLNT100 | EA |  | AOD PUMP PLATE;FLUID SIDE; | AOD PUMP PLATE;FLUID SIDE; | COVER,PUMP: AOD PUMP PLATE;FLUID SIDE; POLYPROPYLENE MATERIAL; GRACO AIR OPERATED DIAPHRAGM |  | COVER,PUMP: AOD PUMP PLATE;FLUID SIDE; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 189-742 | [12 empty] | GRACO | 189-742 | COOPER FLUID SYSTEMS | [15 empty] | https://www.plcsource.com/shop/lot-of-2-graco-189742-plate-diaphragm-189-742-b305/ |  |  | AIR OPERATED DIAPHRAGM PUMP | [6 empty] | Cleansed | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | FLUID SIDE | SIZE |  | MATERIAL | POLYPROPYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1107274 | 1107274 | 1443802 | AU_QM_001002143 |  | ERSA | M | 3000 | 1443802GZPCLNT100 | EA |  | AOD 2" PUMP FLUID COVER; | AOD 2" PUMP FLUID COVER; | COVER,PUMP: AOD 2" PUMP FLUID COVER; POLYPROPYLENE; GRACO 2" AIR OPERATED DIAPHRAGM |  | COVER,PUMP: AOD 2" PUMP FLUID COVER; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 189-793 | [14 empty] | COOPER FLUID SYSTEMS | 189-793 | [14 empty] | URL NOT FOUND |  |  | 2 IN AIR OPERATED DIAPHRAGM PUMP | GRACO | [5 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL | POLYPROPYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1107275 | 1107275 | 1443801 | AU_QM_001002142 |  | ERSA | M | 3000 | 1443801GZPCLNT100 | EA |  | AOD 1-1/2" PUMP FLUID COVER; | AOD 1-1/2" PUMP FLUID COVER; | COVER,PUMP: AOD 1-1/2" PUMP FLUID COVER; POLYPROPYLENE; GRACO 1-1/2"AIR OPERATED DIAPHRAGM |  | COVER,PUMP: AOD 1-1/2" PUMP FLUID COVER; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 189-739 | [12 empty] | GRACO | 189-739 | COOPER FLUID SYSTEMS | [15 empty] | https://www.plcsource.com/shop/graco-189-739-diaphragm-189739-valve-cover-b305/ |  |  | 1-1/2 IN AIR OPERATED DIAPHRAGM | [6 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL | POLYPROPYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1107276 | 1107276 |  |  |  | ERSA | M | 3000 | 1443800GZPCLNT100 | EA |  | AOD PUMP FLUID COVER; | AOD PUMP FLUID COVER; | COVER,PUMP: AOD PUMP FLUID COVER; ALUMINUM ALLOY; GRACO AIR OPERATED DIAPHRAGM |  |  |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 15A615 | [12 empty] | GRACO | 15A615 | COOPER FLUID SYSTEMS | [15 empty] | https://www.springerparts.com/pump-parts-kits/diaphragm-pump-parts/15A615 |  |  | AIR OPERATED DIAPHRAGM PUMP | GRACO | [5 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL | ALUMINUM ALLOY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1107277 | 1107277 | 1443799 | AU_QM_001002140 |  | ERSA | M | 3000 | 1443799GZPCLNT100 | EA |  | AOD PUMP FLUID COVER; | AOD PUMP FLUID COVER; | COVER,PUMP: AOD PUMP FLUID COVER; ALUMINUM ALLOY; GRACO AIR OPERATED DIAPHRAGM |  | COVER,PUMP: AOD PUMP FLUID COVER; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 15A612 | [12 empty] | GRACO | 15A612 | COOPER FLUID SYSTEMS | [15 empty] | https://www.springerparts.com/pump-parts-kits/diaphragm-pump-parts/15A612 |  |  | AIR OPERATED DIAPHRAGM PUMP | GRACO | [5 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL | ALUMINUM ALLOY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1109303 | 1109303 | 1445034 | AU_QM_001008300 |  | ERSA | M | 3000 | 1445034GZPCLNT100 | EA |  | BACK COVER;PUMP MODEL 80 X 50-250; | BACK COVER;PUMP MODEL 80 X 50-250; | COVER: BACK COVER;PUMP MODEL 80 X 50-250; HT9145 |  | COVER: BACK COVER;PUMP MODEL 80 X 50-250; |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 1445034 | [14 empty] | FLOWSERVE PUMP DIVISION | 1445034 |  | HT9145 | [12 empty] | URL NOT FOUND |  |  | PUMP |  | 80 X 50-250 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | BACK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1109327 | 1109327 |  |  |  | ERSA | M | 3000 | 1443816GZPCLNT100 | EA |  | AOD PUMP PLATE;FLUID SIDE; | AOD PUMP PLATE;FLUID SIDE; | COVER,PUMP: AOD PUMP PLATE;FLUID SIDE; POLYPROPYLENE MATERIAL; GRACO AIR OPERATED DIAPHRAGM |  |  |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 189-796 | [12 empty] | GRACO | 189-796 | COOPER FLUID SYSTEMS | [15 empty] | https://otcindustrial.com/plate-diaphragm-2150.html |  |  | AIR OPERATED DIAPHRAGM PUMP | GRACO | [5 empty] | Cleansed | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | FLUID SIDE | SIZE |  | MATERIAL | POLYPROPYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1109553 | 1109553 | 1431179 | AU_QM_000696831 |  | ERSA | M | 5800 | 1431179GZPCLNT100 | EA |  | D15B TOP COVER PLATE; | D15B TOP COVER PLATE; | COVER,ACCESS: D15B TOP COVER PLATE; KREBS D15B 381MM CYCLONE |  | COVER,ACCESS: D15B TOP COVER PLATE; |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 31-0K3-354-501 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 31-0K3-354-501 | [14 empty] | URL NOT FOUND |  |  | 381 MM CYCLONE | KREBS | D15B |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE | TOP,ACCESS | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1112831 | 1112831 |  |  |  | ERSA | M | 4090 | 1573749GZPCLNT100 | EA |  | COVER;1.7 M2,CLEAR PLASTIC,PALLET 46629 | CUBIERTA; | COVER;SIZE:1.7 M2,MATERIAL:CLEAR PLASTIC,ADDITIONAL FEATURES EN:PALLET 46629 | CUBIERTA; |  |  |  | 1068641 @@ SIGNET IDENTIFICATION SYSTEMS | 46629 | [12 empty] | SIGNET IDENTIFICATION SYSTEMS | 46629 | [16 empty] | https://www.signet.net.au/enviro-pallet-caps-1700mm-x-1700mm-x-20um-46629.html | [9 empty] | Enriched | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | PALLET | SIZE | 1.7X1.7 MX20 UM | CONNECTION TYPE |  | MATERIAL | PLASTIC | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1122976 | 1122976 |  |  |  | ERSA | M | 3000 | 1616474GZPCLNT100 | EA | 3000018 | COVER;CUM,MCL-C 4622/17,BCK,FOR PRIMINGM | CUBIERTA;CUM,MCL-C 4622/17 | COVER;MNFR:CUMMINS,PTNO:MCL-C 4622/17,ADDITIONAL FEATURES EN:BACK,FOR PRIMING PUMP,M:HH150C22 | CUBIERTA;MNFR:CUMMINS,PTNO:MCL-C 4622/17 |  | CUMMINS | MCL-C 4622/17 | 1068142 @@ FITT RESOURCES PTY LTD | MCL-C 4622/17 | [10 empty] | CUMMINS | MCL-C 4622/17 |  |  | FITT RESOURCES PTY LTD | MCL-C 4622/17 | [14 empty] | URL NOT FOUND |  |  | PRIMING PUMP |  | HH150C22 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | BACK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1123103 | 1123103 |  |  |  | ERSA | M | 5000 | 1601823GZPCLNT100 | EA | 3000010 | COVER;SAN,BG00848062 | CUBIERTA;SAN,BG00848062 | COVER;MNFR:SANDVIK,PTNO:BG00848062 | CUBIERTA;MNFR:SANDVIK,PTNO:BG00848062 |  | SANDVIK | BG00848062 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00848062 | [12 empty] | SANDVIK | BG00848062 | [16 empty] | https://www.scribd.com/document/542132418/7-Cabin | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123248 | 1123248 |  |  |  | ERSA | M | 5000 | 1599496GZPCLNT100 | EA | 3000010 | COVER;SAN,BG00249293 | CUBIERTA;SAN,BG00249293 | COVER;MNFR:SANDVIK,PTNO:BG00249293 | CUBIERTA;MNFR:SANDVIK,PTNO:BG00249293 |  | SANDVIK | BG00249293 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00249293 | [12 empty] | SANDVIK | BG00249293 | [16 empty] | https://www.aga-parts.com/sandvik-parts?page=8271 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1123350 | 1123350 |  |  |  | ERSA | M | 5000 | 1597965GZPCLNT100 | EA | 3000010 | COVER;SAN,88096539 | CUBIERTA;SAN,88096539 | COVER;MNFR:SANDVIK,PTNO:88096539 | CUBIERTA;MNFR:SANDVIK,PTNO:88096539 |  | SANDVIK | 88096539 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 88096539 | [12 empty] | SANDVIK | 88096539 | [16 empty] | https://www.aga-parts.com/sandvik/part/88096539_hinged-flap/ | [9 empty] | Enriched | 31162800 Miscellaneous hardware |  |  | FLAP | NO MODIFIER | TYPE | HINGED | SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [65 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123358 | 1123358 |  |  |  | ERSA | M | 5000 | 1597778GZPCLNT100 | EA | 3000010 | COVER;SAN,86819029 | CUBIERTA;SAN,86819029 | COVER;MNFR:SANDVIK,PTNO:86819029 | CUBIERTA;MNFR:SANDVIK,PTNO:86819029 |  | SANDVIK | 86819029 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 86819029 | [12 empty] | SANDVIK | 86819029 | [16 empty] | https://www.aga-parts.com/sandvik/part/86819029_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123514 | 1123514 |  |  |  | ERSA | M | 5000 | 1594713GZPCLNT100 | EA | 3000010 | COVER;SAN,56017144 | CUBIERTA;SAN,56017144 | COVER;MNFR:SANDVIK,PTNO:56017144 | CUBIERTA;MNFR:SANDVIK,PTNO:56017144 |  | SANDVIK | 56017144 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56017144 | [12 empty] | SANDVIK | 56017144 | [16 empty] | https://www.aga-parts.com/sandvik/part/56017144_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123730 | 1123730 |  |  |  | ERSA | M | 5000 | 1592851GZPCLNT100 | EA | 3000010 | COVER;SAN,55156369 | CUBIERTA;SAN,55156369 | COVER;MNFR:SANDVIK,PTNO:55156369 | CUBIERTA;MNFR:SANDVIK,PTNO:55156369 |  | SANDVIK | 55156369 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55156369 | [12 empty] | SANDVIK | 55156369 | [16 empty] | https://www.aga-parts.com/sandvik/part/55156369_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123898 | 1123898 |  |  |  | ERSA | M | 5000 | 1590552GZPCLNT100 | EA | 3000010 | COVER;SAN,26418978 | CUBIERTA;SAN,26418978 | COVER;MNFR:SANDVIK,PTNO:26418978 | CUBIERTA;MNFR:SANDVIK,PTNO:26418978 |  | SANDVIK | 26418978 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 26418978 | [12 empty] | SANDVIK | 26418978 | [16 empty] | https://www.aga-parts.com/sandvik/part/26418978_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123910 | 1123910 |  |  |  | ERSA | M | 5000 | 1590412GZPCLNT100 | EA | 3000010 | COVER;SAN,17131008 | CUBIERTA;SAN,17131008 | COVER;MNFR:SANDVIK,PTNO:17131008 | CUBIERTA;MNFR:SANDVIK,PTNO:17131008 |  | SANDVIK | 17131008 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 17131008 | [12 empty] | SANDVIK | 17131008 | [16 empty] | https://www.aga-parts.com/sandvik/part/17131008_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123913 | 1123913 |  |  |  | ERSA | M | 5000 | 1590398GZPCLNT100 | EA | 3000010 | COVER;SAN,16608268 | CUBIERTA;SAN,16608268 | COVER;MNFR:SANDVIK,PTNO:16608268 | CUBIERTA;MNFR:SANDVIK,PTNO:16608268 |  | SANDVIK | 16608268 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 16608268 | [12 empty] | SANDVIK | 16608268 | [16 empty] | https://www.aga-parts.com/sandvik/part/16608268_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123916 | 1123916 |  |  |  | ERSA | M | 5000 | 1590382GZPCLNT100 | EA | 3000010 | COVER;SAN,16141268 | CUBIERTA;SAN,16141268 | COVER;MNFR:SANDVIK,PTNO:16141268 | CUBIERTA;MNFR:SANDVIK,PTNO:16141268 |  | SANDVIK | 16141268 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 16141268 | [12 empty] | SANDVIK | 16141268 | [16 empty] | https://www.aga-parts.com/sandvik/part/16141268_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1123936 | 1123936 |  |  |  | ERSA | M | 5000 | 1590044GZPCLNT100 | EA | 3000010 | COVER;SAN,08539981 | CUBIERTA;SAN,08539981 | COVER;MNFR:SANDVIK,PTNO:08539981 | CUBIERTA;MNFR:SANDVIK,PTNO:08539981 |  | SANDVIK | 08539981 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 8539981 | [12 empty] | SANDVIK | 08539981 | [16 empty] | https://www.aga-parts.com/sandvik/part/08539981_end-cover/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | END | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1124474 | 1124474 |  |  |  | ERSA | M | 5000 | 1597840GZPCLNT100 | EA | 3000010 | COVER;SAN,87178999 | CUBIERTA;SAN,87178999 | COVER;MNFR:SANDVIK,PTNO:87178999 | CUBIERTA;MNFR:SANDVIK,PTNO:87178999 |  | SANDVIK | 87178999 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 87178999 | [12 empty] | SANDVIK | 87178999 | [16 empty] | https://www.aga-parts.com/sandvik/part/87178999_cover-plate/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124661 | 1124661 |  |  |  | ERSA | M | 5000 | 1594735GZPCLNT100 | EA | 3000010 | COVER;SAN,56017278 | CUBIERTA;SAN,56017278 | COVER;MNFR:SANDVIK,PTNO:56017278 | CUBIERTA;MNFR:SANDVIK,PTNO:56017278 |  | SANDVIK | 56017278 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56017278 | [12 empty] | SANDVIK | 56017278 | [16 empty] | https://www.aga-parts.com/sandvik/part/56017278_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124682 | 1124682 |  |  |  | ERSA | M | 5000 | 1594210GZPCLNT100 | EA | 3000010 | COVER;SAN,55224975 | CUBIERTA;SAN,55224975 | COVER;MNFR:SANDVIK,PTNO:55224975 | CUBIERTA;MNFR:SANDVIK,PTNO:55224975 |  | SANDVIK | 55224975 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55224975 | [12 empty] | SANDVIK | 55224975 | [16 empty] | https://www.aga-parts.com/sandvik/part/55224975_cover-rubber/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124700 | 1124700 |  |  |  | ERSA | M | 5000 | 1594073GZPCLNT100 | EA | 3000010 | COVER;SAN,55216627 | CUBIERTA;SAN,55216627 | COVER;MNFR:SANDVIK,PTNO:55216627 | CUBIERTA;MNFR:SANDVIK,PTNO:55216627 |  | SANDVIK | 55216627 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55216627 | [12 empty] | SANDVIK | 55216627 | [16 empty] | https://www.aga-parts.com/sandvik/part/55216627_cover-plug/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | PLUG | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1124752 | 1124752 |  |  |  | ERSA | M | 5000 | 1593225GZPCLNT100 | EA | 3000010 | COVER;SAN,55171640 | CUBIERTA;SAN,55171640 | COVER;MNFR:SANDVIK,PTNO:55171640 | CUBIERTA;MNFR:SANDVIK,PTNO:55171640 |  | SANDVIK | 55171640 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55171640 | [12 empty] | SANDVIK | 55171640 | [16 empty] | https://www.aga-parts.com/sandvik/part/55171640_cover-plate/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1124775 | 1124775 |  |  |  | ERSA | M | 5000 | 1592783GZPCLNT100 | EA | 3000010 | COVER;SAN,55153114 | CUBIERTA;SAN,55153114 | COVER;MNFR:SANDVIK,PTNO:55153114 | CUBIERTA;MNFR:SANDVIK,PTNO:55153114 |  | SANDVIK | 55153114 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55153114 | [12 empty] | SANDVIK | 55153114 | [16 empty] | https://www.aga-parts.com/sandvik/part/55153114_cover-plate/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1124781 | 1124781 |  |  |  | ERSA | M | 5000 | 1592704GZPCLNT100 | EA | 3000010 | COVER;SAN,55097733 | CUBIERTA;SAN,55097733 | COVER;MNFR:SANDVIK,PTNO:55097733 | CUBIERTA;MNFR:SANDVIK,PTNO:55097733 |  | SANDVIK | 55097733 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55097733 | [12 empty] | SANDVIK | 55097733 | [16 empty] | https://www.aga-parts.com/sandvik/part/55097733_cover-plate/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1124782 | 1124782 |  |  |  | ERSA | M | 5000 | 1592703GZPCLNT100 | EA | 3000010 | COVER;SAN,55097732 | CUBIERTA;SAN,55097732 | COVER;MNFR:SANDVIK,PTNO:55097732 | CUBIERTA;MNFR:SANDVIK,PTNO:55097732 |  | SANDVIK | 55097732 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55097732 | [12 empty] | SANDVIK | 55097732 | [16 empty] | https://www.aga-parts.com/sandvik/part/55097732_cover-plate/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PLATE | COVER | TYPE |  | SIZE |  | SHAPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124792 | 1124792 |  |  |  | ERSA | M | 5000 | 1592651GZPCLNT100 | EA | 3000010 | COVER;SAN,55093808 | CUBIERTA;SAN,55093808 | COVER;MNFR:SANDVIK,PTNO:55093808 | CUBIERTA;MNFR:SANDVIK,PTNO:55093808 |  | SANDVIK | 55093808 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55093808 | [12 empty] | SANDVIK | 55093808 | [16 empty] | https://www.aga-parts.com/sandvik/part/55093808_front-cover/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | FRONT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124877 | 1124877 |  |  |  | ERSA | M | 5000 | 1591069GZPCLNT100 | EA | 3000010 | COVER;SAN,33069628 | CUBIERTA;SAN,33069628 | COVER;MNFR:SANDVIK,PTNO:33069628 | CUBIERTA;MNFR:SANDVIK,PTNO:33069628 |  | SANDVIK | 33069628 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 33069628 | [12 empty] | SANDVIK | 33069628 | [16 empty] | https://www.aga-parts.com/sandvik/part/33069628_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124937 | 1124937 |  |  |  | ERSA | M | 5000 | 1590465GZPCLNT100 | EA | 3000010 | COVER;SAN,20788368 | CUBIERTA;SAN,20788368 | COVER;MNFR:SANDVIK,PTNO:20788368 | CUBIERTA;MNFR:SANDVIK,PTNO:20788368 |  | SANDVIK | 20788368 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 20788368 | [12 empty] | SANDVIK | 20788368 | [16 empty] | https://www.aga-parts.com/sandvik/part/20788368_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1124939 | 1124939 |  |  |  | ERSA | M | 5000 | 1590428GZPCLNT100 | EA | 3000010 | COVER;SAN,20533808 | CUBIERTA;SAN,20533808 | COVER;MNFR:SANDVIK,PTNO:20533808 | CUBIERTA;MNFR:SANDVIK,PTNO:20533808 |  | SANDVIK | 20533808 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 20533808 | [12 empty] | SANDVIK | 20533808 | [16 empty] | https://www.aga-parts.com/sandvik/part/20533808_cover/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1136648 | 1136648 |  |  |  | ERSA | M | 5955 | 1437470GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | COVER: CAT EQUIPMENT SERVICE; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P0048 | [12 empty] | CATERPILLAR | 5P-0048 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/5P-0048 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | EQUIPMENT SERVICE |  | COVER | NO MODIFIER | TYPE | FLANGE | SIZE | 53.98 MM OD | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1138068 | 1138068 | 1348805 | AU_QM_000038224 |  | ERSA | M | 1600 | 1348805GZPCLNT100 | EA |  | BATTERY,WIRING AND LIGHTS. | BATTERY,WIRING AND LIGHTS. | COVER,ELEC CONNECTOR: BATTERY,WIRING AND LIGHTS. |  | COVER,ELEC CONNECTOR: BATTERY,WIRING AND LIGHTS. |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1348805 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8S2634 | [10 empty] | CATERPILLAR | 8S-2634 | CNW (MOUNT ISA) ELECT WHOLESALER | 1348805 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/8S-2634 | [9 empty] | Enriched | 39121700 Electrical hardware and supplies |  |  | COVER | ELECTRICAL | TYPE | CONNECTOR,BATTERY,WIRING AND LIGHTS | SHAPE |  | NUMBER OF GANGS |  | SIZE | 76.2 LGX76.2 WDX50.8 HT MM | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1140357 | 1140357 | 1443388 | AU_QM_001000406 |  | ERSA | M | 4090 | 1443388GZPCLNT100 | EA |  | AD40 OSCILLATION GROUP COVER; | AD40 OSCILLATION GROUP COVER; | COVER,ACCESS: AD40 OSCILLATION GROUP COVER; ELPHINSTONE AD40 DUMP TRUCK |  | COVER,ACCESS: AD40 OSCILLATION GROUP COVER; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1443388 | [12 empty] | CATERPILLAR | 1443388 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://spare.avspart.com/caterpillar/plate/1443388/ |  |  | DUMP TRUCK | CATERPILLAR ELPHINSTONE | AD40 |  |  |  |  | Cleansed | 30102200 Plate | OSCILLATION GROUP |  | PLATE | NO MODIFIER | TYPE | ACCESS | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1141522 | 1141522 | 1402881 | AU_QM_000247547 |  | ERSA | M | 5915 | 1402881GZPCLNT100 | EA |  | COVER,STRNR;BASKT,DIA 6 IN,SS | COVER,STRNR;BASKT,DIA 6 IN,SS | COVER,STRAINER;TYPE:BASKET,SIZE:DIA 6 IN,MATERIAL:STAINLESS STEEL,MNFR:01)PARTS,PTNO:01)ST269A2 |  | COVER,STRNR;BASKT,DIA 6 IN,SSCOVER,STRNR;BASKET,DIA 6IN,ST269A2 |  |  | 1071266 @@ PURPLE ENGINEERING PTY LTD | 1402881 | [13 empty] | ST269A2 | PURPLE ENGINEERING PTY LTD | 1402881 | [14 empty] | https://voigtabstore.com/replacement-parts/eaton-replacement-parts/st269a2-cover-316ss-fits-4-5-6-model-72-50-strainers/ | [9 empty] | Enriched | 40142500 Traps and strainers | PARTS |  | COVER | STRAINER | TYPE | BASKET | SIZE | 6 IN DIA | MATERIAL | STAINLESS STEEL 316 | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1144446 | 1144446 | 1436338 | AU_QM_000846527 |  | ERSA | M | 1600 | 1436338GZPCLNT100 | EA |  | COVER,ELEC;MOUNTING ENCLOSURE LID,2,PVC | COVER,ELEC;MOUNTING ENCLOSURE LID,2,PVC | COVER,ELECTRICAL;TYPE:MOUNTING ENCLOSURE LID,NUMBER OF GANGS:2,SIZE:WD 192 X HT 95 X DP 28 MM,MATERIAL:PVC,DEGREE OF PROTECTION: IP66,ADDITIONAL FEATURES EN:EQUIP,GREY COLOUR,2 PER PACK,MNFR:01)CNW,PTNO:01)CLI56L2GY |  | COVER,ELEC EQUIP: MOUNTING ENCLOSURE LID;2-GANG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 56L2GY | [12 empty] | CLIPSAL | 56L2GY | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.clipsal.com/products/detail?CatNo=56L2&itemno=56L2-GY&tab-document-1=0 | [9 empty] | Enriched | 40141700 Hardware and fittings | NUMBER OF GANGS:2,DEGREE OF PROTECTION:IP66,EQUIPMENT,PACKAGE QUANTITY:2 PER PACK |  | LID | NO MODIFIER | TYPE | ELECTRICAL,MOUNTING ENCLOSURE | SIZE | 192 WDX95 HTX28 DP MM | MATERIAL | PVC | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 3100 | [60 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1145570 | 1145570 |  |  |  | ERSA | M | 1600 | 1536371GZPCLNT100 | EA |  | COVER;ELECTRICITY SUPPLY P,YURIKA,168004 | COVER;ELECTRICITY SUPPLY P,YURIKA,168004 | COVER;ADDITIONAL FEATURES:ELECTRICITY SUPPLY P,YURIKA,168004 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 168004 | [14 empty] | YURIKA PTY LTD | 168004 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121300 Electrical boxes and enclosures and fittings and accessories |  |  | COVER | ELECTRICAL | TYPE | ELECTRICITY SUPPLY | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1145571 | 1145571 |  |  |  | ERSA | M | 1600 | 1536370GZPCLNT100 | EA |  | COVER;ELECTRICITY SUPPLY P,YURIKA,168002 | COVER;ELECTRICITY SUPPLY P,YURIKA,168002 | COVER;ADDITIONAL FEATURES:ELECTRICITY SUPPLY P,YURIKA,168002 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 168002 | [14 empty] | YURIKA PTY LTD | 168002 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121300 Electrical boxes and enclosures and fittings and accessories |  |  | COVER | ELECTRICAL | TYPE | ELECTRICITY SUPPLY | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1145796 | 1145796 |  |  |  | ERSA | M | 1600 | 1539497GZPCLNT100 | EA |  | COVER;CLEANING,SPLITS,ACDC-OPEN | COVER;CLEANING,SPLITS,ACDC-OPEN | COVER;ADDITIONAL FEATURES:CLEANING,SPLITS,ACDC-OPEN |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | HYDHYDROBAG | 1068740 @@ METAL MANUFACTURES PTY LTD | ACDC-OPEN | [12 empty] | METAL MANUFACTURES PTY LTD | HYDHYDROBAG | METAL MANUFACTURES PTY LTD | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | CLEANING,SPLITS,ACDC-OPEN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1146300 | 1146300 |  |  |  | ERSA | M | 1600 | 1535498GZPCLNT100 | EA |  | COVER,CONDT;HARD,200MM,CABLE,5M,VIN98625 | COVER,CONDT;HARD,200MM,CABLE,5M,VIN98625 | COVER,CONDT;ADDITIONAL FEATURES:HARD,200MM,CABLE,5M,VIN98625 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 98625 | [13 empty] | VIN98625 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rexel.com.au/are/category/Cable-Management/Rigid-Conduit/Plastic-installation-tube/COVER-200-CABLE-AS4702-25M/VIN98625/p/10361412 | https://www.jrt.com.au/ajt/category/Cable-Management/Rigid-Conduit/Plastic-installation-tube/COVER-200-CABLE-AS4702-25M/VIN98625/p/10361412 | [8 empty] | Enriched | 39121700 Electrical hardware and supplies | SIZE:5 LG MX200 WD MM |  | COVER | CONDUIT | TYPE | HARD,CABLE | SHAPE |  | MATERIAL |  | HUB SIZE |  | NUMBER OF HUBS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1146405 | 1146405 |  |  |  | ERSA | M | 1600 | 1532014GZPCLNT100 | EA |  | COVER;RUBBER,30R6811 | COVER;RUBBER,30R6811 | COVER;ADDITIONAL FEATURES:RUBBER,30R6811 |  |  |  |  | 1068229 @@ RUSSELL MINERAL EQUIPMENT P/L | 30R6811 | [14 empty] | RUSSELL MINERAL EQUIPMENT P/L | 30R6811 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1146980 | 1146980 |  |  |  | ERSA | M | 1600 | 1531347GZPCLNT100 | EA |  | COVER; PROTECTIVE,TERMINAL,WEI0353660000 | COVER; PROTECTIVE,TERMINAL,WEI0353660000 | COVER;ADDITIONAL FEATURES: PROTECTIVE,TERMINAL,WEI0353660000 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 353660000 | [13 empty] | WEI0353660000 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.idealelectrical.com/aie/category/Wiring-Accessories/Terminal-Block/Endplate-and-partition-plate-for-terminal-block/TSCH-2-%28DE%29/WEI0353660000/p/11610049 | [9 empty] | Enriched | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | END,PARTITION,PROTECTIVE,TERMINAL | SIZE | 0.6 MM THK | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1147353 | 1147353 |  |  |  | ERSA | M | 4090 | 1527626GZPCLNT100 | EA |  | COVER;SHRINK WRAP/LENGTH,TTQSW | COVER;SHRINK WRAP/LENGTH,TTQSW | COVER;ADDITIONAL FEATURES:SHRINK WRAP/LENGTH,TTQSW |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | TTQSW | [14 empty] | TORC TIGHT QLD PTY LTD | TTQSW | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | LENGTH |  | COVER | NO MODIFIER | TYPE | SHRINK WRAP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1147390 | 1147390 |  |  |  | ERSA | M | 4090 | 1526042GZPCLNT100 | EA |  | COVER;CYLINDER,3136 1269 34 | COVER;CYLINDER,3136 1269 34 | COVER;ADDITIONAL FEATURES:CYLINDER,3136 1269 34 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136 1269 34 | [13 empty] | 3136 1269 34 | CUTRITE CUTTING & CORE DRILLING | [15 empty] | https://udrbrokk.ru/easyfiles/45-B.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | PROTECTOR | NO MODIFIER | TYPE | CYLINDER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1149130 | 1149130 |  |  |  | ERSA | M | 2920 | 1532007GZPCLNT100 | EA |  | COVER;AIR HOSE,FLAME RES,834018 | COVER;AIR HOSE,FLAME RES,834018 | COVER;ADDITIONAL FEATURES:AIR HOSE,FLAME RES,834018 |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | 834018 | [12 empty] | 3M | 834018 | WELDERS PRO SHOP | [15 empty] | https://www.3m.com.sg/3M/en_SG/p/d/v000074069/ | https://www.unitedwelding.co.uk/3m-breathinghose-cover-834018-8178-p.asp | [8 empty] | Cleansed | 40141700 Hardware and fittings |  |  | COVER | HOSE | TYPE | AIR,FLAME RESPIRATOR | HOSE ID RANGE |  | LENGTH |  | MATERIAL |  | COLOR |  | LOCK TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1149834 | 1149834 |  |  |  | ERSA | M | 2900 | 1495073GZPCLNT100 | EA |  | COVER;1250MM,POLY FAN COVER,PFC125020MM | COVER;1250MM,POLY FAN COVER,PFC125020MM | COVER;ADDITIONAL FEATURES:1250MM,POLY FAN COVER,PFC125020MM |  |  |  |  | 1068357 @@ TOPFIRE CONSTRUCTIONS PTY LTD | 1495073 | [14 empty] | TOPFIRE CONSTRUCTIONS PTY LTD | 1495073 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | POLY FAN | SIZE | 1.25 MX20 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1149835 | 1149835 |  |  |  | ERSA | M | 2900 | 1495072GZPCLNT100 | EA |  | COVER;1080MM,POLY FAN COVER,PFC108020MM | COVER;1080MM,POLY FAN COVER,PFC108020MM | COVER;ADDITIONAL FEATURES:1080MM,POLY FAN COVER,PFC108020MM |  |  |  |  | 1068357 @@ TOPFIRE CONSTRUCTIONS PTY LTD | 1495072 | [14 empty] | TOPFIRE CONSTRUCTIONS PTY LTD | 1495072 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | POLY FAN | SIZE | 1.08 MX20 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1149974 | 1149974 |  |  |  | ERSA | M | 2620 | 1530671GZPCLNT100 | EA |  | COVER;OUTPUT STUD,SUIT FLEXTEC 6,9SG6864 | COVER;OUTPUT STUD,SUIT FLEXTEC 6,9SG6864 | COVER;ADDITIONAL FEATURES:OUTPUT STUD,SUIT FLEXTEC 6,9SG6864 |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | 9SG6864 | [12 empty] | LINCOLN ELECTRIC | 9SG6864 | WELDERS PRO SHOP | [15 empty] | https://www.lincolnwelderrepairparts.com/9sg6864 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR FLEXTEC 6 |  | COVER | NO MODIFIER | TYPE | OUTPUT STUD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1150312 | 1150312 |  |  |  | ERSA | M | 5820 | 1516694GZPCLNT100 | EA |  | COVER;HOOD RHS BOX,MT9111 4095 713 | COVER;HOOD RHS BOX,MT9111 4095 713 | COVER;ADDITIONAL FEATURES:HOOD RHS BOX,MT9111 4095 713 |  |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT9111 4095 713 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT9111 4095 713 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2018/10/MTL6-RHS27-CA-POSITIONING-FEED-ASSEMBLY-CATALOGUE-2018_10_09.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | RHS |  | HOOD | NO MODIFIER | TYPE | BOX | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1151080 | 1151080 | 1476331 | AU_QM_001002167 |  | ERSA | M | 3000 | 1476331GZPCLNT100 | EA |  | COVER,PUMP;GRACO,188-615 | COVER,PUMP;GRACO,188-615 |  |  | COVER,PUMP: AOD PUMP AIR VALVE PLATE; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 188-615 | [12 empty] | GRACO | 188–615 | COOPER FLUID SYSTEMS | [15 empty] | https://www.gappower.com/custom/store/pdf?id=QULU4UC00OF8U3H0 | https://www.rpmbearings.com/product/270-graco/323782-188615/graco-188615 |  | AIR OPERATED DIAPHRAGM PUMP | [6 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | PLATE | NO MODIFIER | TYPE | VALVE | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1151864 | 1151864 | 1473528 | AU_QM_000981123 |  | ERSA | M | 5915 | 1473528GZPCLNT100 | EA |  | COVER;CAT,1868998 | COVER;CAT,1868998 |  |  | COVER: R1300 POWERTRAIN SUBASSY; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1868998 | [12 empty] | CATERPILLAR | 186-8998 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/186-8998 |  |  | POWERTRAIN |  | R1300 |  |  |  |  | Enriched | 23153100 Industrial machinery components and accessories | SUB ASSEMBLY |  | PLATE | COVER | TYPE |  | SIZE | 220 LGX475 WDX38 HT MM | SHAPE |  | MATERIAL | STEEL | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | CONFLICT IN DESC,MATERIAL BASED ON WEB SOURCE | 1152706 | 1152706 | 1476080 | AU_QM_000251454 |  | ERSA | M | 5700 | 1476080GZPCLNT100 | EA |  | COVER,ACCESS;ESS,24100912 | COVER,ACCESS;ESS,24100912 |  |  | COVER,ACCESS: DT/TM ACCESS DOOR COVER;MILD STEEL; |  |  | 1068098 @@ ESS | 24100912 | [12 empty] | ESS | 24100912 | [16 empty] | https://irp-cdn.multiscreensite.com/38ca115f/files/uploaded/CYA_ACCESS_DOOR_1.pdf | https://irp.cdn-website.com/38ca115f/files/uploaded/Product%20Catalogue%202022%20REV%20A.pdf | [8 empty] | Enriched | 23153100 Industrial machinery components and accessories | DT/TM |  | COVER | NO MODIFIER | TYPE | ACCESS DOOR | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1153500 | 1153500 |  |  |  | ERSA | M | 1600 | 1514123GZPCLNT100 | EA |  | COVER;TUBE,TB60/40,MT208 TB60 12 | COVER;TUBE,TB60/40,MT208 TB60 12 | COVER;ADDITIONAL FEATURES:TUBE,TB60/40,MT208 TB60 12 |  |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT208 TB60 12 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT208 TB60 12 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2018/10/MT-BUTTON-CATALOGUE-2018_03_20.pdf | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | TB60/40 |  | COVER | NO MODIFIER | TYPE | TUBE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1153505 | 1153505 |  |  |  | ERSA | M | 1600 | 1514078GZPCLNT100 | EA |  | COVER;INDICATOR GR,SIE3SU1001-6AA40-0AA0 | COVER;INDICATOR GR,SIE3SU1001-6AA40-0AA0 | COVER;ADDITIONAL FEATURES:INDICATOR GR,SIE3SU1001-6AA40-0AA0 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SIE3SU1001-6AA40-0AA0 | [12 empty] | SIEMENS | 3SU1001-6AA40-0AA0 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SU1001-6AA40-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1001-6AA40-0AA0%26language%3Den | [8 empty] | Enriched | 39121534 Indicator or pilot lights |  |  | LIGHT | INDICATING | TYPE | ROUND | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING |  | SIZE | 29.5 WDX29.5 HT MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP67,IP69 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | [54 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1153510 | 1153510 |  |  |  | ERSA | M | 1600 | 1514073GZPCLNT100 | EA |  | COVER;S3 TERMINAL,SHORT 3P ,SIE3KD9304-7 | COVER;S3 TERMINAL,SHORT 3P ,SIE3KD9304-7 | COVER;ADDITIONAL FEATURES:S3 TERMINAL,SHORT 3P ,SIE3KD9304-7 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SIE3KD9304-7 | [12 empty] | SIEMENS | 3KD9304-7 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3KD9304-7%26language%3Den | https://www.elektramat.nl/siemens-ag-3kd93047-sie-cable-con-cover-short-6-p/ | [8 empty] | Enriched | 23153100 Industrial machinery components and accessories | FOR S3 TERMINAL,SHORT 3P |  | COVER | NO MODIFIER | TYPE |  | SIZE | 44 WDX68.3 HTX76.5 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,UKCA,CE | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 | NM BASED ON WEB SOURCE | 1154109 | 1154109 |  |  |  | ERSA | M | 4090 | 1527717GZPCLNT100 | EA |  | COVER;PLATE,20MM BSP,FLAT S/STEEL | COVER;PLATE,20MM BSP,FLAT S/STEEL | COVER;ADDITIONAL FEATURES:PLATE,20MM BSP,FLAT S/STEEL |  |  |  |  | 1068155 @@ REECE PTY LTD | 1702060 | [12 empty] | REECE PTY LTD | 1702060 | [16 empty] | https://www.reece.com.au/product/cover-plate-20mm-bsp-x-flat-stainless-steel-1702060 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR BSP PIPE |  | PLATE | COVER | TYPE | FLAT | SIZE | 20 MM | SHAPE |  | MATERIAL | STAINLESS STEEL | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1154296 | 1154296 |  |  |  | ERSA | M | 4500 | 1514547GZPCLNT100 | EA |  | COVER;METER,PLASTIC,96 MM,96,ACC-96-IP66 | COVER;METER,PLASTIC,96 MM,96,ACC-96-IP66 | COVER;ADDITIONAL FEATURES:METER,PLASTIC,96 MM,96,ACC-96-IP66 |  |  |  |  | 1071656 @@ WEBER SOUTH PACIFIC PTY LTD | ACC-96-IP66 | [14 empty] | WEBER SOUTH PACIFIC PTY LTD | ACC-96-IP66 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | METER | SIZE | 96 MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1154367 | 1154367 |  |  |  | ERSA | M | 5920 | 1514224GZPCLNT100 | EA |  | COVER;INSULATING,15131108 | COVER;INSULATING,15131108 | COVER;ADDITIONAL FEATURES:INSULATING,15131108 |  |  |  |  | 1068317 @@ SMH EQUIPMENT PTY LTD | 15131108 | [12 empty] | VOLVO | 15131108 | SMH EQUIPMENT PTY LTD | [15 empty] | https://avspare.com/spare/volvo.heavy/voe15131108/ | https://www.asfmakine.com/ru/product/15131108/insulating-cover | [8 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | INSULATING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1154373 | 1154373 |  |  |  | ERSA | M | 5920 | 1514211GZPCLNT100 | EA |  | COVER;PROTECTIVE,TILT/PE,MT3128 3168 82P | COVER;PROTECTIVE,TILT/PE,MT3128 3168 82P | COVER;ADDITIONAL FEATURES:PROTECTIVE,TILT/PE,MT3128 3168 82P |  |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128 3168 82P | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 3168 82P | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2020/08/MT220621-POSITIONING-FEED-ASSEMBLY-MTL6-RHS27D-CA.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | TILT/PE |  | COVER | NO MODIFIER | TYPE | CYLINDER,PROTECTIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1154807 | 1154807 |  |  |  | ERSA | M | 4090 | 1507070GZPCLNT100 | EA |  | COVER,BOX;PLATE;SKIMMER,MSPS0082 | COVER,BOX;PLATE;SKIMMER,MSPS0082 | COVER,BOX;ADDITIONAL FEATURES:PLATE;SKIMMER,MSPS0082 |  |  |  |  | 1068148 @@ MILES STREET POOL SUPPLIES | MSPS0082 | [14 empty] | MILES STREET POOL SUPPLIES | MSPS0082 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | BOX | TYPE | PLATE,SKIMMER | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1155624 | 1155624 |  |  |  | ERSA | M | 3750 | 1505635GZPCLNT100 | EA |  | COVER;SAN,SAT300056 | COVER;SAN,SAT300056 | COVER;ADDITIONAL FEATURES:SAN,SAT300056 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SAT300056 | [13 empty] | SAT300056 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-652/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1156964 | 1156964 | 1445464 | AU_QM_001010304 |  | ERSA | M | 4000 | 1445464GZPCLNT100 | EA |  | COVER;GLASS FIBRE | COVER;GLASS FIBRE | COVER;MATERIAL:GLASS FIBRE,ADDITIONAL FEATURES EN:LCU, SIZE D850 W X 875 H X 270 MM DTO,MNFR:01)CNW,PTNO:01)FIBTYPE-6 |  | COVER: LCU;FIBREGLASS;SIZE D |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | TYPE6SS | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | TYPE6SS |  | FIBTYPE-6 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | LCU,SIZE D |  | COVER | NO MODIFIER | TYPE |  | SIZE | 850 WDX875 HTX270 DP MM | MATERIAL | GLASS FIBRE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1156965 | 1156965 | 1445462 | AU_QM_001010302 |  | ERSA | M | 4000 | 1445462GZPCLNT100 | EA |  | COVER;GLASS FIBRE | COVER;GLASS FIBRE | COVER;MATERIAL:GLASS FIBRE,ADDITIONAL FEATURES EN:LCU, SIZE B510 W X 750 H X 270 MM DTO,MNFR:01)CNW,PTNO:01)FIBTYPE-3-LONG |  | COVER: LCU;FIBREGLASS;SIZE B |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FIBTYPE3L | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FIBTYPE-3-LONG | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | LCU,SIZE B |  | COVER | NO MODIFIER | TYPE |  | SIZE | 510 WDX750 HTX270 DP MM | MATERIAL | GLASS FIBRE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1156966 | 1156966 | 1445461 | AU_QM_001010301 |  | ERSA | M | 4000 | 1445461GZPCLNT100 | EA |  | COVER;GLASS FIBRE | COVER;GLASS FIBRE | COVER;MATERIAL:GLASS FIBRE,ADDITIONAL FEATURES EN:LCU, SIZE A310 W X 450 H X 220 MM DTO,MNFR:01)CNW,PTNO:01)FIBTYPE-1-LONG |  | COVER: LCU;FIBREGLASS;SIZE A |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FIBTYPE1L | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FIBTYPE-1-LONG | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | LCU,SIZE A |  | COVER | NO MODIFIER | TYPE |  | SIZE | 310 WDX450 HTX220 DP MM | MATERIAL | GLASS FIBRE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1171654 | 1171654 |  |  |  | ERSA | M | 1600 | 1458879GZPCLNT100 | EA |  | COVER,ELEC;TERMINAL BOARD,CAST IRON | COVER,ELEC;TERMINAL BOARD,CAST IRON | COVER,ELECTRICAL;TYPE:TERMINAL BOARD,MATERIAL:CAST IRON |  |  |  |  | 1069654 @@ EDINGTON AGENCIES PTY LTD | 1085-17 | [14 empty] | EDINGTON AGENCIES PTY LTD | 1085-17 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121700 Electrical hardware and supplies |  |  | COVER | ELECTRICAL | TYPE | TERMINAL BOARD | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL | CAST IRON | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1177871 | 1177871 | 1353352 | AU_QM_000142112 |  | ERSA | M | 5915 | 1353352GZPCLNT100 | EA |  | COVER;NRMT,100001026 | COVER;NRMT,100001026 | COVER;MNFR:NORMET,PTNO:100001026,ADDITIONAL FEATURES EN:SEAT,VEHICULAR |  | COVER,SEAT,VEHICULAR: NORMET; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100001026 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 100001026 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 25174601 Seat covers |  |  | COVER | SEAT | TYPE | VEHICULAR | SIZE |  | MATERIAL |  | COLOR |  | CLOSURE TYPE |  | CERTIFICATION/STANDARD | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1179434 | 1179434 |  |  |  | ERSA | M | 5955 | 1543084GZPCLNT100 | EA |  | COVER;INDL,PLSTC,INDL | CUBIERTA; | COVER;SIZE:INDUSTRIAL,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:INDUSTRIAL | CUBIERTA; |  |  |  | 1068417 @@ MAK DIESEL & EARTHMOVING | 405740A1 | [13 empty] | 405740A1 | MAK DIESEL & EARTHMOVING | [15 empty] | https://avspare.com/spare/case/405740a1/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE | CASE,INDUSTRIAL | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | PRODUCTION COMPLETED
STP_009 - Lot7 | Data Enrichment | MKV | OK | 16-10-2023 | 31-10-2023 |  | 1179998 | 1179998 |  |  |  | ERSA | M | 1600 | 1569040GZPCLNT100 | EA | 3000422 | COVER,SWTCH;CNW,ISORCDNPG,NHP SWITCH COV | CUBIERTA INTERR;CNW,ISORCDNPG | COVER,SWITCH;MNFR:CNW,PTNO:ISORCDNPG,ADDITIONAL FEATURES EN:NHP SWITCH COVER,4P,2GANG,IP66 FOR RCD OF DIN. | CUBIERTA INTERRUPTOR;MNFR:CNW,PTNO:ISORCDNPG |  | CNW | ISORCDNPG | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ISORCDNPG | [10 empty] | CNW | ISORCDNPG | NHP | ISORCDNPG | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.nhp.com.au/product/isorcdnpg | [9 empty] | Enriched | 39122221 Switch part or accessory | NUMBER OF POLES:4,NUMBER OF GANG:2,DEGREE OF PROTECTION:IP66,FOR RCD OF DIN |  | COVER | SWITCH | TYPE |  | SIZE | 101 WDX198 HTX45 DP MM | SHAPE |  | MATERIAL | POLYCARBONATE | COLOUR |  | MOUNTING TYPE |  | NUMBER OF SWITCH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3112:2004,AS/NZS 3123:2005 | [54 empty] | PRODUCTION COMPLETED