## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140825 | 1140825 | 1458264 | AU_QM_001520040 |  | ERSA | M | 2200 | 1458264GZPCLNT100 | EA |  | AIR THROTTLE VALVE;BRAKE TREADLE; | AIR THROTTLE VALVE;BRAKE TREADLE; | VALVE,REACTION: AIR THROTTLE VALVE;BRAKE TREADLE; WILLIAMS 453A; |  | VALVE,REACTION: AIR THROTTLE VALVE;BRAKE TREADLE; | [18 empty] | WILLIAMS | 453A | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141600 Valves | REACTION,BRAKE TREADLE |  | VALVE | NO MODIFIER | TYPE | AIR THROTTLE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140823 | 1140823 | 1458266 | AU_QM_001520048 |  | ERSA | M | 2200 | 1458266GZPCLNT100 | EA |  | AIR THROTTLE VALVE;BRAKE TREADLE; | AIR THROTTLE VALVE;BRAKE TREADLE; | VALVE,REACTION: AIR THROTTLE VALVE;BRAKE TREADLE; WILLIAMS 640A; |  | VALVE,REACTION: AIR THROTTLE VALVE;BRAKE TREADLE; | [18 empty] | WILLIAMS | 640A | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141600 Valves | REACTION,BRAKE TREADLE |  | VALVE | NO MODIFIER | TYPE | AIR THROTTLE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134579 | 1134579 |  |  |  | ERSA | M | 2200 | 1444872GZPCLNT100 | EA |  | AIR TOOL; | AIR TOOL; | VALVE,THROTTLE: AIR TOOL; |  |  |  |  | 1068343 @@ UNDERGROUND ROCKDRILL WA | 64-242-191 | [13 empty] | 64242191 | UNDERGROUND ROCKDRILL WA | 64-242-191 | [14 empty] | https://minegraveyard.com/product/sig-rock-drill-parts-for-sale/ | [9 empty] | Cleansed | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | THROTTLE,AIR TOOL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134580 | 1134580 | 1444870 | AU_QM_001007148 |  | ERSA | M | 2200 | 1444870GZPCLNT100 | EA |  | AIR TOOL; | AIR TOOL; | VALVE,THROTTLE: AIR TOOL; |  | VALVE,THROTTLE: AIR TOOL; |  |  | 1068343 @@ UNDERGROUND ROCKDRILL WA | 64242731 | 1068617 @@ BOART LONGYEAR PTY LTD | 64242040-RN | [11 empty] | 64242731 | UNDERGROUND ROCKDRILL WA | 64242731 | BOART LONGYEAR PTY LTD | 64242040-RN | [12 empty] | https://minegraveyard.com/product/sig-rock-drill-parts-for-sale/ | [9 empty] | Cleansed | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | THROTTLE,AIR TOOL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1067222 | 1067222 | 1458040 | AU_QM_001311059 |  | ERSA | M | 2200 | 1458040GZPCLNT100 | EA |  | ASSEMBY TXV THERMOSTATIC EXPANSION VALVE | ASSEMBY TXV THERMOSTATIC EXPANSION VALVE | VALVE,EXPANSION: ASSEMBY TXV THERMOSTATIC EXPANSION VALVE |  | VALVE,EXPANSION:ASSEMBY TXV THERMOSTATIC EXPANSION VALVE | [16 empty] | SANDVIK | 55197208 | [16 empty] | https://www.aga-parts.com/sandvik/part/55197208_brake-valve/ | [9 empty] | Cleansed | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | BRAKE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1110776 | 1110776 | 1445763 | AU_QM_001014679 |  | ERSA | M | 2200 | 1445763GZPCLNT100 | EA |  | CRANE AIRCON TX VALVE;M20 SIGMA UNIT; | CRANE AIRCON TX VALVE;M20 SIGMA UNIT; | VALVE,EXPANSION: CRANE AIRCON TX VALVE;M20 SIGMA UNIT; CU SMELTER CRANE AIR CONDITIONER |  | VALVE,EXPANSION:CRANE AIRCON TX VALVE;M20 SIGMA UNIT; |  |  | 1068542 @@ KNORR-BREMSE AUSTRALIA PTY LTD | 1445763 | [12 empty] | SANDVIK | 56023477 | [16 empty] | https://www.aga-parts.com/es/sandvik/part/56023477_pressure-relief-valve/ | https://av-gk.ru/spare/sandvik/56023477/ | [8 empty] | Enriched | 40141606 Relief valves |  |  | VALVE | RELIEF | TYPE | PRESSURE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134573 | 1134573 | 1445762 | AU_QM_001014661 |  | ERSA | M | 2200 | 1445762GZPCLNT100 | EA |  | CRANE AIRCON TX VALVE;M7 SIGMA UNIT; | CRANE AIRCON TX VALVE;M7 SIGMA UNIT; | VALVE,EXPANSION: CRANE AIRCON TX VALVE;M7 SIGMA UNIT; CU SMELTER CRANE AIR CONDITIONER |  | VALVE,EXPANSION:CRANE AIRCON TX VALVE;M7 SIGMA UNIT; |  |  | 1068542 @@ KNORR-BREMSE AUSTRALIA PTY LTD | 1445762 | [26 empty] | J BLACKWOOD & SONS | 7856166 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141600 Valves | DAG |  | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | 300 MM | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | WORM DRIVE GEARBOX | TRIM | STAINLESS STEEL 316 DISC AND STEM | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062724 | 1062724 | 1441107 | AU_QM_000985812 |  | ERSA | M | 2200 | 1441107GZPCLNT100 | EA |  | DELIVERY;BROOMWADE COMPRESSOR; | DELIVERY;BROOMWADE COMPRESSOR; | VALVE ASSEMBLY: DELIVERY;BROOMWADE COMPRESSOR; |  | VALVE ASSEMBLY: DELIVERY;BROOMWADE COMPRESSOR; | [16 empty] | BSF AUSTRALIA | CTS | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141600 Valves | COMPLETE TRACKING SYSTEM,10 M PRESSURE PIPE,MOUNTING ARM,PRESSURE REGULATOR,IP44 HOUSING,PADDLE |  | VALVE | NO MODIFIER | TYPE | PRESSURE REGULATING | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140409 | 1140409 | 1441585 | AU_QM_000987532 |  | ERSA | M | 2200 | 1441585GZPCLNT100 | EA |  | AMCO AXIAL FLOW VALVE C/W MANIFOLD; | AMCO AXIAL FLOW VALVE C/W MANIFOLD; | VALVE ASSY,MANIFOLD: AMCO AXIAL FLOW VALVE C/W MANIFOLD; 120PSI MAX PRESSURE;TRIM 174 R50; ZSC100 1/2"PILOT REGULATOR;1440KPA MAOP; 20.7-206KPA OUTLET |  | VALVE ASSY,MANIFOLD:AMCO AXIAL FLOW VALVE C/W MANIFOLD; |  |  | 1069519 @@ LANDIS & GYR PTY LTD | R2H7CS174 | [12 empty] | THERMO GAMMA-METRICS | 1348330 | BURKERT | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141621 Diaphragm valves | DIAMETER:20 MM |  | VALVE | DIAPHRAGM | TYPE |  | NOMINAL SIZE | 15 MM | END CONNECTION |  | DIAPHRAGM MATERIAL | EPDM | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE | 10 BAR | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134619 | 1134619 | 1443797 | AU_QM_001002135 |  | ERSA | M | 2200 | 1443797GZPCLNT100 | EA |  | AOD PUMP AIR VALVE BLOCK; | AOD PUMP AIR VALVE BLOCK; | VALVE ASSY,MANIFOLD: AOD PUMP AIR VALVE BLOCK; ACETAL MATERIAL; GRACO AIR OPERATED DIAPHRAGM PUMP |  | VALVE ASSY,MANIFOLD:AOD PUMP AIR VALVE BLOCK; |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 188-616 | [12 empty] | SMC | 1365807 | [12 empty] | J BLACKWOOD & SONS | 905458 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE | DIAPHRAGM,CHARGE CAR HORN PNEUMATIC | NOMINAL SIZE | 15 MM | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1066704 | 1066704 | 1453372 | AU_QM_001208677 |  | ERSA | M | 2200 | 1453372GZPCLNT100 | EA |  | AIR RECEIVER;SAG MILL; | AIR RECEIVER;SAG MILL; | VALVE,AUTO DRAIN: AIR RECEIVER;SAG MILL; |  | VALVE,AUTO DRAIN: AIR RECEIVER;SAG MILL; |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | AD400-04 | [12 empty] | HONEYWELL | GIK-40R-02-5 | ADELAIDE FURNACE COMPANY PTY LTD | KRGIK-40R-02-5 | [14 empty] | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=59446 | [9 empty] | Cleansed | 40141600 Valves | PRESSURE TEST POINT AT OUTLET:200 MBAR MAX |  | VALVE | NO MODIFIER | TYPE | AIR/GAS RATIO,PRESSURE REGULATING | NOMINAL SIZE | 40 | END CONNECTION | BSPP | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING | -20 TO 60 DEG C | OPERATED |  | TRIM | PLASTIC DISC | SOFTGOODS | NBR SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140518 | 1140518 | 1431510 | AU_QM_000727883 |  | ERSA | M | 2200 | 1431510GZPCLNT100 | EA |  | ARIEL AIR CIRCUIT AUTO DRAIN ASSY; | ARIEL AIR CIRCUIT AUTO DRAIN ASSY; | VALVE,AUTO DRAIN: ARIEL AIR CIRCUIT AUTO DRAIN ASSY; ARIEL JGP/2 BOOST COMPRESSOR |  | VALVE,AUTO DRAIN: ARIEL AIR CIRCUIT AUTO DRAIN ASSY; | [16 empty] | EPIROC | 8202031137 | [16 empty] | https://www.aga-parts.com/epiroc/part/8202031137_ball-valve/ | [9 empty] | Cleansed | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1137419 | 1137419 | 1442038 | AU_QM_000993439 |  | ERSA | M | 3020 | 1442038GZPCLNT100 | EA |  | ARIEL DISCHARGE VALVE;79RX PEEK PLATE; | ARIEL DISCHARGE VALVE;79RX PEEK PLATE; | VALVE,CONCENTRIC: ARIEL DISCHARGE VALVE;79RX PEEK PLATE; CYLINDER BODY AND CRANK SUBASSY; ARIEL JGP/2 BOOST COMPRESSOR |  | VALVE,CONCENTRIC: ARIEL DISCHARGE VALVE;79RX PEEK PLATE; | [16 empty] | EPIROC | 8202031103 | [16 empty] | https://www.aga-parts.com/epiroc/part/8202031103_ball-valve/ | [9 empty] | Cleansed | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1137420 | 1137420 | 1442037 | AU_QM_000993438 |  | ERSA | M | 3020 | 1442037GZPCLNT100 | EA |  | ARIEL SUCTION VALVE;79RX PEEK PLATE; | ARIEL SUCTION VALVE;79RX PEEK PLATE; | VALVE,CONCENTRIC: ARIEL SUCTION VALVE;79RX PEEK PLATE; CYLINDER BODY AND CRANK SUBASSY; ARIEL JGP/2 BOOST COMPRESSOR |  | VALVE,CONCENTRIC: ARIEL SUCTION VALVE;79RX PEEK PLATE; | [16 empty] | EPIROC | 3764608300 | [16 empty] | https://www.aga-parts.com/epiroc/part/3764608300_ball-valve-1bsp/ | [9 empty] | Enriched | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | BSP | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1066853 | 1066853 | 1364277 | AU_QM_000165326 |  | ERSA | M | 2200 | 1364277GZPCLNT100 | EA |  | COUNTER BALANCE VALVE; CLAYGUN; CUSM | COUNTER BALANCE VALVE; CLAYGUN; CUSM | VALVE,COUNTER BALANCE: COUNTER BALANCE VALVE; CLAYGUN; CUSM |  | VALVE,COUNTER BALANCE:COUNTER BALANCE VALVE; CLAYGUN; CUSM |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | 1364277 | [12 empty] | EPIROC | 5542085500 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-common-original-spare-parts-catalog-update/ | [9 empty] | Enriched | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | BRAKE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062553 | 1062553 | 1430471 | AU_QM_000655183 |  | ERSA | M | 2200 | 1430471GZPCLNT100 | EA |  | 5/16";DBL ACTING;HAND OPERATED; | 5/16";DBL ACTING;HAND OPERATED; | VALVE,DIRECTION CONTROL: 5/16";DBL ACTING;HAND OPERATED; TYPE 6-5/16" V114 PONGRASS BSP 1/4" (1-HD6-5) |  | VALVE,DIRECTION CONTROL:5/16";DBL ACTING;HAND OPERATED; |  |  | 1068658 @@ AUSDRAULICS | 1430471 | [12 empty] | EPIROC | 5112 2878 05 | [16 empty] | https://www.aircompressorstrade.com/3177309288-atlas-copco-epiroc-boltec-lc-spare-parts-catalog/ | [9 empty] | Enriched | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | BRAKE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140430 | 1140430 | 1440919 | AU_QM_000985364 |  | ERSA | M | 2200 | 1440919GZPCLNT100 | EA |  | C500T BRAKE EXHAUST VALVE; | C500T BRAKE EXHAUST VALVE; | VALVE,EXHAUST CONTROL: C500T BRAKE EXHAUST VALVE; TYPE QR-1; KENWORTH C500T SERVICE TRUCK |  | VALVE,EXHAUST CONTROL:C500T BRAKE EXHAUST VALVE; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE | COOLING WATER | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC,50 HZ | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062554 | 1062554 | 1430470 | AU_QM_000655159 |  | ERSA | M | 2200 | 1430470GZPCLNT100 | EA |  | 1/4"BSP;SGLE ACTING;CAM OPERATED; | 1/4"BSP;SGLE ACTING;CAM OPERATED; | VALVE,GLOBE: 1/4"BSP;SGLE ACTING;CAM OPERATED; PARKER HANNIFIN 5/16" P/NO.1CS1-5 ( 1/4" BSP PORTS ) |  | VALVE,GLOBE:1/4"BSP;SGLE ACTING;CAM OPERATED; |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1430470 | [12 empty] | BERENDSEN FLUID POWER | 1430472 | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves | SERIES 2 |  | VALVE | SOLENOID | TYPE | PNEUMATIC SPRING RETURN | NOMINAL SIZE | 1/2 IN | END CONNECTION | BSP | CONFIGURATION | 4-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 240 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140150 | 1140150 | 1394278 | AU_QM_000237834 |  | ERSA | M | 2200 | 1394278GZPCLNT100 | EA |  | CALIBRATED NEEDLE VALVE; | CALIBRATED NEEDLE VALVE; | VALVE,NEEDLE: CALIBRATED NEEDLE VALVE; FAVCO CRANE MODEL 440D;SER.NO.976 |  | VALVE,NEEDLE: CALIBRATED NEEDLE VALVE; |  |  | 1068100 @@ BERENDSEN FLUID POWER | DV08-01-1/0 705014 | [30 empty] | URL NOT FOUND | [6 empty] | A1100-021-E187/MK.2 |  |  | Cleansed | 40141600 Valves | FOXBORO TO SONIC |  | VALVE | NO MODIFIER | TYPE | CAGE-GUIDED,DIRECTIONAL CONTROL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062716 | 1062716 | 1441375 | AU_QM_000987078 |  | ERSA | M | 2200 | 1441375GZPCLNT100 | EA |  | 80MM;CLASS 150;FLANGED 154PCD X 19 X 4; | 80MM;CLASS 150;FLANGED 154PCD X 19 X 4; | VALVE,PLUG: 80MM;CLASS 150;FLANGED 154PCD X 19 X 4; BODY WCB;13CR DISC AND STEM;HF SEAT; TANK HOUSE CELL UPGRADE |  | VALVE,PLUG: 80MM;CLASS 150;FLANGED 154PCD X 19 X 4; | [16 empty] | ASCO | TOC360FU | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 3-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 24 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1137684 | 1137684 | 1466304 | AU_QM_007124945 |  | ERSA | M | 2200 | 1466304GZPCLNT100 | EA |  | AIR PILOT;3 PORT;1/8"PORT; | AIR PILOT;3 PORT;1/8"PORT; | VALVE,PNEUMATIC TANK: AIR PILOT;3 PORT;1/8"PORT; SPRING RETURN;BRACKET MTD; |  | VALVE,PNEUMATIC TANK: AIR PILOT;3 PORT;1/8"PORT; |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | VTA30101B | [12 empty] | ASCO | TOC332FU | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE | VENT CONTROL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1108948 | 1108948 | 1470734 | AU_QM_009162432 |  | ERSA | M | 5920 | 1470734GZPCLNT100 | EA |  | DEUTZ INLET VALVE; | DEUTZ INLET VALVE; | VALVE,POPPET,ENGINE: DEUTZ INLET VALVE; DEUTZ F6L-912W ENGINE |  | VALVE,POPPET,ENGINE:DEUTZ INLET VALVE; | [17 empty] | TOC332FU | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | ECLIPSE LIMITING ORIFICE,FLOW CONTROL | NOMINAL SIZE | 3/4 IN | END CONNECTION | NPT | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134621 | 1134621 | 1443623 | AU_QM_001001478 |  | ERSA | M | 2200 | 1443623GZPCLNT100 | EA |  | ABOVE 2KG - HR RATE | ABOVE 2KG - HR RATE | VALVE,REED; ABOVE 2KG - HR RATE WALLACE AND TIERNAN CHLORINATOR |  | VALVE,REED; ABOVE 2KG - HR RATE |  |  | 1071812 @@ PACIFIC CONTROLS PTY LIMITED | 668B132U01 | [12 empty] | BOSCH REXROTH | 4WRA10E602XG24N9KA/VR | AUSDRAULICS | [15 empty] | https://nordfluid.it/wp-content/uploads/2021/09/Proportional-Directional-Valves-4WRA.pdf | [9 empty] | Enriched | 40141605 Solenoid valves | ELECTRICAL RATING:24 VDC,WET MAGNET TYPE | FLOW RATING:60 LPM,SOFTGOODS:FKM SEAL | VALVE | SPOOL | TYPE | DIRECTIONAL | NOMINAL SIZE | 10 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 315 BAR | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID ACTUATOR | BODY MATERIAL |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1138197 | 1138197 | 1364733 | AU_QM_000166705 |  | ERSA | M | 2200 | 1364733GZPCLNT100 | EA |  | BERMAD MODEL 73Q QUICK RELEASE PRESSURE | BERMAD MODEL 73Q QUICK RELEASE PRESSURE | VALVE,RELEASE,AIR PRESSURE: BERMAD MODEL 73Q QUICK RELEASE PRESSURE VALVE Y PATERN; T/E C/W 1-16 BAR PC3Q PI LOT |  | VALVE,RELEASE,AIR PRESSURE: BERMAD MODEL 73Q QUICK RELEASE PRESSURE |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1364733 | [12 empty] | BOSCH REXROTH | 4WE6D6X/EG24N9K4 | AUSDRAULICS | [15 empty] | https://store.boschrexroth.com/Hydraulics/Valves/Directional-valves/Directional-onoff-valve/DIRECTIONAL-SPOOL-VALVE_R900561274?cclcl=en_US | [9 empty] | Enriched | 40141605 Solenoid valves | ELECTRICAL RATING:24 VDC,WET TYPE MAGNET,SINGLE LARGE DIN CONNECTOR WITH LAMP | SOFTGOODS:NBR SEAL,FLOW RATING:70 LPM | VALVE | SPOOL | TYPE | DIRECTIONAL,SPRING RETURN | NOMINAL SIZE | 6 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION | 4/2-WAY | PRESSURE CLASS/RATING | 350 BAR | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID ACTUATOR | BODY MATERIAL |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1140773 | 1140773 | 1461594 | AU_QM_002708226 |  | ERSA | M | 2200 | 1461594GZPCLNT100 | EA |  | CV = 0.31 (1.5-80PSIG) | CV = 0.31 (1.5-80PSIG) | VALVE,SHUTTLE: CV = 0.31 (1.5-80PSIG) |  | VALVE,SHUTTLE:CV = 0.31 (1.5-80PSIG) |  |  | 1068865 @@ RFD AUSTRALIA PTY LTD | 1461594 | [12 empty] | BOSCH REXROTH | 4WE6E6X/EG24N9K4 | AUSDRAULICS |  | AUSHOSE NQ PTY LTD | [13 empty] | https://store.boschrexroth.com/Hydraulics/Valves/Directional-valves/Directional-onoff-valve/DIRECTIONAL-SPOOL-VALVE_R900561274?cclcl=en_US | [9 empty] | Enriched | 40141605 Solenoid valves | ELECTRICAL RATING:24 VDC,WET TYPE MAGNET,SINGLE LARGE DIN CONNECTOR WITH LAMP | SOFTGOODS:NBR SEAL,FLOW RATING:70 LPM | VALVE | SPOOL | TYPE | DIRECTIONAL,SPRING RETURN | NOMINAL SIZE | 6 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION | 4/2-WAY | PRESSURE CLASS/RATING | 350 BAR | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID ACTUATOR | BODY MATERIAL |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1067242 | 1067242 | 1457236 | AU_QM_001297118 |  | ERSA | M | 2200 | 1457236GZPCLNT100 | EA |  | 2/2-VALVE; | 2/2-VALVE; | VALVE: 2/2-VALVE; |  | VALVE: 2/2-VALVE; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 56077130 | [12 empty] | BOSCH REXROTH | 4WE6JB6X/EG24N9K4 | AUSDRAULICS | [15 empty] | https://rexroth-parts.com/en/directional-valves/4we6jb6x-eg24n9k4 | [9 empty] | Enriched | 40141605 Solenoid valves | ELECTRICAL RATING:24 VDC,WET MAGNET TYPE | FLOW RATING:80 LPM | VALVE | SPOOL | TYPE | DIRECTIONAL | NOMINAL SIZE | 6 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION | 4-WAY | PRESSURE CLASS/RATING | 350 BAR | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID ACTUATOR | BODY MATERIAL |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062481 | 1062481 | 1441461 | AU_QM_000987229 |  | ERSA | M | 2200 | 1441461GZPCLNT100 | EA |  | 50MM(2");STEAM PRESSURE CONTROL VALVE; | 50MM(2");STEAM PRESSURE CONTROL VALVE; | VALVE: 50MM(2");STEAM PRESSURE CONTROL VALVE; DIAPHRAGM ACTUATED;DT BODY;SS303 TRIM; JTO SEAT;ANSI150;C/W 4-20MA POSITIONER; |  | VALVE: 50MM(2");STEAM PRESSURE CONTROL VALVE; | [16 empty] | ORBIT VALVES | FIG 6448SHL | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | RISING STEM | NOMINAL SIZE | 1 IN | END CONNECTION | NPT | PRESSURE CLASS/RATING | 600 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062547 | 1062547 | 1430485 | AU_QM_000655472 |  | ERSA | M | 2200 | 1430485GZPCLNT100 | EA |  | AIR | AIR | VALVE: AIR |  | VALVE: AIR |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1430485 | [30 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141600 Valves |  |  | VALVE | CHECK | TYPE | NON-RETURN | NOMINAL SIZE | 1/2 IN | END CONNECTION | BSP | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062551 | 1062551 | 1430476 | AU_QM_000655324 |  | ERSA | M | 2200 | 1430476GZPCLNT100 | EA |  | AIR CONTROL | AIR CONTROL | VALVE: AIR CONTROL |  | VALVE: AIR CONTROL |  |  | 1068100 @@ BERENDSEN FLUID POWER | 1430476 | [26 empty] | J BLACKWOOD & SONS | 1430469 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | CONFIGURATION | NO,2-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1138774 | 1138774 | 1426206 | AU_QM_000367763 |  | ERSA | M | 2200 | 1426206GZPCLNT100 | EA |  | ALARM, "VIKING F1" | ALARM, "VIKING F1" | VALVE: ALARM, "VIKING F1" |  | VALVE: ALARM, "VIKING F1" |  |  | 1069532 @@ CHUBB FIRE & SECURITY | 77-90216 | [26 empty] | J BLACKWOOD & SONS | 1430468 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION |  | CONFIGURATION | 2-WAY,NC | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1109857 | 1109857 | 1450152 | AU_QM_001127182 |  | ERSA | M | 2200 | 1450152GZPCLNT100 | EA |  | ANGLE SEAT VALVE;R1/2IN.;SAMPLING | ANGLE SEAT VALVE;R1/2IN.;SAMPLING | VALVE: ANGLE SEAT VALVE;R1/2IN.;SAMPLING CONTROL; OUTOKUMPU PSI200 TYPE 2601 ANALYSER |  | VALVE: ANGLE SEAT VALVE;R1/2IN.;SAMPLING |  |  | 1068243 @@ OUTOTEC PTY LTD | 6100178 | [30 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE | 25 MM | END CONNECTION |  | CONFIGURATION | 2-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062487 | 1062487 | 1439963 | AU_QM_000982926 |  | ERSA | M | 2200 | 1439963GZPCLNT100 | EA |  | ASK GAUGE VALVE; | ASK GAUGE VALVE; | VALVE: ASK GAUGE VALVE; CATHODE STRIPPING MACHINE; |  | VALVE: ASK GAUGE VALVE; |  |  | 1069581 @@ CUSTOM FLUID POWER P/L | SAN-200N-3 | [26 empty] | J BLACKWOOD & SONS | 1430464 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141605 Solenoid valves |  |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | CONFIGURATION | 3-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 240 VAC | FLOW RATING |  | PRESSURE CLASS/RATING | 35 PSI | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1134971 | 1134971 | 1450907 | AU_QM_001143452 |  | ERSA | M | 2200 | 1450907GZPCLNT100 | EA |  | AUTO SHUT OFF VALVE; | AUTO SHUT OFF VALVE; | VALVE: AUTO SHUT OFF VALVE; TANK FILL DISCONNECT KIT; CAT LOADER 988H |  | VALVE: AUTO SHUT OFF VALVE; |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | Z001143452 | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | V96A | [28 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141621 Diaphragm valves |  |  | VALVE | DIAPHRAGM | TYPE | ASAHI,UNDRILLED | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIS FLANGE | DIAPHRAGM MATERIAL | EPDM | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL | POLYPROPYLENE | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1110879 | 1110879 | 1426204 | AU_QM_000367755 |  | ERSA | M | 2200 | 1426204GZPCLNT100 | EA |  | AUXILIARY, "VIKING" | AUXILIARY, "VIKING" | VALVE: AUXILIARY, "VIKING" |  | VALVE: AUXILIARY, "VIKING" |  |  | 1069532 @@ CHUBB FIRE & SECURITY | 77-90219 | [12 empty] | TRINKOR PTY LTD | 1430421 | [16 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141621 Diaphragm valves |  |  | VALVE | DIAPHRAGM | TYPE | ASAHI | NOMINAL SIZE | 4 IN | END CONNECTION | JIS FLANGE | DIAPHRAGM MATERIAL | EPDM | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL | POLYPROPYLENE | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-10-16 | 2023-10-31 |  | 1062455 | 1062455 | 1365872 | AU_QM_000168390 |  | ERSA | M | 2200 | 1365872GZPCLNT100 | EA |  | BLOCK COIL 24V DTDA, DLDA, DMDA HYDRAULI | BLOCK COIL 24V DTDA, DLDA, DMDA HYDRAULI | VALVE: BLOCK COIL 24V DTDA, DLDA, DMDA HYDRAULI C; ATLAS COPCO EASER L |  | VALVE: BLOCK COIL 24V DTDA, DLDA, DMDA HYDRAULI |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365872 | [30 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141621 Diaphragm valves |  |  | VALVE | DIAPHRAGM | TYPE | ASAHI | NOMINAL SIZE | 3 IN | END CONNECTION | JIS FLANGE | DIAPHRAGM MATERIAL | EPDM | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL | POLYPROPYLENE | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed