## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1052885 | 1052885 |  |  |  | ERSA | M | 2600 | 1578303GZPCLNT100 | EA |  | BAR,HEX;45 MM X 4 M,316L SS,CD/H11 | BARRA HEXA; | BAR,HEXAGON;ADDITIONAL FEATURES EN:45 MM X 4 M,316L SS,CD/H11 | BARRA HEXAGONAL; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | G316CD/H11 | [10 empty] | VULCAN STEEL PTY LTD | G316CD/H11 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264502 Stainless steel SAE 300 series cold drawn bar |  |  | BAR | HEXAGON | LENGTH | 4 M | WIDTH ACROSS FLAT | 45 MM | MATERIAL | STAINLESS STEEL 316L | MATERIAL SPECIFICATION |  | PROCESS | COLD DOWN,H11 | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1211722 | 1211722 |  |  |  | ERSA | M | 5920 | 1218643MRM | EA |  | BAR,NONMETAL:BUSHING RUBBER STABILZER BA | BAR,NONMETAL:BUSHING RUBBER STABILZER BA | BAR,NONMETAL:BUSHING RUBBER STABILZER BAR | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 22101700 Heavy equipment components | NON METAL,BUSHING |  | BAR | STABILIZER | TYPE |  | LENGTH |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | ELEMENT SIZE |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1180573 | 1180573 |  |  |  | ERSA | M | 1510 | 1505021GZPCLNT100 | EA |  | BAR,RECT;ALUM,W50MM,25MM,THK3MM,L6.5M | BARRA RECTNG; | BAR,RECTANGULAR;MATERIAL:ALUM,ADDITIONAL FEATURES EN:W50MM,25MM,THK3MM,L6.5M | BARRA RECTANGULAR; |  |  |  | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 1505021 | [10 empty] | TONKIN STEEL (NQ) PTY LTD | 1505021 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars |  |  | BAR | RECTANGULAR | TYPE |  | WIDTH | 50/25 MM | LENGTH | 6.5 M | THICKNESS | 3 MM | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1048897 | 1048897 |  |  |  | ERSA | M | 1510 | 1572627GZPCLNT100 | EA |  | BAR,RENFG;FLT,150-8-L300-6000 | BARRA REFUE; | BAR,REINFORCING;ADDITIONAL FEATURES EN:FLAT,150-8-L300-6000 | BARRA REFUERZO; |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 100921 | [10 empty] | BLUESCOPE DISTRIBUTION | 100921 |  |  |  | 150-8-L300-6000 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | REINFORCING | TYPE | FLAT | DIAMETER | 150 MM | LENGTH | 6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 | URL for Reference only | 1111543 | 1111543 | 1406656 | AU_QM_000251642 |  | ERSA | M | 5915 | 1406656GZPCLNT100 | EA |  | BAR,RND;101866,RD-50-L300-6000 | BAR,RND;101866,RD-50-L300-6000 | BAR,RND;MNFR: ,PTNO:101866,RD-50-L300-6000 |  | BAR,RND;101866,RD-50-L300-6000BAR,RND;101866,RD-50-L300-6000 | [15 empty] | RD-50-L300-6000 |  |  |  | 101866 | [14 empty] | https://www.zauba.com/import-MILD+STEEL+BAR/hs-code-73089010-hs-code.html | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | ROUND | TYPE |  | DIAMETER | 50 MM | LENGTH | 6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1118230 | 1118230 | 1453402 | AU_QM_001209105 |  | ERSA | M | 1510 | 1453402GZPCLNT100 | EA |  | BAR;305 X 640 X 40,MLTC,312652 | BAR;305 X 640 X 40,MLTC,312652 | BAR;DIMENSIONS:305 X 640 X 40,ADDITIONAL FEATURES EN:WEIR LEFT HAND, SOLID PANEL,DISCHARGE PANEL,MNFR:01)MULTOTEC,PTNO:01)312652 |  | BAR: WEIR BAR LEFT HAND; |  |  | 1068642 @@ MULTOTEC PTY LTD | 312652 | [10 empty] | MULTOTEC PTY LTD | 312652 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | RECTANGULAR | TYPE | WEIR LEFT HAND,SOLID PANEL,DISCHARGE PANEL | WIDTH | 305 MM | LENGTH | 640 MM | THICKNESS | 40 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1118231 | 1118231 | 1453403 | AU_QM_001209113 |  | ERSA | M | 1510 | 1453403GZPCLNT100 | EA |  | BAR;305 X 640 X 40,MLTC,312653 | BAR;305 X 640 X 40,MLTC,312653 | BAR;DIMENSIONS:305 X 640 X 40,ADDITIONAL FEATURES EN:WEIR RIGHT HAND, SOLID PANEL,DISCHARGE PANEL,MNFR:01)MULTOTEC,PTNO:01)312653 |  | BAR: WEIR BAR RIGHT HAND; |  |  | 1068642 @@ MULTOTEC PTY LTD | 312653 | [10 empty] | MULTOTEC PTY LTD | 312653 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | RECTANGULAR | TYPE | WEIR RIGHT HAND,SOLID PANEL,DISCHARGE PANEL | WIDTH | 305 MM | LENGTH | 640 MM | THICKNESS | 40 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1153630 | 1153630 |  |  |  | ERSA | M | 1600 | 1509060GZPCLNT100 | EA |  | BAR;A BAR 68 I,B14-011-B14 012-40210-019 | BAR;A BAR 68 I,B14-011-B14 012-40210-019 | BAR;ADDITIONAL FEATURES:A BAR 68 I,B14-011-B14 012-40210-019 | [17 empty] | B14-011-B14 012-40210-019 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | A,68 I |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1056036 | 1056036 |  |  |  | ERSA | M | 5700 | 1614693GZPCLNT100 | EA |  | BAR;APM GUIDE,531-6-009991/SH 818265-3 | BARRA; | BAR;TYPE:APM GUIDE,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:531-6-009991/SH 818265-3,TRAVERSE CONVEYOR | BARRA; |  |  |  | 1068653 @@ WOODFIELDS ENGINEERING | 531-6-009991 | [10 empty] | WOODFIELDS ENGINEERING | 531-6-009991 |  |  | WOODFIELDS ENGINEERING | SH 818265-3 | [14 empty] | URL NOT FOUND |  |  | APM TRAVERSE CONVEYOR | [6 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | GUIDE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1057577 | 1057577 |  |  |  | ERSA | M | 1510 | 1604922GZPCLNT100 | EA |  | BAR;APRON FEEDER,1577X90 MM,STL,D4 | BARRA; | BAR;TYPE:APRON FEEDER,DIMENSIONS:1577X90 MM,MATERIAL:STEEL,CERTIFICATION/STANDARD:D4,ADDITIONAL FEATURES EN:SPILE BARS | BARRA; |  |  |  | 1068280 @@ ENGINEERING EXCELLENCE | QU-23262 | [10 empty] | ENGINEERING EXCELLENCE | QU-23262 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | APRON FEEDER,SPILE | DIMENSIONS | 90 MMX1.577 M | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | D4 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1011831 | 1011831 |  |  |  | ERSA | M | 4090 | 1614052GZPCLNT100 | EA | 3000415 | BAR;ATL4,RB1500B,HVYDTY,1500 MM,RHINO RA | BARRA;ATL4,RB1500B | BAR;MNFR:ATLAS 4 X 4,PTNO:RB1500B,ADDITIONAL FEATURES EN:HEAVY DUTY,1500 MM,RHINO RACK | BARRA;MNFR:ATLAS 4 X 4,PTNO:RB1500B |  | ATLAS 4 X 4 | RB1500B | 1068404 @@ ATLAS 4 X 4 ACCESSORIES | RB1500B | [12 empty] | RHINO RACK | RB1500B | ATLAS 4 X 4 ACCESSORIES | RB1500B | [14 empty] | https://www.rhinorack.com/en-au/products/spares-brackets-components/roof-rack-parts/bars/heavy-duty-bar-black-1500mm-_rb1500b | [9 empty] | Enriched | 30260000 Structural materials |  |  | BAR | HOLLOW | TYPE | HEAVY DUTY | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.5 M | MATERIAL |  | MATERIAL WEIGHT |  | FINISH | BLACK | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1052276 | 1052276 |  |  |  | ERSA | M | 4005 | 1582934GZPCLNT100 | EA |  | BAR;BRKR,1/2 IN X 610MM,XL,24FH | BARRA; | BAR;TYPE:BREAKER,DIMENSIONS:1/2 IN X 610MM,MATERIAL:,ADDITIONAL FEATURES EN:XL,24FH | BARRA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 24FH | [12 empty] | T&E TOOLS | 24FH | TOOL 'N' TACKLE | 24FH | [14 empty] | https://www.tetools.com/24-flex-handle-heavy-duty-black-1-2-dr-x-600mm | https://www.sulco.co.nz/1-2-DR-POWER-BAR-600MM.html | [8 empty] | Enriched | 27111700 Wrenches and drivers | XL | COLOUR:BLACK,FLEXIBLE HANDLE C/W SCREW PIN HEAD | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | MATERIAL |  | LENGTH | 610 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1051794 | 1051794 |  |  |  | ERSA | M | 4005 | 1577162GZPCLNT100 | EA |  | BAR;BRKR,TTI 1000 MM 3/4 IN DR,KNCL | BARRA; | BAR;TYPE:BREAKER,DIMENSIONS:TTI 1000 MM 3/4 IN DR,MATERIAL:,ADDITIONAL FEATURES EN:KNUCKLE | BARRA; |  |  |  | 1075964 @@ TOTAL TOOLS COMMERCIAL PTY LTD | SA3400F | 1068467 @@ TOTAL TOOLS TOWNSVILLE | SA3400F | [10 empty] | TOTAL TOOLS COMMERCIAL PTY LTD | SA3400F | TOTAL TOOLS TOWNSVILLE | SA3400F | [14 empty] | https://www.totaltools.com.au/46422-tti-knuckle-bar-extension-3-4sd-sa3400f | [9 empty] | Cleansed | 27111700 Wrenches and drivers | BRAND:TTI |  | BAR | BREAKER | TYPE | KNUCKLE | TORQUE RATING |  | DRIVE SIZE | 3/4 IN | DRIVE TYPE |  | MATERIAL |  | LENGTH | 1 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1051779 | 1051779 |  |  |  | ERSA | M | 4005 | 1577132GZPCLNT100 | EA |  | BAR;CHNSAW,28 IN,SUIT 572XP HUSQ SAW | BARRA; | BAR;TYPE:CHAINSAW,DIMENSIONS:28 IN,MATERIAL:,ADDITIONAL FEATURES EN:SUIT 572XP HUSQ SAW | BARRA; |  |  |  | 1068404 @@ ATLAS 4 X 4 ACCESSORIES | 5966910-84 | [12 empty] | HUSQVARNA | 5966910-84 | ATLAS 4 X 4 ACCESSORIES | 5966910-84 | [14 empty] | https://have-park.dk/shop/785-404---16mm---x-tough-solid-bar---hn-stor-svaerdmontering/4005-x-tough-404-solid-bar---hn-stor-svaerdmontering---84-led/ | [9 empty] | Enriched | 30260000 Structural materials | FOR 572XP HUSQVARNA SAW | PITCH:0.404 IN,THICKNESS:1.6 MM | BAR | NO MODIFIER | TYPE | CHAINSAW,SOLID | DIMENSIONS | 28 IN | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1053813 | 1053813 |  |  |  | ERSA | M | 4090 | 1580292GZPCLNT100 | EA |  | BAR;CS RAPPING ANVIL,100 5622 | BARRA; | BAR;TYPE:CS RAPPING ANVIL,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:100 5622 | BARRA; |  |  |  | 1070476 @@ PRECIPITATOR TECHNOLOGIES P/L | 100 5622 | [10 empty] | PRECIPITATOR TECHNOLOGIES P/L | 100 5622 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263600 Carbon steel bars |  |  | BAR | NO MODIFIER | TYPE | RAPPING ANVIL | DIMENSIONS |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1149622 | 1149622 |  |  |  | ERSA | M | 1510 | 1523667GZPCLNT100 | EA |  | BAR;DB-16-D500N-6000,DEFORMED BAR,100111 | BAR;DB-16-D500N-6000,DEFORMED BAR,100111 | BAR;ADDITIONAL FEATURES:DB-16-D500N-6000,DEFORMED BAR,100111 |  |  |  |  | 1068184 @@ BLUESCOPE DISTRIBUTION PTY LTD | 1523667 | 1069512 @@ BLUESCOPE DISTRIBUTION | 100111 | [8 empty] | BLUESCOPE DISTRIBUTION PTY LTD | 1523667 |  |  | BLUESCOPE DISTRIBUTION | 100111 |  | DB-16-D500N-6000 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | DEFORMED | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1053818 | 1053818 |  |  |  | ERSA | M | 4090 | 1580297GZPCLNT100 | EA |  | BAR;DE RAPPING ANVIL,300 5787 | BARRA; | BAR;TYPE:DE RAPPING ANVIL,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:300 5787 | BARRA; |  |  |  | 1070476 @@ PRECIPITATOR TECHNOLOGIES P/L | 300 5787 | [10 empty] | PRECIPITATOR TECHNOLOGIES P/L | 300 5787 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | DE RAPPING ANVIL | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1183794 | 1183794 |  |  |  | ERSA | M | 1510 | 1561729GZPCLNT100 | EA |  | BAR;DEFORMED,6000 MM,STL,GRADE 500N | BARRA; | BAR;TYPE:DEFORMED,DIMENSIONS:6000 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:DB-16-D500N-06000,GRADE 500N | BARRA; | [17 empty] | BLUESCOPE DISTRIBUTION | DB-16-D500N-6000 | [16 empty] | https://www.bluescopedistribution.com.au/wp-content/uploads/2023/01/BlueScope-Distribution-Catalogue-2018.pdf | [9 empty] | Enriched | 30260000 Structural materials |  |  | BAR | REINFORCING | TYPE | DEFORMED,SWIMMING POOL | DIAMETER |  | LENGTH | 6 M | MATERIAL | STEEL | MATERIAL SPECIFICATION | GRADE 500N | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 4671 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170078 | 1170078 | 1448611 | AU_QM_001090380 |  | ERSA | M | 1510 | 1448611GZPCLNT100 | EA |  | BAR;DISCHARGE HEAD,LG 950 MM,NON METAL | BAR;DISCHARGE HEAD,LG 950 MM,NON METAL | BAR;TYPE:DISCHARGE HEAD,DIMENSIONS:LG 950 MM,MATERIAL:NON METAL,MNFR:01)MULTOTEC,PTNO:01)NO ILL179P |  | BAR,NONMETAL: 950MM LG;DISCHARGE HEAD, |  |  | 1068642 @@ MULTOTEC PTY LTD | DWGNO1ILL179P | [10 empty] | MULTOTEC PTY LTD | ILL179P |  |  | MULTOTEC PTY LTD | DWGNO1ILL179P | [14 empty] | URL NOT FOUND | [6 empty] | 1ILL179P |  |  | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | DISCHARGE HEAD | DIMENSIONS | 950 MM LG | MATERIAL | NON METAL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1188653 | 1188653 |  |  |  | ERSA | M | 1510 | 1584965GZPCLNT100 | EA |  | BAR;DOBY,DIA 34 X 5000 LG MM,STL | BARRA; | BAR;TYPE:DOBY,DIMENSIONS:DIA 34 X 5000 LG MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:DRAWING NUMBER: 145-6-2445 | BARRA; |  |  |  | 1069720 @@ MAATTA ENGINEERING | ME222 | [10 empty] | MAATTA ENGINEERING | ME222 | [18 empty] | URL NOT FOUND | [6 empty] | 145-6-2445 |  |  | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | DOBY | DIMENSIONS | 34 DIA MMX5 M LG | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1118144 | 1118144 | 1451030 | AU_QM_001145424 |  | ERSA | M | 1510 | 1451030GZPCLNT100 | EA |  | BAR;FILR,LG 915 MM,RUBR,MLTC,194679 | BAR;FILR,LG 915 MM,RUBR,MLTC,194679 | BAR;TYPE:FILLER,DIMENSIONS:LG 915 MM,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:KIT, CONSISTS OF 32,MNFR:01)MULTOTEC,PTNO:01)194679 |  | BAR: SAG MILL FEED END FILLER BAR KIT; |  |  | 1068642 @@ MULTOTEC PTY LTD | 194679 | [10 empty] | MULTOTEC PTY LTD | 194679 | [18 empty] | URL NOT FOUND |  |  | SAG MILL | [6 empty] | Cleansed | 30260000 Structural materials | KIT CONSISTS OF ITEMS: 32 |  | BAR | NO MODIFIER | TYPE | FEED END FILLER | DIMENSIONS | 915 MM LG | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1056499 | 1056499 |  |  |  | ERSA | M | 1510 | 1610505GZPCLNT100 | EA |  | BAR;FLAT BAR,100X40 MM,STL | BARRA; | BAR;TYPE:FLAT BAR,DIMENSIONS:100X40 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:REQUIRED FOR LIP LINER INSTALLS | BARRA; |  |  |  | 1068161 @@ WULGURU STEEL PTY LTD | REF-810606 | [10 empty] | WULGURU STEEL PTY LTD | REF-810606 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | REQUIRED FOR LIP LINER INSTALLS |  | BAR | RECTANGULAR | TYPE | FLAT | WIDTH | 100 MM | LENGTH |  | THICKNESS | 40 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1185415 | 1185415 |  |  |  | ERSA | M | 4305 | 1557199GZPCLNT100 | EA |  | BAR;Furnace,1550MM LG,CST | BARRA; | BAR;TYPE:Furnace,DIMENSIONS:1550MM LG,MATERIAL:CAST,ADDITIONAL FEATURES EN:BLUE,FURNACE,1500MM LG | BARRA; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | COLOUR:BLUE |  | BAR | NO MODIFIER | TYPE | FURNACE | DIMENSIONS | 1.55/1.5 M LG | MATERIAL | CAST | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1185416 | 1185416 |  |  |  | ERSA | M | 4305 | 1557198GZPCLNT100 | EA |  | BAR;Furnace,1660mm Lg,CST,RED SPIKE | BARRA; | BAR;TYPE:Furnace,DIMENSIONS:1660mm Lg,MATERIAL:CAST,ADDITIONAL FEATURES EN:RED SPIKE | BARRA; |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1557198 | [10 empty] | HEAVYMECH PTY LTD | 1557198 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | COLOUR:RED SPIKE |  | BAR | NO MODIFIER | TYPE | FURNACE | DIMENSIONS | 1.66 M LG | MATERIAL | CAST | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1054293 | 1054293 |  |  |  | ERSA | M | 4900 | 1615149GZPCLNT100 | EA |  | BAR;GDE,12IN,STL,STIHL,PN:3005-008-3905 | BARRA; | BAR;TYPE:GUIDE,DIMENSIONS:12IN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:STIHL,PN:3005-008-3905,RM 3/8 PICCO,043G | BARRA; |  |  |  | 1068614 @@ BIKE & RIDER YAMAHA PTY LTD | 48404 | [12 empty] | STIHL | 3005 008 3905 | BIKE & RIDER YAMAHA PTY LTD | 48404 | [14 empty] | https://pandpsmallengines.com/products/stihl-3005-000-3905-12-bar-picco-narrow?variant=37780432552129 | [9 empty] | Enriched | 30260000 Structural materials | BRAND:ROLLOMATIC 3/8 IN PITCH,0.043 GUAGE |  | BAR | NO MODIFIER | TYPE | CHAIN SAW GUIDE,PICCO NARROW | DIMENSIONS | 12 IN | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1104372 | 1104372 |  |  |  | ERSA | M | 1600 | 1508755GZPCLNT100 | EA |  | BAR;HAY,BUNN3B3006S | BAR;HAY,BUNN3B3006S | BAR;ADDITIONAL FEATURES:HAY,BUNN3B3006S |  |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | BUNN3B3006S | 1072013 @@ METAL MANUFACTURES PTY LTD | BUNN3B3006S | [8 empty] | METAL MANUFACTURES PTY LTD | BUNN3B3006S |  |  |  |  | METAL MANUFACTURES PTY LTD | BUNN3B3006S | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | HAY | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1104373 | 1104373 |  |  |  | ERSA | M | 1600 | 1508756GZPCLNT100 | EA |  | BAR;HAY,BUNN3IR3006S | BAR;HAY,BUNN3IR3006S | BAR;ADDITIONAL FEATURES:HAY,BUNN3IR3006S |  |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | BUNN3IR3006S | 1072013 @@ METAL MANUFACTURES PTY LTD | BUNN3IR3006S | [8 empty] | METAL MANUFACTURES PTY LTD | BUNN3IR3006S |  |  |  |  | METAL MANUFACTURES PTY LTD | BUNN3IR3006S | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | HAY | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1059416 | 1059416 | 1358496 | AU_QM_000153490 |  | ERSA | M | 1510 | 1358496GZPCLNT100 | EA |  | BAR;HEAD FILLER,LG 935 MM,MLTC,192304 | BAR;HEAD FILLER,LG 935 MM,MLTC,192304 | BAR;TYPE:HEAD FILLER,DIMENSIONS:LG 935 MM,ADDITIONAL FEATURES EN:KIT, CONSISTS OF 32,MNFR:01)MULTOTEC,PTNO:01)192304 |  | BAR: SAG MILL DISCHARGE END FILLER BAR KIT; C |  |  | 1068642 @@ MULTOTEC PTY LTD | 251446 | [10 empty] | MULTOTEC PTY LTD | 251446 |  |  | MULTOTEC PTY LTD | 192304 | [14 empty] | URL NOT FOUND |  |  | SAG MILL | [6 empty] | Cleansed | 30260000 Structural materials | KIT CONSISTS OF ITEMS: 32 |  | BAR | NO MODIFIER | TYPE | DISCHARGE END HEAD FILLER | DIMENSIONS | 935 MM LG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170072 | 1170072 | 1448792 | AU_QM_001095629 |  | ERSA | M | 1510 | 1448792GZPCLNT100 | EA |  | BAR;HEAD LIFTER,LG 1.15 M,RUBR | BAR;HEAD LIFTER,LG 1.15 M,RUBR | BAR;TYPE:HEAD LIFTER,DIMENSIONS:LG 1.15 M,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:NONMETAL, BALL MILL DOMINION 14 X 10.5 FT,MNFR: 01)MULTOTEC,PTNO:01)DWG NO ILL412 |  | BAR,NONMETAL: 1150MM LG;HEAD LIFTER BAR,RUBBER; |  |  | 1068642 @@ MULTOTEC PTY LTD | DWG NO ILL412 | [10 empty] | MULTOTEC PTY LTD | DWG NO ILL412 | [18 empty] | URL NOT FOUND |  |  | 14X10.5 FT DOMINION BALL MILL |  |  |  | ILL412 |  |  | Cleansed | 30260000 Structural materials | NON METAL |  | BAR | NO MODIFIER | TYPE | HEAD LIFTER | DIMENSIONS | 1.15 M LG | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1053250 | 1053250 |  |  |  | ERSA | M | 2600 | 1582930GZPCLNT100 | EA |  | BAR;IMPACT,GAB MODULAR,COMP 1200 | BARRA; | BAR;TYPE:IMPACT,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:GAB MODULAR,COMP 1200 | BARRA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 48026012 | [12 empty] | ESS ENGINEERING SERV SUP PTY LTD | 48026012 | [16 empty] | https://irp-cdn.multiscreensite.com/38ca115f/files/uploaded/Product%20Catalogue%20AUG%202019.pdf | [9 empty] | Cleansed | 30260000 Structural materials | COMPLETE |  | BAR | NO MODIFIER | TYPE | GAB MODULAR IMPACT | DIMENSIONS | 1.2 M LG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170079 | 1170079 | 1448610 | AU_QM_001090372 |  | ERSA | M | 1510 | 1448610GZPCLNT100 | EA |  | BAR;LIFTR, FEED HEAD, INNER,MTL,MLTC | BAR;LIFTR, FEED HEAD, INNER,MTL,MLTC | BAR;LIFTER, FEED HEAD, INNER,MATERIAL:METAL,MNFR:01)MULTOTEC,PTNO:01)NO1ILL181P |  | BAR,METAL:FEED HEAD INNER LIFTER BAR; |  |  | 1068642 @@ MULTOTEC PTY LTD | DWGNO1ILL181P | [10 empty] | MULTOTEC PTY LTD | DWGNO1ILL181P | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | LIFTER,INNER FEED HEAD | DIMENSIONS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170070 | 1170070 | 1448799 | AU_QM_001095769 |  | ERSA | M | 1510 | 1448799GZPCLNT100 | EA |  | BAR;LIFTR, FEED HEAD, OUTER,LG 1.117 M | BAR;LIFTR, FEED HEAD, OUTER,LG 1.117 M | BAR;TYPE:LIFTER, FEED HEAD, OUTER,DIMENSIONS:LG 1.117 M,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:NONMETAL, ALLIS C 16.5FT X 20FT BALL MILL,MNFR:01)MULTOTEC,PTNO:01)ILL425 |  | BAR,NONMETAL: LIFTER BAR,FEED HEAD,OUTER,RUBBER; |  |  | 1068642 @@ MULTOTEC PTY LTD | ILL425 | [10 empty] | MULTOTEC PTY LTD | ILL425 | [18 empty] | URL NOT FOUND |  |  | 16.5X20 FT ALLIS C BALL MILL | [6 empty] | Cleansed | 30260000 Structural materials | NON METAL |  | BAR | NO MODIFIER | TYPE | LIFTER,OUTER FEED HEAD | DIMENSIONS | 1.117 M LG | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1177683 | 1177683 | 1454562 | AU_QM_001234608 |  | ERSA | M | 1510 | 1454562GZPCLNT100 | EA |  | BAR;LIFTR, INNER DISCHARGE HEAD,NONMETAL | BAR;LIFTR, INNER DISCHARGE HEAD,NONMETAL | BAR;TYPE:LIFTER, INNER DISCHARGE HEAD,DIMENSIONS:WD 165 X LG 945 X THK 152 MM,ADDITIONAL FEATURES EN:NONMETAL,MNFR:01)MULTOTEC, PTNO:01)201574 |  | BAR,NONMETAL: LIFTER BAR;165 X 152 X 945MM LENGTH;IN |  |  | 1068642 @@ MULTOTEC PTY LTD | 205530 | [10 empty] | MULTOTEC PTY LTD | 205530 |  |  | MULTOTEC PTY LTD | 201574 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | RECTANGULAR | TYPE | LIFTER,INNER DISCHARGE HEAD | WIDTH | 165 MM | LENGTH | 945 MM | THICKNESS | 152 MM | MATERIAL | NON METAL | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1169839 | 1169839 | 1350769 | AU_QM_000134787 |  | ERSA | M | 1510 | 1350769GZPCLNT100 | EA |  | BAR;LIFTR,LG 1.348 M,RUBR,MLTC,214018 | BAR;LIFTR,LG 1.348 M,RUBR,MLTC,214018 | BAR;TYPE:LIFTER,DIMENSIONS:LG 1.348 M,MATERIAL:RUBBER,MNFR:01)MULTOTEC,PTNO:01)214018 |  | BAR,NONMETAL: BAR;LIFTER;RUBBER;1348M LENGTH;;SAG MILL |  |  | 1068642 @@ MULTOTEC PTY LTD | 214018 | [10 empty] | MULTOTEC PTY LTD | 214018 | [18 empty] | URL NOT FOUND |  |  | SAG MILL | [6 empty] | Cleansed | 30260000 Structural materials | NON METAL |  | BAR | NO MODIFIER | TYPE | LIFTER | DIMENSIONS | 1.348 M LG | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170077 | 1170077 | 1448630 | AU_QM_001090620 |  | ERSA | M | 1510 | 1448630GZPCLNT100 | EA |  | BAR;LIFTR,LG 1.62 M,MTL,SHL,MLTC | BAR;LIFTR,LG 1.62 M,MTL,SHL,MLTC | BAR;TYPE:LIFTER,DIMENSIONS:LG 1.62 M,MATERIAL:METAL,ADDITIONAL FEATURES EN:SHELL,MNFR:01)MULTOTEC,PTNO:01)DWGNO LL178P |  | BAR,METAL:1620MM LG;SHELL LIFTER BAR; |  |  | 1068642 @@ MULTOTEC PTY LTD | DWGNO1LL178P | [10 empty] | MULTOTEC PTY LTD | DWGNO1LL178P |  |  | MULTOTEC PTY LTD | DWGNO LL178P | [14 empty] | URL NOT FOUND | [6 empty] | 1LL178P |  |  | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | SHELL LIFTER | DIMENSIONS | 1.62 M LG | MATERIAL | METAL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 | ELECTRICAL RATING UPDATED AS PER WEBSOURCE | 1190083 | 1190083 |  |  |  | ERSA | M | 1600 | 1575116GZPCLNT100 | EA |  | BAR;LNK,65A 12 HOLE F/WIRING S/MOUNT | BARRA; | BAR;TYPE:LINK,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:65A 12 HOLE F/WIRING S/MOUNT | BARRA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | ALSEB12 | [12 empty] | IPD | ALSEB12 | METAL MANUFACTURES PTY LTD | ALSEB12 | [14 empty] | https://tle.mmem.com.au/alseb12 | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | NUMBER OF HOLES:12,MOUNTING TYPE:SURFACE M8 BOLT,FRONT WIRING |  | BAR | EARTHING | TYPE | LINK | LENGTH |  | WIDTH |  | HEIGHT |  | MATERIAL |  | ELECTRICAL RATING | 165 A | NUMBER OF TERMINALS |  | IMPEDANCE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1035091 | 1035091 | 1455789 | AU_QM_001263904 |  | ERSA | M | 5620 | 1455789GZPCLNT100 | EA | 3000027 | BAR;MET,N74006100 | BAR;MET,N74006100 | BAR;MNFR:METSO,PTNO:N74006100 |  | BAR,METAL:ROUND BAR;HALF NUT;BOWL BOLT ARRANGEMENT | METSO | N74006100 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N74006100 | [12 empty] | METSO | N74006100 | METSO OUTOTEC AUSTRALIA LIMITED | N74006100 | [14 empty] | https://crusher.ltd/portuguese/parts-database/metso-HP6-cone-crusher/5 | [9 empty] | Cleansed | 30260000 Structural materials | HALF NUT,BOWL BOLT ARRANGEMENT |  | BAR | ROUND | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 | Processed based on Websource, Conflict w.r.t Input | 1004708 | 1004708 | 1455594 | AU_QM_001257716 |  | ERSA | M | 5620 | 1455594GZPCLNT100 | EA | 3000027 | BAR;MET,N84101909 | BAR;MET,N84101909 | BAR;MNFR:METSO,PTNO:N84101909 |  | BAR: FULCRUM BAR;PROTECTION PLATE;FOR HP5 C | METSO | N84101909 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N84101909 | [12 empty] | METSO | N84101909 | METSO OUTOTEC AUSTRALIA LIMITED | N84101909 | [14 empty] | https://www.tiger-machinery.com/english/technology/HP5-cone-crusher |  |  | CRUSHER |  | HP5 |  |  |  |  | Cleansed | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1145693 | 1145693 |  |  |  | ERSA | M | 1600 | 1536242GZPCLNT100 | EA |  | BAR;METAL YOKE BAR, 300MM,YURIKA,104428 | BAR;METAL YOKE BAR, 300MM,YURIKA,104428 | BAR;ADDITIONAL FEATURES:METAL YOKE BAR, 300MM,YURIKA,104428 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104428 | [10 empty] | YURIKA PTY LTD | 104428 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | YOKE | DIMENSIONS | 300 MM | MATERIAL | METAL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1097492 | 1097492 | 1374089 | AU_QM_000202970 |  | ERSA | M | 5620 | 1374089GZPCLNT100 | EA | 1068410 | BAR;MTC,MT3128 0034 05 | BAR;MTC,MT3128 0034 05 | BAR;MNFR:ATLAS COPCO,PTNO:MT3128 0034 05 |  | BAR;MTC,MT3128 0034 05BAR;ATL,MT3128 0034 05 | MAINTENANCE TECHNIQUE PTY LTD | MT3128 0034 05 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3128003405 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 0034 05 | EPIROC AUSTRALIA PTY LTD | 3128003405 | ATLAS COPCO | [13 empty] | https://www.mtunderground.com/wp-content/uploads/2021/09/MT-Feed-E7C-2550-Poster-5.pdf | [9 empty] | Enriched | 30260000 Structural materials | MTC |  | BAR | NO MODIFIER | TYPE | SLIDE,LEFT | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1012249 | 1012249 |  |  |  | ERSA | M | 1510 | 1607073GZPCLNT100 | EA | 3000438 | BAR;NRMT,100008331,STPS | BARRA;NRMT,100008331 | BAR;MNFR:NORMET,PTNO:100008331,ADDITIONAL FEATURES EN:STEPS | BARRA;MNFR:NORMET,PTNO:100008331 |  | NORMET | 100008331 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100008331 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 100008331 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | STEPS |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1103678 | 1103678 |  |  |  | ERSA | M | 5000 | 1570522GZPCLNT100 | EA | 3000438 | BAR;NRMT,45993080,LCK | BARRA;NRMT,45993080 | BAR;MNFR:NORMET,PTNO:45993080,ADDITIONAL FEATURES EN:LOCK | BARRA;MNFR:NORMET,PTNO:45993080 |  | NORMET | 45993080 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 45993080 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 45993080 | [16 empty] | https://www.volza.com/p/normet/import/import-in-peru/hsn-code-7326909000/ | [9 empty] | Enriched | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | LOCKING | DIMENSIONS |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1049969 | 1049969 |  |  |  | ERSA | M | 4090 | 1583062GZPCLNT100 | EA |  | BAR;RETNG,XRF CERAMIC CRUCIBLE,DM-X03-RB | BARRA; | BAR;TYPE:RETAINING,DIMENSIONS:,MATERIAL:,ADDITIONAL FEATURES EN:XRF CERAMIC CRUCIBLE,DM-X03-RB | BARRA; |  |  |  | 1069528 @@ D.P.M. ENGINEERING | DM-X03-RB | [10 empty] | D.P.M. ENGINEERING | DM-X03-RB | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | XRF CERAMIC CRUCIBLE |  | BAR | NO MODIFIER | TYPE | RETAINING | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1054418 | 1054418 |  |  |  | ERSA | M | 1510 | 1588329GZPCLNT100 | EA |  | BAR;RND,50MM X 1M,ALY,H & T 4140 | BARRA; | BAR;TYPE:ROUND,DIMENSIONS:50MM X 1M,MATERIAL:ALLOY,ADDITIONAL FEATURES EN:H & T 4140 | BARRA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 1588329 | [10 empty] | VULCAN STEEL PTY LTD | 1588329 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 50 MM | LENGTH | 1 M | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION | GRADE 4140 | PROCESS | HARDENED AND TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1054303 | 1054303 |  |  |  | ERSA | M | 4900 | 1615159GZPCLNT100 | EA |  | BAR;ROLLOMATIC,12 IN,MPN:3005-008-3405 | BARRA; | BAR;TYPE:ROLLOMATIC,DIMENSIONS:12 IN,MATERIAL:,ADDITIONAL FEATURES EN:MPN:3005-008-3405,BRAND:STHIL | BARRA; |  |  |  | 1068614 @@ BIKE & RIDER YAMAHA PTY LTD | 9281 | [12 empty] | STHIL | 3005 008 3405 | BIKE & RIDER YAMAHA PTY LTD | 9281 | [14 empty] | https://www.newsawchains.co.uk/products/stihl-rollomatic-e-mini-guide-bar-12-30cm-3005-008-3405 | https://www.radmoretucker.co.uk/shop/garden-machinery/chainsaws-tree-care/chainsaw-bars-chains/stihl-12-inch-guide-bar-14-043-rollomatic-e-mini-3005-008-3405/ | [8 empty] | Enriched | 30260000 Structural materials | BRAND:ROLLOMATIC |  | BAR | NO MODIFIER | TYPE | CHAINSAW GUIDE | DIMENSIONS | 12 IN | MATERIAL | CHROME MOLYBDENUM STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1054296 | 1054296 |  |  |  | ERSA | M | 4900 | 1615152GZPCLNT100 | EA |  | BAR;ROLLOMATIC,50 CM,MPN:3003-813-5221 | BARRA; | BAR;TYPE:ROLLOMATIC,DIMENSIONS:50 CM,MATERIAL:,ADDITIONAL FEATURES EN:MPN:3003-813-5221,BRAND:STHIL | BARRA; |  |  |  | 1068614 @@ BIKE & RIDER YAMAHA PTY LTD | 31606 | [12 empty] | STHIL | 3003 813 5221 | BIKE & RIDER YAMAHA PTY LTD | 31606 | [14 empty] | https://sunshinecoastmowers.com.au/products/stihl-rollomatic-lam-50cm-20-3-8 | https://mowercitytweed.com.au/product/rollomatic-sthil-bar-50cm-1-6mm/ | [8 empty] | Enriched | 30260000 Structural materials | BRAND:ROLLOMATIC |  | BAR | NO MODIFIER | TYPE | CHAINSAW GUIDE | DIMENSIONS | 3/8 TO 20 IN/50 CM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1170071 | 1170071 | 1448794 | AU_QM_001095678 |  | ERSA | M | 1510 | 1448794GZPCLNT100 | EA |  | BAR;SHELL LIFTER,LG 1.43 M,NON METAL | BAR;SHELL LIFTER,LG 1.43 M,NON METAL | BAR;TYPE:SHELL LIFTER,DIMENSIONS:LG 1.43 M,MATERIAL:NON METAL,MNFR:01)MULTOTEC,PTNO:01)ILL427 |  | BAR,NONMETAL: 1430MM LG;SHELL LIFTER BAR,RUBBER; |  |  | 1068642 @@ MULTOTEC PTY LTD | DWG NO ILL427 | [10 empty] | MULTOTEC PTY LTD | DWG NO ILL427 | [18 empty] | URL NOT FOUND | [6 empty] | ILL427 |  |  | Cleansed | 30260000 Structural materials | NON METAL |  | BAR | NO MODIFIER | TYPE | SHELL LIFTER | DIMENSIONS | 1.43 M LG | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1102155 | 1102155 |  |  |  | ERSA | M | 4090 | 1530103GZPCLNT100 | EA |  | BAR;SHUTTLE,5633 | BAR;SHUTTLE,5633 | BAR;ADDITIONAL FEATURES:SHUTTLE,5633 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 5633 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | 5633 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | SHUTTLE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1190184 | 1190184 |  |  |  | ERSA | M | 2600 | 1574980GZPCLNT100 | EA |  | BAR;SOLID,3 1/2 IN X 0.6 M,PB1 BRONZE | BARRA; | BAR;TYPE:SOLID,DIMENSIONS:3 1/2 IN X 0.6 M,MATERIAL:PB1 BRONZE | BARRA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | 1574980 | [10 empty] | VULCAN STEEL PTY LTD | 1574980 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30262500 Bronze bars |  |  | BAR | NO MODIFIER | TYPE | SOLID | DIMENSIONS | 3-1/2 DIA INX0.6 LG M | MATERIAL | PB1 BRONZE | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1102124 | 1102124 |  |  |  | ERSA | M | 4090 | 1530136GZPCLNT100 | EA |  | BAR;SPACER,D9614-1 | BAR;SPACER,D9614-1 | BAR;ADDITIONAL FEATURES:SPACER,D9614-1 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | D9614-1 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | D9614-1 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | SPACER |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1053919 | 1053919 |  |  |  | ERSA | M | 5700 | 1583428GZPCLNT100 | EA |  | BAR;SPRY,D25,C/W MOUNTS 900 BELT | BARRA; | BAR;TYPE:SPRAY,DIMENSIONS:D25,MATERIAL:,ADDITIONAL FEATURES EN:C/W MOUNTS 900 BELT | BARRA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 73025090S | [12 empty] | ESS ENGINEERING SERV SUP PTY LTD | 73025090S | [16 empty] | https://irp-cdn.multiscreensite.com/38ca115f/files/uploaded/Product%20Catalogue%20AUG%202019.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | BELT WIDTH:900 MM,NUMBER OF NOZZLES:2,C/W MOUNTS |  | BAR | SPRAY | TYPE |  | NUMBER OF JETS |  | JET TYPE |  | JET SPACING |  | SPRAY WIDTH |  | MATERIAL | STAINLESS STEEL | PORT TYPE |  | SIZE | D25 | PRESSURE RATING | 10 BAR | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1184633 | 1184633 |  |  |  | ERSA | M | 4090 | 1558846GZPCLNT100 | EA |  | BAR;SPRY,MTL,40NB,9 NOZZLE,73SH7438S | BARRA; | BAR;TYPE:SPRAY,DIMENSIONS:TBC,MATERIAL:METAL,ADDITIONAL FEATURES EN:40NB,9 NOZZLE | BARRA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 73SH7438S | [10 empty] | ESS ENGINEERING SERV SUP PTY LTD | 73SH7438S | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | TBC,NUMBER OF NOZZLES:9 |  | BAR | SPRAY | TYPE |  | NUMBER OF JETS |  | JET TYPE |  | JET SPACING |  | SPRAY WIDTH |  | MATERIAL | METAL | PORT TYPE |  | SIZE | 40NB | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1051254 | 1051254 |  |  |  | ERSA | M | 4090 | 1581340GZPCLNT100 | EA |  | BAR;WNCH,TRCK,900MM,CR | BARRA; | BAR;TYPE:WINCH,TRUCK,DIMENSIONS:900MM,MATERIAL:CHROME | BARRA; |  |  |  | 1068502 @@ ATOM SUPPLY | 91408053 | [12 empty] | ATOM SUPPLY | 91408053 | [16 empty] | https://www.atom.com.au/bar-winch-900mm-chrome-truck-winch-91408053 |  |  | TRUCK | [6 empty] | Cleansed | 30260000 Structural materials | FINISH:CHROME |  | BAR | NO MODIFIER | TYPE | WINCH | DIMENSIONS | 900 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1057293 | 1057293 |  |  |  | ERSA | M | 4005 | 1542632GZPCLNT100 | EA |  | BAR;WRECKING,900X20MM,STL | BARRA; | BAR;TYPE:WRECKING,DIMENSIONS:900X20MM,MATERIAL:STEEL | BARRA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1542632 | [26 empty] | J BLACKWOOD & SONS | 1542632 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | WRECKING | DIMENSIONS | 20X900 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1056815 | 1056815 |  |  |  | ERSA | M | 1650 | 1615773GZPCLNT100 | EA |  | BREAKER,CIRCT;MINTR,40 A,415 V,10 KA,3 P | DISYUNTORA;40 A,415 V | BREAKER,CIRCUIT;TYPE:MINIATURE,CURRENT RATING:40 A,VOLTAGE RATING:415 V,INTERRUPT RATING:,ADDITIONAL FEATURES EN:10 KA,3 P,D CURVE,PN:NDN340A,MNFR:HAGER | DISYUNTORA;CORRIENTE NOMINAL:40 A,VOLTAJE:415 V |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HAGNDN340A | [12 empty] | HAGER | NDN340A | CNW (MOUNT ISA) ELECT WHOLESALER | HAGNDN340A | [14 empty] | https://hager.com/au/products/product-information/ndn340a-mcb-3p-10ka-d-40a-3m | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION: IP20,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | D | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | SCREW | SIZE | 52.5 WDX83 HTX70 DP MM | CERTIFICATION/STANDARD | AS/NZS 60898-1,EN 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1207173 | 1207173 |  |  |  | ERSA | M | 1600 | 683196MRM | EA |  | CIRCUIT BREAKER:10A;1P;8KA;MINIATURE;TER | CIRCUIT BREAKER:10A;1P;8KA;MINIATURE;TER | CIRCUIT BREAKER:10A;1P;8KA;MINIATURE;TERRACOTTA;C CURVE;DIN RAIL MTG;TO AS3111; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | TERRACOTTA |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 8 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1209703 | 1209703 |  |  |  | ERSA | M | 1600 | 771857MRM | EA |  | CIRCUIT BREAKER:25A;3P;10KA;MINIATURE;DI | CIRCUIT BREAKER:25A;3P;10KA;MINIATURE;DI | CIRCUIT BREAKER:25A;3P;10KA;MINIATURE;DIN-T10 SERIES;C CURVE;DIN RAIL MTG;TO AS3111 IEC898; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | SERIES:DIN-T10 |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111,IEC 898 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1207172 | 1207172 |  |  |  | ERSA | M | 1600 | 683191MRM | EA |  | CIRCUIT BREAKER:2A;1P;8KA;MINIATURE;TERR | CIRCUIT BREAKER:2A;1P;8KA;MINIATURE;TERR | CIRCUIT BREAKER:2A;1P;8KA;MINIATURE;TERRACOTTA;C CURVE;DIN RAIL MTG;TO AS3111; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | TERRACOTTA |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 8 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1206448 | 1206448 |  |  |  | ERSA | M | 1600 | 333276MRM | EA |  | CIRCUIT BREAKER:6 AMP;1 POLE;MINIATURE; | CIRCUIT BREAKER:6 AMP;1 POLE;MINIATURE; | CIRCUIT BREAKER:6 AMP;1 POLE;MINIATURE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212710 | 1212710 |  |  |  | ERSA | M | 1600 | 137368MRM | EA |  | CIRCUIT BREAKER:C60H CIRCUIT BREAKER;2A; | CIRCUIT BREAKER:C60H CIRCUIT BREAKER;2A; | CIRCUIT BREAKER:C60H CIRCUIT BREAKER;2A;1 POLE;10KA;PRICRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:C60H,PRICRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1215926 | 1215926 |  |  |  | ERSA | M | 1600 | 138954MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 3 | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 3 | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 36KA 100A;SEC CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 100 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 36 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212510 | 1212510 |  |  |  | ERSA | M | 1600 | 137337MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 36KA TM1 | CIRCUIT BREAKER:CIRCUIT BREAKER 36KA TM1 | CIRCUIT BREAKER:CIRCUIT BREAKER 36KA TM160D;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:TM160D,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 36 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1215918 | 1215918 |  |  |  | ERSA | M | 1600 | 138946MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 200 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 200 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 200A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 200 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212687 | 1212687 |  |  |  | ERSA | M | 1600 | 137342MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 630 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 630 | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA 630A MICROLOGIC;5.3A;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP UNIT:MICROLOGIC,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 630 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING | 5.3 A | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212508 | 1212508 |  |  |  | ERSA | M | 1600 | 137335MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRA | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRA | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRAME ONLY 160A;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FRAME ONLY,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 160 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212512 | 1212512 |  |  |  | ERSA | M | 1600 | 137339MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRA | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRA | CIRCUIT BREAKER:CIRCUIT BREAKER 50KA FRAME ONLY 250A;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FRAME ONLY,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1215919 | 1215919 |  |  |  | ERSA | M | 1600 | 138947MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 36 | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 36 | CIRCUIT BREAKER:CIRCUIT BREAKER FRAME 36KA 250A;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 36 KA | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212701 | 1212701 |  |  |  | ERSA | M | 1600 | 137358MRM | EA |  | CIRCUIT BREAKER:CONTACTOR 180KW 240VAC;G | CIRCUIT BREAKER:CONTACTOR 180KW 240VAC;G | CIRCUIT BREAKER:CONTACTOR 180KW 240VAC;GRINDING SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | POWER RATING:180 KW,GRINDING SWITCHROOM SPARES,CONTACTOR |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212691 | 1212691 |  |  |  | ERSA | M | 1600 | 137346MRM | EA |  | CIRCUIT BREAKER:CONTACTOR;280KW;240VAC;F | CIRCUIT BREAKER:CONTACTOR;280KW;240VAC;F | CIRCUIT BREAKER:CONTACTOR;280KW;240VAC;FILTER SWITCHROOMSPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | POWER RATING:280 KW,FILTER SWITCHROOM SPARES,CONTACTOR |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212690 | 1212690 |  |  |  | ERSA | M | 1600 | 137345MRM | EA |  | CIRCUIT BREAKER:CONTACTOR;9KW;240VAC;FIL | CIRCUIT BREAKER:CONTACTOR;9KW;240VAC;FIL | CIRCUIT BREAKER:CONTACTOR;9KW;240VAC;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | POWER RATING:9 KW,FILTER SWITCHROOM SPARES,CONTACTOR |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1204096 | 1204096 |  |  |  | ERSA | M | 1600 | 271123MRM | EA |  | CIRCUIT BREAKER:MINI CIRCUIT BREAKER;C C | CIRCUIT BREAKER:MINI CIRCUIT BREAKER;C C | CIRCUIT BREAKER:MINI CIRCUIT BREAKER;C CURVE;1P;32A;10KA;DIN RAIL |  |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | SHNA9F54132 | [12 empty] | SCHNEIDER ELECTRIC | A9F54132 | MM ELECTRICAL MERCHANDISING | SHNA9F54132 | [14 empty] | https://www.se.com/uk/en/product/A9F54132/acti9-ic60h-1p-32a-c-miniature-circuit-breaker/ | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-35 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE | THERMAL MAGNETIC | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | CLIP-ON | SIZE | 18 WDX85 HTX78.5 DP MM | CERTIFICATION/STANDARD | EN/IEC 60947-2,EN/IEC 60898-1 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1204094 | 1204094 |  |  |  | ERSA | M | 1600 | 271120MRM | EA |  | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BRE | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BRE | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BREAKER;3P;17-25A;50KA |  |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | C10N3TM025 | [12 empty] | SCHNEIDER ELECTRIC | C10N3TM025 | MM ELECTRICAL MERCHANDISING | C10N3TM025 | [14 empty] | https://www.se.com/hk/en/product/C10N3TM025/circuit-breaker-compact-nsx100n-50ka-415vac-3-poles-tmd-trip-unit-25a/ | [9 empty] | Enriched | 39121601 Circuit breakers |  | DEGREE OF PROTECTION:IP40,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 17 TO 25 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 50 KA | FRAME TYPE |  | CONTACT RATING | 690 VAC | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | 25 A | MOUNTING TYPE | FIXED BACK PLATE | TERMINAL TYPE |  | SIZE | 105 WDX161 HTX86 DP MM | CERTIFICATION/STANDARD | CCC,EN/IEC 60947,EAC | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1204097 | 1204097 |  |  |  | ERSA | M | 1600 | 271124MRM | EA |  | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BRE | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BRE | CIRCUIT BREAKER:MOULDED CASE CIRCUIT BREAKER;LESS TRIP UNIT;3P;250A;70KA |  |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | C25H3 | [12 empty] | SCHNEIDER ELECTRIC | C25H3 | MM ELECTRICAL MERCHANDISING | C25H3 | [14 empty] | https://www.se.com/il/en/product/C25H3/circuit-breaker-basic-frame-compact-nsx250h-70ka-at-415vac-50-60-hz-250a-without-trip-unit-3-poles/ | [9 empty] | Enriched | 39121601 Circuit breakers | LESS TRIP UNIT | DEGREE OF PROTECTION:IP40,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 70 KA | FRAME TYPE |  | CONTACT RATING | 690 VAC | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | FIXED BACK PLATE | TERMINAL TYPE |  | SIZE | 105 WDX161 HTX86 DP MM | CERTIFICATION/STANDARD | CCC,EN/IEC 60947,EAC | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1209734 | 1209734 |  |  |  | ERSA | M | 1600 | 134352MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA100 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA100 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA100; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121602 Magnetic circuit breakers | TRIP UNIT:MA100 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAGNETIC | CURRENT RATING | 100 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212509 | 1212509 |  |  |  | ERSA | M | 1600 | 137336MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA150 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA150 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA150;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121602 Magnetic circuit breakers | TRIP UNIT:MA150,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAGNETIC | CURRENT RATING | 150 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1209736 | 1209736 |  |  |  | ERSA | M | 1600 | 134355MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121602 Magnetic circuit breakers | TRIP UNIT:MA220 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAGNETIC | CURRENT RATING | 220 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212513 | 1212513 |  |  |  | ERSA | M | 1600 | 137340MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220 | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA220;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121602 Magnetic circuit breakers | TRIP UNIT:MA220,FILTER SWITCHROOM SPARES |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAGNETIC | CURRENT RATING | 220 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1212720 | 1212720 |  |  |  | ERSA | M | 1600 | 137379MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA25; | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA25; | CIRCUIT BREAKER:TRIP UNIT MAGNETIC MA25;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121602 Magnetic circuit breakers | TRIP UNIT:MA25,PRI CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MAGNETIC | CURRENT RATING | 25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1204093 | 1204093 |  |  |  | ERSA | M | 1600 | 271119MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT MOTOR PROTECTI | CIRCUIT BREAKER:TRIP UNIT MOTOR PROTECTI | CIRCUIT BREAKER:TRIP UNIT MOTOR PROTECTION;3P;6.3A;2.2 KW;MA6.3 FOR NSX CB |  |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | C103MA007 | [12 empty] | SCHNEIDER ELECTRIC | C103MA007 | MM ELECTRICAL MERCHANDISING | C103MA007 | [14 empty] | https://www.se.com/ie/en/product/C103MA007/trip-unit-ma6-3-compact-nsx100-3-poles-magnetic-protections-motor-protection-6-3a-rating/ | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | TYPE MA6.3,NUMBER OF POLES:3,POWER RATING:2.2 KW | DEGREE OF PROTECTION:IP40 | TRIP UNIT | NO MODIFIER | TYPE | MAGNETIC,MOTOR PROTECTION | TRIP RATING | 6.3 A | ELECTRICAL RATING | 690 VAC 50/60 HZ | MOUNTING TYPE | FIXED | APPLICATION | NSX CIRCUIT BREAKER | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-2 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-10-31 |  | 1204095 | 1204095 |  |  |  | ERSA | M | 1600 | 271121MRM | EA |  | CIRCUIT BREAKER:TRIP UNIT TM125D;COMPACT | CIRCUIT BREAKER:TRIP UNIT TM125D;COMPACT | CIRCUIT BREAKER:TRIP UNIT TM125D;COMPACT NSX 160/250A;3POLES;THERMAL M |  |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | SHNC163TM125 | [12 empty] | SCHNEIDER ELECTRIC | C163TM125 | MM ELECTRICAL MERCHANDISING | SHNC163TM125 | [14 empty] | https://www.se.com/hk/en/product/C163TM125/trip-unit-tm125d-for-compact-nsx-160-250-circuit-breakers-thermal-magnetic-rating-125-a-3-poles-3d/ | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | TYPE TM125D,NUMBER OF POLES:3 | DEGREE OF PROTECTION:IP40 | TRIP UNIT | NO MODIFIER | TYPE | THERMAL MAGNETIC | TRIP RATING | 125 A | ELECTRICAL RATING | 690 VAC 50/60 HZ | MOUNTING TYPE | FIXED | APPLICATION | COMPACT NSX 160/250A CIRCUIT BREAKER | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-2 | [56 empty] | Production Completed