## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025458 | 1025458 | 1383176 | AU_QM_000223501 |  | ERSA | M | 1610 | 1383176GZPCLNT100 | EA | 3000000 | BATTERY;ATL,M89A1210015031 | BATTERY;ATL,M89A1210015031 | BATTERY;MNFR:ATLAS COPCO,PTNO:M89A1210015031 |  | BATTERY;ATL,M89A1210015031BATTERY;ATL,M89A1210015031 | ATLAS COPCO | M89A1210015031 | [12 empty] | ATLAS COPCO | M89A1210015031 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025964 | 1025964 | 1373497 | AU_QM_000202316 |  | ERSA | M | 1610 | 1373497GZPCLNT100 | EA | 3000000 | BATTERY;ATL,MF56077 | BATTERY;ATL,MF56077 | BATTERY;MNFR:ATLAS COPCO,PTNO:MF56077 |  | BATTERY;ATL,MF56077BATTERY;ATL,MF56077 | ATLAS COPCO | MF56077 | [14 empty] | ALCO | MF56077 | ATLAS COPCO | [15 empty] | https://www.colliermiller.com.au/mf56077-alco-battery-12v-din55-l242xw174xh175-530cca-maintanence-free | https://qualitybatterieswa.com.au/products/alco-mf56077-2000-high-performance | [8 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | VOLTAGE RATING:12 V,COLD CRANKING AMPS:530 A | BATTERY | STORAGE | TYPE | HIGH PERFORMANCE,AUTOMOTIVE,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 55 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 242 LGX174 WDX175 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025296 | 1025296 | 1387795 | AU_QM_000228988 |  | ERSA | M | 1610 | 1387795GZPCLNT100 | EA | 3000000 | BATTERY;ATL,MXS25 | BATTERY;ATL,MXS25 | BATTERY;MNFR:ATLAS COPCO,PTNO:MXS25 |  | BATTERY;ATL,MXS25BATTERY;ATL,MXS25 | ATLAS COPCO | MXS25 | [14 empty] | CTEK | MXS25 | ATLAS COPCO | [15 empty] | https://www.ctek.com/storage/75603F8F603BD3DFBD9F30CC61C00624F3B8A97FC64FDE991C876B5FD72E295E/04255efd709b4057b7fd660ca88563a7/pdf/media/8d048b0b6146431da401e98bffad5ac5/MXS_25-productsheet-low-UK-EN.pdf | https://www.master-instruments.com.au/products/62843/MXS25.html | [8 empty] | ENRICHED | 26111704 Battery chargers |  | CAPACITY:40 TO 500 AH | CHARGER | BATTERY | TYPE | FULLY AUTOMATIC 8-STEP,LEAD ACID | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE | 12 V | CURRENT RATING | 25 A | SIZE | 235 LGX130 WDX65 HT MM | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025148 | 1025148 | 1391504 | AU_QM_000233372 |  | ERSA | M | 1610 | 1391504GZPCLNT100 | EA | 3000000 | BATTERY;ATL,PD2430 | BATTERY;ATL,PD2430 | BATTERY;MNFR:ATLAS COPCO,PTNO:PD2430 |  | BATTERY;ATL,PD2430BATTERY;ATL,PD2430 | ATLAS COPCO | PD2430 | [14 empty] | ROUTEJADE | PD2430 | ATLAS COPCO | [15 empty] | https://www.master-instruments.com.au/products/55004/PD2430.html | https://www.batteriesdirect.com.au/shop/product/13086/pd2430.html | [8 empty] | ENRICHED | 26111711 Lithium batteries |  |  | BATTERY | COIN CELL | TYPE | RECHARGEABLE LITHIUM-ION | VOLTAGE RATING | 3.7 V | BATTERY CAPACITY | 100 MAH | CHEMICAL COMPOSITION |  | BATTERY SIZE |  | DIAMETER | 24.5 MM | HEIGHT | 3.1 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025225 | 1025225 | 1389591 | AU_QM_000231113 |  | ERSA | M | 1610 | 1389591GZPCLNT100 | EA | 3000000 | BATTERY;ATL,PRO25S | BATTERY;ATL,PRO25S | BATTERY;MNFR:ATLAS COPCO,PTNO:PRO25S |  | BATTERY;ATL,PRO25SBATTERY;ATL,PRO25S | ATLAS COPCO | PRO25S | [14 empty] | CTEK | PRO25S | ATLAS COPCO | [15 empty] | https://www.ctek.com/au/battery-chargers-12v-24v/application/showroom/pro25s-au | https://in.rsdelivers.com/product/ctek/pro-25-s-eu/ctek-pro25s-battery-charger-for-lifepo4-12-v-133v/2017015 | [8 empty] | ENRICHED | 26111704 Battery chargers |  | DEGREE OF PROTECTION:IP44,CAHRGING CABLE LENGTH:2 M | CHARGER | BATTERY | TYPE | AUTOMOTIVE | OUTPUT VOLTAGE RATING | 13.3 TO 15.8 V | CHARGING CAPACITY |  | INPUT VOLTAGE | 220 TO 240 V | CURRENT RATING | 2.9 A | SIZE | 235 LGX130 WDX65 HT MM | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING | -20 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025122 | 1025122 | 1392387 | AU_QM_000235639 |  | ERSA | M | 1610 | 1392387GZPCLNT100 | EA | 3000000 | BATTERY;ATL,SLA 12V 7.4AH BATTERY | BATTERY;ATL,SLA 12V 7.4AH BATTERY | BATTERY;MNFR:ATLAS COPCO,PTNO:SLA 12V 7.4AH BATTERY |  | OEM-E-LISTBATTERY;ATL,SLA 12V 7.4AH BATTERY | ATLAS COPCO | SLA 12V 7.4AH BATTERY | [12 empty] | ATLAS COPCO | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE | SEALED LEAD ACID | VOLTAGE RATING | 12 V | CAPACITY | 7.4 AH | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025121 | 1025121 | 1392388 | AU_QM_000235640 |  | ERSA | M | 1610 | 1392388GZPCLNT100 | EA | 3000000 | BATTERY;ATL,TB-14500IC10-BP1 | BATTERY;ATL,TB-14500IC10-BP1 | BATTERY;MNFR:ATLAS COPCO,PTNO:TB-14500IC10-BP1 |  | OEM-E-LISTBATTERY;ATL,TB-14500IC10-BP1 | ATLAS COPCO | TB-14500IC10-BP1 | [14 empty] | MASTER INSTRUMENTS | TB-14500IC10-BP1 | ATLAS COPCO | [15 empty] | https://www.master-instruments.com.au/products/65890/TB-14500IC10-BP1.html | [9 empty] | ENRICHED | 26111705 Dry cell batteries |  |  | BATTERY | DRY CELL | TYPE | LITHIUM-ION TORCH | VOLTAGE RATING | 3.7 V | CAPACITY | 1 AH | SIZE DESIGNATION |  | SIZE | 14 WDX52 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025414 | 1025414 | 1384807 | AU_QM_000225460 |  | ERSA | M | 1610 | 1384807GZPCLNT100 | EA | 3000000 | BATTERY;ATL,U1RMF | BATTERY;ATL,U1RMF | BATTERY;MNFR:ATLAS COPCO,PTNO:U1RMF |  | BATTERY;ATL,U1RMFBATTERY;ATL,U1RMF | ATLAS COPCO | U1RMF | [14 empty] | EXIDE | U1RMF | ATLAS COPCO | [15 empty] | https://www.bunnings.com.au/exide-powerider-u1rmf-lawn-mower-battery_p0126472 | https://www.marshallbatteries.com.au/u1rmf/ | [8 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | COLOR:BLACK,VOLTAGE RATING:12 V,COLD CRANKING AMPS:340 A | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE,LEAD ACID | ELECTROLYTE |  | CAPACITY | 35 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 196 LGX128 WDX184 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110276 | 1110276 | 1413569 | AU_QM_000259079 |  | ERSA | M | 5915 | 1413569GZPCLNT100 | EA |  | BATTERY;BEL0017 | BATTERY;BEL0017 | BATTERY;MNFR: ,PTNO:BEL0017 |  | BATTERY;BEL0017BATTERY;BEL0017 | [16 empty] | DIECI | BEL0017 | [16 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BEL0017 | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110275 | 1110275 | 1413570 | AU_QM_000259080 |  | ERSA | M | 5915 | 1413570GZPCLNT100 | EA |  | BATTERY;BEL0024 | BATTERY;BEL0024 | BATTERY;MNFR: ,PTNO:BEL0024 |  | BATTERY;BEL0024BATTERY;BEL0024 | [15 empty] | BEL0024 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110922 | 1110922 | 1420245 | AU_QM_000266373 |  | ERSA | M | 5915 | 1420245GZPCLNT100 | EA |  | BATTERY;M30314A02000 | BATTERY;M30314A02000 | BATTERY;MNFR: ,PTNO:M30314A02000 |  | BATTERY;M30314A02000BATTERY;M30314A02000 | [17 empty] | M30314A02000 | [16 empty] | https://www.scribd.com/document/498021292/PART-3-Electrical-System | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE | START | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205061 | 1205061 |  |  |  | ERSA | M | 5955 | 627391MRM | EA |  | CAP,SEALING:CAT 9Y8502 GP CYL BLOCK;PLUG | CAP,SEALING:CAT 9Y8502 GP CYL BLOCK;PLUG | CAP,SEALING:CAT 9Y8502 GP CYL BLOCK;PLUG CAP | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR CATERPILLAR 9Y8502 GP CYLINDER BLOCK |  | CAP | SEAL | TYPE | PLUG | MATERIAL |  | SIZE |  | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205841 | 1205841 |  |  |  | ERSA | M | 5955 | 1024447MRM | EA |  | CAP,SEALING:DISCHARGE NOZZLE DUST CAP;12 | CAP,SEALING:DISCHARGE NOZZLE DUST CAP;12 | CAP,SEALING:DISCHARGE NOZZLE DUST CAP;12 X 8MM LG;PVC;HIGH TEMP;FIRE SUPPRESSION SYSTEM;U/G MOBILE EQUIP FIRE SUPPRESSION | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | HIGH TEMPERATURE,FOR FIRE SUPPRESSION SYSTEM,U/G MOBILE EQUIPMENT FIRE SUPPRESSION |  | CAP | SEAL | TYPE | DISCHARGE NOZZLE DUST | MATERIAL | PVC | SIZE | 12 DIAX8 LG MM | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1216678 | 1216678 |  |  |  | ERSA | M | 5955 | 7128394MRM | EA |  | CAP,SEALING:TC200 UN BOX CAP;Z76 D=30.5; | CAP,SEALING:TC200 UN BOX CAP;Z76 D=30.5; | CAP,SEALING:TC200 UN BOX CAP;Z76 D=30.5;POS S501 <(>&<)> S503;TC200 CARRIER ELECTRICS | [36 empty] | URL NOT FOUND |  |  |  | CARRIER ELECTRICS | TC200,Z76 |  |  |  | S501,S503 | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | SEAL | TYPE | BOX | MATERIAL |  | SIZE | 30.5 MM DIA | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205130 | 1205130 |  |  |  | ERSA | M | 5955 | 1006111MRM | EA |  | CAP,TUBE:11/16INCH F.UNF SEAL-LOK;STEEL, | CAP,TUBE:11/16INCH F.UNF SEAL-LOK;STEEL, | CAP,TUBE:11/16INCH F.UNF SEAL-LOK;STEEL,HYDRAULIC;SAE J1453;WAGNER ST7.5 REMOTE CONTROL TRUCK | [36 empty] | URL NOT FOUND |  |  | REMOTE CONTROL TRUCK | WAGNER | ST7.5 |  |  |  |  | CLEANSED | 40183104 Tube cap | TRADE NAME:SEAL-LOK |  | CAP | TUBE | TYPE | HYDRAULIC | NOMINAL SIZE | 11/16 IN | END CONNECTION | FEMALE UNF | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J1453 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205131 | 1205131 |  |  |  | ERSA | M | 5955 | 1006112MRM | EA |  | CAP,TUBE:13/16INCH F.UNF SEAL-LOK;STEEL, | CAP,TUBE:13/16INCH F.UNF SEAL-LOK;STEEL, | CAP,TUBE:13/16INCH F.UNF SEAL-LOK;STEEL,HYDRAULIC;SAE J1453;WAGNER ST7.5 REMOTE CONTROL TRUCK | [36 empty] | URL NOT FOUND |  |  | REMOTE CONTROL TRUCK | WAGNER | ST7.5 |  |  |  |  | CLEANSED | 40183104 Tube cap | TRADE NAME:SEAL-LOK |  | CAP | TUBE | TYPE | HYDRAULIC | NOMINAL SIZE | 13/16 IN | END CONNECTION | FEMALE UNF | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J1453 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1206528 | 1206528 |  |  |  | ERSA | M | 5955 | 657486MRM | EA |  | CAP,TUBE:1INCH F.UNF SEAL-LOK;STEEL,HYDR | CAP,TUBE:1INCH F.UNF SEAL-LOK;STEEL,HYDR | CAP,TUBE:1INCH F.UNF SEAL-LOK;STEEL,HYDRAULIC;SAE J1453;WAGNER ST7.5 REMOTE CONTROL TRUCK | [36 empty] | URL NOT FOUND |  |  | REMOTE CONTROL TRUCK | WAGNER | ST7.5 |  |  |  |  | CLEANSED | 40183104 Tube cap | TRADE NAME:SEAL-LOK |  | CAP | TUBE | TYPE | HYDRAULIC | NOMINAL SIZE | 1 IN | END CONNECTION | FEMALE UNF | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J1453 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205129 | 1205129 |  |  |  | ERSA | M | 5955 | 1006110MRM | EA |  | CAP,TUBE:9/16INCH F.UNF SEAL-LOK;STEEL,H | CAP,TUBE:9/16INCH F.UNF SEAL-LOK;STEEL,H | CAP,TUBE:9/16INCH F.UNF SEAL-LOK;STEEL,HYDRAULIC;SAE J1453;WAGNER ST7.5 REMOTE CONTROL TRUCK | [36 empty] | URL NOT FOUND |  |  | REMOTE CONTROL TRUCK | WAGNER | ST7.5 |  |  |  |  | CLEANSED | 40183104 Tube cap | TRADE NAME:SEAL-LOK |  | CAP | TUBE | TYPE | HYDRAULIC | NOMINAL SIZE | 9/16 IN | END CONNECTION | FEMALE UNF | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J1453 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1210598 | 1210598 |  |  |  | ERSA | M | 2200 | 774329MRM | EA |  | CAP,VALVE:HL500S ACCUMULATOR VALVE CAP;L | CAP,VALVE:HL500S ACCUMULATOR VALVE CAP;L | CAP,VALVE:HL500S ACCUMULATOR VALVE CAP;LP/HP HYD.ACCUMULATORS;ROBOLT H320 <(>&<)> CABOLT H520 BOLTERSH205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | LOW PRESSURE/HIGH PRESSURE HYDRAULIC ACCUMULATORS,POWER CLASS MINIMATIC JUMBO BOLTERS |  | HL500S,ROBOLT H320,CABOLT H520,H205D |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | VALVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1211600 | 1211600 |  |  |  | ERSA | M | 2200 | 359716MRM | EA |  | CAP,VALVE:SAUNDERS 50MM KB STD BONNET AS | CAP,VALVE:SAUNDERS 50MM KB STD BONNET AS | CAP,VALVE:SAUNDERS 50MM KB STD BONNET ASSY;RISING HANDWHEEL BONNET ASSY; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR SAUNDERS 50 MM KB STANDARD BONNET ASSEMBLY,RISING HANDWHEEL BONNET ASSEMBLY |  | CAP | VALVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1213646 | 1213646 |  |  |  | ERSA | M | 3300 | 171081MRM | EA |  | CAP,WEAR,TOOTH ADAPTER:NEMISYS LIP; N5LP | CAP,WEAR,TOOTH ADAPTER:NEMISYS LIP; N5LP | CAP,WEAR,TOOTH ADAPTER:NEMISYS LIP; N5LP430-6; 4300MM; CAST ALLOY; GREEN; KLL01MB <(>&<)> KLB11MB | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR ADAPTER NEMISYS LIP N5LP430-6,KLL01MB,KLB11MB,COLOR:GREEN |  | WEAR CAP | TOOTH | TYPE |  | SIZE | 4300 MM | MATERIAL | CAST ALLOY | TOOTH DETAILS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1213943 | 1213943 |  |  |  | ERSA | M | 5620 | 1281161MRM | EA |  | CAP:LOCKING STRIP HMP;610-F-HD-3P-CAP (6 | CAP:LOCKING STRIP HMP;610-F-HD-3P-CAP (6 | CAP:LOCKING STRIP HMP;610-F-HD-3P-CAP (610 HD UPGRADE) | [17 empty] | 610-F-HD-3P-CAP | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | 610 HD UPGRADE |  | CAP | NO MODIFIER | TYPE | LOCKING STRIP | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1203687 | 1203687 |  |  |  | ERSA | M | 5955 | 987487MRM | EA |  | CAP:R2900 LOWER CAB MOUNT RETAINING CAP; | CAP:R2900 LOWER CAB MOUNT RETAINING CAP; | CAP:R2900 LOWER CAB MOUNT RETAINING CAP;ENCLOSED <(>&<)> OPEN ROPS CABS;ELPHINSTONE R2900 <(>&<)> R2900G LOADERS | [36 empty] | URL NOT FOUND |  |  | LOWER CAB MOUNT,ENCLOSED OPEN ROPS CABS,LOADERS | ELPHINSTONE | R2900,R2900G |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | RETAINING | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1154621 | 1154621 |  |  |  | ERSA | M | 2240 | 1509177GZPCLNT100 | EA |  | CAP; MALE QUICK COUPLER ,SVP-A-24326-002 | CAP; MALE QUICK COUPLER ,SVP-A-24326-002 | CAP;ADDITIONAL FEATURES: MALE QUICK COUPLER ,SVP-A-24326-002 | [17 empty] | SVP-A-24326-002 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | QUICK COUPLER | SIZE |  | CONNECTION TYPE | MALE | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1154575 | 1154575 |  |  |  | ERSA | M | 2240 | 1509246GZPCLNT100 | EA |  | CAP; STAINLESS STEEL QUIC,SP-A-24326-002 | CAP; STAINLESS STEEL QUIC,SP-A-24326-002 | CAP;ADDITIONAL FEATURES: STAINLESS STEEL QUIC,SP-A-24326-002 | [17 empty] | SP-A-24326-002 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | QUICK | SIZE |  | CONNECTION TYPE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1185407 | 1185407 |  |  |  | ERSA | M | 5000 | 1557207GZPCLNT100 | EA |  | CAP;END,JSDL-S238-01-05 | TAPA; | CAP;TYPE:END,MATERIAL:TBC | TAPA; | [35 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | END | SIZE |  | CONNECTION TYPE |  | MATERIAL | TBC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1039845 | 1039845 | 1402349 | AU_QM_000246968 |  | ERSA | M | 5915 | 1402349GZPCLNT100 | EA |  | CAP;VLV | CAP;VLV | CAP;ADDITIONAL FEATURES EN:VALVE,MNFR:01)PARTS,PTNO:01)7500-109 |  | CAP;VLVCAP;VALVE,7500-109 | [16 empty] | INGERSOLL RAND | 7500-109 | [16 empty] | https://www.motion.com/products/sku/02955327 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | VALVE | TYPE | TROTTLE | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1111246 | 1111246 | 1411921 | AU_QM_000257330 |  | ERSA | M | 5915 | 1411921GZPCLNT100 | EA |  | CAP;Z30LS-30011 | CAP;Z30LS-30011 | CAP;MNFR: ,PTNO:Z30LS-30011 |  | CAP;Z30LS-30011CAP;Z30LS-30011 | [16 empty] | ROYAL FORKLIFT CO LTD | Z30LS-30011 | [16 empty] | https://www.scribd.com/document/509711906/Rough-terrain-forklift-2-3-5T-compressed | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1109744 | 1109744 | 1463657 | AU_QM_005084077 |  | ERSA | M | 2000 | 1463657GZPCLNT100 | EA |  | CMM-1 AIR MOTOR CAP; | CMM-1 AIR MOTOR CAP; | CAP: CMM-1 AIR MOTOR CAP; INGERSOL RAND DHD-360 DRILL RIG |  | CAP: CMM-1 AIR MOTOR CAP; | [34 empty] | URL NOT FOUND |  |  | DRILL RIG | INGERSOLL RAND | DHD-360 |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware | FOR CMM-1 AIR MOTOR |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1137493 | 1137493 | 1436684 | AU_QM_000898866 |  | ERSA | M | 5620 | 1436684GZPCLNT100 | EA |  | D11 TRACK ROLLER CAP ASSY; | D11 TRACK ROLLER CAP ASSY; | CAP,PILLOW BLOCK: D11 TRACK ROLLER CAP ASSY; UNDERCARRIAGE ARRG'T; CATERPILLAR D11N AND D11R DOZERS |  | CAP,PILLOW BLOCK: D11 TRACK ROLLER CAP ASSY; | [34 empty] | URL NOT FOUND |  |  | DOZERS,TRACK ROLLER ASSEMBLY | CATERPILLAR | D11N,D11R |  |  |  |  | CLEANSED | 31171524 Bearing caps | UNDERCARRIAGE ARRANGEMENT |  | CAP | BEARING | TYPE | PILLOW BLOCK | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1008187 | 1008187 |  |  |  | ERSA | M | 1600 | 1614107GZPCLNT100 | EA | 3000254 | BATTERY;COLE,12SB50TL,12 V,50 AH,600 WH | BATERIA;COLE,12SB50TL | BATTERY;MNFR:COLEPARMER INSTRUMENT COMPANY,PTNO:12SB50TL,ADDITIONAL FEATURES EN:12 V,50 AH,600 WH,DRYPOWER LONG LIFE SLA,M6 BOLT(F8) ,TERM 60000-919 | BATERIA;MNFR:COLEPARMER INSTRUMENT COMPANY,PTNO:12SB50TL |  | COLEPARMER INSTRUMENT COMPANY | 12SB50TL | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BAT12SB50TL | [12 empty] | DRYPOWER | 12SB50TL | COLEPARMER INSTRUMENT COMPANY |  | CNW (MOUNT ISA) ELECT WHOLESALER | BAT12SB50TL | [12 empty] | https://www.drypower.com.au/power/product/25874/vrla-agm-standby-power--12v-standby-long-life-power-battery.html | https://www.master-instruments.com.au/products/66096/12SB50TL.html | [8 empty] | ENRICHED | 26111707 Lead acid batteries |  |  | BATTERY | STORAGE | TYPE | LONG LIFE STANDBY AGM,SEALED LEAD ACID,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 50 AH | SHELF LIFE | 6 TO 9 YR | TERMINAL TYPE | F8 (M6 BOLT) | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 199 LGX166 WDX171 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 1989 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1010764 | 1010764 |  |  |  | ERSA | M | 4500 | 1610969GZPCLNT100 | EA | 3000004 | BATTERY;HIT,LIBAT-H,PLC | BATERIA;HIT,LIBAT-H | BATTERY;MNFR:HITACHI,PTNO:LIBAT-H,ADDITIONAL FEATURES EN:PLC | BATERIA;MNFR:HITACHI,PTNO:LIBAT-H |  | HITACHI | LIBAT-H | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PLCLIBAT-H | [12 empty] | HITACHI | LIBAT-H | CNW (MOUNT ISA) ELECT WHOLESALER | PLCLIBAT-H | [14 empty] | https://www.osibatteries.com/hitachi-libat-h-battery-3-6v-lithium-plc | [9 empty] | ENRICHED | 26111711 Lithium batteries |  |  | BATTERY | DRY CELL | TYPE | LITHIUM | VOLTAGE RATING | 3.6 V | CAPACITY | 1600 MAH | SIZE DESIGNATION |  | SIZE | 11/16 DIAX1-5/16 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1012042 | 1012042 |  |  |  | ERSA | M | 1600 | 1584024GZPCLNT100 | EA |  | BATTERY;CMRCL,12 V,210 AH,509X275X238 MM | BATERIA;12 V,210 AH | BATTERY;TYPE:COMMERCIAL,VOLTAGE RATING:12 V,CAPACITY:210 AH,SIZE:509X275X238 MM,ADDITIONAL FEATURES EN:CCA:1300A,RC:440 MIN,M62, EXTRA HEAVY DUTY,PTNO:8D-1300HD | BATERIA;VOLTAJE:12 V,CAPACIDAD:210 AH,PTNO:8D-1300HD |  |  | 8D-1300HD | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BATAL8D-1300HD | [12 empty] | DELKOR | 8D-1300HD | CNW (MOUNT ISA) ELECT WHOLESALER | BATAL8D-1300HD | [14 empty] | https://www.delkor.nz/en-nz/products/delkor-commercial-batteries/8d-1300hd-c | https://www.rjbatt.com.au/media/lepgwhcz/technical-specifications_del8d1300hd.pdf | [8 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 V,COLD CRANKING AMPS:1300 A,RESERVE CAPACITY:440 MIN,M62 |  | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE,COMMERCIAL,EXTRA HEAVY DUTY | ELECTROLYTE |  | CAPACITY | 210 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | POLYPROPYLENE | OVERALL SIZE | 509 LGX275 WDX238 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1025166 | 1025166 | 1391218 | AU_QM_000233022 |  | ERSA | M | 1610 | 1391218GZPCLNT100 | EA | 3000000 | BATTERY;ATL,CR14250 | BATTERY;ATL,CR14250 | BATTERY;MNFR:ATLAS COPCO,PTNO:CR14250 |  | BATTERY;ATL,CR14250BATTERY;ATL,CR14250 | ATLAS COPCO | CR14250 | 1068132 @@ ATLAS BATTERIES MOUNT ISA | CR14250H | [12 empty] | FANSO BATTERIES | CR14250H | ATLAS BATTERIES MOUNT ISA | CR14250 | [14 empty] | https://www.fansobattery.com/?list_38/484.html#p3 | https://www.master-instruments.com.au/products/64764/CR14250H.html | [8 empty] | ENRICHED | 26111705 Dry cell batteries |  |  | BATTERY | DRY CELL | TYPE | CYLINDER,LITHIUM | VOLTAGE RATING | 3 V | CAPACITY | 950 MAH | SIZE DESIGNATION | 1/2AA | SIZE | 14.5 WDX25 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,IEC86-4 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1044072 | 1044072 | 1420942 | AU_QM_000267129 |  | ERSA | M | 5915 | 1420942GZPCLNT100 | EA |  | BATTERY;SUPPLY 4, IMPRES HI-CAP | BATTERY;SUPPLY 4, IMPRES HI-CAP | BATTERY;ADDITIONAL FEATURES EN:SUPPLY 4, IMPRES HI-CAP,MNFR:01)PARTS,PTNO:01)PMNN4544 |  | BATTERY;SUPPLY 4, IMPRES HI-CAPBATTERY;SUPPLY 4; IMPRES HI-CAP |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | 1420942 | [12 empty] | MOTOROLA | PMNN4544 | ATLAS BATTERIES MOUNT ISA | 1420942 | [14 empty] | https://shop.motorolasolutions.com.au/product/impres-hi-cap-li-ion-2450-mah-battery-pmnn4544#compatible_products | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | TRADE NAME:IMPRES,SUPPLY 4 |  | BATTERY | RECHARGEABLE | TYPE | HI-CAPACITY LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY | 2450 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1051337 | 1051337 |  |  |  | ERSA | M | 4090 | 1583270GZPCLNT100 | EA |  | BATTERY;LI-MNO2,3V,HIGH PWR,CR14250SL | BATERIA; | BATTERY;TYPE:LI-MNO2,SIZE:3V,ADDITIONAL FEATURES EN:HIGH PWR,CR14250SL | BATERIA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | CR14250SL | 1068087 @@ ASHDOWN INGRAM | 1583270 | [10 empty] | EEMB | CR14250SL | ASHDOWN INGRAM | 1583270 | [10 empty] | J BLACKWOOD & SONS | CR14250SL |  |  | https://www.eemb.com/product-98 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | HIGH POWER | TERMIATION STYLE:BUTTON TOP | BATTERY | DRY CELL | TYPE | SPIRAL,LITHIUM MANGANESE DIOXIDE,CYLINDRICAL | VOLTAGE RATING | 3 V | CAPACITY | 600 MAH | SIZE DESIGNATION | 1/2AA | SIZE | 14.5 WDX26 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL1642/UN38.3 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1053448 | 1053448 |  |  |  | ERSA | M | 2620 | 1581262GZPCLNT100 | PAC |  | BATTERY;LI,3V,PNSNIC,SPEEDGLAS,PK2 | BATERIA; | BATTERY;TYPE:LITHIUM,SIZE:3V,ADDITIONAL FEATURES EN:PANASONIC,SPEEDGLAS,PK2 | BATERIA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3422260 | [12 empty] | 3M | 422000 | PANASONIC | [11 empty] | J BLACKWOOD & SONS | 3422260 |  |  | https://www.3mindia.in/3M/en_IN/p/d/v000245814/ | https://www.blackwoods.com.au/welding-gas/welding-safety/welding-helmet-spare-parts/battery-9000-speedglas-422000-pack-2/p/03422260 | [8 empty] | ENRICHED | 26111711 Lithium batteries | PACKAGING QUANTITY:2/PK | COVER LENS SIZE:24 MM,LENS MATERIAL:SPEEDGLAS | BATTERY | COIN CELL | TYPE | LITHIUM,WELDING HELMET | VOLTAGE RATING | 5 V | BATTERY CAPACITY |  | CHEMICAL COMPOSITION |  | BATTERY SIZE |  | DIAMETER |  | HEIGHT |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1059246 | 1059246 |  |  |  | ERSA | M | 4090 | 1609623GZPCLNT100 | EA |  | CAP,BRG;22-55 SC,1215 CARBON STEEL | TAPA RDMTO; | CAP,BEARING;SIZE:22-55 SC,MATERIAL:1215 CARBON STEELÂ ,ADDITIONAL FEATURES EN:DRIVE SHAFT END | TAPA RODAMIENTO; |  |  |  | 1069484 @@ STEINERT AUSTRALIA PTY LTD | M10070-01 | [10 empty] | STEINERT AUSTRALIA PTY LTD | M10070-01 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171524 Bearing caps |  |  | CAP | BEARING | TYPE | DRIVE SHAFT END | SIZE | 22X55 MM | MATERIAL | CARBON STEEL GRADE 1215 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1065656 | 1065656 | 1472048 | AU_QM_009417056 |  | ERSA | M | 4090 | 1472048GZPCLNT100 | EA |  | CAP,SEALING: | CAP,SEALING: | CAP,SEALING: FULLER-KINYON DUST PUMP |  | CAP,SEALING: |  |  | 1068162 @@ FLSMIDTH PTY LTD | 116-10-04064-00 | [10 empty] | FLSMIDTH PTY LTD | 116-10-04064-00 | [18 empty] | URL NOT FOUND |  |  | DUST PUMP | FULLER-KINYON | [5 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | SEAL | TYPE |  | MATERIAL |  | SIZE |  | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1065671 | 1065671 | 1458464 | AU_QM_001734130 |  | ERSA | M | 5920 | 1458464GZPCLNT100 | EA |  | CAP,FILLER OPENING: | CAP,FILLER OPENING: | CAP,FILLER OPENING: |  | CAP,FILLER OPENING: |  |  | 1068355 @@ MALOUF INVESTMENTS MOUNT ISA PTY LI | 1458464 | [10 empty] | MALOUF INVESTMENTS MOUNT ISA PTY LI | 1458464 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1102737 | 1102737 |  |  |  | ERSA | M | 5620 | 1530699GZPCLNT100 | EA |  | CAP;END,ETS34 | CAP;END,ETS34 | CAP;ADDITIONAL FEATURES:END,ETS34 |  |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | ETS34 | [12 empty] | SKF | ETS34 | APPLIED INDUSTRIAL TECHNOLOGIES | [15 empty] | https://www.skf.com/gr/productinfo/productid-ETS%2034 | https://www.motion.com/products/sku/01441197 | [8 empty] | ENRICHED | 31171524 Bearing caps |  |  | CAP | BEARING | TYPE | END | SIZE | 186 DIAX21 WD MM | MATERIAL | CAST IRON | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1104073 | 1104073 |  |  |  | ERSA | M | 3750 | 1523898GZPCLNT100 | EA |  | CAP;64-979-210-DM | CAP;64-979-210-DM | CAP;ADDITIONAL FEATURES:64-979-210-DM |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 64-979-210-DM | [12 empty] | DOWNUNDER MINING | 64-979-210-DM | [16 empty] | https://www.scribd.com/document/531505024/Boar-CL-LW-DTC-New-Manual | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | OUTER FRONT | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1104088 | 1104088 |  |  |  | ERSA | M | 3750 | 1523880GZPCLNT100 | EA |  | CAP;64-978-290-DM | CAP;64-978-290-DM | CAP;ADDITIONAL FEATURES:64-978-290-DM |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 64-978-290-DM | [10 empty] | DOWNUNDER MINING | 64-978-290-DM | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1104135 | 1104135 |  |  |  | ERSA | M | 5955 | 1522988GZPCLNT100 | EA |  | CAP;BOMAG,06550045 | CAP;BOMAG,06550045 | CAP;ADDITIONAL FEATURES:BOMAG,06550045 |  |  |  |  | 1071029 @@ TUTT BRYANT HIRE PTY LTD | 6550045 | [12 empty] | BOMAG | 06550045 | TUTT BRYANT HIRE PTY LTD | [15 empty] | https://stores.dhsequipmentparts.com/bomag-radiator-cap-part-06550045/ | [9 empty] | CLEANSED | 25174003 Radiator caps |  |  | CAP | RADIATOR | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1104357 | 1104357 |  |  |  | ERSA | M | 2240 | 1508740GZPCLNT100 | EA |  | CAP;DUST CAP, KAMLOCK ALUMINIUM FEMALE, | CAP;DUST CAP, KAMLOCK ALUMINIUM FEMALE, | CAP;ADDITIONAL FEATURES:DUST CAP, KAMLOCK ALUMINIUM FEMALE |  |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 1508740 | [10 empty] | BUTLER AGENCIES PTY LTD | 1508740 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | DUST | TYPE | KAMLOCK | SIZE |  | MATERIAL | ALUMINUM | CONNECTION TYPE | FEMALE | COLOR |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1107415 | 1107415 | 1430953 | AU_QM_000682401 |  | ERSA | M | 5920 | 1430953GZPCLNT100 | EA |  | CAT ENGINE OIL FILLER CAP; | CAT ENGINE OIL FILLER CAP; | CAP,FILLER OPENING: CAT ENGINE OIL FILLER CAP; CATERPILLAR 930 WHEEL LOADER ELPHINSTONE R1300/R1700G/R2900 LOADERS |  | CAP,FILLER OPENING: CAT ENGINE OIL FILLER CAP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1430953 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 6N2985 | [10 empty] | CATERPILAR | 6N-2985 | CNW (MOUNT ISA) ELECT WHOLESALER | 1430953 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/6N-2985 |  |  | WHEEL LOADERS | CATERPILLAR ELPHINSTONE | 930,R1300/R1700G/R2900 |  |  |  |  | CLEANSED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | ENGINE OIL | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110080 | 1110080 |  |  |  | ERSA | M | 4090 | 1373003GZPCLNT100 | EA |  | CAT/ELPH AIRCON FITTING PROTECTION CAP; | CAT/ELPH AIRCON FITTING PROTECTION CAP; | CAP,SEALING: CAT/ELPH AIRCON FITTING PROTECTION CAP; ELPHINSTONE R1700 AND R2900 LOADERS |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1373003 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3E4052 | [10 empty] | CATERPILAR | 3E-4052 | CNW (MOUNT ISA) ELECT WHOLESALER | 1373003 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/3E-4052 |  |  | LOADERS | CATERPILLAR ELPHINSTONE | R1700,R2900 |  |  |  |  | ENRICHED | 31162800 Miscellaneous hardware | FOR AIR CONDITIONER FITTING | THREAD SIZE:M10X0.75 MM,COLOR:BLACK | CAP | SEAL | TYPE |  | MATERIAL | NYLON | SIZE | 19.6 HT MM | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110686 | 1110686 | 1409987 | AU_QM_000255236 |  | ERSA | M | 5915 | 1409987GZPCLNT100 | EA |  | CAP,FILR OPENNG;BHG3034 | CAP,FILR OPENNG;BHG3034 | CAP,FILR OPENNG;MNFR: ,PTNO:BHG3034 |  | CAP,FILR OPENNG;BHG3034CAP,FILR OPENNG;BHG3034 |  |  | 1068302 @@ AWD EQUIPMENT SALES PTY LTD | 1409987 | [12 empty] | DIECI | BHG3034 | AWD EQUIPMENT SALES PTY LTD | 1409987 | [14 empty] | https://buyanypart.co.uk/parts/filler-cap-bhg3034-bta1 | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1110962 | 1110962 | 1461935 | AU_QM_002777205 |  | ERSA | M | 4090 | 1461935GZPCLNT100 | EA |  | CAP,SEALING: | CAP,SEALING: | CAP,SEALING: |  | CAP,SEALING: |  |  | 1068100 @@ BERENDSEN FLUID POWER | 223898 | [12 empty] | VICKERS | 223898 | BERENDSEN FLUID POWER | [15 empty] | http://www.vickers.sh.cn/pdfs/m1729s.pdf | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | SEAL | TYPE |  | MATERIAL |  | SIZE |  | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1112625 | 1112625 | 1458503 | AU_QM_001738905 |  | ERSA | M | 2200 | 1458503GZPCLNT100 | EA |  | CAP VALVE, SLOTTED TYPE (PKT=4) | CAP VALVE, SLOTTED TYPE (PKT=4) | CAP,VALVE: CAR TUBE,SLOTTED TYPE (PKT = 4) |  | CAP,VALVE:CAR TUBE,SLOTTED TYPE |  |  | 1068284 @@ BRIDGESTONE AUSTRALIA LTD | 1458503 | 1068652 @@ J BLACKWOOD & SONS | 1458503 | 1068247 @@ BEAUREPAIRES TYRE SERVICE PTYLTD | 6300-MB | 1068144 @@ AUTOBARN MOUNT ISA | XPVCBLA | [8 empty] | BRIDGESTONE AUSTRALIA LTD | 1458503 | BEAUREPAIRES TYRE SERVICE PTYLTD | 6300-MB | AUTOBARN MOUNT ISA | XPVCBLA | [6 empty] | J BLACKWOOD & SONS | 1458503 |  |  | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | PACKAGING QUANTITY:4 |  | CAP | VALVE | TYPE | CAR TUBE,SLOTTED | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113116 | 1113116 |  |  |  | ERSA | M | 4015 | 1573349GZPCLNT100 | EA |  | CAP;SERVICE HIGH VALVE,PLSTC,RED,10 PACK | TAPA; | CAP;TYPE:SERVICE HIGH VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:RED,10 PACK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX4155 | [12 empty] | ASHDOWN INGRAM | CPX4155 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  | COLOR:RED,PACKAGING QUANTITY:10/PK |  | CAP | VALVE | TYPE | HIGH SIDE SERVICE | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113117 | 1113117 |  |  |  | ERSA | M | 4015 | 1573348GZPCLNT100 | EA |  | CAP;HIGH & LOW VALVE,PLSTC,NO.8 & NO.10 | TAPA; | CAP;TYPE:HIGH & LOW VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:NO.8 & NO.10 | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX409 | [12 empty] | ASHDOWN INGRAM | CPX409 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  |  |  | CAP | VALVE | TYPE | HIGH AND LOW SERVICE | SIZE | NO 8,NO 10 | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113118 | 1113118 |  |  |  | ERSA | M | 4015 | 1573347GZPCLNT100 | EA |  | CAP;LOW SIDE VALVE,PLSTC,BLU,10 PACK | TAPA; | CAP;TYPE:LOW SIDE VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:BLUE,10 PACK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX4051 | [12 empty] | ASHDOWN INGRAM | CPX4051 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  | COLOR:BLUE,PACKAGING QUANTITY:10/PK |  | CAP | VALVE | TYPE | LOW SIDE SERVICE | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113119 | 1113119 |  |  |  | ERSA | M | 4015 | 1573346GZPCLNT100 | EA |  | CAP;HIGH SIDE VALVE,PLSTC,RED,10 PACK | TAPA; | CAP;TYPE:HIGH SIDE VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:RED,10 PACK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX4050 | [12 empty] | ASHDOWN INGRAM | CPX4050 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  | COLOR:RED,PACKAGING QUANTITY:10/PK |  | CAP | VALVE | TYPE | HIGH SIDE SERVICE | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113120 | 1113120 |  |  |  | ERSA | M | 4015 | 1573345GZPCLNT100 | EA |  | CAP;LOW SIDE VALVE,PLSTC,SEAL 10PK | TAPA; | CAP;TYPE:LOW SIDE VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:SEAL 10PK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX3566 | [12 empty] | ASHDOWN INGRAM | CPX3566 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | CLEANSED |  | PACKAGING QUANTITY:10/PK |  | CAP | SEAL | TYPE | LOW SIDE | MATERIAL | PLASTIC | SIZE |  | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113121 | 1113121 |  |  |  | ERSA | M | 4015 | 1573344GZPCLNT100 | EA |  | CAP;LOW VALVE,PLSTC,DENSO,10 PACK | TAPA; | CAP;TYPE:LOW VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:DENSO,10 PACK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX0021 | [12 empty] | ASHDOWN INGRAM | CPX0021 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  | BRAND:DENSO,PACKAGING QUANTITY:10/PK |  | CAP | VALVE | TYPE | LOW SIDE SERVICE | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1113122 | 1113122 |  |  |  | ERSA | M | 4015 | 1573343GZPCLNT100 | EA |  | CAP;HIGH VALVE,PLSTC,DENSO,10 PACK | TAPA; | CAP;TYPE:HIGH VALVE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:DENSO,10 PACK | TAPA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CPX0011 | [12 empty] | ASHDOWN INGRAM | CPX0011 | ASHDOWN ENTERPRISES | [15 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | ENRICHED |  | BRAND:DENSO,PACKAGING QUANTITY:10/PK |  | CAP | VALVE | TYPE | HIGH SIDE SERVICE | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1145730 | 1145730 |  |  |  | ERSA | M | 1600 | 1536203GZPCLNT100 | EA |  | CAP;CAP SUIT 95MM2 ABC CAB,YURIKA,104209 | CAP;CAP SUIT 95MM2 ABC CAB,YURIKA,104209 | CAP;ADDITIONAL FEATURES:CAP SUIT 95MM2 ABC CAB,YURIKA,104209 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104209 | [10 empty] | YURIKA PTY LTD | 104209 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR 95 MM2 ABC CAB |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1145731 | 1145731 |  |  |  | ERSA | M | 1600 | 1536202GZPCLNT100 | EA |  | CAP;CAP SUIT 16-70MM2 ABC ,YURIKA,104208 | CAP;CAP SUIT 16-70MM2 ABC ,YURIKA,104208 | CAP;ADDITIONAL FEATURES:CAP SUIT 16-70MM2 ABC ,YURIKA,104208 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104208 | [10 empty] | YURIKA PTY LTD | 104208 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR 16 TO 70 MM2 ABC |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1145732 | 1145732 |  |  |  | ERSA | M | 1600 | 1536201GZPCLNT100 | EA |  | CAP;CAP SUIT 25MM2 ABC CAB,YURIKA,104207 | CAP;CAP SUIT 25MM2 ABC CAB,YURIKA,104207 | CAP;ADDITIONAL FEATURES:CAP SUIT 25MM2 ABC CAB,YURIKA,104207 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104207 | [10 empty] | YURIKA PTY LTD | 104207 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR 25 MM2 ABC CAB |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1147355 | 1147355 |  |  |  | ERSA | M | 4090 | 1527614GZPCLNT100 | EA |  | CAP;CAP STEEL JACK COUPLING,CAP-M IV14HP | CAP;CAP STEEL JACK COUPLING,CAP-M IV14HP | CAP;ADDITIONAL FEATURES:CAP STEEL JACK COUPLING,CAP-M IV14HP |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | CAP-M IV14HP | [12 empty] | STUCCH | CAP-M IV14HP | [16 empty] | https://www.stucchiusa.com/wp-content/uploads/2018/04/stucchi_ivhp_details.pdf | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  | PRESSURE RATING:10000 PSI | COUPLER | NO MODIFIER | TYPE | HIGH PRESSURE | SIZE | 1/4 TO 3/8 IN NPT | MATERIAL | HARDENED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1149943 | 1149943 |  |  |  | ERSA | M | 5700 | 1530771GZPCLNT100 | EA |  | CAP;END,ALUMINIUM BAR,SUREGRIP 5T,145025 | CAP;END,ALUMINIUM BAR,SUREGRIP 5T,145025 | CAP;ADDITIONAL FEATURES:END,ALUMINIUM BAR,SUREGRIP 5T,145025 |  |  |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145025 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145025 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | BRAND:SUREGRIP 5T |  | CAP | NO MODIFIER | TYPE | END BAR | SIZE |  | CONNECTION TYPE |  | MATERIAL | ALUMINUM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1152263 | 1152263 |  |  |  | ERSA | M | 4075 | 1534749GZPCLNT100 | EA |  | CAP;FLARE QUICK SEAL,R410A 5/16",2701521 | CAP;FLARE QUICK SEAL,R410A 5/16",2701521 | CAP;ADDITIONAL FEATURES:FLARE QUICK SEAL,R410A 5/16,2701521 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2701521 | [12 empty] | HENRY | 2701521 | REECE PTY LTD | [15 empty] | https://www.reece.com.au/product/refrigeration-c384/refrigeration-valves-c2128/schrader-c2488/henry-flare-quick-seal-cap-r410a-5-16-2701521 | https://www.actrol.com.au/product/henry-flare-quick-seal-cap-r410a-5-16-2701521 | [8 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR R410A |  | CAP | SEAL | TYPE | QUICK | MATERIAL |  | SIZE | 5/16 IN | CONNECTION | FLARE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1152272 | 1152272 |  |  |  | ERSA | M | 4075 | 1534740GZPCLNT100 | EA |  | CAP;AUSSIE DUCT CEILING,100MM,2701948 | CAP;AUSSIE DUCT CEILING,100MM,2701948 | CAP;ADDITIONAL FEATURES:AUSSIE DUCT CEILING,100MM,2701948 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2701948 | [12 empty] | AUSSIE | 2701948 | REECE PTY LTD | [15 empty] | https://www.reece.com.au/product/aussie-duct-ceiling-cap-100mm-2701948?query=2701948 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | DUCT CEILING | SIZE | 100 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR | IVORY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1152278 | 1152278 |  |  |  | ERSA | M | 4075 | 1534734GZPCLNT100 | EA |  | CAP;AUSSIE DUCT WALL,80MM,2701940 | CAP;AUSSIE DUCT WALL,80MM,2701940 | CAP;ADDITIONAL FEATURES:AUSSIE DUCT WALL,80MM,2701940 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2701940 | [12 empty] | AUSSIE | 2701940 | REECE PTY LTD | [15 empty] | https://www.reece.com.au/product/aussie-duct-wall-cap-80mm-2701940?query=2701940 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | DUCT WALL | SIZE | 80 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR | IVORY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1152299 | 1152299 |  |  |  | ERSA | M | 4075 | 1534682GZPCLNT100 | EA |  | CAP;POLY THREADED,80MM,1507963 | CAP;POLY THREADED,80MM,1507963 | CAP;ADDITIONAL FEATURES:POLY THREADED,80MM,1507963 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1507963 | [12 empty] | REECE PTY LTD | 1507963 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE |  | SIZE | 80 MM | CONNECTION TYPE |  | MATERIAL | POLYTHREADED | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1153187 | 1153187 |  |  |  | ERSA | M | 4075 | 1534410GZPCLNT100 | EA |  | CAP;FLEXIBLE COUP 40MM END,1908020 | CAP;FLEXIBLE COUP 40MM END,1908020 | CAP;ADDITIONAL FEATURES:FLEXIBLE COUP 40MM END,1908020 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1908020 | [12 empty] | REECE PTY LTD | 1908020 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | FLEXIBLE COUPLING END | SIZE | 40 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1153193 | 1153193 |  |  |  | ERSA | M | 4075 | 1534404GZPCLNT100 | EA |  | CAP;PVC S/W,PUSH ON,90MM,1500204 | CAP;PVC S/W,PUSH ON,90MM,1500204 | CAP;ADDITIONAL FEATURES:PVC S/W,PUSH ON,90MM,1500204 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500204 | [12 empty] | REECE PTY LTD | 1500204 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-cap-push-on-plug-90mm-1500204?query=1500204 | [9 empty] | ENRICHED | 40172408 PVC plastic pipe cap |  |  | CAP | PIPE | TYPE | STORMWATER,PUSH-ON,SOLVENT WELDED | NOMINAL SIZE | 90 MM | END CONNECTION | THREADED | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1153194 | 1153194 |  |  |  | ERSA | M | 4075 | 1534403GZPCLNT100 | EA |  | CAP;PVC S/W,THRD.90MM,1500200 | CAP;PVC S/W,THRD.90MM,1500200 | CAP;ADDITIONAL FEATURES:PVC S/W,THRD.90MM,1500200 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500200 | [12 empty] | REECE PTY LTD | 1500200 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-cap-threaded-90mm-1500200?query=1500200 | [9 empty] | ENRICHED | 40172408 PVC plastic pipe cap |  |  | CAP | PIPE | TYPE | STORMWATER | NOMINAL SIZE | 90 MM | END CONNECTION | THREADED | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1153297 | 1153297 |  |  |  | ERSA | M | 4075 | 1534296GZPCLNT100 | EA |  | CAP;PRATT AERATOR,& ASSEMBLY COM,1023825 | CAP;PRATT AERATOR,& ASSEMBLY COM,1023825 | CAP;ADDITIONAL FEATURES:PRATT AERATOR,& ASSEMBLY COM,1023825 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1023825 | [12 empty] | REECE PTY LTD | 1023825 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR PRATT AERATOR AND ASSEMBLY COM |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1153381 | 1153381 |  |  |  | ERSA | M | 4075 | 1534157GZPCLNT100 | EA |  | CAP;END,FM3300 / FM4000,1010112 | CAP;END,FM3300 / FM4000,1010112 | CAP;ADDITIONAL FEATURES:END,FM3300 / FM4000,1010112 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1010112 | [12 empty] | REECE PTY LTD | 1010112 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR FM3300/FM4000 |  | CAP | NO MODIFIER | TYPE | END | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1155207 | 1155207 |  |  |  | ERSA | M | 5620 | 1514235GZPCLNT100 | EA |  | CAP,BEARING;END CAP ASNH 520,ASNH520-617 | CAP,BEARING;END CAP ASNH 520,ASNH520-617 | CAP,BEARING;ADDITIONAL FEATURES:END CAP ASNH 520,ASNH520-617 |  |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | ASNH520-617 | [12 empty] | SKF | ASNH 520-617 | APPLIED INDUSTRIAL TECHNOLOGIES | [15 empty] | https://www.skf.com/vn/productinfo/productid-ASNH%20520-617 | https://us.rs-online.com/product/skf/asnh-520-617/73228795/ | [8 empty] | ENRICHED | 31171545 Bearing cover |  | DIAMETER:148.6 MM | COVER | BEARING | TYPE | END | NUMBER OF BOLTS |  | LENGTH |  | WIDTH | 6 MM | CENTER HEIGHT |  | MOUNTING BOLT SIZE |  | MATERIAL | POLYPROPYLENE | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1177128 | 1177128 | 1415269 | AU_QM_000260923 |  | ERSA | M | 5915 | 1415269GZPCLNT100 | EA |  | CAP,SAFTY;WELDERS KROMER,COTTON | CAP,SAFTY;WELDERS KROMER,COTTON | CAP,SAFETY;TYPE:WELDERS KROMER,BAND MATERIAL:COTTON,COLOUR:RED WHITE DOTTED,ADDITIONAL FEATURES EN:GFM 18L BOILER MAKERS TOOLING LIN |  | CAP,SAFTY;WELDERS KROMER,COTTONCAP,SAFTY;WELDERS KROMER,COTN,GFM 18L |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | IWSKC714 | [10 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | IWSKC714 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR GFM 18L BOILER MAKERS TOOLING LIN |  | CAP | SAFETY | TYPE | WELDERS KROMER | DESIGNATION |  | BAND MATERIAL | COTTON | CUSHION MATERIAL |  | COLOUR | RED WHITE DOTTED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1203379 | 1203379 |  |  |  | ERSA | M | 3700 | 270759MRM | EA |  | CAP,FILLER OPENING:MINESAFE;RADIATOR CAP | CAP,FILLER OPENING:MINESAFE;RADIATOR CAP | CAP,FILLER OPENING:MINESAFE;RADIATOR CAP |  |  |  |  | 1070871 @@ BRITEFORCE PTY LTD | MD0056 | [10 empty] | BRITEFORCE PTY LTD | MD0056 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25174003 Radiator caps | BRAND:MINESAFE |  | CAP | RADIATOR | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1203846 | 1203846 |  |  |  | ERSA | M | 5920 | 271027MRM | EA |  | CAP,FILLER OPENING:FILLER BREATHER;CHROM | CAP,FILLER OPENING:FILLER BREATHER;CHROM | CAP,FILLER OPENING:FILLER BREATHER;CHROME;10UM;80MM |  |  |  |  | 1068342 @@ ISADRAULICS | PN1203846 | [10 empty] | ISADRAULICS | PN1203846 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FILTER RATING:10 UM |  | CAP | FILLER OPENING | TYPE | BREATHER | SIZE | 80 MM | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | CHROME | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1205607 | 1205607 |  |  |  | ERSA | M | 5620 | 271688MRM | EA |  | CAP:PLASTIC DOME VALVE | CAP:PLASTIC DOME VALVE | CAP:PLASTIC DOME VALVE |  |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | HAL-A-100-VC-8 | [12 empty] | HALTEC | A-100-VC-8 | RIMEX WHEEL PTY LTD | [15 empty] | https://www.haltec.com/pc/Valve-Caps-Standard-Bore-c229.htm | https://www.raptorsupplies.com/pd/haltec/a-100-vc-8 | [8 empty] | ENRICHED | 31162800 Miscellaneous hardware |  | THREAD SIZE:5/16 IN-32 TPI | CAP | VALVE | TYPE | DOME | SIZE |  | NOMINAL SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1207910 | 1207910 |  |  |  | ERSA | M | 5820 | 1103555MRM | EA |  | CAP,END:FRIZZBEE;SHAFT END;RUBBER LINED; | CAP,END:FRIZZBEE;SHAFT END;RUBBER LINED; | CAP,END:FRIZZBEE;SHAFT END;RUBBER LINED;DURO 40 <(>&<)> 12 RUBBER PLUGS;650MM OD X 82MM DEEP;TOTAL 48KGSNETZSCH M10000 ISAMILL |  |  |  |  | 9000095 @@ Glencore Technology Pty Limited | PN1207910 | [10 empty] | GLENCORE TECHNOLOGY PTY LIMITED | PN1207910 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | RUBBER LINED,FRIZZBEE,DURO 40,12 RUBBER PLUGS,FOR TOTAL 48KGSNETZSCH M10000 ISAMILL |  | CAP | NO MODIFIER | TYPE | SHAFT END | SIZE | 650 ODX82 DP MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1212296 | 1212296 |  |  |  | ERSA | M | 3700 | 168218MRM | EA |  | CAP,SEALING:DUST CAPS AXLES | CAP,SEALING:DUST CAPS AXLES | CAP,SEALING:DUST CAPS AXLES |  |  |  |  | 1070871 @@ BRITEFORCE PTY LTD | PN1212296 | [10 empty] | BRITEFORCE PTY LTD | PN1212296 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | SEAL | TYPE | DUST,AXLE | MATERIAL |  | SIZE |  | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1213626 | 1213626 |  |  |  | ERSA | M | 5900 | 170940MRM | BOX |  | CAP:ULTRACLEAN; 9MM; BLUE SCREW; 100PCS | CAP:ULTRACLEAN; 9MM; BLUE SCREW; 100PCS | CAP:ULTRACLEAN; 9MM; BLUE SCREW; 100PCS |  |  |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | THC09150838PK | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | THC09150838 | [16 empty] | https://uat.thermofisher.com.au/show.aspx?page=/ContentAUS/Promotions/Autosampler-Vials.html | [9 empty] | ENRICHED | 31161501 Cap screws | PACKAGING QUANTITY:100 PC |  | SCREW | CAP | TYPE |  | THREAD DIAMETER | 9 MM | THREAD PITCH |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL | ULTRACLEAN SILICONE/PTFE | MATERIAL SPECIFICATION |  | COATING/FINISH | BLUE | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-31 |  | 1213628 | 1213628 |  |  |  | ERSA | M | 4090 | 170942MRM | BOX |  | CAP:SNAP TRANSP; 11MM; SOFT; SIL/PTFE SE | CAP:SNAP TRANSP; 11MM; SOFT; SIL/PTFE SE | CAP:SNAP TRANSP; 11MM; SOFT; SIL/PTFE SEPTA;100PCS; CROSS-SLIT; WHITE SILICONE/BLUEPTFE SEPTA |  |  |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | THC11151853PK | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | THC11151853 | [16 empty] | https://uat.thermofisher.com.au/show.aspx?page=/ContentAUS/Promotions/Autosampler-Vials.html | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | PACKAGING QUANTITY:100 PC |  | CAP | NO MODIFIER | TYPE | SNAP TRANSPARENT,SOFT,CROSS-SLIT | SIZE | 11 MM | CONNECTION TYPE |  | MATERIAL | SILICONE/PTFE SEPTA | COLOUR | WHITE,BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed