## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1184580 | 1184580 |  |  |  | ERSA | M | 1510 | 1558899GZPCLNT100 | EA |  | BAR,SQ;25.4X25.4X1.6MM,SHS,G316,ASTM A55 | BARRA CUAD; | BAR,SQUARE;ADDITIONAL FEATURES EN:25.4X25.4X1.6MM,SHS,G316,ASTM A554,180G,6M | BARRA CUADRADA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | HSS02502516G316+0600 | [12 empty] | VULCAN STEEL PTY LTD | HSS02502516G316+0600 | [16 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Enriched | 30264500 Stainless steel bars | THICKNESS:1.6 MM |  | BAR | HOLLOW | TYPE | SQUARE SECTION | INSIDE DIAMETER | 25.4 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | MATERIAL | STAINLESS STEEL 316 ASTM A554 | MATERIAL WEIGHT | 7.2 KG | FINISH | POLISHED 180 GRIT | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1114258 | 1114258 |  |  |  | ERSA | M | 1510 | 1571541GZPCLNT100 | EA |  | BAR,SQ;32X6,SQ EDGE FLATS,GDE 300,6M LG | BARRA CUAD; | BAR,SQUARE;ADDITIONAL FEATURES EN:32X6,SQ EDGE FLATS,GDE 300,6M LG | BARRA CUADRADA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 100984 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | 100984 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | RECTANGULAR | TYPE | SQUARE EDGE FLAT | WIDTH | 32 MM | LENGTH | 6 M | THICKNESS | 6 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION | GRADE 300 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | SERIES MATCH | 1187194 | 1187194 |  |  |  | ERSA | M | 1510 | 1544530GZPCLNT100 | EA |  | BAR,SQ;50X50X3MM,SHS,S/S,6M | BARRA CUAD; | BAR,SQUARE;ADDITIONAL FEATURES EN:50X50X3MM,SHS,S/S,6M | BARRA CUADRADA; |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | HSS05005030G316+0600 | [12 empty] | VULCAN STEEL PTY LTD | HSS05005030G316+0600 | [16 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Cleansed | 30264500 Stainless steel bars | THICKNESS:3 MM |  | BAR | HOLLOW | TYPE | SQUARE SECTION | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER |  | LENGTH | 6 M | MATERIAL | STAINLESS STEEL | MATERIAL WEIGHT |  | FINISH |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1053511 | 1053511 |  |  |  | ERSA | M | 1510 | 1571883GZPCLNT100 | EA |  | BAR,SQ;EDG,FLT,150X8,GDE 300,6M | BARRA CUAD; | BAR,SQUARE;ADDITIONAL FEATURES EN:EDGE,FLAT,150X8,GDE 300,6M | BARRA CUADRADA; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | RECTANGULAR | TYPE | SQUARE EDGE FLAT | WIDTH | 150 MM | LENGTH | 6 M | THICKNESS | 8 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION | GRADE 300 | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1061985 | 1061985 |  |  |  | ERSA | M | 1510 | 1496104GZPCLNT100 | EA |  | BAR,SQUARE;102520 | BAR,SQUARE;102520 | BAR,SQUARE;ADDITIONAL FEATURES:102520 |  |  |  |  | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 1496104 | [10 empty] | TONKIN STEEL (NQ) PTY LTD | 1496104 |  |  |  | 102520 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | SQUARE | SIZE |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1105000 | 1105000 |  |  |  | ERSA | M | 5700 | 1535888GZPCLNT100 | EA |  | BAR;IMPACT,55,BES-K-IMP-BAR55X100X1500AS | BAR;IMPACT,55,BES-K-IMP-BAR55X100X1500AS | [5 empty] | 1068293 @@ BRITRAC (AUST) PTY LTD | BES-K-IMP-BAR55X100X1500AS | [10 empty] | BRITRAC (AUST) PTY LTD | BES-K-IMP-BAR55X100X1500AS | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | IMPACT | DIMENSIONS | 55X100 MMX1.5 LG M | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1146954 | 1146954 |  |  |  | ERSA | M | 4090 | 1531542GZPCLNT100 | EA |  | BAR;IMPACT,55MM,1240MM,1940145 | BAR;IMPACT,55MM,1240MM,1940145 | BAR;ADDITIONAL FEATURES:IMPACT,55MM,1240MM,1940145 |  |  |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 1940145 | [10 empty] | FINLAY SCREENING & CRUSHING | 1940145 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | IMPACT | DIMENSIONS | 55 MMX1.24 LG M | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1175037 | 1175037 | 1445792 | AU_QM_001015403 |  | ERSA | M | 5100 | 1445792GZPCLNT100 | EA |  | BREAKER,CIRCT;110 VDC,12/121) | BREAKER,CIRCT;110 VDC,12/121) | BREAKER,CIRCUIT;VOLTAGE RATING:110 VDC,ADDITIONAL FEATURES EN:TRIPPER, MPS AVR POWER FACTOR, TRIP TO MANUAL AND,ONTACTS, (GEN-100A) |  | TRIPPER,CIRCUIT BREAKER:MPS AVR POWER FACTOR;TRIP TO MANUAL & | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | REF:12/121,TRIPPER,MPS AVR POWER FACTOR,TRIP TO MANUAL AND CONTACTS,(GEN-100A) |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 110 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1145908 | 1145908 |  |  |  | ERSA | M | 1600 | 1537237GZPCLNT100 | EA |  | BREAKER,CIRCT;1200A,3 PH,YURIKA,2427458 | BREAKER,CIRCT;1200A,3 PH,YURIKA,2427458 | BREAKER,CIRCT;ADDITIONAL FEATURES:1200A,3 PH,YURIKA,2427458 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2427458 | [10 empty] | YURIKA PTY LTD | 2427458 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | NUMBER OF PHASE:3 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 1200 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1104527 | 1104527 |  |  |  | ERSA | M | 1600 | 1508158GZPCLNT100 | EA |  | BREAKER,CIRCT;1492-SP - MIN,1492SPM1C030 | BREAKER,CIRCT;1492-SP - MIN,1492SPM1C030 | BREAKER,CIRCT;ADDITIONAL FEATURES:1492-SP - MIN,1492SPM1C030 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1492SPM1C030 | [12 empty] | ALLEN-BRADLEY | 1492-SPM1C030 | CNW (MOUNT ISA) ELECT WHOLESALER | 1492SPM1C030 | [14 empty] | https://www.rockwellautomation.com/en-us/products/details.1492-SPM1C030.html | https://www.frommelectric.com/2925303/product/rockwell-automation-1492-spm1c030 | [8 empty] | Enriched | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE | SUPPLEMENTARY PROTECTOR | CURRENT RATING | 3 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | CCC,EAC,IEC | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | SERIES MATCH | 1104526 | 1104526 |  |  |  | ERSA | M | 1600 | 1508159GZPCLNT100 | EA |  | BREAKER,CIRCT;1492-SP - MINIAT,1492SPM2C | BREAKER,CIRCT;1492-SP - MINIAT,1492SPM2C | BREAKER,CIRCT;ADDITIONAL FEATURES:1492-SP - MINIAT,1492SPM2C | [18 empty] | ALLEN-BRADLEY | 1492-SPM2C | [16 empty] | https://www.revereelectric.com/4641686/Product/Allen-Bradley-1492-SPM2C500 | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE | SUPPLEMENTARY PROTECTOR | CURRENT RATING |  | VOLTAGE RATING |  | NUMBER OF POLES | 2 | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | URL for Reference only | 1070385 | 1070385 | 1440008 | AU_QM_000982972 |  | ERSA | M | 5100 | 1440008GZPCLNT100 | EA |  | BREAKER,CIRCT;160 A,415 VAC,70 KA,P 3P | BREAKER,CIRCT;160 A,415 VAC,70 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:160 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:70 KA,NUMBER OF POLES:3P,OVERALL SIZE:WD 105 X HT 161 X DP 86 MM,TRIP SETTING:160 A AT 40 DEG C,ADDITIONAL FEATURES EN:FRAME, M,MNFR:01)CNW,PTNO:01)30404 |  | CIRCUIT BREAKER:3P;70KA @ 415V;FRAME;MCCB;NS160H; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440008 | [10 empty] | CNW | 30404 |  |  | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440008 | [14 empty] | https://www.se.com/in/en/product/30790/circuit-breaker-compact-ns160h-str22se-160-a-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS160H,FRAME,M |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 160 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 70 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 160 A AT 40 DEG C | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 105 WDX161 HTX86 DP MM | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1145907 | 1145907 |  |  |  | ERSA | M | 1600 | 1537238GZPCLNT100 | EA |  | BREAKER,CIRCT;1600A,3 PH,YURIKA,2427466 | BREAKER,CIRCT;1600A,3 PH,YURIKA,2427466 | BREAKER,CIRCT;ADDITIONAL FEATURES:1600A,3 PH,YURIKA,2427466 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2427466 | [10 empty] | YURIKA PTY LTD | 2427466 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | NUMBER OF PHASE:3 |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 1600 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1138256 | 1138256 | 1405234 | AU_QM_000250091 |  | ERSA | M | 5915 | 1405234GZPCLNT100 | EA |  | BREAKER,CIRCT;2P,ELEC,L06-05-305BA | BREAKER,CIRCT;2P,ELEC,L06-05-305BA | BREAKER,CIRCT;MNFR: ,PTNO:2P,ELEC,L06-05-305BA |  | BREAKER,CIRCT;2P,ELEC,L06-05-305BABREAKER,CIRCT;2P,ELEC,L06-05-305BA | [15 empty] | L06-05-305BA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | ELECTRIC |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1138299 | 1138299 | 1401746 | AU_QM_000246300 |  | ERSA | M | 5915 | 1401746GZPCLNT100 | EA |  | BREAKER,CIRCT;3P,DIN T 6302C | BREAKER,CIRCT;3P,DIN T 6302C | BREAKER,CIRCT;MNFR: ,PTNO:3P,DIN T 6302C |  | BREAKER,CIRCT;3P,DIN T 6302CBREAKER,CIRCT;3P,DIN T 6302C | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DIN-T6302C |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1138255 | 1138255 | 1405235 | AU_QM_000250093 |  | ERSA | M | 5915 | 1405235GZPCLNT100 | EA |  | BREAKER,CIRCT;3P,ELEC,L06-05-306VA | BREAKER,CIRCT;3P,ELEC,L06-05-306VA | BREAKER,CIRCT;MNFR: ,PTNO:3P,ELEC,L06-05-306VA |  | BREAKER,CIRCT;3P,ELEC,L06-05-306VABREAKER,CIRCT;3P,ELEC,L06-05-306VA | [15 empty] | L06-05-306VA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | ELECTRIC |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1009648 | 1009648 | 1451726 | AU_QM_001161629 |  | ERSA | M | 3300 | 1451726GZPCLNT100 | EA | 3000012 | BREAKER,CIRCT;40 A,12 V,SAE J1171, J553 | BREAKER,CIRCT;40 A,12 V,SAE J1171, J553 | BREAKER,CIRCUIT;CURRENT RATING:40 A,VOLTAGE RATING:12 V,CERTIFICATION/STANDARD:SAE J1171, J553,MNFR:TOYOTA,PTNO:CDM40,MNFR:01) BELLMOIR,PTNO:01)CDM40 |  | CIRCUIT BREAKER:SIBS 40 AMP 12V CIRCUIT BREAKER; | TOYOTA | CDM40 | 1068652 @@ J BLACKWOOD & SONS | 896142 | 1068200 @@ J.BLACKWOOD & SON LIMITED | 896142 | 1071809 @@ ASHDOWN ENTERPRISES | ACX1889BL | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | ACX1889BL | [6 empty] | KLIXON | CDM40 | TOYOTA | CDM40 | ASHDOWN ENTERPRISES | ACX1889BL | BELL & MOIR - PARTS ORDERS ONLY | ACX1889BL | BELL & MOIR - PARTS ORDERS ONLY | CDM40 |  |  |  |  | J BLACKWOOD & SONS | 896142 |  |  | https://www.blackwoods.com.au/automotive/lighting-warning-traffic-management/warning-emergency-lighting/klixon-cdm40-circuit-breaker-40a-12-30vdc-surface-mount-manual-reset/p/03194389 | https://www.blackwoods.com.au/automotive/spare-parts-automotive/repair-mounting-kits/oex-e63-eti-20-1-circuit-breaker-manual-reset-20a/p/00896142 | [8 empty] | Enriched | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 40 A | VOLTAGE RATING | 12 TO 30 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | SURFACE | CERTIFICATION/STANDARD | SAE J1171,J553 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1164917 | 1164917 | 1362841 | AU_QM_000162421 |  | ERSA | M | 1600 | 1362841GZPCLNT100 | EA |  | BREAKER,CIRCT;400 A,690 VAC,70 KA,P 3P | BREAKER,CIRCT;400 A,690 VAC,70 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:400 A,VOLTAGE RATING:690 VAC,INTERRUPT RATING:70 KA,NUMBER OF POLES:3P,TRIP SETTING:400 A AT 45 DEG C,MOUNTING TYPE:FRONT,MNFR:01)CNW,PTNO:01)S400GE3AG400 |  | CIRCUIT BREAKER:TB2 MCCB 70KA 3P 400A |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1362841 | [12 empty] | NHP | S400GE3AG400 | CNW (MOUNT ISA) ELECT WHOLESALER | 1362841 | CNW | S400GE3AG400 | [12 empty] | https://nhpnz.co.nz/product/s400ge3ag400 | [9 empty] | Enriched | 39121616 Molded case circuit breakers | SERIES:TB2 | C/W GROUND FAULT | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 400 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 70 KA | FRAME TYPE | 400 AF | CONTACT RATING | 400/415 VAC | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 400 A AT 45 DEG C | MOUNTING TYPE | FRONT | TERMINAL TYPE |  | SIZE | 140 WDX260 HTX103 DP MM | CERTIFICATION/STANDARD | ASTA,CE,IEC 60947-1,IEC 60947-2,AS 60947-2,AS/NZS 3947.1,AS/NZS 3947.2,EN 60947-2,JIS C 8201-2-1 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1165124 | 1165124 | 1438638 | AU_QM_000972554 |  | ERSA | M | 1600 | 1438638GZPCLNT100 | EA |  | BREAKER,CIRCT;63 A,1.1 KV,F,7.5 KA,P 3P | BREAKER,CIRCT;63 A,1.1 KV,F,7.5 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:63 A,VOLTAGE RATING:1.1 KV,FRAME RATING:F,INTERRUPT RATING:7.5 KA,NUMBER OF POLES:3P,OVERALL SIZE: WD 4.13 X HT 6 X DP 3.38 IN,MNFR:01)CNW,PTNO:01)E2FM3063 |  | CIRCUIT BREAKER:63A;1100V;3P;7.5KA;F-FRAME MINING CB; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | E2FM3063 | [12 empty] | EATON | E2FM3063 | CNW (MOUNT ISA) ELECT WHOLESALER | E2FM3063 | [14 empty] | https://www.eaton.com/us/en-us/skuPage.E2FM3063.html | [9 empty] | Enriched | 39121616 Molded case circuit breakers | CLASS:MINING |  | CIRCUIT BREAKER | MOLDED CASE | TYPE | NON-INTERCHANGEABLE,THERMAL MAGNETIC | CURRENT RATING | 63 A | VOLTAGE RATING | 1.1 KV,250 VDC | NUMBER OF POLES | 3 | INTERRUPT RATING | 7.5 KA | FRAME TYPE | F | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | LINE AND LOAD | SIZE | 4-1/8 WDX6 HTX3-3/8 DP IN | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1165017 | 1165017 | 1439049 | AU_QM_000977710 |  | ERSA | M | 1600 | 1439049GZPCLNT100 | EA |  | BREAKER,CIRCT;630 A,12 KV,25 KA,P 3P | BREAKER,CIRCT;630 A,12 KV,25 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:630 A,VOLTAGE RATING:12 KV,INTERRUPT RATING:25 KA,NUMBER OF POLES:3P,MNFR:01)TOSHIBA,PTNO:01)VK- 10J25 110VDC |  | CIRCUIT BREAKER:630A;12KV;25KA;3 POLE;FIXED VACUUM TYPE; | [16 empty] | TOSHIBA | VK-10J25 110VDC | [16 empty] | https://www.global.toshiba/content/dam/toshiba/ww/outline/infrastructure/business-introduction/industrial/pdf/KSP2364_VCB_rev.pdf | [9 empty] | Enriched | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | VACUUM | TYPE | FIXED | CURRENT RATING | 630 A | VOLTAGE RATING | 12 KV,110 VDC | FREQUENCY RATING | 50/60 HZ | NUMBER OF POLES | 3 | INTERRUPT RATING | 25 KA | POLE CENTER DISTANCE |  | SOLENOID VOLTAGE RATING |  | SHUNT VOLTAGE RATING |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING SEQUENCES |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 508 WDX625 HTX390 DP MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC 62271-100 | [36 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1165094 | 1165094 | 1438711 | AU_QM_000973636 |  | ERSA | M | 1600 | 1438711GZPCLNT100 | EA |  | BREAKER,CIRCT;630 A,12 KV,25 KA,P 3P | BREAKER,CIRCT;630 A,12 KV,25 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:630 A,VOLTAGE RATING:12 KV,INTERRUPT RATING:25 KA,NUMBER OF POLES:3P,MNFR:01)TOSHIBA,PTNO:01)VK- 10J25 32VDC |  | CIRCUIT BREAKER:630A;12KV;25KA;3 POLE;FIXED VACUUM TYPE; | [16 empty] | TOSHIBA | VK-10J25 32VDC | [16 empty] | https://www.global.toshiba/content/dam/toshiba/ww/outline/infrastructure/business-introduction/industrial/pdf/KSP2364_VCB_rev.pdf | [9 empty] | Enriched | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | VACUUM | TYPE | FIXED | CURRENT RATING | 630 A | VOLTAGE RATING | 12 KV,32 VDC | FREQUENCY RATING | 50/60 HZ | NUMBER OF POLES | 3 | INTERRUPT RATING | 25 KA | POLE CENTER DISTANCE |  | SOLENOID VOLTAGE RATING |  | SHUNT VOLTAGE RATING |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING SEQUENCES |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 508 WDX625 HTX390 DP MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC 62271-100 | [36 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1138232 | 1138232 | 1413352 | AU_QM_000258846 |  | ERSA | M | 5915 | 1413352GZPCLNT100 | EA |  | BREAKER,CIRCT;6A,1P,DIN T6106C | BREAKER,CIRCT;6A,1P,DIN T6106C | BREAKER,CIRCT;MNFR: ,PTNO:6A,1P,DIN T6106C |  | BREAKER,CIRCT;6A,1P,DIN T6106CBREAKER,CIRCT;6A,1P,DIN T6106C | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES:DIN-T6106C |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1164916 | 1164916 | 1362843 | AU_QM_000162423 |  | ERSA | M | 1600 | 1362843GZPCLNT100 | EA |  | BREAKER,CIRCT;800 A,690 VAC,70 KA,P 3P | BREAKER,CIRCT;800 A,690 VAC,70 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:800 A,VOLTAGE RATING:690 VAC,INTERRUPT RATING:70 KA,NUMBER OF POLES:3P,TRIP SETTING:800 A AT 45 DEG C,MOUNTING TYPE:FRONT,MNFR:01)CNW,PTNO:01)S800RE3AG800 |  | CIRCUIT BREAKER:TB2 MCCB 70KA 3P 800A ELECT |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1362843 | [12 empty] | NHP | S800RE3AG800 | CNW (MOUNT ISA) ELECT WHOLESALER | 1362843 | CNW | S800RE3AG800 | [12 empty] | https://www.nhp.com.au/product/s800re3ag800 | [9 empty] | Enriched | 39121616 Molded case circuit breakers | SERIES:TB2 | C/W GROUND FAULT | CIRCUIT BREAKER | MOLDED CASE | TYPE | ADJUSTABLE THERMAL,ELECTRONIC | CURRENT RATING | 800 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 70 KA | FRAME TYPE | 800 AF | CONTACT RATING | 400/415 VAC | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 800 A AT 45 DEG C | MOUNTING TYPE | FRONT | TERMINAL TYPE |  | SIZE | 210 WDX273 HTX103 DP MM | CERTIFICATION/STANDARD | AS 60947-2,AS/NZS 3947.2,CE,IEC 60947-2 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1009835 | 1009835 |  |  |  | ERSA | M | 1600 | 1615115GZPCLNT100 | EA | 3000014 | BREAKER,CIRCT;ABB,2CDS251001R0337,MINTR | DISYUNTORA;ABB,2CDS251001R0337 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS251001R0337,ADDITIONAL FEATURES EN:MINIATURE,S201-K4 | DISYUNTORA;MNFR:ABB,PTNO:2CDS251001R0337 |  | ABB | 2CDS251001R0337 | 1068212 @@ ABB AUSTRALIA PTY LTD | 2CDS251001R0337 | [12 empty] | ABB | 2CDS251001R0337 | ABB AUSTRALIA PTY LTD | 2CDS251001R0337 | ABB | S201-K4 | [12 empty] | https://new.abb.com/products/2CDS251001R0337/s201-k4?IN | https://in.rsdelivers.com/product/abb/2cds251001r0337-s201-k4/abb-system-pro-m-compact-s200-mcb-1p-poles-4a-k-ac/5140119 | [8 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 230/400 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | K | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 17.5 WDX88 HTX69 DP MM | CERTIFICATION/STANDARD | IEC/EN 60898-1,IEC/EN 60947-2,UL 1077 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1009849 | 1009849 |  |  |  | ERSA | M | 1600 | 1615130GZPCLNT100 | EA | 3000014 | BREAKER,CIRCT;ABB,2CDS251001R0377,MINTR | DISYUNTORA;ABB,2CDS251001R0377 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS251001R0377,ADDITIONAL FEATURES EN:MINIATURE,S201-K6 | DISYUNTORA;MNFR:ABB,PTNO:2CDS251001R0377 |  | ABB | 2CDS251001R0377 | 1068212 @@ ABB AUSTRALIA PTY LTD | 2CDS251001R0377 | [12 empty] | ABB | 2CDS251001R0377 | ABB AUSTRALIA PTY LTD | 2CDS251001R0377 | ABB | S201-K6 | [12 empty] | https://new.abb.com/products/2CDS251001R0377/s201-k6?IN | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 230/400 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | K | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 17.5 WDX88 HTX69 DP MM | CERTIFICATION/STANDARD | IEC/EN 60898-1,IEC/EN 60947-2,UL 1077 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | processed based on Websource, Conflict w.r.t Input | 1016902 | 1016902 |  |  |  | ERSA | M | 1650 | 1267551GZPCLNT100 | EA | 3000014 | BREAKER,CIRCT;ABB,3BHL000495P0005,MOT | DISYUNTORA;ABB,3BHL000495P0005,MOTOR | BREAKER,CIRCUIT;MNFR:ABB,PTNO:3BHL000495P0005,ADDITIONAL FEATURES EN:MOTOR PROTECTION,SWICTH PKZM 0-10 | DISYUNTORA;MNFR:ABB,PTNO:3BHL000495P0005,CARACTERISTICAS ADICIONALES ES:MOTOR PROTECTION,INTERRUPTOR PKZM 0-10 |  | ABB | 3BHL000495P0005 | [14 empty] | ABB | 3BHL000495P0005 | ABB | PKZM 0-10 | [14 empty] | https://motors.bonnew.com/3bhl000495p0005.html | [9 empty] | Enriched | 39122200 Electrical switches and accessories |  | FREQUENCY RATING:50/60 HZ | SWITCH | NO MODIFIER | TYPE | MOTOR PROTECTION | VOLTAGE RATING |  | CURRENT RATING | 6.3 TO 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1077302 | 1077302 | 1207129 | AU_QM_000618876 |  | ERSA | M | 1650 | 1207129GZPCLNT100 | EA | 3000000 | BREAKER,CIRCT;ATL,5536965700,15 A PNL | BREAKER,CIRCT;ATL,5536965700,15 A PNL | BREAKER,CIRCUIT;MNFR:ATLAS COPCO,PTNO:5536965700,ADDITIONAL FEATURES EN:15 A PANEL INSTALL. |  | CIRCUIT BREAKER:25 AMP;WAGNER ST7; | ATLAS COPCO | 5536965700 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5536965700 | [12 empty] | ATLAS COPCO | 5536965700 | EPIROC AUSTRALIA PTY LTD | 5536965700 | [14 empty] | https://www.aga-parts.com/atlas-copco-parts?page=4535 |  |  | WAGNER |  | ST7 |  |  |  |  | Cleansed | 39121601 Circuit breakers | FOR 15 A PANEL INSTALLATION |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1077400 | 1077400 | 1203224 | AU_QM_000995005 |  | ERSA | M | 1650 | 1203224GZPCLNT100 | EA | 3000000 | BREAKER,CIRCT;ATL,5537726900,10 A PNL | BREAKER,CIRCT;ATL,5537726900,10 A PNL | BREAKER,CIRCUIT;MNFR:ATLAS COPCO,PTNO:5537726900,ADDITIONAL FEATURES EN:10 A PANEL INSTALL. |  | CIRCUIT BREAKER:ST1800 LOADER;10 AMP; | ATLAS COPCO | 5537726900 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5537726900 | [12 empty] | ATLAS COPCO | 5537726900 | EPIROC AUSTRALIA PTY LTD | 5537726900 | [14 empty] | https://www.bidspotter.com/es-es/auction-catalogues/bsctrad/catalogue-id-bsctrad10066/lot-5aa83c71-3df7-4975-bc2b-ac3d0175109b |  |  | LOADER |  | ST1800 |  |  |  |  | Cleansed | 39121601 Circuit breakers | FOR 10 A PANEL INSTALLATION |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1072892 | 1072892 |  |  |  | ERSA | M | 1600 | 1574392GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,A-B1492SPM1C020,10 KA | DISYUNTORA;CNW,A-B1492SPM1C020 | BREAKER,CIRCUIT;MNFR:CNW,PTNO:A-B1492SPM1C020,ADDITIONAL FEATURES EN:10 KA,UL1077 10KA 1P 2A C CURVE,MCB | DISYUNTORA;MNFR:CNW,PTNO:A-B1492SPM1C020 |  | CNW | A-B1492SPM1C020 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | A-B1492SPM1C020 | [12 empty] | ALLEN-BRADLEY | 1492-SPM1C020 | CNW (MOUNT ISA) ELECT WHOLESALER | A-B1492SPM1C020 | [14 empty] | https://www.rockwellautomation.com/en-us/products/details.1492-SPM1C020.html | https://www.needco.com/product/detail/891219/allen-bradley-rockwell-1492-spm1c020 | [8 empty] | Enriched | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE | SUPPLEMENTARY PROTECTOR | CURRENT RATING | 2 A | VOLTAGE RATING | 277 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | CCC,CE,CSA,EAC,UL 1077 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1189862 | 1189862 |  |  |  | ERSA | M | 1600 | 1575406GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,CLIRCBM220/30,MCB/RCD | DISYUNTORA;CNW,CLIRCBM220/30 | BREAKER,CIRCUIT;MNFR:CNW,PTNO:CLIRCBM220/30,ADDITIONAL FEATURES EN:MCB/RCD 2MOD 2P 20A 250V 30MA 8KA | DISYUNTORA;MNFR:CNW,PTNO:CLIRCBM220/30 |  | CNW | CLIRCBM220/30 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLIRCBM220/30 | [12 empty] | CLIPSAL | RCBM220/30 | CNW (MOUNT ISA) ELECT WHOLESALER | CLIRCBM220/30 | [14 empty] | https://www.clipsal.com/products/detail?CatNo=RCBM220/30&itemno=RCBM220/30&tab-document-1=0 | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Electrical-Distribution/Circuit-Protection/Residual-Current-with-Overcurrent/MCB-RCD-2MOD-2P-20A-250V-30MA-8KA/p/CLIRCBM220=30I41 | [8 empty] | Enriched | 39121601 Circuit breakers | 2 MODULE | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-5 TO 40 DEG C | CIRCUIT BREAKER | NO MODIFIER | TYPE | MCB/RCD | CURRENT RATING | 20 A | VOLTAGE RATING | 250 VAC | FRAME RATING |  | INTERRUPT RATING | 8 KA | NUMBER OF POLES | 2 | OVERALL SIZE | 77.5 LGX36 WDX81 HT MM | TRIP SETTING | 30 MA | TERMINAL TYPE | CLIP-ON | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | AS/NZS 61009,IEC 60529 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1181212 | 1181212 |  |  |  | ERSA | M | 1600 | 1568199GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,NHP2H129CAC,MOT,XMD,11 | DISYUNTORA;CNW,NHP2H129CAC | BREAKER,CIRCUIT;MNFR:CNW,PTNO:NHP2H129CAC,ADDITIONAL FEATURES EN:MOTOR,XMD,110VAC,X4 | DISYUNTORA;MNFR:CNW,PTNO:NHP2H129CAC |  | CNW | NHP2H129CAC | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHP2H129CAC | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | NHP2H129CAC |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHP2H129CAC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | XMD,X4 |  | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 110 VAC | NUMBER OF POLES |  | INTERRUPT RATING |  | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1181213 | 1181213 |  |  |  | ERSA | M | 1600 | 1568198GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,NHPVS400NE3400,1000VAC | DISYUNTORA;CNW,NHPVS400NE3400 | BREAKER,CIRCUIT;MNFR:CNW,PTNO:NHPVS400NE3400,ADDITIONAL FEATURES EN:1000VAC,18KA,3P,400A | DISYUNTORA;MNFR:CNW,PTNO:NHPVS400NE3400 |  | CNW | NHPVS400NE3400 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPVS400NE3400 | [12 empty] | NHP | VS400NE3400 | CNW (MOUNT ISA) ELECT WHOLESALER | NHPVS400NE3400 | [14 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/VS400NE3400-184085-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 39121616 Molded case circuit breakers |  | TEMPERATURE RATING:-5 TO 70 DEG C | CIRCUIT BREAKER | MOLDED CASE | TYPE | ELECTRONIC | CURRENT RATING | 400 A | VOLTAGE RATING | 1000 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 18 KA | FRAME TYPE | 400 AF | CONTACT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | BOLT | SIZE | 140 WDX260 HTX145 DP MM | CERTIFICATION/STANDARD | CE,IEC 60947-1,IEC 60947-2,JIS C 8201-2-1,RCM | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1072910 | 1072910 |  |  |  | ERSA | M | 1600 | 1574284GZPCLNT100 | EA | 3000422 | BREAKER,CIRCT;CNW,SCHA9Z65463,ACTI9 IIDR | DISYUNTORA;CNW,SCHA9Z65463 | BREAKER,CIRCUIT;MNFR:CNW,PTNO:SCHA9Z65463,ADDITIONAL FEATURES EN:ACTI9 IID 4P 63A 300MA TYPE B-SI RCCB,RESIDUAL CURRENT | DISYUNTORA;MNFR:CNW,PTNO:SCHA9Z65463 |  | CNW | SCHA9Z65463 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SCHA9Z65463 | [12 empty] | SCHNEIDER ELECTRIC | A9Z65463 | CNW (MOUNT ISA) ELECT WHOLESALER | SCHA9Z65463 | [14 empty] | https://www.se.com/ae/en/product/A9Z65463/acti9-iid-residual-current-circuit-breaker-4p-63a-300ma-s-bsi-type/ | [9 empty] | Enriched | 39121601 Circuit breakers | NUMBER OF POLES:4,RANGE:ACTI9 IID,TYPE B-SI,TRIP SETTING:300 MA | COLOUR:WHITE,DEGREE OF PROTECTION:IP20/IP40 | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE | 16 TO 35 MM2 | CONTACT CONFIGURATION |  | INPUT RATING | 400 VAC,63 A,50 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 72 WDX88 HTX79 DP MM | TEMPERATURE RATING | -25 TO 60 DEG C | CERTIFICATION/STANDARD | CCC,KC,IEC 60529,IEC/EN 62423,IEC/EN 61008-2-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1146569 | 1146569 |  |  |  | ERSA | M | 1600 | 1525198GZPCLNT100 | EA |  | BREAKER,CIRCT;MCB 1MOD,1P,40A,4.5KA,C | BREAKER,CIRCT;MCB 1MOD,1P,40A,4.5KA,C | BREAKER,CIRCT;ADDITIONAL FEATURES:MCB 1MOD,1P,40A,4.5KA,C |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1525198 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1525198 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | 1 MODULE |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 4.5 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1181500 | 1181500 |  |  |  | ERSA | M | 1600 | 1567650GZPCLNT100 | EA |  | BREAKER,CIRCT;RCMA,30 MA,BENDR,423 RCD | DISYUNTORA; | BREAKER,CIRCUIT;TYPE:RCMA,INTERRUPT RATING:30 MA,ADDITIONAL FEATURES EN:BENDER,423 RCD | DISYUNTORA; |  |  |  | 1069484 @@ STEINERT AUSTRALIA PTY LTD | P50177 | [10 empty] | STEINERT AUSTRALIA PTY LTD | P50177 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP SETTING:30 MA,BENDER,REF:423 |  | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | RCMA | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING |  | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1059223 | 1059223 |  |  |  | ERSA | M | 1650 | 1609311GZPCLNT100 | EA |  | BREAKER,CIRCT;THRM,10 A,250 V,32 VDC,P 1 | DISYUNTORA;10 A,250 V,POL 1,SOLO,PANEL | BREAKER,CIRCUIT;TYPE:THERMAL,CURRENT RATING:10 A,VOLTAGE RATING:250 V,INTERRUPT RATING:32 VDC,NUMBER OF POLES:1,TERMINAL TYPE: SINGLE,MOUNTING TYPE:PANEL | DISYUNTORA;CORRIENTE NOMINAL:10 A,VOLTAJE:250 V,NUMERO POLOS:1,TIPO TERMINAL:SOLO,TIPO MONTAJE:PANEL |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | W28-XQ1A-10 | [12 empty] | TE CONNECTIVITY | W28-XQ1A-10 | [12 empty] | RS COMPONENTS PTY LTD | W28-XQ1A-10 |  |  | https://www.te.com/usa-en/product-2-1393250-5.html | https://au.rs-online.com/web/p/thermal-breakers/1675677 | [8 empty] | Enriched | 39121601 Circuit breakers |  | COLOUR:BLACK | CIRCUIT BREAKER | NO MODIFIER | TYPE | THERMAL MAGNETIC | CURRENT RATING | 10 A | VOLTAGE RATING | 250 VAC,32 VDC | FRAME RATING |  | INTERRUPT RATING | 1 KA | NUMBER OF POLES | 1 | OVERALL SIZE | 19.31 MM WD | TRIP SETTING |  | TERMINAL TYPE | BLADE | MOUNTING TYPE | PANEL | CERTIFICATION/STANDARD | UL 1077,E 69543,CSA,LR 15734,CS 2190N | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1105298 | 1105298 |  |  |  | ERSA | M | 1600 | 1514643GZPCLNT100 | EA |  | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE225/30S | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE225/30S | [19 empty] | CLIPSAL | RCBE225/30S | [16 empty] | https://www.clipsal.com/products/detail?CatNo=RCBE225/30S&itemno=RCBE225/30S&tab-document-1=0 | [9 empty] | Enriched | 39121601 Circuit breakers | 2 MODULE | DEGREE OF PROTECTION:IP20/IP40 | CIRCUIT BREAKER | NO MODIFIER | TYPE | RCD/MCB | CURRENT RATING | 25 A | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING | 4.5 KA | NUMBER OF POLES | 1 | OVERALL SIZE | 18 WDX92.5 HTX71.5 DP MM | TRIP SETTING | 30 MA | TERMINAL TYPE | CLIP-ON | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | AS/NZS 61009 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1105299 | 1105299 |  |  |  | ERSA | M | 1600 | 1514644GZPCLNT100 | EA |  | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE232/30S | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE232/30S | [19 empty] | CLIPSAL | RCBE232/30S | [16 empty] | https://www.clipsal.com/products/detail?CatNo=RCBE232/30S&itemno=RCBE232/30S | [9 empty] | Enriched | 39121601 Circuit breakers | 2 MODULE | DEGREE OF PROTECTION:IP20/IP40 | CIRCUIT BREAKER | NO MODIFIER | TYPE | RCD/MCB | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING | 4.5 KA | NUMBER OF POLES | 1 | OVERALL SIZE | 18 WDX92.5 HTX71.5 DP MM | TRIP SETTING | 30 MA | TERMINAL TYPE | CLIP-ON | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | AS/NZS 61009 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1188383 | 1188383 |  |  |  | ERSA | M | 1600 | 1585919GZPCLNT100 | EA |  | BREAKER;COVER SEAL | DISYUNTOR; | BREAKER;ADDITIONAL FEATURES EN:COVER SEAL | DISYUNTOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABMSS-TEL116-00151A | [12 empty] | CABAC | MSS-TEL116-00151A | CNW (MOUNT ISA) ELECT WHOLESALER | CABMSS-TEL116-00151A | [14 empty] | https://www.cabac.com.au/p/tools-and-equipment/cable-installation-tools/pit-keys-and-breakers/mss-tel116-00151a | https://www.toolmart.com.au/cabac-mss-tel116-00151a.html | [8 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BREAKER | NO MODIFIER | TYPE | COVER SEAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1188382 | 1188382 |  |  |  | ERSA | M | 1600 | 1585920GZPCLNT100 | EA |  | BREAKER;MANHOLE LID | DISYUNTOR; | BREAKER;ADDITIONAL FEATURES EN:MANHOLE LID | DISYUNTOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABMSS-PB-100 | [12 empty] | CABAC | MSS-PB-100 | CNW (MOUNT ISA) ELECT WHOLESALER | CABMSS-PB-100 | [14 empty] | https://www.cabac.com.au/p/tools-and-equipment/cable-installation-tools/pit-keys-and-breakers/mss-pb-100 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BREAKER | NO MODIFIER | TYPE | MANHOLE LID | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1102239 | 1102239 |  |  |  | ERSA | M | 1600 | 1506074GZPCLNT100 | EA |  | BREAKER;PS400NJ3400 | BREAKER;PS400NJ3400 | [5 empty] | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | PS400NJ3400 | [10 empty] | NHP ELECTRICAL ENGINEERING PROD | PS400NJ3400 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BREAKER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | Processed based on Websource, Conflict w.r.t Input | 1085504 | 1085504 |  |  |  | ERSA | M | 5000 | 1580796GZPCLNT100 | EA | 3000010 | BREAKER;SAN,991A2,ROCK,HARD CHISEL END | DISYUNTOR;SAN,991A2 | BREAKER;MNFR:SANDVIK,PTNO:991A2,ADDITIONAL FEATURES EN:ROCK,HARD CHISEL END | DISYUNTOR;MNFR:SANDVIK,PTNO:991A2 |  | SANDVIK | 991A2 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 991A2 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 991A2 | [10 empty] | SANDVIK MINING & CONSTRUCTION | 991A2 | [16 empty] | https://www.rammer.com/en/aftermarket/tools/hard-rock-chisel-tool/ | https://www.aggregateequipment.ca/wp-content/uploads/2016/08/bretec-rammer-tools-specs.pdf | [8 empty] | Enriched | 27112800 Tool attachments and accessories |  | WORKING LENGTH:705 MM,TOOL DIAMETER: 166 MM | CHISEL | NO MODIFIER | TYPE | HARD ROCK | BLADE WIDTH |  | LENGTH | 1.4 M | SHANK TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FINISH |  | HANDLE MATERIAL |  | HANDLE COLOR |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | Processed based on Websource, Conflict w.r.t Input | 1085501 | 1085501 |  |  |  | ERSA | M | 5000 | 1580793GZPCLNT100 | EA | 3000010 | BREAKER;SAN,993,ROCK,MOIL POINT END | DISYUNTOR;SAN,993 | BREAKER;MNFR:SANDVIK,PTNO:993,ADDITIONAL FEATURES EN:ROCK,MOIL POINT END | DISYUNTOR;MNFR:SANDVIK,PTNO:993 |  | SANDVIK | 993 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 993 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 993 | [10 empty] | SANDVIK MINING & CONSTRUCTION | 993 | [16 empty] | https://www.aggregateequipment.ca/wp-content/uploads/2016/08/bretec-rammer-tools-specs.pdf | https://www.ironmak.com/?/ironmak-blog/rammer-sandvik-tools | [8 empty] | Enriched | 27112800 Tool attachments and accessories |  | WORKING LENGTH:705 MM | TOOL | NO MODIFIER | TYPE | ROCK,MOIL POINT | SIZE | 1.4 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 | Processed based on Websource, Conflict w.r.t Input | 1085502 | 1085502 |  |  |  | ERSA | M | 5000 | 1580794GZPCLNT100 | EA | 3000010 | BREAKER;SAN,994,ROCK,BLUNT END | DISYUNTOR;SAN,994 | BREAKER;MNFR:SANDVIK,PTNO:994,ADDITIONAL FEATURES EN:ROCK,BLUNT END | DISYUNTOR;MNFR:SANDVIK,PTNO:994 |  | SANDVIK | 994 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 994 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 994 | [10 empty] | SANDVIK MINING & CONSTRUCTION | 994 | [16 empty] | https://www.aggregateequipment.ca/wp-content/uploads/2016/08/bretec-rammer-tools-specs.pdf | https://www.ironmak.com/?/ironmak-blog/rammer-sandvik-tools | [8 empty] | Enriched | 27112800 Tool attachments and accessories |  | WORKING LENGTH:570 MM | TOOL | NO MODIFIER | TYPE | BLUNT | SIZE | 1.265 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1034162 | 1034162 | 1361402 | AU_QM_000159429 |  | ERSA | M | 3300 | 1361402GZPCLNT100 | EA | 3000012 | BREAKER;TOY,ACX1896 | BREAKER;TOY,ACX1896 | BREAKER;MNFR:TOYOTA,PTNO:ACX1896 |  | CIRCUIT BREAKER:60A;2 STUD TERMINAL;75 X 50MM;MANUAL RES | TOYOTA | ACX1896 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | ACX1896 | [12 empty] | OEX | ACX1896 | BELL & MOIR - PARTS ORDERS ONLY | ACX1896 | TOYOTA | ACX1896 | [12 empty] | https://www.sparesbox.com.au/part/oex-circuit-breaker-manual-reset-60a-acx1896 | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 60 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 75X50 MM | TRIP SETTING |  | TERMINAL TYPE | 2-STUD | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1207433 | 1207433 |  |  |  | ERSA | M | 1600 | 683691MRM | EA |  | CIRCUIT BREAKER:100 AMP;3 POLE;10KA @ 10 | CIRCUIT BREAKER:100 AMP;3 POLE;10KA @ 10 | CIRCUIT BREAKER:100 AMP;3 POLE;10KA @ 1000V;FIXED TRIP;SCREW CONNECTIONS;C/W HANDLEAS2184/AS3858; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FIXED TRIP,C/W HANDLE |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 100 A | VOLTAGE RATING | 1000 V | FRAME RATING |  | INTERRUPT RATING | 10 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FIXED | CERTIFICATION/STANDARD | AS2184/AS3858 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1211605 | 1211605 |  |  |  | ERSA | M | 1600 | 359991MRM | EA |  | CIRCUIT BREAKER:1000AMP;1100V;3 POLE;20K | CIRCUIT BREAKER:1000AMP;1100V;3 POLE;20K | CIRCUIT BREAKER:1000AMP;1100V;3 POLE;20KA;C/W SHUNT TRIP <(>&<)> AUX SWITCH;ELECTRONIC;FIXED TRIP;ADJUSTABLE ASR;TO AS3858 IEC947-2; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | C/W SHUNT TRIP,AUXILIARY SWITCH;ELECTRONIC,FIXED TRIP,ADJUSTABLE ASR |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 1000 A | VOLTAGE RATING | 1100 V | FRAME RATING |  | INTERRUPT RATING | 20 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS3858,IEC947-2 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208830 | 1208830 |  |  |  | ERSA | M | 1600 | 156480MRM | EA |  | CIRCUIT BREAKER:10A;1 POLE;240V; MRM311 | CIRCUIT BREAKER:10A;1 POLE;240V; MRM311 | CIRCUIT BREAKER:10A;1 POLE;240V; MRM311 MCC | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR MRM311 MCC |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 240 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1216679 | 1216679 |  |  |  | ERSA | M | 5955 | 7128406MRM | EA |  | CIRCUIT BREAKER:15A;24V DC;TC200 CARRIER | CIRCUIT BREAKER:15A;24V DC;TC200 CARRIER | CIRCUIT BREAKER:15A;24V DC;TC200 CARRIER;CABOLT H520;H205D MINIMATIC JUMBO;ROBOLT H320-30C ROOF BOLTER | [36 empty] | URL NOT FOUND |  |  | CARRIER,CABOLT, MINIMATIC JUMBO,ROBOLT,ROOF BOLTER |  | TC200,H520,H205D,H320-30C |  |  |  |  | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 15 A | VOLTAGE RATING | 24 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1206446 | 1206446 |  |  |  | ERSA | M | 1600 | 333256MRM | EA |  | CIRCUIT BREAKER:1A;2P;10KA;MINIATURE;DIN | CIRCUIT BREAKER:1A;2P;10KA;MINIATURE;DIN | CIRCUIT BREAKER:1A;2P;10KA;MINIATURE;DIN-T10 SERIES;C CURVE;DIN RAIL MTG;TO AS3111 IEC898; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | SERIES:DIN-T10 |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 1 A | VOLTAGE RATING |  | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111,IEC898 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1207715 | 1207715 |  |  |  | ERSA | M | 1600 | 684721MRM | EA |  | CIRCUIT BREAKER:20 AMP;1 POLE;9KA;240V;D | CIRCUIT BREAKER:20 AMP;1 POLE;9KA;240V;D | CIRCUIT BREAKER:20 AMP;1 POLE;9KA;240V;DIN RAIL MTG;SERIES G; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | SERIES G |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING | 240 V | FRAME RATING |  | INTERRUPT RATING | 9 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1210124 | 1210124 |  |  |  | ERSA | M | 1600 | 1187913MRM | EA |  | CIRCUIT BREAKER:20Amp CIRCUIT BREAKER;PR | CIRCUIT BREAKER:20Amp CIRCUIT BREAKER;PR | CIRCUIT BREAKER:20Amp CIRCUIT BREAKER;PROBE AND PROBE CONTROL SET; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | PROBE AND PROBE CONTROL SET |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1211615 | 1211615 |  |  |  | ERSA | M | 1600 | 360266MRM | EA |  | CIRCUIT BREAKER:25 AMP;1 POLE;6KA;TRIP 3 | CIRCUIT BREAKER:25 AMP;1 POLE;6KA;TRIP 3 | CIRCUIT BREAKER:25 AMP;1 POLE;6KA;TRIP 30MA;BELOW 40 M/SEC;250VAC 6KA CAPACITY;AS 3111 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | BELOW 40 M/SEC |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING | 250 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING | 30 MA | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS 3111 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1207434 | 1207434 |  |  |  | ERSA | M | 1600 | 683706MRM | EA |  | CIRCUIT BREAKER:250 AMP;3 POLE;12.5KA;11 | CIRCUIT BREAKER:250 AMP;3 POLE;12.5KA;11 | CIRCUIT BREAKER:250 AMP;3 POLE;12.5KA;1100V;AS3858;C/W VARI DEPTH HANDLE MECHANISM; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | C/W VARI DEPTH HANDLE MECHANISM |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 1100 V | FRAME RATING |  | INTERRUPT RATING | 12.5 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS3858 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1210830 | 1210830 |  |  |  | ERSA | M | 1600 | 1203629MRM | EA |  | CIRCUIT BREAKER:2ND MX AUXILLARY CONTACT | CIRCUIT BREAKER:2ND MX AUXILLARY CONTACT | CIRCUIT BREAKER:2ND MX AUXILLARY CONTACTS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | 2ND MX AUXILLARY CONTACT |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1206450 | 1206450 |  |  |  | ERSA | M | 1600 | 333311MRM | EA |  | CIRCUIT BREAKER:3200 AMP;FUSELESS;3 POLE | CIRCUIT BREAKER:3200 AMP;FUSELESS;3 POLE | CIRCUIT BREAKER:3200 AMP;FUSELESS;3 POLE;(UE)(V)690VAC;DRAW OUT TYPE;C/W LSI TRIP UNIT;RATED IEC947-2; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FUSELESS,DRAW OUT TYPE C/W LSI TRIP UNIT |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 3200 A | VOLTAGE RATING | 690 VAC (UE) | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | IEC947-2 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208475 | 1208475 |  |  |  | ERSA | M | 1600 | 689810MRM | EA |  | CIRCUIT BREAKER:32A;1P;6KA;MINIATURE;DIN | CIRCUIT BREAKER:32A;1P;6KA;MINIATURE;DIN | CIRCUIT BREAKER:32A;1P;6KA;MINIATURE;DIN-T6 SERIES;C CURVE;DIN RAIL MTG;TO AS3111 <(>&<)> IEC898; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | SERIES:DIN-T6 |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111,IEC898 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1206449 | 1206449 |  |  |  | ERSA | M | 1600 | 333301MRM | EA |  | CIRCUIT BREAKER:4A;1P;6KA;MINIATURE;DIN- | CIRCUIT BREAKER:4A;1P;6KA;MINIATURE;DIN- | CIRCUIT BREAKER:4A;1P;6KA;MINIATURE;DIN-T6 SERIES;C CURVE;DIN RAIL MTG;TO AS3111 <(>&<)> IEC898; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121603 Miniature circuit breakers | SERIES:DIN-T6 |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS3111,IEC898 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208831 | 1208831 |  |  |  | ERSA | M | 1600 | 156483MRM | EA |  | CIRCUIT BREAKER:4A;3 POLE;690V; MRM311 M | CIRCUIT BREAKER:4A;3 POLE;690V; MRM311 M | CIRCUIT BREAKER:4A;3 POLE;690V; MRM311 MCC | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR MRM311 MCC |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 690 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1206447 | 1206447 |  |  |  | ERSA | M | 1600 | 333271MRM | EA |  | CIRCUIT BREAKER:63 AMP;3 POLE;50KA;THERM | CIRCUIT BREAKER:63 AMP;3 POLE;50KA;THERM | CIRCUIT BREAKER:63 AMP;3 POLE;50KA;THERMAL MAGNETIC;ADJ THERMAL <(>&<)> MAGNETIC TRIP;AS3858;HIGH FAULT SERIES;SCREW CONNECTIONS;C/W 240VAC SHUNT TRIP; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | ADJUSTABLE TRIP,HIGH FAULT SERIES,C/W SHUNT TRIP |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | THERMAL MAGNETIC | CURRENT RATING | 63 A | VOLTAGE RATING | 240 VAC | FRAME RATING |  | INTERRUPT RATING | 50 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS3858 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1203338 | 1203338 |  |  |  | ERSA | M | 1600 | 270706MRM | EA |  | CIRCUIT BREAKER:ACTI9;IC60H;3P;16A;C MIN | CIRCUIT BREAKER:ACTI9;IC60H;3P;16A;C MIN | CIRCUIT BREAKER:ACTI9;IC60H;3P;16A;C MINIATURE CIRCUIT BREAKER |  |  |  |  | 1079053 @@ SCHNEIDER ELECTRIC (DARWIN) | A9F54316 | [12 empty] | SCHNEIDER ELECTRIC (DARWIN) | A9F54316 | [16 empty] | https://www.se.com/ae/en/product/A9F54316/acti9-ic60h-3p-16a-c-miniature-circuit-breaker/ | [9 empty] | Enriched | 39121603 Miniature circuit breakers | SERIES:ACTI9,IC60H | DEGREE OF PROTECTION:IP20,TEMPERATURE RATING:-35 TO 70 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE | LOW VOLTAGE,THERMAL MAGNETIC | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | CLIP-ON | SIZE | 54 WDX85 HTX78.5 DP MM | CERTIFICATION/STANDARD | EN/IEC 60898-1,EN/IEC 60947-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1212734 | 1212734 |  |  |  | ERSA | M | 1600 | 137394MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000 | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000 | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000N MICROLOGIC 2.0;SEC CRUSHING SWITCHROOM; | [36 empty] | https://www.se.com/in/en/product/33472/circuit-breaker-compact-ns1000n-50-ka-at-415-vac-micrologic-2-0-trip-unit-1000-a-fixed-3-poles-3d/ | https://www.se.com/za/en/product/33472/ns1000n-3p-fast-frontt-+-micrologic-2-0/ | [8 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS1000N,TRIP UNIT: MICROLOGIC 2.0,SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 1000 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1212735 | 1212735 |  |  |  | ERSA | M | 1600 | 137395MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000 | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000 | CIRCUIT BREAKER:CIRCUIT BREAKER NS1000H MICROLOGIC 5.0;SEC CRUSHING SWITCHROOM; | [36 empty] | https://www.se.com/ph/en/product/33473/circuit-breaker-compact-ns1000h-micrologic-2-0-1000-a-3-poles-3t/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS1000H,TRIP UNIT: MICROLOGIC 5.0,SEC CRUSHING SWITCHROOM |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 1000 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208135 | 1208135 |  |  |  | ERSA | M | 1600 | 133123MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A DC | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A DC | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A DC;HPU CONTROL PANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | URL NOT FOUND |  |  | HPU CONTROL PANEL | [6 empty] | Cleansed | 39121601 Circuit breakers | SERIES:100,FOR ROCK BREAKER |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2 A DC | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208138 | 1208138 |  |  |  | ERSA | M | 1600 | 133127MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A;HP | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A;HP | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 2A;HPU CONTROL PANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | URL NOT FOUND |  |  | HPU CONTROL PANEL | [6 empty] | Cleansed | 39121601 Circuit breakers | SERIES:100,FOR ROCK BREAKER |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208136 | 1208136 |  |  |  | ERSA | M | 1600 | 133125MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 4A DC | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 4A DC | CIRCUIT BREAKER:CIRCUIT BREAKER 1P 4A DC;HPU CONTROL PANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | URL NOT FOUND |  |  | HPU CONTROL PANEL | [6 empty] | Cleansed | 39121601 Circuit breakers | SERIES:100,FOR ROCK BREAKER |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 4 A DC | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1208128 | 1208128 |  |  |  | ERSA | M | 1600 | 133115MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER 3POLE 16 | CIRCUIT BREAKER:CIRCUIT BREAKER 3POLE 16 | CIRCUIT BREAKER:CIRCUIT BREAKER 3POLE 160-250A;HPU CONTROL PANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | URL NOT FOUND |  |  | HPU CONTROL PANEL | [6 empty] | Cleansed | 39121601 Circuit breakers | SERIES:100,FOR ROCK BREAKER |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 160 TO 250 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1209730 | 1209730 |  |  |  | ERSA | M | 1600 | 134348MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER AUXILIAR | CIRCUIT BREAKER:CIRCUIT BREAKER AUXILIAR | CIRCUIT BREAKER:CIRCUIT BREAKER AUXILIARY;CONSUMABLE SPARE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | CONSUMABLE SPARE |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1209747 | 1209747 |  |  |  | ERSA | M | 1600 | 134367MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3 | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3 | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3P; | [36 empty] | https://www.se.com/au/en/product/33517/circuit-breaker-compact-ns800l-150ka-415vac-micrologic-5-0a-trip-unit-800a-fixed-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS800L |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1209748 | 1209748 |  |  |  | ERSA | M | 1600 | 134368MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3 | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3 | CIRCUIT BREAKER:CIRCUIT BREAKER NS800L 3P RATING PLUG; | [36 empty] | https://www.se.com/au/en/product/33517/circuit-breaker-compact-ns800l-150ka-415vac-micrologic-5-0a-trip-unit-800a-fixed-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS800L,PLUG |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1209729 | 1209729 |  |  |  | ERSA | M | 1600 | 134347MRM | EA |  | CIRCUIT BREAKER:CONTROL CIRCUIT BREAKER; | CIRCUIT BREAKER:CONTROL CIRCUIT BREAKER; | CIRCUIT BREAKER:CONTROL CIRCUIT BREAKER;6A;1P;CONSUMABLESPARE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | CONSUMABLE SPARE |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | CONTROL | CURRENT RATING | 6 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 1 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1210448 | 1210448 |  |  |  | ERSA | M | 1600 | 1197128MRM | EA |  | CIRCUIT BREAKER:MASTERPACT NW25 AIR;415V | CIRCUIT BREAKER:MASTERPACT NW25 AIR;415V | CIRCUIT BREAKER:MASTERPACT NW25 AIR;415V 2500AMP TYPE H1; 3 POLE DRAW OUT; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121615 Air circuit breakers | SERIES:MASTERPACT NW25,TYPE H1,DRAW OUT |  | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 2500 A | VOLTAGE RATING | 415 V | FREQUENCY RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-02 |  | 1210449 | 1210449 |  |  |  | ERSA | M | 1600 | 1197136MRM | EA |  | CIRCUIT BREAKER:MASTERPACT NW32 AIR;415 | CIRCUIT BREAKER:MASTERPACT NW32 AIR;415 | CIRCUIT BREAKER:MASTERPACT NW32 AIR;415V 3200AMP TYPE H1; 3 POLE DRAW OUT; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121615 Air circuit breakers | SERIES:MASTERPACT NW32,TYPE H1,DRAW OUT |  | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 3200 A | VOLTAGE RATING | 415 V | FREQUENCY RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1210457 | 1210457 |  |  |  | ERSA | M | 1600 | 1197938MRM | EA |  | CIRCUIT BREAKER:NS1250N C/W MICROLOGIC 2 | CIRCUIT BREAKER:NS1250N C/W MICROLOGIC 2 | CIRCUIT BREAKER:NS1250N C/W MICROLOGIC 2.0 AMP; | [36 empty] | https://www.se.com/in/en/product/33478/circuit-breaker-compact-ns1250n-50-ka-at-415-vac-micrologic-2-0-trip-unit-1250-a-fixed3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS1250N,TRIP UNIT: MICROLOGIC 2.0 |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 1250 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1210458 | 1210458 |  |  |  | ERSA | M | 1600 | 1197946MRM | EA |  | CIRCUIT BREAKER:NS250SX C/W 250AMP TRIP | CIRCUIT BREAKER:NS250SX C/W 250AMP TRIP | CIRCUIT BREAKER:NS250SX C/W 250AMP TRIP UNIT; | [36 empty] | https://www.se.com/eg/en/product/35990/circuit-breaker-compact-ns250sx-str22se-250-a-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS250SX C/W TRIP UNIT |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1210459 | 1210459 |  |  |  | ERSA | M | 1600 | 1197953MRM | EA |  | CIRCUIT BREAKER:NS400N C/W 400AMP TRIP U | CIRCUIT BREAKER:NS400N C/W 400AMP TRIP U | CIRCUIT BREAKER:NS400N C/W 400AMP TRIP UNIT; | [36 empty] | https://www.se.com/in/en/product/32693/circuit-breaker-compact-ns400n-str23se-400-a-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS400N C/W TRIP UNIT |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 400 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1210460 | 1210460 |  |  |  | ERSA | M | 1600 | 1197961MRM | EA |  | CIRCUIT BREAKER:NS630H C/W 500AMP MAGNET | CIRCUIT BREAKER:NS630H C/W 500AMP MAGNET | CIRCUIT BREAKER:NS630H C/W 500AMP MAGNETIC TRIP UNIT; | [36 empty] | https://www.se.com/uk/en/product/32895/circuit-breaker-compact-ns630h-str23se-630-a-3-poles-3d/ | [9 empty] | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS630H C/W 500 A TRIP UNIT |  | CIRCUIT BREAKER | MOLDED CASE | TYPE | MAGNETIC | CURRENT RATING | 630 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1212029 | 1212029 |  |  |  | ERSA | M | 1600 | 136597MRM | EA |  | CIRCUIT BREAKER:NS80HMA12.5;CIRCUIT BREA | CIRCUIT BREAKER:NS80HMA12.5;CIRCUIT BREA | CIRCUIT BREAKER:NS80HMA12.5;CIRCUIT BREAKER;70KA;2900-BU-029;2900-BU-031;2900-BU-032 <(>&<)> GRINDINGAREA; | [36 empty] | https://www.se.com/in/en/product-range/995-compact-ns80h-ma/ | [8 empty] | 2900-BU-029,2900-BU-031,2900-BU-032 | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS80H,TRIP UNIT:MA12.5,FOR GRINDING AREA |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 12.5 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING | 70 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1212027 | 1212027 |  |  |  | ERSA | M | 1600 | 136595MRM | EA |  | CIRCUIT BREAKER:NS80HMA50;CIRCUIT BREAKE | CIRCUIT BREAKER:NS80HMA50;CIRCUIT BREAKE | CIRCUIT BREAKER:NS80HMA50;CIRCUIT BREAKER;70KA;2900-BU-029;2900-BU-031, 2900-BU-032 <(>&<)> GRINDING AREA; | [36 empty] | https://www.se.com/in/en/product-range/995-compact-ns80h-ma/ | [8 empty] | 2900-BU-029,2900-BU-031, 2900-BU-032 | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS80H,TRIP UNIT:MA50,FOR GRINDING AREA |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 50 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING | 70 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | ok | 2023-10-16 | 2023-11-02 | URL for Reference only | 1212026 | 1212026 |  |  |  | ERSA | M | 1600 | 136594MRM | EA |  | CIRCUIT BREAKER:NS80HMA80;CIRCUIT BREAKE | CIRCUIT BREAKER:NS80HMA80;CIRCUIT BREAKE | CIRCUIT BREAKER:NS80HMA80;CIRCUIT BREAKER;70KA;2900-BU-029;2900-BU-031, 2900-BU-032 <(>&<)> GRINDING AREA; | [36 empty] | https://www.se.com/in/en/product-range/995-compact-ns80h-ma/ | [8 empty] | 2900-BU-029,2900-BU-031, 2900-BU-032 | Cleansed | 39121616 Molded case circuit breakers | SERIES:NS80H,TRIP UNIT:MA80,FOR GRINDING AREA |  | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING | 70 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed