## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1140149 | 1140149 | 1394302 | AU_QM_000237859 |  | ERSA | M | 2200 | 1394302GZPCLNT100 | EA |  | BRAKE LUFF VALVE; | BRAKE LUFF VALVE; | VALVE: BRAKE LUFF VALVE; FAVCO CRANE MODEL 440D;SER.NO.976 |  | VALVE: BRAKE LUFF VALVE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 3940-MX | [12 empty] | CATERPILLAR | 3E-4058 | CNW (MOUNT ISA) ELECT WHOLESALER | 1373029 | HASTINGS DEERING(AUSTRALIA) LTD | 3E4058 | [12 empty] | https://parts.cat.com/en/catcorp/3E-4058 |  |  | LOADERS | CATERPILLAR ELPHINSTONE | R1700,R2900 |  |  |  |  | ENRICHED | 40141612 Expansion valves | FOR AIRCON SYSTEM | CORE SIZE:16 MM,LENGTH:22.2 MM | VALVE | EXPANSION | TYPE | HIGH SIDE REFRIGERANT | CONNECTION SIZE | M10X0.75-6G | END CONNECTION | THREADED | TEMPERATURE RANGE |  | CONFIGURATION |  | CAPILLARY LENGTH |  | FLOW RATING |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | CAPACITY |  | TRIM |  | REFRIGERANT TYPE |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1134088 | 1134088 | 1370356 | AU_QM_000176148 |  | ERSA | M | 5915 | 1370356GZPCLNT100 | EA |  | BRAKE;GUIDANCE SYSTEM PROPORTIONAL | BRAKE;GUIDANCE SYSTEM PROPORTIONAL | VALVE: BRAKE;GUIDANCE SYSTEM PROPORTIONAL |  | VALVE: BRAKE;GUIDANCE SYSTEM PROPORTIONAL | [34 empty] | Url Not Found |  |  | BROOMWADE COMPRESSOR | [6 empty] | CLEANSED | 40141600 Valves | ASSEMBLY |  | VALVE | NO MODIFIER | TYPE | DELIVERY | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1134882 | 1134882 | 1463554 | AU_QM_005030182 |  | ERSA | M | 2200 | 1463554GZPCLNT100 | EA |  | BYPASS DUMP | BYPASS DUMP | VALVE: BYPASS DUMP |  | VALVE: BYPASS DUMP | [18 empty] | LANDIS & GYR PTY LTD | R2H7CS174 | AMCO | [13 empty] | Url Not Found | [9 empty] | CLEANSED | 40141600 Valves | C/W MANIFOLD,ZSC100 1/2 IN PILOT REGULATOR |  | VALVE | NO MODIFIER | TYPE | AXIAL FLOW | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 120 PSI,20.7 TO 206 KPA OUTLET | BODY MATERIAL |  | DESIGN PRESSURE | 1440 KPA | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1062642 | 1062642 | 1457775 | AU_QM_001308238 |  | ERSA | M | 2200 | 1457775GZPCLNT100 | EA |  | CHARGE VALVE; | CHARGE VALVE; | VALVE: CHARGE VALVE; |  | VALVE: CHARGE VALVE; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100014072 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves | TANK HOUSE CELL UPGRADE |  | VALVE | RELIEF | TYPE | AIR PRESSURE | NOMINAL SIZE | 50 MM | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE | 5 MPA | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1110993 | 1110993 | 1452030 | AU_QM_001167832 |  | ERSA | M | 2200 | 1452030GZPCLNT100 | EA |  | COMPLETE SCHRADER VALVE; | COMPLETE SCHRADER VALVE; | VALVE: COMPLETE SCHRADER VALVE; C/W BRASS CAP 1/8; |  | VALVE: COMPLETE SCHRADER VALVE; | [19 empty] | 3407-02 | [14 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves | REGULATOR |  | VALVE | RELIEF | TYPE | AIR PRESSURE,DUST SUPPRESSION | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1067643 | 1067643 | 1350964 | AU_QM_000135098 |  | ERSA | M | 2200 | 1350964GZPCLNT100 | EA |  | CORE BLOW VALVE AND ACTUATOR;SLURRY OUT/ | CORE BLOW VALVE AND ACTUATOR;SLURRY OUT/ | VALVE: CORE BLOW VALVE AND ACTUATOR;SLURRY OUT/ FIXED PLATE;DN150 PINCH VALVE; |  | VALVE: CORE BLOW VALVE AND ACTUATOR;SLURRY OUT/ |  |  | 1070715 @@ TECNICAS HIDRAULICAS S.A. | 1350964 | [30 empty] | Url Not Found | [9 empty] | CLEANSED | 40141606 Relief valves |  |  | VALVE | RELIEF | TYPE | HIGH-PRESSURE,AIR | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1067629 | 1067629 | 1354084 | AU_QM_000142982 |  | ERSA | M | 2200 | 1354084GZPCLNT100 | EA |  | COUNTER BALANCE,SKIP UNLOADING EQUIPMENT | COUNTER BALANCE,SKIP UNLOADING EQUIPMENT | VALVE: COUNTER BALANCE,SKIP UNLOADING EQUIPMENT ,SHAFT HOISTING SYSTEM |  | VALVE: COUNTER BALANCE,SKIP UNLOADING EQUIPMENT |  |  | 1068342 @@ ISADRAULICS | CBIA-LHN-A908-24V-J11 | [12 empty] | CATERPILLAR | 7E-4761 | HASTINGS DEERING(AUSTRALIA) LTD | 7E4761 | [14 empty] | https://parts.cat.com/en/catcorp/7E-4761 |  |  | LOADERS | CATERPILLAR ELPHINSTONE | R1700,R2900 |  |  |  |  | ENRICHED | 40141600 Valves |  |  | VALVE | SHUTOFF | TYPE | ENGINE OIL DRAIN,ANGLE | NOMINAL SIZE | 3/4 IN | END CONNECTION | MNPTF X HOSE BEAD | END TO END DISTANCE | 73.66 MM | CONFIGURATION |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | MANUAL | BODY MATERIAL | BRASS | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1062678 | 1062678 | 1428027 | AU_QM_000483818 |  | ERSA | M | 2200 | 1428027GZPCLNT100 | EA |  | COUNTERBALANCE,CONTAINER CRANE GRABS | COUNTERBALANCE,CONTAINER CRANE GRABS | VALVE: COUNTERBALANCE,CONTAINER CRANE GRABS PORTAINER CRANE |  | VALVE: COUNTERBALANCE,CONTAINER CRANE GRABS | [16 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | AD400-04 | [16 empty] | https://www.blackwoods.com.au/valves-flow-control/filters-regulators-lubricators/auto-drain-units-ad-series/valve-auto-drain-nc-smc-ad400-04-1-2-bsp/p/05062315 | https://airbest.en.made-in-china.com/product/JqUmnFHMvrhP/China-Auto-Drain-Valve-AD400-04-.html |  | SAG MILL | [6 empty] | ENRICHED | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE | AUTO DRAIN,AIR RECEIVER | NOMINAL SIZE | 1/2 IN | END CONNECTION | BSPP | CONFIGURATION |  | PRESSURE CLASS/RATING | 1 MPA | BODY MATERIAL |  | DESIGN PRESSURE | 1.5 MPA | TEMPERATURE RATING | -5 TO 60 DEG C | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1141013 | 1141013 | 1467705 | AU_QM_007127878 |  | ERSA | M | 2200 | 1467705GZPCLNT100 | EA |  | CSC37 VALVE; | CSC37 VALVE; | VALVE: CSC37 VALVE; CHAMPION CSC37 COMPRESSOR |  | VALVE: CSC37 VALVE; |  |  | 1068100 @@ BERENDSEN FLUID POWER | 541121 | 1069581 @@ CUSTOM FLUID POWER P/L | 541121 | [28 empty] | Url Not Found |  |  | BOOST COMPRESSOR | ARIEL | JGP/2 |  |  |  |  | CLEANSED | 40141600 Valves | ASSEMBLY |  | VALVE | NO MODIFIER | TYPE | AIR CIRCUIT AUTO DRAIN | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1063861 | 1063861 | 1359057 | AU_QM_000154663 |  | ERSA | M | 2200 | 1359057GZPCLNT100 | EA |  | DOWNCOMER ISOLATION VALVE | DOWNCOMER ISOLATION VALVE | VALVE: DOWNCOMER ISOLATION VALVE |  | VALVE: DOWNCOMER ISOLATION VALVE |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | VLV KGV KGD4 NRUB BG 100 AE | 1068546 @@ KEYFLO PACIFIC PTY LTD | VLV KGV KGD4 NRUB BG 100 AE | [12 empty] | ORBIT | FIG 6448SHL | [14 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | RISING STEM | NOMINAL SIZE | 1 IN | END CONNECTION | NPT | PRESSURE CLASS/RATING | 600 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL BORE | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1064955 | 1064955 | 1358520 | AU_QM_000153558 |  | ERSA | M | 2200 | 1358520GZPCLNT100 | EA |  | DUAL COUNTERBALANCE; G3/8IN; 350BAR; 4:1 | DUAL COUNTERBALANCE; G3/8IN; 350BAR; 4:1 | VALVE: DUAL COUNTERBALANCE; G3/8IN; 350BAR; 4:1 ; GFM L72 SKIP LIFTING; |  | VALVE: DUAL COUNTERBALANCE; G3/8IN; 350BAR; 4:1 |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | A-VBSO-DE30CSL/084407030235 | [14 empty] | HICO VALVE | [15 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 100 MM | END CONNECTION |  | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | HANDLE | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1134957 | 1134957 | 1453479 | AU_QM_001209923 |  | ERSA | M | 2200 | 1453479GZPCLNT100 | EA |  | DUMP VALVE; | DUMP VALVE; | VALVE: DUMP VALVE; FINLAY 693+ SCREEN; |  | VALVE: DUMP VALVE; |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 10.16.5935 | [12 empty] | KITZ | FIG K150SCTB-FS | RICHARDS | FIG K150SCTB-FS | SOUTHERN QUEENSLAND STEEL P/L | 92150A/RP62 | [12 empty] | https://kcbkk.com/wp-content/uploads/2020/02/225.pdf | https://kcbkk.com/en/product/150sctb-2/ | [8 empty] | ENRICHED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | SPLIT | NOMINAL SIZE | 15 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | CARBON STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE | 450 PSI | TEMPERATURE RATING |  | END TO END DISTANCE | 108 MM | OPERATED | HANDLE | TRIM | STEM STAINLESS STEEL A276 | SOFTGOODS | PTFE GASKET | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1184280 | 1184280 |  |  |  | ERSA | M | 5000 | 1559600GZPCLNT100 | EA | 3000010 | CHUCK;SAN,04973428 | VALVULA;SAN,04973428 | VALVE;MNFR:SANDVIK,PTNO:04973428,ADDITIONAL FEATURES EN:SEAT | VALVULA;MNFR:SANDVIK,PTNO:04973428 |  | SANDVIK | 04973428 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 4973428 | [14 empty] | RICHARDS | FIG 51 800SB/RP12 | SOUTHERN QUEENSLAND STEEL P/L | 1430413 | [12 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE |  | NOMINAL SIZE | 15 MM | END CONNECTION | BSP | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1150936 | 1150936 | 1476639 | AU_QM_009986535 |  | ERSA | M | 5620 | 1476639GZPCLNT100 | EA |  | CONTROL VALVE | CONTROL VALVE |  |  | HOUSING:CONTROL VALVE |  |  | 1068343 @@ UNDERGROUND ROCKDRILL WA | 64.979.350 | 1068617 @@ BOART LONGYEAR PTY LTD | 64.979.350 | [28 empty] | Url Not Found | [9 empty] | CLEANSED | 40141607 Ball valves | TANK HOUSE CELL UPGRADE |  | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 15 MM | END CONNECTION | FBSP | PRESSURE CLASS/RATING | 800 LB | BODY MATERIAL | CAST STEEL A105 | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | ok | 2023-10-16 | 2023-11-02 |  | 1151232 | 1151232 | 1475778 | AU_QM_000234471 |  | ERSA | M | 4090 | 1475778GZPCLNT100 | EA |  | CONTROL VALVE HANDLE;BANK;FINDLAY MOBILE | CONTROL VALVE HANDLE;BANK;FINDLAY MOBILE |  |  | HANDLE,MANUAL CONTROL:CONTROL VALVE HANDLE;BANK;FINDLAY MOBILE |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 12090362 | [12 empty] | PETRO INDUSTRIAL | BLS6FA-L-RT | CNW (MOUNT ISA) ELECT WHOLESALER | BLS6FA-L-RT | [14 empty] | https://www.petroind.com/products/petro-316-ss-2-piece-fire-safe-full-bore-flanged-150-manual-valve | [9 empty] | CLEANSED | 40141607 Ball valves |  |  | VALVE | BALL | TYPE | 2-PIECE | NOMINAL SIZE | 25 MM | END CONNECTION | FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE | FULL | DESIGN PRESSURE | 20 BAR | TEMPERATURE RATING | -20 TO 180 DEG C | END TO END DISTANCE |  | OPERATED | ISO PAD LEVER | TRIM | FKM BACKING RING,RTFE SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | [42 empty] | Production Completed