## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1130442 | 1130442 |  |  |  | ERSA | M | 5000 | 1600067GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,BG00375939 | ENSAMBLE CABLE;SAN,BG00375939 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00375939 | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00375939 |  | SANDVIK | BG00375939 | [12 empty] | SANDVIK | BG00375939 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134273 | 1134273 | 1415534 | AU_QM_000261213 |  | ERSA | M | 5915 | 1415534GZPCLNT100 | EA |  | CABLE,ELEC;1.5MM2,16PR,(7) 0.5 MM,CBI | CABLE,ELEC;1.5MM2,16PR,(7) 0.5 MM,CBI | CABLE,ELEC;MNFR: ,PTNO:1.5MM2,16PR,(7) 0.5 MM,CBI |  | CABLE,ELEC;1.5MM2,16PR,(7) 0.5 MM,CBICABLE,ELEC;1.5MM2,16PR,(7) 0.5 MM,CBI | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134858 | 1134858 | 1419623 | AU_QM_000265693 |  | ERSA | M | 5915 | 1419623GZPCLNT100 | EA |  | CABLE,ELEC;1.5MM2,1PR,(7) 0.5 MM,COPPER | CABLE,ELEC;1.5MM2,1PR,(7) 0.5 MM,COPPER | CABLE,ELEC;MNFR: ,PTNO:1.5MM2,1PR,(7) 0.5 MM,COPPER |  | CABLE,ELEC;1.5MM2,1PR,(7) 0.5 MM,COPPERCABLE,ELEC;1.5MM2,1PR,(7) 0.5 MM,COPPER | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134767 | 1134767 | 1423107 | AU_QM_000269507 |  | ERSA | M | 5915 | 1423107GZPCLNT100 | EA |  | CABLE,ELEC;1.5MM2,4PR,(7) 0.5 MM,CUBI | CABLE,ELEC;1.5MM2,4PR,(7) 0.5 MM,CUBI | CABLE,ELEC;MNFR: ,PTNO:1.5MM2,4PR,(7) 0.5 MM,CUBI |  | CABLE,ELEC;1.5MM2,4PR,(7) 0.5 MM,CUBICABLE,ELEC;1.5MM2,4PR,(7) 0.5 MM,CUBI | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134774 | 1134774 | 1422927 | AU_QM_000269307 |  | ERSA | M | 5915 | 1422927GZPCLNT100 | EA |  | CABLE,ELEC;11; E,RUBBER BLACK FLEX | CABLE,ELEC;11; E,RUBBER BLACK FLEX | CABLE,ELEC;MNFR: ,PTNO:11; E,RUBBER BLACK FLEX |  | CABLE,ELEC;11; E,RUBBER BLACK FLEXCABLE,ELEC;11; E,RUBBER BLACK FLEX | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1111123 | 1111123 | 1416423 | AU_QM_000262186 |  | ERSA | M | 5915 | 1416423GZPCLNT100 | EA |  | CABLE,ELEC;1F.504060728 | CABLE,ELEC;1F.504060728 | CABLE,ELEC;MNFR: ,PTNO:1F.504060728 |  | CABLE,ELEC;1F.504060728CABLE,ELEC;1F.504060728 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1110387 | 1110387 | 1412751 | AU_QM_000258237 |  | ERSA | M | 5915 | 1412751GZPCLNT100 | EA |  | CABLE,ELEC;4C.0A006558 | CABLE,ELEC;4C.0A006558 | CABLE,ELEC;MNFR: ,PTNO:4C.0A006558 |  | CABLE,ELEC;4C.0A006558CABLE,ELEC;4C.0A006558 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134419 | 1134419 | 1406504 | AU_QM_000251475 |  | ERSA | M | 5915 | 1406504GZPCLNT100 | EA |  | CABLE,ELEC;CIRCULAR,450-750V,2.5MM2 | CABLE,ELEC;CIRCULAR,450-750V,2.5MM2 | CABLE,ELEC;MNFR: ,PTNO:CIRCULAR,450-750V,2.5MM2 |  | CABLE,ELEC;CIRCULAR,450-750V,2.5MM2CABLE,ELEC;CIRCULAR,450-750V,2.5MM2 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134192 | 1134192 | 1418015 | AU_QM_000263923 |  | ERSA | M | 5915 | 1418015GZPCLNT100 | EA |  | CABLE,ELEC;EARTH, FLAT,2.5MM2,2; E,WHT | CABLE,ELEC;EARTH, FLAT,2.5MM2,2; E,WHT | CABLE,ELEC;MNFR: ,PTNO:EARTH, FLAT,2.5MM2,2; E,WHT |  | CABLE,ELEC;EARTH, FLAT,2.5MM2,2; E,WHTCABLE,ELEC;EARTH, FLAT,2.5MM2,2; E,WHT | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1111316 | 1111316 | 1411242 | AU_QM_000256597 |  | ERSA | M | 5915 | 1411242GZPCLNT100 | EA |  | CABLE,ELEC;ELC5DL2740,ELC5DL2710 | CABLE,ELEC;ELC5DL2740,ELC5DL2710 | CABLE,ELEC;MNFR: ,PTNO:ELC5DL2740,ELC5DL2710 |  | CABLE,ELEC;ELC5DL2740,ELC5DL2710CABLE,ELEC;ELC5DL2740,ELC5DL2710 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134298 | 1134298 | 1415048 | AU_QM_000260684 |  | ERSA | M | 5915 | 1415048GZPCLNT100 | EA |  | CABLE,ELEC;FLAT, POWER,450-750V,2.5MM2 | CABLE,ELEC;FLAT, POWER,450-750V,2.5MM2 | CABLE,ELEC;MNFR: ,PTNO:FLAT, POWER,450-750V,2.5MM2 |  | CABLE,ELEC;FLAT, POWER,450-750V,2.5MM2CABLE,ELEC;FLAT, POWER,450-750V,2.5MM2 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134469 | 1134469 | 1403702 | AU_QM_000248434 |  | ERSA | M | 5915 | 1403702GZPCLNT100 | EA |  | CABLE,ELEC;FLAT,2.5MM2,2 ACTIVE,100M | CABLE,ELEC;FLAT,2.5MM2,2 ACTIVE,100M | CABLE,ELEC;MNFR: ,PTNO:FLAT,2.5MM2,2 ACTIVE,100M |  | CABLE,ELEC;FLAT,2.5MM2,2 ACTIVE,100MCABLE,ELEC;FLAT,2.5MM2,2 ACTIVE,100M | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_2 | 2023-10-16 | 2023-11-02 |  | 1134453 | 1134453 | 1405074 | AU_QM_000249919 |  | ERSA | M | 5915 | 1405074GZPCLNT100 | EA |  | CABLE,ELEC;FLAT,2.5MM2,2; E,100M | CABLE,ELEC;FLAT,2.5MM2,2; E,100M | CABLE,ELEC;MNFR: ,PTNO:FLAT,2.5MM2,2; E,100M |  | CABLE,ELEC;FLAT,2.5MM2,2; E,100MCABLE,ELEC;FLAT,2.5MM2,2; E,100M | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1217788 | 1217788 |  |  |  | ERSA | M | 1600 | 932186MRM | ROL |  | CABLE,POWER:1.5MM2;7/0.50MM;2C;PVC;FLAT; | CABLE,POWER:1.5MM2;7/0.50MM;2C;PVC;FLAT; | CABLE,POWER:1.5MM2;7/0.50MM;2C;PVC;FLAT;100M ROLL;AS3147 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216630 | 1216630 |  |  |  | ERSA | M | 1600 | 534339MRM | ROL |  | CABLE,POWER:1MM2,3C,PVC INSUL,PVC SHEATH | CABLE,POWER:1MM2,3C,PVC INSUL,PVC SHEATH | CABLE,POWER:1MM2,3C,PVC INSUL,PVC SHEATH,32/0.2MM,V75/4V75,STD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216634 | 1216634 |  |  |  | ERSA | M | 1600 | 534396MRM | ROL |  | CABLE,POWER:2.5MM2,3C & 1E,PVC INSUL,PVC | CABLE,POWER:2.5MM2,3C & 1E,PVC INSUL,PVC | CABLE,POWER:2.5MM2,3C <(>&<)> 1E,PVC INSUL,PVC SHEATH,7/0.67MM,SWA,V75 ,C/W METRE MARKINGSTD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216626 | 1216626 |  |  |  | ERSA | M | 1600 | 534255MRM | ROL |  | CABLE,POWER:25MM2,3C & 1E,PVC INSUL,PVC | CABLE,POWER:25MM2,3C & 1E,PVC INSUL,PVC | CABLE,POWER:25MM2,3C <(>&<)> 1E,PVC INSUL,PVC SHEATH,19/1.35MM,SWA ,V75STD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216627 | 1216627 |  |  |  | ERSA | M | 1600 | 534271MRM | ROL |  | CABLE,POWER:25MM2,4C & 1E,PVC INSUL,PVC | CABLE,POWER:25MM2,4C & 1E,PVC INSUL,PVC | CABLE,POWER:25MM2,4C <(>&<)> 1E,PVC INSUL,PVC SHEATH,19/1.35MM,SWA,V75 ,C/W METRE MARKINGSTD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216633 | 1216633 |  |  |  | ERSA | M | 1600 | 534388MRM | ROL |  | CABLE,POWER:4MM2,2C & 1E,PVC INSUL,PVC S | CABLE,POWER:4MM2,2C & 1E,PVC INSUL,PVC S | CABLE,POWER:4MM2,2C <(>&<)> 1E,PVC INSUL,PVC SHEATH,7/0.85MM,SWA,V75,C/W METRE MARKINGSTD ROLL OF 500M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216635 | 1216635 |  |  |  | ERSA | M | 1600 | 534404MRM | ROL |  | CABLE,POWER:4MM2,3C & 1E,PVC INSUL,PVC S | CABLE,POWER:4MM2,3C & 1E,PVC INSUL,PVC S | CABLE,POWER:4MM2,3C <(>&<)> 1E,PVC INSUL,PVC SHEATH,7/0.85MM,SWA,V75,C/W METRE MARKINGSTD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1204616 | 1204616 |  |  |  | ERSA | M | 1600 | 50799MRM | ROL |  | CABLE,POWER:5 CORE;2.5MM2(50/0.25)EPR IN | CABLE,POWER:5 CORE;2.5MM2(50/0.25)EPR IN | CABLE,POWER:5 CORE;2.5MM2(50/0.25)EPR INSULATED;COPPER BRAID SCREEN;CPE SHEATH FLEXOLEX;5KW <(>&<)> 2.2KW PUMPS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1216636 | 1216636 |  |  |  | ERSA | M | 1600 | 534412MRM | M |  | CABLE,POWER:6MM2,3C & 1E,PVC INSUL,PVC S | CABLE,POWER:6MM2,3C & 1E,PVC INSUL,PVC S | CABLE,POWER:6MM2,3C <(>&<)> 1E,PVC INSUL,PVC SHEATH,7/1.04MM,SWA,V75,C/W METRE MARKINGSTD ROLL OF 250M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | HAVE TO_1 | 2023-10-16 | 2023-11-02 |  | 1208599 | 1208599 |  |  |  | ERSA | M | 1600 | 155752MRM | EA |  | CABLE,POWER:HV CABLE 200W; C6 WITH SFETY | CABLE,POWER:HV CABLE 200W; C6 WITH SFETY | CABLE,POWER:HV CABLE 200W; C6 WITH SFETY PLUG; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1185803 | 1185803 |  |  |  | ERSA | M | 5000 | 1555700GZPCLNT100 | EA | 3000010 | CABLE;SAN,55155784,PRE-WIRED,M12 TO USB- | CABLE;SAN,55155784 | CABLE;MNFR:SANDVIK,PTNO:55155784,ADDITIONAL FEATURES EN:PRE-WIRED,M12 TO USB-A | CABLE;MNFR:SANDVIK,PTNO:55155784 |  | SANDVIK | 55155784 | [14 empty] | SANDVIK | 55155784 | [16 empty] | https://k-part.777parts.org/search/?q=55155784 | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | PRE-WIRED PLUG,M12 TO USB-A | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1009092 | 1009092 |  |  |  | ERSA | M | 5000 | 1612269GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00894070 | CABLE;SAN,BG00894070 | CABLE;MNFR:SANDVIK,PTNO:BG00894070 | CABLE;MNFR:SANDVIK,PTNO:BG00894070 |  | SANDVIK | BG00894070 | [14 empty] | SANDVIK | BG00894070 | [16 empty] | https://www.volza.com/p/cable-machinery/import/hsn-code-85444220/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1008635 | 1008635 |  |  |  | ERSA | M | 5000 | 1557757GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00941180 | ENSAMBLE CABLE;SAN,BG00941180 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00941180,ADDITIONAL FEATURES EN:LE;AUTOMATION,FRONT SCANNER;POWER;M12 MALE TO M12 FEMA | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00941180 |  | SANDVIK | BG00941180 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00941180 | [12 empty] | SANDVIK | BG00941180 | SANDVIK MINING & CONSTRUCTION | BG00941180 | [14 empty] | https://www.volza.com/p/power-assembly/export/export-from-finland/ | [9 empty] | Cleansed | 26121629 Power cable | CONNECTION:M12 MALE TO M12 FEMALE,LE |  | CABLE | ASSEMBLY | TYPE | AUTOMATION,FRONT SCANNER,POWER | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1008642 | 1008642 |  |  |  | ERSA | M | 5000 | 1560306GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00385966 | CABLE;SAN,BG00385966 | CABLE;MNFR:SANDVIK,PTNO:BG00385966,ADDITIONAL FEATURES EN:PREWIRED PLUG,DISPLAY,5CASDL.0100-00,OP STN | CABLE;MNFR:SANDVIK,PTNO:BG00385966 |  | SANDVIK | BG00385966 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00385966 | [10 empty] | SANDVIK | BG00385966 | B&R | 5CASDL.0100-00 | SANDVIK MINING & CONSTRUCTION | BG00385966 | [14 empty] | https://www.br-automation.com/en-in/products/5casdl0100-00/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | OP STN |  | CABLE | ELECTRICAL | TYPE | PREWIRED PLUG,DISPLAY | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1008652 | 1008652 |  |  |  | ERSA | M | 5000 | 1568204GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00861094 | ENSAMBLE CABLE;SAN,BG00861094 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00861094,ADDITIONAL FEATURES EN:DTP,MALE-HUMMEL,FEMALE 0.5M,FD CABINET | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00861094 |  | SANDVIK | BG00861094 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00861094 | [10 empty] | SANDVIK | BG00861094 |  |  | SANDVIK MINING & CONSTRUCTION | BG00861094 | HUMMEL | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:MALE-FEMALE,FD CABINET |  | CABLE | ASSEMBLY | TYPE | DTP | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 0.5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1009802 | 1009802 |  |  |  | ERSA | M | 5000 | 1614964GZPCLNT100 | EA | 3000010 | CABLE,COMM;SAN,BG01538065,DATA,PREWIRED | CABLE COMUNIC;SAN,BG01538065 | CABLE,COMMUNICATION;MNFR:SANDVIK,PTNO:BG01538065,ADDITIONAL FEATURES EN:DATA,PREWIRED | CABLE COMUNICACION;MNFR:SANDVIK,PTNO:BG01538065 |  | SANDVIK | BG01538065 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01538065 | [10 empty] | SANDVIK | BG01538065 |  |  | SANDVIK MINING & CONSTRUCTION | BG01538065 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | DATA,PREWIRED | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1010698 | 1010698 |  |  |  | ERSA | M | 1640 | 1610311GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00613344,BREAKOUT | CABLE;SAN,BG00613344 | CABLE;MNFR:SANDVIK,PTNO:BG00613344,ADDITIONAL FEATURES EN:BREAKOUT | CABLE;MNFR:SANDVIK,PTNO:BG00613344 |  | SANDVIK | BG00613344 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00613344 | [12 empty] | SANDVIK | BG00613344 | SANDVIK MINING & CONSTRUCTION | BG00613344 | [14 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-630/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | BREAKOUT | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1011574 | 1011574 |  |  |  | ERSA | M | 5000 | 1609001GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG01287771,WITH PROTECTION | CABLE;SAN,BG01287771 | CABLE;MNFR:SANDVIK,PTNO:BG01287771,ADDITIONAL FEATURES EN:WITH PROTECTION | CABLE;MNFR:SANDVIK,PTNO:BG01287771 |  | SANDVIK | BG01287771 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01287771 | [12 empty] | SANDVIK | BG01287771 | SANDVIK MINING & CONSTRUCTION | BG01287771 | [14 empty] | https://www.volza.com/p/crusher-parts/export/hsn-code-85444220/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W PROTECTION |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1012771 | 1012771 |  |  |  | ERSA | M | 1640 | 1605223GZPCLNT100 | EA | 3000422 | CABLE;CNW,LAPP-3801082,FLX V90HT SC 16MM | CABLE;CNW,LAPP-3801082 | CABLE;MNFR:CNW,PTNO:LAPP-3801082,ADDITIONAL FEATURES EN:FLX V90HT SC 16MM2 0.6/1KV BLU | CABLE;MNFR:CNW,PTNO:LAPP-3801082 |  | CNW | LAPP-3801082 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801082 | [12 empty] | OLFLEX | LAPP-3801082 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801082 | CNW | LAPP-3801082 | [12 empty] | https://lappaustralia.com.au/en/lapp-3801082111-111 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC V90HT | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | LIGHT BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1012772 | 1012772 |  |  |  | ERSA | M | 1640 | 1605224GZPCLNT100 | EA | 3000422 | CABLE;CNW,LAPP-3801085,FLX V90HT SC 16MM | CABLE;CNW,LAPP-3801085 | CABLE;MNFR:CNW,PTNO:LAPP-3801085,ADDITIONAL FEATURES EN:FLX V90HT SC 16MM2 0.6/1KV WT | CABLE;MNFR:CNW,PTNO:LAPP-3801085 |  | CNW | LAPP-3801085 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801085 | [12 empty] | OLFLEX | LAPP-3801085 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801085 | CNW | LAPP-3801085 | [12 empty] | https://lappaustralia.com.au/en/lapp-3801085-v90ht-1x16 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC V90HT | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013628 | 1013628 |  |  |  | ERSA | M | 5000 | 1557725GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,BG01474390,ECTOR;AUTOMATI | ENSAMBLE CABLE;SAN,BG01474390 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG01474390,ADDITIONAL FEATURES EN:ECTOR;AUTOMATION;REPLACEMENT FOR BG00952,WLAN;ANTENNA;5.5M; STRAIGHT TO ANGLE CONN | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG01474390 |  | SANDVIK | BG01474390 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01474390 | [10 empty] | SANDVIK | BG01474390 |  |  | SANDVIK MINING & CONSTRUCTION | BG01474390 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:STRAIGHT TO ANGLE,REPLACEMENT FOR BG00952,ECTOR |  | CABLE | ASSEMBLY | TYPE | AUTOMATION,ANTENNA,WLAN | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 5.5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013679 | 1013679 |  |  |  | ERSA | M | 5000 | 1560321GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00899578,ENET,RJ45,0.5M | CABLE;SAN,BG00899578 | CABLE;MNFR:SANDVIK,PTNO:BG00899578,ADDITIONAL FEATURES EN:ETHERNET,RJ45,0.5M | CABLE;MNFR:SANDVIK,PTNO:BG00899578 |  | SANDVIK | BG00899578 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00899578 | [10 empty] | SANDVIK | BG00899578 |  |  | SANDVIK MINING & CONSTRUCTION | BG00899578 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121609 Network cable | CONNECTOR:RJ45 |  | CABLE | NETWORK | TYPE | ETHERNET | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH | 0.5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013742 | 1013742 |  |  |  | ERSA | M | 5000 | 1560273GZPCLNT100 | EA | 3000010 | CABLE;SAN,55161110,SPLTR,M12,F-M,250MM | CABLE;SAN,55161110 | CABLE;MNFR:SANDVIK,PTNO:55161110,ADDITIONAL FEATURES EN:SPLITTER,M12,F-M,250MM | CABLE;MNFR:SANDVIK,PTNO:55161110 |  | SANDVIK | 55161110 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55161110 | [12 empty] | SANDVIK | 55161110 | SANDVIK MINING & CONSTRUCTION | 55161110 | [14 empty] | https://k-part.777parts.org/search/?q=55161110 | [9 empty] | Enriched | 26121600 Electrical cable and accessories | CONNECTION:M12 FEMALE TO MALE |  | CABLE | ELECTRICAL | TYPE | PRE-WIRED PLUG,SPLITTER | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 250 MM | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013759 | 1013759 |  |  |  | ERSA | M | 5000 | 1560275GZPCLNT100 | EA | 3000010 | CABLE;SAN,55166116,PREWIRED PLUG,50M,M/F | CABLE;SAN,55166116 | CABLE;MNFR:SANDVIK,PTNO:55166116,ADDITIONAL FEATURES EN:PREWIRED PLUG,50M,M/F,5-PIN,M12,ACCESS BARRIER | CABLE;MNFR:SANDVIK,PTNO:55166116 |  | SANDVIK | 55166116 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55166116 | [12 empty] | SANDVIK | 55166116 | SANDVIK MINING & CONSTRUCTION | 55166116 | [14 empty] | https://k-part.777parts.org/search/?q=55166116 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 5-PIN MALE TO FEMALE,ACCESS BARRIER |  | CABLE | ELECTRICAL | TYPE | PRE-WIRED PLUG | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 50 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013768 | 1013768 |  |  |  | ERSA | M | 5000 | 1560323GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00899585,ENET,RJ45,0.5M | CABLE;SAN,BG00899585 | CABLE;MNFR:SANDVIK,PTNO:BG00899585,ADDITIONAL FEATURES EN:ETHERNET,RJ45,0.5M | CABLE;MNFR:SANDVIK,PTNO:BG00899585 |  | SANDVIK | BG00899585 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00899585 | [10 empty] | SANDVIK | BG00899585 |  |  | SANDVIK MINING & CONSTRUCTION | BG00899585 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121609 Network cable | CONNECTOR:RJ45 |  | CABLE | NETWORK | TYPE | ETHERNET | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH | 0.5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013770 | 1013770 |  |  |  | ERSA | M | 5000 | 1560337GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,BG01365028,GYRO-AUTO BOX | ENSAMBLE CABLE;SAN,BG01365028 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG01365028,ADDITIONAL FEATURES EN:GYRO-AUTO BOX,STRAIGHT CONNECTOR | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG01365028 |  | SANDVIK | BG01365028 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01365028 | [10 empty] | SANDVIK | BG01365028 |  |  | SANDVIK MINING & CONSTRUCTION | BG01365028 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:STRAIGHT CONNECTOR,GYRO-AUTO BOX |  | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013781 | 1013781 |  |  |  | ERSA | M | 5000 | 1560270GZPCLNT100 | EA | 3000010 | CABLE;SAN,55152667,PREWIRED PLUG,M12,RJ4 | CABLE;SAN,55152667 | CABLE;MNFR:SANDVIK,PTNO:55152667,ADDITIONAL FEATURES EN:PREWIRED PLUG,M12,RJ45,2M | CABLE;MNFR:SANDVIK,PTNO:55152667 |  | SANDVIK | 55152667 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55152667 | [12 empty] | SANDVIK | 55152667 | SANDVIK MINING & CONSTRUCTION | 55152667 | [14 empty] | https://k-part.777parts.org/search/?q=55152667 | [9 empty] | Cleansed | 26121666 Communication cable assembly | CONNECTOR:M12-RJ45 |  | CABLE | COMMUNICATION | TYPE | PRE-WIRED PLUG | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 2 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013803 | 1013803 |  |  |  | ERSA | M | 5000 | 1560322GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00899583,ENET,RJ45,0.5M | CABLE;SAN,BG00899583 | CABLE;MNFR:SANDVIK,PTNO:BG00899583,ADDITIONAL FEATURES EN:ETHERNET,RJ45,0.5M | CABLE;MNFR:SANDVIK,PTNO:BG00899583 |  | SANDVIK | BG00899583 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00899583 | [12 empty] | SANDVIK | BG00899583 | SANDVIK MINING & CONSTRUCTION | BG00899583 | [14 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-628/ | [9 empty] | Cleansed | 26121609 Network cable | CONNECTOR:RJ45 |  | CABLE | NETWORK | TYPE | ETHERNET | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH | 0.5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1013876 | 1013876 |  |  |  | ERSA | M | 5000 | 1568205GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,55219943,ROPE,PULL SWITCH | ENSAMBLE CABLE;SAN,55219943 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:55219943,ADDITIONAL FEATURES EN:ROPE,PULL SWITCH,AUTOMATION | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:55219943 |  | SANDVIK | 55219943 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55219943 | [12 empty] | SANDVIK | 55219943 | SANDVIK MINING & CONSTRUCTION | 55219943 | [14 empty] | https://k-part.777parts.org/search/?q=55219943 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ASSEMBLY | TYPE | ROPE,PULL SWITCH,AUTOMATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1014110 | 1014110 |  |  |  | ERSA | M | 5000 | 1560274GZPCLNT100 | EA | 3000010 | CABLE;SAN,55166114,PREWIRED PLUG,25M,M/F | CABLE;SAN,55166114 | CABLE;MNFR:SANDVIK,PTNO:55166114,ADDITIONAL FEATURES EN:PREWIRED PLUG,25M,M/F,5-PIN,M12,ACCESS BARRIER | CABLE;MNFR:SANDVIK,PTNO:55166114 |  | SANDVIK | 55166114 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55166114 | [12 empty] | SANDVIK | 55166114 | SANDVIK MINING & CONSTRUCTION | 55166114 | [14 empty] | https://k-part.777parts.org/search/?q=55166114 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTOR:M12 5-PIN MALE TO FEMALE,ACCESS BARRIER |  | CABLE | ELECTRICAL | TYPE | PRE-WIRED PLUG | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 25 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1014214 | 1014214 |  |  |  | ERSA | M | 5000 | 1560331GZPCLNT100 | EA | 3000010 | BOX;SAN,BG01170437 | CABLE;SAN,BG01170437 | CABLE;MNFR:SANDVIK,PTNO:BG01170437,ADDITIONAL FEATURES EN:GYRO-AUTO BOX.AUTOMATION | CABLE;MNFR:SANDVIK,PTNO:BG01170437 |  | SANDVIK | BG01170437 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01170437 | [10 empty] | SANDVIK | BG01170437 |  |  | SANDVIK MINING & CONSTRUCTION | BG01170437 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121800 Automotive cable | GYRO-AUTO BOX |  | CABLE | AUTOMOTIVE | TYPE |  | CONDUCTOR SIZE |  | LENGTH |  | NUMBER OF CORES |  | NUMBER OF STRANDS |  | CORE MATERIAL |  | INSULATION MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1055072 | 1055072 |  |  |  | ERSA | M | 4500 | 1609760GZPCLNT100 | EA |  | CABLE;PIPE CAMERA PATCH,LG 1.5 M | CABLE;LG 1.5 M | CABLE;TYPE:PIPE CAMERA PATCH,LENGTH:1.5 M | CABLE;LONGITUD:1.5 M |  |  |  | 1071239 @@ CAMTEK SURVEILLANCE PRODUCTS P/L | 1609760 | [10 empty] | CAMTEK SURVEILLANCE PRODUCTS P/L | 1609760 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121607 Fiber optic cable |  |  | CABLE | FIBER OPTIC | TYPE | PIPE CAMERA PATCH | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 1.5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1055073 | 1055073 |  |  |  | ERSA | M | 4500 | 1609761GZPCLNT100 | EA |  | CABLE;PIPE CAMERA PATCH,LG 3 M | CABLE;LG 3 M | CABLE;TYPE:PIPE CAMERA PATCH,LENGTH:3 M | CABLE;LONGITUD:3 M |  |  |  | 1071239 @@ CAMTEK SURVEILLANCE PRODUCTS P/L | 1609761 | [10 empty] | CAMTEK SURVEILLANCE PRODUCTS P/L | 1609761 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121607 Fiber optic cable |  |  | CABLE | FIBER OPTIC | TYPE | PIPE CAMERA PATCH | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 3 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1055074 | 1055074 |  |  |  | ERSA | M | 4500 | 1609762GZPCLNT100 | EA |  | CABLE;PIPE CAMERA PATCH,LG 5 M | CABLE;LG 5 M | CABLE;TYPE:PIPE CAMERA PATCH,LENGTH:5 M | CABLE;LONGITUD:5 M |  |  |  | 1071239 @@ CAMTEK SURVEILLANCE PRODUCTS P/L | 1609762 | [10 empty] | CAMTEK SURVEILLANCE PRODUCTS P/L | 1609762 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121607 Fiber optic cable |  |  | CABLE | FIBER OPTIC | TYPE | PIPE CAMERA PATCH | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1055198 | 1055198 |  |  |  | ERSA | M | 4100 | 1614570GZPCLNT100 | EA |  | CABLE;MINING D,LG 2 M,AMBR,WIELAND PLUG | CABLE;LG 2 M | CABLE;TYPE:MINING D,LENGTH:2 M,ADDITIONAL FEATURES EN:AMBER,WIELAND PLUG,CHASING LIGHTS FROM PLUG END | CABLE;LONGITUD:2 M |  |  |  | 1075951 @@ EAST WEST LIGHTING PTY LTD | LNL-MD-2AMBCH | [10 empty] | EAST WEST LIGHTING PTY LTD | LNL-MD-2AMBCH |  |  | WIELAND | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | MINING D,CHASING LIGHTS FROM PLUG END | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | AMBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1055456 | 1055456 |  |  |  | ERSA | M | 1640 | 1584319GZPCLNT100 | EA |  | CABLE;USB 2.0,LG 15 M,BLK,TYPE A TO B | CABLE;LG 15 M | CABLE;TYPE:USB 2.0,LENGTH:15 M,ADDITIONAL FEATURES EN:BLACK,TYPE A TO B | CABLE;LONGITUD:15 M |  |  |  | 1068961 @@ LINDY AUSTRALIA PTY LTD | 42762 | [12 empty] | LINDY AUSTRALIA PTY LTD | 42762 | [16 empty] | https://www.bechtle.com/de-en/shop/lindy-usb-a-to-usb-b-cable-active-15m--4102510--p | [9 empty] | Enriched | 26121666 Communication cable assembly | COLOUR:BLACK,TYPE A TO B |  | CABLE | COMMUNICATION | TYPE | USB 2.0 | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 15 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1056632 | 1056632 |  |  |  | ERSA | M | 4500 | 1614086GZPCLNT100 | EA |  | CABLE;USB 2.0,LG 2 M,A MALE TO B MALE | CABLE;LG 2 M | CABLE;TYPE:USB 2.0,LENGTH:2 M,ADDITIONAL FEATURES EN:A MALE TO B MALE | CABLE;LONGITUD:2 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALTP1913C | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ALTP1913C | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | CONNECTION:A MALE TO B MALE |  | CABLE | COMMUNICATION | TYPE | USB 2.0 | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 2 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1058780 | 1058780 |  |  |  | ERSA | M | 1640 | 1584718GZPCLNT100 | EA |  | CABLE;DATA,LG 305 M,CAT6A FTP 4 PAIR,BLK | CABLE;LG 305 M | CABLE;TYPE:DATA,LENGTH:305 M,ADDITIONAL FEATURES EN:CAT6A FTP 4 PAIR,BLACK,SCREENED LSZH | CABLE;LONGITUD:305 M |  |  |  | 1071835 @@ REXEL AUSTRALIA | GARFTPL6AHFBK305 | [12 empty] | REXEL AUSTRALIA | GARFTPL6AHFBK305 | [16 empty] | https://www.jrt.com.au/ajt/category/Cable/Data-Cable/Data-and-communication-cable-%28copper%29/CABLE-DATA-CAT6A-FTP-4-PAIR-SCREENED-LSZH-BLACK-305M/GARFTPL6AHFBK305/p/14221070 | [9 empty] | Cleansed | 26121609 Network cable | PACKAGE QUANTITY:4 PAIR,SCREENED LSZH |  | CABLE | NETWORK | TYPE | CAT6A FTP | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR | BLACK | LENGTH | 305 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 | PARTIALLY MATCH | 1058820 | 1058820 |  |  |  | ERSA | M | 1640 | 1584913GZPCLNT100 | EA |  | CABLE;DL,LG 2 M,L1CLD-316-2MK | CABLE;LG 2 M | CABLE;TYPE:DUAL,LENGTH:2 M,ADDITIONAL FEATURES EN:L1CLD-316-2MK,FITS CONNECTOR STYLE:LEMO 00 Ã— 2 TO LEMO 1 Ã— 2 | CABLE;LONGITUD:2 M |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | EVIU8800296 | [12 empty] | OLYMPUS | L1CLD-316-2MK | METAL MANUFACTURES PTY LTD | EVIU8800296 | [14 empty] | https://www.volza.com/p/ultrasonic-transducers/import/import-in-india/hsn-code-85444299/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | FITS CONNECTOR STYLE:LEMO 00 A-2 TO LEMO 1 A-2 |  | CABLE | ELECTRICAL | TYPE | DUAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059336 | 1059336 |  |  |  | ERSA | M | 1640 | 1613689GZPCLNT100 | EA |  | CABLE;JMPR,LG 5 M,LED STRIP,IP68,M/FEM | CABLE;LG 5 M | CABLE;TYPE:JUMPER,LENGTH:5 M,ADDITIONAL FEATURES EN:LED STRIP,IP68,MALE/FEMALE,HALO | CABLE;LONGITUD:5 M |  |  |  | 1069016 @@ SHERRIFF ELECTRICAL PTY LTD | ILAHDC-5M | [12 empty] | INNOVATIVE LIGHTING AUSTRALIA | ILAHDC-5M | SHERRIFF ELECTRICAL PTY LTD | ILAHDC-5M | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Lighting/Strip-Lighting/5-METER-JUMPER-CABLE/p/ILAHDC-5MO97 | [9 empty] | Enriched | 26121600 Electrical cable and accessories | ENCLOSURE:IP68,CONNECTION:MALE TO FEMALE,HALO |  | CABLE | ELECTRICAL | TYPE | LED STRIP LIGHT JUMPER | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 60598.1 AS/NZS 60598.2.1 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059337 | 1059337 |  |  |  | ERSA | M | 1640 | 1613690GZPCLNT100 | EA |  | CABLE;LED STRIP LIGHT JUMPER,LG 10 M | CABLE;LG 10 M | CABLE;TYPE:LED STRIP LIGHT JUMPER,LENGTH:10 M,ADDITIONAL FEATURES EN:IP68,MALE & FEMALE | CABLE;LONGITUD:10 M |  |  |  | 1069016 @@ SHERRIFF ELECTRICAL PTY LTD | ILAHDC-10M | [12 empty] | INNOVATIVE LIGHTING AUSTRALIA | ILAHDC-10M | SHERRIFF ELECTRICAL PTY LTD | ILAHDC-10M | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Lighting/Strip-Lighting/5-METER-JUMPER-CABLE/p/ILAHDC-5MO97 | [9 empty] | Enriched | 26121600 Electrical cable and accessories | ENCLOSURE:IP68,CONNECTION:MALE TO FEMALE |  | CABLE | ELECTRICAL | TYPE | LED STRIP LIGHT JUMPER | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 60598.1 AS/NZS 60598.2.1 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059513 | 1059513 |  |  |  | ERSA | M | 1640 | 1588548GZPCLNT100 | EA |  | CABLE;LEAD IN,LG 3 M,MALE X MALE | CABLE;LG 3 M | CABLE;TYPE:LEAD IN,LENGTH:3 M,ADDITIONAL FEATURES EN:MALE X MALE,BRAND:FIREFLY | CABLE;LONGITUD:3 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LED-LI-3-MM | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LED-LI-3-MM | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121607 Fiber optic cable | BRAND:FIREFLY |  | CABLE | FIBER OPTIC | TYPE | LEAD IN | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION | MALE X MALE | LENGTH | 3 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059520 | 1059520 |  |  |  | ERSA | M | 1640 | 1588550GZPCLNT100 | EA |  | CABLE;UNARMOURED,LG 5 M,FEMALE X FEMALE | CABLE;LG 5 M | CABLE;TYPE:UNARMOURED,LENGTH:5 M,ADDITIONAL FEATURES EN:FEMALE X FEMALE,OVERMOULDED,PRETERMINATED,BRAND:FIREFLY | CABLE;LONGITUD:5 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-5-FF | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-5-FF | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BRAND:FIREFLY,CONNECTION:FEMALE X FEMALE |  | CABLE | ELECTRICAL | TYPE | UNARMOURED,PRETERMINATED,OVERMOULDED | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059521 | 1059521 |  |  |  | ERSA | M | 1640 | 1588551GZPCLNT100 | EA |  | CABLE;UNARMOURED,LG 10 M,FEMALE X FEMALE | CABLE;LG 10 M | CABLE;TYPE:UNARMOURED,LENGTH:10 M,ADDITIONAL FEATURES EN:FEMALE X FEMALE,OVERMOULDED,PRETERMINATED,BRAND:FIREFLY | CABLE;LONGITUD:10 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-10-FF | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-10-FF | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BRAND:FIREFLY,CONNECTION:FEMALE X FEMALE |  | CABLE | ELECTRICAL | TYPE | UNARMOURED,PRETERMINATED,OVERMOULDED | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059522 | 1059522 |  |  |  | ERSA | M | 1640 | 1588552GZPCLNT100 | EA |  | CABLE;UNARMOURED,LG 20 M,FEMALE X FEMALE | CABLE;LG 20 M | CABLE;TYPE:UNARMOURED,LENGTH:20 M,ADDITIONAL FEATURES EN:FEMALE X FEMALE,OVERMOULDED,PRETERMINATED,BRAND:FIREFLY | CABLE;LONGITUD:20 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-20-FF | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-20-FF | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BRAND:FIREFLY,CONNECTION:FEMALE X FEMALE |  | CABLE | ELECTRICAL | TYPE | UNARMOURED,PRETERMINATED,OVERMOULDED | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 20 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059524 | 1059524 |  |  |  | ERSA | M | 1640 | 1588554GZPCLNT100 | EA |  | CABLE;UNARMOURED,LG 500 M,UNTERMINATED | CABLE;LG 500 M | CABLE;TYPE:UNARMOURED,LENGTH:500 M,ADDITIONAL FEATURES EN:UNTERMINATED,DRUM,KIT INCLUDES CONNECTORS, PLUGS, PINS & HEATSHRINK, BRAND:FIREFLY | CABLE;LONGITUD:500 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-DRUM-500 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LED-NA-DRUM-500 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BRAND:FIREFLY,C/W DRUM,KIT CONNECTORS,PLUGS,PINS AND HEATSHRINK |  | CABLE | ELECTRICAL | TYPE | UNARMOURED,UNTERMINATED | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 500 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1059931 | 1059931 |  |  |  | ERSA | M | 5955 | 1609049GZPCLNT100 | EA |  | CABLE;ION USB,LG 1.5 M,R7 PROGRMNG-DATA | CABLE;LG 1.5 M | CABLE;TYPE:ION USB,LENGTH:1.5 M,ADDITIONAL FEATURES EN:R7 PROGRMNG-DATA | CABLE;LONGITUD:1.5 M |  |  |  | 1068116 @@ MINE SITE TECHNOLOGIES PTY LTD | 28623 | [10 empty] | MINE SITE TECHNOLOGIES PTY LTD | 28623 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | ION USB,R7 PROGRMNG-DATA | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1.5 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1078174 | 1078174 |  |  |  | ERSA | M | 5955 | 1588149GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00803170 | CABLE;SAN,BG00803170 | CABLE;MNFR:SANDVIK,PTNO:BG00803170 | CABLE;MNFR:SANDVIK,PTNO:BG00803170 |  | SANDVIK | BG00803170 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00803170 | [12 empty] | SANDVIK | BG00803170 | SANDVIK MINING & CONSTRUCTION | BG00803170 | [14 empty] | https://www.volza.com/p/part-cable/import/import-in-india/coo-finland/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1082997 | 1082997 |  |  |  | ERSA | M | 5000 | 1557756GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00239369 | ENSAMBLE CABLE;SAN,BG00239369 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00239369,ADDITIONAL FEATURES EN:FRONT SCANNER;ETHERNET;M12 MALE TO M12 M,ALE;AUTOMATION | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00239369 |  | SANDVIK | BG00239369 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00239369 | [12 empty] | SANDVIK | BG00239369 | SANDVIK MINING & CONSTRUCTION | BG00239369 | [14 empty] | https://www.aga-parts.com/zh-hans/sandvik/part/bg00239369_cable/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 MALE TO M12 MALE |  | CABLE | ASSEMBLY | TYPE | FRONT SCANNER,ETHERNET,AUTOMATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1082998 | 1082998 |  |  |  | ERSA | M | 5000 | 1557758GZPCLNT100 | EA | 3000010 | CABLE;SAN,55057134 | ENSAMBLE CABLE;SAN,55057134 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:55057134,ADDITIONAL FEATURES EN:REAR SCANNER;ETHERNET;M12 MALE TO M12 MA,LE;AUTOMATION | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:55057134 |  | SANDVIK | 55057134 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55057134 | [12 empty] | SANDVIK | 55057134 | SANDVIK MINING & CONSTRUCTION | 55057134 | [14 empty] | https://k-part.777parts.org/search/?q=55057134 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 MALE TO M12 MALE |  | CABLE | ASSEMBLY | TYPE | REAR SCANNER,ETHERNET,AUTOMATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1082999 | 1082999 |  |  |  | ERSA | M | 5000 | 1557759GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00991458 | ENSAMBLE CABLE;SAN,BG00991458 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00991458,ADDITIONAL FEATURES EN:REAR SCANNER;POWER;M12 MALE TO M12 FEMAL,E;AUTOMATION | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00991458 |  | SANDVIK | BG00991458 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00991458 | [12 empty] | SANDVIK | BG00991458 | SANDVIK MINING & CONSTRUCTION | BG00991458 | [14 empty] | https://ccc1101.en.made-in-china.com/product/aSHJudTlsVrp/China-Bg00843017-Gearbox-and-Reducer-for-Drilling-Rig-Drive-Motor-Crawler-New-Original.html | [9 empty] | Cleansed | 26121629 Power cable | CONNECTION:M12 MALE TO M12 FEMALE |  | CABLE | ASSEMBLY | TYPE | REAR SCANNER,POWER,AUTOMATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1083000 | 1083000 |  |  |  | ERSA | M | 5000 | 1557760GZPCLNT100 | EA | 3000010 | BOX;SAN,BG00941749 | ENSAMBLE CABLE;SAN,BG00941749 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00941749,ADDITIONAL FEATURES EN:AUTO BOX TO REAR MODULE;M12;AUTOMATION | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00941749 |  | SANDVIK | BG00941749 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00941749 | [10 empty] | SANDVIK | BG00941749 |  |  | SANDVIK MINING & CONSTRUCTION | BG00941749 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 |  | CABLE | ASSEMBLY | TYPE | AUTOMATION BOX TO REAR MODULE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1083725 | 1083725 |  |  |  | ERSA | M | 1640 | 1579761GZPCLNT100 | EA | 3000010 | CABLE,COMM;SAN,BG00847993,ETHER BULKHEAD | CABLE COMUNIC;SAN,BG00847993 | CABLE,COMMUNICATION;MNFR:SANDVIK,PTNO:BG00847993,ADDITIONAL FEATURES EN:ETHER BULKHEAD ADAPTOR X5,REF XA06-11,BG00847993 | CABLE COMUNICACION;MNFR:SANDVIK,PTNO:BG00847993 |  | SANDVIK | BG00847993 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00847993 | [10 empty] | SANDVIK | BG00847993 |  |  | SANDVIK MINING & CONSTRUCTION | BG00847993 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | X5,REF XA06-11 |  | CABLE | COMMUNICATION | TYPE | ETHERNET BULKHEAD ADAPTOR | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1083726 | 1083726 |  |  |  | ERSA | M | 1640 | 1579762GZPCLNT100 | EA | 3000010 | CABLE,COMM;SAN,BG00954878,ETHR M12 -RJ45 | CABLE COMUNIC;SAN,BG00954878 | CABLE,COMMUNICATION;MNFR:SANDVIK,PTNO:BG00954878,ADDITIONAL FEATURES EN:ETHR M12 -RJ45 FOR WLAN X3,BG00954878 | CABLE COMUNICACION;MNFR:SANDVIK,PTNO:BG00954878 |  | SANDVIK | BG00954878 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00954878 | [10 empty] | SANDVIK | BG00954878 |  |  | SANDVIK MINING & CONSTRUCTION | BG00954878 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | CONNECTOR:M12-RJ45,FOR WLAN X3 |  | CABLE | COMMUNICATION | TYPE | ETHERNET | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1085838 | 1085838 |  |  |  | ERSA | M | 5000 | 1581474GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00952854,MOXA AERIAL,5M | CABLE;SAN,BG00952854 | CABLE;MNFR:SANDVIK,PTNO:BG00952854,ADDITIONAL FEATURES EN:MOXA AERIAL,5M | CABLE;MNFR:SANDVIK,PTNO:BG00952854 |  | SANDVIK | BG00952854 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG00952854 | [12 empty] | SANDVIK | BG00952854 | SANDVIK MINING & CONSTRUCTION | BG00952854 | MOXA | [13 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-623/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | AERIAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1086818 | 1086818 |  |  |  | ERSA | M | 1640 | 1580409GZPCLNT100 | ROL | 3000422 | CABLE;CNW,LAPP-3801081,FLX,V90HT SC 16MM | CABLE;CNW,LAPP-3801081 | CABLE;MNFR:CNW,PTNO:LAPP-3801081,ADDITIONAL FEATURES EN:FLEX,V90HT SC 16MM,0.6/1KV BL.100M | CABLE;MNFR:CNW,PTNO:LAPP-3801081 |  | CNW | LAPP-3801081 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801081 | [12 empty] | OLFLEX | LAPP-3801081 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801081 | CNW | LAPP-3801081 | [12 empty] | https://lappaustralia.com.au/en/lapp-3801081109-109 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC V90HT | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1086819 | 1086819 |  |  |  | ERSA | M | 1640 | 1580450GZPCLNT100 | ROL | 3000422 | CABLE;CNW,LAPP-3801084,FLX,V90HT SC 16MM | CABLE;CNW,LAPP-3801084 | CABLE;MNFR:CNW,PTNO:LAPP-3801084,ADDITIONAL FEATURES EN:FLEX,V90HT SC 16MM,0.6/1KV RED.100M | CABLE;MNFR:CNW,PTNO:LAPP-3801084 |  | CNW | LAPP-3801084 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801084 | [12 empty] | OLFLEX | LAPP-3801084 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-3801084 | CNW | LAPP-3801084 | [12 empty] | https://lappaustralia.com.au/en/lapp-3801084110-110 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC V90HT | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1086820 | 1086820 |  |  |  | ERSA | M | 1640 | 1580451GZPCLNT100 | ROL | 3000422 | CABLE;CNW,LAPP-4161101,FLX,MULT,SC 2.1 | CABLE;CNW,LAPP-4161101 | CABLE;MNFR:CNW,PTNO:LAPP-4161101,ADDITIONAL FEATURES EN:FLEX,MULTI,SC 2.1 1X35 BK.100M | CABLE;MNFR:CNW,PTNO:LAPP-4161101 |  | CNW | LAPP-4161101 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-4161101 | [12 empty] | OLFLEX | LAPP-4161101 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-4161101 | CNW | LAPP-4161101 | [12 empty] | https://lappaustralia.com.au/en/multi-standard-sc-21-1x35-bk | [9 empty] | Enriched | 26121600 Electrical cable and accessories | 2.1 |  | CABLE | ELECTRICAL | TYPE | MULTI-STANDARD | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 35 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1086821 | 1086821 |  |  |  | ERSA | M | 1640 | 1580452GZPCLNT100 | ROL | 3000422 | CABLE;CNW,LAPP-4161104,FLX,MULT,SC 2.1 | CABLE;CNW,LAPP-4161104 | CABLE;MNFR:CNW,PTNO:LAPP-4161104,ADDITIONAL FEATURES EN:FLEX,MULTI,SC 2.1 1X35 RED.100M | CABLE;MNFR:CNW,PTNO:LAPP-4161104 |  | CNW | LAPP-4161104 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-4161104 | [12 empty] | OLFLEX | LAPP-4161104 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-4161104 | CNW | LAPP-4161104 | [12 empty] | https://lappaustralia.com.au/en/multi-standard-sc-21-1x35-rd | [9 empty] | Enriched | 26121600 Electrical cable and accessories | 2.1 |  | CABLE | ELECTRICAL | TYPE | MULTI-STANDARD | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 35 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1087811 | 1087811 |  |  |  | ERSA | M | 1640 | 1578780GZPCLNT100 | M | 3000422 | CABLE,CTRL;CNW,LAPP-0042006,1.5 MM FLAT | CABLE CONT;CNW,LAPP-0042006 | CABLE,CONTROL;MNFR:CNW,PTNO:LAPP-0042006,ADDITIONAL FEATURES EN:1.5 MM FLAT FLEX Ã–LFLEX LIFT F 12G1 5 450/750V 12C | CABLE CONTROL;MNFR:CNW,PTNO:LAPP-0042006 |  | CNW | LAPP-0042006 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-0042006 | [12 empty] | OLFLEX | LAPP-0042006 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-0042006 | CNW | LAPP-0042006 | [12 empty] | https://lappaustralia.com.au/en/flat-lift-flex-12g15-450750v | [9 empty] | Enriched | 26121603 Control cable | Ã–LFLEX LIFT F 12G1 |  | CABLE | CONTROL | TYPE | FLAT | DIAMETER |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 12 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | VOLTAGE RATING | 450/750 V | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1087812 | 1087812 |  |  |  | ERSA | M | 1640 | 1578781GZPCLNT100 | M | 3000422 | CABLE,ELEC;CNW,LAPP-00420153,16 MM 3C&E | CABLE ELEC;CNW,LAPP-00420153 | CABLE,ELECTRICAL;MNFR:CNW,PTNO:LAPP-00420153,ADDITIONAL FEATURES EN:16 MM 3C&E FLAT FLEX Ã–LFLEX LIFT F 4G16 450/750V | CABLE ELECTRICO;MNFR:CNW,PTNO:LAPP-00420153 |  | CNW | LAPP-00420153 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-00420153 | [12 empty] | OLFLEX | LAPP-00420153 | CNW (MOUNT ISA) ELECT WHOLESALER | LAPP-00420153 | CNW | LAPP-00420153 | [12 empty] | https://lappaustralia.com.au/en/flat-lift-flex-4g16-450750v | [9 empty] | Enriched | 26121624 Ribbon or flat cable | Ã–LFLEX LIFT F 4G16 |  | CABLE | FLAT | TYPE | ELECTRICAL | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 16 MM2 | CORE STRANDS | 3C+E | CONDUCTOR MATERIAL | BARE COPPER | PITCH |  | SHEATH MATERIAL | PVC | SHEATH COLOUR | BLACK | VOLTAGE RATING | 450/750 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,HAR | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1088609 | 1088609 |  |  |  | ERSA | M | 5000 | 1610683GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,BG00951090,M12,LG 2 M | ENSAMBLE CABLE;SAN,BG00951090 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG00951090,ADDITIONAL FEATURES EN:M12,LG 2 M | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG00951090 |  | SANDVIK | BG00951090 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00951090 | [12 empty] | SANDVIK | BG00951090 | SANDVIK MINING & CONSTRUCTION | BG00951090 | [14 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-623/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 |  | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1130059 | 1130059 |  |  |  | ERSA | M | 5000 | 1604461GZPCLNT100 | EA | 3000010 | CABLE,ASSY;SAN,BG01477895 | ENSAMBLE CABLE;SAN,BG01477895 | CABLE,ASSEMBLY;MNFR:SANDVIK,PTNO:BG01477895 | ENSAMBLE CABLE;MNFR:SANDVIK,PTNO:BG01477895 |  | SANDVIK | BG01477895 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01477895 | [10 empty] | SANDVIK | BG01477895 |  |  | SANDVIK MINING & CONSTRUCTION | BG01477895 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1130456 | 1130456 |  |  |  | ERSA | M | 5000 | 1599917GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00338369 | CABLE;SAN,BG00338369 | CABLE;MNFR:SANDVIK,PTNO:BG00338369 | CABLE;MNFR:SANDVIK,PTNO:BG00338369 |  | SANDVIK | BG00338369 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00338369 | [12 empty] | SANDVIK | BG00338369 | SANDVIK MINING & CONSTRUCTION | BG00338369 | [14 empty] | https://www.sancatmakina.com/en/spare-parts-2/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1184141 | 1184141 |  |  |  | ERSA | M | 5000 | 1560334GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG01328905,ENET,M12,D-CODE,4P- | CABLE;SAN,BG01328905 | CABLE;MNFR:SANDVIK,PTNO:BG01328905,ADDITIONAL FEATURES EN:ETHERNET,M12,D-CODE,4P-RJ45,4P | CABLE;MNFR:SANDVIK,PTNO:BG01328905 |  | SANDVIK | BG01328905 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01328905 | [10 empty] | SANDVIK | BG01328905 |  |  | SANDVIK MINING & CONSTRUCTION | BG01328905 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121609 Network cable | CONNECTOR:4P-RJ45,M12,D-CODE |  | CABLE | NETWORK | TYPE | ETHERNET | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1184144 | 1184144 |  |  |  | ERSA | M | 5000 | 1560327GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00975777,PEDAL ASSY,M12 TO A | CABLE;SAN,BG00975777 | CABLE;MNFR:SANDVIK,PTNO:BG00975777,ADDITIONAL FEATURES EN:PEDAL ASSY,M12 TO AMP | CABLE;MNFR:SANDVIK,PTNO:BG00975777 |  | SANDVIK | BG00975777 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00975777 | [10 empty] | SANDVIK | BG00975777 |  |  | SANDVIK MINING & CONSTRUCTION | BG00975777 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CONNECTION:M12 TO AMP |  | CABLE | ASSEMBLY | TYPE | PEDAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-02 |  | 1184156 | 1184156 |  |  |  | ERSA | M | 5000 | 1560303GZPCLNT100 | EA | 3000010 | CABLE;SAN,BG00283808,UPS,0.5 M,AUTOMATIO | CABLE;SAN,BG00283808 | CABLE;MNFR:SANDVIK,PTNO:BG00283808,ADDITIONAL FEATURES EN:UPS,0.5 M,AUTOMATION | CABLE;MNFR:SANDVIK,PTNO:BG00283808 |  | SANDVIK | BG00283808 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00283808 | [10 empty] | SANDVIK | BG00283808 |  |  | SANDVIK MINING & CONSTRUCTION | BG00283808 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121800 Automotive cable |  |  | CABLE | AUTOMOTIVE | TYPE | UPS | CONDUCTOR SIZE |  | LENGTH | 0.5 M | NUMBER OF CORES |  | NUMBER OF STRANDS |  | CORE MATERIAL |  | INSULATION MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed