## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1210416 | 1210416 |  |  |  | ERSA | M | 4010 | 355081MRM | EA |  | BAR,DIGGING:DESCALING BAR;4M LG;PLAIN & | BAR,DIGGING:DESCALING BAR;4M LG;PLAIN & | BAR,DIGGING:DESCALING BAR;4M LG;PLAIN <(>&<)> OFFSETCHISEL TIPS;ALUM EXTRUDED SHAFT;STEEL AS1444 GDE 9261;40-45 RC HARDNESS;ALUM AS1866 GDE 6063-T5; |  |  |  |  | 1070913 @@ ASSENBRUCK HOLDING T/A NQ SPRING | PN1210416 | [10 empty] | ASSENBRUCK HOLDING T/A NQ SPRING | PN1210416 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | HARDNESS:40-45 RC,PLAIN AND OFFSET CHISEL TIPS,ALUMINUM EXTRUDED SHAFT |  | BAR | NO MODIFIER | TYPE | DIGGING,DESCALING | DIMENSIONS | 4 M LG | MATERIAL | ALUMINUM,STEEL | MATERIAL SPECIFICATION | GRADE 9261,6063-T5 | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS1444,AS1866 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1138350 | 1138350 | 1401139 | AU_QM_000245629 |  | ERSA | M | 5915 | 1401139GZPCLNT100 | EA |  | BAR,GND;EARTH,12 TUNNEL,90E12 | BAR,GND;EARTH,12 TUNNEL,90E12 | BAR,GND;MNFR: ,PTNO:EARTH,12 TUNNEL,90E12 |  | BAR,GND;EARTH,12 TUNNEL,90E12BAR,GND;EARTH,12 TUNNEL,90E12 | [15 empty] | 90E12 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials | EARTH,12 TUNNEL |  | BAR | GROUND | TYPE |  | ELECTRICAL RATING |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | NUMBER OF TERMINALS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1055062 | 1055062 |  |  |  | ERSA | M | 4090 | 1609728GZPCLNT100 | EA |  | BAR,GRATE;WD 540 MM,LG 540 MM,THK 50 MM | BARROTE;AN ,LG ,ESP ,ACERO | BAR,GRATE;WIDTH:540 MM,LENGTH:540 MM,THICKNESS:50 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:RELN 45O SERIES | BARROTE;MATERIAL:ACERO |  |  |  | 1068155 @@ REECE PTY LTD | 902842 | [12 empty] | REECE PTY LTD | 902842 | [16 empty] | https://www.reece.com.au/product/reln-450mm-stormwater-class-a-grate-for-510mm-deep-902842 | [9 empty] | Cleansed | 30260000 Structural materials | RELN 450 SERIES |  | BAR | GRATE | TYPE |  | WIDTH | 540 MM | LENGTH | 540 MM | THICKNESS | 50 MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1180423 | 1180423 |  |  |  | ERSA | M | 1510 | 1542912GZPCLNT100 | EA |  | BAR;50MM,DIA SQ,T316,CD-H9 TOLERANCE | BARRA; | BAR;TYPE:50MM,DIA SQ,T316,CD-H9 TOLERANCE,DIMENSIONS:50 MM,MATERIAL:T316L,ADDITIONAL FEATURES EN:50MM,DIA SQ,T316,CD-H9 TOLERANCE | BARRA; |  |  |  | 1071934 @@ INFRABUILD TRADING PTY LTD | 999979-50 | [10 empty] | INFRABUILD TRADING PTY LTD | 999979-50 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264502 Stainless steel SAE 300 series cold drawn bar |  |  | BAR | SQUARE | SIZE | 50 MM | LENGTH |  | MATERIAL | STAINLESS STEEL T316L | MATERIAL SPECIFICATION |  | PROCESS | COLD DRAWN-H9 TOLERANCE | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1060320 | 1060320 |  |  |  | ERSA | M | 1510 | 1551944GZPCLNT100 | EA |  | BAR;ACHS,ALUM,ALHC-38.1-3.2-6063-1-6000 | BARRA; | BAR;TYPE:ACHS,DIMENSIONS:TBC,MATERIAL:ALUM,ADDITIONAL FEATURES EN:CIRC HOLLOW SECT | BARRA; |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 38.1-3.2-6063-1-6000(141932) | [10 empty] | BLUESCOPE DISTRIBUTION | 38.1-3.2-6063-1-6000(141932) | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264900 Aluminum bars | DIMENSIONS:TBC |  | BAR | HOLLOW | TYPE | ACHS,CIRCULAR SECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 6 M | MATERIAL | ALUMINUM | MATERIAL WEIGHT |  | FINISH |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1011407 | 1011407 |  |  |  | ERSA | M | 4090 | 1588771GZPCLNT100 | EA | 3000418 | BAR;BORT,3000552,TIE | BARRA;BORT,3000552 | BAR;MNFR:BOART LONGYEAR,PTNO:3000552,ADDITIONAL FEATURES EN:TIE | BARRA;MNFR:BOART LONGYEAR,PTNO:3000552 |  | BOART LONGYEAR | 3000552 | 1068617 @@ BOART LONGYEAR PTY LTD | 3000552 | [10 empty] | BOART LONGYEAR | 3000552 | BOART LONGYEAR PTY LTD | 3000552 | [16 empty] | https://www.volza.com/p/tie-bar/import/import-in-chile/ | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | TIE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1041806 | 1041806 | 1404274 | AU_QM_000249050 |  | ERSA | M | 5915 | 1404274GZPCLNT100 | EA |  | BAR;FLEXI,4 X 15.5 .8 49.6 | BAR;FLEXI,4 X 15.5 .8 49.6 | BAR;TYPE:FLEXI,ADDITIONAL FEATURES EN:4 X 15.5 .8 49.6,MNFR:01)CNW,PTNO:01)NHP552460 |  | BAR;FLEXI,4 X 15.5 .8 49.6BAR;FLEXI,4 X 15.5 .8 49.6,NHP552460 | [16 empty] | NHP | 552460 | CNW | NHP552460 | [14 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/552460-212226-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 39121117 Buss bar | NUMBER OF BARS:4,SIZE:15.5 WDX0.8 THK MM | TEMPERATURE RATING:-25 TO 105 DEG C | BUS BAR | NO MODIFIER | TYPE | FLEXIBLE | MATERIAL | COPPER | CROSS SECTION | 49.6 MM2 | LENGTH | 2 M | INSULATION MATERIAL |  | CURRENT RATING | 250 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61439-1-4,ROHS,GOST | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1015599 | 1015599 |  |  |  | ERSA | M | 5955 | 1616749GZPCLNT100 | EA | 3000007 | BAR;MAN,236816,TIE | BARRA;MAN,236816 | BAR;MNFR:MANITOU,PTNO:236816,ADDITIONAL FEATURES EN:TIE | BARRA;MNFR:MANITOU,PTNO:236816 |  | MANITOU | 236816 | 1068295 @@ JUNGHEINRICH AUSTRALIA | 236816 | [12 empty] | MANITOU | 236816 | JUNGHEINRICH AUSTRALIA | 236816 | [14 empty] | https://agrocat.ru/catalog/manitou/?page=29 | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | TIE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1086292 | 1086292 |  |  |  | ERSA | M | 5955 | 1579227GZPCLNT100 | EA | 3000028 | BAR;MIT,QMK537120,TRSN | BARRA;MIT,QMK537120 | BAR;MNFR:MITSUBISHI,PTNO:QMK537120,ADDITIONAL FEATURES EN:TORSION | BARRA;MNFR:MITSUBISHI,PTNO:QMK537120 |  | MITSUBISHI | QMK537120 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMK537120 | [10 empty] | MITSUBISHI | QMK537120 |  |  | RGM MAINTENANCE PTY LTD | QMK537120 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE | TORSION | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1102967 | 1102967 |  |  |  | ERSA | M | 1510 | 1504579GZPCLNT100 | EA |  | BAR;QT BIS 400,12X13X790,999979-1 | BAR;QT BIS 400,12X13X790,999979-1 | BAR;ADDITIONAL FEATURES:QT BIS 400,12X13X790,999979-1 |  |  |  |  | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 1504579 | 1068289 @@ INFRABUILD STEEL CENTRE | 22217512 | [8 empty] | TONKIN STEEL (NQ) PTY LTD | 1504579 |  |  | INFRABUILD STEEL CENTRE | 22217512 |  | 999979-1 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars | PROCESS:QUENCHED AND TEMPERED |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS | 12X13X790 MM | MATERIAL | BISALLOY STEEL 400 | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1148955 | 1148955 |  |  |  | ERSA | M | 1510 | 1533213GZPCLNT100 | EA |  | BAR;S/S 304,FLAT BAR,6MMX4000,140863 | BAR;S/S 304,FLAT BAR,6MMX4000,140863 | BAR;ADDITIONAL FEATURES:S/S 304,FLAT BAR,6MMX4000,140863 |  |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 140863 | [10 empty] | BLUESCOPE DISTRIBUTION | 140863 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30264500 Stainless steel bars |  |  | BAR | RECTANGULAR | TYPE | FLAT | WIDTH |  | LENGTH | 4 M | THICKNESS | 6 MM | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1096886 | 1096886 | 1391494 | AU_QM_000233362 |  | ERSA | M | 5620 | 1391494GZPCLNT100 | EA | 3000012 | BAR;TOY,ILBSR003 | BAR;TOY,ILBSR003 | BAR;MNFR:TOYOTA,PTNO:ILBSR003 |  | BAR;TOY,ILBSR003BAR;BEL,ILBSR003 | TOYOTA | ILBSR003 | [14 empty] | IRONMAN 4X4 | ILBSR003 | TOYOTA | ILBSR003 | [14 empty] | https://ironman4x4america.com/lighting-and-electrical/night-saber-led-single-row-light-bar-19-5/ | https://www.4x4modsaustralia.com.au/Ironman-4x4-ILBSR003-90W-Night-Sabre-Lightbar-500mm-195in-Straight | [8 empty] | Enriched | 39111544 Light emitting diode LED fixture |  | COLOR TEMPERATURE:6000 K,ENCLOSURE:IP67, IP69K,SIZE:500 LGX63 WDX54 HT MM,RAW LUMENS: 6350,TEMPERATURE RATING:-20 TO 50 DEG C,DUAL MOUNTING SYSTEM | LIGHT | NO MODIFIER | TYPE | NIGHT SABER LED SINGLE ROW | LAMP WATTAGE | 90 W | POWER SUPPLY | 10 TO 30 VDC | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | ALLOY DIE CAST | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1057866 | 1057866 |  |  |  | ERSA | M | 1600 | 1588543GZPCLNT100 | EA |  | BREAKER,CIRCT; FIXED MOUNT,MCCB 3P 200A | DISYUNTORA; | BREAKER,CIRCUIT;TYPE: FIXED MOUNT,INTERRUPT RATING:MCCB 3P 200A,ADDITIONAL FEATURES EN:BREAKING CAPACITY 50 KA | DISYUNTORA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 265725 NZMN2-M200 | [12 empty] | EATON | 265725 NZMN2-M200 | [12 empty] | RS COMPONENTS PTY LTD | 265725 NZMN2-M200 |  |  | https://datasheet.eaton.com/datasheet.php?model=265725&locale=ru_RU | https://au.rs-online.com/web/p/mccbs/6288054 | [8 empty] | Enriched | 39121616 Molded case circuit breakers |  | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MOLDED CASE | TYPE | THERMAL MAGNETIC | CURRENT RATING | 200 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 50 KA | FRAME TYPE | NZM2 | CONTACT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | 10 A | MOUNTING TYPE | FIXED | TERMINAL TYPE | SCREW | SIZE | 105 WDX184 HTX149 DP MM | CERTIFICATION/STANDARD | IEC/EN 60947 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1165729 | 1165729 | 1466613 | AU_QM_007126173 |  | ERSA | M | 1600 | 1466613GZPCLNT100 | EA |  | BREAKER,CIRCT;C CRV,40 A,25 KA,P 2P,D | BREAKER,CIRCT;C CRV,40 A,25 KA,P 2P,D | BREAKER,CIRCUIT;TYPE:C CURVE,CURRENT RATING:40 A,INTERRUPT RATING:25 KA,NUMBER OF POLES:2P,ADDITIONAL FEATURES EN:D,MNFR:01)CNW, PTNO:01)NATGL02C40 |  | CIRCUIT BREAKER:40A;2P;25KA;"C"CURVE;DIN MTG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NATGL02C40 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | NATGL02C40 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | TRIP CLASS: C CURVE,D |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 25 KA | NUMBER OF POLES | 2 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 | VOLTAGE RATING UPDATED AS PER WEB SOURCE | 1164921 | 1164921 | 1413453 | AU_QM_000258954 |  | ERSA | M | 1600 | 1413453GZPCLNT100 | EA |  | BREAKER,CIRCT;MOULDED CASE,1.1 KV | BREAKER,CIRCT;MOULDED CASE,1.1 KV | BREAKER,CIRCUIT;TYPE:MOULDED CASE,VOLTAGE RATING:1.1 KV,ADDITIONAL FEATURES EN:THE ROCK MINING, C/W I/PHASE BARRIERS, TERM.SHI,LE AN |  | CIRCUIT BREAKER:1100V THE ROCK MINING MCCB;C/W I/PHASE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | E2KM3400F | [12 empty] | EATON | E2KM3400F | CNW (MOUNT ISA) ELECT WHOLESALER | E2KM3400F | [14 empty] | https://www.eaton.com/us/en-us/skuPage.E2KM3400F.specifications.html | [9 empty] | Enriched | 39121616 Molded case circuit breakers | THE ROCK MINING, C/W I/PHASE BARRIERS, TERM.SHILE AN |  | CIRCUIT BREAKER | MOLDED CASE | TYPE | INTERCHANGEABLE THERMAL MAGNETIC | CURRENT RATING | 400 A | VOLTAGE RATING | 1000Y/577 VAC, 250 VDC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FRAME TYPE | K | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 2000 TO 4000 A | MOUNTING TYPE |  | TERMINAL TYPE | LINE AND LOAD | SIZE | 4-3/32 LGX5-1/2 WDX5-1/2 HT IN | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1050258 | 1050258 |  |  |  | ERSA | M | 1650 | 1608406GZPCLNT100 | EA |  | BREAKER,VAC;4 BAR,PN:L23NOOG-04-05 | INTERRUPT VACIO; | BREAKER,VACUUM;PRESSURE RATING:4 BAR,ADDITIONAL FEATURES EN:PN:L23NOOG-04-05,NETAFIM | INTERRUPTOR VACIO; |  |  |  | 1068155 @@ REECE PTY LTD | 1526209 | [12 empty] | NETAFIM | L23NOOG-04-05 | REECE PTY LTD | 1526209 | [14 empty] | https://www.reece.com.au/product/netafim-l23noog-04-05-vacuum-breaker-1526209 | [9 empty] | Enriched | 40141749 Vacuum breaker |  | COLOUR:DARK GREY | BREAKER | VACUUM | TYPE |  | INLET SIZE | 1/2 IN | OUTLET SIZE | 1/2 IN | CONNECTION TYPE | MALE THREADED | PRESSURE RATING | 4 BAR | VALVE TYPE |  | BODY MATERIAL | REINFORCED NYLON, POLYPROPYLENE (PP),EPDM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-03 |  | 1109692 | 1109692 | 1424960 | AU_QM_000342352 |  | ERSA | M | 1510 | 1424960GZPCLNT100 | EA |  | BRIGHT;RND;30MM DIA;LGTH 10FT; | BRIGHT;RND;30MM DIA;LGTH 10FT; | STEEL BAR,ALLOY; BRIGHT;RND;30MM DIA;LGTH 10FT; |  | STEEL BAR,ALLOY;BRIGHT;RND;30MM DIA;LGTH 10FT; |  |  | 1069433 @@ TOTAL STEEL OF AUSTRALIA | 1424960 | [10 empty] | TOTAL STEEL OF AUSTRALIA | 1424960 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30263700 Steel alloy bars |  |  | BAR | ROUND | TYPE |  | DIAMETER | 30 MM | LENGTH | 10 FT | MATERIAL | BRIGHT ALLOY STEEL | MATERIAL SPECIFICATION |  | PROCESS |  | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed