## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1025527 | 1025527 | 1381534 | AU_QM_000221478 |  | ERSA | M | 1610 | 1381534GZPCLNT100 | EA | 3000004 | BATTERY;HIT,BSL1860 | BATTERY;HIT,BSL1860 | BATTERY;MNFR:HITACHI,PTNO:BSL1860 |  | BATTERY;HIT,BSL1860BATTERY;HIT,BSL1860 | HITACHI | BSL1860 | [14 empty] | HITACHI | BSL1860 | [16 empty] | https://www.metabo-hpt.com/us/main-navigation/item/bsl1860-18-volt-6-0-amp-hour-lithium-ion-battery-(338890) | https://wiselinetools.ca/products/hitachi-battery-bsl1860-18v-li-ion-6-0ah | [8 empty] | ENRICHED | 26111710 Product specific battery packs |  |  | BATTERY PACK | NO MODIFIER | TYPE | LITHIUM-ION | VOLTAGE RATING | 18 V | CAPACITY | 6 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1039392 | 1039392 | 1412784 | AU_QM_000258270 |  | ERSA | M | 5915 | 1412784GZPCLNT100 | EA |  | CAP;BUS BAR END | CAP;BUS BAR END | CAP;TYPE:BUS BAR END,ADDITIONAL FEATURES EN:1P SUIT IBC STYLE BUS COMB,MNFR:01)CNW,PTNO:01)NHPIBCEC1 |  | CAP;BUS BAR ENDCAP;BUS BAR END,1P SUIT IBC STYLE BUS | [16 empty] | NHP | IBCEC1 | [16 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/IBCEC1-7532-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR 1 P IBC |  | CAP | NO MODIFIER | TYPE | BUSCOMB END | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1036620 | 1036620 |  |  |  | ERSA | M | 1600 | 1514646GZPCLNT100 | PAC |  | CAP;END CAP RESI MAX BUSBAR ,SCHRMXPE110 | CAP;END CAP RESI MAX BUSBAR ,SCHRMXPE110 | [19 empty] | SCHNEIDER ELECTRIC | RMXPE110 | [16 empty] | https://eref.se.com/au/en/clipsal/product-pdf/RMXPE110 | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Electrical-Distribution/Busbar/END-CAP-RESI-MAX-BUSBAR-COMB-1P%2BN-10PK/p/SCHRMXPE110I28 | [10 empty] | FOR RESI MAX BUSBAR | NUMBE ROF POLES:1 P+N,DEGREE OF PROTECTION:IP20 | CAP | NO MODIFIER | TYPE | END | SIZE |  | CONNECTION TYPE |  | MATERIAL | PLASTIC | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947,IEC 60898 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1039354 | 1039354 | 1414595 | AU_QM_000260193 |  | ERSA | M | 5915 | 1414595GZPCLNT100 | EA |  | CAP;END LTP,25 MM,BRS NI PLTD,INSR | CAP;END LTP,25 MM,BRS NI PLTD,INSR | CAP;TYPE:END LTP,SIZE:25 MM,MATERIAL:BRASS NICKEL PLATED,ADDITIONAL FEATURES EN:INSERT,MNFR:01)CNW,PTNO:01)FLELTP25-E |  | CAP;END LTP,25 MM,BRS NI PLTD,INSRCAP;END LTP,25MM,BRASS NICKEL PLATED | [16 empty] | FLEXICON | LTP25-E | CNW | [15 empty] | https://www.rexel.com.au/are/category/Cable-Management/Rigid-Conduit/Terminal-sleeve-for-installation-tubes/END-CAP-NICKEL-PLATED-BRASS-FOR-LTP25/FLCLTP25-E/p/10254254 | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | INSERT |  | CAP | NO MODIFIER | TYPE | END,STARIGHT | SIZE | 25 MM | CONNECTION TYPE |  | MATERIAL | BRASS NICKEL PLATED | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1039828 | 1039828 | 1403020 | AU_QM_000247694 |  | ERSA | M | 5915 | 1403020GZPCLNT100 | EA |  | CAP;SPEED HUMP END,BLACK | CAP;SPEED HUMP END,BLACK | CAP;TYPE:SPEED HUMP END,COLOUR:BLACK,MNFR:01)PARTS,PTNO:01)1510.BEND |  | CAP;SPEED HUMP END,BLACKCAP;SPEED HUMP END,BLACK,1510.BEND | [17 empty] | 1510.BEND | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | SPEED HUMP EN | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1008931 | 1008931 |  |  |  | ERSA | M | 5000 | 1611902GZPCLNT100 | EA | 3000010 | BATTERY;SAN,08731303 | BATERIA;SAN,08731303 | BATTERY;MNFR:SANDVIK,PTNO:08731303 | BATERIA;MNFR:SANDVIK,PTNO:08731303 |  | SANDVIK | 08731303 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 8731303 | [12 empty] | SANDVIK | 08731303 | [16 empty] | https://www.aga-parts.com/sandvik/part/08731303_battery-wet-see-t-text/ | https://www.volza.com/p/lead-acid-battery/import/import-in-peru/hsn-code-85078000/ | [8 empty] | ENRICHED | 26111707 Lead acid batteries |  |  | BATTERY | NO MODIFIER | TYPE | LEAD ACID,WET | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1013352 | 1013352 |  |  |  | ERSA | M | 1600 | 1615373GZPCLNT100 | EA | 3000424 | BATTERY;ECAM,FIN-PWP-00045,POWERPACKS,75 | BATERIA;ECAM,FIN-PWP-00045 | BATTERY;MNFR:ECAM,PTNO:FIN-PWP-00045,ADDITIONAL FEATURES EN:POWERPACKS,75AH,12V,ENCLOSURE ONLY,ANDERSON PLUG | BATERIA;MNFR:ECAM,PTNO:FIN-PWP-00045 |  | ECAM | FIN-PWP-00045 | 1070724 @@ ECAM PTY LTD | FIN-PWP-00045 | [10 empty] | ECAM | FIN-PWP-00045 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111710 Product specific battery packs | ENCLOSURE ONLY |  | BATTERY PACK | NO MODIFIER | TYPE | POWERPACKS | VOLTAGE RATING | 12 V | CAPACITY | 75 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE | ANDERSON PLUG | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1014480 | 1014480 |  |  |  | ERSA | M | 1600 | 1608239GZPCLNT100 | EA | 3000010 | BATTERY;SAN,BG01673697,RECHGBL,3.7 VDC | BATERIA;SAN,BG01673697 | BATTERY;MNFR:SANDVIK,PTNO:BG01673697,ADDITIONAL FEATURES EN:RECHARGEABLE,3.7 VDC, 9AH | BATERIA;MNFR:SANDVIK,PTNO:BG01673697 |  | SANDVIK | BG01673697 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01673697 | [10 empty] | SANDVIK | BG01673697 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE |  | VOLTAGE RATING | 3.7 VDC | SIZE DESIGNATION |  | CAPACITY | 9 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1014481 | 1014481 |  |  |  | ERSA | M | 1600 | 1608240GZPCLNT100 | EA | 3000010 | BATTERY;SAN,BG01693109,CHRGR,10-30 VDC | BATERIA;SAN,BG01693109 | BATTERY;MNFR:SANDVIK,PTNO:BG01693109,ADDITIONAL FEATURES EN:CHARGER,10-30 VDC | BATERIA;MNFR:SANDVIK,PTNO:BG01693109 |  | SANDVIK | BG01693109 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01693109 | [10 empty] | SANDVIK | BG01693109 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE |  | VOLTAGE RATING | 10 TO 30 VDC | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 | Processed based on Websource, Conflict w.r.t Input | 1033484 | 1033484 | 1382079 | AU_QM_000222122 |  | ERSA | M | 1610 | 1382079GZPCLNT100 | EA | 3000013 | BATTERY;VOL,11413745 | BATTERY;VOL,11413745 | BATTERY;MNFR:VOLVO,PTNO:11413745 |  | BATTERY;VOL,11413745BATTERY;VOL,11413745 | VOLVO | 11413745 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11413745 | [12 empty] | VOLVO | 11413745 | SMH EQUIPMENT PTY LTD | [15 empty] | https://777parts.com/volvo/voe-11400937-battery-box/p163311.html | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BOX | BATTERY | TYPE |  | NUMBER OF BATTERIES |  | BATTERY MODEL |  | SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1036988 | 1036988 |  |  |  | ERSA | M | 4015 | 1516553GZPCLNT100 | BOX |  | BATTERY;DURPC2400 BATTERY, ,MOBDURPC2400 | BATTERY;DURPC2400 BATTERY, ,MOBDURPC2400 | BATTERY;ADDITIONAL FEATURES:DURPC2400 BATTERY, ,MOBDURPC2400 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOBDURPC2400 | [12 empty] | DURACELL | PC2400 | [16 empty] | https://www.digikey.in/en/products/detail/duracell-industrial-operations-inc/PC2400/16344166 | https://www.newark.com/duracell/pc2400/battery-alkaline-manganese-dioxide/dp/66W2222 | [8 empty] | ENRICHED | 26111705 Dry cell batteries |  | TERMIATION STYLE:BUTTON TOP | BATTERY | DRY CELL | TYPE | ALKALINE | VOLTAGE RATING | 1.5 V | CAPACITY | 1.255 AH | SIZE DESIGNATION | AAA | SIZE | 10.5 DIAX44.5 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING | 5 TO 30 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1049666 | 1049666 |  |  |  | ERSA | M | 5810 | 1581811GZPCLNT100 | EA |  | CAP;DIESEL FILLER,PLSTC,BLK | TAPA; | CAP;TYPE:DIESEL FILLER,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:BLACK | TAPA; |  |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 1581811 | [10 empty] | FINLAY SCREENING & CRUSHING | 1581811 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | DIESEL | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | COATING/FINISH | BLACK | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1050997 | 1050997 |  |  |  | ERSA | M | 4090 | 1578511GZPCLNT100 | EA |  | CAP;FLSH,SS,SPOOL PUMP | TAPA; | CAP;TYPE:FLUSH,MATERIAL:SS,ADDITIONAL FEATURES EN:SPOOL PUMP | TAPA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SSCAP | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | SSCAP | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR SPOOL PUMP |  | CAP | NO MODIFIER | TYPE | FLUSH | SIZE |  | CONNECTION TYPE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1051063 | 1051063 |  |  |  | ERSA | M | 4090 | 1579240GZPCLNT100 | EA |  | BATTERY;G SCAN 2,GS2BATT | BATERIA; | BATTERY;TYPE:G SCAN 2,SIZE:,ADDITIONAL FEATURES EN:GS2BATT | BATERIA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | GS2BATT | [10 empty] | ASHDOWN ENTERPRISES | GS2BATT | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE | G SCAN 2 | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1051168 | 1051168 |  |  |  | ERSA | M | 4090 | 1580421GZPCLNT100 | EA |  | BATTERY;DRYPOWER 12V 26AH SLA,12SB26CL | BATERIA; | BATTERY;TYPE:DRYPOWER 12V 26AH SLA,SIZE:,ADDITIONAL FEATURES EN:12SB26CL | BATERIA; |  |  |  | 1069542 @@ BATTERY WORLD | 12SB26CL | [12 empty] | DRYPOWER | 12SB26CL | [16 empty] | https://www.drypower.com.au/power/product/25827/vrla-agm-cyclic-power--12v-agm-deep-cycle-power-battery.html | [9 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V |  | BATTERY | STORAGE | TYPE | DEEP CYCLE AGM,SEALED LEAD ACID | ELECTROLYTE |  | CAPACITY | 26 AH | SHELF LIFE |  | TERMINAL TYPE | F3 (M5 NUT AND BOLT) | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 166 LGX175 WDX125 MM HT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1052116 | 1052116 |  |  |  | ERSA | M | 4005 | 1580399GZPCLNT100 | EA |  | CAP;BRUSH HOLDER,6906 IMPACT GUN | TAPA; | CAP;TYPE:BRUSH HOLDER,MATERIAL:,ADDITIONAL FEATURES EN:6906 IMPACT GUN | TAPA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 643600-9 | [12 empty] | MAKITA | 643600-9 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.toolbarn.com/products/makita-643600-9 | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR 6906 IMPACT GUN |  | CAP | NO MODIFIER | TYPE | BRUSH HOLDER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1054443 | 1054443 |  |  |  | ERSA | M | 1600 | 1605205GZPCLNT100 | EA |  | BATTERY;LEDLENSER,20X60X90MM | BATERIA; | BATTERY;TYPE:LEDLENSER,SIZE:20X60X90MM,ADDITIONAL FEATURES EN: FOR UPDATED H14R.2 (18650 1S2P ) | BATERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | ZL7795 | [12 empty] | LED LENSER | ZL7795 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://sunlite.sympaconline.com/product.php?productInformation=100223658 | https://www.traveluniverse.com.au/Battery-for-Updated-H14R-2-18650-LED-Lenser/ZL7795.htm | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | FOR UPDATED H14R.2 (18650 1S2P ) |  | BATTERY | RECHARGEABLE | TYPE | TORCH,LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 20X60X90 MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1055165 | 1055165 |  |  |  | ERSA | M | 1600 | 1613674GZPCLNT100 | EA |  | BATTERY;LI-ION,2200 MAH,116X55X17 MM | BATERIA; | BATTERY;TYPE:LI-ION,CAPACITY:2200 MAH,SIZE:116X55X17 MM,TEMPERATURE RATING:-20 TO 60 DEG C,ADDITIONAL FEATURES EN:IP66,IP68,TM: IMPRESS,BRAND:MOTOROLA,MPN:PMNN4807A | BATERIA; |  |  |  | 1068116 @@ MINE SITE TECHNOLOGIES PTY LTD | 28611 | [12 empty] | MOTOROLA | PMNN4807A | MINE SITE TECHNOLOGIES PTY LTD | 28611 | [14 empty] | https://www.motorolasolutions.com/en_xu/products/two-way-radio-accessories/batteries/impres/pmnn4807.html | [9 empty] | ENRICHED | 26111711 Lithium batteries | TRADE NAME:IMPRESS,DEGREE OF PROTECTION10:IP66,IP68 |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY | 2200 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 116X55X17 MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1055175 | 1055175 |  |  |  | ERSA | M | 2220 | 1613909GZPCLNT100 | EA |  | CAP;SPRINKLER END,50 MM,SHOULDERED | TAPA;50 MM | CAP;TYPE:SPRINKLER END,SIZE:50 MM,MATERIAL:,ADDITIONAL FEATURES EN:SHOULDERED | TAPA;TAMAÃ‘O:50 MM |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SC50MMFJN | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | SC50MMFJN | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | SPRINKLER END,SHOULDERED | SIZE | 50 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-10-30 |  | 1055988 | 1055988 |  |  |  | ERSA | M | 2200 | 1610672GZPCLNT100 | EA |  | CAP;CAMLOCK PROTECTIVE,3 IN,SS316 | TAPA; | CAP;TYPE:CAMLOCK PROTECTIVE,SIZE:3 IN,MATERIAL:SS316 | TAPA; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EMI-IND-DC300 | [10 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | EMI-IND-DC300 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | PROTECTIVE | TYPE | CAMLOCK | SIZE | 3 IN | NOMINAL SIZE |  | SCHEDULE/WALL THICKNESS |  | END PREPARATION |  | MATERIAL | STAINLESS STEEL 316 | PRESSURE RATING |  | COLOR |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1056067 | 1056067 |  |  |  | ERSA | M | 1600 | 1616176GZPCLNT100 | EA |  | BATTERY;LI,3 V,1 AH,15.6X27 MM,CR2 | BATERIA;3 V | BATTERY;TYPE:LITHIUM,VOLTAGE RATING:3 V,CAPACITY:1 AH,SIZE DESIGNATION:15.6X27 MM,SIZE:CR2,ADDITIONAL FEATURES EN:MANGANESE DIOXIDE | BATERIA;VOLTAJE:3 V |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 801-0715 | [26 empty] | RS COMPONENTS PTY LTD | 801-0715 |  |  | https://in.rsdelivers.com/product/rs-pro/rs-pro-lithium-manganese-dioxide-3v-cr2-camera/8010715 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | CHEMICAL:MANGANESE DIOXIDE |  | BATTERY | DRY CELL | TYPE | CAMERA | VOLTAGE RATING | 3 V | CAPACITY | 1 AH | SIZE DESIGNATION | CR2 | SIZE | 15.6 DIAX27 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1056190 | 1056190 |  |  |  | ERSA | M | 4090 | 1585568GZPCLNT100 | PAC |  | CAP;SEALING PLUG,31.9 X 36.4 X 22.2 MM | TAPA;,ROJO | CAP;TYPE:SEALING PLUG,SIZE:31.9 X 36.4 X 22.2 MM,MATERIAL:LOW DENSITY POLYETHYLENE,COLOUR:RED | TAPA;TONO:ROJO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 889457 | [12 empty] | ESSENTRA | CP0016 | [12 empty] | J BLACKWOOD & SONS | 00889457 |  |  | https://www.blackwoods.com.au/pipe-tube-fittings/fittings-pipe-tube/plug-sealing-caps/cap-plug-sealing-31-9-x-36-4-x-22-2-cp16/p/00889457 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware |  |  | CAP | SEAL | TYPE | PLUG | MATERIAL |  | SIZE | 31.9X36.4X22.2 MM | CONNECTION |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1056388 | 1056388 |  |  |  | ERSA | M | 1600 | 1608787GZPCLNT100 | EA |  | BATTERY;LI-ION,14.4 V,4.0 AH,STRAPPING | BATERIA; | BATTERY;TYPE:LI-ION,VOLTAGE RATING:14.4 V,CAPACITY:4.0 AH,SIZE:,ADDITIONAL FEATURES EN:FOR TENSO LST270,STRAPPING | BATERIA; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 61814 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | 61814 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111705 Dry cell batteries | FOR TENSO LST270,STRAPPING |  | BATTERY | DRY CELL | TYPE | LITHIUM-ION | VOLTAGE RATING | 14.4 V | CAPACITY | 4 AH | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1056853 | 1056853 |  |  |  | ERSA | M | 1600 | 1616389GZPCLNT100 | EA |  | CAP;CLMPNG,BRZ | TAPA; | CAP;TYPE:CLAMPING,MATERIAL:BRONZE | TAPA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CMI201-338-1B CAP BR | [12 empty] | CMI | 201-338-1B | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.cmielectrical.com.au/product/af264r | https://www.blackwoods.com.au/electrical/conduit-fittings/conduit-fittings-connectors/minto-201-338-1b-bronze-cap/p/02134575 | [8 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | CLAMPING | SIZE |  | CONNECTION TYPE |  | MATERIAL | BRONZE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1057759 | 1057759 |  |  |  | ERSA | M | 1600 | 1616005GZPCLNT100 | EA |  | CAP;SNAP END,PLSTC,MINXGLO-CAPE | TAPA; | CAP;TYPE:SNAP END,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:MINXGLO-CAPE | TAPA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MINXGLO-CAPE | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | MINXGLO-CAPE | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | NO MODIFIER | TYPE | SNAP END | SIZE |  | CONNECTION TYPE |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1057929 | 1057929 |  |  |  | ERSA | M | 1600 | 1586000GZPCLNT100 | EA |  | BATTERY;LDACD,12 V,1.2 AH,97X48X54.5MM | BATERIA;12 V,1.2 AH | BATTERY;TYPE:LEAD ACID,VOLTAGE RATING:12 V,CAPACITY:1.2 AH,SIZE:97X48X54.5MM,ADDITIONAL FEATURES EN:FOR NEMATRON M62 & U62,PN: CENNP1.2-12,YUASA | BATERIA;VOLTAJE:12 V,CAPACIDAD:1.2 AH |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CENNP1.2-12 | [12 empty] | YUASA BATTERIES | NP1.2-12 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.yuasa.co.uk/batteries/industrial/np1-2-12.html | https://www.yuasa.co.uk/yuasa/datasheet/index/sku/NP1.2-12/ | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | FOR NEMATRON M62 AND U62 | SHELF LIFE:5 YR | BATTERY | RECHARGEABLE | TYPE | GENERAL PURPOSE VRLA | VOLTAGE RATING | 12 V | SIZE DESIGNATION |  | CAPACITY | 1.2 AH | CHEMICAL COMPOSITION |  | MATERIAL | ABS | TERMINAL TYPE | A | SIZE | 97 LGX48 WDX54.5 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -15 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1058106 | 1058106 |  |  |  | ERSA | M | 4100 | 1585229GZPCLNT100 | EA |  | CAP;LIGHT SHORTING,PVC | TAPA; | CAP;TYPE:LIGHT SHORTING,MATERIAL:PVC | TAPA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EYE101095 | [12 empty] | EYE LIGHTING | 101095 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.idealelectrical.com/aie/category/Light-Fittings/Accessories/Mechanical-accessories-for-luminaires/SC10-SHORTING-CAP-IP66-JL208/EYE101095/p/14277578 | https://www.learsmith.com.au/als/category/Light-Fittings/Accessories/Mechanical-accessories-for-luminaires/SC10-SHORTING-CAP-IP66-JL208/EYE101095/p/14277578?prevPageNumber=24&isPaginationRequest=true | [8 empty] | ENRICHED | 31162800 Miscellaneous hardware |  | DEGREE OF PROTECTION:IP66 | CAP | NO MODIFIER | TYPE | LIGHT SHORTING | SIZE |  | CONNECTION TYPE |  | MATERIAL | PVC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1058164 | 1058164 |  |  |  | ERSA | M | 5920 | 1586428GZPCLNT100 | EA |  | CAP;END,M20,BRS,NICKLE PLTD | TAPA; | CAP;TYPE:END,SIZE:M20,MATERIAL:BRASS,ADDITIONAL FEATURES EN:NICKLE PLTD | TAPA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FLELTP20-E | [12 empty] | FLEXICON | FLELTP20-E | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/Conduit-Fittings/END-CAP-LTP-M20-NICKLE-PLTD-BRASS-INSERT/p/FLELTP20@06EC13 | https://in.rsdelivers.com/product/flexicon/ltp20-m20-s/flexicon-straight-swivel-conduit-fitting-20mm-size/8726050 | [8 empty] | ENRICHED | 31162800 Miscellaneous hardware |  | THREAD SIZE:M20,DEGREE OF PROTECTION:IP66,IP67,IP68,IP69K | CAP | NO MODIFIER | TYPE | END | SIZE | 20 MM | CONNECTION TYPE | STRAIGHT,SWIVEL | MATERIAL | NICKEL PLATED BRASS | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS EN IEC 61386,CE,REACH,ROHS | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1059900 | 1059900 |  |  |  | ERSA | M | 4090 | 1606881GZPCLNT100 | EA |  | CAP;SPRAY NOZZLE,HSTLY C276,MM-10 | TAPA; | CAP;TYPE:SPRAY NOZZLE,MATERIAL:HASTELLOY C276,ADDITIONAL FEATURES EN:MM-10,ENVIROCARE,BAGHOUSE COOLING | TAPA; |  |  |  | 1069344 @@ ENVIROCARE AUSTRALIA PTY LTD | MM-10 | [10 empty] | ENVIROCARE | MM-10 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141743 Nozzle tips or caps | BAGHOUSE COOLING |  | CAP | NO MODIFIER | TYPE | SPRAY NOZZLE | SIZE |  | CONNECTION TYPE |  | MATERIAL | HASTELLOY C276 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1060364 | 1060364 |  |  |  | ERSA | M | 4050 | 1543902GZPCLNT100 | EA |  | BATTERY;LI-ION BATTERY, BMP21-PLUS | BATERIA; | BATTERY;TYPE:TBC,SIZE:TBC,ADDITIONAL FEATURES EN:TBC | BATERIA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LI-ION BATTERY, BMP21-PLUS | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | [19 empty] | URL NOT FOUND |  |  |  |  | BMP21-PLUS |  |  |  |  | CLEANSED | 26111711 Lithium batteries |  |  | BATTERY | NO MODIFIER | TYPE | LITHIUM-ION | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION | TBC | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1061310 | 1061310 |  |  |  | ERSA | M | 4090 | 1542543GZPCLNT100 | EA |  | BATTERY;LI-ION,ADFLO,HD,AWS837631C | BATERIA; | BATTERY;TYPE:LI-ION,ADFLO,HD,SIZE:TBC,ADDITIONAL FEATURES EN:LI-ION,ADFLO,HD | BATERIA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1542543 | [12 empty] | SPEEDGLASS | AWS837631C | CNW (MOUNT ISA) ELECT WHOLESALER | 1542543 | [14 empty] | https://www.boc.com.au/shop/en/au/speedglas-upgraded-li-ion-heavy-duty-battery-for-adflo-papr-aws837631-p | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | TRADE NAME:ADFLO | CHARGE TIME:5.5 HR | BATTERY | RECHARGEABLE | TYPE | HEAVY-DUTY LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION | TBC | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1061643 | 1061643 |  |  |  | ERSA | M | 4010 | 1562190GZPCLNT100 | EA |  | CAP;VLV,JAS,JASON 4B NEEDLE GUN | TAPA; | CAP;TYPE:VALVE,MATERIAL:JAS,ADDITIONAL FEATURES EN:JASON 4B NEEDLE GUN | TAPA; |  |  |  | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1562190 | [10 empty] | SWANSTON TASMANIA PTY LTD | 1562190 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR JASON 4B NEEDLE GUN |  | CAP | VALVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1081174 | 1081174 | 1365718 | AU_QM_000168139 |  | ERSA | M | 1610 | 1365718GZPCLNT100 | EA | 3000004 | BATTERY;HIT,TY21754 | BATTERY;HIT,TY21754 | BATTERY;MNFR:HITACHI,PTNO:TY21754 |  | BATTERY,STORAGE:DRY;12V;BCI 4D;CCA 1000 | HITACHI | TY21754 | 1068352 @@ HITACHI | TY21754 | 1068592 @@ RDO EQUIPMENT PTY LTD | TY21754 | [10 empty] | JOHN DEERE | TY21754 | HITACHI |  | RDO EQUIPMENT PTY LTD |  | BCI GROUP | [11 empty] | https://partscatalog.deere.com/jdrc/partdetails/partnum/TY21754 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | VOLTAGE RATING:12 V,SIZE DESIGNATION:4D,COLD CRANKING AMPS:1000 A |  | BATTERY | STORAGE | TYPE | DRY CHARGED | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1081175 | 1081175 | 1365719 | AU_QM_000168140 |  | ERSA | M | 1610 | 1365719GZPCLNT100 | EA | 3000004 | BATTERY;HIT,TY23020 | BATTERY;HIT,TY23020 | BATTERY;MNFR:HITACHI,PTNO:TY23020 |  | BATTERY,STORAGE:DRY;12V;BCI 4D;CCA 1400 | HITACHI | TY23020 | 1068352 @@ HITACHI | TY23020 | 1068592 @@ RDO EQUIPMENT PTY LTD | TY23020 | [10 empty] | JOHN DEERE | TY23020 | HITACHI |  | RDO EQUIPMENT PTY LTD |  | BCI GROUP | [11 empty] | https://partscatalog.deere.com/jdrc/partdetails/partnum/TY23020 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | VOLTAGE RATING:12 V,SIZE DESIGNATION:4D,COLD CRANKING AMPS:1400 A |  | BATTERY | STORAGE | TYPE | DRY CHARGED | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1102220 | 1102220 |  |  |  | ERSA | M | 4090 | 1517136GZPCLNT100 | EA |  | BATTERY;DIN65LH,MF,HP,112112 | BATTERY;DIN65LH,MF,HP,112112 | BATTERY;ADDITIONAL FEATURES:DIN65LH,MF,HP,112112 |  |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | 112112 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | DIN65LH | [10 empty] | CENTURY BATTERIES | DIN65LH MF | AUTOBARN MOUNT ISA | 112112 | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/din65lh%20mf/info | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | VOLTAGE RATING:12 V,COLD CRANKING AMPS:650 A,RESERVE CAPACITY:130 | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 75 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 277 LGX175 WDX190 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1103901 | 1103901 |  |  |  | ERSA | M | 5955 | 1513966GZPCLNT100 | EA |  | BATTERY;DIN75,LH MF,CENTURY HP,11,115147 | BATTERY;DIN75,LH MF,CENTURY HP,11,115147 | BATTERY;ADDITIONAL FEATURES:DIN75,LH MF,CENTURY HP,11,115147 |  |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | DIN75LH | [12 empty] | CENTURY BATTERIES | DIN75LH MF | AUTOBARN MOUNT ISA | 115147 | [14 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/din75lh%20mf/info | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | VOLTAGE RATING:12 V,COLD CRANKING AMPS:750 A,RESERVE CAPACITY:160 | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 90 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 315 LGX175 WDX190 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1105189 | 1105189 |  |  |  | ERSA | M | 4090 | 1527727GZPCLNT100 | EA |  | BATTERY;GEB242 LITHIUM ION BATTER,793975 | BATTERY;GEB242 LITHIUM ION BATTER,793975 | [5 empty] | 1069640 @@ C.R.KENNEDY & CO PTY LTD. | 793975 | [12 empty] | LEICA | 793975 | C.R.KENNEDY & CO PTY LTD. | GEB242 | [14 empty] | https://smithsurveyingequipment.co.uk/shop/surveying-equipment/gnssgps-systems/leica/gnss-gps-tps-accessories/leica-geb242-li-ion-battery-793975/ | https://www.globaltestsupply.com/product/leica-793975-gea242-litium-ion-battery | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 14.8 V | SIZE DESIGNATION |  | CAPACITY | 5.8 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1105198 | 1105198 |  |  |  | ERSA | M | 2920 | 1516966GZPCLNT100 | EA |  | BATTERY;LI CR2450 3V,CR2450 | BATTERY;LI CR2450 3V,CR2450 | [5 empty] | 1068652 @@ J BLACKWOOD & SONS | 1516966 | [12 empty] | PANASONIC | CR2450 | [12 empty] | J BLACKWOOD & SONS | 1516966 |  |  | https://industrial.panasonic.com/sa/products/pt/lithium-batteries/models/CR2450 | [9 empty] | ENRICHED | 26111711 Lithium batteries |  |  | BATTERY | COIN CELL | TYPE | LITHIUM | VOLTAGE RATING | 3 V | BATTERY CAPACITY | 620 MAH | CHEMICAL COMPOSITION |  | BATTERY SIZE |  | DIAMETER | 24.5 MM | HEIGHT | 5 MM | TEMPERATURE RATING | -30 TO 85 DEG C | CERTIFICATION/STANDARD | IEC 60086-4,UL 1642 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1112901 | 1112901 |  |  |  | ERSA | M | 4090 | 1573664GZPCLNT100 | EA | 3000004 | BATTERY;HIT,01224429,MULTIVOLT,18-36 V | BATERIA;HIT,01224429 | BATTERY;MNFR:HITACHI,PTNO:01224429,ADDITIONAL FEATURES EN:MULTIVOLT,18-36 V | BATERIA;MNFR:HITACHI,PTNO:01224429 |  | HITACHI | 01224429 | 1068652 @@ J BLACKWOOD & SONS | 1224429 | [12 empty] | HIKOKI | BSL36B18 | HITACHI | 01224429 | [10 empty] | J BLACKWOOD & SONS | 1224429 |  |  | https://www.hikoki-powertools.com/products/powertools/multivolt/ | https://www.blackwoods.com.au/power-tools/cordless-power-tools/multivolt-battery-pack-hikoki/hikoki-multivolt-battery-pack-18v-36v-8-0ah-4-0ah-bsl36b18/p/01224429 | [8 empty] | ENRICHED | 26111710 Product specific battery packs |  | COLOR:BLACK,POWER RATING:1440 W | BATTERY PACK | NO MODIFIER | TYPE | MULTIVOLT | VOLTAGE RATING | 18 TO 36 V | CAPACITY | 8 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1114066 | 1114066 |  |  |  | ERSA | M | 4090 | 1571780GZPCLNT100 | EA |  | CAP;SPRAY GUN,STL,AIR,SP-100-430-K | TAPA; | CAP;TYPE:SPRAY GUN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:AIR,SP-100-430-K | TAPA; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | SP-100-430-K | [12 empty] | DEVILBLISS | SP-100-430-K | BURWELL TECHNOLOGIES PTY LTD | [15 empty] | https://pittsburghsprayequip.com/products/devilbiss-sp-100-430-k-air-nozzle-assembly | [9 empty] | ENRICHED | 40141743 Nozzle tips or caps |  |  | CAP | NO MODIFIER | TYPE | AIR NOZZLE,SPRAY GUN | SIZE |  | CONNECTION TYPE |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1114305 | 1114305 |  |  |  | ERSA | M | 1600 | 1571495GZPCLNT100 | PAC |  | BATTERY;LI,AA,ENERGIZER,2 PACK | BATERIA; | BATTERY;TYPE:LITHIUM,SIZE:AA,ADDITIONAL FEATURES EN:ENERGIZER,2 PACK | BATERIA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 732122 | [12 empty] | ENERGIZER | L91BP2T | [12 empty] | J BLACKWOOD & SONS | 00732122 |  |  | https://www.blackwoods.com.au/electrical/batteries/aa-batteries/battery-energizer-aa-lith-l91bp2t-2pk/p/00732122 | [9 empty] | ENRICHED | 26111705 Dry cell batteries | PACKAGING QUANTITY:2/PK |  | BATTERY | DRY CELL | TYPE | LITHIUM | VOLTAGE RATING | 1.5 V | CAPACITY |  | SIZE DESIGNATION | AA | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE | 20 YR | TEMPERATURE RATING | -40 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1114306 | 1114306 |  |  |  | ERSA | M | 1600 | 1571494GZPCLNT100 | EA |  | BATTERY;LI,9V,ENERGIZER | BATERIA; | BATTERY;TYPE:LITHIUM,SIZE:9V,ADDITIONAL FEATURES EN:ENERGIZER | BATERIA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 518763 | [12 empty] | ENERGIZER | L522RP1T | [12 empty] | J BLACKWOOD & SONS | 00518763 |  |  | https://data.energizer.com/pdfs/l522.pdf | https://www.blackwoods.com.au/electrical/batteries/9v-batteries/battery-energizer-9v-lith-l522rp1t/p/00518763 | [8 empty] | ENRICHED | 26111705 Dry cell batteries |  | CHEMICAL:Lithium-Manganese Dioxide,DISCHARGE CURRENT:1000 MA,JACKET:PLASTIC LABEL,TERMINAL:MINIATURE SNAP | BATTERY | DRY CELL | TYPE | LITHIUM | VOLTAGE RATING | 9 V | CAPACITY |  | SIZE DESIGNATION |  | SIZE | 26.5 LGX17.5 WDX49 HT MM | CONNECTION TYPE |  | BATTERY LIFE | 10 YR | TEMPERATURE RATING | -40 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1116343 | 1116343 | 1354870 | AU_QM_000144259 |  | ERSA | M | 1600 | 1354870GZPCLNT100 | EA |  | CAP;END | CAP;END | CAP;TYPE:END,MNFR:01)CNW,PTNO:01)1769-ECR |  | CAP,END:COMPACTLOGIX;END CAP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1769-ECR | [12 empty] | ALLEN BRADLEY | 1769-ECR | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rockwellautomation.com/en-us/products/details.1769-ECR.html | https://www.dosupply.com/automation/allen-bradley-plc/compactlogix-1769/1769-ECR | [8 empty] | ENRICHED | 31162800 Miscellaneous hardware |  | TEMPERATURE RATING:0 TO 60 DEG C | CAP | NO MODIFIER | TYPE | RIGHT END | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1146877 | 1146877 |  |  |  | ERSA | M | 4090 | 1532482GZPCLNT100 | EA |  | BATTERY;DL2032,LITHIUM | BATTERY;DL2032,LITHIUM | BATTERY;ADDITIONAL FEATURES:DL2032,LITHIUM |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DL2032B2 | [12 empty] | DURACELL | DL2032B2 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.duracelldirect.co.uk/pno/dl2032b2.html | https://www.cdw.com/product/duracell-electronics-dl2032b2-battery-2-x-dl2032-li/6859219 | [8 empty] | ENRICHED | 26111711 Lithium batteries |  |  | BATTERY | COIN CELL | TYPE | LITHIUM,NON-RECHARGEABLE,HIGH POWER | VOLTAGE RATING | 3 V | BATTERY CAPACITY |  | CHEMICAL COMPOSITION |  | BATTERY SIZE |  | DIAMETER | 119 MM | HEIGHT | 84 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1148747 | 1148747 |  |  |  | ERSA | M | 5915 | 1505353GZPCLNT100 | EA |  | CAP;TOY,1218028010 | CAP;TOY,1218028010 | CAP;ADDITIONAL FEATURES:TOY,1218028010 |  |  |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1505353 | [12 empty] | TOYOTA | 1218028010 | BELL & MOIR - PARTS ORDERS ONLY | 1505353 | [14 empty] | https://www.amayama.com/en/part/toyota/1218028010 | [9 empty] | ENRICHED | 25172408 Fuel or oil caps |  |  | CAP | FILLER OPENING | TYPE | OIL | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1151882 | 1151882 | 1473502 | AU_QM_000266312 |  | ERSA | M | 5620 | 1473502GZPCLNT100 | EA |  | CAP,BRG;CAT,1V8852 | CAP,BRG;CAT,1V8852 |  |  | CAP,BEARING:R1300/R1700 HITCH CAP;FRONT FRAME; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1473502 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1V8852 | [10 empty] | CATERPILLAR | 1V-8852 | CNW (MOUNT ISA) ELECT WHOLESALER | 1473502 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/1V-8852 |  |  |  |  | R1300/R1700 |  |  |  |  | ENRICHED | 31171524 Bearing caps |  | HOLE SIZE:14 MM,COLOR:YELLOW PAINT | CAP | BEARING | TYPE | ARTICULATED HITCH UPPER,FRONT FRAME | SIZE | 176 ODX76 IDX24 HT MM | MATERIAL | CAST IRON | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1154703 | 1154703 |  |  |  | ERSA | M | 4005 | 1508548GZPCLNT100 | EA |  | BATTERY;LEICA GEB242 5.8AH LI-ION BATTER | BATTERY;LEICA GEB242 5.8AH LI-ION BATTER | BATTERY;ADDITIONAL FEATURES:LEICA GEB242 5.8AH LI-ION BATTER |  |  |  |  | 1069292 @@ C R KENNEDY & COMPANY PTY LTD | GEB242 | [12 empty] | LEICA | GEB242 | C R KENNEDY & COMPANY PTY LTD | [15 empty] | https://shop.leica-geosystems.com/utility-subsurface-detection/accessory/ground-penetrating-radar/geb242-lithium-ion-battery/buy | [9 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING | 14.4 V | SIZE DESIGNATION |  | CAPACITY | 5.8 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1154781 | 1154781 |  |  |  | ERSA | M | 5100 | 1507241GZPCLNT100 | EA |  | BATTERY;LEICA,GEB222,6AH,LI-ION,LG793973 | BATTERY;LEICA,GEB222,6AH,LI-ION,LG793973 | BATTERY;ADDITIONAL FEATURES:LEICA,GEB222,6AH,LI-ION,LG793973 |  |  |  |  | 1069640 @@ C.R.KENNEDY & CO PTY LTD. | LG793973 | [12 empty] | LEICA | GEB222 | C R KENNEDY & COMPANY PTY LTD | LG793973 | [14 empty] | https://survey.crkennedy.com.au/products/lg793973/leica-geb222-6ah-li-ion-battery | https://secure.fltgeosystems.com/batteries/leica-batteries/leica-geb222-li-ion-battery-793973-lca793973/ | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION,ON-BOARD | VOLTAGE RATING | 7.4 V | SIZE DESIGNATION |  | CAPACITY | 6 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1162831 | 1162831 | 1362850 | AU_QM_000162430 |  | ERSA | M | 5620 | 1362850GZPCLNT100 | EA |  | CAP;INSULATION CONES,R,W,B, SET,CNW | CAP;INSULATION CONES,R,W,B, SET,CNW | CAP;TYPE:INSULATION CONES,ADDITIONAL FEATURES EN:R,W,B, SET,MNFR:01)CNW,PTNO:01)UPCRWB |  | CAP: INSULATION CONES (R,W,B) SET |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1362850 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1362850 |  |  |  | UPCRWB | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | R,W,B,SET |  | CAP | NO MODIFIER | TYPE | INSULATION CONES | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1179130 | 1179130 |  |  |  | ERSA | M | 2620 | 1544106GZPCLNT100 | EA |  | CAP;CU,RETNG,PLASMA TORCH,HYP220854 | TAPA; | CAP;TYPE:TBC,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RETAINING,PLASMA TORCH | TAPA; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | HYP220854 | [12 empty] | HYPERTHERM | 220854 | GLOBAL WELDING SUPPLIES (MT ISA) | [15 empty] | https://www.hypertherm.com/en-US/hypertherm/powermax/retaining-cap-duramax-and-duramax-lock-10-105-a/ | [9 empty] | ENRICHED | 23270000 Welding and soldering and brazing machinery and accessories and supplies | FOR PLASMA TORCH | OPERATING RANGE:10 TO 105 A | CAP | NO MODIFIER | TYPE | RETAINING,TBC | SIZE |  | CONNECTION TYPE |  | MATERIAL | COPPER | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 | MFR SITE NOT OPENING | 1180941 | 1180941 |  |  |  | ERSA | M | 4005 | 1568889GZPCLNT100 | EA |  | BATTERY;LI ION,10.8V,U8760054 | BATERIA; | BATTERY;TYPE:LI ION,SIZE:10.8V,ADDITIONAL FEATURES EN:DCB233 38-BAT, 38DLP LITHIUM-ION BATTERY PACK,U8760054 | BATERIA; |  |  |  | 1070035 @@ OLYMPUS AUSTRALIA PTY LTD | U8760054 | [12 empty] | OLYMPUS AUSTRALIA PTY LTD | U8760054 |  | DCB233 38-BAT | [14 empty] | https://mfe-is.com/wp-content/uploads/2021/07/38DL-Getting-Started.pdf | [9 empty] | CLEANSED | 26111710 Product specific battery packs | FOR 38DLP |  | BATTERY PACK | NO MODIFIER | TYPE | LITHIUM-ION | VOLTAGE RATING | 10.8 V | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1181306 | 1181306 |  |  |  | ERSA | M | 5955 | 1567862GZPCLNT100 | EA |  | BATTERY;FRKLFT,GVCF3,4X6,TRACTION,532104 | BATERIA; | BATTERY;TYPE:FORKLIFT,SIZE:TBC,ADDITIONAL FEATURES EN:GVCF3,4X6,TRACTION | BATERIA; |  |  |  | 1068391 @@ BOSS | 532104 | [10 empty] | BOSS | 532104 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | FOR GVCF3 4X6 TRACTION |  | BATTERY | NO MODIFIER | TYPE | FORKLIFT | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION | TBC | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1181499 | 1181499 |  |  |  | ERSA | M | 4600 | 1567651GZPCLNT100 | EA |  | CAP;REPLCMNT,POLY,DO,RDC1,AQSRD5A43 | TAPA; | CAP;TYPE:REPLACEMENT,MATERIAL:POLY,ADDITIONAL FEATURES EN:DO,RDC1,AQSRD5A43 | TAPA; |  |  |  | 1069713 @@ SUNCOAST WASTE WATER M'MENT | 800980 | [10 empty] | SUNCOAST WASTE WATER M'MENT | 800980 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | DO,RDC1,AQSRD5A43 |  | CAP | NO MODIFIER | TYPE | REPLACEMENT | SIZE |  | CONNECTION TYPE |  | MATERIAL | POLY | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1183000 | 1183000 |  |  |  | ERSA | M | 4090 | 1564126GZPCLNT100 | EA |  | BATTERY;HOVERMAP,97WH,V-MOUNT | BATERIA; | BATTERY;TYPE:HOVERMAP,SIZE:97WH,ADDITIONAL FEATURES EN:V-MOUNT | BATERIA; |  |  |  | 1073452 @@ EMESENT PTY LTD | 1564126 | [10 empty] | EMESENT PTY LTD | 1564126 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | V-MOUNT |  | BATTERY | NO MODIFIER | TYPE | HOVERMAP | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE | 97 WD MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1184502 | 1184502 |  |  |  | ERSA | M | 5910 | 1558977GZPCLNT100 | EA |  | CAP;PROTCTV,SS,DST,TODO,70MM,C4H4CL | TAPA; | CAP;TYPE:PROTECTIVE,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:DUST,TODO,70MM,CHLOROPRENE | TAPA; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | ENZ-MI3666-CP | [10 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | ENZ-MI3666-CP | TODO | [17 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | CAP | PROTECTIVE | TYPE | DUST | SIZE | 70 MM | NOMINAL SIZE |  | SCHEDULE/WALL THICKNESS |  | END PREPARATION |  | MATERIAL | STAINLESS STEEL,CHLOROPRENE | PRESSURE RATING |  | COLOR |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1184758 | 1184758 |  |  |  | ERSA | M | 2620 | 1558663GZPCLNT100 | EA |  | CAP;BCK,BRS,SHRT,17.18.26,PK2 | TAPA; | CAP;TYPE:BACK,MATERIAL:BRASS,ADDITIONAL FEATURES EN:SHORT,17.18.26,PK2 | TAPA; |  |  |  | 1068135 @@ BOC LIMITED | B57Y04 | [12 empty] | BOC LIMITED | B57Y04 |  | 17.18.26 | [14 empty] | https://www.blackwoods.com.au/welding-gas/welding-machines/welding-machine-spares/cap-back-short-be57y04/p/03107964 | [9 empty] | ENRICHED | 23270000 Welding and soldering and brazing machinery and accessories and supplies | PACKAGING QUANTITY:2/PK |  | CAP | NO MODIFIER | TYPE | SHORT BACK | SIZE |  | CONNECTION TYPE |  | MATERIAL | BRASS | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1185297 | 1185297 |  |  |  | ERSA | M | 5915 | 1557320GZPCLNT100 | EA |  | BATTERY;NiMH 1400mAh IP68,130x55x39 mm | BATERIA; | BATTERY;TYPE:NiMH 1400mAh IP68,SIZE:130x55x39 mm,ADDITIONAL FEATURES EN:54C,E2000,ENIRGI,HIGH PERF | BATERIA; |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | 1557320 | [12 empty] | ENIRGI | E2000 | ATLAS BATTERIES MOUNT ISA | 1557320 | [14 empty] | https://media.mmem.com.au/Datasheets/Enirgi/Enirgi_E2000_High_performance.pdf | [9 empty] | ENRICHED | 26111721 Nickel metal hydride batteries | DEGREE OF PROTECTION:IP68,54C |  | BATTERY | STORAGE | TYPE | NICKEL METAL HYDRIDE,MAINTENANCE-FREE,HIGH PERFORMANCE | ELECTROLYTE |  | CAPACITY | 1400 MAH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 130X55X39 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186443 | 1186443 |  |  |  | ERSA | M | 4055 | 1552770GZPCLNT100 | EA |  | BATTERY;Li-Ion,18 V | BATERIA; | BATTERY;TYPE:Li-Ion,SIZE:18 V,ADDITIONAL FEATURES EN:18V,LITHIUM-ION,5A,BXT3 | BATERIA; |  |  |  | 1068348 @@ SIGNODE AUSTRALIA PTY LTD | T6074A | [12 empty] | SIGNODE AUSTRALIA PTY LTD | T6074A | [16 empty] | https://www.blackwoods.com.au/tapes-packaging-supplies/strapping-tapes-tools-equipment/strap-sealers/signode-bxt3-spare-lithium-ion-battery-plastic-strapping-18v-5-0ah-16-to-19mm/p/00903061 | [9 empty] | ENRICHED | 26111711 Lithium batteries |  | MATERIAL:PLASTIC,STRAPPING WIDTH:16 TO 19 MM,COLOR:BLACK | BATTERY | NO MODIFIER | TYPE | LITHIUM-ION | VOLTAGE RATING | 18 V | CAPACITY | 5 AH | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186543 | 1186543 |  |  |  | ERSA | M | 2620 | 1552669GZPCLNT100 | EA |  | BATTERY;Li-Ion,N/A,W/CHARGER,H/D,ADFLO | BATERIA; | BATTERY;TYPE:Li-Ion,SIZE:N/A,ADDITIONAL FEATURES EN:W/CHARGER,H/D,ADFLO | BATERIA; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 837631C | [12 empty] | 3M | 837631C | WELDERS PRO SHOP | [15 empty] | https://www.3mindia.in/3M/en_IN/p/d/v000168980/ | https://www.apexweldingsafety.com.au/upgrade-kit-lithium-ion-battery-heavy-duty-charger-adflo-837631c | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | TRADE NAME:ADFLO,C/W CHARGER | OPERATING TIME:10 TO 13 HR | BATTERY | RECHARGEABLE | TYPE | HEAVY-DUTY,LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING | 5.5 HR | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186544 | 1186544 |  |  |  | ERSA | M | 2620 | 1552668GZPCLNT100 | EA |  | BATTERY;Li-Ion,N/A,H/D,ADFLO | BATERIA; | BATTERY;TYPE:Li-Ion,SIZE:N/A,ADDITIONAL FEATURES EN:H/D,ADFLO | BATERIA; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 837631 | [12 empty] | 3M | 837631 | WELDERS PRO SHOP | [15 empty] | https://www.3mindia.in/3M/en_IN/p/d/v000168980/ | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | TRADE NAME:ADFLO | OPERATING TIME:10 TO 13 HR | BATTERY | RECHARGEABLE | TYPE | HEAVY-DUTY,LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING | 5.5 HR | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186881 | 1186881 |  |  |  | ERSA | M | 1600 | 1548949GZPCLNT100 | EA |  | BATTERY;LI,AA,3.6V,2.6AH | BATERIA; | BATTERY;TYPE:LITHIUM,SIZE:AA,ADDITIONAL FEATURES EN:3.6V,2.6AH | BATERIA; |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | ER14505H | [12 empty] | FANSO | ER14505H | ATLAS BATTERIES MOUNT ISA | [15 empty] | https://www.soselectronic.com/en/products/fanso/er14505h-314307 | https://www.batteriesdirect.com.au/shop/product/27675/.html | [8 empty] | ENRICHED | 26111705 Dry cell batteries |  | CHEMICAL COMPOSITION:LITHIUM THIONYL CHLORIDE | BATTERY | DRY CELL | TYPE | MEMORY BACK-UP,BOBBIN | VOLTAGE RATING | 3.6 V | CAPACITY | 2700 MAH | SIZE DESIGNATION | AA | SIZE | 14.5 WDX50.5 HT MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed