## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1154294 | 1154294 |  |  |  | ERSA | M | 4500 | 1514613GZPCLNT100 | EA |  | BATTERY;PACK NEW,NTX-BP4(1) | BATTERY;PACK NEW,NTX-BP4(1) | BATTERY;ADDITIONAL FEATURES:PACK NEW,NTX-BP4(1) | [18 empty] | NEWTRAX | NTX-BP4 | [16 empty] | https://cdn2.hubspot.net/hubfs/2932114/Newtrax%20Datasheets/Newtrax_DataSheet_NTX-BP-3_Battery_Packs.pdf | [9 empty] | ENRICHED | 26111710 Product specific battery packs |  | TEMPERATURE RATING:-55 TO 85 DEG C,VOLUME:386 CC | BATTERY PACK | NO MODIFIER | TYPE |  | VOLTAGE RATING | 3.6 V | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 105X105X35 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1028135 | 1028135 | 1350713 | AU_QM_000134458 |  | ERSA | M | 1610 | 1350713GZPCLNT100 | EA | 3000030 | BATTERY;OUT,610309 | BATTERY;OUT,610309 | BATTERY;MNFR:OUTOTEC,PTNO:610309 |  | BATTERY,STORAGE:PLC AND PANEL BATTERY;TOUCH PANEL;PSI 30 | OUTOTEC | 610309 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1028135 | [10 empty] | OUTOTEC | 610309 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | PN1028135 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | PSI 30 |  | BATTERY | STORAGE | TYPE | PLC AND TOUCH PANEL | ELECTROLYTE |  | CAPACITY |  | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1035485 | 1035485 |  |  |  | ERSA | M | 5915 | 1494944GZPCLNT100 | EA |  | BATTERY;N70ZZL MF,123121 | BATTERY;N70ZZL MF,123121 | BATTERY;ADDITIONAL FEATURES:N70ZZL MF,123121 |  |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | EL14410 | [12 empty] | CENTURY BATTERIES | N70ZZL MF |  | 123121 | AUTOBARN MOUNT ISA | EL14410 | [12 empty] | https://www.centurybatteries.com.au/resources/battery-finder/product/battery/n70zzl%20mf/info | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | VOLTAGE RATING:12 V,COLD CRANKING AMPS:720 A | BATTERY | STORAGE | TYPE | MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 85 AH | SHELF LIFE |  | TERMINAL TYPE | STANDARD POST | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 305 LGX171 WDX225 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1055326 | 1055326 |  |  |  | ERSA | M | 5955 | 1615681GZPCLNT100 | EA |  | BATTERY;LIPO,11.1 V,9500 MAH,EC5 PLUG | BATERIA; | BATTERY;TYPE:LIPO,VOLTAGE RATING:11.1 V,CAPACITY:9500 MAH,SIZE:32X48X168.2 MM,CONNECTION TYPE:EC5 PLUG,ADDITIONAL FEATURES EN: CNHL,DISCHARGE RATE:90C CONTINUAL / 180C BURST,CHARGE RATE:5C MAX | BATERIA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | CNHL-950903EC5 | [12 empty] | CHINA HOBBY LINE | 950903EC5 | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.chinahobbyline.com.au/cnhl-9500mah-11-1v-3s-90c-lipo-battery-with-ec5-plug.html | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories | DISCHARGE RATE:90C CONTINUAL/180C BURST,CHARGE RATE:5C MAX |  | BATTERY | NO MODIFIER | TYPE | LIPO | VOLTAGE RATING | 11.1 V | CAPACITY | 9500 MAH | SIZE DESIGNATION |  | SIZE | 32X48X168.2 MM | CONNECTION TYPE | EC5 PLUG | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1055919 | 1055919 |  |  |  | ERSA | M | 1600 | 1609793GZPCLNT100 | EA |  | BATTERY;PREMIUM REPLACEMENT,CRTG,APCRBC6 | BATERIA; | BATTERY;TYPE:PREMIUM REPLACEMENT,CARTRIDGE,SIZE:,ADDITIONAL FEATURES EN:APCRBC6 | BATERIA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | APCRBC6 | [12 empty] | APC | RBC6 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.apc.com/in/en/product/RBC6/apc-replacement-battery-cartridge-vrla-battery-11ah-12vdc-2year-warranty/ | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories |  | BATTERY TYPE:LEAD-ACID,COLOR:BLACK,TEMPERATURE RATING:0 TO 40 DEG C | CARTRIDGE | NO MODIFIER | TYPE | PREMIUM REPLACEMENT BATTERY | SIZE | 15.2 WDX9.4 HTX19.6 DP CM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1058114 | 1058114 |  |  |  | ERSA | M | 1600 | 1585261GZPCLNT100 | EA |  | BATTERY;RECHARGABLE,600,PN:600-BAT-L-2 | BATERIA; | BATTERY;TYPE:RECHARGABLE,SIZE:600,ADDITIONAL FEATURES EN:PN:600-BAT-L-2,ELECTROLYTE: LITHIUM | BATERIA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | EVIU8760058 | [12 empty] | OLYMPUS | 600-BAT-L-2 | METAL MANUFACTURES PTY LTD | EVIU8760058 | [14 empty] | https://www.superindotech.com/new-olympus-epoch-600-ultrasonic-flaw-detector---sale | [9 empty] | CLEANSED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 600 MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1058306 | 1058306 |  |  |  | ERSA | M | 5100 | 1588533GZPCLNT100 | EA |  | BATTERY;LITIUEM,2850t,IP68 | BATERIA; | BATTERY;TYPE:LITIUEM,SIZE:2850t,ADDITIONAL FEATURES EN:IP68 | BATERIA; |  |  |  | 1071303 @@ BTW COMMUNICATIONS PTY LTD | PMNN4809A | [12 empty] | MOTOROLA | PMNN4809A | BTW COMMUNICATIONS PTY LTD | [15 empty] | https://www.radioparts.com/motorola-pmnn4809a | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | DEGREE OF PROTECTION:IP68 | COLOR:BLACK | BATTERY | RECHARGEABLE | TYPE | HIGH DENSITY LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION | 2850T | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 | MFR SITE NOT OPENING | 1058416 | 1058416 |  |  |  | ERSA | M | 4090 | 1608027GZPCLNT100 | EA |  | BATTERY;LITHION,60V,2.5 AH,135 WH | BATERIA; | BATTERY;TYPE:LITHION,60V,2.5 AH,SIZE:135 WH | BATERIA; |  |  |  | 1068391 @@ BOSS | 81825 | [10 empty] | BOSS | 81825 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111711 Lithium batteries |  |  | BATTERY | DRY CELL | TYPE | LITHIUM-ION | VOLTAGE RATING | 60 V | CAPACITY | 2.5 AH | SIZE DESIGNATION | 135WH | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1059564 | 1059564 |  |  |  | ERSA | M | 1600 | 1584025GZPCLNT100 | EA |  | BATTERY;LITHIUM-ION,24 V,WT:480MM,20AH | BATERIA;24 V | BATTERY;TYPE:LITHIUM-ION,VOLTAGE RATING:24 V,SIZE:WT:480MM,ADDITIONAL FEATURES EN:20AH,M62,UNIT,F/ELECTRIC PALLET JACK | BATERIA;VOLTAJE:24 V |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BATEL20-C | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | BATEL20-C | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111711 Lithium batteries | FOR M62 UNIT,ELECTRIC PALLET JACK |  | BATTERY | DRY CELL | TYPE | LITHIUM-ION | VOLTAGE RATING | 24 V | CAPACITY | 20 AH | SIZE DESIGNATION |  | SIZE | 480 MM | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1102086 | 1102086 |  |  |  | ERSA | M | 4090 | 1505937GZPCLNT100 | EA |  | BATTERY;MIM009 | BATTERY;MIM009 | BATTERY;ADDITIONAL FEATURES:MIM009 |  |  |  |  | 1068930 @@ WIRING HARNESSES AUSTRALIA | MIM009 | [10 empty] | WIRING HARNESSES AUSTRALIA | MIM009 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1102087 | 1102087 |  |  |  | ERSA | M | 4090 | 1505935GZPCLNT100 | EA |  | BATTERY;MIM032 | BATTERY;MIM032 | BATTERY;ADDITIONAL FEATURES:MIM032 |  |  |  |  | 1068930 @@ WIRING HARNESSES AUSTRALIA | MIM032 | [10 empty] | WIRING HARNESSES AUSTRALIA | MIM032 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | BATTERY | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1150171 | 1150171 |  |  |  | ERSA | M | 5915 | 1526934GZPCLNT100 | EA |  | BATTERY;LITHIUM,12 V,140 AH,,AL-12.8-140 | BATTERY;LITHIUM,12 V,140 AH,,AL-12.8-140 | BATTERY;ADDITIONAL FEATURES:LITHIUM,12 V,140 AH,,AL-12.8-140 |  |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | AL-12.8-140 | [12 empty] | ENIRGI | AL-12.8-140 | ATLAS BATTERIES MOUNT ISA | [15 empty] | https://enirgipowerstorage.com.au/our-brands/enirgi-advance-lithium-15 | [9 empty] | ENRICHED | 26111711 Lithium batteries | VOLTAGE RATING:12 V |  | BATTERY | STORAGE | TYPE | DEEP CYCLE,LITHIUM | ELECTROLYTE |  | CAPACITY | 140 AH | SHELF LIFE |  | TERMINAL TYPE | M8 | TEMPERATURE RATING | 0 TO 40 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | PLASTIC | OVERALL SIZE | 328 LGX172 WDX212 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO9001,ISO14001,ISO45001,UL1642,UN38.3 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1154383 | 1154383 |  |  |  | ERSA | M | 4005 | 1514176GZPCLNT100 | EA |  | BATTERY;M12 6.0AH CARTO,MIWM12B6 | BATTERY;M12 6.0AH CARTO,MIWM12B6 | BATTERY;ADDITIONAL FEATURES:M12 6.0AH CARTO,MIWM12B6 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | MIWM12B6 | [12 empty] | MILWAUKEE ELECTRIC TOOL | M12B6 | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/m12-batteries/M12B6.html | https://sydneytools.com.au/product/milwaukee-m12b6-12v-6-0ah-li-ion-cordless-red-lithium-battery | [8 empty] | ENRICHED | 26111710 Product specific battery packs | CARTO,PLATFORM:M12 |  | BATTERY PACK | NO MODIFIER | TYPE | REDLITHIUM-ION | VOLTAGE RATING | 12 V | CAPACITY | 6 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 90 LGX70 WDX120 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186595 | 1186595 |  |  |  | ERSA | M | 4010 | 1552612GZPCLNT100 | EA | 3000317 | BATTERY;MILW,M18HB12,M18 RED LITHIUM HIG | BATERIA;MILW,M18HB12 | BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18HB12,ADDITIONAL FEATURES EN:M18 RED LITHIUM HIGH OUTPUT 12.0AH | BATERIA;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18HB12 |  | MILWAUKEE ELECTRIC TOOL | M18HB12 | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | M18HB12 | 1072013 @@ METAL MANUFACTURES PTY LTD | MIWM18HB12 | [10 empty] | MILWAUKEE ELECTRIC TOOL | M18HB12 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/m18-batteries/M18HB12.html | https://www.totaltools.com.au/126830-milwaukee-m18-redlithium-ion-high-output-12-0ah-battery-pack-m18hb12-8hb12 | [8 empty] | ENRICHED | 26111710 Product specific battery packs | PLATFORM:M18 |  | BATTERY PACK | NO MODIFIER | TYPE | HIGH-OUTPUT,REDLITHIUM-ION | VOLTAGE RATING | 18 V | CAPACITY | 12 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 170 LGX110 WDX105 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1186599 | 1186599 |  |  |  | ERSA | M | 4010 | 1552608GZPCLNT100 | EA | 3000317 | BATTERY;MILW,M12B6,M12 6.0AH | BATERIA;MILW,M12B6 | BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12B6,ADDITIONAL FEATURES EN:M12 6.0AH | BATERIA;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12B6 |  | MILWAUKEE ELECTRIC TOOL | M12B6 | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | M12B6 | 1068652 @@ J BLACKWOOD & SONS | 3683432 | [10 empty] | MILWAUKEE ELECTRIC TOOL | M12B6 | MOUNT ISA MINING SUPPLIES P/L | [11 empty] | J BLACKWOOD & SONS | 3683432 |  |  | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/m12-batteries/M12B6.html | https://sydneytools.com.au/product/milwaukee-m12b6-12v-6-0ah-li-ion-cordless-red-lithium-battery ¦ https://www.blackwoods.com.au/power-tools/cordless-power-tools/cordless-battery-packs-milwaukee/battery-6-0ah-milwaukee/p/03683432 | [8 empty] | ENRICHED | 26111710 Product specific battery packs | PLATFORM:M12 |  | BATTERY PACK | NO MODIFIER | TYPE | REDLITHIUM-ION | VOLTAGE RATING | 12 V | CAPACITY | 6 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 90 LGX70 WDX120 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1187374 | 1187374 |  |  |  | ERSA | M | 1600 | 1615517GZPCLNT100 | EA |  | BATTERY;LIPO,11.1 V,8000 MAH,C | BATERIA;,C | BATTERY;TYPE:LIPO,VOLTAGE RATING:11.1 V,CAPACITY:8000 MAH,SIZE DESIGNATION:C,SIZE:158X47X34MM,ADDITIONAL FEATURES EN:GENS ACE, 100C 3S1P,W/EC5-BASHING SERIES | BATERIA;DENOMINACION TAMAÃ‘O:C |  |  |  | 1070129 @@ HAYMANS ELECTRICAL (SERVICES) | HOBGEA8K3S100E5 | [12 empty] | GENS ACE | GEA8K3S100E5 | HAYMANS ELECTRICAL (SERVICES) | HOBGEA8K3S100E5 | [14 empty] | https://www.gensace.de/gens-ace-8000mah-11-1v-100c-3s1p-lipo-battery-pack-with-ec5-bashing-series.html | https://www.bigboyswithcooltoys.ca/products/ga-b-100c-8000-3s1p-ec5-gens-ace-8000mah-3s1p-11-1v-100c-lipo-hard-case | [8 empty] | ENRICHED | 26111710 Product specific battery packs | SIZE DESIGNATION:C,PARALLEL:1P,C/W EC5-BASHING SERIES | WIRE GAUGE:10 AWG | BATTERY PACK | NO MODIFIER | TYPE | LIPO | VOLTAGE RATING | 11.1 V | CAPACITY | 8000 MAH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING | 100C | TERMINAL TYPE |  | SIZE | 158 LGX47 WDX34 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-03 |  | 1189849 | 1189849 |  |  |  | ERSA | M | 1600 | 1575420GZPCLNT100 | EA |  | BATTERY;METABO,18V,8AH,625369000 | BATERIA; | BATTERY;TYPE:METABO,SIZE:18V,8AH,ADDITIONAL FEATURES EN:625369000,PTNO:625369000 | BATERIA;,PTNO:625369000 |  |  | 625369000 | 1068740 @@ METAL MANUFACTURES PTY LTD | MET62536900 | [12 empty] | METABO | 625369000 | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.metabo.com/au/en/accessories/accessories-for-cordless-machines/battery-packs/lihd/lihd-battery-pack-18-v-8-0-ah-625369000.html | [9 empty] | ENRICHED | 26111710 Product specific battery packs | ENERGY:144 WHR |  | BATTERY PACK | NO MODIFIER | TYPE | LITHIUM-ION HIGH DENSITY | VOLTAGE RATING | 18 V | CAPACITY | 8 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed