## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1015886 | 1015886 |  |  |  | ERSA | M | 1600 | 1616785GZPCLNT100 | EA |  | CLAMP;MAIN STRAIN,2.5KN,F/2X6-4X35MM CBL | ABRAZADERA; | CLAMP;TYPE:MAIN STRAIN,CAPACITY:2.5KN,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:F/2X6-4X35MM CBL,BRAND:SICAME,PN:PC63F27A | ABRAZADERA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | RNJPC63F27A | [12 empty] | SICAME | RNJPC63F27A | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.rexel.com.au/are/category/Cable-Management/Cable-Support/Bracket-for-cable-support-system/STRAIN-CLAMP-SERVICE-WITH-SAFETY-CLIP-EYELET/RNJPC63F27A/p/12094462 | [9 empty] | Enriched | 26121600 Electrical cable and accessories | CAPACITY:2.5 KN,FOR 2X6 TO 4X35 MM CABLE | C/W SAFETY CLIP/EYELET | CLAMP | CABLE | TYPE | MAIN STRAIN | DIAMETER |  | MATERIAL | STEEL/PLASTIC | MOUNTING TYPE |  | AFFIXING METHOD |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1042134 | 1042134 | 1419011 | AU_QM_000265020 |  | ERSA | M | 5915 | 1419011GZPCLNT100 | EA |  | CLAMP;BESSEY LEVER,400 MM,STL,8500 N | CLAMP;BESSEY LEVER,400 MM,STL,8500 N | CLAMP;TYPE:BESSEY LEVER,SIZE:400 MM,MATERIAL:STEEL,CLAMPING PRESSURE:8500 N,ADDITIONAL FEATURES EN:ALL QUOTATION NUMBER . 9032980188 |  | CLAMP;BESSEY LEVER,400 MM,STL,8500 NCLAMP;BESSEY LEVER,400MM,STL,8500N,ALL |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | BLA08100643 | [10 empty] | METAL MANUFACTURES PTY LTD | BLA08100643 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | ALL QUOTATION NUMBER:9032980188 |  | CLAMP | NO MODIFIER | TYPE | BESSY LEVER | CAPACITY | 8500 N | SIZE | 400 MM | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1050846 | 1050846 |  |  |  | ERSA | M | 4090 | 1577141GZPCLNT100 | EA |  | CLAMP,LIFTG;2T 0-25 MM,UNIVSL,GRAB PLATE | ABRAZADERA ELEVA; | CLAMP,LIFTING;SIZE:2T 0-25 MM,ADDITIONAL FEATURES EN:UNIVERSAL,GRAB PLATE | ABRAZADERA ELEVACION; |  |  |  | 1068502 @@ ATOM SUPPLY | 91290084 | [26 empty] | ATOM SUPPLY | 91290084 |  |  | https://www.atom.com.au/plate-clamp-universal-lifting-2t-0-25mm-91290084 | [9 empty] | Enriched | 24101648 Plate lifting clamp |  |  | CLAMP | LIFTING | TYPE | UNIVERSAL,GRAB PLATE | CLAMPING CAPACITY | 2 TON | SIZE | 0 TO 25 MM JAW OPENING | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | GRIP TYPE |  | CLOSING TYPE |  | OPENING TYPE |  | EYE SIZE |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1050966 | 1050966 |  |  |  | ERSA | M | 4090 | 1578381GZPCLNT100 | EA |  | CLAMP;GHT63,ARNGMNT | ABRAZADERA; | CLAMP;TYPE:GHT63,CAPACITY:,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:ARRANGEMENT | ABRAZADERA; |  |  |  | 1069292 @@ C R KENNEDY & COMPANY PTY LTD | 767880 | [12 empty] | C R KENNEDY & COMPANY PTY LTD | 767880 | [16 empty] | https://survey.crkennedy.com.au/products/lg767880/leica-ght63-pole-clamp-for-field-controller-holder | [9 empty] | Enriched | 31162900 Clamps | MODEL:GHT63,ARRANGEMENT |  | CLAMP | NO MODIFIER | TYPE | POLE | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1054355 | 1054355 |  |  |  | ERSA | M | 2240 | 1615869GZPCLNT100 | EA |  | CLAMP;FLNG,2 IN,STL | ABRAZADERA; | CLAMP;TYPE:FLANGE,CAPACITY:,SIZE:2 IN,MATERIAL:STEEL | ABRAZADERA; |  |  |  | 1068342 @@ ISADRAULICS | A2FS-32 | [10 empty] | ISADRAULICS | A2FS-32 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | FLANGE | CAPACITY |  | SIZE | 2 IN | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1054360 | 1054360 |  |  |  | ERSA | M | 2240 | 1615884GZPCLNT100 | EA |  | CLAMP;FLNG,1/12 IN,STL | ABRAZADERA; | CLAMP;TYPE:FLANGE,CAPACITY:,SIZE:1/12 IN,MATERIAL:STEEL | ABRAZADERA; |  |  |  | 1068342 @@ ISADRAULICS | A2FS-24 | [10 empty] | ISADRAULICS | A2FS-24 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | FLANGE | CAPACITY |  | SIZE | 1-1/2 IN | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1060246 | 1060246 |  |  |  | ERSA | M | 1600 | 1616109GZPCLNT100 | EA |  | CLAMP;END MODULE,35 MM,AL | ABRAZADERA; | CLAMP;TYPE:END MODULE,CAPACITY:,SIZE:35 MM,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:W/Z-MODULE BOLT,BRAND:CLENERGY | ABRAZADERA; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CLNER-EC-ST35 | [12 empty] | CLENERGY | CLNER-EC-ST35 | METAL MANUFACTURES PTY LTD | [15 empty] | https://awm.mmem.com.au/clner-ec-st35 | [9 empty] | Cleansed | 31162900 Clamps | C/W Z-MODULE BOLT |  | CLAMP | NO MODIFIER | TYPE | END MODULE | CAPACITY |  | SIZE | 35 MM | MATERIAL | ALUMINIUM | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1060247 | 1060247 |  |  |  | ERSA | M | 1600 | 1616110GZPCLNT100 | EA |  | CLAMP;MID,35 MM,AL,BRAND:CLENERGY | ABRAZADERA; | CLAMP;TYPE:MID,CAPACITY:,SIZE:35 MM,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:BRAND:CLENERGY | ABRAZADERA; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CLNER-IC-ST35 | [12 empty] | CLENERGY | CLNER-IC-ST35 | METAL MANUFACTURES PTY LTD | [15 empty] | https://tle.mmem.com.au/clner-ic-st35 | [9 empty] | Enriched | 31162900 Clamps |  | COLOR/FINISH:GREY | CLAMP | NO MODIFIER | TYPE | INTER MID | CAPACITY |  | SIZE | 35 MM | MATERIAL | ALUMINIUM | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1060545 | 1060545 |  |  |  | ERSA | M | 2620 | 1604929GZPCLNT100 | EA |  | CLAMP;ALLIGATOR/EARTH,500 AMP,LRG | ABRAZADERA; | CLAMP;TYPE:ALLIGATOR/EARTH,CAPACITY:500 AMP,SIZE:LARGE,MATERIAL:STEEL/COOPER | ABRAZADERA; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | DORC251 | [10 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | DORC251 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39121613 Grounding devices or assemblies | CAPACITY:500 AMP |  | CLAMP | GROUNDING | TYPE | ALLIGATOR/EARTH | CABLE SIZE |  | MATERIAL | STEEL/COOPER | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1066684 | 1066684 | 1457028 | AU_QM_001293497 |  | ERSA | M | 4090 | 1457028GZPCLNT100 | EA |  | CYLINDER CLAMP | CYLINDER CLAMP | CLAMP: CYLINDER CLAMP FEED FRAME ASSY BOART DIAMOND DRILL |  | CLAMP: CYLINDER CLAMP |  |  | 1068617 @@ BOART LONGYEAR PTY LTD | 690136 | [10 empty] | BOART LONGYEAR PTY LTD | 690136 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | CYLINDER CLAMP FEED FRAME ASSEMBLY,FOR DIAMOND DRILL |  | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1104682 | 1104682 |  |  |  | ERSA | M | 4090 | 1505964GZPCLNT100 | EA |  | CLAMP;CC6-35C | CLAMP;CC6-35C | [5 empty] | 1068632 @@ PIRTEK (TOWNSVILLE) P/L | CC6-35C | [12 empty] | PIRTEK (TOWNSVILLE) P/L | CC6-35C | [16 empty] | https://www.pirtek.com.au/-/media/feature/products/sect-e-tube-clamps-rev-g-2-hyperlinked.pdf | [9 empty] | Enriched | 31162900 Clamps |  |  | CLAMP | TUBE | TYPE | STANDARD | TUBE SIZE | 35 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE | BOTTOM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1104683 | 1104683 |  |  |  | ERSA | M | 4090 | 1505962GZPCLNT100 | EA |  | CLAMP;HC50 | CLAMP;HC50 | [5 empty] | 1071990 @@ ADVANCED IRRIGATION SERVICES | HC50 | [12 empty] | KURIYAM | HC-50 | ADVANCED IRRIGATION SERVICES | [15 empty] | https://products.kuriyama.com/item/lings-and-accessories-universal-air-hose-couplings/coupling-2-bolt-clamp-1/hc-50 | [9 empty] | Enriched | 31162906 Hose or pipe clamps |  |  | CLAMP | HOSE | TYPE |  | HOSE SIZE | 1 TO 1-1/8 IN | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE | 2 INTERLOCKING BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CALIFORNIA PROPOSITION 65 | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1104750 | 1104750 |  |  |  | ERSA | M | 2200 | 1495509GZPCLNT100 | EA |  | CLAMP;10,000 CFM,PORTABLE FAN,1302-6166 | CLAMP;10,000 CFM,PORTABLE FAN,1302-6166 | [5 empty] | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 1302-6166 | [12 empty] | BURWELL TECHNOLOGIES PTY LTD | 1302-6166 | [16 empty] | https://www.burwell.com.au/assets/volumes/downloads/PRODUCT-GUIDE-2020_OCTOBER.pdf | [9 empty] | Cleansed | 31162906 Hose or pipe clamps | FOR 10000 CFM PORTABLE FAN |  | CLAMP | BAND | TYPE |  | HOLDING CAPACITY |  | MATERIAL |  | LENGTH |  | WIDTH |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1104754 | 1104754 |  |  |  | ERSA | M | 2200 | 1495383GZPCLNT100 | EA |  | CLAMP;BEAM CLAMP,C/W U BOLTS F,EZYE2786H | CLAMP;BEAM CLAMP,C/W U BOLTS F,EZYE2786H | [5 empty] | 1071835 @@ REXEL AUSTRALIA | EZYE2786H | [10 empty] | REXEL AUSTRALIA |  | EZYSTRUT | E2786H | [16 empty] | https://www.ezystrut.com.au/products/beam-clamps/e2786/e2786h/ | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Tray/Cable-Tray-Ladder-Clamp/CLAMP-BEAM-CLAMP-W-U-BOLT-DBL-STRUT-HDG/p/EZYE2786HD09 | [8 empty] | Enriched | 31162905 Beam clamps | C/W U-BOLT |  | CLAMP | BEAM | TYPE |  | CAPACITY | 407 KG | MOUNTING LOCATION |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | HOT DIPPED GALVNIZED | MOUNTING TYPE |  | SIZE | 52 LGX35 WD MM | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NATA,AS/NZS4680,ISO1461 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1112375 | 1112375 | 1428730 | AU_QM_000532861 |  | ERSA | M | 5915 | 1428730GZPCLNT100 | EA |  | CLAMP: | CLAMP: | CLAMP: |  | CLAMP: |  |  | 1069358 @@ HAULMARK TRAILERS (AUSTRALIA) | 610 | [10 empty] | HAULMARK TRAILERS (AUSTRALIA) | 610 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1140208 | 1140208 | 1363942 | AU_QM_000164459 |  | ERSA | M | 4700 | 1363942GZPCLNT100 | EA |  | CLAY GUN TAPHOLE DRILL FRONT CLAMP | CLAY GUN TAPHOLE DRILL FRONT CLAMP | CLAMP: CLAY GUN TAPHOLE DRILL FRONT CLAMP MECHANISM - COMPLETE;DANIELI CORUS REF: 2983021/01/016; CU ISASMELT FURNACE TAPPING/DRILL UNIT |  | CLAMP: CLAY GUN TAPHOLE DRILL FRONT CLAMP |  |  | 1068756 @@ QUINTA RADDISON LTD | 1363942 | [10 empty] | QUINTA RADDISON LTD | 1363942 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | COMPLETE,DANIELI CORUS REF:2983021/01/016,CU ISASMELT FURNACE TAPPING/DRILL UNIT |  | CLAMP | NO MODIFIER | TYPE | CLAY GUN TAPHOLE DRILL FRONT | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1149773 | 1149773 |  |  |  | ERSA | M | 4200 | 1495220GZPCLNT100 | EA |  | CLAMP,TUBE;TOOTH,0.569/0.651,602-646 | CLAMP,TUBE;TOOTH,0.569/0.651,602-646 | CLAMP,TUBE;ADDITIONAL FEATURES:TOOTH,0.569/0.651,602-646 |  |  |  |  | 1071978 @@ LECO AUSTRALIA PTY LTD | 1495220 | [10 empty] | LECO AUSTRALIA PTY LTD | 1495220 |  |  |  | 602-646 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | TUBE | TYPE | TOOTH | TUBE SIZE | 9/16 TO 21/32 IN | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1149872 | 1149872 |  |  |  | ERSA | M | 2200 | 1494965GZPCLNT100 | EA |  | CLAMP;PLATE CLAMP,RIGMATE,2T,18102 | CLAMP;PLATE CLAMP,RIGMATE,2T,18102 | CLAMP;ADDITIONAL FEATURES:PLATE CLAMP,RIGMATE,2T,18102 |  |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 261200 | [10 empty] | ALLIANCE SAFETY EQUIPMENT P/L |  | BEAVER | 261200 | RIGMATE | 18102 | [14 empty] | https://www.gasweld.com.au/beaver-2t-0-25mm-universal-plateclamp-261200-bea | [9 empty] | Enriched | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | UNIVERSAL PLATE | CAPACITY | 2 TON | SIZE | 0 TO 25 MM | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 4991 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1149976 | 1149976 |  |  |  | ERSA | M | 2620 | 1530666GZPCLNT100 | EA |  | CLAMP;F TYPE,SCREWED,300X140,670,ECG30CS | CLAMP;F TYPE,SCREWED,300X140,670,ECG30CS | CLAMP;ADDITIONAL FEATURES:F TYPE,SCREWED,300X140,670,ECG30CS |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | ECG30CS | [10 empty] | WELDERS PRO SHOP |  | EHOMA | ECG30CS | [16 empty] | https://www.boc.com.au/shop/en/au/clamp-f-type-general-duty-300-x-140-ecg30cs | https://sydneytools.com.au/product/ehoma-ecg30cs-300mm-x-140mm-general-purpose-fclamp | [8 empty] | Enriched | 31162900 Clamps |  | SPAN:300 MM,RAIL SIZE:25X12 MM | CLAMP | F | TYPE | GENERAL PURPOSE,SCREWED | CLAMPING CAPACITY | 670 KG | THROAT DEPTH | 140 MM | HOLDING CAPACITY |  | BODY MATERIAL | TEMPERED AND HOT FORGED STEEL | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1149977 | 1149977 |  |  |  | ERSA | M | 2620 | 1530665GZPCLNT100 | EA |  | CLAMP;F TYPE,SCREWED,250X120,550,ECG25CS | CLAMP;F TYPE,SCREWED,250X120,550,ECG25CS | CLAMP;ADDITIONAL FEATURES:F TYPE,SCREWED,250X120,550,ECG25CS |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | ECG25CS | [10 empty] | WELDERS PRO SHOP |  | EHOMA | ECG25CS | [16 empty] | https://www.boc.com.au/shop/en/au/clamp-f-type-general-duty-250-x-120-ecg25cs | https://sydneytools.com.au/product/ehoma-ecg25cs-250mm-x-120mm-general-purpose-fclamp | [8 empty] | Enriched | 31162900 Clamps |  | SPAN:250 MM,RAIL SIZE:22X10.5 MM | CLAMP | F | TYPE | GENERAL PURPOSE,SCREWED | CLAMPING CAPACITY | 550 KG | THROAT DEPTH | 120 MM | HOLDING CAPACITY |  | BODY MATERIAL | TEMPERED AND HOT FORGED STEEL | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1150347 | 1150347 |  |  |  | ERSA | M | 2240 | 1480685GZPCLNT100 | EA |  | CLAMP,SAFETY,4016-05R | CLAMP,SAFETY,4016-05R | CLAMP,SAFETY,4016-05R |  |  |  |  | 1070451 @@ SPECIALISED FORCE PTY LTD | 1480685 | [10 empty] | SPECIALISED FORCE PTY LTD | 1480685 |  |  |  | 4016-05R | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | SAFETY | TYPE |  | CLAMPING RANGE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | NUMBER OF CHAIN LINKS |  | NUMBER OF DIES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1150348 | 1150348 |  |  |  | ERSA | M | 2240 | 1480684GZPCLNT100 | EA |  | CLAMP,SAFETY,4016-05L | CLAMP,SAFETY,4016-05L | CLAMP,SAFETY,4016-05L |  |  |  |  | 1070451 @@ SPECIALISED FORCE PTY LTD | 1480684 | [10 empty] | SPECIALISED FORCE PTY LTD | 1480684 |  |  |  | 4016-05L | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | SAFETY | TYPE |  | CLAMPING RANGE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | NUMBER OF CHAIN LINKS |  | NUMBER OF DIES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1150349 | 1150349 |  |  |  | ERSA | M | 2240 | 1480683GZPCLNT100 | EA |  | CLAMP,SAFETY,4016-03 | CLAMP,SAFETY,4016-03 | CLAMP,SAFETY,4016-03 |  |  |  |  | 1070451 @@ SPECIALISED FORCE PTY LTD | 1480683 | [10 empty] | SPECIALISED FORCE PTY LTD | 1480683 |  |  |  | 4016-03 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | SAFETY | TYPE |  | CLAMPING RANGE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | NUMBER OF CHAIN LINKS |  | NUMBER OF DIES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1151716 | 1151716 | 1474315 | AU_QM_000144532 |  | ERSA | M | 4090 | 1474315GZPCLNT100 | EA |  | CLAMP;GEOGRAPH,55018345GEO | CLAMP;GEOGRAPH,55018345GEO |  |  | CLAMP: CLAMP - HOSE BRACKET;CABLE ASSY;TAMROCK |  |  | 1069531 @@ GEOGRAPHE ENTERPRISES PTY LTD | 1474315 | [10 empty] | GEOGRAPHE ENTERPRISES PTY LTD | 1474315 |  |  | TAMROCK | [15 empty] | URL Not Found | [9 empty] | Cleansed | 31162906 Hose or pipe clamps | C/W CABLE ASSEMBLY |  | CLAMP | HOSE | TYPE | BRACKET | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1151763 | 1151763 | 1474244 | AU_QM_000132493 |  | ERSA | M | 5910 | 1474244GZPCLNT100 | EA |  | CLAMP,PIPE,ANCHOR;COOPFLID,514202127 | CLAMP,PIPE,ANCHOR;COOPFLID,514202127 |  |  | CLAMP,PIPE,ANCHOR:1/2 IN; CLAMP;STANDARD;ELONGATED;;BOLT O |  |  | 1068621 @@ COOPER FLUID SYSTEMS | 514202127 | [12 empty] | COOPER FLUID SYSTEMS | 514202127 | [16 empty] | https://www.atom.com.au/sp-2127-pp-dp-as-clamp-286732 | [9 empty] | Cleansed | 31162906 Hose or pipe clamps |  |  | CLAMP | PIPE | TYPE | ANCHOR,STANBDARD,ELONGATED | TUBE SIZE | 1/2 IN | LOAD CAPACITY |  | MOUNTING SIZE | BOLT | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1152807 | 1152807 | 1475097 | AU_QM_000190182 |  | ERSA | M | 4005 | 1475097GZPCLNT100 | EA |  | CLAMP;PERMAAUS,BC65 | CLAMP;PERMAAUS,BC65 |  |  | CLAMP: STAR VARIO;BEAM CLAMP;65MM;304 S/S;W/SET |  |  | 1068622 @@ PERMA INDUSTRIAL DIST P/L | BC65 | [12 empty] | PERMA INDUSTRIAL DIST P/L | BC65 | [16 empty] | https://www.perma.com.au/accessories/brackets/ | [9 empty] | Enriched | 31162905 Beam clamps | BRAND:STAR VARIO | C/W SCREW,SET | CLAMP | BEAM | TYPE |  | CAPACITY |  | MOUNTING LOCATION |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MOUNTING TYPE |  | SIZE | 65 MM | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1152808 | 1152808 | 1475096 | AU_QM_000190180 |  | ERSA | M | 4005 | 1475096GZPCLNT100 | EA |  | CLAMP;PERMAAUS,BC30 | CLAMP;PERMAAUS,BC30 |  |  | CLAMP: STAR VARIO;BEAM CLAMP;30MM;304 S/S;W/SET |  |  | 1068622 @@ PERMA INDUSTRIAL DIST P/L | BC30 | [12 empty] | PERMA INDUSTRIAL DIST P/L | BC30 | [16 empty] | https://www.perma.com.au/accessories/brackets/ | [9 empty] | Enriched | 31162905 Beam clamps | BRAND:STAR VARIO | C/W SCREW,SET | CLAMP | BEAM | TYPE |  | CAPACITY |  | MOUNTING LOCATION |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MOUNTING TYPE |  | SIZE | 30 MM | THREAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1155641 | 1155641 |  |  |  | ERSA | M | 3750 | 1505618GZPCLNT100 | EA |  | CLAMP;SAN,SAT300046 | CLAMP;SAN,SAT300046 | CLAMP;ADDITIONAL FEATURES:SAN,SAT300046 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | SAT300046 | [10 empty] | SANDVIK MINING & CONSTRUCTION | SAT300046 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1155667 | 1155667 |  |  |  | ERSA | M | 2200 | 1494995GZPCLNT100 | EA |  | CLAMP;QUICK ACTION CLAMP HEAVY,91900078 | CLAMP;QUICK ACTION CLAMP HEAVY,91900078 | CLAMP;ADDITIONAL FEATURES:QUICK ACTION CLAMP HEAVY,91900078 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 91900078 | [26 empty] | ATOM SUPPLY | 91900078 |  |  | https://www.atom.com.au/all-steel-heavy-duty-fitter-clamp-400mm-91900078 | [9 empty] | Enriched | 31162916 Quick action clamp |  | JAW OPENING:400 MM | CLAMP | F | TYPE | HEAVY DUTY,FITTER | CLAMPING CAPACITY |  | THROAT DEPTH | 175 MM | HOLDING CAPACITY |  | BODY MATERIAL | HARDENED AND SPRING TEMPERED STEEL BAR | ARM MATERIAL |  | SCREW MATERIAL |  | SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1169585 | 1169585 | 1451655 | AU_QM_001160340 |  | ERSA | M | 4090 | 1451655GZPCLNT100 | EA |  | CLAMP;CYCLONE PROFILE,SS | CLAMP;CYCLONE PROFILE,SS | CLAMP;TYPE:CYCLONE PROFILE,MATERIAL:STAINLESS STEEL,MNFR:01)MULTOTEC,PTNO:01)PC106 |  | CLAMP: CYCLONE PROFILE CLAMP; |  |  | 1068642 @@ MULTOTEC PTY LTD | PC106 | [12 empty] | MULTOTEC PTY LTD | PC106 | [16 empty] | https://www.pneuparts.com/en/item/PC106 | [9 empty] | Enriched | 31162906 Hose or pipe clamps |  |  | CLAMP | PIPE | TYPE | CYCLONE PROFILE | TUBE SIZE | 100 TO 106 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1174174 | 1174174 | 1441217 | AU_QM_000986468 |  | ERSA | M | 4090 | 1441217GZPCLNT100 | EA |  | CLAMP,LP;NRMT,54916650,EXHAUST PIPE BOW | CLAMP,LP;NRMT,54916650,EXHAUST PIPE BOW | CLAMP,LOOP;MNFR:NORMET,PTNO:54916650,ADDITIONAL FEATURES EN:EXHAUST PIPE BOW |  | CLAMP,LOOP: NT100 EXHAUST PIPE BOW CLAMP; |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 25183688 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 54916650 | [8 empty] | SANDVIK MINING & CONSTRUCTION | 25183688 |  |  | NORMET ASIA PACIFIC PTY LTD | 54916650 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 31162906 Hose or pipe clamps |  |  | CLAMP | LOOP | TYPE | EXHAUST PIPE BOW | CLAMPING RANGE |  | WIDTH |  | FASTENING DEVICE TYPE |  | MATERIAL |  | SHAPE STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1181021 | 1181021 |  |  |  | ERSA | M | 5920 | 1568428GZPCLNT100 | EA | 3000559 | CLAMP;SUMT,OML 58022795,PR,18MM,(6) | ABRAZADERA;SUMT,OML 58022795 | CLAMP;MNFR:SUMITOMO MACHINERY CORP OF AMERICA,PTNO:OML 58022795,ADDITIONAL FEATURES EN:PAIR,18MM,(6) | ABRAZADERA;MNFR:SUMITOMO MACHINERY CORP OF AMERICA,PTNO:OML 58022795 |  | SUMITOMO MACHINERY CORP OF AMERICA | OML 58022795 | 1069692 @@ SUMITONE CARBIDE AUST. | OML 58022795 | [12 empty] | OML | 58022795 | SUMITOMO MACHINERY CORP OF AMERICA | [15 empty] | https://www.premiermachinetools.ie/wp-content/uploads/2020/05/OML-IMG_EN_web.pdf | [9 empty] | Enriched | 31162900 Clamps |  |  | SET | NO MODIFIER | TYPE |  | CONTENTS | 6 X 18 MM PAIR OF CLAMP | NUMBER OF ITEMS | 12 | MATERIAL |  | SIZE RANGE | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1187974 | 1187974 |  |  |  | ERSA | M | 5920 | 1606979GZPCLNT100 | EA |  | CLAMP;MGNTC,55 KG,120X120X120 MM,STL | ABRAZADERA; | CLAMP;TYPE:MAGNETIC,CAPACITY:55 KG,SIZE:120X120X120 MM,MATERIAL:STEEL | ABRAZADERA; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TRARISWML | [10 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TRARISWML | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps | CAPACITY:55 KG |  | CLAMP | NO MODIFIER | TYPE | MAGNETIC | CAPACITY | 55 KG | SIZE | STEEL/COOPER | MATERIAL | STEEL | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1188827 | 1188827 |  |  |  | ERSA | M | 4090 | 1576677GZPCLNT100 | EA |  | CLAMP,GRND;MAGSWITCH,300A | ABRAZADERA TIERRA; | CLAMP,GROUNDING;ADDITIONAL FEATURES EN:MAGSWITCH,300A | ABRAZADERA TIERRA; |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | MAG8100746 | [10 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | MAG8100746 | MAGSWITCH | 8100746 | [16 empty] | https://shop.gendco.com/300-amp-ground-clamp-w-fins--1 | https://media.distributordatasolutions.com/web_magswitch/2022q2/documents/8fb56a7a26b28c8876236a56fb313d34aa3aecbe.pdf | [8 empty] | Enriched | 39121613 Grounding devices or assemblies | CURRENT RATING:300 A,MAGNET STRENGTH:90 LB,OVERALL HEIGHT:57.3 MM |  | CLAMP | GROUNDING | TYPE | FINNED MAGNETIC | CABLE SIZE |  | MATERIAL |  | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1189602 | 1189602 |  |  |  | ERSA | M | 4090 | 1575740GZPCLNT100 | EA |  | CLAMP;ERTH,500A,G TYPE,WELDCLASS | ABRAZADERA; | CLAMP;TYPE:EARTH,CAPACITY:500A,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:G TYPE,WELDCLASS | ABRAZADERA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | GWSWELP6GC500 | [10 empty] | METAL MANUFACTURES PTY LTD | GWSWELP6GC500 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39121613 Grounding devices or assemblies | BRAND:WELDCLASS,CAPACITY:500 A |  | CLAMP | GROUNDING | TYPE | EARTH,G TYPE | CABLE SIZE |  | MATERIAL |  | BOLT/SCREW SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-16 | 2023-11-06 |  | 1205580 | 1205580 |  |  |  | ERSA | M | 4090 | 271647MRM | EA |  | CLAMP:INFLATABLE SEAL | CLAMP:INFLATABLE SEAL | CLAMP:INFLATABLE SEAL |  |  |  |  | 1069056 @@ FLEXICON CORPORATION (AUSTRALIA) | 13418-12 | [10 empty] | FLEXICON CORPORATION (AUSTRALIA) | 13418-12 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 31162900 Clamps |  |  | CLAMP | NO MODIFIER | TYPE | INFLATABLE SEAL | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed