## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1012068 | 1012068 |  |  |  | ERSA | M | 1640 | 1585404GZPCLNT100 | M |  | CABLE,ELEC;FLEX,0.6/1 KV,46 A,6 MM2 | CABLE ELEC;0.6/1 KV,6 MM2,CONDCTS 3 | CABLE,ELECTRICAL;TYPE:FLEXIBLE,VOLTAGE RATING:0.6/1 KV,CURRENT RATING:46 A,CONDUCTOR SIZE:6 MM2,NUMBER OF CONDUCTORS:3,CONDUCTOR MATERIAL:TINNED COPPER,JACKET MATERIAL:POLYETHYLENE,INSULATION MATERIAL:EPR,JACKET COLOUR:BLACK,ADDITIONAL FEATURES EN:BRAND: ELCON CABLES,PTNO:ARFM3G6BM | CABLE ELECTRICO;VOLTAJE:0.6/1 KV,TAMAÃ‘O CONDUCTORES:6 MM2,NUMERO CONDUCTORES:3,COLOR FORRO:NEGRO,PTNO:ARFM3G6BM |  |  | ARFM3G6BM | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCARFM3G6BM | [12 empty] | ELCON CABLE PROCESSORS | ARFM3G6BM | CNW (MOUNT ISA) ELECT WHOLESALER | ELCARFM3G6BM | [14 empty] | https://www.learsmith.com.au/als/category/Cable/Flexible-Cable/Flexible/CABLE-POWER-RUBBER-2C%2BE-6MM-0-6-1KV/EPRARFM3G6BM/p/12023345 | [9 empty] | Enriched |  | CURRENT RATING:46 A,CONDUCTOR SIZE:6 MM2,NUMBER OF CONDUCTORS:3,CONDUCTOR MATERIAL:TINNED COPPER,JACKET MATERIAL:POLYETHYLENE,INSULATION MATERIAL:EPR,JACKET COLOUR:BLACK,ADDITIONAL FEATURES EN:BRAND: ELCON CABLES,PTNO:ARFM3G6BM |  | CABLE | ELECTRICAL | TYPE | FLEXIBLE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1035978 | 1035978 |  |  |  | ERSA | M | 1640 | 1530654GZPCLNT100 | M |  | CABLE;25MM2,4C+E,XLPE,SWA,CBL254CES500 | CABLE;25MM2,4C+E,XLPE,SWA,CBL254CES500 | CABLE;ADDITIONAL FEATURES:25MM2,4C+E,XLPE,SWA,CBL254CES500 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CBL254CES500 | [12 empty] | GENERIC | CBL254CES500 | CNW (MOUNT ISA) ELECT WHOLESALER | CBL254CES500 | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Cable-%26-Wire/Circular/CABLE-ARMOURED-25MM-4C%26ECC-SWA-500MTRS/p/CBL254CES500A06 | [9 empty] | Enriched |  |  |  | CABLE | ARMORED | TYPE | CIRCULAR | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | LENGTH | 500 M | ARMOR MATERIAL | STEEL WIRE | OUTER JACKET MATERIAL |  | CONDUCTOR MATERIAL | COPPER | VOLTAGE RATING |  | INSULATION MATERIAL | XLPE | COLOR |  | SHIELDED/UNSHIELDED PAIRS |  | TEMPERATURE RATING |  | OUTSIDE DIAMETER |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1035985 | 1035985 |  |  |  | ERSA | M | 1640 | 1529948GZPCLNT100 | M |  | CABLE,FLT;10MM,TWIN & EARTH,CBL10TEF | CABLE,FLT;10MM,TWIN & EARTH,CBL10TEF | CABLE,FLT;ADDITIONAL FEATURES:10MM,TWIN & EARTH,CBL10TEF |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CBL10TEF | [12 empty] | GENERIC | CBL10TEF | CNW (MOUNT ISA) ELECT WHOLESALER | CBL10TEF | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Cable-and-Wire/Flats/CABLE-FLAT-10MM-TWIN-%26-EARTH/p/CBL10TEFA05 | [9 empty] | Enriched |  |  |  | CABLE | FLAT | TYPE |  | NUMBER OF WAYS |  | WIDTH | 290 MM | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 10 MM2 | CORE STRANDS | 2C+E | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | PITCH |  | SHEATH MATERIAL | PVC | SHEATH COLOUR | WHITE | VOLTAGE RATING | 450 TO 750 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1125, AS/NZS 5000.2 | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036089 | 1036089 |  |  |  | ERSA | M | 1600 | 1517043GZPCLNT100 | M |  | CABLE;FLEX,4C 10MM,2,ARFM4G10BM | CABLE;FLEX,4C 10MM,2,ARFM4G10BM | CABLE;ADDITIONAL FEATURES:FLEX,4C 10MM,2,ARFM4G10BM |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARFM4G10BM | [12 empty] | ELCON | ARFM4G10BM | CNW (MOUNT ISA) ELECT WHOLESALER | ARFM4G10BM | [14 empty] | https://www.idealelectrical.com/aie/category/Cable/Flexible-Cable/Flexible/CABLE-POWER-RUBBER-3C%2BE-10MM-0-6-1KV/EPRARFM4G10BM/p/12023347 | [9 empty] | Enriched |  |  |  | CABLE | POWER | TYPE | FLEXIBLE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 10 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4C | CONDUCTOR MATERIAL | TINNED COPPER | JACKET MATERIAL | PE | INSULATION MATERIAL | RUBBER | BEND RADIUS |  | TEMPERATURE RATING | -25 TO 90 DEG C | LENGTH | 200 M | JACKET COLOR | BLACK | CERTIFICATION/STANDARD | IEC 60332-1-2:2004,EN60332-1-2-2004 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036222 | 1036222 |  |  |  | ERSA | M | 4090 | 1496225GZPCLNT100 | M |  | CABLE,ELECTRICAL;CBL503CES500 | CABLE,ELECTRICAL;CBL503CES500 | CABLE,ELECTRICAL;ADDITIONAL FEATURES:CBL503CES500 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 503CES500 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 503CES500 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CBL503CES500 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036223 | 1036223 |  |  |  | ERSA | M | 4090 | 1496223GZPCLNT100 | M |  | CABLE,ELECTRICAL;CBL353CES500 | CABLE,ELECTRICAL;CBL353CES500 | CABLE,ELECTRICAL;ADDITIONAL FEATURES:CBL353CES500 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 353CES500 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 353CES500 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CBL353CES500 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036228 | 1036228 |  |  |  | ERSA | M | 5100 | 1495408GZPCLNT100 | M |  | CABLE;FLAT,2.5MM,TWIN & EARTH,CBL2.5TEF | CABLE;FLAT,2.5MM,TWIN & EARTH,CBL2.5TEF | CABLE;ADDITIONAL FEATURES:FLAT,2.5MM,TWIN & EARTH,CBL2.5TEF |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 2.5TEF | [12 empty] | GENERIC | CBL2.5TEF | CNW (MOUNT ISA) ELECT WHOLESALER | 2.5TEF | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Cable-and-Wire/Flats/CABLE-FLAT-2-5MM-TWIN-%26-EARTH/p/CBL2.5TEFA05 | [9 empty] | Enriched |  |  | LENGTH:100 M | CABLE | FLAT | TYPE |  | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE | 2.5 MM2 | CORE STRANDS | 2C+E | CONDUCTOR MATERIAL | PLAIN ANNEALED | PITCH |  | SHEATH MATERIAL | PVC | SHEATH COLOUR | WHITE | VOLTAGE RATING | 450/750 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036257 | 1036257 | 1476322 | AU_QM_000999858 |  | ERSA | M | 1640 | 1476322GZPCLNT100 | M |  | CABLE;ELECTRICAL,CMA,4-IEH-183 | CABLE;ELECTRICAL,CMA,4-IEH-183 |  |  | CABLE,SPECIAL PURPOSE,ELECTRICAL: CUSM EMERGENCY SPARE;4 PAIR; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4-IEH-183 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 4-IEH-183 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | PACKAGE QUANTITY:4 PAIR,CUSM EMERGENCY SPARE,CMA |  | CABLE | ELECTRICAL | TYPE | SPECIAL PURPOSE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1036405 | 1036405 |  |  |  | ERSA | M | 4500 | 1529781GZPCLNT100 | M |  | CABLE,COMM;12TR,1.5M,WWC5486 12TR 1.5MM2 | CABLE,COMM;12TR,1.5M,WWC5486 12TR 1.5MM2 | CABLE,COMM;ADDITIONAL FEATURES:12TR,1.5M,WWC5486 12TR 1.5MM2 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 5486 | [12 empty] | WWC | 5486 | CNW (MOUNT ISA) ELECT WHOLESALER | 5486 | [14 empty] | https://awm.mmem.com.au/wwc5486 | [9 empty] | Enriched |  | NUMBER OF PAIRS:12 TRIAD |  | CABLE | COMMUNICATION | TYPE | INSTRUMENTATION ARMOURED | IMPEDANCE |  | DIAMETER | 26.9 MM | CONDUCTOR SIZE | 1.5 MM2 | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL | BARE COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | LENGTH |  | VOLTAGE RATING | 110 TO 150 V | TEMPERATURE RATING | -25 TO 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1055404 | 1055404 |  |  |  | ERSA | M | 1630 | 1615779GZPCLNT100 | EA |  | CABLE,EXTSN;BRAIDED FLEXIBLE,0.75MM,5 C | CABLE EXTEN; | CABLE,EXTENSION;TYPE:BRAIDED FLEXIBLE,ADDITIONAL FEATURES EN:0.75MM,5 C | CABLE EXTENSION; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCCEMC5G0.75 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ELCCEMC5G0.75 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | EXTENSION | TYPE | BRAIDED FLEXIBLE | CONDUCTOR SIZE | 0.75 MM | NUMBER OF CONDUCTORS | 5 | LENGTH |  | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1055405 | 1055405 |  |  |  | ERSA | M | 1630 | 1615780GZPCLNT100 | EA |  | CABLE,EXTSN;BRAIDED FLEXIBLE,1.5MM, 5C | CABLE EXTEN; | CABLE,EXTENSION;TYPE:BRAIDED FLEXIBLE,ADDITIONAL FEATURES EN:1.5MM, 5C | CABLE EXTENSION; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCCEMC5G1.5 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ELCCEMC5G1.5 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  |  |  | CABLE | EXTENSION | TYPE | BRAIDED FLEXIBLE | CONDUCTOR SIZE | 1.5 MM | NUMBER OF CONDUCTORS | 5 | LENGTH |  | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1055734 | 1055734 |  |  |  | ERSA | M | 1600 | 1607082GZPCLNT100 | EA |  | CABLE,F/OPT;TACTICAL PRE-TERM,SINGLE | CABLE FIBRA OPTICA;,SOLO,LG 15 M | CABLE,FIBER OPTIC;TYPE:TACTICAL PRE-TERM,PROPAGATION MODE:SINGLE,LENGTH:15 M,ADDITIONAL FEATURES EN:SC-ST 2F SM,500MM BREAKOUT, 2MM OVERSLEEVING | CABLE FIBRA OPTICA;MODO PROPAGACION:SOLO,LONGITUD:15 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AFLRD2SCST15M-2-3911 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | AFLRD2SCST15M-2-3911 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | SIZE:500 MM BREAKOUTS,2 MM OVERSLEEVING |  | CABLE | FIBER OPTIC | TYPE | TACTICAL PRE-TERM | PROPAGATION MODE | SINGLE | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION | SC-ST 2F SM | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 15 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1058988 | 1058988 |  |  |  | ERSA | M | 1640 | 1583983GZPCLNT100 | M |  | CABLE;FLEX,3,6 MM,ERTH,BRAIDD | CABLE;3,6 MM | CABLE;TYPE:FLEXIBLE,NUMBER OF CONDUCTORS:3,CONDUCTOR SIZE:6 MM,ADDITIONAL FEATURES EN:EARTH,BRAIDED,EMC SCREENED,BI CABLE 22 | CABLE;NUMERO CONDUCTORES:3,TAMAÃ‘O CONDUCTORES:6 MM |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC4G6SEKM | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC4G6SEKM | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | NUMBER OF CONDUCTORS:3,CONDUCTOR SIZE:6 MM,ADDITIONAL FEATURES EN:EARTH,BRAIDED,EMC SCREENED,BI CABLE 22 |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1060863 | 1060863 |  |  |  | ERSA | M | 1640 | 1616301GZPCLNT100 | EA |  | CABLE,F/OPT;PRE-TERM,SINGLE,LC-LC 2F | CABLE FIBRA OPTICA;,SOLO,LG 15 M | CABLE,FIBER OPTIC;TYPE:PRE-TERM,PROPAGATION MODE:SINGLE,CABLE CONSTRUCTION:LC-LC 2F,LENGTH:15 M,ADDITIONAL FEATURES EN:TACTICAL BUFFERED,W/GLANDS & HAULING MECH,500 MM BREAKOUTS,2 MM OVERSLEEVING | CABLE FIBRA OPTICA;MODO PROPAGACION:SOLO,LONGITUD:15 M |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AFLRD1LCLC15M-2-3941 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | AFLRD1LCLC15M-2-3941 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | SIZE:500 MM BREAKOUTS,2 MM OVERSLEEVING,C/W GLANDS AND HAULING MECH |  | CABLE | FIBER OPTIC | TYPE | TACTICAL BUFFERED PRE-TERM | PROPAGATION MODE | SINGLE | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION | LC-LC 2F | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 15 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1086786 | 1086786 |  |  |  | ERSA | M | 1640 | 1578941GZPCLNT100 | M | 3000422 | CABLE,ELEC;CNW,ELCEMC3G1.5,EMC 1.5 3C | CABLE ELEC;CNW,ELCEMC3G1.5 | CABLE,ELECTRICAL;MNFR:CNW,PTNO:ELCEMC3G1.5,ADDITIONAL FEATURES EN:EMC 1.5 3C SCREENED PVC FLEX | CABLE ELECTRICO;MNFR:CNW,PTNO:ELCEMC3G1.5 |  | CNW | ELCEMC3G1.5 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC3G1.5 | [12 empty] | ELCON CABLE PROCESSORS | EMC3G1.5 | CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC3G1.5 | CNW | ELCEMC3G1.5 | [12 empty] | https://www.rexel.com.au/are/category/Cable/VSD-EMC-Cable/VSD-EMC/CABLE-VSD-EMC-SCREENED-FLEXIBLE-CLEAR-2-C-%2B-E-1-5MM/EPREMC3G1-5KM/p/12023446 | [9 empty] | Enriched |  | EMC 1.5 3C SCREENED PVC FLEX |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1086787 | 1086787 |  |  |  | ERSA | M | 1640 | 1578942GZPCLNT100 | M | 3000422 | CABLE;CNW,ELCEMC3G2.5,EMC VSD 2.5MM 2C&E | CABLE;CNW,ELCEMC3G2.5 | CABLE;MNFR:CNW,PTNO:ELCEMC3G2.5,ADDITIONAL FEATURES EN:EMC VSD 2.5MM 2C&E CLEAR SHEATH | CABLE;MNFR:CNW,PTNO:ELCEMC3G2.5 |  | CNW | ELCEMC3G2.5 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC3G2.5 | [12 empty] | ELCON CABLE PROCESSORS | ELCEMC3G2.5 | CNW (MOUNT ISA) ELECT WHOLESALER | ELCEMC3G2.5 | CNW | ELCEMC3G2.5 | [12 empty] | https://www.rexel.com.au/are/category/Cable/VSD-EMC-Cable/VSD-EMC/CABLE-VSD-EMC-SCREENED-FLEXIBLE-CLEAR-2-C-%2B-E-2-5MM/EPREMC3G2-5KM/p/12023447 | [9 empty] | Enriched |  | EMC VSD 2.5MM 2C&E CLEAR SHEATH |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1086817 | 1086817 |  |  |  | ERSA | M | 1640 | 1580408GZPCLNT100 | M | 3000422 | CABLE,WLDG;CNW,ELEZW95-LOT,FLEX 95MM | SOLDADURA CABLE;CNW,ELEZW95-LOT | CABLE,WELDING;MNFR:CNW,PTNO:ELEZW95-LOT,ADDITIONAL FEATURES EN:FLEX 95MM 2997/0 | SOLDADURA CABLE;MNFR:CNW,PTNO:ELEZW95-LOT |  | CNW | ELEZW95-LOT | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELEZW95-LOT | [10 empty] | CNW | ELEZW95-LOT |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ELEZW95-LOT | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | FLEX 95MM 2997/0 |  | CABLE | WELDING | TYPE |  | CABLE SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | LENGTH |  | MATERIAL |  | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 1147752 | 1147752 |  |  |  | ERSA | M | 4090 | 1496226GZPCLNT100 | EA |  | CABLE,ELECTRICAL;ALCAW40 | CABLE,ELECTRICAL;ALCAW40 | CABLE,ELECTRICAL;ADDITIONAL FEATURES:ALCAW40 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AW40 | [12 empty] | ALCO | AW40 | CNW (MOUNT ISA) ELECT WHOLESALER | AW40 | [14 empty] | https://www.wattmaster.com.au/product/alcaw40/40mm-weatherproof-armoured-cable-gland | [9 empty] | Enriched |  |  |  | GLAND | CABLE | TYPE | WEATHERPROOF | NOMINAL THREAD SIZE |  | CABLE DIAMETER RANGE | 33 TO 42 MM | MATERIAL |  | DEGREE OF PROTECTION | IP66/IP68 | CABLE TYPE | ARMOURED | LENGTH | 40 MM | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1156927 | 1156927 | 1447417 | AU_QM_001064054 |  | ERSA | M | 4900 | 1447417GZPCLNT100 | EA |  | CABLE,ASSY;POWER, ELECTRICAL,10 A,CNW | CABLE,ASSY;POWER, ELECTRICAL,10 A,CNW | CABLE,ASSEMBLY;TYPE:POWER, ELECTRICAL,CURRENT RATING:10 A,LENGTH:15 M,ADDITIONAL FEATURES EN:HANDYMAN,MNFR:01)CNW,PTNO:01) CLKCHL1501N |  | CABLE ASSY,POWER,ELEC:HANDYMAN, 15M LONG 10 AMP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELHD15Y | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ELHD15Y | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | CURRENT RATING:10 A,LENGTH:15 M,ADDITIONAL FEATURES EN:HANDYMAN,MNFR:01)CNW,PTNO:01) CLKCHL1501N |  | CABLE | ASSEMBLY | TYPE | POWER,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1159300 | 1159300 | 1429163 | AU_QM_000582155 |  | ERSA | M | 1640 | 1429163GZPCLNT100 | M |  | CABLE,ELEC;PWR,0.6/1.1 KV,150 MM2,OLEX | CABLE,ELEC;PWR,0.6/1.1 KV,150 MM2,OLEX | CABLE,ELECTRICAL;TYPE:POWER,VOLTAGE RATING:0.6/1.1 KV,CONDUCTOR SIZE:150 MM2,NUMBER OF CONDUCTORS:4,JACKET MATERIAL:PVC SWA XLPE, IN |  | CABLE,POWER:150MM2;0.6/1.1KV;3C+E;XLPE;PVC;SWA;PVC; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1503C&EXLSWA | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1503C&EXLSWA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA) |  | CABLE | POWER | TYPE | ELECTRICAL | VOLTAGE RATING | 0.6/1.1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 150 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS | 3C+E | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | XLPE | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1170332 | 1170332 | 1429162 | AU_QM_000582148 |  | ERSA | M | 1640 | 1429162GZPCLNT100 | M |  | CABLE,ELEC;PWR,0.6/1.1 KV,95 MM2,INS PVC | CABLE,ELEC;PWR,0.6/1.1 KV,95 MM2,INS PVC | CABLE,ELECTRICAL;TYPE:POWER,VOLTAGE RATING:0.6/1.1 KV,CONDUCTOR SIZE:95 MM2,NUMBER OF CONDUCTORS:4,JACKET MATERIAL:PVC SWA XLPE, INS |  | CABLE,POWER:95MM2;0.6/1.1KV;3C+E;XLPE;PVC;WA;PVC; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 953C&EXLPSWA | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 953C&EXLPSWA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA) |  | CABLE | POWER | TYPE | ELECTRICAL | VOLTAGE RATING | 0.6/1.1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 95 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS | 3C+E | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | XLPE | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1177367 | 1177367 | 1437490 | AU_QM_000952288 |  | ERSA | M | 1640 | 1437490GZPCLNT100 | M |  | CABLE,ELEC;PWR,2.5 MM2,CONDCTS 4,INS PVC | CABLE,ELEC;PWR,2.5 MM2,CONDCTS 4,INS PVC | CABLE,ELECTRICAL;TYPE:POWER,CONDUCTOR SIZE:2.5 MM2,NUMBER OF CONDUCTORS:4,CORE STRANDS:(7) 0.67 MM,JACKET MATERIAL:PVC SWA V75, INSU |  | CABLE,POWER:2.5MM2;7/0.67MM;3C+E;SWA;V75; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 2.53C&ES | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 2.53C&ES | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA),STRANDS:(7) 0.67 MM |  | CABLE | POWER | TYPE | ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS | 3C+E | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | PVC V75 | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1180065 | 1180065 |  |  |  | ERSA | M | 1640 | 1616542GZPCLNT100 | EA |  | CABLE,WLDG;FLEX,70 MM,LG 100 M REEL | SOLDADURA CABLE;,LG | CABLE,WELDING;TYPE:FLEX,CABLE SIZE:70 MM,LENGTH:100 M REEL,MATERIAL: | SOLDADURA CABLE; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELEZW70-100 | [12 empty] | ELECTRA CABLES | ZW70-100 | CNW (MOUNT ISA) ELECT WHOLESALER | ELEZW70-100 | [14 empty] | https://media.mmem.com.au/Datasheets/Electra/Electra_Flexible_Welding_Cables.pdf | [9 empty] | Enriched |  | FLEX,CABLE SIZE:70 MM,LENGTH:100 M REEL,MATERIAL: |  | CABLE | WELDING | TYPE |  | CABLE SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | LENGTH |  | MATERIAL |  | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1183157 | 1183157 |  |  |  | ERSA | M | 1600 | 1563963GZPCLNT100 | EA | 3000422 | CABLE,ELEC;CNW,ELCFMR4G6BM,FLX,RUBR,6MM | CABLE ELEC;CNW,ELCFMR4G6BM | CABLE,ELECTRICAL;MNFR:CNW,PTNO:ELCFMR4G6BM,ADDITIONAL FEATURES EN:FLEX,RUBBER,6MM,4 CORE,BLACK | CABLE ELECTRICO;MNFR:CNW,PTNO:ELCFMR4G6BM |  | CNW | ELCFMR4G6BM | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCFMR4G6BM | [12 empty] | POWERHOUSE DISTRIBUTION | ELCFMR4G6BM | CNW (MOUNT ISA) ELECT WHOLESALER | ELCFMR4G6BM | CNW | ELCFMR4G6BM | [12 empty] | https://www.blackwoods.com.au/electrical/cables/earth-cables/powerhouse-distribution-laudan-fmr4g6bm-cable-flexible-r-ep-90-rubber-0-6-1kv-black-meter-3-core-earth-6mm-sup2/p/03641506 | [9 empty] | Enriched |  | FLEX,RUBBER,6MM,4 CORE,BLACK |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1185037 | 1185037 |  |  |  | ERSA | M | 1600 | 1557627GZPCLNT100 | EA | 3000422 | CABLE,ELEC;CNW,ELCARFM12G1.5BM,1.5MM 12 | CABLE ELEC;CNW,ELCARFM12G1.5BM | CABLE,ELECTRICAL;MNFR:CNW,PTNO:ELCARFM12G1.5BM,ADDITIONAL FEATURES EN:1.5MM 12 CORE RUBBER FLEX | CABLE ELECTRICO;MNFR:CNW,PTNO:ELCARFM12G1.5BM |  | CNW | ELCARFM12G1.5BM | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELCARFM12G1.5BM | [10 empty] | CNW | ELCARFM12G1.5BM |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ELCARFM12G1.5BM | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | 1.5MM 12 CORE RUBBER FLEX |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-07 |  | 1188622 | 1188622 |  |  |  | ERSA | M | 1640 | 1585088GZPCLNT100 | EA |  | CABLE,EXTSN;10M-2X4MM,ASSY | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:10M-2X4MM,ASSEMBLY,3PIN PLUG AND JOINER INCLUDED | CABLE EXTENSION; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELWLNLEXT10M | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | ELWLNLEXT10M | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | 10M-2X4MM,ASSEMBLY,3PIN PLUG AND JOINER INCLUDED |  | CABLE | EXTENSION | TYPE |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | LENGTH |  | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed