## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1211883 | 1211883 |  |  |  | ERSA | M | 5920 | 166718MRM | EA |  | COUPLING ASSY,SELF SEALING:FEMALE SUIT H | COUPLING ASSY,SELF SEALING:FEMALE SUIT H | COUPLING ASSY,SELF SEALING:FEMALE SUIT HYDRAULIC QUICK COUPLE 1 1/2 | [36 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | ASSEMBLY,FOR HYDRAULIC |  | COUPLING | QUICK CONNECT | TYPE | SELF SEALING | NOMINAL SIZE | 1-1/2 IN | END CONNECTION | FEMALE | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1206985 | 1206985 |  |  |  | ERSA | M | 5920 | 132699MRM | EA |  | COUPLING ASSY;COUPLING ASSY;PUMP ASSEMBL | COUPLING ASSY;COUPLING ASSY;PUMP ASSEMBL | COUPLING ASSY;COUPLING ASSY;PUMP ASSEMBLY;C160 JAW CRUSHER; | [36 empty] | Url Not Found |  |  | JAW CRUSHER,PUMP |  | C160 |  |  |  |  | Cleansed | 31163000 Couplings | ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1210734 | 1210734 |  |  |  | ERSA | M | 5920 | 134737MRM | EA |  | COUPLING ASSY;DRIVE COUPLING;LUBE SYSYTE | COUPLING ASSY;DRIVE COUPLING;LUBE SYSYTE | COUPLING ASSY;DRIVE COUPLING;LUBE SYSYTEM;EKATO AGITATOR G/BOX; | [36 empty] | Url Not Found |  |  | AGITATOR GEAR BOX | EKATO | [5 empty] | Cleansed | 31163002 Gear couplings | ASSEMBLY,LUBE SYSYTEM |  | COUPLING | GEAR | TYPE | DRIVE | BORE SIZE |  | OUTSIDE DIAMETER |  | OVERALL LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | BORE LENGTH |  | KEYWAY SIZE |  | ANGULAR MISALIGNMENT |  | PARALLEL MISALIGNMENT |  | LOCKING SCREW SIZE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1208898 | 1208898 |  |  |  | ERSA | M | 5920 | 133481MRM | EA |  | COUPLING ASSY;LOW SPEED COUPLING;PRIMARY | COUPLING ASSY;LOW SPEED COUPLING;PRIMARY | COUPLING ASSY;LOW SPEED COUPLING;PRIMARY MILL CYCLONEFEED PUMP; | [36 empty] | Url Not Found |  |  | PRIMARY MILL CYCLONEFEED PUMP | [6 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | LOW SPEED | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207329 | 1207329 |  |  |  | ERSA | M | 5920 | 132768MRM | EA |  | COUPLING ASSY;RIGID COUPLING RC45 (MC07 | COUPLING ASSY;RIGID COUPLING RC45 (MC07 | COUPLING ASSY;RIGID COUPLING RC45 (MC07 SPECIAL);GEARBOX TO PULLEY COUPLING;14CV07-11-12-16; | [17 empty] | 14CV07-11-12-16 | RENOLD | RC45 | [16 empty] | https://www.renold.com/media/162120/couplings_catalogue_2012_2.pdf |  |  | GEARBOX TO PULLEY | [6 empty] | Cleansed | 31163013 Shaft coupling | MC07 SPECIAL,ASSEMBLY |  | COUPLING | SHAFT FLEXIBLE | TYPE | RIGID | BORE SIZE | 45 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207321 | 1207321 |  |  |  | ERSA | M | 5920 | 132754MRM | EA |  | COUPLING ASSY;RIGID COUPLING RC560 (MC09 | COUPLING ASSY;RIGID COUPLING RC560 (MC09 | COUPLING ASSY;RIGID COUPLING RC560 (MC09 SPECIAL);GEARBOX TO PULLEY COUPLING;14CV10; | [17 empty] | 14CV10 |  | RC560 | [16 empty] | Url Not Found |  |  | GEARBOX TO PULLEY | [6 empty] | Cleansed | 31163000 Couplings | MC09 SPECIAL,ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE | RIGID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207327 | 1207327 |  |  |  | ERSA | M | 5920 | 132764MRM | EA |  | COUPLING ASSY;RIGID COUPLING RC560 (MC09 | COUPLING ASSY;RIGID COUPLING RC560 (MC09 | COUPLING ASSY;RIGID COUPLING RC560 (MC09 SPECIAL);GEARBOX TO PULLEY COUPLING;14CV05; | [17 empty] | 14CV05 |  | RC560 | [16 empty] | Url Not Found |  |  | GEARBOX TO PULLEY | [6 empty] | Cleansed | 31163000 Couplings | MC09 SPECIAL,ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE | RIGID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Partially Match | 1207319 | 1207319 |  |  |  | ERSA | M | 5920 | 132751MRM | EA |  | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-A | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-A | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-AC-90;MOTOR TOGEARBOX COUPLING;C/W 560X30MM DISC;14CV10; | [18 empty] | SIBRE | AFC-AC-90 | [16 empty] | https://www.sibre.de/wp-content/uploads/2022/05/AFC-AS-2021_EN.pdf |  |  | MOTOR TO GEARBOX | [6 empty] | Enriched | 31163013 Shaft coupling | C/W 560X30 MM DISC |  | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 100 MM | LENGTH | 454 MM | TORQUE RATING | 3600 KN | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1209890 | 1209890 |  |  |  | ERSA | M | 5910 | 160212MRM | EA |  | COUPLING,HOSE:7/16IN; JIC FEMALE STR X 1 | COUPLING,HOSE:7/16IN; JIC FEMALE STR X 1 | COUPLING,HOSE:7/16IN; JIC FEMALE STR X 1/4IN HOSE; CRIMP; ZINC PLATED; | [36 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting |  |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION | 7/16 IN JIC FEMALE STRAIGHT X 1/4 IN CRIMP | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207607 | 1207607 |  |  |  | ERSA | M | 5920 | 154918MRM | EA |  | COUPLING,HOSE:COUPLING; BLANK END HOSE C | COUPLING,HOSE:COUPLING; BLANK END HOSE C | COUPLING,HOSE:COUPLING; BLANK END HOSE COUPLING MINSUP001/15; MINSUP | [16 empty] | MINSUP | 001/15 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting |  |  | COUPLING | HOSE | TYPE | BLANK END | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1088705 | 1088705 | 1394038 | AU_QM_000237575 |  | ERSA | M | 5955 | 1394038GZPCLNT100 | EA | 3000035 | COUPLING,HSE;WAR,CODE-1207H | COUPLING,HSE;WAR,CODE-1207H | COUPLING,HOSE;MNFR:WARMAN,PTNO:CODE-1207H |  | OEM-E-LISTCOUPLING,HOSE;WEI,CODE-1207H | WARMAN | CODE-1207H | [12 empty] | WARMAN | CODE-1207H | [18 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting |  |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207889 | 1207889 |  |  |  | ERSA | M | 5920 | 133035MRM | EA |  | COUPLING:PUMP COUPLING ASSEMBLY;HYD UNIT | COUPLING:PUMP COUPLING ASSEMBLY;HYD UNIT | COUPLING:PUMP COUPLING ASSEMBLY;HYD UNIT;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | Url Not Found |  |  | 100 SERIES ROCKBREAKER | [6 empty] | Cleansed | 31163000 Couplings | HYDRAULIC UNIT,ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1057447 | 1057447 |  |  |  | ERSA | M | 4090 | 1582117GZPCLNT100 | EA |  | COUPLING;DRV,ZZT14632/MM,SEW | ACOPLAMIENTO; | COUPLING;TYPE:DRIVE,SIZE:ZZT14632/MM,MATERIAL:SEW,ADDITIONAL FEATURES EN:SUIT SEW DRIVE SA87 GEARBOX, ASM | ACOPLAMIENTO; | [16 empty] | ZZT14632/MM | [18 empty] | Url Not Found |  |  | DRIVE GEARBOX,ASM | SEW | SA87 |  |  |  |  | Cleansed | 31163002 Gear couplings |  |  | COUPLING | GEAR | TYPE |  | BORE SIZE |  | OUTSIDE DIAMETER |  | OVERALL LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | BORE LENGTH |  | KEYWAY SIZE |  | ANGULAR MISALIGNMENT |  | PARALLEL MISALIGNMENT |  | LOCKING SCREW SIZE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1160053 | 1160053 |  |  |  | ERSA | M | 5915 | 1404054GZPCLNT100 | EA |  | COUPLING;GD,DETAIL | COUPLING;GD,DETAIL | COUPLING;TYPE:GUARD,ADDITIONAL FEATURES EN:DETAIL | [36 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | DETAIL |  | COUPLING | NO MODIFIER | TYPE | GUARD | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1189153 | 1189153 |  |  |  | ERSA | M | 5000 | 1576296GZPCLNT100 | EA |  | COUPLING;HIAB,9822143 | ACOPLAMIENTO; | COUPLING;TYPE:HIAB,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:9822143 | ACOPLAMIENTO; | [18 empty] | 9822143 | [16 empty] | https://dzwigi.net.pl/en/sklep/produkt/554469-coupling.html | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | HIAB | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1089070 | 1089070 | 1385851 | AU_QM_000226700 |  | ERSA | M | 5955 | 1385851GZPCLNT100 | EA | 3000006 | COUPLING;KOM,07332002000 | COUPLING;KOM,07332002000 | COUPLING;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:07332002000 |  | COUPLING;KOM,07332002000COUPLING;KOM,07332002000 | KOMATSU MINING SYSTEMS INC. | 07332002000 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 07332-002000 | [18 empty] | https://www.safeharborparts.com/07332-01200-coupling/ | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1088702 | 1088702 | 1394048 | AU_QM_000237585 |  | ERSA | M | 5955 | 1394048GZPCLNT100 | EA | 3000006 | COUPLING;KOM,07332-01000 | COUPLING;KOM,07332-01000 | COUPLING;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:07332-01000 |  | OEM-E-LISTCOUPLING;KOM,07332-01000 | KOMATSU MINING SYSTEMS INC. | 07332-01000 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 07332-01000 | [18 empty] | https://my.komatsu.com.au/shop/generalparts_5637145341/5637175182_coupling_07332-01000 | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1088701 | 1088701 | 1394050 | AU_QM_000237587 |  | ERSA | M | 5955 | 1394050GZPCLNT100 | EA | 3000006 | COUPLING;KOM,07332-01400 | COUPLING;KOM,07332-01400 | COUPLING;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:07332-01400 |  | OEM-E-LISTCOUPLING;KOM,07332-01400 | KOMATSU MINING SYSTEMS INC. | 07332-01400 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 07332-01400 | [18 empty] | https://my.komatsu.com.au/shop/generalparts_5637145341/5637175210_coupling_07332-01400 | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1088955 | 1088955 | 1387466 | AU_QM_000228607 |  | ERSA | M | 5955 | 1387466GZPCLNT100 | EA | 3000006 | COUPLING;KOM,07332-06000 | COUPLING;KOM,07332-06000 | COUPLING;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:07332-06000 |  | COUPLING;KOM,07332-06000COUPLING;KOM,07332-06000 | KOMATSU MINING SYSTEMS INC. | 07332-06000 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 07332-06000 | [18 empty] | https://my.komatsu.com.au/shop/generalparts_5637145341/5637175321_coupling_07332-06000 | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1088780 | 1088780 | 1391719 | AU_QM_000233653 |  | ERSA | M | 5955 | 1391719GZPCLNT100 | EA | 3000006 | COUPLING;KOM,3EC-15-54201 | COUPLING;KOM,3EC-15-54201 | COUPLING;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EC-15-54201 |  | COUPLING;KOM,3EC-15-54201COUPLING;KOM,3EC-15-54201 | KOMATSU MINING SYSTEMS INC. | 3EC-15-54201 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 3EC1554201 | [18 empty] | https://k-part.777parts.org/catalog/komatsu/fd50a2el/150130/ | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1012229 | 1012229 |  |  |  | ERSA | M | 4075 | 1606884GZPCLNT100 | EA |  | COUPLING;JAW HUB,24MM,HYDR | ACOPLAMIENTO; | COUPLING;TYPE:JAW HUB,SIZE:24MM,MATERIAL:HYDRAULIC,PTNO:R24.ALU.1.24 | ACOPLAMIENTO;,PTNO:R24.ALU.1.24 |  |  | R24.ALU.1.24 | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | R24.ALU.1.24 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | R24.ALU.1.24 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half | HYDRAULIC |  | HUB | COUPLING | TYPE | JAW | BORE DIAMETER | 24 MM | HUB DIAMETER |  | LENGTH |  | MATERIAL |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1012230 | 1012230 |  |  |  | ERSA | M | 4075 | 1606885GZPCLNT100 | EA |  | COUPLING;JAW HUB,20MM,HYDR | ACOPLAMIENTO; | COUPLING;TYPE:JAW HUB,SIZE:20MM,MATERIAL:HYDRAULIC,PTNO:R24.ALU.1.20 | ACOPLAMIENTO;,PTNO:R24.ALU.1.20 |  |  | R24.ALU.1.20 | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | R24.ALU.1.20 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | R24.ALU.1.20 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half | HYDRAULIC |  | HUB | COUPLING | TYPE | JAW | BORE DIAMETER | 20 MM | HUB DIAMETER |  | LENGTH |  | MATERIAL |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1015419 | 1015419 |  |  |  | ERSA | M | 5620 | 1615661GZPCLNT100 | EA |  | COUPLING;KUNZ CRANE ENCODER | ACOPLAMIENTO; | COUPLING;TYPE:KUNZ CRANE ENCODER,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:MACHINE 1/4 IN HOLE IN SIDE 1,MACHINE DIA 14 MM AND KEYWAY IN SIDE 2 | ACOPLAMIENTO; |  |  |  | 1068653 @@ WOODFIELDS ENGINEERING | ZZT15918/MC | [14 empty] | WOODFIELDS ENGINEERING | ZZT15918/MC | [14 empty] | Url Not Found |  |  | CRANE ENCODER | KUNZ | [5 empty] | Cleansed | 31163000 Couplings | MACHINE 1/4 IN HOLE IN SIDE 1,MACHINE DIA 14 MM AND KEYWAY IN SIDE 2 |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1049944 | 1049944 |  |  |  | ERSA | M | 4090 | 1580087GZPCLNT100 | EA |  | COUPLING;ELECTROFUSION,75 MM,9010-75 | ACOPLAMIENTO; | COUPLING;TYPE:ELECTROFUSION,SIZE:75 MM,MATERIAL:,ADDITIONAL FEATURES EN:9010-75 | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 9010-75 | [14 empty] | BUTLER AGENCIES PTY LTD | 9010-75 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 75 MM | MATERIAL |  | CONNECTION TYPE | ELECTROFUSION | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1049984 | 1049984 |  |  |  | ERSA | M | 4090 | 1583156GZPCLNT100 | EA |  | COUPLING;ELECTROFUSION,50MM,9010-50 | ACOPLAMIENTO; | COUPLING;TYPE:ELECTROFUSION,SIZE:50MM,MATERIAL:,ADDITIONAL FEATURES EN:9010-50 | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 9010-50 | [14 empty] | BUTLER AGENCIES PTY LTD | 9010-50 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 50 MM | MATERIAL |  | CONNECTION TYPE | ELECTROFUSION | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1049986 | 1049986 |  |  |  | ERSA | M | 4090 | 1583158GZPCLNT100 | EA |  | COUPLING;ELECTROFUSION TRANS,50MMX2 BSPF | ACOPLAMIENTO; | COUPLING;TYPE:ELECTROFUSION TRANS,SIZE:50MMX2 BSPF,MATERIAL: | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 9310-50X2 | [14 empty] | BUTLER AGENCIES PTY LTD | 9310-50X2 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 50 MMX2 IN | MATERIAL |  | CONNECTION TYPE | ELECTROFUSION TRANS X FEMALE BSP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1050519 | 1050519 |  |  |  | ERSA | M | 4090 | 1574725GZPCLNT100 | EA |  | COUPLING;TYPE S,50 MM,HOSETAIL | ACOPLAMIENTO; | COUPLING;TYPE:TYPE S,SIZE:50 MM,MATERIAL:,ADDITIONAL FEATURES EN:HOSETAIL | ACOPLAMIENTO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 21-100-032 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 21-100-032 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | TYPE S |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 50 MM | LENGTH |  | END CONNECTION | TAIL | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1050888 | 1050888 |  |  |  | ERSA | M | 4090 | 1577796GZPCLNT100 | EA |  | COUPLING;LNK,22 MM,G-LINK GRABIQ | ACOPLAMIENTO; | COUPLING;TYPE:LINK,SIZE:22 MM,MATERIAL:,ADDITIONAL FEATURES EN:G-LINK GRABIQ | ACOPLAMIENTO; |  |  |  | 1068332 @@ BULLIVANTS PTY LTD | WCUP-220-G+ | 1068291 @@ BULLIVANTS PTY LIMITED | 1577796 | [10 empty] | BULLIVANTS PTY LTD | WCUP-220-G+ | BULLIVANTS PTY LIMITED | 1577796 | [14 empty] | https://www.blackwoods.com.au/lifting-rigging/chain-fittings-grade-t-8/coupling-links-type-g/coupling-chain-gunnebo-g-32-8-32mm/p/01166037 | [9 empty] | Enriched | 31163007 Chain coupling |  | WORKING LOAD LIMIT:32 TON | COUPLING | CHAIN | TYPE | LINK | BORE SIZE | 32 MM | LENGTH | 200 MM | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | CHAIN DESIGNATION |  | CHAIN MATERIAL | STAINLESS STEEL | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1050921 | 1050921 |  |  |  | ERSA | M | 4090 | 1577927GZPCLNT100 | EA |  | COUPLING;CONE RING,GC1-3/4-5,PIN NUT | ACOPLAMIENTO; | COUPLING;TYPE:CONE RING,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:GC1-3/4-5,PIN NUT,AND RUBBER,048 058 070,DAVID BROWN | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 10648716 | [10 empty] | DAVID BROWN | 048 058 070 |  | GC1-3/4-5 | CONSOLIDATED BEARING CO (QLD) | 10648716 | [14 empty] | https://www.gbptww.com/gc1.3-4-5-pin-rubber-assembly | [9 empty] | Cleansed | 31163013 Shaft coupling | 5 PIN NUT |  | COUPLING | SHAFT FLEXIBLE | TYPE | CONE RING | BORE SIZE | 1-3/4 IN | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL | RUBBER | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1050970 | 1050970 |  |  |  | ERSA | M | 4090 | 1578388GZPCLNT100 | EA |  | COUPLING;WROUGHT,1/2 IN NB,CS,BLK | ACOPLAMIENTO; | COUPLING;TYPE:WROUGHT,SIZE:1/2 IN NB,MATERIAL:CARBON STEEL,BLACK,ADDITIONAL FEATURES EN:BSP THREADED ENDS,BS EN10241 | ACOPLAMIENTO; |  |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000012205 | [14 empty] | MRC GLOBAL AUSTRALIA PTY LTD | 1000012205 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | COLOR:BLACK |  | COUPLING | NO MODIFIER | TYPE | WROUGHT | SIZE | 1/2 IN ID | MATERIAL | CARBON STEEL | CONNECTION TYPE | BSP THREADED END | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS EN10241 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1051228 | 1051228 |  |  |  | ERSA | M | 4090 | 1581227GZPCLNT100 | EA |  | COUPLING;FEM,15X1/2IN BSP,B-PRS,HI-TEMP | ACOPLAMIENTO; | COUPLING;TYPE:FEMALE,SIZE:15X1/2IN BSP,MATERIAL:,ADDITIONAL FEATURES EN:B-PRS,HI-TEMP | ACOPLAMIENTO; |  |  |  | 1068155 @@ REECE PTY LTD | 404940 | [12 empty] | B-PRESS | 404940 | REECE PTY LTD | 404940 | [14 empty] | https://www.reece.com.au/product/-b-press-high-temperature-female-coupling-15mm-x-404940 | [9 empty] | Enriched | 40183107 Tube coupling |  |  | COUPLING | TUBE | TYPE | HIGH TEMPERATURE | NOMINAL SIZE | 15 MM | END CONNECTION | 1/2 IN FEMALE BSP | PRESSURE RATING | 1600 KPA | LENGTH | 41 MM | MATERIAL | COPPER | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1054725 | 1054725 |  |  |  | ERSA | M | 5910 | 1586578GZPCLNT100 | EA |  | COUPLING;INFLTION,15.12MM,DIAMOND KNURL | ACOPLAMIENTO; | COUPLING;TYPE:INFLATION,SIZE:15.12MM,MATERIAL:DIAMOND KNURL | ACOPLAMIENTO; |  |  |  | 1070052 @@ MTI GROUP PTY LTD | 02-001 | [14 empty] | MTI GROUP PTY LTD | 02-001 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | INFLATION | SIZE | 15.12 MM | MATERIAL | DIAMOND KNURL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Series Match | 1054983 | 1054983 |  |  |  | ERSA | M | 3000 | 1608288GZPCLNT100 | EA |  | COUPLING;PMP,28 MM,STL,BRAND:ROTEX,28ST | ACOPLAMIENTO; | COUPLING;TYPE:PUMP,SIZE:28 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:BRAND:ROTEX,28ST | ACOPLAMIENTO; |  |  |  | 1068342 @@ ISADRAULICS | 40020285103800 R28/38.ST.1A.38. HU | [12 empty] | ROTEX | 28 ST | ISADRAULICS | 40020285103800 R28/38.ST.1A.38. HU | [14 empty] | https://uk.misumi-ec.com/vona2/detail/221303603156/?HissuCode=020285132240# |  |  | PUMP | [6 empty] | Enriched | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE | TAPER | BORE DIAMETER | 28 MM | HUB DIAMETER | 65 MM | LENGTH | 35 MM | MATERIAL | STEEL | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Series Match | 1054984 | 1054984 |  |  |  | ERSA | M | 3000 | 1608289GZPCLNT100 | EA |  | COUPLING;,28 MM,STL,ROTEX,020285145522 | ACOPLAMIENTO; | COUPLING;TYPE:,SIZE:28 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:ROTEX,020285145522 | ACOPLAMIENTO; |  |  |  | 1068342 @@ ISADRAULICS | 40020285145512 R28/38.ST.P559102 SA | [12 empty] | ROTEX | 28 ST | ISADRAULICS | 40020285145512 R28/38.ST.P559102 SA | [14 empty] | https://uk.misumi-ec.com/vona2/detail/221303603156/?HissuCode=020285132240# | [9 empty] | Enriched | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE | TAPER | BORE DIAMETER | 28 MM | HUB DIAMETER | 65 MM | LENGTH | 35 MM | MATERIAL | STEEL | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1054986 | 1054986 |  |  |  | ERSA | M | 2220 | 1608586GZPCLNT100 | EA |  | COUPLING;MUFF,150 MM,CI,TAB-D | ACOPLAMIENTO; | COUPLING;TYPE:MUFF,SIZE:150 MM,MATERIAL:CAST IRON,ADDITIONAL FEATURES EN:TAB-D | ACOPLAMIENTO; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1216-00328-150 | [14 empty] | WESTERNEX PTY LTD | 1216-00328-150 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | TAB-D |  | COUPLING | NO MODIFIER | TYPE | MUFF | SIZE | 150 MM | MATERIAL | CAST IRON | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1055142 | 1055142 |  |  |  | ERSA | M | 2200 | 1611833GZPCLNT100 | EA |  | COUPLING;PRB,3/8 IN NPT,STL,MALE TIP | ACOPLAMIENTO; | COUPLING;TYPE:PROBE,SIZE:3/8 IN NPT,MATERIAL:STEEL,ADDITIONAL FEATURES EN:MALE TIP | ACOPLAMIENTO; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 3001-06 | [14 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | 3001-06 | [14 empty] | https://www.pirtek.com.au/-/media/feature/products/section-f-valves--couplings-revg--hyperlink.pdf | [9 empty] | Enriched | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | PROBE | SIZE | 3/8 IN | MATERIAL | STEEL | CONNECTION TYPE | MALE TIP NPT | TEMPERATURE RATING | -20 TO 110 DGE C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1055143 | 1055143 |  |  |  | ERSA | M | 2200 | 1611834GZPCLNT100 | EA |  | COUPLING;CARR,3/8IN NPT,STL,FEM | ACOPLAMIENTO; | COUPLING;TYPE:CARRIER,SIZE:3/8IN NPT,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FEMALE | ACOPLAMIENTO; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 3002-06 | [14 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | 3002-06 | [14 empty] | https://www.pirtek.com.au/-/media/feature/products/section-f-valves--couplings-revg--hyperlink.pdf | [9 empty] | Enriched | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | CARRIER | SIZE | 3/8 IN | MATERIAL | STEEL | CONNECTION TYPE | FEMALE NPT | TEMPERATURE RATING | -20 TO 110 DGE C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1055317 | 1055317 |  |  |  | ERSA | M | 2220 | 1615404GZPCLNT100 | EA |  | COUPLING;BLK,225 MM,VICTAULIC,STYLE 905 | ACOPLAMIENTO; | COUPLING;TYPE:BLACK,SIZE:225 MM,MATERIAL:,ADDITIONAL FEATURES EN:VICTAULIC,STYLE 905 | ACOPLAMIENTO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | C0905M225ZZBTF0 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | C0905M225ZZBTF0 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | COLOR:BLACK,VICTAULIC,STYLE 905 |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 225 MM | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1056298 | 1056298 |  |  |  | ERSA | M | 2200 | 1607204GZPCLNT100 | EA |  | COUPLING;M,2 IN TAIL,AL,BRAND:KAMLOCK | ACOPLAMIENTO; | COUPLING;TYPE:MALE,SIZE:2 IN TAIL,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:BRAND:KAMLOCK | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 6.33E+52 | [14 empty] | BUTLER AGENCIES PTY LTD | 6.33e+52 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | BRAND:KAMLOCK |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 2 IN | MATERIAL | ALUMINUM | CONNECTION TYPE | TAIL X MALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1059678 | 1059678 |  |  |  | ERSA | M | 5910 | 1585051GZPCLNT100 | EA |  | COUPLING;MUFF,150 MM,ALUMNINUM | ACOPLAMIENTO; | COUPLING;TYPE:MUFF,SIZE:150 MM,MATERIAL:ALUMNINUM,ADDITIONAL FEATURES EN:8 BOLT HOLE | ACOPLAMIENTO; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1216-00327-150 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1585051 | [12 empty] | WESTERNEX PTY LTD | 1216-00327-150 | CNW (MOUNT ISA) ELECT WHOLESALER | 1585051 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | 8 BOLT HOLE |  | COUPLING | NO MODIFIER | TYPE | MUFF | SIZE | 150 MM | MATERIAL | ALUMINUM | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Series Match | 1060676 | 1060676 |  |  |  | ERSA | M | 5920 | 1609445GZPCLNT100 | EA |  | COUPLING;CONDIUT,40 MM,SS,LEN:3 M | ACOPLAMIENTO; | COUPLING;TYPE:CONDIUT,SIZE:40 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:LEN:3 M | ACOPLAMIENTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WMISSCON40 | [12 empty] | WILLIAMS | WMISSCON40 | CNW (MOUNT ISA) ELECT WHOLESALER | WMISSCON40 | [14 empty] | https://www.williamsmining.com.au/category/5/stainless-steel-conduit | [9 empty] | Cleansed | 39131707 Electrical conduit coupling |  |  | COUPLING | CONDUIT | TYPE |  | NOMINAL SIZE | 40 MM | END CONNECTION |  | LENGTH | 3 M | MATERIAL | STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1060677 | 1060677 |  |  |  | ERSA | M | 5920 | 1609446GZPCLNT100 | EA |  | COUPLING;CONDIUT,50 MM,SS,LEN:3 M | ACOPLAMIENTO; | COUPLING;TYPE:CONDIUT,SIZE:50 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:LEN:3 M | ACOPLAMIENTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WMISSCON50 | [12 empty] | WILLIAMS | WMISSCON50 | CNW (MOUNT ISA) ELECT WHOLESALER | WMI-SSCON50 | [14 empty] | https://www.williamsmining.com.au/category/5/stainless-steel-conduit | [9 empty] | Cleansed | 39131707 Electrical conduit coupling |  |  | COUPLING | CONDUIT | TYPE |  | NOMINAL SIZE | 50 MM | END CONNECTION |  | LENGTH | 3 M | MATERIAL | STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1060817 | 1060817 |  |  |  | ERSA | M | 2200 | 1614913GZPCLNT100 | BOX |  | COUPLING;SCRWD,2 IN,NPT,PCP40,BOX OF 6 | ACOPLAMIENTO; | COUPLING;TYPE:SCREWED,SIZE:2 IN,MATERIAL:,CONNECTION TYPE:NPT,ADDITIONAL FEATURES EN:PCP40,BOX OF 6 | ACOPLAMIENTO; |  |  |  | 1068342 @@ ISADRAULICS | ISA84R2' NPT PCP40 | [14 empty] | ISADRAULICS | ISA84R2 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | PCP40,PACKAGE QUANTITY:BOX OF 6 |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 2 IN | MATERIAL |  | CONNECTION TYPE | SCREWED NPT | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1060878 | 1060878 |  |  |  | ERSA | M | 5935 | 1616352GZPCLNT100 | EA |  | COUPLING;HST,PN:181724-07 | ACOPLAMIENTO; | COUPLING;TYPE:HOIST,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:PN:181724-07 | ACOPLAMIENTO; |  |  |  | 1068072 @@ EILBECK CRANES | 181724-07 | [14 empty] | EILBECK CRANES | 181724-07 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE | HOIST | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1061580 | 1061580 |  |  |  | ERSA | M | 5920 | 1586342GZPCLNT100 | EA |  | COUPLING;COOLING TOWER,M20,SS316 | ACOPLAMIENTO; | COUPLING;TYPE:COOLING TOWER,SIZE:M20,MATERIAL:STAINLESS STEEL 316 | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4-0230 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4-0230 | [14 empty] | Url Not Found |  |  | COOLING TOWER | [6 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | M20 | MATERIAL | STAINLESS STEEL 316 | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1062025 | 1062025 |  |  |  | ERSA | M | 5100 | 1585567GZPCLNT100 | EA |  | COUPLING;STRGT,OD 498 522,SS,VARI GIB | ACOPLAMIENTO; | COUPLING;TYPE:STRAIGHT,SIZE:OD 498 522,MATERIAL:SS,ADDITIONAL FEATURES EN:VARI GIB | ACOPLAMIENTO; |  |  |  | 1068228 @@ VINIDEX PTY LTD | Q5344 | [12 empty] | WANG |  | VINIDEX PTY LTD | Q5344 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE | STRAIGHT,NON-RESTRICTED MECHANICAL | NOMINAL SIZE | 498 TO 522 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1062030 | 1062030 |  |  |  | ERSA | M | 5920 | 1586341GZPCLNT100 | EA |  | COUPLING;HUB,M19,SS316 | ACOPLAMIENTO; | COUPLING;TYPE:HUB,SIZE:M19,MATERIAL:STAINLESS STEEL 316 | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4-0229 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4-0229 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE |  | BORE DIAMETER | M19 | HUB DIAMETER |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1062031 | 1062031 |  |  |  | ERSA | M | 5920 | 1586340GZPCLNT100 | EA |  | COUPLING;HUB,M18,SS316 | ACOPLAMIENTO; | COUPLING;TYPE:HUB,SIZE:M18,MATERIAL:STAINLESS STEEL 316 | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 4-0227 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 4-0227 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE |  | BORE DIAMETER | M18 | HUB DIAMETER |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1062048 | 1062048 |  |  |  | ERSA | M | 5100 | 1606725GZPCLNT100 | EA |  | COUPLING;STTR,84 MM,SLOT,SUIT DGS80 | ACOPLAMIENTO; | COUPLING;TYPE:STATOR,SIZE:84 MM,MATERIAL:SLOT,ADDITIONAL FEATURES EN:SUIT DGS80 | ACOPLAMIENTO; |  |  |  | 1070461 @@ ESM AUSTRALIA PTY LTD | 2122698 | [14 empty] | ESM AUSTRALIA PTY LTD | 2122698 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | SLOT,FOR DGS 80 |  | COUPLING | NO MODIFIER | TYPE | STATOR | SIZE | 84 MM | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1062174 | 1062174 |  |  |  | ERSA | M | 2200 | 1609310GZPCLNT100 | EA |  | COUPLING;THD,1/2 BSP,FEM,FIRG SERIES,FF | ACOPLAMIENTO; | COUPLING;TYPE:THREAD,SIZE:1/2 BSP,MATERIAL:HIGH STRENGTH CARBON STEEL,CONNECTION TYPE:FEMALE,ADDITIONAL FEATURES EN:FIRG SERIES, FLAT FACE | ACOPLAMIENTO; |  |  |  | 1068342 @@ ISADRAULICS | F-FIRG12A | [14 empty] | ISADRAULICS | F FIRG 12A | [14 empty] | https://www.stucchichina.com/public/uploads/20201219/FIRG_StucchiQuickCouplingsCatalog_February2020_EN.pdf | [9 empty] | Enriched | 31163000 Couplings | FIRG SERIES |  | COUPLING | NO MODIFIER | TYPE | FLAT FACE | SIZE | 1/2 IN | MATERIAL | HIGH STRENGTH CARBON STEEL | CONNECTION TYPE | FEMALE THREAD BSPP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1062175 | 1062175 |  |  |  | ERSA | M | 2200 | 1609309GZPCLNT100 | EA |  | COUPLING;THD,1/2 BSP,M,FIRG SERIES,FF | ACOPLAMIENTO; | COUPLING;TYPE:THREAD,SIZE:1/2 BSP,MATERIAL:HIGH STRENGTH CARBON STEEL,CONNECTION TYPE:MALE,ADDITIONAL FEATURES EN:FIRG SERIES, FLAT FACE | ACOPLAMIENTO; |  |  |  | 1068342 @@ ISADRAULICS | M-FIRG12A | [14 empty] | ISADRAULICS | M FIRG 12A | [14 empty] | https://www.stucchichina.com/public/uploads/20201219/FIRG_StucchiQuickCouplingsCatalog_February2020_EN.pdf | [9 empty] | Enriched | 31163000 Couplings | FIRG SERIES |  | COUPLING | NO MODIFIER | TYPE | FLAT FACE | SIZE | 1/2 IN | MATERIAL | HIGH STRENGTH CARBON STEEL | CONNECTION TYPE | MALE THREAD BSPP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1067143 | 1067143 | 1457288 | AU_QM_001297696 |  | ERSA | M | 5955 | 1457288GZPCLNT100 | EA |  | COUPLING ASSY; | COUPLING ASSY; | COUPLING ASSY; COUPLING ASSY; |  | COUPLING ASSY;COUPLING ASSY; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100005901 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 100005901 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1112748 | 1112748 |  |  |  | ERSA | M | 4090 | 1573875GZPCLNT100 | EA |  | COUPLING;TEST 20,1/4 NPT,STL,W/CAP | ACOPLAMIENTO; | COUPLING;TYPE:TEST 20,SIZE:1/4 NPT,MATERIAL:STEEL,ADDITIONAL FEATURES EN:W/CAP | ACOPLAMIENTO; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | MTP162-04NPT | [14 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | MTP162-04NPT | [14 empty] | https://www.pirtekusa.com/wp-content/uploads/2022/02/F-PIRTEK-USA-Accessories-Section.pdf | [9 empty] | Enriched | 31163000 Couplings | TEST 20,C/W CAP | THREAD SIZE:1/4 IN-18 TPI | COUPLING | NO MODIFIER | TYPE |  | SIZE | 1/4 IN | MATERIAL | STEEL | CONNECTION TYPE | NPT | TEMPERATURE RATING | -4 TO 212 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1113182 | 1113182 |  |  |  | ERSA | M | 4090 | 1573256GZPCLNT100 | EA |  | COUPLING;90A,50 X 1000 MM,PU,90A,HRDNS | ACOPLAMIENTO; | COUPLING;TYPE:90A,SIZE:50 X 1000 MM,MATERIAL:POLYURETHANE,ADDITIONAL FEATURES EN:90A,HARDNESS | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 10000024 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 10000024 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | HARDNESS:90A |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 50 MMX1 MM | MATERIAL | POLYURETHANE | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152003 | 1152003 |  |  |  | ERSA | M | 4075 | 1535081GZPCLNT100 | EA |  | COUPLING;POLY-GIB SS/FC - PE 160,3704605 | COUPLING;POLY-GIB SS/FC - PE 160,3704605 | COUPLING;ADDITIONAL FEATURES:POLY-GIB SS/FC - PE 160,3704605 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704605 | [14 empty] | REECE PTY LTD | 3704605 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/POLY-GIB%20COUPLINGS%20B%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:POLY-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 160 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL,FOAM CONCRETE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152004 | 1152004 |  |  |  | ERSA | M | 4075 | 1535080GZPCLNT100 | EA |  | COUPLING;POLY-GIB SS/FC - PE 125,3704604 | COUPLING;POLY-GIB SS/FC - PE 125,3704604 | COUPLING;ADDITIONAL FEATURES:POLY-GIB SS/FC - PE 125,3704604 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704604 | [14 empty] | REECE PTY LTD | 3704604 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/POLY-GIB%20COUPLINGS%20B%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:POLY-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 125 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL,FOAM CONCRETE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152005 | 1152005 |  |  |  | ERSA | M | 4075 | 1535079GZPCLNT100 | EA |  | COUPLING;POLY-GIB SS/FC - PE 110,3704603 | COUPLING;POLY-GIB SS/FC - PE 110,3704603 | COUPLING;ADDITIONAL FEATURES:POLY-GIB SS/FC - PE 110,3704603 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704603 | [14 empty] | REECE PTY LTD | 3704603 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/POLY-GIB%20COUPLINGS%20B%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:POLY-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 110 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL,FOAM CONCRETE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152006 | 1152006 |  |  |  | ERSA | M | 4075 | 1535078GZPCLNT100 | EA |  | COUPLING;VARI-GIB SS/SS ( 648-67,3704572 | COUPLING;VARI-GIB SS/SS ( 648-67,3704572 | COUPLING;ADDITIONAL FEATURES:VARI-GIB SS/SS ( 648-67,3704572 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704572 | [14 empty] | REECE PTY LTD | 3704572 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 648 TO 672 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152007 | 1152007 |  |  |  | ERSA | M | 4075 | 1535077GZPCLNT100 | EA |  | COUPLING;VARI-GIB SS/SS ( 498-52,3704557 | COUPLING;VARI-GIB SS/SS ( 498-52,3704557 | COUPLING;ADDITIONAL FEATURES:VARI-GIB SS/SS ( 498-52,3704557 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704557 | [14 empty] | REECE PTY LTD | 3704557 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 498 TO 522 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152009 | 1152009 |  |  |  | ERSA | M | 4075 | 1535075GZPCLNT100 | EA |  | COUPLING;VARI-GIB SS/FC ( 310-33,3704547 | COUPLING;VARI-GIB SS/FC ( 310-33,3704547 | COUPLING;ADDITIONAL FEATURES:VARI-GIB SS/FC ( 310-33,3704547 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3704547 | [14 empty] | REECE PTY LTD | 3704547 | [14 empty] | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [9 empty] | Cleansed | 40172600 Pipe couplings | BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 310 TO 334 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL,FOAM CONCRETE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152019 | 1152019 |  |  |  | ERSA | M | 4075 | 1535065GZPCLNT100 | EA |  | COUPLING;VARI-GIB LONG BLUE ( 15,1012456 | COUPLING;VARI-GIB LONG BLUE ( 15,1012456 | COUPLING;ADDITIONAL FEATURES:VARI-GIB LONG BLUE ( 15,1012456 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1012456 | [14 empty] | REECE PTY LTD | 1012456 | [14 empty] | https://www.reece.com.au/resources/themes/civil/assets/Civil-Product-Guide-V7.pdf | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [8 empty] | Enriched | 40172600 Pipe couplings | LONG BLUE,BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE | BARREL | NOMINAL SIZE | 150 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | URL for Reference only | 1152020 | 1152020 |  |  |  | ERSA | M | 4075 | 1535064GZPCLNT100 | EA |  | COUPLING;VARI-GIB LONG BLUE ( 10,1012455 | COUPLING;VARI-GIB LONG BLUE ( 10,1012455 | COUPLING;ADDITIONAL FEATURES:VARI-GIB LONG BLUE ( 10,1012455 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1012455 | [14 empty] | REECE PTY LTD | 1012455 | [14 empty] | https://www.reece.com.au/resources/themes/civil/assets/Civil-Product-Guide-V7.pdf | https://www.viadux.com.au/sites/default/files/2017-06/VARI-GIB%C2%AE%20COUPLINGS%20Viadux.pdf | [8 empty] | Enriched | 40172600 Pipe couplings | LONG BLUE,BRAND:VARI-GIB |  | COUPLING | PIPE | TYPE | BARREL | NOMINAL SIZE | 100 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Processed based on Websource, Conflict w.r.t Input | 1179049 | 1179049 |  |  |  | ERSA | M | 4090 | 1544231GZPCLNT100 | EA |  | COUPLING;SPDR,PHE L190NRWRAP | ACOPLAMIENTO; | COUPLING;TYPE:SPIDER,SIZE:TBC,MATERIAL:TBC,ADDITIONAL FEATURES EN:SPIDER,JAWFLEX,SW-190 | ACOPLAMIENTO; |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | L190-S/W-ELEM | [10 empty] | JAWFLEX |  | LOVEJOY | SW-190 | APPLIED INDUSTRIAL TECHNOLOGIES | L190-S/W-ELEM | [14 empty] | https://www.lovejoy-inc.com/wp-content/uploads/2017/11/JawSWStyleInstallGuideAugust2012.pdf | [9 empty] | Enriched | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE | SPIDER | BORE DIAMETER |  | HUB DIAMETER |  | LENGTH |  | MATERIAL | TBC | KEYWAY SIZE |  | LOCKING SCREW SIZE | 1-2 IN-13 TPI | SPEED RATING |  | TORQUE RATING | 65 NM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1179593 | 1179593 |  |  |  | ERSA | M | 3000 | 1542883GZPCLNT100 | EA |  | COUPLING;ROD,STL,MQC0612600 | ACOPLAMIENTO; | COUPLING;TYPE:ROD,SIZE:TBC,MATERIAL:STEEL,ADDITIONAL FEATURES EN:MQC0612600 | ACOPLAMIENTO; |  |  |  | 1070336 @@ DOWDENS GROUP PTY LTD T/A DOWDEN | MQC0612600 | [14 empty] | DOWDENS GROUP PTY LTD T/A DOWDEN | MQC0612600 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | SIZE:TBC |  | COUPLING | ROD | TYPE |  | THREAD SIZE |  | LENGTH |  | LOAD RATING |  | MATERIAL | STEEL | FINISH |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1180671 | 1180671 |  |  |  | ERSA | M | 4090 | 1574359GZPCLNT100 | EA |  | COUPLING;NO 3,BRS,0503-7327 | ACOPLAMIENTO; | COUPLING;TYPE:NO 3,SIZE:,MATERIAL:BRASS,ADDITIONAL FEATURES EN:0503-7327 | ACOPLAMIENTO; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 0503-7327 | [12 empty] | BURWELL TECHNOLOGIES PTY LTD | 0503-7327 | [16 empty] | https://www.burwell.com.au/assets/volumes/downloads/PRODUCT-GUIDE-2020_OCTOBER.pdf | [9 empty] | Enriched | 40141734 Hose fitting | TYPE NUMBER:3 |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 55 MM | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1180672 | 1180672 |  |  |  | ERSA | M | 4090 | 1574358GZPCLNT100 | EA |  | COUPLING;NO 2,BRS,0503-7227 | ACOPLAMIENTO; | COUPLING;TYPE:NO 2,SIZE:,MATERIAL:BRASS,ADDITIONAL FEATURES EN:0503-7227 | ACOPLAMIENTO; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 0503-7227 | [12 empty] | BURWELL TECHNOLOGIES PTY LTD | 0503-7227 | [16 empty] | https://www.burwell.com.au/assets/volumes/downloads/PRODUCT-GUIDE-2020_OCTOBER.pdf | [9 empty] | Enriched | 40141734 Hose fitting | TYPE NUMBER:2 |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 48 MM | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1180676 | 1180676 |  |  |  | ERSA | M | 4090 | 1574354GZPCLNT100 | EA |  | COUPLING;RUBBERS,0501-0272 | ACOPLAMIENTO; | COUPLING;TYPE:RUBBERS,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:SUIT BRASS AND STEEL COUPLINGS,0501-0272 | ACOPLAMIENTO; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 0501-0272 | [12 empty] | BURWELL TECHNOLOGIES PTY LTD | 0501-0272 | [16 empty] | https://www.burwell.com.au/assets/volumes/downloads/PRODUCT-GUIDE-2020_OCTOBER.pdf | [9 empty] | Cleansed | 40141734 Hose fitting | FOR BRASS AND STEEL |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1180689 | 1180689 |  |  |  | ERSA | M | 4090 | 1574310GZPCLNT100 | EA |  | COUPLING;JONT,R25,STL,ROD,308287-6 | ACOPLAMIENTO; | COUPLING;TYPE:JOINT,SIZE:R25,MATERIAL:STEEL,ADDITIONAL FEATURES EN:ROD,308287-6 | ACOPLAMIENTO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 308287-6 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 308287-6 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | ROD | TYPE | JOINT | THREAD SIZE | 25 MM BSPT | LENGTH |  | LOAD RATING |  | MATERIAL | STEEL | FINISH |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1184444 | 1184444 |  |  |  | ERSA | M | 5910 | 1559041GZPCLNT100 | EA |  | COUPLING;HYDR,1/4 IN BSPT,BRS,AUTOMTC,M | ACOPLAMIENTO; | COUPLING;TYPE:HYDRAULIC,SIZE:1/4 IN BSPT,MATERIAL:BRASS,ADDITIONAL FEATURES EN:AUTOMATIC,MALE | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | RYCO 201 | [12 empty] | BUTLER AGENCIES PTY LTD | RYCO 201 | [16 empty] | https://www.autolinkparts.com.au/air-fitting-coupling-ryco-type-1-4-male-thread-ryc | [9 empty] | Cleansed | 31163000 Couplings | AUTOMATIC,HYDRAULIC |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 1/4 IN | MATERIAL | BRASS | CONNECTION TYPE | MALE BSPT | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1184503 | 1184503 |  |  |  | ERSA | M | 5910 | 1558976GZPCLNT100 | EA |  | COUPLING;SPCL,2 IN,SS | ACOPLAMIENTO; | COUPLING;TYPE:SPECIAL,SIZE:2 IN,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:SAFETY,BREAKWAY,TODO, 2 IN BSPP,S/S,VITON,3.5MM BREAK PINS | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | ENZ-MITNGX2-BEX-4407 | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | ENZ-MITNGX2-BEX-4407 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | SAFETY,BREAKWAY,TODO,3.5 MM BREAK PINS |  | COUPLING | NO MODIFIER | TYPE | SPECIAL | SIZE | 2 IN | MATERIAL | STAINLESS STEEL,VITON | CONNECTION TYPE | BSPP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1186511 | 1186511 |  |  |  | ERSA | M | 5910 | 1552701GZPCLNT100 | EA |  | COUPLING;HYD,1/2 IN BSP,MTL | ACOPLAMIENTO; | COUPLING;TYPE:HYD,SIZE:1/2 IN BSP,MATERIAL:METAL,ADDITIONAL FEATURES EN:CLAW,TYPE A,FEMALE | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EI-LAF1/2 | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | EI-LAF1/2 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | HYDRAULIC,TYPE A |  | COUPLING | NO MODIFIER | TYPE | CLAW | SIZE | 1/2 IN | MATERIAL | METAL | CONNECTION TYPE | FEMALE BSP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1186512 | 1186512 |  |  |  | ERSA | M | 5910 | 1552700GZPCLNT100 | EA |  | COUPLING;HYD,1/2 IN,MTL,M | ACOPLAMIENTO; | COUPLING;TYPE:HYD,SIZE:1/2 IN,MATERIAL:METAL,ADDITIONAL FEATURES EN:MALE | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EI-CN1/2-SM | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | EI-CN1/2-SM | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | HYDRAULIC |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 1/2 IN | MATERIAL | METAL | CONNECTION TYPE | MALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1187363 | 1187363 |  |  |  | ERSA | M | 2210 | 1615753GZPCLNT100 | EA |  | COUPLING;ELECTROFUSION,355 MM,HDPE | ACOPLAMIENTO; | COUPLING;TYPE:ELECTROFUSION,SIZE:355 MM,MATERIAL:HDPE | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 9010-355 | [14 empty] | BUTLER AGENCIES PTY LTD | 9010-355 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 355 MM | MATERIAL | HDPE | CONNECTION TYPE | ELECTROFUSION | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1187550 | 1187550 |  |  |  | ERSA | M | 5620 | 1613948GZPCLNT100 | EA |  | COUPLING;N-EUPEX,55 MM,CI,G/BOX TO PUMP | ACOPLAMIENTO; | COUPLING;TYPE:N-EUPEX,SIZE:55 MM,MATERIAL:CAST IRON,ADDITIONAL FEATURES EN:G/BOX TO PUMP,SUIT:CIS TURBO CIRC WATER PUMP,D1: 55MM FINISHED TO H7 WITH 2 OF 16X10 DIN6885 KEYS 180DEG APART W,G/SCREW ABOVE KEYS,D2: 60MM FINISHED TO H7 WITH 18X11 JS9 KEY + G/SCREW ABOVE KEY | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | N-EUPEX200-180H-55MM | [14 empty] | CONSOLIDATED BEARING CO (QLD) | 200-180H-55MM | [14 empty] | Url Not Found |  |  | GEARBOX TO PUMP,CIS TURBO CIRC WATER PUMP | [6 empty] | Cleansed | 31163000 Couplings | BRAND:N-EUPEX,D1 55 MM FINISHED TO H7 C/W 2 OF 16X10 DIN 6885 KEYS 180 DEG APART W,G/SCREW ABOVE KEYS,D2: 60MM FINISHED TO H7 WITH 18X11 JS9 KEY + G/SCREW ABOVE KEY |  | COUPLING | NO MODIFIER | TYPE |  | SIZE | 55 MM | MATERIAL | CAST IRON | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1205315 | 1205315 |  |  |  | ERSA | M | 5820 | 150132MRM | EA |  | COUPLING,HOSE:1.7/8IN JIC FEMALE SWIVEL | COUPLING,HOSE:1.7/8IN JIC FEMALE SWIVEL | COUPLING,HOSE:1.7/8IN JIC FEMALE SWIVEL HOSE TAIL |  |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | 10677-24-24 | [12 empty] | PARKER | 10677-24-24 | ENZED MOUNT ISA(RKM INVESTMENTS) | 10677-24-24 | [14 empty] | https://ph.parker.com/us/en/product/77-series-fittings/10677-24-24 | [9 empty] | Enriched | 40141734 Hose fitting |  |  | COUPLING | HOSE | TYPE | HIGH PRESSURE,HIGH PERFORMANCE | NOMINAL SIZE | 1-7/8 IN | LENGTH |  | END CONNECTION | 1-1/2 IN 37 DEG JIC FEMALE SWIVEL TAIL | PRESSURE RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 | Partially Match | 1207322 | 1207322 |  |  |  | ERSA | M | 5920 | 132757MRM | EA |  | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-A | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-A | COUPLING ASSY;SIBRE DRIVE COUPLING AFC-AC-90;MOTOR TOGEARBOX COUPLING C/W 400X30MM DISC;14CV06-08-09-13-16; |  |  |  |  | 1068232 @@ SEW EURODRIVE PTY LTD | PN1207322 | [11 empty] | 14CV06-08-09-13-16 | SIBRE | AFC-AC-90 | SEW EURODRIVE PTY LTD | PN1207322 | [14 empty] | https://www.sibre.de/wp-content/uploads/2022/05/AFC-AS-2021_EN.pdf |  |  | MOTOR TO GEARBOX | [6 empty] | Enriched | 31163013 Shaft coupling | ASSEMBLY,C/W 400X30 MM DISC |  | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 100 MM | LENGTH | 454 MM | TORQUE RATING | 3600 KN | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207324 | 1207324 |  |  |  | ERSA | M | 5920 | 132759MRM | EA |  | COUPLING ASSY;RIGID COUPLING RC450 (MC07 | COUPLING ASSY;RIGID COUPLING RC450 (MC07 | COUPLING ASSY;RIGID COUPLING RC450 (MC07 SPECIAL);GEARBOX TO PULLEY COUPLING;14CV06-08-09-13-15; |  |  |  |  | 1068232 @@ SEW EURODRIVE PTY LTD | PN1207324 | [11 empty] | 14CV06-08-09-13-15 |  | RC450 | SEW EURODRIVE PTY LTD | PN1207324 | [14 empty] | Url Not Found |  |  | GEARBOX TO PULLEY | [6 empty] | Cleansed | 31163000 Couplings | MC07 SPECIAL,ASSEMBLY |  | COUPLING | NO MODIFIER | TYPE | RIGID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207326 | 1207326 |  |  |  | ERSA | M | 5920 | 132763MRM | EA |  | COUPLING ASSY;KTR ROTEX 75 COUPLING;MOTO | COUPLING ASSY;KTR ROTEX 75 COUPLING;MOTO | COUPLING ASSY;KTR ROTEX 75 COUPLING;MOTOR TO GEARBOX COUPLING;14CV05; |  |  |  |  | 1068232 @@ SEW EURODRIVE PTY LTD | PN1207326 | [11 empty] | 14CV05 | KTR ROTEX | 75 | SEW EURODRIVE PTY LTD | 1207326 | [14 empty] | https://www.anaheimautomation.com/manuals/coupling/L011399%20-%20Rotex%20Standard%2075%20Series.pdf |  |  | MOTOR TO GEARBOX | [6 empty] | Cleansed | 31163013 Shaft coupling | ASSEMBLY |  | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1207328 | 1207328 |  |  |  | ERSA | M | 5920 | 132767MRM | EA |  | COUPLING ASSY;HS COUPLING ROTEX 75;MOTOR | COUPLING ASSY;HS COUPLING ROTEX 75;MOTOR | COUPLING ASSY;HS COUPLING ROTEX 75;MOTOR TO GEARBOX COUPLING;14CV07-11-12-16; |  |  |  |  | 1068232 @@ SEW EURODRIVE PTY LTD | PN1207328 | [11 empty] | 14CV07-11-12-16 | ROTEX | 75 | SEW EURODRIVE PTY LTD | 1207328 | [14 empty] | https://www.anaheimautomation.com/manuals/coupling/L011399%20-%20Rotex%20Standard%2075%20Series.pdf |  |  | MOTOR TO GEARBOX | [6 empty] | Cleansed | 31163013 Shaft coupling | ASSEMBLY,HS |  | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 7 | 2023-10-16 | 2023-11-08 |  | 1213928 | 1213928 |  |  |  | ERSA | M | 5920 | 1281013MRM | EA |  | COUPLING ASSY,QC;COUPLING ASSEMBLY | COUPLING ASSY,QC;COUPLING ASSEMBLY | COUPLING ASSY,QC;COUPLING ASSEMBLY |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | MM0609454 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | MM0609454 | [14 empty] | http://ht.crusherliners.com/ch440/wujing-pitman-assembly-928380.html | [9 empty] | Cleansed | 31163000 Couplings | ASSEMBLY |  | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed