## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1102966 | 1102966 |  |  |  | ERSA | M | 1510 | 1504580GZPCLNT100 | EA |  | BAR, SQ;QT BIS 400,40X75X2600,999979-2 | BAR, SQ;QT BIS 400,40X75X2600,999979-2 | BAR;ADDITIONAL FEATURES:SQ;QT BIS 400,40X75X2600,999979-2 |  |  |  |  | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 1504580 | 1068289 @@ INFRABUILD STEEL CENTRE | 22233949 | [8 empty] | TONKIN STEEL (NQ) PTY LTD | 1504580 |  |  | INFRABUILD STEEL CENTRE | 22233949 |  | 999979-2 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30260000 Structural materials |  |  | BAR | SQUARE | SIZE | 40X75 MM | LENGTH | 2.6 MM | MATERIAL | BISALLOY 400 | MATERIAL SPECIFICATION |  | PROCESS | QUENCHED,TEMPERED | WEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1104722 | 1104722 |  |  |  | ERSA | M | 1600 | 1495389GZPCLNT100 | EA |  | BAR,GROUND;LINK EARTH BAR,12 WAY,IPDEB12 | BAR,GROUND;LINK EARTH BAR,12 WAY,IPDEB12 | [5 empty] | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | IPDEB12 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1495389 | [10 empty] | IPD | EB12 | CNW (MOUNT ISA) ELECT WHOLESALER | IPDEB12 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1495389 | [12 empty] | https://www.ipd.com.au/earth-bar-12-way-length-144mm-eb12 | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | NUMBER OF WAYS:12,GROUND,LINK | CROSS SECTION:10X20 MM2 | BAR | EARTHING | TYPE |  | LENGTH | 143 MM | WIDTH |  | HEIGHT |  | MATERIAL |  | ELECTRICAL RATING | 165 A | NUMBER OF TERMINALS |  | IMPEDANCE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK_MFR SITE URL NOT OPENED | 2023-10-16 | 2023-11-08 |  | 1186720 | 1186720 |  |  |  | ERSA | M | 4010 | 1551945GZPCLNT100 | EA |  | BAR,PRY;IDXNG,EXTENDABLE,21-33 IN | BARRA PALAN; | BAR,PRY;ADDITIONAL FEATURES EN:INDEXING,EXTENDABLE,21-33 IN | BARRA PALANCA; |  |  |  | 1068391 @@ BOSS | 82220 | [12 empty] | BOSS | 82220 | [16 empty] | https://www.gearwrench.com/products/pry-bars/82220-29-extendable-indexing-pry-bar | https://www.thebossshop.com.au/extendable-indexing-pry-bar-457mm-736mm | [8 empty] | Enriched | 27112502 Pry bars |  |  | BAR | PRY | TYPE | EXTENDABLE INDEXING | LENGTH | 21 IN (CONTRACTED),33.5 IN (EXTENDED) | END TYPE | CURVED | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION |  | END WIDTH |  | COATING/FINISH | BLACK PHOSPHATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1187186 | 1187186 |  |  |  | ERSA | M | 1600 | 1544538GZPCLNT100 | EA |  | BAR;CABLE LUG,95X19X9.5MM,MTL | BARRA; | BAR;TYPE:CABLE LUG,DIMENSIONS:95X19X9.5MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:LINK,6 TUNNELS,1 STUN | BARRA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLIBP165C6 | [12 empty] | CLIPSAL | BP165C6 | CNW (MOUNT ISA) ELECT WHOLESALER | CLIBP165C6 | [14 empty] | https://www.clipsal.com/products/detail?CatNo=BP165C6&itemno=BP165C6&tab-document-1=0 | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | NUMBER OF TUNNELS:6 | CONDUCTOR SIZE:16 MM2,TERMINAL:SCREW/STUD, | BAR | EARTHING | TYPE | LINK,CABLE LUG | LENGTH | 95 MM | WIDTH | 19 MM | HEIGHT | 9.5 MM | MATERIAL | BRASS | ELECTRICAL RATING | 165 A | NUMBER OF TERMINALS | 1 | IMPEDANCE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1078177 | 1078177 |  |  |  | ERSA | M | 5955 | 1587974GZPCLNT100 | EA | 3000010 | BAR;SAN,88716459 | BARRA;SAN,88716459 | BAR;MNFR:SANDVIK,PTNO:88716459 | BARRA;MNFR:SANDVIK,PTNO:88716459 |  | SANDVIK | 88716459 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 88716459 | [12 empty] | SANDVIK | 88716459 | [16 empty] | https://www.aga-parts.com/sandvik-parts?page=8997 | https://www.aga-parts.com/sandvik/part/87960969_see-88716459-rb/ | [8 empty] | Cleansed | 30260000 Structural materials | RA |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1188488 | 1188488 |  |  |  | ERSA | M | 1600 | 1585655GZPCLNT100 | EA |  | BAR;T,P7,DI,LID SUPPORT,F/P7 PIT | BARRA; | BAR;TYPE:T,DIMENSIONS:P7,MATERIAL:DUCTILE IRON,ADDITIONAL FEATURES EN:LID SUPPORT,F/P7 PIT,BRAND: PLP DULMISON,PTNO:PIT7TBAR | BARRA;,PTNO:PIT7TBAR |  |  | PIT7TBAR | 1072013 @@ METAL MANUFACTURES PTY LTD | DUMPIT7TBAR | [12 empty] | PLP DULMISON | PIT7TBAR | METAL MANUFACTURES PTY LTD | DUMPIT7TBAR | [14 empty] | https://media.mmem.com.au/Datasheets/PLP/PLP_Dulmison.pdf | [9 empty] | Cleansed | 30260000 Structural materials | FOR P7 PIT LID SUPPORT |  | BAR | TEE | TYPE |  | WIDTH |  | HEIGHT |  | LENGTH |  | THICKNESS |  | MATERIAL | DUCTILE IRON | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1009774 | 1009774 |  |  |  | ERSA | M | 5955 | 1613986GZPCLNT100 | EA | 3000007 | BREAKER,CIRCT;MAN,928821,BATTERY/START I | DISYUNTORA;MAN,928821 | BREAKER,CIRCUIT;MNFR:MANITOU,PTNO:928821,ADDITIONAL FEATURES EN:BATTERY/START ISOLATOR | DISYUNTORA;MNFR:MANITOU,PTNO:928821 |  | MANITOU | 928821 | 1068295 @@ JUNGHEINRICH AUSTRALIA | 928821 | [12 empty] | MANITOU | 928821 | JUNGHEINRICH AUSTRALIA | 928821 | [14 empty] | https://remsklad.com/parts/manitou/?page=1113 | [9 empty] | Cleansed | 39121601 Circuit breakers | FOR BATTERY/START ISOLATOR |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1164746 | 1164746 | 1350531 | AU_QM_000133836 |  | ERSA | M | 1600 | 1350531GZPCLNT100 | EA |  | BREAKER,CIRCT;MINTR, C CURVE, DC,415 VAC | BREAKER,CIRCT;MINTR, C CURVE, DC,415 VAC | BREAKER,CIRCUIT;MINIATURE, C CURVE, DC,VOLTAGE RATING:415 VAC,FRAME RATING:IP20, 40,INTERRUPT RATING:6 KA,NUMBER OF POLES:2P, OVERALL SIZE:WD 36 X HT 86 X DP 76 MM,TRIP SETTING:20 A AT 30 DEG C,MOUNTING TYPE:DIN RAIL 35,MNFR:01)CNW,PTNO:01)DTCBDC220C |  | CIRCUIT BREAKER:6KA;20A;DC;2 POLE;C CURVE;DINRAIL MOUNTE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCBDC220C | [12 empty] | NHP | DTCBDC220C | CNW (MOUNT ISA) ELECT WHOLESALER | DTCBDC220C | [14 empty] | https://nhpnz.co.nz/Product/DTCBDC220C | [9 empty] | Enriched | 39121603 Miniature circuit breakers | DEGREE OF PROTECTION:IP20/IP40 | SERIES:DIN-T DC,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING | 20 A AT 30 DEG C | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,IEC 60898,IEC 60068-2,DIN 40046,IEC 60077-16-3,IEC 60947-2,RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1134242 | 1134242 | 1416154 | AU_QM_000261892 |  | ERSA | M | 5915 | 1416154GZPCLNT100 | EA |  | BREAKER,CIRCT;MOULDED CASE, MINIATURE | BREAKER,CIRCT;MOULDED CASE, MINIATURE | BREAKER,CIRCT;MNFR: ,PTNO:MOULDED CASE, MINIATURE |  | BREAKER,CIRCT;MOULDED CASE, MINIATUREBREAKER,CIRCT;MOULDED CASE, MINIATURE | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers |  |  | CIRCUIT BREAKER | NO MODIFIER | TYPE | MOULDED CASE,MINIATURE | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1153477 | 1153477 |  |  |  | ERSA | M | 1600 | 1514642GZPCLNT100 | EA |  | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE216/30S | BREAKER,CIRCUIT;RCD/MCB 2,CLIRCBE216/30S | BREAKER,CIRCUIT;ADDITIONAL FEATURES:RCD/MCB 2,CLIRCBE216/30S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLIRCBE216/30S | [12 empty] | CLIPSAL | RCBE216/30S | CNW (MOUNT ISA) ELECT WHOLESALER | CLIRCBE216/30S | [14 empty] | https://www.clipsal.com/products/detail?CatNo=RCBE216/30S&itemno=RCBE216/30S&tab-document-1=0 | https://eref.se.com/au/en/myse/product-pdf/RCBE216/30S | [8 empty] | Enriched | 39121601 Circuit breakers | C/W OVERCURRENT PROTECTION,MCB 2 | DEGREE OF PROTECTION:IP20/IP40,TRIP CLASS:C,TRIP SETTING:30 MA | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | THERMAL MAGNETIC | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 240 VAC,16 A | INTERRUPT RATING | 4.5 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 92.5 LGX18 WDX71.5 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | AS/NZS 61009 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 | Processed based on Websource, Conflict w.r.t Input | 1143890 | 1143890 | 1350528 | AU_QM_000133833 |  | ERSA | M | 1600 | 1350528GZPCLNT100 | EA |  | BREAKER,EARTH LEAK;415 V,20 A,10 KA,C | BREAKER,EARTH LEAK;415 V,20 A,10 KA,C | BREAKER,EARTH LEAKAGE;VOLTAGE RATING:415 V,CURRENT RATING:20 A,INTERRUPT RATING:10 KA,MOUNTING METHOD:DIN RAIL,CURVE:C,DIMENSIONS: DP 68 MM,ADDITIONAL FEATURES EN:3 POLE,MNFR:01)CNW,PTNO:01)DTCB10320C |  | CIRCUIT BREAKER:10KA;20A;3 POLE;C CURVE;DINRAIL MOUNTED; |  |  | 1068652 @@ J BLACKWOOD & SONS | 9938377 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10320C | [10 empty] | NHP | DTCB10320C | CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10320C | [10 empty] | J BLACKWOOD & SONS | 9938377 |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/DTCB10320C | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 54 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,DIN 40046,IEC 60898,IEC 60077-16-3,IEC 60947-2,IEC 60068-2,RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1189093 | 1189093 |  |  |  | ERSA | M | 1600 | 1576359GZPCLNT100 | EA | 3000422 | BREAKER,EARTH LEAK;CNW,HAGBD163T,MCB/RCD | INTERRUPTOR TIERRA;CNW,HAGBD163T | BREAKER,EARTH LEAKAGE;MNFR:CNW,PTNO:HAGBD163T,ADDITIONAL FEATURES EN:MCB/RCD ADD-ON-BLOCK RCCB 1P 63A 30MA | INTERRUPTOR FUGA TIERRA;MNFR:CNW,PTNO:HAGBD163T |  | CNW | HAGBD163T | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HAGBD163T | [12 empty] | HAGER | BD163T | CNW (MOUNT ISA) ELECT WHOLESALER | HAGBD163T | [14 empty] | https://hager.com/au/products/product-information/bd163t-add-on-block-3p-63a-30ma-a-1mod | https://pcaelectrical.com.au/products/hager-rcbo-1p-n-20a-6ka-240v-30ma-type-a-bd163t | [8 empty] | Enriched | 39121614 Earth leakage circuit breakers | NUMBER OF POLES:1 | TYPE A,NUMBER OF MODULE:1,TEMPERATURE RATING:-5 TO 40 DEG C | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE | MINIATURE,RESIDUAL CURRENT DEVICE ADD-ON BLOCK | ELECTRICAL RATING | 230/400 TO 240/415 VAC,63 A,50 HZ | CONFIGURATION |  | INTERRUPT RATING | 3 KA | LEAKAGE SET CURRENT | 30 MA | LEAKAGE MOTION TIME |  | CERTIFICATION/STANDARD | AS/ NZS 61008.1,IEC 61008-1 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1179993 | 1179993 |  |  |  | ERSA | M | 1600 | 1569045GZPCLNT100 | EA | 3000422 | BREAKER,EARTH LEAK;CNW,SCHA9V02763,RCD A | INTERRUPTOR TIERRA;CNW,SCHA9V02763 | BREAKER,EARTH LEAKAGE;MNFR:CNW,PTNO:SCHA9V02763,ADDITIONAL FEATURES EN:RCD ADD ON 63A 30MA 4MOD A ACTI 9 VIGI A | INTERRUPTOR FUGA TIERRA;MNFR:CNW,PTNO:SCHA9V02763 |  | CNW | SCHA9V02763 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SCHA9V02763 | [12 empty] | SCHNEIDER ELECTRIC | A9V02763 | CNW (MOUNT ISA) ELECT WHOLESALER | SCHA9V02763 | [14 empty] | https://www.se.com/au/en/product/A9V02763/acti9-vigi-ic60-earth-leakage-addon-block-3p-+-n-63a-30ma-a-type/ | [9 empty] | Enriched | 39121614 Earth leakage circuit breakers | SERIES:ACTI 9 VIGI A,TYPE A,NUMBER OF MODULE:4,RCD | DEGREE OF PROTECTION:IP20/IP40,MOUNT:DIN RAIL,SIZE:108 WDX91 HTX73.5 DP MM,TEMPERATURE RATING:-5 TO 60 DEG C | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE | ADD-ON BLOCK | ELECTRICAL RATING | 400/415 VAC,63 A,50/60 HZ | CONFIGURATION |  | INTERRUPT RATING | 6 KA | LEAKAGE SET CURRENT | 30 MA | LEAKAGE MOTION TIME |  | CERTIFICATION/STANDARD | EN 61009-1,IEC 61009-1 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK_NM REVIEW | 2023-10-16 | 2023-11-08 |  | 1045398 | 1045398 | 1415852 | AU_QM_000261559 |  | ERSA | M | 5915 | 1415852GZPCLNT100 | EA |  | BREAKER,EARTH LEAK;MINIATURE RCD,240 VAC | BREAKER,EARTH LEAK;MINIATURE RCD,240 VAC | BREAKER,EARTH LEAKAGE;TYPE:MINIATURE RCD,LEAKAGE CURRENT:30 MA,VOLTAGE RATING:240 VAC,CURRENT RATING:10 A,INTERRUPT RATING:10 KA, AD |  | BREAKER,EARTH LEAK;MINIATURE RCD,240 VACBREAKER,EARTH LEAK;MINIATURE RCD,30MA,2 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121614 Earth leakage circuit breakers | AD |  | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE | MINIATURE,RESIDUAL CURRENT DEVICE | ELECTRICAL RATING | 240 VAC,10 A | CONFIGURATION |  | INTERRUPT RATING | 10 KA | LEAKAGE SET CURRENT | 30 MA | LEAKAGE MOTION TIME |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK_NM REVIEW | 2023-10-16 | 2023-11-08 |  | 1028141 | 1028141 | 1350699 | AU_QM_000134441 |  | ERSA | M | 3300 | 1350699GZPCLNT100 | EA | 3000030 | BREAKER,EARTH LEAK;RCD, OVER VOLTAGE | BREAKER,EARTH LEAK;RCD, OVER VOLTAGE | BREAKER,EARTH LEAKAGE;TYPE:RCD, OVER VOLTAGE,ADDITIONAL FEATURES EN:PROTECTOR, PROBE CONTROL CABINET (PCS 6410),MNFR:OUTOTEC,PTNO: 537552 |  | RESIDUAL CURRENT DEVICE:OVER VOLTAGE PROTECTOR DEHNGUARD T275;PR | OUTOTEC | 537552 | [12 empty] | OUTOTEC | 537552 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121614 Earth leakage circuit breakers | EHNGUARD T275,PROBE CONTROL CABINET (PCS 6410) |  | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE | RESIDUAL CURRENT DEVICE,OVER VOLTAGE PROTECTOR | ELECTRICAL RATING |  | CONFIGURATION |  | INTERRUPT RATING |  | LEAKAGE SET CURRENT |  | LEAKAGE MOTION TIME |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1152545 | 1152545 |  |  |  | ERSA | M | 3300 | 1478334GZPCLNT100 | EA |  | BREAKER,TOY,187120F-03-1 | BREAKER,TOY,187120F-03-1 | BREAKER,TOY,187120F-03-1 |  |  |  |  | 1068087 @@ ASHDOWN INGRAM | 187120F-03-1 | [12 empty] | EATON | 187120F-03-1 | ASHDOWN INGRAM | 187120F-03-1 | TOYOTA | 187120F-03-1 | [12 empty] | https://www.eaton.com/content/dam/eaton/products/emobility/CPCD_Transportation_Catalog.pdf | https://www.mouser.com/datasheet/2/87/BUS_Tns_DS_18X_CIRCUITBREAKER-515519.pdf | [8 empty] | Enriched | 39121601 Circuit breakers |  | DEGREE OF PROTECTION:IP66,TEMPERATURE RATING:-40 TO 85 DEG C,STAINLESS STEEL NUTS AND WASHER INSTALLED | CIRCUIT BREAKER | NO MODIFIER | TYPE | MANUAL RESET | CURRENT RATING | 120 A | VOLTAGE RATING | 48 VDC | FRAME RATING |  | INTERRUPT RATING | 1.5 KA | NUMBER OF POLES | 1 | OVERALL SIZE | 56.82 WDX87.35 HTX43.81 DP MM | TRIP SETTING |  | TERMINAL TYPE | STUD | MOUNTING TYPE | SURFACE | CERTIFICATION/STANDARD | UL 94-V0,MARINE | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK_NM REVIEW | 2023-10-16 | 2023-11-08 | Processed based on Websource, Conflict w.r.t Input | 1078132 | 1078132 | 1440099 | AU_QM_000983072 |  | ERSA | M | 3300 | 1440099GZPCLNT100 | EA | 3000028 | BREAKER;MIT,BU-H7.5K | BREAKER;MIT,BU-H7.5K | BREAKER;MNFR:MITSUBISHI,PTNO:BU-H7.5K |  | CIRCUIT BREAKER:7.5KW BREAK UNIT;MITSUBISHI INVERTER; | MITSUBISHI | BU-H7.5K | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | BU-H7.5K | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | BU-H7.5K | [10 empty] | MITSUBISHI | BU-H7.5K | LAWRENCE & HANSON PTY. LTD. | BU-H7.5K | CNW (TOWNSVILLE) ELECT SUPPLIES | BU-H7.5K | [12 empty] | https://www.electrical.com/Products/Drivess-Mitsubishi/BU-H7.5K | https://www.nriparts.com/products/mitsubishi-bu-h75k-freqrol-brake-option-400v-ac-replacement-parts-ac-motor-drive/225723?item_id=425722 | [8 empty] | Enriched | 39122000 Electrical Variable Speed Drives | INVERTER |  | DRIVE | VARIABLE FREQUENCY | TYPE | MOTOR | POWER RATING | 7.5 KW | INPUT VOLTAGE | 400 VAC | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 | CURRENT RATING UPDATED AS PER WEBSOURCE | 1212700 | 1212700 |  |  |  | ERSA | M | 1600 | 137357MRM | EA |  | CIRCUIT BREAKER:CIRCUIT BREAKER;50KA;40 | CIRCUIT BREAKER:CIRCUIT BREAKER;50KA;40 | CIRCUIT BREAKER:CIRCUIT BREAKER;50KA;400A;MICROLOGIC;1.3M;GRINDING SWITCHROOM SPARES; |  |  |  |  | 1079053 @@ SCHNEIDER ELECTRIC (DARWIN) | C40N31M320 | [12 empty] | SCHNEIDER ELECTRIC (DARWIN) | C40N31M320 | [16 empty] | https://www.se.com/in/en/product/C40N31M320/circuit-breaker-compact-nsx400n-50ka-415vac-3-poles-micrologic-1-3m-trip-unit-320a/ | [9 empty] | Enriched | 39121616 Molded case circuit breakers | TRIP UNIT:MICROLOGIC 1.3M,FOR GRINDING SWITCHROOM SPARE | DEGREE OF PROTECTION:IP40,TEMPERATURE RATING:-25 TO 70 DEG C | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 320 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 50 KA | FRAME TYPE |  | CONTACT RATING | 690 VAC | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | FIXED BACK PLATE | TERMINAL TYPE |  | SIZE | 140 WDX255 HTX110 DP MM | CERTIFICATION/STANDARD | CCC,EAC,EN/IEC 60947 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1205154 | 1205154 |  |  |  | ERSA | M | 1600 | 1008222MRM | EA |  | CIRCUIT BREAKER:EARTH LEAKAGE RELAY E/L | CIRCUIT BREAKER:EARTH LEAKAGE RELAY E/L | CIRCUIT BREAKER:EARTH LEAKAGE RELAY E/L 30MA-1A 120/240VAC 0.3-2SEC TO BE USED WITH 240V AC SHUNT | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121614 Earth leakage circuit breakers | RELAY,SHUNT |  | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE |  | ELECTRICAL RATING | 120/240 VAC | CONFIGURATION |  | INTERRUPT RATING |  | LEAKAGE SET CURRENT | 30 MA TO 1 A | LEAKAGE MOTION TIME | 0.3 TO 2 SEC | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 | TRIP SETTING UPDATED AS PER WEBSOURCE | 1208360 | 1208360 |  |  |  | ERSA | M | 1600 | 155366MRM | EA |  | CIRCUIT BREAKER:MAIN;INCOMING POWER SUPP | CIRCUIT BREAKER:MAIN;INCOMING POWER SUPP | CIRCUIT BREAKER:MAIN;INCOMING POWER SUPPLY TO DCB;SET TO300A;ASSY COMPRISING;E2LM3600F L FRAME1000V 3P 600A ROCK BREAKER;LT3315TA TR IPUNIT-1 3P 250-315A;SNT4LP11K 110/240VAC | [18 empty] | EATON | E2LM3600F | [16 empty] | https://www.eaton.com/us/en-us/skuPage.E2LM3600F.html | [9 empty] | Enriched | 39121616 Molded case circuit breakers | INCOMING POWER SUPPLY TO DCB,ASSEMBLY COMPRISING OF ROCK BREAKER,3P 250 TO 315 A LT3315TA TRIP UNIT-1,110/240 VAC SNT4LP11K SHUNT TRIP |  | CIRCUIT BREAKER | MOLDED CASE | TYPE | MAIN,INTERCHANGEABLE THERMAL MAGNETIC | CURRENT RATING | 600 A | VOLTAGE RATING | 1000Y/577 VAC,250 VDC | NUMBER OF POLES | 3 | INTERRUPT RATING | 10 KA | FRAME TYPE | L | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 3000 TO 6000 A | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1067297 | 1067297 | 1351546 | AU_QM_000136270 |  | ERSA | M | 1600 | 1351546GZPCLNT100 | EA |  | CIRCUIT BREAKER;MCB;DC;6KA;1P;2A;C CURVE | CIRCUIT BREAKER;MCB;DC;6KA;1P;2A;C CURVE | CIRCUIT BREAKER: CIRCUIT BREAKER;MCB;DC;6KA;1P;2A;C CURVE ; |  | CIRCUIT BREAKER:CIRCUIT BREAKER;MCB;DC;6KA;1P;2A;C CURVE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCBDC102C | [12 empty] | NHP | DTCBDC102C | CNW (MOUNT ISA) ELECT WHOLESALER | DTCBDC102C | [14 empty] | https://nhpnz.co.nz/product/DTCBDC102C | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  | SERIES:DIN-T DC,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING | 240 VAC,250 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,IEC 60898,IEC 60068-2,DIN 40046,IEC 60077-16-3,IEC 60947-2,RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1062779 | 1062779 | 1430269 | AU_QM_000645119 |  | ERSA | M | 1600 | 1430269GZPCLNT100 | EA |  | COMBINED FUSE SWITCH;660VAC;3P;300AMP; | COMBINED FUSE SWITCH;660VAC;3P;300AMP; | CIRCUIT BREAKER: COMBINED FUSE SWITCH;660VAC;3P;300AMP; HDAXP3003N |  | CIRCUIT BREAKER:COMBINED FUSE SWITCH;660VAC;3P;300AMP; |  |  | 1069477 @@ IPD GROUP LTD | HDAXP3003 | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 1430269 | [8 empty] | IPD GROUP LTD | HDAXP3003 |  |  | LAWRENCE & HANSON PTY. LTD. | 1430269 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121601 Circuit breakers | COMBINED FUSE SWITCH |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 300 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1135140 | 1135140 | 1356868 | AU_QM_000149454 |  | ERSA | M | 1600 | 1356868GZPCLNT100 | EA |  | DIN-T10 SERIES; 10KA; 1-POLE; C-CURVE; 1 | DIN-T10 SERIES; 10KA; 1-POLE; C-CURVE; 1 | CIRCUIT BREAKER: DIN-T10 SERIES; 10KA; 1-POLE; C-CURVE; 1 6A; MCB; GFM NORTH DEWATERING SYSTEM |  | CIRCUIT BREAKER:DIN-T10 SERIES; 10KA; 1-POLE; C-CURVE; 1 |  |  | 1068652 @@ J BLACKWOOD & SONS | 8578853 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10116C | [10 empty] | NHP | DTCB10116C | CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10116C | [10 empty] | J BLACKWOOD & SONS | 8578853 |  |  | https://www.nhp.com.au/product/dtcb10116c | [9 empty] | Enriched | 39121603 Miniature circuit breakers | SERIES:DIN-T10,FOR GFM NORTH DEWATERING SYSTEM | DEGREE OF PROTECTION:IP20/IP40,TEMPERATURE RATING:-25 TO 55 DEG C | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS 3111,CE,IEC 60898,IEC 60068-2,DIN 40046,IEC 60077-16-3,IEC 60947-2,RCM,UL 94 V-2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1151024 | 1151024 | 1476488 | AU_QM_001159482 |  | ERSA | M | 1600 | 1476488GZPCLNT100 | EA |  | EARTH BAR; | EARTH BAR; |  |  | TERMINAL STRIP,GROUNDING: EARTH BAR; |  |  | 1068118 @@ XYLEM WATER SOLUTIONS AUSTRALIA LIM | 1201029 | [10 empty] | XYLEM WATER SOLUTIONS AUSTRALIA LIM | 1201029 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories | TERMINAL STRIP,GROUNDING |  | BAR | EARTHING | TYPE |  | LENGTH |  | WIDTH |  | HEIGHT |  | MATERIAL |  | ELECTRICAL RATING |  | NUMBER OF TERMINALS |  | IMPEDANCE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-10-16 | 2023-11-08 |  | 1135709 | 1135709 | 1426563 | AU_QM_000399089 |  | ERSA | M | 1600 | 1426563GZPCLNT100 | EA |  | EARTH LEAKAGE, 40A, 30MA, 4 POLE | EARTH LEAKAGE, 40A, 30MA, 4 POLE | CIRCUIT BREAKER: EARTH LEAKAGE, 40A, 30MA, 4 POLE LESS COVER |  | CIRCUIT BREAKER:EARTH LEAKAGE, 40A, 30MA, 4 POLE | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121614 Earth leakage circuit breakers | NUMBER OF POLES:4,LESS COVER |  | CIRCUIT BREAKER | EARTH LEAKAGE | TYPE |  | ELECTRICAL RATING | 40 A | CONFIGURATION |  | INTERRUPT RATING |  | LEAKAGE SET CURRENT | 30 MA | LEAKAGE MOTION TIME |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed