## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1025380 | 1025380 | 1386044 | AU_QM_000226922 |  | ERSA | M | 1610 | 1386044GZPCLNT100 | EA | 3000000 | BATTERY;ATL,7/V450HR | BATTERY;ATL,7/V450HR | BATTERY;MNFR:ATLAS COPCO,PTNO:7/V450HR |  | BATTERY;ATL,7/V450HRBATTERY;ATL,7/V450HR | ATLAS COPCO | 7/V450HR | [14 empty] | VARTA | V 450 HR | ATLAS COPCO | 7/V450HR | [14 empty] | https://www.varta-ag.com/fileadmin/varta_microbattery/downloads/service/battery-documentation/nickel-metal-hydride/Sales-Literature-201810_HANDBOOK_Rechargeable_Button_Cells_NiMH_en.pdf | https://www.digikey.com/en/products/detail/battery-store-inc/V450HR/14741289 ¦ https://www.airgunspares.com/d3battrepai-daystate-84volt-450mah-7v450.html | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  | CHARGE TIME:16 HR | BATTERY PACK | NO MODIFIER | TYPE | NICKEL METAL HYDRIDE,RECHARGEABLE | VOLTAGE RATING | 1.2 V | CAPACITY | 450 MAH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS | 7 | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 24.1 LGX34.1 WDX5.6 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1180560 | 1180560 |  |  |  | ERSA | M | 1600 | 1507719GZPCLNT100 | EA |  | BATTERY;RECHRG,12 V 280 W | BATERIA; | BATTERY;TYPE:RECHRG,SIZE:12 V 280 W,ADDITIONAL FEATURES EN:EATPWHR12280W4FR | BATERIA; | [17 empty] | EATON | PWHR12280W4FR | [16 empty] | https://www.batteryspecialist.ca/eaton-powerware-pwhr12280w4fr-12v-75ah-ups-battery/ | https://www.staticpower.com/assets/files/eaton/Batteries/PWHR12280W4FR.pdf | [8 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V,WATT RATING:280 W |  | BATTERY | STORAGE | TYPE | RECHARGEABLE,MAINTENANCE-FREE,SEALED LEAD ACID | ELECTROLYTE |  | CAPACITY | 75 AH | SHELF LIFE |  | TERMINAL TYPE | NUT AND BOLT | TEMPERATURE RATING | 3 TO 25 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 10-15/64 LGX6-39/64 WDX8-17/64 HT IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,ISO 9001,ISO 14001,IEC 896-2,DIN 473534,BS 6290 PT4 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1025491 | 1025491 | 1382052 | AU_QM_000222093 |  | ERSA | M | 1610 | 1382052GZPCLNT100 | EA | 3000013 | BATTERY;VOL,11400647 | BATTERY;VOL,11400647 | BATTERY;MNFR:VOLVO,PTNO:11400647 |  | BATTERY;VOL,11400647BATTERY;VOL,11400647 | VOLVO | 11400647 | [14 empty] | VOLVO | 11400647 | [16 empty] | https://www.powerpartspro.com/oem-parts/volvo-excavator-parts?start=51600 | [9 empty] | CLEANSED | 26111700 Batteries and cells and accessories |  |  | RETAINER | NO MODIFIER | TYPE | BATTERY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1025489 | 1025489 | 1382088 | AU_QM_000222131 |  | ERSA | M | 1610 | 1382088GZPCLNT100 | EA | 3000013 | BATTERY;VOL,11413173 | BATTERY;VOL,11413173 | BATTERY;MNFR:VOLVO,PTNO:11413173 |  | BATTERY;VOL,11413173BATTERY;VOL,11413173 | VOLVO | 11413173 | [14 empty] | VOLVO | 11413173 | [16 empty] | https://777parts.net/volvo/voe-11413173-battery-cover/p42752.html | [9 empty] | CLEANSED | 26111723 Battery cabinets or covers or doors |  |  | COVER | NO MODIFIER | TYPE | BATTERY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1066156 | 1066156 | 1431340 | AU_QM_000717083 |  | ERSA | M | 5620 | 1431340GZPCLNT100 | EA |  | CONVEYOR SPROCKET DRIVE;HAGGLUNDS | CONVEYOR SPROCKET DRIVE;HAGGLUNDS | CAP,PILLOW BLOCK: CONVEYOR SPROCKET DRIVE;HAGGLUNDS SHUTTLE; |  | CAP,PILLOW BLOCK: CONVEYOR SPROCKET DRIVE;HAGGLUNDS | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31171524 Bearing caps | FOR CONVEYOR SPROCKET DRIVE,HAGGLUNDS SHUTTLE |  | CAP | BEARING | TYPE | PILLOW BLOCK | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1107485 | 1107485 | 1428573 | AU_QM_000523498 |  | ERSA | M | 3000 | 1428573GZPCLNT100 | EA |  | DEAD,GROUT PUMP | DEAD,GROUT PUMP | CAP,END: DEAD,GROUT PUMP |  | CAP,END:DEAD,GROUT PUMP | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40151700 Pump parts and accessories | FOR GROUT PUMP |  | CAP | NO MODIFIER | TYPE | DEAD END | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1050545 | 1050545 |  |  |  | ERSA | M | 4090 | 1575741GZPCLNT100 | EA |  | BATTERY;UPS,24VDC 12AH,X41 WINDER SHM | BATERIA; | BATTERY;TYPE:UPS,SIZE:24VDC 12AH,ADDITIONAL FEATURES EN:X41 WINDER SHM,VRLA-AGM | BATERIA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | PHO1274119 | [12 empty] | PHOENIX CONTACT | 1274119 | [16 empty] | https://www.phoenixcontact.com/en-pc/products/energy-storage-ups-bat-pb-24dc-12ah-1274119 | [9 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:24 VDC,FOR X41 WINDER SHM | CHARGE CURRENT:3.6 A,MOUNT:DIN RAIL,DEGREE OF PROTECTION:IP20 | BATTERY | STORAGE | TYPE | UPS,VRLA-AGM | ELECTROLYTE |  | CAPACITY | 12 AH | SHELF LIFE |  | TERMINAL TYPE | SCREW | TEMPERATURE RATING | 0 TO 40 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | GALVANIZED AHEET STEEL | OVERALL SIZE | 202 WDX202 HT X110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CUL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 | Processed based on Websource, Conflict w.r.t Input | 1051104 | 1051104 |  |  |  | ERSA | M | 4090 | 1579541GZPCLNT100 | EA |  | BATTERY;SAFT,LITHIUM THIONYL CHL,AA 3.6V | BATERIA; | BATTERY;TYPE:SAFT,LITHIUM THIONYL CHL,SIZE:AA 3.6V | BATERIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 489355 | [26 empty] | RS COMPONENTS | 489-355 |  |  | https://in.rsdelivers.com/product/rs-pro/rs-pro-av-adapter-female-dvi-i-to-male-vga/0489355 | [9 empty] | ENRICHED | 43190000 Communications Devices and Accessories |  | CONTACT MATERIAL:NICKEL PLATED,BODY ORIENTATION:STRAIGHT,COLOR:BLACK | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | FEMALE DVI-I | CONNECTOR END 2 | VGA | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING | 3 A | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1051132 | 1051132 |  |  |  | ERSA | M | 4090 | 1579729GZPCLNT100 | EA |  | CAP;END,PVC,CONDT,H/D PLAIN 100 MM,ORNG | TAPA; | CAP;TYPE:END,MATERIAL:PVC,ADDITIONAL FEATURES EN:CONDUIT,H/D PLAIN 100 MM,ORANGE | TAPA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | CNXCONXCAP100HD | [12 empty] | CON-X | CNXCONXCAP100HD | METAL MANUFACTURES PTY LTD | [15 empty] | https://haymans.mmem.com.au/cnxconxcap100hd | [9 empty] | ENRICHED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | HEAVY-DUTY CONDUIT END | SIZE | 100 MM | CONNECTION TYPE | PLAIN | MATERIAL | PVC | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1051133 | 1051133 |  |  |  | ERSA | M | 4090 | 1579730GZPCLNT100 | EA |  | CAP;END,PVC,CONDT,H/D PLAIN 150 MM,ORNG | TAPA; | CAP;TYPE:END,MATERIAL:PVC,ADDITIONAL FEATURES EN:CONDUIT,H/D PLAIN 150 MM,ORANGE | TAPA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | CNXCONXCAP150HD | [12 empty] | CON-X | CNXCONXCAP150HD | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.goelectrical.com.au/cnxconxcap150hd | [9 empty] | ENRICHED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | HEAVY-DUTY CONDUIT END | SIZE | 150 MM | CONNECTION TYPE | PLAIN | MATERIAL | PVC | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1051170 | 1051170 |  |  |  | ERSA | M | 4090 | 1580423GZPCLNT100 | EA |  | BATTERY;REMCO CYCLIC AGM,RM12-80DC | BATERIA; | BATTERY;TYPE:REMCO CYCLIC AGM,SIZE:,ADDITIONAL FEATURES EN:RM12-80DC | BATERIA; |  |  |  | 1069542 @@ BATTERY WORLD | RM12-80DC | [12 empty] | REMCO | RM12-80DC | BATTERY WORLD | [15 empty] | https://remcoenergy.com.au/product-range/agm/ | https://www.batteryworld.com.au/Remco-RM12-80DC | [8 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V | COLD CRANKING AMPS:880 A | BATTERY | STORAGE | TYPE | AGM DEEP CYCLE,LEAD ACID | ELECTROLYTE |  | CAPACITY | 80 AH | SHELF LIFE |  | TERMINAL TYPE | M6 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 259 LGX168 WDX214 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1054913 | 1054913 |  |  |  | ERSA | M | 4090 | 1607294GZPCLNT100 | EA |  | BATTERY;LI-ION,TO SUIT CA AERGO RPA530 | BATERIA; | BATTERY;TYPE:LI-ION,SIZE:,ADDITIONAL FEATURES EN:TO SUIT CA AERGO RPA530 | BATERIA; |  |  |  | 1068391 @@ BOSS | R310013 | [12 empty] | MAXISAFE | R310013 | BOSS | [15 empty] | https://www.maxisafe.com.au/R310013/Li_dash_Ion-Battery-to-suit-AerGO/pd.php | https://www.totaltools.com.au/173869-cleanair-li-ion-battery-suits-ca-aergo-r310013 | [8 empty] | CLEANSED | 26111701 Rechargeable batteries | FOR CA AERGO RPA530 |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1054914 | 1054914 |  |  |  | ERSA | M | 4090 | 1607295GZPCLNT100 | EA |  | BATTERY;REPLCMNT,CA AERGO,20HR OPS TIME | BATERIA; | BATTERY;TYPE:REPLACEMENT,SIZE:,ADDITIONAL FEATURES EN:CA AERGO,20HR OPS TIME | BATERIA; |  |  |  | 1068391 @@ BOSS | R310023 | [12 empty] | MAXISAFE | R310023 | BOSS | [15 empty] | https://www.maxisafe.com.au/R310023/CA-AerGO-Replacement-Battery/pd.php | https://www.totaltools.com.au/198967-cleanair-li-ion-battery-to-suit-ca-aergo-r310023 | [8 empty] | CLEANSED | 26111701 Rechargeable batteries | OPERATION TIME:20 HR,FOR CA AERGO |  | BATTERY | RECHARGEABLE | TYPE | REPLACEMENT,HEAVY-DUTY | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 | Processed based on Websource, Conflict w.r.t Input | 1055045 | 1055045 |  |  |  | ERSA | M | 5915 | 1609532GZPCLNT100 | EA |  | BATTERY;LFP,24 V,100 AH,520X238X217 MM | BATERIA;24 V,100 AH | BATTERY;TYPE:LFP,VOLTAGE RATING:24 V,CAPACITY:100 AH,SIZE:520X238X217 MM | BATERIA;VOLTAJE:24 V,CAPACIDAD:100 AH |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | DCS24V100AHBATTERY | [12 empty] | DCS | DCS-24V-120AH | METAL MANUFACTURES PTY LTD | [15 empty] | https://dcslithiumbatteries.eu/product/lifepo4-24v-100ah-lithium-ion-battery/ | [9 empty] | ENRICHED | 26111701 Rechargeable batteries |  | CHARGE CURRENT:100 A,DEGREE OF POTECTION:IP54 | BATTERY | RECHARGEABLE | TYPE | LITHIUM-ION,LFP | VOLTAGE RATING | 25.6 V | SIZE DESIGNATION |  | CAPACITY | 120 AH | CHEMICAL COMPOSITION |  | MATERIAL | ABS | TERMINAL TYPE | TOP MOUNT M8 | SIZE | 520 LGX238 WDX217 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES | 2500 | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -25 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UN 38.3,UL 1642,IEC 62133,62619,CE | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 | Processed based on Websource, Conflict w.r.t Input | 1055398 | 1055398 |  |  |  | ERSA | M | 1600 | 1616216GZPCLNT100 | EA |  | BATTERY;TRUCK/LOADER,12 V,1050CCA | BATERIA;12 V | BATTERY;TYPE:TRUCK/LOADER,VOLTAGE RATING:12 V,SIZE:508(L)X222(W)X241(H) MM,ADDITIONAL FEATURES EN:1050CCA | BATERIA;VOLTAJE:12 V |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | N150EURO | [12 empty] | EXIDE | N150EURO | AUTOBARN MOUNT ISA | [15 empty] | https://a1batterypro.com.au/product/n150euro%5B%5D12volt-1050cca-170ah-exide-hybrid-calcium-battery%5B%5Dn150r%5B%5Dlhp/n150mfe-euro |  |  | TRUCK/LOADER | [6 empty] | ENRICHED | 26111700 Batteries and cells and accessories | VOLTAGE RATING:12 V |  | BATTERY | STORAGE | TYPE | HYBRID CALCIUM | ELECTROLYTE |  | CAPACITY | 170 AH | SHELF LIFE |  | TERMINAL TYPE |  | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 513 LGX223 WDX223 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1056672 | 1056672 |  |  |  | ERSA | M | 1600 | 1614387GZPCLNT100 | EA |  | BATTERY;SEALED LEAD ACID,12 V,85 AH | BATERIA;12 V,85 AH | BATTERY;TYPE:SEALED LEAD ACID,VOLTAGE RATING:12 V,CAPACITY:85 AH,SIZE:180X179X260 MM,ADDITIONAL FEATURES EN:SIDE TERMINAL, TERMINAL POSITION:LHP,SIZE N52 | BATERIA;VOLTAJE:12 V,CAPACIDAD:85 AH |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | MF78-750 | [12 empty] | ATLAS BATTERIES MOUNT ISA | MF78-750 | [16 empty] | https://cdn.hankook-atlasbx.com/PRD/CUSTOMER/20200515/dc4ee904-ce8e-494c-a2c1-be5757221590/ATLASBX_Catalog(19_12).pdf | [9 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:12 V,TERMINAL POSITION:LHP,SIZE DESIGNATION:N52 |  | BATTERY | STORAGE | TYPE | SEALED LEAD ACID,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 85 AH | SHELF LIFE |  | TERMINAL TYPE | SIDE | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 260 LGX176 WDX180 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1056673 | 1056673 |  |  |  | ERSA | M | 1600 | 1614388GZPCLNT100 | EA |  | BATTERY;RED TOP STARTING BATTERY,12 V | BATERIA;12 V,50 AH | BATTERY;TYPE:RED TOP STARTING BATTERY,VOLTAGE RATING:12 V,CAPACITY:50 AH,SIZE:254X173X199 MM | BATERIA;VOLTAJE:12 V,CAPACIDAD:50 AH |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | 34/78 | [12 empty] | OPTIMA | 34/78 | ATLAS BATTERIES MOUNT ISA | [15 empty] | https://www.optimabatteries.com/products/redtop-34-78/ | [9 empty] | ENRICHED | 26111701 Rechargeable batteries | BRAND:RED TOP,VOLTAGE RATING:12 V | COLD CRANKING AMPS:800 A,RESERVE CAPACITY:100 MIN | BATTERY | STORAGE | TYPE | STARTING,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 50 AH | SHELF LIFE |  | TERMINAL TYPE | TYPE A/S(DUAL) | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 10-1/16 LGX6-15/16 WDX7-7/8 HT IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1084659 | 1084659 |  |  |  | ERSA | M | 1600 | 1583194GZPCLNT100 | EA | 3000422 | BATTERY;CNW,ICTBT06K | BATERIA;CNW,ICTBT06K | BATTERY;MNFR:CNW,PTNO:ICTBT06K | BATERIA;MNFR:CNW,PTNO:ICTBT06K |  | CNW | ICTBT06K | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ICTBT06K | [12 empty] | IKUSHI | BT06K | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://repairsnspares.com/product/ikusi-bt06-bt06k-battery-for-ikusi-tm70-12-hall-crane/ | https://store.konecranes.com/cpp/en/BATTERY/p?p=GDLOVeZVTdS9O4cOd17ZNA%3D%3D_BT06K ¦ https://batteriesamerica.com/products/bt06k | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | CRANE REMOTE,CONTROL,NICKEL METAL HYDRIDE | VOLTAGE RATING | 4.8 V | SIZE DESIGNATION |  | CAPACITY | 600 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1085551 | 1085551 |  |  |  | ERSA | M | 5000 | 1581029GZPCLNT100 | EA | 3000010 | BATTERY;SAN,55178995,HBC | BATERIA;SAN,55178995 | BATTERY;MNFR:SANDVIK,PTNO:55178995,ADDITIONAL FEATURES EN:HBC | BATERIA;MNFR:SANDVIK,PTNO:55178995 |  | SANDVIK | 55178995 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 55178995 | [12 empty] | HBC | 55178995 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://asiantender.com/tender-details/ministry-of-defence/19770689 | https://www.volza.com/p/hbc/manufacturers/manufacturers-in-finland/ | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | NICKEL METAL HYDRIDE | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1087563 | 1087563 |  |  |  | ERSA | M | 4090 | 1581999GZPCLNT100 | EA |  | BATTERY;SLA,12 V 5AH | BATERIA; | BATTERY;TYPE:SLA,SIZE:12 V 5AH,ADDITIONAL FEATURES EN:DRYPOWER 12V 5AH SLA BATTERY,PTNO:12SB5C | BATERIA;,PTNO:12SB5C |  |  | 12SB5C | 1069542 @@ BATTERY WORLD | 1581999 | [12 empty] | DRYPOWER | 12SB5C | BATTERY WORLD | 1581999 | [14 empty] | https://www.drypower.com.au/power/product/25882/vrla-agm-cyclic-power--12v-agm-deep-cycle-power-battery.html | [9 empty] | ENRICHED | 26111707 Lead acid batteries |  | VOLTAGE RATING:12 V,WATT HOUR RATING:600 WH | BATTERY | STORAGE | TYPE | AGM DEEP CYCLE,SEALED LEAD ACID | ELECTROLYTE |  | CAPACITY | 5 AH | SHELF LIFE |  | TERMINAL TYPE | F1 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 90 LGX70 WDX101.5 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1087564 | 1087564 |  |  |  | ERSA | M | 4090 | 1582000GZPCLNT100 | EA |  | BATTERY;SLA,12 V 7.2 AH | BATERIA; | BATTERY;TYPE:SLA,SIZE:12 V 7.2 AH,ADDITIONAL FEATURES EN:DRYPOWER 12V 7.2AH FS SLA BATTERY,PTNO:12SB.2P-F2 | BATERIA;,PTNO:12SB.2P-F2 |  |  | 12SB.2P-F2 | 1069542 @@ BATTERY WORLD | 1582000 | [12 empty] | DRYPOWER | 12SB.2P-F2 | BATTERY WORLD | 1582000 | [14 empty] | https://www.drypower.com.au/power/product/25803/vrla-agm-backup-main-power--12v-backup-&-main-power-battery.html | https://www.batteryworld.com.au/site/brochures/12SB7.2P-F2-datasheet.pdf | [8 empty] | ENRICHED | 26111707 Lead acid batteries |  | VOLTAGE RATING:12 V,WATT HOUR RATING:86.4 WH | BATTERY | STORAGE | TYPE | RECHARGEABLE AGM DEEP CYCLE,SEALED LEAD ACID | ELECTROLYTE |  | CAPACITY | 7.2 AH | SHELF LIFE |  | TERMINAL TYPE | F2 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 151 LGX65 WDX94 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1087565 | 1087565 |  |  |  | ERSA | M | 4090 | 1582001GZPCLNT100 | EA |  | BATTERY;SLA,12 V 45W 9 AH | BATERIA; | BATTERY;TYPE:SLA,SIZE:12 V 45W 9 AH,ADDITIONAL FEATURES EN:DRYPOWER 12V 45W 9AH SLA BATTERY,PTNO:12SB45WHR | BATERIA;,PTNO:12SB45WHR |  |  | 12SB45WHR | 1069542 @@ BATTERY WORLD | 1582001 | [12 empty] | DRYPOWER | 12SB45WHR | BATTERY WORLD | 1582001 | [14 empty] | https://www.drypower.com.au/power/product/25843/vrla-agm-ups-power--12v-high-rate-ups-power-battery.html | [9 empty] | ENRICHED | 26111707 Lead acid batteries |  | VOLTAGE RATING:12 V,WATT HOUR RATING:45 WH | BATTERY | STORAGE | TYPE | HIGH RATE UPS,SEALED LEAD ACID | ELECTROLYTE |  | CAPACITY | 9 AH | SHELF LIFE |  | TERMINAL TYPE | F2 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL |  | OVERALL SIZE | 151 LGX65 WDX94 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1102079 | 1102079 |  |  |  | ERSA | M | 4090 | 1523470GZPCLNT100 | EA |  | BATTERY;SPEC,MR BAT,MR-J2-CT,D80MA008490 | BATTERY;SPEC,MR BAT,MR-J2-CT,D80MA008490 | BATTERY;ADDITIONAL FEATURES:SPEC,MR BAT,MR-J2-CT,D80MA008490 |  |  |  |  | 1069995 @@ JOHN HART PTY LTD | D80MA008490 | [12 empty] | MITSUBISHI | MR BAT | JOHN HART PTY LTD | D80MA008490 | [14 empty] | https://mitsubishi-electric-eshop.mee.com/mee/FA_IA/en/EUR/Catalogue/Servo/Spare-Part/MR-BAT/p/000000000000103862 | [9 empty] | ENRICHED | 26111705 Dry cell batteries |  |  | BATTERY | DRY CELL | TYPE | LITHIUM,ROUND | VOLTAGE RATING | 3.6 V | CAPACITY |  | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1102080 | 1102080 |  |  |  | ERSA | M | 4090 | 1523449GZPCLNT100 | EA |  | BATTERY;SPEC,ER6V-C119B,MDS-,D80MA014480 | BATTERY;SPEC,ER6V-C119B,MDS-,D80MA014480 | BATTERY;ADDITIONAL FEATURES:SPEC,ER6V-C119B,MDS-,D80MA014480 |  |  |  |  | 1069995 @@ JOHN HART PTY LTD | D80MA014480 | [12 empty] | MITSUBISHI | ER6V-C119B | JOHN HART PTY LTD | D80MA014480 | [14 empty] | https://www.battery2batteries.com/mitsubishi-er6vc119b-plc-battery-for-melservo-servo-amplifier/ | https://connect2india.com/global/Lithium-primary-cells-an-importers-in-Mexico/hs-code-850650 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  | SHELF LIFE:10 YR | BATTERY | RECHARGEABLE | TYPE | LITHIUM,POSITION BACK-UP | VOLTAGE RATING | 3.6 V | SIZE DESIGNATION |  | CAPACITY | 2600 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE | CONNECTOR | SIZE | 37/64 DIAX1-63/64 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -60 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1102081 | 1102081 |  |  |  | ERSA | M | 4090 | 1523448GZPCLNT100 | EA |  | BATTERY;SPEC,LITHIUM,CR17450,D80UB016170 | BATTERY;SPEC,LITHIUM,CR17450,D80UB016170 | BATTERY;ADDITIONAL FEATURES:SPEC,LITHIUM,CR17450,D80UB016170 |  |  |  |  | 1069995 @@ JOHN HART PTY LTD | D80UB016170 | [12 empty] | MITSUBISHI | D80UB016170 | JOHN HART PTY LTD | CR17450 | [14 empty] | https://www.osibatteries.com/mazak-d80ub016170-battery-3v-lithium-plc | https://www.battery2batteries.com/mitsubishi-mazak-d80ub016170-battery-with-rd0296-see-connector/ | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | LITHIUM | VOLTAGE RATING | 3 V | SIZE DESIGNATION |  | CAPACITY | 4800 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1102999 | 1102999 |  |  |  | ERSA | M | 5955 | 1525143GZPCLNT100 | EA |  | BATTERY;REMOTE,CRANE,K61,ARB-BT06K | BATTERY;REMOTE,CRANE,K61,ARB-BT06K | BATTERY;ADDITIONAL FEATURES:REMOTE,CRANE,K61,ARB-BT06K |  |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | ARB-BT06K | [12 empty] | MI BATTERY EXPERTS | ARB-BT06K | ATLAS BATTERIES MOUNT ISA | [15 empty] | https://www.master-instruments.com.au/products/63607/ARB-BT06K.html | https://www.batteriesdirect.com.au/shop/product/25955/arb-bt06k.html | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | FOR CRANE REMOTE,K61 |  | BATTERY | RECHARGEABLE | TYPE | NICKEL METAL HYDRIDE | VOLTAGE RATING | 4.8 V | SIZE DESIGNATION |  | CAPACITY | 850 MAH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 19.2 LGX53.7 WDX70.7 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1140604 | 1140604 | 1426603 | AU_QM_000399899 |  | ERSA | M | 2200 | 1426603GZPCLNT100 | EA |  | CM2 VALVE | CM2 VALVE | CAP,VALVE: CM2 VALVE |  | CAP,VALVE:CM2 VALVE |  |  | 1068100 @@ BERENDSEN FLUID POWER | 252509 | [10 empty] | BERENDSEN FLUID POWER | 252509 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware | FOR CM2 VALVE |  | CAP | VALVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1146944 | 1146944 |  |  |  | ERSA | M | 4090 | 1531632GZPCLNT100 | EA |  | BATTERY;HI-AB,REPLACEMENT,EEA2512 | BATTERY;HI-AB,REPLACEMENT,EEA2512 | BATTERY;ADDITIONAL FEATURES:HI-AB,REPLACEMENT,EEA2512 |  |  |  |  | 1068253 @@ PALFINGER AUSTRALIA | EEA2512 | [12 empty] | SCANRECO | EEA2512 | PALFINGER AUSTRALIA | [15 empty] | https://www.racaparts.com/eea2512-original-scanreco-remote-control-battery-7-2v-2000mah-nimh | https://www.recambiosparagruas.com/en/art/compatible-battery-scanreco-eea2512590-790-960-eea2512rc400-rc-400-id-166 | [8 empty] | ENRICHED | 26111701 Rechargeable batteries | HI-AB,REPLACEMENT |  | BATTERY | RECHARGEABLE | TYPE | REMOTE CONTROL,NICKEL METAL HYDRIDE | VOLTAGE RATING | 7.2 V | SIZE DESIGNATION |  | CAPACITY | 2000 MAH | CHEMICAL COMPOSITION |  | MATERIAL | PLASTIC | TERMINAL TYPE | FLAT CONTACT | SIZE | 150 LGX50 WDX28 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -20 TO 30 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1187997 | 1187997 |  |  |  | ERSA | M | 1600 | 1605429GZPCLNT100 | EA |  | BATTERY;RITAR EV,6 V,295X178X404 MM | BATERIA;6 V | BATTERY;TYPE:RITAR EV,VOLTAGE RATING:6 V,SIZE:295X178X404 MM,ADDITIONAL FEATURES EN:AGM,PVXT-2240 EQUIVALENT | BATERIA;VOLTAJE:6 V |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | RA6-225EV | [12 empty] | RITAR | RA6-225EV | ATLAS BATTERIES MOUNT ISA | [15 empty] | https://www.ritarpower.com/uploads/ueditor/spec/RA6-225.pdf | [9 empty] | ENRICHED | 26111707 Lead acid batteries | FOR PVXT-2240 EQUIVALENT |  | BATTERY | STORAGE | TYPE | GENERAL PURPOSE | ELECTROLYTE |  | CAPACITY | 225 AH | SHELF LIFE | 12 YR | TERMINAL TYPE | F14/F16 | TEMPERATURE RATING | 0 TO 50 DEG C | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | ABS | OVERALL SIZE | 322 LGX177.5 WDX231 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UR | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1188493 | 1188493 |  |  |  | ERSA | M | 1600 | 1585650GZPCLNT100 | EA |  | CAP;CONDT,END,100 MM,PVC,WHITE | TAPA;100 MM,BLANCO | CAP;TYPE:CONDUIT,END,SIZE:100 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:CONXCAP100COM | TAPA;TAMAÃ‘O:100 MM,TONO:BLANCO,PTNO:CONXCAP100COM |  |  | CONXCAP100COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXCAP100COM | [12 empty] | CON-X | CONXCAP100COM | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | CONDUIT,COMMUNICATION END | SIZE | 100 MM | CONNECTION TYPE |  | MATERIAL | PVC | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1188500 | 1188500 |  |  |  | ERSA | M | 1600 | 1585643GZPCLNT100 | EA |  | CAP;CONDT,END,50 MM,PVC,WHITE | TAPA;50 MM,BLANCO | CAP;TYPE:CONDUIT,END,SIZE:50 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:CONXCAP50COM | TAPA;TAMAÃ‘O:50 MM,TONO:BLANCO,PTNO:CONXCAP50COM |  |  | CONXCAP50COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXCAP50COM | [12 empty] | CON-X | CONXCAP50COM | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | CONDUIT,COMMUNICATION END | SIZE | 50 MM | CONNECTION TYPE |  | MATERIAL | PVC | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1188506 | 1188506 |  |  |  | ERSA | M | 1600 | 1585637GZPCLNT100 | EA |  | CAP;CONDT,END,32 MM,PVC,WHITE | TAPA;,BLANCO | CAP;TYPE:CONDUIT,END,SIZE:32 MM,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:COMMUNICATIONS,BRAND: CON-X,PTNO:CONXCAP32COM | TAPA;TONO:BLANCO,PTNO:CONXCAP32COM |  |  | CONXCAP32COM | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONXCAP32COM | [12 empty] | CON-X | CONXCAP32COM | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | CONDUIT,COMMUNICATION END | SIZE | 32 MM | CONNECTION TYPE |  | MATERIAL | PVC | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1188511 | 1188511 |  |  |  | ERSA | M | 1600 | 1585632GZPCLNT100 | EA |  | CAP;CONDT,END,20 MM,PLAIN,PVC,WHITE | TAPA;,BLANCO | CAP;TYPE:CONDUIT,END,SIZE:20 MM,CONNECTION TYPE:PLAIN,MATERIAL:PVC,COLOUR:WHITE,ADDITIONAL FEATURES EN:BRAND: AUSSIEDUCT,PTNO: RCC20IDWH | TAPA;TONO:BLANCO,PTNO:RCC20IDWH |  |  | RCC20IDWH | 1072013 @@ METAL MANUFACTURES PTY LTD | APPRCC20IDWH | [12 empty] | AUSSIEDUCT | RCC20IDWH | METAL MANUFACTURES PTY LTD | APPRCC20IDWH | [14 empty] | https://www.app.net.au/communications/communications-end-caps/communications-end-caps-heavy-duty-white/ | [9 empty] | CLEANSED | 39131713 Wiring duct fitting and accessories |  |  | CAP | NO MODIFIER | TYPE | CONDUIT,COMMUNICATION END,HEAVY-DUTY | SIZE | 20 MM ID | CONNECTION TYPE | PLAIN | MATERIAL | PVC | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1190415 | 1190415 |  |  |  | ERSA | M | 4090 | 1574626GZPCLNT100 | EA |  | BATTERY;VRLA,12V 100AH,ENERSYS,12TD100F4 | BATERIA; | BATTERY;TYPE:VRLA,SIZE:12V 100AH,ADDITIONAL FEATURES EN:ENERSYS,12TD100F4,PTNO:12TD100F4 | BATERIA;,PTNO:12TD100F4 |  |  | 12TD100F4 | 1068740 @@ METAL MANUFACTURES PTY LTD | ESY12TD100F4 | [12 empty] | ENERSYS | 12TD100F4 | METAL MANUFACTURES PTY LTD | ESY12TD100F4 | [14 empty] | https://www.enersys.com/493bb4/globalassets/documents/product-documentation/genesis/td/apac/apac-en-pd-gentd-1120.pdf | https://c906ef68-8cae-420d-91dd-8d16e83441f3.filesusr.com/ugd/c805a9_1f19837478394afb9d7b43204627cd29.pdf?index=true | [8 empty] | ENRICHED | 26111701 Rechargeable batteries |  |  | BATTERY | RECHARGEABLE | TYPE | VRLA | VOLTAGE RATING | 12 V | SIZE DESIGNATION |  | CAPACITY | 100 AH | CHEMICAL COMPOSITION |  | MATERIAL | ABS | TERMINAL TYPE |  | SIZE | 394 LGX111 WDX286 HT MM | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE | -15 TO 45 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001:2008,ISO 14001:2004 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | OK | 2023-10-16 | 2023-11-09 |  | 1190416 | 1190416 |  |  |  | ERSA | M | 4090 | 1574625GZPCLNT100 | EA |  | BATTERY;VRLA,2V 500AH,YUASA,UXL550-2FRV | BATERIA; | BATTERY;TYPE:VRLA,SIZE:2V 500AH,ADDITIONAL FEATURES EN:YUASA,UXL550-2FRV,ULTRA EXTENDED LIFE,PTNO:UXL550-2FRV | BATERIA;,PTNO:UXL550-2FRV |  |  | UXL550-2FRV | 1068740 @@ METAL MANUFACTURES PTY LTD | CYBUXL550-2FRV | [12 empty] | CENTURY YUASA BATTERIES | UXL550-2FRV | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.cyb.co.nz/content/industrial/telecommunications/batteries/uxl-specs/uxl550-2.pdf ¦ https://www.gs-yuasa.com/en/products/pdf/UXL_Japan.pdf | https://www.batteriesdirect.com.au/shop/product/26020/uxl550-2fr.html | [8 empty] | ENRICHED | 26111707 Lead acid batteries | VOLTAGE RATING:2 V,ULTRA EXTENDED LIFE |  | BATTERY | STORAGE | TYPE | VRLA,MAINTENANCE-FREE | ELECTROLYTE |  | CAPACITY | 500 AH | SHELF LIFE | 15 YR | TERMINAL TYPE | M10 | TEMPERATURE RATING |  | ELECTROLYTE LEVEL INDICATOR |  | CASE MATERIAL | ABS | OVERALL SIZE | 241 LGX171 WDX330 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | JIS C8704-2: 1999 | [50 empty] | Production Completed