## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1111043 | 1111043 | 1466739 | AU_QM_007126334 |  | ERSA | M | 4900 | 1466739GZPCLNT100 | EA |  | ALSPA EXPANSION CABLE; | ALSPA EXPANSION CABLE; | CABLE ASSY,SPEC.PURPOSE,ELECT: ALSPA EXPANSION CABLE; 1 METRE LG;CONTINUOUS SHIELD; ALSPA 80-35 PLC |  | CABLE ASSY,SPEC.PURPOSE,ELECT:ALSPA EXPANSION CABLE; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BRAND:ALSPA,80-35 PLC,CONTINUOUS SHIELD |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,EXPANSION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 1 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1217539 | 1217539 |  |  |  | ERSA | M | 1600 | 849315MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:0.34MM2;4 | CABLE ASSY,SPEC.PURPOSE,ELECT:0.34MM2;4 | CABLE ASSY,SPEC.PURPOSE,ELECT:0.34MM2;4 PIN;PVC;5M LG CABLE;90DEG MATING CONNECTOR;12MM DIA THD;METAL CAP NUT;PROXIMITY SWITCH | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | NUMBER OF PIN:4,CONNECTOR:90 DEG MATING,THREAD:12 MM DIA,C/W METAL CAP NUT,FOR PROXIMITY SWITCH |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1207414 | 1207414 |  |  |  | ERSA | M | 1600 | 1081827MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:2M;KEYPAD | CABLE ASSY,SPEC.PURPOSE,ELECT:2M;KEYPAD | CABLE ASSY,SPEC.PURPOSE,ELECT:2M;KEYPAD CABLE;TOUCH PAD CABLE;FUJI G11;7 ,9 <(>&<)> 11 SERIES; | [16 empty] | FUJI | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W KEYPAD,G11,7,9 AND 11 SERIES |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,TOUCH PAD | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1208849 | 1208849 |  |  |  | ERSA | M | 1600 | 156506MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE 19M | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE 19M | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE 19M LG; ELECTRICAL GROUP; THUNDERBOLT 750 S3 HAMMER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | ELECTRICAL GROUP,FOR THUNDERBOLT 750 S3 HAMMER |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 19 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1212657 | 1212657 |  |  |  | ERSA | M | 3700 | 1261569MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE ASSE | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE ASSE | CABLE ASSY,SPEC.PURPOSE,ELECT:CABLE ASSEMBLY;DISPLAY/MONITOR CABLE;DATASOLO DL421-15C | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | FOR DATASOLO DL421-15C |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,DISPLAY/MONITOR | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216677 | 1216677 |  |  |  | ERSA | M | 3700 | 7128370MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:H320 CABLE | CABLE ASSY,SPEC.PURPOSE,ELECT:H320 CABLE | CABLE ASSY,SPEC.PURPOSE,ELECT:H320 CABLE;3 CORE X 1.5MM;CABLE PARTS ASSY;ROBOLT H320-30C ROOF BOLTER | [36 empty] | URL NOT FOUND |  |  | ROOF BOLTER |  | ROBOLT H320-30C |  |  |  |  | Cleansed | 26121600 Electrical cable and accessories | H320,CABLE PARTS |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 3 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1207440 | 1207440 |  |  |  | ERSA | M | 1600 | 683856MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-002*A | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-002*A | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-002*A PREFORMED;2M LG;C/W CONNECTORS;YOKOGAWA DCS SYSTEM | [18 empty] | YOKOGAWA DCS SYSTEM | KRL-002*A | [16 empty] | https://www.tradekorea.com/product/detail/P446263/YOKOGAWA-DCS.html?minisiteprodgroupno= | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W CONNECTORS,PREFORMED |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1208096 | 1208096 |  |  |  | ERSA | M | 1600 | 686076MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-010*A | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-010*A | CABLE ASSY,SPEC.PURPOSE,ELECT:KRL-010*A PREFORMED CABLE;10M LG;C/W CONNECTORS;YOKOGAWA DCS SYSTEM | [18 empty] | YOKOGAWA DCS SYSTEM | KRL-010*A | [16 empty] | https://www.tradekorea.com/product/detail/P446263/YOKOGAWA-DCS.html?minisiteprodgroupno= | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W CONNECTORS,PREFORMED |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1207441 | 1207441 |  |  |  | ERSA | M | 1600 | 683861MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:KS2-02 PRE | CABLE ASSY,SPEC.PURPOSE,ELECT:KS2-02 PRE | CABLE ASSY,SPEC.PURPOSE,ELECT:KS2-02 PREFORMED CABLE;2M LG;C/W CONNECTORS;YOKOGAWA DCS SYSTEM | [18 empty] | YOKOGAWA DCS SYSTEM | KS2-02 | [16 empty] | https://web-material3.yokogawa.com/GS33J60J10-01EN.pdf | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W CONNECTORS,PREFORMED |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1207442 | 1207442 |  |  |  | ERSA | M | 1600 | 683871MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:KS9-50 PRE | CABLE ASSY,SPEC.PURPOSE,ELECT:KS9-50 PRE | CABLE ASSY,SPEC.PURPOSE,ELECT:KS9-50 PREFORMED CABLE;50M LG;C/W CONNECTORS;YOKOGAWA DCS SYSTEM | [18 empty] | YOKOGAWA DCS SYSTEM | KS9-50 | [16 empty] | https://www.quicktimeonline.com/ks9-10b | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | C/W CONNECTORS,PREFORMED |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 50 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1203683 | 1203683 |  |  |  | ERSA | M | 1600 | 986879MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:PLC CARD R | CABLE ASSY,SPEC.PURPOSE,ELECT:PLC CARD R | CABLE ASSY,SPEC.PURPOSE,ELECT:PLC CARD RACK CABLE;MODICON CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | FOR MODICON CONTROL SYSTEM |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,PLC CARD RACK | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1215218 | 1215218 |  |  |  | ERSA | M | 1600 | 778055MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:REVERSING | CABLE ASSY,SPEC.PURPOSE,ELECT:REVERSING | CABLE ASSY,SPEC.PURPOSE,ELECT:REVERSING CAMERA LEAD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,REVERSING CAMERA LEAD | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1210473 | 1210473 |  |  |  | ERSA | M | 1600 | 1198134MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM 0.6 | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM 0.6 | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM 0.6 MTR CONNECTION CABLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | SERIES:SEPAM |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,CONNECTION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 0.6 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1210450 | 1210450 |  |  |  | ERSA | M | 1600 | 1197144MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM CONN | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM CONN | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPAM CONNECTION CABLE;LENGTH = 2 MTR; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | SERIES:SEPAM |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,CONNECTION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1210474 | 1210474 |  |  |  | ERSA | M | 1600 | 1198142MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPM 3.0MT | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPM 3.0MT | CABLE ASSY,SPEC.PURPOSE,ELECT:SEPM 3.0MTR COMMUNICATION CABLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | SERIES:SEPAM |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,COMMUNICATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 3 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216958 | 1216958 |  |  |  | ERSA | M | 3700 | 147751MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:STD;250CM | CABLE ASSY,SPEC.PURPOSE,ELECT:STD;250CM | CABLE ASSY,SPEC.PURPOSE,ELECT:STD;250CM LG;MASTER STATIONJOY 12CM12 CONTINUOUS MINER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | STANDARD,FOR MASTER STATIONJOY 12CM12 CONTINUOUS MINER |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 250 CM | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1214399 | 1214399 |  |  |  | ERSA | M | 5955 | 777263MRM | M |  | CABLE ASSY,SPEC.PURPOSE,ELECT:TORO T450D | CABLE ASSY,SPEC.PURPOSE,ELECT:TORO T450D | CABLE ASSY,SPEC.PURPOSE,ELECT:TORO T450D INSTRUMENT CABLE;INSTRUMENT PANEL ASSY;2.2/0.5 MM;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | Cleansed | 26121642 Instrumentation Cable | INSTRUMENT PANEL ASSEMBLY |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 2.2/0.5 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1218510 | 1218510 |  |  |  | ERSA | M | 1600 | 8847MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:VEHICLE RE | CABLE ASSY,SPEC.PURPOSE,ELECT:VEHICLE RE | CABLE ASSY,SPEC.PURPOSE,ELECT:VEHICLE REVERSE CAMERA/MONITOR LINK; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | FOR VEHICLE REVERSE CAMERA/MONITOR LINK |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1212785 | 1212785 |  |  |  | ERSA | M | 5915 | 168649MRM | EA |  | CABLE ASSY,SPEC.PURPOSE,ELECT:WIRING LOO | CABLE ASSY,SPEC.PURPOSE,ELECT:WIRING LOO | CABLE ASSY,SPEC.PURPOSE,ELECT:WIRING LOOM; 1200 LONG; 7 PIN ROUND; LARGE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | NUMBER OF PIN:7,LARGE,FOR WIRING LOOM |  | CABLE | ASSEMBLY | TYPE | SPECIAL PURPOSE,ELECTRICAL,ROUND | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 1200 MM | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1206876 | 1206876 |  |  |  | ERSA | M | 5920 | 154006MRM | EA |  | CABLE ASSY:CABLE ASSEMBLY, BOOM GROUP | CABLE ASSY:CABLE ASSEMBLY, BOOM GROUP | CABLE ASSY:CABLE ASSEMBLY, BOOM GROUP | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | BOOM GROUP |  | CABLE | ASSEMBLY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216628 | 1216628 |  |  |  | ERSA | M | 1600 | 534297MRM | ROL |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:2.5MM2; | CABLE,SPECIAL PURPOSE,ELECTRICAL:2.5MM2; | CABLE,SPECIAL PURPOSE,ELECTRICAL:2.5MM2;10C+E;PVC-PVC-SWA-PVC;CORE COLOURS WHITE <(>&<)> NUMBERED;100M ROLL | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CORE STRANDS:10C+E,NUMBERED |  | CABLE | ARMORED | TYPE | SPECIAL PURPOSE,ELECTRICAL | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS |  | LENGTH | 100 M ROLL | ARMOR MATERIAL | STEEL WIRE | OUTER JACKET MATERIAL | PVC | CONDUCTOR MATERIAL |  | VOLTAGE RATING |  | INSULATION MATERIAL | PVC | COLOR | WHITE | SHIELDED/UNSHIELDED PAIRS |  | TEMPERATURE RATING |  | OUTSIDE DIAMETER |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1210568 | 1210568 |  |  |  | ERSA | M | 5920 | 163993MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" GPS | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | SPECIAL PURPOSE,GPS | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1210569 | 1210569 |  |  |  | ERSA | M | 5920 | 163994MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" | CABLE,SPECIAL PURPOSE,ELECTRICAL:CABLE" GPS | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | SPECIAL PURPOSE,GPS | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1212342 | 1212342 |  |  |  | ERSA | M | 1600 | 362011MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:FOR NAR | CABLE,SPECIAL PURPOSE,ELECTRICAL:FOR NAR | CABLE,SPECIAL PURPOSE,ELECTRICAL:FOR NARVA 85423 REVOLVING LIGHT;C/W CIG LIGHTER PLUG <(>&<)> SPIRAL LEAD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | FOR NARVA 85423 REVOLVING LIGHT,C/W CIG LIGHTER PLUG AND SPIRAL LEAD |  | CABLE | ELECTRICAL | TYPE | SPECIAL PURPOSE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216622 | 1216622 |  |  |  | ERSA | M | 1600 | 533166MRM | ROL |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUMENT,SINGLE PAIR,SCREENED BEDDED ,SWA SERVED,16 AWG STD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121642 Instrumentation Cable | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA) SERVED,PACKAGE QUANTITY:1 PAIR,SCREENED BEDDED |  | CABLE | INSTRUMENT | TYPE | SPECIAL PURPOSE,ELECTRICAL | DIAMETER |  | CONDUCTOR SIZE | 16 AWG | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 100 M ROLL (STANDARD) | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216623 | 1216623 |  |  |  | ERSA | M | 1600 | 533174MRM | ROL |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUMENT,SINGLE PAIR,TRIPLE SCREENEDBEDDED,SWA SERVED,16 AWGSTD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121642 Instrumentation Cable | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA) SERVED,PACKAGE QUANTITY:1 PAIR,TRIPLE SCREENED BEDDED |  | CABLE | INSTRUMENT | TYPE | SPECIAL PURPOSE,ELECTRICAL | DIAMETER |  | CONDUCTOR SIZE | 16 AWG | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 100 M ROLL (STANDARD) | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1216624 | 1216624 |  |  |  | ERSA | M | 1600 | 533182MRM | ROL |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUM | CABLE,SPECIAL PURPOSE,ELECTRICAL:INSTRUMENT;7/0.30MM;2 PAIR;MULTI PAIR;INDIVIDUAL <(>&<)> OVERALL SCREENED;BEDDED;SWA SERVED;20 AWG;C/W METRE MARKING;STD ROLL OF 100M | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121642 Instrumentation Cable | ARMOR MATERIAL:STEEL WIRE ARMOURED (SWA) SERVED,PACKAGE QUANTITY:2 PAIR,MULTI PAIR,STRANDS:7/0.30 MM,INDIVIDUAL AND OVERALL SCREENED BEDDED,C/W METRE MARKING |  | CABLE | INSTRUMENT | TYPE | SPECIAL PURPOSE,ELECTRICAL | DIAMETER |  | CONDUCTOR SIZE | 20 AWG | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | END CONNECTION |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 100 M ROLL (STANDARD) | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1205222 | 1205222 |  |  |  | ERSA | M | 1640 | 271505MRM | EA |  | CABLE:CABLE - M12 CONNECTOR | CABLE:CABLE - M12 CONNECTOR | CABLE:CABLE - M12 CONNECTOR | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | CABLE | TYPE |  | TRADE SIZE | M12 | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1212061 | 1212061 |  |  |  | ERSA | M | 1600 | 136635MRM | EA |  | CABLE:CABLE 3M;2400-MCC-283; | CABLE:CABLE 3M;2400-MCC-283; | CABLE:CABLE 3M;2400-MCC-283; | [17 empty] | 2400-MCC-283 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 3 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1154611 | 1154611 |  |  |  | ERSA | M | 5100 | 1509194GZPCLNT100 | EA |  | CABLE; POWER SUPPLY CA,SVP-A-20006-212-1 | CABLE; POWER SUPPLY CA,SVP-A-20006-212-1 | CABLE;ADDITIONAL FEATURES: POWER SUPPLY CA,SVP-A-20006-212-1 | [17 empty] | SVP-A-20006-212-1 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | POWER SUPPLY | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1154610 | 1154610 |  |  |  | ERSA | M | 5100 | 1509195GZPCLNT100 | EA |  | CABLE; POWER SUPPLY CAB,T4-A-20006-212-1 | CABLE; POWER SUPPLY CAB,T4-A-20006-212-1 | CABLE;ADDITIONAL FEATURES: POWER SUPPLY CAB,T4-A-20006-212-1 | [17 empty] | T4-A-20006-212-1 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | POWER SUPPLY | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1154612 | 1154612 |  |  |  | ERSA | M | 5100 | 1509193GZPCLNT100 | EA |  | CABLE; POWER SUPPLY CABLE,T6-M-20006-210 | CABLE; POWER SUPPLY CABLE,T6-M-20006-210 | CABLE;ADDITIONAL FEATURES: POWER SUPPLY CABLE,T6-M-20006-210 | [17 empty] | T6-M-20006-210 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | POWER SUPPLY | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1148749 | 1148749 |  |  |  | ERSA | M | 1640 | 1505351GZPCLNT100 | EA |  | CABLE;3ADT693470P0001 | CABLE;3ADT693470P0001 | CABLE;ADDITIONAL FEATURES:3ADT693470P0001 | [18 empty] | ABB | 3ADT693470P0001 | [16 empty] | https://new.abb.com/products/3ADT693470P0001/3adt693470p0001 | [9 empty] | Enriched | 26121624 Ribbon or flat cable |  |  | CABLE | FLAT | TYPE |  | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | PITCH |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1148757 | 1148757 |  |  |  | ERSA | M | 1640 | 1505307GZPCLNT100 | EA |  | CABLE;85MM2(4C+E),CBL1854CSWA | CABLE;85MM2(4C+E),CBL1854CSWA | CABLE;ADDITIONAL FEATURES:85MM2(4C+E),CBL1854CSWA | [17 empty] | CBL1854CSWA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 85 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4C+E | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1112006 | 1112006 | 1419086 | AU_QM_000265103 |  | ERSA | M | 5915 | 1419086GZPCLNT100 | EA |  | CABLE;BEJ1006 | CABLE;BEJ1006 | CABLE;MNFR: ,PTNO:BEJ1006 |  | CABLE;BEJ1006CABLE;BEJ1006 | [17 empty] | BEJ1006 | [16 empty] | https://servua.com/en/kabel-bej1006/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1037001 | 1037001 |  |  |  | ERSA | M | 1640 | 1505713GZPCLNT100 | M |  | CABLE;CBL630XLPE | CABLE;CBL630XLPE | CABLE;ADDITIONAL FEATURES:CBL630XLPE | [17 empty] | CBL630XLPE | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1036319 | 1036319 |  |  |  | ERSA | M | 1640 | 1505862GZPCLNT100 | M |  | CABLE;CBM61CSIL180BK | CABLE;CBM61CSIL180BK | [18 empty] | CBM61CSIL180BK | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1154504 | 1154504 |  |  |  | ERSA | M | 5100 | 1509410GZPCLNT100 | EA |  | CABLE;POWER SUPPLY CABLE;MODELS ,T4-A-34 | CABLE;POWER SUPPLY CABLE;MODELS ,T4-A-34 | CABLE;ADDITIONAL FEATURES:POWER SUPPLY CABLE;MODELS ,T4-A-34 | [17 empty] | T4-A-34 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | MODELS |  | CABLE | ELECTRICAL | TYPE | POWER SUPPLY | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1009806 | 1009806 |  |  |  | ERSA | M | 1640 | 1615066GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADV300012R0500,FLT,26POL | CABLE CONT;ABB,3ADV300012R0500 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADV300012R0500,ADDITIONAL FEATURES EN:FLAT,26POL-500MM,A9X3-U1A10X1,FOR DCS800 DRIVE | CABLE CONTROL;MNFR:ABB,PTNO:3ADV300012R0500 |  | ABB | 3ADV300012R0500 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADV300012R0500 | [12 empty] | ABB | 3ADV300012R0500 | ABB AUSTRALIA PTY LTD | 3ADV300012R0500 | ABB | CABLE-26POL-500MM | [12 empty] | https://new.abb.com/products/3ADV300012R0500/3adv300012r0500?IN | [9 empty] | Cleansed | 26121624 Ribbon or flat cable | FOR DCS800 DRIVE,A9X3-U1A10X1 |  | CABLE | FLAT | TYPE | CONTROL | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | PITCH |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | URL ONLY FOR REFFERENCE | 1009807 | 1009807 |  |  |  | ERSA | M | 1640 | 1615067GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADV300012R0003,FLT,26POL | CABLE CONT;ABB,3ADV300012R0003 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADV300012R0003,ADDITIONAL FEATURES EN:FLAT,26POL-3200MM SHIELDET,A9X1-U1A11X1,FOR DCS800 DRI | CABLE CONTROL;MNFR:ABB,PTNO:3ADV300012R0003 |  | ABB | 3ADV300012R0003 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADV300012R0003 | [12 empty] | ABB | 26POL-3200MM | ABB AUSTRALIA PTY LTD | 3ADV300012R0003 | ABB | 3ADV300012R0003 | [12 empty] | https://www.thpa.gr/files/procurement/ere_ago_29052018en.pdf | [9 empty] | Cleansed | 26121624 Ribbon or flat cable | FOR DCS800 DRIVE,A9X1-U1A11X1 |  | CABLE | FLAT | TYPE | CONTROL,SHIELDED | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | PITCH |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | URL ONLY FOR REFFERENCE | 1009808 | 1009808 |  |  |  | ERSA | M | 1640 | 1615068GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADV300012R0004,FLT,26POL | CABLE CONT;ABB,3ADV300012R0004 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADV300012R0004,ADDITIONAL FEATURES EN:FLAT,26POL-3500MM,SHIELDET,A10X2-U1A11X2,FOR DCS800 DRIVE | CABLE CONTROL;MNFR:ABB,PTNO:3ADV300012R0004 |  | ABB | 3ADV300012R0004 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADV300012R0004 | [12 empty] | ABB | 26POL-3500MM | ABB AUSTRALIA PTY LTD | 3ADV300012R0004 | ABB | 3ADV300012R0004 | [12 empty] | https://www.thpa.gr/files/procurement/ere_ago_29052018en.pdf | [9 empty] | Cleansed | 26121624 Ribbon or flat cable | FOR DCS800 DRIVE,A10X2-U1A11X2 |  | CABLE | FLAT | TYPE | CONTROL,SHIELDED | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | PITCH |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1009810 | 1009810 |  |  |  | ERSA | M | 5100 | 1615090GZPCLNT100 | EA | 3000014 | CABLE,F/OPT;ABB,3ADT693318P0002,DRV,PLST | CABLE FIBRA OPTICA;ABB,3ADT693318P0002 | CABLE,FIBER OPTIC;MNFR:ABB,PTNO:3ADT693318P0002,ADDITIONAL FEATURES EN:DRIVE,PLASTIC,DOUBLE,SIMPLEX CONNECTORS,LENGTH:2 M | CABLE FIBRA OPTICA;MNFR:ABB,PTNO:3ADT693318P0002 |  | ABB | 3ADT693318P0002 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT693318P0002 | [12 empty] | ABB | 3ADT693318P0002 | ABB AUSTRALIA PTY LTD | 3ADT693318P0002 | [14 empty] | https://new.abb.com/products/3ADT693318P0002/3adt693318p0002 | [9 empty] | Cleansed | 26121607 Fiber optic cable |  |  | CABLE | FIBER OPTIC | TYPE | DRIVE,DOUBLE | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL | PLASTIC | SHEATH COLOUR |  | END CONNECTION | SIMPLEX CONNECTOR | LENGTH | 2 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1009811 | 1009811 |  |  |  | ERSA | M | 5100 | 1615091GZPCLNT100 | EA | 3000014 | CABLE,F/OPT;ABB,3ADT693318P0006,DRV,PLST | CABLE FIBRA OPTICA;ABB,3ADT693318P0006 | CABLE,FIBER OPTIC;MNFR:ABB,PTNO:3ADT693318P0006,ADDITIONAL FEATURES EN:DRIVE,PLASTIC,DOUBLE,SIMPLEX CONNECTORS,LENGTH:10 M | CABLE FIBRA OPTICA;MNFR:ABB,PTNO:3ADT693318P0006 |  | ABB | 3ADT693318P0006 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT693318P0006 | [12 empty] | ABB | 3ADT693318P0006 | ABB AUSTRALIA PTY LTD | 3ADT693318P0006 | [14 empty] | https://new.abb.com/products/3ADT693318P0006/3adt693318p0006 | [9 empty] | Cleansed | 26121607 Fiber optic cable |  |  | CABLE | FIBER OPTIC | TYPE | DRIVE,DOUBLE | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL | PLASTIC | SHEATH COLOUR |  | END CONNECTION | SIMPLEX CONNECTOR | LENGTH | 10 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1009812 | 1009812 |  |  |  | ERSA | M | 1640 | 1615092GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADT693554P0002,DCS-LINKC | CABLE CONT;ABB,3ADT693554P0002 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADT693554P0002,ADDITIONAL FEATURES EN:DCS-LINK CONNECTION 2M,CABLE FEX-4 - DSL 2M,FOR DCS800 DRIVE | CABLE CONTROL;MNFR:ABB,PTNO:3ADT693554P0002 |  | ABB | 3ADT693554P0002 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT693554P0002 | [12 empty] | ABB | 3ADT693554P0002 | ABB AUSTRALIA PTY LTD | 3ADT693554P0002 | [14 empty] | https://new.abb.com/products/3ADT693554P0002/3adt693554p0002 | [9 empty] | Cleansed | 26121603 Control cable | FOR DCS800 DRIVE,DCS-LINK CONNECTION,FEX-4-DSL |  | CABLE | CONTROL | TYPE |  | DIAMETER |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1009813 | 1009813 |  |  |  | ERSA | M | 1640 | 1615093GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADT693554P0010,SDCS DSLC | CABLE CONT;ABB,3ADT693554P0010 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADT693554P0010,ADDITIONAL FEATURES EN:SDCS DSL COMMUNICATION CABLE 10M,CABLE FEX-4 - DSL 10 M,FOR DCS800 | CABLE CONTROL;MNFR:ABB,PTNO:3ADT693554P0010 |  | ABB | 3ADT693554P0010 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT693554P0010 | [12 empty] | ABB | 3ADT693554P0010 | ABB AUSTRALIA PTY LTD | 3ADT693554P0010 | [14 empty] | https://new.abb.com/products/3ADT693554P0010/3adt693554p0010 | [9 empty] | Cleansed | 26121666 Communication cable assembly | FOR DCS800 DRIVE,FEX-4-DSL |  | CABLE | COMMUNICATION | TYPE | SDCS DSL,CONTROL | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 10 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | URL ONLY FOR REFFERENCE | 1009815 | 1009815 |  |  |  | ERSA | M | 1640 | 1615095GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,3ADV300012R0002,FLT,26POL | CABLE CONT;ABB,3ADV300012R0002 | CABLE,CONTROL;MNFR:ABB,PTNO:3ADV300012R0002,ADDITIONAL FEATURES EN:FLAT,26POL-2900MM,SHIELDET,A9X1-U1A11X1,FOR DCS800 DRIVE | CABLE CONTROL;MNFR:ABB,PTNO:3ADV300012R0002 |  | ABB | 3ADV300012R0002 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADV300012R0002 | [12 empty] | ABB | 26POL-2900MM | ABB AUSTRALIA PTY LTD | 3ADV300012R0002 | ABB | 3ADV300012R0002 | [12 empty] | https://www.thpa.gr/files/procurement/ere_ago_29052018en.pdf | [9 empty] | Cleansed | 26121624 Ribbon or flat cable | FOR DCS800 DRIVE,A9X1-U1A11X1 |  | CABLE | FLAT | TYPE | CONTROL,SHIELDED | NUMBER OF WAYS |  | WIDTH |  | CAPACITANCE |  | IMPEDANCE |  | WIRE SIZE |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | PITCH |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1014009 | 1014009 |  |  |  | ERSA | M | 1640 | 1616707GZPCLNT100 | EA |  | CABLE;OUTPT,FEED/ROTATION | CABLE; | CABLE;TYPE:OUTPUT,ADDITIONAL FEATURES EN:FEED/ROTATION | CABLE; |  |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | MT3176999619 | [10 empty] | EPIROC AUSTRALIA PTY LTD | MT3176999619 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | OUTPUT,FEED/ROTATION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1035622 | 1035622 |  |  |  | ERSA | M | 1600 | 1539503GZPCLNT100 | M |  | CABLE,ELEC;3CE,1.5MM2,AI,CBL1.5/3CTE-BLU | CABLE,ELEC;3CE,1.5MM2,AI,CBL1.5/3CTE-BLU | CABLE,ELEC;ADDITIONAL FEATURES:3CE,1.5MM2,AI,CBL1.5/3CTE-BLU |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CBL1.5/3CTE-BLU | 1068740 @@ METAL MANUFACTURES PTY LTD | CBL1.5/3CTE-BLU | [10 empty] | GENERIC | CBL1.5/3CTE-BLU | METAL MANUFACTURES PTY LTD | CBL1.5/3CTE-BLU | [14 empty] | https://tle.mmem.com.au/cbl1-2e-5-2f-3cte-blu | [9 empty] | Enriched | 26121629 Power cable |  |  | CABLE | POWER | TYPE | AIR CONDITIONING | VOLTAGE RATING | 450 TO 750 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 3C+E | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | BEND RADIUS |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOR | BLUE | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1036380 | 1036380 |  |  |  | ERSA | M | 1640 | 1528006GZPCLNT100 | M |  | CABLE,ELEC;CBL95/3C11KV-SWA | CABLE,ELEC;CBL95/3C11KV-SWA | [5 empty] | 1071180 @@ MM ELECTRICAL MERCHANDISING | CBL95/3C11KV-SWA | [10 empty] | MM ELECTRICAL MERCHANDISING | CBL95/3C11KV-SWA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1036443 | 1036443 |  |  |  | ERSA | M | 1640 | 1527779GZPCLNT100 | M |  | CABLE,ELEC;CBL2.52CESWAOR | CABLE,ELEC;CBL2.52CESWAOR | [5 empty] | 1071835 @@ REXEL AUSTRALIA | CBL2.52CESWAOR | [12 empty] | GENERIC | CBL2.52CESWAOR | REXEL AUSTRALIA | CBL2.52CESWAOR | [14 empty] | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Cable-and-Wire/Orange-Circular/CABLE-CIRCULAR-2-5MM-2C%26ECC-450-700V/p/CBL2.52CECA06 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | CIRCULAR | VOLTAGE RATING | 450/750 V | CURRENT RATING |  | CONDUCTOR SIZE | 2.5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 2C+E | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 100 M | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 5000.2 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1036455 | 1036455 |  |  |  | ERSA | M | 5100 | 1495302GZPCLNT100 | M |  | CABLE;BUILDING WIRE E,CBL35BWEW500 | CABLE;BUILDING WIRE E,CBL35BWEW500 | [5 empty] | 1071835 @@ REXEL AUSTRALIA | CBL35BWEW500 | [12 empty] | GENERIC | CBL35BWEW500 | REXEL AUSTRALIA | CBL35BWEW500 | [14 empty] | https://www.jrt.com.au/ajt/category/Cable/Building-Wire/Building-Wire/CABLE-BUILDING-WIRE-EARTH-WIRE-35MM-19-153-1C-500M-GREEN-YELLOW/CBL35BWEW500/p/10551860 | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | BUILDING EARTH WIRE | VOLTAGE RATING | 1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 35 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1052894 | 1052894 |  |  |  | ERSA | M | 1640 | 1578331GZPCLNT100 | EA |  | CABLE;ARMRD,4C/R 120 MM X 350 M | CABLE; | CABLE;TYPE:ARMOURED,ADDITIONAL FEATURES EN:4C/R 120 MM X 350 M,CU/XLPE/PVC/SWA/PVC ORG SHEATH 0.6/1KV | CABLE; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CBL120/4CEXLPESWA | [10 empty] | METAL MANUFACTURES PTY LTD | CBL120/4CEXLPESWA | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ARMORED | TYPE |  | CONDUCTOR SIZE | 120 MM | NUMBER OF CONDUCTORS |  | LENGTH | 350 M | ARMOR MATERIAL | STEEL WIRE | OUTER JACKET MATERIAL | XLPE/PVC | CONDUCTOR MATERIAL |  | VOLTAGE RATING | 0.6/1 KV | INSULATION MATERIAL | PVC | COLOR | ORANGE SHEATH | SHIELDED/UNSHIELDED PAIRS |  | TEMPERATURE RATING |  | OUTSIDE DIAMETER |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1052895 | 1052895 |  |  |  | ERSA | M | 1640 | 1578332GZPCLNT100 | EA |  | CABLE;SOLID,1C 500 MM X 250MM,CUXLPE/PVC | CABLE; | CABLE;TYPE:SOLID,ADDITIONAL FEATURES EN:1C 500 MM X 250MM,CUXLPE/PVC,BLK SHEATH 0.6/1KV | CABLE; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CBL500XLPE | [10 empty] | METAL MANUFACTURES PTY LTD | CBL500XLPE | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | SOLID | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 250 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | XLPE | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 500 MM | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1053029 | 1053029 |  |  |  | ERSA | M | 1640 | 1579500GZPCLNT100 | EA |  | CABLE;BUILDING WIRE,6MM X 100M,RED FLEX | CABLE; | CABLE;TYPE:BUILDING WIRE,ADDITIONAL FEATURES EN:6MM X 100M,RED FLEX | CABLE; |  |  |  | 1071835 @@ REXEL AUSTRALIA | CBL6FXBWRD | [10 empty] | REXEL AUSTRALIA | CBL6FXBWRD | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | COLOUR:RED |  | CABLE | NO MODIFIER | TYPE | BUILDING WIRE,FLEXIBLE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 6 MM | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 100 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1053145 | 1053145 |  |  |  | ERSA | M | 1640 | 1581207GZPCLNT100 | EA |  | CABLE;AS,3C 240MMX300M,11KV,13.5KA/1SEC | CABLE; | CABLE;TYPE:AS,ADDITIONAL FEATURES EN:3C 240MMX300M,11KV,13.5KA/1SEC,CU/XLPE/SCR,/PVC/SWA/PVC | CABLE; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CBL240/3C.XLPESWA11K | [10 empty] | METAL MANUFACTURES PTY LTD | CBL240/3C.XLPESWA11K | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CORE STRANDS:3,CURRENT RATING:13.5 KA/1 SEC,AS |  | CABLE | ARMORED | TYPE |  | CONDUCTOR SIZE | 240 MM | NUMBER OF CONDUCTORS |  | LENGTH | 300 M | ARMOR MATERIAL | STEEL WIRE | OUTER JACKET MATERIAL | XLPE/SCR | CONDUCTOR MATERIAL | COPPER | VOLTAGE RATING | 11 KV | INSULATION MATERIAL | PVC | COLOR |  | SHIELDED/UNSHIELDED PAIRS |  | TEMPERATURE RATING |  | OUTSIDE DIAMETER |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1053146 | 1053146 |  |  |  | ERSA | M | 1640 | 1581208GZPCLNT100 | EA |  | CABLE;AS,300MM X 150M,33KV,13.5KA/1SEC | CABLE; | CABLE;TYPE:AS,ADDITIONAL FEATURES EN:300MM X 150M,33KV,13.5KA/1SEC,CU/XLPE/SCR,/PVC/SWA/PVC | CABLE; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CBL300/3CXLPESWA33KV | [10 empty] | METAL MANUFACTURES PTY LTD | CBL300/3CXLPESWA33KV | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | CURRENT RATING:13.5 KA/1 SEC,AS |  | CABLE | ARMORED | TYPE |  | CONDUCTOR SIZE | 300 MM | NUMBER OF CONDUCTORS |  | LENGTH | 150 M | ARMOR MATERIAL | STEEL WIRE | OUTER JACKET MATERIAL | XLPE/SCR | CONDUCTOR MATERIAL | COPPER | VOLTAGE RATING | 33 KV | INSULATION MATERIAL | PVC | COLOR |  | SHIELDED/UNSHIELDED PAIRS |  | TEMPERATURE RATING |  | OUTSIDE DIAMETER |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1055685 | 1055685 |  |  |  | ERSA | M | 1640 | 1584801GZPCLNT100 | M |  | CABLE,ELEC;CRCLR,450/750 V,1.5 MM2 | CABLE ELEC;450/750 V,1.5 MM2,CONDCTS 3 | CABLE,ELECTRICAL;TYPE:CIRCULAR,VOLTAGE RATING:450/750 V,CONDUCTOR SIZE:1.5 MM2,NUMBER OF CONDUCTORS:3,CORE STRANDS:2, E,CONDUCTOR MATERIAL:COPPER,INSULATION MATERIAL:PVC,TEMPERATURE RATING:<90 DEG C,LENGTH:500 M,JACKET COLOUR:ORANGE,ADDITIONAL FEATURES EN: STRANDS: 7/050 | CABLE ELECTRICO;VOLTAJE:450/750 V,TAMAÃ‘O CONDUCTORES:1.5 MM2,NUMERO CONDUCTORES:3,,COLOR FORRO:NARANJA |  |  |  | 1071835 @@ REXEL AUSTRALIA | CBL1.52CEOCOR500 | [12 empty] | GENERIC | CBL1.52CEOCOR500 | REXEL AUSTRALIA | CBL1.52CEOCOR500 | [14 empty] | https://www.rexel.com.au/are/category/Cable/Multicore-Circular-Cable/Multicore-Circular/CABLE-ORANGE-CIRCULAR-1-5MM-7-050-2C%2BE-500M-450-750V/CBL1-52CEOCOR500/p/10551354 | [9 empty] | Enriched | 26121600 Electrical cable and accessories | STRANDS:7/050 MM |  | CABLE | ELECTRICAL | TYPE | CIRCULAR | VOLTAGE RATING | 450/750 V | CURRENT RATING |  | CONDUCTOR SIZE | 1.5 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS | 2C+E | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | <90 DEG C | LENGTH | 500 M | JACKET COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1057503 | 1057503 |  |  |  | ERSA | M | 1640 | 1542830GZPCLNT100 | M |  | CABLE,ELEC;CONDCT CU | CABLE ELEC; | CABLE,ELECTRICAL;CONDUCTOR MATERIAL:COPPER,ADDITIONAL FEATURES EN:CIRC,1C,300MM,0.6/1KV | CABLE ELECTRICO; |  |  |  | 1071180 @@ MM ELECTRICAL MERCHANDISING | CBL300XLPE-5 | [12 empty] | GENERIC | CBL300XLPE-5 | MM ELECTRICAL MERCHANDISING | CBL300XLPE-5 | [14 empty] | https://mm.mmem.com.au/cbl300xlpe | [9 empty] | Enriched | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | CIRCULAR | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 300 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 90 DEG C | LENGTH |  | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 5000.1 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1062052 | 1062052 |  |  |  | ERSA | M | 1640 | 1607116GZPCLNT100 | EA |  | CABLE;CAN OPEN,4500 MM | CABLE; | CABLE;TYPE:CAN OPEN,ADDITIONAL FEATURES EN:4500 MM | CABLE; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 045 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 045 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2021/03/210719-CATALOGUE-BOOM-_-FEED-ASSEMBLY-MTE7-RHS27-CA-1.pdf | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | CAN OPEN | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 4500 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1062074 | 1062074 |  |  |  | ERSA | M | 1640 | 1607115GZPCLNT100 | EA |  | CABLE;CAN OPEN,1000 MM | CABLE; | CABLE;TYPE:CAN OPEN,ADDITIONAL FEATURES EN:1000 MM | CABLE; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 010 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 010 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2021/03/210719-CATALOGUE-BOOM-_-FEED-ASSEMBLY-MTE7-RHS27-CA-1.pdf | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | CAN OPEN | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 1000 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1062075 | 1062075 |  |  |  | ERSA | M | 1640 | 1607117GZPCLNT100 | EA |  | CABLE;CAN OPEN,8000 MM | CABLE; | CABLE;TYPE:CAN OPEN,ADDITIONAL FEATURES EN:8000 MM | CABLE; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 080 | [10 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT1317 1327 080 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | CAN OPEN | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 8000 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1079315 | 1079315 |  |  |  | ERSA | M | 1640 | 1613889GZPCLNT100 | EA | 3000014 | CABLE,CTRL;ABB,2TLA020056R0500,3 M,PVC,5 | CABLE CONT;ABB,2TLA020056R0500 | CABLE,CONTROL;MNFR:ABB,PTNO:2TLA020056R0500,ADDITIONAL FEATURES EN:3 M,PVC,5X0,34,M12C.31 | CABLE CONTROL;MNFR:ABB,PTNO:2TLA020056R0500 |  | ABB | 2TLA020056R0500 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 2TLA020056R0500 | [12 empty] | ABB | 2TLA020056R0500 | CNW (MOUNT ISA) ELECT WHOLESALER | 2TLA020056R0500 | ABB | M12-C31 | [12 empty] | https://new.abb.com/products/2TLA020056R0500/m12-c31 | [9 empty] | Enriched | 26121603 Control cable |  |  | CABLE | CONTROL | TYPE |  | DIAMETER |  | CONDUCTOR SIZE | 0.34 MM2 | NUMBER OF CONDUCTORS | 5 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | LENGTH | 3 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1085193 | 1085193 |  |  |  | ERSA | M | 1600 | 1576804GZPCLNT100 | EA | 3000422 | CABLE;CNW,MSSTRGM100,ROLR,MAN HOLE,SGL | CABLE;CNW,MSSTRGM100 | CABLE;MNFR:CNW,PTNO:MSSTRGM100,ADDITIONAL FEATURES EN:ROLLER,MAN HOLE,SINGLE | CABLE;MNFR:CNW,PTNO:MSSTRGM100 |  | CNW | MSSTRGM100 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MSSTRGM100 | [10 empty] | CNW | MSSTRGM100 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | MSSTRGM100 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | ROLLER,MAN HOLE,SINGLE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1085194 | 1085194 |  |  |  | ERSA | M | 1600 | 1576805GZPCLNT100 | EA | 3000422 | CABLE;CNW,MSSTRGM1003,ROLR,MAN HOLE,TRPL | CABLE;CNW,MSSTRGM1003 | CABLE;MNFR:CNW,PTNO:MSSTRGM1003,ADDITIONAL FEATURES EN:ROLLER,MAN HOLE,TRIPLE | CABLE;MNFR:CNW,PTNO:MSSTRGM1003 |  | CNW | MSSTRGM1003 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MSSTRGM1003 | [10 empty] | CNW | MSSTRGM1003 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | MSSTRGM1003 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | ROLLER,MAN HOLE,TRIPLE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1087895 | 1087895 |  |  |  | ERSA | M | 5810 | 1605332GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1036,T-NODE 1,W18-J-1175 | CABLE;TER,14.85.1036 | CABLE;MNFR:TEREX,PTNO:14.85.1036,ADDITIONAL FEATURES EN:T-NODE 1,W18-J-1175 | CABLE;MNFR:TEREX,PTNO:14.85.1036 |  | TEREX | 14.85.1036 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1036 | [12 empty] | TEREX | 14.85.1036 | FINLAY SCREENING & CRUSHING | 14.85.1036 | [14 empty] | https://shop.lonmadi.ru/product/view/00001157346.html |  |  |  |  | W18-J-1175 |  |  |  |  | Cleansed | 26121600 Electrical cable and accessories | 1 |  | CABLE | ELECTRICAL | TYPE | T-NODE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088074 | 1088074 |  |  |  | ERSA | M | 5810 | 1605321GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1014,BACN | CABLE;TER,14.85.1014 | CABLE;MNFR:TEREX,PTNO:14.85.1014,ADDITIONAL FEATURES EN:BEACON | CABLE;MNFR:TEREX,PTNO:14.85.1014 |  | TEREX | 14.85.1014 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1014 | [12 empty] | TEREX | 14.85 1014 | FINLAY SCREENING & CRUSHING | 14.85.1014 | [14 empty] | https://archive.org/stream/FinancialTimes1982UKEnglish/Aug%2003%201982%2C%20Financial%20Times%2C%20%2328841%2C%20UK%20%28en%29_djvu.txt | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | BEACON | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088075 | 1088075 |  |  |  | ERSA | M | 5810 | 1605322GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1134,BTN,NODE 4,P-ROD | CABLE;TER,14.85.1134 | CABLE;MNFR:TEREX,PTNO:14.85.1134,ADDITIONAL FEATURES EN:BUTTON,NODE 4,P-ROD | CABLE;MNFR:TEREX,PTNO:14.85.1134 |  | TEREX | 14.85.1134 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1134 | [12 empty] | TEREX | 14.85.1134 | FINLAY SCREENING & CRUSHING | 14.85.1134 | [14 empty] | https://www.volza.com/imports-india/india-import-data-of-rods-and-hscode-8544 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | BUTTON,NODE 4,P-ROD | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088076 | 1088076 |  |  |  | ERSA | M | 5810 | 1605323GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1013,HYDR,TEMP,J1175 | CABLE;TER,14.85.1013 | CABLE;MNFR:TEREX,PTNO:14.85.1013,ADDITIONAL FEATURES EN:HYDRAULIC,TEMPERATURE,J1175 | CABLE;MNFR:TEREX,PTNO:14.85.1013 |  | TEREX | 14.85.1013 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1013 | [12 empty] | TEREX | 14.85.1013 | FINLAY SCREENING & CRUSHING | 14.85.1013 | [14 empty] | https://www.volza.com/p/temperature-sensor/import/import-in-india/hsn-code-8544 |  |  |  |  | J1175 |  |  |  |  | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | HYDRAULIC,TEMPERATURE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088077 | 1088077 |  |  |  | ERSA | M | 5810 | 1605324GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1011,THRMSTT,OIL TEMP | CABLE;TER,14.85.1011 | CABLE;MNFR:TEREX,PTNO:14.85.1011,ADDITIONAL FEATURES EN:THERMOSTAT,OIL TEMP | CABLE;MNFR:TEREX,PTNO:14.85.1011 |  | TEREX | 14.85.1011 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1011 | [12 empty] | TEREX | 14.85 1011 | FINLAY SCREENING & CRUSHING | 14.85.1011 | [14 empty] | https://ufdcimages.uflib.ufl.edu/AA/00/01/66/16/01847/06-19-2018_pdf.txt | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | THERMOSTAT,OIL TEMPERATURE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088078 | 1088078 |  |  |  | ERSA | M | 5810 | 1605325GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1009,LEVEL SWITCH,FLOT | CABLE;TER,14.85.1009 | CABLE;MNFR:TEREX,PTNO:14.85.1009,ADDITIONAL FEATURES EN:LEVEL SWITCH,FLOAT | CABLE;MNFR:TEREX,PTNO:14.85.1009 |  | TEREX | 14.85.1009 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1009 | [12 empty] | TEREX | 14.85.1009 | FINLAY SCREENING & CRUSHING | 14.85.1009 | [14 empty] | https://www.volza.com/p/cable-switch/export/hsn-code-85444299/ | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | ELECTRICAL | TYPE | LEVEL SWITCH,FLOAT | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088080 | 1088080 |  |  |  | ERSA | M | 5810 | 1605327GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1012 | CABLE;TER,14.85.1012 | CABLE;MNFR:TEREX,PTNO:14.85.1012 | CABLE;MNFR:TEREX,PTNO:14.85.1012 |  | TEREX | 14.85.1012 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1012 | [10 empty] | TEREX | 14.85.1012 |  |  | FINLAY SCREENING & CRUSHING | 14.85.1012 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1088155 | 1088155 |  |  |  | ERSA | M | 5810 | 1605328GZPCLNT100 | EA | 3000011 | CABLE;TER,14.85.1010,SOUNDER 1 | CABLE;TER,14.85.1010 | CABLE;MNFR:TEREX,PTNO:14.85.1010,ADDITIONAL FEATURES EN:SOUNDER 1 | CABLE;MNFR:TEREX,PTNO:14.85.1010 |  | TEREX | 14.85.1010 | 1068354 @@ FINLAY SCREENING & CRUSHING | 14.85.1010 | [12 empty] | TEREX | 14.85.1010 | FINLAY SCREENING & CRUSHING | 14.85.1010 | [14 empty] | https://shop.lonmadi.ru/product/view/00002061150.html | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | 1 |  | CABLE | ELECTRICAL | TYPE | SOUNDER | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1182986 | 1182986 |  |  |  | ERSA | M | 5955 | 1564147GZPCLNT100 | EA | 3000011 | CABLE;TER,301.073,THROTLE,DEUTZ ENGINE | CABLE;TER,301.073 | CABLE;MNFR:TEREX,PTNO:301.073,ADDITIONAL FEATURES EN:THROTLE,DEUTZ ENGINE | CABLE;MNFR:TEREX,PTNO:301.073 |  | TEREX | 301.073 | 1068354 @@ FINLAY SCREENING & CRUSHING | 301.073 | [10 empty] | TEREX | 301.073 |  |  | FINLAY SCREENING & CRUSHING | 301.073 | [14 empty] | URL NOT FOUND |  |  | ENGINE | DEUTZ | [5 empty] | Cleansed | 26121600 Electrical cable and accessories |  |  | CABLE | NO MODIFIER | TYPE | THROTLE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1188666 | 1188666 |  |  |  | ERSA | M | 1600 | 1584845GZPCLNT100 | EA |  | CABLE;COMPLT,8000MM | CABLE; | CABLE;TYPE:COMPLETE,ADDITIONAL FEATURES EN:8000MM | CABLE; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 558 | [10 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 558 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | COMPLETE |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 8000 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1188667 | 1188667 |  |  |  | ERSA | M | 1600 | 1584844GZPCLNT100 | EA |  | CABLE;COMPLT,6000MM | CABLE; | CABLE;TYPE:COMPLETE,ADDITIONAL FEATURES EN:6000MM | CABLE; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 55 | [10 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3176 0034 55 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | COMPLETE |  | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 6000 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 | SERIES MATCH | 1190077 | 1190077 |  |  |  | ERSA | M | 1640 | 1575122GZPCLNT100 | M |  | CABLE;2C&E,4 MM,7/0.85,PVC/SWA/PVC,ORG | CABLE; | CABLE;TYPE:2C&E,ADDITIONAL FEATURES EN:4 MM,7/0.85,PVC/SWA/PVC,ORG | CABLE; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | CBL4/2CESWA | [12 empty] | GENERIC | CBL4/2CESWA | METAL MANUFACTURES PTY LTD | CBL4/2CESWA | [14 empty] | https://mm.mmem.com.au/cbl4-2f-2ceoc-5 | [9 empty] | Enriched | 26121629 Power cable | STARNDS:7/0.85 MM,ARMOR MATERIAL:STEEL WIRE ARMOURED |  | CABLE | POWER | TYPE |  | VOLTAGE RATING | 0.6 TO 1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 4 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 2C+E | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | BEND RADIUS |  | TEMPERATURE RATING | 90 DEG C | LENGTH |  | JACKET COLOR | ORANGE | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1205538 | 1205538 |  |  |  | ERSA | M | 1640 | 271600MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:SIGNAL | CABLE,SPECIAL PURPOSE,ELECTRICAL:SIGNAL | CABLE,SPECIAL PURPOSE,ELECTRICAL:SIGNAL CABLE FOR VORTEX FLOWMETER;15M LENGTH;WITH END FINISH |  |  |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | DYC-1-15 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | DYC-1-15 | [16 empty] | https://www.zauba.com/import-dyc/hs-code-85442090-hs-code.html | [9 empty] | Cleansed | 26121604 Signal cable | FOR VORTEX FLOWMETER,C/W END FINISH |  | CABLE | SIGNAL | TYPE | SPECIAL PURPOSE,ELECTRICAL | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONNECTION TYPE |  | CONDUCTOR MATERIAL |  | LENGTH | 15 M | VOLTAGE RATING |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1205541 | 1205541 |  |  |  | ERSA | M | 1640 | 271604MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETIC FLOWMETER SIGNAL CABLE FOR AXG1A;FINISHED 15M |  |  |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | AX01C-B015 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | AX01C-B015 | [16 empty] | https://en.sekorm.com/doc/699906.html | [9 empty] | Cleansed | 26121604 Signal cable | FOR MAGNETIC FLOWMETER,AXG1A,FINISHED |  | CABLE | SIGNAL | TYPE | SPECIAL PURPOSE,ELECTRICAL | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONNECTION TYPE |  | CONDUCTOR MATERIAL |  | LENGTH | 15 M | VOLTAGE RATING |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1205542 | 1205542 |  |  |  | ERSA | M | 1640 | 271605MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETIC FLOWMETER SIGNAL CABLE;UNFINISHED 200M;9 PAIRS FINISHING PARTS |  |  |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | AX01C-A200/C9 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | AX01C-A200/C9 | [16 empty] | https://en.sekorm.com/doc/699906.html | [9 empty] | Cleansed | 26121604 Signal cable | FOR MAGNETIC FLOWMETER,UNFINISHED,PACKAGE QUANTITY:9 PAIR,FINISHING PARTS |  | CABLE | SIGNAL | TYPE | SPECIAL PURPOSE,ELECTRICAL | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONNECTION TYPE |  | CONDUCTOR MATERIAL |  | LENGTH | 200 M | VOLTAGE RATING |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-09 |  | 1205543 | 1205543 |  |  |  | ERSA | M | 1640 | 271606MRM | EA |  | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETI | CABLE,SPECIAL PURPOSE,ELECTRICAL:MAGNETIC FLOWMETER SIGNAL CABLE;UNFINISHED 20M;5 PAIRS FINISHING PARTS |  |  |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | AX01C-A020/C5 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | AX01C-A020/C5 | [16 empty] | https://en.sekorm.com/doc/699906.html | [9 empty] | Cleansed | 26121604 Signal cable | FOR MAGNETIC FLOWMETER,UNFINISHED,PACKAGE QUANTITY:5 PAIR,FINISHING PARTS |  | CABLE | SIGNAL | TYPE | SPECIAL PURPOSE,ELECTRICAL | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONNECTION TYPE |  | CONDUCTOR MATERIAL |  | LENGTH | 20 M | VOLTAGE RATING |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed