## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183579 | 1183579 |  |  |  | ERSA | M | 1600 | 1562246GZPCLNT100 | EA |  | CABLE,COMM;DATA,IFS-RS232,PHOENIX | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:DATA,IFS-RS232,PHOENIX | CABLE COMUNICACION; | [17 empty] | PHOENIX | IFS-RS232 | [16 empty] | https://www.phoenixcontact.com/en-in/products/data-cable-preassembled-ifs-rs232-datacable-2320490 | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | D-SUB,DATA | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 2 M | VOLTAGE RATING | 1.4 KV | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,ROHS | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1185436 | 1185436 |  |  |  | ERSA | M | 5940 | 1557178GZPCLNT100 | EA |  | CABLE,COMM;SEISMIC DAU,UPLINK | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:SEISMIC DAU,UPLINK | CABLE COMUNICACION; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | SEISMIC DAU,UPLINK | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1042931 | 1042931 | 1400699 | AU_QM_000245144 |  | ERSA | M | 5915 | 1400699GZPCLNT100 | EA |  | CABLE,COMM;SERIAL DIGITAL INTERFACE | CABLE,COMM;SERIAL DIGITAL INTERFACE | CABLE,COMMUNICATION;TYPE:SERIAL DIGITAL INTERFACE,CONDUCTOR SIZE:1.5 MM2,LENGTH:100 M,ADDITIONAL FEATURES EN:RED, JACKET COLOUR: WHITE,MNFR:01)CNW,PTNO:01)CBL1.5SDIRD |  | CABLE,COMM;SERIAL DIGITAL INTERFACECABLE,COMM;SERIAL DIGITAL INTERFACE,RED | [16 empty] | GENERIC | CBL1.5SDIRD | CNW | CBL1.5SDIRD | [14 empty] | https://mm.mmem.com.au/cbl1-2e-5sdird | [9 empty] | Enriched | 26121666 Communication cable assembly | JACKET COLOUR:WHITE,CORE COLOUR:RED |  | CABLE | COMMUNICATION | TYPE | SERIAL DIGITAL INTERFACE | IMPEDANCE | 13.6 OHM/KM | DIAMETER | 4.5 MM | CONDUCTOR SIZE | 1.5 MM2 | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL | PLAIN ANNEALED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | LENGTH | 100 M | VOLTAGE RATING | 450 TO 750 V | TEMPERATURE RATING | 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183590 | 1183590 |  |  |  | ERSA | M | 4500 | 1562235GZPCLNT100 | EA |  | CABLE,COMM;USB-ROLLOVER,FTDI,HI-SPD,PRGM | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:USB-ROLLOVER,FTDI,HI-SPD,PROGRAMMING | CABLE COMUNICACION; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | HI-SPEED |  | CABLE | COMMUNICATION | TYPE | USB-ROLLOVER,FTDI,PROGRAMMING | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1185437 | 1185437 |  |  |  | ERSA | M | 5940 | 1557177GZPCLNT100 | EA |  | CABLE,NETWRK;ENET,SEISMIC DAU | RED CABLES; | CABLE,NETWORK;ADDITIONAL FEATURES EN:ETHERNET,SEISMIC DAU | RED CABLES; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121609 Network cable |  |  | CABLE | NETWORK | TYPE | ETHERNET,SEISMIC DAU | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR | RED | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1047028 | 1047028 | 1423459 | AU_QM_000269898 |  | ERSA | M | 5915 | 1423459GZPCLNT100 | EA |  | CABLE,NETWRK;SERIAL DIGITAL INTERFACE | CABLE,NETWRK;SERIAL DIGITAL INTERFACE | CABLE,NETWORK;TYPE:SERIAL DIGITAL INTERFACE,DIAMETER:1.5 MM2,SHEATH COLOUR:BLACK,LENGTH:100 M,MNFR:01)CNW,PTNO:01)CBL1.5SDIBK |  | CABLE,NETWRK;SERIAL DIGITAL INTERFACECABLE,NETWRK;SERIAL DIGITAL INTERFACE | [16 empty] | GENERIC | CBL1.5SDIBK | CNW | CBL1.5SDIBK | [14 empty] | https://mm.mmem.com.au/cbl1-2e-5sdibk-5 | [9 empty] | Enriched | 26121609 Network cable | CONDUCTOR SIZE:1.5 MM2 |  | CABLE | NETWORK | TYPE | SERIAL DIGITAL INTERFACE | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS | 1 | DIAMETER | 4.5 MM | SHEATH MATERIAL | PVC | SHEATH COLOUR | BLACK | LENGTH | 100 M | TEMPERATURE RATING | 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1010763 | 1010763 |  |  |  | ERSA | M | 4500 | 1610968GZPCLNT100 | EA | 3000004 | CABLE;HIT,EH-VCB02,PLC,CMMNCTN | CABLE;HIT,EH-VCB02 | CABLE;MNFR:HITACHI,PTNO:EH-VCB02,ADDITIONAL FEATURES EN:PLC,COMMUNICATION | CABLE;MNFR:HITACHI,PTNO:EH-VCB02 |  | HITACHI | EH-VCB02 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PLCEH-B02 | [12 empty] | HITACHI | EH-VCB02 | CNW (MOUNT ISA) ELECT WHOLESALER | PLCEH-B02 | [14 empty] | https://www.plccable.com/hitachi-eh-series-usb-eh-vcb02-plc-programming-cable/ | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | PLC PROGRAMMING | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036146 | 1036146 |  |  |  | ERSA | M | 1600 | 1516435GZPCLNT100 | M |  | CABLE,COMMUNICATION;TEL,GARETC6064JF1000 | CABLE,COMMUNICATION;TEL,GARETC6064JF1000 | CABLE,COMMUNICATION;ADDITIONAL FEATURES:TEL,GARETC6064JF1000 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARETC4064JF1000 | 1070129 @@ HAYMANS ELECTRICAL (SERVICES) | GARETC6064JF1000 | [10 empty] | GARLAND CABLE | GARETC4064JF1000 | METAL MANUFACTURES PTY LTD | GARETC4064JF1000 | HAYMANS ELECTRICAL (SERVICES) | GARETC6064JF1000 | [12 empty] | https://www.idealelectrical.com/aie/Data-and-communication-cable-(copper)/c/CEC003249?q=%3Arelevance&page=12&pageSize=24 | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | TELEPHONE | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE | 0.64 MM | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | JELLY FILLED POLYTHENE | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036147 | 1036147 |  |  |  | ERSA | M | 1600 | 1516434GZPCLNT100 | M |  | CABLE,COMMUNICATION;TEL,GARETC2064JF1000 | CABLE,COMMUNICATION;TEL,GARETC2064JF1000 | CABLE,COMMUNICATION;ADDITIONAL FEATURES:TEL,GARETC2064JF1000 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARETC2064JF1000 | 1070129 @@ HAYMANS ELECTRICAL (SERVICES) | GARETC2064JF1000 | [10 empty] | GARLAND CABLE | GARETC2064JF1000 | METAL MANUFACTURES PTY LTD | GARETC2064JF1000 | HAYMANS ELECTRICAL (SERVICES) | GARETC2064JF1000 | [12 empty] | https://www.rexel.com.au/are/category/Cable/Data-Cable/Data-and-communication-cable-%28copper%29/EXTERNAL-TELEPHONE-10-PAIR-0-64-UG-JELLY-FILLED-POLY/GARETC2064JF1000/p/14220012 | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | EXTERNAL TELEPHONE | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE | 0.64 MM | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | JELLY FILLED POLYTHENE | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036431 | 1036431 |  |  |  | ERSA | M | 1600 | 1516482GZPCLNT100 | M |  | CABLE,NETWORK;INC CAT 6 ,GARGCC2103-0087 | CABLE,NETWORK;INC CAT 6 ,GARGCC2103-0087 | CABLE,NETWORK;ADDITIONAL FEATURES:INC CAT 6 ,GARGCC2103-0087 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARGCC2103-0087 | 1068740 @@ METAL MANUFACTURES PTY LTD | GARGCC2103-0087 | [8 empty] | METAL MANUFACTURES PTY LTD | GARGCC2103-0087 |  |  |  |  | METAL MANUFACTURES PTY LTD | GARGCC2103-0087 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121609 Network cable | INC |  | CABLE | NETWORK | TYPE | CAT 6 | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036874 | 1036874 |  |  |  | ERSA | M | 1640 | 1569217GZPCLNT100 | M |  | CABLE,ELEC;CONDCT CU,APS5DL2713-F | CABLE ELEC; | CABLE,ELECTRICAL;CONDUCTOR MATERIAL:COPPER,ADDITIONAL FEATURES EN:5G,10MM2,HD KON,SCRN,BLACK,APS5DL2713-F | CABLE ELECTRICO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | APS5DL2713-F | [12 empty] | SIEMENS | 5DL2713-F | METAL MANUFACTURES PTY LTD | APS5DL2713-F | [14 empty] | https://www.goelectrical.com.au/sie5dl2713f | [9 empty] | Enriched | 26121600 Electrical cable and accessories | 5G,HD KON |  | CABLE | ELECTRICAL | TYPE | SCREENED FLEXIBLE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 10 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 5C+E | CONDUCTOR MATERIAL | STRANDED TINNED COPPER | JACKET MATERIAL | CPE | INSULATION MATERIAL | ELASTOMER | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 90 DEG C | LENGTH |  | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 5000-1,AS 3191,AS/NZS 3008.1.12017 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036875 | 1036875 |  |  |  | ERSA | M | 1640 | 1569216GZPCLNT100 | M |  | CABLE,ELEC;CONDCT CU,APS5DL2712-F | CABLE ELEC; | CABLE,ELECTRICAL;CONDUCTOR MATERIAL:COPPER,ADDITIONAL FEATURES EN:5G6,0MM2,HD KON,SCRN,BLACK,APS5DL2712-F | CABLE ELECTRICO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | APS5DL2712-F | [12 empty] | SIEMENS | 5DL2712-F | METAL MANUFACTURES PTY LTD | APS5DL2712-F | [14 empty] | https://www.goelectrical.com.au/sie5dl2712f | [9 empty] | Enriched | 26121600 Electrical cable and accessories | 5G,HD KON |  | CABLE | ELECTRICAL | TYPE | SCREENED FLEXIBLE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 6 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4C+E | CONDUCTOR MATERIAL | STRANDED TINNED COPPER | JACKET MATERIAL | CPE | INSULATION MATERIAL | ELASTOMER | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 90 DEG C | LENGTH |  | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 5000-1,AS 3191,AS/NZS 3008.1.12017 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036876 | 1036876 |  |  |  | ERSA | M | 1640 | 1569215GZPCLNT100 | M |  | CABLE,ELEC;CONDCT CU,APS5DL2710-F | CABLE ELEC; | CABLE,ELECTRICAL;CONDUCTOR MATERIAL:COPPER,ADDITIONAL FEATURES EN:5G2,5MM2,HD KON,SCRN,BLACK,APS5DL2710-F | CABLE ELECTRICO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | APS5DL2710-F | [12 empty] | SIEMENS | 5DL2710-F | METAL MANUFACTURES PTY LTD | APS5DL2710-F | [14 empty] | https://www.goelectrical.com.au/sie5dl2710f | [9 empty] | Enriched | 26121600 Electrical cable and accessories | 5G2,HD KON |  | CABLE | ELECTRICAL | TYPE | SCREENED FLEXIBLE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 5 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 5C+E | CONDUCTOR MATERIAL | STRANDED TINNED COPPER | JACKET MATERIAL | CPE | INSULATION MATERIAL | ELASTOMER | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 90 DEG C | LENGTH |  | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 5000-1,AS 3191,AS/NZS 3008.1.12017 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1036877 | 1036877 |  |  |  | ERSA | M | 1640 | 1569214GZPCLNT100 | M |  | CABLE,ELEC;CONDCT CU,APS5DH5317 | CABLE ELEC; | CABLE,ELECTRICAL;CONDUCTOR MATERIAL:COPPER,ADDITIONAL FEATURES EN:4G,16MM2,SCREENED CABLE,APS5DH5317 | CABLE ELECTRICO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | APS5DH5317 | [12 empty] | SIEMENS | 5DH5317 | METAL MANUFACTURES PTY LTD | APS5DH5317 | [14 empty] | https://www.idealelectrical.com/aie/category/Electrical-Appliances/General/Power-cord/4G16MM2-OZOFLEX-PLUS-SCREENED/SIE5DH5317/p/14268443 | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | 4G |  | CABLE | ELECTRICAL | TYPE | SCREENED FLEXIBLE | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL | COPPER | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1050278 | 1050278 |  |  |  | ERSA | M | 1640 | 1608426GZPCLNT100 | EA |  | CABLE,COMM;SHIELDED,LG 100 M,PE39,2 PAIR | CABLE COMUNIC;,LG 100 M | CABLE,COMMUNICATION;TYPE:SHIELDED,LENGTH:100 M,ADDITIONAL FEATURES EN:PE39,2 PAIR | CABLE COMUNICACION;LONGITUD:100 M |  |  |  | 1068155 @@ REECE PTY LTD | 1521911 | [10 empty] | REECE PTY LTD | 1521911 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | PACKAGE QUANTITY:2 PAIR |  | CABLE | COMMUNICATION | TYPE | PE-39,HIELDED | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 100 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1054001 | 1054001 |  |  |  | ERSA | M | 1640 | 1587265GZPCLNT100 | M |  | CABLE,COMM;50 PAIR,0.4UG,JELY,FILLD,POLY | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:50 PAIR,0.4UG,JELLY,FILLED,POLY,EXTERNAL TELEPHONE,BRAND:GARLAND,PT NO.:ETC1004JF1000 | CABLE COMUNICACION; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARETC1004JF1000 200 | [12 empty] | GARLAND CABLE | GARETC1004JF1000 200 | METAL MANUFACTURES PTY LTD | GARETC1004JF1000 200 | [14 empty] | https://www.idealelectrical.com/aie/category/Cable/Data-Cable/Data-and-communication-cable-(copper)/EXTERNAL-TELEPHONE-50-PAIR-0-4-UG-JELLY-FILLED-POLY/GARETC1004JF1000/p/14221076 | [9 empty] | Enriched | 26121666 Communication cable assembly | PACKAGE QUANTITY:50 PAIR |  | CABLE | COMMUNICATION | TYPE | EXTERNAL TELEPHONE,UNDERGROUND | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE | 0.4 MM | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | JELLY FILLED POLYTHENE | LENGTH | 200 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1057446 | 1057446 |  |  |  | ERSA | M | 5100 | 1582116GZPCLNT100 | EA |  | CABLE,COMM;OLEUMTECH,CONFIG,SX1000-CC2 | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:OLEUMTECH,CONFIGURATION,SX1000-CC2 | CABLE COMUNICACION; |  |  |  | 1069329 @@ PMD PROCESS CONTROLS | 1582116 | [10 empty] | PMD PROCESS CONTROLS | 1582116 | OLEUMTECH | SX1000-CC2 | [16 empty] | https://oleumtech.com/wp-content/uploads/2017/02/SX1000-CC2-datasheet.pdf | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | CONFIGURATION | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 6.2 M | VOLTAGE RATING |  | TEMPERATURE RATING | -40 TO 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1060078 | 1060078 |  |  |  | ERSA | M | 5100 | 1614962GZPCLNT100 | EA |  | CABLE,COMM;MOTOROLA,PMKN4265,DATA,R7 | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:MOTOROLA,PMKN4265,DATA,R7 | CABLE COMUNICACION; |  |  |  | 1070470 @@ CSE CROSSCOM PTY LTD | PMKN4265 | [12 empty] | MOTOROLA | PMKN4265 | CSE CROSSCOM PTY LTD | PMKN4265 | [14 empty] | https://www.amerizonwireless.com/motorola-pmkn4265-gcai-data-programming-cable-mototrbo-ion-r7 | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | USB DATA,R7 | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1060259 | 1060259 |  |  |  | ERSA | M | 1640 | 1616160GZPCLNT100 | EA |  | CABLE,NETWRK;CAT 6,NYLON,BLACK,LG 500 M | RED CABLES;CAT6,NEGRO,LG 500 M | CABLE,NETWORK;TYPE:CAT 6,SHEATH MATERIAL:NYLON,SHEATH COLOUR:BLACK,LENGTH:500 M,ADDITIONAL FEATURES EN:CAT6 UTP,JELLY FILLED,SWA | RED CABLES;TIPO:CAT6,COLOR FUNDA:NEGRO,LONGITUD:500 M |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARUTPL6JFSWANYA500 | [12 empty] | GARLAND | GARUTPL6JFSWANYA500 | METAL MANUFACTURES PTY LTD | GARUTPL6JFSWANYA500 | [14 empty] | https://haymans.mmem.com.au/garutpl6jfswanya500 | [9 empty] | Enriched | 26121609 Network cable | ARMOR MATERIAL:STEEL WIRE ARMOURED,CORE COLOUR:RED |  | CABLE | NETWORK | TYPE | CAT 6 | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL | JELLY FILLED NYLON | SHEATH COLOUR | BLACK | LENGTH | 500 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1060260 | 1060260 |  |  |  | ERSA | M | 1640 | 1616161GZPCLNT100 | EA |  | CABLE,NETWRK;CAT 6,BLACK,LG 305 M | RED CABLES;CAT6,NEGRO,LG 305 M | CABLE,NETWORK;TYPE:CAT 6,SHEATH COLOUR:BLACK,LENGTH:305 M,ADDITIONAL FEATURES EN:DATA,4 PAIR,UTP,LSZH SHEATH | RED CABLES;TIPO:CAT6,COLOR FUNDA:NEGRO,LONGITUD:305 M |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | GARUTPL6HFBK305RBA | [12 empty] | GARLAND | GARUTPL6HFBK305RBA | METAL MANUFACTURES PTY LTD | GARUTPL6HFBK305RBA | [14 empty] | https://www.goelectrical.com.au/garutpl6hfbk305rba | [9 empty] | Enriched | 26121609 Network cable | CORE COLOUR:RED,PACKAGE QUANTITY:4 PAIR |  | CABLE | NETWORK | TYPE | CAT 6,DATA,UTP,LSZH SHEATH | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR | BLACK | LENGTH | 305 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 1061083 | 1061083 |  |  |  | ERSA | M | 4500 | 1559618GZPCLNT100 | EA |  | CABLE,COMM;DVI-D TO DVI-D,MALE TO MALE,5 | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:DVI-D TO DVI-D,MALE TO MALE,5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 8262073 | [12 empty] | SMC | D-A93 | [12 empty] | RS COMPONENTS PTY LTD | 826-2073 |  |  | https://au.rs-online.com/web/p/pneumatic-cylinder-sensors/8262073 | [9 empty] | Enriched | 41111900 Indicating and recording instruments | CONNECTION:MALE TO MALE,C/W D5 M VI-D TO DVI-D COMMUNICATION CABLE |  | DETECTOR | NO MODIFIER | TYPE | REED PNEUMATIC POSITION | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1061084 | 1061084 |  |  |  | ERSA | M | 4500 | 1559619GZPCLNT100 | EA |  | CABLE,COMM;VGA TO VGA CABLE, MALE TO MAL | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:VGA TO VGA CABLE, MALE TO MALE, 5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 182-8525 | [26 empty] | RS COMPONENTS PTY LTD | 182-8525 |  |  | https://in.rsdelivers.com/product/rs-pro/rs-pro-male-vga-to-male-vga-cable-5m/1828525 | [9 empty] | Enriched | 26121666 Communication cable assembly | CONNECTION:MALE TO MALE |  | CABLE | COMMUNICATION | TYPE | VGA TO VGA | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | LENGTH | 5 M | VOLTAGE RATING | 200 VDC | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 1061085 | 1061085 |  |  |  | ERSA | M | 4500 | 1559620GZPCLNT100 | EA |  | CABLE,COMM;HDMI-HDMI,MALE TO MALE,5M | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:HDMI-HDMI,MALE TO MALE,5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 8262717 | [12 empty] | AIM-TTI | PSA3605USC | [12 empty] | RS COMPONENTS PTY LTD | 826-2717 |  |  | https://uk.rs-online.com/web/p/spectrum-analysers/8262717 | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | CONNECTION:MALE TO MALE,C/W HDMI-HDMI 5 M COMMUNICATION CABLE |  | ANALYZER | NO MODIFIER | TYPE | HANDHELD SPECTRUM | MEASURING RANGE | 10 MHZ TO 3.6 GHZ | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE | 10.9 CM BACKLIT TFT LCD | INTERFACE TYPE | USB | ENCLOSURE TYPE |  | SIZE | 49 LGX92 WDX192 HT MM | MOUNTING TYPE |  | TEMPERATURE RATING | -5 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61010-1,EN 61326 | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 1061086 | 1061086 |  |  |  | ERSA | M | 4500 | 1559621GZPCLNT100 | EA |  | CABLE,COMM;DSPLYPORT TO DSPLYPORT,M TO M | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:DSPLYPORT TO DSPLYPORT,M TO M,5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 8762078 | [12 empty] | TE CONNECTIVITY | 1-1579007-3 | [12 empty] | RS COMPONENTS PTY LTD | 876-2078 |  |  | https://uk.rs-online.com/web/p/insertion-extraction-tools/8762078 | [9 empty] | Enriched | 27112800 Tool attachments and accessories | CONNECTION:DISPLAYPORT TO DISPLAYPORT MALE TO MALE,C/W 5 M COMUNICACION CABLE |  | TOOL | NO MODIFIER | TYPE | EXTRACTION | SIZE | 143 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 1061087 | 1061087 |  |  |  | ERSA | M | 4500 | 1559622GZPCLNT100 | EA |  | CABLE,COMM;DSPLYPORT TO DVI-D,MALE TO MA | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:DSPLYPORT TO DVI-D,MALE TO MALE,5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 8762090 | [12 empty] | TE CONNECTIVITY | 1-1579007-0 | [12 empty] | RS COMPONENTS PTY LTD | 876-2090 |  |  | https://in.rsdelivers.com/product/te-connectivity/1-1579007-0/te-connectivity-extraction-tool-mcon-12-series/8762090 | [9 empty] | Enriched | 27112800 Tool attachments and accessories | CONNECTION:DISPLAYPORT TO DVI-D M TO M,C/W 5 M COMUNICACION CABLE |  | TOOL | NO MODIFIER | TYPE | EXTRACTION | SIZE | 1.2 MM CONTACT | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1061088 | 1061088 |  |  |  | ERSA | M | 4500 | 1559623GZPCLNT100 | EA |  | CABLE,COMM;DSPLYPORT TO HDMI,MALE TO MAL | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:DSPLYPORT TO HDMI,MALE TO MALE,5M | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 182-8791 | [26 empty] | RS COMPONENTS PTY LTD | 182-8791 |  |  | https://my.rs-online.com/web/p/displayport-cables/1828791 | [9 empty] | Enriched | 26121666 Communication cable assembly | CONNECTION:MALE TO MALE |  | CABLE | COMMUNICATION | TYPE | DISPLAYPORT TO HDMI | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE | 30 AWG | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | LENGTH | 5 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1061650 | 1061650 |  |  |  | ERSA | M | 1640 | 1575369GZPCLNT100 | EA |  | CABLE,COMM;LCUP RD,DX OM4 0.75M 2MM LEAD | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:LCUP RD,DX OM4 0.75M 2MM LEAD LSZH AQUA | CABLE COMUNICACION; |  |  |  | 1070526 @@ AFL TELECOMMUNICATIONS AUSTRALIA | DR4LCUP0.75M-AQ-EBT-2L-SZ | [10 empty] | AFL TELECOMMUNICATIONS AUSTRALIA | DR4LCUP0.75M-AQ-EBT-2L-SZ | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly | AQUA |  | CABLE | COMMUNICATION | TYPE | LCUP RD,DX OM4,LEAD LSZH | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE | 2 MM | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 0.75 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1179101 | 1179101 |  |  |  | ERSA | M | 1600 | 1544142GZPCLNT100 | ROL |  | CABLE,COMM;MICPHN,100M,6 CORE,60V | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:MICROPHONE,100M,6 CORE,60V | CABLE COMUNICACION; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 748-1948 | [26 empty] | RS COMPONENTS PTY LTD | 748-1948 |  |  | https://docs.rs-online.com/ac20/0900766b8158568d.pdf | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | MICROPHONE,SCREENED | IMPEDANCE |  | DIAMETER | 5.2 MM OD | CONDUCTOR SIZE |  | CORE STRANDS | 6 | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL | TINNED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | PE | LENGTH | 100 M | VOLTAGE RATING | 60 V | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1180646 | 1180646 |  |  |  | ERSA | M | 1600 | 1574384GZPCLNT100 | EA |  | CABLE,EXTSN;3300 NSV EXTENSION CABLE,6 M | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:3300 NSV EXTENSION CABLE,6 MTR,ARMOR ARMOR, WITH FEP JACKET AGENCY | CABLE EXTENSION; |  |  |  | 1068304 @@ NVMS PTY LTD | 330930-060-01-05 | [12 empty] | BENTLY NEVADA | 330930-060-01-05 | NVMS PTY LTD | 330930-060-01-05 | [14 empty] | https://www.instrumart.com/products/all-part-numbers/34701 | [9 empty] | Cleansed | 39121440 Electrical extension cable | C/W AGENCY,3300 NSV |  | CABLE | EXTENSION | TYPE | ARMOURED | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | LENGTH | 6 M | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL | FEP | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1180650 | 1180650 |  |  |  | ERSA | M | 1600 | 1574380GZPCLNT100 | EA |  | CABLE,EXTSN;3300 5 MM & 8 MM X 8.5 M | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:3300 5 MM & 8 MM X 8.5 M,ARMOR AND CABLE STANDARD CABLE | CABLE EXTENSION; |  |  |  | 1068304 @@ NVMS PTY LTD | 330130-085-00-00 | [12 empty] | BENTLY NEVADA | 330130-085-00-00 | NVMS PTY LTD | 330130-085-00-00 | [14 empty] | https://www.nexinstrument.com/330130-085-00-00 | [9 empty] | Cleansed | 39121440 Electrical extension cable | 3300 |  | CABLE | EXTENSION | TYPE | ARMOURED,STANDARD | CONDUCTOR SIZE | 5 MM AND 8 MM | NUMBER OF CONDUCTORS |  | LENGTH | 8.5 M | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1180651 | 1180651 |  |  |  | ERSA | M | 1600 | 1574379GZPCLNT100 | EA |  | CABLE,EXTSN;3300 5 MM & 8 MM X 8 M | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:3300 5 MM & 8 MM X 8 M,ARMOR AND CABLE STANDARD CABLE | CABLE EXTENSION; |  |  |  | 1068304 @@ NVMS PTY LTD | 330130-080-00-00 | [12 empty] | BENTLY NEVADA | 330130-080-00-00 | NVMS PTY LTD | 330130-080-00-00 | [14 empty] | https://www.nexinstrument.com/330130-080-00-00 | [9 empty] | Cleansed | 39121440 Electrical extension cable | 3300 |  | CABLE | EXTENSION | TYPE | ARMOURED,STANDARD | CONDUCTOR SIZE | 5 MM AND 8 MM | NUMBER OF CONDUCTORS |  | LENGTH | 8 M | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1180652 | 1180652 |  |  |  | ERSA | M | 1600 | 1574378GZPCLNT100 | EA |  | CABLE,EXTSN;3300 5 MM & 8 MM X 4.5 M | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:3300 5 MM & 8 MM X 4.5 M,ARMOR AND CABLE STANDARD CABLE | CABLE EXTENSION; |  |  |  | 1068304 @@ NVMS PTY LTD | 330130-045-00-00 | [12 empty] | BENTLY NEVADA | 330130-045-00-00 | NVMS PTY LTD | 330130-045-00-00 | [14 empty] | https://www.nexinstrument.com/330130-045-00-00 | [9 empty] | Cleansed | 39121440 Electrical extension cable | 3300 |  | CABLE | EXTENSION | TYPE | ARMOURED,STANDARD | CONDUCTOR SIZE | 5 MM AND 8 MM | NUMBER OF CONDUCTORS |  | LENGTH | 4.5 M | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1180653 | 1180653 |  |  |  | ERSA | M | 1600 | 1574377GZPCLNT100 | EA |  | CABLE,EXTSN;3300 5 MM & 8 MM X 4 M | CABLE EXTEN; | CABLE,EXTENSION;ADDITIONAL FEATURES EN:3300 5 MM & 8 MM X 4 M,ARMOR AND CABLE STANDARD CABLE | CABLE EXTENSION; |  |  |  | 1068304 @@ NVMS PTY LTD | 330130-040-00-00 | [12 empty] | BENTLY NEVADA | 330130-040-00-00 | NVMS PTY LTD | 330130-040-00-00 | [14 empty] | https://www.nexinstrument.com/330130-040-00-00 | [9 empty] | Cleansed | 39121440 Electrical extension cable | 3300 |  | CABLE | EXTENSION | TYPE | ARMOURED,STANDARD | CONDUCTOR SIZE | 5 MM AND 8 MM | NUMBER OF CONDUCTORS |  | LENGTH | 4 M | CONDUCTOR MATERIAL |  | CORE STRANDS |  | VOLTAGE RATING |  | DIAMETER |  | INSULATION MATERIAL |  | JACKET MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183833 | 1183833 |  |  |  | ERSA | M | 4500 | 1561478GZPCLNT100 | EA |  | CABLE,COMM;2M,RJ11,TELEPHONE LINE,ALOGIC | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:2M,RJ11,TELEPHONE LINE,ALOGIC | CABLE COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | RJ1202R | [12 empty] | ALOGIC | RJ1202R | HARVEY NORMAN FURNITURE MT ISA | RJ1202R | [14 empty] | https://www.pbtech.co.nz/product/CABALG75406/Alogic-RJ1202R-2m-RJ12-Telephone-Line-Cable | [9 empty] | Enriched | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | RJ11,TELEPHONE LINE | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | LENGTH | 2 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183835 | 1183835 |  |  |  | ERSA | M | 4500 | 1561476GZPCLNT100 | EA |  | CABLE,NETWRK;CAT6,ENET,5M,BELKIN | RED CABLES; | CABLE,NETWORK;ADDITIONAL FEATURES EN:CAT6,ETHERNET,5M,BELKIN | RED CABLES; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | A3L980BT05MBLUS | [12 empty] | BELKIN | A3L980BT05MBLUS | HARVEY NORMAN FURNITURE MT ISA | A3L980BT05MBLUS | [14 empty] | https://www.electronicscrazy.sg/belkin-cat6-2-meter-snagless-ethernet-rj45-networking-cable-a3l980bt05mblus/ | [9 empty] | Enriched | 26121609 Network cable | CORE COLOUR:RED |  | CABLE | NETWORK | TYPE | CAT6,ETHERNET | DATA TRANSFER RATE |  | ATTENUATION |  | CAPACITANCE |  | CORE STRANDS |  | DIAMETER |  | SHEATH MATERIAL |  | SHEATH COLOUR | BLUE | LENGTH | 5 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183836 | 1183836 |  |  |  | ERSA | M | 4500 | 1561475GZPCLNT100 | EA |  | CABLE,COMM;ARMRD,MICRO TO USB-A,CYGNETT | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:ARMOURED,MICRO TO USB-A,CYGNETT | CABLE COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | CY2672PCCAM | [12 empty] | CYGNETT | CY2672PCCAM | HARVEY NORMAN FURNITURE MT ISA | CY2672PCCAM | [14 empty] | https://www.cygnett.com/products/armoured-micro-usb-to-usb-a-braided-black-1m | https://www.croma.com/cygnett-100-cm-usb-type-a-to-micro-usb-data-cable-cy2672pccam-black-/p/216529 | [8 empty] | Enriched | 26121666 Communication cable assembly |  | COLOUR:BLACK | CABLE | COMMUNICATION | TYPE | ARMOURED,MICRO TO USB-A | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183838 | 1183838 |  |  |  | ERSA | M | 4500 | 1561473GZPCLNT100 | EA |  | CABLE,COMM;ARMRD,USB-C,60W,CYGNETT | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:ARMOURED,USB-C,60W,CYGNETT | CABLE COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | CY2681PCUSA | 1070129 @@ HAYMANS ELECTRICAL (SERVICES) | 1561473 | [10 empty] | CYGNETT | CY2681PCUSA | HARVEY NORMAN FURNITURE MT ISA | CY2681PCUSA | HAYMANS ELECTRICAL (SERVICES) | 1561473 | [12 empty] | https://www.4wd247.com/products/cygnett-armoured-2-0-usb-c-to-usb-a-cable-1m-black-cy2681pcusa | [9 empty] | Enriched | 26121666 Communication cable assembly | POWER RATING:60 W | COLOUR:BLACK | CABLE | COMMUNICATION | TYPE | ARMOURED,USB-C | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183841 | 1183841 |  |  |  | ERSA | M | 4500 | 1561470GZPCLNT100 | EA |  | CABLE,COMM;ARMRD,LGHTNG,2M,CYGNETT | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:ARMOURED,LIGHTNING,2M,CYGNETT | CABLE COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | CY2685PCCAL | [12 empty] | CYGNETT | CY2685PCCAL | HARVEY NORMAN FURNITURE MT ISA | CY2685PCCAL | [14 empty] | https://www.tatacliq.com/cygnett-armoured-cy2685pccal-1m-lightning-to-usb-a-cable-white/p-mp000000005897995 | [9 empty] | Enriched | 26121666 Communication cable assembly |  | COLOUR:WHITE | CABLE | COMMUNICATION | TYPE | ARMOURED,LIGHTNING | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 2 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1183852 | 1183852 |  |  |  | ERSA | M | 4500 | 1561459GZPCLNT100 | EA |  | CABLE,COMM;8K,FULL ULTRA,HD,HDMI | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:8K,FULL ULTRA,HD,HDMI | CABLE COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | CB-HDMI2-V2.1 | [12 empty] | LASER | CB-HDMI2-V2.1 | HARVEY NORMAN FURNITURE MT ISA | CB-HDMI2-V2.1 | [14 empty] | https://groupspree.com/Product/Connect-Cables-HDMI-Ver2.1-Cable-1.8m-CB-HDMI2-V2.1--497631 | [9 empty] | Enriched | 26121666 Communication cable assembly | 8K |  | CABLE | COMMUNICATION | TYPE | FULL ULTRA,HD,HDMI | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1.8 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1185273 | 1185273 |  |  |  | ERSA | M | 4500 | 1557352GZPCLNT100 | EA |  | CABLE,COMM;USB TO DB9M,RS-232 CONVERTER, | CABLE COMUNIC; | CABLE,COMMUNICATION;ADDITIONAL FEATURES EN:USB TO DB9M,RS-232 CONVERTER,1.5M | CABLE COMUNICACION; |  |  |  | 1068833 @@ JAYCAR ELECTRONICS DARWIN | 1557352 | [10 empty] | JAYCAR ELECTRONICS DARWIN | 1557352 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | USB TO DB9M,RS-232 CONVERTER | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1.5 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1185435 | 1185435 |  |  |  | ERSA | M | 5940 | 1557179GZPCLNT100 | EA |  | CABLE;CMMNCTN,USB,SEISMIC DAU | CABLE; | CABLE;TYPE:COMMUNICATION,ADDITIONAL FEATURES EN:USB,SEISMIC DAU | CABLE; |  |  |  | 1068372 @@ INSTITUTE OF MINE SEISMOLOGY PTY LT | 1557179 | [10 empty] | INSTITUTE OF MINE SEISMOLOGY PTY LT | 1557179 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26121666 Communication cable assembly |  |  | CABLE | COMMUNICATION | TYPE | USB,SEISMIC DAU | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SMX | OK | 2023-10-16 | 2023-11-10 |  | 1188576 | 1188576 |  |  |  | ERSA | M | 4500 | 1585317GZPCLNT100 | EA |  | CABLE,COMM;USB-C TO USB-A,LG 1 M,BLK | CABLE COMUNIC;,LG | CABLE,COMMUNICATION;TYPE:USB-C TO USB-A,LENGTH:1 M,ADDITIONAL FEATURES EN:BLACK,BOOST-CHARGE,M:CAB001BT1MBK,BRAND:BELKIN | CABLE COMUNICACION; |  |  |  | 1068493 @@ HARVEY NORMAN AV/IT TOWNSVILLE | CAB001BT1MBK | [12 empty] | BELKIN | CAB001BT1MBK | HARVEY NORMAN AV/IT TOWNSVILLE | CAB001BT1MBK | [14 empty] | https://www.bhphotovideo.com/c/product/1597975-REG/belkin_cab001bt1mbk_usb_a_to_usb_c_cable.html | [9 empty] | Enriched | 26121666 Communication cable assembly | COLOUR:BLACK |  | CABLE | COMMUNICATION | TYPE | USB-C TO USB-A,BOOST-CHARGE | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 1 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | USB IF | [44 empty] | Production Completed