## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1208195 | 1208195 |  |  |  | ERSA | M | 5920 | 339816MRM | EA |  | COUPLING HALF,SHAFT:MC075 CONE RING CPLG | COUPLING HALF,SHAFT:MC075 CONE RING CPLG | COUPLING HALF,SHAFT:MC075 CONE RING CPLG;BUSH HALF;8-PIN;254MM DIA;BORED TO 55MM;DAVID BROWN MC075 FLEXIBLE COUPLING | [16 empty] | DAVID BROWN | [19 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half | MC075,8 PIN,BUSH,SIZE:254 MM DIA |  | COUPLING | SHAFT HALF | TYPE | CONE RING,FLEXIBLE | BORE SIZE | 55 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1215511 | 1215511 |  |  |  | ERSA | M | 2200 | 466730MRM | SET |  | COUPLING,HOSE:5MM TO 5MM NB GAS HOSECOMP | COUPLING,HOSE:5MM TO 5MM NB GAS HOSECOMP | COUPLING,HOSE:5MM TO 5MM NB GAS HOSECOMPRISING: NIPPLE (DOUBLE ENDED BARBED)<(>&<)> TWO 309304 FERRULES | [17 empty] | 309304 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | GAS COMPRISING NIPPLE,TWO FERRULES |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 5X5 MM | LENGTH |  | END CONNECTION | DOUBLE ENDED BARBED | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1207231 | 1207231 |  |  |  | ERSA | M | 5920 | 154859MRM | EA |  | COUPLING,HOSE:COUPLING; FEMALE COUPLER | COUPLING,HOSE:COUPLING; FEMALE COUPLER | COUPLING,HOSE:COUPLING; FEMALE COUPLER TO FEMALE BSPTYPE D INSTA-LOCK STAINLESS STEEL 2"; GOODYEAR 20443608; 10 PCS PER PACK | [16 empty] | GOODYEAR | 20443608 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | TYPE D INSTA-LOCK,PACKAGE QUANTITY:10 PCS PER PCK |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 2 IN | LENGTH |  | END CONNECTION | FEMALE COUPLER X FEMALE BSPT | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1207239 | 1207239 |  |  |  | ERSA | M | 5920 | 154877MRM | EA |  | COUPLING,HOSE:COUPLING; SURELOCK STAINLE | COUPLING,HOSE:COUPLING; SURELOCK STAINLE | COUPLING,HOSE:COUPLING; SURELOCK STAINLESS STEEL MALESM50 50MM; MINSUP SM50BSPSTS | [16 empty] | MINSUP | SM50BSPSTS | [18 empty] | https://australia.dixonvalve.com/en/products/minsupr-surelockr-male-bsp-end/sm50bspsts | [9 empty] | Enriched | 40141734 Hose fitting | BRAND:SURELOCK |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 50 MM | LENGTH |  | END CONNECTION | MALE BSP | PRESSURE RATING | 1000 PSI | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1207993 | 1207993 |  |  |  | ERSA | M | 5920 | 155126MRM | EA |  | COUPLING,HOSE:COUPLING; SURELOCK STAINLE | COUPLING,HOSE:COUPLING; SURELOCK STAINLE | COUPLING,HOSE:COUPLING; SURELOCK STAINLESS STEEL FEMALE SF50 50MM; MINSUP SF50BSPSTS | [16 empty] | MINSUP | SF50BSPSTS | [18 empty] | https://australia.dixonvalve.com/en/products/minsupr-surelocktm-female-bsp-end/sf50bspsts | [9 empty] | Enriched | 40141734 Hose fitting | BRAND:SURELOCK |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 50 MM | LENGTH |  | END CONNECTION | FEMALE BSP | PRESSURE RATING | 1000 PSI | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1044245 | 1044245 | 1418107 | AU_QM_000264024 |  | ERSA | M | 5915 | 1418107GZPCLNT100 | EA |  | COUPLING,HSE;C,NOM 40 MM,AL,SCROLL | COUPLING,HSE;C,NOM 40 MM,AL,SCROLL | COUPLING,HOSE;TYPE:C,NOMINAL SIZE:40 MM,END CONNECTION:CAMLOCK FEMALE ADAPTOR X SPIRAL TAIL,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN |  | COUPLING,HSE;C,NOM 40 MM,AL,SCROLLCOUPLING,HSE;C,NOM 40MM,AL,SCROLL | [34 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | TYPE C,EN |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 40 MM | LENGTH |  | END CONNECTION | CAMLOCK FEMALE ADAPTOR X SPIRAL TAIL | PRESSURE RATING |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1044789 | 1044789 | 1406922 | AU_QM_000251936 |  | ERSA | M | 5915 | 1406922GZPCLNT100 | EA |  | COUPLING,HSE;NOM 40 MM,CAM-AND-GROOVE,PP | COUPLING,HSE;NOM 40 MM,CAM-AND-GROOVE,PP | COUPLING,HOSE;NOMINAL SIZE:40 MM,END CONNECTION:CAM-AND-GROOVE,PRESSURE RATING:125 PSI,MATERIAL:PP,ADDITIONAL FEATURES EN:TYPE E, MN |  | COUPLING,HSE;NOM 40 MM,CAM-AND-GROOVE,PPCOUPLING,HSE;40MM,CAM-AND-GROOVE,125PSI | [34 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | TYPE E,MN |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 40 MM | LENGTH |  | END CONNECTION | CAM-AND-GROOVE | PRESSURE RATING | 125 PSI | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1042994 | 1042994 | 1422610 | AU_QM_000268956 |  | ERSA | M | 5915 | 1422610GZPCLNT100 | EA |  | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEEL | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEEL | COUPLING,QUICK CONNECT;TYPE:HYDRAULIC HOSE,NOMINAL SIZE:1/2 IN,END CONNECTION:14 FNPT,MATERIAL:STEEL,LENGTH:2-3/4 IN,PRESSURE RATING |  | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEELCOUPLING,QCK CONCT;HYDRAULIC HOSE,STL | [34 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | QUICK CONNECT | TYPE | HYDRAULIC HOSE | NOMINAL SIZE | 1/2 IN | END CONNECTION | 14 FEMALE NPT | MATERIAL |  | LENGTH | 2-3/4 IN | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1042468 | 1042468 | 1411911 | AU_QM_000257319 |  | ERSA | M | 5915 | 1411911GZPCLNT100 | EA |  | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEEL | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEEL | COUPLING,QUICK CONNECT;TYPE:HYDRAULIC HOSE,NOMINAL SIZE:1/2 IN,END CONNECTION:14 FNPT,MATERIAL:STEEL,LENGTH:2-5/64 IN,PRESSURE RATIN |  | COUPLING,QCK CONCT;HYDRAULIC HOSE,STEELCOUPLING,QCK CONCT;HYDRAULIC HOSE,1/2IN | [34 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | QUICK CONNECT | TYPE | HYDRAULIC HOSE | NOMINAL SIZE | 1/2 IN | END CONNECTION | 14 FEMALE NPT | MATERIAL |  | LENGTH | 2-5/64 IN | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1208203 | 1208203 |  |  |  | ERSA | M | 5980 | 339941MRM | EA |  | COUPLING,SHAFT,FLEXIBLE:LAROX PF CLOTH D | COUPLING,SHAFT,FLEXIBLE:LAROX PF CLOTH D | COUPLING,SHAFT,FLEXIBLE:LAROX PF CLOTH DRIVE;CPLG HALF 1: NB=1-1/4";(P310304)CPLG HALF 2: NB=50MM; (P310303)C/W SPIDER GR65 ( 500206) | [19 empty] | P310304 |  | P310303 | [14 empty] | https://www.volza.com/p/coupling-industrial/import/hsn-code-8483609000/ |  |  | LAROX PF CLOTH DRIVE | [6 empty] | Cleansed | 31163012 Coupling half | C/W SPIDER GR65 (500206) |  | COUPLING | SHAFT HALF | TYPE | FLEXIBLE | BORE SIZE | 1-1/4 INX50 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1208602 | 1208602 |  |  |  | ERSA | M | 5920 | 133305MRM | EA |  | COUPLING:COUPLING;MOTOR TO PUMP;SPIDER;R | COUPLING:COUPLING;MOTOR TO PUMP;SPIDER;R | COUPLING:COUPLING;MOTOR TO PUMP;SPIDER;RME LINERHANDLER RTX4X2 2.5T; | [36 empty] | Url Not Found |  |  | MOTOR TO PUMP,RME LINERHANDLER | [6 empty] | Cleansed | 31163010 Spider coupling |  |  | SPIDER | COUPLING | TYPE |  | COUPLING SIZE |  | MATERIAL |  | OUTSIDE DIAMETER |  | INSIDE DIAMETER |  | THICKNESS |  | TORQUE RATING |  | SPEED RATING |  | HARDNESS |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1209761 | 1209761 |  |  |  | ERSA | M | 5920 | 134382MRM | EA |  | COUPLING:COUPLING;S1G003-A;BALL MILL DAV | COUPLING:COUPLING;S1G003-A;BALL MILL DAV | COUPLING:COUPLING;S1G003-A;BALL MILL DAVIT CRANE; | [19 empty] | S1G003-A | [16 empty] | https://store.konecranes.com/dcu/en/COUPLING/p?p=VPN%2FJXpr1G%2B9O4cOd17ZNA%3D%3D_S1G003-A |  |  | BALL MILL DAVIT CRANE | [6 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1215391 | 1215391 |  |  |  | ERSA | M | 5955 | 138298MRM | EA |  | COUPLING:COUPLING;T50/KAF 67 GEARBOX; | COUPLING:COUPLING;T50/KAF 67 GEARBOX; | COUPLING:COUPLING;T50/KAF 67 GEARBOX; | [17 empty] | T50/KAF 67 | [18 empty] | Url Not Found |  |  | GEARBOX | [6 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1212762 | 1212762 |  |  |  | ERSA | M | 5920 | 137479MRM | EA |  | COUPLING:COUPLING;W/BOLT/NUT;DR460; | COUPLING:COUPLING;W/BOLT/NUT;DR460; | COUPLING:COUPLING;W/BOLT/NUT;DR460; | [17 empty] | DR460 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | C/W BOLT,NUT |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1214911 | 1214911 |  |  |  | ERSA | M | 5920 | 172613MRM | EA |  | COUPLING:HALF;42MM;84MM OD;108MM ASSEMBL | COUPLING:HALF;42MM;84MM OD;108MM ASSEMBL | COUPLING:HALF;42MM;84MM OD;108MM ASSEMBLED LENGTH(2HUBS <(>&<)> SPIDER) ;89.5NM TORQUE;FITTINGSCREWS AND NUTS;FOR MRM4300PU033 | [36 empty] | Url Not Found | [9 empty] | Cleansed | 31163012 Coupling half | SIZE:84 MM OD,FITTING SCREWS AND NUTS,FOR MRM4300PU033,ASSEMBLED |  | COUPLING | SHAFT HALF | TYPE | FLEXIBLE | BORE SIZE | 42 MM | LENGTH | 108 MM | TORQUE RATING | 89.5 NM | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1005397 | 1005397 |  |  |  | ERSA | M | 2200 | 1615407GZPCLNT100 | EA | 3000331 | COUPLING,QCK CONCT;PRKH,TEMA 7520,M,PLUG | ACOPLAMIENTO RAPIDO;PRKH,TEMA 7520 | COUPLING,QUICK CONNECT;MNFR:PARKER HANNIFIN,PTNO:TEMA 7520,ADDITIONAL FEATURES EN:MALE,PLUG IN NIPPLE,BODY SIZE:3/4 IN,MATERIAL: STEEL | ACOPLAMIENTO RAPIDO;MNFR:PARKER HANNIFIN,PTNO:TEMA 7520 |  | PARKER HANNIFIN | TEMA 7520 | 1068342 @@ ISADRAULICS | MFUTEMA 7520 | [12 empty] | PARKER HANNIFIN | TEMA 7520 | ISADRAULICS | MFUTEMA 7520 | [14 empty] | https://ph.parker.com/us/en/product/series-t-quick-coupling/7520-qc | [9 empty] | Enriched | 31163000 Couplings |  |  | COUPLING | QUICK CONNECT | TYPE | HYDRAULIC | NOMINAL SIZE | 3/4 IN | END CONNECTION | FEMALE THREAD | MATERIAL | BRASS,STEEL | LENGTH | 52 MM | PRESSURE RATING | 300 BAR | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1015257 | 1015257 | 1352361 | AU_QM_000139000 |  | ERSA | M | 5920 | 1352361GZPCLNT100 | EA |  | COUPLING;;C/W PUMP HALF;MOTOR HALF;;FLEX | COUPLING;;C/W PUMP HALF;MOTOR HALF;;FLEX | COUPLING,SHAFT,FLEXIBLE: COUPLING;;C/W PUMP HALF;MOTOR HALF;;FLEX IBLE ELEMENT;;BM01/02 INCHING DRIVE; |  | COUPLING,SHAFT,FLEXIBLE:COUPLING;;C/W PUMP HALF;MOTOR HALF;;FLEX |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | R55/70.C1.98.1A.60.1.31.75 | [14 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | R55/70.C1.98.1A.60.1.31.75 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163013 Shaft coupling | C/W PUMP HALF,MOTOR HALF FLEXIBLE ELEMENT,BM01/02 INCHING DRIVE |  | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input,Series Match | 1016183 | 1016183 |  |  |  | ERSA | M | 5920 | 1616762GZPCLNT100 | EA | 3000442 | COUPLING;SEW,25025279,COUPL.HALFE A AM10 | ACOPLAMIENTO;SEW,25025279 | COUPLING;MNFR:SEW EURODRIVE,PTNO:25025279,ADDITIONAL FEATURES EN:COUPL.HALFE A AM100/112/AM182/184 D19 | ACOPLAMIENTO;MNFR:SEW EURODRIVE,PTNO:25025279 |  | SEW EURODRIVE | 25025279 | 1068232 @@ SEW EURODRIVE PTY LTD | 25025279 | [10 empty] | SEW EURODRIVE | 25025279 | SEW EURODRIVE PTY LTD | AM100/112/AM182/184 D19 | SEW EURODRIVE PTY LTD | 25025279 | [14 empty] | https://www.radwell.co.uk/Buy/SEW%20EURODRIVE/SEW%20EURODRIVE/01657313?redirect=true | [9 empty] | Cleansed | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE |  | BORE DIAMETER |  | HUB DIAMETER |  | LENGTH |  | MATERIAL |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1026947 | 1026947 | 1464920 | AU_QM_006203066 |  | ERSA | M | 5955 | 1464920GZPCLNT100 | EA | 3000000 | COUPLING,SHFT HLF;CONE RING, PIN, TAPERL | COUPLING,SHFT HLF;CONE RING, PIN, TAPERL | COUPLING,SHAFT HALF;CONE RING, PIN, TAPERLOCK,ADDITIONAL FEATURES EN:C,MNFR:ATLAS COPCO,PTNO:3176-6465-90,MNFR:01)DBGI,PTNO:01) MCT-070/1 |  | COUPLING HALF,SHAFT:MCT070 CONE RING CPLG;T/LOCK;PIN HALF; | ATLAS COPCO | 3176-6465-90 | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | MCT070/1 | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | MCT070-1DB | [8 empty] | ATLAS COPCO | 3176-6465-90 |  | MCT070/1 | APPLIED INDUSTRIAL TECHNOLOGIES | MCT070/1 | CONSOLIDATED BEARING CO (QLD) | MCT070-1DB | DBGI | MCT070/1 | [10 empty] | https://www.aimsindustrial.com.au/cone-ring-mct070-1-coupling-pin-half-taperlock-302 | [9 empty] | Cleansed | 31163012 Coupling half | PIN HALF |  | COUPLING | SHAFT HALF | TYPE | TAPERLOCK,CONE RING | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1050505 | 1050505 |  |  |  | ERSA | M | 4090 | 1581132GZPCLNT100 | EA |  | COUPLING;CAMLCK,100MM,SS | ACOPLAMIENTO; | COUPLING;TYPE:CAMLOCK,SIZE:100MM,MATERIAL:SS,ADDITIONAL FEATURES EN:TYPE F MALE X MALE BSP | ACOPLAMIENTO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 20-200-F400 | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 20-200-F400 | [26 empty] | TYPE F |  | COUPLING | NO MODIFIER | TYPE | CAMLOCK | SIZE | 100 MM | MATERIAL | STAINLESS STEEL | CONNECTION TYPE | MALE X MALE BSP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1050626 | 1050626 |  |  |  | ERSA | M | 4090 | 1578323GZPCLNT100 | EA |  | COUPLING;CAMLCK,3 IN,SS,FEM BSPM | ACOPLAMIENTO; | COUPLING;TYPE:CAMLOCK,SIZE:3 IN,MATERIAL:SS,ADDITIONAL FEATURES EN:FEM BSPM | ACOPLAMIENTO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 633B80SS | [14 empty] | BUTLER AGENCIES PTY LTD | 633B80SS | [28 empty] | COUPLING | NO MODIFIER | TYPE | CAMLOCK | SIZE | 3 IN | MATERIAL | STAINLESS STEEL | CONNECTION TYPE | FEMALE BSP X MALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1050922 | 1050922 |  |  |  | ERSA | M | 4090 | 1577928GZPCLNT100 | EA |  | COUPLING;CONE RING,MCT070-1,PIN HALF 070 | ACOPLAMIENTO; | COUPLING;TYPE:CONE RING,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:MCT070-1,PIN HALF 070,T/LOCK 2525,DAVID BROWN | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 10649135 | [10 empty] | DAVID BROWN |  |  |  | CONSOLIDATED BEARING CO (QLD) | 10649135 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163013 Shaft coupling | PIN HALF 070,2525 |  | COUPLING | SHAFT FLEXIBLE | TYPE | TAPERLOCK,CONE RING | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1051257 | 1051257 |  |  |  | ERSA | M | 4090 | 1581347GZPCLNT100 | EA |  | COUPLING;TYPE F CAMLOCK,2 IN,POLY,BLK | ACOPLAMIENTO; | COUPLING;TYPE:TYPE F CAMLOCK,SIZE:2 IN,MATERIAL:POLY,ADDITIONAL FEATURES EN:BLACK | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EMI-F200 | [14 empty] | Enzed Mount Isa(RKM Investments) | EMI-F200 | [26 empty] | COLOR:BLACK |  | COUPLING | NO MODIFIER | TYPE | F CAMLOCK | SIZE | 2 IN | MATERIAL | POLY | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1054728 | 1054728 |  |  |  | ERSA | M | 5910 | 1586581GZPCLNT100 | EA |  | COUPLING,HSE;INFLATION,NOM 1/4 IN,BSP | MANGUERA ACOPLA;,NOM 1/4 IN | COUPLING,HOSE;TYPE:INFLATION,NOMINAL SIZE:1/4 IN,END CONNECTION:BSP,MATERIAL:DIAMOND KNURL,ADDITIONAL FEATURES EN:UPHOLE ANFO TO AERO | MANGUERA ACOPLAMIENTO;TAMAÃ‘O NOMINAL:1/4 IN |  |  |  | 1070052 @@ MTI GROUP PTY LTD | 02-032 | [14 empty] | MTI GROUP PTY LTD | 02-032 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | UPHOLE ANFO TO AERO |  | COUPLING | HOSE | TYPE | INFLATION | NOMINAL SIZE | 1/4 IN | LENGTH |  | END CONNECTION | BSP | PRESSURE RATING |  | MATERIAL | DIAMOND KNURL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1054729 | 1054729 |  |  |  | ERSA | M | 5910 | 1586582GZPCLNT100 | EA |  | COUPLING,HSE;INFLATION,NOM 1/4 IN,BSP | MANGUERA ACOPLA;,NOM 1/4 IN | COUPLING,HOSE;TYPE:INFLATION,NOMINAL SIZE:1/4 IN,END CONNECTION:BSP,MATERIAL:DIAMOND KNURL,ADDITIONAL FEATURES EN:UPHOLE ANFO | MANGUERA ACOPLAMIENTO;TAMAÃ‘O NOMINAL:1/4 IN |  |  |  | 1070052 @@ MTI GROUP PTY LTD | 02-040 | [14 empty] | MTI GROUP PTY LTD | 02-040 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting | UPHOLE ANFO |  | COUPLING | HOSE | TYPE | INFLATION | NOMINAL SIZE | 1/4 IN | LENGTH |  | END CONNECTION | BSP | PRESSURE RATING |  | MATERIAL | DIAMOND KNURL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1055195 | 1055195 |  |  |  | ERSA | M | 2200 | 1614486GZPCLNT100 | EA |  | COUPLING;CAMLCK,SS,CONVERSION FITTING | ACOPLAMIENTO; | COUPLING;TYPE:CAMLOCK,SIZE:,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:CONVERSION FITTING | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | EMI-SRNT-HSE-CUST-63 | [14 empty] | Enzed Mount Isa(RKM Investments) | EMI-SRNT-HSE-CUST-63 | [26 empty] | CONVERSION FITTING |  | COUPLING | NO MODIFIER | TYPE | CAMLOCK | SIZE |  | MATERIAL | STAINLESS STEEL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1078073 | 1078073 | 1430762 | AU_QM_000672774 |  | ERSA | M | 5955 | 1430762GZPCLNT100 | EA | 3000000 | COUPLING,QCK CONCT;HALF,NOM 1/4 X 3/8 IN | COUPLING,QCK CONCT;HALF,NOM 1/4 X 3/8 IN | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/4 X 3/8 IN,END CONNECTION:19 BSP,ADDITIONAL FEATURES EN:AUTO,MNFR:ATLAS COPCO, PTNO:8202120245,MNFR:01)BLKWOODS,PTNO:01)00334730 |  | COUPLING HALF,QC: 1/4"BSP M.X 3/8"AUTO COUPLING; | ATLAS COPCO | 8202120245 | 1068652 @@ J BLACKWOOD & SONS | 334730 | 1068502 @@ ATOM SUPPLY | 300971 | 1068093 @@ BLACKWOODS & SONS | 334730 | [6 empty] | ATLAS COPCO | 8202120245 | ATLAS COPCO | 8202120245 | ATOM SUPPLY | 300971 | [10 empty] | J BLACKWOOD & SONS | 00334730 |  |  | https://www.blackwoods.com.au/power-tools/air-tools/nipples-atlas-copco/nip10am08-a-copco-8202120245-1-4-bsp-m/p/00334730 | [9 empty] | Enriched | 40173300 Pipe nipples |  |  | NIPPLE | PIPE | TYPE | HIGH FLOW,STRONG,DURABLE | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE BSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1113210 | 1113210 |  |  |  | ERSA | M | 4090 | 1573220GZPCLNT100 | EA |  | COUPLING,HSE;CLAW,NYL,DEVILBLISS | MANGUERA ACOPLA; | COUPLING,HOSE;END CONNECTION:CLAW,MATERIAL:NYLON,ADDITIONAL FEATURES EN:DEVILBLISS | MANGUERA ACOPLAMIENTO; |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 0502-4802 | [10 empty] | DEVILBLISS |  |  |  | BURWELL TECHNOLOGIES PTY LTD | 0502-4802 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 40141734 Hose fitting |  |  | COUPLING | HOSE | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION | CLAW | PRESSURE RATING |  | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1114502 | 1114502 |  |  |  | ERSA | M | 2620 | 1571291GZPCLNT100 | EA |  | COUPLING,HSE;5/8IN,BRS | MANGUERA ACOPLA; | COUPLING,HOSE;END CONNECTION:5/8IN,MATERIAL:BRASS,ADDITIONAL FEATURES EN:CONNECTOR,18UNF,R.H,WB34 | MANGUERA ACOPLAMIENTO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 8141408 | [12 empty] | CIGWELD | WB34 | [12 empty] | J BLACKWOOD & SONS | 08141408 |  |  | https://www.blackwoods.com.au/welding-gas/gas-equipment/gas-hose-sets-hose-joiners-connectors-adaptors/connector-coupling-5-8-18unf-r-h-wb34/p/08141408 | [9 empty] | Cleansed | 40141734 Hose fitting |  | COLOR:BRONZE | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 5/8 IN | LENGTH |  | END CONNECTION | 18 UNF RIGHT HAND | PRESSURE RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1139154 | 1139154 | 1390293 | AU_QM_000231910 |  | ERSA | M | 5910 | 1390293GZPCLNT100 | EA |  | CPLG BODY;C/W CHECK VALVE NITRILE SEAL | CPLG BODY;C/W CHECK VALVE NITRILE SEAL | COUPLING HALF,QC: CPLG BODY;C/W CHECK VALVE AND NITRILE SEAL BRASS;NI/CRO-PLTD;2\"FEM.BSPF THREAD; AGA NATURAL GAS APPROVED; CU ISAS |  | COUPLING HALF,QC: CPLG BODY;C/W CHECK VALVE & NITRILE SEAL |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | 20010-QC | 1068200 @@ J.BLACKWOOD & SON LIMITED | 20010 | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 1390293 | [8 empty] | PARKER HANNIFIN | 20010-QC | ENZED MOUNT ISA(RKM INVESTMENTS) | 20010-QC | PIRTEK ISA FLUID CONNECTIONS PTY LT | 1390293 | [8 empty] | J.BLACKWOOD & SON LIMITED | 20010 |  |  | https://ph.parker.com/us/en/product/series-t-quick-coupling/20010-qc | [9 empty] | Enriched | 31163000 Couplings | C/W CHECK VALVE AND NITRILE SEAL |  | COUPLING | QUICK CONNECT | TYPE | HYDRAULIC | NOMINAL SIZE | 2 IN | END CONNECTION | FEMALE THREAD | MATERIAL | BRASS,STEEL | LENGTH | 144 MM | PRESSURE RATING | 180 BAR | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1139156 | 1139156 | 1390147 | AU_QM_000231746 |  | ERSA | M | 5910 | 1390147GZPCLNT100 | EA |  | CPLG BODY;C/W VALVE VITON SEALS | CPLG BODY;C/W VALVE VITON SEALS | COUPLING HALF,QC: CPLG BODY;C/W VALVE AND VITON SEALS; 3/4INCH F.BSP THREAD; CIP-RHF LAUNDER FUME HOOD N/G BURNERS |  | COUPLING HALF,QC: CPLG BODY;C/W VALVE & VITON SEALS; |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 7510V | 1068200 @@ J.BLACKWOOD & SON LIMITED | 1390147 | 1068527 @@ Enzed Mount Isa(RKM Investments) | 7510 V | [8 empty] | PARKER HANNIFIN | 7510 V | PIRTEK ISA FLUID CONNECTIONS PTY LT | 7510V | ENZED MOUNT ISA(RKM INVESTMENTS) | 7510 V | [8 empty] | J.BLACKWOOD & SON LIMITED | 1390147 |  |  | https://ph.parker.com/us/en/product/series-t-quick-coupling/7510-v | [9 empty] | Enriched | 31163000 Couplings | CIP-RHF LAUNDER FUME HOOD N/G BURNERS,C/W VALVE AND VITON SEALS |  | COUPLING | QUICK CONNECT | TYPE | HYDRAULIC | NOMINAL SIZE | 3/4 IN | END CONNECTION | FEMALE THREAD | MATERIAL | BRASS,STEEL | LENGTH | 73 MM | PRESSURE RATING | 280 BAR | TEMPERATURE RATING | -20 TO 200 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1139162 | 1139162 | 1374940 | AU_QM_000205906 |  | ERSA | M | 5910 | 1374940GZPCLNT100 | EA |  | CPLG BODY;C/W VALVE VITON SEALS | CPLG BODY;C/W VALVE VITON SEALS | COUPLING HALF,QC: CPLG BODY;C/W VALVE AND VITON SEALS; 1/2\"F.BSP THREAD; CIP-RHF LAUNDER FUME HOOD N/G BURNERS |  | COUPLING HALF,QC: CPLG BODY;C/W VALVE & VITON SEALS; |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | 1374940 | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | 1374940 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | CIP-RHF LAUNDER FUME HOOD N/G BURNERS,C/W VALVE AND VITON SEALS |  | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1172141 | 1172141 | 1436268 | AU_QM_000837872 |  | ERSA | M | 5910 | 1436268GZPCLNT100 | EA |  | COUPLING,QCK CONCT;HALF,NOM 3/8 IN,CASS | COUPLING,QCK CONCT;HALF,NOM 3/8 IN,CASS | COUPLING,QUICK CONNECT;MNFR:NORMET,PTNO:52449253,ADDITIONAL FEATURES EN:HALF,NOMINAL SIZE:3/8 IN,CASSETTE |  | COUPLING HALF,QC: MULTIMEC CASSETTE TO CARRIER COUPLER; |  |  | 1068233 @@ ISA DIESEL & EARTHMOVING REPAIRS | 52449253 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 52449253 | [12 empty] | ISA DIESEL & EARTHMOVING REPAIRS | 52449253 | NORMET ASIA PACIFIC PTY LTD | 52449253 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | MULTIMEC CASSETTE TO CARRIER COUPLER |  | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1172142 | 1172142 | 1436267 | AU_QM_000837864 |  | ERSA | M | 5910 | 1436267GZPCLNT100 | EA |  | COUPLING,QCK CONCT;HALF,NOM 3/8 IN,CASS | COUPLING,QCK CONCT;HALF,NOM 3/8 IN,CASS | COUPLING,QUICK CONNECT;MNFR:NORMET,PTNO:52449246,ADDITIONAL FEATURES EN:HALF,NOMINAL SIZE:3/8 IN,CASSETTE |  | COUPLING HALF,QC: MULTIMEC CASSETTE TO CARRIER COUPLER; |  |  | 1068233 @@ ISA DIESEL & EARTHMOVING REPAIRS | 52449246 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 52449246 | [12 empty] | ISA DIESEL & EARTHMOVING REPAIRS | 52449246 | NORMET ASIA PACIFIC PTY LTD | 52449246 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | MULTIMEC CASSETTE TO CARRIER COUPLER |  | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1182824 | 1182824 |  |  |  | ERSA | M | 1550 | 1564373GZPCLNT100 | EA |  | COUPLING;CONE RING,MCT105,FLEX | ACOPLAMIENTO; | COUPLING;TYPE:CONE RING,SIZE:MCT105,MATERIAL:FLEXIBLE,ADDITIONAL FEATURES EN:CONE RING,BUSH HALF,105,T/LOCK 3535,MCT105-2,DAVID BROWN | ACOPLAMIENTO; |  |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 10482347 | [10 empty] | DAVID BROWN |  |  |  | CONSOLIDATED BEARING CO (QLD) | 10482347 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163013 Shaft coupling | BUSH HALF,105,TAPER LOCK 3535,MCT105-2 |  | COUPLING | SHAFT FLEXIBLE | TYPE | CONE RING | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1184504 | 1184504 |  |  |  | ERSA | M | 5910 | 1558975GZPCLNT100 | EA |  | COUPLING;SPCL,2 IN,SS | ACOPLAMIENTO; | COUPLING;TYPE:SPECIAL,SIZE:2 IN,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:DRY-BREAK,TODO,TANK UNIT,2 IN BSP,S/S BODY,VITON SEALS | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | ENZ-MI5002E-TDO | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | ENZ-MI5002E-TDO | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | DRY-BREAK,TODO,TANK UNIT |  | COUPLING | NO MODIFIER | TYPE | SPECIAL | SIZE | 2 IN | MATERIAL | STAINLESS STEEL BODY,VITON SEALS | CONNECTION TYPE | BSP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1184505 | 1184505 |  |  |  | ERSA | M | 5910 | 1558974GZPCLNT100 | EA |  | COUPLING;SPCL,2 IN,SS | ACOPLAMIENTO; | COUPLING;TYPE:SPECIAL,SIZE:2 IN,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:DRY-BREAK,TODO,HOSE UNIT,2I IN BSP,S/S BODY, VITON SEALS | ACOPLAMIENTO; |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | ENZ-MI9200G-TDO | [14 empty] | ENZED MOUNT ISA(RKM INVESTMENTS) | ENZ-MI9200G-TDO | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings | DRY-BREAK,TODO,HOSE UNIT |  | COUPLING | NO MODIFIER | TYPE | SPECIAL | SIZE | 2 IN | MATERIAL | STAINLESS STEEL BODY,VITON SEALS | CONNECTION TYPE | BSP | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1186275 | 1186275 |  |  |  | ERSA | M | 2200 | 1552954GZPCLNT100 | EA |  | COUPLING,HSE;1-1/4 IN,AL | MANGUERA ACOPLA; | COUPLING,HOSE;END CONNECTION:1-1/4 IN,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:ADAPTOR X BSPT,MALE,ECONOLOK/CAMLOCK | MANGUERA ACOPLAMIENTO; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | K333F-032-AL | [14 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | K333F-032-AL | [14 empty] | https://www.pirtek.com.au/-/media/feature/products/sect-j-industrial-fittings---rev-j.pdf | [9 empty] | Enriched | 40141734 Hose fitting | ECONOLOK/CAMLOCK |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 1-1/4 IN | END CONNECTION | MALE BSPT | LENGTH | 81 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1186277 | 1186277 |  |  |  | ERSA | M | 2200 | 1552952GZPCLNT100 | EA |  | COUPLING,HSE;1 IN,AL | MANGUERA ACOPLA; | COUPLING,HOSE;END CONNECTION:1 IN,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:ADAPTOR X BSPT,MALE,ECONOLOK/CAMLOCK | MANGUERA ACOPLAMIENTO; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | K333F-025-AL | [14 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | K333F-025-AL | [14 empty] | https://www.pirtek.com.au/-/media/feature/products/sect-j-industrial-fittings---rev-j.pdf | [9 empty] | Enriched | 40141734 Hose fitting | ECONOLOK/CAMLOCK |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | MALE BSPT | LENGTH | 72 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1205316 | 1205316 |  |  |  | ERSA | M | 5820 | 150133MRM | EA |  | COUPLING HALF,QC:COUPLING HALF; FLEXIBLE | COUPLING HALF,QC:COUPLING HALF; FLEXIBLE | COUPLING HALF,QC:COUPLING HALF; FLEXIBLE;110MM COUPLING HALF,QC;FALK 1120T, 110MM DIA BORE X 28MMKEYWAY |  |  |  |  | 1079128 @@ APPLIED INDUSTRIAL TECHNOLOGIES | 1120T-HUB/110 | [12 empty] | DODGE | 1120T-HUB/110 | APPLIED INDUSTRIAL TECHNOLOGIES | 1120T-HUB/110 | FALK | 1120T | [12 empty] | https://www.motion.com/products/sku/01001581 | https://rodavigo.net/datos/13617/acolamiento-1120t10-rexnord-falk.pdf | [8 empty] | Enriched | 31163012 Coupling half |  |  | HUB | COUPLING | TYPE | GRID,FLEXIBLE | BORE DIAMETER | 110 MM | HUB DIAMETER | 7.06 IN | LENGTH | 5.9 IN | MATERIAL |  | KEYWAY SIZE | 28 MM | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING | 121000 IN-LB | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1207344 | 1207344 |  |  |  | ERSA | M | 5920 | 132800MRM | EA |  | COUPLING:COUPLING;COUPLING SET;METSO HP | COUPLING:COUPLING;COUPLING SET;METSO HP | COUPLING:COUPLING;COUPLING SET;METSO HP 5 CONE CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | N10200516 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | N10200516 | [14 empty] | Url Not Found |  |  | 5 HP CONE CRUSHER | METSO | [5 empty] | Cleansed | 31163000 Couplings | PACKAGE TYPE:SET |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1208200 | 1208200 |  |  |  | ERSA | M | 5920 | 339896MRM | SET |  | COUPLING,SHAFT,FLEXIBLE:85MM NB X 100MM | COUPLING,SHAFT,FLEXIBLE:85MM NB X 100MM | COUPLING,SHAFT,FLEXIBLE:85MM NB X 100MM NB;DBL ENGAGE TYPE MGD;MAX TORQUE 14.2KN.M;MAX 3700RPM;KEYED ID8 BOLT FLG;2 FLEXHALFS PER SET |  |  |  |  | 1068342 @@ ISADRAULICS | MGD120/DBGI | [14 empty] | ISADRAULICS | MGD120/DBGI | [14 empty] | https://www.ptlinksales.com.au/cone-ring-gear-power-couplings/ | [9 empty] | Enriched | 31163013 Shaft coupling | KEYED ID8 BOLT FLANGE,2 FLEX HALFS PER SET |  | COUPLING | SHAFT FLEXIBLE | TYPE | DOUBLE ENGAGE | BORE SIZE | 85X100 MM | LENGTH | 235 MM | TORQUE RATING | 14.2 KN | SPEED RATING | 3700 RPM | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 |  | 1208790 | 1208790 |  |  |  | ERSA | M | 2200 | 155842MRM | EA |  | COUPLING:QUICK CONNECT BODY;3/4 IN MALE | COUPLING:QUICK CONNECT BODY;3/4 IN MALE | COUPLING:QUICK CONNECT BODY;3/4 IN MALE NPT |  |  |  |  | 9000095 @@ Glencore Technology Pty Limited | 311630000089 | [14 empty] | GLENCORE TECHNOLOGY PTY LIMITED | 311630000089 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31163000 Couplings |  |  | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | MALE NPT | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Processed based on Websource, Conflict w.r.t Input | 1047999 | 1047999 | 1402105 | AU_QM_000246698 |  | ERSA | M | 5915 | 1402105GZPCLNT100 | EA |  | BAG,TL;SHOULDER,SUIT 493 | BAG,TL;SHOULDER,SUIT 493 | BAG,TOOL;TYPE:SHOULDER,ADDITIONAL FEATURES EN:SUIT 493,MNFR:01)CNW,PTNO:01)CLI493BTLI |  | BAG,TL;SHOULDER,SUIT 493BAG,TL;SHOULDER,SUIT 493,CLI493BTLI | [16 empty] | CLIPSAL | 493BTLI | [16 empty] | https://www.clipsal.com/products/detail?CatNo=493BTLi&itemno=493BTLi | [9 empty] | Enriched | 41113600 Electrical measuring and testing equipment and accessories |  |  | TESTER | NO MODIFIER | TYPE | MULTI-FUNCTION ELECTRICAL | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE | LCD | SIZE | 110 WDX220 HTX45 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3017,AS/NZS 3260,AS/NZS 60950,AS/NZS 3100,AS/NZS 3350.1,AS/NZS 61010.1 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1057947 | 1057947 |  |  |  | ERSA | M | 2920 | 1541986GZPCLNT100 | EA |  | BAG;RESQ,LRG,CANV,WOOD FRAME | BOLSA; | BAG;TYPE:RESCUE,SIZE:LARGE,MATERIAL:CANVAS,ADDITIONAL FEATURES EN:WOOD FRAME | BOLSA; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111501 Canvas bags | SIZE DESIGNATION:LARGE |  | BAG | NO MODIFIER | TYPE | RESCUE | CAPACITY |  | SIZE |  | MATERIAL | CANVAS,WOOD FRAME | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1073177 | 1073177 |  |  | X | ERSA | M | 5000 | 1612514GZPCLNT100 | EA | 3000010 | BAG;SAN,GCB0200300 | BOLSA;SAN,GCB0200300 | BAG;MNFR:SANDVIK,PTNO:GCB0200300 | BOLSA;MNFR:SANDVIK,PTNO:GCB0200300 |  | SANDVIK | [13 empty] | SANDVIK | GCB0200300 |  | GCB0200300 | [16 empty] | https://www.atom.com.au/bag-calico-cotton-drawstring-8-x-12-pk-100-10715101 | [9 empty] | Enriched | 24111513 Cotton bag |  |  | BAG | NO MODIFIER | TYPE | DRAWSTRING | CAPACITY |  | SIZE | 8X12 IN | MATERIAL | CALICO COTTON | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1137630 | 1137630 | 1426539 | AU_QM_000397869 |  | ERSA | M | 4055 | 1426539GZPCLNT100 | EA |  | BREATHING; | BREATHING; | BAG; BREATHING; FOR BG4; |  | BAG; BREATHING; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | FOR BG4 |  | BAG | NO MODIFIER | TYPE | BREATHING | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1026768 | 1026768 | 1370395 | AU_QM_000176236 |  | ERSA | M | 4045 | 1370395GZPCLNT100 | EA | 3000012 | BAG;TOY,091200K160 | BAG;TOY,091200K160 | BAG;MNFR:TOYOTA,PTNO:091200K160 |  | BAG,TOOL,SATCHEL: TOYOTA | TOYOTA | 091200K160 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 091200K240 | [12 empty] | TOYOTA | 091200K160 | BELL & MOIR - PARTS ORDERS ONLY | 091200K240 | [14 empty] | https://partsouq.com/en/search/all?q=091200K160 | [9 empty] | Cleansed | 24111507 Tool bags |  |  | BAG | TOOL | TYPE | SATCHEL | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL |  | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1035771 | 1035771 |  |  |  | ERSA | M | 1600 | 1536234GZPCLNT100 | BAG |  | BAG;PLASTIC,PALLET,CLEAR,YURIKA,104361 | BAG;PLASTIC,PALLET,CLEAR,YURIKA,104361 | BAG;ADDITIONAL FEATURES:PLASTIC,PALLET,CLEAR,YURIKA,104361 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104361 | [14 empty] | YURIKA PTY LTD | 104361 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags | PACKAGE TYPE:PALLET |  | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL | PLASTIC | CLOSURE TYPE |  | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1036241 | 1036241 |  |  |  | ERSA | M | 4045 | 1478745GZPCLNT100 | BOX |  | BAG,CALB3045D | BAG,CALB3045D | BAG,CALB3045D |  |  |  |  | 1069031 @@ DYNAMICS G-EX PTY LTD | 1478745 | [12 empty] | DISCOVERER | CALB3045D | DYNAMICS G-EX PTY LTD | 1478745 | [14 empty] | https://www.corewiseautocoresaw.com/wp-content/uploads/2022/06/Discoverer-Brochure-2022.pdf | [9 empty] | Enriched | 41104105 Specimen collection or transport bags |  |  | BAG | SAMPLE | TYPE | SUPERIOR,DRAWSTRING | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 300X450 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1036995 | 1036995 |  |  |  | ERSA | M | 4090 | 1508328GZPCLNT100 | BOX |  | BAG,SMPL;DYN,CALB3045DP | BAG,SMPL;DYN,CALB3045DP | BAG,SMPL;ADDITIONAL FEATURES:DYN,CALB3045DP |  |  |  |  | 1069031 @@ DYNAMICS G-EX PTY LTD | CALB3045DP | [12 empty] | DISCOVERER | CALB3045DP | DYNAMICS G-EX PTY LTD | CALB3045DP | [14 empty] | https://www.corewiseautocoresaw.com/wp-content/uploads/2022/06/Discoverer-Brochure-2022.pdf | [9 empty] | Enriched | 41104105 Specimen collection or transport bags | CALB3045DP |  | BAG | SAMPLE | TYPE | SUPERIOR,PRE-NUMBERED,DRAWSTRING | CAPACITY |  | THICKNESS |  | MATERIAL | CALICO | SIZE | 300X450 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1053488 | 1053488 |  |  |  | ERSA | M | 4200 | 1583676GZPCLNT100 | ROL |  | BAG;SMPL,450X300MM,PLSTC,38UM | BOLSA; | BAG;TYPE:SAMPLE,SIZE:450X300MM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:38UM | BOLSA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 13030173 | [14 empty] | J BLACKWOOD & SONS | 13030173 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41104105 Specimen collection or transport bags |  |  | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS | 38 UM | MATERIAL | PLASTIC | SIZE | 450X300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1053917 | 1053917 |  |  |  | ERSA | M | 4055 | 1583321GZPCLNT100 | EA |  | BAG,DST;FB 1500MM,ANTI-STATIC/OLEOPHOBIC | BOLSA POLV; | BAG,DUST;ADDITIONAL FEATURES EN:FB 1500MM,ANTI-STATIC/OLEOPHOBIC,FELT TOP | BOLSA POLVO; |  |  |  | 1068794 @@ FILQUIP PTY LTD | KFNT70FBC | [12 empty] | FILQUIP PTY LTD | KFNT70FBC | [16 empty] | https://www.filquip.com.au/filquip-part-numbers-list/ | [9 empty] | Cleansed | 24111500 Bags | FB 1.5 M |  | BAG | ANTI-STATIC | TYPE | DUST,OLEOPHOBIC,FELT TOP | WIDTH |  | MATERIAL |  | LENGTH |  | THICKNESS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | Suitable NM not found | 1053998 | 1053998 |  |  |  | ERSA | M | 4035 | 1581476GZPCLNT100 | BAG |  | BAG;MULCH,50L,RED CYPRESS KICR | BOLSA; | BAG;TYPE:MULCH,SIZE:50L,MATERIAL:,ADDITIONAL FEATURES EN:RED CYPRESS KICR | BOLSA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 2961473 | [12 empty] | KI-CARMA | 2961473 | BUNNINGS WAREHOUSE MT ISA | 2961473 | [14 empty] | https://landscapingstore.com.au/product/ki-carma-red-cypress-chip-50l-758.html | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1054052 | 1054052 |  |  |  | ERSA | M | 4055 | 1583320GZPCLNT100 | EA |  | BAG,DST;FB 1280MM,ANTI-STATIC/OLEPHOBIC | BOLSA POLV; | BAG,DUST;ADDITIONAL FEATURES EN:FB 1280MM,ANTI-STATIC/OLEPHOBIC HYDROPHOBIC,FELT TOP | BOLSA POLVO; |  |  |  | 1068794 @@ FILQUIP PTY LTD | KFNT50FBC | [12 empty] | FILQUIP PTY LTD | KFNT50FBC | [16 empty] | https://www.filquip.com.au/filquip-part-numbers-list/ | [9 empty] | Cleansed | 24111500 Bags | FB 1.28 M |  | BAG | ANTI-STATIC | TYPE | DUST,OLEPHOBIC HYDROPHOBIC,FELT TOP | WIDTH |  | MATERIAL |  | LENGTH |  | THICKNESS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1055693 | 1055693 |  |  |  | ERSA | M | 4090 | 1586800GZPCLNT100 | PAC |  | BAG,DST;VACUUM,VALET,VAC-122,BLU,3/PACK | BOLSA POLV; | BAG,DUST;TYPE:VACUUM,ADDITIONAL FEATURES EN:VALET,VAC-122,BLUE,3/PACK,GENUINE | BOLSA POLVO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | VALVAC-122 | [12 empty] | VALET | VAC-122 | CNW (MOUNT ISA) ELECT WHOLESALER | VALVAC-122 | [14 empty] | https://valet.com.au/products/product/vac-122 | [9 empty] | Cleansed | 24111500 Bags | GENUINE,PACKAGE QUANTITY:3/PK |  | BAG | DUST | TYPE | VACUUM | CAPACITY |  | SIZE |  | THICKNESS |  | MATERIAL |  | COLOUR | BLUE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1056404 | 1056404 |  |  |  | ERSA | M | 4005 | 1609199GZPCLNT100 | EA |  | BAG,TL;TOOL BAG,VINYL BOILERMAKER,HD 600 | BOLSA HERRA; | BAG,TOOL;ADDITIONAL FEATURES EN:TOOL BAG,VINYL BOILERMAKER,HD 600X260X250MM | BOLSA HERRAMIENTAS; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | BBAGRT | [12 empty] | BEEHIVE VINYL PRODUCTS PTY LTD | BBAGRT | MOUNT ISA MINING SUPPLIES P/L | BBAGRT | [14 empty] | https://www.beehivevinyl.com.au/boilermaker-toolbag/ | [9 empty] | Enriched | 24111507 Tool bags | FOR BOILERMAKER,SIZE:600X260X250 MM | NUMBER OF POCKET:7 | BAG | TOOL | TYPE | HEAVY DUTY | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL | VINYL,PVC | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS1530,AS2001.2.3,BS 3424.5,AS1441.6,AS/NZ 1906.4 | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1056614 | 1056614 |  |  |  | ERSA | M | 4055 | 1613965GZPCLNT100 | EA |  | BAG;BACK PACK,325LX190WX430H MM | BOLSA; | BAG;TYPE:BACK PACK,SIZE:325LX190WX430H MM,MATERIAL:PVC VINYL | BOLSA; |  |  |  | 1068063 @@ BEEHIVE VINYL PRODUCTS PTY LTD | BPACK | [12 empty] | BEEHIVE VINYL PRODUCTS PTY LTD | BPACK | [16 empty] | https://www.beehivevinyl.com.au/vinyl-back-pack/ | [9 empty] | Enriched | 53121603 Backpacks |  |  | BAG | TOOL | TYPE | BACK PACK | CAPACITY | 325 LGX190 WDX430 HT MM | SIZE DESIGNATION |  | MATERIAL | PVC VINYL | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1057449 | 1057449 |  |  |  | ERSA | M | 4045 | 1582119GZPCLNT100 | EA |  | BAG,SHIP;LINR,LRG,1430 X 1170 X 2120 X 1 | BOLSA ENV; | BAG,SHIPPING;ADDITIONAL FEATURES EN:LINER,LARGE,1430 X 1170 X 2120 X 100 UM NAT | BOLSA ENVIO; |  |  |  | 1071993 @@ BULK HANDLING AUSTRALIA PTY LTD | 1582119 | [14 empty] | BULK HANDLING AUSTRALIA PTY LTD | 1582119 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | LINER,NAT | SIZE DESIGNATION:LARGE | BAG | SHIPPING | TYPE |  | SIZE | 1.43 MX1.17 MX2.12 MX100 UM | CAPACITY |  | MATERIAL |  | SAFE WORKING LOAD |  | SAFETY FACTOR |  | SPOUT FILL |  | SPOUT OUTLET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1061298 | 1061298 |  |  |  | ERSA | M | 4010 | 1559617GZPCLNT100 | PAC |  | BAG,DST;FLEECE,VACUM,DEWALT | BOLSA POLV; | BAG,DUST;ADDITIONAL FEATURES EN:FLEECE,VACUM,DEWALT | BOLSA POLVO; |  |  |  | 1071743 @@ SYDNEY TOOLS PTY LTD | DCV9402-XJ-5 | 1068467 @@ TOTAL TOOLS TOWNSVILLE | 138315 | [10 empty] | DEWALT | DCV9402-XJ-5 | SYDNEY TOOLS PTY LTD | DCV9402-XJ-5 | TOTAL TOOLS TOWNSVILLE | 138315 | [12 empty] | https://asia.dewalt.global/product/dcv9402-xj/fleece-bags-x-5-dcv586m | [9 empty] | Cleansed | 24111500 Bags | FOR VACUUM |  | BAG | DUST | TYPE | FLEECE | CAPACITY |  | SIZE |  | THICKNESS |  | MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1062228 | 1062228 |  |  |  | ERSA | M | 4090 | 1609357GZPCLNT100 | BAG |  | BAG;MORTR,25 KG,MONLTC,35RMF | BOLSA;25 KG | BAG;TYPE:MORTAR,CAPACITY:25 KG,SIZE:,MATERIAL:MONOLITHIC,ADDITIONAL FEATURES EN:35RMF | BOLSA;CAPACIDAD:25 KG |  |  |  | 1069494 @@ SHINGAWA REFRACTORIES AUST. LTD | 3620S20B | [14 empty] | SHINGAWA REFRACTORIES AUST. LTD | 3620S20B | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | 35RMF |  | BAG | NO MODIFIER | TYPE | MORTAR | CAPACITY | 25 KG | SIZE |  | MATERIAL | MONOLITHIC | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1102409 | 1102409 |  |  |  | ERSA | M | 4005 | 1529515GZPCLNT100 | EA |  | BAG,TL;MEWP,101423 | BAG,TL;MEWP,101423 | BAG,TL;ADDITIONAL FEATURES:MEWP,101423 |  |  |  |  | 1069174 @@ AMCO INDUSTRIES | 1529515 | [12 empty] | NEVER LET GO | 101423 | AMCO INDUSTRIES | 1529515 | [14 empty] | https://uk.rs-online.com/web/p/tool-bags/2334326 | https://docs.rs-online.com/c0f5/A700000008298548.pdf | [8 empty] | Enriched | 24111507 Tool bags |  | SIZE:450 LGX370 WDX150 HT MM | BAG | TOOL | TYPE | MEWP | CAPACITY | 30 KG | SIZE DESIGNATION |  | MATERIAL | PVC | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1114192 | 1114192 |  |  |  | ERSA | M | 4090 | 1571624GZPCLNT100 | EA |  | BAG,DST;PLSTC,DISP,CL H,166514 | BOLSA POLV; | BAG,DUST;ADDITIONAL FEATURES EN:PLASTIC,DISP,CLASS H,166514 | BOLSA POLVO; |  |  |  | 1071743 @@ SYDNEY TOOLS PTY LTD | 4054278451237 | [11 empty] | 166514 | KARCHER PROFESSIONAL | 2.889-231.0 | SYDNEY TOOLS PTY LTD | 4054278451237 | [14 empty] | https://www.toolnation.com/karcher-2889-2310-plastic-bag-for-dust-free-disposal-10-x-nt-301-nt-401-nt-501.html | [9 empty] | Enriched | 24111503 Plastic bags |  |  | BAG | DUST | TYPE | DISPOSAL,CLASS H | CAPACITY |  | SIZE | 400 LGX245 WDX20 HT MM | THICKNESS |  | MATERIAL | PLASTIC | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1114507 | 1114507 |  |  |  | ERSA | M | 4020 | 1571286GZPCLNT100 | PAC |  | BAG,WSTE;VAC,69042850,N 65/2,PK 5 | BOLSA BASU; | BAG,WASTE;ADDITIONAL FEATURES EN:VACUUM,69042850,N 65/2,PK 5 | BOLSA BASURA; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 8169255 | [12 empty] | KARCHER PROFESSIONAL | 6.904-285.0 | J BLACKWOOD & SONS | 8169255 | [14 empty] | https://www.blackwoods.com.au/hygiene-cleaning/vacuum-cleaners-accessories/vacuum-bags-karcher/bag-vacuum-69042850-to-suit-nt-65-2-5/p/08169255 | [9 empty] | Enriched | 24111502 Paper bags | FOR VACUUM,N 65/2,PACKAGE QUANTITY:5/PK | COLOR:TAN,NUMBER OF PLY:3 | BAG | FILTER | TYPE |  | FILTER RATING |  | CLOSURE TYPE |  | MATERIAL | PAPER | FLOW RATING |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1120631 | 1120631 |  |  |  | ERSA | M | 4090 | 1609708GZPCLNT100 | EA |  | BAG,TL;BACKPACK,550X430X210 MM,YELLOW | BOLSA HERRA; | BAG,TOOL;TYPE:BACKPACK,SIZE DESIGNATION:550X430X210 MM,MATERIAL:PVC COATED MESH FABRIC,COLOUR:YELLOW,ADDITIONAL FEATURES EN:BRAND: MAJOR TECH | BOLSA HERRAMIENTAS; |  |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | MAJTBP7 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1609708 | [10 empty] | MAJOR TECH | TBP7 | CNW (TOWNSVILLE) ELECT SUPPLIES | MAJTBP7 | CNW (MOUNT ISA) ELECT WHOLESALER | 1609708 | [12 empty] | https://www.major-tech.com/product/tarpaulin-tool-backpack/ | [9 empty] | Enriched | 24111507 Tool bags | SIZE:550X430X210 MM |  | BAG | TOOL | TYPE | BACKPACK | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL | TARPAULIN | NUMBER OF COMPARTMENTS |  | COLOUR | BRIGHT YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1147354 | 1147354 |  |  |  | ERSA | M | 4005 | 1527623GZPCLNT100 | EA |  | BAG,TL;,TTQTBPLUSTOOLS | BAG,TL;,TTQTBPLUSTOOLS | BAG,TL;ADDITIONAL FEATURES:,TTQTBPLUSTOOLS |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | TTQTBPLUSTOOLS | [14 empty] | TORC TIGHT QLD PTY LTD | TTQTBPLUSTOOLS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111507 Tool bags |  |  | BAG | TOOL | TYPE |  | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL |  | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1147533 | 1147533 |  |  |  | ERSA | M | 4005 | 1525078GZPCLNT100 | EA |  | BAG,TL;TTQ,FRONT POCKETS,TTQ-TB-RI | BAG,TL;TTQ,FRONT POCKETS,TTQ-TB-RI | BAG,TL;ADDITIONAL FEATURES:TTQ,FRONT POCKETS,TTQ-TB-RI |  |  |  |  | 1068538 @@ TORC TIGHT QLD PTY LTD | 1525078 | [11 empty] | TTQ-TB-RI |  |  | TORC TIGHT QLD PTY LTD | 1525078 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111507 Tool bags | FRONT POCKETS |  | BAG | TOOL | TYPE |  | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL |  | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1147670 | 1147670 |  |  |  | ERSA | M | 4090 | 1505918GZPCLNT100 | EA |  | BAG;533919 | BAG;533919 | BAG;ADDITIONAL FEATURES:533919 |  |  |  |  | 1069714 @@ BLACKWOODS | 533919 | 1068652 @@ J BLACKWOOD & SONS | 1505918 | [10 empty] | THE PLASTIC BAG COMPANY | 00533919 | [12 empty] | J BLACKWOOD & SONS | 1505918 |  |  | https://www.blackwoods.com.au/tapes-packaging-supplies/packaging-bags/bags-plastic/bag-plastic-clear-460-x-305mm-x-100-m-the-plastic-bag-company/p/00533919 | [9 empty] | Enriched | 24111503 Plastic bags |  |  | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE | 460 LG MMX305 WD MMX100 UM | MATERIAL | PLASTIC | CLOSURE TYPE |  | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1147805 | 1147805 |  |  |  | ERSA | M | 4090 | 1495238GZPCLNT100 | EA |  | BAG,TL;ELEC,CANVAS,500LX300WX130H MM | BAG,TL;ELEC,CANVAS,500LX300WX130H MM | BAG,TOOL;TYPE:ELECTRICAL,MATERIAL:CANVAS,SIZE:500 L X 300 W X 130 H MM,ADDITIONAL FEATURES EN:REFLECTIVE TAPE,PTNO:950-245/12 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 950-245/12 | 1068127 @@ KONNECT FASTENING SYSTEMS | 1495238 | [10 empty] | MADDISON SAFETY | 950-245/12 | MOUNT ISA MINING SUPPLIES P/L | 950-245/12 | KONNECT FASTENING SYSTEMS | 1495238 | [12 empty] | https://www.maddisonsafety.com/950_dash_245_or_12/CANVAS-ELECTRICAL_or_MECHANICAL-BAG-WITH-REFLECTIVE/pd.php | [9 empty] | Enriched | 24111507 Tool bags | ELECTRICAL,SIZE:500 LGX300 WDX130 HT MM,REFLECTIVE TAPE | NUMBER OF LOOP:16,NUMBER OF POCKET:4 | BAG | TOOL | TYPE | HEAVY DUTY | CAPACITY |  | SIZE DESIGNATION |  | MATERIAL | CANVAS | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1152481 | 1152481 |  |  |  | ERSA | M | 4045 | 1478727GZPCLNT100 | EA |  | BAG,1678 | BAG,1678 | BAG,1678 |  |  |  |  | 1068528 @@ YELLOWSTONE ENTERPRISES PTY LTD | 1478727 | [11 empty] | 1678 |  |  | YELLOWSTONE ENTERPRISES PTY LTD | 1478727 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1154728 | 1154728 |  |  |  | ERSA | M | 4090 | 1508062GZPCLNT100 | EA |  | BAG;WES,1102-00013 | BAG;WES,1102-00013 | BAG;ADDITIONAL FEATURES:WES,1102-00013 |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1102-00013 | [12 empty] | WESTERNEX PTY LTD | 1102-00013 | [16 empty] | https://westernex.com.au/our-products/exploration-geology-and-field-equipment/bags/bulka-bags/bulky-bag/?attribute_pa_uom=each&attribute_pa_size=dt-cb15t90x90x120cm | [9 empty] | Enriched | 24111500 Bags |  |  | BAG | NO MODIFIER | TYPE | BULKY,CLOSED BOTTOM,DUFFLE TOP | CAPACITY | 1.5 T | SIZE | 900 MMX900 MMX1.2 M | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1155199 | 1155199 |  |  |  | ERSA | M | 4055 | 1514294GZPCLNT100 | EA |  | BAG;BULKA,1-1.5 TONNE EMPTY,NE,6011-1544 | BAG;BULKA,1-1.5 TONNE EMPTY,NE,6011-1544 | BAG;ADDITIONAL FEATURES:BULKA,1-1.5 TONNE EMPTY,NE,6011-1544 |  |  |  |  | 1068663 @@ BURWELL TECHNOLOGIES PTY LTD | 6011-1544 | 1069190 @@ POLESY INDUSTRIAL & PACKAGING | 1514294 | [12 empty] | BURWELL TECHNOLOGIES PTY LTD | 6011-1544 | POLESY INDUSTRIAL & PACKAGING | 1514294 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111500 Bags | NE |  | BAG | NO MODIFIER | TYPE | BULKA | CAPACITY | 1 TO 1.5 T EMPTY | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1174004 | 1174004 | 1447403 | AU_QM_001063809 |  | ERSA | M | 2920 | 1447403GZPCLNT100 | EA |  | BAG,TL;SATCHEL,GR1 | BAG,TL;SATCHEL,GR1 | BAG,TOOL;TYPE:SATCHEL,ADDITIONAL FEATURES EN:GR1,MNFR:01)CNW,PTNO:01)RBMGR1 |  | BAG,TOOL,SATCHEL: GR1 BAG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | GR1 | 1068406 @@ J.R.L DOYLE | 1447403 | [10 empty] | RBM | GR1 | CNW (MOUNT ISA) ELECT WHOLESALER | GR1 | J.R.L DOYLE | 1447403 | [12 empty] | https://rbmbags.net/rbm-online-store/ols/products/small-electrical-tool-bag-gr-1 | [9 empty] | Enriched | 24111507 Tool bags |  | SIZE:315 LGX115 WDX210 HT MM | BAG | TOOL | TYPE | SATCHEL | CAPACITY |  | SIZE DESIGNATION | SMALL | MATERIAL | PVC | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1180352 | 1180352 |  |  |  | ERSA | M | 4400 | 1543979GZPCLNT100 | EA |  | BAG;FLTR,10FT,PTFE | BOLSA; | BAG;TYPE:FILTER,SIZE:10FT,MATERIAL:PTFE,ADDITIONAL FEATURES EN:FILTER,HI TEMP,PTFE FELT3150X118MM | BOLSA; |  |  |  | 1068333 @@ CLEAR EDGE FILTRATION (AUS) P/L | MK007-PT75BSM | [14 empty] | CLEAR EDGE FILTRATION (AUS) P/L | MK007-PT75BSM | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags |  |  | BAG | FILTER | TYPE | FELT,HI-TEMP | FILTER RATING |  | CLOSURE TYPE |  | MATERIAL | PTFE | FLOW RATING |  | SIZE | 10 FTX3.15 MX118 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1180353 | 1180353 |  |  |  | ERSA | M | 4400 | 1543978GZPCLNT100 | EA |  | BAG;FLTR,10FT,PTFE | BOLSA; | BAG;TYPE:FILTER,SIZE:10FT,MATERIAL:PTFE,ADDITIONAL FEATURES EN:FILTER,HI TEMP,PTFE FELT,3150X118MM | BOLSA; |  |  |  | 1068333 @@ CLEAR EDGE FILTRATION (AUS) P/L | MK007-PTP165BHD | [14 empty] | CLEAR EDGE FILTRATION (AUS) P/L | MK007-PTP165BHD | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24111503 Plastic bags |  |  | BAG | FILTER | TYPE | FELT,HI-TEMP | FILTER RATING |  | CLOSURE TYPE |  | MATERIAL | PTFE | FLOW RATING |  | SIZE | 10 FTX3.15 MX118 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1180355 | 1180355 |  |  |  | ERSA | M | 4055 | 1543945GZPCLNT100 | CAR |  | BAG;SMPL,460X460MMX100UM,PLSTC | BOLSA; | BAG;TYPE:SAMPLE,SIZE:460X460MMX100UM,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:PLASTIC,460X460X100UM | BOLSA; |  |  |  | 1068093 @@ BLACKWOODS & SONS | 6228076 | 1068652 @@ J BLACKWOOD & SONS | 6228076 | [12 empty] | BLACKWOODS & SONS | 6228076 | J BLACKWOOD & SONS | 6228076 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41104105 Specimen collection or transport bags |  |  | BAG | SAMPLE | TYPE |  | CAPACITY |  | THICKNESS | 100 UM | MATERIAL | PLASTIC | SIZE | 460X460 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1181533 | 1181533 |  |  |  | ERSA | M | 2620 | 1567615GZPCLNT100 | EA |  | BAG;WLDR,450X200X300MM,H/D PVC | BOLSA; | BAG;TYPE:WELDER,SIZE:450X200X300MM,MATERIAL:H/D PVC,ADDITIONAL FEATURES EN:RBM KEMPPI | BOLSA; |  |  |  | 1071880 @@ RBM INDUSTRIAL BAGS PTY LTD | RBM/KWCB 0820 | [12 empty] | RBM | KWCB 0820 | RBM INDUSTRIAL BAGS PTY LTD | RBM/KWCB 0820 | [14 empty] | https://rbmbags.net/rbm-online-store/ols/products/rbm-pvc-kempi-welder-bag | [9 empty] | Cleansed | 24111503 Plastic bags |  |  | BAG | NO MODIFIER | TYPE | HEAVY DUTY,KEMPPI,WELDER | CAPACITY |  | SIZE | 450 LGX200 WDX300 HT MM | MATERIAL | PVC | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1184406 | 1184406 |  |  |  | ERSA | M | 4090 | 1559079GZPCLNT100 | EA |  | BAG;KIT,860X340X340MM,CANV,BLK | BOLSA; | BAG;TYPE:KIT,SIZE:860X340X340MM,MATERIAL:CANVAS,ADDITIONAL FEATURES EN:BLACK | BOLSA; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | CP630206 | [12 empty] | GUARDIAN SAFETY | CP630206 | ALLIANCE SAFETY EQUIPMENT P/L | CP630206 | [14 empty] | https://www.atom.com.au/bag-kit-black-84cm-x-34cm-x-34cm-40022261 | https://www.brandworx.com.au/product.aspx?name=glosafe-arc-flash-kit-ultra-soft-1300mm-length-coat-and-leggings-cat2-12calcm2&code=spak510012c | [8 empty] | Cleansed | 24111501 Canvas bags |  |  | BAG | NO MODIFIER | TYPE | KIT | CAPACITY |  | SIZE | 840X340X340 MM | MATERIAL | CANVAS | CLOSURE TYPE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1184642 | 1184642 |  |  |  | ERSA | M | 2920 | 1558832GZPCLNT100 | EA |  | BAG;BACKPACK,70007937215 - SP | BOLSA; | BAG;TYPE:BACKPACK,SIZE:TBC,MATERIAL:TBC,ADDITIONAL FEATURES EN:HARNESS,G029-NEX | BOLSA; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 70007937215 | [12 empty] | 3M | 70007937215 | ALLIANCE SAFETY EQUIPMENT P/L | 70007937215 | [14 empty] | https://boostsafety.s3.amazonaws.com/wp-content/uploads/pdfs/3M-Safety-Product-Catalogue-2020-AU-Final.pdf | [9 empty] | Enriched | 53121603 Backpacks | MODEL:G029-NEX |  | BAG | NO MODIFIER | TYPE | HARNESS BACKPACK | CAPACITY |  | SIZE |  | MATERIAL |  | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | RMZ | Done 480 | 2023-10-16 | 2023-11-13 | BAG | 1215898 | 1215898 |  |  |  | ERSA | M | 4090 | 513853MRM | CAR |  | BAG,WASTE RECEPTACLE:75L;30UM;BLACK;LDPE | BAG,WASTE RECEPTACLE:75L;30UM;BLACK;LDPE | BAG,WASTE RECEPTACLE:75L;30UM;BLACK;LDPE;90 X 75CM;4 PKT OF 50 PER CTN |  |  |  |  | 1068200 @@ J.BLACKWOOD & SON LIMITED | 5798113 | [12 empty] | GLAD | XLHD50/4 | J.BLACKWOOD & SON LIMITED | 5798113 | [14 empty] | https://www.blackwoods.com.au/hygiene-cleaning/garbage-bags-bin-liners/garbage-bags-clorox/bags-garbage-blk-28um-75l-90x75cm-4x50/p/05798113 | [9 empty] | Enriched | 47121701 Trash bags | PACKAGE QUANTITY:50/PK,4 PK/CT |  | BAG | WASTE | TYPE | RECEPTACLE | CAPACITY | 70 TO 77 L | SIZE | 900 LGX750 WD MM | THICKNESS | 30 UM | MATERIAL | LDPE | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed