## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1109156 | 1109156 | 1356606 | AU_QM_000148337 |  | ERSA | M | 1600 | 1356606GZPCLNT100 | EA |  | CONTACTOR FOR BRAT PAN WALDORF 800 SERIE | CONTACTOR FOR BRAT PAN WALDORF 800 SERIE | CONTACT ASSY,ELEC: CONTACTOR FOR BRAT PAN WALDORF 800 SERIE S |  | CONTACT ASSY,ELEC:CONTACTOR FOR BRAT PAN WALDORF 800 SERIE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1356606 | 1072013 @@ METAL MANUFACTURES PTY LTD | WAL231739 | [8 empty] | METAL MANUFACTURES PTY LTD | WAL231739 | CNW (MOUNT ISA) ELECT WHOLESALER | 1356606 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,FOR BRAT PAN WALDORF 800 SERIES,CONTACTOR |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1138313 | 1138313 | 1401523 | AU_QM_000246052 |  | ERSA | M | 5915 | 1401523GZPCLNT100 | EA |  | CONTACT;CS7-PV | CONTACT;CS7-PV | CONTACT;MNFR: ,PTNO:CS7-PV |  | CONTACT;CS7-PVCONTACT;CS7-PV |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1401523 | [11 empty] | CS7-PV | CNW (MOUNT ISA) ELECT WHOLESALER | 1401523 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1139032 | 1139032 | 1466658 | AU_QM_007126227 |  | ERSA | M | 1600 | 1466658GZPCLNT100 | EA |  | AUXILIARY;2C/O;VYNCKIER BREAKER; | AUXILIARY;2C/O;VYNCKIER BREAKER; | CONTACT ASSY,ELEC: AUXILIARY;2C/O;VYNCKIER BREAKER; |  | CONTACT ASSY,ELEC:AUXILIARY;2C/O;VYNCKIER BREAKER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1466658 | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1466658 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,FOR VYNCKIER BREAKER |  | CONTACT | AUXILIARY | TYPE | ELECTRICAL | CONTACT CONFIGURATION | 2CO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1190229 | 1190229 |  |  |  | ERSA | M | 4055 | 1574918GZPCLNT100 | EA |  | CONTAINER;TR,PP,13.5 L,BLU | CONTENEDOR; | CONTAINER;TYPE:TRAY,MATERIAL:POLYPROPYLENE,OVERALL SIZE:13.5 L,ADDITIONAL FEATURES EN:BLUE | CONTENEDOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2016633 | [12 empty] | KINGCRAFT | B0002/CRT/13.5L | [12 empty] | J BLACKWOOD & SONS | 02016633 |  |  | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/kingcraft-storage-bin-crate-pp/crate-blue-polypropylene-13-5ltr/p/02016633 | [9 empty] | ENRICHED | 24112000 Bins and baskets |  |  | BIN | STORAGE | TYPE | CRATE | OVERALL SIZE | 323 WDX127 DP MM | CAPACITY | 13.5 L | MATERIAL | POLYPROPYLENE | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1190228 | 1190228 |  |  |  | ERSA | M | 4055 | 1574919GZPCLNT100 | EA |  | CONTAINER;TR,PP,32 L,BLU | CONTENEDOR; | CONTAINER;TYPE:TRAY,MATERIAL:POLYPROPYLENE,OVERALL SIZE:32 L,ADDITIONAL FEATURES EN:BLUE | CONTENEDOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2016684 | 1068093 @@ BLACKWOODS & SONS | 1574919 | [10 empty] | KINGCRAFT | B0002/CRT/32L | [12 empty] | J BLACKWOOD & SONS | 02016684 |  |  | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/kingcraft-storage-bin-crate-pp/crate-blue-polypropylene-32ltr/p/02016684 | [9 empty] | ENRICHED | 24112000 Bins and baskets |  |  | BIN | STORAGE | TYPE | CRATE | OVERALL SIZE | 413 WDX200 DP MM | CAPACITY | 32 L | MATERIAL | POLYPROPYLENE | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1190227 | 1190227 |  |  |  | ERSA | M | 4055 | 1574920GZPCLNT100 | EA |  | CONTAINER;TR,PP,52 L,BLU | CONTENEDOR; | CONTAINER;TYPE:TRAY,MATERIAL:POLYPROPYLENE,OVERALL SIZE:52 L,ADDITIONAL FEATURES EN:BLUE | CONTENEDOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2016701 | [12 empty] | KINGCRAFT | B0002/CRT/52L | [12 empty] | J BLACKWOOD & SONS | 02016701 |  |  | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/kingcraft-storage-bin-crate-pp/crate-blue-polypropylene-52ltr/p/02016701 | [9 empty] | ENRICHED | 24112000 Bins and baskets |  |  | BIN | STORAGE | TYPE | CRATE | OVERALL SIZE | 413 WDX277 DP MM | CAPACITY | 52 L | MATERIAL | POLYPROPYLENE | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1072466 | 1072466 |  |  |  | ERSA | M | 5915 | 1507785GZPCLNT100 | EA | 3000410 | CONTACT;ADLF,4038676 | CONTACTO;ADLF,4038676 | CONTACT;MNFR:ADAPT-A-LIFT,PTNO:4038676 | CONTACTO;NOMBRE DEL FABRICANTE:ADAPT-A-LIFT,NUMERO DE PIEZA DEL FABRICANTE:4038676 |  | ADAPT-A-LIFT | 4038676 | 1068511 @@ ADAPT-A-LIFT GROUP PTY LTD | 4038676 | [10 empty] | ADAPT-A-LIFT |  | HYSTER | 4038676 | [16 empty] | https://www.orangeparts.com/hyster-4038676-kit-contact/ | [9 empty] | CLEANSED |  |  |  | KIT | NO MODIFIER | TYPE | CONTACT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1002142 | 1002142 |  |  |  | ERSA | M | 5000 | 1606222GZPCLNT100 | EA | 3000010 | CONTACT;SAN,08002359 | CONTACTO;SAN,08002359 | CONTACT;MNFR:SANDVIK,PTNO:08002359 | CONTACTO;MNFR:SANDVIK,PTNO:08002359 |  | SANDVIK | 08002359 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 8002359 | [12 empty] | SANDVIK | 08002359 | [16 empty] | https://www.aga-parts.com/sandvik/part/8002359_contact-male/ | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE | MALE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1133783 | 1133783 |  |  |  | ERSA | M | 5000 | 1593224GZPCLNT100 | EA | 3000010 | CONTACT;SAN,55171584 | CONTACTO;SAN,55171584 | CONTACT;MNFR:SANDVIK,PTNO:55171584 | CONTACTO;MNFR:SANDVIK,PTNO:55171584 |  | SANDVIK | 55171584 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55171584 | [12 empty] | SANDVIK MINING & CONSTRUCTION | 55171584 | [16 empty] | https://www.aga-parts.com/sandvik/part/55171584_auxiliary-contact/ | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1133474 | 1133474 |  |  |  | ERSA | M | 5000 | 1597724GZPCLNT100 | EA | 3000010 | CONTACT;SAN,85881559 | CONTACTO;SAN,85881559 | CONTACT;MNFR:SANDVIK,PTNO:85881559 | CONTACTO;MNFR:SANDVIK,PTNO:85881559 |  | SANDVIK | 85881559 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 85881559 | [12 empty] | SANDVIK MINING & CONSTRUCTION | 85881559 | [16 empty] | https://www.aga-parts.com/sandvik/part/85881559_male-contact/ | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE | MALE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1133473 | 1133473 |  |  |  | ERSA | M | 5000 | 1597725GZPCLNT100 | EA | 3000010 | CONTACT;SAN,85881689 | CONTACTO;SAN,85881689 | CONTACT;MNFR:SANDVIK,PTNO:85881689 | CONTACTO;MNFR:SANDVIK,PTNO:85881689 |  | SANDVIK | 85881689 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 85881689 | [12 empty] | SANDVIK MINING & CONSTRUCTION | 85881689 | [16 empty] | https://www.aga-parts.com/es/sandvik/part/85881689_female-contact/ | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE | FEMALE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1073125 | 1073125 |  |  | X | ERSA | M | 5000 | 1613329GZPCLNT100 | EA | 3000010 | CONTACT;SAN,85889939 | CONTACTO;SAN,85889939 | CONTACT;MNFR:SANDVIK,PTNO:85889939 | CONTACTO;MNFR:SANDVIK,PTNO:85889939 |  | SANDVIK | [15 empty] | SANDVIK | 85889939 | [16 empty] | https://www.aga-parts.com/sandvik/part/85889939_contact-block-see-int-text-nla/ | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021320 | 1021320 | 1387238 | AU_QM_000228348 |  | ERSA | M | 5955 | 1387238GZPCLNT100 | EA | 3000001 | CONTACT;EPI,5580005362 | CONTACT;EPI,5580005362 | CONTACT;MNFR:EPIROC,PTNO:5580005362 |  | CONTACT;EPI,5580005362CONTACT;EPI,5580005362 | EPIROC | 5580005362 | [14 empty] | EPIROC | 5580005362 | [16 empty] | https://www.aga-parts.com/epiroc/part/5580005362_contact/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021339 | 1021339 | 1386710 | AU_QM_000227713 |  | ERSA | M | 5955 | 1386710GZPCLNT100 | EA | 3000001 | CONTACT;EPI,5740015491 | CONTACT;EPI,5740015491 | CONTACT;MNFR:EPIROC,PTNO:5740015491 |  | CONTACT;EPI,5740015491CONTACT;EPI,5740015491 | EPIROC | 5740015491 | [14 empty] | EPIROC | 5740015491 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021467 | 1021467 | 1382293 | AU_QM_000222388 |  | ERSA | M | 5955 | 1382293GZPCLNT100 | EA | 3000001 | CONTACT;EPI,6060007363 | CONTACT;EPI,6060007363 | CONTACT;MNFR:EPIROC,PTNO:6060007363 |  | CONTACT;EPI,6060007363CONTACT;EPI,6060007363 | EPIROC | 6060007363 | [14 empty] | EPIROC | 6060007363 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1009840 | 1009840 |  |  |  | ERSA | M | 1600 | 1615121GZPCLNT100 | EA | 3000014 | CONTACT,AUX;ABB,1SCA022456R7410,OA3G01,1 | CONECTOR AUXILR;ABB,1SCA022456R7410 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:1SCA022456R7410,ADDITIONAL FEATURES EN:OA3G01,1NC | CONECTOR AUXILIAR;MNFR:ABB,PTNO:1SCA022456R7410 |  | ABB | 1SCA022456R7410 | 1068212 @@ ABB AUSTRALIA PTY LTD | 1SCA022456R7410 | [12 empty] | ABB | OA3G01 | ABB | 1SCA022456R7410 | [14 empty] | URL NOT FOUND | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NC | VOLTAGE RATING |  | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1015896 | 1015896 |  |  |  | ERSA | M | 1650 | 1616795GZPCLNT100 | EA | 3000014 | CONTACT,AUX;ABB,1SDA051369R1,3Q+1SY/3+1S | CONECTOR AUXILR;ABB,1SDA051369R1 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:1SDA051369R1,ADDITIONAL FEATURES EN:3Q+1SY/3+1 CO OP/CL+TRPD 250VAC/DC,SUITS T4-T5-T6 MCCB | CONECTOR AUXILIAR;MNFR:ABB,PTNO:1SDA051369R1 |  | ABB | 1SDA051369R1 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | IPD1SDA051369R1 | [12 empty] | ABB | 1SDA051369R1 | ABB | AUX T1...T6 3Q 1SY | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | 3Q+1SY/3+1 CO OP/CL+TRPD 250VAC/DC,SUITS T4-T5-T6 MCCB |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 3CO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 | Conflict in Description | 1021792 | 1021792 | 1376317 | AU_QM_000215417 |  | ERSA | M | 5955 | 1376317GZPCLNT100 | EA | 3000001 | CONTACT;EPI,3128 3049 48 | CONTACT;EPI,3128 3049 48 | CONTACT;MNFR:EPIROC,PTNO:3128 3049 48 |  | CONTACT;EPI,3128 3049 48CONTACT;EPI,3128 3049 48 | EPIROC | 3128 3049 48 | [14 empty] | EPIROC | 3128 3049 48 | [16 empty] | https://expa-parts.com/epiroc/plug/3128304948/ | [9 empty] | CLEANSED |  |  |  | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1070958 | 1070958 | 1457866 | AU_QM_001309160 |  | ERSA | M | 5955 | 1457866GZPCLNT100 | EA | 3000000 | CONTACT;ATL,3217 0005 02 | CONTACT;ATL,3217 0005 02 | CONTACT;MNFR:ATLAS COPCO,PTNO:3217 0005 02 |  | CONTACT ASSY,ELEC:CONTACT BLOCK; | ATLAS COPCO | 3217 0005 02 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3217000502 | [10 empty] | EPIROC AUSTRALIA PTY LTD | 3217000502 | ATLAS COPCO | 3217 0005 02 | [16 empty] | https://www.hambition.net/Atlas-Copco-Epiroc-ST14-Parts-pd40810603.html | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021486 | 1021486 | 1381101 | AU_QM_000220683 |  | ERSA | M | 5955 | 1381101GZPCLNT100 | EA | 3000001 | CONTACT;EPI,3217 9882 26 | CONTACT;EPI,3217 9882 26 | CONTACT;MNFR:EPIROC,PTNO:3217 9882 26 |  | CONTACT;EPI,3217 9882 26CONTACT;EPI,3217 9882 26 | EPIROC | 3217 9882 26 | [14 empty] | EPIROC | 3217 9882 26 | [16 empty] | https://www.aga-parts.com/epiroc/part/3217988226_contact/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021644 | 1021644 | 1378512 | AU_QM_000217836 |  | ERSA | M | 5955 | 1378512GZPCLNT100 | EA | 3000001 | CONTACT;EPI,5580 0256 15 | CONTACT;EPI,5580 0256 15 | CONTACT;MNFR:EPIROC,PTNO:5580 0256 15 |  | CONTACT;EPI,5580 0256 15CONTACT;EPI,5580 0256 15 | EPIROC | 5580 0256 15 | [14 empty] | EPIROC | 5580 0256 15 | [16 empty] | https://www.aga-parts.com/atlas-copco/part/5580025615_contact/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021656 | 1021656 | 1378193 | AU_QM_000217484 |  | ERSA | M | 5955 | 1378193GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 1527 52 | CONTACT;EPI,9106 1527 52 | CONTACT;MNFR:EPIROC,PTNO:9106 1527 52 |  | CONTACT;EPI,9106 1527 52CONTACT;EPI,9106 1527 52 | EPIROC | 9106 1527 52 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9106152752 | [12 empty] | EPIROC | 9106 1527 52 | [16 empty] | https://www.aga-parts.com/epiroc/part/9106152752_contact/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021598 | 1021598 | 1379400 | AU_QM_000218814 |  | ERSA | M | 5955 | 1379400GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 1837 59 | CONTACT;EPI,9106 1837 59 | CONTACT;MNFR:EPIROC,PTNO:9106 1837 59 |  | CONTACT;EPI,9106 1837 59CONTACT;EPI,9106 1837 59 | EPIROC | 9106 1837 59 | [14 empty] | EPIROC | 9106 1837 59 | [16 empty] | https://expa-parts.com/epiroc/contact/9106183759/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021599 | 1021599 | 1379398 | AU_QM_000218812 |  | ERSA | M | 5955 | 1379398GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 1837 61 | CONTACT;EPI,9106 1837 61 | CONTACT;MNFR:EPIROC,PTNO:9106 1837 61 |  | CONTACT;EPI,9106 1837 61CONTACT;EPI,9106 1837 61 | EPIROC | 9106 1837 61 | [14 empty] | EPIROC | 9106 1837 61 | [16 empty] | https://expa-parts.com/epiroc/contact/9106183761/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021659 | 1021659 | 1378115 | AU_QM_000217397 |  | ERSA | M | 5955 | 1378115GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 2241 51 | CONTACT;EPI,9106 2241 51 | CONTACT;MNFR:EPIROC,PTNO:9106 2241 51 |  | CONTACT;EPI,9106 2241 51CONTACT;EPI,9106 2241 51 | EPIROC | 9106 2241 51 | [14 empty] | EPIROC | 9106 2241 51 | [16 empty] | https://expa-parts.com/epiroc/contact/9106224151/ | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021657 | 1021657 | 1378122 | AU_QM_000217405 |  | ERSA | M | 5955 | 1378122GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 2241 58 | CONTACT;EPI,9106 2241 58 | CONTACT;MNFR:EPIROC,PTNO:9106 2241 58 |  | CONTACT;EPI,9106 2241 58CONTACT;EPI,9106 2241 58 | EPIROC | 9106 2241 58 | [14 empty] | EPIROC | 9106 2241 58 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021658 | 1021658 | 1378121 | AU_QM_000217404 |  | ERSA | M | 5955 | 1378121GZPCLNT100 | EA | 3000001 | CONTACT;EPI,9106 2241 59 | CONTACT;EPI,9106 2241 59 | CONTACT;MNFR:EPIROC,PTNO:9106 2241 59 |  | CONTACT;EPI,9106 2241 59CONTACT;EPI,9106 2241 59 | EPIROC | 9106 2241 59 | [14 empty] | EPIROC | 9106 2241 59 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1075367 | 1075367 |  |  |  | ERSA | M | 5915 | 1010411GZPCLNT100 | EA | 3000014 | CONTACT,AUX;ABB,CA5-01,,ELEC,NC | CONTACT,AUX;ABB,CA5-01,,ELEC,NC | CONTACT,AUXILIARY;MNFR:ABB,PTNO:CA5-01,,ADDITIONAL FEATURES EN:ELECTRIC,NC |  |  | ABB | CA5-01, | 1071820 @@ ABB AUSTRALIA SPARES | CA7-01 | [12 empty] | ABB | CA5-01 | ABB | 1SBN010010R1001 | ABB | CA7-01 | [12 empty] | https://new.abb.com/products/1SBN010010R1001/ca5-01 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE | ELECTRIC | CONTACT CONFIGURATION | 1NC | VOLTAGE RATING | 690 VAC | CURRENT RATING | 2 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CCC,CQC,CSA,UL | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1166346 | 1166346 | 1425901 | AU_QM_000360421 |  | ERSA | M | 5100 | 1425901GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,CLIP ON | CONTACT,AUX;1NO 1NC,CLIP ON | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,TERMINAL TYPE:CLIP ON,ADDITIONAL FEATURES EN:SET, RIGHT, TERMINALS 43/44 31/32, MNFR:01)CNW,PTNO:01)NHPCA6S211 |  | CONTACT SET,CONTACTOR:AUX;RIGHT;1 N/O 1 N/C;CA6 CONTACTORS; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA6-S211 | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | NHPCA6S211 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CA6-S211 | [16 empty] | https://shop.cnw.com.au/medias/NHPCA6S211-Data-Sheet.pdf?context=bWFzdGVyfHJvb3R8NzU3MDk2fGFwcGxpY2F0aW9uL3BkZnxoNDIvaDJmLzEwMTIyMDk4NjcxNjQ2L05IUENBNlMyMTEgLSBEYXRhIFNoZWV0LnBkZnwzYzkxMDE0NTM4NzNmZDcwNDJkMzBjZjJiYmM4ZjJjM2FiZmY0ZWQwOGI0ZWQzMzg0MzJkZGE1MDAzMGI5MDA0 | [9 empty] | ENRICHED | 39121522 Electrical contacts | TERMINAL NUMBERING:43/44 31/32,SET, RIGHT |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | CLIP ON | MOUNTING TYPE | CLIP ON OUTSIDE LEFT/RIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1164907 | 1164907 | 1363218 | AU_QM_000162981 |  | ERSA | M | 1600 | 1363218GZPCLNT100 | EA |  | CONTACT,AUX;2NO,OUTSIDE LEFT/RIGHT,ASSY | CONTACT,AUX;2NO,OUTSIDE LEFT/RIGHT,ASSY | CONTACT,AUXILIARY;CONTACT CONFIGURATION:2NO,MOUNTING TYPE:OUTSIDE LEFT/RIGHT,ADDITIONAL FEATURES EN:ASSY,MNFR:01)CNW,PTNO:01) NHPCA6S220 |  | CONTACT ASSY,ELEC:AUX CONT 2NO FIT R/L OUTSIDE | [14 empty] | CNW |  | NHP | CA6S220 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1153433 | 1153433 |  |  |  | ERSA | M | 1600 | 1527192GZPCLNT100 | EA |  | CONTACT,AUX;1N/C CA7,NHPCA7PA01 | CONTACT,AUX;1N/C CA7,NHPCA7PA01 | CONTACT,AUX;ADDITIONAL FEATURES:1N/C CA7,NHPCA7PA01 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA7PA01 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA7PA01 | [16 empty] | https://www.nhp.com.au/product/ca7pa01 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CA7PA01-4413-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [8 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE | STANDARD | CONTACT CONFIGURATION | 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1187372 | 1187372 |  |  |  | ERSA | M | 1600 | 1615581GZPCLNT100 | EA | 3000664 | CONTACT,AUX;NHP,CA7PA20,2N/O SIDE MOUNT | CONECTOR AUXILR;NHP,CA7PA20 | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PA20,ADDITIONAL FEATURES EN:2N/O SIDE MOUNT CA7 | CONECTOR AUXILIAR;MNFR:NHP,PTNO:CA7PA20 |  | NHP | CA7PA20 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPCA7PA20 | [12 empty] | NHP | CA7PA20 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PA20 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE | STANDARD | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1138223 | 1138223 | 1416186 | AU_QM_000261927 |  | ERSA | M | 5915 | 1416186GZPCLNT100 | EA |  | CONTACT;CA7-PV | CONTACT;CA7-PV | CONTACT;MNFR: ,PTNO:CA7-PV |  | CONTACT;CA7-PVCONTACT;CA7-PV | [17 empty] | CA7-PV | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1079998 | 1079998 |  |  |  | ERSA | M | 1600 | 1613957GZPCLNT100 | EA | 3000664 | CONTACT;NHP,CA8P11,AUXILIARY 1N/O 1N/C,T | CONTACTO;NHP,CA8P11 | CONTACT;MNFR:NHP,PTNO:CA8P11,ADDITIONAL FEATURES EN:AUXILIARY 1N/O 1N/C,TOP MNT CA8 | CONTACTO;MNFR:NHP,PTNO:CA8P11 |  | NHP | CA8P11 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPCA8P11 | [12 empty] | NHP | CA8P11 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA8P11 | [9 empty] | ENRICHED | 39121522 Electrical contacts | FOR CA8 |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 15 V | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL,TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1164849 | 1164849 | 1369923 | AU_QM_000174968 |  | ERSA | M | 1600 | 1369923GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,INSIDE | CONTACT,AUX;1NO 1NC,INSIDE | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,MOUNTING TYPE:INSIDE,MNFR:01)CNW,PTNO:01)NHPCA9S111 |  | CONTACT,ELEC: AUX,1N/O,1N/C;INSIDE;CA9-116-370 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA9S111 | 1072013 @@ METAL MANUFACTURES PTY LTD | S&SCA9S111 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA9S111 | METAL MANUFACTURES PTY LTD |  | S&S | [13 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA9S111 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | INSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1164848 | 1164848 | 1369924 | AU_QM_000174969 |  | ERSA | M | 1600 | 1369924GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,OUTSIDE | CONTACT,AUX;1NO 1NC,OUTSIDE | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,MOUNTING TYPE:OUTSIDE,MNFR:01)CNW,PTNO:01)NHPCA9S211 |  | CONTACT,ELEC: AUX,1N/O,1N/C;OUTSIDE;CA9-116-370 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA9S211 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA9S211 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA9S211 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | OUTSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1164847 | 1164847 | 1369925 | AU_QM_000174970 |  | ERSA | M | 1600 | 1369925GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,INSIDE,400-2650, CA9 | CONTACT,AUX;1NO 1NC,INSIDE,400-2650, CA9 | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,MOUNTING TYPE:INSIDE,ADDITIONAL FEATURES EN:400-2650, CA9,MNFR:01)CNW,PTNO:01) NHPCA9S311 |  | CONTACT,ELEC: CA9;AUX,1N/O,1N/C;INSIDE;400-2650 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA9S311 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA9S311 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA9S311 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CA9S311-203126-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [8 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | INSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1164846 | 1164846 | 1369926 | AU_QM_000174971 |  | ERSA | M | 1600 | 1369926GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,OUTSIDE | CONTACT,AUX;1NO 1NC,OUTSIDE | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,MOUNTING TYPE:OUTSIDE,ADDITIONAL FEATURES EN:400-2650, CA9,MNFR:01)CNW,PTNO:01) NHPCA9S411 |  | CONTACT,ELEC: CA9;AUX,1N/O,1N/C;OUTSIDE;400-2650 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA9S411 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA9S411 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA9S411 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | OUTSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1087897 | 1087897 |  |  |  | ERSA | M | 1600 | 1478615GZPCLNT100 | EA | 3000422 | CONTACT,AUXILIARY,ABB,CAL19-11 | CONTACT,AUXILIARY,ABB,CAL19-11 | CONTACT,AUXILIARY;MNFR:CNW,PTNO:ABBCAL19-11 |  |  | CNW | ABBCAL19-11 | [12 empty] | CNW |  | ABB | CAL19-11 | ABB | 1SFN010820R1011 | [14 empty] | https://new.abb.com/products/1SFN010820R1011/cal19-11 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  | ENCLOSURE:IP20 | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 24 TO 690 VAC | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CQC,CCC,CE,UL | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1144022 | 1144022 | 1370208 | AU_QM_000175510 |  | ERSA | M | 1600 | 1370208GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,690 V,16 A,CLIP ON | CONTACT,AUX;1NO 1NC,690 V,16 A,CLIP ON | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,VOLTAGE RATING:690 V,CURRENT RATING:16 A,TERMINAL TYPE:CLIP ON,MOUNTING TYPE:SIDE, ADDITIONAL FEATURES EN:WD 79 X HT 67.3 X DP 14.9 MM, IP20,MNFR:01)CNW,PTNO:01)ABBCAL19-11B |  | CONTACT,ELEC: 1N/O 1N/C;16A;690V;79MM W X 67.3MM H X 1 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ABBCAL19-11B | [10 empty] | CNW |  | ABB | CAL19-11B | ABB | 1SFN010820R3311 | [14 empty] | https://new.abb.com/products/1SFN010820R3311/cal19-11b | [9 empty] | ENRICHED | 39121522 Electrical contacts | ENCLOSURE:IP20,SIZE:79 WDX67.3 HTX14.9 DP MM |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 690 VAC | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE | CLIP ON SCREW | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CQC,CCC,CE,UL | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1103375 | 1103375 |  |  |  | ERSA | M | 1600 | 1570867GZPCLNT100 | EA | 3000422 | CONTACT,AUX;CNW,ABBCAL411,SIDE 1NO/1NC A | CONECTOR AUXILR;CNW,ABBCAL411 | CONTACT,AUXILIARY;MNFR:CNW,PTNO:ABBCAL411,ADDITIONAL FEATURES EN:SIDE 1NO/1NC ABBCAL411 ITEM #26 | CONECTOR AUXILIAR;MNFR:CNW,PTNO:ABBCAL411 |  | CNW | ABBCAL411 | [12 empty] | CNW |  | ABB | CAL411 | ABB | 1SBN010120R1011 | [14 empty] | https://new.abb.com/products/1SBN010120R1011/cal4-11 |  | 26 | [7 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 690 VAC | CURRENT RATING | 2 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-5-1, UL 60947-5-1, CSA C22.2 No. 60947-5-1-14 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1014854 | 1014854 | 1437249 | AU_QM_000936690 |  | ERSA | M | 5100 | 1437249GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,600 VAC,10 A,CLIP ON | CONTACT,AUX;1NO 1NC,600 VAC,10 A,CLIP ON | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,VOLTAGE RATING:600 VAC,CURRENT RATING:10 A,TERMINAL TYPE:CLIP ON,MOUNTING TYPE: TOP,ADDITIONAL FEATURES EN:SET, BLANK, CA7 CONTACTORS,MNFR:01)CNW,PTNO:01)CS7PV11,MNFR:02)CNW,PTNO:02)SPRCS7-PV-11 |  | CONTACT SET,CONTACTOR:AUX;1 NO 1 NC;10A;BLANK CLIP-ON; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CS7PV11 | [10 empty] | CNW | SPRCS7-PV-11 | NHP | CS7PV11 | [16 empty] | https://shop.cnw.com.au/medias/NHPCS7PV11.pdf?context=bWFzdGVyfHJvb3R8MTAxOTYxNnxhcHBsaWNhdGlvbi9wZGZ8aGUxL2hhMS85NDM2MTU4NTkxMDA2L05IUENTN1BWMTEucGRmfDhjYTk5ZDVmZDE4MTk0NGYwNjE3NjM5MmZhYzI3YzkyMmQ2ODdhYjk2NjZiZmY3NTU4Y2RiZGU1ZTA1OWE1ZTQ | [9 empty] | CLEANSED | 39121522 Electrical contacts | SET,BLANK, FOR CA7 CONTACTORS |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 600 VAC | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE | CLIP ON | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1043916 | 1043916 | 1401701 | AU_QM_000246250 |  | ERSA | M | 5915 | 1401701GZPCLNT100 | EA |  | CONTACT,AUX;2NO | CONTACT,AUX;2NO | CONTACT,AUXILIARY;CONTACT CONFIGURATION:2NO,MNFR:01)CNW,PTNO:01)NHPCS7PV20 |  | CONTACT,AUX;2NOCONTACT,AUX;2NO,NHPCS7PV20 | [14 empty] | CNW |  | NHP | CS7PV20 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS7PV20 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1178236 | 1178236 | 1441833 | AU_QM_000989341 |  | ERSA | M | 5100 | 1441833GZPCLNT100 | EA |  | CONTACT,AUX;2NO,10 A,SNAP ON,TOP | CONTACT,AUX;2NO,10 A,SNAP ON,TOP | CONTACT,AUXILIARY;CONTACT CONFIGURATION:2NO,CURRENT RATING:10 A,TERMINAL TYPE:SNAP ON,MOUNTING TYPE:TOP,ADDITIONAL FEATURES EN: SET, |  | CONTACT SET,CONTACTOR:AUX;2 NO;10A;TOP MOUNTING; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CS7PV20 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CS7PV20 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS7PV20 | [9 empty] | ENRICHED | 39121522 Electrical contacts | SET |  | CONTACT | AUXILIARY | TYPE | STANDARD | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | SNAP ON | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1146453 | 1146453 |  |  |  | ERSA | M | 1600 | 1527191GZPCLNT100 | EA |  | CONTACT,AUX;3N/O-1/C,NHPCS7PV31 | CONTACT,AUX;3N/O-1/C,NHPCS7PV31 | CONTACT,AUX;ADDITIONAL FEATURES:3N/O-1/C,NHPCS7PV31 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CS7PV31 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CS7PV31 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS7PV31 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE | STANDARD | CONTACT CONFIGURATION | 3NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1010890 | 1010890 |  |  |  | ERSA | M | 1600 | 1615736GZPCLNT100 | EA | 3000664 | CONTACT;NHP,CS8P02E,AUX,SPRECHER+SCHUH,2 | CONTACTO;NHP,CS8P02E | CONTACT;MNFR:NHP,PTNO:CS8P02E,ADDITIONAL FEATURES EN:AUXILIARY,SPRECHER+SCHUH,2P,MOUNTING TYPE:DIN-35 RAIL MOUNT,COLOUR:WHITE,2NC | CONTACTO;MNFR:NHP,PTNO:CS8P02E |  | NHP | CS8P02E | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPCS8P02E | [10 empty] | SPRECHER+SCHUH |  | NHP | CS8P02E | CNW | [15 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS8P02E | [9 empty] | ENRICHED | 39121522 Electrical contacts | NUMBER OF POLE:2,COLOR:WHITE |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING | 15 V | CURRENT RATING | 2 MA | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN-35 RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1180176 | 1180176 |  |  |  | ERSA | M | 1600 | 1544371GZPCLNT100 | EA |  | CONTACT;BLOK,SCREW TERM,1N/C | CONTACTO; | CONTACT;ADDITIONAL FEATURES EN:BLOCK,SCREW TERM,1N/C | CONTACTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D7X01 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | D7X01 | [16 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/D7X01-6168-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 3 A,0.55 A | VOLTAGE RATING | 240 VAC,125 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | PANEL | MATERIAL | SILVER NICKEL | SIZE | 22.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEMA ICS-5,UL 508,EN 60947-1,EN 60947-5-1,EN 60947-5-5,EN 418 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1179652 | 1179652 |  |  |  | ERSA | M | 1600 | 1513526GZPCLNT100 | EA |  | CONTACT,AUX;AUX,NHPDTAUXAL/G | CONECTOR AUXILR; | CONTACT,AUX;ADDITIONAL FEATURES:AUX,NHPDTAUXAL/G |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTAUXAL/G | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | DTAUXAL/G | [16 empty] | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Resources/Catalogues/Files/CPB_Technical_Catalogue.pdf | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTAUXALG-6463-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [8 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1CO | VOLTAGE RATING | 240 VAC,60 VDC | CURRENT RATING | 5 A,1 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1103987 | 1103987 |  |  |  | ERSA | M | 1600 | 1509519GZPCLNT100 | EA |  | CONTACT,AUXILIARY;CONTACT BL,EAT10250T1P | CONTACT,AUXILIARY;CONTACT BL,EAT10250T1P | CONTACT,AUXILIARY;ADDITIONAL FEATURES:CONTACT BL,EAT10250T1P |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T1P | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T1P | EATon | 10250T1P | [16 empty] | https://www.eaton.com/mx/en-us/skuPage.10250T1P.html | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Contact-Block/CONTACT-BLOCK-1NO-1NC-%28E34-%26-T-RANGE%29/p/EAT10250T1PK86 | [8 empty] | ENRICHED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 1.2 WDX2 HTX1.9 DP IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1013337 | 1013337 |  |  |  | ERSA | M | 1650 | 1615207GZPCLNT100 | EA | 3000664 | CONTACT;NHP,KT7PEF1S10N10,TRIP CONTACT F | CONTACTO;NHP,KT7PEF1S10N10 | CONTACT;MNFR:NHP,PTNO:KT7PEF1S10N10,ADDITIONAL FEATURES EN:TRIP CONTACT FRNT MNT 1N/O - AUX 1N/O | CONTACTO;MNFR:NHP,PTNO:KT7PEF1S10N10 |  | NHP | KT7PEF1S10N10 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPKT7PEF1S10N10 | [12 empty] | NHP | KT7PEF1S10N10 | [16 empty] | https://nhpnz.co.nz/product/kt7pef1s10n10 | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE | TRIP | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1021211 | 1021211 | 1390139 | AU_QM_000231737 |  | ERSA | M | 5955 | 1390139GZPCLNT100 | EA | 3000001 | CONTACT;EPI,LABOUR | CONTACT;EPI,LABOUR | CONTACT;MNFR:EPIROC,PTNO:LABOUR |  | CONTACT;EPI,LABOURCONTACT;EPI,LABOUR | EPIROC | LABOUR | [14 empty] | EPIROC | [17 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | LABOUR |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1146694 | 1146694 |  |  |  | ERSA | M | 1600 | 1516508GZPCLNT100 | EA |  | CONTACT,AUXILIARY;AUXILIARY ,NHP39990701 | CONTACT,AUXILIARY;AUXILIARY ,NHP39990701 | CONTACT,AUXILIARY;ADDITIONAL FEATURES:AUXILIARY ,NHP39990701 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHP39990701 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | 39990701 | [16 empty] | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-761/NHP_NZ_Catalog-848/39990701 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1187182 | 1187182 |  |  |  | ERSA | M | 1600 | 1544542GZPCLNT100 | EA |  | CONTACT;AUX,1N/O,CA7 | CONTACTO; | CONTACT;ADDITIONAL FEATURES EN:AUX,1N/O,CA7 | CONTACTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPCA7PA10 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA7PA10 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PA10 | [9 empty] | ENRICHED | 39121522 Electrical contacts | FOR CA7 |  | CONTACT | AUXILIARY | TYPE | STANDARD | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1104637 | 1104637 |  |  |  | ERSA | M | 1600 | 1478561GZPCLNT100 | EA |  | CONTACT,AUX,1NO SIDE MNT INSIDE PSN | CONTACT,AUX,1NO SIDE MNT INSIDE PSN | CONTACT,AUX,1NO SIDE MNT INSIDE PSN |  |  |  |  | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | NHPCA9S1B10 | [12 empty] | NHP ELECTRICAL ENGINEERING PROD | CA9S1B10 | [16 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA9S1B10 | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | INSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1104520 | 1104520 |  |  |  | ERSA | M | 5915 | 1508165GZPCLNT100 | EA |  | CONTACT;PHOENIX,E/MK,1421633 ,PHO1421633 | CONTACT;PHOENIX,E/MK,1421633 ,PHO1421633 | CONTACT;ADDITIONAL FEATURES:PHOENIX,E/MK,1421633 ,PHO1421633 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO1421633 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | PHOENIX CONTACT | 1421633 | PHOENIX CONTACT | E/MK | [14 empty] | https://www.phoenixcontact.com/product/pdf/api/v1/MTQyMTYzMw?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories | [9 empty] | ENRICHED |  |  | COLOR:GRAY | CLAMP | NO MODIFIER | TYPE | END | CAPACITY |  | SIZE | WD 6.2 MM | MATERIAL | PA | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1104521 | 1104521 |  |  |  | ERSA | M | 5915 | 1508164GZPCLNT100 | EA |  | CONTACT;PHOENIX,D-MT,1,5-3100,PHO3100321 | CONTACT;PHOENIX,D-MT,1,5-3100,PHO3100321 | CONTACT;ADDITIONAL FEATURES:PHOENIX,D-MT,1,5-3100,PHO3100321 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO3100321 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | PHOENIX CONTACT | 3100321 | PHOENIX CONTACT | D-MT 1,5 | [14 empty] | https://www.phoenixcontact.com/product/pdf/api/v1/MzEwMDMyMQ?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cclassifications%2Cenvironmental-compliance-data | [9 empty] | ENRICHED |  |  | COLOR:GRAY | COVER | ELECTRICAL | TYPE | END | SHAPE |  | NUMBER OF GANGS |  | SIZE | 1 WDX22 LGX22 HT MM | MATERIAL | PA | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1179689 | 1179689 |  |  |  | ERSA | M | 1600 | 1513414GZPCLNT100 | EA |  | CONTACT,AUX;SIE3SU1400-1AA10-1BA0 | CONECTOR AUXILR; | CONTACT,AUXILIARY;CURRENT RATING:,SIE3SU1400-1AA10-1BA0 | CONECTOR AUXILIAR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SIE3SU1400-1AA10-1BA0 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | SIEMENS | 3SU1400-1AA10-1BA0 | [16 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SU1400-1AA10-1BA0 | https://docs.rs-online.com/9b10/0900766b813cc77f.pdf | [8 empty] | ENRICHED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO | CURRENT RATING | 10 A | VOLTAGE RATING | 5 TO 500 VAC/VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT PLATE | MATERIAL |  | SIZE | 9.8 WDX32 HTX23.4 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1065537 | 1065537 | 1459728 | AU_QM_002229156 |  | ERSA | M | 5100 | 1459728GZPCLNT100 | EA |  | AUXILIARY FOR EG315 | AUXILIARY FOR EG315 | CONTACT,ELEC: AUXILIARY FOR EG315 |  | CONTACT,ELEC: AUXILIARY FOR EG315 |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | SK418038B | [12 empty] | ABB AUSTRALIA PTY LTD | SK418038B | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1055477 | 1055477 |  |  |  | ERSA | M | 2620 | 1584342GZPCLNT100 | EA |  | CONTACT;TIP,0.9MM,M6,BINZEL,PACK OF 10 | CONTACTO;PUNTA | CONTACT;TYPE:TIP,ADDITIONAL FEATURES EN:0.9MM,M6,BINZEL,PACK OF 10 | CONTACTO;TIPO:PUNTA |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT1400169 | [12 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT1400169 | [16 empty] | https://gasrep.com.au/shop/welding-consumables/mig-spares/binzel/binzel-1400169-contact-tips-0-9mm-m6-pk10/ | https://www.grainger.com/product/AMERICAN-TORCH-TIP-Contact-Tip-45F825 | [8 empty] | X |  | THREAD SIZE:M6,PACKAGE QUANTITY: PACK OF 10 |  | TIP | CONTACT | TYPE |  | WIRE SIZE | 0.9 MM | LENGTH |  | MATERIAL | COPPER | CONNECTION TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1053933 | 1053933 |  |  |  | ERSA | M | 2620 | 1584343GZPCLNT100 | EA |  | CONTACT;TIP,1.2MM,M6,BINZEL,PACK OF 10 | CONTACTO;PUNTA | CONTACT;TYPE:TIP,ADDITIONAL FEATURES EN:1.2MM,M6,BINZEL,PACK OF 10 | CONTACTO;TIPO:PUNTA |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT1400379 | [12 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TRTTT1400379 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  | THREAD SIZE:M6,PACKAGE QUANTITY: PACK OF 10 |  | TIP | CONTACT | TYPE |  | WIRE SIZE | 1.2 MM | LENGTH |  | MATERIAL |  | CONNECTION TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1065102 | 1065102 | 1459667 | AU_QM_002225505 |  | ERSA | M | 1600 | 1459667GZPCLNT100 | EA |  | AUX;1 NO 1 NC;40 - 100AMP; | AUX;1 NO 1 NC;40 - 100AMP; | CONTACT ASSY,ELEC: AUX;1 NO 1 NC;40 - 100AMP; 5LB LOAD-BREAK SWITCHES; |  | CONTACT ASSY,ELEC:AUX;1 NO 1 NC;40 - 100AMP; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR 5 LB LOAD-BREAK SWITCHES,ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 40 TO 100 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1064251 | 1064251 | 1431155 | AU_QM_000689356 |  | ERSA | M | 4500 | 1431155GZPCLNT100 | EA |  | AUX;1 NO 1NC;10A;BLANK;CLIP-ON | AUX;1 NO 1NC;10A;BLANK;CLIP-ON | CONTACT ASSY,ELEC: AUX;1 NO 1NC;10A;BLANK;CLIP-ON *REPLACED BY S/C 936690 CA3 SERIES REPLACED BY CA7 SERIES* |  | CONTACT ASSY,ELEC:AUX;1 NO 1NC;10A;BLANK;CLIP-ON | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,BLANK,REPLACED BY S/C 936690 CA3 SERIES REPLACED BY CA7 SERIES |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE | CLIP-ON | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1064107 | 1064107 | 1434759 | AU_QM_000771251 |  | ERSA | M | 5100 | 1434759GZPCLNT100 | EA |  | AUX;2 NO;FOR CA3 CONTACTORS; | AUX;2 NO;FOR CA3 CONTACTORS; | CONTACT SET,CONTACTOR: AUX;2 NO;FOR CA3 CONTACTORS; *REPLACED BY S/C 989341 CA3 SERIES REPLACED BY CA7 SERIES* |  | CONTACT SET,CONTACTOR:AUX;2 NO;FOR CA3 CONTACTORS; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | CONTACT ARRANGEMENT:2NO,FOR CA3 CONTACTORS; REPLACED BY S/C 989341 CA3 SERIES REPLACED BY CA7 SERIES,SET |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1139458 | 1139458 | 1441859 | AU_QM_000989489 |  | ERSA | M | 5100 | 1441859GZPCLNT100 | EA |  | AUX;4 N/O;1AMP;415VAC AC15; | AUX;4 N/O;1AMP;415VAC AC15; | CONTACT SET,RELAY: AUX;4 N/O;1AMP;415VAC AC15; CS4 RELAYS; |  | CONTACT SET,RELAY:AUX;4 N/O;1AMP;415VAC AC15; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | SET,FOR CS4 RELAYS |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 4NO | VOLTAGE RATING | 415 VAC (AC15) | CURRENT RATING | 1 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1015814 | 1015814 | 1470423 | AU_QM_009146191 |  | ERSA | M | 5100 | 1470423GZPCLNT100 | EA |  | AUXILIARY, TO 1604-670-C | AUXILIARY, TO 1604-670-C | CONTACT,ELEC: AUXILIARY, TO 1604-670-C FOR K57 WINDERS |  | CONTACT,ELEC: AUXILIARY, TO 1604-670-C | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR 1604-670-C K57 WINDERS |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1139034 | 1139034 | 1466632 | AU_QM_007126195 |  | ERSA | M | 1600 | 1466632GZPCLNT100 | EA |  | AUXILIARY;1C/O; | AUXILIARY;1C/O; | CONTACT ASSY,ELEC: AUXILIARY;1C/O; VYNCKIER CIRCUIT BREAKERS |  | CONTACT ASSY,ELEC:AUXILIARY;1C/O; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR VYNCKIER CIRCUIT BREAKERS,ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1CO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1063964 | 1063964 | 1466655 | AU_QM_007126223 |  | ERSA | M | 1600 | 1466655GZPCLNT100 | EA |  | AUXILIARY;3N/O;1N/C;SPRECHER; | AUXILIARY;3N/O;1N/C;SPRECHER; | CONTACT ASSY,ELEC: AUXILIARY;3N/O;1N/C;SPRECHER; *REPLACED BY S/C 936708 CA3 SERIES REPLACED BY CA7 SERIES* |  | CONTACT ASSY,ELEC:AUXILIARY;3N/O;1N/C;SPRECHER; | [14 empty] | SPRECHER | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,REPLACED BY S/C 936708 CA3 SERIES REPLACED BY CA7 SERIES |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 3NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1212729 | 1212729 |  |  |  | ERSA | M | 1600 | 137389MRM | EA |  | CONTACT ASSY,ELEC:CONT 100KW 3POLE 240VA | CONTACT ASSY,ELEC:CONT 100KW 3POLE 240VA | CONTACT ASSY,ELEC:CONT 100KW 3POLE 240VAC;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | NUMBER OF POLE:3,POWER RATING:100 KW,PRI CRUSHING SWITCHROOM,ASSEMBLY |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING | 240 VAC | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1212728 | 1212728 |  |  |  | ERSA | M | 1600 | 137388MRM | EA |  | CONTACT ASSY,ELEC:CONTACT BLOCK 4 N/O;PR | CONTACT ASSY,ELEC:CONTACT BLOCK 4 N/O;PR | CONTACT ASSY,ELEC:CONTACT BLOCK 4 N/O;PRI CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | PRI CRUSHING SWITCHROOM,ASSEMBLY |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 4NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1213755 | 1213755 |  |  |  | ERSA | M | 1600 | 366756MRM | EA |  | CONTACT ASSY,ELEC:NHP LKM SWITCHES AUX C | CONTACT ASSY,ELEC:NHP LKM SWITCHES AUX C | CONTACT ASSY,ELEC:NHP LKM SWITCHES AUX CONTACTS;1NO/1NC;RATED 600VAC 10AMP; | [16 empty] | NHP | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR LKM SWITCHES |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 600 VAC | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1210197 | 1210197 |  |  |  | ERSA | M | 4090 | 162187MRM | EA |  | CONTACT ASSY,ELEC:SOCOMEC AUXILIARY CONT | CONTACT ASSY,ELEC:SOCOMEC AUXILIARY CONT | CONTACT ASSY,ELEC:SOCOMEC AUXILIARY CONTACT; FOR USE WITHSIRCO M | [16 empty] | SOCOMEC | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,FOR USE WITH SIRCO M |  | CONTACT | AUXILIARY | TYPE | ELECTRICAL | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1210499 | 1210499 |  |  |  | ERSA | M | 1600 | 1198415MRM | EA |  | CONTACT SET,CIRCUIT BREAKER:1 X C/O AUX | CONTACT SET,CIRCUIT BREAKER:1 X C/O AUX | CONTACT SET,CIRCUIT BREAKER:1 X C/O AUX CONTACT;6AMP 240VOLT AC12; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CIRCUIT BREAKER,UTILIZATION CATEGORY:AC12,SET |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1CO | VOLTAGE RATING | 240 VAC | CURRENT RATING | 6 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1203631 | 1203631 |  |  |  | ERSA | M | 3600 | 982713MRM | EA |  | CONTACT SET,CIRCUIT BREAKER:3A;415V;OF A | CONTACT SET,CIRCUIT BREAKER:3A;415V;OF A | CONTACT SET,CIRCUIT BREAKER:3A;415V;OF AUX SWITCH;C60 OR ID CIRCUIT BREAKER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | SET,FOR CIRCUIT BREAKER OF AUX SWITCH,C60 OR ID CIRCUIT BREAKER |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING | 415 VAC | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1207175 | 1207175 |  |  |  | ERSA | M | 1600 | 683241MRM | EA |  | CONTACT SET,CONTACTOR:1NO,1NC;10A;AUXILA | CONTACT SET,CONTACTOR:1NO,1NC;10A;AUXILA | CONTACT SET,CONTACTOR:1NO,1NC;10A;AUXILARY CONTACTS; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR,SET |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1206668 | 1206668 |  |  |  | ERSA | M | 1600 | 334891MRM | EA |  | CONTACT SET,RELAY:AUX;1 N/O 1 N/C;415VAC | CONTACT SET,RELAY:AUX;1 N/O 1 N/C;415VAC | CONTACT SET,RELAY:AUX;1 N/O 1 N/C;415VAC AC15;FOR CA4/CS4 CONTACTORS <(>&<)> RELAYS; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CA4/CS4 CONTACTORS & RELAYS |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 415 VAC (AC 15) | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1206669 | 1206669 |  |  |  | ERSA | M | 1600 | 334896MRM | EA |  | CONTACT SET,RELAY:AUX;2 N/C;1AMP;415VAC | CONTACT SET,RELAY:AUX;2 N/C;1AMP;415VAC | CONTACT SET,RELAY:AUX;2 N/C;1AMP;415VAC AC15;CA4/CS4 RELAYS <(>&<)> CONTACTORS; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CA4/CS4 CONTACTORS & RELAYS |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING | 415 VAC (AC 15) | CURRENT RATING | 1 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1119923 | 1119923 | 1452367 | AU_QM_001187467 |  | ERSA | M | 5100 | 1452367GZPCLNT100 | EA |  | CONTACT,AUX;24 VDC | CONTACT,AUX;24 VDC | CONTACT,AUXILIARY;VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:SET, 3 POLE, 15KW, C/W CA5-10 CONTACT BLOCK,MNFR:01)CNW,PTNO:01) BI10908 |  | CONTACT SET,CONTACTOR:CONTACTOR 24VDC 3 POLE, 15KW; | [14 empty] | CNW | BI10908 | ABB | CA5-10 | [16 empty] | URL NOT FOUND | [9 empty] | ENRICHED | 39121522 Electrical contacts | NUMBER OF POLE:3,POWER RATING:15 KW |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING | 690 VAC,24 VDC | CURRENT RATING | 2 A,6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CCC,CQC,CSA,EAC,GOST,RINA,UL | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1206453 | 1206453 |  |  |  | ERSA | M | 1600 | 333426MRM | EA |  | CONTACT,ELEC:3 N/O + 3 N/C | CONTACT,ELEC:3 N/O + 3 N/C | CONTACT,ELEC:3 N/O + 3 N/C | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | CONTACT ARRANGEMENT:3NO 3NC |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1208149 | 1208149 |  |  |  | ERSA | M | 1600 | 133139MRM | EA |  | CONTACT,ELEC:AUXILIARY CONTACT CONTACTOR | CONTACT,ELEC:AUXILIARY CONTACT CONTACTOR | CONTACT,ELEC:AUXILIARY CONTACT CONTACTOR;HPU CONTROLPANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [36 empty] | URL NOT FOUND |  |  | 100 SERIES ROCKBREAKER |  | MRM1400RB002 |  |  |  |  | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR,HPU CONTROL PANEL |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1208125 | 1208125 |  |  |  | ERSA | M | 1600 | 133112MRM | EA |  | CONTACT,ELEC:CONTACT BLOCK 1XNO;HPU CONT | CONTACT,ELEC:CONTACT BLOCK 1XNO;HPU CONT | CONTACT,ELEC:CONTACT BLOCK 1XNO;HPU CONTROL PANEL;100SERIES ROCKBREAKER;MRM1400RB002; | [36 empty] | URL NOT FOUND |  |  | 100 SERIES ROCKBREAKER |  | MRM1400RB002 |  |  |  |  | CLEANSED | 39121522 Electrical contacts | FOR HPU CONTROL PANEL |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1 NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1208129 | 1208129 |  |  |  | ERSA | M | 1600 | 133117MRM | EA |  | CONTACT,ELEC:CONTACTOR 3P 225A 240VAC CO | CONTACT,ELEC:CONTACTOR 3P 225A 240VAC CO | CONTACT,ELEC:CONTACTOR 3P 225A 240VAC COIL;HPU CONTROL PANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [36 empty] | URL NOT FOUND |  |  | 100 SERIES ROCKBREAKER |  | MRM1400RB002 |  |  |  |  | CLEANSED | 39121522 Electrical contacts | CURRENT RATING:225 A,NUMBER OF POLE:3,FOR CONTACTOR, HPU CONTROL PANEL |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING | 240 VAC | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1208130 | 1208130 |  |  |  | ERSA | M | 1600 | 133118MRM | EA |  | CONTACT,ELEC:CONTACTOR AUXILIARY CONTACT | CONTACT,ELEC:CONTACTOR AUXILIARY CONTACT | CONTACT,ELEC:CONTACTOR AUXILIARY CONTACT;HPU CONTROLPANEL;100 SERIES ROCKBREAKER;MRM1400RB002; | [36 empty] | URL NOT FOUND |  |  | 100 SERIES ROCKBREAKER |  | MRM1400RB002 |  |  |  |  | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR,HPU CONTROL PANEL |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1214554 | 1214554 |  |  |  | ERSA | M | 1600 | 367871MRM | EA |  | CONTACT,ELEC:ES50U WASHER SUPPRESSOR CON | CONTACT,ELEC:ES50U WASHER SUPPRESSOR CON | CONTACT,ELEC:ES50U WASHER SUPPRESSOR CONTACT;ESWOOD DISHWASHER ES50U 17608 | [36 empty] | URL NOT FOUND |  |  | ESWOOD WASHER SUPPRESSOR |  | ES50U |  |  |  |  | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1212146 | 1212146 |  |  |  | ERSA | M | 5955 | 775392MRM | EA |  | CONTACT,ELEC:TORO T450D MALE CONTACT;ELE | CONTACT,ELEC:TORO T450D MALE CONTACT;ELE | CONTACT,ELEC:TORO T450D MALE CONTACT;ELECTRICAL GROUP;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | ELECTRICAL GROUP,LOADER | TAMROCK | TORO T450D |  |  |  |  | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | ELECTRICAL | TYPE | MALE | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1064755 | 1064755 | 1456483 | AU_QM_001284827 |  | ERSA | M | 1600 | 1456483GZPCLNT100 | EA |  | CONTACTOR | CONTACTOR | CONTACT SET,CONTACTOR: CONTACTOR GFM SURFACE CRUSHING PLANT |  | CONTACT SET,CONTACTOR:CONTACTOR | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR GFM SURFACE CRUSHING PLANT,SET |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1064756 | 1064756 |  |  |  | ERSA | M | 1600 | 1456484GZPCLNT100 | EA |  | CONTACTOR | CONTACTOR | CONTACT SET,CONTACTOR: CONTACTOR GFM SURFACE CRUSHING PLANT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR GFM SURFACE CRUSHING PLANT,SET |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1065038 | 1065038 |  |  |  | ERSA | M | 1600 | 1456485GZPCLNT100 | EA |  | CONTACTOR | CONTACTOR | CONTACT SET,CONTACTOR: CONTACTOR GFM SURFACE CRUSHING PLANT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CONTACTOR GFM SURFACE CRUSHING PLANT,SET |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1180087 | 1180087 |  |  |  | ERSA | M | 1500 | 1069290GZPCLNT100 | EA |  | CONTAINER;EMPTY,LG 40 FT | CONTAINER;EMPTY,LG 40 FT | CONTAINER;TYPE:EMPTY,OVERALL SIZE:LG 40 FT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTAINER | NO MODIFIER | TYPE | EMPTY | CAPACITY |  | MATERIAL |  | OVERALL SIZE | LG 40 FT | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1215613 | 1215613 |  |  |  | ERSA | M | 5920 | 138596MRM | EA |  | CONTAINER;VAPOR CAPSULE; | CONTAINER;VAPOR CAPSULE; | CONTAINER;VAPOR CAPSULE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTAINER | NO MODIFIER | TYPE | VAPOR CAPSULE | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-19 |  | 1178875 | 1178875 | 1359008 | AU_QM_000154564 |  | ERSA | M | 5100 | 1359008GZPCLNT100 | EA |  | CONTACT,AUX;INSIDE L/R | CONTACT,AUX;INSIDE L/R | CONTACT,AUXILIARY;MOUNTING TYPE:INSIDE L/R,ADDITIONAL FEATURES EN:2NO, 2 POLES, FIT TO RIGHT SIDE,MNFR:01)CNW,PTNO:01)NHPCA6S120 |  | CONTACTOR,MAGNETIC: AUXILLARY CONTACTS; 2 NO; FIT TO RIGHT S |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | [11 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | NHP | CA6S120 | [16 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CA6S120-4203-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | CLEANSED | 39121522 Electrical contacts | NUMBER OF POLE:2,FIT TO RIGHT SIDE |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | INSIDE LEFT/RIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed