## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1147158 | 1147158 |  |  |  | ERSA | M | 4090 | 1529658GZPCLNT100 | EA |  | CONTAINER;WATER,1000L,IBC,BULK,WATER,201 | CONTAINER;WATER,1000L,IBC,BULK,WATER,201 | CONTAINER;ADDITIONAL FEATURES:WATER,1000L,IBC,BULK,WATER,201 |  |  |  |  | 1068147 @@ QH2O | 201 | [12 empty] | QH2O | 201 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | INTERMEDIATE BULK WATER | CAPACITY | 1000 L | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1154072 | 1154072 |  |  |  | ERSA | M | 4090 | 1529659GZPCLNT100 | EA |  | CONTAINER;1000L,BLADDER TO SUIT 1000,202 | CONTAINER;1000L,BLADDER TO SUIT 1000,202 | CONTAINER;ADDITIONAL FEATURES:1000L,BLADDER TO SUIT 1000,202 |  |  |  |  | 1068147 @@ QH2O | 202 | [12 empty] | QH2O | 202 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage | BLADDER TO SUIT 1000 |  | CONTAINER | NO MODIFIER | TYPE |  | CAPACITY | 1000 L | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1146826 | 1146826 |  |  |  | ERSA | M | 4005 | 1535572GZPCLNT100 | EA |  | CONTAINER;SPRAY GUN POT. C/W LI,00936754 | CONTAINER;SPRAY GUN POT. C/W LI,00936754 | CONTAINER;ADDITIONAL FEATURES:SPRAY GUN POT. C/W LI,00936754 |  |  |  |  | 1069714 @@ BLACKWOODS | 936754 | [12 empty] | SAMSON | 801A | [12 empty] | BLACKWOODS | 00936754 |  |  | https://www.blackwoods.com.au/paints-marking-spray-equipment/spray-paints-tools/spray-gun-containers-and-spare-parts/container-c-w-lid-samson-80102-801a-1l/p/00936754 | [9 empty] | CLEANSED | 24110000 Containers and storage | C/W LID |  | CONTAINER | NO MODIFIER | TYPE | SPRAY GUN POT | CAPACITY | 1 L | MATERIAL |  | OVERALL SIZE |  | COLOUR | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1059576 | 1059576 |  |  |  | ERSA | M | 1600 | 1584104GZPCLNT100 | EA |  | CONTACT;SOCKET,4MM,ELECTROFUSION WELDER | CONTACTO; | CONTACT;TYPE:SOCKET,ADDITIONAL FEATURES EN:4MM,ELECTROFUSION WELDER | CONTACTO; |  |  |  | 1068155 @@ REECE PTY LTD | 1415608 | [12 empty] | REECE PTY LTD | 1415608 | [16 empty] | https://www.reece.com.au/product/friatec-electrofusion-welder-socket-contacts-4-0mm-1415608 | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE | ELECTRO FUSION WELDER SOCKET | SIZE | 4 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1185265 | 1185265 |  |  |  | ERSA | M | 4090 | 1557360GZPCLNT100 | EA |  | CONTAINER;OIL,HDPE,TRICO 4L | CONTENEDOR; | CONTAINER;TYPE:OIL,MATERIAL:HDPE,ADDITIONAL FEATURES EN:TRICO 4L | CONTENEDOR; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | 1557360 | [10 empty] | TRICO |  | METAL MANUFACTURES PTY LTD | 1557360 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | OIL | CAPACITY | 4 L | MATERIAL | HDPE | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1185264 | 1185264 |  |  |  | ERSA | M | 4090 | 1557361GZPCLNT100 | EA |  | CONTAINER;OIL,HDPE,TRICO 15L | CONTENEDOR; | CONTAINER;TYPE:OIL,MATERIAL:HDPE,ADDITIONAL FEATURES EN:TRICO 15L | CONTENEDOR; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | 1557361 | [10 empty] | TRICO |  | METAL MANUFACTURES PTY LTD | 1557361 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | OIL | CAPACITY | 15 L | MATERIAL | HDPE | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1185263 | 1185263 |  |  |  | ERSA | M | 4090 | 1557362GZPCLNT100 | EA |  | CONTAINER;OIL,HDPE,TRICO 11L | CONTENEDOR; | CONTAINER;TYPE:OIL,MATERIAL:HDPE,ADDITIONAL FEATURES EN:TRICO 11L | CONTENEDOR; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | 1557362 | [10 empty] | TRICO |  | METAL MANUFACTURES PTY LTD | 1557362 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | OIL | CAPACITY | 11 L | MATERIAL | HDPE | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1184548 | 1184548 |  |  |  | ERSA | M | 5930 | 1558931GZPCLNT100 | EA |  | CONTAINER;WTR,CERMC | CONTENEDOR; | CONTAINER;TYPE:WATER,MATERIAL:CERAMIC,ADDITIONAL FEATURES EN:WELL,FITS 15L WATER BOTTLES | CONTENEDOR; |  |  |  | 1068147 @@ QH2O | 1558931 | [12 empty] | QH2O | 1558931 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage | WELL,FOR 15 L WATER BOTTLES |  | CONTAINER | NO MODIFIER | TYPE | WATER | CAPACITY |  | MATERIAL | CERAMIC | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1187510 | 1187510 |  |  |  | ERSA | M | 4045 | 1614465GZPCLNT100 | EA |  | CONTAINER;TOTE,PLSTC,170X100X85 MM,BLUE | CONTENEDOR;AZUL | CONTAINER;TYPE:TOTE,MATERIAL:PLASTIC,OVERALL SIZE:170X100X85 MM,COLOUR:BLUE | CONTENEDOR;TONO:AZUL |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 2580731 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 2580731 | [16 empty] | https://www.bunnings.com.au/handy-storage-size-20-plastic-storage-tote_p2580731 | [9 empty] | ENRICHED | 24112003 Non metallic bins |  |  | BIN | STORAGE | TYPE | TOTE | OVERALL SIZE | 100 WDX170 LGX85 HT MM | CAPACITY | SIZE 20 | MATERIAL | PLASTIC | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1187511 | 1187511 |  |  |  | ERSA | M | 4045 | 1614464GZPCLNT100 | EA |  | CONTAINER;TOTE,PLSTC,220X135X125 MM,BLUE | CONTENEDOR;AZUL | CONTAINER;TYPE:TOTE,MATERIAL:PLASTIC,OVERALL SIZE:220X135X125 MM,COLOUR:BLUE,ADDITIONAL FEATURES EN:SIZE 30 | CONTENEDOR;TONO:AZUL |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 2580732 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 2580732 | [16 empty] | https://www.bunnings.com.au/handy-storage-size-30-plastic-storage-tote_p2580732 | [9 empty] | ENRICHED | 24112003 Non metallic bins |  |  | BIN | STORAGE | TYPE | TOTE | OVERALL SIZE | 135 WDX220 LGX125 HT MM | CAPACITY | SIZE 30 | MATERIAL | PLASTIC | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1187512 | 1187512 |  |  |  | ERSA | M | 4045 | 1614463GZPCLNT100 | EA |  | CONTAINER;TOTE,PLSTC,405X270X165 MM,BLUE | CONTENEDOR;AZUL | CONTAINER;TYPE:TOTE,MATERIAL:PLASTIC,OVERALL SIZE:405X270X165 MM,COLOUR:BLUE,ADDITIONAL FEATURES EN:SIZE 50 | CONTENEDOR;TONO:AZUL |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 2580734 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 2580734 | [16 empty] | https://www.bunnings.com.au/handy-storage-size-50-plastic-storage-tote_p2580734 | [9 empty] | ENRICHED | 24112003 Non metallic bins |  |  | BIN | STORAGE | TYPE | TOTE | OVERALL SIZE | 275 WDX410 LGX165 HT MM | CAPACITY | SIZE 50 | MATERIAL | PLASTIC | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 | Conflict in Description | 1089201 | 1089201 | 1382078 | AU_QM_000222121 |  | ERSA | M | 5955 | 1382078GZPCLNT100 | EA | 3000013 | CONTACT;VOL,17416725 | CONTACT;VOL,17416725 | CONTACT;MNFR:VOLVO,PTNO:17416725 |  | CONTACT;VOL,17416725CONTACT;VOL,17416725 | VOLVO | 17416725 | 1068317 @@ SMH EQUIPMENT PTY LTD | 17416725 | [12 empty] | VOLVO | 17416725 | [16 empty] | https://www.huparts.com/gear-selector-switch-voe17416725-17416725-for-volvo-l105-l110f-l110g-l110h-l120f-l120g-l120gz-l120h-l150f-l150g-for-sale-online | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories |  |  | SWITCH | SELECTOR | TYPE | GEAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1155203 | 1155203 |  |  |  | ERSA | M | 4045 | 1514246GZPCLNT100 | EA |  | CONTAINER;GREASE,3136706151 | CONTAINER;GREASE,3136706151 | CONTAINER;ADDITIONAL FEATURES:GREASE,3136706151 |  |  |  |  | 1070205 @@ CUTRITE CUTTING & CORE DRILLING | 3136706151 | [12 empty] | CUTRITE CUTTING & CORE DRILLING | 3136706151 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage | GREASE |  | CONTAINER | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1206782 | 1206782 |  |  |  | ERSA | M | 4090 | 1052687MRM | EA |  | CONTAINER;CRIB DISH; LUNCH BOX;DECOR TEL | CONTAINER;CRIB DISH; LUNCH BOX;DECOR TEL | CONTAINER;CRIB DISH; LUNCH BOX;DECOR TELLFRESH OBLONG 900ML CONTAINER; |  |  |  |  | 1069871 @@ THE DECOR CORPORATION | 002560-006 | [12 empty] | THE DECOR CORPORATION | 002560-006 | [16 empty] | https://www.blackwoods.com.au/office-stationery-kitchen/kitchenware-catering/decor-tellfresh-storer-oblong/decor-tellfresh-storer-oblong-clear-203x143x53mm-900ml/p/00084188 | https://www.winc.com.au/main-catalogue-productdetail/decor-tellfresh-rectangular-container-52x143x203mm-clear-900ml/18931323 | [8 empty] | ENRICHED | 24110000 Containers and storage | BRAND:TELLFRESH, MICROSAFE OBLONG |  | CONTAINER | NO MODIFIER | TYPE | CRIB DISH LUNCH BOX | CAPACITY | 900 ML | MATERIAL |  | OVERALL SIZE | 52X143X203 MM | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1206781 | 1206781 |  |  |  | ERSA | M | 4090 | 1052679MRM | EA |  | CONTAINER;CRIB DISH; LUNCH BOX; DECOR M | CONTAINER;CRIB DISH; LUNCH BOX; DECOR M | CONTAINER;CRIB DISH; LUNCH BOX; DECOR MICROSAFE OBLONG 900ML CONTAINER; 1 PER LUNCH KIT |  |  |  |  | 1069871 @@ THE DECOR CORPORATION | 124500-006 | [12 empty] | THE DECOR CORPORATION | 124500-006 | [16 empty] | https://www.mitre10.com.au/decor-microsafe-oblong-container-900ml | https://www.blackwoods.com.au/office-stationery-kitchen/kitchenware-catering/kitchen-storage-catering-supplies/container-oblong-tell-fresh-900ml/p/06574723 | [8 empty] | ENRICHED | 24110000 Containers and storage | BRAND:MICROSAFE,OBLONG,PACKAGE QUANTITY:1 PER LUNCH KIT |  | CONTAINER | NO MODIFIER | TYPE | CRIB DISH LUNCH BOX | CAPACITY | 900 ML | MATERIAL |  | OVERALL SIZE | 232 WDX64 HT MM | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1033856 | 1033856 |  |  |  | ERSA | M | 1600 | 1531991GZPCLNT100 | EA | 3000032 | CONTACT;SIE,3SU14001AA101BA0 | CONTACT;SIE,3SU14001AA101BA0 | CONTACT;MNFR:SIEMENS,PTNO:3SU14001AA101BA0 |  |  | SIEMENS | 3SU14001AA101BA0 | 1072013 @@ METAL MANUFACTURES PTY LTD | SIE3SU1400-1AA10-1BA0 | 1068740 @@ METAL MANUFACTURES PTY LTD | 3SU14001AA101BA0 | 1068113 @@ SIEMENS LTD | 3SU1400-1AA10-1BA0 | 1068555 @@ APS INDUSTRIALS PTY LTD | 3SU1400-1AA10-1BA0 | [6 empty] | SIEMENS | 3SU14001AA101BA0 | [16 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=3SU14001AA101BA0&language=en | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO | CURRENT RATING | 10 A | VOLTAGE RATING | 5 TO 500 VAC/VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT PLATE | MATERIAL |  | SIZE | 9.8 WDX33.2 HTX27.7 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,UL,VDE,EAC,UKCA,CE | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1009725 | 1009725 | 1457970 | AU_QM_001310234 |  | ERSA | M | 5955 | 1457970GZPCLNT100 | EA | 3000000 | CONTACT;ATL,5540 7375 00 | CONTACT;ATL,5540 7375 00 | CONTACT;MNFR:ATLAS COPCO,PTNO:5540 7375 00 |  | CONTACT SET,CIRCUIT BREAKER:CONTACT BLOCK; | ATLAS COPCO | 5540 7375 00 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5540 7375 00 | [12 empty] | ATLAS COPCO | 5540 7375 00 | [16 empty] | https://www.aga-parts.com/atlas-copco/part/5540737500_contact-block/ | [9 empty] | CLEANSED | 39121522 Electrical contacts | SET,FOR CIRCUIT BREAKER |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1074451 | 1074451 |  |  |  | ERSA | M | 3730 | 1112064GZPCLNT100 | EA | 3000003 | CONTACT;CAT,6D4161 | CONTACTO;CAT,6D4161 | CONTACT;MNFR:CATERPILLAR,PTNO:6D4161 | CONTACTO;MNFR:CATERPILLAR,PTNO:6D4161 |  | CATERPILLAR | 6D4161 | [14 empty] | CATERPILLAR | 6D4161 | [16 empty] | https://parts.cat.com/en/catcorp/6D-4161 | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1146892 | 1146892 |  |  |  | ERSA | M | 4090 | 1532456GZPCLNT100 | EA |  | CONTAINER;OVAL,3.8 L,SS TRIM,B0460B6020 | CONTAINER;OVAL,3.8 L,SS TRIM,B0460B6020 | CONTAINER;ADDITIONAL FEATURES:OVAL,3.8 L,SS TRIM,B0460B6020 |  |  |  |  | 1069714 @@ BLACKWOODS | B0460B6020 | 1068652 @@ J BLACKWOOD & SONS | B0460B6020 | [24 empty] | BLACKWOODS | B0460B6020 |  |  | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage | SHAPE:OVAL |  | CONTAINER | NO MODIFIER | TYPE |  | CAPACITY | 3.8 L | MATERIAL | STAINLESS STEEL TRIM | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1146891 | 1146891 |  |  |  | ERSA | M | 4090 | 1532457GZPCLNT100 | EA |  | CONTAINER;OVAL,4 L,SS TRIM,B0460B6021 | CONTAINER;OVAL,4 L,SS TRIM,B0460B6021 | CONTAINER;ADDITIONAL FEATURES:OVAL,4 L,SS TRIM,B0460B6021 |  |  |  |  | 1069714 @@ BLACKWOODS | B0460B6021 | 1068652 @@ J BLACKWOOD & SONS | B0460B6021 | [24 empty] | BLACKWOODS | B0460B6021 |  |  | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage | SHAPE:OVAL |  | CONTAINER | NO MODIFIER | TYPE |  | CAPACITY | 4 L | MATERIAL | STAINLESS STEEL TRIM | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1110047 | 1110047 | 1358568 | AU_QM_000153861 |  | ERSA | M | 1600 | 1358568GZPCLNT100 | EA |  | CONTACTOR AUX | CONTACTOR AUX | CONTACT,ELEC: CONTACTOR AUX |  | CONTACT,ELEC: CONTACTOR AUX |  |  | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | CA6S120 | [12 empty] | NHP ELECTRICAL ENGINEERING PROD | CA6S120 | [16 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CA6S120-4203-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | INSIDE LEFT/RIGHT SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1065037 | 1065037 |  |  |  | ERSA | M | 1600 | 1456487GZPCLNT100 | EA |  | CONTACTOR | CONTACTOR | CONTACT SET,CONTACTOR: CONTACTOR GFM SURFACE CRUSHING PLANT |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA7-30 | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CA7-30 | [26 empty] | CLEANSED | 39121522 Electrical contacts | SET,FOR CONTACTOR, GFM SURFACE CRUSHING PLANT |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1187208 | 1187208 |  |  |  | ERSA | M | 4090 | 1544515GZPCLNT100 | EA |  | CONTAINER;DG,STL,DG STORAGE,4000LT | CONTENEDOR; | CONTAINER;TYPE:DG,MATERIAL:STEEL,ADDITIONAL FEATURES EN:DG STORAGE,4000LT | CONTENEDOR; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CDGSC-20 | [12 empty] | CONTAIN IT SOLUTIONS | CDGSC-20 | [16 empty] | https://www.containit.com.au/product/dangerous-goods-storage-containers/ | [9 empty] | ENRICHED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | DANGEROUS GOODS | CAPACITY | 4000 L | MATERIAL | STEEL | OVERALL SIZE | 3000 WDX2575 HTX2190 DP MM | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1147590 | 1147590 |  |  |  | ERSA | M | 4090 | 1522953GZPCLNT100 | EA |  | CONTAINER;CUSTOM,20 FT,HIGH CU,CRQ133161 | CONTAINER;CUSTOM,20 FT,HIGH CU,CRQ133161 | CONTAINER;ADDITIONAL FEATURES:CUSTOM,20 FT,HIGH CU,CRQ133161 |  |  |  |  | 1068283 @@ ROYAL WOLF TRADING AUSTRALIA P/L | CRQ133161 | [12 empty] | ROYAL WOLF TRADING AUSTRALIA P/L | CRQ133161 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | CUSTOM CUBE | CAPACITY |  | MATERIAL |  | OVERALL SIZE | HT 20 FT | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1138365 | 1138365 | 1400866 | AU_QM_000245329 |  | ERSA | M | 5915 | 1400866GZPCLNT100 | EA |  | CONTACT;S S CS1-40 | CONTACT;S S CS1-40 | CONTACT;MNFR: ,PTNO:S S CS1-40 |  | CONTACT;S S CS1-40CONTACT;S&S CS1-40 | [16 empty] | S & S | CS1-40 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1138324 | 1138324 | 1401435 | AU_QM_000245955 |  | ERSA | M | 5915 | 1401435GZPCLNT100 | EA |  | CONTACT;CS4-227 | CONTACT;CS4-227 | CONTACT;MNFR: ,PTNO:CS4-227 |  | CONTACT;CS4-227CONTACT;CS4-227 | [17 empty] | CS4-227 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1138364 | 1138364 | 1400867 | AU_QM_000245330 |  | ERSA | M | 5915 | 1400867GZPCLNT100 | EA |  | CONTACT;S S CS7-PV | CONTACT;S S CS7-PV | CONTACT;MNFR: ,PTNO:S S CS7-PV |  | CONTACT;S S CS7-PVCONTACT;S&S CS7-PV | [16 empty] | S & S | CS7-PV | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1147597 | 1147597 |  |  |  | ERSA | M | 4090 | 1522939GZPCLNT100 | EA |  | CONTAINER;SHIPPING,OPEN TOP,,CXSU1180816 | CONTAINER;SHIPPING,OPEN TOP,,CXSU1180816 | CONTAINER;ADDITIONAL FEATURES:SHIPPING,OPEN TOP,,CXSU1180816 |  |  |  |  | 1070233 @@ TROPICAL CONTAINERS | CXSU1180816 | 1069234 @@ S.C.F GROUP PTY LTD | 1522939 | [8 empty] | S.C.F GROUP PTY LTD | 1522939 | TROPICAL CONTAINERS | CXSU1180816 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112802 Open top freight container |  |  | CONTAINER | NO MODIFIER | TYPE | OPEN TOP SHIPPING | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1147596 | 1147596 |  |  |  | ERSA | M | 4090 | 1522940GZPCLNT100 | EA |  | CONTAINER;SHIPPING,OPEN TOP,,CXSU1180821 | CONTAINER;SHIPPING,OPEN TOP,,CXSU1180821 | CONTAINER;ADDITIONAL FEATURES:SHIPPING,OPEN TOP,,CXSU1180821 |  |  |  |  | 1070233 @@ TROPICAL CONTAINERS | CXSU1180821 | 1069234 @@ S.C.F GROUP PTY LTD | 1522940 | [8 empty] | S.C.F GROUP PTY LTD | 1522940 | TROPICAL CONTAINERS | CXSU1180821 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112802 Open top freight container |  |  | CONTAINER | NO MODIFIER | TYPE | OPEN TOP SHIPPING | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1105730 | 1105730 | 1419705 | AU_QM_000265784 |  | ERSA | M | 5915 | 1419705GZPCLNT100 | EA |  | CONTAINER;JERRY CAN, DIESEL,20 L,PLSTC | CONTAINER;JERRY CAN, DIESEL,20 L,PLSTC | CONTAINER;TYPE:JERRY CAN, DIESEL,CAPACITY:20 L,MATERIAL:PLASTIC,OVERALL SIZE:WD 179 X LG 348 X HT 460 MM,COLOUR:YELLOW, CERTIFICATIO |  | CONTAINER;JERRY CAN, DIESEL,20 L,PLSTCCONTAINER;JERRY CAN, DIESEL,20L,PLASTIC |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | FC20Y | [12 empty] | BELL & MOIR - PARTS ORDERS ONLY | FC20Y | [16 empty] | http://www.haigh.com.au/products/fluid-handling/containers/20l-plastic-jerry-can-2-detail | https://www.trailersrus.com.au/20-litre-yellow-jerry-can-diesel-fuel-container-fu | [8 empty] | ENRICHED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | JERRY DIESEL CAN | CAPACITY | 20 L | MATERIAL | PLASTIC | OVERALL SIZE | 160 WDX340 LGX520 DP MM | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1051018 | 1051018 |  |  |  | ERSA | M | 4090 | 1578777GZPCLNT100 | EA |  | CONTAINER;ORGANISER,PLSTC,LARGER 380 MM | CONTENEDOR; | CONTAINER;TYPE:ORGANISER,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:LARGER 380 MM | CONTENEDOR; |  |  |  | 1068391 @@ BOSS | K7915 | [12 empty] | BOSS | K7915 | [16 empty] | https://www.toolmart.com.au/kincrome-k7915.html | https://beyondtools.com/products/380mm-15-plastic-organiser-large-k7915-by-kincrome | [8 empty] | ENRICHED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | ORGANISER | CAPACITY |  | MATERIAL | PLASTIC | OVERALL SIZE | 380 LGX305X60 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1102642 | 1102642 |  |  |  | ERSA | M | 4200 | 1505242GZPCLNT100 | EA |  | CONTAINER,LAB;PLASTIC BOTTLES,LBS30002B | CONTAINER,LAB;PLASTIC BOTTLES,LBS30002B | [5 empty] | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | LBS30002B | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | LBS30002B | [16 empty] | https://assets.thermofisher.com/TFS-Assets/ANZ/Catalogs/labserv-laboratory-plasticware-catalogue-au.pdf | [9 empty] | ENRICHED | 24110000 Containers and storage |  | CAP COLOR:BLUE | CONTAINER | LAB | TYPE |  | CAPACITY | 70 ML | MATERIAL | POLYSTYRENE | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1102641 | 1102641 |  |  |  | ERSA | M | 4200 | 1505243GZPCLNT100 | EA |  | CONTAINER,LAB;PLASTIC BOTTLES,LBS30123 | CONTAINER,LAB;PLASTIC BOTTLES,LBS30123 | [5 empty] | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | LBS30123 | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | LBS30123 | [16 empty] | https://assets.thermofisher.com/TFS-Assets/ANZ/Catalogs/labserv-laboratory-plasticware-catalogue-au.pdf | [9 empty] | ENRICHED | 24110000 Containers and storage |  | CAP COLOR:YELLOW | CONTAINER | LAB | TYPE |  | CAPACITY | 120 ML | MATERIAL | POLYSTYRENE | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1064649 | 1064649 | 1349596 | AU_QM_000131281 |  | ERSA | M | 1600 | 1349596GZPCLNT100 | EA |  | BLOCK;CONTACT;REAR MOUNT;NC;M22-KC01;MOE | BLOCK;CONTACT;REAR MOUNT;NC;M22-KC01;MOE | CONTACT ASSY,ELEC: BLOCK;CONTACT;REAR MOUNT;NC;M22-KC01;MOE LLER;;SANDVIK JUMBOS; |  | CONTACT ASSY,ELEC:BLOCK;CONTACT;REAR MOUNT;NC;M22-KC01;MOE |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 399-3567 | [12 empty] | EATON | M22-KC01 | MOELLER | [11 empty] | RS COMPONENTS PTY LTD | 399-3567 |  |  | https://www.eaton.com/us/en-us/skuPage.M22-KC01.html | https://au.rs-online.com/web/p/push-button-contact-blocks-light-blocks/3993567 | [8 empty] | ENRICHED | 39121522 Electrical contacts | ASSEMBLY,SANDVIK JUMBOS |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 6 A | VOLTAGE RATING | 240 VAC | TERMINAL TYPE | SCREW | MOUNTING TYPE | REAR | MATERIAL |  | SIZE | 1.18 WDX1.54 LGX1.03 HT IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 | Conflict in Description | 1021164 | 1021164 | 1391267 | AU_QM_000233087 |  | ERSA | M | 5955 | 1391267GZPCLNT100 | EA | 3000003 | CONTACT;CAT,P/N 2107552 | CONTACT;CAT,P/N 2107552 | CONTACT;MNFR:CATERPILLAR,PTNO:P/N 2107552 |  | CONTACT;CAT,P/N 2107552CONTACT;HAS,P/N 2107552 | CATERPILLAR | P/N 2107552 | [14 empty] | CATERPILLAR | P/N 2107552 | [16 empty] | https://parts.cat.com/en/catcorp/210-7552 | [9 empty] | ENRICHED |  |  |  | BEARING | SLEEVE | TYPE |  | INSIDE DIAMETER | 240 MM | OUTSIDE DIAMETER | 270 MM | LENGTH | 60 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1207727 | 1207727 |  |  |  | ERSA | M | 1600 | 684811MRM | EA |  | CONTACT SET,CIRCUIT BREAKER:AUX;1 N/O 1 | CONTACT SET,CIRCUIT BREAKER:AUX;1 N/O 1 | CONTACT SET,CIRCUIT BREAKER:AUX;1 N/O 1 N/C;FOR KT3 BREAKERS; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1207727 | [12 empty] | CNW (NT) ELECTRICAL WHOLESALERS | PN1207727 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | SET,FOR KT3 BREAKER |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1208108 | 1208108 |  |  |  | ERSA | M | 1600 | 686156MRM | EA |  | CONTACT SET,CONTACTOR:AUX;4NO;10A;FRONT | CONTACT SET,CONTACTOR:AUX;4NO;10A;FRONT | CONTACT SET,CONTACTOR:AUX;4NO;10A;FRONT MTG;D <(>&<)> F RANGE; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1208108 | [12 empty] | CNW (NT) ELECTRICAL WHOLESALERS | PN1208108 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | D & F RANGE,SET,FOR CONTACTOR |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 4NO | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1208923 | 1208923 |  |  |  | ERSA | M | 1600 | 133509MRM | EA |  | CONTACT,ELEC:CONTACTOR 4KW-1XN/O 24VDC;B | CONTACT,ELEC:CONTACTOR 4KW-1XN/O 24VDC;B | CONTACT,ELEC:CONTACTOR 4KW-1XN/O 24VDC;BALL MILL CHILLER; |  |  |  |  | 1079143 @@ SUMMIT INDUSTRIAL CHILLERS P/L | PN1208923 | [12 empty] | SUMMIT INDUSTRIAL CHILLERS P/L | PN1208923 | [16 empty] | URL NOT FOUND |  |  | BALL MILL CHILLER | [6 empty] | CLEANSED | 39121522 Electrical contacts | CONTACT ARRANGEMENT:1NO,FOR 4 KW CONTACTOR |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING | 24 VDC | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1059747 | 1059747 |  |  |  | ERSA | M | 1600 | 1586820GZPCLNT100 | EA |  | CONTACT;CRIMP,HAN D,250V,10A,FEM,SCKT | CONTACTO; | CONTACT;TYPE:CRIMP,ADDITIONAL FEATURES EN:HAN D,250V,10A,FEMALE,SOCKET,MATERIAL:COPPER ALLOY,FINISH:SILVER PLATED,WIRE SIZE:1. 5MM2,F/HEAVY DUTY CONNECTORS,BRAND:HARTING ELECTRIC | CONTACTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RSC114-7986 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | HARTING | 09150006201 | [12 empty] | RS COMPONENTS | 114-7986 |  |  | https://b2b.harting.com/ebusiness/en_us/Han-D-F-Crimp-Contact-Ag-AWG-16/09150006201 | https://uk.rs-online.com/web/p/heavy-duty-power-connector-contacts/1147986 | [8 empty] | ENRICHED | 39121522 Electrical contacts | CURRENT RATING:10A,SERIES::HAN D,WIRE SIZE:1. 5 MM2,FOR HEAVY DUTY CONNECTORS |  | CONTACT | ELECTRICAL | TYPE | CRIMP FEMALE | VOLTAGE RATING | 250 V | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL | COPPER ALLOY SILVER PLATED | CERTIFICATION/STANDARD | IEC 60664-1,IEC 61984 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1059748 | 1059748 |  |  |  | ERSA | M | 1600 | 1586821GZPCLNT100 | EA |  | CONTACT;CRIMP,250V,10A,MALE SOCKET | CONTACTO; | CONTACT;TYPE:CRIMP,ADDITIONAL FEATURES EN:250V,10A,MALE SOCKET,SERIES:HAN CONTACTS,WIRE SIZE:1.5 MM2,F/HEAVY DUTY CONNECTORS, BRAND:HARTING ELECTRIC | CONTACTO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RSC173-7323 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | HARTING | 09150006101 | [12 empty] | RS COMPONENTS | 173-7323 |  |  | https://b2b.harting.com/ebusiness/en_us/R-15-STI-C-15-QMM-AWG16/09150006101 | https://uk.rs-online.com/web/p/heavy-duty-power-connector-contacts/1737323?gb=a | [8 empty] | ENRICHED | 39121522 Electrical contacts | CURRENT RATING:10 A,SERIES:HAN,WIRE SIZE:1.5 MM2,FOR HEAVY DUTY CONNECTORS |  | CONTACT | ELECTRICAL | TYPE | CRIMP MALE | VOLTAGE RATING | 250 V | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL | COPPER ALLOY SILVER PLATED | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1147595 | 1147595 |  |  |  | ERSA | M | 4090 | 1522941GZPCLNT100 | EA |  | CONTAINER;SHIPPING,OPEN TOP,,SLZU6500852 | CONTAINER;SHIPPING,OPEN TOP,,SLZU6500852 | CONTAINER;ADDITIONAL FEATURES:SHIPPING,OPEN TOP,,SLZU6500852 |  |  |  |  | 1070233 @@ TROPICAL CONTAINERS | SLZU6500852 | 1069234 @@ S.C.F GROUP PTY LTD | 1522941 | [8 empty] | S.C.F GROUP PTY LTD | 1522941 | TROPICAL CONTAINERS | SLZU6500852 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112802 Open top freight container |  |  | CONTAINER | NO MODIFIER | TYPE | OPEN TOP SHIPPING | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1102267 | 1102267 |  |  |  | ERSA | M | 1600 | 1505850GZPCLNT100 | EA |  | CONTACT;EATY7-216376 | CONTACT;EATY7-216376 | [19 empty] | EATON | Y7-216376 | [16 empty] | https://datasheet.eaton.com/datasheet.php?model=216376&locale=en_gb | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING | 220/230/240 VAC | CURRENT RATING | 3/6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA Std. C22.2 No. 14-05,CSA Std. C22.2 No. 94-91,UL 508,EN 60947-5,IEC 60947-5,VDE,IEC 60947-5-1,CE,CSA-C22.2 No. 14-05 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1102266 | 1102266 |  |  |  | ERSA | M | 1600 | 1505851GZPCLNT100 | EA |  | CONTACT;EATY7-216378 | CONTACT;EATY7-216378 | [19 empty] | EATON | Y7-216378 | [16 empty] | https://datasheet.eaton.com/Eaton-216378-M22-K01-en_GB.pdf?model=216378 | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NC | VOLTAGE RATING | 220/230/240 VAC | CURRENT RATING | 3/6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA Std. C22.2 No. 14-05,CSA Std. C22.2 No. 94-91,UL 508,EN 60947-5,IEC 60947-5,VDE,IEC 60947-5-1,CE,CSA-C22.2 No. 14-05 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1136860 | 1136860 | 1460873 | AU_QM_002564117 |  | ERSA | M | 5100 | 1460873GZPCLNT100 | EA |  | CLUSTER 800A (ISOLATING) | CLUSTER 800A (ISOLATING) | CONTACT ASSY,ELEC: CLUSTER 800A (ISOLATING) OLX OIL CIRCUIT BREAKER |  | CONTACT ASSY,ELEC:CLUSTER 800A (ISOLATING) |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1460873 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1460873 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,FOR CLUSTER 800 A (ISOLATING) OLX OIL CIRCUIT BREAKER |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1212142 | 1212142 |  |  |  | ERSA | M | 1600 | 775388MRM | EA |  | CONTACT ASSY,ELEC:22MM DIAM;1 NORMALLY C | CONTACT ASSY,ELEC:22MM DIAM;1 NORMALLY C | CONTACT ASSY,ELEC:22MM DIAM;1 NORMALLY CLOSED;STD; SINGLEBLOCK;SPRING RETURN; | [46 empty] | CLEANSED | 39121522 Electrical contacts | CONTACT ARRANGEMENT:1NC,STD,ASSEMBLY,SINGLE BLOCK,SPRING RETURN |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE | DIA 22 MM | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1216682 | 1216682 |  |  |  | ERSA | M | 5955 | 7128448MRM | EA |  | CONTACT ASSY,ELEC:H320 CONTACT BLOCK;ELE | CONTACT ASSY,ELEC:H320 CONTACT BLOCK;ELE | CONTACT ASSY,ELEC:H320 CONTACT BLOCK;ELECTRIC SCHEMATIC ASSY;ROBOLT H320-30C ROOF BOLTER | [36 empty] | URL NOT FOUND |  |  | ELECTRIC SCHEMATIC ASSEMBLY,ROBOLT ROOF BOLTER |  | H320-30C |  |  |  |  | CLEANSED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE | ELECTRICAL | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1210602 | 1210602 |  |  |  | ERSA | M | 5955 | 774347MRM | EA |  | CONTACT ASSY,ELEC:TC200 SWITCH CONTACT B | CONTACT ASSY,ELEC:TC200 SWITCH CONTACT B | CONTACT ASSY,ELEC:TC200 SWITCH CONTACT BLOCK;UN BOX/PS1000 SWITCHGEAR GRPS;TC200 CARRIER ELECTRICS | [16 empty] | CARRIER ELECTRICS | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | SERIES:TC200 SWITCH,UN BOX/PS1000 SWITCHGEAR GRPS |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1216683 | 1216683 |  |  |  | ERSA | M | 5955 | 7128451MRM | EA |  | CONTACT ASSY,ELEC:TC200 UN BOX CONTACT B | CONTACT ASSY,ELEC:TC200 UN BOX CONTACT B | CONTACT ASSY,ELEC:TC200 UN BOX CONTACT BLOCK;TC200 CARRIER;ROBOLT H320-30C ROOF BOLTER | [36 empty] | URL NOT FOUND |  |  | ROBOLT ROOF BOLTER |  | H320-30C |  |  |  |  | CLEANSED | 39121522 Electrical contacts | UN BOX,TC200 CARRIER |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1205874 | 1205874 |  |  |  | ERSA | M | 1600 | 87882MRM | EA |  | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACE | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACE | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACEY 150A 1000V RESTRAINED RECEPTACLE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR MACEY 150 A 1000 V RESTRAINED RECEPTACLE |  | CONTACT | ELECTRICAL | TYPE | MAIN PIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1205880 | 1205880 |  |  |  | ERSA | M | 1600 | 87957MRM | EA |  | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACE | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACE | CONTACT,ELEC:MACEY MAIN CONTACT PIN;MACEY 300A 1000V RESTRAINED RECEPTACLE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR MACEY 300 A 1000 V RESTRAINED RECEPTACLE |  | CONTACT | ELECTRICAL | TYPE | MAIN PIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1205884 | 1205884 |  |  |  | ERSA | M | 1600 | 88047MRM | EA |  | CONTACT,ELEC:RESTRAINED PLUG MAIN SOCKET | CONTACT,ELEC:RESTRAINED PLUG MAIN SOCKET | CONTACT,ELEC:RESTRAINED PLUG MAIN SOCKET;MACEY 150A 1000V RESTRAINED PLUG; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR MACEY 150 A 1000 V RESTRAINED PLUG |  | CONTACT | ELECTRICAL | TYPE | MAIN SOCKET | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1205885 | 1205885 |  |  |  | ERSA | M | 1600 | 88054MRM | EA |  | CONTACT,ELEC:RESTRAINED RECEPTACLE MAIN | CONTACT,ELEC:RESTRAINED RECEPTACLE MAIN | CONTACT,ELEC:RESTRAINED RECEPTACLE MAIN SOCKET;MACEY 300A 1000V RESTRAINED PLUG; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR MACEY 300 A 1000 V RESTRAINED PLUG |  | CONTACT | ELECTRICAL | TYPE | RECEPTACLE MAIN SOCKET | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-10-19 | 2023-10-20 |  | 1212147 | 1212147 |  |  |  | ERSA | M | 5955 | 775393MRM | EA |  | CONTACT,ELEC:TORO T450D CONTACT PIN;ELEC | CONTACT,ELEC:TORO T450D CONTACT PIN;ELEC | CONTACT,ELEC:TORO T450D CONTACT PIN;ELECTRICAL GROUP;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO LOADER |  | T450D |  |  |  |  | CLEANSED | 39121522 Electrical contacts | ELECTRICAL GROUP |  | CONTACT | ELECTRICAL | TYPE | PIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-20 |  | 1217484 | 1217484 |  |  |  | ERSA | M | 4090 | 241851MRM | EA |  | DISPOSAL CONTAINER,HYPODERMIC NEEDLE:19L | DISPOSAL CONTAINER,HYPODERMIC NEEDLE:19L | DISPOSAL CONTAINER,HYPODERMIC NEEDLE:19L SHARPS CONTAINER;YELLOW PLASTIC C/WLID | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24110000 Containers and storage |  |  | CONTAINER | NO MODIFIER | TYPE | HYPODERMIC SHARP NEEDLE DISPOSAL | CAPACITY | 19 L | MATERIAL | PLASTIC | OVERALL SIZE |  | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed