## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1047280 | 1047280 | 1418388 | AU_QM_000264334 |  | ERSA | M | 5915 | 1418388GZPCLNT100 | EA |  | CONTAINER;INSULATED CHUTE, CAMELBAK, EDD | CONTAINER;INSULATED CHUTE, CAMELBAK, EDD | CONTAINER;TYPE:INSULATED CHUTE, CAMELBAK, EDDY,CAPACITY:1.2 L,MATERIAL:BODY COPOLYESTER, CAP PP/SILICONE, STAINLESS STEEL,COLOUR: BL |  | CONTAINER;INSULATED CHUTE, CAMELBAK, EDDCONTAINER;1.2L,BLACK,UNSPSC 24122000 |  |  | 1068502 @@ ATOM SUPPLY | 478938 | [12 empty] | ATOM SUPPLY | 478938 | [16 empty] | https://camelbakindia.nuwod.com/camelbak-chute-mag-vacuum-stainless-1-2l?search=1.2L&description=true | [9 empty] | CLEANSED |  | BRAND:EDDY |  | CONTAINER | NO MODIFIER | TYPE | INSULATED CHUTE | CAPACITY | 1.2 L | MATERIAL | COPOLYESTER BODY, PP/SILICONE CAP, STAINLESS STEEL | OVERALL SIZE |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1164768 | 1164768 | 1348915 | AU_QM_000055046 |  | ERSA | M | 1600 | 1348915GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,600 VAC,10 A,PANEL | CONTACT,AUX;1NO 1NC,600 VAC,10 A,PANEL | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,VOLTAGE RATING:600 VAC,CURRENT RATING:10 A,MOUNTING TYPE:PANEL,ADDITIONAL FEATURES EN:ASSY, PUSHBUTTON, WITH PLASTIC FRONT RING (BLUE,MNFR:01)CNW,PTNO:01)SPRD5PF6D53LX11 |  | CONTACT ASSY,ELEC:AUX,1N/O 1N/C,10AMP,600VAC |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 1348915 | [10 empty] | CNW | SPRD5PF6D53LX11 |  |  | LAWRENCE & HANSON PTY. LTD. | 1348915 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY, PUSHBUTTON, C/W PLASTIC FRONT RING BLUE |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 600 VAC | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1064947 | 1064947 | 1355076 | AU_QM_000144918 |  | ERSA | M | 1600 | 1355076GZPCLNT100 | EA |  | CA6 SERIES;CA6-115-EI CONTACTOR;55KW;3 P | CA6 SERIES;CA6-115-EI CONTACTOR;55KW;3 P | CONTACT,ELEC: CA6 SERIES;CA6-115-EI CONTACTOR;55KW;3 P OLE;SKIP DUMP OIL PUMP 1 AND 2 MCC;FOR GFM L72 WINDER MCC |  | CONTACT,ELEC: CA6 SERIES;CA6-115-EI CONTACTOR;55KW;3 P |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1355076 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1355076 | SPERCHER + SCHUH | CA6-115-EI | [16 empty] | https://www.sprecherschuh.com/content/dam/sprecher-schuh/ecatalog/a/CA6_Contactors.pdf |  |  | SKIP DUMP OIL PUMP 1 AND 2 MCC,GFM L72 WINDER MCC | [6 empty] | ENRICHED | 39121529 Contactors |  |  | CONTACTOR | ELECTRICAL | TYPE | NON-REVERSING | LINE VOLTAGE | 690 VAC | CURRENT RATING | 115 A | COIL VOLTAGE |  | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 111 KW | AUXILIARY CONTACT | 1NO 1NC | TERMINAL TYPE | SCREW | MOUNTING TYPE | PLATE | ENCLOSURE | IP2X | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CULUS,CE,CCC | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1149809 | 1149809 |  |  |  | ERSA | M | 5915 | 1495121GZPCLNT100 | EA |  | CONTACT;E2020R-ATB11-1/CB,P/WIRE SW ENCL | CONTACT;E2020R-ATB11-1/CB,P/WIRE SW ENCL | CONTACT;ADDITIONAL FEATURES:E2020R-ATB11-1/CB,P/WIRE SW ENCL |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1495121 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1495121 | EATON | ATB-11-1 | [16 empty] | https://mx-en.rs-online.com/product/eaton-cutler-hammer/atb11-1/70611219/ | https://www.electricautomationnetwork.com/en/eaton-moeller/switch-mechanism-1n-o1n-c-for-atb-eaton-moeller-069314-atb11-1 | [8 empty] | CLEANSED |  | CONTACT ARRANGEMENT:1NO 1NC |  | MECHANISM | NO MODIFIER | TYPE | SWITCH | SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1149808 | 1149808 |  |  |  | ERSA | M | 5915 | 1495122GZPCLNT100 | EA |  | CONTACT;E2020R-ATB11-1/K CONTACT BLOCK | CONTACT;E2020R-ATB11-1/K CONTACT BLOCK | CONTACT;ADDITIONAL FEATURES:E2020R-ATB11-1/K CONTACT BLOCK |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1495122 | [11 empty] | E2020R-ATB11-1/K |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1495122 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1150194 | 1150194 |  |  |  | ERSA | M | 4045 | 1525307GZPCLNT100 | EA |  | CONTAINER;FLATPACK,SIZE 1,CFSC-1 | CONTAINER;FLATPACK,SIZE 1,CFSC-1 | CONTAINER;ADDITIONAL FEATURES:FLATPACK,SIZE 1,CFSC-1 |  |  |  |  | 1070233 @@ TROPICAL CONTAINERS | 1525307 | 1068926 @@ CONTAIN IT SOLUTIONS | 1525307 | [8 empty] | CONTAIN IT SOLUTIONS | 1525307 | CONTAIN IT SOLUTIONS | CFSC-1 | TROPICAL CONTAINERS | 1525307 | [14 empty] | https://www.containit.com.au/product/size-1-flatpacked-site-container/ | [9 empty] | CLEANSED |  | SIZE 1 |  | CONTAINER | NO MODIFIER | TYPE | FLAT PACK | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 | Conflict in Description,Processed Based on Websource | 1057511 | 1057511 |  |  |  | ERSA | M | 4050 | 1549365GZPCLNT100 | ROL |  | CONTACT,STAT;SELF ADHESIVE,CLR,45CMX5M R | CONTACTOMOVIL; | CONTACT,STATIONARY;ADDITIONAL FEATURES EN:SELF ADHESIVE,CLEAR,45CMX5M RO | CONTACTO FIJO; |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18749427 | [12 empty] | WINC AUSTRALIA PTY LTD | 18749427 | [16 empty] | https://www.winc.com.au/main-catalogue-productdetail/contact-book-covering-self-adhesive-clear-45cm-x-5m-roll/18749427 | [9 empty] | ENRICHED |  | COLOR:CLEAR |  | COVER | NO MODIFIER | TYPE | SELF ADHESIVE BOOK | SIZE | 450 WD MMX5 LG M | MATERIAL | POLYPROPYLENE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 | Conflict in Description,Processed Based on Websource | 1021377 | 1021377 | 1385537 | AU_QM_000226319 |  | ERSA | M | 5955 | 1385537GZPCLNT100 | EA | 3000001 | CONTACT;EPI,92010757 | CONTACT;EPI,92010757 | CONTACT;MNFR:EPIROC,PTNO:92010757 |  | CONTACT;EPI,92010757CONTACT;EPI,92010757 | EPIROC | 92010757 | [14 empty] | EPIROC | 92010757 | [16 empty] | https://expa-parts.com/epiroc/lift/92010757/#google_vignette | [9 empty] | CLEANSED |  |  |  | BAIL | NO MODIFIER | TYPE | LIFTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1141052 | 1141052 | 1350180 | AU_QM_000132347 |  | ERSA | M | 1600 | 1350180GZPCLNT100 | EA |  | CONTACT SLEEVE;MTU ECM TERMINAL;;MERCEDE | CONTACT SLEEVE;MTU ECM TERMINAL;;MERCEDE | CONTACT,ELEC: CONTACT SLEEVE;MTU ECM TERMINAL;;MERCEDE S BENZ ECM; |  | CONTACT,ELEC: CONTACT SLEEVE;MTU ECM TERMINAL;;MERCEDE |  |  | 1068211 @@ PENSKE POWER SYSTEMS | 0135457626.MTU | [10 empty] | PENSKE POWER SYSTEMS |  | MERCEDE S BENZ | A0135457626 | [16 empty] | https://southernindustrial.store/product/mercedes-benz-wiring-connector-plug-terminal-contact-pin-a0135457626/ | [9 empty] | CLEANSED | 39121522 Electrical contacts | MTU ECM TERMINAL |  | CONTACT | ELECTRICAL | TYPE | PLUG TERMINAL PIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1184337 | 1184337 |  |  |  | ERSA | M | 4045 | 1559543GZPCLNT100 | EA |  | CONTAINER;FLAMM LIQUIDS,MTL | CONTENEDOR; | CONTAINER;TYPE:FLAMM LIQUIDS,MATERIAL:METAL,ADDITIONAL FEATURES EN:SGL DEPTH,LIQ,6IBC STORAGE | CONTENEDOR; |  |  |  | 1068093 @@ BLACKWOODS & SONS | 0460B6394 | 1068652 @@ J BLACKWOOD & SONS | 1559543 | [24 empty] | J BLACKWOOD & SONS | 1559543 | J BLACKWOOD & SONS | 0460B6394 | URL NOT FOUND | [9 empty] | CLEANSED |  | SINGLE DEPTH ,6 |  | CONTAINER | NO MODIFIER | TYPE | FLAMM LIQUID IBC STORAGE | CAPACITY |  | MATERIAL | METAL | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1144340 | 1144340 | 1442344 | AU_QM_000995467 |  | ERSA | M | 1600 | 1442344GZPCLNT100 | EA |  | CONTACT;1.5 MM2,AUSLEC,4KLI165155 | CONTACT;1.5 MM2,AUSLEC,4KLI165155 | CONTACT;SIZE:1.5 MM2,MATERIAL:COPPER ALLOY SILVER PLATED,ADDITIONAL FEATURES EN:MALE CRIMP, WEIDMULLER HD AND HDD TYPE CONNECTORS, M |  | CONTACT,ELEC: 1.5MM MALE CRIMP CONTACT;SILVER PLATED; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1651550000-1 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | WEIDMULLER | 1651550000-1 | [16 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1651550000 | [9 empty] | ENRICHED | 39121522 Electrical contacts | CONDUCTOR SIZE:1.5 MM2,HDD TYPE CONNECTORS, M |  | CONTACT | ELECTRICAL | TYPE | MALE CRIMP | VOLTAGE RATING |  | SIZE | DIA 3.5 MM | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL | COPPER ALLOY SILVER PLATED | CERTIFICATION/STANDARD | CSA,UL,E92202 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1144339 | 1144339 | 1442345 | AU_QM_000995468 |  | ERSA | M | 1600 | 1442345GZPCLNT100 | EA |  | CONTACT;1.5 MM2 | CONTACT;1.5 MM2 | CONTACT;SIZE:1.5 MM2,MATERIAL:COPPER ALLOY SILVER PLATED,ADDITIONAL FEATURES EN:ELEC, FEMALE CRIMP, WEIDMULLER HD AND HDD TYPE CO, M |  | CONTACT,ELEC: 1.5MM FEMALE CRIMP CONTACT;SILVER PLATED |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1651600000-1 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | WEIDMULLER | 1651600000-1 | [16 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1651600000 | [9 empty] | ENRICHED | 39121522 Electrical contacts | CONDUCTOR SIZE:1.5 MM2,HD AND HDD TYPE CO |  | CONTACT | ELECTRICAL | TYPE | FEMALE CRIMP | VOLTAGE RATING |  | SIZE | DIA 3.5 MM | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL | COPPER ALLOY SILVER PLATED | CERTIFICATION/STANDARD | CSA,UL,E92202 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1180711 | 1180711 |  |  |  | ERSA | M | 1600 | 1574288GZPCLNT100 | EA |  | CONTACT;M/LOCK 040 FEM CRIMP TERMINALS | CONTACTO; | CONTACT;ADDITIONAL FEATURES EN:M/LOCK 040 FEM CRIMP TERMINALS 20AWG | CONTACTO; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | 175062-1 | [10 empty] | ASHDOWN ENTERPRISES |  | KYNIX | 175062-1 | [16 empty] | https://www.kynix.com/Detail/232357/175062-1.html?utm_source=google&utm_medium=cpc&utm_campaign=P-Max&gad_source=1&gclid=CjwKCAjw-eKpBhAbEiwAqFL0mt7sPd-sc9WpMgLeSEt2ZItSkfMh1wEhOB4AlCfHv0J11mEXUKoyrRoCpWwQAvD_BwE | [9 empty] | ENRICHED | 39121522 Electrical contacts | SERIES:MULTILOCK 040,WIRE SIZE:20 AWG |  | CONTACT | ELECTRICAL | TYPE | CRIMP TERMINAL | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE | SOCKET | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1155047 | 1155047 |  |  |  | ERSA | M | 4045 | 1529401GZPCLNT100 | EA |  | CONTAINER;SHIPPIN,20 FT STORGE CONTAINER | CONTAINER;SHIPPIN,20 FT STORGE CONTAINER | CONTAINER;ADDITIONAL FEATURES:SHIPPIN,20 FT STORGE CONTAINER |  |  |  |  | 1068283 @@ ROYAL WOLF TRADING AUSTRALIA P/L | 20 FT STORGE CONTAINER | [10 empty] | ROYAL WOLF TRADING AUSTRALIA P/L | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTAINER | NO MODIFIER | TYPE | SHIPPING STORAGE | CAPACITY | 20 FT | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1114210 | 1114210 |  |  |  | ERSA | M | 4045 | 1571599GZPCLNT100 | EA |  | CONTAINER;SHPNG,STL,20FT,REFRIGERATED | CONTENEDOR; | CONTAINER;TYPE:SHIPPING,MATERIAL:STEEL,ADDITIONAL FEATURES EN:20FT,REFRIGERATED | CONTENEDOR; |  |  |  | 1068283 @@ ROYAL WOLF TRADING AUSTRALIA P/L | 20RF | [10 empty] | ROYAL WOLF TRADING AUSTRALIA P/L | 20RF | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTAINER | NO MODIFIER | TYPE | REFRIFRATED SHIPPING | CAPACITY | 20 FT | MATERIAL | STEEL | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1138153 | 1138153 |  |  |  | ERSA | M | 1600 | 1370912GZPCLNT100 | EA |  | AUX;CONTACT BLOCK | AUX;CONTACT BLOCK | CONTACT,ELEC: AUX;CONTACT BLOCK |  |  |  |  | 1068635 @@ ALIMAK GROUP AUSTRALIA PTY LTD | 3002192-462 | [10 empty] | ALIMAK GROUP AUSTRALIA PTY LTD | 3002192-462 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1067414 | 1067414 | 1461000 | AU_QM_002589160 |  | ERSA | M | 5100 | 1461000GZPCLNT100 | EA |  | CLUSTER | CLUSTER | CONTACT,ELEC: CLUSTER SUIT CIRCUIT BREAKER |  | CONTACT,ELEC: CLUSTER |  |  | 1069477 @@ IPD GROUP LTD | 46/553 | [10 empty] | IPD GROUP LTD | 46/553 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CIRCUIT BREAKER,CLUSTER |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1136012 | 1136012 | 1466308 | AU_QM_007124949 |  | ERSA | M | 1600 | 1466308GZPCLNT100 | EA |  | AUXILIARY;1NO,1NC CONTACTS; | AUXILIARY;1NO,1NC CONTACTS; | CONTACT ASSY,ELEC: AUXILIARY;1NO,1NC CONTACTS; |  | CONTACT ASSY,ELEC:AUXILIARY;1NO,1NC CONTACTS; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CUT18160 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 4CUT18160 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1069099 | 1069099 | 1430013 | AU_QM_000633750 |  | ERSA | M | 1600 | 1430013GZPCLNT100 | EA |  | CONTACT,AUX;3NO 3NC, 810),CNW,4103144 | CONTACT,AUX;3NO 3NC, 810),CNW,4103144 | CONTACT,AUXILIARY;CONTACT CONFIGURATION:3NO 3NC,ADDITIONAL FEATURES EN:ASSY, BACK CONNECTED, SUIT DC CRANE 150A DC CONTACTOR (SECURITY TYPE, 810),MNFR:01)CNW,PTNO:01)4103144 |  | CONTACT ASSY,ELEC:AUX,3 N/C 3 N/O,BACK CONNECTED, |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4OHM4103144 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430013 | [8 empty] | CNW | 1430013 |  |  | LAWRENCE & HANSON PTY. LTD. | 4OHM4103144 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY, BACK CONNECTED, FOR DC CRANE 150 A DC CONTACTOR (SECURITY TYPE 810) |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 3NO 3NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1062781 | 1062781 | 1430143 | AU_QM_000639724 |  | ERSA | M | 1600 | 1430143GZPCLNT100 | EA |  | C/W FLEX LEAD;150A DC CONTACTORS; | C/W FLEX LEAD;150A DC CONTACTORS; | CONTACT ASSY,ELEC: C/W FLEX LEAD;150A DC CONTACTORS; (SECURITY TYPES 810 AND 812) |  | CONTACT ASSY,ELEC:C/W FLEX LEAD;150A DC CONTACTORS; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4SEC4105320 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430143 | [8 empty] | CNW | 1430143 |  |  | LAWRENCE & HANSON PTY. LTD. | 4SEC4105320 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,C/W FLEX LEAD,FOR 150 A DC CONTACTORS, (SECURITY TYPES 810 AND 812) |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1087463 | 1087463 |  |  |  | ERSA | M | 1600 | 1572352GZPCLNT100 | EA | 3000422 | CONTACT,AUX;CNW,56SWAUX15,SWTCH,56 SERIE | CONECTOR AUXILR;CNW,56SWAUX15 | CONTACT,AUXILIARY;MNFR:CNW,PTNO:56SWAUX15,ADDITIONAL FEATURES EN:SWITCH,56 SERIES | CONECTOR AUXILIAR;MNFR:CNW,PTNO:56SWAUX15 |  | CNW | 56SWAUX15 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 56SWAUX15 | [10 empty] | CNW |  | CLIPSAL | 56SWAUX15 | [16 empty] | https://www.clipsal.com/products/detail?CatNo=56SWAUX15&itemno=56SWAUX15&tab-document-1=0 | [9 empty] | ENRICHED |  | SERIES:56 |  | SWITCH | NO MODIFIER | TYPE | AUXILLARY | VOLTAGE RATING | 250 VAC | CURRENT RATING | 15 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | SURFACE | TEMPERATURE RATING | -25 TO 75 DEG C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3133 | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 | Conflict in Description,Processed Based on Websource | 1117079 | 1117079 | 1436839 | AU_QM_000915597 |  | ERSA | M | 1600 | 1436839GZPCLNT100 | EA |  | CONTACT;ASSY, ELEC, 1NO 1NC, OPE,CNW | CONTACT;ASSY, ELEC, 1NO 1NC, OPE,CNW | CONTACT;ADDITIONAL FEATURES EN:ASSY, ELEC, 1NO 1NC, OPE,MNFR:01)CNW,PTNO:01)MOEAT111 |  | CONTACT ASSY,ELEC:1NO 1NC CONTACTS;OPEN UNIT;IP00; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 91000T111 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EATON | 91000T111 | [16 empty] | https://files.kempstoncontrols.com/files/f7687cefa3650a8e1d141744b5049c14/91000T111.pdf | [9 empty] | ENRICHED |  | ASSEMBLY |  | OPERATOR | SWITCH | TYPE | PUSHBUTTON | COLOUR | BLACK | SIZE | 37 MM | MATERIAL |  | NUMBER OF POSITIONS |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1088962 | 1088962 | 1387402 | AU_QM_000228529 |  | ERSA | M | 5955 | 1387402GZPCLNT100 | EA | 3000000 | CONTACT;ATL,9676531-01 | CONTACT;ATL,9676531-01 | CONTACT;MNFR:ATLAS COPCO,PTNO:9676531-01 |  | CONTACT;ATL,9676531-01CONTACT;ATL,9676531-01 | ATLAS COPCO | 9676531-01 | [12 empty] | ATLAS COPCO | 9676531-01 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1176128 | 1176128 | 1417144 | AU_QM_000262975 |  | ERSA | M | 5915 | 1417144GZPCLNT100 | EA |  | CONTAINER;CAMELBAK,1.2 L | CONTAINER;CAMELBAK,1.2 L | CONTAINER;TYPE:CAMELBAK,CAPACITY:1.2 L,MATERIAL:BODY STAINLESS STEEL 18/8, CAP PP, PE, SILICONE,ADDITIONAL FEATURES EN:MAG VACUUM IN |  | CONTAINER;CAMELBAK,1.2 LCONTAINER;CAMELBAK,1.2L,MAG VACUUM |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | BLA01343531 | [10 empty] | METAL MANUFACTURES PTY LTD |  | CAMELBAK | CB1516402001 | [12 empty] | BLACKWOODS | 01343531 |  |  | https://www.camelbak.com/shop/water-bottles/everyday/chute-mag-32-oz-water-bottle-insulated-stainless-steel/CB-1516402001.html?googleMerchant=1&yoReviewsPage=19 | https://www.blackwoods.com.au/hardware/food-drink-storage/camelbak-chute-bottle/camelbak-chute-mag-bottle-vacuum-insulated-stainless-steel-navy-1l/p/01343531 | [8 empty] | ENRICHED |  | CAP MATERIAL:BPA FREE PP |  | BOTTLE | NO MODIFIER | TYPE | CHUTE MAG VACUUM | CAPACITY | 1 L | MATERIAL | STAINLESS STEEL GRADE 18/8 | SIZE | 27.5X9.5X9.5 CM | LID TYPE | MAGNETIC | COLOUR | NAVY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1182843 | 1182843 |  |  |  | ERSA | M | 2620 | 1564352GZPCLNT100 | PAC |  | CONTACT;TIP,E-CU,1.2MM,M6 8MM,PK10 | CONTACTO; | CONTACT;ADDITIONAL FEATURES EN:TIP,E-CU,1.2MM,M6 8MM,PK10 | CONTACTO; |  |  |  | 1068135 @@ BOC LIMITED | BP140.0379 | [10 empty] | BOC LIMITED | BP140/E-Cu | BOC LIMITED | BP140.0379 | [16 empty] | https://www.boc.com.au/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/Essentials%20Guide%20AU%202019%20Web%20v2.pdf | [9 empty] | CLEANSED |  | THREAD SIZE:M6,PACKAGE QUANTITY:10 PACK |  | TIP | CONTACT | TYPE |  | WIRE SIZE | 1.2 MM | LENGTH | 8 MM | MATERIAL |  | CONNECTION TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1182844 | 1182844 |  |  |  | ERSA | M | 2620 | 1564351GZPCLNT100 | PAC |  | CONTACT;TIP HOLDER,MB24KD,PK2 | CONTACTO; | CONTACT;ADDITIONAL FEATURES EN:TIP HOLDER,MB24KD,PK2 | CONTACTO; |  |  |  | 1068135 @@ BOC LIMITED | BP142.0003 | [12 empty] | BOC LIMITED | BP142.0003 | [16 empty] | https://www.boc.com.au/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/Essentials%20Guide%20AU%202019%20Web%20v2.pdf | [9 empty] | CLEANSED |  | PACKAGE QUANTITY:2/PACK,FOR MB24KD |  | HOLDER | NO MODIFIER | TYPE | CONTACT TIP | SIZE | M6 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1187207 | 1187207 |  |  |  | ERSA | M | 4090 | 1544516GZPCLNT100 | EA |  | CONTAINER;BUNDED,POLY | CONTENEDOR; | CONTAINER;TYPE:BUNDED,MATERIAL:POLY,ADDITIONAL FEATURES EN:BULK PALLET,1X1000L IBC | CONTENEDOR; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CIBCB1-P | [12 empty] | CONTAIN IT SOLUTIONS | CIBCB1-P | [16 empty] | https://www.containit.com.au/product/poly-1-x-1000l-ibc-bund-pallets/ | [9 empty] | ENRICHED |  | STORE 1 X 1000 L IBC |  | CONTAINER | NO MODIFIER | TYPE | BUNDED | CAPACITY |  | MATERIAL | POLY | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1054316 | 1054316 |  |  |  | ERSA | M | 4090 | 1608340GZPCLNT100 | EA |  | CONTAINER;DOUBLE BULK,1150 L,PE,3250 KG | CONTENEDOR; | CONTAINER;TYPE:DOUBLE BULK,CAPACITY:1150 L,MATERIAL:POLYETHYLENE,OVERALL SIZE:3250 KG,ADDITIONAL FEATURES EN:BUND PALLET,WITH FIBREGLASS,GRATING,1)STORES 2 X 1000L IBCS,2)2550W X 1350D X 550MH,3)HEAVY DUTY CONSTRUCTION,4)SWL:3250KG EVENLY DISTRIBUTED,5) CAN BE MOVED WITH FORKLIÅŒ OR PALLET TRUCK WHEN EMPTY | CONTENEDOR; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CIBCB2-P | [12 empty] | CONTAIN IT SOLUTIONS | CIBCB2-P | [16 empty] | https://www.containit.com.au/product/poly-2-x-1000l-ibc-bund-pallet/ | [9 empty] | CLEANSED |  | BUND PALLET,C/W FIBREGLASS,GRATING,STORES 2 X 1000L IBCS,HEAVY DUTY CONSTRUCTION,SWL:3250 KG EVENLY DISTRIBUTED,CAN BE MOVED WITH FORKLIÅŒ OR PALLET TRUCK WHEN EMPTY |  | CONTAINER | NO MODIFIER | TYPE | DOUBLE BULK | CAPACITY | 1150 L | MATERIAL | POLYTHELENE | OVERALL SIZE | 2550 WDX550 HTX1350 DP MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1208922 | 1208922 |  |  |  | ERSA | M | 1600 | 133508MRM | EA |  | CONTACT,ELEC:ELEC CONT 57KW 95A FF DILM9 | CONTACT,ELEC:ELEC CONT 57KW 95A FF DILM9 | CONTACT,ELEC:ELEC CONT 57KW 95A FF DILM95 24VDC;BALLMILL CHILLER; | [36 empty] | URL NOT FOUND |  |  | BALL MILL CHILLER | [6 empty] | CLEANSED | 39121522 Electrical contacts | FOR 57 KW,95 A FF, DILM95 CONTACTOR |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING | 24 VDC | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1009975 | 1009975 |  |  |  | ERSA | M | 1650 | 1616530GZPCLNT100 | EA | 3000014 | CONTACT;ABB,HSBA331421P0004,FIXED(HPB45) | CONTACTO;ABB,HSBA331421P0004 | CONTACT;MNFR:ABB,PTNO:HSBA331421P0004,ADDITIONAL FEATURES EN:FIXED(HPB45),TO SUIT SECHERON DC BREAKER HPB45-81S,P49 | CONTACTO;MNFR:ABB,PTNO:HSBA331421P0004 |  | ABB | HSBA331421P0004 | 1068212 @@ ABB AUSTRALIA PTY LTD | HSBA331421P0004 | [10 empty] | ABB | HPB45 |  |  | ABB | HSBA331421P0004 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR SECHERON DC BREAKER HPB45-81S,P49 |  | CONTACT | ELECTRICAL | TYPE | FIZED | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1009972 | 1009972 |  |  |  | ERSA | M | 1650 | 1616527GZPCLNT100 | EA | 3000014 | CONTACT;ABB,HSBA432481P0002,MOVING 37X20 | CONTACTO;ABB,HSBA432481P0002 | CONTACT;MNFR:ABB,PTNO:HSBA432481P0002,ADDITIONAL FEATURES EN:MOVING 37X20X59.5 HPB-CUCRZN,TO SUIT SECHERON DC BREAKER HPB45-81S,P49 | CONTACTO;MNFR:ABB,PTNO:HSBA432481P0002 |  | ABB | HSBA432481P0002 | 1068212 @@ ABB AUSTRALIA PTY LTD | HSBA432481P0002 | [10 empty] | ABB | HSBA432481P0002 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | SIZE:37X20X59.5, HPB-CUCRZN,FOR SECHERON DC BREAKER HPB45-81S,P49 |  | CONTACT | MOVEABLE | TYPE |  | ELECTRICAL RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1009976 | 1009976 |  |  |  | ERSA | M | 1650 | 1616531GZPCLNT100 | EA | 3000014 | CONTACT,AUX;ABB,HSBT231020R0503,6A+6B SI | CONECTOR AUXILR;ABB,HSBT231020R0503 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:HSBT231020R0503,ADDITIONAL FEATURES EN:6A+6B SILVER TYPE,KIT,TO SUIT SECHERON DC BREAKER HPB45-81S, P49 | CONECTOR AUXILIAR;MNFR:ABB,PTNO:HSBT231020R0503 |  | ABB | HSBT231020R0503 | 1068212 @@ ABB AUSTRALIA PTY LTD | HSBT231020R0503 | [10 empty] | ABB | HSBT231020R0503 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | KIT,FOR SECHERON DC BREAKER HPB45-81S,P49 |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 6A 6B | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL | SILVER | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1009977 | 1009977 |  |  |  | ERSA | M | 1650 | 1616532GZPCLNT100 | EA | 3000014 | CONTACT,AUX;ABB,HSHR430302R00501,AG,KIT | CONECTOR AUXILR;ABB,HSHR430302R00501 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:HSHR430302R00501,ADDITIONAL FEATURES EN:SILVER,KIT,TO SUIT SECHERON DC BREAKER HPB45-81S,P49 | CONECTOR AUXILIAR;MNFR:ABB,PTNO:HSHR430302R00501 |  | ABB | HSHR430302R00501 | 1068212 @@ ABB AUSTRALIA PTY LTD | HSHR430302R00501 | [10 empty] | ABB | HSHR430302R00501 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | KIT,FOR SECHERON DC BREAKER HPB45-81S,P49 |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL | SILVER | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1173123 | 1173123 | 1443249 | AU_QM_000999854 |  | ERSA | M | 5100 | 1443249GZPCLNT100 | EA |  | CONTACT;ASSY, PILOT PIN, 150 A, RESTRAIN | CONTACT;ASSY, PILOT PIN, 150 A, RESTRAIN | CONTACT;ADDITIONAL FEATURES EN:ASSY, PILOT PIN, 150 A, RESTRAINED COUPLER RECEPTACLE 1100 V (AH114,SB),MNFR:01)CNW,PTNO:01)M-MF- 361 |  | CONTACT ASSY,ELEC:PILOT PIN, 150A |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | M-MF-361 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | M-MF-361 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY, FOR RESTRAINED COUPLER RECEPTACLE 150 A,1100 V (AH114,SB) |  | CONTACT | ELECTRICAL | TYPE | PILOT PIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 | Conflict in Description,Processed Based on Websource | 1113294 | 1113294 |  |  |  | ERSA | M | 1600 | 1572986GZPCLNT100 | EA | 3000422 | CONTACT;CNW,PHO2302366, VARIOFACE MODULE | CONTACTO;CNW,PHO2302366 | CONTACT;MNFR:CNW,PTNO:PHO2302366,ADDITIONAL FEATURES EN: VARIOFACE MODULE | CONTACTO;MNFR:CNW,PTNO:PHO2302366 |  | CNW | PHO2302366 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PHO2302366 | [10 empty] | CNW |  |  | PHO2302366 | [16 empty] | https://www.phoenixcontact.com/product/pdf/api/v1/MjMwMjM2Ng?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Capprovals%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories | [9 empty] | ENRICHED |  |  |  | MODULE | ELECTRONIC | TYPE | VARIOFACE | INPUT RATING | 250 VAC/VDC,32 A | OUTPUT RATING |  | CONNECTION TYPE | SPRING CAGE | SIZE | 67.5 WDX77 HTX51.5 DP MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60664-1,UL,CUL,EAC | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1212363 | 1212363 |  |  |  | ERSA | M | 1600 | 363286MRM | SET |  | CONTACT SET,CONTACTOR:FOR ABB CE1-158-1 | CONTACT SET,CONTACTOR:FOR ABB CE1-158-1 | CONTACT SET,CONTACTOR:FOR ABB CE1-158-1 FORR500-3 CONTACTOR;1 FIXED;1 MOVING; |  |  |  |  | 1079056 @@ CNW (NT) ELECTRICAL WHOLESALERS | PN1212363 | [10 empty] | CNW (NT) ELECTRICAL WHOLESALERS | PN1212363 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR ABB CE1-158-1,R500-3 CONTACTOR |  | SET | NO MODIFIER | TYPE | CONTACT | CONTENTS | 1 FIXED,1 MOVING CONTACT | NUMBER OF ITEMS | 2 | MATERIAL |  | SIZE RANGE | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1062785 | 1062785 | 1430014 | AU_QM_000633768 |  | ERSA | M | 1600 | 1430014GZPCLNT100 | EA |  | AUX;ASEA EG630 CONTACTOR; | AUX;ASEA EG630 CONTACTOR; | CONTACT ASSY,ELEC: AUX;ASEA EG630 CONTACTOR; |  | CONTACT ASSY,ELEC:AUX;ASEA EG630 CONTACTOR; |  |  | 1071976 @@ ABB INSTRUMENTATION | SK418038A+SK418038B | 1071820 @@ ABB AUSTRALIA SPARES | SK418038A+SK418038B | [10 empty] | ABB INSTRUMENTATION | SK418038A+SK418038B | [16 empty] | https://www.santaclarasystems.com/abb/sk418038-a | https://www.electrical.com/Products/Motor-Control-ABB-Asea-Brown-Boveri/SK418038-B | [8 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1063443 | 1063443 | 1467889 | AU_QM_007501540 |  | ERSA | M | 5100 | 1467889GZPCLNT100 | EA |  | CONTROL PANEL | CONTROL PANEL | CONTACT,ELEC: CONTROL PANEL |  | CONTACT,ELEC: CONTROL PANEL |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | SMF-1 | [10 empty] | OTIS ELEVATOR CO. PTY LTD | SMF-1 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR CONTROL PANEL |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1165698 | 1165698 | 1466744 | AU_QM_007126339 |  | ERSA | M | 1600 | 1466744GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,690 V,16 A,SNAP ON | CONTACT,AUX;1NO 1NC,690 V,16 A,SNAP ON | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,VOLTAGE RATING:690 V,CURRENT RATING:16 A,TERMINAL TYPE:SNAP ON,ADDITIONAL FEATURES EN:ASSY, STROMBERG,MNFR:01)CNW,PTNO:01)STROA1G01+OA1G10 |  | CONTACT ASSY,ELEC:1NO,1NC AUX.CONTACTS;STROMBERG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | STROA1G01+OA1G10 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | ABB STROMBERG | STROA1G01+OA1G10 | [16 empty] | https://library.e.abb.com/public/3ebff6596542452caf25a7319a33a8e5/1SCC390026M0018.pdf | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 690 VAC | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE | SNAP ON | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1144409 | 1144409 | 1438991 | AU_QM_000977033 |  | ERSA | M | 1600 | 1438991GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,SNAP ON,0) | CONTACT,AUX;1NO 1NC,SNAP ON,0) | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,TERMINAL TYPE:SNAP ON,ADDITIONAL FEATURES EN:ASSY, OT TYPE ROTARY LOAD-BREAK SWITCHES, MODEL,0),MNFR:01)CNW,PTNO:01)STROA2G11 |  | CONTACT ASSY,ELEC:AUX.CONTACTS;1NO,1NC;SNAP-ON MOUNT;OT |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | STROA2G11 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | STROA2G11 | ABB | OA2G11 | [16 empty] | https://new.abb.com/products/1SCA022379R8100/oa2g11?IN | [9 empty] | ENRICHED | 39121522 Electrical contacts | ASSEMBLY, FOR OT TYPE ROTARY LOAD-BREAK SWITCHES |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE | SNAP ON | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1069058 | 1069058 | 1428973 | AU_QM_000554584 |  | ERSA | M | 5100 | 1428973GZPCLNT100 | EA |  | CONTACT,AUX;DLY,1NO 1NC,10 A,FRONT | CONTACT,AUX;DLY,1NO 1NC,10 A,FRONT | CONTACT,AUXILIARY;TYPE:DELAY,CONTACT CONFIGURATION:1NO 1NC,CURRENT RATING:10 A,TERMINAL TYPE:CAPTIVE SCREW,MOUNTING TYPE:FRONT, ADDI |  | CONTACT,ELEC: AUX;1NO,1NC;FRONT MOUNT;TIMED; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | T-ELA3DR2 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1428973 | [8 empty] | LAWRENCE & HANSON PTY. LTD. |  | SCHENIDER INC | LA3DR2 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1428973 | [14 empty] | https://www.se.com/uk/en/product/download-pdf/LA3DR2 | [9 empty] | CLEANSED | 39121522 Electrical contacts |  | TIMING RANGE:1 TO 30 S | CONTACT | AUXILIARY | TYPE | DELAY | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE | CAPTIVE SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1138038 | 1138038 | 1350867 | AU_QM_000134925 |  | ERSA | M | 1600 | 1350867GZPCLNT100 | EA |  | AUX.CONTACT BLOCK;ELECTRIC EQUIPMENT;WIN | AUX.CONTACT BLOCK;ELECTRIC EQUIPMENT;WIN | CONTACT,ELEC: AUX.CONTACT BLOCK;ELECTRIC EQUIPMENT;WIN DER HEAD FRAME ACCESS;E761LF001 |  | CONTACT,ELEC: AUX.CONTACT BLOCK;ELECTRIC EQUIPMENT;WIN | [15 empty] | E761LF001 | [18 empty] | URL NOT FOUND |  |  | ELECTRIC EQUIPMENT,WIN DER HEAD FRAME ACCESS | [6 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1138904 | 1138904 | 1458510 | AU_QM_001803023 |  | ERSA | M | 1600 | 1458510GZPCLNT100 | EA |  | COLLECTOR SHOE;100A;SINTERED COPPER | COLLECTOR SHOE;100A;SINTERED COPPER | CONTACT,ELEC: COLLECTOR SHOE;100A;SINTERED COPPER GRAPHITE; FOR LONGER SKIRT-TYPE BAR (TO NSW SPEC) |  | CONTACT,ELEC: COLLECTOR SHOE;100A;SINTERED COPPER | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | CURRENT RATING:100 A,FOR LONGER SKIRT-TYPE BAR (TO NSW SPEC) |  | CONTACT | ELECTRICAL | TYPE | COLLECTOR SHOE | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL | SINTERED COPPER GRAPHITE | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1206454 | 1206454 |  |  |  | ERSA | M | 1600 | 333431MRM | EA |  | CONTACT ASSY,ELEC:8 N/O + 5 N/C;C.B. AUX | CONTACT ASSY,ELEC:8 N/O + 5 N/C;C.B. AUX | CONTACT ASSY,ELEC:8 N/O + 5 N/C;C.B. AUX CONTACTS;REFER ABB A3.942232.8.01B ITEM 34 Q1/Q15MCC251 | [16 empty] | ABB | A3.942232.8.01B |  |  | ABB | Q1/Q15MCC251 | [14 empty] | URL NOT FOUND |  | 34 | [7 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 8NO 5NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1207174 | 1207174 |  |  |  | ERSA | M | 1600 | 683226MRM | EA |  | CONTACT ASSY,ELEC:AUXILIARY SWITCH;630A/ | CONTACT ASSY,ELEC:AUXILIARY SWITCH;630A/ | CONTACT ASSY,ELEC:AUXILIARY SWITCH;630A/800A DCB MININGCIRCUIT BREAKER;L-FRAME;FIELD MOUNTABLE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR AUXILIARY SWITCH,630/800 A DCB MINING CIRCUIT BREAKER,L-FRAME,FIELD MOUNTABLE |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1210603 | 1210603 |  |  |  | ERSA | M | 5955 | 774350MRM | EA |  | CONTACT ASSY,ELEC:TC200 PUMP BOX LAMP & | CONTACT ASSY,ELEC:TC200 PUMP BOX LAMP & | CONTACT ASSY,ELEC:TC200 PUMP BOX LAMP <(>&<)> CONTACT;PUSHBUTTON BOX ASSY;FILL PUMP;ROBOLT H320 <(>&<)> CABOLT H520 BOLTERSH205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | FILL PUMP,ROBOLT & CABOLT BOLTER,POWER CLASS MINIMATIC JUMBO |  | TC200,H320,SH205D |  |  |  |  | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,PUMP BOX LAMP,PUSHBUTTON BOX |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1043345 | 1043345 | 1415631 | AU_QM_000261320 |  | ERSA | M | 5915 | 1415631GZPCLNT100 | EA |  | CONTACT,AUX;1NC,16 A | CONTACT,AUX;1NC,16 A | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NC,CURRENT RATING:16 A,ADDITIONAL FEATURES EN:OT16-125E, REQUIRED FOR ELEC WORKS IN CANDC A |  | CONTACT,AUX;1NC,16 ACONTACT,AUX;1NC,16A,OT16-125E; REQUIRED | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | FOR OT16-125E, REQUIRED FOR ELEC WORKS IN CANDC A |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NC | VOLTAGE RATING |  | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1175795 | 1175795 | 1466746 | AU_QM_007126344 |  | ERSA | M | 1600 | 1466746GZPCLNT100 | EA |  | CONTACT,AUX;1NO 1NC,10 A,ASSY | CONTACT,AUX;1NO 1NC,10 A,ASSY | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO 1NC,CURRENT RATING:10 A,ADDITIONAL FEATURES EN:ASSY,MNFR:01)CNW,PTNO:01) STROEZNP1+OBEA10+OBEA01 |  | CONTACT ASSY,ELEC:1NO,1NC AUX.CONTACTS; | [16 empty] | ABB | OEZNP1+OBEA10+OBEA01 | [16 empty] | https://docs.rs-online.com/1709/0900766b8053c0db.pdf | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING | 10 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1118057 | 1118057 | 1436410 | AU_QM_000849638 |  | ERSA | M | 1600 | 1436410GZPCLNT100 | EA |  | CONTACT,AUX;1NO,ASSY | CONTACT,AUX;1NO,ASSY | CONTACT,AUXILIARY;CONTACT CONFIGURATION:1NO,ADDITIONAL FEATURES EN:ASSY,MNFR:01)CNW,PTNO:01)STROBEA10 |  | CONTACT ASSY,ELEC:AUX;1 NO;OT160E/125A SWITCHES; | [14 empty] | CNW | STROBEA10 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1206455 | 1206455 |  |  |  | ERSA | M | 1600 | 333436MRM | EA |  | CONTACT,ELEC:1 N/C;OPEN DURING C.B. ISOL | CONTACT,ELEC:1 N/C;OPEN DURING C.B. ISOL | CONTACT,ELEC:1 N/C;OPEN DURING C.B. ISOLATING TRAVELREFER ABB A3.942232.8.01B ITEM 34 S75CMCC251 | [16 empty] | ABB | A3.942232.8.01B |  |  | ABB | S75CMCC251 | [14 empty] | URL NOT FOUND |  | 34 | [7 empty] | CLEANSED | 39121522 Electrical contacts | CONTACT ARRANGEMENT:1NC,OPEN DURING C.B. ISOLATING TRAVEL |  | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1111940 | 1111940 | 1420849 | AU_QM_000267034 |  | ERSA | M | 5915 | 1420849GZPCLNT100 | EA |  | CONTACT;1P.BM00504 | CONTACT;1P.BM00504 | CONTACT;MNFR: ,PTNO:1P.BM00504 |  | CONTACT;1P.BM00504CONTACT;1P.BM00504 | [15 empty] | 1P.BM00504 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED |  |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1110358 | 1110358 | 1412922 | AU_QM_000258410 |  | ERSA | M | 5915 | 1412922GZPCLNT100 | EA |  | CONTACT;4C.120305 | CONTACT;4C.120305 | CONTACT;MNFR: ,PTNO:4C.120305 |  | CONTACT;4C.120305CONTACT;4C.120305 | [15 empty] | 4C.120305 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts |  |  | CONTACT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1062908 | 1062908 | 1349603 | AU_QM_000131295 |  | ERSA | M | 1600 | 1349603GZPCLNT100 | EA |  | CONTACT;AUXILIARY;SIEMENS;;3RT10361AP00 | CONTACT;AUXILIARY;SIEMENS;;3RT10361AP00 | CONTACT ASSY,ELEC: CONTACT;AUXILIARY;SIEMENS;;3RT10361AP00 CONTACTOR; |  | CONTACT ASSY,ELEC:CONTACT;AUXILIARY;SIEMENS;;3RT10361AP00 | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121522 Electrical contacts | ASSEMBLY,FOR 3RT10361AP00 CONTACTOR |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1110258 | 1110258 | 1413730 | AU_QM_000259252 |  | ERSA | M | 5915 | 1413730GZPCLNT100 | EA |  | CONTACT;BEQ8210 | CONTACT;BEQ8210 | CONTACT;MNFR: ,PTNO:BEQ8210 |  | CONTACT;BEQ8210CONTACT;BEQ8210 | [16 empty] | DIECI | BEQ8210 | [16 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BEQ8210 | [9 empty] | CLEANSED |  |  |  | CONTACT | NO MODIFIER | TYPE | FEMALE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1138325 | 1138325 | 1401434 | AU_QM_000245954 |  | ERSA | M | 5915 | 1401434GZPCLNT100 | EA |  | CONTACT;SC4-22Z | CONTACT;SC4-22Z | CONTACT;MNFR: ,PTNO:SC4-22Z |  | CONTACT;SC4-22ZCONTACT;SC4-22Z | [16 empty] | EATON | SC4-22Z | [16 empty] | https://aeliyamarinetech.com/product/eaton-22-dil-em-auxiliary-contact-block | [9 empty] | ENRICHED | 39121522 Electrical contacts |  |  | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING | 600 VAC,250 VDC | CURRENT RATING | 10 A,0.5 A | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-5-1 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-10-19 | 2023-10-25 |  | 1110801 | 1110801 | 1442267 | AU_QM_000995290 |  | ERSA | M | 1600 | 1442267GZPCLNT100 | EA |  | E22 MOUNT.ADAPTER C/W 1NO,1NC CONTACTS; | E22 MOUNT.ADAPTER C/W 1NO,1NC CONTACTS; | CONTACT ASSY,ELEC: E22 MOUNT.ADAPTER C/W 1NO,1NC CONTACTS; E22 22.5MM H/DUTY PUSHBUTTONS; (NB:ASSY COMPRISING E22BA1 ADAPTER PLUS E2 |  | CONTACT ASSY,ELEC:E22 MOUNT.ADAPTER C/W 1NO,1NC CONTACTS; | [16 empty] | EATON | E22BA1 | [16 empty] | https://us.rs-online.com/product/eaton-cutler-hammer/e22ba1/70058205/ | [9 empty] | ENRICHED | 39121522 Electrical contacts | ASSEMBLY, E22 SERIES,C/W 1NO 1NC CONTACTS, 22.5 MM HEAVY DUTY PUSHBUTTONS, (NB:ASSY COMPRISING ADAPTER PLUS E2) |  | CONTACT | ELECTRICAL | TYPE | NON-METALLIC HEAVY DUTY MOUNT ADAPTER | VOLTAGE RATING |  | SIZE | 5 LGX1-1/2 HT IN | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD | IEC 947-5-1 MTTA,CSA,UL 508 | [58 empty] | Production Completed