## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1140286 | 1140286 | 1445451 | AU_QM_001010238 |  | ERSA | M | 4900 | 1445451GZPCLNT100 | EA |  | ADAPTER - LIFTING JACK TO ANODE FURNACE | ADAPTER - LIFTING JACK TO ANODE FURNACE | ADAPTER: ADAPTER - LIFTING JACK TO ANODE FURNACE RIDING RING |  | ADAPTER:ADAPTER - LIFTING JACK TO ANODE FURNACE | [34 empty] | URL Not Found |  |  | LIFTING JACK TO ANODE FURNACE | [6 empty] | Cleansed | 40141700 Hardware and fittings | RIDING RING |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1112010 | 1112010 | 1418994 | AU_QM_000265001 |  | ERSA | M | 5915 | 1418994GZPCLNT100 | EA |  | ADAPTER,TL;PRICE AS PER QUOTE 280609982 | ADAPTER,TL;PRICE AS PER QUOTE 280609982 | ADAPTER,TL;MNFR: ,PTNO:PRICE AS PER QUOTE 280609982 |  | ADAPTER,TL;PRICE AS PER QUOTE 280609982ADAPTER,TL;PRICE AS PER QUOTE #280609982 | [15 empty] | 280609982 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | TL |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1214185 | 1214185 |  |  |  | ERSA | M | 5920 | 137847MRM | EA |  | ADAPTER:ADAPTER (HYDRAULIC);DPI1500; | ADAPTER:ADAPTER (HYDRAULIC);DPI1500; | ADAPTER:ADAPTER (HYDRAULIC);DPI1500; | [36 empty] | URL Not Found |  |  |  |  | DPI1500 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | HYDRAULIC | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1211036 | 1211036 |  |  |  | ERSA | M | 3300 | 135604MRM | EA |  | ADAPTER:ADAPTER; PENETRATOR;PC5500;BRAD | ADAPTER:ADAPTER; PENETRATOR;PC5500;BRAD | ADAPTER:ADAPTER; PENETRATOR;PC5500;BRADKEN TYPE; | [36 empty] | URL Not Found |  |  | PENETRATOR | BRADKEN | PC5500 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1215555 | 1215555 |  |  |  | ERSA | M | 5920 | 138528MRM | EA |  | ADAPTER:ADAPTER;32MM-25MM REDUCER; | ADAPTER:ADAPTER;32MM-25MM REDUCER; | ADAPTER:ADAPTER;32MM-25MM REDUCER; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | REDUCER | NO MODIFIER | TYPE |  | NOMINAL SIZE | 32X25 MM | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1215554 | 1215554 |  |  |  | ERSA | M | 5920 | 138527MRM | EA |  | ADAPTER:ADAPTER;MALE;MALE;32MM; | ADAPTER:ADAPTER;MALE;MALE;32MM; | ADAPTER:ADAPTER;MALE;MALE;32MM; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | MALE | SIZE | 32 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1207312 | 1207312 |  |  |  | ERSA | M | 2200 | 132740MRM | EA |  | ADAPTER:ADAPTER;PRESSURE SENSOR SET;C160 | ADAPTER:ADAPTER;PRESSURE SENSOR SET;C160 | ADAPTER:ADAPTER;PRESSURE SENSOR SET;C160 JAW CRUSHER; | [36 empty] | URL Not Found |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 40141700 Hardware and fittings | C/W PRESSURE SENSOR SET |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1206751 | 1206751 |  |  |  | ERSA | M | 2920 | 1045194MRM | EA |  | ADAPTER:HELMET FACE SHIELD ADAPTER;FACE | ADAPTER:HELMET FACE SHIELD ADAPTER;FACE | ADAPTER:HELMET FACE SHIELD ADAPTER;FACE SHIELD TO HARD HAT; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 46181706 Helmet parts or accessories |  |  | ADAPTER | NO MODIFIER | TYPE | HELMET FACE SHIELD,FACE SHIELD TO HARD HAT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1208396 | 1208396 |  |  |  | ERSA | M | 5920 | 133203MRM | EA |  | ADAPTER:MOTOR ADAPTOR;VIBRATING GRIZZLY | ADAPTER:MOTOR ADAPTOR;VIBRATING GRIZZLY | ADAPTER:MOTOR ADAPTOR;VIBRATING GRIZZLY FEEDER; | [36 empty] | URL Not Found |  |  | VIBRATING GRIZZLY FEEDER | [6 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | MOTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1213653 | 1213653 |  |  |  | ERSA | M | 3300 | 171089MRM | EA |  | ADAPTER:N5 WELD ON NOSE; N5; CAST ALLOY; | ADAPTER:N5 WELD ON NOSE; N5; CAST ALLOY; | ADAPTER:N5 WELD ON NOSE; N5; CAST ALLOY; GREEN | [36 empty] | URL Not Found | [9 empty] | Cleansed | 23271700 Welding and soldering and brazing accessories | COLOR:GREEN |  | ADAPTER | NO MODIFIER | TYPE | N5 WELD-ON NOSE | SIZE |  | MATERIAL | CAST ALLOY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1211526 | 1211526 |  |  |  | ERSA | M | 2200 | 775010MRM | EA |  | ADAPTER:PLUTON 17/30 BOOM NIPPLE/GAUGE A | ADAPTER:PLUTON 17/30 BOOM NIPPLE/GAUGE A | ADAPTER:PLUTON 17/30 BOOM NIPPLE/GAUGE ADAPTER;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL Not Found |  |  | ROCK BOLTER | SECOMA | PLUTON 17/30 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | BOOM NIPPLE/GAUGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1211747 | 1211747 |  |  |  | ERSA | M | 3300 | 1219468MRM | EA |  | ADAPTER:POSILOK PLUS ADAPTER;EX3600 | ADAPTER:POSILOK PLUS ADAPTER;EX3600 | ADAPTER:POSILOK PLUS ADAPTER;EX3600 | [36 empty] | URL Not Found |  |  |  | POSILOK PLUS | EX3600 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1213850 | 1213850 |  |  |  | ERSA | M | 5920 | 137827MRM | EA |  | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | [36 empty] | URL Not Found |  |  |  |  | DPI1500 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | STRAIGHT THREADED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1213851 | 1213851 |  |  |  | ERSA | M | 5920 | 137829MRM | EA |  | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | ADAPTER:STRAIGHT THREAD ADAPTER;DPI1500; | [36 empty] | URL Not Found |  |  |  |  | DPI1500 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | STRAIGHT THREADED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1210236 | 1210236 |  |  |  | ERSA | M | 5955 | 773960MRM | EA |  | ADAPTER:TF500-14 COVER-IDLER BRACKET ADA | ADAPTER:TF500-14 COVER-IDLER BRACKET ADA | ADAPTER:TF500-14 COVER-IDLER BRACKET ADAPTER;FEED CYLINDER ASSY;H205D POWER CLASS MINIMATIC JUMBO | [17 empty] | TF500-14 | [18 empty] | URL Not Found |  |  | POWER CLASS MINIMATIC JUMBO |  | H205D |  |  |  |  | Cleansed | 40141700 Hardware and fittings | FEED CYLINDER ASSEMBLY |  | ADAPTER | NO MODIFIER | TYPE | COVER-IDLER BRACKET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1073809 | 1073809 |  |  |  | ERSA | M | 3730 | 1093494GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,2353595,STRGT | ADAPTADOR;CAT,2353595,DERECHO | ADAPTER;MNFR:CATERPILLAR,PTNO:2353595,ADDITIONAL FEATURES EN:STRAIGHT | ADAPTADOR;MNFR:CATERPILLAR,PTNO:2353595,CARACTERISTICAS ADICIONALES ES:DERECHO |  | CATERPILLAR | 2353595 | [14 empty] | CATERPILLAR | 235-3595 | [16 empty] | https://parts.cat.com/en/catcorp/235-3595 | [9 empty] | Enriched | 40183109 Tube adapter |  |  | ADAPTER | TUBE | TYPE | HEX HEAD,STRAIGHT | NOMINAL SIZE | 7/16 IN-20 TPI X 3/4 IN-16 TPI | END CONNECTION | MALE STOR | LENGTH | 38.6 MM | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1074795 | 1074795 |  |  |  | ERSA | M | 3730 | 1094842GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,2480409,FAN | ADAPTADOR;CAT,2480409,VENTILADOR | ADAPTER;MNFR:CATERPILLAR,PTNO:2480409,ADDITIONAL FEATURES EN:FAN | ADAPTADOR;MNFR:CATERPILLAR,PTNO:2480409,CARACTERISTICAS ADICIONALES ES:VENTILADOR |  | CATERPILLAR | 2480409 | [14 empty] | CATERPILLAR | 248-0409 | [16 empty] | https://parts.cat.com/en/catcorp/248-0409 | [9 empty] | Enriched | 40141700 Hardware and fittings |  | THREAD SIZE:M10 | ADAPTER | NO MODIFIER | TYPE | FAN,TAPERED | SIZE | 121 ODX36 LG MM | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1071726 | 1071726 |  |  |  | ERSA | M | 3730 | 1306714GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,2544957 | ADAPTADOR;CAT,2544957 | ADAPTER;MNFR:CATERPILLAR,PTNO:2544957 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:2544957 |  | CATERPILLAR | 2544957 | [14 empty] | CATERPILLAR | 254-4957 | [16 empty] | https://parts.cat.com/en/catcorp/254-4957 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1074702 | 1074702 |  |  |  | ERSA | M | 3730 | 1101074GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,3068127,FUEL,CAP | ADAPTADOR;CAT,3068127,COMBUSTIBLE,TAPON | ADAPTER;MNFR:CATERPILLAR,PTNO:3068127,ADDITIONAL FEATURES EN:FUEL,CAP | ADAPTADOR;MNFR:CATERPILLAR,PTNO:3068127,CARACTERISTICAS ADICIONALES ES:COMBUSTIBLE,TAPON |  | CATERPILLAR | 3068127 | [14 empty] | CATERPILLAR | 306-8127 | [16 empty] | https://parts.cat.com/en/catcorp/306-8127 | [9 empty] | Enriched | 40141700 Hardware and fittings |  | THREAD:4 TO 5 BUTTRESS | ADAPTER | NO MODIFIER | TYPE | FUEL CAP | SIZE | 123 ODX59 LG MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1030261 | 1030261 |  |  |  | ERSA | M | 5955 | 1392181GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,309-2370 | ADAPTER;CAT,309-2370 | ADAPTER;MNFR:CATERPILLAR,PTNO:309-2370 |  |  | CATERPILLAR | 309-2370 | [14 empty] | CATERPILLAR | 309-2370 | [16 empty] | https://parts.cat.com/en/catcorp/309-2370 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1071665 | 1071665 |  |  |  | ERSA | M | 3730 | 1309842GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,6G4680 | ADAPTADOR;CAT,6G4680 | ADAPTER;MNFR:CATERPILLAR,PTNO:6G4680 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:6G4680 |  | CATERPILLAR | 6G4680 | [14 empty] | CATERPILLAR | 6G-4680 | [16 empty] | https://parts.cat.com/en/catcorp/6G-4680 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1074169 | 1074169 |  |  |  | ERSA | M | 3730 | 1139988GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,6V1722,O-RNG | ADAPTADOR;CAT,6V1722,ANILLO-O | ADAPTER;MNFR:CATERPILLAR,PTNO:6V1722,ADDITIONAL FEATURES EN:O-RING | ADAPTADOR;MNFR:CATERPILLAR,PTNO:6V1722,CARACTERISTICAS ADICIONALES ES:ANILLO O |  | CATERPILLAR | 6V1722 | [14 empty] | CATERPILLAR | 6V-1722 | [16 empty] | https://parts.cat.com/en/catcorp/6V-1722 | [9 empty] | Enriched | 40141700 Hardware and fittings | C/W O-RING |  | ADAPTER | NO MODIFIER | TYPE | HEX HEAD,FLUID CARRYING STRAIGHT | SIZE | 1-1/16 IN-12 TPI | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1071576 | 1071576 |  |  |  | ERSA | M | 3730 | 1310935GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,9J3866 | ADAPTADOR;CAT,9J3866 | ADAPTER;MNFR:CATERPILLAR,PTNO:9J3866 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:9J3866 |  | CATERPILLAR | 9J3866 | [14 empty] | CATERPILLAR | 9J-3866 | [16 empty] | https://parts.cat.com/en/catcorp/9J-3866 | [9 empty] | Enriched | 40141700 Hardware and fittings |  | THREAD SIZE:9/16 IN-18 TPI | ADAPTER | NO MODIFIER | TYPE | STEERING LINE | SIZE | 74.726 LGX62.738 WDX31.75 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1074286 | 1074286 |  |  |  | ERSA | M | 3730 | 1116104GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,9N4155 | ADAPTADOR;CAT,9N4155 | ADAPTER;MNFR:CATERPILLAR,PTNO:9N4155 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:9N4155 |  | CATERPILLAR | 9N4155 | [14 empty] | CATERPILLAR | 9N-4155 | [16 empty] | https://parts.cat.com/en/catcorp/9N-4155 | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | OIL PUMP | SIZE | 30 IDX38.15 ODX14 LG MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1185563 | 1185563 |  |  |  | ERSA | M | 3720 | 1556017GZPCLNT100 | EA | 3000461 | ADAPTER;DRVT,1JS43-4-4,STRGT,PIPE TO HOS | ADAPTADOR;DRVT,1JS43-4-4 | ADAPTER;MNFR:DRIVETRAIN,PTNO:1JS43-4-4,ADDITIONAL FEATURES EN:STRAIGHT,PIPE TO HOSE: 9/16-18 FEMALE,ORS,HOSE SIZE - 04,FEMALE ORS | ADAPTADOR;MNFR:DRIVETRAIN,PTNO:1JS43-4-4 |  | DRIVETRAIN | 1JS43-4-4 | [12 empty] | DRIVETRAIN |  | PARKER HANNIFIN | 1JS43-4-4 | [16 empty] | https://portal.westwardparts.com/documents/20151/0/1JS43.pdf | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE | 9/16 IN-18 TPI | HOSE SIZE | 1/4 IN | PIPE CONNECTION | FEMALE O-RING SEAL | HOSE CONNECTION | FEMALE O-RING SEAL | LENGTH | 53 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147626 | 1147626 |  |  |  | ERSA | M | 4090 | 1506110GZPCLNT100 | EA |  | ADAPTER;FERRULE,COMPR,TUBE,COMPJ25 | ADAPTER;FERRULE,COMPR,TUBE,COMPJ25 | ADAPTER;ADDITIONAL FEATURES:FERRULE,COMPR,TUBE,COMPJ25 | [17 empty] | COMPJ25 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40183109 Tube adapter |  |  | ADAPTER | TUBE | TYPE | FERRULE | NOMINAL SIZE |  | END CONNECTION | COMPRESSION | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1065649 | 1065649 | 1472020 | AU_QM_009409405 |  | ERSA | M | 5810 | 1472020GZPCLNT100 | EA |  | COAL MILL BALANCE WEIGH ROD; | COAL MILL BALANCE WEIGH ROD; | ADAPTER: COAL MILL BALANCE WEIGH ROD; BABCOCK E-TYPE COAL MILL |  | ADAPTER:COAL MILL BALANCE WEIGH ROD; | [34 empty] | URL Not Found |  |  | E-TYPE COAL MILL BALANCE WEIGH ROD | BABCOCK | [5 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1107948 | 1107948 | 1468872 | AU_QM_007878095 |  | ERSA | M | 3000 | 1468872GZPCLNT100 | EA |  | DRUM BUNG TO PUMP | DRUM BUNG TO PUMP | ADAPTER,FUEL DRUM; DRUM BUNG TO PUMP FOR 50MM OD TUBE TO 2-"BSPP |  | ADAPTER,FUEL DRUM;DRUM BUNG TO PUMP | [34 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR 50 MM OD TUBE TO 2 IN BSPP |  | ADAPTER | NO MODIFIER | TYPE | FUEL DRUM BUNG TO PUMP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1011833 | 1011833 |  |  |  | ERSA | M | 3730 | 1614171GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,2011234 | ADAPTADOR;CAT,2011234 | ADAPTER;MNFR:CATERPILLAR,PTNO:2011234 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:2011234 |  | CATERPILLAR | 2011234 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 201-1234 | [12 empty] | CATERPILLAR | 201-1234 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/201-1234 | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | TWO STRAP DIAGONAL PIN,WELD-ON | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1017112 | 1017112 |  |  |  | ERSA | M | 1550 | 1033201GZPCLNT100 | EA | 3000348 | ADAPTER,BRG;SKF,H322,TAPERED SLEEVE | ADAPTADOR RDMTO;SKF,H322,MANGA CONICA | ADAPTER,BEARING;MNFR:SKF,PTNO:H322,TYPE:TAPERED SLEEVE,SHAFT DIAMETER:100 MM,LENGTH:77 MM,MATERIAL:STEEL,THREAD SIZE:M110 X 2 MM PITCH,LOCKNUT OD:145 MM | ADAPTADOR RODAMIENTO;MNFR:SKF,PTNO:H322,TIPO:MANGA CONICA,DIAMETRO EJE:100 MM,LONGITUD:77 MM,MATERIAL:ACERO,TAMAÃ‘O LA ROSCA:M110 X 2 MM INCLINACION,D.E. CONTRATUERCA:145 MM |  | SKF | H322 | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | H322 | [12 empty] | SKF | H322 | [12 empty] | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.skf.com/id/products/rolling-bearings/accessories/adapter-sleeves/productid-H%20322 | [9 empty] | Enriched | 31163218 Bearing adapter sleeve |  | TAPER:1:12,C/W LOCK NUT & LOCK WASHER | ADAPTER | BEARING | TYPE | TAPERED SLEEVE | SHAFT DIAMETER | 100 MM | LENGTH | 77 MM | MATERIAL | STEEL | THREAD SIZE | M110X2 MM | LOCKNUT OD | 145 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1017119 | 1017119 |  |  |  | ERSA | M | 5620 | 1193714GZPCLNT100 | EA | 3000348 | ADAPTER,BRG;SKF,H310,TAPERED SLEEVE | ADAPTADOR RDMTO;SKF,H310,MANGA CONICA | ADAPTER,BEARING;MNFR:SKF,PTNO:H310,TYPE:TAPERED SLEEVE,SHAFT DIAMETER:45 MM,LENGTH:42 MM,MATERIAL:STEEL,THREAD SIZE:M50 X 1.5 MM, LOCKNUT OD:70 MM | ADAPTADOR RODAMIENTO;MNFR:SKF,PTNO:H310,TIPO:MANGA CONICA,DIAMETRO EJE:45 MM,LONGITUD:42 MM,MATERIAL:ACERO,TAMAÃ‘O LA ROSCA:M50 X 1.5 MM,D.E. CONTRATUERCA:70 MM |  | SKF | H310 | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | H310 | [12 empty] | SKF | H310 | [12 empty] | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.skf.com/id/products/rolling-bearings/accessories/adapter-sleeves/productid-H%20310 | [9 empty] | Enriched | 31163218 Bearing adapter sleeve |  | TAPER:1:12,C/W LOCK NUT & LOCK WASHER | ADAPTER | BEARING | TYPE | TAPERED SLEEVE | SHAFT DIAMETER | 45 MM | LENGTH | 42 MM | MATERIAL | STEEL | THREAD SIZE | M50X1.5 MM | LOCKNUT OD | 70 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1035817 | 1035817 |  |  |  | ERSA | M | 4075 | 1534778GZPCLNT100 | PAC |  | ADAPTER;CYL WASHER PKT2,2712237 | ADAPTER;CYL WASHER PKT2,2712237 | ADAPTER;ADDITIONAL FEATURES:CYL WASHER PKT2,2712237 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2712237 | [12 empty] | REECE PTY LTD | 2712237 | [16 empty] | https://www.reece.com.au/product/acpar-cylinder-adapter-washer-packet-2-2712237?query=2712237 | [9 empty] | Cleansed | 31161800 Washers | PACKAGE QUANTITY:2/PK |  | WASHER | NO MODIFIER | TYPE | CYLINDER ADAPTER | NOMINAL SIZE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1048891 | 1048891 |  |  |  | ERSA | M | 4010 | 1572621GZPCLNT100 | EA |  | ADAPTER,WRNCH SCKT;IMPACT,1/2IN DVE,1/2I | ADAPTADOR LLAVE; | ADAPTER,WRENCH SOCKET;ADDITIONAL FEATURES EN:IMPACT,1/2IN DVE,1/2IN F X 3/4IN M | ADAPTADOR LLAVE; |  |  |  | 1068502 @@ ATOM SUPPLY | 1723028 | [26 empty] | ATOM SUPPLY | 1723028 |  |  | https://www.atom.com.au/impact-socket-adaptor-1-2-drive-1-2-f-x-3-4-m-1723028 | [9 empty] | Enriched | 27111700 Wrenches and drivers |  |  | ADAPTER | WRENCH SOCKET | TYPE | IMPACT | DRIVE SIZE | 1/2 IN | WRENCH SIZE | 3/4 IN | DRIVE STYLE | FEMALE | WRENCH STYLE | MALE | MATERIAL |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1048893 | 1048893 |  |  |  | ERSA | M | 4010 | 1572623GZPCLNT100 | EA |  | ADAPTER,WRNCH SCKT;IMPACT,BALL,3/4IN DVE | ADAPTADOR LLAVE; | ADAPTER,WRENCH SOCKET;ADDITIONAL FEATURES EN:IMPACT,BALL,3/4IN DVE,3/4IN F X 1/2IN M | ADAPTADOR LLAVE; |  |  |  | 1068502 @@ ATOM SUPPLY | 76250520 | [26 empty] | ATOM SUPPLY | 76250520 |  |  | https://www.atom.com.au/impact-socket-adaptor-1-2-drive-1-2-f-x-3-4-m-1723028 | [9 empty] | Enriched | 27111700 Wrenches and drivers |  |  | ADAPTER | WRENCH SOCKET | TYPE | IMPACT,BALL | DRIVE SIZE | 1/2 IN | WRENCH SIZE | 3/4 IN | DRIVE STYLE | FEMALE | WRENCH STYLE | MALE | MATERIAL |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1053396 | 1053396 |  |  |  | ERSA | M | 4075 | 1582867GZPCLNT100 | EA |  | ADAPTER;FLNG,100MM,GAL,R/GROOVE T/E | ADAPTADOR; | ADAPTER;TYPE:FLANGE,SIZE:100MM,MATERIAL:GAL,ADDITIONAL FEATURES EN:R/GROOVE T/E | ADAPTADOR; |  |  |  | 1068155 @@ REECE PTY LTD | 1007146 | [12 empty] | REECE PTY LTD | 1007146 | [16 empty] | https://www.reece.com.au/product/roll-groove-table-e-flange-adaptor-1007146?query=1007146 | [9 empty] | Enriched | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | ROLL GROOVE | NOMINAL SIZE | 100 MM | END CONNECTION | TABLE E FLANGE | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | GALVANIZED | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1057451 | 1057451 |  |  |  | ERSA | M | 2200 | 1604646GZPCLNT100 | EA |  | ADAPTER,CONDT;PLASSON,63 X 50 MM,FEM | ADAPTADOR CONDUCT; | ADAPTER,CONDUIT;TYPE:PLASSON,SIZE:63 X 50 MM,END CONNECTION:FEMALE,MATERIAL:POLYPROPYLENE,CERTIFICATION/STANDARD:ISO 14236 | ADAPTADOR CONDUCTO; |  |  |  | 1068155 @@ REECE PTY LTD | 1505650 | [12 empty] | REECE PTY LTD | 1505650 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-63mm-od-x-50mm-1505650?query=1505650 | [9 empty] | Enriched | 40171700 Pipe adapters | BRAND:PLASSON |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 63X50 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1059446 | 1059446 |  |  |  | ERSA | M | 2210 | 1614043GZPCLNT100 | EA |  | ADAPTER;PLASSON,32 X 20 MM,PP,M | ADAPTADOR; | ADAPTER;TYPE:PLASSON,SIZE:32 X 20 MM,MATERIAL:POLYPROPYLENE,ADDITIONAL FEATURES EN:MALE,ADAPT NO.7020 | ADAPTADOR; |  |  |  | 1068155 @@ REECE PTY LTD | 1504635 | [12 empty] | REECE PTY LTD | 1504635 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-32mm-od-x-20mm-male-1504635 | [9 empty] | Enriched | 40171700 Pipe adapters | BRAND:PLASSON |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 32X18 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1059447 | 1059447 |  |  |  | ERSA | M | 2210 | 1614044GZPCLNT100 | EA |  | ADAPTER;PLASSON,32MM X 25MM,PP,FEM | ADAPTADOR; | ADAPTER;TYPE:PLASSON,SIZE:32MM X 25MM,MATERIAL:POLYPROPYLENE,ADDITIONAL FEATURES EN:FEMALE,ADAPT NO.7030 | ADAPTADOR; |  |  |  | 1068155 @@ REECE PTY LTD | 1505630 | [12 empty] | REECE PTY LTD | 1505630 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-32mm-od-x-25mm-1505630?query=1505630 | [9 empty] | Enriched | 40171700 Pipe adapters | BRAND:PLASSON |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 32X25 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1070687 | 1070687 |  |  |  | ERSA | M | 1600 | 1537359GZPCLNT100 | EA |  | ADAPTER;KIT PARALLEL,YURIKA,2449395 | ADAPTER;KIT PARALLEL,YURIKA,2449395 | ADAPTER;ADDITIONAL FEATURES:KIT PARALLEL,YURIKA,2449395 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2449395 | [10 empty] | YURIKA PTY LTD | 2449395 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | KIT |  | ADAPTER | NO MODIFIER | TYPE | PARALLEL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1072804 | 1072804 |  |  |  | ERSA | M | 3730 | 1616575GZPCLNT100 | EA | 3000003 | ADAPTER;CAT,6T0470 | ADAPTADOR;CAT,6T0470 | ADAPTER;MNFR:CATERPILLAR,PTNO:6T0470 | ADAPTADOR;MNFR:CATERPILLAR,PTNO:6T0470 |  | CATERPILLAR | 6T0470 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 6T0470 | [12 empty] | CATERPILLAR | 6T-0470 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/6T-0470 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1108095 | 1108095 | 1357475 | AU_QM_000151018 |  | ERSA | M | 5910 | 1357475GZPCLNT100 | EA |  | ADAPTOR;FEMALE,THD,1 1/2 IN | ADAPTOR;FEMALE,THD,1 1/2 IN | ADAPTER,STRAIGHT,PIPE TO HOSE: 1Â½IN BSP FEMALE THREADED ADAPTOR; |  | ADAPTER,STRAIGHT,PIPE TO HOSE:1½IN BSP FEMALE THREADED ADAPTOR; |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | FP57900141HXH6B | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | FP57900141HXH6B | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE | 1-1/2 IN | HOSE SIZE |  | PIPE CONNECTION | FEMALE BSPT | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1108096 | 1108096 | 1357473 | AU_QM_000151016 |  | ERSA | M | 5910 | 1357473GZPCLNT100 | EA |  | ADAPTOR;FEMALE,THD,3/4 IN | ADAPTOR;FEMALE,THD,3/4 IN | ADAPTER,STRAIGHT,PIPE TO HOSE: Â¾IN BSP FEMALE THREADED ADAPTOR; |  | ADAPTER,STRAIGHT,PIPE TO HOSE:¾IN BSP FEMALE THREADED ADAPTOR; |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | FP57900060TXH6B | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | FP57900060TXH6B | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE | 3/4 IN | HOSE SIZE |  | PIPE CONNECTION | FEMALE BSPT | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1139141 | 1139141 | 1357472 | AU_QM_000151015 |  | ERSA | M | 5910 | 1357472GZPCLNT100 | EA |  | ADAPTOR;FEMALE,THD,1/2 IN | ADAPTOR;FEMALE,THD,1/2 IN | ADAPTER,STRAIGHT,PIPE TO HOSE: Â½IN BSP FEMALE THREADED ADAPTOR; |  | ADAPTER,STRAIGHT,PIPE TO HOSE:½IN BSP FEMALE THREADED ADAPTOR; |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | FP57900040HXH6B | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | FP57900040HXH6B | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE | 1/2 IN | HOSE SIZE |  | PIPE CONNECTION | FEMALE BSPT | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1139196 | 1139196 | 1368121 | AU_QM_000171900 |  | ERSA | M | 5910 | 1368121GZPCLNT100 | EA |  | CAT FUEL/HYDRAULIC ADAPTER; | CAT FUEL/HYDRAULIC ADAPTER; | ADAPTER,STRAIGHT,PIPE TO HOSE: CAT FUEL/HYDRAULIC ADAPTER; ELPHINSTONE R1300 LHD; CATERPILLAR 120H GRADER |  | ADAPTER,STRAIGHT,PIPE TO HOSE:CAT FUEL/HYDRAULIC ADAPTER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1368121 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P8874 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1368121 | CATERPILLAR | 5P-8874 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/5P-8874 |  |  | LHD,GRADER | ELPHINSTONE,CATERPILLAR | R1300,120H |  |  |  |  | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | FUEL/HYDRAULIC,STRAIGHT | PIPE SIZE | 9/16 IN-18 TPI | HOSE SIZE |  | PIPE CONNECTION | THREAD O-RING | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1139714 | 1139714 | 1428883 | AU_QM_000544676 |  | ERSA | M | 5910 | 1428883GZPCLNT100 | EA |  | CAT HYDRAULIC O-RING ADAPTER; | CAT HYDRAULIC O-RING ADAPTER; | ADAPTER,STRAIGHT,PIPE TO HOSE: CAT HYDRAULIC O-RING ADAPTER; |  | ADAPTER,STRAIGHT,PIPE TO HOSE:CAT HYDRAULIC O-RING ADAPTER; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1428883 | [12 empty] | CATERPILLAR | 142-8883 | [16 empty] | https://parts.cat.com/en/catcorp/142-8883 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | HYDRAULIC O-RING,STRAIGHT | PIPE SIZE |  | HOSE SIZE |  | PIPE CONNECTION |  | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1145322 | 1145322 |  |  |  | ERSA | M | 1600 | 1536679GZPCLNT100 | EA |  | ADAPTER;STR,PIPE-COUPLING,YURIKA,1104732 | ADAPTER;STR,PIPE-COUPLING,YURIKA,1104732 | ADAPTER;ADDITIONAL FEATURES:STR,PIPE-COUPLING,YURIKA,1104732 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 1104732 | [10 empty] | YURIKA PTY LTD | 1104732 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | STRAIGHT | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1145557 | 1145557 |  |  |  | ERSA | M | 1600 | 1536386GZPCLNT100 | EA |  | ADAPTER;POLE TO CROSSARM,YURIKA,403638 | ADAPTER;POLE TO CROSSARM,YURIKA,403638 | ADAPTER;ADDITIONAL FEATURES:POLE TO CROSSARM,YURIKA,403638 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 403638 | [10 empty] | YURIKA PTY LTD | 403638 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | POLE TO CROSS ARM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1145558 | 1145558 |  |  |  | ERSA | M | 1600 | 1536385GZPCLNT100 | EA |  | ADAPTER;POLE TO CROSSARM,YURIKA,403611 | ADAPTER;POLE TO CROSSARM,YURIKA,403611 | ADAPTER;ADDITIONAL FEATURES:POLE TO CROSSARM,YURIKA,403611 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 403611 | [10 empty] | YURIKA PTY LTD | 403611 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | POLE TO CROSS ARM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1145559 | 1145559 |  |  |  | ERSA | M | 1600 | 1536384GZPCLNT100 | EA |  | ADAPTER;POLE TO CROSSARM,YURIKA,403603 | ADAPTER;POLE TO CROSSARM,YURIKA,403603 | ADAPTER;ADDITIONAL FEATURES:POLE TO CROSSARM,YURIKA,403603 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 403603 | [10 empty] | YURIKA PTY LTD | 403603 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | POLE TO CROSS ARM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1145909 | 1145909 |  |  |  | ERSA | M | 1600 | 1537236GZPCLNT100 | EA |  | ADAPTER;EARTH PARK,YURIKA,2427425 | ADAPTER;EARTH PARK,YURIKA,2427425 | ADAPTER;ADDITIONAL FEATURES:EARTH PARK,YURIKA,2427425 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2427425 | [10 empty] | YURIKA PTY LTD | 2427425 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | EARTH PARK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147978 | 1147978 |  |  |  | ERSA | M | 4400 | 1539238GZPCLNT100 | EA |  | ADAPTER,PIPE;PRESS SPOOL,300,MCA-PFPSAD3 | ADAPTER,PIPE;PRESS SPOOL,300,MCA-PFPSAD3 | ADAPTER,PIPE;ADDITIONAL FEATURES:PRESS SPOOL,300,MCA-PFPSAD3 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFPSAD3 | [10 empty] | MCA ENGINEERING PTY LTD | MCA-PFPSAD3 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | PRESS SPOOL | NOMINAL SIZE | 300 MM | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147979 | 1147979 |  |  |  | ERSA | M | 4400 | 1539237GZPCLNT100 | EA |  | ADAPTER,PIPE;PRESS SPOOL,1,MCA-PFPSAD1.5 | ADAPTER,PIPE;PRESS SPOOL,1,MCA-PFPSAD1.5 | ADAPTER,PIPE;ADDITIONAL FEATURES:PRESS SPOOL,1,MCA-PFPSAD1.5 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFPSAD1.5 | [10 empty] | MCA ENGINEERING PTY LTD | MCA-PFPSAD1.5 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | PRESS SPOOL | NOMINAL SIZE | 1 IN | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147982 | 1147982 |  |  |  | ERSA | M | 4400 | 1539234GZPCLNT100 | EA |  | ADAPTER,PIPE;ECCENTRIC,250N,MCA-PFAD-ECC | ADAPTER,PIPE;ECCENTRIC,250N,MCA-PFAD-ECC | ADAPTER,PIPE;ADDITIONAL FEATURES:ECCENTRIC,250N,MCA-PFAD-ECC |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFAD-ECC | [10 empty] | MCA ENGINEERING PTY LTD | MCA-PFAD-ECC | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters | REF:250N |  | ADAPTER | PIPE | TYPE | ECCENTRIC | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147983 | 1147983 |  |  |  | ERSA | M | 4400 | 1539233GZPCLNT100 | EA |  | ADAPTER,PIPE;CONCENTRIC,MCA-PFAD-CONT/E | ADAPTER,PIPE;CONCENTRIC,MCA-PFAD-CONT/E | ADAPTER,PIPE;ADDITIONAL FEATURES:CONCENTRIC,MCA-PFAD-CONT/E |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFAD-CONT/E | [10 empty] | MCA ENGINEERING PTY LTD | MCA-PFAD-CONT/E | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | CONCENTRIC | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1147986 | 1147986 |  |  |  | ERSA | M | 4400 | 1539230GZPCLNT100 | EA |  | ADAPTER,PIPE;CONCENTRIC,MCA-PFAD-CONCEN | ADAPTER,PIPE;CONCENTRIC,MCA-PFAD-CONCEN | ADAPTER,PIPE;ADDITIONAL FEATURES:CONCENTRIC,MCA-PFAD-CONCEN |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFAD-CONCEN | [10 empty] | MCA ENGINEERING PTY LTD | MCA-PFAD-CONCEN | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | CONCENTRIC | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1148004 | 1148004 |  |  |  | ERSA | M | 4400 | 1539212GZPCLNT100 | EA |  | ADAPTER;IPS TO FLANGE,SPOOL,T,MCA-IPS-TE | ADAPTER;IPS TO FLANGE,SPOOL,T,MCA-IPS-TE | ADAPTER;ADDITIONAL FEATURES:IPS TO FLANGE,SPOOL,T,MCA-IPS-TE |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-IPS-TE | [10 empty] | MCA ENGINEERING PTY LTD | MCA-IPS-TE | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | IPS TO FLANGE,SPOOL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1148005 | 1148005 |  |  |  | ERSA | M | 4400 | 1539211GZPCLNT100 | EA |  | ADAPTER;IPS TO FLANGE.SPOOL,T,MCA-IPS-TR | ADAPTER;IPS TO FLANGE.SPOOL,T,MCA-IPS-TR | ADAPTER;ADDITIONAL FEATURES:IPS TO FLANGE.SPOOL,T,MCA-IPS-TR |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-IPS-TR | [10 empty] | MCA ENGINEERING PTY LTD | MCA-IPS-TR | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | IPS TO FLANGE,SPOOL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1148011 | 1148011 |  |  |  | ERSA | M | 4400 | 1539205GZPCLNT100 | EA |  | ADAPTER;DUMP SPOOL,T/R-,MCA-DSADTR/TR260 | ADAPTER;DUMP SPOOL,T/R-,MCA-DSADTR/TR260 | ADAPTER;ADDITIONAL FEATURES:DUMP SPOOL,T/R-,MCA-DSADTR/TR260 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-DSADTR/TR260 | [10 empty] | MCA ENGINEERING PTY LTD | MCA-DSADTR/TR260 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | DUMP SPOOL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152333 | 1152333 |  |  |  | ERSA | M | 4075 | 1534647GZPCLNT100 | EA |  | ADAPTER;SPEEDFIT TAP 1/4"X1/2" F,1908813 | ADAPTER;SPEEDFIT TAP 1/4"X1/2" F,1908813 | ADAPTER;ADDITIONAL FEATURES:SPEEDFIT TAP 1/4X1/2 F,1908813 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1908813 | [12 empty] | REECE PTY LTD | 1908813 | [16 empty] | https://www.reece.com.au/product/john-guest-speedfit-tap-adaptor-1-4-x1-2-1908813?query=1908813 | [9 empty] | Enriched | 40171700 Pipe adapters | BRASS:SPEEDFIT |  | ADAPTER | PIPE | TYPE | TAP | NOMINAL SIZE | 1/4X1/2 IN | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152355 | 1152355 |  |  |  | ERSA | M | 4075 | 1534597GZPCLNT100 | EA |  | ADAPTER;FEM NO.7030 40X 40MM BSP,1505641 | ADAPTER;FEM NO.7030 40X 40MM BSP,1505641 | ADAPTER;ADDITIONAL FEATURES:FEM NO.7030 40X 40MM BSP,1505641 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1505641 | [12 empty] | REECE PTY LTD | 1505641 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-40mm-od-x-40mm-1505641 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7030 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 40X40 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152356 | 1152356 |  |  |  | ERSA | M | 4075 | 1534596GZPCLNT100 | EA |  | ADAPTER;FEM NO.7030 32X 32MM BSP,1505631 | ADAPTER;FEM NO.7030 32X 32MM BSP,1505631 | ADAPTER;ADDITIONAL FEATURES:FEM NO.7030 32X 32MM BSP,1505631 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1505631 | [12 empty] | REECE PTY LTD | 1505631 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-32mm-od-x-32mm-1505631 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7030 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 32X32 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152357 | 1152357 |  |  |  | ERSA | M | 4075 | 1534595GZPCLNT100 | EA |  | ADAPTER;FEM NO.7030 25X 25MM BSP,1505625 | ADAPTER;FEM NO.7030 25X 25MM BSP,1505625 | ADAPTER;ADDITIONAL FEATURES:FEM NO.7030 25X 25MM BSP,1505625 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1505625 | [12 empty] | REECE PTY LTD | 1505625 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-25mm-od-x-25mm-1505625 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7030 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 25X25 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152358 | 1152358 |  |  |  | ERSA | M | 4075 | 1534594GZPCLNT100 | EA |  | ADAPTER;FEM NO.7030 25X 20MM BSP,1505620 | ADAPTER;FEM NO.7030 25X 20MM BSP,1505620 | ADAPTER;ADDITIONAL FEATURES:FEM NO.7030 25X 20MM BSP,1505620 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1505620 | [12 empty] | REECE PTY LTD | 1505620 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-25mm-od-x-20mm-1505620?query=1505620 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7030 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 25X20 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152359 | 1152359 |  |  |  | ERSA | M | 4075 | 1534593GZPCLNT100 | EA |  | ADAPTER;FEM NO.7030 20X 18MM BSP,1505615 | ADAPTER;FEM NO.7030 20X 18MM BSP,1505615 | ADAPTER;ADDITIONAL FEATURES:FEM NO.7030 20X 18MM BSP,1505615 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1505615 | [12 empty] | REECE PTY LTD | 1505615 | [16 empty] | https://www.reece.com.au/product/plasson-female-adaptor-no-7030-20mm-od-x-20mm-1505615?query=1505615 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7030 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 20X18 MM | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152365 | 1152365 |  |  |  | ERSA | M | 4075 | 1534587GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 50X50MM BSP,1504665 | ADAPTER;MALE NO.7020 50X50MM BSP,1504665 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 50X50MM BSP,1504665 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504665 | [12 empty] | REECE PTY LTD | 1504665 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-50mm-od-x-50mm-male-1504665?query=1504665 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 50X50 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152366 | 1152366 |  |  |  | ERSA | M | 4075 | 1534586GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 40X40MM BSP,1504650 | ADAPTER;MALE NO.7020 40X40MM BSP,1504650 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 40X40MM BSP,1504650 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504650 | [12 empty] | REECE PTY LTD | 1504650 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-40mm-od-x-40mm-male-1504650?query=1504650 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 40X40 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152367 | 1152367 |  |  |  | ERSA | M | 4075 | 1534585GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 32X32MM BSP,1504642 | ADAPTER;MALE NO.7020 32X32MM BSP,1504642 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 32X32MM BSP,1504642 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504642 | [12 empty] | REECE PTY LTD | 1504642 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-32mm-od-x-32mm-male-1504642?query=1504642 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 32X32 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152368 | 1152368 |  |  |  | ERSA | M | 4075 | 1534584GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 32X25MM BSP,1504640 | ADAPTER;MALE NO.7020 32X25MM BSP,1504640 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 32X25MM BSP,1504640 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504640 | [12 empty] | REECE PTY LTD | 1504640 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-32mm-od-x-25mm-male-1504640?query=1504640 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 32X25 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152369 | 1152369 |  |  |  | ERSA | M | 4075 | 1534583GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 25X25MM BSP,1504630 | ADAPTER;MALE NO.7020 25X25MM BSP,1504630 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 25X25MM BSP,1504630 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504630 | [12 empty] | REECE PTY LTD | 1504630 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-25mm-od-x-25mm-male-1504630?query=1504630 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 25X25 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152370 | 1152370 |  |  |  | ERSA | M | 4075 | 1534582GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 25X20MM BSP,1504625 | ADAPTER;MALE NO.7020 25X20MM BSP,1504625 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 25X20MM BSP,1504625 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504625 | [12 empty] | REECE PTY LTD | 1504625 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-25mm-od-x-20mm-male-1504625 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 25X20 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152371 | 1152371 |  |  |  | ERSA | M | 4075 | 1534581GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 25X15MM BSP,1504623 | ADAPTER;MALE NO.7020 25X15MM BSP,1504623 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 25X15MM BSP,1504623 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504623 | [12 empty] | REECE PTY LTD | 1504623 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-25mm-od-x-15mm-male-1504623 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 25X15 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1152372 | 1152372 |  |  |  | ERSA | M | 4075 | 1534580GZPCLNT100 | EA |  | ADAPTER;MALE NO.7020 20X20MM BSP,1504615 | ADAPTER;MALE NO.7020 20X20MM BSP,1504615 | ADAPTER;ADDITIONAL FEATURES:MALE NO.7020 20X20MM BSP,1504615 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1504615 | [12 empty] | REECE PTY LTD | 1504615 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-20mm-od-x-20mm-male-1504615 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 20X20 MM | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1153020 | 1153020 |  |  |  | ERSA | M | 4075 | 1534708GZPCLNT100 | EA |  | ADAPTER,HSE-PIPE;19MM X 20MI,1542848 | ADAPTER,HSE-PIPE;19MM X 20MI,1542848 | ADAPTER,HSE-PIPE;ADDITIONAL FEATURES:19MM X 20MI,1542848 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1542848 | [12 empty] | REECE PTY LTD | 1542848 | [16 empty] | https://www.reece.com.au/product/enki-micro-director-19mm-x-20mm-male-1542848?query=1542848 | https://digitalassets.reecegroup.com.au/m/7d8152fbad8decb0/original/Specification-Sheet-ENKi-Micro-Irrigation-Fittings.pdf?_gl=1*tfj833*_gcl_au*MzM3ODY5NDEwLjE2OTg5MTk0MDE. | [8 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | MICRO IRRIGATION | PIPE SIZE | 19 MM | HOSE SIZE | 20 MM | PIPE CONNECTION | MALE | HOSE CONNECTION | SHARP TAPERED BARB | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 300 KPA | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1153021 | 1153021 |  |  |  | ERSA | M | 4075 | 1534707GZPCLNT100 | EA |  | ADAPTER,HSE-PIPE;13MM X 20MI,1542846 | ADAPTER,HSE-PIPE;13MM X 20MI,1542846 | ADAPTER,HSE-PIPE;ADDITIONAL FEATURES:13MM X 20MI,1542846 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1542846 | [12 empty] | REECE PTY LTD | 1542846 | [16 empty] | https://www.reece.com.au/product/enki-micro-director-13mm-x-20mm-male-1542846?query=1542846 | https://digitalassets.reecegroup.com.au/m/7d8152fbad8decb0/original/Specification-Sheet-ENKi-Micro-Irrigation-Fittings.pdf?_gl=1*tfj833*_gcl_au*MzM3ODY5NDEwLjE2OTg5MTk0MDE. | [8 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | MICRO IRRIGATION | PIPE SIZE | 13 MM | HOSE SIZE | 20 MM | PIPE CONNECTION | MALE | HOSE CONNECTION | SHARP TAPERED BARB | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 300 KPA | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1153114 | 1153114 |  |  |  | ERSA | M | 4075 | 1534499GZPCLNT100 | EA |  | ADAPTER;POLYBUTYLENE 16MMX18MM,1534040 | ADAPTER;POLYBUTYLENE 16MMX18MM,1534040 | ADAPTER;ADDITIONAL FEATURES:POLYBUTYLENE 16MMX18MM,1534040 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1534040 | [12 empty] | REECE PTY LTD | 1534040 | [16 empty] | https://www.reece.com.au/product/auspex-polybutylene-pipe-adaptor-16mm-x-18mm-1534040?query=1534040 | [9 empty] | Enriched | 40171701 Brass pipe adapter |  |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 16X18 MM | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYBUTYLENE/BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1179118 | 1179118 |  |  |  | ERSA | M | 4010 | 1544119GZPCLNT100 | EA |  | ADAPTER,WRNCH SCKT;1/2 IN TO 3/4 IN | ADAPTADOR LLAVE; | ADAPTER,WRENCH SOCKET;ADDITIONAL FEATURES EN:1/2 IN TO 3/4 IN | ADAPTADOR LLAVE; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 4261816 | 1068093 @@ BLACKWOODS & SONS | 4261816 | [10 empty] | SIDCHROME | SCMT19159 | [12 empty] | J BLACKWOOD & SONS | 04261816 |  |  | https://www.sidchrome.com.au/product/adaptor-4/ | https://www.blackwoods.com.au/tools-hand-measuring-precision/sockets-ratchets-and-accessories/socket-accessories-1-2-quot-square-drive-sidchrome/adaptor-1-2-dr-1-2-f-3-4-m-sidch-19159/p/04261816 | [8 empty] | Enriched | 27111700 Wrenches and drivers |  |  | ADAPTER | WRENCH SOCKET | TYPE |  | DRIVE SIZE | 1/2 IN | WRENCH SIZE | 3/4 IN | DRIVE STYLE | FEMALE SQUARE | WRENCH STYLE | MALE | MATERIAL |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 | Partial Matched | 1179814 | 1179814 |  |  |  | ERSA | M | 5620 | 1513224GZPCLNT100 | EA |  | ADAPTER,BRG;HE318−304 | ADAPTADOR RDMTO; | ADAPTER,BEARING;ADDITIONAL FEATURES EN:HE318âˆ’304 | ADAPTADOR RODAMIENTO; |  |  |  | 1069953 @@ STATEWIDE BEARINGS | HE318┬êÆ304 | [12 empty] | STATEWIDE BEARINGS | HE318┬êÆ304 | [16 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/07/FSQ-Bearing-Housings-Catalog.pdf | [9 empty] | Cleansed | 31163218 Bearing adapter sleeve |  |  | ADAPTER | BEARING | TYPE |  | SHAFT DIAMETER |  | LENGTH |  | MATERIAL |  | THREAD SIZE |  | LOCKNUT OD |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1180284 | 1180284 |  |  |  | ERSA | M | 4010 | 1544120GZPCLNT100 | EA |  | ADAPTER,WRNCH SCKT;1/2 IN M TO 1/2 IN F | ADAPTADOR LLAVE; | ADAPTER,WRENCH SOCKET;ADDITIONAL FEATURES EN:1/2 IN M TO 1/2 IN F | ADAPTADOR LLAVE; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 7384703 | 1068093 @@ BLACKWOODS & SONS | 7384703 | [10 empty] | JBS | AD12-38JBS | [12 empty] | J BLACKWOOD & SONS | 07384703 |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/sockets-ratchets-and-accessories/socket-accessories-1-2-quot-square-drive-jbs/adaptor-3-8-square-drive-1-2-f-x-3-8-m/p/07384703 | [9 empty] | Enriched | 27111700 Wrenches and drivers |  |  | ADAPTER | WRENCH SOCKET | TYPE |  | DRIVE SIZE | 3/8 IN | WRENCH SIZE | 1/2 IN | DRIVE STYLE | MALE SQUARE | WRENCH STYLE | FEMALE | MATERIAL | CHROME VANADIUM STEEL | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 | Length Conflict,Processed based on Websource | 1209942 | 1209942 |  |  |  | ERSA | M | 2200 | 773552MRM | EA |  | ADAPTER,STRAIGHT,PIPE TO HOSE:7/8-14;SWI | ADAPTER,STRAIGHT,PIPE TO HOSE:7/8-14;SWI | ADAPTER,STRAIGHT,PIPE TO HOSE:7/8-14;SWIVEL;STRAIGHT;HOSE SIZE - 10;FEMALE JIC/SAE 37DEG SWIVEL (FJ);2.77" LOA;STEEL;HEX GRIP; |  |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | 10643-10-10 | [10 empty] | ENZED MOUNT ISA (RKM INVESTMENTS) |  | PARKER HANNIFIN | 10643-10-10 | [16 empty] | https://www.industrialhose.com/products/hoses/pdfs/43-Series-Fittings.pdf | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT,HEX GRIP | PIPE SIZE | 7/8 IN-14 TPI | HOSE SIZE | 5/8 IN | PIPE CONNECTION |  | HOSE CONNECTION | FEMALE JIC/SAE 37 DEG | LENGTH | 2-15/16 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 12151-5 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1218061 | 1218061 |  |  |  | ERSA | M | 3300 | 270374MRM | EA |  | ADAPTER:CAT 993K | ADAPTER:CAT 993K | ADAPTER:CAT 993K |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2227700 | [12 empty] | CATERPILLAR | 222-7700 | [16 empty] | https://parts.cat.com/en/catcorp/222-7700 |  |  |  | CATERPILLAR | 993K |  |  |  |  | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | TWO STRAP,WELD-ON | SIZE |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-03 |  | 1218526 | 1218526 |  |  |  | ERSA | M | 2200 | 9159MRM | EA |  | ADAPTER,STRAIGHT,PIPE TO HOSE:G1/8IN;BSP | ADAPTER,STRAIGHT,PIPE TO HOSE:G1/8IN;BSP | ADAPTER,STRAIGHT,PIPE TO HOSE:G1/8IN;BSP FEMALE SWIVEL;HOSE SIZE 06;TTC 1 PICE FITTING; |  |  |  |  | 1068527 @@ Enzed Mount Isa(RKM Investments) | 19243-6-6-AU | [10 empty] | ENZED MOUNT ISA (RKM INVESTMENTS) |  | PARKER HANNIFIN | 19243-6-6-AU | [16 empty] | https://www.industrialhose.com/products/hoses/pdfs/43-Series-Fittings.pdf | [9 empty] | Enriched | 40141700 Hardware and fittings | TTC 1 PICE FITTING |  | ADAPTER | HOSE TO PIPE | TYPE |  | PIPE SIZE | 3/8 IN-19 TPI | HOSE SIZE | 3/8 IN | PIPE CONNECTION | FEMALE BSPP | HOSE CONNECTION | SWIVEL | LENGTH | 60 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 12151-6 | [44 empty] | Production Completed