## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203221 | 1203221 |  |  |  | ERSA | M | 1600 | 182MRM | EA |  | CIRCUIT CARD ASSEMBLY:4-20mA;ISOLATED IN | CIRCUIT CARD ASSEMBLY:4-20mA;ISOLATED IN | CIRCUIT CARD ASSEMBLY:4-20mA;ISOLATED INPUT;YOKOGAWA MICRO XL DCS SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,CURRENT RATING:4 TO 20 MA,FOR YOKOGAWA MICRO XL DCS SYSTEM |  | CARD | NO MODIFIER | TYPE | CIRCUIT,ISOLATED INPUT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1208068 | 1208068 |  |  |  | ERSA | M | 1600 | 685881MRM | EA |  | CIRCUIT CARD ASSEMBLY:AM870 DETECTOR PRE | CIRCUIT CARD ASSEMBLY:AM870 DETECTOR PRE | CIRCUIT CARD ASSEMBLY:AM870 DETECTOR PREAMPLIFIER;AMDEL AM870 DENSITY GAUGE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR AM870 DETECTOR PREAMPLIFIER,AMDEL AM870 DENSITY GAUGE |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1208069 | 1208069 |  |  |  | ERSA | M | 1600 | 685886MRM | EA |  | CIRCUIT CARD ASSEMBLY:AM870 INTEGRAL LIN | CIRCUIT CARD ASSEMBLY:AM870 INTEGRAL LIN | CIRCUIT CARD ASSEMBLY:AM870 INTEGRAL LINE ASSY-DETECTOR;AMDEL AM870 DENSITY GAUGE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR AM870 INTEGRAL LINE ASSY-DETECTOR,AMDEL AM870 DENSITY GAUGE |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1208067 | 1208067 |  |  |  | ERSA | M | 1600 | 685876MRM | EA |  | CIRCUIT CARD ASSEMBLY:AM870 TRANSMITTER | CIRCUIT CARD ASSEMBLY:AM870 TRANSMITTER | CIRCUIT CARD ASSEMBLY:AM870 TRANSMITTER CONTROLLER BOARD;AMDEL AM870 DENSITY GAUGE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR AM870 TRANSMITTER CONTROLLER BOARD,AMDEL AM870 DENSITY GAUGE |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210434 | 1210434 |  |  |  | ERSA | M | 1600 | 1195957MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOG INPUT MODUL | CIRCUIT CARD ASSEMBLY:ANALOG INPUT MODUL | CIRCUIT CARD ASSEMBLY:ANALOG INPUT MODULE;RX FIELD CARD;"REPAIRABLE"; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR ANALOG INPUT MODULE,RX FIELD,REPAIRABLE |  | CARD | NO MODIFIER | TYPE | ANALOGUE INPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1218430 | 1218430 |  |  |  | ERSA | M | 1600 | 208MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOG INPUT/OUTPU | CIRCUIT CARD ASSEMBLY:ANALOG INPUT/OUTPU | CIRCUIT CARD ASSEMBLY:ANALOG INPUT/OUTPUT;MULTIPOINT; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY |  | CARD | NO MODIFIER | TYPE | ANALOG INPUT/OUTPUT,CIRCUIT,MULTIPOINT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1218431 | 1218431 |  |  |  | ERSA | M | 1600 | 216MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOG INPUT;MULTI | CIRCUIT CARD ASSEMBLY:ANALOG INPUT;MULTI | CIRCUIT CARD ASSEMBLY:ANALOG INPUT;MULTIPOINT; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY |  | CARD | NO MODIFIER | TYPE | ANALOG INPUT,CIRCUIT,MULTIPOINT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203673 | 1203673 |  |  |  | ERSA | M | 1600 | 986867MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM |  | CARD | NO MODIFIER | TYPE | ANALOGUE INPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203674 | 1203674 |  |  |  | ERSA | M | 1600 | 986868MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM |  | CARD | NO MODIFIER | TYPE | ANALOGUE INPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203679 | 1203679 |  |  |  | ERSA | M | 1600 | 986874MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CAR | CIRCUIT CARD ASSEMBLY:ANALOGUE INPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM |  | CARD | NO MODIFIER | TYPE | ANALOGUE INPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203675 | 1203675 |  |  |  | ERSA | M | 1600 | 986869MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CA | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CA | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM |  | CARD | NO MODIFIER | TYPE | ANALOGUE OUTPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203680 | 1203680 |  |  |  | ERSA | M | 1600 | 986875MRM | EA |  | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CA | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CA | CIRCUIT CARD ASSEMBLY:ANALOGUE OUTPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM |  | CARD | NO MODIFIER | TYPE | ANALOGUE OUTPUT,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1206452 | 1206452 |  |  |  | ERSA | M | 1600 | 333346MRM | EA |  | CIRCUIT CARD ASSEMBLY:BACK PLANE DTA201 | CIRCUIT CARD ASSEMBLY:BACK PLANE DTA201 | CIRCUIT CARD ASSEMBLY:BACK PLANE DTA201 CARD;MODICON 984-A130 CONTROL | [17 empty] | DTA201 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MODICON 984-A130 CONTROL |  | CARD | NO MODIFIER | TYPE | BACK PLANE,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1206451 | 1206451 |  |  |  | ERSA | M | 1600 | 333341MRM | EA |  | CIRCUIT CARD ASSEMBLY:BACKPLANE DTA200 C | CIRCUIT CARD ASSEMBLY:BACKPLANE DTA200 C | CIRCUIT CARD ASSEMBLY:BACKPLANE DTA200 CARD;MODICON 984-A130 CONTROL | [17 empty] | DTA200 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MODICON 984-A130 CONTROL |  | CARD | NO MODIFIER | TYPE | BACK PLANE,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1209870 | 1209870 |  |  |  | ERSA | M | 5920 | 159708MRM | EA |  | CIRCUIT CARD ASSEMBLY:BATTERY CHARGING C | CIRCUIT CARD ASSEMBLY:BATTERY CHARGING C | CIRCUIT CARD ASSEMBLY:BATTERY CHARGING CONTROL CARD; MILL FIREPUMP SKID | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MILL FIREPUMP SKID |  | CARD | NO MODIFIER | TYPE | BATTERY CHARGING CONTROL,CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1211870 | 1211870 |  |  |  | ERSA | M | 1600 | 166612MRM | EA |  | CIRCUIT CARD ASSEMBLY:BOARD:MAGNETIC REE | CIRCUIT CARD ASSEMBLY:BOARD:MAGNETIC REE | CIRCUIT CARD ASSEMBLY:BOARD:MAGNETIC REED SWITCH - FLOMEC OVALGEAR FLOWMETER:;FLOMEC PULSE BOARD WITHSURGE PROTECTION FOR OM025 METERS; INCLUDES TERMINAL;BLOCK AND SCREWS | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,C/W TERMINAL,BLOCK,SCREWS,FOR MAGNETIC REED SWITCH BOARD,FLOMEC OVALGEAR FLOWMETER,FLOMEC PULSE BOARD WITH SURGE PROTECTION FOR OM025 METERS |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210433 | 1210433 |  |  |  | ERSA | M | 1600 | 1195940MRM | EA |  | CIRCUIT CARD ASSEMBLY:BUS INTERFACE MODU | CIRCUIT CARD ASSEMBLY:BUS INTERFACE MODU | CIRCUIT CARD ASSEMBLY:BUS INTERFACE MODULE;COMMUNICATION;"REPAIRABLE'' | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201400 System Cards | ASSEMBLY,FOR BUS INTERFACE MODULE,REPAIRABLE |  | CARD | COMMUNICATION | TYPE | CIRCUIT | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1217602 | 1217602 |  |  |  | ERSA | M | 3700 | 858779MRM | EA |  | CIRCUIT CARD ASSEMBLY:D90K ROTATION CARD | CIRCUIT CARD ASSEMBLY:D90K ROTATION CARD | CIRCUIT CARD ASSEMBLY:D90K ROTATION CARD;DRILLTECH D90K OVERBURDEN DRILL | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR DRILLTECH D90K OVERBURDEN DRILL |  | CARD | NO MODIFIER | TYPE | CIRCUIT,ROTATION | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203677 | 1203677 |  |  |  | ERSA | M | 1600 | 986872MRM | EA |  | CIRCUIT CARD ASSEMBLY:DIGITAL INPUT CARD | CIRCUIT CARD ASSEMBLY:DIGITAL INPUT CARD | CIRCUIT CARD ASSEMBLY:DIGITAL INPUT CARD;24VDC IN;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM,VOLTAGE RATING:24 VDC |  | CARD | NO MODIFIER | TYPE | CIRCUIT,DIGITAL INPUT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203672 | 1203672 |  |  |  | ERSA | M | 1600 | 986866MRM | EA |  | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CAR | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CAR | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM,VOLTAGE RATING:24 VDC |  | CARD | NO MODIFIER | TYPE | CIRCUIT,DIGITAL OUTPUT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203678 | 1203678 |  |  |  | ERSA | M | 1600 | 986873MRM | EA |  | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CAR | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CAR | CIRCUIT CARD ASSEMBLY:DIGITAL OUTPUT CARD;CONTROL SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONTROL SYSTEM,VOLTAGE RATING:24 VDC |  | CARD | NO MODIFIER | TYPE | CIRCUIT,DIGITAL OUTPUT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210143 | 1210143 |  |  |  | ERSA | M | 1600 | 1195643MRM | EA |  | CIRCUIT CARD ASSEMBLY:EA1* INTERFACE A C | CIRCUIT CARD ASSEMBLY:EA1* INTERFACE A C | CIRCUIT CARD ASSEMBLY:EA1* INTERFACE A CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,EA1*A |  | CARD | INTERFACE | TYPE | CIRCUIT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210424 | 1210424 |  |  |  | ERSA | M | 1600 | 1195668MRM | EA |  | CIRCUIT CARD ASSEMBLY:EA9*A;INTERFACE CA | CIRCUIT CARD ASSEMBLY:EA9*A;INTERFACE CA | CIRCUIT CARD ASSEMBLY:EA9*A;INTERFACE CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,EA9*A |  | CARD | INTERFACE | TYPE | CIRCUIT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210431 | 1210431 |  |  |  | ERSA | M | 1600 | 1195734MRM | EA |  | CIRCUIT CARD ASSEMBLY:ERBus FCS MODULE; | CIRCUIT CARD ASSEMBLY:ERBus FCS MODULE; | CIRCUIT CARD ASSEMBLY:ERBus FCS MODULE; INTERFACE CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,FOR ERBUS FCS MODULE |  | CARD | INTERFACE | TYPE | CIRCUIT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1212059 | 1212059 |  |  |  | ERSA | M | 1600 | 136633MRM | EA |  | CIRCUIT CARD ASSEMBLY:ETHERNET CARD;PHAS | CIRCUIT CARD ASSEMBLY:ETHERNET CARD;PHAS | CIRCUIT CARD ASSEMBLY:ETHERNET CARD;PHASE 3 VARIABLE SPEED DRIVES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR PHASE 3 VARIABLE SPEED DRIVES |  | CARD | NO MODIFIER | TYPE | CIRCUIT,ETHERNET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1212458 | 1212458 |  |  |  | ERSA | M | 1600 | 136698MRM | EA |  | CIRCUIT CARD ASSEMBLY:ETHERNET INTERFACE | CIRCUIT CARD ASSEMBLY:ETHERNET INTERFACE | CIRCUIT CARD ASSEMBLY:ETHERNET INTERFACE CARD;CONTROL SYSTEM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,FOR CONTROL SYSTEM SPARES |  | CARD | INTERFACE | TYPE | CIRCUIT,ETHERNET | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1212058 | 1212058 |  |  |  | ERSA | M | 1600 | 136632MRM | EA |  | CIRCUIT CARD ASSEMBLY:EXTENDED I/O CARD; | CIRCUIT CARD ASSEMBLY:EXTENDED I/O CARD; | CIRCUIT CARD ASSEMBLY:EXTENDED I/O CARD;PHASE 3 VARIABLE SPEEDDRIVES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR PHASE 3 VARIABLE SPEEDDRIVES |  | CARD | NO MODIFIER | TYPE | CIRCUIT,EXTENDED I/O | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210432 | 1210432 |  |  |  | ERSA | M | 1600 | 1195742MRM | EA |  | CIRCUIT CARD ASSEMBLY:FCS V - NET MODULE | CIRCUIT CARD ASSEMBLY:FCS V - NET MODULE | CIRCUIT CARD ASSEMBLY:FCS V - NET MODULE; INTERFACE CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,FOR FCS V NET MODULE |  | CARD | INTERFACE | TYPE | CIRCUIT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210430 | 1210430 |  |  |  | ERSA | M | 1600 | 1195726MRM | EA |  | CIRCUIT CARD ASSEMBLY:FCS V-NET MODULE C | CIRCUIT CARD ASSEMBLY:FCS V-NET MODULE C | CIRCUIT CARD ASSEMBLY:FCS V-NET MODULE CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR FCS V NET MODULE |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1214874 | 1214874 |  |  |  | ERSA | M | 1600 | 368216MRM | EA |  | CIRCUIT CARD ASSEMBLY:FRYER CONTROL;SET | CIRCUIT CARD ASSEMBLY:FRYER CONTROL;SET | CIRCUIT CARD ASSEMBLY:FRYER CONTROL;SET 230DEG C;GOLDSTEIN FRYER FRE-18/2 10972 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR GOLDSTEIN FRE-18/2 10972 FRYER CONTROL,SET TEMPERATURE RATING:230 DEG C |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210953 | 1210953 |  |  |  | ERSA | M | 5920 | 165550MRM | EA |  | CIRCUIT CARD ASSEMBLY:INPUT OUTPUT CARD | CIRCUIT CARD ASSEMBLY:INPUT OUTPUT CARD | CIRCUIT CARD ASSEMBLY:INPUT OUTPUT CARD | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY |  | CARD | NO MODIFIER | TYPE | CIRCUIT,INPUT/OUTPUT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210423 | 1210423 |  |  |  | ERSA | M | 1600 | 1195650MRM | EA |  | CIRCUIT CARD ASSEMBLY:INTERFACE CARD; ER | CIRCUIT CARD ASSEMBLY:INTERFACE CARD; ER | CIRCUIT CARD ASSEMBLY:INTERFACE CARD; ER5*B | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201404 Network interface cards | ASSEMBLY,ER5*B |  | CARD | INTERFACE | TYPE | CIRCUIT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1203913 | 1203913 |  |  |  | ERSA | M | 3700 | 148038MRM | EA |  | CIRCUIT CARD ASSEMBLY:MOBILE PLC | CIRCUIT CARD ASSEMBLY:MOBILE PLC | CIRCUIT CARD ASSEMBLY:MOBILE PLC | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MOBILE PLC |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210952 | 1210952 |  |  |  | ERSA | M | 5920 | 165549MRM | EA |  | CIRCUIT CARD ASSEMBLY:MOTOR CONTROL CARD | CIRCUIT CARD ASSEMBLY:MOTOR CONTROL CARD | CIRCUIT CARD ASSEMBLY:MOTOR CONTROL CARD | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MOTOR CONTROL |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1214598 | 1214598 |  |  |  | ERSA | M | 1600 | 368136MRM | EA |  | CIRCUIT CARD ASSEMBLY:OVEN CONTROL;GOLDS | CIRCUIT CARD ASSEMBLY:OVEN CONTROL;GOLDS | CIRCUIT CARD ASSEMBLY:OVEN CONTROL;GOLDSTEIN COMBI OVEN CAS E 10 24440 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR GOLDSTEIN COMBI OVEN CONTROL CAS E 10 24440 |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1210428 | 1210428 |  |  |  | ERSA | M | 1600 | 1195700MRM | EA |  | CIRCUIT CARD ASSEMBLY:PCI MAIN BOARD V - | CIRCUIT CARD ASSEMBLY:PCI MAIN BOARD V - | CIRCUIT CARD ASSEMBLY:PCI MAIN BOARD V - NET CARD; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR PCI MAIN BOARDV -NET |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1215726 | 1215726 |  |  |  | ERSA | M | 5955 | 778259MRM | EA |  | CIRCUIT CARD ASSEMBLY:PLUTON 30 CONTROL | CIRCUIT CARD ASSEMBLY:PLUTON 30 CONTROL | CIRCUIT CARD ASSEMBLY:PLUTON 30 CONTROL FICHE-FEMELLE;CONTROL ASSY;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR PLUTON 30 CONTROL FICHE-FEMELLE,CONTROL ASSEMBLY,SECOMA PLUTON 30 ROCK BOLTER |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1212505 | 1212505 |  |  |  | ERSA | M | 1600 | 137332MRM | EA |  | CIRCUIT CARD ASSEMBLY:POWER FACTOR TRAY; | CIRCUIT CARD ASSEMBLY:POWER FACTOR TRAY; | CIRCUIT CARD ASSEMBLY:POWER FACTOR TRAY;FILTER SWITCHROOM SPARES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR POWER FACTOR TRAY,FILTER SWITCHROOM SPARES |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1214561 | 1214561 |  |  |  | ERSA | M | 1600 | 367906MRM | EA |  | CIRCUIT CARD ASSEMBLY:RATIONAL STEAMER;C | CIRCUIT CARD ASSEMBLY:RATIONAL STEAMER;C | CIRCUIT CARD ASSEMBLY:RATIONAL STEAMER;COMBISTEAMER CCM101 C11M9410-5678 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR RATIONAL STEAMER,C11M9410-5678 COMBISTEAMER CCM101 |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1208084 | 1208084 |  |  |  | ERSA | M | 1600 | 685981MRM | EA |  | CIRCUIT CARD ASSEMBLY:VALTEK BETA I/P 21 | CIRCUIT CARD ASSEMBLY:VALTEK BETA I/P 21 | CIRCUIT CARD ASSEMBLY:VALTEK BETA I/P 2104-1 POSITIONER CARD;83170F13.RO.389 REV1 A9430 5627 609; | [36 empty] | URL NOT FOUND | [7 empty] | 1 |  | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR VALTEK BETA I/P 2104-1 POSITIONER,83170F13.RO.389,A9430 5627 609 |  | CARD | NO MODIFIER | TYPE | CIRCUIT,POSITIONER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1098819 | 1098819 | 1393986 | AU_QM_000237518 |  | ERSA | M | 5100 | 1393986GZPCLNT100 | EA | 3000003 | COOLER,AIR;CAT,232-6753 | COOLER,AIR;CAT,232-6753 | COOLER,AIR;MNFR:CATERPILLAR,PTNO:232-6753 |  | OEM-E-LISTCOOLER,AIR;CAT,232-6753 | CATERPILLAR | 232-6753 | [14 empty] | CATERPILLAR | 232-6753 | [16 empty] | https://parts.cat.com/en/catcorp/232-6753 | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories |  |  | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1098818 | 1098818 | 1393988 | AU_QM_000237520 |  | ERSA | M | 5100 | 1393988GZPCLNT100 | EA | 3000003 | COOLER,AIR;CAT,376-6732 | COOLER,AIR;CAT,376-6732 | COOLER,AIR;MNFR:CATERPILLAR,PTNO:376-6732 |  | OEM-E-LISTCOOLER,AIR;CAT,376-6732 | CATERPILLAR | 376-6732 | [14 empty] | CATERPILLAR | 376-6732 | [16 empty] | https://parts.cat.com/en/catcorp/376-6732 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | AIR | TYPE | AFTER | COOLING RANGE |  | CAPACITY |  | FLOW RATING |  | END CONNECTION |  | COOLANT |  | COOLING AREA |  | MATERIAL |  | SIZE |  | DRIVE TYPE |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1013178 | 1013178 |  |  |  | ERSA | M | 5000 | 1613000GZPCLNT100 | EA | 3000010 | COOLER,OIL;SAN,29601096,HYDR,ASSY | ENFRIADOR ACEITE;SAN,29601096 | COOLER,OIL;MNFR:SANDVIK,PTNO:29601096,ADDITIONAL FEATURES EN:HYDRAULIC,ASSY | ENFRIADOR ACEITE;MNFR:SANDVIK,PTNO:29601096 |  | SANDVIK | 29601096 | [14 empty] | SANDVIK | 29601096 | [16 empty] | https://www.aga-parts.com/es/sandvik/part/29601096_oil-cooler/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | HYDRAULIC,ASSEMBLY |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1027263 | 1027263 | 1372934 | AU_QM_000197508 |  | ERSA | M | 5100 | 1372934GZPCLNT100 | EA | 3000000 | COOLER;ATL,5540780800 | COOLER;ATL,5540780800 | COOLER;MNFR:ATLAS COPCO,PTNO:5540780800 |  | COOLER;ATL,5540780800COOLER;ATC,5540780800 | ATLAS COPCO | 5540780800 | [14 empty] | ATLAS COPCO | 5540780800 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-common-original-spare-parts-catalog-update/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099108 | 1099108 | 1383406 | AU_QM_000223778 |  | ERSA | M | 5100 | 1383406GZPCLNT100 | EA | 3000003 | COOLER;CAT,10R8649 | COOLER;CAT,10R8649 | COOLER;MNFR:CATERPILLAR,PTNO:10R8649 |  | COOLER;CAT,10R8649COOLER;HAS,10R8649 | CATERPILLAR | 10R8649 | [12 empty] | HASTING |  | CATERPILLAR | 10R-8649 | [16 empty] | https://parts.cat.com/en/catcorp/10R-8649 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1098933 | 1098933 | 1389725 | AU_QM_000231273 |  | ERSA | M | 5100 | 1389725GZPCLNT100 | EA | 3000003 | COOLER;CAT,2156741 | COOLER;CAT,2156741 | COOLER;MNFR:CATERPILLAR,PTNO:2156741 |  | COOLER;CAT,2156741COOLER;HAS,2156741 | CATERPILLAR | 2156741 | [12 empty] | HASTING |  | CATERPILLAR | 215-6741 | [16 empty] | https://parts.cat.com/en/catcorp/215-6741 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  | SIZE:1.041 LG MX584.2 WD MMX325.1 HT MM | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099127 | 1099127 | 1382689 | AU_QM_000222889 |  | ERSA | M | 5100 | 1382689GZPCLNT100 | EA | 3000003 | COOLER;CAT,2532210 | COOLER;CAT,2532210 | COOLER;MNFR:CATERPILLAR,PTNO:2532210 |  | COOLER;CAT,2532210COOLER;HAS,2532210 | CATERPILLAR | 2532210 | [12 empty] | HASTING |  | CATERPILLAR | 253-2210 | [16 empty] | https://parts.cat.com/en/catcorp/253-2210 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1098816 | 1098816 | 1393991 | AU_QM_000237523 |  | ERSA | M | 5100 | 1393991GZPCLNT100 | EA | 3000003 | COOLER;CAT,272-1045 | COOLER;CAT,272-1045 | COOLER;MNFR:CATERPILLAR,PTNO:272-1045 |  | OEM-E-LISTCOOLER;CAT,272-1045 | CATERPILLAR | 272-1045 | [14 empty] | CATERPILLAR | 272-1045 | [16 empty] | https://avspare.com/caterpillar/cooler/2721045/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE | TRANSMISSION | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099051 | 1099051 | 1386194 | AU_QM_000227105 |  | ERSA | M | 5100 | 1386194GZPCLNT100 | EA | 3000003 | COOLER;CAT,292-7705 | COOLER;CAT,292-7705 | COOLER;MNFR:CATERPILLAR,PTNO:292-7705 |  | COOLER;CAT,292-7705COOLER;HAS,292-7705 | CATERPILLAR | 292-7705 | [12 empty] | HASTING |  | CATERPILLAR | 292-7705 | [16 empty] | https://parts.cat.com/en/catcorp/292-7705 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099204 | 1099204 | 1379863 | AU_QM_000219320 |  | ERSA | M | 5100 | 1379863GZPCLNT100 | EA | 3000001 | COOLER;EPI,5590 0099 53 | COOLER;EPI,5590 0099 53 | COOLER;MNFR:EPIROC,PTNO:5590 0099 53 |  | COOLER;EPI,5590 0099 53COOLER;EPI,5590 0099 53 | EPIROC | 5590 0099 53 | [12 empty] | EPIROC | 5590 0099 53 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099266 | 1099266 | 1378893 | AU_QM_000218251 |  | ERSA | M | 5100 | 1378893GZPCLNT100 | EA | 3000001 | COOLER;EPI,5590 0168 94 | COOLER;EPI,5590 0168 94 | COOLER;MNFR:EPIROC,PTNO:5590 0168 94 |  | COOLER;EPI,5590 0168 94COOLER;EPI,5590 0168 94 | EPIROC | 5590 0168 94 | [14 empty] | EPIROC | 5590 0168 94 | [16 empty] | https://www.aircompressorstrade.com/epiroc-5590009989-tools-to-bend-0560500300-parts-catalog-china-supplier/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099181 | 1099181 | 1380169 | AU_QM_000219656 |  | ERSA | M | 5100 | 1380169GZPCLNT100 | EA | 3000001 | COOLER;EPI,5590 0176 97 | COOLER;EPI,5590 0176 97 | COOLER;MNFR:EPIROC,PTNO:5590 0176 97 |  | COOLER;EPI,5590 0176 97COOLER;EPI,5590 0176 97 | EPIROC | 5590 0176 97 | [14 empty] | EPIROC | 5590 0176 97 | [16 empty] | https://www.aircompressorstrade.com/epiroc-5590009989-tools-to-bend-0560500300-parts-catalog-china-supplier/ | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE | TRANSMISSION | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099107 | 1099107 | 1383497 | AU_QM_000223884 |  | ERSA | M | 5100 | 1383497GZPCLNT100 | EA | 3000001 | COOLER;EPI,5590001158 | COOLER;EPI,5590001158 | COOLER;MNFR:EPIROC,PTNO:5590001158 |  | COOLER;EPI,5590001158COOLER;EPI,5590001158 | EPIROC | 5590001158 | [14 empty] | EPIROC | 5590001158 | [16 empty] | https://www.aircompressorstrade.com/cop-1838mux-8311126420-to-5536730800-valve-2500-psi-relief-parts-list/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1098990 | 1098990 | 1388093 | AU_QM_000229342 |  | ERSA | M | 5100 | 1388093GZPCLNT100 | EA | 3000001 | COOLER;EPI,5590001174 | COOLER;EPI,5590001174 | COOLER;MNFR:EPIROC,PTNO:5590001174 |  | COOLER;EPI,5590001174COOLER;EPI,5590001174 | EPIROC | 5590001174 | [14 empty] | EPIROC | 5590001174 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-air-compressors-regular-original-parts-china-supplier/ | [9 empty] | Enriched | 40101801 Radiators |  |  | RADIATOR | NO MODIFIER | TYPE | UNIT | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099578 | 1099578 | 1376491 | AU_QM_000215610 |  | ERSA | M | 5100 | 1376491GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0009 86 | COOLER;EPI,6060 0009 86 | COOLER;MNFR:EPIROC,PTNO:6060 0009 86 |  | COOLER;EPI,6060 0009 86COOLER;EPI,6060 0009 86 | EPIROC | 6060 0009 86 | [14 empty] | EPIROC | 6060 0009 86 | [16 empty] | https://www.aircompressorstrade.com/genuine-atlas-copco-spare-part-catalog-section-42-china-supplier/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099577 | 1099577 | 1376492 | AU_QM_000215611 |  | ERSA | M | 5100 | 1376492GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0009 87 | COOLER;EPI,6060 0009 87 | COOLER;MNFR:EPIROC,PTNO:6060 0009 87 |  | COOLER;EPI,6060 0009 87COOLER;EPI,6060 0009 87 | EPIROC | 6060 0009 87 | [14 empty] | EPIROC | 6060 0009 87 | [16 empty] | https://www.aircompressorstrade.com/genuine-atlas-copco-spare-part-catalog-section-42-china-supplier/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099579 | 1099579 | 1376490 | AU_QM_000215609 |  | ERSA | M | 5100 | 1376490GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0010 09 | COOLER;EPI,6060 0010 09 | COOLER;MNFR:EPIROC,PTNO:6060 0010 09 |  | COOLER;EPI,6060 0010 09COOLER;EPI,6060 0010 09 | EPIROC | 6060 0010 09 | [12 empty] | EPIROC |  | ATLAS COPCO | 6060001009 | [16 empty] | https://www.aga-parts.com/atlas-copco-parts?page=2913 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE | INTER | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099170 | 1099170 | 1380966 | AU_QM_000220532 |  | ERSA | M | 5100 | 1380966GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0026 46 | COOLER;EPI,6060 0026 46 | COOLER;MNFR:EPIROC,PTNO:6060 0026 46 |  | COOLER;EPI,6060 0026 46COOLER;EPI,6060 0026 46 | EPIROC | 6060 0026 46 | [12 empty] | EPIROC |  | ATLAS COPCO | 6060002646 | [16 empty] | https://www.aga-parts.com/atlas-copco-parts?page=2895 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE | AFTER | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099180 | 1099180 | 1380172 | AU_QM_000219660 |  | ERSA | M | 5100 | 1380172GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0026 87 | COOLER;EPI,6060 0026 87 | COOLER;MNFR:EPIROC,PTNO:6060 0026 87 |  | COOLER;EPI,6060 0026 87COOLER;EPI,6060 0026 87 | EPIROC | 6060 0026 87 | [14 empty] | EPIROC | 6060002687 | [16 empty] | https://expa-parts.com/atlas.copco/cooler/6060002687/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099171 | 1099171 | 1380965 | AU_QM_000220531 |  | ERSA | M | 5100 | 1380965GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0027 02 | COOLER;EPI,6060 0027 02 | COOLER;MNFR:EPIROC,PTNO:6060 0027 02 |  | COOLER;EPI,6060 0027 02COOLER;EPI,6060 0027 02 | EPIROC | 6060 0027 02 | [14 empty] | EPIROC | 6060002702 | [16 empty] | https://expa-parts.com/atlas.copco/cooler/6060002702/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099264 | 1099264 | 1378901 | AU_QM_000218260 |  | ERSA | M | 5100 | 1378901GZPCLNT100 | EA | 3000001 | COOLER;EPI,6060 0027 49 | COOLER;EPI,6060 0027 49 | COOLER;MNFR:EPIROC,PTNO:6060 0027 49 |  | COOLER;EPI,6060 0027 49COOLER;EPI,6060 0027 49 | EPIROC | 6060 0027 49 | [14 empty] | EPIROC | 6060002749 | [16 empty] | https://expa-parts.com/epiroc/oil/6060002749/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1008137 | 1008137 |  |  |  | ERSA | M | 5000 | 1611065GZPCLNT100 | EA | 3000010 | COOLER;SAN,BG00658449 | ENFRIADOR;SAN,BG00658449 | COOLER;MNFR:SANDVIK,PTNO:BG00658449 | ENFRIADOR;MNFR:SANDVIK,PTNO:BG00658449 |  | SANDVIK | BG00658449 | [14 empty] | SANDVIK | BG00658449 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00658449_cooler-oil/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1098815 | 1098815 | 1393992 | AU_QM_000237526 |  | ERSA | M | 5100 | 1393992GZPCLNT100 | EA | 3000012 | COOLER;TOY,1578566010 | COOLER;TOY,1578566010 | COOLER;MNFR:TOYOTA,PTNO:1578566010 |  | OEM-E-LISTCOOLER;TOY,1578566010 | TOYOTA | 1578566010 | [14 empty] | TOYOTA | 15785-66010 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~gasket~oil~cooler~15785-66010.html | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | GASKET | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099095 | 1099095 | 1384312 | AU_QM_000224866 |  | ERSA | M | 5100 | 1384312GZPCLNT100 | EA | 3000012 | COOLER;TOY,2391730011 | COOLER;TOY,2391730011 | COOLER;MNFR:TOYOTA,PTNO:2391730011 |  | COOLER;TOY,2391730011COOLER;BEL,2391730011 | TOYOTA | 2391730011 | [12 empty] | BELL & MOIR |  | TOYOTA | 2391730011 | [16 empty] | https://partsouq.com/en/search/all?q=2391730011 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE | FUEL | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1099640 | 1099640 | 1375208 | AU_QM_000214194 |  | ERSA | M | 5100 | 1375208GZPCLNT100 | EA | 3000012 | COOLER;TOY,389104103071 | COOLER;TOY,389104103071 | COOLER;MNFR:TOYOTA,PTNO:389104103071 |  | COOLER;TOY,389104103071COOLER;TOY,389104103071 | TOYOTA | 389104103071 | [12 empty] | TOYOTA | 389104103071 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1099116 | 1099116 | 1383101 | AU_QM_000223386 |  | ERSA | M | 5100 | 1383101GZPCLNT100 | EA | 3000012 | COOLER;TOY,8846035210 | COOLER;TOY,8846035210 | COOLER;MNFR:TOYOTA,PTNO:8846035210 |  | COOLER;TOY,8846035210COOLER;BEL,8846035210 | TOYOTA | 8846035210 | [14 empty] | TOYOTA | 8846035210 | [16 empty] | https://www.amayama.com/en/part/toyota/8846035210 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1099660 | 1099660 | 1373981 | AU_QM_000202851 |  | ERSA | M | 5100 | 1373981GZPCLNT100 | EA | 3000012 | COOLER;TOY,88461YC080 | COOLER;TOY,88461YC080 | COOLER;MNFR:TOYOTA,PTNO:88461YC080 |  | COOLER;TOY,88461YC080COOLER;BEL,88461YC080 | TOYOTA | 88461YC080 | [14 empty] | TOYOTA | 88461YC080 | [16 empty] | https://www.nunawadingtoyotaparts.com.au/toyota-cooler-condenser-assembly~11281 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1098814 | 1098814 | 1393993 | AU_QM_000237527 |  | ERSA | M | 5100 | 1393993GZPCLNT100 | EA | 3000012 | COOLER;TOY,8847412030 | COOLER;TOY,8847412030 | COOLER;MNFR:TOYOTA,PTNO:8847412030 |  | OEM-E-LISTCOOLER;TOY,8847412030 | TOYOTA | 8847412030 | [14 empty] | TOYOTA | 8847412030 | [16 empty] | https://partsouq.com/en/search/all?q=8847412030 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072070 | 1072070 |  |  |  | ERSA | M | 3730 | 1531783GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2128CC,CORE AS OIL | NUCLEO;CAT,10R-2128CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2128CC,ADDITIONAL FEATURES EN:CORE AS OIL | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2128CC |  | CATERPILLAR | 10R-2128CC | [14 empty] | CATERPILLAR | 10R-2128CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2128 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | CORE CHARGE |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072074 | 1072074 |  |  |  | ERSA | M | 3730 | 1531208GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2129CC,REMAN WATER PUMP | NUCLEO;CAT,10R-2129CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2129CC,ADDITIONAL FEATURES EN:REMAN WATER PUMP | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2129CC |  | CATERPILLAR | 10R-2129CC | [14 empty] | CATERPILLAR | 10R-2129CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2129 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 40151510 Water pumps | CORE CHARGE | SIZE:238.8 LGX238.8 WDX307.3 HT MM | PUMP | NO MODIFIER | TYPE | WATER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072073 | 1072073 |  |  |  | ERSA | M | 3730 | 1531209GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2133CC,ARM AS ROCKE | NUCLEO;CAT,10R-2133CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2133CC,ADDITIONAL FEATURES EN:ARM AS ROCKE | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2133CC |  | CATERPILLAR | 10R-2133CC | [14 empty] | CATERPILLAR | 10R-2133CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2133 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101700 Engine components and accessories | CORE CHARGE |  | ARM | NO MODIFIER | TYPE | INJECTOR ROCKER | SIZE | 172.72 LGX81.28 WDX55.88 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072072 | 1072072 |  |  |  | ERSA | M | 3730 | 1531780GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2134CC,ARM AS ROCKE | NUCLEO;CAT,10R-2134CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2134CC,ADDITIONAL FEATURES EN:ARM AS ROCKE | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2134CC |  | CATERPILLAR | 10R-2134CC | [14 empty] | CATERPILLAR | 10R-2134CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2134 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101700 Engine components and accessories | CORE CHARGE |  | ARM | NO MODIFIER | TYPE | INLET ROCKER | SIZE | 129.54 LGX91.44 WDX33.02 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072071 | 1072071 |  |  |  | ERSA | M | 3730 | 1531781GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2135CC,ARM AS ROCK | NUCLEO;CAT,10R-2135CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2135CC,ADDITIONAL FEATURES EN:ARM AS ROCK | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2135CC |  | CATERPILLAR | 10R-2135CC | [14 empty] | CATERPILLAR | 10R-2135CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2135 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101700 Engine components and accessories | CORE CHARGE |  | ARM | NO MODIFIER | TYPE | EXHAUST ROCKER | SIZE | 248.92 LGX81.28 WDX40.64 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072067 | 1072067 |  |  |  | ERSA | M | 3730 | 1531786GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2296CC,ENGINE OIL PUMP | NUCLEO;CAT,10R-2296CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2296CC,ADDITIONAL FEATURES EN:ENGINE OIL PUMP | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2296CC |  | CATERPILLAR | 10R-2296CC | [14 empty] | CATERPILLAR | 10R-2296CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2296 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 40151524 Oil pumps | CORE CHARGE |  | PUMP | LUBE | TYPE | OIL | INLET SIZE |  | OUTLET SIZE |  | FLOW RATING |  | DISCHARGE RATING |  | STROKE |  | PUMPING RATIO |  | SUCTION PRESSURE |  | DISCHARGE PRESSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1072068 | 1072068 |  |  |  | ERSA | M | 3730 | 1531785GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-2602CC,ENGINE CYLINDER HEAD | NUCLEO;CAT,10R-2602CC | CORE;MNFR:CATERPILLAR,PTNO:10R-2602CC,ADDITIONAL FEATURES EN:ENGINE CYLINDER HEAD | NUCLEO;MNFR:CATERPILLAR,PTNO:10R-2602CC |  | CATERPILLAR | 10R-2602CC | [14 empty] | CATERPILLAR | 10R-2602CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-2602 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101713 Cylinder heads | CORE CHARGE |  | HEAD | CYLINDER | TYPE | UTN | SIZE | 444.5 LG MMX1.143 WD MX368.3 HT MM | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1021192 | 1021192 | 1390470 | AU_QM_000232120 |  | ERSA | M | 5955 | 1390470GZPCLNT100 | EA | 3000003 | CORE;CAT,10R9160CC | CORE;CAT,10R9160CC | CORE;MNFR:CATERPILLAR,PTNO:10R9160CC |  | CORE;CAT,10R9160CCCORE;HAS,10R9160CC | CATERPILLAR | 10R9160CC | [14 empty] | CATERPILLAR | 10R-9160CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-9160 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 24101600 Lifting equipment and accessories | CORE CHARGE |  | BAR | NO MODIFIER | TYPE | EQUALIZER | DIMENSIONS | 2.322 LG MX300 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1021117 | 1021117 | 1394006 | AU_QM_000237541 |  | ERSA | M | 5955 | 1394006GZPCLNT100 | EA | 3000003 | CORE;CAT,10R9580CC | CORE;CAT,10R9580CC | CORE;MNFR:CATERPILLAR,PTNO:10R9580CC |  | OEM-E-LISTCORE;CAT,10R9580CC | CATERPILLAR | 10R9580CC | [14 empty] | CATERPILLAR | 10R-9580CC | [16 empty] | https://parts.cat.com/en/catcorp/10R-9580 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101720 Turbocharger | CORE CHARGE | SIZE:315 LGX302.3 WDX375.9 HT MM | TURBOCHARGER | NO MODIFIER | TYPE |  | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 |  | 1021193 | 1021193 | 1390449 | AU_QM_000232097 |  | ERSA | M | 5955 | 1390449GZPCLNT100 | EA | 3000003 | CORE;CAT,1210030888CC | CORE;CAT,1210030888CC | CORE;MNFR:CATERPILLAR,PTNO:1210030888CC |  | CORE;CAT,1210030888CCCORE;HAS,1210030888CC | CATERPILLAR | 1210030888CC | [12 empty] | CATERPILLAR | 1210030888CC |  |  | HASTING | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101600 Lifting equipment and accessories | CORE CHARGE |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1021113 | 1021113 | 1394013 | AU_QM_000237548 |  | ERSA | M | 5955 | 1394013GZPCLNT100 | EA | 3000003 | CORE;CAT,20R1710CC | CORE;CAT,20R1710CC | CORE;MNFR:CATERPILLAR,PTNO:20R1710CC |  | OEM-E-LISTCORE;CAT,20R1710CC | CATERPILLAR | 20R1710CC | [14 empty] | CATERPILLAR | 20R-1710CC | [16 empty] | https://parts.cat.com/en/catcorp/20R-1710 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Cleansed | 26101500 Engines | CORE CHARGE |  | ENGINE | NO MODIFIER | TYPE |  | POWER RATING |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | WIDTH |  | DEPTH |  | HEIGHT |  | TANK CAPACITY |  | IGNITION TYPE |  | STARTER TYPE |  | SHAFT DETAILS |  | SPEED RATING |  | CYLINDER MATERIAL |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | Completed | 2023-10-28 | 2023-11-03 | Processed based on Websource, Conflict w.r.t Input | 1021111 | 1021111 | 1394015 | AU_QM_000237550 |  | ERSA | M | 5955 | 1394015GZPCLNT100 | EA | 3000003 | CORE;CAT,20R3181CC | CORE;CAT,20R3181CC | CORE;MNFR:CATERPILLAR,PTNO:20R3181CC |  | OEM-E-LISTCORE;CAT,20R3181CC | CATERPILLAR | 20R3181CC | [14 empty] | CATERPILLAR | 20R-3181CC | [16 empty] | https://parts.cat.com/en/catcorp/20R-3181 | https://www.pickles.com.au/PWR-Web/services/api/item-attachment/C88C7D70-E1FA-40C7-9B5F-7FD393A832E9 | [8 empty] | Enriched | 26101720 Turbocharger | CORE CHARGE | SIZE:383.5 LGX363.2 WDX403.9 HT MM | TURBOCHARGER | NO MODIFIER | TYPE |  | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed