## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1208574 | 1208574 |  |  |  | ERSA | M | 5380 | 1116862MRM | BT |  | ALUMINIUM,TECHNICAL:STANDARD ALUMINIUM S | ALUMINIUM,TECHNICAL:STANDARD ALUMINIUM S | ALUMINIUM,TECHNICAL:STANDARD ALUMINIUM SOLUTON,10000PPM IN 2% HYDROCHLORIC ACID;ICP CALIBRATION;(BOTL = 500ML) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12141702 Aluminum Al | ICP CALIBRATION STANDARD:2 PCT HYDROCHLORIC ACID |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY | 10000 PPM | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | STANDARD ALUMINIUM SOLUTON | CONTAINER SIZE | 500 ML | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1217561 | 1217561 |  |  |  | ERSA | M | 4090 | 248674MRM | BT |  | AMMONIUM PERSULPHATE;ANALOID (0.38 GRAM | AMMONIUM PERSULPHATE;ANALOID (0.38 GRAM | AMMONIUM PERSULPHATE;ANALOID (0.38 GRAM TABLET)(BOTL = 1000 TABLETS) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | WEIGHT:0.38 G TABLET |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | AMMONIUM PERSULPHATE,ANALOID | CONTAINER SIZE | 1000 TABLET | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1205925 | 1205925 |  |  |  | ERSA | M | 4090 | 89318MRM | BT |  | ANGININE:600MG ANGININE TABLETS;100 TABL | ANGININE:600MG ANGININE TABLETS;100 TABL | ANGININE:600MG ANGININE TABLETS;100 TABLETS PER BOTTLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | WEIGHT:600 MG TABLET |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | ANGININE | CONTAINER SIZE | 100 TABLET | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1205912 | 1205912 |  |  |  | ERSA | M | 4090 | 88997MRM | BT |  | ANTACID:GASTROGEL LIQUID;500ML BOTTTLE; | ANTACID:GASTROGEL LIQUID;500ML BOTTTLE; | ANTACID:GASTROGEL LIQUID;500ML BOTTTLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | ANTACID,GASTROGEL | CONTAINER SIZE | 500 ML | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | LIQUID | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1203644 | 1203644 |  |  |  | ERSA | M | 4090 | 985912MRM | BOX |  | ANTIHISTAMINE:CLARATYNE TABLETS;NON-DROW | ANTIHISTAMINE:CLARATYNE TABLETS;NON-DROW | ANTIHISTAMINE:CLARATYNE TABLETS;NON-DROWSY ANTIHISTAMINE;10 TABLETS PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | CLARATYNE,NON-DROWSY ANTIHISTAMINE | CONTAINER SIZE | 10 TABLET | CONTAINER | BOX | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1206325 | 1206325 |  |  |  | ERSA | M | 5100 | 278770MRM | EA |  | ARSENIC,METALLIC:STANDARD;AAS/ICP;1000PP | ARSENIC,METALLIC:STANDARD;AAS/ICP;1000PP | ARSENIC,METALLIC:STANDARD;AAS/ICP;1000PPM;;500ML BOTTLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12141906 Arsenic As | AAS/ICP |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY | 1000 PPM | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | STANDARD METALLIC ARSENIC | CONTAINER SIZE | 500 ML | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1203973 | 1203973 |  |  |  | ERSA | M | 4090 | 988507MRM | BOX |  | ATROPINE:600MCG/1ML AMP 10 PER BOX; PFIZ | ATROPINE:600MCG/1ML AMP 10 PER BOX; PFIZ | ATROPINE:600MCG/1ML AMP 10 PER BOX; PFIZER; PREFILLED SYRINGE; | [16 empty] | PFIZER | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42142600 Syringes and accessories | COMPOSITION:ATROPINE,PACKAGE QUANTITY:10/BX |  | SYRINGE | NO MODIFIER | TYPE | PREFILLED | CAPACITY | 600 MCG/1 ML AMP | GRADUATION |  | MATERIAL |  | TIP SYTLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1215422 | 1215422 |  |  |  | ERSA | M | 4010 | 174257MRM | EA |  | AUGER,POSTHOLE,HAND150MM;RUBBER GRIP;FOU | AUGER,POSTHOLE,HAND150MM;RUBBER GRIP;FOU | AUGER,POSTHOLE,HAND150MM;RUBBER GRIP;FOUR CUTTERS 12MM DISTANCE;TAMPER TO COMPACT EARTH;FOUR CLAWSAT BASE OF DRUM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111509 Augers | 4 CUTTERS 12 MM DISTANCE,TAMPER TO COMPACT EARTH,FOUR CLAWSAT BASE OF DRUM |  | AUGER | EARTH | TYPE | POSTHOLE,HAND | LENGTH | 150 MM | CUTTING DIAMETER |  | SIZE |  | DRIVER |  | MATERIAL | RUBBER GRIP | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1210444 | 1210444 |  |  |  | ERSA | M | 1600 | 1196716MRM | EA |  | BACKPLANE ASSY:FCS BACKPLANE; | BACKPLANE ASSY:FCS BACKPLANE; | BACKPLANE ASSY:FCS BACKPLANE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201610 Backplane or panels or assemblies | ASSEMBL,FCS |  | BACKPLANE | NO MODIFIER | TYPE |  | NUMBER OF LAYERS |  | NUMBER OF HOLES/SLOTS |  | SIZE |  | BUS STANDARD |  | FORM FACTOR |  | POWER CONNECTOR |  | CPU SLOT |  | OTHER SLOTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1089181 | 1089181 | 1382633 | AU_QM_000222790 |  | ERSA | M | 5955 | 1382633GZPCLNT100 | EA | 3000438 | BAND;NRMT,45334530 | BANDE;NRMT,45334530 | BANDA;MNFR:NORMET,PTNO:45334530 | BANDA;,MNFR:NORMET,PTNO:45334530 | BAND;NRMT,45334530BAND;NOR,45334530 | NORMET | 45334530 | [12 empty] | NORMET | 45334530 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1107438 | 1107438 | 1429077 | AU_QM_000561597 |  | ERSA | M | 1600 | 1429077GZPCLNT100 | EA |  | BASE AMPLIFIER | BASE AMPLIFIER | CIRCUIT CARD ASSEMBLY: BASE AMPLIFIER |  | CIRCUIT CARD ASSEMBLY:BASE AMPLIFIER | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR BASE AMPLIFIER |  | CARD | NO MODIFIER | TYPE | CIRCUIT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1100077 | 1100077 | 1387664 | AU_QM_000228843 |  | ERSA | M | 1500 | 1387664GZPCLNT100 | EA | 3000438 | BASKET;NRMT,100087123 | CESTA; | CESTA;MNFR:NORMET,PTNO:100087123 | CESTA;,MNFR:NORMET,PTNO:100087123 | BASKET;NRMT,100087123BASKET;NOR,100087123 | NORMET | 100087123 | [12 empty] | NORMET | 100087123 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112000 Bins and baskets |  |  | BASKET | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1026254 | 1026254 | 1386834 | AU_QM_000227862 |  | ERSA | M | 5930 | 1386834GZPCLNT100 | EA | 3000030 | BED;OUT,N048591745 | BED;OUT,N048591745 | BED;MNFR:OUTOTEC,PTNO:N048591745 |  | BED;OUT,N048591745BED;OUT,N048591745 | OUTOTEC | N048591745 | [12 empty] | OUTOTEC | N048591745 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BED | NO MODIFIER | TYPE |  | COMMERCIAL SIZE |  | FRAME MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1025436 | 1025436 | 1384009 | AU_QM_000224509 |  | ERSA | M | 2610 | 1384009GZPCLNT100 | EA | 3000438 | BELT;NRMT,100070134 | COURROIE;NRMT,100070134 | CORREA;MNFR:NORMET,PTNO:100070134 | CORREA;,MNFR:NORMET,PTNO:100070134 | BELT;NRMT,100070134BELT;NOR,100070134 | NORMET | 100070134 | [12 empty] | NORMET | 100070134 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BELT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1205893 | 1205893 |  |  |  | ERSA | M | 4090 | 88609MRM | TB |  | BETAMETHASONE:ELEUPHRAT CREAM;0.05%;15GM | BETAMETHASONE:ELEUPHRAT CREAM;0.05%;15GM | BETAMETHASONE:ELEUPHRAT CREAM;0.05%;15GM TUBE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51422303 Betamethasone |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY | 0.05 PCT | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | BETAMETHASONE,ELEUPHRAT | CONTAINER SIZE | 15 G | CONTAINER | TUBE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | CREAM | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1034627 | 1034627 | 1384212 | AU_QM_000224754 |  | ERSA | M | 5100 | 1384212GZPCLNT100 | EA | 3000438 | BINDER;NRMT,54916309 | LIANT;NRMT,54916309 | AGLUTINANTE;MNFR:NORMET,PTNO:54916309 | AGLUTINANTE;,MNFR:NORMET,PTNO:54916309 | BINDER;NRMT,54916309BINDER;NOR,54916309 | NORMET | 54916309 | [12 empty] | NORMET | 54916309 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 44122003 Binders |  |  | BINDER | NO MODIFIER | TYPE |  | SHEET SIZE |  | SHEET CAPACITY |  | BINDING STYLE |  | MATERIAL |  | SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1095197 | 1095197 | 1385336 | AU_QM_000226096 |  | ERSA | M | 5920 | 1385336GZPCLNT100 | EA | 3000438 | BLADE;NRMT,55125892 | ESPADA; | ESPADA;MNFR:NORMET,PTNO:55125892 | ESPADA;,MNFR:NORMET,PTNO:55125892 | BLADE;NRMT,55125892BLADE;NOR,55125892 | NORMET | 55125892 | [12 empty] | NORMET |  |  | 55125892 | [16 empty] | https://www.volza.com/p/blade-machine/import/import-in-india/hsn-code-8536/ | [9 empty] | Cleansed | 39121612 Blade fuses |  |  | FUSE | BLADE | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | INTERRUPT RATING |  | CLASS |  | MATERIAL |  | SIZE |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1063087 | 1063087 | 1463726 | AU_QM_005085169 |  | ERSA | M | 1540 | 1463726GZPCLNT100 | EA |  | BLANK | BLANK | CHOKE; BLANK SUIT IN THE HOLE HAMMER |  | CHOKE; BLANK | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121012 Chokes | FOR HOLE HAMMER |  | CHOKE | NO MODIFIER | TYPE | BLANK | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE |  | IMPEDANCE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1206209 | 1206209 |  |  |  | ERSA | M | 4090 | 1027911MRM | BOX |  | BLOOD SUGAR LEVEL, LANCET:BSL LANCETS;UN | BLOOD SUGAR LEVEL, LANCET:BSL LANCETS;UN | BLOOD SUGAR LEVEL, LANCET:BSL LANCETS;UNISTIK 2; | [36 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1215197 | 1215197 |  |  |  | ERSA | M | 5955 | 777980MRM | EA |  | BRIDE:PLUTON 30 FRAME BRIDE;FRAME GROUP | BRIDE:PLUTON 30 FRAME BRIDE;FRAME GROUP | BRIDE:PLUTON 30 FRAME BRIDE;FRAME GROUP ASSY;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1217558 | 1217558 |  |  |  | ERSA | M | 4090 | 247338MRM | PAC |  | BROTH,DEHYDRATED;ENDO MEDIA;110G; | BROTH,DEHYDRATED;ENDO MEDIA;110G; | BROTH,DEHYDRATED;ENDO MEDIA;110G; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | ENDO MEDIA |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | DEHYDRATED BROTH | CONTAINER SIZE | 110 G | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1064646 | 1064646 | 1470442 | AU_QM_009146250 |  | ERSA | M | 5100 | 1470442GZPCLNT100 | EA |  | C/W HALF COUPLING | C/W HALF COUPLING | EXCITER ASSY; C/W HALF COUPLING SUIT WINDER AT R62 |  | EXCITER ASSY; C/W HALF COUPLING | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,C/W HALF COUPLING,FOR WINDER AT R62 |  | EXCITER | NO MODIFIER | TYPE |  | FIELD CURRENT RANGE |  | POWER SUPPLY |  | INTERFACE TYPE |  | HMI TYPE |  | PLC |  | IP RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Processed based on Websource, Conflict w.r.t Input | 1026262 | 1026262 | 1386130 | AU_QM_000227027 |  | ERSA | M | 5820 | 1386130GZPCLNT100 | EA | 3000030 | CAKE;OUT,P39016 | CAKE;OUT,P39016 | CAKE;MNFR:OUTOTEC,PTNO:P39016 |  | CAKE;OUT,P39016CAKE;OUT,P39016 | OUTOTEC | P39016 | [14 empty] | OUTOTEC | P39016 | [16 empty] | https://www.volza.com/p/hdpe/export/coo-india/hsn-code-8421/ | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | SCRAPER | NO MODIFIER | TYPE | CAKE CHUTE SCRAPER | BLADE WIDTH |  | MATERIAL |  | BLADE LENGTH |  | BLADE THICKNESS |  | OVERALL LENGTH |  | HANDLE LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1208329 | 1208329 |  |  |  | ERSA | M | 5380 | 1116581MRM | PAC |  | CALCIUM HYPOCHLORITE,TECHNICAL:POWDER FO | CALCIUM HYPOCHLORITE,TECHNICAL:POWDER FO | CALCIUM HYPOCHLORITE,TECHNICAL:POWDER FORM; (PKT = 500G) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE | CALCIUM HYPOCHLORITE | CONTAINER | PACKET | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | POWDER | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1106075 | 1106075 | 1412310 | AU_QM_000257755 |  | ERSA | M | 5915 | 1412310GZPCLNT100 | EA |  | CAPE;NOVA 3 COMPLETE (INNER AND OUTER) | CAPE;NOVA 3 COMPLETE (INNER AND OUTER) | CAPE;TYPE:NOVA 3 COMPLETE (INNER AND OUTER),MNFR:01)PARTS,PTNO:01)0703-3751 |  | CAPE;NOVA 3 COMPLETE (INNER AND OUTER)CAPE;NOVA 3 COMPLETE (INNER AND OUTER) | [14 empty] | PARTS |  | BURWELL | 0703-3751 | [16 empty] | https://www.burwell.com.au/products/operator-safety-equipment/respiratory-equipment/blast-helmets-spray-hoods/nova-3-blast-helmet | [9 empty] | Enriched | 46181500 Safety apparel | MODEL:NOVA 3 COMPLETE |  | CAPE | NO MODIFIER | TYPE | INNER,OUTER | SIZE | 38 IN | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1015831 | 1015831 | 1459013 | AU_QM_002203105 |  | ERSA | M | 5100 | 1459013GZPCLNT100 | EA |  | CAST IRON RESISTORS | CAST IRON RESISTORS | RESISTANCE BANK; CAST IRON RESISTORS SIMILAR TO STACK SERIAL NO.5845 FOR 200HP MOTOR CONTROL STARTERS |  | RESISTANCE BANK;CAST IRON RESISTORS | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121600 Resistors | SIMILAR TO STACK SERIAL NO.5845 FOR 200 HP MOTOR CONTROL STARTERS |  | RESISTOR | BANK | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL | CAST IRON | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1203998 | 1203998 |  |  |  | ERSA | M | 2700 | 28340MRM | BT |  | CHALK POWDER:REFILL;WHITE;113GM BOTTLE;F | CHALK POWDER:REFILL;WHITE;113GM BOTTLE;F | CHALK POWDER:REFILL;WHITE;113GM BOTTLE;FRENCH POWDER;CSIS REF - GP 17 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | CSIS REF-GP 17 |  | CHEMICAL | NO MODIFIER | TYPE | REFILL | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | CHALK | CONTAINER SIZE | 113 G | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | FRENCH POWDER | COLOUR | WHITE | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | OBSOLETE | 1206533 | 1206533 |  |  |  | ERSA | M | 3700 | 670927MRM | EA |  | CHARGE,FIRE EXT,FOAM:OBSOLETE AFFF TYPE | CHARGE,FIRE EXT,FOAM:OBSOLETE AFFF TYPE | CHARGE,FIRE EXT,FOAM:OBSOLETE AFFF TYPE;19L DRUM; FIRE SUPPRESSION SYSTEMS | [36 empty] | URL NOT FOUND |  |  | FIRE SUPPRESSION SYSTEMS | [6 empty] | Cleansed | 46191600 Fire fighting equipment | FOR AFFF TYPE 19 L DRUM FOAM FIRE EXTINGUISHER |  | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1204090 | 1204090 |  |  |  | ERSA | M | 4000 | 271116MRM | EA |  | CHILLER,WATER,REFRIGERATING30RQP-210R;AI | CHILLER,WATER,REFRIGERATING30RQP-210R;AI | CHILLER,WATER,REFRIGERATING30RQP-210R;AIR COOLED SCROLL CHILLER;206KW | [17 empty] | 30RQP-210R | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | CHILLER | NO MODIFIER | TYPE | WATER,REFRIGERATING,AIR COOLED SCROLL | COOLING CAPACITY |  | FLOW RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING | 206 KW | CONNECTION SIZE |  | TUBE SIZE |  | TUBE MATERIAL |  | TANK CAPACITY |  | COMPRESSOR POWER RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | OVERALL SIZE |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE RATING |  | COOLING MEDIA |  | CERTIFICATION/STANDARD | [35 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1217071 | 1217071 |  |  |  | ERSA | M | 4090 | 220202MRM | BT |  | CHLORHEXIDINE:SURGICAL SCRUB;SOLUTION;DI | CHLORHEXIDINE:SURGICAL SCRUB;SOLUTION;DI | CHLORHEXIDINE:SURGICAL SCRUB;SOLUTION;DISPENSER BOTTLE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51472803 Chlorhexidine |  |  | CHEMICAL | NO MODIFIER | TYPE | SURGICAL SCRUB | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | CHLORHEXIDINE SOLUTION | CONTAINER SIZE |  | CONTAINER | DISPENSER BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1024317 | 1024317 | 1385581 | AU_QM_000226371 |  | ERSA | M | 5610 | 1385581GZPCLNT100 | EA | 3000438 | COIL;NRMT,57701906 | BOBINA; | BOBINA;MNFR:NORMET,PTNO:57701906 | BOBINA;,MNFR:NORMET,PTNO:57701906 | COIL;NRMT,57701906COIL;NOR,57701906 | NORMET | 57701906 | [12 empty] | NORMET | 57701906 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COIL | NO MODIFIER | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1210573 | 1210573 |  |  |  | ERSA | M | 2200 | 163999MRM | EA |  | CONNECTION;CONNECTOR,SOLENOID,AVID;: F79 | CONNECTION;CONNECTOR,SOLENOID,AVID;: F79 | CONNECTION;CONNECTOR,SOLENOID,AVID;: F791 ACTUATOR;NAMUR/ IN-LINE ADAPTER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR AVID SOLENOID,F791 ACTUATOR,NAMUR/IN-LINE ADAPTER |  | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1034576 | 1034576 | 1386076 | AU_QM_000226962 |  | ERSA | M | 4005 | 1386076GZPCLNT100 | EA | 3000003 | CREEPER;CAT,172-0852 | CREEPER;CAT,172-0852 | CREEPER;MNFR:CATERPILLAR,PTNO:172-0852 |  | CREEPER;CAT,172-0852CREEPER;HAS,172-0852 | CATERPILLAR | 172-0852 | [12 empty] | HASTING |  | CATERPILLAR | 172-0852 | [16 empty] | https://www.mrfilter.com.au/creeper-caterpillar | [9 empty] | Cleansed | 24101508 Creepers |  |  | CREEPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1214183 | 1214183 |  |  |  | ERSA | M | 5920 | 137845MRM | EA |  | CRIMPING TOOL,TERMINAL:CRIMPING TOOL;DPI | CRIMPING TOOL,TERMINAL:CRIMPING TOOL;DPI | CRIMPING TOOL,TERMINAL:CRIMPING TOOL;DPI1500; | [17 empty] | DPI1500 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools | TOOL |  | CRIMPER | NO MODIFIER | TYPE | TERMINAL | TRADE SIZE |  | CRIMPING RANGE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1023558 | 1023558 | 1382743 | AU_QM_000222972 |  | ERSA | M | 4090 | 1382743GZPCLNT100 | EA | 3000438 | CROSS;NRMT,548141732 | CROIX;NRMT,548141732 | CRUCETA;MNFR:NORMET,PTNO:548141732 | CRUCETA;,MNFR:NORMET,PTNO:548141732 | CROSS;NRMT,548141732CROSS;NOR,548141732 | NORMET | 548141732 | [12 empty] | NORMET | 548141732 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CROSS | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1089186 | 1089186 | 1382482 | AU_QM_000222606 |  | ERSA | M | 5955 | 1382482GZPCLNT100 | EA | 3000438 | DAMPER;NRMT,54923198 | VOLET;NRMT,54923198 | AMORTIGUADOR;MNFR:NORMET,PTNO:54923198 | AMORTIGUADOR;,MNFR:NORMET,PTNO:54923198 | DAMPER;NRMT,54923198DAMPER;NOR,54923198 | NORMET | 54923198 | [12 empty] | NORMET | 54923198 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1207948 | 1207948 |  |  |  | ERSA | M | 5380 | 1110840MRM | EA |  | DIAL,SCALE:PULP DENSITY SCALE, FACE;3.0- | DIAL,SCALE:PULP DENSITY SCALE, FACE;3.0- | DIAL,SCALE:PULP DENSITY SCALE, FACE;3.0-3.6MEASURING PARTICULAR DRY SOLID,SPECIFIC GRAVITY IN PULP; | [36 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1205897 | 1205897 |  |  |  | ERSA | M | 4090 | 88666MRM | TB |  | DICLOFENAC:DICLOFENAC DIETHYLAMMONIUM GE | DICLOFENAC:DICLOFENAC DIETHYLAMMONIUM GE | DICLOFENAC:DICLOFENAC DIETHYLAMMONIUM GEL;11.6MG/GMVOLTAREN EMULGEL;50GM TUBE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51383304 Diclofenac | 11.6MG/GM VOLTAREN |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | DICLOFENAC,DICLOFENAC DIETHYLAMMONIUM | CONTAINER SIZE | 50 G | CONTAINER | TUBE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | EMULGEL | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1026218 | 1026218 | 1389456 | AU_QM_000230949 |  | ERSA | M | 1630 | 1389456GZPCLNT100 | EA | 3000438 | DIVIDER;NRMT,54943857 | DIVISOR; | DIVISOR;MNFR:NORMET,PTNO:54943857 | DIVISOR;,MNFR:NORMET,PTNO:54943857 | DIVIDER;NRMT,54943857DIVIDER;NOR,54943857 | NORMET | 54943857 | [12 empty] | NORMET | 54943857 |  | 54943857 | [16 empty] | https://www.volza.com/p/dividers/import/import-in-india/coo-finland/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DIVIDER | NO MODIFIER | TYPE | GREASE | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1210639 | 1210639 |  |  |  | ERSA | M | 4010 | 355601MRM | EA |  | DRILL-HAMMER,ELECTRIC:240VAC;550W;13MM C | DRILL-HAMMER,ELECTRIC:240VAC;550W;13MM C | DRILL-HAMMER,ELECTRIC:240VAC;550W;13MM CHUCK;2 SPEED VARIABLEC/W DEPTH GAUGE;CHUCK KEY;SIDE GRIP | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112703 Power drills | C/W DEPTH GAUGE |  | DRILL | POWER | TYPE | CHUCK KEY,HAMMER,SIDE GRIP,2 SPEED VARIABLE | CHUCK CAPACITY | 13 MM | CHUCK TYPE |  | OVERALL SIZE |  | POWER SUPPLY | 240 VAC,550 W | SPEED RATING |  | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Processed based on Websource, Conflict w.r.t Input | 1100990 | 1100990 | 1390444 | AU_QM_000232092 |  | ERSA | M | 1500 | 1390444GZPCLNT100 | EA | 3000012 | DUCK;TOY,LC792TGY | DUCK;TOY,LC792TGY | DUCK;MNFR:TOYOTA,PTNO:LC792TGY |  | DUCK;TOY,LC792TGYDUCK;BEL,LC792TGY | TOYOTA | LC792TGY | [12 empty] | BELL & MOIR |  | TOYOTA | LC792TGY | [16 empty] | https://www.motoquipe.com.au/buy/4-side-facing-rear-troop-carrier-no-head-rest-cove/20504250_20504252 | [9 empty] | Enriched | 25174601 Seat covers | BRAND:DUCK |  | COVER | SEAT | TYPE |  | SIZE |  | MATERIAL | CANVAS | COLOR |  | CLOSURE TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1143498 | 1143498 | 1423315 | AU_QM_000269737 |  | ERSA | M | 5915 | 1423315GZPCLNT100 | EA |  | DUSTER;CONTROL MOP FRINGE, REFILL HEAD | DUSTER;CONTROL MOP FRINGE, REFILL HEAD | DUSTER;TYPE:CONTROL MOP FRINGE, REFILL HEAD,SIZE:WD 210 MM,MATERIAL:MODACRYLIC FIBRE,COLOUR:ORANGE,ADDITIONAL FEATURES EN:QUOTE NUMB |  | DUSTER;CONTROL MOP FRINGE, REFILL HEADDUSTER;CONTROL MOP FRINGE, REFILL HEAD | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47121801 Cleaning dusters | QUOTE NUMB |  | DUSTER | NO MODIFIER | TYPE | CONTROL MOP FRINGE,REFILL HEAD | SIZE | 210 MM WD | MATERIAL | MODACRYLIC FIBRE | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1218363 | 1218363 |  |  |  | ERSA | M | 2920 | 270621MRM | EA |  | DUSTPAN:BLACK;UPRIGHT LOBBY;PRO 26L | DUSTPAN:BLACK;UPRIGHT LOBBY;PRO 26L | DUSTPAN:BLACK;UPRIGHT LOBBY;PRO 26L | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131601 Dust brushes or pans | BRAND:PRO,COLOR:BLACK |  | PAN | DUST | TYPE | UPRIGHT LOBBY | SIZE |  | MATERIAL |  | CAPACITY | 26 L | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1023483 | 1023483 | 1385676 | AU_QM_000226491 |  | ERSA | M | 4090 | 1385676GZPCLNT100 | EA | 3000438 | EDGE;NRMT,57830980 | BORDE; | BORDE;MNFR:NORMET,PTNO:57830980 | BORDE;,MNFR:NORMET,PTNO:57830980 | EDGE;NRMT,57830980EDGE;NOR,57830980 | NORMET | 57830980 | [12 empty] | NORMET | 57830980 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112203 Edgers |  |  | EDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1090892 | 1090892 | 1384210 | AU_QM_000224752 |  | ERSA | M | 5910 | 1384210GZPCLNT100 | EA | 3000438 | ELBOW;NRMT,36091310 | COUDE;NRMT,36091310 | CODO;MNFR:NORMET,PTNO:36091310 | CODO;,MNFR:NORMET,PTNO:36091310 | ELBOW;NRMT,36091310ELBOW;NOR,36091310 | NORMET | 36091310 | [12 empty] | NORMET | 36091310 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ELBOW | NO MODIFIER | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Processed based on Websource, Conflict w.r.t Input | 1014465 | 1014465 | 1324550 | AU_QM_000159305 |  | ERSA | M | 3720 | 1324550GZPCLNT100 | EA | 3000028 | DETENT;MIT,MB308965 | RETEN;MIT,MB308965, | DETENT,MNFR:MITSUBISHI,PTNO:MB308965 | RETEN,MNFR:MITSUBISHI,PTNO:MB308965 | SEAL,ENCASED: 85MM ID X 127MM OD X 12MM W;WHEEL HUB IN | MITSUBISHI | MB308965 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMB308965 | [12 empty] | MITSUBISHI | MB308965 | RGM MAINTENANCE PTY LTD | QMB308965 | [14 empty] | https://size.name/en/products/mb308965 | [9 empty] | Enriched | 31411705 Lip seal |  |  | SEAL | OIL | TYPE |  | INSIDE DIAMETER | 85 MM | OUTSIDE DIAMETER | 127 MM | WIDTH | 13 MM | NUMBER OF LIP |  | SEAL DESIGN |  | MATERIAL |  | SPEED RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1035367 | 1035367 | 1474827 | AU_QM_000176451 |  | ERSA | M | 5905 | 1474827GZPCLNT100 | EA |  | CYCLONE;SIMBA | CYCLONE;SIMBA |  |  | FILTER:CYCLONE;SIMBA |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9111163208 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 9111163208 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40161500 Filters | FOR SIMBA CYCLONE |  | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1035442 | 1035442 | 1476283 | AU_QM_000983501 |  | ERSA | M | 4000 | 1476283GZPCLNT100 | EA |  | BANNER PHOTOSENSOR EMITTER; | BANNER PHOTOSENSOR EMITTER; |  |  | TRANSMITTER,LIGHT SIGNAL: BANNER PHOTOSENSOR EMITTER; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | SW186E | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1476283 | [8 empty] | BANNER |  |  |  | LAWRENCE & HANSON PTY. LTD. | SW186E | CNW (TOWNSVILLE) ELECT SUPPLIES | 1476283 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | TRANSMITTER | SIGNAL | TYPE | LIGHT,PHOTOSENSOR | ELECTRICAL RATING |  | INPUT RATING |  | OUTPUT RATING |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CONFIGURATION |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1035523 | 1035523 |  |  |  | ERSA | M | 5380 | 1496006GZPCLNT100 | EA |  | CHEMICAL;AVITONE A; 170KG DRM; D100AV375 | CHEMICAL;AVITONE A; 170KG DRM; D100AV375 | [5 empty] | 1009837 @@ FLC INDUSTRIES SP.Z O.O. | 1496006 | [11 empty] | D100AV375 |  |  | FLC INDUSTRIES SP.Z O.O. | 1496006 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | AVITONE A | CONTAINER SIZE | 170 KG | CONTAINER | DRUM | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1036041 | 1036041 |  |  |  | ERSA | M | 2920 | 1526202GZPCLNT100 | PAC |  | BEVERAGE;HYDRATION,ICY POLE,1717-00046 | BEVERAGE;HYDRATION,ICY POLE,1717-00046 | BEVERAGE;ADDITIONAL FEATURES:HYDRATION,ICY POLE,1717-00046 |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1717-00046 | [12 empty] | WESTERNEX PTY LTD | 1717-00046 | [16 empty] | https://westernex.com.au/wp-content/uploads/westernex-complete-catalogue.pdf | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1036268 | 1036268 | 1476076 | AU_QM_000247908 |  | ERSA | M | 5315 | 1476076GZPCLNT100 | BT |  | ANALAR,ABSOLUTE,2.5L BOTTLE, | ANALAR,ABSOLUTE,2.5L BOTTLE, |  |  | ETHANOL:ANALAR,ABSOLUTE,2.5L BOTTLE, |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | CE1616 | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | AJA214-2.5L-GL | [10 empty] | ROWE SCIENTIFIC PTY LTD | CE1616 |  |  | THERMO FISHER SCIENTIFIC AUSTRAL | AJA214-2.5L-GL | [12 empty] | https://www.rowe.com.au/rowe/Product_Add_To_Cart.htm?search=true&cms%2Erm=SearchAllPage&searchField=CE1616&SimilarProduct=true | [9 empty] | Cleansed | 15101802 Ethanol |  |  | CHEMICAL | NO MODIFIER | TYPE | ANALAR,ABSOLUTE | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE | 2.5 L | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1036378 | 1036378 |  |  |  | ERSA | M | 5380 | 1530450GZPCLNT100 | KG |  | CHEMICAL;WAX,MICWAXBR-1010E -20 | CHEMICAL;WAX,MICWAXBR-1010E -20 | [5 empty] | 1068466 @@ IXOM OPERATIONS PTY LTD | MICWAXBR-1010E -20 | [14 empty] | IXOM OPERATIONS PTY LTD | MICWAXBR-1010E -20 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12181500 Waxes |  |  | WAX | NO MODIFIER | TYPE |  | FORM |  | CONTAINER |  | MELTING POINT |  | FLASH POINT |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1037033 | 1037033 |  |  |  | ERSA | M | 1700 | 1490717GZPCLNT100 | M |  | CORDTEX; AP; 4.3W 2X 500M ROLL; 1018476; | CORDTEX; AP; 4.3W 2X 500M ROLL; 1018476; | CORDTEX; AP; 4.3W 2X 500M ROLL; 1018476; ORICA PRIMACORD |  |  |  |  | 1070667 @@ ORICA AUSTRALIA PTY LTD | 1490717 | [12 empty] | ORICA AUSTRALIA PTY LTD | 1018476 | ORICA AUSTRALIA PTY LTD | 1490717 | [14 empty] | https://www.oricaminingservices.com/uploads/NZ%20price%20list/2021/1%20July%202021%20NZ%20North%20Island%20Price%20list_Orica_Website%20published.pdf | [9 empty] | Enriched | 12130000 Explosive materials | BRAND:CORDTEX,LENGTH:500 M,POWER RATING:4.3 W,PACKAGE QUANTITY:2 REEL/BX |  | CORD | DETONATING | TYPE | AP,PRIMA | CORE LOAD | 4.3 G | CORD DIAMETER |  | WEIGHT OF DF |  | VELOCITY OF DETONATION |  | BREAKING LOAD RATING |  | ABRASION |  | UNDER WATER PRESSURE |  | SIDE BRISANCE |  | COLOUR |  | PACKING |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1037037 | 1037037 | 1475711 | AU_QM_000234370 |  | ERSA | M | 4700 | 1475711GZPCLNT100 | TO |  | CUMICRETE M 45;BACK FILLING CASTABLE;FOR | CUMICRETE M 45;BACK FILLING CASTABLE;FOR |  |  | CASTABLE MIX,REFRACTORY:CUMICRETE M 45;BACK FILLING CASTABLE;FOR |  |  | 1068286 @@ CUMI (AUSTRALIA) PTY LTD | CUMICRETE M 45 | [12 empty] | CUMI (AUSTRALIA) PTY LTD | CUMICRETE M 45 | [16 empty] | https://www.cumi-murugappa.com/refractories/datasheet/pro-dense-castables-cumicrete.pdf | [9 empty] | Enriched | 31371200 Castables |  | GRAIN SIZE:5 MM | CASTABLE | REFRACTORY | TYPE | BACK FILLING | CHEMICAL COMPOSITION | ALUMINUM OXIDE,FERRIC OXIDE | PACK SIZE |  | PACK TYPE |  | SERVICE TEMPERATURE | 1400 DEG C | DENSITY | 2 GM/CC | MINIMUM TIME BEFORE FIRING |  | MODULUS OF RUPTURE |  | THERMAL EXPANSION | 0.55 PCT REVERSIBLE | THERMAL CONDUCTIVITY |  | INSTALLATION |  | STORAGE LIFE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1060179 | 1060179 |  |  |  | ERSA | M | 4015 | 1615328GZPCLNT100 | EA |  | COOLER,OIL; | ENFRIADOR ACEITE; | [5 empty] | 1068354 @@ FINLAY SCREENING & CRUSHING | 10.35.0025 | [12 empty] | FINLAY SCREENING & CRUSHING | 10.35.0025 | [16 empty] | https://www.crusherconsumables.co.uk/terex-finlay-parts-2 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1063321 | 1063321 | 1430145 | AU_QM_000639864 |  | ERSA | M | 5100 | 1430145GZPCLNT100 | EA |  | ASEA UNIT | ASEA UNIT | CAPACITOR-RESISTOR: ASEA UNIT |  | CAPACITOR-RESISTOR: ASEA UNIT |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | YT930003-DE | [14 empty] | ABB AUSTRALIA PTY LTD | YT930003-DE | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121500 Capacitors | C/W RESISTOR,FOR ASEA UNIT |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1064544 | 1064544 | 1471385 | AU_QM_009208100 |  | ERSA | M | 5810 | 1471385GZPCLNT100 | EA |  | DOG; | DOG; | DOG; |  | DOG; |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | SP-6-456 (DWG) | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | SP-6-456 (DWG) | [14 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1065025 | 1065025 | 1458489 | AU_QM_001737010 |  | ERSA | M | 1825 | 1458489GZPCLNT100 | EA |  | CHAMOIS; | CHAMOIS; | CHAMOIS; |  | CHAMOIS; |  |  | 1068087 @@ ASHDOWN INGRAM | 1458489 | 1071809 @@ ASHDOWN ENTERPRISES | MGGS3.5 | [12 empty] | ASHDOWN INGRAM | 1458489 | ASHDOWN ENTERPRISES | MGGS3.5 | [12 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1095147 | 1095147 | 1386378 | AU_QM_000227320 |  | ERSA | M | 5920 | 1386378GZPCLNT100 | EA | 3000438 | BREATHER;NRMT,52449618 | BOQUETE; | BOQUETE;MNFR:NORMET,PTNO:52449618 | BOQUETE;,MNFR:NORMET,PTNO:52449618 | BREATHER;NRMT,52449618BREATHER;NOR,52449618 | NORMET | 52449618 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 52449618 | [10 empty] | NORMET | 52449618 |  |  | NORMET ASIA PACIFIC PTY LTD | 52449618 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40142512 Breather |  |  | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1100261 | 1100261 | 1383351 | AU_QM_000223710 |  | ERSA | M | 5100 | 1383351GZPCLNT100 | EA | 3000438 | CONDITIONER;NRMT,57969552 | CONDITIONNR;NRMT,57969552 | ACONDICIONADOR;MNFR:NORMET,PTNO:57969552 | ACONDICIONADOR;,MNFR:NORMET,PTNO:57969552 | CONDITIONER;NRMT,57969552CONDITIONER;NOR,57969552 | NORMET | 57969552 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57969552 | [12 empty] | NORMET | 57969552 | NORMET ASIA PACIFIC PTY LTD | 57969552 | [14 empty] | https://www.volza.com/p/normet/import/import-in-philippines/ | [9 empty] | Cleansed | 40101701 Air conditioners |  |  | AIR CONDITIONER | NO MODIFIER | TYPE |  | BTUH CAPACITY |  | REFRIGERANT TYPE |  | FLOW RATING |  | COOLING METHOD |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TANK CAPACITY |  | POWER CORD LENGTH |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1104283 | 1104283 | 1475730 | AU_QM_000234397 |  | ERSA | M | 4900 | 1475730GZPCLNT100 | EA |  | BIFFI;NYLON;PINION GEAR TO SUIT F02 250 | BIFFI;NYLON;PINION GEAR TO SUIT F02 250 |  |  | PINION:BIFFI;NYLON;PINION GEAR TO SUIT F02 250 |  |  | 1068546 @@ KEYFLO PACIFIC PTY LTD | T-1811 | [10 empty] | BIFFI |  |  |  | KEYFLO PACIFIC PTY LTD | T-1811 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31171710 Pinion gears | FOR F02 250 |  | GEAR | RACK AND PINION | TYPE |  | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL | NYLON | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1105435 | 1105435 |  |  |  | ERSA | M | 1600 | 1505847GZPCLNT100 | EA |  | CARD;FLEXY,FLA3301N | CARD;FLEXY,FLA3301N | [5 empty] | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | FLA3301N | [12 empty] | EWON | FLA3301N | NHP ELECTRICAL ENGINEERING PROD | FLA3301N | [14 empty] | https://nhpnz.co.nz/product/fla3301n | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/FLA3301N-158709-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [8 empty] | Cleansed | 32150000 Automation control devices and components and accessories |  |  | CARD | ACCESS | TYPE | FLEXY | TRANSFER POWER |  | TEMPERATURE RATING |  | SIZE |  | POWER CONSUMPTION |  | OPERATING SYSTEM |  | MATERIAL |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | OPERATING FREQUENCY |  | INPUT VOLTAGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1109686 | 1109686 | 1425805 | AU_QM_000359554 |  | ERSA | M | 2620 | 1425805GZPCLNT100 | EA |  | BOBBIN; | BOBBIN; | BOBBIN; |  | BOBBIN; |  |  | 1068135 @@ BOC LIMITED | 1425805 | [14 empty] | BOC LIMITED | 1425805 | [14 empty] | URL NOT FOUND | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1136348 | 1136348 | 1447861 | AU_QM_001074467 |  | ERSA | M | 3000 | 1447861GZPCLNT100 | EA |  | AIR / OIL SEPERATOR ASSY; | AIR / OIL SEPERATOR ASSY; | EXPANSION,CHAMBER: AIR / OIL SEPERATOR ASSY; 79 SERIES TOYOTA WET DISC BRAKE SYSTEM |  | EXPANSION,CHAMBER:AIR / OIL SEPERATOR ASSY; |  |  | 1069752 @@ ADIT ENGINEERING | 24-0001 | 1069986 @@ ADVANCED BRAKING PTY LTD | 24-0001 | [12 empty] | ADIT ENGINEERING | 24-0001 | ADVANCED BRAKING PTY LTD | 24-0001 | [12 empty] | URL NOT FOUND |  |  | WET DISC BRAKE SYSTEM | TOYOTA | 79 SERIES |  |  |  |  | Cleansed | 40161700 Separators | AIR/OIL SEPERATOR ASSEMBLY |  | CHAMBER | NO MODIFIER | TYPE | EXPANSION | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1136527 | 1136527 | 1443636 | AU_QM_001001502 |  | ERSA | M | 5920 | 1443636GZPCLNT100 | EA |  | BODY - EJECTOR,COMPLETE | BODY - EJECTOR,COMPLETE | EXHAUST ASSY; BODY - EJECTOR,COMPLETE W/O NOZZLE AND THROAT WALLACE AND TIERNAN CHLORINATOR |  | EXHAUST ASSY; BODY - EJECTOR,COMPLETE |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 806E068U10 | [14 empty] | ABB AUSTRALIA PTY LTD | 806E068U10 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,COMPLETE,W/O NOZZLE AND THROAT WALLACE AND TIERNAN CHLORINATOR |  | BODY | NO MODIFIER | TYPE | EXHAUST,EJECTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1140009 | 1140009 | 1471454 | AU_QM_009222017 |  | ERSA | M | 3000 | 1471454GZPCLNT100 | EA |  | CS400;C/W END STANDS LH RH | CS400;C/W END STANDS LH RH | CROSSHEAD: CS400;C/W END STANDS LH AND RH; 3 ITEMS PER SET; (DWG NO.03442/H,MK.16+19+20) GALIGHER CS400 AUTOMATIC SAMPLER |  | CROSSHEAD:CS400;C/W END STANDS LH & RH; |  |  | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 1-404007+2X1-404012 | [14 empty] | THERMO GAMMA-METRICS PTY LTD | 1-404007+2X1-404012 | [14 empty] | URL NOT FOUND |  |  | GALIGHER AUTOMATIC SAMPLER |  | CS400 |  | 03442/H,MK.16+19+20 |  |  | Cleansed | 40141700 Hardware and fittings | C/W END STANDS LH AND RH,PACKAGE QUANTITY:3/SET |  | CROSSHEAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1140203 | 1140203 | 1364936 | AU_QM_000167109 |  | ERSA | M | 5010 | 1364936GZPCLNT100 | EA |  | AERATOR TO SUIT EYE/FACE WASH; SUITS ECE | AERATOR TO SUIT EYE/FACE WASH; SUITS ECE | AERATOR: AERATOR TO SUIT EYE/FACE WASH; SUITS ECE /EFE |  | AERATOR:AERATOR TO SUIT EYE/FACE WASH; SUITS ECE |  |  | 1068773 @@ ENWARE AUSTRALIA PTY LTD | 1364936 | [14 empty] | ENWARE AUSTRALIA PTY LTD | 1364936 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30181802 Faucet aerator | FOR EYE/FACE WASH,ECE /EFE |  | AERATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Suitable NM not found | 1140932 | 1140932 | 1471913 | AU_QM_009399044 |  | ERSA | M | 5800 | 1471913GZPCLNT100 | EA |  | DISC PELLETISER RAKE;PBSM 1.19.01; 360 | DISC PELLETISER RAKE;PBSM 1.19.01; 360 | RAKE FEET; DISC PELLETISER RAKE;PBSM 1.19.01; 360 BISALLOY;TUNGSTEN CARBIDE HARDFACED; SE T OF 5;PB SMELTER SINTER PLANT DISC PELL ETISER MIMDWG 163-6-3305REV01; |  | RAKE FEET;DISC PELLETISER RAKE;PBSM 1.19.01;360 |  |  | 1068152 @@ NORTH QLD HARD FACING | 1471913 | [14 empty] | NORTH QLD HARD FACING | 1471913 | [14 empty] | XX | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1150973 | 1150973 | 1476589 | AU_QM_004702413 |  | ERSA | M | 4005 | 1476589GZPCLNT100 | EA |  | CIRCULAR CRIMPED;125MM X 19MM;UNI BORE; | CIRCULAR CRIMPED;125MM X 19MM;UNI BORE; |  |  | BRUSH,WIRE,ROTARY WHEEL:CIRCULAR CRIMPED;125MM X 19MM;UNI BORE; |  |  | 1068652 @@ J BLACKWOOD & SONS | 4376604 | [14 empty] | J BLACKWOOD & SONS | 4376604 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111907 Wire brushes | SIZE:125X19 MM,UNI BORE |  | BRUSH | WIRE | TYPE | ROTARY WHEEL,CIRCULAR CRIMPED | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 | Processed based on Websource, Conflict w.r.t Input | 1151016 | 1151016 | 1476501 | AU_QM_001195379 |  | ERSA | M | 5100 | 1476501GZPCLNT100 | EA |  | BATTREY CUTOFF; 12V 75AMP; | BATTREY CUTOFF; 12V 75AMP; |  |  | RELAY,ELECTROMAGNETIC:BATTREY CUTOFF; 12V 75AMP; |  |  | 1068087 @@ ASHDOWN INGRAM | 332002156 | 1071809 @@ ASHDOWN ENTERPRISES | 332002156 | [10 empty] | BOSCH | 332002156 | ASHDOWN INGRAM | 332002156 | ASHDOWN ENTERPRISES | 332002156 | [12 empty] | https://www.partbusters.com/bosch-bosch-multifunctional-relay-0332002156.html | [9 empty] | Enriched | 39122323 Multi function digital relay |  |  | RELAY | NO MODIFIER | TYPE | MULTIFUNCTIONAL | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 87X37X88 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1151133 | 1151133 | 1476156 | AU_QM_000615054 |  | ERSA | M | 1600 | 1476156GZPCLNT100 | EA |  | CARD,CIRCUIT;YOKG,YAI-32*C/110V/AC | CARD,CIRCUIT;YOKG,YAI-32*C/110V/AC |  |  | CIRCUIT CARD ASSEMBLY:RELAY INTERFACE UNIT,32-POINT |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | YAI-32*C/110V/AC | [14 empty] | YOKOGAWA AUSTRALIA PTY LTD | YAI-32*C/110V/AC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,NUMBER OF POINT:32,RELAY UNIT |  | CARD | INTERFACE | TYPE |  | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1151417 | 1151417 | 1474848 | AU_QM_000176493 |  | ERSA | M | 2200 | 1474848GZPCLNT100 | EA |  | ACP;PRESSURE | ACP;PRESSURE |  |  | REGULATOR:ACP;PRESSURE |  |  | 1068794 @@ FILQUIP PTY LTD | 6E1500150 | [12 empty] | FILQUIP PTY LTD | 6E1500150 | [16 empty] | https://www.filquip.com.au/filquip-part-numbers-list/ | [9 empty] | Cleansed | 41112404 Pressure regulator |  |  | REGULATOR | PRESSURE | TYPE | ACP | CONNECTION TYPE/PORT SIZE |  | REGULATING RANGE |  | SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | OPERATOR TYPE |  | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1151531 | 1151531 | 1474657 | AU_QM_000164489 |  | ERSA | M | 5620 | 1474657GZPCLNT100 | EA |  | BEARING ROLLER SPHERICAL; 22320 VIB. DUT | BEARING ROLLER SPHERICAL; 22320 VIB. DUT |  |  | BEARING,ROLLER,SELF-ALIGNING: BEARING ROLLER SPHERICAL; 22320 VIB. DUT |  |  | 1068162 @@ FLSMIDTH PTY LTD | 1474657 | [11 empty] | 22320 |  |  | FLSMIDTH PTY LTD | 1474657 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31171505 Roller bearings | DUTY |  | BEARING | ROLLER | TYPE | SELF-ALIGNING,VIBRATING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | BORE SHAPE | SPHERICAL | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1152787 | 1152787 | 1475183 | AU_QM_000190367 |  | ERSA | M | 4500 | 1475183GZPCLNT100 | EA |  | CIRCUITCARDASSEMBLY;IPTRAD,NETWORK-M2 | CIRCUITCARDASSEMBLY;IPTRAD,NETWORK-M2 |  |  | CIRCUIT CARD ASSEMBLY:EATON; GIGABIT; NETWORK CARD; NETWORK-M2 |  |  | 1070318 @@ IP TRADING PTY LTD | NETWORK-M2 | [12 empty] | EATON | NETWORK-M2 | IP TRADING PTY LTD | NETWORK-M2 | [14 empty] | https://www.eaton.com/content/dam/eaton/products/backup-power-ups-surge-it-power-distribution/power-management-software-connectivity/eaton-gigabit-network-card/eaton-network-m2-brochure-BR152038EN.pdf | https://www.eaton.com/content/dam/eaton/products/backup-power-ups-surge-it-power-distribution/power-management-software-connectivity/eaton-gigabit-network-card/eaton-network-m2-user-guide.pdf | [8 empty] | Enriched | 43201400 System Cards | ASSEMBLY | TEMPERATURE RATING:32 TO 104 DEG F | CARD | COMMUNICATION | TYPE | CIRCUIT,GIGABIT | INPUT RATING | 5 TO 12 V | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE | 66.04 WDX132.08 HTX43.18 DP MM | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1152790 | 1152790 | 1475163 | AU_QM_000190317 |  | ERSA | M | 4005 | 1475163GZPCLNT100 | EA |  | DEUTSCH;NO.20 DTM;SOLID CONTACT | DEUTSCH;NO.20 DTM;SOLID CONTACT |  |  | CRIMPING TOOL,TERMINAL: DEUTSCH;NO.20 DTM;SOLID CONTACT |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2940 | [12 empty] | DEUTSCH | ACX2940 | ASHDOWN INGRAM | ACX2940 | [14 empty] | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/electrical-connectors-crimp-terminals/deutsch-20-dtm-solid-contact-crimp-tool-acx2940/p/A1194145 | http://www.indotek-bpn.com/product.php?category=&product=ACX2940 | [8 empty] | Cleansed | 27111500 Cutting and crimping and punching tools | FOR DTM |  | CRIMPER | NO MODIFIER | TYPE | SOLID CONTACT,TERMINAL | TRADE SIZE | NO.20 | CRIMPING RANGE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1154989 | 1154989 |  |  |  | ERSA | M | 4005 | 1492698GZPCLNT100 | EA |  | DREMEL 290 ENGRAVER F.013.029.BA NS | DREMEL 290 ENGRAVER F.013.029.BA NS | [5 empty] | 1068502 @@ ATOM SUPPLY | 242960 | [11 empty] | F.013.029.0BA | DREMEL | 242960 | ATOM SUPPLY | 242960 | [14 empty] | https://www.atom.com.au/dremel-engraver-kit-290-242960 | [9 empty] | Cleansed | 27112718 Engravers | MODEL:290,NS |  | KIT | NO MODIFIER | TYPE | ENGRAVER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1176669 | 1176669 | 1455425 | AU_QM_001255306 |  | ERSA | M | 5100 | 1455425GZPCLNT100 | EA |  | CPU;COMPACTLOGIX, SAFETY,2 MB,CHAS,CNW | CPU;COMPACTLOGIX, SAFETY,2 MB,CHAS,CNW | CPU;COMPACTLOGIX, SAFETY,MEMORY:2 MB,MOUNTING TYPE:CHASSIS,MNFR:01)CNW,PTNO:01)1768-L43S |  | ELECTRONIC MODULE:SAFETY PLC;CPU MODULE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1768-L43S | [12 empty] | ALLEN-BRADLEY | 1768-L43S | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rockwellautomation.com/en-us/products/details.1768-L43S.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/1768-in004_-en-p.pdf | [8 empty] | Enriched | 39121500 Electrical controls and accessories | MEMORY:2 MB |  | CONTROLLER | NO MODIFIER | TYPE | CPU,COMPACTLOGIX,SAFETY | ELECTRICAL RATING | 1.4 A,33.6 W | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE | CHASSIS | SIZE | 90 WDX131.6 HTX121.8 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1208572 | 1208572 |  |  |  | ERSA | M | 5380 | 1116847MRM | BT |  | COPPER,ANALYTICAL REAGENT:STANDARD COPPE | COPPER,ANALYTICAL REAGENT:STANDARD COPPE | COPPER,ANALYTICAL REAGENT:STANDARD COPPER SOLUTON,10000PPM IN 2% NITRIC ACID;ICP CALIBRATION;(BOTL = 500ML) |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | BC1825 | [14 empty] | ROWE SCIENTIFIC PTY LTD | BC1825 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12161500 Indicators and Reagents | ICP CALIBRATION STANDARD:2 PCT NITRIC ACID |  | REAGENT | NO MODIFIER | TYPE | ANALYTICAL,STANDARD COPPER SOLUTON | FORM |  | CONTAINER | 500 ML BOTTLE | CONCENTRATION | 10000 PPM | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1208573 | 1208573 |  |  |  | ERSA | M | 5380 | 1116854MRM | BT |  | CALCIUM,TECHNICAL:STANDARD CALCIUM SOLUT | CALCIUM,TECHNICAL:STANDARD CALCIUM SOLUT | CALCIUM,TECHNICAL:STANDARD CALCIUM SOLUTON,10000PPM IN 2% NITRIC ACID;ICP CALIBRATION;(BOTL = 500ML) |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | CC4975 | [14 empty] | ROWE SCIENTIFIC PTY LTD | CC4975 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12141503 Calcium Ca | ICP CALIBRATION STANDARD:2 PCT NITRIC ACID |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY | 10000 PPM | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | STANDARD CALCIUM SOLUTON | CONTAINER SIZE | 500 ML | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-06 |  | 1214896 | 1214896 |  |  |  | ERSA | M | 5380 | 402230MRM | BT |  | AMMONIA SOLUTION,REAGENT:GRADE AR;2.5L B | AMMONIA SOLUTION,REAGENT:GRADE AR;2.5L B | AMMONIA SOLUTION,REAGENT:GRADE AR;2.5L BOTTLE;CAT. NO.43 |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | CA4210 | [10 empty] | CATERPILLAR | NO.43 |  |  | ROWE SCIENTIFIC PTY LTD | CA4210 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12142110 Liquid ammonia | GRADE AR |  | REAGENT | NO MODIFIER | TYPE | AMMONIA SOLUTION | FORM |  | CONTAINER | 2.5 L BOTTLE | CONCENTRATION |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed