## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1071638 | 1071638 |  |  |  | ERSA | M | 3730 | 1310044GZPCLNT100 | EA | 3000003 | BOSS;CAT,6W9168 | BLOQUE;CAT,6W9168 | FASTENER;MNFR:CATERPILLAR,PTNO:6W9168 | SUJECION;MNFR:CATERPILLAR,PTNO:6W9168 |  | CATERPILLAR | 6W9168 | [14 empty] | CATERPILLAR | 6W-9168 | [16 empty] | https://parts.cat.com/en/catcorp/6W-9168 | [9 empty] | Cleansed | 31162800 Miscellaneous hardware |  |  | BOSS | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MOUNTING METHOD |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1076797 | 1076797 |  |  |  | ERSA | M | 4500 | 1039669GZPCLNT100 | EA |  | CATALYST;48 GIGE POE 740W 2 X 10G SFP | CATALYST;48 GIGE POE 740W 2 X 10G SFP | CATALYST;ADDITIONAL FEATURES EN:48 GIGE POE 740W 2 X 10G SFP,MNFR:CISCO,PTNO:WS-C2960X-48FPD-L |  |  |  | WS-C2960X-48FPD-L | [14 empty] | CISCO | WS-C2960X-48FPD-L | [16 empty] | https://www.cisco.com/c/en_in/products/collateral/switches/catalyst-2960-x-series-switches/datasheet_c78-728232.pdf | https://www.router-switch.com/ws-c2960x-48fpd-l-p-5274.html | [8 empty] | Enriched | 43223300 Datacom and network connectivity installation devices and equipment | MODEL:CATALYST,NUMBER OF PORTS:48 GIGE POE |  | SWITCH | NO MODIFIER | TYPE | LAN BASE,STACKABLE | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | RACK | TEMPERATURE RATING | 23 TO 113 DEG F AT 5000 FT | ACTION |  | OPERATOR TYPE |  | POWER RATING | 740 W | MATERIAL |  | SIZE | 445 WDX450 HTX368 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UCC,ROHS,REACH,CE,FCC | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1211284 | 1211284 |  |  |  | ERSA | M | 3020 | 135789MRM | EA |  | CORE ASSY,FLUID COOLER:COOLER;AIR;;COMPA | CORE ASSY,FLUID COOLER:COOLER;AIR;;COMPA | CORE ASSY,FLUID COOLER:COOLER;AIR;;COMPAIR L250; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | ASSEMBLY,FLUID,FOR AIR COMPAIR L250 |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1216925 | 1216925 |  |  |  | ERSA | M | 5955 | 147331MRM | EA |  | CORE ASSY,FLUID COOLER:CORE AS AFTC | CORE ASSY,FLUID COOLER:CORE AS AFTC | CORE ASSY,FLUID COOLER:CORE AS AFTC | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | AFTC,ASSEMBLY,FLUID |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1204548 | 1204548 |  |  |  | ERSA | M | 5955 | 997044MRM | EA |  | CORE ASSY,FLUID COOLER:OIL COOLER CORE; | CORE ASSY,FLUID COOLER:OIL COOLER CORE; | CORE ASSY,FLUID COOLER:OIL COOLER CORE; [ REMANUF ]"REMANUFACTURED ITEM" | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | ASSEMBLY,FLUID,REMANUFACTURED ITEM |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1208429 | 1208429 |  |  |  | ERSA | M | 5920 | 133251MRM | EA |  | CORE ASSY,FLUID COOLER:RADIATOR ELEMENT; | CORE ASSY,FLUID COOLER:RADIATOR ELEMENT; | CORE ASSY,FLUID COOLER:RADIATOR ELEMENT;HEAT EXCHANGER;PRIMARYTRAMP METAL MAGNET;SER800 FC 65KW SC1; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,FOR FLUID COOLER,ELEMENT,HEAT EXCHANGER,PRIMARY TRAMP METAL MAGNET,SER800 FC 65KW SC1 |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1213950 | 1213950 |  |  |  | ERSA | M | 5955 | 776777MRM | EA |  | CORE ASSY,FLUID COOLER:TORO T450D RADIAT | CORE ASSY,FLUID COOLER:TORO T450D RADIAT | CORE ASSY,FLUID COOLER:TORO T450D RADIATOR COOLING TUBES;RADIATOR ASSY;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,FOR FLUID COOLER,COOLING TUBES |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1213951 | 1213951 |  |  |  | ERSA | M | 5955 | 776780MRM | EA |  | CORE ASSY,FLUID COOLER:TORO T450D RADIAT | CORE ASSY,FLUID COOLER:TORO T450D RADIAT | CORE ASSY,FLUID COOLER:TORO T450D RADIATOR COOLING TUBES;RADIATOR ASSY;TAMROCK TORO T450D LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,FOR FLUID COOLER,COOLING TUBES |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1205077 | 1205077 |  |  |  | ERSA | M | 5955 | 627656MRM | EA |  | CORE,RADIATOR:CAT 9Y7150 AFTERCOOLER;COR | CORE,RADIATOR:CAT 9Y7150 AFTERCOOLER;COR | CORE,RADIATOR:CAT 9Y7150 AFTERCOOLER;CORE ASSY | [36 empty] | https://avspare.com/caterpillar/aftercooler/9y7150/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | COOLER | WATER | TYPE | AFTER | CAPACITY |  | SIZE |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1204812 | 1204812 |  |  |  | ERSA | M | 5955 | 1000947MRM | EA |  | CORE,RADIATOR:R1700 BASIC RADIATOR GROUP | CORE,RADIATOR:R1700 BASIC RADIATOR GROUP | CORE,RADIATOR:R1700 BASIC RADIATOR GROUP;ELPHINSTONE R1700 II LHD | [36 empty] | URL NOT FOUND |  |  | LHD | ELPHINSTONE | R1700 II |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | GROUP |  | CORE | RADIATOR | TYPE | BASIC | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1035252 | 1035252 |  |  |  | ERSA | M | 5955 | 1388765GZPCLNT100 | EA | 3000003 | CORE;CAT,0R-5549 | CORE;CAT,0R-5549 | CORE;MNFR:CATERPILLAR,PTNO:0R-5549 |  |  | CATERPILLAR | 0R-5549 | [14 empty] | CATERPILLAR | 0R-5549 | [16 empty] | https://parts.cat.com/en/catcorp/0R-5549 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021120 | 1021120 | 1393998 | AU_QM_000237533 |  | ERSA | M | 5955 | 1393998GZPCLNT100 | EA | 3000003 | CORE;CAT,0R-8839 | CORE;CAT,0R-8839 | CORE;MNFR:CATERPILLAR,PTNO:0R-8839 |  | OEM-E-LISTCORE;CAT,0R-8839 | CATERPILLAR | 0R-8839 | [14 empty] | CATERPILLAR | 0R-8839 | [16 empty] | https://parts.cat.com/en/catcorp/0R-8839 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021448 | 1021448 | 1383137 | AU_QM_000223451 |  | ERSA | M | 5955 | 1383137GZPCLNT100 | EA | 3000003 | CORE;CAT,0R9899 | CORE;CAT,0R9899 | CORE;MNFR:CATERPILLAR,PTNO:0R9899 |  | CORE;CAT,0R9899CORE;HAS,0R9899 | CATERPILLAR | 0R9899 | [12 empty] | HASTING |  | CATERPILLAR | 0R-9899 | [16 empty] | https://parts.cat.com/en/catcorp/0R-9899 | [9 empty] | Enriched | 26101720 Turbocharger |  | SIZE:375.9 LGX315 WDX302.3 HT MM | TURBOCHARGER | NO MODIFIER | TYPE |  | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021119 | 1021119 | 1394001 | AU_QM_000237536 |  | ERSA | M | 5955 | 1394001GZPCLNT100 | EA | 3000003 | CORE;CAT,10R3205 | CORE;CAT,10R3205 | CORE;MNFR:CATERPILLAR,PTNO:10R3205 |  | OEM-E-LISTCORE;CAT,10R3205 | CATERPILLAR | 10R3205 | [14 empty] | CATERPILLAR | 10R-3205 | [16 empty] | https://parts.cat.com/en/catcorp/10R-3205 | [9 empty] | Enriched | 26101720 Turbocharger |  | SIZE:546.1 LGX419.1 WDX355.6 HT MM | TURBOCHARGER | NO MODIFIER | TYPE | BASIC | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021359 | 1021359 | 1385990 | AU_QM_000226859 |  | ERSA | M | 5955 | 1385990GZPCLNT100 | EA | 3000003 | CORE;CAT,10R4091 | CORE;CAT,10R4091 | CORE;MNFR:CATERPILLAR,PTNO:10R4091 |  | CORE;CAT,10R4091CORE;HAS,10R4091 | CATERPILLAR | 10R4091 | [12 empty] | HASTING |  | CATERPILLAR | 10R-4091 | [16 empty] | https://parts.cat.com/en/catcorp/10R-4091 | [9 empty] | Enriched | 41113700 Electronic and communication measuring and testing instruments |  |  | MODULE | CONTROL | TYPE | ELECTRONIC | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021118 | 1021118 | 1394004 | AU_QM_000237539 |  | ERSA | M | 5955 | 1394004GZPCLNT100 | EA | 3000003 | CORE;CAT,10R-5665 | CORE;CAT,10R-5665 | CORE;MNFR:CATERPILLAR,PTNO:10R-5665 |  | OEM-E-LISTCORE;CAT,10R-5665 | CATERPILLAR | 10R-5665 | [14 empty] | CATERPILLAR | 10R-5665 | [16 empty] | https://parts.cat.com/en/catcorp/10R-5665 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021335 | 1021335 | 1386805 | AU_QM_000227829 |  | ERSA | M | 5955 | 1386805GZPCLNT100 | EA | 3000003 | CORE;CAT,10R7908 | CORE;CAT,10R7908 | CORE;MNFR:CATERPILLAR,PTNO:10R7908 |  | CORE;CAT,10R7908CORE;HAS,10R7908 | CATERPILLAR | 10R7908 | [12 empty] | HASTING |  | CATERPILLAR | 10R-7908 | [16 empty] | https://parts.cat.com/en/catcorp/10R-7908 | [9 empty] | Enriched | 40151500 Pumps |  | SIZE:160.02 LGX160.02 WDX114.3 HT MM | PUMP | NO MODIFIER | TYPE | FUEL TRANSFER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021116 | 1021116 | 1394007 | AU_QM_000237542 |  | ERSA | M | 5955 | 1394007GZPCLNT100 | EA | 3000003 | CORE;CAT,175-7453 | CORE;CAT,175-7453 | CORE;MNFR:CATERPILLAR,PTNO:175-7453 |  | OEM-E-LISTCORE;CAT,175-7453 | CATERPILLAR | 175-7453 | [14 empty] | CATERPILLAR | 175-7453 | [16 empty] | https://parts.cat.com/en/catcorp/175-7453 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 170.2 LGX170.2 WDX231.1 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021115 | 1021115 | 1394009 | AU_QM_000237544 |  | ERSA | M | 5955 | 1394009GZPCLNT100 | EA | 3000003 | CORE;CAT,1907623 | CORE;CAT,1907623 | CORE;MNFR:CATERPILLAR,PTNO:1907623 |  | OEM-E-LISTCORE;CAT,1907623 | CATERPILLAR | 1907623 | [14 empty] | CATERPILLAR | 190-7623 | [16 empty] | https://parts.cat.com/en/catcorp/190-7623 | [9 empty] | Enriched | 40101800 Heating equipment and parts and accessories |  | COLOR:BLACK,CONNECTION:3/4 IN-16 TPI MALE STORX5/8-18 TPI IN MALE STOR | CORE | NO MODIFIER | TYPE |  | SIZE | 834.9 LGX28.5 WDX483.6 HT MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021114 | 1021114 | 1394011 | AU_QM_000237546 |  | ERSA | M | 5955 | 1394011GZPCLNT100 | EA | 3000003 | CORE;CAT,2005975 | CORE;CAT,2005975 | CORE;MNFR:CATERPILLAR,PTNO:2005975 |  | OEM-E-LISTCORE;CAT,2005975 | CATERPILLAR | 2005975 | [14 empty] | CATERPILLAR | 200-5975 | [16 empty] | https://parts.cat.com/en/catcorp/200-5975 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 797.6 LGX248.9 WDX241.3 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021367 | 1021367 | 1385812 | AU_QM_000226655 |  | ERSA | M | 5955 | 1385812GZPCLNT100 | EA | 3000003 | CORE;CAT,20R-0177 | CORE;CAT,20R-0177 | CORE;MNFR:CATERPILLAR,PTNO:20R-0177 |  | CORE;CAT,20R-0177CORE;HAS,20R-0177 | CATERPILLAR | 20R-0177 | [12 empty] | HASTING |  | CATERPILLAR | 20R-0177 | [16 empty] | https://parts.cat.com/en/catcorp/20R-0177 | [9 empty] | Enriched | 40151601 Air compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE | AIR | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE | 414 LGX317.5 WDX213.4 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021177 | 1021177 | 1390875 | AU_QM_000232602 |  | ERSA | M | 5955 | 1390875GZPCLNT100 | EA | 3000003 | CORE;CAT,20R0344 | CORE;CAT,20R0344 | CORE;MNFR:CATERPILLAR,PTNO:20R0344 |  | CORE;CAT,20R0344CORE;HAS,20R0344 | CATERPILLAR | 20R0344 | [12 empty] | HASTING |  | CATERPILLAR | 20R-0344 | [16 empty] | https://parts.cat.com/en/catcorp/20R-0344 | [9 empty] | Cleansed | 26101500 Engines |  |  | ENGINE | NO MODIFIER | TYPE |  | POWER RATING |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | WIDTH |  | DEPTH |  | HEIGHT |  | TANK CAPACITY |  | IGNITION TYPE |  | STARTER TYPE |  | SHAFT DETAILS |  | SPEED RATING |  | CYLINDER MATERIAL |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021224 | 1021224 | 1389791 | AU_QM_000231350 |  | ERSA | M | 5955 | 1389791GZPCLNT100 | EA | 3000003 | CORE;CAT,20R0974 | CORE;CAT,20R0974 | CORE;MNFR:CATERPILLAR,PTNO:20R0974 |  | CORE;CAT,20R0974CORE;HAS,20R0974 | CATERPILLAR | 20R0974 | [12 empty] | HASTING |  | CATERPILLAR | 20R-0974 | [16 empty] | https://parts.cat.com/en/catcorp/20R-0974 | [9 empty] | Enriched | 26101720 Turbocharger |  | SIZE:495.3 LGX419.1 WDX317.5 HT MM | TURBOCHARGER | NO MODIFIER | TYPE |  | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021212 | 1021212 | 1390135 | AU_QM_000231733 |  | ERSA | M | 5955 | 1390135GZPCLNT100 | EA | 3000003 | CORE;CAT,20R1299 | CORE;CAT,20R1299 | CORE;MNFR:CATERPILLAR,PTNO:20R1299 |  | CORE;CAT,20R1299CORE;HAS,20R1299 | CATERPILLAR | 20R1299 | [12 empty] | HASTING |  | CATERPILLAR | 20R-1299 | [16 empty] | https://parts.cat.com/en/catcorp/20R-1299 | [9 empty] | Enriched | 26101740 Fuel injectors |  | SIZE:121.9 WDX121.9 HT MM | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH | 312.4 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021453 | 1021453 | 1382920 | AU_QM_000223181 |  | ERSA | M | 5955 | 1382920GZPCLNT100 | EA | 3000003 | CORE;CAT,20R6949 | CORE;CAT,20R6949 | CORE;MNFR:CATERPILLAR,PTNO:20R6949 |  | CORE;CAT,20R6949CORE;HAS,20R6949 | CATERPILLAR | 20R6949 | [12 empty] | HASTING |  | CATERPILLAR | 20R-6949 | [16 empty] | https://parts.cat.com/en/catcorp/20R-6949 | [9 empty] | Cleansed | 26101711 Connecting rods |  |  | ROD | CONNECTING | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | CONNECTION TYPE |  | CONSTRUCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021303 | 1021303 | 1387918 | AU_QM_000229134 |  | ERSA | M | 5955 | 1387918GZPCLNT100 | EA | 3000003 | CORE;CAT,20R7448 | CORE;CAT,20R7448 | CORE;MNFR:CATERPILLAR,PTNO:20R7448 |  | CORE;CAT,20R7448CORE;HAS,20R7448 | CATERPILLAR | 20R7448 | [12 empty] | HASTING |  | CATERPILLAR | 20R-7448 | [16 empty] | https://parts.cat.com/en/catcorp/20R-7448 | [9 empty] | Enriched | 40151551 Gear pumps |  | NUMBER OF SECTION:2 | PUMP | GEAR | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021304 | 1021304 | 1387912 | AU_QM_000229128 |  | ERSA | M | 5955 | 1387912GZPCLNT100 | EA | 3000003 | CORE;CAT,20R-8003 | CORE;CAT,20R-8003 | CORE;MNFR:CATERPILLAR,PTNO:20R-8003 |  | CORE;CAT,20R-8003CORE;HAS,20R-8003 | CATERPILLAR | 20R-8003 | [12 empty] | HASTING |  | CATERPILLAR | 20R-8003 | [16 empty] | https://parts.cat.com/en/catcorp/20R-8003 | [9 empty] | Cleansed | 40151551 Gear pumps |  |  | PUMP | GEAR | TYPE |  | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | PRESSURE RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | GEAR MATERIAL |  | SHAFT MATERIAL |  | CASE MATERIAL |  | SHAFT SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Suitable NM not found | 1021159 | 1021159 | 1391338 | AU_QM_000233171 |  | ERSA | M | 5955 | 1391338GZPCLNT100 | EA | 3000003 | CORE;CAT,20R-8460 | CORE;CAT,20R-8460 | CORE;MNFR:CATERPILLAR,PTNO:20R-8460 |  | CORE;CAT,20R-8460CORE;HAS,20R-8460 | CATERPILLAR | 20R-8460 | [12 empty] | HASTING |  | CATERPILLAR | 20R-8460 | [16 empty] | https://parts.cat.com/en/catcorp/20R-8460 | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021254 | 1021254 | 1389241 | AU_QM_000230689 |  | ERSA | M | 5955 | 1389241GZPCLNT100 | EA | 3000003 | CORE;CAT,20R8465 | CORE;CAT,20R8465 | CORE;MNFR:CATERPILLAR,PTNO:20R8465 |  | CORE;CAT,20R8465CORE;HAS,20R8465 | CATERPILLAR | 20R8465 | [12 empty] | HASTING |  | CATERPILLAR | 20R-8465 | [16 empty] | https://parts.cat.com/en/catcorp/20R-8465 | [9 empty] | Enriched | 41113700 Electronic and communication measuring and testing instruments |  |  | MODULE | CONTROL | TYPE | ELECTRONIC,MESSAGE CENTER | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021306 | 1021306 | 1387812 | AU_QM_000229007 |  | ERSA | M | 5955 | 1387812GZPCLNT100 | EA | 3000003 | CORE;CAT,2343032 | CORE;CAT,2343032 | CORE;MNFR:CATERPILLAR,PTNO:2343032 |  | CORE;CAT,2343032CORE;HAS,2343032 | CATERPILLAR | 2343032 | [12 empty] | HASTING |  | CATERPILLAR | 234-3032 | [16 empty] | https://parts.cat.com/en/catcorp/234-3032 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 1.447 LG MX614.7 WDX170.2 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021271 | 1021271 | 1388774 | AU_QM_000230133 |  | ERSA | M | 5955 | 1388774GZPCLNT100 | EA | 3000003 | CORE;CAT,2375716CORE | CORE;CAT,2375716CORE | CORE;MNFR:CATERPILLAR,PTNO:2375716CORE |  | CORE;CAT,2375716CORECORE;HAS,2375716CORE | CATERPILLAR | 2375716CORE | [12 empty] | HASTING |  | CATERPILLAR | 237-5716 | [16 empty] | https://parts.cat.com/en/catcorp/237-5716 | [9 empty] | Enriched | 31171708 Bevel gears |  |  | GEAR | BEVEL | TYPE | DIFFERENTIAL | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | HUB LENGTH |  | FACE WIDTH |  | KEYWAY SIZE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1016887 | 1016887 |  |  |  | ERSA | M | 5910 | 1270003GZPCLNT100 | EA | 3000003 | CORE;CAT,2435063,ASSY,AFTERCOOLER | NUCLEO;CAT,2435063,ENSAMBLE,ENFRIA | CORE;MNFR:CATERPILLAR,PTNO:2435063,ADDITIONAL FEATURES EN:ASSEMBLY,AFTERCOOLER | NUCLEO;MNFR:CATERPILLAR,PTNO:2435063,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,ENFRIADOR POSTERIOR |  | CATERPILLAR | 2435063 | [14 empty] | CATERPILLAR | 243-5063 | [16 empty] | https://parts.cat.com/en/catcorp/243-5063 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | ASSEMBLY | INTERNAL VOLUME:16 L | CORE | OIL COOLER | TYPE | AFTER | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 1.117 LG MX437.9 WDX304.8 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021109 | 1021109 | 1394017 | AU_QM_000237553 |  | ERSA | M | 5955 | 1394017GZPCLNT100 | EA | 3000003 | CORE;CAT,2520471CORE | CORE;CAT,2520471CORE | CORE;MNFR:CATERPILLAR,PTNO:2520471CORE |  | OEM-E-LISTCORE;CAT,2520471CORE | CATERPILLAR | 2520471CORE | [14 empty] | CATERPILLAR | 252-0471 | [16 empty] | https://parts.cat.com/en/catcorp/252-0471 | [9 empty] | Cleansed | 27121602 Hydraulic cylinders |  |  | CYLINDER | HYDRAULIC | TYPE |  | BORE DIAMETER |  | STROKE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | ROD END TYPE |  | SHAFT DIAMETER |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1016421 | 1016421 |  |  |  | ERSA | M | 3730 | 1074865GZPCLNT100 | EA | 3000003 | CORE;CAT,2565308,CONG,2565308,ASSY | CORE;CAT,2565308,CONG,2565308,ASSY | CORE;MNFR:CATERPILLAR,PTNO:2565308,MNFR 1:CONGO EQUIPMENT SARL,PTNO 1:2565308,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 2565308 | [12 empty] | CONGO EQUIPMENT SARL |  | CATERPILLAR | 256-5308 | [16 empty] | https://parts.cat.com/en/catcorp/256-5308 | [9 empty] | Enriched | 26101700 Engine components and accessories | ASSEMBLY | LENGTH:1.054 M | CORE | RADIATOR | TYPE |  | CORE WIDTH | 520.7 MM | CORE HEIGHT | 203.2 MM | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL | ALUMINUM | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021352 | 1021352 | 1386298 | AU_QM_000227229 |  | ERSA | M | 5955 | 1386298GZPCLNT100 | EA | 3000003 | CORE;CAT,2M-2773 | CORE;CAT,2M-2773 | CORE;MNFR:CATERPILLAR,PTNO:2M-2773 |  | CORE;CAT,2M-2773CORE;HAS,2M-2773 | CATERPILLAR | 2M-2773 | [12 empty] | HASTING |  | CATERPILLAR | 2M-2773 | [16 empty] | https://parts.cat.com/en/catcorp/2M-2773 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021860 | 1021860 | 1373801 | AU_QM_000202652 |  | ERSA | M | 5955 | 1373801GZPCLNT100 | EA | 3000003 | CORE;CAT,3034384 | CORE;CAT,3034384 | CORE;MNFR:CATERPILLAR,PTNO:3034384 |  | CORE;CAT,3034384CORE;HAS,3034384 | CATERPILLAR | 3034384 | [12 empty] | HASTING |  | CATERPILLAR | 303-4384 | [16 empty] | https://parts.cat.com/en/catcorp/303-4384 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021106 | 1021106 | 1394021 | AU_QM_000237557 |  | ERSA | M | 5955 | 1394021GZPCLNT100 | EA | 3000003 | CORE;CAT,313-6008 | CORE;CAT,313-6008 | CORE;MNFR:CATERPILLAR,PTNO:313-6008 |  | OEM-E-LISTCORE;CAT,313-6008 | CATERPILLAR | 313-6008 | [14 empty] | CATERPILLAR | 313-6008 | [16 empty] | https://parts.cat.com/en/catcorp/313-6008 | [9 empty] | Enriched | 40101800 Heating equipment and parts and accessories |  | CONNECTION:3/4 IN-16 TPI MALE STORX5/8 IN-18 TPI MALE STOR | CORE | NO MODIFIER | TYPE |  | SIZE | 927 LGX419 WDX70 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021374 | 1021374 | 1385627 | AU_QM_000226428 |  | ERSA | M | 5955 | 1385627GZPCLNT100 | EA | 3000003 | CORE;CAT,3345167 | CORE;CAT,3345167 | CORE;MNFR:CATERPILLAR,PTNO:3345167 |  | CORE;CAT,3345167CORE;HAS,3345167 | CATERPILLAR | 3345167 | [12 empty] | HASTING |  | CATERPILLAR | 334-5167 | [16 empty] | https://parts.cat.com/en/catcorp/334-5167 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021205 | 1021205 | 1390307 | AU_QM_000231925 |  | ERSA | M | 5955 | 1390307GZPCLNT100 | EA | 3000003 | CORE;CAT,3591575 | CORE;CAT,3591575 | CORE;MNFR:CATERPILLAR,PTNO:3591575 |  | CORE;CAT,3591575CORE;HAS,3591575 | CATERPILLAR | 3591575 | [12 empty] | HASTING |  | CATERPILLAR | 359-1575 | [16 empty] | https://parts.cat.com/en/catcorp/359-1575 | [9 empty] | Enriched | 40101800 Heating equipment and parts and accessories |  | CONNECTION:3/4 IN-16 TPIX7/8 IN-14 TPI | CORE | NO MODIFIER | TYPE |  | SIZE | 457.2 LGX208.3 WDX154.9 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021105 | 1021105 | 1394023 | AU_QM_000237559 |  | ERSA | M | 5955 | 1394023GZPCLNT100 | EA | 3000003 | CORE;CAT,364-0676 | CORE;CAT,364-0676 | CORE;MNFR:CATERPILLAR,PTNO:364-0676 |  | OEM-E-LISTCORE;CAT,364-0676 | CATERPILLAR | 364-0676 | [14 empty] | CATERPILLAR | 364-0676 | [16 empty] | https://parts.cat.com/en/catcorp/364-0676 | [9 empty] | Enriched | 40101800 Heating equipment and parts and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE | 800 LGX27 WDX411 HT MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021104 | 1021104 | 1394024 | AU_QM_000237561 |  | ERSA | M | 5955 | 1394024GZPCLNT100 | EA | 3000003 | CORE;CAT,365-6873 | CORE;CAT,365-6873 | CORE;MNFR:CATERPILLAR,PTNO:365-6873 |  | OEM-E-LISTCORE;CAT,365-6873 | CATERPILLAR | 365-6873 | [14 empty] | CATERPILLAR | 365-6873 | [16 empty] | https://parts.cat.com/en/catcorp/365-6873 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 426.7 LGX236.2 WDX134.6 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021215 | 1021215 | 1390046 | AU_QM_000231628 |  | ERSA | M | 5955 | 1390046GZPCLNT100 | EA | 3000003 | CORE;CAT,3874362 | CORE;CAT,3874362 | CORE;MNFR:CATERPILLAR,PTNO:3874362 |  | CORE;CAT,3874362CORE;HAS,3874362 | CATERPILLAR | 3874362 | [12 empty] | HASTING |  | CATERPILLAR | 387-4362 | [16 empty] | https://parts.cat.com/en/catcorp/387-4362 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | CORE | RADIATOR | TYPE |  | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021101 | 1021101 | 1394030 | AU_QM_000237567 |  | ERSA | M | 5955 | 1394030GZPCLNT100 | EA | 3000003 | CORE;CAT,518-3980 | CORE;CAT,518-3980 | CORE;MNFR:CATERPILLAR,PTNO:518-3980 |  | OEM-E-LISTCORE;CAT,518-3980 | CATERPILLAR | 518-3980 | [14 empty] | CATERPILLAR | 518-3980 | [16 empty] | https://parts.cat.com/en/catcorp/518-3980 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories |  |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 340 LGX60.5 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1029338 | 1029338 | 1389086 | AU_QM_000230488 |  | ERSA | M | 5955 | 1389086GZPCLNT100 | EA | 3000003 | CORE;CAT,CORE | CORE;CAT,CORE | CORE;MNFR:CATERPILLAR,PTNO:CORE |  | CORE;CAT,CORECORE;HAS,CORE | CATERPILLAR | CORE | [12 empty] | CATERPILLAR |  |  |  | HASTING | [15 empty] | XX | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1034527 | 1034527 | 1387805 | AU_QM_000228998 |  | ERSA | M | 5955 | 1387805GZPCLNT100 | EA | 3000003 | CORE;CAT,ENG AR-CORE CHARGE | CORE;CAT,ENG AR-CORE CHARGE | CORE;MNFR:CATERPILLAR,PTNO:ENG AR-CORE CHARGE |  | CORE;CAT,ENG AR-CORE CHARGECORE;HAS,ENG AR-CORE CHARGE | CATERPILLAR | ENG AR-CORE CHARGE | [12 empty] | CATERPILLAR |  |  |  | HASTING | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101700 Engine components and accessories | ENGINE AR,CORE CHARGE |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021151 | 1021151 | 1391739 | AU_QM_000233678 |  | ERSA | M | 5955 | 1391739GZPCLNT100 | EA | 3000001 | CORE;EPI,9772200013 | CORE;EPI,9772200013 | CORE;MNFR:EPIROC,PTNO:9772200013 |  | CORE;EPI,9772200013CORE;EPI,9772200013 | EPIROC | 9772200013 | [12 empty] | EPIROC | 9772200013 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1088916 | 1088916 | 1388364 | AU_QM_000229669 |  | ERSA | M | 5955 | 1388364GZPCLNT100 | EA | 3000006 | CORE;KOM,CORECHARGEB | CORE;KOM,CORECHARGEB | CORE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:CORECHARGEB |  | CORE;KOM,CORECHARGEBCORE;KOM,CORECHARGEB | KOMATSU MINING SYSTEMS INC. | CORECHARGEB | [12 empty] | KOMATSU MINING SYSTEMS INC. | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | CORE CHARGE B |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1010942 | 1010942 |  |  |  | ERSA | M | 2200 | 1616517GZPCLNT100 | EA | 3000280 | DRAWBAR;GARD,100005406,COMPLT | BARRA TRACC;GARD,100005406 | DRAWBAR;MNFR:GARDNER DENVER,PTNO:100005406,ADDITIONAL FEATURES EN:COMPLETE | BARRA TRACCION;MNFR:GARDNER DENVER,PTNO:100005406 |  | GARDNER DENVER | 100005406 | 1068378 @@ GARDNER DENVER INDUSTRIES PTY | 100005406 | [12 empty] | GARDNER DENVER | 100005406 | GARDNER DENVER INDUSTRIES PTY | 100005406 | [14 empty] | https://compressornow.com/online-store/parts/gardner-denver-oem-drawbar-complete-part-100005406/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COMPLETE |  | DRAWBAR | NO MODIFIER | TYPE |  | SIZE |  | STROKE LENGTH |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021103 | 1021103 | 1394025 | AU_QM_000237562 |  | ERSA | M | 5955 | 1394025GZPCLNT100 | EA | 3000003 | CORE;CAT,3729127 | CORE;CAT,3729127 | CORE;MNFR:CATERPILLAR,PTNO:3729127 |  | OEM-E-LISTCORE;CAT,3729127 | CATERPILLAR | 3729127 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 3729127 | [12 empty] | CATERPILLAR | 372-9127 | HASTINGS DEERING (AUSTRALIA) P/L | 3729127 | [14 empty] | https://parts.cat.com/en/catcorp/372-9127 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021108 | 1021108 | 1394018 | AU_QM_000237554 |  | ERSA | M | 5955 | 1394018GZPCLNT100 | EA | 3000003 | CORE;CAT,254-7456 | CORE;CAT,254-7456 | CORE;MNFR:CATERPILLAR,PTNO:254-7456 |  | OEM-E-LISTCORE;CAT,254-7456 | CATERPILLAR | 254-7456 | 1068249 @@ HASTINGS DEERING (SERVICES) | 254-7456 | [12 empty] | CATERPILLAR | 254-7456 | HASTINGS DEERING (SERVICES) | 254-7456 | [14 empty] | https://parts.cat.com/en/catcorp/254-7456 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1021112 | 1021112 |  |  |  | ERSA | M | 5955 | 1394014GZPCLNT100 | EA | 3000003 | CORE;CAT,20R2647 | CILINDRO;CAT,20R-2647 | CORE;MNFR:CATERPILLAR,PTNO:20R2647 |  |  | CATERPILLAR | 20R2647 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 20R2647 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 20R2647 | [10 empty] | CATERPILLAR | 20R-2647 | HASTINGS DEERING (AUSTRALIA) LTD | 20R2647 | HASTINGS DEERING(AUSTRALIA) LTD | 20R2647 | [12 empty] | https://parts.cat.com/en/catcorp/20R-2647 | [9 empty] | Enriched | 26101713 Cylinder heads |  |  | HEAD | CYLINDER | TYPE |  | SIZE | 1.263 LG MX400.05 WD MMX381 HT MM | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021485 | 1021485 | 1381468 | AU_QM_000221388 |  | ERSA | M | 5955 | 1381468GZPCLNT100 | EA | 3000003 | CORE;CAT,254-7466 | CORE;CAT,254-7466 | CORE;MNFR:CATERPILLAR,PTNO:254-7466 |  | CORE;CAT,254-7466CORE;CAT,254-7466 | CATERPILLAR | 254-7466 | 1068249 @@ HASTINGS DEERING (SERVICES) | 254-7466 | [12 empty] | CATERPILLAR | 254-7466 | HASTINGS DEERING (SERVICES) | 254-7466 | [14 empty] | https://parts.cat.com/en/catcorp/254-7466 | [9 empty] | Cleansed | 40101800 Heating equipment and parts and accessories |  |  | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1021982 | 1021982 | 1451156 | AU_QM_001147206 |  | ERSA | M | 5955 | 1451156GZPCLNT100 | EA | 3000012 | CORE;TOY,2392051011 | CORE;TOY,2392051011 | CORE;MNFR:TOYOTA,PTNO:2392051011 |  | CORE ASSY,FLUID COOLER: FUEL COOLER ASSY; | TOYOTA | 2392051011 | 1071809 @@ ASHDOWN ENTERPRISES | 2392051011 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 2392051011 | [10 empty] | TOYOTA | 2392051011 | ASHDOWN ENTERPRISES | 2392051011 | BELL & MOIR - PARTS ORDERS ONLY | 2392051011 | [12 empty] | https://partsouq.com/en/search/all?q=2392051011 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | ASSEMBLY,FLUID |  | COOLER | NO MODIFIER | TYPE | FUEL | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1029508 | 1029508 | 1385189 | AU_QM_000225924 |  | ERSA | M | 5955 | 1385189GZPCLNT100 | EA | 3000003 | CORE;CAT,20R-3321 | CORE;CAT,20R-3321 | CORE;MNFR:CATERPILLAR,PTNO:20R-3321 |  | CORE;CAT,20R-3321CORE;HAS,20R-3321 | CATERPILLAR | 20R-3321 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 20R3321 | [12 empty] | CATERPILLAR | 20R-3321 | HASTINGS DEERING(AUSTRALIA) LTD | 20R3321 | [14 empty] | https://parts.cat.com/en/catcorp/20R-3321 | [9 empty] | Enriched | 26101700 Engine components and accessories |  |  | ARM | NO MODIFIER | TYPE | ROCKER ARM | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1029615 | 1029615 |  |  |  | ERSA | M | 5955 | 1384032GZPCLNT100 | EA | 3000003 | CORE;CAT,0R8405 | ENFRIADOR ACEITE;CAT,0R-8405 | CORE;MNFR:CATERPILLAR,PTNO:0R8405 |  |  | CATERPILLAR | 0R8405 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 0R8405 | [12 empty] | CATERPILLAR | 0R-8405 | HASTINGS DEERING(AUSTRALIA) LTD | 0R8405 | [14 empty] | https://parts.cat.com/en/catcorp/0R-8405 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1033212 | 1033212 | 1394029 | AU_QM_000237566 |  | ERSA | M | 5955 | 1394029GZPCLNT100 | EA | 3000003 | CORE;CAT,4649047 | CORE;CAT,4649047 | CORE;MNFR:CATERPILLAR,PTNO:4649047 |  | OEM-E-LISTCORE;CAT,4649047 | CATERPILLAR | 4649047 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 4649047 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4649047 | [10 empty] | CATERPILLAR | 464-9047 | HASTINGS DEERING (AUSTRALIA) P/L | 4649047 | HASTINGS DEERING(AUSTRALIA) LTD | 4649047 | [12 empty] | https://parts.cat.com/en/catcorp/464-9047 | [9 empty] | Enriched | 26101700 Engine components and accessories |  | INTERNAL VOLUME:4.26 L | CORE | RADIATOR | TYPE | INNER,MODULAR | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1033213 | 1033213 | 1394028 | AU_QM_000237565 |  | ERSA | M | 5955 | 1394028GZPCLNT100 | EA | 3000003 | CORE;CAT,4649038 | CORE;CAT,4649038 | CORE;MNFR:CATERPILLAR,PTNO:4649038 |  | OEM-E-LISTCORE;CAT,4649038 | CATERPILLAR | 4649038 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 4649038 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4649038 | [10 empty] | CATERPILLAR | 464-9038 | HASTINGS DEERING (AUSTRALIA) P/L | 4649038 | HASTINGS DEERING(AUSTRALIA) LTD | 4649038 | [12 empty] | https://parts.cat.com/en/catcorp/464-9038 | [9 empty] | Enriched | 26101700 Engine components and accessories |  | INTERNAL VOLUME:3.16 L | CORE | RADIATOR | TYPE | OUTER,MODULAR | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1033215 | 1033215 | 1394012 | AU_QM_000237547 |  | ERSA | M | 5955 | 1394012GZPCLNT100 | EA | 3000003 | CORE;CAT,20R1525 | CORE;CAT,20R1525 | CORE;MNFR:CATERPILLAR,PTNO:20R1525 |  | OEM-E-LISTCORE;CAT,20R1525 | CATERPILLAR | 20R1525 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 20R1525 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 1394012 | [10 empty] | CATERPILLAR | 20R-1525 | HASTINGS DEERING(AUSTRALIA) LTD | 20R1525 | HASTINGS DEERING (AUSTRALIA) P/L | 1394012 | [12 empty] | https://parts.cat.com/en/catcorp/20R-1525 | [9 empty] | Enriched | 40151532 Fuel pumps |  | SIZE:127 LGX127 WDX129.54 HT MM | PUMP | NO MODIFIER | TYPE | FUEL TRANSFER | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1033294 | 1033294 |  |  |  | ERSA | M | 5955 | 1387911GZPCLNT100 | EA | 3000003 | CORE;CAT,0R8411 | CORE;CAT,0R8411 | CORE;MNFR:CATERPILLAR,PTNO:0R8411 |  |  | CATERPILLAR | 0R8411 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 0R8411CC | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 0R8411 | [10 empty] | CATERPILLAR | 0R-8411 | HASTINGS DEERING (AUSTRALIA) LTD | 0R8411CC | HASTINGS DEERING(AUSTRALIA) LTD | 0R8411 | [12 empty] | https://parts.cat.com/en/catcorp/0R-8411 | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1034094 | 1034094 |  |  |  | ERSA | M | 3760 | 1495404GZPCLNT100 | EA | 3000013 | DEHYDRATOR;VOL,14509377 | DEHYDRATOR;VOL,14509377 | DEHYDRATOR;MNFR:VOLVO,PTNO:14509377 |  |  | VOLVO | 14509377 | 1068317 @@ SMH EQUIPMENT PTY LTD | 14509377 | [12 empty] | VOLVO | 14509377 | SMH EQUIPMENT PTY LTD | 14509377 | [14 empty] | https://www.acparts.com/product/receiver-drier-238/ | [9 empty] | Enriched | 26131800 Power generation control equipment |  | REFRIGERANT TYPE:R12/R134A | DRIER | RECEIVER | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | SWITCH PORT SIZE |  | MATERIAL | ALUMINUM | SIZE | 2-3/8 IN DIA | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1034529 | 1034529 |  |  |  | ERSA | M | 5380 | 1387596GZPCLNT100 | EA | 3000438 | ADAPTER;SAN,56039190 | COMBUSTIBLE; | COMBUSTIBLE;MNFR:NORMET,PTNO:56039190 | COMBUSTIBLE;,MNFR:NORMET,PTNO:56039190 |  | NORMET | 56039190 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56039190 | [10 empty] | NORMET | 56039190 | SANDVIK MINING & CONSTRUCTION | 56039190 | [16 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-501/ | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | TEE | NO MODIFIER | TYPE | ADAPTER | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1058286 | 1058286 |  |  |  | ERSA | M | 5930 | 1586192GZPCLNT100 | CAR |  | AIR FRESHENER;DEODORISER,AEROSOL,VANILA | AMBIENTADOR; | AIR FRESHENER;TYPE:DEODORISER,CONTAINER:AEROSOL,FRAGRANCE:VANILA,ADDITIONAL FEATURES EN:PN:8141105,AIR WICK,FORM:SPRAY,CONTAINER SIZE:237 G,12 PCS/CARTOON | AMBIENTADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2364555 | [12 empty] | AIR WICK | 8141105 | [12 empty] | J BLACKWOOD & SONS | 2364555 |  |  | https://www.airwick.com.au/products/aerosol/base/air-wick-air-freshener-spray-vanilla/ | https://www.blackwoods.com.au/hygiene-cleaning/odour-control/air-freshener-aerosol/aerosol-vanilla-air-wick-237gm/p/02364555 | [8 empty] | Cleansed | 47131812 Air freshener | FORM:SPRAY,PACKAGE QUANTITY:12 PC/CT |  | AIR FRESHENER | NO MODIFIER | TYPE | DEODORISER | CONTAINER | 237 G AEROSOL | FRAGRANCE | VANILA | COLOUR |  | DURATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1071482 | 1071482 |  |  |  | ERSA | M | 3750 | 1490154GZPCLNT100 | EA | 3000010 | CLIP;SAN,AF20010023 | ANILLO;SAN,42205620 | CIRCLIP, EXTERNAL P/N AF20010023 |  |  | SANDVIK | AF20010023 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | AF20010023 | [12 empty] | SANDVIK | AF20010023 | SANDVIK MINING & CONSTRUCTION | AF20010023 | [14 empty] | https://www.blackwoods.com.au/fasteners-fixings/fasteners-fixings-miscellaneous/fasteners/sandvik-af20010023-external-circlip/p/02755942 | [9 empty] | Cleansed | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | EXTERNAL | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1071980 | 1071980 |  |  |  | ERSA | M | 3760 | 1538184GZPCLNT100 | EA | 3000013 | BELLCRANK;VOL,11444229 | PALANCA RECIPRO;VOL,11444229 | BELLCRANK;MNFR:VOLVO,PTNO:11444229 | PALANCA RECIPROCANTE;MNFR:VOLVO,PTNO:11444229 |  | VOLVO | 11444229 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11444229 | [12 empty] | VOLVO | 11444229 | SMH EQUIPMENT PTY LTD | 11444229 | [14 empty] | https://multirentas.com/source/2020/10/05/renta/SD75B_PARTES.pdf | [9 empty] | Cleansed | 31162419 Rings and links |  |  | LINK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1072441 | 1072441 |  |  |  | ERSA | M | 4015 | 1507814GZPCLNT100 | EA | 3000025 | CORE;JOH,DZ101011 | NUCLEO;JOH,DZ101011 | CORE;MNFR:JOHN DEERE,PTNO:DZ101011 | NUCLEO;NOMBRE DEL FABRICANTE:JOHN DEERE,NUMERO DE PIEZA DEL FABRICANTE:DZ101011 |  | JOHN DEERE | DZ101011 | 1068592 @@ RDO EQUIPMENT PTY LTD | DZ101011 | [12 empty] | JOHN DEERE | DZ101011 | RDO EQUIPMENT PTY LTD | DZ101011 | [14 empty] | https://shop.deere.com/us/product/DZ101011%3A-Heat-Exchanger/p/DZ101011 | [9 empty] | Enriched | 40101802 Heat exchangers |  |  | HEAT EXCHANGER | NO MODIFIER | TYPE |  | BTUH RATING |  | MATERIAL |  | SIZE | 22-15/16 WDX7-7/64 HT IN | END CONNECTION |  | CAPACITY |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1074663 | 1074663 |  |  |  | ERSA | M | 3730 | 1103159GZPCLNT100 | EA | 3000003 | CORE;CAT,3342578,ASSY,CONDNSR | NUCLEO;CAT,3342578,ENSAMBLE,CONDEN | CORE;MNFR:CATERPILLAR,PTNO:3342578,ADDITIONAL FEATURES EN:ASSEMBLY,CONDENSER | NUCLEO;MNFR:CATERPILLAR,PTNO:3342578,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,CONDENSADOR |  | CATERPILLAR | 3342578 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3342578 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 3342578 | [10 empty] | CATERPILLAR | 334-2578 | HASTINGS DEERING(AUSTRALIA) LTD | 3342578 | HASTINGS DEERING (AUSTRALIA) LTD | 3342578 | [12 empty] | https://parts.cat.com/en/catcorp/334-2578 | [9 empty] | Enriched | 40101800 Heating equipment and parts and accessories | ASSEMBLY,FOR CONDENSOR |  | CORE | NO MODIFIER | TYPE |  | SIZE | 1.13 LG MX387.3 WD MMX76.2 HT MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1074864 | 1074864 | 1090940 | AU_QM_000237543 |  | ERSA | M | 3730 | 1090940GZPCLNT100 | EA | 3000003 | CORE;CAT,1903850 | NUCLEO;CAT,1903850 | CORE;MNFR:CATERPILLAR,PTNO:1903850 | NUCLEO;MNFR:CATERPILLAR,PTNO:1903850 | OEM-E-LISTCORE;CAT,190-3850 | CATERPILLAR | 1903850 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1903850 | [12 empty] | CATERPILLAR | 190-3850 | HASTINGS DEERING(AUSTRALIA) LTD | 1903850 | [14 empty] | https://parts.cat.com/en/catcorp/190-3850 | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | CORE | VALVE | TYPE |  | OUTSIDE DIAMETER |  | SIZE |  | MATERIAL |  | PACK SIZE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1075427 | 1075427 | 1153809 | AU_QM_001230523 |  | ERSA | M | 3730 | 1153809GZPCLNT100 | EA | 3000003 | CARD;CAT,3381462 | TARJETA;CAT,3381462 | CARD;MNFR:CATERPILLAR,PTNO:3381462 | TARJETA;MNFR:CATERPILLAR,PTNO:3381462 | SENSOR ASSY;SENSOR GP; | CATERPILLAR | 3381462 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3381462 | [12 empty] | CATERPILLAR | 338-1462 | HASTINGS DEERING(AUSTRALIA) LTD | 3381462 | [14 empty] | https://parts.cat.com/en/catcorp/338-1462 | [9 empty] | Enriched | 41111900 Indicating and recording instruments |  |  | SENSOR | POSITION | TYPE | HALL EFFECT | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY | 250 MA,18 TO 32 VDC | CONNECTION TYPE | 4-PIN | TEMPERATURE RATING |  | MATERIAL |  | SIZE | 134.8 LGX88.9 WDX50.8 HT MM | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1075858 | 1075858 |  |  |  | ERSA | M | 3730 | 1092589GZPCLNT100 | EA | 3000003 | CORE;CAT,3874366 | NUCLEO;CAT,3874366 | CORE,MNFR:CATERPILLAR,PTNO:3874366 | NUCLEO,MNFR:CATERPILLAR,PTNO:3874366 |  | CATERPILLAR | 3874366 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3874366 | [12 empty] | CATERPILLAR | 387-4366 | HASTINGS DEERING(AUSTRALIA) LTD | 3874366 | [14 empty] | https://parts.cat.com/en/catcorp/387-4366 | [9 empty] | Enriched | 26101700 Engine components and accessories |  | INTERNAL VOLUME:3.09 L | CORE | RADIATOR | TYPE | MODULAR | CORE WIDTH |  | CORE HEIGHT |  | NUMBER OF ROWS |  | END PLATE SIZE |  | MATERIAL |  | MOUNTING TYPE |  | FINISH | UNPAINTED | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1075939 | 1075939 |  |  |  | ERSA | M | 3730 | 1061988GZPCLNT100 | EA | 3000003 | CORE;CAT,1011741,ASSY | CORE;CAT,1011741,ASSY | CORE;MNFR:CATERPILLAR,PTNO:1011741,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 1011741 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 1011741 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1011741 | [10 empty] | CATERPILLAR | 101-1741 | HASTINGS DEERING (AUSTRALIA) LTD | 1011741 | HASTINGS DEERING(AUSTRALIA) LTD | 1011741 | [12 empty] | https://parts.cat.com/en/catcorp/101-1741 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | ASSEMBLY |  | CORE | OIL COOLER | TYPE |  | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 645.2 LGX248.9 WDX241.3 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1086847 | 1086847 |  |  |  | ERSA | M | 3760 | 1581321GZPCLNT100 | EA | 3000013 | CORE;VOL,8017230560,LIFT CYL | NUCLEO;VOL,8017230560 | CORE;MNFR:VOLVO,PTNO:8017230560,ADDITIONAL FEATURES EN:LIFT CYL | NUCLEO;MNFR:VOLVO,PTNO:8017230560 |  | VOLVO | 8017230560 | 1068317 @@ SMH EQUIPMENT PTY LTD | 8017230560 | [12 empty] | VOLVO | 8017230560 | SMH EQUIPMENT PTY LTD | 8017230560 | [14 empty] | https://en.hespareparts.com/news/systems/volvo-ce/volvo-hydraulic-parts/volvo-hydraulic-cylinders/ | [9 empty] | Cleansed | 27121602 Hydraulic cylinders |  |  | CYLINDER | HYDRAULIC | TYPE |  | BORE DIAMETER |  | STROKE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | ROD END TYPE |  | SHAFT DIAMETER |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1088290 | 1088290 |  |  |  | ERSA | M | 4050 | 1586174GZPCLNT100 | EA |  | CALC;POCKET,LCD,DIGIT 8,SOLAR,BATTERY | CALC;,DIGIT 8 | CALCULATOR;TYPE:POCKET,DISPLAY TYPE:LCD,DISPLAY DIGITS:8,POWER SUPPLY:SOLAR,BATTERY,ADDITIONAL FEATURES EN:BRAND: CANNON,PTNO: LS330H | CALCULATOR;PANTALLA DIGITOS:8,PTNO:LS330H |  |  | LS330H | 1068167 @@ WINC AUSTRALIA PTY LTD | 86761250 | [11 empty] | LS330H | CANON | CLS330H | WINC AUSTRALIA PTY LTD | 86761250 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/canon-ls-330h-pocket-calculator/86761250 | [9 empty] | Enriched | 44101807 Pocket calculator |  | FUNCTIONS:PERCENT,SIGN CHANGE,ADDITION,SUBTRACTION,MULTIPLICATION,DIVISION,SQUARE ROOT | CALCULATOR | NO MODIFIER | TYPE | POCKET | DISPLAY TYPE | LCD | DISPLAY DIGITS | 8 | POWER SUPPLY | SOLAR,BUTTON BATTERY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 | Processed based on Websource, Conflict w.r.t Input | 1150356 | 1150356 |  |  |  | ERSA | M | 1500 | 1480673GZPCLNT100 | EA |  | BOILER,ZIP93704 | BOILER,ZIP93704 | BOILER,ZIP93704 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1480673 | [12 empty] | PENTAIR EVERPURE | ZIP 93704 | CNW (MOUNT ISA) ELECT WHOLESALER | 1480673 | [14 empty] | https://www.clarencewaterfilters.com.au/product/zip-93704-genuine-micropurity-water-filter-2z-ls-0-2-micron/ | [9 empty] | Enriched | 40161502 Water filters |  | CHLORINE REDUCTION CAPACITY:9463 L AT 3.75 LPM | FILTER | WATER | TYPE | TRIPLE ACTION | FILTER RATING | 0.2 UM | PORT SIZE |  | SIZE | 275X78 MM | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | NSF 42/53 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1153386 | 1153386 |  |  |  | ERSA | M | 4075 | 1534140GZPCLNT100 | EA |  | DYE;REDBACK DRAIN,RED402,4903034 | DYE;REDBACK DRAIN,RED402,4903034 | DYE;ADDITIONAL FEATURES:REDBACK DRAIN,RED402,4903034 |  |  |  |  | 1068155 @@ REECE PTY LTD | 4903034 | [12 empty] | RED BACK | RED402 | REECE PTY LTD | 4903034 | [14 empty] | https://redbackconsumables.com.au/product/red-back-drain-dye-for-drains-2-colour-40-grams/ | [9 empty] | Enriched | 12171500 Dyes |  |  | DYE | NO MODIFIER | TYPE | DRAIN | FORM |  | COLOUR | RED,GREEN | CONTAINER | 40 G | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1155014 | 1155014 |  |  |  | ERSA | M | 2700 | 1539153GZPCLNT100 | EA |  | CUPBOARD;STATIONERY,3ADJSHLV,18,18936355 | CUPBOARD;STATIONERY,3ADJSHLV,18,18936355 | CUPBOARD;ADDITIONAL FEATURES:STATIONERY,3ADJSHLV,18,18936355 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18936355 | [12 empty] | STEELCO | ST1830GR | WINC AUSTRALIA PTY LTD | 18936355 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/steelco-stationery-cupboard-3-adjustable-shelves-lockable-1830h-x-914w-x-463dmm-graphite-ripple/18936355 | [9 empty] | Enriched | 30161803 Domestic cupboard |  |  | CUPBOARD | NO MODIFIER | TYPE | LOCKABLE,STATIONERY | DIMENSIONS | 914 WD MMX1.83 HT MX463 DP MM | MATERIAL | STEEL | COATING/FINISH | QUALITY POWDER COATED | COLOUR | GRAPHITE RIPPLE | NUMBER OF DOORS |  | NUMBER OF SHELVES | 3 ADJUSTABLE | NUMBER OF DRAWERS |  | NUMBER OF COMPARTMENTS |  | NUMBER OF HANGING RODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1184405 | 1184405 |  |  |  | ERSA | M | 2920 | 1559080GZPCLNT100 | EA |  | ASPIRATOR;BLB,SMOKE TUBE,AIRFLOW DETECTO | ASPIRADOR; | ASPIRATOR;ADDITIONAL FEATURES EN:BULB,SMOKE TUBE,AIRFLOW DETECTOR | ASPIRADOR; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | CH12868 | [12 empty] | DRAGER | CH12868 | ALLIANCE SAFETY EQUIPMENT P/L | CH12868 | [14 empty] | https://www.draegershop.co.uk/draegeruk/en/GBP/Products/Gas-Detection-Tubes%2C-Pumps%2C-Aerotest-and-CMS/Pumps-for-Gas-Detection-Tubes/Spares-%26-Accessories/Aspirator-bulb/p/CH12868 | [9 empty] | Cleansed | 42271936 Respiratory aspirator product accessories | FOR SMOKE TUBE,AIRFLOW DETECTOR |  | BULB | ASPIRATOR | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CONNECTION |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1204914 | 1204914 |  |  |  | ERSA | M | 5380 | 51367MRM | DR |  | ACETONE:UNIVAR GRADE;20L DRUM; | ACETONE:UNIVAR GRADE;20L DRUM; | ACETONE:UNIVAR GRADE;20L DRUM; |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | CA1505 | [12 empty] | ROWE SCIENTIFIC PTY LTD | CA1505 | [16 empty] | https://www.rowe.com.au/rowe/Products-Chemicals.htm?cms%2Erm=Page&pageNo=9 | https://www.rowe.com.au/rowe/extensions/roweSite/inc/dyn/msds.jsp?product=CA1600 | [8 empty] | Enriched | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE | UNIVAR | MSDS/CAS NUMBER | 67-64-1 | COMPOSITION | ACETONE | CONTAINER SIZE | 20 L | CONTAINER | DRUM | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | LIQUID | COLOUR | CLEAR | ODOR |  | FLAMMABILITY | HIGHLY FLAMMABLE | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1205252 | 1205252 |  |  |  | ERSA | M | 5010 | 271538MRM | EA |  | DEMISTER:PACKED TOWER;610MM DIA | DEMISTER:PACKED TOWER;610MM DIA | DEMISTER:PACKED TOWER;610MM DIA |  |  |  |  | 1070429 @@ NEDERMAN MIKROPUL PTY LTD | AE4133-TOW-MIS | [14 empty] | NEDERMAN MIKROPUL PTY LTD | AE4133-TOW-MIS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40161703 Mist eliminators |  |  | DEMISTER | NO MODIFIER | TYPE | PACKED TOWER | FILTRATION SIZE |  | FLOW RATE |  | MOUNTING METHOD |  | DIMENSIONS | 610 MM DIA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1205579 | 1205579 |  |  |  | ERSA | M | 5620 | 271646MRM | EA |  | CAMBRAKE;BAG LOOP LATCH ARM;SS304 | CAMBRAKE;BAG LOOP LATCH ARM;SS304 | CAMBRAKE;BAG LOOP LATCH ARM;SS304 |  |  |  |  | 1069056 @@ FLEXICON CORPORATION (AUSTRALIA) | AFB11124SZZZZZ | [14 empty] | FLEXICON CORPORATION (AUSTRALIA) | AFB11124SZZZZZ | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 25171700 Braking systems and components | BAG LOOP LATCH ARM |  | BRAKE | NO MODIFIER | TYPE | CAM | SHAFT SIZE |  | SIZE |  | INPUT RATING |  | TORQUE RATING |  | POWER RATING |  | ACTUATION TYPE |  | MOUNTING TYPE |  | SPEED RATING |  | MATERIAL | 304 STAINLESS STEEL | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 | 2023-11-07 |  | 1205606 | 1205606 |  |  |  | ERSA | M | 3600 | 271686MRM | EA |  | CORE,PNEUMATIC VALVE:SMALL BORE | CORE,PNEUMATIC VALVE:SMALL BORE | CORE,PNEUMATIC VALVE:SMALL BORE |  |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | HAL-A-100-VC-1 | [12 empty] | RIMEX WHEEL PTY LTD | HAL-A-100-VC-1 | [16 empty] | https://rimex.com.au/wp-content/uploads/2023/04/Tyre-Accessories-and-Tooling-Catalogue.pdf | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | CORE | VALVE | TYPE | PNEUMATIC,SMALL BORE | OUTSIDE DIAMETER |  | SIZE |  | MATERIAL |  | PACK SIZE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed